## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5287-36_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5287-36_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5287-36_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5287-36_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5287-36_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5287-36_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5287-36_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5287-36_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5287-36_0_2_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_5287-36_0_2_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_5287-36_0_2_node_76 | 0.4 | n |  | TRUE
11 | bus_LV_5287-36_0_2_node_72 | 0.4 | n |  | TRUE
12 | bus_LV_5287-36_0_2_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_5287-36_0_2_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_5287-36_0_2_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_5287-36_0_2_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_5287-36_0_2_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_5287-36_0_2_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_5287-36_0_2_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_5287-36_0_2_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5287-36_0_2_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5287-36_0_2_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5287-36_0_2_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5287-36_0_2_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5287-36_0_2_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_5287-36_0_2_node_70 | 0.4 | n |  | TRUE
26 | bus_LV_5287-36_0_2_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_5287-36_0_2_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5287-36_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5287-36_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5287-36_0_2_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_5287-36_0_2_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_5287-36_0_2_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_5287-36_0_2_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_5287-36_0_2_node_97 | 0.4 | n |  | TRUE
35 | bus_LV_5287-36_0_2_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_5287-36_0_2_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_5287-36_0_2_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5287-36_0_2_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_5287-36_0_2_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_5287-36_0_2_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_5287-36_0_2_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_5287-36_0_2_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_5287-36_0_2_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_5287-36_0_2_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5287-36_0_2_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5287-36_0_2_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5287-36_0_2_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_5287-36_0_2_node_82 | 0.4 | n |  | TRUE
49 | bus_LV_5287-36_0_2_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_5287-36_0_2_node_99 | 0.4 | n |  | TRUE
51 | bus_LV_5287-36_0_2_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_5287-36_0_2_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_5287-36_0_2_node_101 | 0.4 | n |  | TRUE
54 | bus_LV_5287-36_0_2_node_98 | 0.4 | n |  | TRUE
55 | bus_LV_5287-36_0_2_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_5287-36_0_2_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_5287-36_0_2_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_5287-36_0_2_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_5287-36_0_2_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_5287-36_0_2_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_5287-36_0_2_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_5287-36_0_2_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_5287-36_0_2_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_5287-36_0_2_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_5287-36_0_2_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_5287-36_0_2_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_5287-36_0_2_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_5287-36_0_2_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_5287-36_0_2_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_5287-36_0_2_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_5287-36_0_2_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_5287-36_0_2_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_5287-36_0_2_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_5287-36_0_2_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_5287-36_0_2_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_5287-36_0_2_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_5287-36_0_2_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_5287-36_0_2_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_5287-36_0_2_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_5287-36_0_2_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_5287-36_0_2_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_5287-36_0_2_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_5287-36_0_2_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_5287-36_0_2_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_5287-36_0_2_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_5287-36_0_2_node_96 | 0.4 | n |  | TRUE
87 | bus_LV_5287-36_0_2_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_5287-36_0_2_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_5287-36_0_2_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_5287-36_0_2_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_5287-36_0_2_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_5287-36_0_2_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_5287-36_0_2_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_5287-36_0_2_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_5287-36_0_2_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_5287-36_0_2_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_5287-36_0_2_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_5287-36_0_2_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_5287-36_0_2_node_100 | 0.4 | n |  | TRUE
100 | bus_LV_5287-36_0_2_node_103 | 0.4 | n |  | TRUE
101 | bus_LV_5287-36_0_2_node_102 | 0.4 | n |  | TRUE
102 | bus_MV_189_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5287-36_0_2_load_0 | 0 | 0.002207 | 0.00055313 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5287-36_0_2_load_1 | 1 | 0.00052232 | 0.00013091 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5287-36_0_2_load_2 | 2 | 0.0020867 | 0.00052297 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5287-36_0_2_load_5 | 5 | 0.00095265 | 0.00023876 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5287-36_0_2_load_7 | 7 | 0.0012877 | 0.00032273 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5287-36_0_2_load_21 | 8 | 0.0015037 | 0.00037686 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5287-36_0_2_load_73 | 9 | 0.0027133 | 0.00068001 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5287-36_0_2_load_76 | 10 | 0.001023 | 0.00025639 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5287-36_0_2_load_72 | 11 | 0.00069688 | 0.00017466 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5287-36_0_2_load_29 | 12 | 0.0034597 | 0.00086707 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5287-36_0_2_load_20 | 13 | 0.0069042 | 0.0017304 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5287-36_0_2_load_74 | 14 | 0.0021479 | 0.0005383 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5287-36_0_2_load_17 | 15 | 0.00055591 | 0.00013933 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5287-36_0_2_load_69 | 16 | 0.0006446 | 0.00016155 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5287-36_0_2_load_28 | 17 | 0.0020258 | 0.00050772 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5287-36_0_2_load_8 | 18 | 0.0023019 | 0.00057691 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5287-36_0_2_load_9 | 19 | 0.0018471 | 0.00046293 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5287-36_0_2_load_10 | 20 | 0.0070379 | 0.0017639 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5287-36_0_2_load_12 | 22 | 0.0020963 | 0.00052537 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5287-36_0_2_load_13 | 23 | 0.0067476 | 0.0016911 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5287-36_0_2_load_71 | 24 | 0.0022924 | 0.00057452 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5287-36_0_2_load_70 | 25 | 0.0037523 | 0.00094041 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5287-36_0_2_load_14 | 26 | 0.007456 | 0.0018687 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5287-36_0_2_load_15 | 27 | 0.0019175 | 0.00048056 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5287-36_0_2_load_18 | 29 | 0.0020008 | 0.00050144 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5287-36_0_2_load_64 | 30 | 0.0027243 | 0.00068278 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5287-36_0_2_load_19 | 31 | 0.0024909 | 0.00062428 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5287-36_0_2_load_63 | 33 | 0.0026559 | 0.00066563 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5287-36_0_2_load_97 | 34 | 0.0025339 | 0.00063506 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5287-36_0_2_load_78 | 35 | 0.00064483 | 0.00016161 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5287-36_0_2_load_22 | 36 | 0.0036382 | 0.00091181 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5287-36_0_2_load_23 | 37 | 0.001914 | 0.0004797 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5287-36_0_2_load_24 | 38 | 0.0010006 | 0.00025078 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5287-36_0_2_load_25 | 39 | 0.0051854 | 0.0012996 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5287-36_0_2_load_26 | 40 | 0.0016381 | 0.00041054 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5287-36_0_2_load_27 | 41 | 0.0015875 | 0.00039786 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5287-36_0_2_load_30 | 42 | 0.0019222 | 0.00048174 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5287-36_0_2_load_31 | 43 | 0.0013161 | 0.00032986 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5287-36_0_2_load_33 | 45 | 0.0024333 | 0.00060983 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5287-36_0_2_load_34 | 46 | 0.0024222 | 0.00060705 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5287-36_0_2_load_35 | 47 | 0.0010288 | 0.00025785 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5287-36_0_2_load_82 | 48 | 0.00084781 | 0.00021248 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5287-36_0_2_load_44 | 49 | 0.0037984 | 0.00095198 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5287-36_0_2_load_80 | 51 | 0.0014974 | 0.00037527 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5287-36_0_2_load_45 | 52 | 0.0020709 | 0.00051902 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5287-36_0_2_load_98 | 54 | 0.0032598 | 0.00081697 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5287-36_0_2_load_36 | 55 | 0.0026513 | 0.00066448 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5287-36_0_2_load_37 | 56 | 0.0014273 | 0.00035773 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5287-36_0_2_load_38 | 57 | 0.00068651 | 0.00017205 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5287-36_0_2_load_39 | 58 | 0.0016555 | 0.0004149 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5287-36_0_2_load_40 | 59 | 0.0012366 | 0.00030993 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5287-36_0_2_load_41 | 60 | 0.0028599 | 0.00071677 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5287-36_0_2_load_42 | 61 | 0.0016726 | 0.00041919 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5287-36_0_2_load_48 | 63 | 0.002061 | 0.00051652 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5287-36_0_2_load_49 | 64 | 0.0036963 | 0.00092638 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5287-36_0_2_load_62 | 65 | 0.0013725 | 0.00034399 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5287-36_0_2_load_46 | 67 | 0.0026383 | 0.00066122 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5287-36_0_2_load_47 | 68 | 0.0013697 | 0.00034328 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5287-36_0_2_load_50 | 69 | 0.00080156 | 0.00020089 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5287-36_0_2_load_51 | 70 | 0.001543 | 0.00038672 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5287-36_0_2_load_66 | 71 | 0.0018434 | 0.00046201 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5287-36_0_2_load_52 | 72 | 0.0028261 | 0.00070828 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5287-36_0_2_load_53 | 73 | 0.0012458 | 0.00031223 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5287-36_0_2_load_54 | 74 | 0.0014851 | 0.00037221 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5287-36_0_2_load_55 | 75 | 0.0046967 | 0.0011771 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5287-36_0_2_load_56 | 76 | 0.0029525 | 0.00073996 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5287-36_0_2_load_57 | 77 | 0.0012009 | 0.00030098 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5287-36_0_2_load_58 | 79 | 0.00078603 | 0.000197 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5287-36_0_2_load_60 | 80 | 0.0012887 | 0.00032298 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5287-36_0_2_load_61 | 81 | 0.0011026 | 0.00027633 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5287-36_0_2_load_77 | 82 | 0.0036089 | 0.00090448 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5287-36_0_2_load_65 | 83 | 0.0026904 | 0.00067427 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5287-36_0_2_load_67 | 84 | 0.00053828 | 0.00013491 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5287-36_0_2_load_75 | 85 | 0.0026569 | 0.00066588 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5287-36_0_2_load_96 | 86 | 0.0016475 | 0.00041291 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5287-36_0_2_load_81 | 87 | 0.00051455 | 0.00012896 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5287-36_0_2_load_83 | 88 | 0.0011676 | 0.00029264 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5287-36_0_2_load_84 | 89 | 0.00057575 | 0.0001443 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5287-36_0_2_load_85 | 90 | 0.0020472 | 0.00051308 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5287-36_0_2_load_86 | 91 | 0.00054751 | 0.00013722 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5287-36_0_2_load_87 | 92 | 0.00057031 | 0.00014293 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5287-36_0_2_load_88 | 93 | 0.0010491 | 0.00026294 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5287-36_0_2_load_93 | 94 | 0.0020956 | 0.0005252 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5287-36_0_2_load_91 | 95 | 0.00097644 | 0.00024472 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5287-36_0_2_load_92 | 96 | 0.0011496 | 0.00028811 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5287-36_0_2_load_95 | 97 | 0.0034046 | 0.00085328 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5287-36_0_2_load_94 | 98 | 0.0015727 | 0.00039415 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5287-36_0_2_load_100 | 99 | 0.00081402 | 0.00020401 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5287-36_0_2_load_103 | 100 | 0.0013624 | 0.00034144 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5287-36_0_2_load_102 | 101 | 0.0021535 | 0.00053972 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 83 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5287-36_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5287-36_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0040067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5287-36_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5287-36_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.054666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5287-36_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.018229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5287-36_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.008726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5287-36_0_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.030555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5287-36_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.019841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5287-36_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.028087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5287-36_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.017776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5287-36_0_2_line_10 | NAYY 4x150 SE | 6 | 11 | 0.012489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5287-36_0_2_line_11 | NAYY 4x150 SE | 7 | 12 | 0.021236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5287-36_0_2_line_12 | NAYY 4x150 SE | 8 | 13 | 0.040114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5287-36_0_2_line_13 | NAYY 4x150 SE | 9 | 14 | 0.0049766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5287-36_0_2_line_14 | NAYY 4x150 SE | 10 | 15 | 0.0045528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5287-36_0_2_line_15 | NAYY 4x150 SE | 11 | 16 | 0.013209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5287-36_0_2_line_16 | NAYY 4x150 SE | 12 | 17 | 0.014979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5287-36_0_2_line_17 | NAYY 4x150 SE | 14 | 85 | 0.01563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5287-36_0_2_line_18 | NAYY 4x150 SE | 15 | 27 | 0.017029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5287-36_0_2_line_19 | NAYY 4x150 SE | 16 | 84 | 0.0046307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5287-36_0_2_line_20 | NAYY 4x150 SE | 17 | 40 | 0.0094352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5287-36_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.0076875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5287-36_0_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.025674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5287-36_0_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.053262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5287-36_0_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.0029154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5287-36_0_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.012371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5287-36_0_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.049895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5287-36_0_2_line_27 | NAYY 4x150 SE | 24 | 25 | 0.0030047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5287-36_0_2_line_28 | NAYY 4x150 SE | 25 | 66 | 0.015813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5287-36_0_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.019515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5287-36_0_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.012367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5287-36_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.01893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5287-36_0_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.013455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5287-36_0_2_line_33 | NAYY 4x150 SE | 30 | 33 | 0.0017255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5287-36_0_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.016977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5287-36_0_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.026285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5287-36_0_2_line_36 | NAYY 4x150 SE | 32 | 35 | 0.015182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5287-36_0_2_line_37 | NAYY 4x150 SE | 33 | 80 | 0.0079666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5287-36_0_2_line_38 | NAYY 4x150 SE | 34 | 86 | 0.0032834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5287-36_0_2_line_39 | NAYY 4x150 SE | 35 | 82 | 0.011271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5287-36_0_2_line_40 | NAYY 4x150 SE | 36 | 37 | 0.015349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5287-36_0_2_line_41 | NAYY 4x150 SE | 36 | 38 | 0.011818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5287-36_0_2_line_42 | NAYY 4x150 SE | 37 | 39 | 0.014411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5287-36_0_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.00045267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5287-36_0_2_line_44 | NAYY 4x150 SE | 39 | 41 | 0.012183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5287-36_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.028621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5287-36_0_2_line_46 | NAYY 4x150 SE | 42 | 44 | 0.044313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5287-36_0_2_line_47 | NAYY 4x150 SE | 43 | 45 | 0.011021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5287-36_0_2_line_48 | NAYY 4x150 SE | 44 | 46 | 0.024846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5287-36_0_2_line_49 | NAYY 4x150 SE | 44 | 47 | 0.042432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5287-36_0_2_line_50 | NAYY 4x150 SE | 45 | 48 | 0.03269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5287-36_0_2_line_51 | NAYY 4x150 SE | 46 | 49 | 0.010554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5287-36_0_2_line_52 | NAYY 4x150 SE | 47 | 50 | 0.002588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5287-36_0_2_line_53 | NAYY 4x150 SE | 48 | 51 | 0.017796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5287-36_0_2_line_54 | NAYY 4x150 SE | 49 | 52 | 0.016492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5287-36_0_2_line_55 | NAYY 4x150 SE | 50 | 53 | 0.023084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5287-36_0_2_line_56 | NAYY 4x150 SE | 50 | 54 | 0.028253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5287-36_0_2_line_57 | NAYY 4x150 SE | 51 | 87 | 0.01637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5287-36_0_2_line_58 | NAYY 4x150 SE | 52 | 67 | 0.0049612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5287-36_0_2_line_59 | NAYY 4x150 SE | 53 | 100 | 0.010151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5287-36_0_2_line_60 | NAYY 4x150 SE | 54 | 99 | 0.027115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5287-36_0_2_line_61 | NAYY 4x150 SE | 55 | 56 | 0.015581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5287-36_0_2_line_62 | NAYY 4x150 SE | 55 | 57 | 0.013609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5287-36_0_2_line_63 | NAYY 4x150 SE | 56 | 58 | 0.021138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5287-36_0_2_line_64 | NAYY 4x150 SE | 57 | 59 | 0.018654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5287-36_0_2_line_65 | NAYY 4x150 SE | 58 | 60 | 0.026239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5287-36_0_2_line_66 | NAYY 4x150 SE | 60 | 61 | 0.01152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5287-36_0_2_line_67 | NAYY 4x150 SE | 61 | 62 | 0.021148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5287-36_0_2_line_68 | NAYY 4x150 SE | 62 | 63 | 0.0083585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5287-36_0_2_line_69 | NAYY 4x150 SE | 62 | 64 | 0.013847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5287-36_0_2_line_70 | NAYY 4x150 SE | 63 | 65 | 0.0026996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5287-36_0_2_line_71 | NAYY 4x150 SE | 64 | 66 | 0.014999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5287-36_0_2_line_72 | NAYY 4x150 SE | 65 | 70 | 0.0074706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5287-36_0_2_line_73 | NAYY 4x150 SE | 66 | 71 | 0.018773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5287-36_0_2_line_74 | NAYY 4x150 SE | 67 | 68 | 0.0010956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5287-36_0_2_line_75 | NAYY 4x150 SE | 68 | 69 | 0.012739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5287-36_0_2_line_76 | NAYY 4x150 SE | 69 | 70 | 0.0051308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5287-36_0_2_line_77 | NAYY 4x150 SE | 71 | 83 | 0.0061337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5287-36_0_2_line_78 | NAYY 4x150 SE | 72 | 73 | 0.0026119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5287-36_0_2_line_79 | NAYY 4x150 SE | 72 | 74 | 0.01499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5287-36_0_2_line_80 | NAYY 4x150 SE | 73 | 75 | 0.001482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5287-36_0_2_line_81 | NAYY 4x150 SE | 74 | 76 | 0.0057774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5287-36_0_2_line_82 | NAYY 4x150 SE | 75 | 77 | 0.011243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5287-36_0_2_line_83 | NAYY 4x150 SE | 76 | 78 | 0.0091239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5287-36_0_2_line_84 | NAYY 4x150 SE | 77 | 79 | 0.0018943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5287-36_0_2_line_85 | NAYY 4x150 SE | 78 | 80 | 0.007777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5287-36_0_2_line_86 | NAYY 4x150 SE | 78 | 81 | 0.0090257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5287-36_0_2_line_87 | NAYY 4x150 SE | 81 | 82 | 0.0091505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5287-36_0_2_line_88 | NAYY 4x150 SE | 83 | 84 | 0.020387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5287-36_0_2_line_89 | NAYY 4x150 SE | 86 | 98 | 0.01828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5287-36_0_2_line_90 | NAYY 4x150 SE | 87 | 88 | 0.035152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5287-36_0_2_line_91 | NAYY 4x150 SE | 88 | 89 | 0.014727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5287-36_0_2_line_92 | NAYY 4x150 SE | 89 | 90 | 0.02007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5287-36_0_2_line_93 | NAYY 4x150 SE | 90 | 91 | 0.018069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5287-36_0_2_line_94 | NAYY 4x150 SE | 91 | 92 | 0.016433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5287-36_0_2_line_95 | NAYY 4x150 SE | 92 | 93 | 0.015654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5287-36_0_2_line_96 | NAYY 4x150 SE | 93 | 94 | 0.043212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5287-36_0_2_line_97 | NAYY 4x150 SE | 94 | 96 | 0.0086109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5287-36_0_2_line_98 | NAYY 4x150 SE | 95 | 96 | 0.0030034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5287-36_0_2_line_99 | NAYY 4x150 SE | 97 | 98 | 0.017575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5287-36_0_2_line_100 | NAYY 4x150 SE | 100 | 101 | 0.033897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5287-36_0_2_trafo_65 | 0.25 MVA 20/0.4 kV | 102 | 83 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2719261.3879 | 1126660.1247 | 2719245.23 | 1126653.2548
1 | 2719261.3879 | 1126660.1247 | 2719265.0752 | 1126661.6924
2 | 2719227.4112 | 1126646.0683 | 2719242.4948 | 1126652.0919 | 2719245.23 | 1126653.2548
3 | 2719315.4791 | 1126682.8519 | 2719303.8551 | 1126678.0972 | 2719295.645 | 1126674.5773 | 2719280.4217 | 1126668.2173 | 2719265.0752 | 1126661.6924
4 | 2719227.4112 | 1126646.0683 | 2719233.2226 | 1126628.7906
5 | 2719219.5944 | 1126642.1449 | 2719227.4112 | 1126646.0683
6 | 2719227.4112 | 1126646.0683 | 2719217.1775 | 1126674.8587
7 | 2719315.4791 | 1126682.8519 | 2719333.6003 | 1126690.9315
8 | 2719242.1768 | 1126602.1691 | 2719233.2226 | 1126628.7906
9 | 2719219.5944 | 1126642.1449 | 2719210.5089 | 1126649.393 | 2719204.5043 | 1126650.7379
10 | 2719219.5944 | 1126642.1449 | 2719213.8243 | 1126637.6393 | 2719209.9792 | 1126634.1855
11 | 2719217.1775 | 1126674.8587 | 2719215.6254 | 1126679.2252 | 2719210.5531 | 1126695.0335
12 | 2719370.5623 | 1126706.5053 | 2719346.5814 | 1126696.7193 | 2719333.6003 | 1126690.9315
13 | 2719242.1768 | 1126602.1691 | 2719243.7634 | 1126597.4522
14 | 2719204.5043 | 1126650.7379 | 2719200.0615 | 1126651.7329
15 | 2719209.9792 | 1126634.1855 | 2719205.7494 | 1126630.3863 | 2719200.68 | 1126624.8272
16 | 2719205.9766 | 1126709.2965 | 2719210.5531 | 1126695.0335
17 | 2719248.7458 | 1126582.6381 | 2719247.852 | 1126585.2966 | 2719243.7634 | 1126597.4522
18 | 2719183.2749 | 1126654.5257 | 2719194.8132 | 1126652.9084 | 2719200.0615 | 1126651.7329
19 | 2719197.5365 | 1126621.427 | 2719200.2257 | 1126624.3289 | 2719200.68 | 1126624.8272
20 | 2719205.9766 | 1126709.2965 | 2719203.094 | 1126718.2806
21 | 2719238.0958 | 1126499.9317 | 2719242.0597 | 1126493.345
22 | 2719238.0958 | 1126499.9317 | 2719235.0982 | 1126504.9128 | 2719224.1307 | 1126521.4699
23 | 2719284.5368 | 1126492.8681 | 2719254.1542 | 1126479.1932 | 2719252.758 | 1126478.8432 | 2719251.1157 | 1126479.2444 | 2719249.7322 | 1126480.5959 | 2719242.0597 | 1126493.345
24 | 2719224.1307 | 1126521.4699 | 2719222.5207 | 1126523.9004
25 | 2719284.5368 | 1126492.8681 | 2719279.6853 | 1126504.2487
26 | 2719193.42 | 1126564.4119 | 2719193.5712 | 1126564.1903 | 2719208.677 | 1126543.296 | 2719215.9487 | 1126533.8217 | 2719222.5207 | 1126523.9004
27 | 2719193.42 | 1126564.4119 | 2719191.7265 | 1126566.894
28 | 2719182.8144 | 1126579.9558 | 2719191.7265 | 1126566.894
29 | 2719163.8495 | 1126654.1478 | 2719178.2622 | 1126655.2283 | 2719183.2749 | 1126654.5257
30 | 2719151.5314 | 1126653.0447 | 2719162.3663 | 1126654.0366 | 2719163.8495 | 1126654.1478
31 | 2719151.5314 | 1126653.0447 | 2719147.6076 | 1126649.5206 | 2719142.3984 | 1126644.7147 | 2719136.8544 | 1126641.1917
32 | 2719125.2625 | 1126634.3624 | 2719135.1577 | 1126640.1135 | 2719136.8544 | 1126641.1917
33 | 2719125.2625 | 1126634.3624 | 2719124.8606 | 1126634.1288 | 2719123.6978 | 1126633.6418
34 | 2719111.0489 | 1126670.3593 | 2719118.5607 | 1126663.1578 | 2719124.711 | 1126660.8438
35 | 2719111.0489 | 1126670.3593 | 2719108.2684 | 1126691.7524 | 2719107.6406 | 1126696.4228
36 | 2719111.0489 | 1126670.3593 | 2719108.0978 | 1126665.5868 | 2719105.3733 | 1126661.0523 | 2719103.9341 | 1126657.0212
37 | 2719116.306 | 1126630.6818 | 2719117.7574 | 1126631.1536 | 2719123.6978 | 1126633.6418
38 | 2719107.6406 | 1126696.4228 | 2719107.2032 | 1126699.6769
39 | 2719104.2202 | 1126645.8234 | 2719103.4393 | 1126653.1756 | 2719103.9341 | 1126657.0212
40 | 2719199.3408 | 1126729.9634 | 2719194.4142 | 1126744.5008
41 | 2719202.9557 | 1126718.7116 | 2719199.4276 | 1126729.707 | 2719199.3408 | 1126729.9634
42 | 2719189.7889 | 1126758.1491 | 2719194.4142 | 1126744.5008
43 | 2719202.9557 | 1126718.7116 | 2719203.094 | 1126718.2806
44 | 2719189.7889 | 1126758.1491 | 2719185.8787 | 1126769.6875
45 | 2719071.3134 | 1126536.6719 | 2719069.2656 | 1126537.6689 | 2719063.7234 | 1126541.1511 | 2719058.5581 | 1126545.4634 | 2719054.9218 | 1126549.25 | 2719052.2125 | 1126552.5545 | 2719050.1286 | 1126555.4236
46 | 2719092.7588 | 1126499.1607 | 2719089.9655 | 1126502.8082 | 2719087.4299 | 1126506.6832 | 2719079.7384 | 1126526.523 | 2719077.7781 | 1126531.3321 | 2719076.1182 | 1126533.8011 | 2719074.7532 | 1126534.9973 | 2719071.3134 | 1126536.6719
47 | 2719050.1286 | 1126555.4236 | 2719048.8368 | 1126557.2023 | 2719045.6551 | 1126563.7441 | 2719045.2877 | 1126565.2479
48 | 2719092.7588 | 1126499.1607 | 2719106.1254 | 1126506.6623 | 2719114.0888 | 1126511.8753
49 | 2719092.7588 | 1126499.1607 | 2719092.011 | 1126494.8542 | 2719091.4462 | 1126486.3484 | 2719091.2184 | 1126481.0848 | 2719091.2785 | 1126475.2932 | 2719090.9573 | 1126471.6399 | 2719090.0265 | 1126468.7974 | 2719088.8751 | 1126466.5844 | 2719087.3268 | 1126464.5636 | 2719085.3333 | 1126462.4452 | 2719082.3895 | 1126459.9357
50 | 2719045.2877 | 1126565.2479 | 2719043.5002 | 1126572.5633 | 2719041.9603 | 1126579.9046 | 2719040.3624 | 1126587.0558 | 2719038.0875 | 1126597.1334
51 | 2719114.0888 | 1126511.8753 | 2719116.5451 | 1126513.4832 | 2719122.7648 | 1126517.8819
52 | 2719080.4201 | 1126458.2567 | 2719082.3895 | 1126459.9357
53 | 2719034.0545 | 1126614.4656 | 2719035.827 | 1126607.1469 | 2719038.0875 | 1126597.1334
54 | 2719135.9956 | 1126527.7194 | 2719129.6609 | 1126522.7589 | 2719122.7648 | 1126517.8819
55 | 2719061.1397 | 1126445.691 | 2719065.0774 | 1126447.3474 | 2719068.1932 | 1126449.2433 | 2719076.1891 | 1126454.6599 | 2719080.4201 | 1126458.2567
56 | 2719080.4201 | 1126458.2567 | 2719069.082 | 1126460.0904 | 2719063.9476 | 1126461.6571 | 2719060.8043 | 1126463.5076 | 2719058.4486 | 1126466.0741 | 2719056.2205 | 1126469.7143
57 | 2719034.0545 | 1126614.4656 | 2719030.2012 | 1126630.3761
58 | 2719135.9956 | 1126527.7194 | 2719139.9017 | 1126530.7781
59 | 2719061.1397 | 1126445.691 | 2719051.02 | 1126446.4844
60 | 2719038.4874 | 1126488.4742 | 2719043.0451 | 1126487.6189 | 2719045.5439 | 1126486.0003 | 2719048.6509 | 1126482.081 | 2719056.2205 | 1126469.7143
61 | 2719193.2156 | 1126464.0057 | 2719192.937 | 1126465.7554 | 2719191.4082 | 1126471.7405 | 2719188.4763 | 1126478.7873
62 | 2719193.2156 | 1126464.0057 | 2719195.3556 | 1126450.5658
63 | 2719188.4763 | 1126478.7873 | 2719181.2679 | 1126496.1128 | 2719180.5635 | 1126498.3786
64 | 2719198.4394 | 1126432.172 | 2719197.8556 | 1126434.8647 | 2719195.3556 | 1126450.5658
65 | 2719180.5635 | 1126498.3786 | 2719176.4856 | 1126511.4957 | 2719174.6943 | 1126523.8689
66 | 2719174.6943 | 1126523.8689 | 2719174.192 | 1126527.3391 | 2719172.5414 | 1126535.1807
67 | 2719167.7952 | 1126555.7879 | 2719171.2064 | 1126541.5232 | 2719172.5414 | 1126535.1807
68 | 2719167.7952 | 1126555.7879 | 2719164.9654 | 1126552.6856 | 2719161.8647 | 1126549.9132
69 | 2719167.7952 | 1126555.7879 | 2719171.01 | 1126559.3092 | 2719174.8213 | 1126563.854 | 2719176.5924 | 1126566.4556
70 | 2719161.8647 | 1126549.9132 | 2719159.8522 | 1126548.1138
71 | 2719182.8144 | 1126579.9558 | 2719182.1141 | 1126576.762 | 2719178.9645 | 1126569.9398 | 2719176.5924 | 1126566.4556
72 | 2719154.2954 | 1126543.1207 | 2719155.9882 | 1126544.6589 | 2719159.8522 | 1126548.1138
73 | 2719182.8144 | 1126579.9558 | 2719183.6001 | 1126583.507 | 2719184.418 | 1126590.1165 | 2719184.9267 | 1126595.5969 | 2719185.2495 | 1126598.5517
74 | 2719140.7553 | 1126531.4648 | 2719140.3809 | 1126531.1535 | 2719139.9017 | 1126530.7781
75 | 2719140.7553 | 1126531.4648 | 2719149.1719 | 1126538.4649 | 2719150.4982 | 1126539.6701
76 | 2719154.2954 | 1126543.1207 | 2719150.4982 | 1126539.6701
77 | 2719186.4074 | 1126604.5655 | 2719185.4622 | 1126600.4997 | 2719185.2495 | 1126598.5517
78 | 2719082.0215 | 1126615.2442 | 2719080.8552 | 1126614.6381 | 2719079.6677 | 1126614.1153
79 | 2719082.0215 | 1126615.2442 | 2719094.5758 | 1126621.7686 | 2719095.342 | 1126622.1165
80 | 2719079.6677 | 1126614.1153 | 2719078.3113 | 1126613.5182
81 | 2719095.342 | 1126622.1165 | 2719100.6024 | 1126624.5052
82 | 2719068.0215 | 1126608.9881 | 2719078.3113 | 1126613.5182
83 | 2719108.91 | 1126628.2775 | 2719100.6024 | 1126624.5052
84 | 2719066.2878 | 1126608.2248 | 2719068.0215 | 1126608.9881
85 | 2719108.91 | 1126628.2775 | 2719116.306 | 1126630.6818
86 | 2719108.91 | 1126628.2775 | 2719106.4909 | 1126636.9729
87 | 2719104.2202 | 1126645.8234 | 2719104.3385 | 1126644.7097 | 2719106.4909 | 1126636.9729
88 | 2719186.4074 | 1126604.5655 | 2719186.4074 | 1126604.5655 | 2719188.0606 | 1126608.3006 | 2719190.2762 | 1126612.8362 | 2719194.7681 | 1126618.4396 | 2719197.5365 | 1126621.427
89 | 2719104.7679 | 1126717.7936 | 2719107.2032 | 1126699.6769
90 | 2719017.7834 | 1126663.1827 | 2719026.007 | 1126644.2677 | 2719028.7866 | 1126636.217 | 2719030.2012 | 1126630.3761
91 | 2719017.7834 | 1126663.1827 | 2719011.9114 | 1126676.6886
92 | 2719011.9114 | 1126676.6886 | 2719006.4419 | 1126689.2689 | 2719004.4042 | 1126695.2854
93 | 2719004.4042 | 1126695.2854 | 2719003.0452 | 1126699.2978 | 2718999.6244 | 1126711.7278 | 2718999.4138 | 1126712.6442
94 | 2718999.4138 | 1126712.6442 | 2718998.0141 | 1126718.7342 | 2718996.3634 | 1126725.8288 | 2718995.8686 | 1126728.6862
95 | 2718995.8686 | 1126728.6862 | 2718995.3023 | 1126731.9565 | 2718994.6747 | 1126736.425 | 2718995.1088 | 1126740.6141 | 2718996.5753 | 1126743.914
96 | 2718996.5753 | 1126743.914 | 2719039.3769 | 1126749.858
97 | 2719039.3769 | 1126749.858 | 2719047.5224 | 1126752.6508
98 | 2719050.3634 | 1126753.6249 | 2719047.5224 | 1126752.6508
99 | 2719104.7679 | 1126717.7936 | 2719103.5803 | 1126726.6282 | 2719102.4013 | 1126735.2087
100 | 2719017.5264 | 1126448.6581 | 2719019.1689 | 1126448.089 | 2719025.1138 | 1126446.4715 | 2719031.313 | 1126446.4268 | 2719039.6356 | 1126447.3912 | 2719045.9519 | 1126446.8818 | 2719051.02 | 1126446.4844

## bus_geodata
| x | y | coords
0 | 2719261.3879 | 1126660.1247
1 | 2719245.23 | 1126653.2548
2 | 2719265.0752 | 1126661.6924
3 | 2719227.4112 | 1126646.0683
4 | 2719315.4791 | 1126682.8519
5 | 2719233.2226 | 1126628.7906
6 | 2719219.5944 | 1126642.1449
7 | 2719217.1775 | 1126674.8587
8 | 2719333.6003 | 1126690.9315
9 | 2719242.1768 | 1126602.1691
10 | 2719204.5043 | 1126650.7379
11 | 2719209.9792 | 1126634.1855
12 | 2719210.5531 | 1126695.0335
13 | 2719370.5623 | 1126706.5053
14 | 2719243.7634 | 1126597.4522
15 | 2719200.0615 | 1126651.7329
16 | 2719200.68 | 1126624.8272
17 | 2719205.9766 | 1126709.2965
18 | 2719238.0958 | 1126499.9317
19 | 2719242.0597 | 1126493.345
20 | 2719224.1307 | 1126521.4699
21 | 2719284.5368 | 1126492.8681
22 | 2719222.5207 | 1126523.9004
23 | 2719279.6853 | 1126504.2487
24 | 2719193.42 | 1126564.4119
25 | 2719191.7265 | 1126566.894
26 | 2719163.8495 | 1126654.1478
27 | 2719183.2749 | 1126654.5257
28 | 2719151.5314 | 1126653.0447
29 | 2719136.8544 | 1126641.1917
30 | 2719125.2625 | 1126634.3624
31 | 2719124.711 | 1126660.8438
32 | 2719111.0489 | 1126670.3593
33 | 2719123.6978 | 1126633.6418
34 | 2719107.6406 | 1126696.4228
35 | 2719103.9341 | 1126657.0212
36 | 2719199.3408 | 1126729.9634
37 | 2719194.4142 | 1126744.5008
38 | 2719202.9557 | 1126718.7116
39 | 2719189.7889 | 1126758.1491
40 | 2719203.094 | 1126718.2806
41 | 2719185.8787 | 1126769.6875
42 | 2719071.3134 | 1126536.6719
43 | 2719050.1286 | 1126555.4236
44 | 2719092.7588 | 1126499.1607
45 | 2719045.2877 | 1126565.2479
46 | 2719114.0888 | 1126511.8753
47 | 2719082.3895 | 1126459.9357
48 | 2719038.0875 | 1126597.1334
49 | 2719122.7648 | 1126517.8819
50 | 2719080.4201 | 1126458.2567
51 | 2719034.0545 | 1126614.4656
52 | 2719135.9956 | 1126527.7194
53 | 2719061.1397 | 1126445.691
54 | 2719056.2205 | 1126469.7143
55 | 2719193.2156 | 1126464.0057
56 | 2719188.4763 | 1126478.7873
57 | 2719195.3556 | 1126450.5658
58 | 2719180.5635 | 1126498.3786
59 | 2719198.4394 | 1126432.172
60 | 2719174.6943 | 1126523.8689
61 | 2719172.5414 | 1126535.1807
62 | 2719167.7952 | 1126555.7879
63 | 2719161.8647 | 1126549.9132
64 | 2719176.5924 | 1126566.4556
65 | 2719159.8522 | 1126548.1138
66 | 2719182.8144 | 1126579.9558
67 | 2719139.9017 | 1126530.7781
68 | 2719140.7553 | 1126531.4648
69 | 2719150.4982 | 1126539.6701
70 | 2719154.2954 | 1126543.1207
71 | 2719185.2495 | 1126598.5517
72 | 2719082.0215 | 1126615.2442
73 | 2719079.6677 | 1126614.1153
74 | 2719095.342 | 1126622.1165
75 | 2719078.3113 | 1126613.5182
76 | 2719100.6024 | 1126624.5052
77 | 2719068.0215 | 1126608.9881
78 | 2719108.91 | 1126628.2775
79 | 2719066.2878 | 1126608.2248
80 | 2719116.306 | 1126630.6818
81 | 2719106.4909 | 1126636.9729
82 | 2719104.2202 | 1126645.8234
83 | 2719186.4074 | 1126604.5655
84 | 2719197.5365 | 1126621.427
85 | 2719248.7458 | 1126582.6381
86 | 2719107.2032 | 1126699.6769
87 | 2719030.2012 | 1126630.3761
88 | 2719017.7834 | 1126663.1827
89 | 2719011.9114 | 1126676.6886
90 | 2719004.4042 | 1126695.2854
91 | 2718999.4138 | 1126712.6442
92 | 2718995.8686 | 1126728.6862
93 | 2718996.5753 | 1126743.914
94 | 2719039.3769 | 1126749.858
95 | 2719050.3634 | 1126753.6249
96 | 2719047.5224 | 1126752.6508
97 | 2719102.4013 | 1126735.2087
98 | 2719104.7679 | 1126717.7936
99 | 2719038.4875 | 1126488.4742
100 | 2719051.02 | 1126446.4844
101 | 2719017.5264 | 1126448.6581
102 | 2719182.8144 | 1126579.9558

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1