## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5287-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5287-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5287-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5287-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5287-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5287-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5287-5_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_5287-5_0_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_5287-5_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_5287-5_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5287-5_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5287-5_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5287-5_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5287-5_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5287-5_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5287-5_0_3_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_5287-5_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_5287-5_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_5287-5_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5287-5_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5287-5_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5287-5_0_3_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_5287-5_0_3_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_5287-5_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_5287-5_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_5287-5_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_5287-5_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_5287-5_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_5287-5_0_3_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_5287-5_0_3_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_5287-5_0_3_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_5287-5_0_3_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_5287-5_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_5287-5_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5287-5_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_5287-5_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_5287-5_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5287-5_0_3_node_95 | 0.4 | n |  | TRUE
38 | bus_LV_5287-5_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_5287-5_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_5287-5_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5287-5_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_5287-5_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_5287-5_0_3_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_5287-5_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5287-5_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_5287-5_0_3_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_5287-5_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_5287-5_0_3_node_89 | 0.4 | n |  | TRUE
49 | bus_LV_5287-5_0_3_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_5287-5_0_3_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_5287-5_0_3_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_5287-5_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_5287-5_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5287-5_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_5287-5_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_5287-5_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_5287-5_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5287-5_0_3_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_5287-5_0_3_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_5287-5_0_3_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_5287-5_0_3_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_5287-5_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_5287-5_0_3_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_5287-5_0_3_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_5287-5_0_3_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_5287-5_0_3_node_94 | 0.4 | n |  | TRUE
67 | bus_LV_5287-5_0_3_node_93 | 0.4 | n |  | TRUE
68 | bus_LV_5287-5_0_3_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_5287-5_0_3_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_5287-5_0_3_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_5287-5_0_3_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_5287-5_0_3_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_5287-5_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_5287-5_0_3_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_5287-5_0_3_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_5287-5_0_3_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_5287-5_0_3_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_5287-5_0_3_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_5287-5_0_3_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_5287-5_0_3_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_5287-5_0_3_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_5287-5_0_3_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_5287-5_0_3_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_5287-5_0_3_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_5287-5_0_3_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_5287-5_0_3_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_5287-5_0_3_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_5287-5_0_3_node_64 | 0.4 | n |  | TRUE
89 | bus_LV_5287-5_0_3_node_65 | 0.4 | n |  | TRUE
90 | bus_LV_5287-5_0_3_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_5287-5_0_3_node_73 | 0.4 | n |  | TRUE
92 | bus_MV_189_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5287-5_0_3_load_0 | 0 | 0.0030275 | 0.00075876 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5287-5_0_3_load_1 | 1 | 0.0025211 | 0.00063184 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5287-5_0_3_load_2 | 2 | 0.0041497 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5287-5_0_3_load_3 | 3 | 0.0030322 | 0.00075994 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5287-5_0_3_load_4 | 4 | 0.0020982 | 0.00052585 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5287-5_0_3_load_5 | 5 | 0.0015224 | 0.00038154 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5287-5_0_3_load_17 | 7 | 0.0011412 | 0.00028602 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5287-5_0_3_load_16 | 8 | 0.0034436 | 0.00086305 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5287-5_0_3_load_13 | 9 | 0.0018273 | 0.00045795 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5287-5_0_3_load_10 | 10 | 0.0027382 | 0.00068626 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5287-5_0_3_load_6 | 11 | 0.0013192 | 0.00033061 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5287-5_0_3_load_7 | 12 | 0.0037604 | 0.00094246 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5287-5_0_3_load_8 | 13 | 0.0037047 | 0.00092849 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5287-5_0_3_load_9 | 14 | 0.00060214 | 0.00015091 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5287-5_0_3_load_22 | 16 | 0.0020698 | 0.00051873 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5287-5_0_3_load_19 | 17 | 0.0011281 | 0.00028273 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5287-5_0_3_load_11 | 18 | 0.0010961 | 0.00027471 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5287-5_0_3_load_12 | 19 | 0.00056644 | 0.00014196 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5287-5_0_3_load_14 | 20 | 0.00043156 | 0.00010816 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5287-5_0_3_load_62 | 21 | 0.00048336 | 0.00012114 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5287-5_0_3_load_60 | 22 | 0.00057405 | 0.00014387 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5287-5_0_3_load_26 | 23 | 0.0004935 | 0.00012368 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5287-5_0_3_load_25 | 24 | 0.0048334 | 0.0012114 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5287-5_0_3_load_23 | 25 | 0.0016881 | 0.00042309 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5287-5_0_3_load_20 | 26 | 0.0018085 | 0.00045325 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5287-5_0_3_load_21 | 27 | 0.001456 | 0.00036491 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5287-5_0_3_load_83 | 28 | 0.0057812 | 0.0014489 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5287-5_0_3_load_82 | 30 | 0.0010948 | 0.00027438 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5287-5_0_3_load_87 | 31 | 0.0018057 | 0.00045256 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5287-5_0_3_load_31 | 32 | 0.0016225 | 0.00040664 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5287-5_0_3_load_27 | 33 | 0.054039 | 0.013543 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5287-5_0_3_load_28 | 34 | 0.023227 | 0.0058214 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5287-5_0_3_load_24 | 36 | 0.0009397 | 0.00023551 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5287-5_0_3_load_95 | 37 | 0.0026684 | 0.00066876 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5287-5_0_3_load_32 | 38 | 0.0059662 | 0.0014953 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5287-5_0_3_load_34 | 40 | 0.0059853 | 0.0015001 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5287-5_0_3_load_35 | 41 | 0.0011263 | 0.00028227 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5287-5_0_3_load_36 | 42 | 0.0014777 | 0.00037034 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5287-5_0_3_load_37 | 44 | 0.010855 | 0.0027206 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5287-5_0_3_load_45 | 46 | 0.00039245 | 9.8358e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5287-5_0_3_load_38 | 47 | 0.00088421 | 0.0002216 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5287-5_0_3_load_68 | 49 | 0.00097701 | 0.00024486 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5287-5_0_3_load_90 | 50 | 0.0013333 | 0.00033416 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5287-5_0_3_load_67 | 51 | 0.001426 | 0.00035738 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5287-5_0_3_load_39 | 52 | 0.0010741 | 0.0002692 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5287-5_0_3_load_40 | 53 | 0.0020565 | 0.00051541 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5287-5_0_3_load_42 | 55 | 0.0010625 | 0.00026629 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5287-5_0_3_load_43 | 56 | 0.0033798 | 0.00084707 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5287-5_0_3_load_44 | 57 | 0.0068036 | 0.0017052 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5287-5_0_3_load_77 | 58 | 0.0009107 | 0.00022824 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5287-5_0_3_load_85 | 60 | 0.00062891 | 0.00015762 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5287-5_0_3_load_48 | 62 | 0.0013276 | 0.00033272 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5287-5_0_3_load_86 | 63 | 0.002827 | 0.00070851 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5287-5_0_3_load_46 | 64 | 0.0024154 | 0.00060536 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5287-5_0_3_load_92 | 65 | 0.002579 | 0.00064635 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5287-5_0_3_load_93 | 67 | 0.00085972 | 0.00021547 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5287-5_0_3_load_50 | 68 | 0.001098 | 0.00027518 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5287-5_0_3_load_51 | 69 | 0.0019992 | 0.00050106 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5287-5_0_3_load_81 | 71 | 0.0010005 | 0.00025075 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5287-5_0_3_load_53 | 72 | 0.0022081 | 0.00055341 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5287-5_0_3_load_66 | 73 | 0.00047175 | 0.00011823 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5287-5_0_3_load_80 | 74 | 0.0022426 | 0.00056205 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5287-5_0_3_load_75 | 76 | 0.0060433 | 0.0015146 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5287-5_0_3_load_54 | 77 | 0.0020679 | 0.00051827 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5287-5_0_3_load_55 | 78 | 0.001281 | 0.00032104 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5287-5_0_3_load_57 | 80 | 0.0032089 | 0.00080422 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5287-5_0_3_load_58 | 81 | 0.0053298 | 0.0013358 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5287-5_0_3_load_79 | 82 | 0.0031135 | 0.00078032 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5287-5_0_3_load_63 | 84 | 0.0012312 | 0.00030857 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5287-5_0_3_load_59 | 85 | 0.00052592 | 0.00013181 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5287-5_0_3_load_61 | 86 | 0.00080293 | 0.00020123 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5287-5_0_3_load_88 | 87 | 0.001505 | 0.00037718 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5287-5_0_3_load_64 | 88 | 0.00071291 | 0.00017867 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5287-5_0_3_load_65 | 89 | 0.00043394 | 0.00010876 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5287-5_0_3_load_72 | 90 | 0.00092166 | 0.00023099 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5287-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_5287-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0017956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_5287-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.00064051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5287-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_5287-5_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.001815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_5287-5_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.077733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5287-5_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.01115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5287-5_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.038305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_5287-5_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.054249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_5287-5_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0016807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_5287-5_0_3_line_10 | NAYY 4x150 SE | 8 | 23 | 0.00044707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_5287-5_0_3_line_11 | NAYY 4x150 SE | 9 | 18 | 0.031578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_5287-5_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.023686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_5287-5_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0073968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_5287-5_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.033029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_5287-5_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.00031389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_5287-5_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.016591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_5287-5_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0015792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5287-5_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.057306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_5287-5_0_3_line_19 | NAYY 4x150 SE | 16 | 25 | 0.011334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5287-5_0_3_line_20 | NAYY 4x150 SE | 17 | 26 | 0.017814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_5287-5_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.023158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_5287-5_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0044719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_5287-5_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.035213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_5287-5_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0083929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_5287-5_0_3_line_25 | NAYY 4x150 SE | 22 | 85 | 0.024709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_5287-5_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.021388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_5287-5_0_3_line_27 | NAYY 4x150 SE | 25 | 36 | 0.097975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5287-5_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.026919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_5287-5_0_3_line_29 | NAYY 4x150 SE | 27 | 32 | 0.12311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_5287-5_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.023965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5287-5_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.031341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5287-5_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.05014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5287-5_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.018837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5287-5_0_3_line_34 | NAYY 4x150 SE | 32 | 35 | 0.0058161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_5287-5_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.028855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5287-5_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.0047424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_5287-5_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.053513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5287-5_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.039344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5287-5_0_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.086526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_5287-5_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.057908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_5287-5_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.029452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_5287-5_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.013818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_5287-5_0_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.0074302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_5287-5_0_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.060151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5287-5_0_3_line_45 | NAYY 4x150 SE | 43 | 46 | 0.024355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_5287-5_0_3_line_46 | NAYY 4x150 SE | 44 | 47 | 0.00097823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_5287-5_0_3_line_47 | NAYY 4x150 SE | 44 | 48 | 0.040505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5287-5_0_3_line_48 | NAYY 4x150 SE | 45 | 65 | 0.045303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5287-5_0_3_line_49 | NAYY 4x150 SE | 45 | 66 | 0.065314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5287-5_0_3_line_50 | NAYY 4x150 SE | 46 | 64 | 0.02159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_5287-5_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.0053797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_5287-5_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.18062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5287-5_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.029187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_5287-5_0_3_line_54 | NAYY 4x150 SE | 51 | 83 | 0.018026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_5287-5_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.022395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5287-5_0_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.011342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5287-5_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.061544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5287-5_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.052521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5287-5_0_3_line_59 | NAYY 4x150 SE | 54 | 57 | 0.02598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5287-5_0_3_line_60 | NAYY 4x150 SE | 55 | 58 | 0.00076023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5287-5_0_3_line_61 | NAYY 4x150 SE | 56 | 59 | 0.039477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_5287-5_0_3_line_62 | NAYY 4x150 SE | 57 | 60 | 0.033937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5287-5_0_3_line_63 | NAYY 4x150 SE | 59 | 61 | 0.02384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_5287-5_0_3_line_64 | NAYY 4x150 SE | 59 | 62 | 0.049986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_5287-5_0_3_line_65 | NAYY 4x150 SE | 60 | 63 | 0.018582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5287-5_0_3_line_66 | NAYY 4x150 SE | 61 | 74 | 0.084735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_5287-5_0_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.02478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_5287-5_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.014928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5287-5_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0071805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_5287-5_0_3_line_70 | NAYY 4x150 SE | 68 | 70 | 0.01604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_5287-5_0_3_line_71 | NAYY 4x150 SE | 69 | 71 | 0.10638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_5287-5_0_3_line_72 | NAYY 4x150 SE | 70 | 72 | 0.013792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_5287-5_0_3_line_73 | NAYY 4x150 SE | 71 | 73 | 0.095448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5287-5_0_3_line_74 | NAYY 4x150 SE | 71 | 74 | 0.04285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_5287-5_0_3_line_75 | NAYY 4x150 SE | 72 | 75 | 0.015183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_5287-5_0_3_line_76 | NAYY 4x150 SE | 73 | 89 | 0.0101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5287-5_0_3_line_77 | NAYY 4x150 SE | 75 | 76 | 0.041556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_5287-5_0_3_line_78 | NAYY 4x150 SE | 76 | 91 | 0.035799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5287-5_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.01769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5287-5_0_3_line_80 | NAYY 4x150 SE | 77 | 79 | 0.029893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5287-5_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.031534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5287-5_0_3_line_82 | NAYY 4x150 SE | 79 | 81 | 0.014429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5287-5_0_3_line_83 | NAYY 4x150 SE | 80 | 82 | 0.034857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5287-5_0_3_line_84 | NAYY 4x150 SE | 81 | 83 | 0.055602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5287-5_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.010534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_5287-5_0_3_line_86 | NAYY 4x150 SE | 84 | 87 | 0.038877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5287-5_0_3_line_87 | NAYY 4x150 SE | 84 | 86 | 0.011558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_5287-5_0_3_line_88 | NAYY 4x150 SE | 85 | 86 | 0.028192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_5287-5_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.010608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5287-5_0_3_line_90 | NAYY 4x150 SE | 90 | 91 | 0.030186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5287-5_0_3_trafo_25 | 0.25 MVA 20/0.4 kV | 92 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2719785.626 | 1128812.4916 | 2719790.6262 | 1128800.4992
1 | 2719785.626 | 1128812.4916 | 2719784.935 | 1128814.1489
2 | 2719790.8727 | 1128799.9081 | 2719790.6262 | 1128800.4992
3 | 2719784.935 | 1128814.1489 | 2719777.0966 | 1128832.948
4 | 2719791.5712 | 1128798.2329 | 2719790.8727 | 1128799.9081
5 | 2719747.1816 | 1128904.6945 | 2719777.0966 | 1128832.948
6 | 2719791.5712 | 1128798.2329 | 2719795.8621 | 1128787.9419
7 | 2719747.1816 | 1128904.6945 | 2719711.1692 | 1128891.6405
8 | 2719747.1816 | 1128904.6945 | 2719727.5023 | 1128955.248
9 | 2719795.8621 | 1128787.9419 | 2719796.5089 | 1128786.3906
10 | 2719711.1692 | 1128891.6405 | 2719710.7489 | 1128891.4881
11 | 2719727.5023 | 1128955.248 | 2719716.0471 | 1128984.675
12 | 2719796.5089 | 1128786.3906 | 2719805.6243 | 1128764.5287
13 | 2719818.3352 | 1128734.0435 | 2719821.1818 | 1128727.2164
14 | 2719818.3352 | 1128734.0435 | 2719805.6243 | 1128764.5287
15 | 2719821.3026 | 1128726.9267 | 2719821.1818 | 1128727.2164
16 | 2719827.6876 | 1128711.6132 | 2719821.3026 | 1128726.9267
17 | 2719827.6876 | 1128711.6132 | 2719828.4705 | 1128710.2417
18 | 2719827.6876 | 1128711.6132 | 2719812.3325 | 1128704.0261 | 2719805.2799 | 1128699.8057 | 2719821.4757 | 1128672.254
19 | 2719828.4705 | 1128710.2417 | 2719834.0889 | 1128700.3985
20 | 2719828.5132 | 1128655.9007 | 2719822.1163 | 1128671.1642 | 2719821.4757 | 1128672.254
21 | 2719716.0471 | 1128984.675 | 2719707.6462 | 1129006.2559
22 | 2719707.6462 | 1129006.2559 | 2719706.024 | 1129010.4232
23 | 2719693.2502 | 1129043.2374 | 2719706.024 | 1129010.4232
24 | 2719690.2056 | 1129051.0585 | 2719693.2502 | 1129043.2374
25 | 2719681.2422 | 1129074.0844 | 2719690.2056 | 1129051.0585
26 | 2719690.7276 | 1128883.9718 | 2719697.7003 | 1128886.7582 | 2719710.7489 | 1128891.4881
27 | 2719882.3269 | 1128615.1288 | 2719877.6275 | 1128624.1212 | 2719834.0889 | 1128700.3985
28 | 2719828.5132 | 1128655.9007 | 2719838.9181 | 1128631.0738
29 | 2719838.9181 | 1128631.0738 | 2719732.0337 | 1128569.9871
30 | 2719698.3888 | 1128636.0568 | 2719709.2636 | 1128614.7016
31 | 2719723.4856 | 1128586.7733 | 2719709.2636 | 1128614.7016
32 | 2719698.3888 | 1128636.0568 | 2719669.1972 | 1128620.4351 | 2719653.227 | 1128614.5189
33 | 2719723.4856 | 1128586.7733 | 2719732.0337 | 1128569.9871
34 | 2719734.673 | 1128564.8043 | 2719732.0337 | 1128569.9871
35 | 2719736.825 | 1128560.5783 | 2719745.8671 | 1128542.8221 | 2719750.1721 | 1128534.9992
36 | 2719734.673 | 1128564.8043 | 2719736.825 | 1128560.5783
37 | 2719882.3269 | 1128615.1288 | 2719902.9284 | 1128664.5169
38 | 2719602.1399 | 1129287.1287 | 2719567.8281 | 1129267.8772
39 | 2719602.1399 | 1129287.1287 | 2719632.2204 | 1129205.9998
40 | 2719602.1399 | 1129287.1287 | 2719582.0098 | 1129341.4249
41 | 2719642.4595 | 1129178.3844 | 2719632.2204 | 1129205.9998
42 | 2719577.2062 | 1129354.3813 | 2719582.0098 | 1129341.4249
43 | 2719642.4595 | 1129178.3844 | 2719645.0426 | 1129171.4176
44 | 2719577.2062 | 1129354.3813 | 2719557.1663 | 1129410.3342 | 2719556.8529 | 1129410.984
45 | 2719577.2062 | 1129354.3813 | 2719557.0304 | 1129340.7387
46 | 2719645.0426 | 1129171.4176 | 2719645.3827 | 1129170.5004
47 | 2719645.0426 | 1129171.4176 | 2719682.8101 | 1129186.056
48 | 2719556.8529 | 1129410.984 | 2719538.3549 | 1129398.3541 | 2719519.7215 | 1129385.0346
49 | 2719556.8529 | 1129410.984 | 2719582.1687 | 1129471.1922
50 | 2719557.0304 | 1129340.7387 | 2719539.1455 | 1129328.6452
51 | 2719647.2529 | 1129165.4563 | 2719645.3827 | 1129170.5004
52 | 2719682.8101 | 1129186.056 | 2719860.9734 | 1129215.7328
53 | 2719657.3997 | 1129138.09 | 2719647.2529 | 1129165.4563
54 | 2719663.6663 | 1129121.1886 | 2719657.3997 | 1129138.09
55 | 2719418.7857 | 1129370.9212 | 2719405.4754 | 1129388.931
56 | 2719425.527 | 1129361.7999 | 2719418.7857 | 1129370.9212
57 | 2719405.4754 | 1129388.931 | 2719372.9719 | 1129432.9104 | 2719369.1143 | 1129438.5789
58 | 2719425.527 | 1129361.7999 | 2719438.958 | 1129342.3075 | 2719455.3215 | 1129318.5475
59 | 2719425.527 | 1129361.7999 | 2719447.0831 | 1129376.3012
60 | 2719369.1143 | 1129438.5789 | 2719368.6866 | 1129439.2074
61 | 2719477.713 | 1129286.0348 | 2719455.3215 | 1129318.5475
62 | 2719447.0831 | 1129376.3012 | 2719475.2417 | 1129395.2443
63 | 2719470.402 | 1129263.3416 | 2719477.713 | 1129286.0348
64 | 2719477.713 | 1129286.0348 | 2719518.6303 | 1129314.7463
65 | 2719490.6598 | 1129405.6164 | 2719475.2417 | 1129395.2443
66 | 2719470.402 | 1129263.3416 | 2719393.7488 | 1129283.4079 | 2719388.4705 | 1129284.9491
67 | 2719539.1455 | 1129328.6452 | 2719519.6819 | 1129315.4842 | 2719518.6303 | 1129314.7463
68 | 2719582.1687 | 1129471.1922 | 2719596.0178 | 1129476.7635
69 | 2719318.1935 | 1129187.6268 | 2719322.1895 | 1129193.5927
70 | 2719309.2669 | 1129174.2997 | 2719318.1935 | 1129187.6268
71 | 2719347.3378 | 1129296.9587 | 2719322.1895 | 1129193.5927
72 | 2719309.2669 | 1129174.2997 | 2719319.7438 | 1129165.3294
73 | 2719255.5221 | 1129323.0277 | 2719295.0545 | 1129312.2241 | 2719347.3378 | 1129296.9587
74 | 2719388.4705 | 1129284.9491 | 2719347.3378 | 1129296.9587
75 | 2719331.2772 | 1129155.4545 | 2719319.7438 | 1129165.3294
76 | 2719255.5221 | 1129323.0277 | 2719245.7793 | 1129325.6903
77 | 2719331.2772 | 1129155.4545 | 2719364.5274 | 1129130.5286
78 | 2719393.1711 | 1129109.0559 | 2719364.5274 | 1129130.5286
79 | 2719583.4437 | 1129132.7259 | 2719579.8587 | 1129140.8997 | 2719576.6232 | 1129149.045
80 | 2719595.4502 | 1129105.3505 | 2719583.4437 | 1129132.7259
81 | 2719595.4502 | 1129105.3505 | 2719587.5535 | 1129103.3041 | 2719564.9221 | 1129097.4504
82 | 2719595.4502 | 1129105.3505 | 2719609.505 | 1129108.6137
83 | 2719531.1758 | 1129088.7218 | 2719564.9221 | 1129097.4504
84 | 2719663.6663 | 1129121.1886 | 2719609.505 | 1129108.6137
85 | 2719663.6663 | 1129121.1886 | 2719667.1327 | 1129111.241
86 | 2719667.1327 | 1129111.241 | 2719704.9717 | 1129120.1638
87 | 2719667.1327 | 1129111.241 | 2719670.1617 | 1129102.5489 | 2719671.0152 | 1129100.3561
88 | 2719681.2422 | 1129074.0844 | 2719671.0152 | 1129100.3561
89 | 2719235.5465 | 1129328.4868 | 2719245.7793 | 1129325.6903
90 | 2719393.1711 | 1129109.0559 | 2719384.3994 | 1129104.1015 | 2719370.5154 | 1129089.5509

## bus_geodata
| x | y | coords
0 | 2719785.626 | 1128812.4916
1 | 2719790.6262 | 1128800.4992
2 | 2719784.935 | 1128814.1489
3 | 2719790.8727 | 1128799.9081
4 | 2719777.0966 | 1128832.948
5 | 2719791.5712 | 1128798.2329
6 | 2719747.1816 | 1128904.6945
7 | 2719795.8621 | 1128787.9419
8 | 2719711.1693 | 1128891.6405
9 | 2719727.5023 | 1128955.248
10 | 2719796.5089 | 1128786.3906
11 | 2719818.3352 | 1128734.0435
12 | 2719821.1818 | 1128727.2164
13 | 2719805.6243 | 1128764.5287
14 | 2719821.3026 | 1128726.9267
15 | 2719827.6876 | 1128711.6132
16 | 2719828.4705 | 1128710.2417
17 | 2719821.4757 | 1128672.254
18 | 2719716.0471 | 1128984.675
19 | 2719707.6462 | 1129006.2559
20 | 2719706.024 | 1129010.4232
21 | 2719693.2502 | 1129043.2374
22 | 2719690.2056 | 1129051.0585
23 | 2719710.7489 | 1128891.4881
24 | 2719690.7276 | 1128883.9718
25 | 2719834.0889 | 1128700.3985
26 | 2719828.5132 | 1128655.9007
27 | 2719838.9181 | 1128631.0738
28 | 2719709.2636 | 1128614.7016
29 | 2719698.3888 | 1128636.0568
30 | 2719723.4856 | 1128586.7733
31 | 2719653.227 | 1128614.5189
32 | 2719732.0337 | 1128569.9871
33 | 2719736.825 | 1128560.5783
34 | 2719750.1721 | 1128534.9992
35 | 2719734.673 | 1128564.8043
36 | 2719882.3269 | 1128615.1288
37 | 2719902.9284 | 1128664.5169
38 | 2719567.8281 | 1129267.8772
39 | 2719602.1399 | 1129287.1287
40 | 2719632.2204 | 1129205.9998
41 | 2719582.0098 | 1129341.4249
42 | 2719642.4595 | 1129178.3844
43 | 2719577.2062 | 1129354.3813
44 | 2719645.0426 | 1129171.4176
45 | 2719556.8529 | 1129410.984
46 | 2719557.0304 | 1129340.7387
47 | 2719645.3827 | 1129170.5004
48 | 2719682.8101 | 1129186.056
49 | 2719647.2529 | 1129165.4563
50 | 2719860.9734 | 1129215.7328
51 | 2719657.3997 | 1129138.09
52 | 2719418.7857 | 1129370.9212
53 | 2719405.4754 | 1129388.931
54 | 2719425.527 | 1129361.7999
55 | 2719369.1143 | 1129438.5789
56 | 2719455.3215 | 1129318.5475
57 | 2719447.0831 | 1129376.3012
58 | 2719368.6866 | 1129439.2074
59 | 2719477.713 | 1129286.0348
60 | 2719475.2417 | 1129395.2443
61 | 2719470.402 | 1129263.3416
62 | 2719518.6303 | 1129314.7463
63 | 2719490.6598 | 1129405.6164
64 | 2719539.1455 | 1129328.6452
65 | 2719519.7215 | 1129385.0346
66 | 2719582.1687 | 1129471.1922
67 | 2719596.0178 | 1129476.7635
68 | 2719318.1935 | 1129187.6268
69 | 2719322.1895 | 1129193.5927
70 | 2719309.2669 | 1129174.2997
71 | 2719347.3378 | 1129296.9587
72 | 2719319.7438 | 1129165.3294
73 | 2719255.5221 | 1129323.0277
74 | 2719388.4705 | 1129284.9491
75 | 2719331.2772 | 1129155.4545
76 | 2719364.5274 | 1129130.5286
77 | 2719583.4437 | 1129132.7259
78 | 2719576.6232 | 1129149.045
79 | 2719595.4502 | 1129105.3505
80 | 2719564.9221 | 1129097.4504
81 | 2719609.505 | 1129108.6137
82 | 2719531.1758 | 1129088.7218
83 | 2719663.6663 | 1129121.1886
84 | 2719667.1327 | 1129111.241
85 | 2719681.2422 | 1129074.0844
86 | 2719671.0152 | 1129100.3561
87 | 2719704.9717 | 1129120.1638
88 | 2719235.5465 | 1129328.4868
89 | 2719245.7793 | 1129325.6903
90 | 2719370.5154 | 1129089.5509
91 | 2719393.1711 | 1129109.0559
92 | 2719747.1816 | 1128904.6945

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1