## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5307-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5307-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5307-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5307-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5307-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5307-1_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5307-1_0_6_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_5307-1_0_6_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_5307-1_0_6_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_5307-1_0_6_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_5307-1_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5307-1_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5307-1_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5307-1_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5307-1_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5307-1_0_6_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_5307-1_0_6_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_5307-1_0_6_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_5307-1_0_6_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_5307-1_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5307-1_0_6_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_5307-1_0_6_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_5307-1_0_6_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_5307-1_0_6_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_5307-1_0_6_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_5307-1_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5307-1_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5307-1_0_6_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5307-1_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5307-1_0_6_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_5307-1_0_6_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_5307-1_0_6_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_5307-1_0_6_node_87 | 0.4 | n |  | TRUE
33 | bus_LV_5307-1_0_6_node_88 | 0.4 | n |  | TRUE
34 | bus_LV_5307-1_0_6_node_89 | 0.4 | n |  | TRUE
35 | bus_LV_5307-1_0_6_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_5307-1_0_6_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_5307-1_0_6_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_5307-1_0_6_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_5307-1_0_6_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_5307-1_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_5307-1_0_6_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_5307-1_0_6_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_5307-1_0_6_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_5307-1_0_6_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_5307-1_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_5307-1_0_6_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5307-1_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_5307-1_0_6_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_5307-1_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_5307-1_0_6_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_5307-1_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5307-1_0_6_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_5307-1_0_6_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_5307-1_0_6_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_5307-1_0_6_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_5307-1_0_6_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_5307-1_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_5307-1_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_5307-1_0_6_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_5307-1_0_6_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_5307-1_0_6_node_96 | 0.4 | n |  | TRUE
62 | bus_LV_5307-1_0_6_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_5307-1_0_6_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_5307-1_0_6_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_5307-1_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_5307-1_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_5307-1_0_6_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_5307-1_0_6_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_5307-1_0_6_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_5307-1_0_6_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_5307-1_0_6_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_5307-1_0_6_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_5307-1_0_6_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_5307-1_0_6_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_5307-1_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_5307-1_0_6_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_5307-1_0_6_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_5307-1_0_6_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_5307-1_0_6_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_5307-1_0_6_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_5307-1_0_6_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_5307-1_0_6_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_5307-1_0_6_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_5307-1_0_6_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_5307-1_0_6_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_5307-1_0_6_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_5307-1_0_6_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_5307-1_0_6_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_5307-1_0_6_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_5307-1_0_6_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_5307-1_0_6_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_5307-1_0_6_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_5307-1_0_6_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_5307-1_0_6_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_5307-1_0_6_node_93 | 0.4 | n |  | TRUE
96 | bus_MV_78_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5307-1_0_6_load_0 | 0 | 0.0012972 | 0.0003251 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5307-1_0_6_load_1 | 1 | 0.002494 | 0.00062505 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5307-1_0_6_load_3 | 3 | 0.0010512 | 0.00026344 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5307-1_0_6_load_5 | 5 | 0.0010576 | 0.00026506 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5307-1_0_6_load_14 | 6 | 0.00098137 | 0.00024595 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5307-1_0_6_load_11 | 7 | 0.0010885 | 0.00027279 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5307-1_0_6_load_15 | 8 | 0.00053006 | 0.00013285 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5307-1_0_6_load_12 | 9 | 0.0033393 | 0.00083691 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5307-1_0_6_load_6 | 10 | 0.0014649 | 0.00036715 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5307-1_0_6_load_7 | 11 | 0.00046643 | 0.0001169 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5307-1_0_6_load_8 | 12 | 0.00084447 | 0.00021164 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5307-1_0_6_load_9 | 13 | 0.0011519 | 0.00028869 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5307-1_0_6_load_10 | 14 | 0.00080447 | 0.00020162 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5307-1_0_6_load_24 | 15 | 0.0013386 | 0.00033549 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5307-1_0_6_load_18 | 16 | 0.0017785 | 0.00044574 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5307-1_0_6_load_28 | 17 | 0.0042862 | 0.0010742 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5307-1_0_6_load_26 | 20 | 0.00088039 | 0.00022065 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5307-1_0_6_load_22 | 21 | 0.0024106 | 0.00060415 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5307-1_0_6_load_27 | 22 | 0.00082473 | 0.0002067 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5307-1_0_6_load_25 | 23 | 0.00050687 | 0.00012703 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5307-1_0_6_load_56 | 24 | 0.00048788 | 0.00012227 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5307-1_0_6_load_16 | 25 | 0.00087957 | 0.00022044 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5307-1_0_6_load_17 | 26 | 0.00068402 | 0.00017143 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5307-1_0_6_load_19 | 27 | 0.0039301 | 0.00098496 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5307-1_0_6_load_21 | 28 | 0.00089458 | 0.0002242 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5307-1_0_6_load_48 | 30 | 0.00054576 | 0.00013678 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5307-1_0_6_load_49 | 31 | 0.0019457 | 0.00048764 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5307-1_0_6_load_87 | 32 | 0.001002 | 0.00025112 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5307-1_0_6_load_88 | 33 | 0.0023216 | 0.00058184 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5307-1_0_6_load_40 | 36 | 0.00081141 | 0.00020336 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5307-1_0_6_load_57 | 37 | 0.018574 | 0.004655 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5307-1_0_6_load_44 | 38 | 0.0020681 | 0.00051833 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5307-1_0_6_load_29 | 39 | 0.0013686 | 0.000343 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5307-1_0_6_load_30 | 40 | 0.00082353 | 0.0002064 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5307-1_0_6_load_31 | 41 | 0.0011286 | 0.00028285 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5307-1_0_6_load_32 | 42 | 0.0015414 | 0.0003863 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5307-1_0_6_load_33 | 43 | 0.0016317 | 0.00040894 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5307-1_0_6_load_34 | 44 | 0.0017984 | 0.00045072 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5307-1_0_6_load_39 | 46 | 0.0010739 | 0.00026916 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5307-1_0_6_load_36 | 47 | 0.00090983 | 0.00022802 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5307-1_0_6_load_42 | 48 | 0.0026295 | 0.00065901 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5307-1_0_6_load_37 | 49 | 0.0011566 | 0.00028987 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5307-1_0_6_load_54 | 52 | 0.0010051 | 0.00025191 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5307-1_0_6_load_45 | 54 | 0.002077 | 0.00052054 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5307-1_0_6_load_46 | 56 | 0.0019381 | 0.00048574 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5307-1_0_6_load_50 | 57 | 0.0011917 | 0.00029867 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5307-1_0_6_load_52 | 58 | 0.0012785 | 0.00032041 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5307-1_0_6_load_51 | 59 | 0.0016026 | 0.00040164 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5307-1_0_6_load_53 | 60 | 0.0019265 | 0.00048282 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5307-1_0_6_load_96 | 61 | 0.001101 | 0.00027594 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5307-1_0_6_load_95 | 62 | 0.0010724 | 0.00026877 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5307-1_0_6_load_76 | 63 | 0.0012107 | 0.00030344 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5307-1_0_6_load_58 | 64 | 0.0040103 | 0.0010051 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5307-1_0_6_load_59 | 65 | 0.001196 | 0.00029973 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5307-1_0_6_load_61 | 67 | 0.0019509 | 0.00048894 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5307-1_0_6_load_63 | 69 | 0.014532 | 0.0036421 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5307-1_0_6_load_84 | 70 | 0.0019474 | 0.00048807 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5307-1_0_6_load_80 | 71 | 0.0010095 | 0.00025301 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5307-1_0_6_load_64 | 72 | 0.0018627 | 0.00046683 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5307-1_0_6_load_65 | 73 | 0.00081077 | 0.0002032 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5307-1_0_6_load_66 | 74 | 0.0012656 | 0.00031719 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5307-1_0_6_load_67 | 75 | 0.0020395 | 0.00051115 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5307-1_0_6_load_79 | 76 | 0.0021233 | 0.00053214 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5307-1_0_6_load_69 | 77 | 0.0033158 | 0.00083101 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5307-1_0_6_load_70 | 78 | 0.0016867 | 0.00042272 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5307-1_0_6_load_72 | 80 | 0.0034872 | 0.00087397 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5307-1_0_6_load_73 | 81 | 0.0011765 | 0.00029486 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5307-1_0_6_load_74 | 82 | 0.0039276 | 0.00098434 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5307-1_0_6_load_94 | 83 | 0.0014129 | 0.0003541 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5307-1_0_6_load_75 | 85 | 0.0013626 | 0.00034149 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5307-1_0_6_load_78 | 86 | 0.0012176 | 0.00030517 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5307-1_0_6_load_82 | 88 | 0.0011366 | 0.00028485 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5307-1_0_6_load_83 | 89 | 0.0012443 | 0.00031184 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5307-1_0_6_load_92 | 90 | 0.0016055 | 0.00040237 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5307-1_0_6_load_85 | 91 | 0.001192 | 0.00029874 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5307-1_0_6_load_86 | 92 | 0.012469 | 0.003125 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5307-1_0_6_load_90 | 93 | 0.0011161 | 0.00027973 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5307-1_0_6_load_91 | 94 | 0.0014176 | 0.00035528 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5307-1_0_6_load_93 | 95 | 0.0030885 | 0.00077406 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5307-1_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0050516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_5307-1_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0084284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_5307-1_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0078814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5307-1_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_5307-1_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.025066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5307-1_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0020504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5307-1_0_6_line_6 | NAYY 4x150 SE | 4 | 7 | 0.039495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5307-1_0_6_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0049372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5307-1_0_6_line_8 | NAYY 4x150 SE | 7 | 9 | 0.010745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_5307-1_0_6_line_9 | NAYY 4x150 SE | 8 | 25 | 0.0017127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5307-1_0_6_line_10 | NAYY 4x150 SE | 9 | 19 | 0.079402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_5307-1_0_6_line_11 | NAYY 4x150 SE | 9 | 20 | 0.081733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5307-1_0_6_line_12 | NAYY 4x150 SE | 10 | 11 | 0.0043902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5307-1_0_6_line_13 | NAYY 4x150 SE | 10 | 12 | 0.023549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5307-1_0_6_line_14 | NAYY 4x150 SE | 11 | 13 | 0.051656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5307-1_0_6_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0025219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5307-1_0_6_line_16 | NAYY 4x150 SE | 13 | 15 | 0.06407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5307-1_0_6_line_17 | NAYY 4x150 SE | 14 | 16 | 0.023401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5307-1_0_6_line_18 | NAYY 4x150 SE | 15 | 17 | 0.03155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5307-1_0_6_line_19 | NAYY 4x150 SE | 16 | 18 | 0.017815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5307-1_0_6_line_20 | NAYY 4x150 SE | 17 | 36 | 0.016505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5307-1_0_6_line_21 | NAYY 4x150 SE | 18 | 28 | 0.090816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5307-1_0_6_line_22 | NAYY 4x150 SE | 18 | 27 | 0.018571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5307-1_0_6_line_23 | NAYY 4x150 SE | 19 | 22 | 0.042061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_5307-1_0_6_line_24 | NAYY 4x150 SE | 20 | 21 | 0.055121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5307-1_0_6_line_25 | NAYY 4x150 SE | 20 | 23 | 0.00074062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5307-1_0_6_line_26 | NAYY 4x150 SE | 22 | 24 | 0.0024404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_5307-1_0_6_line_27 | NAYY 4x150 SE | 24 | 37 | 0.0082222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_5307-1_0_6_line_28 | NAYY 4x150 SE | 25 | 26 | 0.014665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5307-1_0_6_line_29 | NAYY 4x150 SE | 26 | 27 | 0.023088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5307-1_0_6_line_30 | NAYY 4x150 SE | 28 | 29 | 0.042027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5307-1_0_6_line_31 | NAYY 4x150 SE | 29 | 30 | 0.015478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5307-1_0_6_line_32 | NAYY 4x150 SE | 29 | 31 | 0.016808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5307-1_0_6_line_33 | NAYY 4x150 SE | 30 | 57 | 0.011347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5307-1_0_6_line_34 | NAYY 4x150 SE | 31 | 58 | 0.053174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5307-1_0_6_line_35 | NAYY 4x150 SE | 32 | 33 | 0.015382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5307-1_0_6_line_36 | NAYY 4x150 SE | 33 | 34 | 0.029916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5307-1_0_6_line_37 | NAYY 4x150 SE | 34 | 35 | 0.030008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5307-1_0_6_line_38 | NAYY 4x150 SE | 35 | 74 | 0.039854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5307-1_0_6_line_39 | NAYY 4x150 SE | 36 | 38 | 0.013836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5307-1_0_6_line_40 | NAYY 4x150 SE | 37 | 63 | 0.47753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_5307-1_0_6_line_41 | NAYY 4x150 SE | 38 | 54 | 0.0028455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5307-1_0_6_line_42 | NAYY 4x150 SE | 39 | 40 | 0.014873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5307-1_0_6_line_43 | NAYY 4x150 SE | 39 | 41 | 0.04784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5307-1_0_6_line_44 | NAYY 4x150 SE | 40 | 42 | 0.026176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5307-1_0_6_line_45 | NAYY 4x150 SE | 41 | 43 | 0.012683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5307-1_0_6_line_46 | NAYY 4x150 SE | 42 | 44 | 0.026876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5307-1_0_6_line_47 | NAYY 4x150 SE | 44 | 45 | 0.016004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5307-1_0_6_line_48 | NAYY 4x150 SE | 45 | 46 | 0.042593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5307-1_0_6_line_49 | NAYY 4x150 SE | 45 | 47 | 0.010318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5307-1_0_6_line_50 | NAYY 4x150 SE | 46 | 48 | 0.016257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5307-1_0_6_line_51 | NAYY 4x150 SE | 47 | 49 | 0.014754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5307-1_0_6_line_52 | NAYY 4x150 SE | 48 | 53 | 0.029591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5307-1_0_6_line_53 | NAYY 4x150 SE | 49 | 50 | 0.060845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5307-1_0_6_line_54 | NAYY 4x150 SE | 50 | 51 | 0.069542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5307-1_0_6_line_55 | NAYY 4x150 SE | 51 | 52 | 0.02964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5307-1_0_6_line_56 | NAYY 4x150 SE | 52 | 55 | 0.096721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5307-1_0_6_line_57 | NAYY 4x150 SE | 53 | 56 | 0.0050734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5307-1_0_6_line_58 | NAYY 4x150 SE | 54 | 56 | 0.039496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5307-1_0_6_line_59 | NAYY 4x150 SE | 55 | 61 | 0.59646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5307-1_0_6_line_60 | NAYY 4x150 SE | 57 | 59 | 0.001317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5307-1_0_6_line_61 | NAYY 4x150 SE | 58 | 60 | 0.094589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5307-1_0_6_line_62 | NAYY 4x150 SE | 61 | 62 | 0.16145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5307-1_0_6_line_63 | NAYY 4x150 SE | 63 | 85 | 0.0070374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_5307-1_0_6_line_64 | NAYY 4x150 SE | 64 | 65 | 0.0061913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5307-1_0_6_line_65 | NAYY 4x150 SE | 64 | 66 | 0.0081474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5307-1_0_6_line_66 | NAYY 4x150 SE | 65 | 67 | 0.040529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5307-1_0_6_line_67 | NAYY 4x150 SE | 66 | 68 | 0.018462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5307-1_0_6_line_68 | NAYY 4x150 SE | 66 | 69 | 0.010922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5307-1_0_6_line_69 | NAYY 4x150 SE | 67 | 70 | 0.012585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5307-1_0_6_line_70 | NAYY 4x150 SE | 68 | 71 | 0.0020502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5307-1_0_6_line_71 | NAYY 4x150 SE | 70 | 91 | 0.002942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5307-1_0_6_line_72 | NAYY 4x150 SE | 71 | 87 | 0.0071612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5307-1_0_6_line_73 | NAYY 4x150 SE | 72 | 73 | 0.041219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5307-1_0_6_line_74 | NAYY 4x150 SE | 72 | 74 | 0.0098911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5307-1_0_6_line_75 | NAYY 4x150 SE | 73 | 75 | 0.01552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5307-1_0_6_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0022912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5307-1_0_6_line_77 | NAYY 4x150 SE | 76 | 81 | 0.0038017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5307-1_0_6_line_78 | NAYY 4x150 SE | 77 | 78 | 0.014281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5307-1_0_6_line_79 | NAYY 4x150 SE | 77 | 79 | 0.024922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_5307-1_0_6_line_80 | NAYY 4x150 SE | 78 | 80 | 0.007066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5307-1_0_6_line_81 | NAYY 4x150 SE | 79 | 81 | 0.059065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5307-1_0_6_line_82 | NAYY 4x150 SE | 79 | 82 | 0.0069747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_5307-1_0_6_line_83 | NAYY 4x150 SE | 80 | 83 | 0.015455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5307-1_0_6_line_84 | NAYY 4x150 SE | 82 | 84 | 0.024545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_5307-1_0_6_line_85 | NAYY 4x150 SE | 83 | 88 | 0.021697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5307-1_0_6_line_86 | NAYY 4x150 SE | 84 | 86 | 0.023705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5307-1_0_6_line_87 | NAYY 4x150 SE | 84 | 85 | 0.0097016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_5307-1_0_6_line_88 | NAYY 4x150 SE | 87 | 88 | 0.0097006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5307-1_0_6_line_89 | NAYY 4x150 SE | 87 | 89 | 0.02484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5307-1_0_6_line_90 | NAYY 4x150 SE | 89 | 90 | 0.0046779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5307-1_0_6_line_91 | NAYY 4x150 SE | 90 | 93 | 0.024627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5307-1_0_6_line_92 | NAYY 4x150 SE | 91 | 92 | 0.0042467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5307-1_0_6_line_93 | NAYY 4x150 SE | 93 | 94 | 0.010816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5307-1_0_6_line_94 | NAYY 4x150 SE | 94 | 95 | 0.0026811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5307-1_0_6_trafo_57 | 0.25 MVA 20/0.4 kV | 96 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2681425.6662 | 1126954.0341 | 2681430.6171 | 1126953.0307
1 | 2681417.4057 | 1126955.7082 | 2681425.6662 | 1126954.0341
2 | 2681430.6171 | 1126953.0307 | 2681438.3415 | 1126951.4653
3 | 2681417.4057 | 1126955.7082 | 2681407.1792 | 1126958.5055
4 | 2681417.4057 | 1126955.7082 | 2681416.0553 | 1126950.109 | 2681417.1463 | 1126930.834
5 | 2681440.1546 | 1126950.5077 | 2681438.3415 | 1126951.4653 | 2681438.3415 | 1126951.4653
6 | 2681407.1792 | 1126958.5055 | 2681409.8403 | 1126920.5639 | 2681409.9415 | 1126919.1072
7 | 2681440.1546 | 1126950.5077 | 2681444.5204 | 1126948.2021
8 | 2681410.6862 | 1126908.3883 | 2681409.9415 | 1126919.1072
9 | 2681444.5204 | 1126948.2021 | 2681444.5204 | 1126948.2021 | 2681445.7048 | 1126946.9649
10 | 2681418.513 | 1126829.3947 | 2681412.7943 | 1126878.0458 | 2681410.6862 | 1126908.3883
11 | 2681410.6862 | 1126908.3883 | 2681340.2806 | 1126866.8751
12 | 2681548.2883 | 1126932.016 | 2681551.809 | 1126929.3933
13 | 2681548.2883 | 1126932.016 | 2681541.916 | 1126936.763 | 2681534.2173 | 1126939.5608 | 2681526.82 | 1126940.017
14 | 2681551.809 | 1126929.3933 | 2681562.9366 | 1126921.104 | 2681590.1282 | 1126902.7822 | 2681594.362 | 1126900.1365
15 | 2681524.387 | 1126939.353 | 2681526.82 | 1126940.017 | 2681526.82 | 1126940.017
16 | 2681594.362 | 1126900.1365 | 2681641.3976 | 1126870.7443 | 2681649.1814 | 1126867.0728
17 | 2681524.387 | 1126939.353 | 2681519.1487 | 1126937.9235 | 2681514.9969 | 1126934.321 | 2681508.8771 | 1126923.4768 | 2681508.8597 | 1126923.4621
18 | 2681649.1814 | 1126867.0728 | 2681672.8122 | 1126855.9264 | 2681677.9564 | 1126854.2125
19 | 2681493.0172 | 1126917.6487 | 2681497.4801 | 1126917.0418 | 2681503.6036 | 1126919.0365 | 2681508.8597 | 1126923.4621
20 | 2681677.9564 | 1126854.2125 | 2681685.8964 | 1126851.5672 | 2681693.9821 | 1126850.6635
21 | 2681493.0172 | 1126917.6487 | 2681490.7506 | 1126912.5485 | 2681490.8828 | 1126905.6018 | 2681495.0846 | 1126899.2103 | 2681507.8136 | 1126890.31 | 2681519.2789 | 1126883.6717 | 2681530.6121 | 1126870.8393 | 2681541.2565 | 1126863.3562 | 2681552.0506 | 1126860.211 | 2681552.5296 | 1126860.1554
22 | 2681493.0172 | 1126917.6487 | 2681481.0171 | 1126922.223 | 2681475.9639 | 1126924.9219
23 | 2681418.513 | 1126829.3947 | 2681417.5086 | 1126819.2753 | 2681412.1025 | 1126798.9131 | 2681410.0052 | 1126788.2943
24 | 2681316.2849 | 1126916.4985 | 2681340.2806 | 1126866.8751
25 | 2681340.2806 | 1126866.8751 | 2681340.3978 | 1126866.1438
26 | 2681410.0052 | 1126788.2943 | 2681409.5323 | 1126785.9001
27 | 2681407.9391 | 1126777.8338 | 2681409.5323 | 1126785.9001
28 | 2681456.1422 | 1126936.6863 | 2681452.9473 | 1126939.3994 | 2681445.7048 | 1126946.9649
29 | 2681475.9639 | 1126924.9219 | 2681465.7083 | 1126930.3993 | 2681457.3678 | 1126935.6456 | 2681456.1422 | 1126936.6863
30 | 2681591.0788 | 1126847.7522 | 2681586.8762 | 1126853.0541 | 2681572.7539 | 1126857.8109 | 2681552.5296 | 1126860.1554
31 | 2681591.0788 | 1126847.7522 | 2681599.9686 | 1126848.0834 | 2681605.9866 | 1126845.8966 | 2681606.1325 | 1126845.792
32 | 2681591.0788 | 1126847.7522 | 2681590.1463 | 1126840.3242 | 2681591.9088 | 1126832.5102 | 2681592.9799 | 1126831.7533
33 | 2681606.1325 | 1126845.792 | 2681615.353 | 1126839.1785
34 | 2681592.9799 | 1126831.7533 | 2681599.628 | 1126827.0556 | 2681613.0343 | 1126814.2512 | 2681619.5547 | 1126805.6898 | 2681626.4718 | 1126798.5679 | 2681631.6382 | 1126795.9204
35 | 2680897.9807 | 1126486.904 | 2680897.9807 | 1126486.904 | 2680891.6695 | 1126472.8766
36 | 2680874.139 | 1126448.9968 | 2680875.9795 | 1126452.579 | 2680889.0434 | 1126467.0398 | 2680891.6695 | 1126472.8766
37 | 2680874.139 | 1126448.9968 | 2680875.2547 | 1126443.9533 | 2680878.915 | 1126435.3751 | 2680887.184 | 1126422.2336
38 | 2680887.184 | 1126422.2336 | 2680895.7187 | 1126426.1055 | 2680920.3786 | 1126429.9374 | 2680925.3859 | 1126427.5999
39 | 2681707.7471 | 1126849.3007 | 2681704.4451 | 1126849.4942 | 2681693.9821 | 1126850.6635
40 | 2681407.9391 | 1126777.8338 | 2681057.241 | 1126453.7329
41 | 2681707.7471 | 1126849.3007 | 2681710.5877 | 1126849.1342
42 | 2681673.9711 | 1127001.3954 | 2681676.456 | 1127000.9815 | 2681681.3738 | 1126999.2247 | 2681684.2974 | 1126997.3186 | 2681686.1738 | 1126994.1977
43 | 2681673.9711 | 1127001.3954 | 2681643.3026 | 1127006.5039 | 2681626.8176 | 1127009.4648
44 | 2681686.1738 | 1126994.1977 | 2681686.1738 | 1126994.1977 | 2681686.9902 | 1126990.8179 | 2681687.7348 | 1126981.9117 | 2681689.1453 | 1126976.7722 | 2681692.1281 | 1126968.8854
45 | 2681614.3347 | 1127011.7068 | 2681626.8176 | 1127009.4648
46 | 2681692.1281 | 1126968.8854 | 2681695.4035 | 1126960.2249 | 2681699.5401 | 1126951.8315 | 2681702.6037 | 1126947.5482 | 2681704.971 | 1126945.7163
47 | 2681719.7104 | 1126939.8081 | 2681710.3232 | 1126942.6496 | 2681706.5292 | 1126944.5105 | 2681704.971 | 1126945.7163
48 | 2681719.7104 | 1126939.8081 | 2681717.9784 | 1126933.9479 | 2681716.5136 | 1126926.5683 | 2681717.649 | 1126918.9682 | 2681723.7998 | 1126901.2633 | 2681724.6984 | 1126898.8966
49 | 2681719.7104 | 1126939.8081 | 2681723.3997 | 1126948.5407 | 2681723.8219 | 1126949.2649
50 | 2681724.6984 | 1126898.8966 | 2681727.7477 | 1126890.8662 | 2681732.4843 | 1126884.8378 | 2681732.4843 | 1126884.8378
51 | 2681723.8219 | 1126949.2649 | 2681726.3525 | 1126953.6057 | 2681729.4458 | 1126957.3942 | 2681732.8338 | 1126960.848
52 | 2681749.8233 | 1126863.3485 | 2681749.6955 | 1126865.9594 | 2681749.5373 | 1126869.1146 | 2681749.0668 | 1126870.2756 | 2681747.6161 | 1126873.8247 | 2681742.3869 | 1126878.0899 | 2681732.4843 | 1126884.8378
53 | 2681782.8229 | 1126995.204 | 2681760.8311 | 1126981.7767 | 2681749.1923 | 1126974.4375 | 2681737.5803 | 1126965.6866 | 2681732.8338 | 1126960.848
54 | 2681782.8229 | 1126995.204 | 2681796.6279 | 1127003.6288 | 2681815.706 | 1127013.0922 | 2681832.2404 | 1127020.8648 | 2681845.0493 | 1127026.0077
55 | 2681845.0493 | 1127026.0077 | 2681870.2752 | 1127036.2104 | 2681872.3909 | 1127037.4041
56 | 2681950.0391 | 1127094.524 | 2681945.6478 | 1127089.8507 | 2681937.7685 | 1127082.6621 | 2681891.6148 | 1127048.2506 | 2681872.3909 | 1127037.4041
57 | 2681749.8233 | 1126863.3485 | 2681747.6114 | 1126858.7827
58 | 2681710.5877 | 1126849.1342 | 2681715.0818 | 1126848.8708 | 2681726.2317 | 1126849.633 | 2681737.9805 | 1126852.271 | 2681743.7314 | 1126855.0281 | 2681747.6114 | 1126858.7827
59 | 2681950.0391 | 1127094.524 | 2682435.9009 | 1126748.5379
60 | 2681616.4232 | 1126838.4109 | 2681615.353 | 1126839.1785
61 | 2681631.6382 | 1126795.9204 | 2681642.9175 | 1126790.1405 | 2681712.1454 | 1126761.603 | 2681717.6688 | 1126758.965 | 2681718.4835 | 1126758.549
62 | 2682488.5009 | 1126595.8976 | 2682435.9009 | 1126748.5379
63 | 2681055.7561 | 1126446.8539 | 2681057.241 | 1126453.7329
64 | 2680972.6146 | 1126318.8155 | 2680971.0932 | 1126320.7753 | 2680968.2228 | 1126323.1263
65 | 2680977.6109 | 1126312.3799 | 2680972.6146 | 1126318.8155
66 | 2680968.2228 | 1126323.1263 | 2680958.9666 | 1126330.7076 | 2680954.9973 | 1126334.1454 | 2680951.8473 | 1126336.26 | 2680948.1633 | 1126337.9561 | 2680944.1492 | 1126338.9808 | 2680940.494 | 1126339.0986 | 2680937.1824 | 1126338.8875 | 2680933.0615 | 1126337.5105
67 | 2680977.6109 | 1126312.3799 | 2680977.5026 | 1126316.4363 | 2680977.9499 | 1126319.2995 | 2680979.0104 | 1126321.8374 | 2680981.2693 | 1126325.2585 | 2680984.1959 | 1126328.8886
68 | 2680979.6123 | 1126301.6449 | 2680977.6109 | 1126312.3799
69 | 2680921.1255 | 1126333.5221 | 2680933.0615 | 1126337.5105
70 | 2680984.1959 | 1126328.8886 | 2680985.6259 | 1126330.3578
71 | 2680921.1255 | 1126333.5221 | 2680918.3352 | 1126332.5898
72 | 2680990.6207 | 1126335.4895 | 2680985.6259 | 1126330.3578
73 | 2680934.2756 | 1126423.3222 | 2680942.9309 | 1126412.7181 | 2680954.6993 | 1126406.4941 | 2680961.0019 | 1126406.6786 | 2680968.6902 | 1126404.8072
74 | 2680934.2756 | 1126423.3222 | 2680934.1072 | 1126423.5285 | 2680925.3859 | 1126427.5999
75 | 2680968.6902 | 1126404.8072 | 2680983.7698 | 1126401.1367
76 | 2680983.7698 | 1126401.1367 | 2680985.996 | 1126400.5948
77 | 2680989.7114 | 1126399.8008 | 2680988.2763 | 1126400.0398 | 2680985.996 | 1126400.5948
78 | 2681035.3512 | 1126386.5453 | 2681030.0625 | 1126380.9104 | 2681025.8758 | 1126375.8697
79 | 2681047.7571 | 1126406.4176 | 2681046.2734 | 1126396.9256 | 2681045.2992 | 1126394.8447 | 2681043.4686 | 1126392.8302 | 2681038.8097 | 1126389.6326 | 2681036.3396 | 1126387.5983 | 2681035.3512 | 1126386.5453
80 | 2681025.8758 | 1126375.8697 | 2681023.9183 | 1126373.5128 | 2681021.6443 | 1126370.2194
81 | 2681047.7571 | 1126406.4176 | 2681016.8076 | 1126399.6993 | 2681002.0579 | 1126397.7451 | 2680989.7114 | 1126399.8008
82 | 2681047.7571 | 1126406.4176 | 2681049.0741 | 1126413.2669
83 | 2681012.7858 | 1126357.5552 | 2681017.6425 | 1126364.4235 | 2681021.6443 | 1126370.2194
84 | 2681053.7089 | 1126437.3708 | 2681049.0741 | 1126413.2669
85 | 2680997.2557 | 1126342.5662 | 2680999.8996 | 1126345.3861 | 2681002.9648 | 1126347.873 | 2681010.3805 | 1126354.1537 | 2681012.7858 | 1126357.5552
86 | 2681074.09 | 1126425.1701 | 2681053.7089 | 1126437.3708
87 | 2681053.7089 | 1126437.3708 | 2681055.7561 | 1126446.8539
88 | 2680990.6207 | 1126335.4895 | 2680997.2557 | 1126342.5662
89 | 2680990.6207 | 1126335.4895 | 2681001.5621 | 1126338.0819 | 2681009.8299 | 1126338.2927 | 2681012.5032 | 1126337.8171 | 2681014.9138 | 1126336.8155 | 2681014.9138 | 1126336.8155
90 | 2681014.9138 | 1126336.8155 | 2681016.0242 | 1126335.0516 | 2681016.7436 | 1126332.5598 | 2681016.7436 | 1126332.5598
91 | 2681014.9405 | 1126308.0314 | 2681016.3906 | 1126319.214 | 2681016.7436 | 1126332.5598
92 | 2680914.3074 | 1126331.2439 | 2680918.3352 | 1126332.5898
93 | 2681014.9405 | 1126308.0314 | 2681013.5497 | 1126297.305
94 | 2681013.2049 | 1126294.6461 | 2681013.5497 | 1126297.305

## bus_geodata
| x | y | coords
0 | 2681425.6662 | 1126954.0341
1 | 2681430.6171 | 1126953.0307
2 | 2681417.4057 | 1126955.7082
3 | 2681438.3415 | 1126951.4653
4 | 2681407.1792 | 1126958.5055
5 | 2681417.1463 | 1126930.834
6 | 2681440.1546 | 1126950.5077
7 | 2681409.9415 | 1126919.1072
8 | 2681444.5204 | 1126948.2021
9 | 2681410.6862 | 1126908.3883
10 | 2681548.2883 | 1126932.016
11 | 2681551.809 | 1126929.3933
12 | 2681526.82 | 1126940.017
13 | 2681594.362 | 1126900.1365
14 | 2681524.387 | 1126939.353
15 | 2681649.1814 | 1126867.0728
16 | 2681508.8597 | 1126923.4621
17 | 2681677.9564 | 1126854.2125
18 | 2681493.0172 | 1126917.6487
19 | 2681418.513 | 1126829.3947
20 | 2681340.2806 | 1126866.8751
21 | 2681316.2849 | 1126916.4985
22 | 2681410.0052 | 1126788.2943
23 | 2681340.3978 | 1126866.1438
24 | 2681409.5323 | 1126785.9001
25 | 2681445.7048 | 1126946.9649
26 | 2681456.1422 | 1126936.6863
27 | 2681475.9639 | 1126924.9219
28 | 2681552.5296 | 1126860.1554
29 | 2681591.0788 | 1126847.7522
30 | 2681606.1325 | 1126845.792
31 | 2681592.9799 | 1126831.7533
32 | 2680897.9807 | 1126486.904
33 | 2680891.6695 | 1126472.8766
34 | 2680874.139 | 1126448.9968
35 | 2680887.184 | 1126422.2336
36 | 2681693.9821 | 1126850.6635
37 | 2681407.9391 | 1126777.8338
38 | 2681707.7471 | 1126849.3007
39 | 2681673.9711 | 1127001.3954
40 | 2681686.1738 | 1126994.1977
41 | 2681626.8176 | 1127009.4648
42 | 2681692.1281 | 1126968.8854
43 | 2681614.3347 | 1127011.7068
44 | 2681704.971 | 1126945.7163
45 | 2681719.7104 | 1126939.8081
46 | 2681724.6984 | 1126898.8966
47 | 2681723.8219 | 1126949.2649
48 | 2681732.4843 | 1126884.8378
49 | 2681732.8338 | 1126960.848
50 | 2681782.8229 | 1126995.204
51 | 2681845.0493 | 1127026.0077
52 | 2681872.3909 | 1127037.4041
53 | 2681749.8233 | 1126863.3485
54 | 2681710.5877 | 1126849.1342
55 | 2681950.0391 | 1127094.524
56 | 2681747.6114 | 1126858.7827
57 | 2681615.353 | 1126839.1785
58 | 2681631.6382 | 1126795.9204
59 | 2681616.4232 | 1126838.4109
60 | 2681718.4835 | 1126758.549
61 | 2682435.9009 | 1126748.5379
62 | 2682488.5009 | 1126595.8976
63 | 2681057.241 | 1126453.7329
64 | 2680972.6146 | 1126318.8155
65 | 2680968.2228 | 1126323.1263
66 | 2680977.6109 | 1126312.3799
67 | 2680933.0615 | 1126337.5105
68 | 2680984.1959 | 1126328.8886
69 | 2680979.6123 | 1126301.6449
70 | 2680921.1255 | 1126333.5221
71 | 2680985.6259 | 1126330.3578
72 | 2680934.2756 | 1126423.3222
73 | 2680968.6902 | 1126404.8072
74 | 2680925.3859 | 1126427.5999
75 | 2680983.7698 | 1126401.1367
76 | 2680985.996 | 1126400.5948
77 | 2681035.3512 | 1126386.5453
78 | 2681025.8758 | 1126375.8697
79 | 2681047.7571 | 1126406.4176
80 | 2681021.6443 | 1126370.2194
81 | 2680989.7114 | 1126399.8008
82 | 2681049.0741 | 1126413.2669
83 | 2681012.7858 | 1126357.5552
84 | 2681053.7089 | 1126437.3708
85 | 2681055.7561 | 1126446.8539
86 | 2681074.09 | 1126425.1701
87 | 2680990.6207 | 1126335.4895
88 | 2680997.2557 | 1126342.5662
89 | 2681014.9138 | 1126336.8155
90 | 2681016.7436 | 1126332.5598
91 | 2680918.3352 | 1126332.5898
92 | 2680914.3074 | 1126331.2439
93 | 2681014.9405 | 1126308.0314
94 | 2681013.5497 | 1126297.305
95 | 2681013.2049 | 1126294.6461
96 | 2681418.513 | 1126829.3947

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1