## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5307-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5307-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5307-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5307-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5307-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5307-2_0_4_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_5307-2_0_4_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_5307-2_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_5307-2_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5307-2_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5307-2_0_4_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_5307-2_0_4_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_5307-2_0_4_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_5307-2_0_4_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_5307-2_0_4_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_5307-2_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5307-2_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5307-2_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5307-2_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5307-2_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5307-2_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_5307-2_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5307-2_0_4_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_5307-2_0_4_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_5307-2_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5307-2_0_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_5307-2_0_4_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_5307-2_0_4_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_5307-2_0_4_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_5307-2_0_4_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_5307-2_0_4_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_5307-2_0_4_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_5307-2_0_4_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_5307-2_0_4_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_5307-2_0_4_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_5307-2_0_4_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_5307-2_0_4_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_5307-2_0_4_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_5307-2_0_4_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_5307-2_0_4_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_5307-2_0_4_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_5307-2_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5307-2_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5307-2_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_5307-2_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_5307-2_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5307-2_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_5307-2_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_5307-2_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_5307-2_0_4_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_5307-2_0_4_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_5307-2_0_4_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_5307-2_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_5307-2_0_4_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_5307-2_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_5307-2_0_4_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_5307-2_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5307-2_0_4_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_5307-2_0_4_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_5307-2_0_4_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_5307-2_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_5307-2_0_4_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_5307-2_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_5307-2_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_5307-2_0_4_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_5307-2_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_5307-2_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_5307-2_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_MV_78_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5307-2_0_4_load_0 | 0 | 0.0011729 | 0.00029396 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5307-2_0_4_load_1 | 1 | 0.0012691 | 0.00031807 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5307-2_0_4_load_2 | 2 | 0.00080681 | 0.0002022 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5307-2_0_4_load_3 | 3 | 0.00090329 | 0.00022639 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5307-2_0_4_load_4 | 4 | 0.00099178 | 0.00024856 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5307-2_0_4_load_67 | 6 | 0.00084192 | 0.00021101 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5307-2_0_4_load_14 | 7 | 0.0019631 | 0.000492 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5307-2_0_4_load_5 | 8 | 0.0013482 | 0.00033789 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5307-2_0_4_load_6 | 9 | 0.0028806 | 0.00072194 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5307-2_0_4_load_65 | 11 | 0.0014946 | 0.00037458 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5307-2_0_4_load_59 | 12 | 0.0038323 | 0.00096046 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5307-2_0_4_load_57 | 13 | 0.0010308 | 0.00025835 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5307-2_0_4_load_66 | 14 | 0.0016445 | 0.00041216 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5307-2_0_4_load_7 | 15 | 0.0008775 | 0.00021992 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5307-2_0_4_load_8 | 16 | 0.0010606 | 0.00026582 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5307-2_0_4_load_9 | 17 | 0.0037748 | 0.00094606 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5307-2_0_4_load_11 | 18 | 0.00087597 | 0.00021954 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5307-2_0_4_load_12 | 19 | 0.002219 | 0.00055613 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5307-2_0_4_load_10 | 20 | 0.00084568 | 0.00021195 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5307-2_0_4_load_13 | 21 | 0.0044337 | 0.0011112 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5307-2_0_4_load_53 | 22 | 0.00098156 | 0.000246 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5307-2_0_4_load_55 | 23 | 0.00094497 | 0.00023683 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5307-2_0_4_load_46 | 25 | 0.002454 | 0.00061504 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5307-2_0_4_load_52 | 26 | 0.0013546 | 0.0003395 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5307-2_0_4_load_51 | 27 | 0.0045918 | 0.0011508 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5307-2_0_4_load_47 | 28 | 0.0013882 | 0.00034791 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5307-2_0_4_load_45 | 29 | 0.003707 | 0.00092907 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5307-2_0_4_load_54 | 30 | 0.00087667 | 0.00021971 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5307-2_0_4_load_56 | 31 | 0.0022194 | 0.00055623 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5307-2_0_4_load_60 | 32 | 0.001011 | 0.00025337 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5307-2_0_4_load_61 | 33 | 0.0035904 | 0.00089985 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5307-2_0_4_load_64 | 36 | 0.0010756 | 0.00026956 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5307-2_0_4_load_17 | 37 | 0.0059102 | 0.0014812 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5307-2_0_4_load_19 | 39 | 0.0017269 | 0.00043281 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5307-2_0_4_load_20 | 40 | 0.0031693 | 0.00079431 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5307-2_0_4_load_23 | 43 | 0.0021924 | 0.00054946 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5307-2_0_4_load_24 | 44 | 0.0016137 | 0.00040443 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5307-2_0_4_load_29 | 45 | 0.0027941 | 0.00070027 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5307-2_0_4_load_26 | 46 | 0.002182 | 0.00054685 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5307-2_0_4_load_39 | 47 | 0.0010643 | 0.00026674 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5307-2_0_4_load_32 | 48 | 0.0037271 | 0.00093411 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5307-2_0_4_load_25 | 49 | 0.0023556 | 0.00059036 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5307-2_0_4_load_27 | 50 | 0.001487 | 0.00037267 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5307-2_0_4_load_30 | 52 | 0.00075091 | 0.0001882 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5307-2_0_4_load_31 | 53 | 0.00083891 | 0.00021025 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5307-2_0_4_load_35 | 54 | 0.00085229 | 0.0002136 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5307-2_0_4_load_33 | 55 | 0.0016971 | 0.00042533 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5307-2_0_4_load_36 | 56 | 0.0018156 | 0.00045503 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5307-2_0_4_load_34 | 57 | 0.0013536 | 0.00033925 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5307-2_0_4_load_38 | 59 | 0.00069517 | 0.00017423 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5307-2_0_4_load_40 | 62 | 0.0021462 | 0.00053789 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5307-2_0_4_load_41 | 63 | 0.00082247 | 0.00020613 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5307-2_0_4_load_42 | 64 | 0.0019399 | 0.00048618 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5307-2_0_4_load_48 | 65 | 0.0014475 | 0.00036278 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5307-2_0_4_load_49 | 66 | 0.0019779 | 0.00049572 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5307-2_0_4_load_50 | 67 | 0.0015896 | 0.0003984 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5307-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.002753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_5307-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_5307-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.061828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_5307-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.034583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5307-2_0_4_line_4 | NAYY 4x150 SE | 3 | 8 | 0.063099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_5307-2_0_4_line_5 | NAYY 4x150 SE | 4 | 9 | 0.0041482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_5307-2_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.50117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_5307-2_0_4_line_7 | NAYY 4x150 SE | 5 | 7 | 0.016502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5307-2_0_4_line_8 | NAYY 4x150 SE | 6 | 35 | 0.081253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_5307-2_0_4_line_9 | NAYY 4x150 SE | 7 | 24 | 0.078478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_5307-2_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.050948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5307-2_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.013953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_5307-2_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.029729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5307-2_0_4_line_13 | NAYY 4x150 SE | 10 | 13 | 0.055411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_5307-2_0_4_line_14 | NAYY 4x150 SE | 11 | 14 | 0.0059444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5307-2_0_4_line_15 | NAYY 4x150 SE | 13 | 31 | 0.0070045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_5307-2_0_4_line_16 | NAYY 4x150 SE | 14 | 36 | 0.010002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_5307-2_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0043309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5307-2_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.01198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5307-2_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.45153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_5307-2_0_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.018355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_5307-2_0_4_line_21 | NAYY 4x150 SE | 18 | 20 | 0.17523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5307-2_0_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0047543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_5307-2_0_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.007413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_5307-2_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0033649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_5307-2_0_4_line_25 | NAYY 4x150 SE | 23 | 30 | 0.0088484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_5307-2_0_4_line_26 | NAYY 4x150 SE | 24 | 25 | 0.20886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_5307-2_0_4_line_27 | NAYY 4x150 SE | 25 | 28 | 0.0089959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5307-2_0_4_line_28 | NAYY 4x150 SE | 25 | 29 | 0.015095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5307-2_0_4_line_29 | NAYY 4x150 SE | 26 | 27 | 0.044392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5307-2_0_4_line_30 | NAYY 4x150 SE | 27 | 67 | 0.013556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5307-2_0_4_line_31 | NAYY 4x150 SE | 28 | 65 | 0.038752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5307-2_0_4_line_32 | NAYY 4x150 SE | 29 | 57 | 0.01205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5307-2_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.00059616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_5307-2_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.10834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5307-2_0_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.095262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5307-2_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.040599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_5307-2_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.027255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_5307-2_0_4_line_38 | NAYY 4x150 SE | 37 | 38 | 0.020349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5307-2_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.059878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5307-2_0_4_line_40 | NAYY 4x150 SE | 38 | 40 | 0.027907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5307-2_0_4_line_41 | NAYY 4x150 SE | 38 | 41 | 0.010788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5307-2_0_4_line_42 | NAYY 4x150 SE | 40 | 42 | 0.016774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5307-2_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.025275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5307-2_0_4_line_44 | NAYY 4x150 SE | 41 | 44 | 0.011472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5307-2_0_4_line_45 | NAYY 4x150 SE | 42 | 45 | 0.018476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5307-2_0_4_line_46 | NAYY 4x150 SE | 42 | 46 | 0.009316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5307-2_0_4_line_47 | NAYY 4x150 SE | 43 | 47 | 0.011956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5307-2_0_4_line_48 | NAYY 4x150 SE | 45 | 48 | 0.059482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5307-2_0_4_line_49 | NAYY 4x150 SE | 46 | 49 | 0.016246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5307-2_0_4_line_50 | NAYY 4x150 SE | 48 | 55 | 0.00028266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5307-2_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0031213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5307-2_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.011483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5307-2_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.0059648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5307-2_0_4_line_54 | NAYY 4x150 SE | 51 | 53 | 0.028715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5307-2_0_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.019926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5307-2_0_4_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0015376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5307-2_0_4_line_57 | NAYY 4x150 SE | 55 | 57 | 0.015821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5307-2_0_4_line_58 | NAYY 4x150 SE | 56 | 58 | 0.0036014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5307-2_0_4_line_59 | NAYY 4x150 SE | 58 | 59 | 0.019273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5307-2_0_4_line_60 | NAYY 4x150 SE | 59 | 60 | 0.015308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5307-2_0_4_line_61 | NAYY 4x150 SE | 60 | 61 | 0.004469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5307-2_0_4_line_62 | NAYY 4x150 SE | 61 | 63 | 0.011611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5307-2_0_4_line_63 | NAYY 4x150 SE | 62 | 63 | 0.01061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5307-2_0_4_line_64 | NAYY 4x150 SE | 62 | 64 | 0.0035293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5307-2_0_4_line_65 | NAYY 4x150 SE | 65 | 66 | 0.020688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5307-2_0_4_line_66 | NAYY 4x150 SE | 66 | 67 | 0.027487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5307-2_0_4_trafo_16 | 0.25 MVA 20/0.4 kV | 68 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2683117.6751 | 1127019.6896 | 2683114.9464 | 1127020.0549
1 | 2683117.6751 | 1127019.6896 | 2683125.1452 | 1127018.6895 | 2683134.0882 | 1127017.9342 | 2683136.325 | 1127017.985
2 | 2683053.9255 | 1127024.6305 | 2683077.449 | 1127026.3055 | 2683087.0227 | 1127026.2035 | 2683092.2346 | 1127025.508 | 2683100.2494 | 1127023.3057 | 2683108.9702 | 1127020.7685 | 2683114.4512 | 1127020.1212 | 2683114.9464 | 1127020.0549
3 | 2683136.325 | 1127017.985 | 2683139.05 | 1127018.0469 | 2683152.6198 | 1127020.4681 | 2683158.1943 | 1127020.8672 | 2683163.7842 | 1127020.1436 | 2683170.5178 | 1127018.896
4 | 2682993.3685 | 1127015.3475 | 2682994.941 | 1127013.6323 | 2682997.0871 | 1127012.8169 | 2683000.0584 | 1127013.08 | 2683004.5766 | 1127014.6318 | 2683021.034 | 1127020.6166 | 2683028.0097 | 1127022.2466 | 2683034.6932 | 1127023.2612 | 2683053.9255 | 1127024.6305
5 | 2683170.5178 | 1127018.896 | 2683173.0564 | 1127018.4256 | 2683174.617 | 1127018.292
6 | 2683837.6278 | 1127106.2718 | 2683343.2353 | 1127024.1123
7 | 2683837.6278 | 1127106.2718 | 2683839.3916 | 1127106.3519 | 2683840.4883 | 1127106.7451 | 2683841.2365 | 1127107.2557 | 2683844.5079 | 1127110.881 | 2683848.0314 | 1127114.1206 | 2683850.3748 | 1127115.9876
8 | 2683268.8825 | 1127013.7077 | 2683277.8493 | 1127012.3414 | 2683297.8358 | 1127009.9708 | 2683315.9805 | 1127008.1418 | 2683321.7106 | 1127007.8761 | 2683325.1492 | 1127008.3459 | 2683328.6877 | 1127009.3953 | 2683331.3496 | 1127010.8661 | 2683334.6891 | 1127013.4914 | 2683343.2353 | 1127024.1123
9 | 2683894.135 | 1127176.874 | 2683894.5826 | 1127172.9446 | 2683894.0043 | 1127170.7464 | 2683893.0676 | 1127169.3771 | 2683891.4707 | 1127167.8207 | 2683880.1502 | 1127159.4144 | 2683874.224 | 1127154.9407 | 2683867.5268 | 1127148.2551 | 2683864.9948 | 1127145.2182 | 2683863.3939 | 1127142.2832 | 2683858.9085 | 1127126.7231 | 2683856.5059 | 1127122.1316 | 2683852.1782 | 1127117.4244 | 2683850.3748 | 1127115.9876
10 | 2683025.1565 | 1127044.8095 | 2683026.3602 | 1127043.0249 | 2683026.9082 | 1127040.72 | 2683026.6316 | 1127038.4149 | 2683025.0939 | 1127036.4593 | 2683022.264 | 1127034.8751 | 2683003.6479 | 1127026.7038 | 2682996.5024 | 1127023.9709 | 2682993.9491 | 1127021.8902 | 2682992.6054 | 1127019.8372 | 2682992.552 | 1127017.5463 | 2682993.2901 | 1127015.433 | 2682993.3685 | 1127015.3475
11 | 2683188.341 | 1127020.2855 | 2683179.9473 | 1127018.3759 | 2683176.4129 | 1127018.1383 | 2683174.617 | 1127018.292
12 | 2683025.1565 | 1127044.8095 | 2683039.6491 | 1127048.4994 | 2683053.3594 | 1127054.0044
13 | 2683025.1565 | 1127044.8095 | 2683023.5407 | 1127045.1764 | 2683020.7177 | 1127044.7707 | 2683016.9085 | 1127043.2287 | 2682996.2348 | 1127032.7945 | 2682992.0352 | 1127031.0581 | 2682987.7538 | 1127030.2211 | 2682976.6473 | 1127030.2577 | 2682973.0283 | 1127030.1275
14 | 2683188.341 | 1127020.2855 | 2683194.1372 | 1127021.6041
15 | 2682973.0283 | 1127030.1275 | 2682966.0283 | 1127029.8757
16 | 2683194.1372 | 1127021.6041 | 2683203.8901 | 1127023.8229
17 | 2682653.6536 | 1126675.5057 | 2682657.919 | 1126676.2563
18 | 2682653.6536 | 1126675.5057 | 2682652.6443 | 1126675.3281 | 2682647.6949 | 1126674.2821 | 2682642.0694 | 1126672.5154
19 | 2682925.7154 | 1127039.7977 | 2682657.919 | 1126676.2563
20 | 2682925.7154 | 1127039.7977 | 2682927.3051 | 1127038.2191 | 2682932.7569 | 1127034.0803 | 2682936.4881 | 1127031.7635 | 2682940.8243 | 1127030.2887 | 2682941.1184 | 1127030.245
21 | 2682925.7154 | 1127039.7977 | 2682775.6712 | 1127130.307
22 | 2682941.1184 | 1127030.245 | 2682945.821 | 1127029.5457 | 2682945.821 | 1127029.5457
23 | 2682945.821 | 1127029.5457 | 2682950.6641 | 1127029.3231 | 2682953.2271 | 1127029.4153
24 | 2682956.5898 | 1127029.5362 | 2682953.2271 | 1127029.4153
25 | 2682965.4325 | 1127029.8543 | 2682956.5898 | 1127029.5362
26 | 2684095.9493 | 1127123.0707 | 2683894.135 | 1127176.874
27 | 2684095.9493 | 1127123.0707 | 2684096.1482 | 1127119.9234 | 2684095.7879 | 1127115.9049 | 2684095.5171 | 1127114.1176
28 | 2684103.6936 | 1127135.1151 | 2684100.9314 | 1127132.8752 | 2684096.4476 | 1127127.7655 | 2684095.8814 | 1127124.1444 | 2684095.9493 | 1127123.0707
29 | 2684049.4589 | 1127029.4031 | 2684049.3464 | 1127029.3314 | 2684039.5104 | 1127022.802 | 2684029.9185 | 1127014.2305 | 2684026.856 | 1127011.0972 | 2684025.7506 | 1127009.114 | 2684024.9197 | 1127005.6783 | 2684024.3624 | 1126997.5325 | 2684023.953 | 1126996.3643
30 | 2684060.7246 | 1127036.861 | 2684060.4082 | 1127036.3892 | 2684049.4589 | 1127029.4031
31 | 2684095.5171 | 1127114.1176 | 2684092.096 | 1127091.5394 | 2684090.7591 | 1127083.4828 | 2684087.7539 | 1127076.3404
32 | 2684103.6936 | 1127135.1151 | 2684107.2645 | 1127138.0107 | 2684113.4458 | 1127142.1739
33 | 2682965.4325 | 1127029.8543 | 2682966.0283 | 1127029.8757
34 | 2683078.8907 | 1126956.7182 | 2683094.6028 | 1126956.9341 | 2683138.6228 | 1126957.7505 | 2683175.0053 | 1126957.4281 | 2683186.9959 | 1126959.7633
35 | 2683230.794 | 1127027.6917 | 2683227.6836 | 1127020.1779 | 2683222.6796 | 1127008.569 | 2683220.1208 | 1126999.0505 | 2683220.271 | 1126988.1351 | 2683222.2833 | 1126977.4455 | 2683221.5135 | 1126972.8989 | 2683217.8568 | 1126968.1125 | 2683210.2638 | 1126964.2947 | 2683186.9959 | 1126959.7633
36 | 2683230.794 | 1127027.6917 | 2683235.0087 | 1127026.6491 | 2683243.1021 | 1127023.2251 | 2683255.2323 | 1127017.6888 | 2683261.6523 | 1127015.4536 | 2683268.8825 | 1127013.7077
37 | 2683230.794 | 1127027.6917 | 2683226.8549 | 1127027.7487 | 2683223.2673 | 1127027.4658 | 2683204.1336 | 1127023.8783 | 2683203.8901 | 1127023.8229
38 | 2684156.5486 | 1127247.2486 | 2684154.9523 | 1127245.6588 | 2684146.5853 | 1127237.7156 | 2684141.0692 | 1127234.167
39 | 2684128.6572 | 1127205.1695 | 2684123.8371 | 1127202.6343 | 2684120.0233 | 1127201.4473 | 2684115.9748 | 1127202.725 | 2684113.6358 | 1127207.4286 | 2684113.1657 | 1127211.858 | 2684114.8638 | 1127216.1063 | 2684116.6776 | 1127218.1327 | 2684138.3892 | 1127232.4429 | 2684141.0692 | 1127234.167
40 | 2684156.5486 | 1127247.2486 | 2684165.384 | 1127235.9427 | 2684163.4713 | 1127232.7142 | 2684164.0233 | 1127230.1537 | 2684166.374 | 1127224.6165 | 2684167.0455 | 1127223.6572
41 | 2684164.1331 | 1127254.9364 | 2684163.7162 | 1127254.4303 | 2684156.5486 | 1127247.2486
42 | 2684177.0548 | 1127210.2901 | 2684175.6527 | 1127211.3601 | 2684167.0455 | 1127223.6572
43 | 2684164.1331 | 1127254.9364 | 2684171.6892 | 1127264.1024 | 2684174.8952 | 1127267.9826 | 2684181.5233 | 1127273.0817
44 | 2684164.1331 | 1127254.9364 | 2684163.9706 | 1127256.0903 | 2684164.8343 | 1127260.4827 | 2684165.5584 | 1127266.2677
45 | 2684177.0548 | 1127210.2901 | 2684172.4788 | 1127204.0673 | 2684166.1507 | 1127195.3754
46 | 2684177.0548 | 1127210.2901 | 2684179.3769 | 1127213.4465 | 2684183.5071 | 1127216.9213
47 | 2684181.5233 | 1127273.0817 | 2684188.8035 | 1127278.6824 | 2684191.275 | 1127279.9355
48 | 2684166.1507 | 1127195.3754 | 2684147.3263 | 1127169.5195 | 2684139.7771 | 1127162.6104 | 2684129.9845 | 1127154.0915 | 2684126.5508 | 1127151.5251
49 | 2684183.5071 | 1127216.9213 | 2684187.345 | 1127220.1502 | 2684196.1481 | 1127227.1231
50 | 2684126.5508 | 1127151.5251 | 2684126.3244 | 1127151.3558
51 | 2684198.594 | 1127229.0619 | 2684198.5887 | 1127229.0563 | 2684196.1481 | 1127227.1231
52 | 2684206.5423 | 1127237.3496 | 2684198.594 | 1127229.0619
53 | 2684206.5423 | 1127237.3496 | 2684207.619 | 1127235.8526 | 2684209.3751 | 1127234.265 | 2684210.9003 | 1127233.3998
54 | 2684206.5423 | 1127237.3496 | 2684203.9575 | 1127246.4189 | 2684203.7819 | 1127247.9618 | 2684204.1535 | 1127249.5012 | 2684205.0056 | 1127250.8472 | 2684215.5825 | 1127260.8456
55 | 2684230.0624 | 1127274.5335 | 2684215.5825 | 1127260.8456
56 | 2684230.0624 | 1127274.5335 | 2684231.1798 | 1127275.5898
57 | 2684126.3244 | 1127151.3558 | 2684119.4507 | 1127146.2182 | 2684113.4458 | 1127142.1739
58 | 2684233.7969 | 1127278.0639 | 2684231.1798 | 1127275.5898
59 | 2684233.7969 | 1127278.0639 | 2684247.5208 | 1127291.5955
60 | 2684258.421 | 1127302.3431 | 2684247.5208 | 1127291.5955
61 | 2684258.421 | 1127302.3431 | 2684261.6142 | 1127305.4783
62 | 2684261.6142 | 1127305.4783 | 2684268.6492 | 1127296.241
63 | 2684275.0778 | 1127287.8 | 2684275.0778 | 1127287.8 | 2684268.6492 | 1127296.241
64 | 2684275.0778 | 1127287.8 | 2684276.7566 | 1127286.7895 | 2684278.3089 | 1127286.5554
65 | 2684087.7539 | 1127076.3404 | 2684087.3571 | 1127075.3975 | 2684080.2868 | 1127063.9703 | 2684075.9378 | 1127059.5132
66 | 2684075.9378 | 1127059.5132 | 2684075.3931 | 1127058.955 | 2684066.0434 | 1127047.385 | 2684063.8347 | 1127042.7182 | 2684062.6357 | 1127039.7109 | 2684060.7246 | 1127036.861

## bus_geodata
| x | y | coords
0 | 2683117.6751 | 1127019.6896
1 | 2683114.9464 | 1127020.0549
2 | 2683136.325 | 1127017.985
3 | 2683053.9255 | 1127024.6305
4 | 2683170.5178 | 1127018.896
5 | 2683837.6278 | 1127106.2718
6 | 2683343.2353 | 1127024.1123
7 | 2683850.3748 | 1127115.9876
8 | 2682993.3685 | 1127015.3475
9 | 2683174.617 | 1127018.292
10 | 2683025.1565 | 1127044.8095
11 | 2683188.341 | 1127020.2855
12 | 2683053.3594 | 1127054.0044
13 | 2682973.0283 | 1127030.1275
14 | 2683194.1372 | 1127021.6041
15 | 2682653.6536 | 1126675.5057
16 | 2682657.919 | 1126676.2563
17 | 2682642.0694 | 1126672.5154
18 | 2682925.7154 | 1127039.7977
19 | 2682941.1184 | 1127030.245
20 | 2682775.6712 | 1127130.307
21 | 2682945.821 | 1127029.5457
22 | 2682953.2271 | 1127029.4153
23 | 2682956.5898 | 1127029.5362
24 | 2683894.135 | 1127176.874
25 | 2684095.9493 | 1127123.0707
26 | 2684023.953 | 1126996.3643
27 | 2684049.4589 | 1127029.4031
28 | 2684095.5171 | 1127114.1176
29 | 2684103.6936 | 1127135.1151
30 | 2682965.4325 | 1127029.8543
31 | 2682966.0283 | 1127029.8757
32 | 2683078.8907 | 1126956.7182
33 | 2683186.9959 | 1126959.7633
34 | 2683230.794 | 1127027.6917
35 | 2683268.8825 | 1127013.7077
36 | 2683203.8901 | 1127023.8229
37 | 2684141.0692 | 1127234.167
38 | 2684156.5486 | 1127247.2486
39 | 2684128.6572 | 1127205.1695
40 | 2684167.0455 | 1127223.6572
41 | 2684164.1331 | 1127254.9364
42 | 2684177.0548 | 1127210.2901
43 | 2684181.5233 | 1127273.0817
44 | 2684165.5584 | 1127266.2677
45 | 2684166.1507 | 1127195.3754
46 | 2684183.5071 | 1127216.9213
47 | 2684191.275 | 1127279.9355
48 | 2684126.5508 | 1127151.5251
49 | 2684196.1481 | 1127227.1231
50 | 2684198.594 | 1127229.0619
51 | 2684206.5423 | 1127237.3496
52 | 2684210.9003 | 1127233.3998
53 | 2684215.5825 | 1127260.8456
54 | 2684230.0624 | 1127274.5335
55 | 2684126.3244 | 1127151.3558
56 | 2684231.1798 | 1127275.5898
57 | 2684113.4458 | 1127142.1739
58 | 2684233.7969 | 1127278.0639
59 | 2684247.5208 | 1127291.5955
60 | 2684258.421 | 1127302.3431
61 | 2684261.6142 | 1127305.4783
62 | 2684275.0778 | 1127287.8
63 | 2684268.6492 | 1127296.241
64 | 2684278.3089 | 1127286.5554
65 | 2684087.7539 | 1127076.3404
66 | 2684075.9378 | 1127059.5132
67 | 2684060.7246 | 1127036.861
68 | 2683826.0957 | 1127121.4542

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1