## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5310-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5310-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5310-11_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5310-11_0_4_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_5310-11_0_4_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_5310-11_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5310-11_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5310-11_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5310-11_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5310-11_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5310-11_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5310-11_0_4_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_5310-11_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_5310-11_0_4_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_5310-11_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_5310-11_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5310-11_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5310-11_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_5310-11_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_5310-11_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_5310-11_0_4_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_5310-11_0_4_node_87 | 0.4 | n |  | TRUE
22 | bus_LV_5310-11_0_4_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_5310-11_0_4_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_5310-11_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_5310-11_0_4_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_5310-11_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5310-11_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5310-11_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5310-11_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_5310-11_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5310-11_0_4_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_5310-11_0_4_node_100 | 0.4 | n |  | TRUE
33 | bus_LV_5310-11_0_4_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_5310-11_0_4_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_5310-11_0_4_node_101 | 0.4 | n |  | TRUE
36 | bus_LV_5310-11_0_4_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_5310-11_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5310-11_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_5310-11_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5310-11_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5310-11_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5310-11_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_5310-11_0_4_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_5310-11_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5310-11_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_5310-11_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_5310-11_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_5310-11_0_4_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_5310-11_0_4_node_98 | 0.4 | n |  | TRUE
50 | bus_LV_5310-11_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5310-11_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_5310-11_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_5310-11_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_5310-11_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_5310-11_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_5310-11_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_5310-11_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_5310-11_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_5310-11_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_5310-11_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_5310-11_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_5310-11_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_5310-11_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_5310-11_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_5310-11_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_5310-11_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_5310-11_0_4_node_90 | 0.4 | n |  | TRUE
68 | bus_LV_5310-11_0_4_node_91 | 0.4 | n |  | TRUE
69 | bus_LV_5310-11_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_5310-11_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_5310-11_0_4_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_5310-11_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_5310-11_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_5310-11_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_5310-11_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_5310-11_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_5310-11_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_5310-11_0_4_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_5310-11_0_4_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_5310-11_0_4_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_5310-11_0_4_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_5310-11_0_4_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_5310-11_0_4_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_5310-11_0_4_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_5310-11_0_4_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_5310-11_0_4_node_95 | 0.4 | n |  | TRUE
87 | bus_LV_5310-11_0_4_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_5310-11_0_4_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_5310-11_0_4_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_5310-11_0_4_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_5310-11_0_4_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_5310-11_0_4_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_5310-11_0_4_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_5310-11_0_4_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_5310-11_0_4_node_106 | 0.4 | n |  | TRUE
96 | bus_LV_5310-11_0_4_node_107 | 0.4 | n |  | TRUE
97 | bus_LV_5310-11_0_4_node_105 | 0.4 | n |  | TRUE
98 | bus_LV_5310-11_0_4_node_104 | 0.4 | n |  | TRUE
99 | bus_LV_5310-11_0_4_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_5310-11_0_4_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_5310-11_0_4_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_5310-11_0_4_node_97 | 0.4 | n |  | TRUE
103 | bus_LV_5310-11_0_4_node_102 | 0.4 | n |  | TRUE
104 | bus_MV_78_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5310-11_0_4_load_0 | 0 | 0.0035784 | 0.00089684 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5310-11_0_4_load_1 | 1 | 0.0018208 | 0.00045634 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5310-11_0_4_load_11 | 4 | 0.0027083 | 0.00067876 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5310-11_0_4_load_4 | 6 | 0.0065225 | 0.0016347 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5310-11_0_4_load_5 | 7 | 0.0045473 | 0.0011397 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5310-11_0_4_load_6 | 8 | 0.0021189 | 0.00053105 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5310-11_0_4_load_8 | 9 | 0.0041796 | 0.0010475 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5310-11_0_4_load_10 | 10 | 0.0023728 | 0.00059469 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5310-11_0_4_load_14 | 12 | 0.001345 | 0.0003371 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5310-11_0_4_load_15 | 14 | 0.0018312 | 0.00045893 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5310-11_0_4_load_12 | 15 | 0.0020414 | 0.00051162 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5310-11_0_4_load_13 | 16 | 0.003729 | 0.00093457 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5310-11_0_4_load_17 | 18 | 0.0023699 | 0.00059396 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5310-11_0_4_load_18 | 19 | 0.00067874 | 0.00017011 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5310-11_0_4_load_87 | 21 | 0.0016414 | 0.00041136 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5310-11_0_4_load_70 | 22 | 0.0042463 | 0.0010642 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5310-11_0_4_load_83 | 25 | 0.0022015 | 0.00055175 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5310-11_0_4_load_19 | 26 | 0.0030949 | 0.00077566 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5310-11_0_4_load_24 | 30 | 0.00066397 | 0.00016641 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5310-11_0_4_load_75 | 31 | 0.0015395 | 0.00038584 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5310-11_0_4_load_100 | 32 | 0.0008817 | 0.00022098 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5310-11_0_4_load_101 | 35 | 0.00088128 | 0.00022087 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5310-11_0_4_load_25 | 37 | 0.0044154 | 0.0011066 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5310-11_0_4_load_26 | 38 | 0.0034805 | 0.00087228 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5310-11_0_4_load_27 | 39 | 0.0018068 | 0.00045284 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5310-11_0_4_load_28 | 40 | 0.002441 | 0.00061178 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5310-11_0_4_load_29 | 41 | 0.0025007 | 0.00062673 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5310-11_0_4_load_34 | 42 | 0.0019751 | 0.00049502 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5310-11_0_4_load_86 | 43 | 0.0033824 | 0.00084772 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5310-11_0_4_load_32 | 44 | 0.0012085 | 0.00030288 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5310-11_0_4_load_30 | 45 | 0.0020759 | 0.00052027 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5310-11_0_4_load_31 | 46 | 0.00088146 | 0.00022091 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5310-11_0_4_load_33 | 47 | 0.0011216 | 0.0002811 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5310-11_0_4_load_99 | 48 | 0.0014566 | 0.00036507 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5310-11_0_4_load_98 | 49 | 0.0020574 | 0.00051563 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5310-11_0_4_load_35 | 50 | 0.0041392 | 0.0010374 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5310-11_0_4_load_36 | 51 | 0.0037154 | 0.00093116 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5310-11_0_4_load_37 | 52 | 0.002915 | 0.00073056 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5310-11_0_4_load_38 | 53 | 0.0020253 | 0.00050759 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5310-11_0_4_load_39 | 54 | 0.0036521 | 0.0009153 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5310-11_0_4_load_40 | 55 | 0.0020731 | 0.00051956 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5310-11_0_4_load_42 | 56 | 0.0036798 | 0.00092226 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5310-11_0_4_load_41 | 57 | 0.0036403 | 0.00091235 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5310-11_0_4_load_45 | 59 | 0.0026135 | 0.000655 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5310-11_0_4_load_58 | 60 | 0.0048263 | 0.0012096 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5310-11_0_4_load_57 | 61 | 0.0037119 | 0.00093028 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5310-11_0_4_load_47 | 62 | 0.0022484 | 0.00056351 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5310-11_0_4_load_48 | 63 | 0.0035006 | 0.00087733 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5310-11_0_4_load_49 | 64 | 0.0021836 | 0.00054727 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5310-11_0_4_load_50 | 65 | 0.0026548 | 0.00066535 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5310-11_0_4_load_51 | 66 | 0.0060795 | 0.0015237 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5310-11_0_4_load_90 | 67 | 0.007368 | 0.0018466 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5310-11_0_4_load_91 | 68 | 0.0028906 | 0.00072445 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5310-11_0_4_load_52 | 69 | 0.0027226 | 0.00068235 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5310-11_0_4_load_53 | 70 | 0.0033511 | 0.00083986 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5310-11_0_4_load_54 | 71 | 0.006219 | 0.0015586 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5310-11_0_4_load_55 | 72 | 0.0028522 | 0.00071482 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5310-11_0_4_load_56 | 73 | 0.0025094 | 0.00062891 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5310-11_0_4_load_60 | 74 | 0.002714 | 0.00068019 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5310-11_0_4_load_63 | 75 | 0.0020143 | 0.00050483 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5310-11_0_4_load_61 | 76 | 0.0040995 | 0.0010274 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5310-11_0_4_load_62 | 77 | 0.0017838 | 0.00044706 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5310-11_0_4_load_64 | 78 | 0.0038659 | 0.0009689 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5310-11_0_4_load_94 | 79 | 0.0020277 | 0.00050818 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5310-11_0_4_load_65 | 81 | 0.0035286 | 0.00088434 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5310-11_0_4_load_66 | 82 | 0.0052379 | 0.0013128 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5310-11_0_4_load_67 | 83 | 0.00345 | 0.00086465 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5310-11_0_4_load_68 | 84 | 0.0025623 | 0.00064216 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5310-11_0_4_load_69 | 85 | 0.0024941 | 0.00062509 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5310-11_0_4_load_95 | 86 | 0.0015763 | 0.00039505 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5310-11_0_4_load_72 | 87 | 0.0031265 | 0.00078357 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5310-11_0_4_load_73 | 88 | 0.00064405 | 0.00016141 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5310-11_0_4_load_77 | 89 | 0.00078602 | 0.000197 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5310-11_0_4_load_78 | 90 | 0.0012918 | 0.00032375 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5310-11_0_4_load_79 | 91 | 0.00061222 | 0.00015344 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5310-11_0_4_load_80 | 92 | 0.00049555 | 0.0001242 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5310-11_0_4_load_88 | 93 | 0.002162 | 0.00054185 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5310-11_0_4_load_106 | 95 | 0.0019542 | 0.00048977 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5310-11_0_4_load_107 | 96 | 0.00051382 | 0.00012878 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5310-11_0_4_load_105 | 97 | 0.0020966 | 0.00052547 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5310-11_0_4_load_104 | 98 | 0.0020204 | 0.00050637 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5310-11_0_4_load_103 | 99 | 0.002096 | 0.00052532 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5310-11_0_4_load_92 | 100 | 0.0036887 | 0.00092447 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5310-11_0_4_load_96 | 101 | 0.0018925 | 0.00047431 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5310-11_0_4_load_97 | 102 | 0.0031013 | 0.00077725 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5310-11_0_4_load_102 | 103 | 0.0020225 | 0.00050689 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5310-11_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.062702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5310-11_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0069378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5310-11_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.007156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5310-11_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.018549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5310-11_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.063674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5310-11_0_4_line_5 | NAYY 4x150 SE | 5 | 10 | 0.01746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5310-11_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.014865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5310-11_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.023666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_5310-11_0_4_line_8 | NAYY 4x150 SE | 6 | 8 | 0.0093097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_5310-11_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_5310-11_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.052349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_5310-11_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.031406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_5310-11_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.048753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_5310-11_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0091931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_5310-11_0_4_line_14 | NAYY 4x150 SE | 13 | 59 | 0.010171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_5310-11_0_4_line_15 | NAYY 4x150 SE | 13 | 57 | 0.011298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_5310-11_0_4_line_16 | NAYY 4x150 SE | 14 | 20 | 0.014011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_5310-11_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.069035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5310-11_0_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.011152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5310-11_0_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.038507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_5310-11_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.066512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_5310-11_0_4_line_21 | NAYY 4x150 SE | 18 | 22 | 0.02077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_5310-11_0_4_line_22 | NAYY 4x150 SE | 19 | 23 | 0.031217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5310-11_0_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.024331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5310-11_0_4_line_24 | NAYY 4x150 SE | 20 | 22 | 0.036435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_5310-11_0_4_line_25 | NAYY 4x150 SE | 23 | 24 | 0.037826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5310-11_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.037651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5310-11_0_4_line_27 | NAYY 4x150 SE | 24 | 32 | 0.011192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5310-11_0_4_line_28 | NAYY 4x150 SE | 24 | 27 | 0.010846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5310-11_0_4_line_29 | NAYY 4x150 SE | 26 | 27 | 0.054885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5310-11_0_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.043428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5310-11_0_4_line_31 | NAYY 4x150 SE | 27 | 29 | 0.058715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5310-11_0_4_line_32 | NAYY 4x150 SE | 28 | 30 | 0.016576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5310-11_0_4_line_33 | NAYY 4x150 SE | 29 | 31 | 0.017455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5310-11_0_4_line_34 | NAYY 4x150 SE | 30 | 33 | 0.0459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5310-11_0_4_line_35 | NAYY 4x150 SE | 31 | 34 | 0.01808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5310-11_0_4_line_36 | NAYY 4x150 SE | 32 | 35 | 0.016589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5310-11_0_4_line_37 | NAYY 4x150 SE | 33 | 36 | 0.004485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5310-11_0_4_line_38 | NAYY 4x150 SE | 34 | 89 | 0.0037023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5310-11_0_4_line_39 | NAYY 4x150 SE | 34 | 90 | 0.077679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5310-11_0_4_line_40 | NAYY 4x150 SE | 35 | 103 | 0.022988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5310-11_0_4_line_41 | NAYY 4x150 SE | 36 | 88 | 0.10315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5310-11_0_4_line_42 | NAYY 4x150 SE | 37 | 38 | 0.020578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5310-11_0_4_line_43 | NAYY 4x150 SE | 37 | 39 | 0.024763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5310-11_0_4_line_44 | NAYY 4x150 SE | 38 | 40 | 0.013228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5310-11_0_4_line_45 | NAYY 4x150 SE | 39 | 41 | 0.021041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5310-11_0_4_line_46 | NAYY 4x150 SE | 40 | 42 | 0.0042315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5310-11_0_4_line_47 | NAYY 4x150 SE | 41 | 43 | 0.0081038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5310-11_0_4_line_48 | NAYY 4x150 SE | 42 | 44 | 0.014327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_5310-11_0_4_line_49 | NAYY 4x150 SE | 44 | 45 | 0.0010442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_5310-11_0_4_line_50 | NAYY 4x150 SE | 45 | 46 | 0.01067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_5310-11_0_4_line_51 | NAYY 4x150 SE | 46 | 47 | 0.0030696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_5310-11_0_4_line_52 | NAYY 4x150 SE | 47 | 48 | 0.015789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_5310-11_0_4_line_53 | NAYY 4x150 SE | 48 | 49 | 0.0020252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_5310-11_0_4_line_54 | NAYY 4x150 SE | 49 | 102 | 0.009617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_5310-11_0_4_line_55 | NAYY 4x150 SE | 50 | 51 | 0.0054155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_5310-11_0_4_line_56 | NAYY 4x150 SE | 50 | 52 | 0.024979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_5310-11_0_4_line_57 | NAYY 4x150 SE | 51 | 53 | 0.0090242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_5310-11_0_4_line_58 | NAYY 4x150 SE | 52 | 54 | 0.00055934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5310-11_0_4_line_59 | NAYY 4x150 SE | 53 | 55 | 0.0070817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_5310-11_0_4_line_60 | NAYY 4x150 SE | 54 | 56 | 0.0046119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5310-11_0_4_line_61 | NAYY 4x150 SE | 55 | 57 | 0.0085256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_5310-11_0_4_line_62 | NAYY 4x150 SE | 56 | 58 | 0.039092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5310-11_0_4_line_63 | NAYY 4x150 SE | 58 | 60 | 0.029593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5310-11_0_4_line_64 | NAYY 4x150 SE | 59 | 62 | 0.0047725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_5310-11_0_4_line_65 | NAYY 4x150 SE | 60 | 61 | 0.0079959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5310-11_0_4_line_66 | NAYY 4x150 SE | 61 | 72 | 0.012098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5310-11_0_4_line_67 | NAYY 4x150 SE | 62 | 63 | 0.009283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_5310-11_0_4_line_68 | NAYY 4x150 SE | 63 | 64 | 0.004041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_5310-11_0_4_line_69 | NAYY 4x150 SE | 64 | 65 | 0.010287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_5310-11_0_4_line_70 | NAYY 4x150 SE | 65 | 66 | 0.0012607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_5310-11_0_4_line_71 | NAYY 4x150 SE | 66 | 67 | 0.00084769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_5310-11_0_4_line_72 | NAYY 4x150 SE | 67 | 68 | 0.016801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_5310-11_0_4_line_73 | NAYY 4x150 SE | 68 | 100 | 0.0022864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_5310-11_0_4_line_74 | NAYY 4x150 SE | 69 | 70 | 0.0077666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5310-11_0_4_line_75 | NAYY 4x150 SE | 69 | 71 | 0.015061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5310-11_0_4_line_76 | NAYY 4x150 SE | 70 | 72 | 0.014974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5310-11_0_4_line_77 | NAYY 4x150 SE | 71 | 73 | 0.0015318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5310-11_0_4_line_78 | NAYY 4x150 SE | 73 | 74 | 0.0043623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5310-11_0_4_line_79 | NAYY 4x150 SE | 74 | 75 | 0.0079388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5310-11_0_4_line_80 | NAYY 4x150 SE | 75 | 76 | 0.013416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5310-11_0_4_line_81 | NAYY 4x150 SE | 76 | 77 | 0.003495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5310-11_0_4_line_82 | NAYY 4x150 SE | 77 | 78 | 0.017149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5310-11_0_4_line_83 | NAYY 4x150 SE | 78 | 79 | 0.019468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5310-11_0_4_line_84 | NAYY 4x150 SE | 79 | 80 | 0.017733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5310-11_0_4_line_85 | NAYY 4x150 SE | 80 | 86 | 0.0080358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5310-11_0_4_line_86 | NAYY 4x150 SE | 80 | 84 | 0.013197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5310-11_0_4_line_87 | NAYY 4x150 SE | 81 | 82 | 0.0088168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5310-11_0_4_line_88 | NAYY 4x150 SE | 81 | 83 | 0.040526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5310-11_0_4_line_89 | NAYY 4x150 SE | 82 | 84 | 0.0092119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5310-11_0_4_line_90 | NAYY 4x150 SE | 83 | 85 | 0.010211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5310-11_0_4_line_91 | NAYY 4x150 SE | 87 | 88 | 0.37893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5310-11_0_4_line_92 | NAYY 4x150 SE | 89 | 91 | 0.0092813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5310-11_0_4_line_93 | NAYY 4x150 SE | 91 | 92 | 0.0092494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5310-11_0_4_line_94 | NAYY 4x150 SE | 93 | 94 | 0.055255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5310-11_0_4_line_95 | NAYY 4x150 SE | 93 | 95 | 0.052851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5310-11_0_4_line_96 | NAYY 4x150 SE | 94 | 96 | 0.51824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5310-11_0_4_line_97 | NAYY 4x150 SE | 95 | 97 | 0.016512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5310-11_0_4_line_98 | NAYY 4x150 SE | 97 | 98 | 0.0083989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5310-11_0_4_line_99 | NAYY 4x150 SE | 98 | 99 | 0.022414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5310-11_0_4_line_100 | NAYY 4x150 SE | 99 | 103 | 0.0093029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5310-11_0_4_line_101 | NAYY 4x150 SE | 100 | 101 | 0.014705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
102 | LV_5310-11_0_4_line_102 | NAYY 4x150 SE | 101 | 102 | 0.00035919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5310-11_0_4_trafo_34 | 0.25 MVA 20/0.4 kV | 104 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2689813.823 | 1133241.8664 | 2689797.5042 | 1133257.2855 | 2689776.7883 | 1133275.711 | 2689767.7014 | 1133284.3337
1 | 2689762.6687 | 1133289.1092 | 2689767.7014 | 1133284.3337
2 | 2689762.6687 | 1133289.1092 | 2689757.4753 | 1133294.0461
3 | 2689757.4753 | 1133294.0461 | 2689749.1417 | 1133301.4935 | 2689743.6857 | 1133306.4517
4 | 2689757.4753 | 1133294.0461 | 2689799.8294 | 1133341.6926
5 | 2689799.8294 | 1133341.6926 | 2689787.0435 | 1133353.5826
6 | 2689799.8294 | 1133341.6926 | 2689810.7973 | 1133331.6592
7 | 2689828.2594 | 1133315.685 | 2689810.7973 | 1133331.6592
8 | 2689828.2594 | 1133315.685 | 2689835.1284 | 1133309.4012
9 | 2689843.8353 | 1133301.4362 | 2689835.1284 | 1133309.4012
10 | 2689886.2418 | 1133276.3049 | 2689883.8751 | 1133274.9578 | 2689881.2605 | 1133274.741 | 2689876.7613 | 1133275.4412 | 2689872.4789 | 1133276.5782 | 2689868.4013 | 1133278.9634 | 2689843.8353 | 1133301.4362
11 | 2689787.0435 | 1133353.5826 | 2689764.0451 | 1133374.9695
12 | 2689886.2418 | 1133276.3049 | 2689866.7757 | 1133305.4217 | 2689865.4767 | 1133309.4158 | 2689865.9832 | 1133314.1818 | 2689869.3907 | 1133317.5122
13 | 2689757.313 | 1133381.2299 | 2689764.0451 | 1133374.9695
14 | 2689869.3907 | 1133317.5122 | 2689865.3491 | 1133323.678 | 2689863.1104 | 1133325.3576
15 | 2689869.3907 | 1133317.5122 | 2689874.763 | 1133327.4515
16 | 2689747.0528 | 1133390.7711 | 2689757.313 | 1133381.2299
17 | 2689690.1028 | 1133386.1648 | 2689689.6345 | 1133386.9609 | 2689682.4917 | 1133398.7508 | 2689671.6521 | 1133412.6871 | 2689665.0739 | 1133420.672 | 2689662.0102 | 1133425.8185 | 2689661.1976 | 1133428.1746 | 2689660.89 | 1133431.2607 | 2689660.9635 | 1133433.5743 | 2689661.9097 | 1133435.7007 | 2689668.466 | 1133443.3832
18 | 2689674.3982 | 1133452.7851 | 2689672.6478 | 1133449.8573 | 2689670.1356 | 1133445.3396 | 2689668.466 | 1133443.3832
19 | 2689674.3982 | 1133452.7851 | 2689689.3031 | 1133442.9782 | 2689705.1344 | 1133429.6959
20 | 2689674.3982 | 1133452.7851 | 2689617.3529 | 1133486.9862
21 | 2689705.1344 | 1133429.6959 | 2689705.6442 | 1133429.2681 | 2689720.3682 | 1133415.5795
22 | 2689590.5788 | 1133503.0384 | 2689617.3529 | 1133486.9862
23 | 2689747.0528 | 1133390.7711 | 2689744.6451 | 1133388.5563 | 2689737.536 | 1133384.0703 | 2689725.9969 | 1133378.7513
24 | 2689747.0528 | 1133390.7711 | 2689720.3682 | 1133415.5795
25 | 2689557.7687 | 1133522.019 | 2689590.5788 | 1133503.0384
26 | 2689590.5788 | 1133503.0384 | 2689592.3098 | 1133505.7212 | 2689595.3333 | 1133506.9112 | 2689601.5462 | 1133503.8126 | 2689623.1085 | 1133492.6816
27 | 2689557.7687 | 1133522.019 | 2689560.9571 | 1133525.068 | 2689565.9219 | 1133524.6191 | 2689567.5456 | 1133523.8534
28 | 2689557.7687 | 1133522.019 | 2689548.6952 | 1133527.9992
29 | 2689548.6952 | 1133527.9992 | 2689549.2882 | 1133530.0647 | 2689546.1411 | 1133535.6548 | 2689525.4987 | 1133548.7234 | 2689517.1783 | 1133552.7247 | 2689505.4228 | 1133557.4169
30 | 2689466.4749 | 1133576.4658 | 2689490.5903 | 1133563.3372 | 2689505.4228 | 1133557.4169
31 | 2689548.6952 | 1133527.9992 | 2689529.0324 | 1133540.9378 | 2689518.4179 | 1133547.0063 | 2689511.4043 | 1133548.5478 | 2689495.5295 | 1133549.5466
32 | 2689466.4749 | 1133576.4658 | 2689462.9435 | 1133578.3813 | 2689452.4123 | 1133585.2234
33 | 2689495.5295 | 1133549.5466 | 2689482.9222 | 1133550.3382 | 2689478.1228 | 1133550.8093
34 | 2689413.9221 | 1133610.2303 | 2689452.4123 | 1133585.2234
35 | 2689461.2045 | 1133555.9644 | 2689465.1964 | 1133553.1107 | 2689471.3105 | 1133551.4781 | 2689478.1228 | 1133550.8093
36 | 2689567.5456 | 1133523.8534 | 2689571.6361 | 1133521.9244 | 2689583.6468 | 1133520.769
37 | 2689410.1519 | 1133612.6759 | 2689413.9221 | 1133610.2303
38 | 2689461.2045 | 1133555.9644 | 2689458.5106 | 1133553.8344 | 2689458.2451 | 1133553.7977
39 | 2689461.2045 | 1133555.9644 | 2689450.8163 | 1133563.3929 | 2689429.7309 | 1133576.7665 | 2689394.3178 | 1133595.2329
40 | 2689583.6468 | 1133520.769 | 2689587.3569 | 1133520.4121 | 2689606.5576 | 1133518.887
41 | 2689410.1519 | 1133612.6759 | 2689391.0894 | 1133629.8375 | 2689342.8501 | 1133680.1762 | 2689335.9885 | 1133683.84
42 | 2689746.2354 | 1133430.8445 | 2689749.1451 | 1133428.2023 | 2689758.3443 | 1133417.9328 | 2689760.0179 | 1133415.6132
43 | 2689746.2354 | 1133430.8445 | 2689739.7251 | 1133436.7563 | 2689726.1948 | 1133445.2383 | 2689726.1948 | 1133445.2383
44 | 2689767.7581 | 1133404.8857 | 2689760.0179 | 1133415.6132
45 | 2689726.1948 | 1133445.2383 | 2689718.3185 | 1133449.3905 | 2689706.7911 | 1133453.1889
46 | 2689767.7581 | 1133404.8857 | 2689770.234 | 1133401.4541
47 | 2689706.7911 | 1133453.1889 | 2689699.0944 | 1133455.7251
48 | 2689770.234 | 1133401.4541 | 2689775.7254 | 1133393.8433 | 2689778.8782 | 1133390.0377
49 | 2689779.5444 | 1133389.2336 | 2689778.8782 | 1133390.0377
50 | 2689779.5444 | 1133389.2336 | 2689785.1881 | 1133382.4215 | 2689786.4078 | 1133381.0652
51 | 2689788.4603 | 1133378.7827 | 2689786.4078 | 1133381.0652
52 | 2689800.2344 | 1133368.3575 | 2689792.4688 | 1133374.3248 | 2689788.4603 | 1133378.7827
53 | 2689801.8402 | 1133367.1236 | 2689800.2344 | 1133368.3575
54 | 2689809.4658 | 1133361.2638 | 2689801.8402 | 1133367.1236
55 | 2689899.6361 | 1133340.4044 | 2689894.3973 | 1133339.0323
56 | 2689899.6361 | 1133340.4044 | 2689907.1708 | 1133342.3778 | 2689908.6318 | 1133359.5063
57 | 2689885.6675 | 1133336.7459 | 2689894.3973 | 1133339.0323
58 | 2689908.6318 | 1133359.5063 | 2689908.6794 | 1133360.0636
59 | 2689885.6675 | 1133336.7459 | 2689878.8169 | 1133334.9516 | 2689878.8169 | 1133334.9516
60 | 2689908.6794 | 1133360.0636 | 2689909.0713 | 1133364.6588
61 | 2689874.763 | 1133327.4515 | 2689878.8169 | 1133334.9516
62 | 2689924.3499 | 1133394.4755 | 2689920.3755 | 1133373.893 | 2689909.688 | 1133371.8884 | 2689909.0713 | 1133364.6588
63 | 2689924.3499 | 1133394.4755 | 2689916.4671 | 1133392.3236 | 2689909.1464 | 1133391.2029 | 2689901.659 | 1133390.9358 | 2689895.1819 | 1133391.7163
64 | 2689859.2929 | 1133328.2218 | 2689863.1104 | 1133325.3576
65 | 2689887.2742 | 1133390.9965 | 2689893.2826 | 1133391.9452 | 2689895.1819 | 1133391.7163
66 | 2689887.2742 | 1133390.9965 | 2689875.3239 | 1133389.1097
67 | 2689859.2929 | 1133328.2218 | 2689851.8675 | 1133333.7929
68 | 2689851.8675 | 1133333.7929 | 2689848.6351 | 1133336.2181
69 | 2689848.6351 | 1133336.2181 | 2689847.5498 | 1133337.0324 | 2689840.2145 | 1133342.1249
70 | 2689840.2145 | 1133342.1249 | 2689839.1789 | 1133342.8439
71 | 2689838.4826 | 1133343.3273 | 2689839.1789 | 1133342.8439
72 | 2689838.4826 | 1133343.3273 | 2689830.1001 | 1133349.1469 | 2689824.3739 | 1133352.4207
73 | 2689824.3739 | 1133352.4207 | 2689822.389 | 1133353.5555
74 | 2689853.0301 | 1133392.6557 | 2689860.5271 | 1133390.627
75 | 2689853.0301 | 1133392.6557 | 2689849.7504 | 1133393.5432 | 2689842.0864 | 1133394.2741 | 2689838.1234 | 1133394.1578
76 | 2689875.3239 | 1133389.1097 | 2689875.3239 | 1133389.1097 | 2689868.026 | 1133389.0456 | 2689864.1598 | 1133389.644 | 2689860.5271 | 1133390.627
77 | 2689838.1234 | 1133394.1578 | 2689836.5922 | 1133394.1129
78 | 2689836.5922 | 1133394.1129 | 2689833.6364 | 1133394.0262 | 2689832.2479 | 1133394.2423
79 | 2689832.2479 | 1133394.2423 | 2689824.4036 | 1133395.4636
80 | 2689812.45 | 1133401.278 | 2689818.4024 | 1133397.4573 | 2689823.2723 | 1133395.6397 | 2689824.4036 | 1133395.4636
81 | 2689812.45 | 1133401.278 | 2689809.5088 | 1133403.1659
82 | 2689796.4564 | 1133414.1489 | 2689799.2068 | 1133411.0135 | 2689805.1643 | 1133405.9545 | 2689809.5088 | 1133403.1659
83 | 2689796.4564 | 1133414.1489 | 2689795.0481 | 1133415.7545 | 2689788.6164 | 1133425.2646 | 2689785.0028 | 1133429.8674
84 | 2689772.8654 | 1133442.7744 | 2689782.9739 | 1133432.4517 | 2689785.0028 | 1133429.8674
85 | 2689772.8654 | 1133442.7744 | 2689774.6661 | 1133450.6058
86 | 2689772.8654 | 1133442.7744 | 2689762.7894 | 1133451.2971
87 | 2689750.2173 | 1133464.1881 | 2689750.7172 | 1133463.8579 | 2689756.3587 | 1133457.8826
88 | 2689750.2173 | 1133464.1881 | 2689740.4925 | 1133470.6101 | 2689731.7716 | 1133474.0827 | 2689717.3625 | 1133477.9822 | 2689712.9892 | 1133479.2646
89 | 2689762.7894 | 1133451.2971 | 2689761.731 | 1133452.1923 | 2689756.3587 | 1133457.8826
90 | 2689712.9892 | 1133479.2646 | 2689710.0009 | 1133480.1409 | 2689703.4858 | 1133480.7667 | 2689702.9342 | 1133480.769
91 | 2689335.9885 | 1133683.84 | 2689040.3261 | 1133920.8506
92 | 2689458.2451 | 1133553.7977 | 2689453.5626 | 1133553.1496 | 2689449.0523 | 1133553.7798
93 | 2689440.1004 | 1133556.041 | 2689446.9431 | 1133554.0744 | 2689449.0523 | 1133553.7798
94 | 2689659.3612 | 1133577.2916 | 2689662.2609 | 1133575.4113 | 2689687.6624 | 1133547.7606 | 2689699.4101 | 1133539.6917
95 | 2689660.7077 | 1133503.7011 | 2689699.4101 | 1133539.6917
96 | 2689659.3612 | 1133577.2916 | 2689780.1654 | 1134081.2517
97 | 2689660.7077 | 1133503.7011 | 2689645.1838 | 1133509.3283
98 | 2689645.1838 | 1133509.3283 | 2689637.2877 | 1133512.1906
99 | 2689615.8269 | 1133518.0991 | 2689622.8168 | 1133517.4361 | 2689637.2877 | 1133512.1906
100 | 2689606.5576 | 1133518.887 | 2689612.4778 | 1133518.4167 | 2689615.8269 | 1133518.0991
101 | 2689822.389 | 1133353.5555 | 2689811.0906 | 1133360.0153 | 2689809.7506 | 1133361.0449
102 | 2689809.4658 | 1133361.2638 | 2689809.7506 | 1133361.0449

## bus_geodata
| x | y | coords
0 | 2689813.823 | 1133241.8664
1 | 2689767.7014 | 1133284.3337
2 | 2689762.6687 | 1133289.1092
3 | 2689757.4753 | 1133294.0461
4 | 2689743.6857 | 1133306.4517
5 | 2689799.8294 | 1133341.6926
6 | 2689828.2594 | 1133315.685
7 | 2689810.7973 | 1133331.6592
8 | 2689835.1284 | 1133309.4012
9 | 2689843.8353 | 1133301.4362
10 | 2689787.0435 | 1133353.5826
11 | 2689886.2418 | 1133276.3049
12 | 2689764.0451 | 1133374.9695
13 | 2689869.3907 | 1133317.5122
14 | 2689757.313 | 1133381.2299
15 | 2689690.1028 | 1133386.1648
16 | 2689668.466 | 1133443.3832
17 | 2689674.3982 | 1133452.7851
18 | 2689705.1344 | 1133429.6959
19 | 2689617.3529 | 1133486.9862
20 | 2689747.0528 | 1133390.7711
21 | 2689725.9969 | 1133378.7513
22 | 2689720.3682 | 1133415.5795
23 | 2689590.5788 | 1133503.0384
24 | 2689557.7687 | 1133522.019
25 | 2689623.1085 | 1133492.6816
26 | 2689505.4228 | 1133557.4169
27 | 2689548.6952 | 1133527.9992
28 | 2689466.4749 | 1133576.4658
29 | 2689495.5295 | 1133549.5466
30 | 2689452.4123 | 1133585.2234
31 | 2689478.1228 | 1133550.8093
32 | 2689567.5456 | 1133523.8534
33 | 2689413.9221 | 1133610.2303
34 | 2689461.2045 | 1133555.9644
35 | 2689583.6468 | 1133520.769
36 | 2689410.1519 | 1133612.6759
37 | 2689746.2354 | 1133430.8445
38 | 2689760.0179 | 1133415.6132
39 | 2689726.1948 | 1133445.2383
40 | 2689767.7581 | 1133404.8857
41 | 2689706.7911 | 1133453.1889
42 | 2689770.234 | 1133401.4541
43 | 2689699.0944 | 1133455.7251
44 | 2689778.8782 | 1133390.0377
45 | 2689779.5444 | 1133389.2336
46 | 2689786.4078 | 1133381.0652
47 | 2689788.4602 | 1133378.7827
48 | 2689800.2344 | 1133368.3575
49 | 2689801.8402 | 1133367.1236
50 | 2689899.6361 | 1133340.4044
51 | 2689894.3973 | 1133339.0323
52 | 2689908.6318 | 1133359.5063
53 | 2689885.6675 | 1133336.7459
54 | 2689908.6794 | 1133360.0637
55 | 2689878.8169 | 1133334.9516
56 | 2689909.0713 | 1133364.6588
57 | 2689874.763 | 1133327.4515
58 | 2689924.3499 | 1133394.4755
59 | 2689863.1104 | 1133325.3576
60 | 2689895.1819 | 1133391.7163
61 | 2689887.2742 | 1133390.9965
62 | 2689859.2929 | 1133328.2218
63 | 2689851.8675 | 1133333.7929
64 | 2689848.6351 | 1133336.2181
65 | 2689840.2145 | 1133342.1249
66 | 2689839.1789 | 1133342.8439
67 | 2689838.4826 | 1133343.3273
68 | 2689824.3739 | 1133352.4207
69 | 2689853.0301 | 1133392.6557
70 | 2689860.5271 | 1133390.627
71 | 2689838.1234 | 1133394.1578
72 | 2689875.3239 | 1133389.1097
73 | 2689836.5922 | 1133394.1129
74 | 2689832.2479 | 1133394.2423
75 | 2689824.4036 | 1133395.4636
76 | 2689812.45 | 1133401.278
77 | 2689809.5088 | 1133403.1659
78 | 2689796.4564 | 1133414.1489
79 | 2689785.0028 | 1133429.8674
80 | 2689772.8654 | 1133442.7744
81 | 2689750.2173 | 1133464.1881
82 | 2689756.3587 | 1133457.8826
83 | 2689712.9892 | 1133479.2646
84 | 2689762.7894 | 1133451.2971
85 | 2689702.9342 | 1133480.769
86 | 2689774.6661 | 1133450.6058
87 | 2689040.3261 | 1133920.8506
88 | 2689335.9885 | 1133683.84
89 | 2689458.2451 | 1133553.7977
90 | 2689394.3178 | 1133595.2329
91 | 2689449.0523 | 1133553.7798
92 | 2689440.1004 | 1133556.041
93 | 2689699.4101 | 1133539.6917
94 | 2689659.3612 | 1133577.2916
95 | 2689660.7077 | 1133503.7011
96 | 2689780.1654 | 1134081.2517
97 | 2689645.1838 | 1133509.3283
98 | 2689637.2877 | 1133512.1906
99 | 2689615.8269 | 1133518.0991
100 | 2689822.389 | 1133353.5555
101 | 2689809.7506 | 1133361.0449
102 | 2689809.4658 | 1133361.2638
103 | 2689606.5576 | 1133518.887
104 | 2689869.3907 | 1133317.5122

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1