## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5310-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5310-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5310-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5310-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5310-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5310-3_0_3_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_5310-3_0_3_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_5310-3_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_5310-3_0_3_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_5310-3_0_3_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_5310-3_0_3_node_72 | 0.4 | n |  | TRUE
11 | bus_LV_5310-3_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_5310-3_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5310-3_0_3_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_5310-3_0_3_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_5310-3_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_5310-3_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5310-3_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5310-3_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5310-3_0_3_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_5310-3_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_5310-3_0_3_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_5310-3_0_3_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_5310-3_0_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_5310-3_0_3_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_5310-3_0_3_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_5310-3_0_3_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_5310-3_0_3_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_5310-3_0_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_5310-3_0_3_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_5310-3_0_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_5310-3_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_5310-3_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5310-3_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5310-3_0_3_node_13 | 0.4 | n |  | TRUE
35 | bus_LV_5310-3_0_3_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_5310-3_0_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_5310-3_0_3_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_5310-3_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_5310-3_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_5310-3_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_5310-3_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_5310-3_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5310-3_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_5310-3_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_5310-3_0_3_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5310-3_0_3_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_5310-3_0_3_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_5310-3_0_3_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_5310-3_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_5310-3_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5310-3_0_3_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_5310-3_0_3_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_5310-3_0_3_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_5310-3_0_3_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_5310-3_0_3_node_29 | 0.4 | n |  | TRUE
56 | bus_LV_5310-3_0_3_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_5310-3_0_3_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_5310-3_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_5310-3_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5310-3_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_5310-3_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_5310-3_0_3_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_5310-3_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_5310-3_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_5310-3_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_5310-3_0_3_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_5310-3_0_3_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_5310-3_0_3_node_82 | 0.4 | n |  | TRUE
69 | bus_LV_5310-3_0_3_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_5310-3_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_5310-3_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_5310-3_0_3_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_5310-3_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_5310-3_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_5310-3_0_3_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_5310-3_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_5310-3_0_3_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_5310-3_0_3_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_5310-3_0_3_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_5310-3_0_3_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_5310-3_0_3_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_5310-3_0_3_node_85 | 0.4 | n |  | TRUE
83 | bus_MV_78_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5310-3_0_3_load_0 | 0 | 0.0058893 | 0.001476 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5310-3_0_3_load_1 | 1 | 0.00073433 | 0.00018404 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5310-3_0_3_load_2 | 2 | 0.0016975 | 0.00042544 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5310-3_0_3_load_60 | 5 | 0.0016513 | 0.00041385 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5310-3_0_3_load_53 | 8 | 0.00082249 | 0.00020613 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5310-3_0_3_load_80 | 9 | 0.0033748 | 0.00084579 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5310-3_0_3_load_72 | 10 | 0.0033375 | 0.00083646 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5310-3_0_3_load_11 | 12 | 0.001747 | 0.00043784 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5310-3_0_3_load_52 | 13 | 0.0015097 | 0.00037837 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5310-3_0_3_load_5 | 14 | 0.014311 | 0.0035866 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5310-3_0_3_load_46 | 19 | 0.016324 | 0.0040911 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5310-3_0_3_load_19 | 20 | 0.0063106 | 0.0015816 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5310-3_0_3_load_48 | 21 | 0.0027615 | 0.00069209 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5310-3_0_3_load_51 | 24 | 0.0040211 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5310-3_0_3_load_50 | 25 | 0.0010622 | 0.0002662 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5310-3_0_3_load_49 | 27 | 0.001262 | 0.0003163 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5310-3_0_3_load_33 | 29 | 0.0017133 | 0.0004294 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5310-3_0_3_load_39 | 31 | 0.0007014 | 0.00017579 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5310-3_0_3_load_15 | 35 | 0.029366 | 0.0073599 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5310-3_0_3_load_44 | 36 | 0.019058 | 0.0047763 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5310-3_0_3_load_16 | 37 | 0.0012335 | 0.00030914 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5310-3_0_3_load_20 | 38 | 0.0014089 | 0.00035311 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5310-3_0_3_load_23 | 41 | 0.00098607 | 0.00024713 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5310-3_0_3_load_27 | 43 | 0.0025811 | 0.00064689 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5310-3_0_3_load_78 | 47 | 0.0017279 | 0.00043306 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5310-3_0_3_load_76 | 48 | 0.001687 | 0.0004228 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5310-3_0_3_load_43 | 49 | 0.001703 | 0.00042682 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5310-3_0_3_load_42 | 50 | 0.0022548 | 0.0005651 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5310-3_0_3_load_58 | 51 | 0.00085672 | 0.00021471 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5310-3_0_3_load_73 | 52 | 0.00085656 | 0.00021467 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5310-3_0_3_load_77 | 53 | 0.0020023 | 0.00050183 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5310-3_0_3_load_28 | 54 | 0.0056912 | 0.0014264 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5310-3_0_3_load_29 | 55 | 0.0033795 | 0.00084699 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5310-3_0_3_load_30 | 56 | 0.0034753 | 0.00087098 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5310-3_0_3_load_32 | 57 | 0.00078658 | 0.00019713 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5310-3_0_3_load_40 | 58 | 0.00099606 | 0.00024964 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5310-3_0_3_load_47 | 59 | 0.034177 | 0.0085657 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5310-3_0_3_load_67 | 60 | 0.0091873 | 0.0023026 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5310-3_0_3_load_59 | 61 | 0.0017887 | 0.0004483 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5310-3_0_3_load_55 | 63 | 0.00085216 | 0.00021357 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5310-3_0_3_load_56 | 64 | 0.00075142 | 0.00018832 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5310-3_0_3_load_57 | 65 | 0.0024047 | 0.00060268 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5310-3_0_3_load_82 | 68 | 0.0019953 | 0.00050008 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5310-3_0_3_load_79 | 69 | 0.0021479 | 0.00053832 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5310-3_0_3_load_71 | 70 | 0.0034446 | 0.0008633 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5310-3_0_3_load_62 | 71 | 0.00082572 | 0.00020694 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5310-3_0_3_load_63 | 72 | 0.0020954 | 0.00052515 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5310-3_0_3_load_64 | 73 | 0.0032542 | 0.00081558 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5310-3_0_3_load_65 | 74 | 0.0039862 | 0.00099904 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5310-3_0_3_load_66 | 75 | 0.00094802 | 0.0002376 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5310-3_0_3_load_68 | 76 | 0.0035497 | 0.00088963 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5310-3_0_3_load_69 | 77 | 0.0020716 | 0.0005192 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5310-3_0_3_load_70 | 78 | 0.0022224 | 0.00055698 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5310-3_0_3_load_81 | 80 | 0.0089689 | 0.0022478 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5310-3_0_3_load_86 | 81 | 0.0017435 | 0.00043696 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5310-3_0_3_load_85 | 82 | 0.0021763 | 0.00054544 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5310-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.034057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_5310-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0055113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_5310-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.17883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5310-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_5310-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.10082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_5310-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.12479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5310-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.016812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5310-3_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.023509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5310-3_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0036433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_5310-3_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.10964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5310-3_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.020419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_5310-3_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.033775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_5310-3_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.0042295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5310-3_0_3_line_13 | NAYY 4x150 SE | 9 | 69 | 0.0078324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_5310-3_0_3_line_14 | NAYY 4x150 SE | 10 | 70 | 0.012328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5310-3_0_3_line_15 | NAYY 4x150 SE | 11 | 21 | 0.012423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_5310-3_0_3_line_16 | NAYY 4x150 SE | 12 | 34 | 0.0086776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_5310-3_0_3_line_17 | NAYY 4x150 SE | 13 | 62 | 0.0064778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5310-3_0_3_line_18 | NAYY 4x150 SE | 14 | 15 | 0.032007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5310-3_0_3_line_19 | NAYY 4x150 SE | 14 | 16 | 0.046705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5310-3_0_3_line_20 | NAYY 4x150 SE | 15 | 17 | 0.037393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5310-3_0_3_line_21 | NAYY 4x150 SE | 16 | 18 | 0.15477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5310-3_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.02108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5310-3_0_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.028703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5310-3_0_3_line_24 | NAYY 4x150 SE | 19 | 22 | 0.029425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5310-3_0_3_line_25 | NAYY 4x150 SE | 20 | 33 | 0.033596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5310-3_0_3_line_26 | NAYY 4x150 SE | 22 | 59 | 0.015099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5310-3_0_3_line_27 | NAYY 4x150 SE | 22 | 36 | 0.045978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5310-3_0_3_line_28 | NAYY 4x150 SE | 23 | 24 | 0.019586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5310-3_0_3_line_29 | NAYY 4x150 SE | 23 | 25 | 0.012119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5310-3_0_3_line_30 | NAYY 4x150 SE | 24 | 51 | 0.076719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5310-3_0_3_line_31 | NAYY 4x150 SE | 25 | 50 | 0.016425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5310-3_0_3_line_32 | NAYY 4x150 SE | 26 | 27 | 0.016349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5310-3_0_3_line_33 | NAYY 4x150 SE | 26 | 28 | 0.15708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5310-3_0_3_line_34 | NAYY 4x150 SE | 28 | 30 | 0.045775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5310-3_0_3_line_35 | NAYY 4x150 SE | 28 | 29 | 0.060648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5310-3_0_3_line_36 | NAYY 4x150 SE | 30 | 44 | 0.01898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5310-3_0_3_line_37 | NAYY 4x150 SE | 30 | 58 | 0.0029097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5310-3_0_3_line_38 | NAYY 4x150 SE | 31 | 32 | 0.0076333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5310-3_0_3_line_39 | NAYY 4x150 SE | 32 | 33 | 0.007403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5310-3_0_3_line_40 | NAYY 4x150 SE | 33 | 37 | 0.034655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5310-3_0_3_line_41 | NAYY 4x150 SE | 34 | 35 | 0.020269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_5310-3_0_3_line_42 | NAYY 4x150 SE | 35 | 36 | 0.023977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5310-3_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.0096864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5310-3_0_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.0062121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5310-3_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.01413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5310-3_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.010754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5310-3_0_3_line_47 | NAYY 4x150 SE | 40 | 43 | 0.0070072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5310-3_0_3_line_48 | NAYY 4x150 SE | 41 | 44 | 0.032442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5310-3_0_3_line_49 | NAYY 4x150 SE | 42 | 47 | 0.0035705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5310-3_0_3_line_50 | NAYY 4x150 SE | 42 | 48 | 0.004322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5310-3_0_3_line_51 | NAYY 4x150 SE | 43 | 49 | 0.016252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5310-3_0_3_line_52 | NAYY 4x150 SE | 44 | 50 | 0.0081127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5310-3_0_3_line_53 | NAYY 4x150 SE | 45 | 46 | 0.009232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5310-3_0_3_line_54 | NAYY 4x150 SE | 45 | 47 | 0.012656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5310-3_0_3_line_55 | NAYY 4x150 SE | 46 | 52 | 0.026948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5310-3_0_3_line_56 | NAYY 4x150 SE | 48 | 53 | 0.022813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5310-3_0_3_line_57 | NAYY 4x150 SE | 51 | 61 | 0.011495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5310-3_0_3_line_58 | NAYY 4x150 SE | 52 | 75 | 0.011313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5310-3_0_3_line_59 | NAYY 4x150 SE | 53 | 79 | 0.010361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5310-3_0_3_line_60 | NAYY 4x150 SE | 54 | 55 | 0.020135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5310-3_0_3_line_61 | NAYY 4x150 SE | 54 | 56 | 0.060812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5310-3_0_3_line_62 | NAYY 4x150 SE | 56 | 57 | 0.0080419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5310-3_0_3_line_63 | NAYY 4x150 SE | 57 | 58 | 0.029851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5310-3_0_3_line_64 | NAYY 4x150 SE | 59 | 60 | 0.026513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5310-3_0_3_line_65 | NAYY 4x150 SE | 61 | 66 | 0.014171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5310-3_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.042512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5310-3_0_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.066642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5310-3_0_3_line_68 | NAYY 4x150 SE | 63 | 65 | 0.00020326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5310-3_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.13574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5310-3_0_3_line_70 | NAYY 4x150 SE | 66 | 68 | 0.041384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5310-3_0_3_line_71 | NAYY 4x150 SE | 67 | 81 | 0.03245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5310-3_0_3_line_72 | NAYY 4x150 SE | 67 | 82 | 0.012836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5310-3_0_3_line_73 | NAYY 4x150 SE | 69 | 79 | 0.01365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_5310-3_0_3_line_74 | NAYY 4x150 SE | 70 | 78 | 0.013463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5310-3_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.019188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5310-3_0_3_line_76 | NAYY 4x150 SE | 71 | 73 | 0.023724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5310-3_0_3_line_77 | NAYY 4x150 SE | 72 | 74 | 0.016991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5310-3_0_3_line_78 | NAYY 4x150 SE | 73 | 75 | 0.014054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5310-3_0_3_line_79 | NAYY 4x150 SE | 74 | 76 | 0.0099768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5310-3_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.00122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5310-3_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.029648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5310-3_0_3_trafo_48 | 0.25 MVA 20/0.4 kV | 83 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2689425.4182 | 1130135.5307 | 2689418.7199 | 1130133.4567 | 2689416.4046 | 1130130.6208 | 2689414.3993 | 1130126.0995 | 2689408.3217 | 1130108.6922
1 | 2689425.4182 | 1130135.5307 | 2689430.683 | 1130137.1609
2 | 2689345.9 | 1129944.3012 | 2689356.3032 | 1129967.5242 | 2689368.6992 | 1129996.6359 | 2689368.5323 | 1130024.0719 | 2689373.2335 | 1130044.7648 | 2689381.6341 | 1130063.7781 | 2689407.4229 | 1130106.1178 | 2689408.3217 | 1130108.6922
3 | 2689443.5052 | 1130141.5503 | 2689438.8184 | 1130139.6799 | 2689430.683 | 1130137.1609
4 | 2689345.9 | 1129944.3012 | 2689349.1701 | 1129931.5419 | 2689356.4561 | 1129913.9391 | 2689362.0696 | 1129897.957 | 2689367.296 | 1129879.501 | 2689369.5932 | 1129864.2926 | 2689364.8281 | 1129847.8726
5 | 2689272.8565 | 1129897.7391 | 2689272.1506 | 1129905.3666 | 2689272.5101 | 1129918.0572 | 2689271.6562 | 1129934.143 | 2689292.7825 | 1129930.2971 | 2689302.7984 | 1129933.3468 | 2689309.0237 | 1129935.8959 | 2689322.8389 | 1129923.7371 | 2689336.7534 | 1129933.0038 | 2689345.9 | 1129944.3012
6 | 2689457.8332 | 1130150.412 | 2689443.5052 | 1130141.5503
7 | 2689443.5052 | 1130141.5503 | 2689440.0228 | 1130148.3473 | 2689428.3134 | 1130159.062
8 | 2689363.8127 | 1129844.3736 | 2689364.8281 | 1129847.8726
9 | 2689272.8565 | 1129897.7391 | 2689275.6998 | 1129897.6922 | 2689277.734 | 1129896.6216 | 2689278.7345 | 1129894.6018 | 2689279.3037 | 1129892.0531 | 2689279.2906 | 1129887.2056 | 2689278.8895 | 1129879.9398 | 2689278.6194 | 1129869.5408 | 2689277.3 | 1129855.0794 | 2689269.5939 | 1129811.4285 | 2689265.7462 | 1129793.5791
10 | 2689457.8332 | 1130150.412 | 2689455.7477 | 1130139.8638 | 2689453.5684 | 1130130.4481
11 | 2689457.8332 | 1130150.412 | 2689486.7161 | 1130167.9197
12 | 2689425.1931 | 1130161.9172 | 2689428.3134 | 1130159.062
13 | 2689359.3856 | 1129838.1509 | 2689363.1353 | 1129842.0395 | 2689363.8127 | 1129844.3736
14 | 2689265.7462 | 1129793.5791 | 2689263.9271 | 1129785.1404 | 2689263.035 | 1129781.5538
15 | 2689453.5684 | 1130130.4481 | 2689465.9772 | 1130131.0499
16 | 2689494.1368 | 1130172.4179 | 2689486.7161 | 1130167.9197
17 | 2689420.4141 | 1130166.2902 | 2689425.1931 | 1130161.9172
18 | 2689615.0947 | 1130109.0494 | 2689616.7755 | 1130110.5085 | 2689617.6458 | 1130112.0779 | 2689618.0397 | 1130114.6075 | 2689617.9301 | 1130117.8411 | 2689612.9215 | 1130139.46
19 | 2689603.1898 | 1130185.1071 | 2689603.681 | 1130180.5561 | 2689604.803 | 1130174.5025 | 2689612.9215 | 1130139.46
20 | 2689615.0947 | 1130109.0494 | 2689612.9201 | 1130107.6386 | 2689610.0405 | 1130107.0177 | 2689605.3679 | 1130106.7928 | 2689596.7446 | 1130107.521 | 2689590.9326 | 1130107.7684 | 2689586.691 | 1130107.0495 | 2689582.8041 | 1130105.7801 | 2689578.9616 | 1130103.5996
21 | 2689603.1898 | 1130185.1071 | 2689603.0887 | 1130195.0449 | 2689604.8932 | 1130238.5531 | 2689605.6228 | 1130242.8553 | 2689606.5856 | 1130245.46 | 2689607.6214 | 1130247.2987 | 2689609.1203 | 1130249.0775 | 2689610.3782 | 1130249.9634 | 2689611.9794 | 1130250.5541 | 2689624.6676 | 1130253.0881 | 2689643.3398 | 1130181.9782
22 | 2689578.9616 | 1130103.5996 | 2689576.3369 | 1130108.1301 | 2689575.8011 | 1130109.9788 | 2689575.4302 | 1130113.1752 | 2689577.0073 | 1130123.7603
23 | 2689643.3398 | 1130181.9782 | 2689649.9195 | 1130182.9429 | 2689651.4685 | 1130182.8992 | 2689652.6838 | 1130182.5059 | 2689653.9048 | 1130181.7235 | 2689654.887 | 1130180.4262 | 2689655.5336 | 1130178.9016 | 2689656.0948 | 1130176.8976 | 2689658.3935 | 1130164.7004
24 | 2689581.3435 | 1130152.8642 | 2689577.0073 | 1130123.7603
25 | 2689664.6154 | 1130131.6859 | 2689658.3935 | 1130164.7004
26 | 2689581.3435 | 1130152.8642 | 2689583.0432 | 1130167.8671
27 | 2689581.3435 | 1130152.8642 | 2689564.3096 | 1130155.5802 | 2689546.4916 | 1130159.2296 | 2689537.1389 | 1130164.092
28 | 2689380.6057 | 1129747.3525 | 2689371.8704 | 1129744.166 | 2689368.6415 | 1129742.1504 | 2689366.1176 | 1129739.8673 | 2689364.2247 | 1129737.6269 | 2689364.1555 | 1129737.4997
29 | 2689380.6057 | 1129747.3525 | 2689392.4286 | 1129750.0162
30 | 2689364.1555 | 1129737.4997 | 2689355.1345 | 1129720.9271 | 2689353.7593 | 1129719.1056 | 2689351.5411 | 1129718.0278 | 2689343.9981 | 1129717.0491 | 2689340.6039 | 1129716.3096 | 2689337.3683 | 1129715.2612 | 2689335.2517 | 1129713.5622 | 2689323.6259 | 1129692.7559 | 2689320.9034 | 1129688.2686 | 2689324.4968 | 1129682.4681
31 | 2689392.4286 | 1129750.0162 | 2689408.4516 | 1129753.6261
32 | 2689493.8788 | 1129592.1244 | 2689506.7972 | 1129582.1051
33 | 2689474.8784 | 1129744.734 | 2689477.942 | 1129663.2087 | 2689478.4451 | 1129629.2292 | 2689479.2915 | 1129614.2106 | 2689493.8788 | 1129592.1244
34 | 2689432.9605 | 1129763.0248 | 2689445.9296 | 1129755.5011 | 2689466.7793 | 1129747.4936 | 2689474.8784 | 1129744.734
35 | 2689474.8784 | 1129744.734 | 2689502.196 | 1129744.238 | 2689533.0117 | 1129749.4306 | 2689535.0777 | 1129749.628
36 | 2689432.9605 | 1129763.0248 | 2689430.0579 | 1129760.3025 | 2689427.5889 | 1129758.476 | 2689424.5022 | 1129757.263 | 2689421.815 | 1129756.6451 | 2689418.73 | 1129756.3549 | 2689415.9515 | 1129756.7029
37 | 2689432.9605 | 1129763.0248 | 2689434.4088 | 1129765.5485
38 | 2689657.5141 | 1130129.5238 | 2689655.5228 | 1130136.8927
39 | 2689657.5141 | 1130129.5238 | 2689664.6154 | 1130131.6859
40 | 2689664.6154 | 1130131.6859 | 2689681.1242 | 1130135.811 | 2689682.956 | 1130136.4385 | 2689684.1852 | 1130137.1794 | 2689684.8121 | 1130138.0225 | 2689685.2926 | 1130139.386 | 2689685.3465 | 1130140.9433 | 2689683.1439 | 1130150.9154
41 | 2689494.1368 | 1130172.4179 | 2689502.2008 | 1130171.9925 | 2689514.2626 | 1130170.2045
42 | 2689537.1389 | 1130164.092 | 2689529.8163 | 1130167.8989 | 2689514.2626 | 1130170.2045
43 | 2689375.8693 | 1129780.0686 | 2689378.1191 | 1129789.4901
44 | 2689379.5619 | 1129795.5324 | 2689378.1191 | 1129789.4901
45 | 2689375.8693 | 1129780.0686 | 2689378.8432 | 1129777.4555 | 2689382.6113 | 1129774.7874 | 2689387.2853 | 1129771.7879
46 | 2689379.5619 | 1129795.5324 | 2689373.8342 | 1129804.6421
47 | 2689379.5619 | 1129795.5324 | 2689379.2551 | 1129802.5329
48 | 2689415.9515 | 1129756.7029 | 2689412.1555 | 1129758.1254 | 2689406.4726 | 1129761.0764 | 2689390.8245 | 1129769.5168 | 2689387.2853 | 1129771.7879
49 | 2689373.8342 | 1129804.6421 | 2689371.5301 | 1129801.9145
50 | 2689373.8342 | 1129804.6421 | 2689373.8036 | 1129808.964
51 | 2689379.2551 | 1129802.5329 | 2689378.9108 | 1129810.3872 | 2689384.5872 | 1129816.5649
52 | 2689415.9515 | 1129756.7029 | 2689408.8618 | 1129753.7185 | 2689408.4516 | 1129753.6261
53 | 2689363.3631 | 1129792.2466 | 2689361.4259 | 1129793.5298 | 2689358.6362 | 1129794.6337 | 2689354.7383 | 1129795.1431
54 | 2689363.3631 | 1129792.2466 | 2689371.5301 | 1129801.9145
55 | 2689354.7383 | 1129795.1431 | 2689349.6717 | 1129794.9681 | 2689345.9761 | 1129793.7795 | 2689343.0646 | 1129792.18 | 2689340.2674 | 1129790.1374 | 2689337.1597 | 1129786.7006 | 2689335.5794 | 1129784.1646 | 2689334.3911 | 1129780.7775
56 | 2689373.8036 | 1129808.964 | 2689373.7634 | 1129814.6358 | 2689358.8964 | 1129823.1679
57 | 2689324.4968 | 1129682.4681 | 2689330.5506 | 1129672.6963
58 | 2689334.3911 | 1129780.7775 | 2689334.3522 | 1129780.6666 | 2689332.2247 | 1129769.6751
59 | 2689349.9104 | 1129828.3248 | 2689358.8964 | 1129823.1679
60 | 2689482.7041 | 1129851.6309 | 2689492.5841 | 1129869.1747
61 | 2689482.7041 | 1129851.6309 | 2689472.9963 | 1129834.3928 | 2689452.987 | 1129798.5744
62 | 2689449.065 | 1129791.5536 | 2689452.987 | 1129798.5744
63 | 2689449.065 | 1129791.5536 | 2689439.254 | 1129773.9911 | 2689434.4088 | 1129765.5485
64 | 2689583.0432 | 1130167.8671 | 2689584.7904 | 1130183.289 | 2689585.4473 | 1130194.2619
65 | 2689338.0138 | 1129660.6494 | 2689330.5506 | 1129672.6963
66 | 2689420.4141 | 1130166.2902 | 2689423.8418 | 1130190.2551 | 2689432.617 | 1130206.3176
67 | 2689420.4141 | 1130166.2902 | 2689414.6955 | 1130164.3934 | 2689409.6977 | 1130163.241 | 2689401.1212 | 1130162.3803 | 2689397.6916 | 1130161.9627 | 2689395.1064 | 1130161.2352 | 2689391.8849 | 1130159.253 | 2689388.8204 | 1130156.5506 | 2689374.1589 | 1130139.5015 | 2689371.4618 | 1130135.915 | 2689369.844 | 1130130.2558
68 | 2689432.617 | 1130206.3176 | 2689432.7145 | 1130206.496
69 | 2689338.0138 | 1129660.6494 | 2689349.1609 | 1129647.6619 | 2689359.3748 | 1129636.3061 | 2689360.5421 | 1129635.0003 | 2689369.2459 | 1129605.4225 | 2689384.377 | 1129571.5371 | 2689401.7307 | 1129542.6209
70 | 2689338.0138 | 1129660.6494 | 2689337.2277 | 1129657.0245 | 2689332.1044 | 1129633.5793 | 2689326.4176 | 1129621.1417
71 | 2689401.7307 | 1129542.6209 | 2689408.6502 | 1129531.083 | 2689419.8591 | 1129515.7461
72 | 2689401.7307 | 1129542.6209 | 2689397.92 | 1129538.2619 | 2689395.2731 | 1129535.9548 | 2689391.9793 | 1129534.672
73 | 2689349.9104 | 1129828.3248 | 2689359.3856 | 1129838.1509
74 | 2689259.7852 | 1129768.4886 | 2689263.035 | 1129781.5538
75 | 2689321.2497 | 1129734.0244 | 2689319.9161 | 1129732.6582 | 2689316.8662 | 1129731.0344 | 2689312.796 | 1129730.1626 | 2689308.2596 | 1129729.5619 | 2689303.1897 | 1129729.9564
76 | 2689321.2497 | 1129734.0244 | 2689321.8209 | 1129734.6097 | 2689324.2592 | 1129737.9922 | 2689326.0197 | 1129741.3757 | 2689329.3944 | 1129755.9114
77 | 2689303.1897 | 1129729.9564 | 2689302.1357 | 1129730.0384 | 2689289.8561 | 1129732.6142 | 2689286.4755 | 1129732.8199
78 | 2689329.3944 | 1129755.9114 | 2689330.3943 | 1129760.2182 | 2689332.2247 | 1129769.6751
79 | 2689286.4755 | 1129732.8199 | 2689285.1525 | 1129732.9005 | 2689280.6788 | 1129732.7454 | 2689276.6785 | 1129731.5508
80 | 2689259.7852 | 1129768.4886 | 2689259.4908 | 1129767.3047
81 | 2689349.9104 | 1129828.3248 | 2689341.261 | 1129823.5053 | 2689338.8436 | 1129821.8352 | 2689333.3943 | 1129820.4539 | 2689322.4805 | 1129817.6799

## bus_geodata
| x | y | coords
0 | 2689425.4182 | 1130135.5307
1 | 2689408.3217 | 1130108.6922
2 | 2689430.683 | 1130137.1609
3 | 2689345.9 | 1129944.3012
4 | 2689443.5052 | 1130141.5503
5 | 2689364.8281 | 1129847.8726
6 | 2689272.8565 | 1129897.7391
7 | 2689457.8332 | 1130150.412
8 | 2689428.3134 | 1130159.062
9 | 2689363.8127 | 1129844.3736
10 | 2689265.7462 | 1129793.5791
11 | 2689453.5684 | 1130130.4481
12 | 2689486.7161 | 1130167.9197
13 | 2689425.1931 | 1130161.9172
14 | 2689612.9215 | 1130139.46
15 | 2689615.0947 | 1130109.0494
16 | 2689603.1898 | 1130185.1071
17 | 2689578.9616 | 1130103.5996
18 | 2689643.3398 | 1130181.9782
19 | 2689577.0073 | 1130123.7603
20 | 2689658.3935 | 1130164.7004
21 | 2689465.9772 | 1130131.0499
22 | 2689581.3435 | 1130152.8642
23 | 2689380.6057 | 1129747.3525
24 | 2689364.1555 | 1129737.4997
25 | 2689392.4286 | 1129750.0162
26 | 2689493.8788 | 1129592.1244
27 | 2689506.7972 | 1129582.1051
28 | 2689474.8784 | 1129744.734
29 | 2689535.0777 | 1129749.628
30 | 2689432.9605 | 1129763.0248
31 | 2689655.5228 | 1130136.8927
32 | 2689657.5141 | 1130129.5238
33 | 2689664.6154 | 1130131.6859
34 | 2689494.1368 | 1130172.4179
35 | 2689514.2626 | 1130170.2045
36 | 2689537.1389 | 1130164.092
37 | 2689683.1439 | 1130150.9154
38 | 2689378.1191 | 1129789.4901
39 | 2689375.8693 | 1129780.0686
40 | 2689379.5619 | 1129795.5324
41 | 2689387.2853 | 1129771.7879
42 | 2689373.8342 | 1129804.6421
43 | 2689379.2551 | 1129802.5329
44 | 2689415.9515 | 1129756.7029
45 | 2689363.3631 | 1129792.2466
46 | 2689354.7383 | 1129795.1431
47 | 2689371.5301 | 1129801.9145
48 | 2689373.8036 | 1129808.964
49 | 2689384.5872 | 1129816.5649
50 | 2689408.4516 | 1129753.6261
51 | 2689324.4968 | 1129682.4681
52 | 2689334.3911 | 1129780.7775
53 | 2689358.8964 | 1129823.1679
54 | 2689482.7041 | 1129851.6309
55 | 2689492.5841 | 1129869.1747
56 | 2689452.987 | 1129798.5744
57 | 2689449.065 | 1129791.5536
58 | 2689434.4088 | 1129765.5485
59 | 2689583.0432 | 1130167.8671
60 | 2689585.4473 | 1130194.2619
61 | 2689330.5506 | 1129672.6963
62 | 2689420.4141 | 1130166.2902
63 | 2689432.617 | 1130206.3176
64 | 2689369.844 | 1130130.2558
65 | 2689432.7145 | 1130206.496
66 | 2689338.0138 | 1129660.6494
67 | 2689401.7307 | 1129542.6209
68 | 2689326.4176 | 1129621.1417
69 | 2689359.3856 | 1129838.1509
70 | 2689263.035 | 1129781.5538
71 | 2689321.2497 | 1129734.0244
72 | 2689303.1897 | 1129729.9564
73 | 2689329.3944 | 1129755.9114
74 | 2689286.4755 | 1129732.8199
75 | 2689332.2247 | 1129769.6751
76 | 2689276.6785 | 1129731.5508
77 | 2689259.4908 | 1129767.3047
78 | 2689259.7852 | 1129768.4886
79 | 2689349.9104 | 1129828.3248
80 | 2689322.4805 | 1129817.6799
81 | 2689419.8591 | 1129515.7461
82 | 2689391.9793 | 1129534.672
83 | 2689453.5684 | 1130130.4481

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1