## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5399-12_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5399-12_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5399-12_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5399-12_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5399-12_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5399-12_0_1_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5399-12_0_1_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5399-12_0_1_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_5399-12_0_1_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5399-12_0_1_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5399-12_0_1_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5399-12_0_1_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5399-12_0_1_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_5399-12_0_1_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_5399-12_0_1_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5399-12_0_1_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_5399-12_0_1_node_145 | 0.4 | n |  | TRUE
17 | bus_LV_5399-12_0_1_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_5399-12_0_1_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_5399-12_0_1_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_5399-12_0_1_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_5399-12_0_1_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_5399-12_0_1_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_5399-12_0_1_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_5399-12_0_1_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_5399-12_0_1_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_5399-12_0_1_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_5399-12_0_1_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_5399-12_0_1_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_5399-12_0_1_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_5399-12_0_1_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_5399-12_0_1_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_5399-12_0_1_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_5399-12_0_1_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_5399-12_0_1_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_5399-12_0_1_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_5399-12_0_1_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5399-12_0_1_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_5399-12_0_1_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_5399-12_0_1_node_152 | 0.4 | n |  | TRUE
40 | bus_LV_5399-12_0_1_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_5399-12_0_1_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_5399-12_0_1_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_5399-12_0_1_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_5399-12_0_1_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_5399-12_0_1_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_5399-12_0_1_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_5399-12_0_1_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_5399-12_0_1_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_5399-12_0_1_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_5399-12_0_1_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_5399-12_0_1_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_5399-12_0_1_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_5399-12_0_1_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_5399-12_0_1_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_5399-12_0_1_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_5399-12_0_1_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_5399-12_0_1_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_5399-12_0_1_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_5399-12_0_1_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_5399-12_0_1_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_5399-12_0_1_node_115 | 0.4 | n |  | TRUE
62 | bus_LV_5399-12_0_1_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_5399-12_0_1_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_5399-12_0_1_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_5399-12_0_1_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_5399-12_0_1_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_5399-12_0_1_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_5399-12_0_1_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_5399-12_0_1_node_147 | 0.4 | n |  | TRUE
70 | bus_LV_5399-12_0_1_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_5399-12_0_1_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_5399-12_0_1_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5399-12_0_1_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_5399-12_0_1_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_5399-12_0_1_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_5399-12_0_1_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_5399-12_0_1_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_5399-12_0_1_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_5399-12_0_1_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_5399-12_0_1_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_5399-12_0_1_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_5399-12_0_1_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_5399-12_0_1_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_5399-12_0_1_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_5399-12_0_1_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_5399-12_0_1_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_5399-12_0_1_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_5399-12_0_1_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_5399-12_0_1_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_5399-12_0_1_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_5399-12_0_1_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_5399-12_0_1_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_5399-12_0_1_node_148 | 0.4 | n |  | TRUE
94 | bus_MV_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5399-12_0_1_load_0 | 0 | 0.00046272 | 0.00011597 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5399-12_0_1_load_1 | 1 | 0.00030605 | 7.6702e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5399-12_0_1_load_3 | 3 | 0.0012058 | 0.0003022 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5399-12_0_1_load_5 | 5 | 0.00062002 | 0.00015539 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5399-12_0_1_load_10 | 7 | 0.00037768 | 9.4655e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5399-12_0_1_load_7 | 8 | 0.00048508 | 0.00012157 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5399-12_0_1_load_8 | 9 | 0.00051944 | 0.00013018 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5399-12_0_1_load_9 | 10 | 0.00059606 | 0.00014939 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5399-12_0_1_load_11 | 11 | 0.0003335 | 8.3584e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5399-12_0_1_load_14 | 15 | 0.0013208 | 0.00033102 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5399-12_0_1_load_145 | 16 | 0.00031259 | 7.8342e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5399-12_0_1_load_17 | 17 | 0.00035476 | 8.891e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5399-12_0_1_load_18 | 18 | 0.00014824 | 3.7153e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5399-12_0_1_load_20 | 20 | 0.00010805 | 2.7079e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5399-12_0_1_load_21 | 21 | 0.00023917 | 5.9942e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5399-12_0_1_load_22 | 22 | 0.00015906 | 3.9865e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5399-12_0_1_load_23 | 23 | 0.00013873 | 3.477e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5399-12_0_1_load_27 | 27 | 0.00012965 | 3.2492e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5399-12_0_1_load_30 | 29 | 0.00018834 | 4.7202e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5399-12_0_1_load_36 | 31 | 9.9223e-05 | 2.4868e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5399-12_0_1_load_33 | 32 | 0.00018032 | 4.5192e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5399-12_0_1_load_37 | 33 | 0.0002877 | 7.2105e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5399-12_0_1_load_38 | 34 | 0.00017264 | 4.3269e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5399-12_0_1_load_34 | 35 | 0.00029627 | 7.4251e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5399-12_0_1_load_32 | 36 | 0.0001152 | 2.8871e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5399-12_0_1_load_45 | 37 | 0.0001297 | 3.2505e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5399-12_0_1_load_44 | 38 | 0.00018073 | 4.5296e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5399-12_0_1_load_152 | 39 | 9.2572e-05 | 2.3201e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5399-12_0_1_load_39 | 41 | 0.00010949 | 2.744e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5399-12_0_1_load_42 | 43 | 0.00020743 | 5.1988e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5399-12_0_1_load_46 | 45 | 8.594e-05 | 2.1539e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5399-12_0_1_load_47 | 46 | 0.00019474 | 4.8806e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5399-12_0_1_load_79 | 47 | 0.000111 | 2.782e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5399-12_0_1_load_48 | 48 | 0.00013625 | 3.4147e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5399-12_0_1_load_80 | 49 | 0.00018204 | 4.5624e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5399-12_0_1_load_49 | 50 | 0.00010735 | 2.6905e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5399-12_0_1_load_50 | 51 | 0.00016255 | 4.0738e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5399-12_0_1_load_51 | 52 | 0.00013744 | 3.4446e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5399-12_0_1_load_52 | 53 | 0.00037393 | 9.3715e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5399-12_0_1_load_53 | 54 | 0.00014716 | 3.6881e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5399-12_0_1_load_54 | 55 | 0.00019796 | 4.9614e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5399-12_0_1_load_55 | 56 | 0.00017206 | 4.3123e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5399-12_0_1_load_60 | 60 | 0.00010568 | 2.6486e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5399-12_0_1_load_115 | 61 | 0.00014091 | 3.5315e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5399-12_0_1_load_112 | 62 | 0.0003809 | 9.5464e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5399-12_0_1_load_58 | 63 | 0.00022612 | 5.667e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5399-12_0_1_load_59 | 64 | 0.00016188 | 4.0571e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5399-12_0_1_load_61 | 65 | 9.0207e-05 | 2.2608e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5399-12_0_1_load_62 | 66 | 9.043e-05 | 2.2664e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5399-12_0_1_load_64 | 67 | 0.00018996 | 4.7607e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5399-12_0_1_load_65 | 68 | 8.8615e-05 | 2.2209e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5399-12_0_1_load_67 | 71 | 8.9702e-05 | 2.2482e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5399-12_0_1_load_68 | 72 | 0.00022 | 5.5136e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5399-12_0_1_load_69 | 73 | 0.00010352 | 2.5944e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5399-12_0_1_load_82 | 75 | 0.00024059 | 6.0296e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5399-12_0_1_load_74 | 76 | 0.00012924 | 3.239e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5399-12_0_1_load_83 | 77 | 0.00028176 | 7.0617e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5399-12_0_1_load_84 | 78 | 0.00034828 | 8.7286e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5399-12_0_1_load_72 | 79 | 9.9424e-05 | 2.4918e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5399-12_0_1_load_70 | 80 | 0.00018836 | 4.7208e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5399-12_0_1_load_71 | 81 | 0.00016562 | 4.1507e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5399-12_0_1_load_73 | 82 | 0.00022667 | 5.6808e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5399-12_0_1_load_75 | 83 | 0.00018517 | 4.6407e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5399-12_0_1_load_77 | 84 | 8.9568e-05 | 2.2448e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5399-12_0_1_load_76 | 85 | 0.00016856 | 4.2246e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5399-12_0_1_load_78 | 86 | 8.8299e-05 | 2.213e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5399-12_0_1_load_85 | 87 | 0.00033221 | 8.326e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5399-12_0_1_load_88 | 88 | 0.00015598 | 3.9092e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5399-12_0_1_load_89 | 89 | 8.8339e-05 | 2.214e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5399-12_0_1_load_90 | 90 | 0.00276 | 0.00069172 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5399-12_0_1_load_92 | 91 | 0.002549 | 0.00063884 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5399-12_0_1_load_93 | 92 | 0.0025417 | 0.00063702 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5399-12_0_1_load_148 | 93 | 0.00029992 | 7.5166e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5399-12_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0075291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5399-12_0_1_line_1 | NAYY 4x150 SE | 1 | 2 | 0.079633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5399-12_0_1_line_2 | NAYY 4x150 SE | 2 | 3 | 0.023677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5399-12_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.034341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5399-12_0_1_line_4 | NAYY 4x150 SE | 4 | 5 | 0.033279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5399-12_0_1_line_5 | NAYY 4x150 SE | 4 | 6 | 0.041659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5399-12_0_1_line_6 | NAYY 4x150 SE | 6 | 7 | 0.053758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5399-12_0_1_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0054354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5399-12_0_1_line_8 | NAYY 4x150 SE | 8 | 9 | 0.0099029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5399-12_0_1_line_9 | NAYY 4x150 SE | 9 | 10 | 0.015053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5399-12_0_1_line_10 | NAYY 4x150 SE | 10 | 11 | 0.026556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5399-12_0_1_line_11 | NAYY 4x150 SE | 11 | 12 | 0.042136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5399-12_0_1_line_12 | NAYY 4x150 SE | 12 | 13 | 0.014026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5399-12_0_1_line_13 | NAYY 4x150 SE | 12 | 14 | 0.07602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5399-12_0_1_line_14 | NAYY 4x150 SE | 13 | 17 | 0.034325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5399-12_0_1_line_15 | NAYY 4x150 SE | 13 | 18 | 0.024601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5399-12_0_1_line_16 | NAYY 4x150 SE | 14 | 15 | 0.057231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5399-12_0_1_line_17 | NAYY 4x150 SE | 15 | 16 | 0.096158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5399-12_0_1_line_18 | NAYY 4x150 SE | 18 | 19 | 0.014316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5399-12_0_1_line_19 | NAYY 4x150 SE | 19 | 20 | 0.026046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5399-12_0_1_line_20 | NAYY 4x150 SE | 19 | 21 | 0.013874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5399-12_0_1_line_21 | NAYY 4x150 SE | 20 | 22 | 0.02621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5399-12_0_1_line_22 | NAYY 4x150 SE | 22 | 23 | 0.010796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5399-12_0_1_line_23 | NAYY 4x150 SE | 23 | 24 | 0.0052346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5399-12_0_1_line_24 | NAYY 4x150 SE | 24 | 25 | 0.017424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5399-12_0_1_line_25 | NAYY 4x150 SE | 25 | 26 | 0.02973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5399-12_0_1_line_26 | NAYY 4x150 SE | 25 | 27 | 0.03508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5399-12_0_1_line_27 | NAYY 4x150 SE | 26 | 28 | 0.013375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5399-12_0_1_line_28 | NAYY 4x150 SE | 26 | 29 | 0.019385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5399-12_0_1_line_29 | NAYY 4x150 SE | 28 | 30 | 0.026293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5399-12_0_1_line_30 | NAYY 4x150 SE | 28 | 31 | 0.012489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5399-12_0_1_line_31 | NAYY 4x150 SE | 29 | 32 | 0.01165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5399-12_0_1_line_32 | NAYY 4x150 SE | 30 | 33 | 0.048318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5399-12_0_1_line_33 | NAYY 4x150 SE | 30 | 34 | 0.04563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5399-12_0_1_line_34 | NAYY 4x150 SE | 32 | 35 | 0.031011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5399-12_0_1_line_35 | NAYY 4x150 SE | 33 | 40 | 0.021934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5399-12_0_1_line_36 | NAYY 4x150 SE | 34 | 41 | 0.050941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5399-12_0_1_line_37 | NAYY 4x150 SE | 35 | 39 | 0.077063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5399-12_0_1_line_38 | NAYY 4x150 SE | 36 | 37 | 0.026289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5399-12_0_1_line_39 | NAYY 4x150 SE | 37 | 38 | 0.053511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5399-12_0_1_line_40 | NAYY 4x150 SE | 38 | 42 | 0.012286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5399-12_0_1_line_41 | NAYY 4x150 SE | 40 | 42 | 0.036097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5399-12_0_1_line_42 | NAYY 4x150 SE | 40 | 43 | 0.053588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5399-12_0_1_line_43 | NAYY 4x150 SE | 42 | 44 | 0.034749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5399-12_0_1_line_44 | NAYY 4x150 SE | 44 | 45 | 0.059117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5399-12_0_1_line_45 | NAYY 4x150 SE | 44 | 46 | 0.022697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5399-12_0_1_line_46 | NAYY 4x150 SE | 45 | 47 | 0.077095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5399-12_0_1_line_47 | NAYY 4x150 SE | 46 | 48 | 0.026193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5399-12_0_1_line_48 | NAYY 4x150 SE | 47 | 49 | 0.010751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5399-12_0_1_line_49 | NAYY 4x150 SE | 48 | 50 | 0.012071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5399-12_0_1_line_50 | NAYY 4x150 SE | 50 | 51 | 0.013758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5399-12_0_1_line_51 | NAYY 4x150 SE | 51 | 52 | 0.01105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5399-12_0_1_line_52 | NAYY 4x150 SE | 52 | 53 | 0.0068615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5399-12_0_1_line_53 | NAYY 4x150 SE | 53 | 54 | 0.025031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5399-12_0_1_line_54 | NAYY 4x150 SE | 54 | 55 | 0.0080848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5399-12_0_1_line_55 | NAYY 4x150 SE | 55 | 56 | 0.0083514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5399-12_0_1_line_56 | NAYY 4x150 SE | 56 | 57 | 0.015978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5399-12_0_1_line_57 | NAYY 4x150 SE | 57 | 58 | 0.047579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5399-12_0_1_line_58 | NAYY 4x150 SE | 58 | 59 | 0.067752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5399-12_0_1_line_59 | NAYY 4x150 SE | 58 | 60 | 0.079578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5399-12_0_1_line_60 | NAYY 4x150 SE | 59 | 61 | 0.035209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5399-12_0_1_line_61 | NAYY 4x150 SE | 59 | 62 | 0.070047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5399-12_0_1_line_62 | NAYY 4x150 SE | 60 | 63 | 0.062606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5399-12_0_1_line_63 | NAYY 4x150 SE | 61 | 69 | 0.41324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5399-12_0_1_line_64 | NAYY 4x150 SE | 63 | 64 | 0.022863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5399-12_0_1_line_65 | NAYY 4x150 SE | 64 | 65 | 0.025512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5399-12_0_1_line_66 | NAYY 4x150 SE | 65 | 66 | 0.016231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5399-12_0_1_line_67 | NAYY 4x150 SE | 66 | 67 | 0.020908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5399-12_0_1_line_68 | NAYY 4x150 SE | 67 | 68 | 0.0058143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5399-12_0_1_line_69 | NAYY 4x150 SE | 68 | 70 | 0.061586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5399-12_0_1_line_70 | NAYY 4x150 SE | 69 | 93 | 0.091475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5399-12_0_1_line_71 | NAYY 4x150 SE | 70 | 71 | 0.016556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5399-12_0_1_line_72 | NAYY 4x150 SE | 70 | 72 | 0.044268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5399-12_0_1_line_73 | NAYY 4x150 SE | 70 | 73 | 0.028884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5399-12_0_1_line_74 | NAYY 4x150 SE | 71 | 74 | 0.026712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5399-12_0_1_line_75 | NAYY 4x150 SE | 72 | 75 | 0.04728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5399-12_0_1_line_76 | NAYY 4x150 SE | 73 | 76 | 0.019812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5399-12_0_1_line_77 | NAYY 4x150 SE | 74 | 77 | 0.0091271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5399-12_0_1_line_78 | NAYY 4x150 SE | 74 | 78 | 0.012457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5399-12_0_1_line_79 | NAYY 4x150 SE | 76 | 79 | 0.0079993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5399-12_0_1_line_80 | NAYY 4x150 SE | 77 | 87 | 0.00088869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5399-12_0_1_line_81 | NAYY 4x150 SE | 79 | 80 | 0.0012684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5399-12_0_1_line_82 | NAYY 4x150 SE | 80 | 81 | 0.0036377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5399-12_0_1_line_83 | NAYY 4x150 SE | 81 | 82 | 0.00099285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5399-12_0_1_line_84 | NAYY 4x150 SE | 82 | 83 | 0.0042345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5399-12_0_1_line_85 | NAYY 4x150 SE | 83 | 84 | 0.0051244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5399-12_0_1_line_86 | NAYY 4x150 SE | 84 | 85 | 0.0082231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5399-12_0_1_line_87 | NAYY 4x150 SE | 85 | 86 | 0.0027564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5399-12_0_1_line_88 | NAYY 4x150 SE | 87 | 88 | 0.014043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5399-12_0_1_line_89 | NAYY 4x150 SE | 88 | 89 | 0.0066221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5399-12_0_1_line_90 | NAYY 4x150 SE | 89 | 90 | 0.048934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5399-12_0_1_line_91 | NAYY 4x150 SE | 90 | 91 | 0.003851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5399-12_0_1_line_92 | NAYY 4x150 SE | 91 | 92 | 0.0021771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5399-12_0_1_trafo_80 | 0.25 MVA 20/0.4 kV | 94 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2704650.9407 | 1129553.9744 | 2704655.6736 | 1129559.8299
1 | 2704686.3385 | 1129631.9926 | 2704679.9781 | 1129604.654 | 2704677.9525 | 1129597.4922 | 2704675.7932 | 1129590.9395 | 2704672.3588 | 1129583.7088 | 2704669.2621 | 1129577.896 | 2704664.8857 | 1129571.2271 | 2704655.6736 | 1129559.8299
2 | 2704686.3385 | 1129631.9926 | 2704669.7304 | 1129635.8186 | 2704665.3676 | 1129633.7084 | 2704663.5806 | 1129633.6775 | 2704663.5806 | 1129633.6775
3 | 2704694.5983 | 1129665.3234 | 2704686.3385 | 1129631.9926
4 | 2704694.5983 | 1129665.3234 | 2704661.324 | 1129664.7693
5 | 2704704.5374 | 1129705.7768 | 2704694.5983 | 1129665.3234
6 | 2704704.5374 | 1129705.7768 | 2704717.6792 | 1129702.3466 | 2704752.8899 | 1129682.999
7 | 2704704.5374 | 1129705.7768 | 2704706.1449 | 1129710.9691
8 | 2704706.1449 | 1129710.9691 | 2704706.2885 | 1129711.4329 | 2704708.2672 | 1129716.4036 | 2704710.0326 | 1129720.0678
9 | 2704718.3598 | 1129732.5527 | 2704715.5203 | 1129729.1151 | 2704712.9208 | 1129725.2899 | 2704710.3793 | 1129720.7874 | 2704710.0326 | 1129720.0678
10 | 2704718.3598 | 1129732.5527 | 2704719.1727 | 1129733.5367 | 2704735.731 | 1129752.639
11 | 2704763.3301 | 1129784.4784 | 2704735.731 | 1129752.639
12 | 2704763.3301 | 1129784.4784 | 2704772.2957 | 1129795.2851
13 | 2704829.5937 | 1129749.9827 | 2704828.5088 | 1129752.5656 | 2704826.9719 | 1129754.5513 | 2704823.4892 | 1129756.7923 | 2704771.1768 | 1129777.61 | 2704763.3301 | 1129784.4784
14 | 2704772.2957 | 1129795.2851 | 2704743.1866 | 1129813.6035
15 | 2704772.2957 | 1129795.2851 | 2704788.0051 | 1129814.2174
16 | 2704829.5937 | 1129749.9827 | 2704839.0493 | 1129740.0848 | 2704850.3167 | 1129733.2314 | 2704878.8033 | 1129722.4074
17 | 2704878.8033 | 1129722.4074 | 2704971.5603 | 1129697.0605
18 | 2704797.147 | 1129825.2347 | 2704788.0051 | 1129814.2174
19 | 2704797.147 | 1129825.2347 | 2704813.7807 | 1129845.2772
20 | 2704790.0676 | 1129837.1752 | 2704797.147 | 1129825.2347
21 | 2704813.7807 | 1129845.2772 | 2704829.6052 | 1129864.3445 | 2704830.3444 | 1129865.5705
22 | 2704830.3444 | 1129865.5705 | 2704835.9189 | 1129874.8164
23 | 2704838.6218 | 1129879.2992 | 2704835.9189 | 1129874.8164
24 | 2704838.6218 | 1129879.2992 | 2704845.4391 | 1129895.3387
25 | 2704845.4391 | 1129895.3387 | 2704850.8234 | 1129908.2736 | 2704857.5103 | 1129922.5097
26 | 2704845.4391 | 1129895.3387 | 2704854.6341 | 1129893.3524 | 2704866.9548 | 1129892.8213 | 2704880.2173 | 1129891.3765
27 | 2704863.4736 | 1129934.4874 | 2704857.5103 | 1129922.5097
28 | 2704857.5103 | 1129922.5097 | 2704839.025 | 1129928.3457
29 | 2704863.4736 | 1129934.4874 | 2704874.7873 | 1129958.232
30 | 2704863.4736 | 1129934.4874 | 2704875.581 | 1129931.422
31 | 2704839.025 | 1129928.3457 | 2704829.0024 | 1129931.51 | 2704827.8628 | 1129931.5062
32 | 2704874.7873 | 1129958.232 | 2704899.1796 | 1129999.9409
33 | 2704874.7873 | 1129958.232 | 2704859.1377 | 1129967.2441 | 2704840.3745 | 1129973.6562 | 2704832.665 | 1129972.9444
34 | 2704798.4469 | 1129935.5273 | 2704811.4887 | 1129929.3939 | 2704821.0751 | 1129931.4837 | 2704827.8628 | 1129931.5062
35 | 2704910.2526 | 1130018.8747 | 2704899.1796 | 1129999.9409
36 | 2704799.0615 | 1130003.2854 | 2704811.3543 | 1129984.6711 | 2704815.3716 | 1129975.1458 | 2704820.6525 | 1129971.8353 | 2704832.665 | 1129972.9444
37 | 2704798.4469 | 1129935.5273 | 2704726.7878 | 1129907.1788
38 | 2704984.3308 | 1130013.5877 | 2705009.5588 | 1130006.1953
39 | 2704939.4544 | 1130042.1661 | 2704971.1832 | 1130018.9656 | 2704984.3308 | 1130013.5877
40 | 2704929.5373 | 1130049.4177 | 2704939.4544 | 1130042.1661
41 | 2704910.2526 | 1130018.8747 | 2704929.5373 | 1130049.4177
42 | 2704910.2526 | 1130018.8747 | 2704891.2919 | 1130031.7873 | 2704876.7759 | 1130049.1799 | 2704882.4886 | 1130054.771
43 | 2704929.5373 | 1130049.4177 | 2704948.0942 | 1130078.8251
44 | 2704913.4887 | 1130126.2324 | 2704915.6757 | 1130119.6328 | 2704923.7499 | 1130107.1873 | 2704948.0942 | 1130078.8251
45 | 2704948.0942 | 1130078.8251 | 2704959.9191 | 1130098.1987
46 | 2704913.4887 | 1130126.2324 | 2704837.1958 | 1130137.3272
47 | 2704959.9191 | 1130098.1987 | 2704967.6829 | 1130110.9189 | 2704972.0678 | 1130117.0544 | 2704974.5107 | 1130119.8988
48 | 2704830.4303 | 1130128.9713 | 2704837.1958 | 1130137.3272 | 2704837.1958 | 1130137.3272
49 | 2704974.5107 | 1130119.8988 | 2704975.5187 | 1130121.0725 | 2704979.0348 | 1130124.4468 | 2704983.5126 | 1130127.8934
50 | 2704994.9409 | 1130135.5535 | 2704983.5126 | 1130127.8934 | 2704983.5126 | 1130127.8934
51 | 2704994.9409 | 1130135.5535 | 2704996.4206 | 1130136.5452 | 2705001.1067 | 1130139.0838 | 2705004.7496 | 1130140.5827
52 | 2705004.7496 | 1130140.5827 | 2705011.095 | 1130143.1937
53 | 2705011.095 | 1130143.1937 | 2705034.2428 | 1130152.7184
54 | 2705041.7194 | 1130155.7948 | 2705034.2428 | 1130152.7184
55 | 2705041.7194 | 1130155.7948 | 2705049.152 | 1130158.8531 | 2705049.4354 | 1130158.9888
56 | 2705063.502 | 1130166.5296 | 2705056.8688 | 1130162.5451 | 2705049.4354 | 1130158.9888
57 | 2705063.502 | 1130166.5296 | 2705067.2194 | 1130169.396 | 2705070.8784 | 1130172.9619 | 2705073.4147 | 1130176.4081 | 2705075.5199 | 1130180.2805 | 2705077.4535 | 1130185.1617 | 2705078.4005 | 1130188.7359 | 2705078.8067 | 1130192.4009 | 2705079.0707 | 1130198.4871 | 2705078.7442 | 1130208.8436
58 | 2705078.5925 | 1130276.484 | 2705077.7412 | 1130272.2776 | 2705077.8708 | 1130254.1906 | 2705078.7442 | 1130208.8436
59 | 2705078.7442 | 1130208.8436 | 2705072.8192 | 1130208.4404 | 2705068.2328 | 1130206.3705 | 2705062.0331 | 1130192.9653 | 2705057.5902 | 1130191.0647 | 2705040.0291 | 1130197.0411 | 2705019.8084 | 1130195.1442 | 2705009.7652 | 1130196.5868
60 | 2705078.5925 | 1130276.484 | 2705083.6418 | 1130277.1833 | 2705088.5489 | 1130286.9414 | 2705101.3175 | 1130301.2659
61 | 2705078.5925 | 1130276.484 | 2705081.075 | 1130288.7794 | 2705094.4539 | 1130313.7389 | 2705104.6677 | 1130341.0775
62 | 2705009.7652 | 1130196.5868 | 2704991.7731 | 1130199.171 | 2704986.1698 | 1130198.8735 | 2704980.2322 | 1130196.9803 | 2704973.0297 | 1130195.1652 | 2704968.1457 | 1130195.5918 | 2704962.1974 | 1130199.1908 | 2704954.445 | 1130201.0908 | 2704949.1249 | 1130200.9737
63 | 2705101.3175 | 1130301.2659 | 2705507.1313 | 1130223.302
64 | 2704949.1249 | 1130200.9737 | 2704937.6799 | 1130200.7218 | 2704926.3634 | 1130202.2181
65 | 2704925.2423 | 1130220.404 | 2704918.2124 | 1130209.1337 | 2704919.4345 | 1130204.4186 | 2704923.1864 | 1130202.6381 | 2704926.3634 | 1130202.2181
66 | 2704931.3935 | 1130235.3236 | 2704929.9225 | 1130230.8619 | 2704927.7614 | 1130224.4425 | 2704925.2423 | 1130220.404
67 | 2704931.3935 | 1130235.3236 | 2704931.3935 | 1130235.3236 | 2704927.3322 | 1130243.3915 | 2704926.1947 | 1130255.2126
68 | 2704927.9536 | 1130260.7545 | 2704926.1947 | 1130255.2126 | 2704926.1947 | 1130255.2126
69 | 2704905.9494 | 1130314.6435 | 2704916.0963 | 1130295.5074 | 2704928.9928 | 1130278.6316 | 2704931.1908 | 1130270.9538 | 2704927.9536 | 1130260.7545
70 | 2705507.1313 | 1130223.302 | 2705508.9176 | 1130230.8602 | 2705511.5116 | 1130235.842 | 2705527.8322 | 1130224.5974 | 2705545.8008 | 1130212.9592 | 2705568.9651 | 1130211.7184 | 2705582.5903 | 1130212.7792
71 | 2704905.9494 | 1130314.6435 | 2704895.377 | 1130327.3843
72 | 2704905.9494 | 1130314.6435 | 2704908.2831 | 1130316.8966 | 2704915.1978 | 1130323.2984 | 2704920.2743 | 1130328.6343 | 2704934.0028 | 1130335.2657 | 2704941.5604 | 1130340.1333
73 | 2704905.9494 | 1130314.6435 | 2704892.2117 | 1130293.4473 | 2704890.2311 | 1130290.4107
74 | 2704880.6519 | 1130349.1599 | 2704885.058 | 1130345.6341 | 2704892.1797 | 1130331.2374 | 2704895.377 | 1130327.3843
75 | 2704941.5604 | 1130340.1333 | 2704944.741 | 1130347.293 | 2704949.8471 | 1130386.4065
76 | 2704876.9662 | 1130276.4666 | 2704883.4094 | 1130279.9527 | 2704890.2311 | 1130290.4107
77 | 2704880.6519 | 1130349.1599 | 2704874.5114 | 1130355.9125
78 | 2704868.9405 | 1130344.8207 | 2704880.6519 | 1130349.1599
79 | 2704876.9662 | 1130276.4666 | 2704874.5561 | 1130275.1627 | 2704869.3826 | 1130274.2177
80 | 2704874.5114 | 1130355.9125 | 2704873.9135 | 1130356.5699
81 | 2704868.1348 | 1130273.9898 | 2704869.3826 | 1130274.2177
82 | 2704868.1348 | 1130273.9898 | 2704864.5564 | 1130273.3361
83 | 2704863.5841 | 1130273.1367 | 2704863.9968 | 1130273.2339 | 2704864.5564 | 1130273.3361
84 | 2704859.4624 | 1130272.1657 | 2704863.5841 | 1130273.1367
85 | 2704859.4624 | 1130272.1657 | 2704859.4624 | 1130272.1657 | 2704855.2133 | 1130269.3013 | 2704855.2133 | 1130269.3013
86 | 2704849.5387 | 1130263.3682 | 2704850.6082 | 1130264.763 | 2704855.2133 | 1130269.3013
87 | 2704847.8616 | 1130261.1808 | 2704849.5387 | 1130263.3682
88 | 2704873.9135 | 1130356.5699 | 2704873.9135 | 1130356.5699 | 2704861.1383 | 1130362.4
89 | 2704855.1139 | 1130365.1493 | 2704855.1139 | 1130365.1493 | 2704861.1383 | 1130362.4
90 | 2704807.1252 | 1130373.4115 | 2704839.1252 | 1130370.2308 | 2704855.1139 | 1130365.1493
91 | 2704803.2931 | 1130373.7924 | 2704807.1252 | 1130373.4115
92 | 2704801.1266 | 1130374.0078 | 2704803.2931 | 1130373.7924

## bus_geodata
| x | y | coords
0 | 2704650.9407 | 1129553.9744
1 | 2704655.6736 | 1129559.8299
2 | 2704686.3385 | 1129631.9926
3 | 2704663.5806 | 1129633.6775
4 | 2704694.5983 | 1129665.3234
5 | 2704661.324 | 1129664.7693
6 | 2704704.5374 | 1129705.7768
7 | 2704752.8899 | 1129682.999
8 | 2704706.1449 | 1129710.9691
9 | 2704710.0326 | 1129720.0678
10 | 2704718.3598 | 1129732.5527
11 | 2704735.731 | 1129752.639
12 | 2704763.3301 | 1129784.4784
13 | 2704772.2957 | 1129795.2851
14 | 2704829.5937 | 1129749.9827
15 | 2704878.8033 | 1129722.4074
16 | 2704971.5603 | 1129697.0605
17 | 2704743.1866 | 1129813.6035
18 | 2704788.0051 | 1129814.2174
19 | 2704797.147 | 1129825.2347
20 | 2704813.7807 | 1129845.2772
21 | 2704790.0676 | 1129837.1752
22 | 2704830.3444 | 1129865.5705
23 | 2704835.9189 | 1129874.8164
24 | 2704838.6218 | 1129879.2992
25 | 2704845.4391 | 1129895.3387
26 | 2704857.5103 | 1129922.5097
27 | 2704880.2173 | 1129891.3765
28 | 2704863.4736 | 1129934.4874
29 | 2704839.025 | 1129928.3457
30 | 2704874.7873 | 1129958.232
31 | 2704875.581 | 1129931.422
32 | 2704827.8628 | 1129931.5062
33 | 2704899.1796 | 1129999.9409
34 | 2704832.665 | 1129972.9444
35 | 2704798.4469 | 1129935.5273
36 | 2705009.5588 | 1130006.1953
37 | 2704984.3308 | 1130013.5877
38 | 2704939.4544 | 1130042.1661
39 | 2704726.7878 | 1129907.1788
40 | 2704910.2526 | 1130018.8747
41 | 2704799.0615 | 1130003.2854
42 | 2704929.5373 | 1130049.4177
43 | 2704882.4886 | 1130054.771
44 | 2704948.0942 | 1130078.8251
45 | 2704913.4887 | 1130126.2324
46 | 2704959.9191 | 1130098.1987
47 | 2704837.1958 | 1130137.3272
48 | 2704974.5107 | 1130119.8988
49 | 2704830.4303 | 1130128.9713
50 | 2704983.5126 | 1130127.8934
51 | 2704994.9409 | 1130135.5535
52 | 2705004.7496 | 1130140.5827
53 | 2705011.095 | 1130143.1937
54 | 2705034.2428 | 1130152.7184
55 | 2705041.7194 | 1130155.7949
56 | 2705049.4354 | 1130158.9888
57 | 2705063.502 | 1130166.5296
58 | 2705078.7442 | 1130208.8436
59 | 2705078.5925 | 1130276.484
60 | 2705009.7652 | 1130196.5868
61 | 2705101.3175 | 1130301.2659
62 | 2705104.6677 | 1130341.0775
63 | 2704949.1249 | 1130200.9737
64 | 2704926.3634 | 1130202.2181
65 | 2704925.2423 | 1130220.404
66 | 2704931.3935 | 1130235.3236
67 | 2704926.1947 | 1130255.2126
68 | 2704927.9536 | 1130260.7545
69 | 2705507.1313 | 1130223.302
70 | 2704905.9494 | 1130314.6435
71 | 2704895.377 | 1130327.3843
72 | 2704941.5604 | 1130340.1333
73 | 2704890.2311 | 1130290.4107
74 | 2704880.6519 | 1130349.1599
75 | 2704949.8471 | 1130386.4065
76 | 2704876.9662 | 1130276.4666
77 | 2704874.5114 | 1130355.9125
78 | 2704868.9405 | 1130344.8207
79 | 2704869.3826 | 1130274.2177
80 | 2704868.1348 | 1130273.9898
81 | 2704864.5564 | 1130273.3361
82 | 2704863.5841 | 1130273.1367
83 | 2704859.4624 | 1130272.1657
84 | 2704855.2133 | 1130269.3013
85 | 2704849.5387 | 1130263.3682
86 | 2704847.8616 | 1130261.1808
87 | 2704873.9135 | 1130356.5699
88 | 2704861.1383 | 1130362.4
89 | 2704855.1139 | 1130365.1493
90 | 2704807.1252 | 1130373.4115
91 | 2704803.2931 | 1130373.7924
92 | 2704801.1266 | 1130374.0078
93 | 2705582.5903 | 1130212.7792
94 | 2704830.4303 | 1130128.9713

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1