## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5399-9_1_2_node_11 | 0.4 | n |  | TRUE
1 | bus_LV_5399-9_1_2_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_5399-9_1_2_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_5399-9_1_2_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_5399-9_1_2_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_5399-9_1_2_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_5399-9_1_2_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_5399-9_1_2_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_5399-9_1_2_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_5399-9_1_2_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_5399-9_1_2_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_5399-9_1_2_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_5399-9_1_2_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_5399-9_1_2_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_5399-9_1_2_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_5399-9_1_2_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_5399-9_1_2_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_5399-9_1_2_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_5399-9_1_2_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_5399-9_1_2_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_5399-9_1_2_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_5399-9_1_2_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_5399-9_1_2_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_5399-9_1_2_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_5399-9_1_2_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_5399-9_1_2_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_5399-9_1_2_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_5399-9_1_2_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_5399-9_1_2_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_5399-9_1_2_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_5399-9_1_2_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_5399-9_1_2_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_5399-9_1_2_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_5399-9_1_2_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_5399-9_1_2_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_5399-9_1_2_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_5399-9_1_2_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_5399-9_1_2_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_5399-9_1_2_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_5399-9_1_2_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_5399-9_1_2_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_5399-9_1_2_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_5399-9_1_2_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_5399-9_1_2_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_5399-9_1_2_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_5399-9_1_2_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_5399-9_1_2_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_5399-9_1_2_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_5399-9_1_2_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_5399-9_1_2_node_88 | 0.4 | n |  | TRUE
50 | bus_LV_5399-9_1_2_node_179 | 0.4 | n |  | TRUE
51 | bus_LV_5399-9_1_2_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_5399-9_1_2_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_5399-9_1_2_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_5399-9_1_2_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_5399-9_1_2_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_5399-9_1_2_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_5399-9_1_2_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_5399-9_1_2_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_5399-9_1_2_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_5399-9_1_2_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_5399-9_1_2_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_5399-9_1_2_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_5399-9_1_2_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_5399-9_1_2_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_5399-9_1_2_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_5399-9_1_2_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_5399-9_1_2_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_5399-9_1_2_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_5399-9_1_2_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_5399-9_1_2_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_5399-9_1_2_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_5399-9_1_2_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_5399-9_1_2_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_5399-9_1_2_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_5399-9_1_2_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_5399-9_1_2_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_5399-9_1_2_node_89 | 0.4 | n |  | TRUE
78 | bus_LV_5399-9_1_2_node_90 | 0.4 | n |  | TRUE
79 | bus_LV_5399-9_1_2_node_178 | 0.4 | n |  | TRUE
80 | bus_MV_186_0_node_308 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5399-9_1_2_load_11 | 0 | 0.00051977 | 0.00013027 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5399-9_1_2_load_14 | 2 | 0.00064749 | 0.00016228 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5399-9_1_2_load_23 | 5 | 0.00032293 | 8.0933e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5399-9_1_2_load_22 | 6 | 0.00080559 | 0.0002019 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5399-9_1_2_load_17 | 7 | 0.00080894 | 0.00020274 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5399-9_1_2_load_18 | 8 | 0.00041288 | 0.00010348 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5399-9_1_2_load_30 | 9 | 0.00062736 | 0.00015723 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5399-9_1_2_load_19 | 10 | 0.0023361 | 0.00058549 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5399-9_1_2_load_20 | 12 | 0.0040144 | 0.0010061 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5399-9_1_2_load_74 | 13 | 0.00072805 | 0.00018247 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5399-9_1_2_load_21 | 14 | 0.0017151 | 0.00042983 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5399-9_1_2_load_25 | 16 | 0.001852 | 0.00046417 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5399-9_1_2_load_27 | 18 | 0.0012504 | 0.00031339 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5399-9_1_2_load_28 | 19 | 0.00042112 | 0.00010554 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5399-9_1_2_load_29 | 20 | 0.00024561 | 6.1556e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5399-9_1_2_load_32 | 22 | 0.00032645 | 8.1817e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5399-9_1_2_load_31 | 23 | 0.00033298 | 8.3452e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5399-9_1_2_load_34 | 24 | 0.0016594 | 0.00041589 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5399-9_1_2_load_33 | 25 | 0.00051537 | 0.00012916 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5399-9_1_2_load_35 | 26 | 0.002013 | 0.0005045 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5399-9_1_2_load_40 | 28 | 0.0011962 | 0.00029979 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5399-9_1_2_load_41 | 29 | 0.0033594 | 0.00084194 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5399-9_1_2_load_38 | 30 | 0.0023746 | 0.00059513 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5399-9_1_2_load_51 | 32 | 0.0019194 | 0.00048104 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5399-9_1_2_load_52 | 33 | 0.002127 | 0.00053308 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5399-9_1_2_load_47 | 34 | 0.0021832 | 0.00054716 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5399-9_1_2_load_43 | 35 | 0.0030824 | 0.00077251 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5399-9_1_2_load_44 | 36 | 0.0019547 | 0.00048989 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5399-9_1_2_load_45 | 37 | 0.0027401 | 0.00068674 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5399-9_1_2_load_46 | 38 | 0.0024211 | 0.00060679 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5399-9_1_2_load_59 | 39 | 0.0054125 | 0.0013565 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5399-9_1_2_load_48 | 41 | 0.0023295 | 0.00058384 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5399-9_1_2_load_49 | 42 | 0.0033232 | 0.00083287 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5399-9_1_2_load_54 | 45 | 0.0080722 | 0.0020231 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5399-9_1_2_load_56 | 46 | 0.0027289 | 0.00068393 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5399-9_1_2_load_80 | 47 | 0.0022772 | 0.00057071 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5399-9_1_2_load_88 | 49 | 0.0021811 | 0.00054663 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5399-9_1_2_load_55 | 51 | 0.004989 | 0.0012503 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5399-9_1_2_load_58 | 52 | 0.0018777 | 0.00047059 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5399-9_1_2_load_60 | 53 | 0.0078516 | 0.0019678 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5399-9_1_2_load_61 | 54 | 0.0031006 | 0.00077708 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5399-9_1_2_load_62 | 55 | 0.0018374 | 0.0004605 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5399-9_1_2_load_64 | 56 | 0.00085713 | 0.00021482 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5399-9_1_2_load_65 | 57 | 0.0036317 | 0.0009102 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5399-9_1_2_load_66 | 58 | 0.0013518 | 0.00033881 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5399-9_1_2_load_67 | 59 | 0.0084873 | 0.0021271 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5399-9_1_2_load_68 | 61 | 0.0033073 | 0.00082888 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5399-9_1_2_load_69 | 62 | 0.0018218 | 0.00045658 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5399-9_1_2_load_77 | 63 | 0.003083 | 0.00077268 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5399-9_1_2_load_71 | 64 | 0.0017394 | 0.00043593 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5399-9_1_2_load_72 | 65 | 0.00071032 | 0.00017802 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5399-9_1_2_load_76 | 66 | 0.0021756 | 0.00054526 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5399-9_1_2_load_75 | 67 | 0.00068076 | 0.00017061 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5399-9_1_2_load_78 | 68 | 0.0037481 | 0.00093936 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5399-9_1_2_load_79 | 69 | 0.0015859 | 0.00039748 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5399-9_1_2_load_81 | 70 | 0.002166 | 0.00054285 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5399-9_1_2_load_82 | 71 | 0.0018462 | 0.00046271 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5399-9_1_2_load_83 | 72 | 0.0020109 | 0.00050398 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5399-9_1_2_load_84 | 73 | 0.0017857 | 0.00044755 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5399-9_1_2_load_85 | 74 | 0.0024506 | 0.00061418 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5399-9_1_2_load_86 | 75 | 0.0017312 | 0.00043388 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5399-9_1_2_load_87 | 76 | 0.0055002 | 0.0013785 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5399-9_1_2_load_89 | 77 | 0.0029157 | 0.00073075 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5399-9_1_2_load_90 | 78 | 0.0012431 | 0.00031154 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5399-9_1_2_load_178 | 79 | 0.00064003 | 0.00016041 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5399-9_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5399-9_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.012226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5399-9_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.022326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5399-9_1_2_line_3 | NAYY 4x150 SE | 3 | 7 | 0.058812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5399-9_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.029936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5399-9_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.031097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5399-9_1_2_line_6 | NAYY 4x150 SE | 5 | 15 | 0.025627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5399-9_1_2_line_7 | NAYY 4x150 SE | 6 | 14 | 8.9509e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5399-9_1_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.029347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5399-9_1_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.064522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5399-9_1_2_line_10 | NAYY 4x150 SE | 9 | 23 | 0.0096538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5399-9_1_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.038771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5399-9_1_2_line_12 | NAYY 4x150 SE | 11 | 35 | 0.032713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5399-9_1_2_line_13 | NAYY 4x150 SE | 11 | 36 | 0.12296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5399-9_1_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.048316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5399-9_1_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.40206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5399-9_1_2_line_16 | NAYY 4x150 SE | 13 | 67 | 0.069952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5399-9_1_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.1015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5399-9_1_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.034278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5399-9_1_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.056665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5399-9_1_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.032139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5399-9_1_2_line_21 | NAYY 4x150 SE | 17 | 20 | 0.0026875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5399-9_1_2_line_22 | NAYY 4x150 SE | 18 | 21 | 0.052825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5399-9_1_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0088807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5399-9_1_2_line_24 | NAYY 4x150 SE | 21 | 30 | 0.012702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5399-9_1_2_line_25 | NAYY 4x150 SE | 21 | 31 | 0.063869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5399-9_1_2_line_26 | NAYY 4x150 SE | 22 | 25 | 0.0011933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5399-9_1_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.043602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5399-9_1_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.021919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5399-9_1_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.016328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5399-9_1_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.0091043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5399-9_1_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.01666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5399-9_1_2_line_32 | NAYY 4x150 SE | 28 | 34 | 0.0032084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5399-9_1_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0069214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5399-9_1_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.040835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5399-9_1_2_line_35 | NAYY 4x150 SE | 32 | 46 | 0.010211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5399-9_1_2_line_36 | NAYY 4x150 SE | 33 | 47 | 0.0081213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5399-9_1_2_line_37 | NAYY 4x150 SE | 34 | 41 | 0.013807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5399-9_1_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.015099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5399-9_1_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.015551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5399-9_1_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.0067457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5399-9_1_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.019707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5399-9_1_2_line_42 | NAYY 4x150 SE | 39 | 44 | 0.0017575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5399-9_1_2_line_43 | NAYY 4x150 SE | 40 | 57 | 0.013777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5399-9_1_2_line_44 | NAYY 4x150 SE | 40 | 54 | 0.011486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5399-9_1_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.0090944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5399-9_1_2_line_46 | NAYY 4x150 SE | 42 | 43 | 0.0056907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5399-9_1_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.016377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5399-9_1_2_line_48 | NAYY 4x150 SE | 43 | 45 | 0.019619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5399-9_1_2_line_49 | NAYY 4x150 SE | 44 | 52 | 0.025716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_5399-9_1_2_line_50 | NAYY 4x150 SE | 45 | 51 | 0.0070836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5399-9_1_2_line_51 | NAYY 4x150 SE | 46 | 51 | 0.00083234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5399-9_1_2_line_52 | NAYY 4x150 SE | 47 | 70 | 0.012474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5399-9_1_2_line_53 | NAYY 4x150 SE | 48 | 49 | 0.015823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5399-9_1_2_line_54 | NAYY 4x150 SE | 48 | 50 | 0.1272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5399-9_1_2_line_55 | NAYY 4x150 SE | 49 | 76 | 0.019609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5399-9_1_2_line_56 | NAYY 4x150 SE | 50 | 79 | 0.039869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5399-9_1_2_line_57 | NAYY 4x150 SE | 52 | 53 | 0.0029476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_5399-9_1_2_line_58 | NAYY 4x150 SE | 54 | 55 | 0.0087757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5399-9_1_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.038385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5399-9_1_2_line_60 | NAYY 4x150 SE | 56 | 58 | 0.01084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5399-9_1_2_line_61 | NAYY 4x150 SE | 57 | 59 | 0.029358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5399-9_1_2_line_62 | NAYY 4x150 SE | 58 | 60 | 0.012908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5399-9_1_2_line_63 | NAYY 4x150 SE | 59 | 61 | 0.016666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5399-9_1_2_line_64 | NAYY 4x150 SE | 60 | 64 | 0.045249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5399-9_1_2_line_65 | NAYY 4x150 SE | 60 | 65 | 0.022263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5399-9_1_2_line_66 | NAYY 4x150 SE | 61 | 62 | 0.01386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5399-9_1_2_line_67 | NAYY 4x150 SE | 62 | 63 | 0.022173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5399-9_1_2_line_68 | NAYY 4x150 SE | 63 | 68 | 0.027191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5399-9_1_2_line_69 | NAYY 4x150 SE | 65 | 66 | 0.080622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5399-9_1_2_line_70 | NAYY 4x150 SE | 68 | 69 | 0.033364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5399-9_1_2_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0085411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5399-9_1_2_line_72 | NAYY 4x150 SE | 71 | 72 | 0.010916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5399-9_1_2_line_73 | NAYY 4x150 SE | 72 | 73 | 0.014162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5399-9_1_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.00067707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5399-9_1_2_line_75 | NAYY 4x150 SE | 74 | 75 | 0.020874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5399-9_1_2_line_76 | NAYY 4x150 SE | 75 | 76 | 0.029459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5399-9_1_2_line_77 | NAYY 4x150 SE | 76 | 77 | 0.026868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5399-9_1_2_line_78 | NAYY 4x150 SE | 77 | 78 | 0.00012774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5399-9_1_2_trafo_60 | 0.25 MVA 20/0.4 kV | 80 | 53 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2705238.0328 | 1132328.4959 | 2705226.2885 | 1132292.5653
1 | 2705238.0328 | 1132328.4959 | 2705241.1805 | 1132340.3096
2 | 2705246.5986 | 1132361.9664 | 2705243.0566 | 1132347.351 | 2705241.1805 | 1132340.3096
3 | 2705246.5986 | 1132361.9664 | 2705247.9644 | 1132371.096 | 2705248.3152 | 1132375.2714 | 2705248.5879 | 1132380.3905 | 2705248.6992 | 1132420.6546
4 | 2705179.2874 | 1132389.5455 | 2705175.7913 | 1132410.3201 | 2705174.0203 | 1132419.0108
5 | 2705179.2874 | 1132389.5455 | 2705210.3841 | 1132389.4879
6 | 2705168.9032 | 1132444.1218 | 2705174.0203 | 1132419.0108
7 | 2705210.4736 | 1132389.4877 | 2705210.3841 | 1132389.4879
8 | 2705248.7803 | 1132450.0016 | 2705248.6992 | 1132420.6546
9 | 2705248.7803 | 1132450.0016 | 2705248.8441 | 1132473.0873 | 2705248.5448 | 1132484.9563 | 2705248.0388 | 1132492.3411 | 2705247.2173 | 1132497.9414 | 2705246.3057 | 1132502.0838 | 2705243.8432 | 1132509.9348 | 2705242.5314 | 1132513.7463
10 | 2705242.5314 | 1132513.7463 | 2705241.0285 | 1132518.1132 | 2705238.9691 | 1132522.7084
11 | 2705247.7982 | 1132661.2666 | 2705271.3774 | 1132630.4897
12 | 2705247.7982 | 1132661.2666 | 2705242.1572 | 1132661.0571 | 2705231.126 | 1132643.1425 | 2705227.4459 | 1132638.3658
13 | 2705247.7982 | 1132661.2666 | 2705274.2398 | 1132712.2484 | 2705275.8894 | 1132717.0135 | 2705276.7015 | 1132722.9982 | 2705275.5864 | 1132739.7005 | 2705273.0871 | 1132747.8955 | 2705268.3848 | 1132753.0391 | 2705262.1558 | 1132755.1986 | 2705257.1526 | 1132756.8347 | 2705253.0635 | 1132757.7196 | 2705247.0686 | 1132759.0224
14 | 2705247.7982 | 1132661.2666 | 2705290.6943 | 1132639.0329
15 | 2705290.6943 | 1132639.0329 | 2705652.9599 | 1132813.4348
16 | 2705708.1674 | 1132851.4654 | 2705696.9227 | 1132836.1271 | 2705678.9183 | 1132820.3022 | 2705656.6505 | 1132815.3208 | 2705652.9599 | 1132813.4348
17 | 2705168.9032 | 1132444.1218 | 2705157.5021 | 1132498.2912 | 2705150.9322 | 1132523.5596 | 2705144.6237 | 1132542.5774
18 | 2705202.6426 | 1132450.702 | 2705168.9032 | 1132444.1218
19 | 2705144.6237 | 1132542.5774 | 2705129.1181 | 1132589.3219 | 2705128.525 | 1132596.7141
20 | 2705202.6426 | 1132450.702 | 2705201.6617 | 1132418.5867
21 | 2705202.6426 | 1132450.702 | 2705205.2804 | 1132451.2162
22 | 2705141.755 | 1132646.845 | 2705131.1835 | 1132622.8569 | 2705127.6036 | 1132608.1965 | 2705128.525 | 1132596.7141
23 | 2705205.2804 | 1132451.2162 | 2705213.997 | 1132452.9155
24 | 2705141.755 | 1132646.845 | 2705151.814 | 1132639.0893
25 | 2705109.9168 | 1132696.1336 | 2705116.667 | 1132690.1361 | 2705143.5982 | 1132664.3882 | 2705141.755 | 1132646.845
26 | 2705215.1682 | 1132453.1438 | 2705213.997 | 1132452.9155
27 | 2705238.9691 | 1132522.7084 | 2705221.1375 | 1132562.497
28 | 2705221.1375 | 1132562.497 | 2705215.0522 | 1132576.0756 | 2705213.7236 | 1132579.8437 | 2705213.2398 | 1132582.8491
29 | 2705215.7883 | 1132598.8028 | 2705214.1792 | 1132593.9162 | 2705213.2408 | 1132589.4303 | 2705212.996 | 1132586.2462 | 2705213.1882 | 1132583.1698 | 2705213.2398 | 1132582.8491
30 | 2705215.7883 | 1132598.8028 | 2705208.3276 | 1132604.0207
31 | 2705215.7883 | 1132598.8028 | 2705223.5436 | 1132613.5481
32 | 2705208.3276 | 1132604.0207 | 2705208.3276 | 1132604.0207 | 2705207.1131 | 1132606.9904
33 | 2705151.814 | 1132639.0893 | 2705157.2953 | 1132634.8631
34 | 2705109.9168 | 1132696.1336 | 2705111.0429 | 1132716.3883 | 2705109.6203 | 1132728.6603 | 2705106.7081 | 1132736.3205
35 | 2705165.3816 | 1132628.6284 | 2705157.2953 | 1132634.8631
36 | 2705106.7081 | 1132736.3205 | 2705103.834 | 1132743.8804 | 2705103.8205 | 1132743.9111
37 | 2705207.1131 | 1132606.9904 | 2705207.1131 | 1132606.9904 | 2705207.8248 | 1132612.5507 | 2705207.2924 | 1132614.8207 | 2705202.1884 | 1132617.7191
38 | 2705215.7387 | 1132629.0545 | 2705225.2221 | 1132635.4793 | 2705227.4459 | 1132638.3658
39 | 2705231.8723 | 1132762.3247 | 2705247.0686 | 1132759.0224
40 | 2705215.7387 | 1132629.0545 | 2705215.7387 | 1132629.0545 | 2705209.0008 | 1132629.3782
41 | 2705212.2834 | 1132764.1915 | 2705228.5286 | 1132763.0513 | 2705231.8723 | 1132762.3247
42 | 2705207.2453 | 1132629.4625 | 2705209.0008 | 1132629.3782
43 | 2705212.2834 | 1132764.1915 | 2705198.5707 | 1132765.5198
44 | 2705212.2834 | 1132764.1915 | 2705212.0168 | 1132775.6741
45 | 2705194.2802 | 1132622.21 | 2705202.1884 | 1132617.7191
46 | 2705191.0261 | 1132626.8785 | 2705192.1556 | 1132625.2527 | 2705194.2802 | 1132622.21
47 | 2705207.2453 | 1132629.4625 | 2705191.0261 | 1132626.8785
48 | 2705191.0261 | 1132626.8785 | 2705171.6506 | 1132623.7949 | 2705171.6506 | 1132623.7949
49 | 2705207.2453 | 1132629.4625 | 2705198.338 | 1132632.8541 | 2705197.0545 | 1132635.8003 | 2705191.8403 | 1132647.677
50 | 2705171.6506 | 1132623.7949 | 2705166.0408 | 1132628.1202
51 | 2705165.3816 | 1132628.6284 | 2705166.0408 | 1132628.1202
52 | 2705103.8205 | 1132743.9111 | 2705098.7845 | 1132755.3238
53 | 2705024.084 | 1132802.4312 | 2705037.1618 | 1132811.3376
54 | 2705024.084 | 1132802.4312 | 2704927.4773 | 1132719.6784
55 | 2705053.3691 | 1132822.3751 | 2705037.1618 | 1132811.3376
56 | 2704927.4773 | 1132719.6784 | 2704918.9323 | 1132711.9807 | 2704910.9103 | 1132706.0933 | 2704897.3421 | 1132696.3071 | 2704896.7717 | 1132694.7186
57 | 2705190.6554 | 1132650.3759 | 2705191.8403 | 1132647.677
58 | 2705206.5768 | 1132781.4587 | 2705207.2118 | 1132778.6012 | 2705212.0062 | 1132776.1276 | 2705212.0168 | 1132775.6741
59 | 2705227.632 | 1132812.4155 | 2705223.6146 | 1132804.6589 | 2705219.9145 | 1132794.2657 | 2705208.2465 | 1132784.1895 | 2705206.5768 | 1132781.4587 | 2705206.5768 | 1132781.4587
60 | 2705227.632 | 1132812.4155 | 2705228.554 | 1132814.1954 | 2705232.1792 | 1132822.2526
61 | 2705198.5707 | 1132765.5198 | 2705193.5083 | 1132766.0102 | 2705169.2517 | 1132766.8609
62 | 2705232.1545 | 1132835.1604 | 2705232.1792 | 1132822.2526 | 2705232.1792 | 1132822.2526
63 | 2705169.2517 | 1132766.8609 | 2705163.4265 | 1132767.0652 | 2705152.5986 | 1132767.525
64 | 2705232.1545 | 1132835.1604 | 2705211.5531 | 1132857.3936 | 2705199.3452 | 1132866.0031
65 | 2705232.1545 | 1132835.1604 | 2705217.3773 | 1132831.1672 | 2705210.4513 | 1132830.5211
66 | 2705138.7515 | 1132768.113 | 2705152.5986 | 1132767.525
67 | 2705138.7515 | 1132768.113 | 2705130.7438 | 1132768.453 | 2705122.6278 | 1132772.8479 | 2705119.5007 | 1132776.6578
68 | 2705119.5007 | 1132776.6578 | 2705117.3645 | 1132779.2605 | 2705108.9047 | 1132790.5761 | 2705103.0852 | 1132798.3306
69 | 2705141.11 | 1132860.772 | 2705150.5224 | 1132845.6684 | 2705163.0802 | 1132838.26 | 2705187.8722 | 1132832.2876 | 2705205.3608 | 1132830.0462 | 2705210.4513 | 1132830.5211
70 | 2705103.0852 | 1132798.3306 | 2705083.6936 | 1132824.1701 | 2705083.0992 | 1132825.0446
71 | 2705092.6427 | 1132757.2832 | 2705092.6427 | 1132757.2832 | 2705097.3003 | 1132758.6873 | 2705098.7845 | 1132755.3238
72 | 2705092.6427 | 1132757.2832 | 2705086.4254 | 1132766.2558
73 | 2705086.4254 | 1132766.2558 | 2705084.254 | 1132769.3895 | 2705078.7087 | 1132778.1285
74 | 2705078.7087 | 1132778.1285 | 2705078.346 | 1132778.7002
75 | 2705078.346 | 1132778.7002 | 2705074.143 | 1132785.3238 | 2705068.0151 | 1132796.822
76 | 2705053.3691 | 1132822.3751 | 2705063.675 | 1132804.9654 | 2705068.0151 | 1132796.822
77 | 2705053.3691 | 1132822.3751 | 2705034.6207 | 1132841.6212
78 | 2705034.6207 | 1132841.6212 | 2705034.5315 | 1132841.7127

## bus_geodata
| x | y | coords
0 | 2705226.2885 | 1132292.5653
1 | 2705238.0328 | 1132328.4959
2 | 2705241.1805 | 1132340.3096
3 | 2705246.5986 | 1132361.9664
4 | 2705179.2874 | 1132389.5455
5 | 2705174.0203 | 1132419.0108
6 | 2705210.3841 | 1132389.4879
7 | 2705248.6992 | 1132420.6546
8 | 2705248.7803 | 1132450.0016
9 | 2705242.5314 | 1132513.7463
10 | 2705271.3774 | 1132630.4897
11 | 2705247.7982 | 1132661.2666
12 | 2705290.6943 | 1132639.0329
13 | 2705652.9599 | 1132813.4348
14 | 2705210.4736 | 1132389.4877
15 | 2705168.9032 | 1132444.1218
16 | 2705144.6237 | 1132542.5774
17 | 2705202.6426 | 1132450.702
18 | 2705128.525 | 1132596.7141
19 | 2705201.6617 | 1132418.5867
20 | 2705205.2804 | 1132451.2162
21 | 2705141.755 | 1132646.845
22 | 2705213.997 | 1132452.9155
23 | 2705238.9691 | 1132522.7084
24 | 2705221.1375 | 1132562.497
25 | 2705215.1682 | 1132453.1438
26 | 2705213.2398 | 1132582.8491
27 | 2705215.7883 | 1132598.8028
28 | 2705208.3276 | 1132604.0207
29 | 2705223.5436 | 1132613.5481
30 | 2705151.814 | 1132639.0893
31 | 2705109.9168 | 1132696.1336
32 | 2705157.2953 | 1132634.8631
33 | 2705106.7081 | 1132736.3205
34 | 2705207.1131 | 1132606.9904
35 | 2705227.4459 | 1132638.3658
36 | 2705247.0686 | 1132759.0224
37 | 2705215.7387 | 1132629.0545
38 | 2705231.8723 | 1132762.3247
39 | 2705209.0008 | 1132629.3782
40 | 2705212.2835 | 1132764.1915
41 | 2705202.1884 | 1132617.7191
42 | 2705194.2802 | 1132622.21
43 | 2705191.0261 | 1132626.8785
44 | 2705207.2453 | 1132629.4625
45 | 2705171.6506 | 1132623.7949
46 | 2705165.3816 | 1132628.6284
47 | 2705103.8205 | 1132743.9111
48 | 2705024.084 | 1132802.4312
49 | 2705037.1618 | 1132811.3376
50 | 2704927.4773 | 1132719.6784
51 | 2705166.0408 | 1132628.1202
52 | 2705191.8403 | 1132647.677
53 | 2705190.6554 | 1132650.3759
54 | 2705212.0168 | 1132775.6741
55 | 2705206.5768 | 1132781.4587
56 | 2705227.632 | 1132812.4155
57 | 2705198.5707 | 1132765.5198
58 | 2705232.1792 | 1132822.2526
59 | 2705169.2517 | 1132766.8609
60 | 2705232.1545 | 1132835.1603
61 | 2705152.5986 | 1132767.525
62 | 2705138.7515 | 1132768.113
63 | 2705119.5007 | 1132776.6578
64 | 2705199.3452 | 1132866.0031
65 | 2705210.4513 | 1132830.5211
66 | 2705141.11 | 1132860.772
67 | 2705708.1674 | 1132851.4654
68 | 2705103.0852 | 1132798.3306
69 | 2705083.0992 | 1132825.0446
70 | 2705098.7845 | 1132755.3238
71 | 2705092.6427 | 1132757.2832
72 | 2705086.4254 | 1132766.2558
73 | 2705078.7087 | 1132778.1285
74 | 2705078.346 | 1132778.7002
75 | 2705068.0151 | 1132796.822
76 | 2705053.3691 | 1132822.3751
77 | 2705034.6207 | 1132841.6212
78 | 2705034.5315 | 1132841.7127
79 | 2704896.7717 | 1132694.7186
80 | 2705207.2453 | 1132629.4625

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1