## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5402-10_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5402-10_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5402-10_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5402-10_0_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5402-10_0_2_node_126 | 0.4 | n |  | TRUE
5 | bus_LV_5402-10_0_2_node_65 | 0.4 | n |  | TRUE
6 | bus_LV_5402-10_0_2_node_123 | 0.4 | n |  | TRUE
7 | bus_LV_5402-10_0_2_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_5402-10_0_2_node_125 | 0.4 | n |  | TRUE
9 | bus_LV_5402-10_0_2_node_124 | 0.4 | n |  | TRUE
10 | bus_LV_5402-10_0_2_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_5402-10_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5402-10_0_2_node_146 | 0.4 | n |  | TRUE
13 | bus_LV_5402-10_0_2_node_165 | 0.4 | n |  | TRUE
14 | bus_LV_5402-10_0_2_node_108 | 0.4 | n |  | TRUE
15 | bus_LV_5402-10_0_2_node_163 | 0.4 | n |  | TRUE
16 | bus_LV_5402-10_0_2_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_5402-10_0_2_node_122 | 0.4 | n |  | TRUE
18 | bus_LV_5402-10_0_2_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_5402-10_0_2_node_101 | 0.4 | n |  | TRUE
20 | bus_LV_5402-10_0_2_node_106 | 0.4 | n |  | TRUE
21 | bus_LV_5402-10_0_2_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_5402-10_0_2_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_5402-10_0_2_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_5402-10_0_2_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_5402-10_0_2_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_5402-10_0_2_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_5402-10_0_2_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_5402-10_0_2_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_5402-10_0_2_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_5402-10_0_2_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_5402-10_0_2_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_5402-10_0_2_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_5402-10_0_2_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_5402-10_0_2_node_161 | 0.4 | n |  | TRUE
35 | bus_LV_5402-10_0_2_node_141 | 0.4 | n |  | TRUE
36 | bus_LV_5402-10_0_2_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_5402-10_0_2_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_5402-10_0_2_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_5402-10_0_2_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_5402-10_0_2_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_5402-10_0_2_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_5402-10_0_2_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_5402-10_0_2_node_113 | 0.4 | n |  | TRUE
44 | bus_LV_5402-10_0_2_node_118 | 0.4 | n |  | TRUE
45 | bus_LV_5402-10_0_2_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_5402-10_0_2_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_5402-10_0_2_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_5402-10_0_2_node_109 | 0.4 | n |  | TRUE
49 | bus_LV_5402-10_0_2_node_115 | 0.4 | n |  | TRUE
50 | bus_LV_5402-10_0_2_node_119 | 0.4 | n |  | TRUE
51 | bus_LV_5402-10_0_2_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_5402-10_0_2_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_5402-10_0_2_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_5402-10_0_2_node_105 | 0.4 | n |  | TRUE
55 | bus_LV_5402-10_0_2_node_107 | 0.4 | n |  | TRUE
56 | bus_LV_5402-10_0_2_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_5402-10_0_2_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_5402-10_0_2_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_5402-10_0_2_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_5402-10_0_2_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_5402-10_0_2_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_5402-10_0_2_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_5402-10_0_2_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_5402-10_0_2_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_5402-10_0_2_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_5402-10_0_2_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_5402-10_0_2_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_5402-10_0_2_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_5402-10_0_2_node_121 | 0.4 | n |  | TRUE
70 | bus_LV_5402-10_0_2_node_114 | 0.4 | n |  | TRUE
71 | bus_LV_5402-10_0_2_node_94 | 0.4 | n |  | TRUE
72 | bus_LV_5402-10_0_2_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_5402-10_0_2_node_95 | 0.4 | n |  | TRUE
74 | bus_LV_5402-10_0_2_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_5402-10_0_2_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_5402-10_0_2_node_155 | 0.4 | n |  | TRUE
77 | bus_LV_5402-10_0_2_node_112 | 0.4 | n |  | TRUE
78 | bus_LV_5402-10_0_2_node_116 | 0.4 | n |  | TRUE
79 | bus_LV_5402-10_0_2_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_5402-10_0_2_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_5402-10_0_2_node_142 | 0.4 | n |  | TRUE
82 | bus_LV_5402-10_0_2_node_98 | 0.4 | n |  | TRUE
83 | bus_LV_5402-10_0_2_node_99 | 0.4 | n |  | TRUE
84 | bus_LV_5402-10_0_2_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_5402-10_0_2_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_5402-10_0_2_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_5402-10_0_2_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_5402-10_0_2_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_5402-10_0_2_node_117 | 0.4 | n |  | TRUE
90 | bus_LV_5402-10_0_2_node_100 | 0.4 | n |  | TRUE
91 | bus_LV_5402-10_0_2_node_127 | 0.4 | n |  | TRUE
92 | bus_LV_5402-10_0_2_node_128 | 0.4 | n |  | TRUE
93 | bus_LV_5402-10_0_2_node_103 | 0.4 | n |  | TRUE
94 | bus_LV_5402-10_0_2_node_104 | 0.4 | n |  | TRUE
95 | bus_LV_5402-10_0_2_node_111 | 0.4 | n |  | TRUE
96 | bus_LV_5402-10_0_2_node_143 | 0.4 | n |  | TRUE
97 | bus_LV_5402-10_0_2_node_144 | 0.4 | n |  | TRUE
98 | bus_LV_5402-10_0_2_node_145 | 0.4 | n |  | TRUE
99 | bus_LV_5402-10_0_2_node_156 | 0.4 | n |  | TRUE
100 | bus_MV_110_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5402-10_0_2_load_0 | 0 | 0.0078161 | 0.0019589 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5402-10_0_2_load_126 | 4 | 0.00063576 | 0.00015934 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5402-10_0_2_load_123 | 6 | 0.0022325 | 0.00055952 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5402-10_0_2_load_125 | 8 | 0.0056161 | 0.0014075 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5402-10_0_2_load_124 | 9 | 0.0012219 | 0.00030623 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5402-10_0_2_load_146 | 12 | 0.0029427 | 0.0007375 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5402-10_0_2_load_165 | 13 | 0.0017037 | 0.00042699 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5402-10_0_2_load_163 | 15 | 0.0012665 | 0.00031741 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5402-10_0_2_load_122 | 17 | 0.00049115 | 0.00012309 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5402-10_0_2_load_106 | 20 | 0.0016385 | 0.00041064 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5402-10_0_2_load_7 | 21 | 0.00070375 | 0.00017638 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5402-10_0_2_load_8 | 22 | 0.0035608 | 0.00089243 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5402-10_0_2_load_9 | 23 | 0.00049677 | 0.0001245 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5402-10_0_2_load_12 | 25 | 0.0049144 | 0.0012317 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5402-10_0_2_load_13 | 26 | 0.0028012 | 0.00070205 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5402-10_0_2_load_46 | 30 | 0.003411 | 0.00085488 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5402-10_0_2_load_47 | 31 | 0.0055423 | 0.001389 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5402-10_0_2_load_49 | 32 | 0.0017722 | 0.00044416 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5402-10_0_2_load_161 | 34 | 0.0044157 | 0.0011067 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5402-10_0_2_load_141 | 35 | 0.00085244 | 0.00021364 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5402-10_0_2_load_54 | 37 | 0.0015848 | 0.00039718 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5402-10_0_2_load_59 | 41 | 0.0023499 | 0.00058893 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5402-10_0_2_load_60 | 42 | 0.0022159 | 0.00055536 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5402-10_0_2_load_118 | 44 | 0.0011048 | 0.00027689 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5402-10_0_2_load_97 | 47 | 0.0028536 | 0.00071518 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5402-10_0_2_load_115 | 49 | 0.0027847 | 0.0006979 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5402-10_0_2_load_119 | 50 | 0.0019816 | 0.00049663 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5402-10_0_2_load_80 | 51 | 0.0026066 | 0.00065328 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5402-10_0_2_load_92 | 52 | 0.0014491 | 0.00036318 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5402-10_0_2_load_110 | 53 | 0.0024832 | 0.00062235 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5402-10_0_2_load_105 | 54 | 0.0021435 | 0.00053721 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5402-10_0_2_load_107 | 55 | 0.0020717 | 0.00051922 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5402-10_0_2_load_61 | 56 | 0.0010101 | 0.00025314 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5402-10_0_2_load_66 | 57 | 0.00083787 | 0.00020999 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5402-10_0_2_load_64 | 58 | 0.0016553 | 0.00041487 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5402-10_0_2_load_79 | 60 | 0.0016843 | 0.00042212 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5402-10_0_2_load_75 | 61 | 0.0014612 | 0.0003662 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5402-10_0_2_load_68 | 62 | 0.0025286 | 0.00063372 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5402-10_0_2_load_69 | 63 | 0.0016806 | 0.00042119 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5402-10_0_2_load_71 | 65 | 0.0031819 | 0.00079747 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5402-10_0_2_load_73 | 67 | 0.0017448 | 0.0004373 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5402-10_0_2_load_121 | 69 | 0.0014483 | 0.00036298 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5402-10_0_2_load_114 | 70 | 0.00062745 | 0.00015725 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5402-10_0_2_load_94 | 71 | 0.0012791 | 0.00032056 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5402-10_0_2_load_95 | 73 | 0.0016476 | 0.00041292 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5402-10_0_2_load_85 | 74 | 0.0019061 | 0.00047771 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5402-10_0_2_load_86 | 75 | 0.0031018 | 0.00077739 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5402-10_0_2_load_155 | 76 | 0.0014723 | 0.000369 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5402-10_0_2_load_112 | 77 | 0.00093987 | 0.00023555 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5402-10_0_2_load_116 | 78 | 0.002299 | 0.00057619 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5402-10_0_2_load_76 | 79 | 0.00096503 | 0.00024186 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5402-10_0_2_load_93 | 80 | 0.00066353 | 0.0001663 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5402-10_0_2_load_142 | 81 | 0.0011454 | 0.00028707 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5402-10_0_2_load_98 | 82 | 0.0015275 | 0.00038282 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5402-10_0_2_load_87 | 84 | 0.0020336 | 0.00050966 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5402-10_0_2_load_88 | 85 | 0.0023898 | 0.00059894 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5402-10_0_2_load_90 | 87 | 0.0021559 | 0.00054033 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5402-10_0_2_load_91 | 88 | 0.0021457 | 0.00053776 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5402-10_0_2_load_100 | 90 | 0.0019229 | 0.00048193 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5402-10_0_2_load_127 | 91 | 0.0010447 | 0.00026182 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5402-10_0_2_load_128 | 92 | 0.0015645 | 0.0003921 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5402-10_0_2_load_103 | 93 | 0.0013205 | 0.00033095 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5402-10_0_2_load_104 | 94 | 0.0017871 | 0.0004479 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5402-10_0_2_load_111 | 95 | 0.001626 | 0.00040752 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5402-10_0_2_load_143 | 96 | 0.0011159 | 0.00027967 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5402-10_0_2_load_144 | 97 | 0.00091573 | 0.0002295 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5402-10_0_2_load_145 | 98 | 0.00089707 | 0.00022483 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5402-10_0_2_load_156 | 99 | 0.003804 | 0.00095337 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 90 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5402-10_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.04806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5402-10_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.017707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_5402-10_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.063446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_5402-10_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.027942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5402-10_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.10249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_5402-10_0_2_line_5 | NAYY 4x150 SE | 2 | 6 | 0.022354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5402-10_0_2_line_6 | NAYY 4x150 SE | 3 | 12 | 0.0050632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_5402-10_0_2_line_7 | NAYY 4x150 SE | 5 | 15 | 0.030929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5402-10_0_2_line_8 | NAYY 4x150 SE | 5 | 16 | 0.003195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5402-10_0_2_line_9 | NAYY 4x150 SE | 6 | 17 | 0.043847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5402-10_0_2_line_10 | NAYY 4x150 SE | 7 | 8 | 0.043184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5402-10_0_2_line_11 | NAYY 4x150 SE | 7 | 9 | 0.029916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5402-10_0_2_line_12 | NAYY 4x150 SE | 9 | 18 | 0.055814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5402-10_0_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.082645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_5402-10_0_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.028569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5402-10_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.046561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5402-10_0_2_line_16 | NAYY 4x150 SE | 11 | 14 | 0.010509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_5402-10_0_2_line_17 | NAYY 4x150 SE | 14 | 19 | 0.019576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_5402-10_0_2_line_18 | NAYY 4x150 SE | 14 | 20 | 0.014302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5402-10_0_2_line_19 | NAYY 4x150 SE | 16 | 58 | 0.014971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5402-10_0_2_line_20 | NAYY 4x150 SE | 16 | 56 | 0.072882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5402-10_0_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.023103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5402-10_0_2_line_22 | NAYY 4x150 SE | 19 | 91 | 0.019439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5402-10_0_2_line_23 | NAYY 4x150 SE | 19 | 83 | 0.023918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_5402-10_0_2_line_24 | NAYY 4x150 SE | 20 | 55 | 0.051885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5402-10_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.00098994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5402-10_0_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.022345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5402-10_0_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.013158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5402-10_0_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.028296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5402-10_0_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.011786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5402-10_0_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.011986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5402-10_0_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.026624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5402-10_0_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.007005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5402-10_0_2_line_33 | NAYY 4x150 SE | 28 | 35 | 0.011589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5402-10_0_2_line_34 | NAYY 4x150 SE | 28 | 36 | 0.007458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5402-10_0_2_line_35 | NAYY 4x150 SE | 29 | 33 | 0.021276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5402-10_0_2_line_36 | NAYY 4x150 SE | 29 | 30 | 0.018816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5402-10_0_2_line_37 | NAYY 4x150 SE | 30 | 31 | 0.017815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5402-10_0_2_line_38 | NAYY 4x150 SE | 31 | 32 | 0.026295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5402-10_0_2_line_39 | NAYY 4x150 SE | 33 | 34 | 0.0093431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5402-10_0_2_line_40 | NAYY 4x150 SE | 35 | 81 | 0.015137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5402-10_0_2_line_41 | NAYY 4x150 SE | 36 | 80 | 0.06649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5402-10_0_2_line_42 | NAYY 4x150 SE | 36 | 79 | 0.021665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5402-10_0_2_line_43 | NAYY 4x150 SE | 37 | 38 | 0.023774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5402-10_0_2_line_44 | NAYY 4x150 SE | 37 | 39 | 0.009225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5402-10_0_2_line_45 | NAYY 4x150 SE | 38 | 40 | 0.059658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5402-10_0_2_line_46 | NAYY 4x150 SE | 39 | 41 | 0.047426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5402-10_0_2_line_47 | NAYY 4x150 SE | 39 | 42 | 0.013693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5402-10_0_2_line_48 | NAYY 4x150 SE | 40 | 43 | 0.037803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5402-10_0_2_line_49 | NAYY 4x150 SE | 40 | 44 | 0.026824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5402-10_0_2_line_50 | NAYY 4x150 SE | 41 | 48 | 0.025384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5402-10_0_2_line_51 | NAYY 4x150 SE | 43 | 49 | 0.04038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5402-10_0_2_line_52 | NAYY 4x150 SE | 44 | 50 | 0.012202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5402-10_0_2_line_53 | NAYY 4x150 SE | 45 | 46 | 0.042438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5402-10_0_2_line_54 | NAYY 4x150 SE | 45 | 47 | 0.016541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5402-10_0_2_line_55 | NAYY 4x150 SE | 46 | 51 | 0.089209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5402-10_0_2_line_56 | NAYY 4x150 SE | 47 | 52 | 0.0097891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5402-10_0_2_line_57 | NAYY 4x150 SE | 48 | 53 | 0.02083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5402-10_0_2_line_58 | NAYY 4x150 SE | 48 | 54 | 0.019049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5402-10_0_2_line_59 | NAYY 4x150 SE | 48 | 55 | 0.014923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5402-10_0_2_line_60 | NAYY 4x150 SE | 52 | 86 | 0.024801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5402-10_0_2_line_61 | NAYY 4x150 SE | 53 | 89 | 0.015561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5402-10_0_2_line_62 | NAYY 4x150 SE | 54 | 94 | 0.022998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5402-10_0_2_line_63 | NAYY 4x150 SE | 56 | 57 | 0.034763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5402-10_0_2_line_64 | NAYY 4x150 SE | 58 | 59 | 0.016592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5402-10_0_2_line_65 | NAYY 4x150 SE | 59 | 60 | 0.018056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5402-10_0_2_line_66 | NAYY 4x150 SE | 59 | 61 | 0.011606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5402-10_0_2_line_67 | NAYY 4x150 SE | 61 | 79 | 0.014099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5402-10_0_2_line_68 | NAYY 4x150 SE | 62 | 63 | 0.013253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5402-10_0_2_line_69 | NAYY 4x150 SE | 62 | 64 | 0.013688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5402-10_0_2_line_70 | NAYY 4x150 SE | 63 | 65 | 0.0038139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5402-10_0_2_line_71 | NAYY 4x150 SE | 64 | 66 | 0.004041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5402-10_0_2_line_72 | NAYY 4x150 SE | 64 | 67 | 0.0065202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5402-10_0_2_line_73 | NAYY 4x150 SE | 65 | 68 | 0.019449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5402-10_0_2_line_74 | NAYY 4x150 SE | 66 | 69 | 0.0096269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5402-10_0_2_line_75 | NAYY 4x150 SE | 66 | 70 | 0.016814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5402-10_0_2_line_76 | NAYY 4x150 SE | 67 | 71 | 0.0092027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5402-10_0_2_line_77 | NAYY 4x150 SE | 68 | 74 | 0.019046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5402-10_0_2_line_78 | NAYY 4x150 SE | 68 | 75 | 0.012045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5402-10_0_2_line_79 | NAYY 4x150 SE | 69 | 76 | 0.0083874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5402-10_0_2_line_80 | NAYY 4x150 SE | 70 | 77 | 0.0030295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5402-10_0_2_line_81 | NAYY 4x150 SE | 71 | 72 | 0.048992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5402-10_0_2_line_82 | NAYY 4x150 SE | 72 | 73 | 0.034369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5402-10_0_2_line_83 | NAYY 4x150 SE | 73 | 78 | 0.0087271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5402-10_0_2_line_84 | NAYY 4x150 SE | 75 | 82 | 0.020627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5402-10_0_2_line_85 | NAYY 4x150 SE | 77 | 95 | 0.0043908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5402-10_0_2_line_86 | NAYY 4x150 SE | 81 | 96 | 0.016045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5402-10_0_2_line_87 | NAYY 4x150 SE | 82 | 83 | 0.0066985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5402-10_0_2_line_88 | NAYY 4x150 SE | 83 | 90 | 0.057934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_5402-10_0_2_line_89 | NAYY 4x150 SE | 84 | 85 | 0.036433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5402-10_0_2_line_90 | NAYY 4x150 SE | 84 | 86 | 0.0065247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5402-10_0_2_line_91 | NAYY 4x150 SE | 85 | 87 | 0.01203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5402-10_0_2_line_92 | NAYY 4x150 SE | 86 | 88 | 0.019458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5402-10_0_2_line_93 | NAYY 4x150 SE | 87 | 89 | 0.0055817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5402-10_0_2_line_94 | NAYY 4x150 SE | 91 | 92 | 0.0036767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5402-10_0_2_line_95 | NAYY 4x150 SE | 93 | 94 | 0.011219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5402-10_0_2_line_96 | NAYY 4x150 SE | 96 | 97 | 0.016298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5402-10_0_2_line_97 | NAYY 4x150 SE | 97 | 98 | 0.0077052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5402-10_0_2_line_98 | NAYY 4x150 SE | 98 | 99 | 0.0041941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5402-10_0_2_trafo_100 | 0.25 MVA 20/0.4 kV | 100 | 90 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2567405.8539 | 1121666.2817 | 2567403.3152 | 1121670.3419 | 2567398.9608 | 1121675.2235 | 2567389.7375 | 1121679.72 | 2567364.5793 | 1121687.947
1 | 2567409.3693 | 1121683.1157 | 2567409.8189 | 1121674.9758 | 2567405.8539 | 1121666.2817
2 | 2567365.8509 | 1121626.9003 | 2567366.8064 | 1121631.0083 | 2567368.3174 | 1121630.889 | 2567372.1379 | 1121631.3797 | 2567375.9508 | 1121631.9038 | 2567377.7105 | 1121632.1166 | 2567384.2415 | 1121631.8034 | 2567385.2239 | 1121633.7546 | 2567386.9506 | 1121633.5785 | 2567395.3644 | 1121647.6846 | 2567405.3778 | 1121665.2393 | 2567405.8539 | 1121666.2817
3 | 2567409.3693 | 1121683.1157 | 2567428.1215 | 1121670.7304 | 2567430.736 | 1121667.8593 | 2567431.8789 | 1121666.6859
4 | 2567324.1326 | 1121735.1693 | 2567326.4948 | 1121731.2768 | 2567332.7572 | 1121722.683 | 2567341.2063 | 1121714.8222 | 2567364.8773 | 1121704.9893 | 2567386.6662 | 1121696.5339 | 2567400.3303 | 1121691.7355 | 2567409.3693 | 1121683.1157
5 | 2567409.3693 | 1121683.1157 | 2567412.2016 | 1121686.2909 | 2567413.8223 | 1121693.6302 | 2567419.1949 | 1121702.7477
6 | 2567365.8509 | 1121626.9003 | 2567361.1579 | 1121628.8009
7 | 2567308.8488 | 1121714.2971 | 2567305.5423 | 1121717.5723 | 2567305.1787 | 1121718.7859 | 2567324.1326 | 1121735.1693
8 | 2567324.1326 | 1121735.1693 | 2567322.4738 | 1121737.9019
9 | 2567454.9953 | 1121717.8927 | 2567449.8559 | 1121720.7606 | 2567440.3079 | 1121720.8121 | 2567428.0535 | 1121713.8525 | 2567422.4548 | 1121708.2799 | 2567419.1949 | 1121702.7477
10 | 2567430.4998 | 1121628.3963 | 2567452.4116 | 1121625.4989 | 2567473.2078 | 1121622.0419
11 | 2567430.4998 | 1121628.3963 | 2567438.4904 | 1121645.573 | 2567442.4005 | 1121652.6665 | 2567443.7562 | 1121655.1978
12 | 2567472.5277 | 1121702.9516 | 2567461.3333 | 1121686.6149 | 2567454.3211 | 1121674.9246 | 2567443.7562 | 1121655.1978
13 | 2567266.6821 | 1121657.1636 | 2567270.833 | 1121656.0072 | 2567282.561 | 1121652.5863 | 2567293.6126 | 1121649.6027 | 2567293.2223 | 1121645.9029 | 2567311.0547 | 1121636.0347 | 2567332.5042 | 1121624.6795 | 2567335.6136 | 1121622.0392 | 2567336.219 | 1121619.9015
14 | 2567336.219 | 1121619.9015 | 2567344.7689 | 1121626.3585 | 2567351.2841 | 1121630.2363 | 2567355.6372 | 1121630.8242 | 2567360.2867 | 1121629.1537 | 2567361.1579 | 1121628.8009
15 | 2567266.6821 | 1121657.1636 | 2567269.1317 | 1121666.555 | 2567270.9634 | 1121675.7831 | 2567271.5414 | 1121684.2286 | 2567272.1102 | 1121689.5616 | 2567274.9831 | 1121693.1033 | 2567278.7439 | 1121695.3952 | 2567283.3825 | 1121695.9926
16 | 2567266.6821 | 1121657.1636 | 2567256.7596 | 1121660.7081
17 | 2567238.9099 | 1121668.7979 | 2567245.5699 | 1121665.2488 | 2567256.7596 | 1121660.7081
18 | 2567256.7596 | 1121660.7081 | 2567259.3037 | 1121649.144 | 2567259.9386 | 1121646.7658
19 | 2567322.4738 | 1121737.9019 | 2567314.0389 | 1121750.2704
20 | 2567322.4738 | 1121737.9019 | 2567349.1225 | 1121760.9915 | 2567378.4152 | 1121784.6
21 | 2567472.5277 | 1121702.9516 | 2567464.9629 | 1121710.3628 | 2567456.615 | 1121716.9889 | 2567454.9953 | 1121717.8927
22 | 2567238.9099 | 1121668.7979 | 2567241.1468 | 1121671.665 | 2567248.1314 | 1121685.8401
23 | 2567238.9099 | 1121668.7979 | 2567238.4332 | 1121669.0562 | 2567217.4962 | 1121679.5751
24 | 2567259.9386 | 1121646.7658 | 2567262.7809 | 1121636.1186 | 2567266.0912 | 1121622.1714 | 2567266.9127 | 1121615.7971 | 2567264.3574 | 1121609.6745 | 2567259.7267 | 1121604.8639 | 2567254.2506 | 1121600.8464
25 | 2567296.1343 | 1121852.2133 | 2567295.2621 | 1121851.745
26 | 2567296.1343 | 1121852.2133 | 2567298.9224 | 1121853.7099 | 2567311.4969 | 1121861.4124 | 2567315.3906 | 1121863.5352
27 | 2567283.6689 | 1121845.5218 | 2567295.2621 | 1121851.745
28 | 2567283.6689 | 1121845.5218 | 2567278.3046 | 1121868.9293 | 2567282.1022 | 1121870.9208
29 | 2567283.6689 | 1121845.5218 | 2567281.3325 | 1121844.1893 | 2567273.4547 | 1121839.642
30 | 2567263.0738 | 1121833.6497 | 2567273.4547 | 1121839.642
31 | 2567274.3582 | 1121809.6542 | 2567270.7004 | 1121814.9767 | 2567266.1227 | 1121825.5736 | 2567263.0738 | 1121833.6497
32 | 2567263.0738 | 1121833.6497 | 2567260.3941 | 1121840.1231
33 | 2567274.3582 | 1121809.6542 | 2567264.7022 | 1121803.2466
34 | 2567274.3582 | 1121809.6542 | 2567278.5899 | 1121803.506
35 | 2567254.0489 | 1121860.4121 | 2567257.597 | 1121850.5435 | 2567260.3941 | 1121840.1231
36 | 2567260.3941 | 1121840.1231 | 2567246.3236 | 1121832.4844 | 2567243.9981 | 1121830.9149
37 | 2567243.9981 | 1121830.9149 | 2567229.2316 | 1121820.9484
38 | 2567212.2823 | 1121803.01 | 2567212.1934 | 1121806.5233 | 2567212.88 | 1121807.9759 | 2567213.5602 | 1121809.6731 | 2567215.5918 | 1121811.6741 | 2567220.9489 | 1121815.358 | 2567229.2316 | 1121820.9484
39 | 2567254.0489 | 1121860.4121 | 2567256.5908 | 1121861.2543 | 2567257.0044 | 1121862.1303 | 2567256.7032 | 1121863.477 | 2567257.0715 | 1121864.5534 | 2567258.4716 | 1121865.3239 | 2567259.7186 | 1121866.2954
40 | 2567264.7022 | 1121803.2466 | 2567262.6934 | 1121801.9136 | 2567251.954 | 1121795.0864
41 | 2567278.5899 | 1121803.506 | 2567293.3338 | 1121814.4316 | 2567325.0417 | 1121831.813 | 2567335.4194 | 1121837.7983
42 | 2567278.5899 | 1121803.506 | 2567290.438 | 1121785.3679
43 | 2567144.6143 | 1121551.2846 | 2567166.1304 | 1121561.3965
44 | 2567174.5692 | 1121565.1175 | 2567169.9851 | 1121563.2081 | 2567166.1304 | 1121561.3965
45 | 2567124.8746 | 1121607.4759 | 2567128.5215 | 1121595.9058 | 2567137.8899 | 1121565.6729 | 2567144.6143 | 1121551.2846
46 | 2567174.5692 | 1121565.1175 | 2567203.3419 | 1121577.1449 | 2567218.5174 | 1121582.9306
47 | 2567180.7424 | 1121552.8889 | 2567174.5692 | 1121565.1175
48 | 2567113.3783 | 1121643.49 | 2567120.5834 | 1121621.095 | 2567124.8746 | 1121607.4759
49 | 2567124.8746 | 1121607.4759 | 2567131.8742 | 1121609.6389 | 2567148.6662 | 1121615.5282 | 2567150.2407 | 1121616.1772
50 | 2567242.2183 | 1121592.0191 | 2567230.3079 | 1121587.4259 | 2567218.5174 | 1121582.9306
51 | 2567113.3783 | 1121643.49 | 2567119.3808 | 1121642.4345 | 2567124.9059 | 1121641.5151 | 2567132.0283 | 1121639.3419 | 2567137.203 | 1121639.2247 | 2567141.1311 | 1121639.648 | 2567144.9749 | 1121641.5836 | 2567147.3191 | 1121645.7507 | 2567147.1587 | 1121648.8643
52 | 2567161.5215 | 1121620.8276 | 2567150.2407 | 1121616.1772
53 | 2567186.7189 | 1121486.045 | 2567210.2286 | 1121450.6772
54 | 2567186.7189 | 1121486.045 | 2567201.4367 | 1121493.5944
55 | 2567210.2286 | 1121450.6772 | 2567219.182 | 1121456.098 | 2567231.9621 | 1121463.1321 | 2567287.4179 | 1121495.3874
56 | 2567210.1467 | 1121498.0622 | 2567201.4367 | 1121493.5944
57 | 2567242.2183 | 1121592.0191 | 2567243.7859 | 1121585.2516 | 2567245.4055 | 1121576.7274 | 2567246.4304 | 1121571.6223
58 | 2567242.2183 | 1121592.0191 | 2567235.119 | 1121602.7297 | 2567232.0866 | 1121608.1368
59 | 2567242.2183 | 1121592.0191 | 2567254.2506 | 1121600.8464
60 | 2567232.2667 | 1121509.2759 | 2567230.9903 | 1121508.5714 | 2567217.7498 | 1121501.9622 | 2567210.1467 | 1121498.0622
61 | 2567249.2437 | 1121556.3185 | 2567247.0051 | 1121568.7592 | 2567246.4304 | 1121571.6223
62 | 2567232.0866 | 1121608.1368 | 2567230.1537 | 1121611.5833 | 2567223.4911 | 1121618.912 | 2567217.3825 | 1121624.5703 | 2567216.7836 | 1121625.124
63 | 2567378.4152 | 1121784.6 | 2567394.7354 | 1121815.2945
64 | 2567304.6909 | 1121763.978 | 2567314.0389 | 1121750.2704
65 | 2567304.6909 | 1121763.978 | 2567319.884 | 1121773.8007
66 | 2567304.6909 | 1121763.978 | 2567298.1525 | 1121773.5671
67 | 2567298.1525 | 1121773.5671 | 2567298.0109 | 1121773.7747 | 2567290.438 | 1121785.3679
68 | 2567150.2005 | 1121714.5808 | 2567150.2005 | 1121714.5808 | 2567162.0964 | 1121708.7384
69 | 2567137.0243 | 1121718.2877 | 2567139.0344 | 1121717.7432 | 2567150.2005 | 1121714.5808
70 | 2567162.0964 | 1121708.7384 | 2567165.5197 | 1121707.057
71 | 2567136.6399 | 1121714.2656 | 2567137.0243 | 1121718.2877
72 | 2567137.0243 | 1121718.2877 | 2567137.5137 | 1121724.7896
73 | 2567182.9767 | 1121698.4833 | 2567165.5197 | 1121707.057
74 | 2567136.6399 | 1121714.2656 | 2567127.088 | 1121715.465
75 | 2567136.6399 | 1121714.2656 | 2567136.247 | 1121710.0878 | 2567135.2872 | 1121702.3892 | 2567133.5474 | 1121697.8518
76 | 2567138.2045 | 1121733.9663 | 2567137.5137 | 1121724.7896
77 | 2567182.9767 | 1121698.4833 | 2567178.0675 | 1121692.0957 | 2567171.5475 | 1121683.2485
78 | 2567182.9767 | 1121698.4833 | 2567186.2519 | 1121696.5645 | 2567193.3997 | 1121692.4476
79 | 2567118.766 | 1121716.51 | 2567127.088 | 1121715.465
80 | 2567133.5474 | 1121697.8518 | 2567132.4628 | 1121695.0231
81 | 2567127.8233 | 1121780.6136 | 2567132.9512 | 1121771.9258 | 2567138.0432 | 1121758.0911 | 2567138.4241 | 1121751.5524 | 2567138.7908 | 1121745.2472 | 2567138.2798 | 1121734.9671 | 2567138.2045 | 1121733.9663
82 | 2567127.8233 | 1121780.6136 | 2567135.253 | 1121781.0623 | 2567142.3205 | 1121782.9803 | 2567148.6646 | 1121783.7907 | 2567154.818 | 1121783.5459 | 2567161.581 | 1121784.7987 | 2567161.7369 | 1121784.8693
83 | 2567161.7369 | 1121784.8693 | 2567165.9185 | 1121786.7649 | 2567169.4707 | 1121788.8834
84 | 2567211.5404 | 1121682.6408 | 2567201.0602 | 1121688.0353 | 2567193.3997 | 1121692.4476
85 | 2567129.0367 | 1121692.2769 | 2567132.4628 | 1121695.0231 | 2567132.4628 | 1121695.0231
86 | 2567251.954 | 1121795.0864 | 2567241.5574 | 1121788.4771 | 2567238.5191 | 1121786.3221
87 | 2567217.4962 | 1121679.5751 | 2567211.5404 | 1121682.6408
88 | 2567217.4962 | 1121679.5751 | 2567222.7323 | 1121690.7634 | 2567233.2569 | 1121712.8952 | 2567249.5768 | 1121708.6045 | 2567253.6255 | 1121707.4867
89 | 2567237.9868 | 1121512.4148 | 2567240.3508 | 1121513.712 | 2567251.4883 | 1121519.3989 | 2567253.2237 | 1121520.8124 | 2567254.3558 | 1121521.9179 | 2567254.8277 | 1121523.594 | 2567254.6914 | 1121526.9075 | 2567254.3669 | 1121531.0781 | 2567253.6118 | 1121536.8962 | 2567253.0518 | 1121539.1304
90 | 2567232.2667 | 1121509.2759 | 2567237.9868 | 1121512.4148
91 | 2567250.3014 | 1121550.838 | 2567250.9167 | 1121547.6496 | 2567253.0518 | 1121539.1304
92 | 2567232.2667 | 1121509.2759 | 2567230.6018 | 1121515.1434 | 2567227.8763 | 1121521.7282 | 2567223.6127 | 1121526.287
93 | 2567249.2437 | 1121556.3185 | 2567250.3014 | 1121550.838
94 | 2567249.7565 | 1121689.1381 | 2567248.1314 | 1121685.8401
95 | 2567208.1307 | 1121632.2326 | 2567212.5324 | 1121629.0544 | 2567216.7836 | 1121625.124
96 | 2567225.2254 | 1121776.8932 | 2567238.5191 | 1121786.3221
97 | 2567218.9406 | 1121772.4355 | 2567225.2254 | 1121776.8932
98 | 2567215.5196 | 1121770.0091 | 2567218.9406 | 1121772.4355

## bus_geodata
| x | y | coords
0 | 2567364.5793 | 1121687.947
1 | 2567405.8539 | 1121666.2817
2 | 2567409.3693 | 1121683.1157
3 | 2567365.8509 | 1121626.9003
4 | 2567431.8789 | 1121666.6859
5 | 2567324.1326 | 1121735.1693
6 | 2567419.1949 | 1121702.7477
7 | 2567430.4998 | 1121628.3963
8 | 2567473.2078 | 1121622.0419
9 | 2567443.7562 | 1121655.1978
10 | 2567336.219 | 1121619.9015
11 | 2567266.6821 | 1121657.1636
12 | 2567361.1579 | 1121628.8009
13 | 2567283.3825 | 1121695.9926
14 | 2567256.7596 | 1121660.7081
15 | 2567308.8488 | 1121714.2971
16 | 2567322.4738 | 1121737.9019
17 | 2567454.9953 | 1121717.8927
18 | 2567472.5277 | 1121702.9516
19 | 2567238.9099 | 1121668.7979
20 | 2567259.9386 | 1121646.7658
21 | 2567296.1343 | 1121852.2133
22 | 2567295.2621 | 1121851.745
23 | 2567315.3906 | 1121863.5352
24 | 2567283.6689 | 1121845.5218
25 | 2567282.1022 | 1121870.9208
26 | 2567273.4547 | 1121839.642
27 | 2567263.0738 | 1121833.6497
28 | 2567274.3582 | 1121809.6542
29 | 2567260.3941 | 1121840.1231
30 | 2567243.9981 | 1121830.9149
31 | 2567229.2316 | 1121820.9484
32 | 2567212.2823 | 1121803.01
33 | 2567254.0489 | 1121860.4121
34 | 2567259.7186 | 1121866.2954
35 | 2567264.7022 | 1121803.2466
36 | 2567278.5899 | 1121803.506
37 | 2567166.1304 | 1121561.3965
38 | 2567144.6143 | 1121551.2846
39 | 2567174.5692 | 1121565.1175
40 | 2567124.8746 | 1121607.4759
41 | 2567218.5174 | 1121582.9306
42 | 2567180.7424 | 1121552.8889
43 | 2567113.3783 | 1121643.49
44 | 2567150.2407 | 1121616.1772
45 | 2567186.7189 | 1121486.045
46 | 2567210.2286 | 1121450.6772
47 | 2567201.4367 | 1121493.5944
48 | 2567242.2183 | 1121592.0191
49 | 2567147.1587 | 1121648.8643
50 | 2567161.5215 | 1121620.8276
51 | 2567287.4179 | 1121495.3874
52 | 2567210.1467 | 1121498.0622
53 | 2567246.4304 | 1121571.6223
54 | 2567232.0866 | 1121608.1368
55 | 2567254.2506 | 1121600.8464
56 | 2567378.4152 | 1121784.6
57 | 2567394.7354 | 1121815.2945
58 | 2567314.0389 | 1121750.2704
59 | 2567304.6909 | 1121763.978
60 | 2567319.884 | 1121773.8007
61 | 2567298.1525 | 1121773.5671
62 | 2567150.2005 | 1121714.5808
63 | 2567162.0964 | 1121708.7384
64 | 2567137.0243 | 1121718.2877
65 | 2567165.5197 | 1121707.057
66 | 2567136.6399 | 1121714.2656
67 | 2567137.5137 | 1121724.7896
68 | 2567182.9767 | 1121698.4833
69 | 2567127.088 | 1121715.465
70 | 2567133.5474 | 1121697.8518
71 | 2567138.2045 | 1121733.9663
72 | 2567127.8233 | 1121780.6136
73 | 2567161.7369 | 1121784.8693
74 | 2567171.5475 | 1121683.2485
75 | 2567193.3997 | 1121692.4476
76 | 2567118.766 | 1121716.51
77 | 2567132.4628 | 1121695.0231
78 | 2567169.4707 | 1121788.8834
79 | 2567290.438 | 1121785.3679
80 | 2567335.4194 | 1121837.7983
81 | 2567251.954 | 1121795.0864
82 | 2567211.5404 | 1121682.6408
83 | 2567217.4962 | 1121679.5751
84 | 2567237.9868 | 1121512.4148
85 | 2567253.0518 | 1121539.1304
86 | 2567232.2667 | 1121509.2759
87 | 2567250.3014 | 1121550.838
88 | 2567223.6127 | 1121526.287
89 | 2567249.2437 | 1121556.3185
90 | 2567253.6255 | 1121707.4867
91 | 2567248.1314 | 1121685.8401
92 | 2567249.7565 | 1121689.1381
93 | 2567208.1307 | 1121632.2326
94 | 2567216.7836 | 1121625.124
95 | 2567129.0367 | 1121692.2769
96 | 2567238.5191 | 1121786.3221
97 | 2567225.2254 | 1121776.8932
98 | 2567218.9406 | 1121772.4355
99 | 2567215.5196 | 1121770.0091
100 | 2567271.7325 | 1121718.0335

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1