## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5402-15_1_3_node_79 | 0.4 | n |  | TRUE
1 | bus_LV_5402-15_1_3_node_119 | 0.4 | n |  | TRUE
2 | bus_LV_5402-15_1_3_node_121 | 0.4 | n |  | TRUE
3 | bus_LV_5402-15_1_3_node_44 | 0.4 | n |  | TRUE
4 | bus_LV_5402-15_1_3_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_5402-15_1_3_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_5402-15_1_3_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_5402-15_1_3_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_5402-15_1_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_5402-15_1_3_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_5402-15_1_3_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_5402-15_1_3_node_86 | 0.4 | n |  | TRUE
12 | bus_LV_5402-15_1_3_node_85 | 0.4 | n |  | TRUE
13 | bus_LV_5402-15_1_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_5402-15_1_3_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_5402-15_1_3_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_5402-15_1_3_node_117 | 0.4 | n |  | TRUE
17 | bus_LV_5402-15_1_3_node_118 | 0.4 | n |  | TRUE
18 | bus_LV_5402-15_1_3_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_5402-15_1_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_5402-15_1_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_5402-15_1_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_5402-15_1_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_5402-15_1_3_node_114 | 0.4 | n |  | TRUE
24 | bus_LV_5402-15_1_3_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_5402-15_1_3_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_5402-15_1_3_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_5402-15_1_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_5402-15_1_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_5402-15_1_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_5402-15_1_3_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_5402-15_1_3_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_5402-15_1_3_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_5402-15_1_3_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_5402-15_1_3_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_5402-15_1_3_node_131 | 0.4 | n |  | TRUE
36 | bus_LV_5402-15_1_3_node_110 | 0.4 | n |  | TRUE
37 | bus_LV_5402-15_1_3_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_5402-15_1_3_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_5402-15_1_3_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_5402-15_1_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_5402-15_1_3_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_5402-15_1_3_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_5402-15_1_3_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_5402-15_1_3_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_5402-15_1_3_node_105 | 0.4 | n |  | TRUE
46 | bus_LV_5402-15_1_3_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_5402-15_1_3_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_5402-15_1_3_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_5402-15_1_3_node_113 | 0.4 | n |  | TRUE
50 | bus_LV_5402-15_1_3_node_108 | 0.4 | n |  | TRUE
51 | bus_LV_5402-15_1_3_node_107 | 0.4 | n |  | TRUE
52 | bus_LV_5402-15_1_3_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_5402-15_1_3_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_5402-15_1_3_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_5402-15_1_3_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_5402-15_1_3_node_120 | 0.4 | n |  | TRUE
57 | bus_LV_5402-15_1_3_node_128 | 0.4 | n |  | TRUE
58 | bus_LV_5402-15_1_3_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_5402-15_1_3_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_5402-15_1_3_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_5402-15_1_3_node_115 | 0.4 | n |  | TRUE
62 | bus_LV_5402-15_1_3_node_116 | 0.4 | n |  | TRUE
63 | bus_LV_5402-15_1_3_node_109 | 0.4 | n |  | TRUE
64 | bus_LV_5402-15_1_3_node_111 | 0.4 | n |  | TRUE
65 | bus_LV_5402-15_1_3_node_112 | 0.4 | n |  | TRUE
66 | bus_LV_5402-15_1_3_node_130 | 0.4 | n |  | TRUE
67 | bus_LV_5402-15_1_3_node_129 | 0.4 | n |  | TRUE
68 | bus_MV_110_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5402-15_1_3_load_119 | 1 | 0.00019164 | 4.803e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5402-15_1_3_load_121 | 2 | 0.00045378 | 0.00011373 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5402-15_1_3_load_21 | 4 | 0.03365 | 0.0084335 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5402-15_1_3_load_22 | 5 | 0.051475 | 0.012901 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5402-15_1_3_load_27 | 10 | 0.0037655 | 0.00094373 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5402-15_1_3_load_85 | 12 | 0.0029942 | 0.00075042 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5402-15_1_3_load_39 | 13 | 0.0014228 | 0.0003566 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5402-15_1_3_load_38 | 14 | 0.0042013 | 0.0010529 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5402-15_1_3_load_118 | 17 | 0.0043244 | 0.0010838 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5402-15_1_3_load_48 | 18 | 0.003602 | 0.00090274 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5402-15_1_3_load_28 | 19 | 0.0085414 | 0.0021407 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5402-15_1_3_load_32 | 22 | 0.0016336 | 0.00040942 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5402-15_1_3_load_114 | 23 | 0.0030072 | 0.00075368 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5402-15_1_3_load_42 | 24 | 0.00015565 | 3.9008e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5402-15_1_3_load_33 | 25 | 0.00099681 | 0.00024982 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5402-15_1_3_load_34 | 26 | 0.010471 | 0.0026243 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5402-15_1_3_load_35 | 27 | 0.0038964 | 0.00097653 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5402-15_1_3_load_36 | 28 | 0.0023966 | 0.00060064 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5402-15_1_3_load_45 | 32 | 0.0027988 | 0.00070144 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5402-15_1_3_load_46 | 33 | 0.0016718 | 0.000419 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5402-15_1_3_load_47 | 34 | 0.0014133 | 0.00035421 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5402-15_1_3_load_131 | 35 | 0.0036199 | 0.00090724 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5402-15_1_3_load_51 | 39 | 0.0022212 | 0.00055668 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5402-15_1_3_load_41 | 40 | 0.00034065 | 8.5374e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5402-15_1_3_load_43 | 41 | 0.0004174 | 0.00010461 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5402-15_1_3_load_57 | 43 | 0.0016817 | 0.00042147 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5402-15_1_3_load_56 | 44 | 0.0034841 | 0.00087319 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5402-15_1_3_load_105 | 45 | 0.00064079 | 0.0001606 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5402-15_1_3_load_53 | 46 | 0.0025314 | 0.00063444 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5402-15_1_3_load_58 | 47 | 0.0016241 | 0.00040704 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5402-15_1_3_load_59 | 48 | 0.0024913 | 0.00062438 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5402-15_1_3_load_113 | 49 | 0.0062284 | 0.001561 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5402-15_1_3_load_108 | 50 | 0.0053632 | 0.0013441 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5402-15_1_3_load_107 | 51 | 0.0078581 | 0.0019694 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5402-15_1_3_load_76 | 52 | 0.00060439 | 0.00015147 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5402-15_1_3_load_82 | 55 | 0.0014185 | 0.0003555 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5402-15_1_3_load_120 | 56 | 0.00055796 | 0.00013984 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5402-15_1_3_load_128 | 57 | 0.0018268 | 0.00045785 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5402-15_1_3_load_81 | 58 | 0.0014638 | 0.00036687 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5402-15_1_3_load_83 | 59 | 0.00074213 | 0.000186 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5402-15_1_3_load_84 | 60 | 0.001334 | 0.00033433 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5402-15_1_3_load_115 | 61 | 0.00068732 | 0.00017226 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5402-15_1_3_load_116 | 62 | 0.00077423 | 0.00019404 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5402-15_1_3_load_130 | 66 | 0.0085976 | 0.0021547 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5402-15_1_3_load_129 | 67 | 0.0029585 | 0.00074148 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5402-15_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.080551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5402-15_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.49384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5402-15_1_3_line_2 | NAYY 4x150 SE | 0 | 3 | 0.11032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5402-15_1_3_line_3 | NAYY 4x150 SE | 1 | 56 | 0.0023165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5402-15_1_3_line_4 | NAYY 4x150 SE | 3 | 24 | 0.053561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5402-15_1_3_line_5 | NAYY 4x150 SE | 3 | 21 | 0.10499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5402-15_1_3_line_6 | NAYY 4x150 SE | 4 | 5 | 0.11524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5402-15_1_3_line_7 | NAYY 4x150 SE | 4 | 6 | 0.1283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5402-15_1_3_line_8 | NAYY 4x150 SE | 5 | 7 | 0.13202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5402-15_1_3_line_9 | NAYY 4x150 SE | 6 | 8 | 0.016474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5402-15_1_3_line_10 | NAYY 4x150 SE | 6 | 9 | 0.015609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5402-15_1_3_line_11 | NAYY 4x150 SE | 7 | 10 | 0.10064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5402-15_1_3_line_12 | NAYY 4x150 SE | 8 | 11 | 0.005009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5402-15_1_3_line_13 | NAYY 4x150 SE | 8 | 12 | 0.1203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5402-15_1_3_line_14 | NAYY 4x150 SE | 9 | 13 | 0.11151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5402-15_1_3_line_15 | NAYY 4x150 SE | 9 | 14 | 0.024746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5402-15_1_3_line_16 | NAYY 4x150 SE | 10 | 15 | 0.014138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5402-15_1_3_line_17 | NAYY 4x150 SE | 11 | 16 | 0.024197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5402-15_1_3_line_18 | NAYY 4x150 SE | 11 | 17 | 0.032541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5402-15_1_3_line_19 | NAYY 4x150 SE | 13 | 18 | 0.052688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_5402-15_1_3_line_20 | NAYY 4x150 SE | 15 | 19 | 0.010506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5402-15_1_3_line_21 | NAYY 4x150 SE | 16 | 57 | 0.046026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5402-15_1_3_line_22 | NAYY 4x150 SE | 16 | 54 | 0.094429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5402-15_1_3_line_23 | NAYY 4x150 SE | 18 | 32 | 0.019035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_5402-15_1_3_line_24 | NAYY 4x150 SE | 19 | 20 | 0.032056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5402-15_1_3_line_25 | NAYY 4x150 SE | 20 | 21 | 0.054781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5402-15_1_3_line_26 | NAYY 4x150 SE | 20 | 22 | 0.02346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5402-15_1_3_line_27 | NAYY 4x150 SE | 22 | 23 | 0.059397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5402-15_1_3_line_28 | NAYY 4x150 SE | 24 | 40 | 0.011798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5402-15_1_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.025902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_5402-15_1_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.025727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_5402-15_1_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.05936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_5402-15_1_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.036392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_5402-15_1_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.011836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_5402-15_1_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.035085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5402-15_1_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.01939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5402-15_1_3_line_36 | NAYY 4x150 SE | 30 | 33 | 0.028541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5402-15_1_3_line_37 | NAYY 4x150 SE | 30 | 34 | 0.018833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5402-15_1_3_line_38 | NAYY 4x150 SE | 31 | 35 | 0.020049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5402-15_1_3_line_39 | NAYY 4x150 SE | 31 | 36 | 0.040534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5402-15_1_3_line_40 | NAYY 4x150 SE | 33 | 37 | 0.046768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5402-15_1_3_line_41 | NAYY 4x150 SE | 34 | 39 | 0.00030894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5402-15_1_3_line_42 | NAYY 4x150 SE | 36 | 49 | 0.018582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5402-15_1_3_line_43 | NAYY 4x150 SE | 36 | 50 | 0.0086698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5402-15_1_3_line_44 | NAYY 4x150 SE | 37 | 38 | 0.050264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5402-15_1_3_line_45 | NAYY 4x150 SE | 38 | 43 | 0.0408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5402-15_1_3_line_46 | NAYY 4x150 SE | 38 | 44 | 0.026273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5402-15_1_3_line_47 | NAYY 4x150 SE | 39 | 42 | 0.0439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5402-15_1_3_line_48 | NAYY 4x150 SE | 40 | 41 | 0.020768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5402-15_1_3_line_49 | NAYY 4x150 SE | 42 | 46 | 0.030718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5402-15_1_3_line_50 | NAYY 4x150 SE | 43 | 45 | 0.24974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5402-15_1_3_line_51 | NAYY 4x150 SE | 46 | 47 | 0.022022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5402-15_1_3_line_52 | NAYY 4x150 SE | 47 | 48 | 0.021097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5402-15_1_3_line_53 | NAYY 4x150 SE | 48 | 51 | 0.03189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5402-15_1_3_line_54 | NAYY 4x150 SE | 50 | 63 | 0.019382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5402-15_1_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.097731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5402-15_1_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.24153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5402-15_1_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.080325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5402-15_1_3_line_58 | NAYY 4x150 SE | 55 | 58 | 0.026866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5402-15_1_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.061257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5402-15_1_3_line_60 | NAYY 4x150 SE | 59 | 60 | 0.0062975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5402-15_1_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0043896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5402-15_1_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.014586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5402-15_1_3_line_63 | NAYY 4x150 SE | 63 | 64 | 0.009096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5402-15_1_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.079963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5402-15_1_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.008878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5402-15_1_3_line_66 | NAYY 4x150 SE | 65 | 67 | 0.020363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5402-15_1_3_trafo_21 | 0.25 MVA 20/0.4 kV | 68 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2568611.0408 | 1122702.9364 | 2568613.0124 | 1122698.0125 | 2568614.74 | 1122692.1339 | 2568614.4039 | 1122686.8219 | 2568612.1416 | 1122680.3415 | 2568608.7002 | 1122674.0229 | 2568605.5733 | 1122670.3262 | 2568600.1121 | 1122664.1182 | 2568591.0733 | 1122655.0385 | 2568585.459 | 1122650.5321 | 2568581.1566 | 1122647.6753 | 2568575.3541 | 1122645.5378 | 2568570.2478 | 1122644.2362
1 | 2568611.0408 | 1122702.9364 | 2569100.478 | 1122637.1202
2 | 2568512.5151 | 1122740.424 | 2568522.1566 | 1122729.0458 | 2568532.1822 | 1122720.3336 | 2568542.9709 | 1122713.0292 | 2568552.1623 | 1122709.9687 | 2568560.5026 | 1122707.8352 | 2568569.6725 | 1122706.5535 | 2568594.4551 | 1122706.191 | 2568596.647 | 1122705.0679 | 2568602.5883 | 1122704.281 | 2568611.0408 | 1122702.9364
3 | 2568568.003 | 1122643.664 | 2568570.2478 | 1122644.2362
4 | 2568512.5151 | 1122740.424 | 2568502.4062 | 1122734.6405 | 2568493.2456 | 1122730.3084 | 2568484.6922 | 1122725.5951 | 2568478.2833 | 1122719.5478 | 2568474.3189 | 1122713.4988 | 2568472.2846 | 1122707.8844
5 | 2568512.5151 | 1122740.424 | 2568500.5744 | 1122754.5156 | 2568477.7419 | 1122781.2149 | 2568443.2024 | 1122819.4257
6 | 2568424.5195 | 1122868.6998 | 2568414.6889 | 1122864.1195 | 2568382.0608 | 1122863.7235 | 2568374.7447 | 1122861.1272 | 2568369.6668 | 1122857.4409 | 2568367.838 | 1122854.26 | 2568367.6982 | 1122851.1369 | 2568369.9101 | 1122827.3801 | 2568361.8901 | 1122801.5243
7 | 2568302.4439 | 1122695.2011 | 2568309.2801 | 1122700.3566 | 2568323.6626 | 1122710.7753 | 2568327.6437 | 1122714.1005 | 2568343.9994 | 1122730.2339 | 2568344.886 | 1122731.6633 | 2568345.719 | 1122733.1596 | 2568346.4111 | 1122735.724 | 2568346.906 | 1122738.923 | 2568349.6926 | 1122757.1064 | 2568351.7985 | 1122768.9902 | 2568361.8901 | 1122801.5243
8 | 2568499.3498 | 1122971.8421 | 2568493.9472 | 1122953.1943 | 2568483.9369 | 1122926.3776 | 2568472.6459 | 1122908.3053 | 2568456.7276 | 1122891.6134 | 2568438.7022 | 1122877.5006 | 2568426.4154 | 1122869.5831 | 2568424.5195 | 1122868.6998
9 | 2568302.4439 | 1122695.2011 | 2568305.4326 | 1122694.574 | 2568308.6336 | 1122693.2565 | 2568310.6864 | 1122692.0784 | 2568317.1115 | 1122687.9649
10 | 2568302.4439 | 1122695.2011 | 2568287.2096 | 1122698.794
11 | 2568499.3498 | 1122971.8421 | 2568508.5067 | 1122965.191 | 2568523.4057 | 1122956.5645 | 2568525.8101 | 1122954.8178 | 2568528.6547 | 1122951.7014 | 2568530.4379 | 1122949.113 | 2568531.5734 | 1122946.5502 | 2568532.2533 | 1122943.8342 | 2568532.4452 | 1122940.7205 | 2568532.1589 | 1122937.576 | 2568531.2462 | 1122934.079 | 2568529.2319 | 1122929.3205 | 2568526.684 | 1122924.2645 | 2568516.1492 | 1122909.2231 | 2568512.8792 | 1122903.226 | 2568511.4875 | 1122899.5648 | 2568510.8589 | 1122895.844 | 2568510.8455 | 1122893.2824
12 | 2568317.1115 | 1122687.9649 | 2568320.4778 | 1122691.6824
13 | 2568317.1115 | 1122687.9649 | 2568310.6478 | 1122680.3283 | 2568302.869 | 1122670.4531 | 2568278.4679 | 1122630.4612 | 2568268.5117 | 1122612.738 | 2568264.8866 | 1122606.7541 | 2568261.2021 | 1122601.1929 | 2568256.8151 | 1122595.502 | 2568252.3766 | 1122590.2671 | 2568250.4553 | 1122588.193
14 | 2568287.2096 | 1122698.794 | 2568264.6677 | 1122704.3931 | 2568257.1395 | 1122705.4999 | 2568249.2927 | 1122704.6852 | 2568243.7775 | 1122701.446 | 2568238.1603 | 1122696.4286 | 2568231.9537 | 1122687.8569 | 2568226.8325 | 1122678.9239 | 2568224.1043 | 1122670.4451 | 2568223.6374 | 1122668.1797 | 2568223.1108 | 1122666.3038 | 2568222.1183 | 1122663.8078 | 2568220.7489 | 1122661.4805 | 2568219.1791 | 1122660.655 | 2568217.6032 | 1122660.1408 | 2568213.6388 | 1122659.9949 | 2568202.0723 | 1122656.7054
15 | 2568287.2096 | 1122698.794 | 2568284.1982 | 1122692.1732 | 2568280.9276 | 1122684.6644 | 2568277.2883 | 1122676.1249
16 | 2568517.9875 | 1122881.7441 | 2568514.1204 | 1122885.4439 | 2568512.664 | 1122887.119 | 2568511.1289 | 1122889.9507 | 2568510.8432 | 1122892.8314 | 2568510.8455 | 1122893.2824
17 | 2568338.3986 | 1122675.4246 | 2568335.2064 | 1122678.4207 | 2568320.4778 | 1122691.6824
18 | 2568320.4778 | 1122691.6824 | 2568343.0403 | 1122715.1318
19 | 2568160.1299 | 1122627.0772 | 2568161.7349 | 1122628.2304 | 2568171.1127 | 1122638.5639 | 2568181.8781 | 1122648.8345 | 2568188.9491 | 1122653.1438 | 2568199.9767 | 1122656.1094 | 2568202.0723 | 1122656.7054
20 | 2568517.9875 | 1122881.7441 | 2568510.4654 | 1122874.4094
21 | 2568338.3986 | 1122675.4246 | 2568339.5599 | 1122677.7642 | 2568344.7351 | 1122676.4475 | 2568352.9006 | 1122674.8149 | 2568360.2679 | 1122673.8869 | 2568365.6566 | 1122675.0482 | 2568369.0599 | 1122677.0202 | 2568371.3668 | 1122680.1875 | 2568372.5839 | 1122684.3499 | 2568372.0147 | 1122689.0218
22 | 2568338.3986 | 1122675.4246 | 2568349.3879 | 1122668.1745 | 2568379.5312 | 1122656.266 | 2568388.2964 | 1122649.8502 | 2568395.3494 | 1122643.3989 | 2568409.2117 | 1122629.5861 | 2568414.6955 | 1122622.3982
23 | 2568142.595 | 1122621.291 | 2568146.7617 | 1122622.8623 | 2568154.9462 | 1122623.3526 | 2568160.1299 | 1122627.0772
24 | 2568486.3466 | 1122853.3284 | 2568496.5374 | 1122861.5237 | 2568505.23 | 1122869.3045 | 2568510.4654 | 1122874.4094
25 | 2568486.3466 | 1122853.3284 | 2568456.5998 | 1122830.3056 | 2568443.2024 | 1122819.4257
26 | 2568486.3466 | 1122853.3284 | 2568500.1043 | 1122846.1085 | 2568507.2687 | 1122842.7249
27 | 2568560.2747 | 1122820.9154 | 2568553.2653 | 1122820.9519 | 2568536.8336 | 1122822.6162 | 2568530.2895 | 1122827.5639 | 2568521.1651 | 1122834.5706 | 2568513.7427 | 1122839.6674 | 2568507.2687 | 1122842.7249
28 | 2568471.4515 | 1122696.1208 | 2568471.723 | 1122702.2401 | 2568472.2846 | 1122707.8844
29 | 2568169.9192 | 1122692.1402 | 2568156.9778 | 1122669.7031
30 | 2568169.9192 | 1122692.1402 | 2568174.024 | 1122699.2568 | 2568180.8905 | 1122715.3662
31 | 2568156.9778 | 1122669.7031 | 2568155.1277 | 1122666.4956 | 2568148.7319 | 1122660.0817 | 2568141.3538 | 1122654.5734 | 2568132.842 | 1122649.0489 | 2568125.3625 | 1122643.33 | 2568122.9712 | 1122640.2855 | 2568121.0027 | 1122636.972 | 2568121.0714 | 1122632.4583 | 2568121.9902 | 1122626.9453
32 | 2568197.8738 | 1122747.2329 | 2568190.5187 | 1122737.2778 | 2568186.0275 | 1122729.3642 | 2568181.9335 | 1122717.8133 | 2568180.8905 | 1122715.3662
33 | 2568124.1582 | 1122615.3667 | 2568123.4214 | 1122618.9502 | 2568122.2543 | 1122622.8139 | 2568122.0431 | 1122626.628 | 2568121.9902 | 1122626.9453
34 | 2568197.8738 | 1122747.2329 | 2568204.3268 | 1122752.8128 | 2568209.4881 | 1122757.6658 | 2568213.6078 | 1122760.9458 | 2568219.7479 | 1122765.6936 | 2568225.4171 | 1122768.8765
35 | 2568124.1582 | 1122615.3667 | 2568133.3014 | 1122617.7863 | 2568142.595 | 1122621.291
36 | 2568124.1582 | 1122615.3667 | 2568119.8888 | 1122614.4221 | 2568107.4704 | 1122612.4312 | 2568095.9583 | 1122611.0804
37 | 2568124.1582 | 1122615.3667 | 2568125.8922 | 1122606.3975 | 2568126.2356 | 1122602.7939 | 2568125.4893 | 1122600.2076 | 2568124.1528 | 1122597.0964
38 | 2568242.2831 | 1122761.8064 | 2568239.28 | 1122761.1552 | 2568235.765 | 1122761.4294 | 2568232.2066 | 1122762.2263 | 2568229.0527 | 1122763.688 | 2568227.6185 | 1122765.1852 | 2568225.4171 | 1122768.8765
39 | 2568225.4171 | 1122768.8765 | 2568240.3518 | 1122777.2687 | 2568242.7597 | 1122780.5688 | 2568244.1793 | 1122783.6295 | 2568248.8634 | 1122798.9126
40 | 2568056.1044 | 1122625.6095 | 2568057.1632 | 1122623.1471 | 2568059.7628 | 1122618.9312 | 2568061.9622 | 1122614.862 | 2568077.1879 | 1122611.0906 | 2568082.7068 | 1122610.6168 | 2568091.243 | 1122610.5271 | 2568095.9583 | 1122611.0804
41 | 2568124.1528 | 1122597.0964 | 2568124.0309 | 1122596.8125
42 | 2568248.8634 | 1122798.9126 | 2568243.0646 | 1122801.8557 | 2568239.8709 | 1122804.5516 | 2568238.0283 | 1122807.5517 | 2568236.0826 | 1122811.475
43 | 2568248.8634 | 1122798.9126 | 2568251.4071 | 1122807.2008
44 | 2568056.1044 | 1122625.6095 | 2568055.9245 | 1122633.8813 | 2568067.7242 | 1122653.0284 | 2568072.6196 | 1122665.8756 | 2568075.2225 | 1122671.02
45 | 2568075.2225 | 1122671.02 | 2568071.9719 | 1122676.0842 | 2568067.8018 | 1122680.7975 | 2568065.476 | 1122684.2782 | 2568064.362 | 1122690.8874 | 2568064.9686 | 1122696.2314 | 2568068.9877 | 1122700.8791 | 2568074.4843 | 1122703.4735
46 | 2568075.2225 | 1122671.02 | 2568083.3461 | 1122673.1448 | 2568086.6651 | 1122675.1727 | 2568088.8631 | 1122679.5966 | 2568089.9195 | 1122685.4051 | 2568089.9824 | 1122688.547
47 | 2568098.3947 | 1122561.5425 | 2568102.3919 | 1122564.9453 | 2568105.9912 | 1122571.852 | 2568110.5405 | 1122577.5975 | 2568120.0219 | 1122589.9981 | 2568123.3501 | 1122595.2276 | 2568124.0309 | 1122596.8125
48 | 2568471.4515 | 1122696.1208 | 2568471.3384 | 1122693.5711 | 2568471.0245 | 1122683.69 | 2568471.3509 | 1122679.7418 | 2568471.533 | 1122675.3777
49 | 2568098.3947 | 1122561.5425 | 2568104.4301 | 1122561.0103 | 2568117.4715 | 1122568.5119 | 2568125.2993 | 1122574.0947
50 | 2568074.4843 | 1122703.4735 | 2567944.3681 | 1122916.6417
51 | 2568125.2993 | 1122574.0947 | 2568130.3598 | 1122577.704 | 2568142.2539 | 1122581.1762 | 2568145.6472 | 1122581.5675
52 | 2568165.9927 | 1122586.79 | 2568158.8263 | 1122584.1347 | 2568151.1045 | 1122582.1967 | 2568145.6472 | 1122581.5675
53 | 2568171.7283 | 1122612.014 | 2568174.9185 | 1122607.1725 | 2568176.7681 | 1122602.5715 | 2568176.1635 | 1122596.1493 | 2568175.2057 | 1122592.9194 | 2568173.1871 | 1122590.351 | 2568170.2939 | 1122588.6209 | 2568166.9315 | 1122587.1379 | 2568165.9927 | 1122586.79
54 | 2568259.494 | 1122824.6696 | 2568253.8298 | 1122815.0946 | 2568251.4071 | 1122807.2008
55 | 2568540.8911 | 1122432.5327 | 2568544.497 | 1122424.5321 | 2568547.7979 | 1122415.7105 | 2568549.6905 | 1122408.9305 | 2568550.6752 | 1122402.5555 | 2568550.7378 | 1122398.2864 | 2568550.1162 | 1122392.9536 | 2568549.2743 | 1122386.7882 | 2568548.1008 | 1122380.6246 | 2568546.9277 | 1122371.5817 | 2568545.4908 | 1122362.229 | 2568543.5234 | 1122354.6577 | 2568541.2494 | 1122341.5518 | 2568541.2387 | 1122337.3466
56 | 2568540.8911 | 1122432.5327 | 2568534.9457 | 1122441.4682 | 2568527.379 | 1122448.589 | 2568519.2957 | 1122455.7014 | 2568509.8034 | 1122463.2324 | 2568501.4078 | 1122468.1343 | 2568492.193 | 1122471.2172 | 2568481.8643 | 1122475.1176 | 2568475.3912 | 1122478.9867 | 2568469.1323 | 1122483.9774 | 2568464.6917 | 1122488.6474 | 2568461.8689 | 1122493.0199 | 2568461.0798 | 1122496.9593 | 2568461.3046 | 1122501.6161 | 2568461.7715 | 1122512.7303 | 2568461.0041 | 1122520.8273 | 2568459.31 | 1122527.206 | 2568455.8014 | 1122534.6058 | 2568449.461 | 1122544.6551 | 2568441.5171 | 1122557.7366 | 2568436.6031 | 1122569.1902 | 2568433.5192 | 1122573.7531 | 2568427.1205 | 1122588.8608 | 2568424.9467 | 1122594.9086 | 2568417.1186 | 1122615.3598 | 2568414.6955 | 1122622.3982
57 | 2568414.6955 | 1122622.3982 | 2568419.5591 | 1122620.4718 | 2568424.2359 | 1122616.7454 | 2568425.6685 | 1122613.4696 | 2568428.1319 | 1122603.8186 | 2568430.3937 | 1122595.4136 | 2568434.6901 | 1122586.7868 | 2568442.8897 | 1122576.8834 | 2568450.6306 | 1122567.7606 | 2568461.0098 | 1122560.9491
58 | 2568486.2309 | 1122553.6898 | 2568486.2309 | 1122553.6898 | 2568482.0096 | 1122553.1115 | 2568465.7936 | 1122557.8097 | 2568461.0098 | 1122560.9491
59 | 2568486.2309 | 1122553.6898 | 2568489.6458 | 1122556.3844 | 2568491.8681 | 1122561.0751 | 2568493.6697 | 1122566.424 | 2568493.9691 | 1122572.0697 | 2568487.4762 | 1122589.8458 | 2568482.9728 | 1122603.1427 | 2568482.861 | 1122610.5968
60 | 2568482.7666 | 1122616.8937 | 2568482.861 | 1122610.5968
61 | 2568482.7666 | 1122616.8937 | 2568482.7008 | 1122621.2827
62 | 2568478.7207 | 1122635.0253 | 2568482.624 | 1122626.4117 | 2568482.7008 | 1122621.2827
63 | 2568268.3468 | 1122824.7342 | 2568265.6744 | 1122823.9034 | 2568263.4985 | 1122823.648 | 2568259.494 | 1122824.6696
64 | 2568323.3931 | 1122872.3689 | 2568312.4018 | 1122865.9456 | 2568297.1796 | 1122855.6203 | 2568281.3278 | 1122844.3535 | 2568260.8944 | 1122827.0301 | 2568259.494 | 1122824.6696
65 | 2568268.3468 | 1122824.7342 | 2568270.3859 | 1122825.3682 | 2568275.9888 | 1122829.1518
66 | 2568314.9759 | 1122853.926 | 2568321.5325 | 1122866.0755 | 2568323.3931 | 1122872.3689

## bus_geodata
| x | y | coords
0 | 2568611.0408 | 1122702.9364
1 | 2568570.2478 | 1122644.2362
2 | 2569100.478 | 1122637.1202
3 | 2568512.5151 | 1122740.424
4 | 2568361.8901 | 1122801.5243
5 | 2568424.5195 | 1122868.6998
6 | 2568302.4439 | 1122695.2011
7 | 2568499.3498 | 1122971.8421
8 | 2568317.1115 | 1122687.9649
9 | 2568287.2096 | 1122698.794
10 | 2568510.8455 | 1122893.2824
11 | 2568320.4778 | 1122691.6824
12 | 2568250.4553 | 1122588.193
13 | 2568202.0723 | 1122656.7054
14 | 2568277.2883 | 1122676.1249
15 | 2568517.9875 | 1122881.7441
16 | 2568338.3986 | 1122675.4246
17 | 2568343.0403 | 1122715.1318
18 | 2568160.1299 | 1122627.0772
19 | 2568510.4654 | 1122874.4094
20 | 2568486.3466 | 1122853.3284
21 | 2568443.2024 | 1122819.4257
22 | 2568507.2687 | 1122842.7249
23 | 2568560.2747 | 1122820.9154
24 | 2568472.2846 | 1122707.8844
25 | 2568169.9192 | 1122692.1402
26 | 2568156.9778 | 1122669.7031
27 | 2568180.8905 | 1122715.3662
28 | 2568121.9902 | 1122626.9453
29 | 2568197.8738 | 1122747.2329
30 | 2568124.1582 | 1122615.3667
31 | 2568225.4171 | 1122768.8765
32 | 2568142.595 | 1122621.291
33 | 2568095.9583 | 1122611.0804
34 | 2568124.1528 | 1122597.0964
35 | 2568242.2831 | 1122761.8064
36 | 2568248.8634 | 1122798.9126
37 | 2568056.1044 | 1122625.6095
38 | 2568075.2225 | 1122671.02
39 | 2568124.0309 | 1122596.8125
40 | 2568471.4515 | 1122696.1208
41 | 2568471.533 | 1122675.3777
42 | 2568098.3947 | 1122561.5425
43 | 2568074.4843 | 1122703.4735
44 | 2568089.9824 | 1122688.547
45 | 2567944.3681 | 1122916.6417
46 | 2568125.2993 | 1122574.0947
47 | 2568145.6472 | 1122581.5675
48 | 2568165.9927 | 1122586.79
49 | 2568236.0826 | 1122811.475
50 | 2568251.4071 | 1122807.2008
51 | 2568171.7283 | 1122612.014
52 | 2568541.2387 | 1122337.3466
53 | 2568540.8911 | 1122432.5327
54 | 2568414.6955 | 1122622.3982
55 | 2568461.0098 | 1122560.9491
56 | 2568568.003 | 1122643.664
57 | 2568372.0147 | 1122689.0218
58 | 2568486.2309 | 1122553.6898
59 | 2568482.861 | 1122610.5968
60 | 2568482.7666 | 1122616.8937
61 | 2568482.7008 | 1122621.2827
62 | 2568478.7207 | 1122635.0253
63 | 2568259.494 | 1122824.6696
64 | 2568268.3468 | 1122824.7342
65 | 2568323.3931 | 1122872.3689
66 | 2568275.9888 | 1122829.1518
67 | 2568314.9759 | 1122853.926
68 | 2568302.4439 | 1122695.2011

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1