## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5402-16_1_2_node_167 | 0.4 | n |  | TRUE
1 | bus_LV_5402-16_1_2_node_103 | 0.4 | n |  | TRUE
2 | bus_LV_5402-16_1_2_node_168 | 0.4 | n |  | TRUE
3 | bus_LV_5402-16_1_2_node_93 | 0.4 | n |  | TRUE
4 | bus_LV_5402-16_1_2_node_169 | 0.4 | n |  | TRUE
5 | bus_LV_5402-16_1_2_node_109 | 0.4 | n |  | TRUE
6 | bus_LV_5402-16_1_2_node_170 | 0.4 | n |  | TRUE
7 | bus_LV_5402-16_1_2_node_86 | 0.4 | n |  | TRUE
8 | bus_LV_5402-16_1_2_node_171 | 0.4 | n |  | TRUE
9 | bus_LV_5402-16_1_2_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_5402-16_1_2_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_5402-16_1_2_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_5402-16_1_2_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_5402-16_1_2_node_58 | 0.4 | n |  | TRUE
14 | bus_LV_5402-16_1_2_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_5402-16_1_2_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_5402-16_1_2_node_112 | 0.4 | n |  | TRUE
17 | bus_LV_5402-16_1_2_node_114 | 0.4 | n |  | TRUE
18 | bus_LV_5402-16_1_2_node_110 | 0.4 | n |  | TRUE
19 | bus_LV_5402-16_1_2_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_5402-16_1_2_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_5402-16_1_2_node_83 | 0.4 | n |  | TRUE
22 | bus_LV_5402-16_1_2_node_85 | 0.4 | n |  | TRUE
23 | bus_LV_5402-16_1_2_node_96 | 0.4 | n |  | TRUE
24 | bus_LV_5402-16_1_2_node_88 | 0.4 | n |  | TRUE
25 | bus_LV_5402-16_1_2_node_89 | 0.4 | n |  | TRUE
26 | bus_LV_5402-16_1_2_node_90 | 0.4 | n |  | TRUE
27 | bus_LV_5402-16_1_2_node_91 | 0.4 | n |  | TRUE
28 | bus_LV_5402-16_1_2_node_92 | 0.4 | n |  | TRUE
29 | bus_LV_5402-16_1_2_node_107 | 0.4 | n |  | TRUE
30 | bus_LV_5402-16_1_2_node_104 | 0.4 | n |  | TRUE
31 | bus_LV_5402-16_1_2_node_97 | 0.4 | n |  | TRUE
32 | bus_LV_5402-16_1_2_node_94 | 0.4 | n |  | TRUE
33 | bus_LV_5402-16_1_2_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_5402-16_1_2_node_98 | 0.4 | n |  | TRUE
35 | bus_LV_5402-16_1_2_node_99 | 0.4 | n |  | TRUE
36 | bus_LV_5402-16_1_2_node_100 | 0.4 | n |  | TRUE
37 | bus_LV_5402-16_1_2_node_101 | 0.4 | n |  | TRUE
38 | bus_LV_5402-16_1_2_node_102 | 0.4 | n |  | TRUE
39 | bus_LV_5402-16_1_2_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_5402-16_1_2_node_105 | 0.4 | n |  | TRUE
41 | bus_LV_5402-16_1_2_node_106 | 0.4 | n |  | TRUE
42 | bus_LV_5402-16_1_2_node_111 | 0.4 | n |  | TRUE
43 | bus_LV_5402-16_1_2_node_113 | 0.4 | n |  | TRUE
44 | bus_LV_5402-16_1_2_node_115 | 0.4 | n |  | TRUE
45 | bus_LV_5402-16_1_2_node_116 | 0.4 | n |  | TRUE
46 | bus_LV_5402-16_1_2_node_117 | 0.4 | n |  | TRUE
47 | bus_LV_5402-16_1_2_node_118 | 0.4 | n |  | TRUE
48 | bus_MV_110_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5402-16_1_2_load_167 | 0 | 0.0011239 | 0.00028168 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5402-16_1_2_load_168 | 2 | 0.0024318 | 0.00060946 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5402-16_1_2_load_169 | 4 | 0.0016384 | 0.00041062 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5402-16_1_2_load_170 | 6 | 0.0040797 | 0.0010225 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5402-16_1_2_load_171 | 8 | 0.0019353 | 0.00048502 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5402-16_1_2_load_55 | 10 | 0.011604 | 0.0029081 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5402-16_1_2_load_60 | 15 | 0.0096212 | 0.0024113 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5402-16_1_2_load_114 | 17 | 0.0062751 | 0.0015727 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5402-16_1_2_load_110 | 18 | 0.0016336 | 0.00040941 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5402-16_1_2_load_81 | 19 | 0.0012838 | 0.00032175 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5402-16_1_2_load_85 | 22 | 0.001833 | 0.0004594 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5402-16_1_2_load_88 | 24 | 0.0022013 | 0.00055171 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5402-16_1_2_load_89 | 25 | 0.0023633 | 0.0005923 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5402-16_1_2_load_91 | 27 | 0.0048781 | 0.0012226 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5402-16_1_2_load_104 | 30 | 0.0023211 | 0.00058172 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5402-16_1_2_load_97 | 31 | 0.0012328 | 0.00030896 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5402-16_1_2_load_94 | 32 | 0.00080235 | 0.00020109 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5402-16_1_2_load_95 | 33 | 0.0011376 | 0.00028512 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5402-16_1_2_load_98 | 34 | 0.0025216 | 0.00063198 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5402-16_1_2_load_99 | 35 | 0.0026768 | 0.00067086 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5402-16_1_2_load_101 | 37 | 0.0017266 | 0.00043272 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5402-16_1_2_load_108 | 39 | 0.001519 | 0.00038069 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5402-16_1_2_load_105 | 40 | 0.003893 | 0.00097567 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5402-16_1_2_load_106 | 41 | 0.0011603 | 0.0002908 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5402-16_1_2_load_111 | 42 | 0.00073399 | 0.00018395 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5402-16_1_2_load_113 | 43 | 0.0012157 | 0.00030468 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5402-16_1_2_load_115 | 44 | 0.003918 | 0.00098195 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5402-16_1_2_load_116 | 45 | 0.0017198 | 0.00043103 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5402-16_1_2_load_117 | 46 | 0.048109 | 0.012057 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5402-16_1_2_load_118 | 47 | 0.0072265 | 0.0018111 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5402-16_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.12638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5402-16_1_2_line_1 | NAYY 4x150 SE | 1 | 29 | 0.003699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5402-16_1_2_line_2 | NAYY 4x150 SE | 1 | 36 | 0.071735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5402-16_1_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.030784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5402-16_1_2_line_4 | NAYY 4x150 SE | 3 | 16 | 0.017397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5402-16_1_2_line_5 | NAYY 4x150 SE | 3 | 28 | 0.051083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5402-16_1_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.025299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5402-16_1_2_line_7 | NAYY 4x150 SE | 5 | 14 | 0.032757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5402-16_1_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.03596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5402-16_1_2_line_9 | NAYY 4x150 SE | 7 | 21 | 0.024008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5402-16_1_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.026452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5402-16_1_2_line_11 | NAYY 4x150 SE | 9 | 23 | 0.081489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5402-16_1_2_line_12 | NAYY 4x150 SE | 9 | 20 | 0.013472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5402-16_1_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.16699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5402-16_1_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.042531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5402-16_1_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.046389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5402-16_1_2_line_16 | NAYY 4x150 SE | 11 | 14 | 0.046482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5402-16_1_2_line_17 | NAYY 4x150 SE | 12 | 15 | 0.061184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5402-16_1_2_line_18 | NAYY 4x150 SE | 13 | 16 | 0.064242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5402-16_1_2_line_19 | NAYY 4x150 SE | 13 | 17 | 0.16787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5402-16_1_2_line_20 | NAYY 4x150 SE | 14 | 18 | 0.019022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5402-16_1_2_line_21 | NAYY 4x150 SE | 16 | 42 | 0.034821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5402-16_1_2_line_22 | NAYY 4x150 SE | 17 | 44 | 0.092176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5402-16_1_2_line_23 | NAYY 4x150 SE | 19 | 20 | 0.042887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5402-16_1_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.015505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5402-16_1_2_line_25 | NAYY 4x150 SE | 20 | 22 | 0.017909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5402-16_1_2_line_26 | NAYY 4x150 SE | 23 | 31 | 0.068095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5402-16_1_2_line_27 | NAYY 4x150 SE | 23 | 32 | 0.035954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5402-16_1_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.018005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5402-16_1_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.029489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5402-16_1_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.033276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5402-16_1_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.059001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5402-16_1_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.022125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5402-16_1_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.032446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5402-16_1_2_line_34 | NAYY 4x150 SE | 28 | 31 | 0.028039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5402-16_1_2_line_35 | NAYY 4x150 SE | 29 | 40 | 0.10306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5402-16_1_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.066326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5402-16_1_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.030213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5402-16_1_2_line_38 | NAYY 4x150 SE | 34 | 36 | 0.02424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5402-16_1_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.019896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5402-16_1_2_line_40 | NAYY 4x150 SE | 36 | 38 | 0.030111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5402-16_1_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.023291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5402-16_1_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.027237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5402-16_1_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.013482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5402-16_1_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.00067854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5402-16_1_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.00074501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5402-16_1_2_line_46 | NAYY 4x150 SE | 46 | 47 | 0.020266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5402-16_1_2_trafo_114 | 0.25 MVA 20/0.4 kV | 48 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2567728.3444 | 1122579.897 | 2567727.7623 | 1122593.6181 | 2567724.4387 | 1122603.7076 | 2567721.6335 | 1122612.6938 | 2567717.6849 | 1122622.731 | 2567711.5199 | 1122632.1576 | 2567707.5582 | 1122636.859 | 2567702.2889 | 1122640.7336 | 2567695.9558 | 1122643.2465 | 2567686.911 | 1122643.395 | 2567679.783 | 1122641.4766 | 2567674.3689 | 1122637.0367 | 2567668.751 | 1122630.5414 | 2567659.9801 | 1122622.8178 | 2567652.9944 | 1122620.0983
1 | 2567653.2059 | 1122616.4064 | 2567652.9944 | 1122620.0983
2 | 2567625.8417 | 1122686.1215 | 2567631.9367 | 1122676.6063 | 2567632.9154 | 1122675.0558 | 2567634.0294 | 1122672.8376 | 2567640.2308 | 1122658.7306 | 2567644.7413 | 1122647.1006 | 2567647.4628 | 1122638.3482 | 2567649.6453 | 1122631.1774 | 2567652.9944 | 1122620.0983
3 | 2567567.0638 | 1122532.4043 | 2567567.5901 | 1122541.3615 | 2567568.0888 | 1122549.4852 | 2567568.9149 | 1122558.274 | 2567569.4112 | 1122563.0849
4 | 2567567.0638 | 1122532.4043 | 2567560.516 | 1122532.2839 | 2567549.8077 | 1122534.3091
5 | 2567567.0638 | 1122532.4043 | 2567572.5903 | 1122533.3306 | 2567587.9153 | 1122536.5611 | 2567602.3958 | 1122541.9527 | 2567604.4479 | 1122527.7345
6 | 2567512.471 | 1122656.5603 | 2567505.6355 | 1122654.5517 | 2567494.8457 | 1122652.8534 | 2567487.5767 | 1122651.9587
7 | 2567467.3915 | 1122626.866 | 2567474.9772 | 1122637.864 | 2567479.3182 | 1122644.8997 | 2567482.922 | 1122649.6605 | 2567487.5767 | 1122651.9587
8 | 2567695.0711 | 1122385.8886 | 2567702.0846 | 1122389.4084 | 2567722.0263 | 1122397.8615 | 2567726.5398 | 1122402.5842
9 | 2567726.5398 | 1122402.5842 | 2567723.4721 | 1122404.3237 | 2567719.1481 | 1122407.6374 | 2567711.4398 | 1122414.0596 | 2567707.4462 | 1122417.1381
10 | 2567639.8009 | 1122431.9634 | 2567639.6647 | 1122432.4533 | 2567639.0074 | 1122434.9803 | 2567638.808 | 1122436.6266 | 2567639.0746 | 1122438.893 | 2567639.4994 | 1122440.4471 | 2567640.0783 | 1122441.9892 | 2567640.4923 | 1122442.9652 | 2567641.1235 | 1122444.1958 | 2567642.112 | 1122445.8913 | 2567642.3269 | 1122447.1241 | 2567642.8513 | 1122448.5665 | 2567643.43 | 1122450.0642 | 2567643.3845 | 1122451.6541 | 2567642.5118 | 1122452.8483 | 2567640.2992 | 1122454.4053 | 2567638.9073 | 1122455.1354
11 | 2567588.5265 | 1122437.9082 | 2567594.3806 | 1122415.0986 | 2567595.3592 | 1122412.0807 | 2567596.3207 | 1122410.1746 | 2567598.2921 | 1122408.2186 | 2567601.0729 | 1122407.6367 | 2567603.2026 | 1122407.8699 | 2567605.3886 | 1122408.5362 | 2567608.0627 | 1122411.0565 | 2567609.7153 | 1122412.9152 | 2567614.7598 | 1122418.8356 | 2567619.3695 | 1122422.7906 | 2567623.8908 | 1122426.0791 | 2567632.5232 | 1122429.4901 | 2567636.7428 | 1122431.1683 | 2567639.8009 | 1122431.9634
12 | 2567639.8009 | 1122431.9634 | 2567640.9516 | 1122432.2685 | 2567648.2362 | 1122434.5862 | 2567652.7389 | 1122435.8404
13 | 2567452.1669 | 1122586.4723 | 2567447.9716 | 1122585.0053 | 2567438.9258 | 1122582.1081 | 2567435.9991 | 1122581.3791 | 2567432.8514 | 1122579.6842 | 2567431.0188 | 1122577.3373 | 2567429.3529 | 1122574.4448 | 2567427.454 | 1122568.3854 | 2567425.4002 | 1122563.6385 | 2567421.6082 | 1122558.323 | 2567415.361 | 1122553.8878 | 2567401.0496 | 1122548.429 | 2567385.8336 | 1122542.5305 | 2567379.0456 | 1122539.3656 | 2567372.2879 | 1122536.0782 | 2567360.8128 | 1122527.4915 | 2567353.3628 | 1122520.2615 | 2567349.1137 | 1122514.5705 | 2567344.6167 | 1122505.8238 | 2567340.2382 | 1122500.4448 | 2567334.5015 | 1122494.8841 | 2567328.1008 | 1122492.0285 | 2567324.0232 | 1122491.0115
14 | 2567283.7937 | 1122494.2474 | 2567291.5754 | 1122494.3497 | 2567295.6334 | 1122493.2271 | 2567298.7946 | 1122491.7092 | 2567305.1252 | 1122487.3172 | 2567307.0687 | 1122487.3289 | 2567310.2171 | 1122487.712 | 2567313.9605 | 1122488.3032 | 2567319.7686 | 1122489.9503 | 2567324.0232 | 1122491.0115
15 | 2567452.1669 | 1122586.4723 | 2567465.7219 | 1122577.528 | 2567483.2059 | 1122567.8623 | 2567492.2095 | 1122562.9224
16 | 2567452.1669 | 1122586.4723 | 2567449.0225 | 1122588.2568 | 2567454.3153 | 1122601.6016 | 2567462.5392 | 1122619.3995 | 2567467.3915 | 1122626.866
17 | 2567283.7937 | 1122494.2474 | 2567286.3648 | 1122487.7079 | 2567288.0947 | 1122483.8966 | 2567291.7129 | 1122475.6173 | 2567300.5289 | 1122444.5984 | 2567301.8281 | 1122436.7318 | 2567301.8685 | 1122436.0171
18 | 2567549.8077 | 1122534.3091 | 2567546.1823 | 1122535.5626 | 2567535.1485 | 1122540.1465 | 2567514.1558 | 1122551.2873 | 2567501.4285 | 1122557.8591 | 2567492.2095 | 1122562.9224
19 | 2567492.2095 | 1122562.9224 | 2567494.5692 | 1122555.7505 | 2567495.9763 | 1122554.9759 | 2567507.4683 | 1122549.5668 | 2567512.5721 | 1122545.0482 | 2567514.7501 | 1122542.802 | 2567516.1558 | 1122540.3376 | 2567516.3477 | 1122538.7358 | 2567515.8628 | 1122537.4711 | 2567513.0546 | 1122537.2639 | 2567509.8967 | 1122537.9813 | 2567502.2858 | 1122540.9237 | 2567496.8681 | 1122541.5977 | 2567490.9357 | 1122541.185 | 2567482.2207 | 1122538.1749 | 2567478.6166 | 1122536.2266 | 2567474.7383 | 1122533.4795 | 2567469.5409 | 1122527.8046 | 2567464.8754 | 1122520.6595 | 2567459.8974 | 1122509.9143 | 2567457.438 | 1122500.0337 | 2567459.8426 | 1122491.183 | 2567464.7959 | 1122484.4751 | 2567472.1986 | 1122474.3746 | 2567481.5565 | 1122465.0306 | 2567485.5845 | 1122461.9663
20 | 2567467.3915 | 1122626.866 | 2567474.6331 | 1122626.9604 | 2567482.493 | 1122625.873 | 2567486.2974 | 1122625.3134
21 | 2567549.8077 | 1122534.3091 | 2567547.692 | 1122540.9572 | 2567541.7789 | 1122547.0143 | 2567536.5245 | 1122552.234 | 2567533.1442 | 1122560.3452 | 2567532.148 | 1122563.3714
22 | 2567485.5845 | 1122461.9663 | 2567490.696 | 1122458.0778 | 2567495.8762 | 1122454.8261 | 2567500.9247 | 1122450.0298 | 2567511.3111 | 1122441.2028 | 2567529.0685 | 1122439.2618 | 2567533.4041 | 1122439.5609 | 2567536.8392 | 1122438.7531 | 2567537.4909 | 1122438.0492 | 2567537.9241 | 1122436.8685 | 2567537.5238 | 1122435.5589 | 2567535.459 | 1122434.4806 | 2567531.0676 | 1122432.4143 | 2567522.8974 | 1122428.912 | 2567517.8886 | 1122426.7601 | 2567515.34 | 1122424.6394 | 2567512.9164 | 1122422.8182 | 2567511.8133 | 1122421.3345 | 2567511.8133 | 1122421.3345
23 | 2567652.7389 | 1122435.8404 | 2567660.4569 | 1122435.5656 | 2567663.2387 | 1122435.1727 | 2567666.6959 | 1122434.1648 | 2567678.6133 | 1122430.3546 | 2567687.0512 | 1122426.274 | 2567693.4653 | 1122423.8165
24 | 2567707.4462 | 1122417.1381 | 2567705.2855 | 1122418.328 | 2567695.5553 | 1122423.0158 | 2567693.4653 | 1122423.8165
25 | 2567657.1042 | 1122453.1924 | 2567656.3525 | 1122451.0621 | 2567654.6837 | 1122444.7456 | 2567652.7389 | 1122435.8404
26 | 2567588.5265 | 1122437.9082 | 2567586.3968 | 1122444.8453 | 2567584.4425 | 1122451.4147 | 2567584.052 | 1122453.3733 | 2567583.7894 | 1122456.165 | 2567584.1765 | 1122459.3312 | 2567584.7079 | 1122462.0631 | 2567586.013 | 1122465.2688 | 2567589.0459 | 1122471.4222 | 2567592.4716 | 1122477.4847 | 2567598.2087 | 1122484.5797 | 2567601.8456 | 1122491.2079 | 2567604.3543 | 1122497.3976 | 2567604.9575 | 1122499.8877
27 | 2567588.5265 | 1122437.9082 | 2567593.3619 | 1122445.1081 | 2567598.8497 | 1122453.1604 | 2567610.8492 | 1122463.2233 | 2567612.3352 | 1122464.3679
28 | 2567600.4579 | 1122613.3716 | 2567596.2641 | 1122630.881
29 | 2567609.2528 | 1122585.2932 | 2567603.792 | 1122599.4519 | 2567600.4579 | 1122613.3716
30 | 2567609.2528 | 1122585.2932 | 2567610.2183 | 1122587.0222 | 2567611.9299 | 1122589.8256 | 2567615.3913 | 1122595.3653 | 2567618.571 | 1122598.7166 | 2567622.7365 | 1122601.818 | 2567633.3717 | 1122606.6135
31 | 2567604.4479 | 1122527.7345 | 2567602.3958 | 1122541.9527 | 2567601.828 | 1122548.2255 | 2567601.9057 | 1122556.9517 | 2567602.2426 | 1122565.1207 | 2567604.229 | 1122571.7022 | 2567606.1104 | 1122578.8402 | 2567608.3645 | 1122583.586 | 2567609.2528 | 1122585.2932
32 | 2567653.2059 | 1122616.4064 | 2567639.1091 | 1122609.2006 | 2567633.3717 | 1122606.6135
33 | 2567604.4479 | 1122527.7345 | 2567612.374 | 1122531.7829 | 2567618.0436 | 1122536.377 | 2567624.0113 | 1122544.7937 | 2567628.3212 | 1122548.9393
34 | 2567604.4479 | 1122527.7345 | 2567605.3176 | 1122520.2483 | 2567606.0548 | 1122511.0397 | 2567605.8764 | 1122503.6814 | 2567604.9575 | 1122499.8877
35 | 2567653.2059 | 1122616.4064 | 2567654.9025 | 1122610.6611 | 2567666.6608 | 1122584.4405 | 2567677.8006 | 1122572.297 | 2567686.5672 | 1122561.9448 | 2567692.8006 | 1122556.631 | 2567710.0643 | 1122544.6215 | 2567717.8253 | 1122539.9309
36 | 2567612.3352 | 1122464.3679 | 2567621.0399 | 1122471.0726 | 2567651.6185 | 1122491.5189 | 2567666.9035 | 1122502.0367
37 | 2567602.4109 | 1122680.1881 | 2567574.1095 | 1122669.6132
38 | 2567625.8417 | 1122686.1215 | 2567617.8543 | 1122684.986 | 2567602.9697 | 1122680.3969 | 2567602.4109 | 1122680.1881
39 | 2567564.4835 | 1122654.8797 | 2567571.138 | 1122657.6565 | 2567572.6193 | 1122659.216 | 2567573.2633 | 1122661.3914 | 2567573.6692 | 1122665.1689 | 2567574.1095 | 1122669.6132 | 2567574.1095 | 1122669.6132
40 | 2567625.8417 | 1122686.1215 | 2567623.7769 | 1122689.3342 | 2567614.8113 | 1122701.355 | 2567611.1768 | 1122703.7758 | 2567607.2405 | 1122705.9869 | 2567604.9237 | 1122706.7997
41 | 2567604.9237 | 1122706.7997 | 2567600.8455 | 1122704.1314 | 2567599.0168 | 1122703.93 | 2567595.8783 | 1122703.9468 | 2567592.9167 | 1122703.8738 | 2567587.0569 | 1122702.5935 | 2567583.487 | 1122701.2565 | 2567582.8739 | 1122700.9952
42 | 2567740.7982 | 1122525.3204 | 2567738.5648 | 1122527.0157 | 2567725.653 | 1122535.2 | 2567717.8253 | 1122539.9309
43 | 2567528.341 | 1122576.3013 | 2567530.6403 | 1122567.9514 | 2567532.148 | 1122563.3714
44 | 2567511.9838 | 1122420.6778 | 2567511.8133 | 1122421.3345
45 | 2567512.171 | 1122419.9567 | 2567511.9838 | 1122420.6778
46 | 2567513.3023 | 1122401.4054 | 2567514.1773 | 1122403.5017 | 2567516.1278 | 1122407.6822 | 2567516.2404 | 1122412.8398 | 2567514.7681 | 1122415.8159 | 2567512.244 | 1122419.6758 | 2567512.171 | 1122419.9567

## bus_geodata
| x | y | coords
0 | 2567728.3444 | 1122579.897
1 | 2567652.9944 | 1122620.0983
2 | 2567569.4112 | 1122563.0849
3 | 2567567.0638 | 1122532.4043
4 | 2567512.471 | 1122656.5603
5 | 2567487.5767 | 1122651.9587
6 | 2567695.0711 | 1122385.8886
7 | 2567726.5398 | 1122402.5842
8 | 2567638.9073 | 1122455.1354
9 | 2567639.8009 | 1122431.9634
10 | 2567324.0232 | 1122491.0115
11 | 2567452.1669 | 1122586.4723
12 | 2567283.7937 | 1122494.2474
13 | 2567492.2095 | 1122562.9224
14 | 2567467.3915 | 1122626.866
15 | 2567301.8685 | 1122436.0171
16 | 2567549.8077 | 1122534.3091
17 | 2567485.5845 | 1122461.9663
18 | 2567486.2974 | 1122625.3134
19 | 2567693.4653 | 1122423.8165
20 | 2567652.7389 | 1122435.8404
21 | 2567707.4462 | 1122417.1381
22 | 2567657.1042 | 1122453.1924
23 | 2567588.5265 | 1122437.9082
24 | 2567600.4579 | 1122613.3716
25 | 2567596.2641 | 1122630.881
26 | 2567609.2528 | 1122585.2932
27 | 2567633.3717 | 1122606.6135
28 | 2567604.4479 | 1122527.7345
29 | 2567653.2059 | 1122616.4064
30 | 2567628.3212 | 1122548.9393
31 | 2567604.9575 | 1122499.8877
32 | 2567612.3352 | 1122464.3679
33 | 2567666.9035 | 1122502.0367
34 | 2567602.4109 | 1122680.1881
35 | 2567574.1095 | 1122669.6132
36 | 2567625.8417 | 1122686.1215
37 | 2567564.4835 | 1122654.8797
38 | 2567604.9237 | 1122706.7997
39 | 2567582.8739 | 1122700.9952
40 | 2567717.8253 | 1122539.9309
41 | 2567740.7982 | 1122525.3204
42 | 2567532.148 | 1122563.3714
43 | 2567528.341 | 1122576.3013
44 | 2567511.8133 | 1122421.3345
45 | 2567511.9838 | 1122420.6778
46 | 2567512.171 | 1122419.9567
47 | 2567513.3023 | 1122401.4054
48 | 2567513.3023 | 1122401.4054

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1