## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5402-21_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5402-21_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5402-21_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5402-21_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5402-21_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5402-21_0_3_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_5402-21_0_3_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_5402-21_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5402-21_0_3_node_100 | 0.4 | n |  | TRUE
9 | bus_LV_5402-21_0_3_node_101 | 0.4 | n |  | TRUE
10 | bus_LV_5402-21_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5402-21_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5402-21_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_5402-21_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5402-21_0_3_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_5402-21_0_3_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_5402-21_0_3_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_5402-21_0_3_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_5402-21_0_3_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_5402-21_0_3_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_5402-21_0_3_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_5402-21_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_5402-21_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_5402-21_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5402-21_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_5402-21_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_5402-21_0_3_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_5402-21_0_3_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_5402-21_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5402-21_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5402-21_0_3_node_99 | 0.4 | n |  | TRUE
31 | bus_LV_5402-21_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_5402-21_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_5402-21_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5402-21_0_3_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_5402-21_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_5402-21_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_5402-21_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5402-21_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_5402-21_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_5402-21_0_3_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_5402-21_0_3_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_5402-21_0_3_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_5402-21_0_3_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_5402-21_0_3_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_5402-21_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_5402-21_0_3_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_5402-21_0_3_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_5402-21_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_5402-21_0_3_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_5402-21_0_3_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_5402-21_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_5402-21_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_5402-21_0_3_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_5402-21_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_5402-21_0_3_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_5402-21_0_3_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_5402-21_0_3_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_5402-21_0_3_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_5402-21_0_3_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_5402-21_0_3_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_5402-21_0_3_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_5402-21_0_3_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_5402-21_0_3_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_5402-21_0_3_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_5402-21_0_3_node_87 | 0.4 | n |  | TRUE
66 | bus_LV_5402-21_0_3_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_5402-21_0_3_node_91 | 0.4 | n |  | TRUE
68 | bus_LV_5402-21_0_3_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_5402-21_0_3_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_5402-21_0_3_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_5402-21_0_3_node_92 | 0.4 | n |  | TRUE
72 | bus_LV_5402-21_0_3_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_5402-21_0_3_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_5402-21_0_3_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_5402-21_0_3_node_47 | 0.4 | n |  | TRUE
76 | bus_LV_5402-21_0_3_node_106 | 0.4 | n |  | TRUE
77 | bus_LV_5402-21_0_3_node_89 | 0.4 | n |  | TRUE
78 | bus_LV_5402-21_0_3_node_107 | 0.4 | n |  | TRUE
79 | bus_LV_5402-21_0_3_node_105 | 0.4 | n |  | TRUE
80 | bus_LV_5402-21_0_3_node_103 | 0.4 | n |  | TRUE
81 | bus_LV_5402-21_0_3_node_102 | 0.4 | n |  | TRUE
82 | bus_LV_5402-21_0_3_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_5402-21_0_3_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_5402-21_0_3_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_5402-21_0_3_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_5402-21_0_3_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_5402-21_0_3_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_5402-21_0_3_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_5402-21_0_3_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_5402-21_0_3_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_5402-21_0_3_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_5402-21_0_3_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_5402-21_0_3_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_5402-21_0_3_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_5402-21_0_3_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_5402-21_0_3_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_5402-21_0_3_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_5402-21_0_3_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_5402-21_0_3_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_5402-21_0_3_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_5402-21_0_3_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_5402-21_0_3_node_104 | 0.4 | n |  | TRUE
103 | bus_MV_110_0_node_263 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5402-21_0_3_load_0 | 0 | 0.0019015 | 0.00047657 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5402-21_0_3_load_1 | 1 | 0.0011988 | 0.00030045 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5402-21_0_3_load_2 | 2 | 0.0031901 | 0.00079952 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5402-21_0_3_load_4 | 4 | 0.0021273 | 0.00053315 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5402-21_0_3_load_49 | 6 | 0.0022313 | 0.00055922 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5402-21_0_3_load_100 | 8 | 0.0022227 | 0.00055707 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5402-21_0_3_load_17 | 12 | 0.0073294 | 0.0018369 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5402-21_0_3_load_75 | 14 | 0.006402 | 0.0016045 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5402-21_0_3_load_74 | 16 | 0.0035865 | 0.00089887 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5402-21_0_3_load_76 | 17 | 0.0018937 | 0.00047461 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5402-21_0_3_load_63 | 18 | 0.001354 | 0.00033934 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5402-21_0_3_load_60 | 19 | 0.0038763 | 0.00097149 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5402-21_0_3_load_73 | 20 | 0.00064214 | 0.00016094 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5402-21_0_3_load_9 | 21 | 0.0025423 | 0.00063715 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5402-21_0_3_load_10 | 22 | 0.0029033 | 0.00072764 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5402-21_0_3_load_12 | 24 | 0.0039721 | 0.00099549 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5402-21_0_3_load_57 | 26 | 0.00037393 | 9.3715e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5402-21_0_3_load_62 | 27 | 0.00037086 | 9.2946e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5402-21_0_3_load_21 | 28 | 0.00097624 | 0.00024467 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5402-21_0_3_load_99 | 30 | 0.00049897 | 0.00012505 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5402-21_0_3_load_19 | 33 | 0.001633 | 0.00040926 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5402-21_0_3_load_72 | 34 | 0.001313 | 0.00032907 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5402-21_0_3_load_50 | 41 | 0.0042459 | 0.0010641 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5402-21_0_3_load_55 | 43 | 0.0018956 | 0.00047507 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5402-21_0_3_load_43 | 44 | 0.0002697 | 6.7594e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5402-21_0_3_load_41 | 45 | 0.00042407 | 0.00010628 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5402-21_0_3_load_84 | 46 | 0.0022196 | 0.00055629 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5402-21_0_3_load_68 | 47 | 0.0027441 | 0.00068773 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5402-21_0_3_load_51 | 48 | 0.0020235 | 0.00050715 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5402-21_0_3_load_53 | 49 | 0.0016009 | 0.00040121 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5402-21_0_3_load_56 | 50 | 0.0030267 | 0.00075857 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5402-21_0_3_load_38 | 51 | 0.0012406 | 0.00031092 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5402-21_0_3_load_39 | 52 | 0.00026971 | 6.7595e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5402-21_0_3_load_71 | 53 | 0.00096198 | 0.00024109 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5402-21_0_3_load_40 | 54 | 0.0002697 | 6.7594e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5402-21_0_3_load_27 | 55 | 0.0030292 | 0.00075919 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5402-21_0_3_load_29 | 56 | 0.0024455 | 0.00061291 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5402-21_0_3_load_31 | 57 | 0.0020746 | 0.00051993 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5402-21_0_3_load_32 | 58 | 0.0028876 | 0.0007237 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5402-21_0_3_load_33 | 59 | 0.002383 | 0.00059723 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5402-21_0_3_load_34 | 60 | 0.0040839 | 0.0010235 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5402-21_0_3_load_87 | 65 | 0.0012989 | 0.00032552 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5402-21_0_3_load_91 | 67 | 0.0012988 | 0.0003255 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5402-21_0_3_load_85 | 68 | 0.0029138 | 0.00073028 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5402-21_0_3_load_77 | 70 | 0.0022205 | 0.00055651 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5402-21_0_3_load_92 | 71 | 0.0012988 | 0.0003255 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5402-21_0_3_load_44 | 72 | 0.0072637 | 0.0018205 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5402-21_0_3_load_45 | 73 | 0.0012987 | 0.0003255 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5402-21_0_3_load_46 | 74 | 0.0014412 | 0.00036119 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5402-21_0_3_load_47 | 75 | 0.0012981 | 0.00032532 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5402-21_0_3_load_107 | 78 | 0.0082168 | 0.0020593 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5402-21_0_3_load_103 | 80 | 0.0036436 | 0.00091318 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5402-21_0_3_load_102 | 81 | 0.0038166 | 0.00095652 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5402-21_0_3_load_66 | 82 | 0.0027441 | 0.00068774 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5402-21_0_3_load_58 | 83 | 0.00072712 | 0.00018223 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5402-21_0_3_load_59 | 84 | 0.00072193 | 0.00018093 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5402-21_0_3_load_64 | 85 | 0.0025426 | 0.00063724 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5402-21_0_3_load_65 | 86 | 0.0024874 | 0.00062339 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5402-21_0_3_load_67 | 87 | 0.0029059 | 0.00072829 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5402-21_0_3_load_69 | 88 | 0.00048659 | 0.00012195 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5402-21_0_3_load_70 | 89 | 0.00048782 | 0.00012226 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5402-21_0_3_load_78 | 90 | 0.0025083 | 0.00062865 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5402-21_0_3_load_80 | 91 | 0.0025963 | 0.00065068 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5402-21_0_3_load_81 | 92 | 0.001851 | 0.00046391 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5402-21_0_3_load_82 | 93 | 0.0020549 | 0.00051502 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5402-21_0_3_load_83 | 94 | 0.0016933 | 0.00042439 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5402-21_0_3_load_90 | 95 | 0.0061693 | 0.0015462 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5402-21_0_3_load_93 | 96 | 0.0012988 | 0.0003255 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5402-21_0_3_load_94 | 97 | 0.001298 | 0.0003253 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5402-21_0_3_load_95 | 98 | 0.001298 | 0.0003253 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5402-21_0_3_load_96 | 99 | 0.0012987 | 0.0003255 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5402-21_0_3_load_97 | 100 | 0.0014412 | 0.00036119 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5402-21_0_3_load_98 | 101 | 0.0014412 | 0.00036119 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5402-21_0_3_load_104 | 102 | 0.0080251 | 0.0020113 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5402-21_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0027587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5402-21_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5402-21_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0074525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5402-21_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0059224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5402-21_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.006574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5402-21_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.024722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5402-21_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.014304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5402-21_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.011503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5402-21_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.016089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5402-21_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.024037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5402-21_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.022637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5402-21_0_3_line_11 | NAYY 4x150 SE | 9 | 80 | 0.025983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5402-21_0_3_line_12 | NAYY 4x150 SE | 9 | 81 | 0.002414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5402-21_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0042956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5402-21_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.046923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5402-21_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.033705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5402-21_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.032268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_5402-21_0_3_line_17 | NAYY 4x150 SE | 13 | 16 | 0.0072996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5402-21_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.0033839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5402-21_0_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.027491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_5402-21_0_3_line_20 | NAYY 4x150 SE | 15 | 19 | 0.015713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5402-21_0_3_line_21 | NAYY 4x150 SE | 16 | 20 | 0.024051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5402-21_0_3_line_22 | NAYY 4x150 SE | 18 | 27 | 0.014042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_5402-21_0_3_line_23 | NAYY 4x150 SE | 19 | 83 | 0.01277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5402-21_0_3_line_24 | NAYY 4x150 SE | 20 | 34 | 0.036956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5402-21_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.015231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5402-21_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.007069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5402-21_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.029394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5402-21_0_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.049923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5402-21_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.0073195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_5402-21_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.025746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_5402-21_0_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.086806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_5402-21_0_3_line_32 | NAYY 4x150 SE | 28 | 36 | 0.046956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_5402-21_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.030413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5402-21_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.056812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5402-21_0_3_line_35 | NAYY 4x150 SE | 29 | 32 | 0.039066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5402-21_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.048132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5402-21_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.019972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5402-21_0_3_line_38 | NAYY 4x150 SE | 32 | 35 | 0.010412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5402-21_0_3_line_39 | NAYY 4x150 SE | 35 | 56 | 0.035465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5402-21_0_3_line_40 | NAYY 4x150 SE | 35 | 55 | 0.029346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5402-21_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.038225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_5402-21_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.089523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5402-21_0_3_line_43 | NAYY 4x150 SE | 36 | 39 | 0.051516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5402-21_0_3_line_44 | NAYY 4x150 SE | 37 | 40 | 0.089441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_5402-21_0_3_line_45 | NAYY 4x150 SE | 37 | 41 | 0.032064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5402-21_0_3_line_46 | NAYY 4x150 SE | 38 | 42 | 0.086615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5402-21_0_3_line_47 | NAYY 4x150 SE | 38 | 43 | 0.029093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5402-21_0_3_line_48 | NAYY 4x150 SE | 39 | 44 | 0.023795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5402-21_0_3_line_49 | NAYY 4x150 SE | 39 | 45 | 0.018532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5402-21_0_3_line_50 | NAYY 4x150 SE | 40 | 46 | 0.046163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_5402-21_0_3_line_51 | NAYY 4x150 SE | 40 | 47 | 0.018674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5402-21_0_3_line_52 | NAYY 4x150 SE | 41 | 48 | 0.0095697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5402-21_0_3_line_53 | NAYY 4x150 SE | 42 | 49 | 0.049219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5402-21_0_3_line_54 | NAYY 4x150 SE | 43 | 50 | 0.016874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5402-21_0_3_line_55 | NAYY 4x150 SE | 44 | 54 | 0.019965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5402-21_0_3_line_56 | NAYY 4x150 SE | 46 | 68 | 0.010649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_5402-21_0_3_line_57 | NAYY 4x150 SE | 47 | 82 | 0.010869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5402-21_0_3_line_58 | NAYY 4x150 SE | 51 | 52 | 0.0069901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5402-21_0_3_line_59 | NAYY 4x150 SE | 51 | 53 | 0.049845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5402-21_0_3_line_60 | NAYY 4x150 SE | 52 | 54 | 0.019965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5402-21_0_3_line_61 | NAYY 4x150 SE | 57 | 58 | 0.020936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_5402-21_0_3_line_62 | NAYY 4x150 SE | 57 | 59 | 0.032088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_5402-21_0_3_line_63 | NAYY 4x150 SE | 58 | 60 | 0.023337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_5402-21_0_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.014732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_5402-21_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.008129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_5402-21_0_3_line_66 | NAYY 4x150 SE | 61 | 63 | 0.033613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5402-21_0_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.032857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_5402-21_0_3_line_68 | NAYY 4x150 SE | 62 | 65 | 0.022271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5402-21_0_3_line_69 | NAYY 4x150 SE | 63 | 66 | 0.007116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5402-21_0_3_line_70 | NAYY 4x150 SE | 63 | 67 | 0.033003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5402-21_0_3_line_71 | NAYY 4x150 SE | 64 | 68 | 0.0044249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_5402-21_0_3_line_72 | NAYY 4x150 SE | 65 | 69 | 0.0066891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5402-21_0_3_line_73 | NAYY 4x150 SE | 66 | 70 | 0.013249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5402-21_0_3_line_74 | NAYY 4x150 SE | 67 | 71 | 0.00020162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5402-21_0_3_line_75 | NAYY 4x150 SE | 69 | 95 | 0.006801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5402-21_0_3_line_76 | NAYY 4x150 SE | 69 | 77 | 0.011679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5402-21_0_3_line_77 | NAYY 4x150 SE | 70 | 90 | 0.02037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5402-21_0_3_line_78 | NAYY 4x150 SE | 71 | 96 | 0.027712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5402-21_0_3_line_79 | NAYY 4x150 SE | 72 | 73 | 0.019868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5402-21_0_3_line_80 | NAYY 4x150 SE | 72 | 74 | 0.0086191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5402-21_0_3_line_81 | NAYY 4x150 SE | 73 | 75 | 0.028394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5402-21_0_3_line_82 | NAYY 4x150 SE | 74 | 76 | 0.048512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5402-21_0_3_line_83 | NAYY 4x150 SE | 75 | 77 | 0.0095356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5402-21_0_3_line_84 | NAYY 4x150 SE | 76 | 78 | 0.009934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5402-21_0_3_line_85 | NAYY 4x150 SE | 76 | 79 | 0.045123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5402-21_0_3_line_86 | NAYY 4x150 SE | 79 | 102 | 0.0069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5402-21_0_3_line_87 | NAYY 4x150 SE | 82 | 85 | 0.021459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5402-21_0_3_line_88 | NAYY 4x150 SE | 83 | 84 | 0.030866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5402-21_0_3_line_89 | NAYY 4x150 SE | 85 | 86 | 0.0089525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5402-21_0_3_line_90 | NAYY 4x150 SE | 86 | 87 | 0.009284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5402-21_0_3_line_91 | NAYY 4x150 SE | 87 | 88 | 0.0095741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5402-21_0_3_line_92 | NAYY 4x150 SE | 88 | 89 | 0.0073152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5402-21_0_3_line_93 | NAYY 4x150 SE | 90 | 91 | 0.022631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5402-21_0_3_line_94 | NAYY 4x150 SE | 91 | 92 | 0.02226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5402-21_0_3_line_95 | NAYY 4x150 SE | 92 | 93 | 0.021964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5402-21_0_3_line_96 | NAYY 4x150 SE | 93 | 94 | 0.020833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5402-21_0_3_line_97 | NAYY 4x150 SE | 96 | 97 | 0.00019822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5402-21_0_3_line_98 | NAYY 4x150 SE | 97 | 98 | 0.028194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5402-21_0_3_line_99 | NAYY 4x150 SE | 98 | 99 | 0.00019822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5402-21_0_3_line_100 | NAYY 4x150 SE | 99 | 100 | 0.028358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5402-21_0_3_line_101 | NAYY 4x150 SE | 100 | 101 | 0.00026096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5402-21_0_3_trafo_34 | 0.25 MVA 20/0.4 kV | 103 | 60 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2566668.3479 | 1121954.2711 | 2566667.0802 | 1121956.7212
1 | 2566668.3479 | 1121954.2711 | 2566670.2027 | 1121950.6865 | 2566677.1328 | 1121934.718 | 2566680.6113 | 1121927.8799
2 | 2566663.6554 | 1121963.3401 | 2566667.0802 | 1121956.7212
3 | 2566683.3031 | 1121922.6046 | 2566682.4124 | 1121924.3392 | 2566680.6113 | 1121927.8799
4 | 2566657.6098 | 1121960.7166 | 2566663.6554 | 1121963.3401
5 | 2566660.9227 | 1121985.2218 | 2566657.0388 | 1121981.597 | 2566663.6554 | 1121963.3401
6 | 2566689.8368 | 1121909.8798 | 2566683.3031 | 1121922.6046
7 | 2566657.6098 | 1121960.7166 | 2566652.5227 | 1121971.0388
8 | 2566642.8205 | 1121954.284 | 2566657.6098 | 1121960.7166
9 | 2566689.8368 | 1121909.8798 | 2566695.722 | 1121911.3925 | 2566712.6616 | 1121917.5466
10 | 2566678.1021 | 1121900.7733 | 2566674.1428 | 1121905.8422 | 2566689.8368 | 1121909.8798
11 | 2566642.8205 | 1121954.284 | 2566636.7367 | 1121968.4692 | 2566634.2382 | 1121969.9171 | 2566629.4476 | 1121969.699 | 2566626.5691 | 1121969.3592
12 | 2566642.8205 | 1121954.284 | 2566640.6017 | 1121953.318
13 | 2566712.6616 | 1121917.5466 | 2566716.0078 | 1121918.7621 | 2566716.7026 | 1121919.0036
14 | 2566634.3364 | 1121898.425 | 2566674.1428 | 1121905.8422 | 2566678.1021 | 1121900.7733
15 | 2566678.1021 | 1121900.7733 | 2566673.7315 | 1121897.0066 | 2566666.3345 | 1121887.0869 | 2566655.7823 | 1121875.6506
16 | 2566612.1807 | 1121919.7138 | 2566615.3072 | 1121918.8516 | 2566626.2147 | 1121912.2769 | 2566631.35 | 1121906.4789 | 2566634.3364 | 1121898.425
17 | 2566634.3364 | 1121898.425 | 2566627.3024 | 1121896.4739
18 | 2566655.4398 | 1121872.2841 | 2566655.7823 | 1121875.6506
19 | 2566612.1807 | 1121919.7138 | 2566585.6737 | 1121927.0034
20 | 2566612.1807 | 1121919.7138 | 2566611.0128 | 1121924.6894 | 2566607.4054 | 1121934.6589
21 | 2566627.3024 | 1121896.4739 | 2566620.3477 | 1121894.5448 | 2566604.3485 | 1121889.3103
22 | 2566572.2924 | 1121931.2199 | 2566578.1051 | 1121929.0848 | 2566585.6737 | 1121927.0034
23 | 2566603.0603 | 1121946.6672 | 2566607.4054 | 1121934.6589
24 | 2566569.747 | 1121876.3577 | 2566572.6986 | 1121877.5555 | 2566596.4575 | 1121886.7286 | 2566604.3485 | 1121889.3103
25 | 2566479.2133 | 1121921.0536 | 2566489.9447 | 1121922.1701 | 2566494.2624 | 1121923.2099
26 | 2566501.135 | 1121924.8649 | 2566494.2624 | 1121923.2099
27 | 2566501.135 | 1121924.8649 | 2566502.9262 | 1121905.7676 | 2566503.4645 | 1121895.5687
28 | 2566548.4859 | 1121940.9549 | 2566533.0968 | 1121934.8816 | 2566517.7118 | 1121929.5531 | 2566501.135 | 1121924.8649
29 | 2566548.4859 | 1121940.9549 | 2566542.2095 | 1121944.7208
30 | 2566548.4859 | 1121940.9549 | 2566557.6703 | 1121936.5907 | 2566572.2924 | 1121931.2199
31 | 2566475.4111 | 1121999.9672 | 2566515.0992 | 1121964.6408 | 2566537.0786 | 1121947.7993 | 2566542.2095 | 1121944.7208
32 | 2566443.4526 | 1122034.196 | 2566450.3208 | 1122025.2533 | 2566463.1819 | 1122010.8523 | 2566475.4111 | 1121999.9672
33 | 2566512.5119 | 1121823.6286 | 2566513.2015 | 1121824.214 | 2566513.9777 | 1121834.8261 | 2566515.1542 | 1121853.6513
34 | 2566470.3155 | 1121819.2829 | 2566474.3342 | 1121822.1398 | 2566479.9607 | 1121827.0332 | 2566488.7348 | 1121836.2447 | 2566500.7244 | 1121845.3605 | 2566508.3919 | 1121849.7646 | 2566515.1542 | 1121853.6513
35 | 2566515.1542 | 1121853.6513 | 2566526.3966 | 1121858.7582 | 2566551.2405 | 1121868.8478
36 | 2566470.3155 | 1121819.2829 | 2566466.6524 | 1121824.8949 | 2566463.6514 | 1121824.756 | 2566462.3109 | 1121825.0191 | 2566460.506 | 1121826.3743 | 2566460.1231 | 1121826.8655 | 2566459.4584 | 1121828.0031 | 2566458.9002 | 1121830.2518 | 2566457.5936 | 1121836.6178 | 2566458.3683 | 1121837.2361 | 2566458.0894 | 1121842.5514 | 2566456.8138 | 1121860.2384
37 | 2566551.2405 | 1121868.8478 | 2566569.747 | 1121876.3577
38 | 2566554.0789 | 1121859.1494 | 2566554.2029 | 1121860.6494 | 2566554.0345 | 1121863.663 | 2566551.2405 | 1121868.8478
39 | 2566554.0789 | 1121859.1494 | 2566554.6792 | 1121858.9237 | 2566555.9218 | 1121859.0725 | 2566565.401 | 1121861.9547 | 2566568.1982 | 1121861.5279 | 2566569.2208 | 1121859.5657 | 2566568.6761 | 1121854.5106 | 2566567.4214 | 1121841.0307
40 | 2566554.0789 | 1121859.1494 | 2566553.387 | 1121829.8119
41 | 2566459.3308 | 1122045.0465 | 2566433.0656 | 1122037.2219 | 2566443.4526 | 1122034.196
42 | 2566426.9167 | 1122097.8088 | 2566426.2782 | 1122096.7118 | 2566423.5132 | 1122095.9935 | 2566413.2865 | 1122093.1712 | 2566427.7318 | 1122036.4067 | 2566433.0656 | 1122037.2219 | 2566443.4526 | 1122034.196
43 | 2566393.4426 | 1122028.0155 | 2566427.7318 | 1122036.4067 | 2566433.0656 | 1122037.2219 | 2566443.4526 | 1122034.196
44 | 2566459.3308 | 1122045.0465 | 2566545.2794 | 1122070.6491
45 | 2566459.3308 | 1122045.0465 | 2566455.3949 | 1122057.0522 | 2566449.8507 | 1122075.6738
46 | 2566426.9167 | 1122097.8088 | 2566427.3451 | 1122098.5624 | 2566425.5044 | 1122103.1861 | 2566418.246 | 1122123.7368 | 2566413.6829 | 1122136.6576 | 2566412.495 | 1122142.167 | 2566413.7302 | 1122145.1505 | 2566415.8473 | 1122147.2509 | 2566419.2653 | 1122148.9216 | 2566430.1572 | 1122152.1071 | 2566443 | 1122155.2595 | 2566447.9039 | 1122156.4661
47 | 2566426.9167 | 1122097.8088 | 2566428.5976 | 1122097.7439 | 2566449.007 | 1122105.2008 | 2566454.4439 | 1122106.8508
48 | 2566393.4426 | 1122028.0155 | 2566398.45 | 1122004.7533
49 | 2566393.4426 | 1122028.0155 | 2566375.4403 | 1122023.6153
50 | 2566545.2794 | 1122070.6491 | 2566554.0386 | 1122073.0796 | 2566571.0964 | 1122075.5752 | 2566581.9563 | 1122077.1603 | 2566590.7904 | 1122077.8117
51 | 2566545.2794 | 1122070.6491 | 2566547.9519 | 1122058.8617 | 2566548.8794 | 1122053.665 | 2566549.1388 | 1122052.3822
52 | 2566447.12 | 1122084.8455 | 2566449.8507 | 1122075.6738
53 | 2566447.9039 | 1122156.4661 | 2566450.5045 | 1122147.058 | 2566454.895 | 1122134.972 | 2566456.916 | 1122133.6712 | 2566480.152 | 1122140.4189
54 | 2566470.5912 | 1122111.7509 | 2566454.4439 | 1122106.8508
55 | 2566402.6514 | 1121985.235 | 2566398.45 | 1122004.7533
56 | 2566601.3878 | 1122078.8604 | 2566590.7904 | 1122077.8117
57 | 2566549.1388 | 1122052.3822 | 2566551.2064 | 1122042.1575 | 2566551.3255 | 1122041.7365
58 | 2566408.3239 | 1121958.8832 | 2566406.8529 | 1121965.7168
59 | 2566408.3239 | 1121958.8832 | 2566414.1873 | 1121909.3839
60 | 2566406.8529 | 1121965.7168 | 2566402.6514 | 1121985.235
61 | 2566661.6957 | 1122038.4013 | 2566664.6055 | 1122032.0028 | 2566664.6914 | 1122029.4121 | 2566662.8546 | 1122026.3763 | 2566655.5339 | 1122023.7818
62 | 2566661.6957 | 1122038.4013 | 2566661.2909 | 1122039.2914 | 2566654.1066 | 1122058.0739 | 2566650.5358 | 1122068.4786
63 | 2566633.1576 | 1122017.1691 | 2566653.033 | 1122022.8955 | 2566655.5339 | 1122023.7818
64 | 2566646.7465 | 1122082.6936 | 2566648.8164 | 1122073.4887 | 2566650.5358 | 1122068.4786
65 | 2566638.6218 | 1122082.0271 | 2566641.299 | 1122082.2124 | 2566646.7465 | 1122082.6936
66 | 2566680.4321 | 1122082.463 | 2566658.3409 | 1122083.2299 | 2566646.7465 | 1122082.6936
67 | 2566605.7912 | 1122079.2961 | 2566612.6214 | 1122080.181 | 2566638.6218 | 1122082.0271
68 | 2566638.6218 | 1122082.0271 | 2566632.5366 | 1122103.4503
69 | 2566680.4321 | 1122082.463 | 2566687.5646 | 1122082.2124
70 | 2566680.4321 | 1122082.463 | 2566672.0773 | 1122114.3912
71 | 2566605.7912 | 1122079.2961 | 2566601.3878 | 1122078.8604
72 | 2566630.7089 | 1122109.8849 | 2566632.5366 | 1122103.4503
73 | 2566687.5646 | 1122082.2124 | 2566690.4951 | 1122071.0128 | 2566691.0279 | 1122069.4275
74 | 2566672.0263 | 1122114.5863 | 2566672.0773 | 1122114.3912
75 | 2566624.1888 | 1122107.8866 | 2566630.7089 | 1122109.8849
76 | 2566630.7089 | 1122109.8849 | 2566627.5165 | 1122121.1193
77 | 2566691.0279 | 1122069.4275 | 2566697.2253 | 1122050.9878 | 2566697.5301 | 1122050.123
78 | 2566672.0263 | 1122114.5863 | 2566665.011 | 1122141.3951
79 | 2566611.7289 | 1122176.7188 | 2566617.1559 | 1122157.6066
80 | 2566611.7289 | 1122176.7188 | 2566609.3745 | 1122185.0101
81 | 2566624.9118 | 1122130.2923 | 2566617.1559 | 1122157.6066
82 | 2566609.3745 | 1122185.0101 | 2566591.0312 | 1122229.9203
83 | 2566627.5165 | 1122121.1193 | 2566624.9118 | 1122130.2923
84 | 2566581.4607 | 1122227.1608 | 2566591.0312 | 1122229.9203
85 | 2566591.0312 | 1122229.9203 | 2566590.8764 | 1122231.2107 | 2566591.9423 | 1122232.9057 | 2566603.2265 | 1122251.2747 | 2566606.3115 | 1122248.5229 | 2566616.7294 | 1122238.5936 | 2566617.7783 | 1122237.2094
86 | 2566624.3152 | 1122239.4743 | 2566617.7783 | 1122237.2094
87 | 2566557.1667 | 1122021.0877 | 2566551.3255 | 1122041.7365
88 | 2566603.0603 | 1121946.6672 | 2566592.5582 | 1121975.6914
89 | 2566557.1667 | 1122021.0877 | 2566559.6036 | 1122012.4732
90 | 2566559.6036 | 1122012.4732 | 2566562.1307 | 1122003.5398
91 | 2566562.1307 | 1122003.5398 | 2566564.7367 | 1121994.3273
92 | 2566566.7279 | 1121987.2883 | 2566564.7367 | 1121994.3273
93 | 2566705.2059 | 1122028.8334 | 2566700.2322 | 1122042.4559 | 2566697.5301 | 1122050.123
94 | 2566705.2059 | 1122028.8334 | 2566705.7024 | 1122027.4737 | 2566712.5798 | 1122007.8301
95 | 2566719.7764 | 1121987.0784 | 2566713.7278 | 1122004.5512 | 2566712.5798 | 1122007.8301
96 | 2566726.9506 | 1121967.5209 | 2566721.5317 | 1121982.0079 | 2566719.7764 | 1121987.0784
97 | 2566664.9609 | 1122141.5869 | 2566665.011 | 1122141.3951
98 | 2566664.9609 | 1122141.5869 | 2566657.8236 | 1122168.8622
99 | 2566657.7734 | 1122169.054 | 2566657.8236 | 1122168.8622
100 | 2566657.7734 | 1122169.054 | 2566650.5944 | 1122196.4885
101 | 2566650.5284 | 1122196.741 | 2566650.5944 | 1122196.4885

## bus_geodata
| x | y | coords
0 | 2566668.3479 | 1121954.2711
1 | 2566667.0802 | 1121956.7212
2 | 2566680.6113 | 1121927.8799
3 | 2566663.6554 | 1121963.3401
4 | 2566683.3031 | 1121922.6046
5 | 2566657.6098 | 1121960.7166
6 | 2566660.9227 | 1121985.2218
7 | 2566689.8368 | 1121909.8798
8 | 2566652.5227 | 1121971.0388
9 | 2566642.8205 | 1121954.284
10 | 2566712.6616 | 1121917.5466
11 | 2566678.1021 | 1121900.7733
12 | 2566716.7026 | 1121919.0036
13 | 2566634.3364 | 1121898.425
14 | 2566655.7823 | 1121875.6506
15 | 2566612.1807 | 1121919.7138
16 | 2566627.3024 | 1121896.4739
17 | 2566655.4398 | 1121872.2841
18 | 2566585.6737 | 1121927.0034
19 | 2566607.4054 | 1121934.6589
20 | 2566604.3485 | 1121889.3103
21 | 2566479.2133 | 1121921.0536
22 | 2566494.2624 | 1121923.2099
23 | 2566501.135 | 1121924.8649
24 | 2566503.4645 | 1121895.5687
25 | 2566548.4859 | 1121940.9549
26 | 2566542.2095 | 1121944.7208
27 | 2566572.2924 | 1121931.2199
28 | 2566475.4111 | 1121999.9672
29 | 2566515.1542 | 1121853.6513
30 | 2566512.5119 | 1121823.6286
31 | 2566470.3155 | 1121819.2829
32 | 2566551.2405 | 1121868.8478
33 | 2566456.8138 | 1121860.2384
34 | 2566569.747 | 1121876.3577
35 | 2566554.0789 | 1121859.1494
36 | 2566443.4526 | 1122034.196
37 | 2566459.3308 | 1122045.0465
38 | 2566426.9167 | 1122097.8088
39 | 2566393.4426 | 1122028.0155
40 | 2566545.2794 | 1122070.6491
41 | 2566449.8507 | 1122075.6738
42 | 2566447.9039 | 1122156.4661
43 | 2566454.4439 | 1122106.8508
44 | 2566398.45 | 1122004.7533
45 | 2566375.4403 | 1122023.6153
46 | 2566590.7904 | 1122077.8117
47 | 2566549.1388 | 1122052.3822
48 | 2566447.12 | 1122084.8455
49 | 2566480.152 | 1122140.4189
50 | 2566470.5912 | 1122111.7509
51 | 2566408.3239 | 1121958.8832
52 | 2566406.8529 | 1121965.7168
53 | 2566414.1873 | 1121909.3839
54 | 2566402.6514 | 1121985.235
55 | 2566553.387 | 1121829.8119
56 | 2566567.4214 | 1121841.0307
57 | 2566661.6957 | 1122038.4013
58 | 2566655.5339 | 1122023.7818
59 | 2566650.5358 | 1122068.4787
60 | 2566633.1576 | 1122017.1691
61 | 2566646.7465 | 1122082.6936
62 | 2566638.6218 | 1122082.0271
63 | 2566680.4321 | 1122082.463
64 | 2566605.7912 | 1122079.2961
65 | 2566632.5366 | 1122103.4503
66 | 2566687.5646 | 1122082.2124
67 | 2566672.0773 | 1122114.3912
68 | 2566601.3878 | 1122078.8604
69 | 2566630.7089 | 1122109.8849
70 | 2566691.0279 | 1122069.4275
71 | 2566672.0263 | 1122114.5863
72 | 2566611.7289 | 1122176.7188
73 | 2566617.1559 | 1122157.6066
74 | 2566609.3746 | 1122185.0101
75 | 2566624.9118 | 1122130.2923
76 | 2566591.0312 | 1122229.9203
77 | 2566627.5165 | 1122121.1193
78 | 2566581.4607 | 1122227.1608
79 | 2566617.7783 | 1122237.2094
80 | 2566626.5691 | 1121969.3592
81 | 2566640.6017 | 1121953.318
82 | 2566551.3255 | 1122041.7365
83 | 2566603.0603 | 1121946.6672
84 | 2566592.5582 | 1121975.6914
85 | 2566557.1667 | 1122021.0877
86 | 2566559.6036 | 1122012.4732
87 | 2566562.1307 | 1122003.5398
88 | 2566564.7367 | 1121994.3273
89 | 2566566.7279 | 1121987.2883
90 | 2566697.5301 | 1122050.123
91 | 2566705.2059 | 1122028.8334
92 | 2566712.5798 | 1122007.8301
93 | 2566719.7764 | 1121987.0784
94 | 2566726.9506 | 1121967.5209
95 | 2566624.1888 | 1122107.8866
96 | 2566665.011 | 1122141.3952
97 | 2566664.9609 | 1122141.5869
98 | 2566657.8236 | 1122168.8622
99 | 2566657.7734 | 1122169.054
100 | 2566650.5944 | 1122196.4885
101 | 2566650.5284 | 1122196.741
102 | 2566624.3152 | 1122239.4743
103 | 2566646.7465 | 1122082.6936

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1