## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5402-25_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5402-25_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5402-25_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5402-25_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5402-25_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5402-25_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5402-25_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5402-25_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_5402-25_0_3_node_91 | 0.4 | n |  | TRUE
9 | bus_LV_5402-25_0_3_node_143 | 0.4 | n |  | TRUE
10 | bus_LV_5402-25_0_3_node_142 | 0.4 | n |  | TRUE
11 | bus_LV_5402-25_0_3_node_144 | 0.4 | n |  | TRUE
12 | bus_LV_5402-25_0_3_node_129 | 0.4 | n |  | TRUE
13 | bus_LV_5402-25_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5402-25_0_3_node_90 | 0.4 | n |  | TRUE
15 | bus_LV_5402-25_0_3_node_145 | 0.4 | n |  | TRUE
16 | bus_LV_5402-25_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5402-25_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5402-25_0_3_node_125 | 0.4 | n |  | TRUE
19 | bus_LV_5402-25_0_3_node_128 | 0.4 | n |  | TRUE
20 | bus_LV_5402-25_0_3_node_130 | 0.4 | n |  | TRUE
21 | bus_LV_5402-25_0_3_node_124 | 0.4 | n |  | TRUE
22 | bus_LV_5402-25_0_3_node_127 | 0.4 | n |  | TRUE
23 | bus_LV_5402-25_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5402-25_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_5402-25_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_5402-25_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_5402-25_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_5402-25_0_3_node_141 | 0.4 | n |  | TRUE
29 | bus_LV_5402-25_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5402-25_0_3_node_149 | 0.4 | n |  | TRUE
31 | bus_LV_5402-25_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_5402-25_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_5402-25_0_3_node_137 | 0.4 | n |  | TRUE
34 | bus_LV_5402-25_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_5402-25_0_3_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_5402-25_0_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_5402-25_0_3_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_5402-25_0_3_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_5402-25_0_3_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_5402-25_0_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_5402-25_0_3_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_5402-25_0_3_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5402-25_0_3_node_135 | 0.4 | n |  | TRUE
44 | bus_LV_5402-25_0_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_5402-25_0_3_node_121 | 0.4 | n |  | TRUE
46 | bus_LV_5402-25_0_3_node_120 | 0.4 | n |  | TRUE
47 | bus_LV_5402-25_0_3_node_147 | 0.4 | n |  | TRUE
48 | bus_LV_5402-25_0_3_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_5402-25_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_5402-25_0_3_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_5402-25_0_3_node_140 | 0.4 | n |  | TRUE
52 | bus_LV_5402-25_0_3_node_126 | 0.4 | n |  | TRUE
53 | bus_LV_5402-25_0_3_node_136 | 0.4 | n |  | TRUE
54 | bus_LV_5402-25_0_3_node_95 | 0.4 | n |  | TRUE
55 | bus_LV_5402-25_0_3_node_119 | 0.4 | n |  | TRUE
56 | bus_LV_5402-25_0_3_node_133 | 0.4 | n |  | TRUE
57 | bus_LV_5402-25_0_3_node_122 | 0.4 | n |  | TRUE
58 | bus_LV_5402-25_0_3_node_148 | 0.4 | n |  | TRUE
59 | bus_LV_5402-25_0_3_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_5402-25_0_3_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_5402-25_0_3_node_92 | 0.4 | n |  | TRUE
62 | bus_LV_5402-25_0_3_node_29 | 0.4 | n |  | TRUE
63 | bus_LV_5402-25_0_3_node_28 | 0.4 | n |  | TRUE
64 | bus_LV_5402-25_0_3_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_5402-25_0_3_node_34 | 0.4 | n |  | TRUE
66 | bus_LV_5402-25_0_3_node_98 | 0.4 | n |  | TRUE
67 | bus_LV_5402-25_0_3_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_5402-25_0_3_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_5402-25_0_3_node_37 | 0.4 | n |  | TRUE
70 | bus_LV_5402-25_0_3_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_5402-25_0_3_node_39 | 0.4 | n |  | TRUE
72 | bus_LV_5402-25_0_3_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_5402-25_0_3_node_42 | 0.4 | n |  | TRUE
74 | bus_LV_5402-25_0_3_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_5402-25_0_3_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_5402-25_0_3_node_93 | 0.4 | n |  | TRUE
77 | bus_LV_5402-25_0_3_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_5402-25_0_3_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_5402-25_0_3_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_5402-25_0_3_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_5402-25_0_3_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_5402-25_0_3_node_58 | 0.4 | n |  | TRUE
83 | bus_LV_5402-25_0_3_node_134 | 0.4 | n |  | TRUE
84 | bus_LV_5402-25_0_3_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_5402-25_0_3_node_61 | 0.4 | n |  | TRUE
86 | bus_LV_5402-25_0_3_node_59 | 0.4 | n |  | TRUE
87 | bus_LV_5402-25_0_3_node_138 | 0.4 | n |  | TRUE
88 | bus_LV_5402-25_0_3_node_96 | 0.4 | n |  | TRUE
89 | bus_LV_5402-25_0_3_node_139 | 0.4 | n |  | TRUE
90 | bus_LV_5402-25_0_3_node_123 | 0.4 | n |  | TRUE
91 | bus_LV_5402-25_0_3_node_131 | 0.4 | n |  | TRUE
92 | bus_LV_5402-25_0_3_node_132 | 0.4 | n |  | TRUE
93 | bus_LV_5402-25_0_3_node_146 | 0.4 | n |  | TRUE
94 | bus_MV_110_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5402-25_0_3_load_0 | 0 | 0.0018717 | 0.0004691 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5402-25_0_3_load_5 | 5 | 0.0023453 | 0.00058778 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5402-25_0_3_load_6 | 6 | 0.0021905 | 0.000549 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5402-25_0_3_load_91 | 8 | 0.0021747 | 0.00054503 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5402-25_0_3_load_143 | 9 | 0.0010465 | 0.00026229 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5402-25_0_3_load_142 | 10 | 0.0025794 | 0.00064647 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5402-25_0_3_load_129 | 12 | 0.0019612 | 0.00049152 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5402-25_0_3_load_90 | 14 | 0.00072395 | 0.00018144 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5402-25_0_3_load_7 | 16 | 0.0015796 | 0.00039589 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5402-25_0_3_load_128 | 19 | 0.0017821 | 0.00044663 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5402-25_0_3_load_130 | 20 | 0.0020622 | 0.00051683 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5402-25_0_3_load_124 | 21 | 0.0023919 | 0.00059946 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5402-25_0_3_load_11 | 23 | 0.00070526 | 0.00017675 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5402-25_0_3_load_14 | 26 | 0.0043968 | 0.0011019 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5402-25_0_3_load_141 | 28 | 0.0055028 | 0.0013791 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5402-25_0_3_load_149 | 30 | 0.0046713 | 0.0011707 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5402-25_0_3_load_137 | 33 | 0.0013382 | 0.00033539 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5402-25_0_3_load_52 | 35 | 0.0019159 | 0.00048017 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5402-25_0_3_load_53 | 36 | 0.00097377 | 0.00024405 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5402-25_0_3_load_50 | 37 | 0.0011515 | 0.00028859 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5402-25_0_3_load_51 | 40 | 0.0044524 | 0.0011159 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5402-25_0_3_load_135 | 43 | 0.0027404 | 0.0006868 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5402-25_0_3_load_48 | 44 | 0.0025608 | 0.0006418 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5402-25_0_3_load_121 | 45 | 0.0069396 | 0.0017392 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5402-25_0_3_load_120 | 46 | 0.0088058 | 0.0022069 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5402-25_0_3_load_147 | 47 | 0.0017468 | 0.00043779 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5402-25_0_3_load_32 | 49 | 0.0019763 | 0.00049532 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5402-25_0_3_load_97 | 50 | 0.0068072 | 0.001706 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5402-25_0_3_load_140 | 51 | 0.0008089 | 0.00020273 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5402-25_0_3_load_126 | 52 | 0.0014426 | 0.00036155 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5402-25_0_3_load_95 | 54 | 0.0013171 | 0.00033009 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5402-25_0_3_load_119 | 55 | 0.00081109 | 0.00020328 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5402-25_0_3_load_122 | 57 | 0.0036721 | 0.00092031 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5402-25_0_3_load_148 | 58 | 0.0023175 | 0.00058081 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5402-25_0_3_load_33 | 59 | 0.001889 | 0.00047343 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5402-25_0_3_load_92 | 61 | 0.003524 | 0.0008832 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5402-25_0_3_load_28 | 63 | 0.0026163 | 0.00065572 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5402-25_0_3_load_88 | 64 | 0.0020973 | 0.00052563 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5402-25_0_3_load_34 | 65 | 0.0030325 | 0.00076 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5402-25_0_3_load_98 | 66 | 0.0021408 | 0.00053655 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5402-25_0_3_load_41 | 67 | 0.0034261 | 0.00085867 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5402-25_0_3_load_37 | 69 | 0.0016094 | 0.00040334 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5402-25_0_3_load_40 | 72 | 0.0013495 | 0.00033821 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5402-25_0_3_load_42 | 73 | 0.001962 | 0.00049173 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5402-25_0_3_load_62 | 74 | 0.00075162 | 0.00018837 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5402-25_0_3_load_60 | 75 | 0.0017947 | 0.00044979 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5402-25_0_3_load_93 | 76 | 0.0007203 | 0.00018052 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5402-25_0_3_load_54 | 78 | 0.001897 | 0.00047543 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5402-25_0_3_load_55 | 79 | 0.0048808 | 0.0012232 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5402-25_0_3_load_56 | 80 | 0.002231 | 0.00055914 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5402-25_0_3_load_57 | 81 | 0.0015728 | 0.00039419 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5402-25_0_3_load_58 | 82 | 0.00082135 | 0.00020585 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5402-25_0_3_load_134 | 83 | 0.0047657 | 0.0011944 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5402-25_0_3_load_61 | 85 | 0.0032425 | 0.00081266 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5402-25_0_3_load_59 | 86 | 0.0011722 | 0.00029379 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5402-25_0_3_load_138 | 87 | 0.0023915 | 0.00059936 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5402-25_0_3_load_96 | 88 | 0.0088778 | 0.002225 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5402-25_0_3_load_139 | 89 | 0.0048693 | 0.0012204 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5402-25_0_3_load_123 | 90 | 0.0011051 | 0.00027696 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5402-25_0_3_load_131 | 91 | 0.0010253 | 0.00025696 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5402-25_0_3_load_132 | 92 | 0.0043215 | 0.0010831 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5402-25_0_3_load_146 | 93 | 0.0014736 | 0.00036933 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5402-25_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0020802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5402-25_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0088424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5402-25_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5402-25_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.008178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5402-25_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.017259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5402-25_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.035196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5402-25_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.008049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5402-25_0_3_line_7 | NAYY 4x150 SE | 3 | 8 | 0.022995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5402-25_0_3_line_8 | NAYY 4x150 SE | 4 | 9 | 0.009052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5402-25_0_3_line_9 | NAYY 4x150 SE | 4 | 10 | 0.00098309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5402-25_0_3_line_10 | NAYY 4x150 SE | 5 | 11 | 0.0077604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5402-25_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.019579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5402-25_0_3_line_12 | NAYY 4x150 SE | 7 | 13 | 0.001019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5402-25_0_3_line_13 | NAYY 4x150 SE | 8 | 14 | 0.006759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5402-25_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.002026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5402-25_0_3_line_15 | NAYY 4x150 SE | 12 | 20 | 0.0022794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5402-25_0_3_line_16 | NAYY 4x150 SE | 13 | 17 | 0.00931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5402-25_0_3_line_17 | NAYY 4x150 SE | 13 | 16 | 0.024154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5402-25_0_3_line_18 | NAYY 4x150 SE | 14 | 68 | 0.0085468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5402-25_0_3_line_19 | NAYY 4x150 SE | 15 | 93 | 0.0053081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5402-25_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.011488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5402-25_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0022658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5402-25_0_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.0078907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5402-25_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.019306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5402-25_0_3_line_24 | NAYY 4x150 SE | 20 | 91 | 0.0099429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5402-25_0_3_line_25 | NAYY 4x150 SE | 21 | 90 | 0.016287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5402-25_0_3_line_26 | NAYY 4x150 SE | 22 | 52 | 0.019261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5402-25_0_3_line_27 | NAYY 4x150 SE | 22 | 29 | 0.029017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5402-25_0_3_line_28 | NAYY 4x150 SE | 23 | 24 | 0.022877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5402-25_0_3_line_29 | NAYY 4x150 SE | 23 | 25 | 0.033853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5402-25_0_3_line_30 | NAYY 4x150 SE | 24 | 26 | 0.015948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5402-25_0_3_line_31 | NAYY 4x150 SE | 25 | 27 | 0.007786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5402-25_0_3_line_32 | NAYY 4x150 SE | 26 | 28 | 0.010627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5402-25_0_3_line_33 | NAYY 4x150 SE | 27 | 47 | 0.013174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5402-25_0_3_line_34 | NAYY 4x150 SE | 28 | 51 | 0.0062438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5402-25_0_3_line_35 | NAYY 4x150 SE | 29 | 30 | 0.027645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5402-25_0_3_line_36 | NAYY 4x150 SE | 31 | 32 | 0.040797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5402-25_0_3_line_37 | NAYY 4x150 SE | 31 | 33 | 0.0048625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5402-25_0_3_line_38 | NAYY 4x150 SE | 32 | 45 | 0.011181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5402-25_0_3_line_39 | NAYY 4x150 SE | 32 | 46 | 0.036975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5402-25_0_3_line_40 | NAYY 4x150 SE | 33 | 53 | 0.0084556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5402-25_0_3_line_41 | NAYY 4x150 SE | 34 | 35 | 0.007734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5402-25_0_3_line_42 | NAYY 4x150 SE | 34 | 36 | 0.013889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5402-25_0_3_line_43 | NAYY 4x150 SE | 34 | 37 | 0.012737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5402-25_0_3_line_44 | NAYY 4x150 SE | 35 | 54 | 0.013123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5402-25_0_3_line_45 | NAYY 4x150 SE | 36 | 55 | 0.011115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5402-25_0_3_line_46 | NAYY 4x150 SE | 37 | 40 | 0.0242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5402-25_0_3_line_47 | NAYY 4x150 SE | 38 | 39 | 0.02417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5402-25_0_3_line_48 | NAYY 4x150 SE | 38 | 40 | 0.0052838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5402-25_0_3_line_49 | NAYY 4x150 SE | 39 | 44 | 0.014947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5402-25_0_3_line_50 | NAYY 4x150 SE | 41 | 42 | 0.029581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5402-25_0_3_line_51 | NAYY 4x150 SE | 41 | 43 | 0.01367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5402-25_0_3_line_52 | NAYY 4x150 SE | 42 | 48 | 0.028077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5402-25_0_3_line_53 | NAYY 4x150 SE | 42 | 49 | 0.05477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5402-25_0_3_line_54 | NAYY 4x150 SE | 43 | 56 | 0.015711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5402-25_0_3_line_55 | NAYY 4x150 SE | 45 | 57 | 0.01175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5402-25_0_3_line_56 | NAYY 4x150 SE | 46 | 55 | 0.0098911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5402-25_0_3_line_57 | NAYY 4x150 SE | 47 | 58 | 0.0051737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5402-25_0_3_line_58 | NAYY 4x150 SE | 48 | 50 | 0.014649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5402-25_0_3_line_59 | NAYY 4x150 SE | 49 | 59 | 0.025251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5402-25_0_3_line_60 | NAYY 4x150 SE | 51 | 87 | 0.010082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5402-25_0_3_line_61 | NAYY 4x150 SE | 53 | 87 | 0.02245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5402-25_0_3_line_62 | NAYY 4x150 SE | 53 | 84 | 0.002165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5402-25_0_3_line_63 | NAYY 4x150 SE | 54 | 77 | 0.0097813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5402-25_0_3_line_64 | NAYY 4x150 SE | 56 | 83 | 0.017389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5402-25_0_3_line_65 | NAYY 4x150 SE | 56 | 92 | 0.033588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5402-25_0_3_line_66 | NAYY 4x150 SE | 59 | 65 | 0.023699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5402-25_0_3_line_67 | NAYY 4x150 SE | 60 | 61 | 0.022194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5402-25_0_3_line_68 | NAYY 4x150 SE | 60 | 62 | 0.054862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5402-25_0_3_line_69 | NAYY 4x150 SE | 61 | 68 | 0.013887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5402-25_0_3_line_70 | NAYY 4x150 SE | 62 | 63 | 0.013759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5402-25_0_3_line_71 | NAYY 4x150 SE | 64 | 65 | 0.026468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5402-25_0_3_line_72 | NAYY 4x150 SE | 66 | 67 | 0.0032048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5402-25_0_3_line_73 | NAYY 4x150 SE | 67 | 70 | 0.0088525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5402-25_0_3_line_74 | NAYY 4x150 SE | 68 | 71 | 0.008756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5402-25_0_3_line_75 | NAYY 4x150 SE | 69 | 70 | 0.0085911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5402-25_0_3_line_76 | NAYY 4x150 SE | 69 | 71 | 0.008319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5402-25_0_3_line_77 | NAYY 4x150 SE | 70 | 72 | 0.010054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5402-25_0_3_line_78 | NAYY 4x150 SE | 71 | 73 | 0.018093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5402-25_0_3_line_79 | NAYY 4x150 SE | 72 | 74 | 0.032031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5402-25_0_3_line_80 | NAYY 4x150 SE | 74 | 75 | 0.0091052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_5402-25_0_3_line_81 | NAYY 4x150 SE | 75 | 86 | 0.0070269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_5402-25_0_3_line_82 | NAYY 4x150 SE | 76 | 77 | 0.0091954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5402-25_0_3_line_83 | NAYY 4x150 SE | 77 | 88 | 0.0057511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5402-25_0_3_line_84 | NAYY 4x150 SE | 78 | 79 | 0.019957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5402-25_0_3_line_85 | NAYY 4x150 SE | 78 | 80 | 0.001641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5402-25_0_3_line_86 | NAYY 4x150 SE | 79 | 81 | 0.010911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5402-25_0_3_line_87 | NAYY 4x150 SE | 80 | 82 | 0.013459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5402-25_0_3_line_88 | NAYY 4x150 SE | 81 | 83 | 0.0077224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5402-25_0_3_line_89 | NAYY 4x150 SE | 82 | 84 | 0.015096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5402-25_0_3_line_90 | NAYY 4x150 SE | 84 | 85 | 0.015014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_5402-25_0_3_line_91 | NAYY 4x150 SE | 85 | 86 | 0.013859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_5402-25_0_3_line_92 | NAYY 4x150 SE | 88 | 89 | 0.042324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5402-25_0_3_trafo_62 | 0.25 MVA 20/0.4 kV | 94 | 74 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2567705.5843 | 1122054.9327 | 2567706.1151 | 1122052.9213
1 | 2567709.4401 | 1122044.7847 | 2567707.9037 | 1122047.3498 | 2567706.2571 | 1122052.3834 | 2567706.1151 | 1122052.9213
2 | 2567705.5843 | 1122054.9327 | 2567705.3074 | 1122057.9468 | 2567704.605 | 1122059.2846 | 2567704.0685 | 1122059.8989 | 2567702.4468 | 1122062.3977 | 2567698.1213 | 1122065.4779
3 | 2567713.4296 | 1122055.302 | 2567712.5739 | 1122055.3622 | 2567710.8169 | 1122055.6273 | 2567709.3764 | 1122055.9462 | 2567707.8272 | 1122056.1102 | 2567705.5843 | 1122054.9327
4 | 2567709.4401 | 1122044.7847 | 2567708.5891 | 1122042.855 | 2567710.596 | 1122033.0838 | 2567715.5705 | 1122031.6565
5 | 2567731.6778 | 1122029.5359 | 2567734.8617 | 1122035.0772 | 2567735.1796 | 1122036.832 | 2567734.5588 | 1122037.5579 | 2567733.7808 | 1122037.7288 | 2567718.6964 | 1122042.2006 | 2567714.4457 | 1122043.4128 | 2567711.766 | 1122044.1942 | 2567709.4401 | 1122044.7847
6 | 2567698.1213 | 1122065.4779 | 2567691.8243 | 1122060.4424
7 | 2567698.1213 | 1122065.4779 | 2567702.8416 | 1122071.3 | 2567707.8777 | 1122078.51 | 2567711.027 | 1122084.4293
8 | 2567716.3735 | 1122063.5349 | 2567714.7561 | 1122056.7401 | 2567714.3346 | 1122055.7863 | 2567713.4296 | 1122055.302
9 | 2567713.4296 | 1122055.302 | 2567713.764 | 1122054.3775
10 | 2567709.5136 | 1122031.133 | 2567714.2855 | 1122029.3288 | 2567715.5705 | 1122031.6565
11 | 2567691.8243 | 1122060.4424 | 2567689.1926 | 1122062.9689 | 2567688.2477 | 1122065.1084 | 2567687.5965 | 1122067.3574 | 2567687.8959 | 1122069.9683 | 2567688.0108 | 1122074.1586 | 2567688.2736 | 1122078.5817
12 | 2567690.9959 | 1122059.8466 | 2567691.8243 | 1122060.4424
13 | 2567713.1448 | 1122090.8236 | 2567712.7561 | 1122089.4117 | 2567711.6405 | 1122085.5824 | 2567711.027 | 1122084.4293
14 | 2567707.6281 | 1122031.888 | 2567709.5136 | 1122031.133
15 | 2567688.2736 | 1122078.5817 | 2567688.2736 | 1122078.5817 | 2567688.2395 | 1122080.8608
16 | 2567690.9959 | 1122059.8466 | 2567688.1181 | 1122058.1945 | 2567682.8124 | 1122055.3659
17 | 2567690.9959 | 1122059.8466 | 2567693.0041 | 1122054.6332 | 2567694.6247 | 1122044.7529 | 2567696.5722 | 1122036.4223
18 | 2567714.359 | 1122099.2636 | 2567713.6606 | 1122092.6974 | 2567713.1448 | 1122090.8236
19 | 2567707.6281 | 1122031.888 | 2567706.9851 | 1122034.237 | 2567704.2476 | 1122033.3666
20 | 2567682.8124 | 1122055.3659 | 2567680.88 | 1122057.4328 | 2567674.9446 | 1122063.7567
21 | 2567682.8124 | 1122055.3659 | 2567680.9336 | 1122054.0995
22 | 2567674.9446 | 1122063.7567 | 2567669.0315 | 1122068.9815
23 | 2567665.1475 | 1122043.1321 | 2567668.6971 | 1122046.3703 | 2567674.101 | 1122050.2433 | 2567679.5073 | 1122053.138 | 2567680.9336 | 1122054.0995
24 | 2567689.0607 | 1122090.1833 | 2567689.5832 | 1122088.3796 | 2567690.3192 | 1122086.119 | 2567689.9325 | 1122084.4758 | 2567689.0213 | 1122082.8242 | 2567688.2395 | 1122080.8608
25 | 2567656.6393 | 1122063.603 | 2567664.9898 | 1122071.2694 | 2567666.3246 | 1122071.3734 | 2567669.0315 | 1122068.9815
26 | 2567665.1475 | 1122043.1321 | 2567664.2147 | 1122044.6379 | 2567661.697 | 1122045.4296 | 2567658.9852 | 1122044.5214 | 2567656.617 | 1122043 | 2567655.204 | 1122042.6741 | 2567653.7259 | 1122041.7482 | 2567649.8292 | 1122046.2863
27 | 2567665.1475 | 1122043.1321 | 2567662.6796 | 1122040.255 | 2567661.2754 | 1122038.7173 | 2567659.7081 | 1122036.9471 | 2567657.3338 | 1122034.2807 | 2567651.1962 | 1122027.3434 | 2567646.5725 | 1122020.8427
28 | 2567569.3772 | 1122110.6355 | 2567573.1881 | 1122109.4033 | 2567576.067 | 1122104.0962 | 2567579.3722 | 1122097.7419 | 2567581.606 | 1122092.9164 | 2567581.7253 | 1122092.5832
29 | 2567595.3043 | 1122061.6049 | 2567584.7364 | 1122084.173 | 2567581.7253 | 1122092.5832
30 | 2567569.3772 | 1122110.6355 | 2567571.9019 | 1122112.6007 | 2567581.3649 | 1122121.1438
31 | 2567598.776 | 1122054.6383 | 2567596.916 | 1122058.6948 | 2567595.3043 | 1122061.6049
32 | 2567581.3649 | 1122121.1438 | 2567582.0618 | 1122121.7729 | 2567589.5451 | 1122127.9268
33 | 2567598.776 | 1122054.6383 | 2567601.6666 | 1122055.8123 | 2567604.2897 | 1122055.9872 | 2567608.0414 | 1122055.2 | 2567611.6322 | 1122055.1308
34 | 2567594.3676 | 1122131.8926 | 2567589.5451 | 1122127.9268
35 | 2567668.4489 | 1122025.9614 | 2567661.985 | 1122018.5812 | 2567658.2828 | 1122015.6551 | 2567652.8036 | 1122016.4404 | 2567646.5725 | 1122020.8427
36 | 2567589.7931 | 1122177.0147 | 2567590.3567 | 1122174.2547 | 2567590.7785 | 1122172.3738 | 2567601.2102 | 1122174.7412 | 2567608.6002 | 1122176.5135 | 2567610.0144 | 1122172.7374 | 2567610.4461 | 1122171.2676 | 2567613.2977 | 1122163.7374 | 2567615.1519 | 1122160.0367
37 | 2567615.1519 | 1122160.0367 | 2567617.6543 | 1122155.8676
38 | 2567589.7931 | 1122177.0147 | 2567587.543 | 1122187.9672
39 | 2567589.7931 | 1122177.0147 | 2567594.4184 | 1122178.0793 | 2567600.2944 | 1122179.404 | 2567616.7194 | 1122183.3845 | 2567625.6832 | 1122185.8821
40 | 2567621.9851 | 1122148.6054 | 2567620.6477 | 1122150.8804 | 2567617.6543 | 1122155.8676
41 | 2567659.0647 | 1122196.0305 | 2567659.4952 | 1122202.965 | 2567659.5183 | 1122203.7508
42 | 2567659.0647 | 1122196.0305 | 2567656.33 | 1122195.1669 | 2567645.8242 | 1122191.8377
43 | 2567659.0647 | 1122196.0305 | 2567661.105 | 1122196.8199 | 2567670.9451 | 1122200.6223
44 | 2567659.5183 | 1122203.7508 | 2567659.5613 | 1122205.2102 | 2567659.7225 | 1122215.1477 | 2567659.7512 | 1122216.8714
45 | 2567635.2114 | 1122188.5369 | 2567636.8394 | 1122188.9905 | 2567645.8242 | 1122191.8377
46 | 2567670.9451 | 1122200.6223 | 2567693.5182 | 1122209.3449
47 | 2567698.4469 | 1122211.2494 | 2567706.0822 | 1122214.199 | 2567709.0188 | 1122215.3394 | 2567709.9307 | 1122215.6902 | 2567713.1151 | 1122216.9961 | 2567713.8819 | 1122217.6145 | 2567714.6499 | 1122218.4664 | 2567715.35 | 1122219.5854 | 2567720.1157 | 1122220.9717
48 | 2567698.4469 | 1122211.2494 | 2567693.5182 | 1122209.3449
49 | 2567720.1157 | 1122220.9717 | 2567725.4764 | 1122222.555 | 2567726.0729 | 1122221.618 | 2567726.2257 | 1122221.3504 | 2567726.7414 | 1122221.1586 | 2567727.7976 | 1122221.1085 | 2567729.0242 | 1122221.1686 | 2567729.9813 | 1122221.3303 | 2567731.0779 | 1122221.6023 | 2567732.4767 | 1122222.1507 | 2567733.8679 | 1122222.7102
50 | 2567731.8918 | 1122190.6491 | 2567733.0329 | 1122187.7193 | 2567736.5895 | 1122189.4122 | 2567740.4649 | 1122190.1586 | 2567743.7873 | 1122189.8629 | 2567746.2726 | 1122188.8046 | 2567749.4761 | 1122186.4752 | 2567750.2989 | 1122184.5921 | 2567752.9479 | 1122185.3005 | 2567756.668 | 1122185.8254
51 | 2567731.8918 | 1122190.6491 | 2567727.703 | 1122189.004 | 2567724.8277 | 1122187.8076 | 2567719.2372 | 1122185.4803
52 | 2567756.668 | 1122185.8254 | 2567752.9479 | 1122185.3005 | 2567754.5018 | 1122177.3438 | 2567757.3734 | 1122169.191 | 2567758.7811 | 1122164.1921 | 2567759.3163 | 1122161.877
53 | 2567756.668 | 1122185.8254 | 2567757.9403 | 1122180.0156 | 2567759.3777 | 1122173.3602 | 2567763.2129 | 1122156.4756 | 2567765.3268 | 1122147.9601 | 2567766.1969 | 1122144.8094 | 2567767.5635 | 1122140.7779 | 2567770.4079 | 1122134.7374 | 2567771.2891 | 1122133.2568
54 | 2567704.7316 | 1122179.4443 | 2567719.054 | 1122185.404 | 2567719.2372 | 1122185.4803
55 | 2567585.4642 | 1122199.5271 | 2567586.1934 | 1122194.5762 | 2567587.5159 | 1122188.0992 | 2567587.543 | 1122187.9672
56 | 2567635.2114 | 1122188.5369 | 2567625.6832 | 1122185.8821
57 | 2567616.6989 | 1122056.0206 | 2567612.8456 | 1122055.1075 | 2567611.6322 | 1122055.1308
58 | 2567759.3163 | 1122161.877 | 2567748.988 | 1122157.2076 | 2567747.9927 | 1122158.5691 | 2567747.2281 | 1122160.0057
59 | 2567771.2891 | 1122133.2568 | 2567775.3532 | 1122126.4291 | 2567778.1996 | 1122122.2117 | 2567782.9568 | 1122116.2167 | 2567786.2917 | 1122113.1013
60 | 2567594.3676 | 1122131.8926 | 2567602.1544 | 1122138.2961
61 | 2567621.9851 | 1122148.6054 | 2567614.5192 | 1122145.6218 | 2567604.2087 | 1122139.9854 | 2567602.1544 | 1122138.2961
62 | 2567624.0023 | 1122149.4061 | 2567621.9851 | 1122148.6054
63 | 2567661.3408 | 1122226.4336 | 2567659.8248 | 1122221.2835 | 2567659.7512 | 1122216.8714
64 | 2567704.7316 | 1122179.4443 | 2567688.6743 | 1122172.7692
65 | 2567704.7316 | 1122179.4443 | 2567714.3039 | 1122163.8964 | 2567713.9246 | 1122162.1864 | 2567709.5592 | 1122154.9283 | 2567705.4525 | 1122151.8892
66 | 2567786.2917 | 1122113.1013 | 2567786.5712 | 1122112.8401 | 2567793.3324 | 1122106.612 | 2567800.3915 | 1122101.2939 | 2567804.7098 | 1122098.2465
67 | 2567736.1575 | 1122125.9382 | 2567728.0813 | 1122121.3124 | 2567724.4723 | 1122118.4858 | 2567722.4418 | 1122116.6402 | 2567720.7076 | 1122113.9481 | 2567719.3011 | 1122112.0573
68 | 2567736.1575 | 1122125.9382 | 2567737.7792 | 1122126.352 | 2567741.7525 | 1122126.642 | 2567747.3359 | 1122126.5899 | 2567753.951 | 1122126.2433 | 2567759.7782 | 1122125.6452 | 2567765.2849 | 1122125.6936 | 2567769.7629 | 1122128.0597 | 2567771.3067 | 1122125.4168 | 2567768.1449 | 1122124.0108 | 2567766.8885 | 1122122.6946 | 2567766.2771 | 1122120.8636 | 2567765.9557 | 1122116.9967 | 2567765.285 | 1122111.2641 | 2567764.9596 | 1122110.9879 | 2567764.7969 | 1122110.8443
69 | 2567714.359 | 1122099.2636 | 2567716.0873 | 1122106.6025 | 2567718.1131 | 1122110.4602 | 2567719.3011 | 1122112.0573
70 | 2567764.7969 | 1122110.8443 | 2567757.3792 | 1122111.1173 | 2567751.0434 | 1122111.088
71 | 2567804.7098 | 1122098.2465 | 2567799.1332 | 1122072.3726
72 | 2567711.1381 | 1122124.2608 | 2567714.236 | 1122125.0815
73 | 2567702.5808 | 1122121.9936 | 2567711.1381 | 1122124.2608
74 | 2567714.359 | 1122099.2636 | 2567711.8725 | 1122102.9899 | 2567709.5395 | 1122106.5819
75 | 2567702.5808 | 1122121.9936 | 2567706.0767 | 1122114.1459
76 | 2567709.5395 | 1122106.5819 | 2567706.6959 | 1122112.7558 | 2567706.0767 | 1122114.1459
77 | 2567702.5808 | 1122121.9936 | 2567696.5242 | 1122122.9487 | 2567692.7275 | 1122123.933
78 | 2567694.6634 | 1122102.3817 | 2567697.8632 | 1122099.363 | 2567709.5395 | 1122106.5819
79 | 2567661.2797 | 1122129.9833 | 2567674.6312 | 1122127.6016 | 2567682.0424 | 1122126.1389 | 2567690.2629 | 1122124.5719 | 2567692.7275 | 1122123.933
80 | 2567652.3542 | 1122131.7786 | 2567658.5051 | 1122130.4783 | 2567661.2797 | 1122129.9833
81 | 2567645.4793 | 1122133.232 | 2567652.3542 | 1122131.7786
82 | 2567661.3408 | 1122226.4336 | 2567667.8357 | 1122228.1218 | 2567670.2747 | 1122228.5961
83 | 2567661.3408 | 1122226.4336 | 2567658.8611 | 1122227.0916 | 2567656.88 | 1122228.703 | 2567656.2816 | 1122228.9059
84 | 2567652.5236 | 1122159.3197 | 2567671.3996 | 1122165.7993
85 | 2567652.5236 | 1122159.3197 | 2567650.9715 | 1122158.7869
86 | 2567681.5435 | 1122169.8049 | 2567674.3168 | 1122166.8007 | 2567671.3996 | 1122165.7993
87 | 2567650.9715 | 1122158.7869 | 2567638.2419 | 1122154.4172
88 | 2567681.5435 | 1122169.8049 | 2567688.6743 | 1122172.7692
89 | 2567624.0023 | 1122149.4061 | 2567632.1311 | 1122152.3196 | 2567638.2419 | 1122154.4172
90 | 2567624.0023 | 1122149.4061 | 2567627.5368 | 1122142.6616 | 2567629.8862 | 1122139.2584 | 2567632.2748 | 1122137.0346
91 | 2567645.4793 | 1122133.232 | 2567645.0164 | 1122133.3298 | 2567638.1753 | 1122134.6783 | 2567632.8406 | 1122136.5078 | 2567632.2748 | 1122137.0346
92 | 2567622.2538 | 1122234.5917 | 2567625.6323 | 1122234.7069 | 2567628.502 | 1122234.8583 | 2567637.8907 | 1122236.8978 | 2567639.299 | 1122229.1531 | 2567640.3219 | 1122227.191 | 2567642.1331 | 1122226.9701 | 2567645.964 | 1122228.039 | 2567654.2473 | 1122229.5954 | 2567656.2816 | 1122228.9059

## bus_geodata
| x | y | coords
0 | 2567706.1151 | 1122052.9213
1 | 2567705.5843 | 1122054.9327
2 | 2567709.4401 | 1122044.7847
3 | 2567698.1213 | 1122065.4779
4 | 2567713.4296 | 1122055.302
5 | 2567715.5705 | 1122031.6565
6 | 2567731.6778 | 1122029.5359
7 | 2567691.8243 | 1122060.4424
8 | 2567711.027 | 1122084.4293
9 | 2567716.3735 | 1122063.5349
10 | 2567713.764 | 1122054.3775
11 | 2567709.5136 | 1122031.133
12 | 2567688.2736 | 1122078.5817
13 | 2567690.9959 | 1122059.8466
14 | 2567713.1448 | 1122090.8236
15 | 2567707.6281 | 1122031.888
16 | 2567696.5722 | 1122036.4223
17 | 2567682.8124 | 1122055.3659
18 | 2567674.9446 | 1122063.7567
19 | 2567680.9336 | 1122054.0995
20 | 2567688.2395 | 1122080.8608
21 | 2567669.0315 | 1122068.9815
22 | 2567665.1475 | 1122043.1321
23 | 2567581.7253 | 1122092.5832
24 | 2567569.3772 | 1122110.6355
25 | 2567595.3043 | 1122061.6049
26 | 2567581.3649 | 1122121.1438
27 | 2567598.776 | 1122054.6383
28 | 2567589.5451 | 1122127.9268
29 | 2567646.5725 | 1122020.8427
30 | 2567668.4489 | 1122025.9614
31 | 2567615.1519 | 1122160.0367
32 | 2567589.7931 | 1122177.0147
33 | 2567617.6543 | 1122155.8676
34 | 2567659.0647 | 1122196.0305
35 | 2567659.5183 | 1122203.7508
36 | 2567645.8242 | 1122191.8377
37 | 2567670.9451 | 1122200.6223
38 | 2567698.4469 | 1122211.2494
39 | 2567720.1157 | 1122220.9717
40 | 2567693.5182 | 1122209.3449
41 | 2567731.8918 | 1122190.6491
42 | 2567756.668 | 1122185.8254
43 | 2567719.2372 | 1122185.4803
44 | 2567733.8679 | 1122222.7102
45 | 2567587.543 | 1122187.9672
46 | 2567625.6832 | 1122185.8821
47 | 2567611.6322 | 1122055.1308
48 | 2567759.3163 | 1122161.877
49 | 2567771.2891 | 1122133.2568
50 | 2567747.2281 | 1122160.0057
51 | 2567594.3676 | 1122131.8926
52 | 2567649.8292 | 1122046.2863
53 | 2567621.9851 | 1122148.6054
54 | 2567659.7512 | 1122216.8714
55 | 2567635.2114 | 1122188.5369
56 | 2567704.7316 | 1122179.4443
57 | 2567585.4642 | 1122199.5271
58 | 2567616.6989 | 1122056.0206
59 | 2567786.2917 | 1122113.1013
60 | 2567736.1575 | 1122125.9382
61 | 2567719.3011 | 1122112.0573
62 | 2567764.7969 | 1122110.8443
63 | 2567751.0434 | 1122111.088
64 | 2567799.1332 | 1122072.3726
65 | 2567804.7098 | 1122098.2465
66 | 2567714.236 | 1122125.0815
67 | 2567711.1381 | 1122124.2608
68 | 2567714.359 | 1122099.2636
69 | 2567706.0767 | 1122114.1459
70 | 2567702.5808 | 1122121.9936
71 | 2567709.5395 | 1122106.5819
72 | 2567692.7275 | 1122123.933
73 | 2567694.6634 | 1122102.3816
74 | 2567661.2797 | 1122129.9833
75 | 2567652.3542 | 1122131.7786
76 | 2567670.2747 | 1122228.5961
77 | 2567661.3408 | 1122226.4336
78 | 2567652.5236 | 1122159.3197
79 | 2567671.3996 | 1122165.7993
80 | 2567650.9715 | 1122158.7869
81 | 2567681.5435 | 1122169.8049
82 | 2567638.2419 | 1122154.4172
83 | 2567688.6743 | 1122172.7692
84 | 2567624.0023 | 1122149.4061
85 | 2567632.2748 | 1122137.0346
86 | 2567645.4793 | 1122133.232
87 | 2567602.1544 | 1122138.2961
88 | 2567656.2816 | 1122228.9059
89 | 2567622.2538 | 1122234.5917
90 | 2567656.6393 | 1122063.603
91 | 2567689.0607 | 1122090.1833
92 | 2567705.4525 | 1122151.8892
93 | 2567704.2476 | 1122033.3666
94 | 2567702.5808 | 1122121.9936

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1