## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5402-29_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5402-29_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5402-29_0_5_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_5402-29_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5402-29_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5402-29_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5402-29_0_5_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_5402-29_0_5_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_5402-29_0_5_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_5402-29_0_5_node_111 | 0.4 | n |  | TRUE
10 | bus_LV_5402-29_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5402-29_0_5_node_110 | 0.4 | n |  | TRUE
12 | bus_LV_5402-29_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5402-29_0_5_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_5402-29_0_5_node_113 | 0.4 | n |  | TRUE
15 | bus_LV_5402-29_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5402-29_0_5_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_5402-29_0_5_node_122 | 0.4 | n |  | TRUE
18 | bus_LV_5402-29_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5402-29_0_5_node_133 | 0.4 | n |  | TRUE
20 | bus_LV_5402-29_0_5_node_134 | 0.4 | n |  | TRUE
21 | bus_LV_5402-29_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_5402-29_0_5_node_120 | 0.4 | n |  | TRUE
23 | bus_LV_5402-29_0_5_node_119 | 0.4 | n |  | TRUE
24 | bus_LV_5402-29_0_5_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_5402-29_0_5_node_108 | 0.4 | n |  | TRUE
26 | bus_LV_5402-29_0_5_node_123 | 0.4 | n |  | TRUE
27 | bus_LV_5402-29_0_5_node_135 | 0.4 | n |  | TRUE
28 | bus_LV_5402-29_0_5_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5402-29_0_5_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_5402-29_0_5_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_5402-29_0_5_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_5402-29_0_5_node_112 | 0.4 | n |  | TRUE
33 | bus_LV_5402-29_0_5_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_5402-29_0_5_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_5402-29_0_5_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_5402-29_0_5_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_5402-29_0_5_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_5402-29_0_5_node_114 | 0.4 | n |  | TRUE
39 | bus_LV_5402-29_0_5_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_5402-29_0_5_node_75 | 0.4 | n |  | TRUE
41 | bus_LV_5402-29_0_5_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_5402-29_0_5_node_136 | 0.4 | n |  | TRUE
43 | bus_LV_5402-29_0_5_node_126 | 0.4 | n |  | TRUE
44 | bus_LV_5402-29_0_5_node_125 | 0.4 | n |  | TRUE
45 | bus_LV_5402-29_0_5_node_118 | 0.4 | n |  | TRUE
46 | bus_LV_5402-29_0_5_node_121 | 0.4 | n |  | TRUE
47 | bus_LV_5402-29_0_5_node_107 | 0.4 | n |  | TRUE
48 | bus_LV_5402-29_0_5_node_15 | 0.4 | n |  | TRUE
49 | bus_LV_5402-29_0_5_node_16 | 0.4 | n |  | TRUE
50 | bus_LV_5402-29_0_5_node_17 | 0.4 | n |  | TRUE
51 | bus_LV_5402-29_0_5_node_18 | 0.4 | n |  | TRUE
52 | bus_LV_5402-29_0_5_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_5402-29_0_5_node_131 | 0.4 | n |  | TRUE
54 | bus_LV_5402-29_0_5_node_19 | 0.4 | n |  | TRUE
55 | bus_LV_5402-29_0_5_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_5402-29_0_5_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_5402-29_0_5_node_28 | 0.4 | n |  | TRUE
58 | bus_LV_5402-29_0_5_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_5402-29_0_5_node_23 | 0.4 | n |  | TRUE
60 | bus_LV_5402-29_0_5_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_5402-29_0_5_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_5402-29_0_5_node_26 | 0.4 | n |  | TRUE
63 | bus_LV_5402-29_0_5_node_20 | 0.4 | n |  | TRUE
64 | bus_LV_5402-29_0_5_node_21 | 0.4 | n |  | TRUE
65 | bus_LV_5402-29_0_5_node_22 | 0.4 | n |  | TRUE
66 | bus_LV_5402-29_0_5_node_24 | 0.4 | n |  | TRUE
67 | bus_LV_5402-29_0_5_node_127 | 0.4 | n |  | TRUE
68 | bus_LV_5402-29_0_5_node_25 | 0.4 | n |  | TRUE
69 | bus_LV_5402-29_0_5_node_27 | 0.4 | n |  | TRUE
70 | bus_LV_5402-29_0_5_node_29 | 0.4 | n |  | TRUE
71 | bus_LV_5402-29_0_5_node_39 | 0.4 | n |  | TRUE
72 | bus_LV_5402-29_0_5_node_37 | 0.4 | n |  | TRUE
73 | bus_LV_5402-29_0_5_node_40 | 0.4 | n |  | TRUE
74 | bus_LV_5402-29_0_5_node_36 | 0.4 | n |  | TRUE
75 | bus_LV_5402-29_0_5_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_5402-29_0_5_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_5402-29_0_5_node_33 | 0.4 | n |  | TRUE
78 | bus_LV_5402-29_0_5_node_35 | 0.4 | n |  | TRUE
79 | bus_LV_5402-29_0_5_node_87 | 0.4 | n |  | TRUE
80 | bus_LV_5402-29_0_5_node_38 | 0.4 | n |  | TRUE
81 | bus_LV_5402-29_0_5_node_41 | 0.4 | n |  | TRUE
82 | bus_LV_5402-29_0_5_node_42 | 0.4 | n |  | TRUE
83 | bus_LV_5402-29_0_5_node_44 | 0.4 | n |  | TRUE
84 | bus_LV_5402-29_0_5_node_45 | 0.4 | n |  | TRUE
85 | bus_LV_5402-29_0_5_node_46 | 0.4 | n |  | TRUE
86 | bus_LV_5402-29_0_5_node_47 | 0.4 | n |  | TRUE
87 | bus_LV_5402-29_0_5_node_48 | 0.4 | n |  | TRUE
88 | bus_LV_5402-29_0_5_node_130 | 0.4 | n |  | TRUE
89 | bus_LV_5402-29_0_5_node_55 | 0.4 | n |  | TRUE
90 | bus_LV_5402-29_0_5_node_53 | 0.4 | n |  | TRUE
91 | bus_LV_5402-29_0_5_node_51 | 0.4 | n |  | TRUE
92 | bus_LV_5402-29_0_5_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_5402-29_0_5_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_5402-29_0_5_node_54 | 0.4 | n |  | TRUE
95 | bus_LV_5402-29_0_5_node_56 | 0.4 | n |  | TRUE
96 | bus_LV_5402-29_0_5_node_57 | 0.4 | n |  | TRUE
97 | bus_LV_5402-29_0_5_node_58 | 0.4 | n |  | TRUE
98 | bus_LV_5402-29_0_5_node_116 | 0.4 | n |  | TRUE
99 | bus_LV_5402-29_0_5_node_115 | 0.4 | n |  | TRUE
100 | bus_LV_5402-29_0_5_node_129 | 0.4 | n |  | TRUE
101 | bus_LV_5402-29_0_5_node_64 | 0.4 | n |  | TRUE
102 | bus_LV_5402-29_0_5_node_65 | 0.4 | n |  | TRUE
103 | bus_LV_5402-29_0_5_node_68 | 0.4 | n |  | TRUE
104 | bus_LV_5402-29_0_5_node_69 | 0.4 | n |  | TRUE
105 | bus_LV_5402-29_0_5_node_70 | 0.4 | n |  | TRUE
106 | bus_LV_5402-29_0_5_node_71 | 0.4 | n |  | TRUE
107 | bus_LV_5402-29_0_5_node_103 | 0.4 | n |  | TRUE
108 | bus_LV_5402-29_0_5_node_100 | 0.4 | n |  | TRUE
109 | bus_LV_5402-29_0_5_node_101 | 0.4 | n |  | TRUE
110 | bus_LV_5402-29_0_5_node_102 | 0.4 | n |  | TRUE
111 | bus_LV_5402-29_0_5_node_76 | 0.4 | n |  | TRUE
112 | bus_LV_5402-29_0_5_node_77 | 0.4 | n |  | TRUE
113 | bus_LV_5402-29_0_5_node_80 | 0.4 | n |  | TRUE
114 | bus_LV_5402-29_0_5_node_82 | 0.4 | n |  | TRUE
115 | bus_LV_5402-29_0_5_node_109 | 0.4 | n |  | TRUE
116 | bus_LV_5402-29_0_5_node_106 | 0.4 | n |  | TRUE
117 | bus_LV_5402-29_0_5_node_117 | 0.4 | n |  | TRUE
118 | bus_LV_5402-29_0_5_node_88 | 0.4 | n |  | TRUE
119 | bus_LV_5402-29_0_5_node_89 | 0.4 | n |  | TRUE
120 | bus_LV_5402-29_0_5_node_90 | 0.4 | n |  | TRUE
121 | bus_LV_5402-29_0_5_node_105 | 0.4 | n |  | TRUE
122 | bus_LV_5402-29_0_5_node_91 | 0.4 | n |  | TRUE
123 | bus_LV_5402-29_0_5_node_132 | 0.4 | n |  | TRUE
124 | bus_LV_5402-29_0_5_node_92 | 0.4 | n |  | TRUE
125 | bus_LV_5402-29_0_5_node_128 | 0.4 | n |  | TRUE
126 | bus_LV_5402-29_0_5_node_93 | 0.4 | n |  | TRUE
127 | bus_LV_5402-29_0_5_node_94 | 0.4 | n |  | TRUE
128 | bus_LV_5402-29_0_5_node_95 | 0.4 | n |  | TRUE
129 | bus_LV_5402-29_0_5_node_96 | 0.4 | n |  | TRUE
130 | bus_LV_5402-29_0_5_node_97 | 0.4 | n |  | TRUE
131 | bus_LV_5402-29_0_5_node_98 | 0.4 | n |  | TRUE
132 | bus_LV_5402-29_0_5_node_99 | 0.4 | n |  | TRUE
133 | bus_LV_5402-29_0_5_node_124 | 0.4 | n |  | TRUE
134 | bus_LV_5402-29_0_5_node_137 | 0.4 | n |  | TRUE
135 | bus_MV_110_0_node_235 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5402-29_0_5_load_0 | 0 | 0.0016798 | 0.00042101 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5402-29_0_5_load_13 | 2 | 0.010384 | 0.0026026 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5402-29_0_5_load_67 | 6 | 0.0020725 | 0.00051943 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5402-29_0_5_load_111 | 9 | 0.0065724 | 0.0016472 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5402-29_0_5_load_110 | 11 | 0.0018758 | 0.00047012 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5402-29_0_5_load_59 | 13 | 0.0029642 | 0.00074291 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5402-29_0_5_load_113 | 14 | 0.0023927 | 0.00059966 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5402-29_0_5_load_122 | 17 | 0.0046021 | 0.0011534 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5402-29_0_5_load_133 | 19 | 0.0014463 | 0.00036247 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5402-29_0_5_load_119 | 23 | 0.00038555 | 9.6627e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5402-29_0_5_load_123 | 26 | 0.0029069 | 0.00072855 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5402-29_0_5_load_135 | 27 | 0.00129 | 0.0003233 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5402-29_0_5_load_14 | 28 | 0.0017318 | 0.00043402 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5402-29_0_5_load_66 | 29 | 0.0013914 | 0.00034871 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5402-29_0_5_load_63 | 30 | 0.0021174 | 0.00053066 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5402-29_0_5_load_61 | 31 | 0.0011507 | 0.0002884 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5402-29_0_5_load_112 | 32 | 0.00042377 | 0.00010621 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5402-29_0_5_load_49 | 36 | 0.0018187 | 0.00045581 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5402-29_0_5_load_60 | 37 | 0.0018861 | 0.0004727 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5402-29_0_5_load_74 | 39 | 0.0012585 | 0.00031542 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5402-29_0_5_load_75 | 40 | 0.0012554 | 0.00031463 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5402-29_0_5_load_72 | 41 | 0.0050354 | 0.001262 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5402-29_0_5_load_136 | 42 | 0.0011921 | 0.00029876 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5402-29_0_5_load_125 | 44 | 0.0011722 | 0.00029378 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5402-29_0_5_load_118 | 45 | 0.0034456 | 0.00086354 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5402-29_0_5_load_121 | 46 | 0.0025433 | 0.00063741 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5402-29_0_5_load_107 | 47 | 0.0069899 | 0.0017518 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5402-29_0_5_load_15 | 48 | 0.0021315 | 0.00053422 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5402-29_0_5_load_17 | 50 | 0.002614 | 0.00065513 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5402-29_0_5_load_131 | 53 | 0.0019735 | 0.00049461 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5402-29_0_5_load_28 | 57 | 0.0026844 | 0.00067279 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5402-29_0_5_load_86 | 58 | 0.0023343 | 0.00058504 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5402-29_0_5_load_23 | 59 | 0.0019756 | 0.00049512 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5402-29_0_5_load_32 | 60 | 0.0024551 | 0.0006153 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5402-29_0_5_load_43 | 61 | 0.0035351 | 0.00088598 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5402-29_0_5_load_26 | 62 | 0.0020895 | 0.00052368 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5402-29_0_5_load_20 | 63 | 0.0046858 | 0.0011744 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5402-29_0_5_load_21 | 64 | 0.0012822 | 0.00032134 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5402-29_0_5_load_22 | 65 | 0.001282 | 0.00032129 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5402-29_0_5_load_24 | 66 | 0.001609 | 0.00040327 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5402-29_0_5_load_127 | 67 | 0.0067026 | 0.0016798 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5402-29_0_5_load_25 | 68 | 0.0026196 | 0.00065654 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5402-29_0_5_load_27 | 69 | 0.0019789 | 0.00049597 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5402-29_0_5_load_39 | 71 | 0.0047794 | 0.0011978 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5402-29_0_5_load_37 | 72 | 0.0026937 | 0.00067512 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5402-29_0_5_load_36 | 74 | 0.0019966 | 0.00050041 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5402-29_0_5_load_81 | 75 | 0.0030519 | 0.00076488 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5402-29_0_5_load_33 | 77 | 0.0013499 | 0.00033832 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5402-29_0_5_load_87 | 79 | 0.0003921 | 9.8269e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5402-29_0_5_load_38 | 80 | 0.0028459 | 0.00071325 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5402-29_0_5_load_41 | 81 | 0.0058439 | 0.0014646 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5402-29_0_5_load_42 | 82 | 0.0010613 | 0.00026599 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5402-29_0_5_load_44 | 83 | 0.0009364 | 0.00023468 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5402-29_0_5_load_45 | 84 | 0.00136 | 0.00034086 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5402-29_0_5_load_47 | 86 | 0.0018432 | 0.00046194 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5402-29_0_5_load_130 | 88 | 0.0021142 | 0.00052986 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5402-29_0_5_load_53 | 90 | 0.0054072 | 0.0013552 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5402-29_0_5_load_51 | 91 | 0.001374 | 0.00034437 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5402-29_0_5_load_84 | 92 | 0.003877 | 0.00097168 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5402-29_0_5_load_79 | 93 | 0.0025844 | 0.0006477 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5402-29_0_5_load_56 | 95 | 0.0018411 | 0.00046144 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5402-29_0_5_load_58 | 97 | 0.0029759 | 0.00074584 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5402-29_0_5_load_116 | 98 | 0.00063186 | 0.00015836 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5402-29_0_5_load_115 | 99 | 0.0026127 | 0.00065481 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5402-29_0_5_load_129 | 100 | 0.00047773 | 0.00011973 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5402-29_0_5_load_64 | 101 | 0.00085263 | 0.00021369 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5402-29_0_5_load_65 | 102 | 0.00176 | 0.00044109 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5402-29_0_5_load_68 | 103 | 0.0018128 | 0.00045434 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5402-29_0_5_load_69 | 104 | 0.00072843 | 0.00018256 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5402-29_0_5_load_71 | 106 | 0.001126 | 0.00028221 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5402-29_0_5_load_103 | 107 | 0.0014562 | 0.00036495 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5402-29_0_5_load_100 | 108 | 0.0010456 | 0.00026205 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5402-29_0_5_load_101 | 109 | 0.0016474 | 0.00041288 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5402-29_0_5_load_102 | 110 | 0.0024007 | 0.00060168 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5402-29_0_5_load_76 | 111 | 0.0046711 | 0.0011707 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5402-29_0_5_load_82 | 114 | 0.0078802 | 0.001975 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5402-29_0_5_load_109 | 115 | 0.00034602 | 8.672e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5402-29_0_5_load_106 | 116 | 0.0086836 | 0.0021763 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5402-29_0_5_load_117 | 117 | 0.00036292 | 9.0956e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5402-29_0_5_load_88 | 118 | 0.001343 | 0.00033659 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5402-29_0_5_load_90 | 120 | 0.0014174 | 0.00035524 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5402-29_0_5_load_132 | 123 | 0.0017123 | 0.00042915 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5402-29_0_5_load_128 | 125 | 0.00084942 | 0.00021288 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5402-29_0_5_load_93 | 126 | 0.00103 | 0.00025813 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5402-29_0_5_load_94 | 127 | 0.00099514 | 0.00024941 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5402-29_0_5_load_95 | 128 | 0.0010493 | 0.00026298 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5402-29_0_5_load_96 | 129 | 0.0026121 | 0.00065466 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5402-29_0_5_load_97 | 130 | 0.0074146 | 0.0018583 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5402-29_0_5_load_98 | 131 | 0.0040215 | 0.0010079 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5402-29_0_5_load_99 | 132 | 0.0019392 | 0.00048601 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5402-29_0_5_load_124 | 133 | 0.0029226 | 0.00073248 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5402-29_0_5_load_137 | 134 | 0.0012305 | 0.00030839 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 112 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5402-29_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5402-29_0_5_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0010179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5402-29_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.10263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5402-29_0_5_line_3 | NAYY 4x150 SE | 2 | 28 | 0.0021355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5402-29_0_5_line_4 | NAYY 4x150 SE | 3 | 10 | 0.080382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5402-29_0_5_line_5 | NAYY 4x150 SE | 3 | 11 | 0.043409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5402-29_0_5_line_6 | NAYY 4x150 SE | 4 | 5 | 0.024096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5402-29_0_5_line_7 | NAYY 4x150 SE | 4 | 6 | 0.024323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5402-29_0_5_line_8 | NAYY 4x150 SE | 5 | 7 | 0.016416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5402-29_0_5_line_9 | NAYY 4x150 SE | 5 | 8 | 0.02931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5402-29_0_5_line_10 | NAYY 4x150 SE | 5 | 9 | 0.026687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5402-29_0_5_line_11 | NAYY 4x150 SE | 6 | 29 | 0.012066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5402-29_0_5_line_12 | NAYY 4x150 SE | 7 | 27 | 0.008567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5402-29_0_5_line_13 | NAYY 4x150 SE | 7 | 18 | 0.007133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5402-29_0_5_line_14 | NAYY 4x150 SE | 8 | 30 | 0.027576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5402-29_0_5_line_15 | NAYY 4x150 SE | 8 | 31 | 0.014239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5402-29_0_5_line_16 | NAYY 4x150 SE | 9 | 11 | 0.018482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5402-29_0_5_line_17 | NAYY 4x150 SE | 10 | 12 | 0.04214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5402-29_0_5_line_18 | NAYY 4x150 SE | 10 | 13 | 0.062464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5402-29_0_5_line_19 | NAYY 4x150 SE | 12 | 14 | 0.042932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5402-29_0_5_line_20 | NAYY 4x150 SE | 13 | 37 | 0.028442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5402-29_0_5_line_21 | NAYY 4x150 SE | 14 | 38 | 0.0052813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5402-29_0_5_line_22 | NAYY 4x150 SE | 15 | 16 | 0.006403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5402-29_0_5_line_23 | NAYY 4x150 SE | 15 | 17 | 0.027424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5402-29_0_5_line_24 | NAYY 4x150 SE | 16 | 39 | 0.017106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5402-29_0_5_line_25 | NAYY 4x150 SE | 16 | 40 | 0.02743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5402-29_0_5_line_26 | NAYY 4x150 SE | 16 | 41 | 0.0069492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5402-29_0_5_line_27 | NAYY 4x150 SE | 17 | 26 | 0.010227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5402-29_0_5_line_28 | NAYY 4x150 SE | 18 | 19 | 0.010838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5402-29_0_5_line_29 | NAYY 4x150 SE | 18 | 20 | 0.006053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5402-29_0_5_line_30 | NAYY 4x150 SE | 20 | 42 | 0.012052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5402-29_0_5_line_31 | NAYY 4x150 SE | 20 | 43 | 0.00783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5402-29_0_5_line_32 | NAYY 4x150 SE | 21 | 22 | 0.00649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5402-29_0_5_line_33 | NAYY 4x150 SE | 21 | 23 | 0.026942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5402-29_0_5_line_34 | NAYY 4x150 SE | 22 | 43 | 0.012711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5402-29_0_5_line_35 | NAYY 4x150 SE | 22 | 44 | 0.014199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5402-29_0_5_line_36 | NAYY 4x150 SE | 23 | 45 | 0.0041987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5402-29_0_5_line_37 | NAYY 4x150 SE | 24 | 25 | 0.011199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5402-29_0_5_line_38 | NAYY 4x150 SE | 24 | 26 | 0.0087542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5402-29_0_5_line_39 | NAYY 4x150 SE | 25 | 46 | 0.0040407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5402-29_0_5_line_40 | NAYY 4x150 SE | 25 | 47 | 0.015633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5402-29_0_5_line_41 | NAYY 4x150 SE | 29 | 101 | 0.0042909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5402-29_0_5_line_42 | NAYY 4x150 SE | 30 | 100 | 0.015218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5402-29_0_5_line_43 | NAYY 4x150 SE | 32 | 33 | 0.066189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5402-29_0_5_line_44 | NAYY 4x150 SE | 33 | 34 | 0.021502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5402-29_0_5_line_45 | NAYY 4x150 SE | 33 | 35 | 0.01821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5402-29_0_5_line_46 | NAYY 4x150 SE | 34 | 92 | 0.031782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5402-29_0_5_line_47 | NAYY 4x150 SE | 34 | 93 | 0.019814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5402-29_0_5_line_48 | NAYY 4x150 SE | 35 | 36 | 0.023268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5402-29_0_5_line_49 | NAYY 4x150 SE | 36 | 82 | 0.030206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5402-29_0_5_line_50 | NAYY 4x150 SE | 37 | 91 | 0.019319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5402-29_0_5_line_51 | NAYY 4x150 SE | 38 | 99 | 0.011759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5402-29_0_5_line_52 | NAYY 4x150 SE | 38 | 96 | 0.096004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5402-29_0_5_line_53 | NAYY 4x150 SE | 39 | 108 | 0.0021321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5402-29_0_5_line_54 | NAYY 4x150 SE | 40 | 109 | 0.017577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5402-29_0_5_line_55 | NAYY 4x150 SE | 41 | 105 | 0.032027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5402-29_0_5_line_56 | NAYY 4x150 SE | 43 | 134 | 0.011668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5402-29_0_5_line_57 | NAYY 4x150 SE | 45 | 117 | 0.0034668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5402-29_0_5_line_58 | NAYY 4x150 SE | 46 | 132 | 0.0075067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5402-29_0_5_line_59 | NAYY 4x150 SE | 47 | 116 | 0.0015919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5402-29_0_5_line_60 | NAYY 4x150 SE | 48 | 49 | 0.021517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5402-29_0_5_line_61 | NAYY 4x150 SE | 49 | 50 | 0.016073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5402-29_0_5_line_62 | NAYY 4x150 SE | 49 | 51 | 0.040105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5402-29_0_5_line_63 | NAYY 4x150 SE | 50 | 52 | 0.012032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5402-29_0_5_line_64 | NAYY 4x150 SE | 51 | 53 | 0.031204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5402-29_0_5_line_65 | NAYY 4x150 SE | 51 | 54 | 0.10369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5402-29_0_5_line_66 | NAYY 4x150 SE | 51 | 55 | 0.14062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5402-29_0_5_line_67 | NAYY 4x150 SE | 52 | 58 | 0.035027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5402-29_0_5_line_68 | NAYY 4x150 SE | 52 | 59 | 0.010593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5402-29_0_5_line_69 | NAYY 4x150 SE | 54 | 56 | 0.07801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5402-29_0_5_line_70 | NAYY 4x150 SE | 54 | 57 | 0.0096988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5402-29_0_5_line_71 | NAYY 4x150 SE | 55 | 60 | 0.017155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5402-29_0_5_line_72 | NAYY 4x150 SE | 56 | 61 | 0.029913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5402-29_0_5_line_73 | NAYY 4x150 SE | 57 | 62 | 0.011049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5402-29_0_5_line_74 | NAYY 4x150 SE | 59 | 64 | 0.020062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5402-29_0_5_line_75 | NAYY 4x150 SE | 60 | 77 | 0.037979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5402-29_0_5_line_76 | NAYY 4x150 SE | 62 | 68 | 0.0058714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5402-29_0_5_line_77 | NAYY 4x150 SE | 63 | 64 | 0.0054724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5402-29_0_5_line_78 | NAYY 4x150 SE | 63 | 65 | 0.0031933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5402-29_0_5_line_79 | NAYY 4x150 SE | 65 | 66 | 0.0086689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5402-29_0_5_line_80 | NAYY 4x150 SE | 66 | 67 | 0.02196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5402-29_0_5_line_81 | NAYY 4x150 SE | 68 | 69 | 0.024252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5402-29_0_5_line_82 | NAYY 4x150 SE | 69 | 70 | 0.022523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5402-29_0_5_line_83 | NAYY 4x150 SE | 70 | 71 | 0.011566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5402-29_0_5_line_84 | NAYY 4x150 SE | 70 | 72 | 0.021538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5402-29_0_5_line_85 | NAYY 4x150 SE | 71 | 73 | 0.039826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5402-29_0_5_line_86 | NAYY 4x150 SE | 72 | 74 | 0.00048577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5402-29_0_5_line_87 | NAYY 4x150 SE | 73 | 81 | 0.036165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5402-29_0_5_line_88 | NAYY 4x150 SE | 73 | 82 | 0.0093359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5402-29_0_5_line_89 | NAYY 4x150 SE | 74 | 80 | 0.013289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5402-29_0_5_line_90 | NAYY 4x150 SE | 75 | 76 | 0.011354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5402-29_0_5_line_91 | NAYY 4x150 SE | 76 | 114 | 0.024064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5402-29_0_5_line_92 | NAYY 4x150 SE | 76 | 111 | 0.0053828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5402-29_0_5_line_93 | NAYY 4x150 SE | 77 | 78 | 0.075917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5402-29_0_5_line_94 | NAYY 4x150 SE | 78 | 79 | 0.17629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5402-29_0_5_line_95 | NAYY 4x150 SE | 83 | 84 | 0.012952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5402-29_0_5_line_96 | NAYY 4x150 SE | 83 | 85 | 0.043401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5402-29_0_5_line_97 | NAYY 4x150 SE | 84 | 86 | 0.021979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5402-29_0_5_line_98 | NAYY 4x150 SE | 85 | 87 | 0.10052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5402-29_0_5_line_99 | NAYY 4x150 SE | 87 | 88 | 0.052116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5402-29_0_5_line_100 | NAYY 4x150 SE | 87 | 89 | 0.026839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5402-29_0_5_line_101 | NAYY 4x150 SE | 89 | 90 | 0.014784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5402-29_0_5_line_102 | NAYY 4x150 SE | 90 | 94 | 0.080966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5402-29_0_5_line_103 | NAYY 4x150 SE | 93 | 112 | 0.01895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
104 | LV_5402-29_0_5_line_104 | NAYY 4x150 SE | 94 | 95 | 0.014358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5402-29_0_5_line_105 | NAYY 4x150 SE | 94 | 96 | 0.007227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5402-29_0_5_line_106 | NAYY 4x150 SE | 95 | 97 | 0.031264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5402-29_0_5_line_107 | NAYY 4x150 SE | 96 | 98 | 0.019463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5402-29_0_5_line_108 | NAYY 4x150 SE | 99 | 133 | 0.035495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5402-29_0_5_line_109 | NAYY 4x150 SE | 101 | 102 | 0.0070356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5402-29_0_5_line_110 | NAYY 4x150 SE | 103 | 104 | 0.013112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5402-29_0_5_line_111 | NAYY 4x150 SE | 103 | 105 | 0.021791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5402-29_0_5_line_112 | NAYY 4x150 SE | 104 | 106 | 0.0038405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5402-29_0_5_line_113 | NAYY 4x150 SE | 106 | 107 | 0.012987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5402-29_0_5_line_114 | NAYY 4x150 SE | 109 | 110 | 0.0080985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_5402-29_0_5_line_115 | NAYY 4x150 SE | 110 | 129 | 0.09952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_5402-29_0_5_line_116 | NAYY 4x150 SE | 111 | 112 | 0.015242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_5402-29_0_5_line_117 | NAYY 4x150 SE | 112 | 113 | 0.0142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
118 | LV_5402-29_0_5_line_118 | NAYY 4x150 SE | 113 | 115 | 0.0091917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
119 | LV_5402-29_0_5_line_119 | NAYY 4x150 SE | 113 | 116 | 0.022236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_5402-29_0_5_line_120 | NAYY 4x150 SE | 115 | 117 | 0.0058284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
121 | LV_5402-29_0_5_line_121 | NAYY 4x150 SE | 118 | 119 | 0.089126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_5402-29_0_5_line_122 | NAYY 4x150 SE | 118 | 120 | 0.015314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_5402-29_0_5_line_123 | NAYY 4x150 SE | 118 | 121 | 0.065132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_5402-29_0_5_line_124 | NAYY 4x150 SE | 119 | 122 | 0.038314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_5402-29_0_5_line_125 | NAYY 4x150 SE | 121 | 123 | 0.021251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_5402-29_0_5_line_126 | NAYY 4x150 SE | 122 | 124 | 0.032403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_5402-29_0_5_line_127 | NAYY 4x150 SE | 122 | 125 | 0.036369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_5402-29_0_5_line_128 | NAYY 4x150 SE | 124 | 126 | 0.027953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_5402-29_0_5_line_129 | NAYY 4x150 SE | 126 | 127 | 0.03911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_5402-29_0_5_line_130 | NAYY 4x150 SE | 127 | 128 | 0.01396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_5402-29_0_5_line_131 | NAYY 4x150 SE | 128 | 129 | 0.0077467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_5402-29_0_5_line_132 | NAYY 4x150 SE | 130 | 131 | 0.02249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_5402-29_0_5_line_133 | NAYY 4x150 SE | 131 | 132 | 0.0044949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5402-29_0_5_trafo_77 | 0.25 MVA 20/0.4 kV | 135 | 112 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2567866.1642 | 1122174.3023 | 2567872.0023 | 1122174.3045 | 2567875.2293 | 1122174.9432 | 2567878.9881 | 1122176.9576 | 2567880.619 | 1122178.5666
1 | 2567866.1642 | 1122174.3023 | 2567866.2285 | 1122173.2864
2 | 2567801.1922 | 1122220.9609 | 2567801.4782 | 1122218.2024 | 2567802.6807 | 1122213.7604 | 2567826.9767 | 1122221.5681 | 2567828.662 | 1122216.5455 | 2567833.0195 | 1122203.5713 | 2567836.8882 | 1122194.3683 | 2567845.5052 | 1122191.9767 | 2567860.974 | 1122188.7705 | 2567865.6448 | 1122182.4869 | 2567866.1642 | 1122174.3023
3 | 2567866.3634 | 1122171.1552 | 2567866.2285 | 1122173.2864
4 | 2567743.6767 | 1122225.4258 | 2567734.8749 | 1122220.6704 | 2567736.1808 | 1122218.2622 | 2567739.0488 | 1122216.6461 | 2567743.1981 | 1122215.2454 | 2567748.5777 | 1122213.1823 | 2567754.9785 | 1122211.7029 | 2567759.2007 | 1122210.9467 | 2567762.4703 | 1122210.8958 | 2567766.3673 | 1122211.3419 | 2567776.7676 | 1122213.6209 | 2567790.4486 | 1122217.9389 | 2567801.1922 | 1122220.9609
5 | 2567801.1922 | 1122220.9609 | 2567810.6305 | 1122223.6341 | 2567827.016 | 1122228.9272 | 2567839.9716 | 1122233.1602 | 2567842.5051 | 1122234.2313
6 | 2567881.9616 | 1122255.9814 | 2567884.0502 | 1122254.2917 | 2567886.5495 | 1122251.5103 | 2567895.0357 | 1122257.8573 | 2567896.3303 | 1122259.1288 | 2567900.3223 | 1122255.7058
7 | 2567900.3223 | 1122255.7058 | 2567906.2598 | 1122251.2164 | 2567914.0782 | 1122245.1163 | 2567919.9896 | 1122241.4378
8 | 2567894.3272 | 1122266.7544 | 2567890.659 | 1122262.9164 | 2567884.036 | 1122257.4044 | 2567881.9616 | 1122255.9814
9 | 2567881.9616 | 1122255.9814 | 2567878.5444 | 1122258.7343 | 2567870.6096 | 1122266.1247 | 2567863.834 | 1122273.9759 | 2567861.9462 | 1122275.7201 | 2567861.0014 | 1122276.4255
10 | 2567881.9616 | 1122255.9814 | 2567870.956 | 1122248.6252 | 2567859.2235 | 1122242.0507
11 | 2567919.9896 | 1122241.4378 | 2567922.9254 | 1122239.6109 | 2567927.3329 | 1122236.0079 | 2567929.2074 | 1122233.7748
12 | 2567894.3272 | 1122266.7544 | 2567893.2453 | 1122267.7718 | 2567887.7396 | 1122272.2477
13 | 2567898.7757 | 1122272.3002 | 2567898.4099 | 1122271.6685 | 2567897.9197 | 1122270.8484 | 2567894.9399 | 1122267.3959 | 2567894.3272 | 1122266.7544
14 | 2567861.0014 | 1122276.4255 | 2567870.1682 | 1122296.1977 | 2567872.4982 | 1122301.4899
15 | 2567861.0014 | 1122276.4255 | 2567859.9143 | 1122276.4869 | 2567858.6626 | 1122276.0378 | 2567848.8433 | 1122269.4565
16 | 2567842.5051 | 1122234.2313 | 2567853.7609 | 1122238.9897 | 2567859.2235 | 1122242.0507
17 | 2567743.6767 | 1122225.4258 | 2567734.8749 | 1122220.6704 | 2567733.8679 | 1122222.7102 | 2567732.4767 | 1122222.1507 | 2567731.0779 | 1122221.6023 | 2567729.9813 | 1122221.3303 | 2567729.0242 | 1122221.1686 | 2567727.7976 | 1122221.1085 | 2567726.7414 | 1122221.1586 | 2567726.2257 | 1122221.3504 | 2567726.0729 | 1122221.618 | 2567725.4764 | 1122222.555 | 2567720.1157 | 1122220.9717 | 2567720.7772 | 1122224.9702 | 2567722.2587 | 1122232.3104 | 2567722.8548 | 1122235.6311
18 | 2567743.6767 | 1122225.4258 | 2567760.1199 | 1122234.3202 | 2567780.0005 | 1122248.5656 | 2567788.5862 | 1122259.114 | 2567792.1259 | 1122263.5959
19 | 2567722.8548 | 1122235.6311 | 2567723.6814 | 1122240.2068 | 2567725.1702 | 1122247.5025 | 2567726.8069 | 1122253.5857 | 2567729.6641 | 1122260.0625 | 2567733.4748 | 1122267.4459 | 2567736.6059 | 1122276.0417
20 | 2567792.1259 | 1122263.5959 | 2567805.3807 | 1122280.3795 | 2567809.7054 | 1122285.9545
21 | 2567738.4135 | 1122281.0041 | 2567736.6059 | 1122276.0417
22 | 2567947.4691 | 1122269.4177 | 2567953.8589 | 1122268.7835
23 | 2567947.4691 | 1122269.4177 | 2567949.3485 | 1122280.5911 | 2567951.7469 | 1122293.6516 | 2567951.2526 | 1122296.4223
24 | 2567953.8589 | 1122268.7835 | 2567950.0528 | 1122265.0907 | 2567947.6659 | 1122253.5313
25 | 2567953.8589 | 1122268.7835 | 2567958.5935 | 1122259.965 | 2567961.6294 | 1122256.5583 | 2567963.6144 | 1122252.7792 | 2567963.1108 | 1122244.2045
26 | 2567953.8589 | 1122268.7835 | 2567960.7995 | 1122268.4374
27 | 2567951.2526 | 1122296.4223 | 2567948.8809 | 1122301.4485 | 2567945.997 | 1122305.1202
28 | 2567898.7757 | 1122272.3002 | 2567896.8466 | 1122273.5444 | 2567890.189 | 1122278.927
29 | 2567901.5343 | 1122277.6771 | 2567900.3866 | 1122275.0263 | 2567898.7757 | 1122272.3002
30 | 2567901.5343 | 1122277.6771 | 2567900.3762 | 1122278.8727 | 2567892.3214 | 1122285.4633
31 | 2567903.9491 | 1122285.1013 | 2567902.7993 | 1122280.6052 | 2567901.5343 | 1122277.6771
32 | 2567905.651 | 1122297.6875 | 2567908.6 | 1122296.8158 | 2567911.8878 | 1122295.8312
33 | 2567911.8878 | 1122295.8312 | 2567911.7597 | 1122322.7733
34 | 2567903.9491 | 1122285.1013 | 2567904.2879 | 1122286.4446 | 2567905.1591 | 1122293.6547 | 2567905.651 | 1122297.6875
35 | 2567905.651 | 1122297.6875 | 2567903.9417 | 1122298.1968 | 2567898.0538 | 1122301.8522 | 2567893.4833 | 1122304.8847
36 | 2567911.7597 | 1122322.7733 | 2567911.7531 | 1122324.1572 | 2567911.9684 | 1122326.9637
37 | 2567940.151 | 1122311.6111 | 2567947.0078 | 1122320.4791
38 | 2567940.151 | 1122311.6111 | 2567943.3656 | 1122308.4702 | 2567945.997 | 1122305.1202
39 | 2567947.0078 | 1122320.4791 | 2567949.5028 | 1122323.6576
40 | 2567947.0078 | 1122320.4791 | 2567935.8906 | 1122328.3644 | 2567934.3176 | 1122329.6048
41 | 2567931.6258 | 1122230.2368 | 2567929.7699 | 1122233.1046 | 2567929.2074 | 1122233.7748
42 | 2567878.6303 | 1122315.4179 | 2567872.4982 | 1122301.4899
43 | 2567880.2663 | 1122401.0633 | 2567879.1335 | 1122399.7798 | 2567878.438 | 1122398.0604 | 2567873.7203 | 1122388.2806 | 2567869.5299 | 1122373.2732 | 2567866.5614 | 1122360.3381 | 2567864.4905 | 1122352.3339 | 2567861.5392 | 1122341.1774 | 2567860.8412 | 1122338.154
44 | 2567892.4955 | 1122383.3672 | 2567891.57 | 1122384.795 | 2567888.1873 | 1122389.6599 | 2567885.9851 | 1122393.1956 | 2567882.7005 | 1122397.6709 | 2567880.2663 | 1122401.0633
45 | 2567880.2663 | 1122401.0633 | 2567878.521 | 1122403.5072 | 2567869.0356 | 1122409.3273 | 2567868.4678 | 1122409.8528 | 2567866.035 | 1122412.0891
46 | 2567892.4955 | 1122383.3672 | 2567893.4173 | 1122384.1404 | 2567896.0479 | 1122404.5811 | 2567905.9906 | 1122403.55
47 | 2567892.4955 | 1122383.3672 | 2567894.3925 | 1122380.4445 | 2567896.6171 | 1122376.7752 | 2567898.6604 | 1122373.8073 | 2567901.4878 | 1122370.3906 | 2567904.2022 | 1122367.4524
48 | 2567866.035 | 1122412.0891 | 2567869.686 | 1122419.9402 | 2567877.0685 | 1122432.5474
49 | 2567877.0685 | 1122432.5474 | 2567877.9277 | 1122434.0146 | 2567886.868 | 1122447.496 | 2567895.5122 | 1122456.288
50 | 2567821.0827 | 1122301.5663 | 2567811.6241 | 1122288.428 | 2567809.7054 | 1122285.9545
51 | 2567738.4135 | 1122281.0041 | 2567733.9286 | 1122283.0846 | 2567727.7721 | 1122286.008
52 | 2567781.8295 | 1122352.7749 | 2567782.5528 | 1122351.0257 | 2567786.7118 | 1122342.7882 | 2567787.6639 | 1122339.1258 | 2567788.5729 | 1122333.1512 | 2567787.6978 | 1122328.1423 | 2567784.6497 | 1122323.4562 | 2567776.8125 | 1122317.3283 | 2567766.0149 | 1122311.3718 | 2567756.3206 | 1122305.5207 | 2567750.3163 | 1122300.3613 | 2567746.3476 | 1122296.5806 | 2567741.1111 | 1122286.4702 | 2567738.4135 | 1122281.0041
53 | 2567947.2348 | 1122251.4433 | 2567947.6659 | 1122253.5313
54 | 2567963.1108 | 1122244.2045 | 2567962.6139 | 1122235.7426 | 2567971.6723 | 1122234.871
55 | 2567992.7863 | 1122266.8426 | 2567960.7995 | 1122268.4374
56 | 2567903.9491 | 1122285.1013 | 2567902.6333 | 1122285.653 | 2567894.6472 | 1122292.0987
57 | 2567912.2336 | 1122330.4204 | 2567911.9684 | 1122326.9637
58 | 2567954.1379 | 1122329.5623 | 2567949.5028 | 1122323.6576
59 | 2567933.0676 | 1122330.5906 | 2567934.3176 | 1122329.6048
60 | 2568060.0621 | 1122550.2174 | 2568057.1126 | 1122549.5215 | 2568041.046 | 1122540.378
61 | 2568060.0621 | 1122550.2174 | 2568055.8826 | 1122560.4335 | 2568053.7739 | 1122565.0056
62 | 2568060.0621 | 1122550.2174 | 2568080.7084 | 1122555.0216 | 2568088.2313 | 1122552.8808 | 2568096.6673 | 1122560.0731
63 | 2568046.3963 | 1122573.3458 | 2568048.8014 | 1122573.1663 | 2568051.7504 | 1122569.3932 | 2568053.7739 | 1122565.0056
64 | 2568090.5023 | 1122588.5867 | 2568092.4393 | 1122587.387 | 2568093.242 | 1122586.0598 | 2568094.226 | 1122584.0203 | 2568094.4075 | 1122581.8849 | 2568094.1599 | 1122580.2743 | 2568093.5319 | 1122578.1877 | 2568092.7682 | 1122576.6799 | 2568092.189 | 1122575.071 | 2568092.1795 | 1122573.2701 | 2568093.7639 | 1122568.1036 | 2568095.6373 | 1122562.1685 | 2568096.6673 | 1122560.0731
65 | 2568015.2515 | 1122496.6834 | 2568018.2398 | 1122497.4234 | 2568021.2227 | 1122498.586 | 2568023.0794 | 1122499.6989 | 2568027.6862 | 1122503.1652 | 2568037.1417 | 1122512.0862 | 2568069.1847 | 1122538.5188 | 2568088.2313 | 1122552.8808 | 2568096.6673 | 1122560.0731
66 | 2568056.1044 | 1122625.6095 | 2568057.1632 | 1122623.1471 | 2568059.7628 | 1122618.9312 | 2568061.9622 | 1122614.862 | 2568077.1879 | 1122611.0906 | 2568082.7068 | 1122610.6168 | 2568091.243 | 1122610.5271 | 2568107.4704 | 1122612.4312 | 2568119.8888 | 1122614.4221 | 2568124.1582 | 1122615.3667 | 2568125.8922 | 1122606.3975 | 2568126.2356 | 1122602.7939 | 2568125.4893 | 1122600.2076 | 2568123.3501 | 1122595.2276 | 2568120.0219 | 1122589.9981 | 2568110.5405 | 1122577.5975 | 2568105.9912 | 1122571.852 | 2568102.3919 | 1122564.9453 | 2568098.3947 | 1122561.5425 | 2568096.6673 | 1122560.0731
67 | 2568054.5704 | 1122598.0593 | 2568057.0445 | 1122597.8128 | 2568058.8899 | 1122596.8025 | 2568060.683 | 1122594.6586 | 2568061.7158 | 1122591.6294 | 2568061.5574 | 1122589.3958 | 2568061.0271 | 1122588.2647 | 2568059.3591 | 1122586.3837 | 2568056.0107 | 1122583.1776 | 2568050.287 | 1122578.4722 | 2568046.3963 | 1122573.3458
68 | 2568046.3963 | 1122573.3458 | 2568043.7754 | 1122573.5375 | 2568036.6498 | 1122569.9789
69 | 2568015.2515 | 1122496.6834 | 2568016.0617 | 1122489.5088 | 2568016.6344 | 1122485.526 | 2568018.3795 | 1122477.2126 | 2568019.9234 | 1122470.2342 | 2568021.2493 | 1122464.3242 | 2568013.1557 | 1122460.6653 | 2568005.528 | 1122457.593 | 2567995.8741 | 1122453.4533 | 2567991.2121 | 1122451.2324 | 2567989.0176 | 1122456.2132 | 2567987.8919 | 1122459.1651 | 2567986.3983 | 1122462.5414
70 | 2568015.2515 | 1122496.6834 | 2568010.5316 | 1122496.6194 | 2568006.2384 | 1122497.0313 | 2568005.5744 | 1122497.0768
71 | 2568056.1044 | 1122625.6095 | 2568053.8189 | 1122630.902 | 2568052.7074 | 1122635.0656 | 2568050.1862 | 1122640.9708 | 2568049.9484 | 1122641.5861
72 | 2567986.3983 | 1122462.5414 | 2567980.6782 | 1122462.9053 | 2567974.0384 | 1122461.4509 | 2567964.8102 | 1122457.6202 | 2567958.7005 | 1122453.4579
73 | 2568005.5744 | 1122497.0768 | 2567998.861 | 1122497.5373 | 2567994.557 | 1122497.9107
74 | 2568036.6498 | 1122569.9789 | 2568028.2031 | 1122565.7605 | 2568018.544 | 1122561.3447
75 | 2568039.9029 | 1122677.8713 | 2568043.6301 | 1122668.3859 | 2568045.0133 | 1122654.3604 | 2568049.9484 | 1122641.5861
76 | 2567988.7076 | 1122498.4182 | 2567994.557 | 1122497.9107
77 | 2568013.567 | 1122559.0693 | 2568018.544 | 1122561.3447
78 | 2568013.567 | 1122559.0693 | 2568010.6628 | 1122557.7416
79 | 2568010.6628 | 1122557.7416 | 2568002.7788 | 1122554.1372
80 | 2567983.2209 | 1122548.2346 | 2567985.6089 | 1122546.2877 | 2568002.7788 | 1122554.1372
81 | 2567964.4804 | 1122497.5067 | 2567978.4448 | 1122498.3349 | 2567988.6246 | 1122498.4254 | 2567988.7076 | 1122498.4182
82 | 2567942.2317 | 1122494.1473 | 2567946.2224 | 1122494.8709 | 2567960.2086 | 1122497.2534 | 2567964.4804 | 1122497.5067
83 | 2567942.2317 | 1122494.1473 | 2567939.1873 | 1122493.0184 | 2567934.8348 | 1122490.985 | 2567931.7424 | 1122489.3145
84 | 2567942.2317 | 1122494.1473 | 2567941.5499 | 1122496.4521 | 2567941.173 | 1122498.0993 | 2567941.1485 | 1122502.1904 | 2567941.6985 | 1122505.5558 | 2567943.2574 | 1122508.6825 | 2567947.0482 | 1122512.4087 | 2567947.961 | 1122513.0825
85 | 2567902.0575 | 1122462.9451 | 2567909.1986 | 1122470.2108 | 2567915.8019 | 1122476.401 | 2567920.5625 | 1122481.2226 | 2567930.759 | 1122488.7833 | 2567931.7424 | 1122489.3145
86 | 2567948.3518 | 1122513.371 | 2567947.961 | 1122513.0825
87 | 2567902.0575 | 1122462.9451 | 2567899.3628 | 1122465.2273 | 2567896.9654 | 1122468.2971 | 2567893.204 | 1122474.4647 | 2567891.371 | 1122479.2546 | 2567891.0005 | 1122482.0914 | 2567891.6985 | 1122484.2776 | 2567894.3925 | 1122487.665 | 2567899.852 | 1122491.9381
88 | 2567902.0575 | 1122462.9451 | 2567895.5122 | 1122456.288
89 | 2567959.7441 | 1122520.1451 | 2567952.0418 | 1122516.0951 | 2567948.3518 | 1122513.371
90 | 2567928.9552 | 1122377.2258 | 2567933.3372 | 1122387.6996
91 | 2567928.9552 | 1122377.2258 | 2567933.5248 | 1122373.6664 | 2567940.2952 | 1122366.3045 | 2567946.7043 | 1122361.0778
92 | 2567928.9552 | 1122377.2258 | 2567926.8197 | 1122372.2847
93 | 2568027.1223 | 1122750.3033 | 2568024.569 | 1122747.2376 | 2568023.4476 | 1122740.8069 | 2568024.2838 | 1122731.2533 | 2568025.5662 | 1122725.8771 | 2568027.1205 | 1122716.4975 | 2568031.4373 | 1122706.0138 | 2568036.3637 | 1122686.8781 | 2568039.9029 | 1122677.8713
94 | 2568027.1223 | 1122750.3033 | 2567859.874 | 1122806.045
95 | 2567789.8029 | 1122515.178 | 2567791.4177 | 1122516.4281 | 2567793.0278 | 1122517.5534 | 2567794.2244 | 1122519.2479 | 2567794.6529 | 1122521.5134 | 2567794.8744 | 1122523.9913 | 2567795.4018 | 1122526.0006
96 | 2567753.5578 | 1122492.7073 | 2567757.1121 | 1122492.5438 | 2567761.0039 | 1122494.9464 | 2567775.9547 | 1122506.1055 | 2567786.2354 | 1122513.521 | 2567789.7064 | 1122515.1033 | 2567789.8029 | 1122515.178
97 | 2567810.4141 | 1122538.5935 | 2567808.1847 | 1122538.4497 | 2567804.8743 | 1122538.0561 | 2567802.7496 | 1122537.3004 | 2567800.1024 | 1122535.458 | 2567798.3359 | 1122533.9222 | 2567796.7267 | 1122531.5074 | 2567796.0385 | 1122529.7101 | 2567795.6645 | 1122527.5444 | 2567795.4018 | 1122526.0006
98 | 2567753.5578 | 1122492.7073 | 2567750.557 | 1122485.3085 | 2567747.6399 | 1122480.5884 | 2567742.1305 | 1122475.6598 | 2567726.1369 | 1122464.2062 | 2567713.5869 | 1122456.4361 | 2567706.9406 | 1122452.3474 | 2567702.0622 | 1122448.616 | 2567700.2371 | 1122446.2024 | 2567699.7581 | 1122443.159 | 2567699.4289 | 1122439.2921 | 2567699.9852 | 1122436.61 | 2567704.3862 | 1122428.9604 | 2567708.0083 | 1122419.8698
99 | 2567749.8025 | 1122450.9286 | 2567745.7595 | 1122449.1048 | 2567727.8998 | 1122434.8153 | 2567722.2415 | 1122430.8769 | 2567716.8882 | 1122426.3144 | 2567710.0905 | 1122421.3038 | 2567708.0083 | 1122419.8698
100 | 2567726.5398 | 1122402.5842 | 2567723.4721 | 1122404.3237 | 2567719.1481 | 1122407.6374 | 2567711.4398 | 1122414.0596 | 2567707.4462 | 1122417.1381 | 2567708.0083 | 1122419.8698
101 | 2567726.5398 | 1122402.5842 | 2567727.8786 | 1122402.0101 | 2567732.2189 | 1122401.7534 | 2567736.5344 | 1122402.6085 | 2567740.8914 | 1122404.0193
102 | 2567778.8029 | 1122359.3277 | 2567777.5512 | 1122363.2141 | 2567775.7075 | 1122368.8712 | 2567773.9391 | 1122372.7715 | 2567772.2556 | 1122376.6602 | 2567769.3973 | 1122384.3905 | 2567765.4838 | 1122398.1516 | 2567763.7267 | 1122409.9113 | 2567762.1382 | 1122412.8213 | 2567760.4255 | 1122414.1422 | 2567758.1515 | 1122414.3211 | 2567755.7341 | 1122413.6559 | 2567753.76 | 1122412.2213 | 2567748.8007 | 1122409.2241 | 2567744.2956 | 1122406.0799 | 2567740.8914 | 1122404.0193
103 | 2567920.7725 | 1122358.2931 | 2567918.2654 | 1122359.6071 | 2567907.3682 | 1122365.3345 | 2567904.2022 | 1122367.4524
104 | 2567778.8029 | 1122359.3277 | 2567770.3067 | 1122355.4155 | 2567765.7913 | 1122353.2588
105 | 2567781.8295 | 1122352.7749 | 2567780.1243 | 1122356.9416 | 2567778.8029 | 1122359.3277
106 | 2567737.541 | 1122339.9272 | 2567740.3951 | 1122341.5016 | 2567748.9556 | 1122345.8803 | 2567758.315 | 1122349.6878 | 2567765.7913 | 1122353.2588
107 | 2567781.8295 | 1122352.7749 | 2567799.7201 | 1122360.4387
108 | 2567696.7493 | 1122303.2381 | 2567703.6763 | 1122299.2435 | 2567713.7421 | 1122293.798 | 2567718.4543 | 1122290.9602 | 2567726.3516 | 1122286.6825 | 2567727.7721 | 1122286.008
109 | 2567931.6258 | 1122230.2368 | 2567932.21 | 1122229.3342 | 2567933.3718 | 1122225.9263 | 2567933.5071 | 1122223.5703
110 | 2568014.4837 | 1122264.8206 | 2568027.5391 | 1122263.604
111 | 2567992.7863 | 1122266.8426 | 2568014.4837 | 1122264.8206
112 | 2568027.5391 | 1122263.604 | 2568031.363 | 1122263.2477
113 | 2568044.3284 | 1122262.8571 | 2568036.2989 | 1122262.7877 | 2568031.363 | 1122263.2477
114 | 2567979.7335 | 1122234.0954 | 2567971.6723 | 1122234.871
115 | 2567979.7335 | 1122234.0954 | 2567993.0842 | 1122135.475
116 | 2567920.7725 | 1122358.2931 | 2567926.8197 | 1122372.2847
117 | 2567916.051 | 1122344.9003 | 2567920.7725 | 1122358.2931
118 | 2567916.051 | 1122344.9003 | 2567913.3556 | 1122336.9107 | 2567913.2225 | 1122336.1628
119 | 2567916.051 | 1122344.9003 | 2567929.4473 | 1122333.4456 | 2567933.0676 | 1122330.5906
120 | 2567913.2225 | 1122336.1628 | 2567912.2586 | 1122330.7467 | 2567912.2336 | 1122330.4204
121 | 2568114.4979 | 1122094.9342 | 2568114.6747 | 1122099.2021 | 2568114.3347 | 1122138.4792 | 2568112.882 | 1122158.3635 | 2568110.2634 | 1122163.4132 | 2568103.2657 | 1122165.7847 | 2568090.7074 | 1122166.0615
122 | 2568075.3974 | 1122166.399 | 2568090.7074 | 1122166.0615
123 | 2568153.7444 | 1122182.4487 | 2568090.7074 | 1122166.0615
124 | 2568076.1837 | 1122094.9257 | 2568078.5976 | 1122094.924 | 2568114.4979 | 1122094.9342
125 | 2568153.7444 | 1122182.4487 | 2568163.121 | 1122183.6665 | 2568168.6014 | 1122184.5714 | 2568174.8375 | 1122185.4834
126 | 2568044.0182 | 1122093.8398 | 2568045.4263 | 1122094.6883 | 2568058.9007 | 1122094.9171 | 2568069.4124 | 1122094.9281 | 2568076.1837 | 1122094.9257
127 | 2568076.1837 | 1122094.9257 | 2568076.0384 | 1122096.6162 | 2568077.6836 | 1122098.5529 | 2568078.0925 | 1122101.4966 | 2568077.6111 | 1122113.9943 | 2568076.4318 | 1122130.6041
128 | 2568044.0182 | 1122093.8398 | 2568042.3312 | 1122121.7419
129 | 2568042.3312 | 1122121.7419 | 2568041.6569 | 1122132.8941 | 2568039.6487 | 1122135.2281 | 2568014.7904 | 1122135.3599
130 | 2568014.7904 | 1122135.3599 | 2568000.8307 | 1122135.4339
131 | 2567993.0842 | 1122135.475 | 2568000.8307 | 1122135.4339
132 | 2567973.1392 | 1122348.5443 | 2567966.9823 | 1122343.8404 | 2567962.1214 | 1122339.0304 | 2567959.0349 | 1122335.8007 | 2567956.9133 | 1122333.0981
133 | 2567954.1379 | 1122329.5623 | 2567956.9133 | 1122333.0981

## bus_geodata
| x | y | coords
0 | 2567880.619 | 1122178.5666
1 | 2567866.1642 | 1122174.3023
2 | 2567866.2285 | 1122173.2864
3 | 2567801.1922 | 1122220.9609
4 | 2567900.3223 | 1122255.7058
5 | 2567881.9616 | 1122255.9814
6 | 2567919.9896 | 1122241.4378
7 | 2567894.3272 | 1122266.7544
8 | 2567861.0014 | 1122276.4255
9 | 2567859.2235 | 1122242.0507
10 | 2567743.6767 | 1122225.4258
11 | 2567842.5051 | 1122234.2313
12 | 2567722.8548 | 1122235.6311
13 | 2567792.1259 | 1122263.5959
14 | 2567736.6059 | 1122276.0417
15 | 2567947.4691 | 1122269.4177
16 | 2567953.8589 | 1122268.7835
17 | 2567951.2526 | 1122296.4223
18 | 2567898.7757 | 1122272.3002
19 | 2567890.189 | 1122278.927
20 | 2567901.5343 | 1122277.6771
21 | 2567911.8878 | 1122295.8312
22 | 2567905.651 | 1122297.6875
23 | 2567911.7597 | 1122322.7733
24 | 2567940.151 | 1122311.6111
25 | 2567947.0078 | 1122320.4791
26 | 2567945.997 | 1122305.1202
27 | 2567887.7396 | 1122272.2477
28 | 2567866.3634 | 1122171.1552
29 | 2567929.2074 | 1122233.7748
30 | 2567872.4982 | 1122301.4899
31 | 2567848.8433 | 1122269.4565
32 | 2567860.8412 | 1122338.154
33 | 2567880.2663 | 1122401.0633
34 | 2567892.4955 | 1122383.3672
35 | 2567866.035 | 1122412.0891
36 | 2567877.0685 | 1122432.5474
37 | 2567809.7054 | 1122285.9545
38 | 2567738.4135 | 1122281.0041
39 | 2567947.6659 | 1122253.5313
40 | 2567963.1108 | 1122244.2045
41 | 2567960.7995 | 1122268.4374
42 | 2567892.3214 | 1122285.4633
43 | 2567903.9491 | 1122285.1013
44 | 2567893.4833 | 1122304.8847
45 | 2567911.9684 | 1122326.9637
46 | 2567949.5028 | 1122323.6576
47 | 2567934.3176 | 1122329.6048
48 | 2568041.046 | 1122540.378
49 | 2568060.0621 | 1122550.2174
50 | 2568053.7739 | 1122565.0056
51 | 2568096.6673 | 1122560.0731
52 | 2568046.3963 | 1122573.3458
53 | 2568090.5023 | 1122588.5867
54 | 2568015.2515 | 1122496.6834
55 | 2568056.1044 | 1122625.6095
56 | 2567986.3983 | 1122462.5414
57 | 2568005.5744 | 1122497.0768
58 | 2568054.5704 | 1122598.0593
59 | 2568036.6498 | 1122569.9789
60 | 2568049.9484 | 1122641.5861
61 | 2567958.7005 | 1122453.4579
62 | 2567994.557 | 1122497.9107
63 | 2568013.567 | 1122559.0693
64 | 2568018.544 | 1122561.3447
65 | 2568010.6628 | 1122557.7416
66 | 2568002.7788 | 1122554.1372
67 | 2567983.2209 | 1122548.2346
68 | 2567988.7076 | 1122498.4182
69 | 2567964.4804 | 1122497.5067
70 | 2567942.2317 | 1122494.1473
71 | 2567931.7424 | 1122489.3145
72 | 2567947.961 | 1122513.0825
73 | 2567902.0575 | 1122462.9451
74 | 2567948.3518 | 1122513.371
75 | 2567933.3372 | 1122387.6996
76 | 2567928.9552 | 1122377.2258
77 | 2568039.9029 | 1122677.8713
78 | 2568027.1223 | 1122750.3033
79 | 2567859.874 | 1122806.045
80 | 2567959.7441 | 1122520.1451
81 | 2567899.852 | 1122491.9381
82 | 2567895.5122 | 1122456.288
83 | 2567789.8029 | 1122515.178
84 | 2567795.4018 | 1122526.0006
85 | 2567753.5578 | 1122492.7073
86 | 2567810.4141 | 1122538.5935
87 | 2567708.0083 | 1122419.8698
88 | 2567749.8025 | 1122450.9286
89 | 2567726.5398 | 1122402.5842
90 | 2567740.8914 | 1122404.0193
91 | 2567821.0827 | 1122301.5663
92 | 2567905.9906 | 1122403.55
93 | 2567904.2022 | 1122367.4524
94 | 2567778.8029 | 1122359.3277
95 | 2567765.7913 | 1122353.2588
96 | 2567781.8295 | 1122352.7749
97 | 2567737.541 | 1122339.9272
98 | 2567799.7201 | 1122360.4387
99 | 2567727.7721 | 1122286.008
100 | 2567878.6303 | 1122315.4179
101 | 2567931.6258 | 1122230.2368
102 | 2567933.5071 | 1122223.5703
103 | 2568014.4837 | 1122264.8206
104 | 2568027.5391 | 1122263.604
105 | 2567992.7863 | 1122266.8426
106 | 2568031.363 | 1122263.2477
107 | 2568044.3284 | 1122262.8571
108 | 2567947.2348 | 1122251.4433
109 | 2567971.6723 | 1122234.871
110 | 2567979.7335 | 1122234.0954
111 | 2567926.8197 | 1122372.2847
112 | 2567920.7725 | 1122358.2931
113 | 2567916.051 | 1122344.9003
114 | 2567946.7043 | 1122361.0778
115 | 2567913.2225 | 1122336.1628
116 | 2567933.0676 | 1122330.5906
117 | 2567912.2336 | 1122330.4204
118 | 2568090.7074 | 1122166.0615
119 | 2568114.4979 | 1122094.9342
120 | 2568075.3974 | 1122166.399
121 | 2568153.7444 | 1122182.4487
122 | 2568076.1837 | 1122094.9256
123 | 2568174.8375 | 1122185.4834
124 | 2568044.0182 | 1122093.8398
125 | 2568076.4318 | 1122130.6041
126 | 2568042.3312 | 1122121.7419
127 | 2568014.7904 | 1122135.3599
128 | 2568000.8307 | 1122135.4339
129 | 2567993.0842 | 1122135.475
130 | 2567973.1392 | 1122348.5443
131 | 2567956.9133 | 1122333.0981
132 | 2567954.1379 | 1122329.5623
133 | 2567696.7493 | 1122303.2381
134 | 2567894.6472 | 1122292.0987
135 | 2567916.051 | 1122344.9003

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1