## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5402-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5402-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5402-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5402-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5402-6_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5402-6_0_3_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_5402-6_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5402-6_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5402-6_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_5402-6_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5402-6_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5402-6_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5402-6_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_5402-6_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5402-6_0_3_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_5402-6_0_3_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_5402-6_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5402-6_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5402-6_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_5402-6_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_5402-6_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5402-6_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5402-6_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5402-6_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_5402-6_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_5402-6_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_5402-6_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_5402-6_0_3_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_5402-6_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5402-6_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5402-6_0_3_node_142 | 0.4 | n |  | TRUE
31 | bus_LV_5402-6_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_5402-6_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_5402-6_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_5402-6_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5402-6_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_5402-6_0_3_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_5402-6_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_5402-6_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_5402-6_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_5402-6_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_5402-6_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_5402-6_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_5402-6_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_5402-6_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_5402-6_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_5402-6_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_5402-6_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_5402-6_0_3_node_134 | 0.4 | n |  | TRUE
49 | bus_LV_5402-6_0_3_node_135 | 0.4 | n |  | TRUE
50 | bus_LV_5402-6_0_3_node_121 | 0.4 | n |  | TRUE
51 | bus_LV_5402-6_0_3_node_78 | 0.4 | n |  | TRUE
52 | bus_LV_5402-6_0_3_node_136 | 0.4 | n |  | TRUE
53 | bus_LV_5402-6_0_3_node_137 | 0.4 | n |  | TRUE
54 | bus_LV_5402-6_0_3_node_138 | 0.4 | n |  | TRUE
55 | bus_LV_5402-6_0_3_node_139 | 0.4 | n |  | TRUE
56 | bus_LV_5402-6_0_3_node_143 | 0.4 | n |  | TRUE
57 | bus_LV_5402-6_0_3_node_140 | 0.4 | n |  | TRUE
58 | bus_LV_5402-6_0_3_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_5402-6_0_3_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_5402-6_0_3_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_5402-6_0_3_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_5402-6_0_3_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_5402-6_0_3_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_5402-6_0_3_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_5402-6_0_3_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_5402-6_0_3_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_5402-6_0_3_node_82 | 0.4 | n |  | TRUE
68 | bus_MV_110_0_node_258 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5402-6_0_3_load_0 | 0 | 0.0038959 | 0.00097641 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5402-6_0_3_load_1 | 1 | 0.0024022 | 0.00060206 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5402-6_0_3_load_5 | 4 | 0.0027006 | 0.00067683 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5402-6_0_3_load_4 | 6 | 0.0029623 | 0.00074242 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5402-6_0_3_load_11 | 8 | 0.0062079 | 0.0015559 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5402-6_0_3_load_7 | 10 | 0.0037817 | 0.00094778 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5402-6_0_3_load_9 | 11 | 0.00019879 | 4.9821e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5402-6_0_3_load_26 | 15 | 0.0012848 | 0.000322 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5402-6_0_3_load_12 | 16 | 0.002145 | 0.00053758 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5402-6_0_3_load_18 | 19 | 0.00087115 | 0.00021833 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5402-6_0_3_load_14 | 20 | 0.0011495 | 0.00028809 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5402-6_0_3_load_15 | 21 | 0.0017447 | 0.00043727 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5402-6_0_3_load_19 | 24 | 0.0011497 | 0.00028813 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5402-6_0_3_load_31 | 25 | 0.0019017 | 0.00047661 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5402-6_0_3_load_27 | 26 | 0.0037065 | 0.00092894 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5402-6_0_3_load_81 | 27 | 0.00023128 | 5.7964e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5402-6_0_3_load_20 | 28 | 0.00020526 | 5.1444e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5402-6_0_3_load_23 | 29 | 0.001482 | 0.00037144 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5402-6_0_3_load_142 | 30 | 7.4496e-05 | 1.867e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5402-6_0_3_load_33 | 32 | 0.00014412 | 3.612e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5402-6_0_3_load_29 | 34 | 0.00033941 | 8.5064e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5402-6_0_3_load_68 | 36 | 0.0037028 | 0.00092801 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5402-6_0_3_load_32 | 37 | 0.017096 | 0.0042847 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5402-6_0_3_load_36 | 39 | 0.0020745 | 0.00051991 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5402-6_0_3_load_38 | 42 | 0.016085 | 0.0040313 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5402-6_0_3_load_39 | 43 | 0.0054084 | 0.0013555 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5402-6_0_3_load_41 | 45 | 0.0018467 | 0.00046282 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5402-6_0_3_load_42 | 46 | 0.0038306 | 0.00096004 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5402-6_0_3_load_134 | 48 | 0.0024564 | 0.00061564 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5402-6_0_3_load_135 | 49 | 0.0038053 | 0.0009537 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5402-6_0_3_load_136 | 52 | 0.0012228 | 0.00030647 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5402-6_0_3_load_137 | 53 | 0.0013636 | 0.00034175 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5402-6_0_3_load_138 | 54 | 0.00072165 | 0.00018086 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5402-6_0_3_load_143 | 56 | 0.00085964 | 0.00021545 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5402-6_0_3_load_140 | 57 | 0.00052253 | 0.00013096 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5402-6_0_3_load_79 | 59 | 0.0014138 | 0.00035433 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5402-6_0_3_load_72 | 61 | 0.00014164 | 3.5498e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5402-6_0_3_load_73 | 62 | 0.001344 | 0.00033683 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5402-6_0_3_load_75 | 63 | 0.0011325 | 0.00028384 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5402-6_0_3_load_80 | 66 | 0.00063658 | 0.00015954 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5402-6_0_3_load_82 | 67 | 0.0015045 | 0.00037706 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5402-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.053469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5402-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.034593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5402-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.038548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5402-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.035695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5402-6_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.038418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5402-6_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.0096385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_5402-6_0_3_line_6 | NAYY 4x150 SE | 5 | 44 | 0.20545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5402-6_0_3_line_7 | NAYY 4x150 SE | 5 | 45 | 0.039103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5402-6_0_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.0048708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5402-6_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.01769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5402-6_0_3_line_10 | NAYY 4x150 SE | 8 | 16 | 0.044347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5402-6_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.017916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5402-6_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.026071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5402-6_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0070514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5402-6_0_3_line_14 | NAYY 4x150 SE | 12 | 31 | 0.007298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5402-6_0_3_line_15 | NAYY 4x150 SE | 12 | 29 | 0.03445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5402-6_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.018112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5402-6_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.027556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5402-6_0_3_line_18 | NAYY 4x150 SE | 14 | 29 | 0.028166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_5402-6_0_3_line_19 | NAYY 4x150 SE | 14 | 28 | 0.015066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_5402-6_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.053208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_5402-6_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.057198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5402-6_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.030675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5402-6_0_3_line_23 | NAYY 4x150 SE | 17 | 20 | 0.044182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_5402-6_0_3_line_24 | NAYY 4x150 SE | 18 | 25 | 0.03643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5402-6_0_3_line_25 | NAYY 4x150 SE | 18 | 26 | 0.020734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5402-6_0_3_line_26 | NAYY 4x150 SE | 19 | 27 | 0.0044636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5402-6_0_3_line_27 | NAYY 4x150 SE | 20 | 21 | 0.03418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_5402-6_0_3_line_28 | NAYY 4x150 SE | 21 | 22 | 0.049815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_5402-6_0_3_line_29 | NAYY 4x150 SE | 22 | 23 | 0.047196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5402-6_0_3_line_30 | NAYY 4x150 SE | 22 | 24 | 0.028386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_5402-6_0_3_line_31 | NAYY 4x150 SE | 23 | 30 | 0.037889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5402-6_0_3_line_32 | NAYY 4x150 SE | 24 | 28 | 0.037376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_5402-6_0_3_line_33 | NAYY 4x150 SE | 26 | 33 | 0.048142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5402-6_0_3_line_34 | NAYY 4x150 SE | 27 | 67 | 0.050312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5402-6_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.019977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5402-6_0_3_line_36 | NAYY 4x150 SE | 32 | 37 | 0.058963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5402-6_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.14912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5402-6_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.061049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5402-6_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.05494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5402-6_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.028889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5402-6_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.030807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5402-6_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5402-6_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.012541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5402-6_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.045132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5402-6_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.0086082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5402-6_0_3_line_46 | NAYY 4x150 SE | 44 | 50 | 0.16666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5402-6_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.11101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5402-6_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.023885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5402-6_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.017204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5402-6_0_3_line_50 | NAYY 4x150 SE | 48 | 52 | 0.010386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5402-6_0_3_line_51 | NAYY 4x150 SE | 49 | 51 | 0.08177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5402-6_0_3_line_52 | NAYY 4x150 SE | 50 | 54 | 0.045801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5402-6_0_3_line_53 | NAYY 4x150 SE | 50 | 55 | 0.088597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5402-6_0_3_line_54 | NAYY 4x150 SE | 51 | 67 | 0.06827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5402-6_0_3_line_55 | NAYY 4x150 SE | 51 | 64 | 0.01268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5402-6_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.018081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5402-6_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.011496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5402-6_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.045788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5402-6_0_3_line_59 | NAYY 4x150 SE | 57 | 59 | 0.027034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5402-6_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.073263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5402-6_0_3_line_61 | NAYY 4x150 SE | 59 | 64 | 0.027919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5402-6_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.064095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5402-6_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.075697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5402-6_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.011683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5402-6_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.019286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5402-6_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.0020249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5402-6_0_3_trafo_2 | 0.25 MVA 20/0.4 kV | 68 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35
0 | 2566054.1335 | 1121764.0923 | 2566059.3628 | 1121749.9334 | 2566072.7854 | 1121713.9817
1 | 2566042.1483 | 1121796.5426 | 2566054.1335 | 1121764.0923
2 | 2566086.2683 | 1121677.8681 | 2566072.7854 | 1121713.9817
3 | 2566042.1483 | 1121796.5426 | 2566029.5743 | 1121829.9493
4 | 2566086.2683 | 1121677.8681 | 2566049.5973 | 1121666.0794
5 | 2566029.5743 | 1121829.9493 | 2566026.179 | 1121838.97
6 | 2565878.3346 | 1121614.0966 | 2565883.1242 | 1121616.8042 | 2565891.836 | 1121622.9803 | 2565899.3135 | 1121629.1078 | 2565905.9644 | 1121636.3739 | 2565904.6873 | 1121638.3043 | 2565903.8046 | 1121640.4326 | 2565903.347 | 1121642.703 | 2565903.3369 | 1121645.0153 | 2565903.7739 | 1121647.2807 | 2565904.6421 | 1121649.4213 | 2565905.9026 | 1121651.3596 | 2565907.8649 | 1121653.305 | 2565910.2177 | 1121654.748 | 2565912.8449 | 1121655.6114 | 2565915.5998 | 1121655.8515 | 2565918.3356 | 1121655.4692 | 2565920.906 | 1121654.4653 | 2565923.1879 | 1121652.9072 | 2565931.5104 | 1121657.0735 | 2565936.0471 | 1121660.0827 | 2565941.0163 | 1121661.8444 | 2565947.2147 | 1121661.3648 | 2565954.1647 | 1121660.1361 | 2565964.68 | 1121653.7958 | 2565968.4479 | 1121651.7958 | 2565975.6768 | 1121649.4094 | 2565979.5803 | 1121648.1979 | 2565985.0998 | 1121647.6888 | 2565991.5144 | 1121648.6197 | 2565996.1954 | 1121649.8718 | 2566008.9638 | 1121653.2905 | 2566020.7066 | 1121656.7261 | 2566032.2044 | 1121660.4855 | 2566046.1048 | 1121664.954 | 2566049.5973 | 1121666.0794
7 | 2566049.5973 | 1121666.0794 | 2566048.3975 | 1121674.9128 | 2566044.732 | 1121686.9061 | 2566038.5141 | 1121703.4216
8 | 2566127.9923 | 1121832.7786 | 2566123.5049 | 1121830.8844
9 | 2566127.9923 | 1121832.7786 | 2566144.3276 | 1121839.6793
10 | 2566026.179 | 1121838.97 | 2566010.5571 | 1121880.4742
11 | 2566160.8717 | 1121846.6679 | 2566144.3276 | 1121839.6793
12 | 2566110.7303 | 1121876.6393 | 2566107.1117 | 1121885.8337 | 2566106.0533 | 1121891.0089 | 2566108.2519 | 1121893.8535 | 2566115.1021 | 1121896.4127
13 | 2566121.7076 | 1121898.8805 | 2566115.1021 | 1121896.4127
14 | 2566167.6129 | 1121849.5093 | 2566160.8717 | 1121846.6679
15 | 2566160.8717 | 1121846.6679 | 2566154.3177 | 1121863.4686 | 2566148.5737 | 1121878.8471
16 | 2566138.7183 | 1121905.2327 | 2566121.7076 | 1121898.8805
17 | 2566121.7076 | 1121898.8805 | 2566131.5431 | 1121873.1391
18 | 2566138.7183 | 1121905.2327 | 2566148.5737 | 1121878.8471
19 | 2566138.7183 | 1121905.2327 | 2566136.4844 | 1121911.2038 | 2566133.4392 | 1121919.3432
20 | 2565991.8139 | 1121930.2712 | 2566010.5571 | 1121880.4742
21 | 2565991.8139 | 1121930.2712 | 2565987.6199 | 1121938.7546 | 2565970.8585 | 1121983.4605
22 | 2565991.8139 | 1121930.2712 | 2565963.6083 | 1121918.2136
23 | 2565991.8139 | 1121930.2712 | 2566032.4407 | 1121947.6349
24 | 2565970.8585 | 1121983.4605 | 2565937.1748 | 1121969.5848
25 | 2565970.8585 | 1121983.4605 | 2565963.578 | 1122002.8748
26 | 2565963.6083 | 1121918.2136 | 2565959.5039 | 1121916.459
27 | 2566032.4407 | 1121947.6349 | 2566056.6616 | 1121957.9868 | 2566063.8701 | 1121961.0694
28 | 2566109.6727 | 1121980.656 | 2566063.8701 | 1121961.0694
29 | 2566153.1745 | 1121999.2546 | 2566117.0866 | 1121983.8159 | 2566109.6727 | 1121980.656
30 | 2566109.6727 | 1121980.656 | 2566120.2274 | 1121954.3054
31 | 2566159.8524 | 1121961.965 | 2566153.1745 | 1121999.2546
32 | 2566120.2274 | 1121954.3054 | 2566122.2222 | 1121949.3253 | 2566133.4392 | 1121919.3432
33 | 2565946.674 | 1122047.9517 | 2565963.578 | 1122002.8748
34 | 2565913.242 | 1121896.6825 | 2565959.5039 | 1121916.459
35 | 2566167.6129 | 1121849.5093 | 2566171.7361 | 1121836.5908 | 2566173.6654 | 1121830.4714
36 | 2566175.6281 | 1121780.2711 | 2566166.4048 | 1121808.74 | 2566170.181 | 1121810.9644 | 2566176.9143 | 1121813.7614 | 2566177.5786 | 1121818.0598 | 2566173.6654 | 1121830.4714
37 | 2565862.9448 | 1121976.2106 | 2565865.6142 | 1121972.2824 | 2565868.9063 | 1121969.3735 | 2565872.836 | 1121968.7398 | 2565879.2623 | 1121971.7939 | 2565889.0199 | 1121977.5083 | 2565894.2227 | 1121982.4259 | 2565893.0067 | 1121986.9683 | 2565881.6015 | 1122018.5821 | 2565882.8607 | 1122021.6765 | 2565945.4761 | 1122047.5026 | 2565946.674 | 1122047.9517
38 | 2565925.2406 | 1122105.1237 | 2565946.674 | 1122047.9517
39 | 2565925.2406 | 1122105.1237 | 2565909.4282 | 1122099.2433 | 2565879.1653 | 1122088.2865 | 2565873.6657 | 1122086.1937
40 | 2566184.532 | 1121752.788 | 2566175.6281 | 1121780.2711
41 | 2566184.532 | 1121752.788 | 2566195.5487 | 1121756.0946 | 2566197.3632 | 1121755.0728 | 2566201.0622 | 1121746.2588 | 2566202.9757 | 1121738.8377
42 | 2566208.8883 | 1121715.5773 | 2566206.4217 | 1121725.4738 | 2566202.9757 | 1121738.8377
43 | 2566208.8883 | 1121715.5773 | 2566196.8137 | 1121712.0653
44 | 2566196.8137 | 1121712.0653 | 2566153.6981 | 1121698.7275
45 | 2566153.6981 | 1121698.7275 | 2566145.4743 | 1121696.1835
46 | 2565878.3346 | 1121614.0966 | 2565883.1242 | 1121616.8042 | 2565891.836 | 1121622.9803 | 2565899.3135 | 1121629.1078 | 2565905.9644 | 1121636.3739 | 2565904.6873 | 1121638.3043 | 2565903.8046 | 1121640.4326 | 2565903.347 | 1121642.703 | 2565903.3369 | 1121645.0153 | 2565903.7739 | 1121647.2807 | 2565904.6421 | 1121649.4213 | 2565905.9026 | 1121651.3596 | 2565889.1315 | 1121658.9248 | 2565871.4646 | 1121667.6513 | 2565867.0634 | 1121669.4993 | 2565855.604 | 1121680.7142 | 2565838.5432 | 1121688.8593 | 2565838.5769 | 1121694.8066 | 2565841.9977 | 1121699.6118 | 2565847.979 | 1121701.6679 | 2565855.241 | 1121702.4272 | 2565866.6886 | 1121701.4064
47 | 2566038.5141 | 1121703.4216 | 2566032.0947 | 1121720.4719 | 2566015.9328 | 1121762.2284 | 2566012.715 | 1121767.4269 | 2566008.338 | 1121768.0963 | 2565997.116 | 1121763.9575 | 2565990.613 | 1121762.3711 | 2565988.3483 | 1121762.873 | 2565985.4399 | 1121765.4796 | 2565981.2362 | 1121777.35
48 | 2565884.6159 | 1121776.9543 | 2565892.8426 | 1121754.5311
49 | 2565884.6159 | 1121776.9543 | 2565878.6799 | 1121793.1014
50 | 2565896.42 | 1121744.7803 | 2565892.8426 | 1121754.5311
51 | 2565850.4657 | 1121869.8498 | 2565878.6799 | 1121793.1014
52 | 2565866.6886 | 1121701.4064 | 2565871.3491 | 1121697.6782 | 2565875.026 | 1121691.8656 | 2565880.147 | 1121683.6325 | 2565889.1529 | 1121679.0793 | 2565900.2697 | 1121675.4814 | 2565901.7351 | 1121675.251
53 | 2565866.6886 | 1121701.4064 | 2565869.0586 | 1121707.2626 | 2565868.542 | 1121712.735 | 2565853.5604 | 1121738.0102 | 2565829.3962 | 1121778.7898
54 | 2565850.4657 | 1121869.8498 | 2565887.5599 | 1121885.7036 | 2565913.242 | 1121896.6825
55 | 2565850.4657 | 1121869.8498 | 2565838.7762 | 1121864.8579
56 | 2565902.6479 | 1121727.8054 | 2565896.42 | 1121744.7803
57 | 2565823.529 | 1121788.6835 | 2565829.3962 | 1121778.7898
58 | 2565784.5113 | 1121922.0274 | 2565810.583 | 1121930.8508 | 2565812.8476 | 1121930.3488 | 2565815.1136 | 1121928.724 | 2565819.6843 | 1121916.3875
59 | 2565819.6843 | 1121916.3875 | 2565829.0766 | 1121891.0374
60 | 2565756.9081 | 1121989.907 | 2565784.5113 | 1121922.0274
61 | 2565838.7762 | 1121864.8579 | 2565829.0766 | 1121891.0374
62 | 2565756.9081 | 1121989.907 | 2565794.9828 | 1122003.309 | 2565803.5195 | 1122008.6078 | 2565807.073 | 1122015.0798 | 2565809.1258 | 1122021.0356
63 | 2565809.1258 | 1122021.0356 | 2565810.335 | 1122024.5439 | 2565811.8287 | 1122032.2726 | 2565809.8115 | 1122041.044 | 2565807.4565 | 1122046.0043 | 2565803.1684 | 1122055.5112 | 2565800.2856 | 1122058.5179 | 2565796.6781 | 1122060.1948 | 2565790.7954 | 1122061.8734 | 2565782.9315 | 1122062.3293 | 2565775.6971 | 1122062.2703 | 2565766.4669 | 1122058.9155
64 | 2565838.7762 | 1121864.8579 | 2565828.0346 | 1121860.2637
65 | 2565810.302 | 1121852.6796 | 2565828.0346 | 1121860.2637
66 | 2565810.302 | 1121852.6796 | 2565808.4399 | 1121851.884

## bus_geodata
| x | y | coords
0 | 2566054.1335 | 1121764.0923
1 | 2566072.7854 | 1121713.9817
2 | 2566042.1483 | 1121796.5426
3 | 2566086.2683 | 1121677.8681
4 | 2566029.5743 | 1121829.9493
5 | 2566049.5973 | 1121666.0794
6 | 2566123.5049 | 1121830.8844
7 | 2566127.9923 | 1121832.7786
8 | 2566026.179 | 1121838.97
9 | 2566144.3276 | 1121839.6793
10 | 2566110.7303 | 1121876.6393
11 | 2566115.1021 | 1121896.4127
12 | 2566160.8717 | 1121846.6679
13 | 2566121.7076 | 1121898.8805
14 | 2566138.7183 | 1121905.2327
15 | 2566131.5431 | 1121873.1391
16 | 2566010.5571 | 1121880.4742
17 | 2565991.8139 | 1121930.2712
18 | 2565970.8585 | 1121983.4605
19 | 2565963.6083 | 1121918.2136
20 | 2566032.4407 | 1121947.6349
21 | 2566063.8701 | 1121961.0694
22 | 2566109.6727 | 1121980.656
23 | 2566153.1745 | 1121999.2546
24 | 2566120.2274 | 1121954.3054
25 | 2565937.1748 | 1121969.5848
26 | 2565963.578 | 1122002.8748
27 | 2565959.5039 | 1121916.459
28 | 2566133.4392 | 1121919.3432
29 | 2566148.5737 | 1121878.8471
30 | 2566159.8524 | 1121961.965
31 | 2566167.6129 | 1121849.5093
32 | 2566173.6654 | 1121830.4714
33 | 2565946.674 | 1122047.9517
34 | 2565862.9448 | 1121976.2106
35 | 2565925.2406 | 1122105.1237
36 | 2565873.6657 | 1122086.1937
37 | 2566175.6281 | 1121780.2711
38 | 2566184.532 | 1121752.788
39 | 2566202.9757 | 1121738.8377
40 | 2566196.8137 | 1121712.0653
41 | 2566208.8883 | 1121715.5773
42 | 2566153.6981 | 1121698.7275
43 | 2566145.4743 | 1121696.1835
44 | 2565878.3346 | 1121614.0966
45 | 2566038.5141 | 1121703.4216
46 | 2565981.2362 | 1121777.35
47 | 2565884.6159 | 1121776.9543
48 | 2565892.8426 | 1121754.5311
49 | 2565878.6799 | 1121793.1014
50 | 2565866.6886 | 1121701.4064
51 | 2565850.4657 | 1121869.8498
52 | 2565896.42 | 1121744.7803
53 | 2565902.6479 | 1121727.8054
54 | 2565901.7351 | 1121675.251
55 | 2565829.3962 | 1121778.7898
56 | 2565823.529 | 1121788.6835
57 | 2565819.6843 | 1121916.3875
58 | 2565784.5113 | 1121922.0274
59 | 2565829.0766 | 1121891.0374
60 | 2565756.9081 | 1121989.907
61 | 2565809.1258 | 1122021.0356
62 | 2565766.4669 | 1122058.9155
63 | 2565828.0346 | 1121860.2637
64 | 2565838.7762 | 1121864.8579
65 | 2565810.302 | 1121852.6796
66 | 2565808.4399 | 1121851.884
67 | 2565913.242 | 1121896.6825
68 | 2566127.9923 | 1121832.7786

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1