## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5402-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5402-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5402-8_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5402-8_0_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_5402-8_0_2_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_5402-8_0_2_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_5402-8_0_2_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_5402-8_0_2_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_5402-8_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5402-8_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5402-8_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5402-8_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5402-8_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5402-8_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5402-8_0_2_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_5402-8_0_2_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_5402-8_0_2_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_5402-8_0_2_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_5402-8_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5402-8_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5402-8_0_2_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_5402-8_0_2_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_5402-8_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_5402-8_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_5402-8_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_5402-8_0_2_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_5402-8_0_2_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_5402-8_0_2_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_5402-8_0_2_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_5402-8_0_2_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_5402-8_0_2_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_5402-8_0_2_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5402-8_0_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_5402-8_0_2_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_5402-8_0_2_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_5402-8_0_2_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_5402-8_0_2_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_5402-8_0_2_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_5402-8_0_2_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5402-8_0_2_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_5402-8_0_2_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_5402-8_0_2_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_5402-8_0_2_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_5402-8_0_2_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_5402-8_0_2_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_5402-8_0_2_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_5402-8_0_2_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_5402-8_0_2_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_5402-8_0_2_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_5402-8_0_2_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_5402-8_0_2_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_5402-8_0_2_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_5402-8_0_2_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5402-8_0_2_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_5402-8_0_2_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_5402-8_0_2_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_5402-8_0_2_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_5402-8_0_2_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_5402-8_0_2_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_5402-8_0_2_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_5402-8_0_2_node_65 | 0.4 | n |  | TRUE
61 | bus_MV_110_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5402-8_0_2_load_0 | 0 | 0.014878 | 0.0037287 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5402-8_0_2_load_1 | 1 | 0.00096604 | 0.00024211 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5402-8_0_2_load_3 | 2 | 0.00074868 | 0.00018764 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5402-8_0_2_load_39 | 6 | 0.0010074 | 0.00025248 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5402-8_0_2_load_5 | 8 | 0.0074298 | 0.0018621 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5402-8_0_2_load_8 | 11 | 0.0040935 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5402-8_0_2_load_10 | 13 | 0.0064588 | 0.0016187 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5402-8_0_2_load_48 | 14 | 0.0014485 | 0.00036303 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5402-8_0_2_load_47 | 16 | 0.0061463 | 0.0015404 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5402-8_0_2_load_11 | 18 | 0.0017206 | 0.00043121 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5402-8_0_2_load_42 | 21 | 0.001428 | 0.00035789 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5402-8_0_2_load_23 | 24 | 0.0029459 | 0.0007383 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5402-8_0_2_load_37 | 26 | 0.00086252 | 0.00021617 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5402-8_0_2_load_63 | 27 | 0.0017448 | 0.0004373 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5402-8_0_2_load_61 | 28 | 0.0016673 | 0.00041786 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5402-8_0_2_load_36 | 29 | 0.010834 | 0.0027153 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5402-8_0_2_load_34 | 30 | 0.013628 | 0.0034154 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5402-8_0_2_load_35 | 32 | 0.0068209 | 0.0017095 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5402-8_0_2_load_33 | 33 | 0.013639 | 0.0034182 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5402-8_0_2_load_62 | 34 | 0.0016669 | 0.00041776 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5402-8_0_2_load_38 | 35 | 0.0043105 | 0.0010803 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5402-8_0_2_load_64 | 36 | 0.001745 | 0.00043735 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5402-8_0_2_load_49 | 37 | 0.00060781 | 0.00015233 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5402-8_0_2_load_25 | 38 | 0.0012996 | 0.00032572 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5402-8_0_2_load_57 | 40 | 0.034705 | 0.008698 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5402-8_0_2_load_40 | 41 | 0.0017071 | 0.00042785 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5402-8_0_2_load_24 | 43 | 0.0031053 | 0.00077826 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5402-8_0_2_load_51 | 44 | 0.00062739 | 0.00015724 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5402-8_0_2_load_53 | 45 | 0.0067719 | 0.0016972 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5402-8_0_2_load_27 | 47 | 0.0069692 | 0.0017467 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5402-8_0_2_load_28 | 48 | 0.0016252 | 0.00040731 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5402-8_0_2_load_31 | 50 | 0.016124 | 0.0040411 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5402-8_0_2_load_32 | 51 | 0.0056981 | 0.0014281 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5402-8_0_2_load_43 | 52 | 0.011682 | 0.0029279 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5402-8_0_2_load_58 | 54 | 0.0052335 | 0.0013116 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5402-8_0_2_load_54 | 55 | 0.0028822 | 0.00072234 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5402-8_0_2_load_55 | 57 | 0.00061419 | 0.00015393 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5402-8_0_2_load_56 | 58 | 0.0022823 | 0.000572 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5402-8_0_2_load_65 | 60 | 0.006312 | 0.0015819 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5402-8_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5402-8_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.047003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5402-8_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.011584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5402-8_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.038864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5402-8_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.085865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_5402-8_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.026514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5402-8_0_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.032506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5402-8_0_2_line_7 | NAYY 4x150 SE | 4 | 22 | 0.067229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5402-8_0_2_line_8 | NAYY 4x150 SE | 4 | 23 | 0.090341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_5402-8_0_2_line_9 | NAYY 4x150 SE | 4 | 24 | 0.068745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5402-8_0_2_line_10 | NAYY 4x150 SE | 5 | 25 | 0.023632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5402-8_0_2_line_11 | NAYY 4x150 SE | 5 | 26 | 0.026437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5402-8_0_2_line_12 | NAYY 4x150 SE | 6 | 35 | 0.019011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5402-8_0_2_line_13 | NAYY 4x150 SE | 7 | 21 | 0.022202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5402-8_0_2_line_14 | NAYY 4x150 SE | 8 | 9 | 0.017956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5402-8_0_2_line_15 | NAYY 4x150 SE | 8 | 10 | 0.017522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5402-8_0_2_line_16 | NAYY 4x150 SE | 9 | 11 | 0.040154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5402-8_0_2_line_17 | NAYY 4x150 SE | 9 | 12 | 0.005036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5402-8_0_2_line_18 | NAYY 4x150 SE | 10 | 13 | 0.021791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5402-8_0_2_line_19 | NAYY 4x150 SE | 12 | 14 | 0.032985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5402-8_0_2_line_20 | NAYY 4x150 SE | 13 | 15 | 0.026332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5402-8_0_2_line_21 | NAYY 4x150 SE | 14 | 16 | 0.0065214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5402-8_0_2_line_22 | NAYY 4x150 SE | 15 | 17 | 0.002206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5402-8_0_2_line_23 | NAYY 4x150 SE | 17 | 53 | 0.051753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5402-8_0_2_line_24 | NAYY 4x150 SE | 17 | 54 | 0.034951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5402-8_0_2_line_25 | NAYY 4x150 SE | 18 | 19 | 0.01794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5402-8_0_2_line_26 | NAYY 4x150 SE | 19 | 20 | 0.038018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5402-8_0_2_line_27 | NAYY 4x150 SE | 20 | 34 | 0.064795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5402-8_0_2_line_28 | NAYY 4x150 SE | 22 | 27 | 0.0093331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5402-8_0_2_line_29 | NAYY 4x150 SE | 22 | 28 | 0.0097869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5402-8_0_2_line_30 | NAYY 4x150 SE | 23 | 29 | 0.023232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_5402-8_0_2_line_31 | NAYY 4x150 SE | 23 | 30 | 0.024903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5402-8_0_2_line_32 | NAYY 4x150 SE | 25 | 37 | 0.025638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5402-8_0_2_line_33 | NAYY 4x150 SE | 25 | 38 | 0.030732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5402-8_0_2_line_34 | NAYY 4x150 SE | 27 | 36 | 0.014805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5402-8_0_2_line_35 | NAYY 4x150 SE | 28 | 34 | 0.014271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5402-8_0_2_line_36 | NAYY 4x150 SE | 30 | 33 | 0.036214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5402-8_0_2_line_37 | NAYY 4x150 SE | 31 | 32 | 0.063356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5402-8_0_2_line_38 | NAYY 4x150 SE | 31 | 33 | 0.027341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5402-8_0_2_line_39 | NAYY 4x150 SE | 32 | 42 | 0.00072314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5402-8_0_2_line_40 | NAYY 4x150 SE | 35 | 41 | 0.056596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5402-8_0_2_line_41 | NAYY 4x150 SE | 37 | 46 | 0.010292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5402-8_0_2_line_42 | NAYY 4x150 SE | 38 | 43 | 0.032246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5402-8_0_2_line_43 | NAYY 4x150 SE | 39 | 40 | 0.097016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5402-8_0_2_line_44 | NAYY 4x150 SE | 39 | 41 | 0.037474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5402-8_0_2_line_45 | NAYY 4x150 SE | 42 | 52 | 0.020322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5402-8_0_2_line_46 | NAYY 4x150 SE | 42 | 48 | 0.025824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5402-8_0_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0060666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5402-8_0_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.016393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5402-8_0_2_line_49 | NAYY 4x150 SE | 46 | 53 | 0.019665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5402-8_0_2_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0059499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5402-8_0_2_line_51 | NAYY 4x150 SE | 47 | 49 | 0.014247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5402-8_0_2_line_52 | NAYY 4x150 SE | 49 | 50 | 0.036965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5402-8_0_2_line_53 | NAYY 4x150 SE | 49 | 51 | 0.023401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5402-8_0_2_line_54 | NAYY 4x150 SE | 53 | 55 | 0.027628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5402-8_0_2_line_55 | NAYY 4x150 SE | 54 | 56 | 0.14323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5402-8_0_2_line_56 | NAYY 4x150 SE | 55 | 57 | 0.011151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5402-8_0_2_line_57 | NAYY 4x150 SE | 56 | 59 | 0.063093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5402-8_0_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.012621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5402-8_0_2_line_59 | NAYY 4x150 SE | 59 | 60 | 0.005912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5402-8_0_2_trafo_36 | 0.25 MVA 20/0.4 kV | 61 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2566236.0579 | 1122347.8634 | 2566255.5528 | 1122354.4826 | 2566258.6595 | 1122355.6436 | 2566259.7501 | 1122352.8318
1 | 2566259.7501 | 1122352.8318 | 2566262.1337 | 1122346.6863 | 2566264.7684 | 1122344.8151 | 2566268.7383 | 1122343.1254 | 2566273.3211 | 1122343.4666 | 2566299.5341 | 1122354.0524
2 | 2566310.2749 | 1122358.39 | 2566299.5341 | 1122354.0524
3 | 2566310.2749 | 1122358.39 | 2566322.3017 | 1122363.2475 | 2566325.5679 | 1122365.3637 | 2566328.1971 | 1122368.0282 | 2566329.7824 | 1122370.1871 | 2566331.6588 | 1122373.3893 | 2566333.1023 | 1122376.405 | 2566334.1799 | 1122380.1676 | 2566334.7375 | 1122384.7446
4 | 2566310.2749 | 1122358.39 | 2566312.4462 | 1122353.631 | 2566313.9612 | 1122350.0986 | 2566330.8667 | 1122353.0502 | 2566331.9325 | 1122350.5652 | 2566332.4502 | 1122349.3617 | 2566334.7372 | 1122348.7487 | 2566336.984 | 1122347.8468 | 2566339.1515 | 1122346.5451 | 2566340.8634 | 1122345.146 | 2566342.6715 | 1122343.0015 | 2566343.7523 | 1122343.2067 | 2566346.6313 | 1122343.6575 | 2566356.2529 | 1122318.2578 | 2566359.28 | 1122306.535
5 | 2566310.2749 | 1122358.39 | 2566306.7335 | 1122366.3693 | 2566300.0419 | 1122382.8462
6 | 2566292.4471 | 1122340.814 | 2566313.9612 | 1122350.0986 | 2566312.4462 | 1122353.631 | 2566310.2749 | 1122358.39
7 | 2566334.7375 | 1122384.7446 | 2566335.8803 | 1122384.9939 | 2566338.6136 | 1122385.59 | 2566346.2115 | 1122387.2819 | 2566348.7287 | 1122387.8459 | 2566350.8984 | 1122388.3229 | 2566353.6306 | 1122384.5725 | 2566363.9823 | 1122402.9907 | 2566362.6103 | 1122404.4991 | 2566362.1123 | 1122406.4695 | 2566362.6091 | 1122408.4456 | 2566363.9825 | 1122409.9498 | 2566365.9065 | 1122410.6283 | 2566367.9254 | 1122410.328 | 2566370.6471 | 1122414.3926 | 2566374.3792 | 1122421.2309
8 | 2566334.7375 | 1122384.7446 | 2566335.8803 | 1122384.9939 | 2566338.6136 | 1122385.59 | 2566346.2115 | 1122387.2819 | 2566349.3357 | 1122381.9284 | 2566353.4473 | 1122376.6028 | 2566355.5137 | 1122375.1572 | 2566357.7836 | 1122374.2441 | 2566359.2626 | 1122373.9468 | 2566361.2821 | 1122373.7577 | 2566363.0405 | 1122373.7812 | 2566365.2015 | 1122374.0693 | 2566367.293 | 1122374.3578 | 2566393.0464 | 1122383.3078 | 2566409.8294 | 1122390.5958 | 2566412.0529 | 1122385.5142
9 | 2566334.7375 | 1122384.7446 | 2566334.8988 | 1122391.536 | 2566334.1603 | 1122397.3986 | 2566333.1107 | 1122402.7738 | 2566330.4476 | 1122407.8579 | 2566323.341 | 1122452.1177
10 | 2566365.1137 | 1122283.6354 | 2566359.28 | 1122306.535
11 | 2566359.28 | 1122306.535 | 2566373.4577 | 1122311.2361 | 2566384.4396 | 1122314.6496
12 | 2566292.8888 | 1122400.4597 | 2566300.0419 | 1122382.8462
13 | 2566292.4471 | 1122340.814 | 2566297.3069 | 1122319.1501
14 | 2566447.9039 | 1122156.4661 | 2566446.9211 | 1122160.0178 | 2566443.1802 | 1122173.79
15 | 2566438.1373 | 1122190.5709 | 2566443.1802 | 1122173.79
16 | 2566447.9039 | 1122156.4661 | 2566450.5045 | 1122147.058 | 2566454.895 | 1122134.972 | 2566456.916 | 1122133.6712 | 2566471.4464 | 1122137.8908
17 | 2566443 | 1122155.2595 | 2566447.9039 | 1122156.4661
18 | 2566438.1373 | 1122190.5709 | 2566417.2127 | 1122184.4888
19 | 2566443 | 1122155.2595 | 2566448.4029 | 1122135.2527 | 2566447.66 | 1122132.0218 | 2566445.4617 | 1122130.5778 | 2566439.3363 | 1122129.0381
20 | 2566391.8531 | 1122177.3996 | 2566414.3456 | 1122183.6553 | 2566417.2127 | 1122184.4888
21 | 2566433.0116 | 1122127.4483 | 2566439.3363 | 1122129.0381
22 | 2566391.8531 | 1122177.3996 | 2566391.3097 | 1122179.537
23 | 2566378.5481 | 1122229.6889 | 2566391.3097 | 1122179.537
24 | 2566391.3097 | 1122179.537 | 2566424.7629 | 1122189.6585
25 | 2566331.9514 | 1122481.0864 | 2566334.3999 | 1122481.7842 | 2566349.6073 | 1122484.1709
26 | 2566331.9514 | 1122481.0864 | 2566330.3301 | 1122490.4335 | 2566344.2038 | 1122494.6471 | 2566357.1283 | 1122500.1112
27 | 2566357.1283 | 1122500.1112 | 2566361.1416 | 1122493.7745 | 2566375.0609 | 1122460.5246 | 2566367.813 | 1122457.9637 | 2566368.8624 | 1122444.4433
28 | 2566374.3792 | 1122421.2309 | 2566383.3791 | 1122423.7024
29 | 2566374.3792 | 1122421.2309 | 2566371.9078 | 1122426.1026 | 2566371.1817 | 1122430.3653
30 | 2566412.0529 | 1122385.5142 | 2566414.6869 | 1122379.352 | 2566414.9394 | 1122377.6053 | 2566414.6143 | 1122376.0063 | 2566413.3656 | 1122374.7237 | 2566405.178 | 1122371.0007 | 2566402.9528 | 1122370.2461
31 | 2566412.0529 | 1122385.5142 | 2566434.9382 | 1122395.3328
32 | 2566365.1137 | 1122283.6354 | 2566371.3088 | 1122258.7568
33 | 2566365.1137 | 1122283.6354 | 2566394.7178 | 1122291.8861
34 | 2566397.5776 | 1122427.8848 | 2566391.7573 | 1122426.0031 | 2566383.3791 | 1122423.7024
35 | 2566371.1817 | 1122430.3653 | 2566368.9283 | 1122443.5947 | 2566368.8624 | 1122444.4433
36 | 2566468.2184 | 1122409.6112 | 2566434.9382 | 1122395.3328
37 | 2566493.3443 | 1122420.3911 | 2566494.9873 | 1122417.6806 | 2566500.1896 | 1122403.2222 | 2566504.6266 | 1122389.8353 | 2566510.5933 | 1122375.5283 | 2566515.8441 | 1122361.2468
38 | 2566493.3443 | 1122420.3911 | 2566468.2184 | 1122409.6112
39 | 2566515.8441 | 1122361.2468 | 2566516.0936 | 1122360.568
40 | 2566292.8888 | 1122400.4597 | 2566271.5932 | 1122452.8967
41 | 2566373.7958 | 1122248.7695 | 2566371.3088 | 1122258.7568
42 | 2566394.7178 | 1122291.8861 | 2566413.566 | 1122297.1391 | 2566418.0593 | 1122285.283
43 | 2566257.4928 | 1122487.6166 | 2566304.2801 | 1122505.6421 | 2566304.5252 | 1122509.476 | 2566289.1262 | 1122549.6617
44 | 2566257.4928 | 1122487.6166 | 2566271.5932 | 1122452.8967
45 | 2566495.8395 | 1122362.8371 | 2566516.0936 | 1122360.568
46 | 2566516.0936 | 1122360.568 | 2566517.3517 | 1122357.9709 | 2566518.2705 | 1122355.3867 | 2566518.9027 | 1122349.8026 | 2566518.4373 | 1122343.7688 | 2566517.2226 | 1122338.8842 | 2566515.4196 | 1122335.8958
47 | 2566357.8187 | 1122250.5372 | 2566357.6983 | 1122251.0714 | 2566356.4368 | 1122256.4442
48 | 2566373.7958 | 1122248.7695 | 2566361.9145 | 1122249.2804 | 2566359.7788 | 1122249.3812 | 2566358.6161 | 1122249.699 | 2566357.8187 | 1122250.5372 | 2566357.8187 | 1122250.5372
49 | 2566378.5481 | 1122229.6889 | 2566373.7958 | 1122248.7695
50 | 2566515.4196 | 1122335.8958 | 2566514.4283 | 1122334.2529 | 2566512.0658 | 1122330.9866
51 | 2566499.3145 | 1122324.7987 | 2566508.2958 | 1122328.4062 | 2566512.0658 | 1122330.9866 | 2566512.0658 | 1122330.9866
52 | 2566499.3145 | 1122324.7987 | 2566489.7154 | 1122321.039 | 2566482.8328 | 1122317.6199 | 2566465.8189 | 1122309.0323
53 | 2566499.3145 | 1122324.7987 | 2566507.0812 | 1122302.7222
54 | 2566378.5481 | 1122229.6889 | 2566405.0203 | 1122237.5962
55 | 2566536.5445 | 1122187.9788 | 2566534.4738 | 1122184.5108 | 2566531.601 | 1122181.025 | 2566524.2597 | 1122178.3643 | 2566508.994 | 1122173.5577 | 2566499.1678 | 1122170.6107 | 2566493.6624 | 1122169.4074 | 2566490.2887 | 1122168.7702 | 2566487.9446 | 1122168.8499 | 2566486.4112 | 1122169.0808 | 2566484.579 | 1122169.669 | 2566483.3504 | 1122172.0215 | 2566479.9547 | 1122181.3117 | 2566474.2041 | 1122199.8196 | 2566473.4451 | 1122202.0138 | 2566472.9726 | 1122203.0392 | 2566471.9877 | 1122203.4449 | 2566471.001 | 1122203.517 | 2566467.9897 | 1122202.8779 | 2566462.7822 | 1122201.1615 | 2566424.7629 | 1122189.6585
56 | 2566405.0203 | 1122237.5962 | 2566415.7047 | 1122240.7877
57 | 2566554.8235 | 1122218.8375 | 2566555.1803 | 1122217.8239 | 2566557.4413 | 1122216.6775 | 2566561.8217 | 1122215.2747 | 2566562.9508 | 1122214.4569 | 2566564.0693 | 1122211.7049 | 2566569.1256 | 1122195.9023 | 2566566.4523 | 1122195.0055 | 2566562.2883 | 1122193.7057 | 2566556.5704 | 1122191.7253 | 2566551.2703 | 1122189.9982 | 2566545.6544 | 1122188.3285 | 2566538.7159 | 1122187.3665 | 2566536.5445 | 1122187.9788
58 | 2566419.3042 | 1122252.8848 | 2566415.7047 | 1122240.7877
59 | 2566549.1457 | 1122217.1348 | 2566554.8235 | 1122218.8375

## bus_geodata
| x | y | coords
0 | 2566236.0579 | 1122347.8634
1 | 2566259.7501 | 1122352.8318
2 | 2566299.5341 | 1122354.0524
3 | 2566310.2749 | 1122358.39
4 | 2566334.7375 | 1122384.7446
5 | 2566359.28 | 1122306.535
6 | 2566300.0419 | 1122382.8462
7 | 2566292.4471 | 1122340.814
8 | 2566443.1802 | 1122173.79
9 | 2566447.9039 | 1122156.4661
10 | 2566438.1373 | 1122190.5709
11 | 2566471.4464 | 1122137.8908
12 | 2566443 | 1122155.2595
13 | 2566417.2127 | 1122184.4888
14 | 2566439.3363 | 1122129.0381
15 | 2566391.8531 | 1122177.3996
16 | 2566433.0116 | 1122127.4483
17 | 2566391.3097 | 1122179.537
18 | 2566349.6073 | 1122484.1709
19 | 2566331.9514 | 1122481.0864
20 | 2566357.1283 | 1122500.1112
21 | 2566297.3069 | 1122319.1501
22 | 2566374.3792 | 1122421.2309
23 | 2566412.0529 | 1122385.5142
24 | 2566323.3409 | 1122452.1177
25 | 2566365.1137 | 1122283.6354
26 | 2566384.4396 | 1122314.6496
27 | 2566383.3791 | 1122423.7024
28 | 2566371.1817 | 1122430.3653
29 | 2566402.9528 | 1122370.2461
30 | 2566434.9382 | 1122395.3328
31 | 2566493.3443 | 1122420.3911
32 | 2566515.8441 | 1122361.2468
33 | 2566468.2184 | 1122409.6112
34 | 2566368.8624 | 1122444.4433
35 | 2566292.8888 | 1122400.4597
36 | 2566397.5776 | 1122427.8848
37 | 2566371.3088 | 1122258.7568
38 | 2566394.7178 | 1122291.8861
39 | 2566257.4928 | 1122487.6166
40 | 2566289.1262 | 1122549.6617
41 | 2566271.5932 | 1122452.8967
42 | 2566516.0936 | 1122360.568
43 | 2566418.0593 | 1122285.283
44 | 2566356.4368 | 1122256.4442
45 | 2566357.8187 | 1122250.5372
46 | 2566373.7958 | 1122248.7695
47 | 2566512.0658 | 1122330.9866
48 | 2566515.4196 | 1122335.8958
49 | 2566499.3145 | 1122324.7987
50 | 2566465.8189 | 1122309.0323
51 | 2566507.0812 | 1122302.7222
52 | 2566495.8395 | 1122362.8371
53 | 2566378.5481 | 1122229.6889
54 | 2566424.7629 | 1122189.6585
55 | 2566405.0203 | 1122237.5962
56 | 2566536.5445 | 1122187.9788
57 | 2566415.7047 | 1122240.7877
58 | 2566419.3042 | 1122252.8848
59 | 2566554.8235 | 1122218.8375
60 | 2566549.1457 | 1122217.1348
61 | 2566412.0529 | 1122385.5142

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1