## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5403-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5403-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5403-1_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5403-1_0_4_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_5403-1_0_4_node_65 | 0.4 | n |  | TRUE
5 | bus_LV_5403-1_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5403-1_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_5403-1_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_5403-1_0_4_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_5403-1_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5403-1_0_4_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_5403-1_0_4_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_5403-1_0_4_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_5403-1_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_5403-1_0_4_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_5403-1_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_5403-1_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5403-1_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5403-1_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_5403-1_0_4_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_5403-1_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_5403-1_0_4_node_86 | 0.4 | n |  | TRUE
22 | bus_LV_5403-1_0_4_node_87 | 0.4 | n |  | TRUE
23 | bus_LV_5403-1_0_4_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_5403-1_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_5403-1_0_4_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_5403-1_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_5403-1_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5403-1_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5403-1_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5403-1_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5403-1_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5403-1_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_5403-1_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5403-1_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5403-1_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5403-1_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5403-1_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5403-1_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_5403-1_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_5403-1_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5403-1_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5403-1_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_5403-1_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_5403-1_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_5403-1_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5403-1_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_5403-1_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_5403-1_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5403-1_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_5403-1_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5403-1_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_5403-1_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_5403-1_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_5403-1_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_5403-1_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_5403-1_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_5403-1_0_4_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_5403-1_0_4_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_5403-1_0_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_5403-1_0_4_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_5403-1_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_5403-1_0_4_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_5403-1_0_4_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_5403-1_0_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_5403-1_0_4_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_5403-1_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_5403-1_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5403-1_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_5403-1_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_5403-1_0_4_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_5403-1_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_5403-1_0_4_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_5403-1_0_4_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_5403-1_0_4_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_5403-1_0_4_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_5403-1_0_4_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_5403-1_0_4_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_5403-1_0_4_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_5403-1_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_5403-1_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_5403-1_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_5403-1_0_4_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_5403-1_0_4_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_5403-1_0_4_node_88 | 0.4 | n |  | TRUE
85 | bus_MV_106_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5403-1_0_4_load_0 | 0 | 0.0045596 | 0.0011427 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5403-1_0_4_load_1 | 1 | 0.0058723 | 0.0014717 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5403-1_0_4_load_65 | 4 | 0.0019754 | 0.00049507 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5403-1_0_4_load_12 | 7 | 0.0013913 | 0.0003487 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5403-1_0_4_load_26 | 8 | 0.010236 | 0.0025653 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5403-1_0_4_load_9 | 9 | 0.002245 | 0.00056266 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5403-1_0_4_load_47 | 12 | 0.0069045 | 0.0017304 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5403-1_0_4_load_13 | 13 | 0.0016971 | 0.00042532 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5403-1_0_4_load_5 | 14 | 0.0084867 | 0.002127 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5403-1_0_4_load_6 | 15 | 0.010578 | 0.002651 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5403-1_0_4_load_11 | 17 | 0.022184 | 0.0055598 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5403-1_0_4_load_8 | 18 | 0.021512 | 0.0053914 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5403-1_0_4_load_87 | 22 | 0.027751 | 0.0069552 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5403-1_0_4_load_34 | 23 | 0.0050017 | 0.0012535 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5403-1_0_4_load_63 | 25 | 0.0010826 | 0.00027133 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5403-1_0_4_load_45 | 26 | 0.00071413 | 0.00017898 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5403-1_0_4_load_15 | 27 | 0.00046961 | 0.0001177 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5403-1_0_4_load_16 | 28 | 0.00050837 | 0.00012741 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5403-1_0_4_load_17 | 29 | 0.001015 | 0.00025437 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5403-1_0_4_load_27 | 33 | 0.004208 | 0.0010546 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5403-1_0_4_load_19 | 34 | 0.0011336 | 0.00028412 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5403-1_0_4_load_20 | 35 | 0.00058085 | 0.00014557 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5403-1_0_4_load_21 | 36 | 0.001276 | 0.00031981 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5403-1_0_4_load_22 | 37 | 0.0013307 | 0.00033352 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5403-1_0_4_load_23 | 38 | 0.0017151 | 0.00042984 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5403-1_0_4_load_25 | 39 | 0.0010509 | 0.00026338 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5403-1_0_4_load_32 | 40 | 0.00089109 | 0.00022333 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5403-1_0_4_load_24 | 41 | 0.00093338 | 0.00023393 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5403-1_0_4_load_40 | 42 | 0.0025568 | 0.0006408 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5403-1_0_4_load_48 | 44 | 0.0011638 | 0.00029166 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5403-1_0_4_load_36 | 46 | 0.00128 | 0.00032079 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5403-1_0_4_load_35 | 47 | 0.017978 | 0.0045058 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5403-1_0_4_load_37 | 48 | 0.00061402 | 0.00015389 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5403-1_0_4_load_39 | 49 | 0.0006828 | 0.00017113 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5403-1_0_4_load_42 | 50 | 0.00096071 | 0.00024078 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5403-1_0_4_load_46 | 51 | 0.00070235 | 0.00017603 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5403-1_0_4_load_49 | 52 | 0.00041283 | 0.00010346 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5403-1_0_4_load_44 | 53 | 0.00077161 | 0.00019338 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5403-1_0_4_load_43 | 54 | 0.00069394 | 0.00017392 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5403-1_0_4_load_51 | 55 | 0.00091603 | 0.00022958 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5403-1_0_4_load_52 | 56 | 0.00058224 | 0.00014592 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5403-1_0_4_load_54 | 58 | 0.0027044 | 0.00067779 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5403-1_0_4_load_55 | 59 | 0.0025157 | 0.0006305 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5403-1_0_4_load_56 | 60 | 0.00063932 | 0.00016023 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5403-1_0_4_load_69 | 62 | 0.0025164 | 0.00063067 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5403-1_0_4_load_84 | 63 | 0.00060483 | 0.00015158 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5403-1_0_4_load_57 | 64 | 0.0021862 | 0.00054791 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5403-1_0_4_load_62 | 67 | 0.0018209 | 0.00045636 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5403-1_0_4_load_61 | 68 | 0.00098714 | 0.0002474 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5403-1_0_4_load_66 | 69 | 0.0025165 | 0.0006307 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5403-1_0_4_load_67 | 70 | 0.0025157 | 0.0006305 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5403-1_0_4_load_71 | 71 | 0.0025207 | 0.00063176 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5403-1_0_4_load_72 | 72 | 0.0012524 | 0.00031387 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5403-1_0_4_load_73 | 74 | 0.001004 | 0.00025162 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5403-1_0_4_load_75 | 75 | 0.0010056 | 0.00025202 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5403-1_0_4_load_81 | 76 | 0.00074278 | 0.00018616 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5403-1_0_4_load_80 | 77 | 0.0010062 | 0.00025217 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5403-1_0_4_load_82 | 78 | 0.0010046 | 0.00025177 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5403-1_0_4_load_78 | 79 | 0.00094891 | 0.00023782 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5403-1_0_4_load_76 | 80 | 0.0025164 | 0.00063067 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5403-1_0_4_load_77 | 81 | 0.0012524 | 0.00031389 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5403-1_0_4_load_79 | 82 | 0.0010047 | 0.00025179 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5403-1_0_4_load_83 | 83 | 0.00058531 | 0.00014669 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5403-1_0_4_load_88 | 84 | 0.028526 | 0.0071493 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5403-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0098766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5403-1_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.017872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5403-1_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.004218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5403-1_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5403-1_0_4_line_4 | NAYY 4x150 SE | 3 | 8 | 0.031927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5403-1_0_4_line_5 | NAYY 4x150 SE | 3 | 9 | 0.026609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5403-1_0_4_line_6 | NAYY 4x150 SE | 4 | 10 | 0.01635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5403-1_0_4_line_7 | NAYY 4x150 SE | 5 | 6 | 0.052791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5403-1_0_4_line_8 | NAYY 4x150 SE | 5 | 7 | 0.025016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5403-1_0_4_line_9 | NAYY 4x150 SE | 6 | 11 | 0.042289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_5403-1_0_4_line_10 | NAYY 4x150 SE | 6 | 12 | 0.047267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5403-1_0_4_line_11 | NAYY 4x150 SE | 7 | 13 | 0.034603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5403-1_0_4_line_12 | NAYY 4x150 SE | 9 | 18 | 0.001902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5403-1_0_4_line_13 | NAYY 4x150 SE | 10 | 40 | 0.022834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5403-1_0_4_line_14 | NAYY 4x150 SE | 11 | 25 | 0.44759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5403-1_0_4_line_15 | NAYY 4x150 SE | 12 | 26 | 0.037821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_5403-1_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.033837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5403-1_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.039462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5403-1_0_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.005651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5403-1_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.025045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5403-1_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.024873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5403-1_0_4_line_21 | NAYY 4x150 SE | 17 | 20 | 0.012783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_5403-1_0_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.015975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5403-1_0_4_line_23 | NAYY 4x150 SE | 19 | 22 | 0.011483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5403-1_0_4_line_24 | NAYY 4x150 SE | 20 | 23 | 0.023861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5403-1_0_4_line_25 | NAYY 4x150 SE | 20 | 24 | 0.016909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_5403-1_0_4_line_26 | NAYY 4x150 SE | 21 | 84 | 0.027013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5403-1_0_4_line_27 | NAYY 4x150 SE | 23 | 47 | 0.0053282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5403-1_0_4_line_28 | NAYY 4x150 SE | 24 | 33 | 0.0035904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_5403-1_0_4_line_29 | NAYY 4x150 SE | 24 | 30 | 0.058836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5403-1_0_4_line_30 | NAYY 4x150 SE | 25 | 67 | 0.053667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_5403-1_0_4_line_31 | NAYY 4x150 SE | 26 | 54 | 0.017993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_5403-1_0_4_line_32 | NAYY 4x150 SE | 27 | 28 | 0.0043207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5403-1_0_4_line_33 | NAYY 4x150 SE | 27 | 29 | 0.025583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5403-1_0_4_line_34 | NAYY 4x150 SE | 28 | 30 | 0.043644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5403-1_0_4_line_35 | NAYY 4x150 SE | 31 | 32 | 0.00932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5403-1_0_4_line_36 | NAYY 4x150 SE | 31 | 33 | 0.021446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_5403-1_0_4_line_37 | NAYY 4x150 SE | 32 | 42 | 0.022249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_5403-1_0_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.0063266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5403-1_0_4_line_39 | NAYY 4x150 SE | 34 | 36 | 0.0072847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5403-1_0_4_line_40 | NAYY 4x150 SE | 35 | 37 | 0.0067688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5403-1_0_4_line_41 | NAYY 4x150 SE | 36 | 38 | 0.017145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5403-1_0_4_line_42 | NAYY 4x150 SE | 37 | 39 | 0.0070722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5403-1_0_4_line_43 | NAYY 4x150 SE | 38 | 40 | 0.0068071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5403-1_0_4_line_44 | NAYY 4x150 SE | 39 | 41 | 0.0075084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5403-1_0_4_line_45 | NAYY 4x150 SE | 42 | 45 | 0.023349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_5403-1_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.023469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5403-1_0_4_line_47 | NAYY 4x150 SE | 43 | 45 | 0.041621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5403-1_0_4_line_48 | NAYY 4x150 SE | 44 | 52 | 0.042697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5403-1_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.0080774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_5403-1_0_4_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0098879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_5403-1_0_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.00069905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_5403-1_0_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.0041956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_5403-1_0_4_line_53 | NAYY 4x150 SE | 50 | 51 | 0.023613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_5403-1_0_4_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0053352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5403-1_0_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.00051691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_5403-1_0_4_line_56 | NAYY 4x150 SE | 55 | 56 | 0.00063938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5403-1_0_4_line_57 | NAYY 4x150 SE | 55 | 57 | 0.0069846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5403-1_0_4_line_58 | NAYY 4x150 SE | 56 | 58 | 0.015162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5403-1_0_4_line_59 | NAYY 4x150 SE | 57 | 59 | 0.029863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5403-1_0_4_line_60 | NAYY 4x150 SE | 57 | 60 | 0.017113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5403-1_0_4_line_61 | NAYY 4x150 SE | 58 | 61 | 0.047626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5403-1_0_4_line_62 | NAYY 4x150 SE | 59 | 62 | 0.00019063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5403-1_0_4_line_63 | NAYY 4x150 SE | 60 | 63 | 0.0068271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5403-1_0_4_line_64 | NAYY 4x150 SE | 61 | 68 | 0.030322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5403-1_0_4_line_65 | NAYY 4x150 SE | 61 | 65 | 0.093013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_5403-1_0_4_line_66 | NAYY 4x150 SE | 62 | 70 | 0.016597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5403-1_0_4_line_67 | NAYY 4x150 SE | 63 | 83 | 0.006971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5403-1_0_4_line_68 | NAYY 4x150 SE | 64 | 65 | 0.018904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5403-1_0_4_line_69 | NAYY 4x150 SE | 65 | 66 | 0.088234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_5403-1_0_4_line_70 | NAYY 4x150 SE | 66 | 67 | 0.10952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_5403-1_0_4_line_71 | NAYY 4x150 SE | 69 | 70 | 0.00062157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5403-1_0_4_line_72 | NAYY 4x150 SE | 71 | 72 | 0.017794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5403-1_0_4_line_73 | NAYY 4x150 SE | 72 | 73 | 0.029299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5403-1_0_4_line_74 | NAYY 4x150 SE | 73 | 76 | 0.0075364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5403-1_0_4_line_75 | NAYY 4x150 SE | 73 | 77 | 0.00086075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5403-1_0_4_line_76 | NAYY 4x150 SE | 73 | 78 | 0.015035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5403-1_0_4_line_77 | NAYY 4x150 SE | 73 | 79 | 0.012798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5403-1_0_4_line_78 | NAYY 4x150 SE | 74 | 75 | 0.0087743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5403-1_0_4_line_79 | NAYY 4x150 SE | 75 | 78 | 0.012566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5403-1_0_4_line_80 | NAYY 4x150 SE | 76 | 83 | 0.021126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5403-1_0_4_line_81 | NAYY 4x150 SE | 77 | 82 | 0.027222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5403-1_0_4_line_82 | NAYY 4x150 SE | 79 | 81 | 0.017119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5403-1_0_4_line_83 | NAYY 4x150 SE | 80 | 81 | 0.00053566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5403-1_0_4_trafo_45 | 0.25 MVA 20/0.4 kV | 85 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2557917.9479 | 1133345.4409 | 2557923.7297 | 1133337.4335
1 | 2557934.1918 | 1133322.9441 | 2557923.7297 | 1133337.4335
2 | 2557934.1918 | 1133322.9441 | 2557936.9097 | 1133319.7123
3 | 2557934.1918 | 1133322.9441 | 2557943.5462 | 1133329.6706
4 | 2557908.9876 | 1133304.0882 | 2557936.9097 | 1133319.7123
5 | 2557936.9097 | 1133319.7123 | 2557954.0322 | 1133299.3446
6 | 2557957.9786 | 1133336.1737 | 2557951.6771 | 1133335.5174 | 2557943.5462 | 1133329.6706
7 | 2557988.7981 | 1133461.5451 | 2557944.1527 | 1133433.1752
8 | 2557944.1527 | 1133433.1752 | 2557957.8927 | 1133412.2707
9 | 2557988.7981 | 1133461.5451 | 2558024.5666 | 1133484.263
10 | 2557988.7981 | 1133461.5451 | 2558010.681 | 1133419.6484
11 | 2557976.8984 | 1133383.3548 | 2557957.8927 | 1133412.2707
12 | 2557954.0322 | 1133299.3446 | 2557955.2562 | 1133297.8887
13 | 2557957.9786 | 1133336.1737 | 2557971.5831 | 1133337.5796 | 2557979.7019 | 1133341.8144
14 | 2558024.5666 | 1133484.263 | 2558373.4212 | 1133764.6913
15 | 2558010.681 | 1133419.6484 | 2558028.1908 | 1133386.1244
16 | 2557906.1122 | 1133245.344 | 2557935.3159 | 1133260.1264 | 2557936.2985 | 1133260.633
17 | 2557971.3726 | 1133278.7177 | 2557936.2985 | 1133260.633
18 | 2557971.3726 | 1133278.7177 | 2557976.2875 | 1133275.9042
19 | 2557971.3726 | 1133278.7177 | 2557955.2562 | 1133297.8887
20 | 2557976.2875 | 1133275.9042 | 2557969.646 | 1133264.0556 | 2557972.3408 | 1133253.0868
21 | 2557988.4086 | 1133272.1178 | 2557979.4388 | 1133274.1035 | 2557976.2875 | 1133275.9042
22 | 2557976.151 | 1133237.5745 | 2557972.3408 | 1133253.0868
23 | 2557961.1893 | 1133250.2186 | 2557972.3408 | 1133253.0868
24 | 2557988.4086 | 1133272.1178 | 2557990.5241 | 1133260.864 | 2557995.4966 | 1133249.4938
25 | 2557988.4086 | 1133272.1178 | 2557996.573 | 1133272.7501 | 2558004.838 | 1133275.6718
26 | 2557969.5729 | 1133219.3666 | 2557980.0358 | 1133221.7282 | 2557976.151 | 1133237.5745
27 | 2557995.4966 | 1133249.4938 | 2557997.6315 | 1133244.612
28 | 2558004.838 | 1133275.6718 | 2558008.3022 | 1133276.6153
29 | 2558004.838 | 1133275.6718 | 2558021.1883 | 1133256.8372 | 2558019.3924 | 1133250.98 | 2558017.9539 | 1133234.5706 | 2558022.6784 | 1133224.3102
30 | 2558348.6154 | 1133812.1412 | 2558357.5248 | 1133791.2099 | 2558373.4212 | 1133764.6913
31 | 2558036.521 | 1133370.1757 | 2558028.1908 | 1133386.1244
32 | 2557984.7063 | 1133207.1325 | 2557981.3101 | 1133204.4616
33 | 2557977.4617 | 1133187.4685 | 2557969.868 | 1133195.4635 | 2557981.3101 | 1133204.4616
34 | 2558022.6784 | 1133224.3102 | 2558001.6261 | 1133212.473 | 2557993.5621 | 1133214.0967 | 2557984.7063 | 1133207.1325
35 | 2558028.9942 | 1133282.2513 | 2558038.1003 | 1133284.3557
36 | 2558028.9942 | 1133282.2513 | 2558008.3022 | 1133276.6153
37 | 2558038.1003 | 1133284.3557 | 2558048.5184 | 1133304.0153
38 | 2557976.6059 | 1133372.8074 | 2557980.0218 | 1133367.4822
39 | 2557983.955 | 1133361.3506 | 2557980.0218 | 1133367.4822
40 | 2557972.9513 | 1133378.5048 | 2557976.6059 | 1133372.8074
41 | 2557985.7373 | 1133344.9625 | 2557985.7373 | 1133344.9625 | 2557987.1798 | 1133350.911 | 2557985.123 | 1133359.5297 | 2557983.955 | 1133361.3506
42 | 2557969.1329 | 1133384.4575 | 2557972.9513 | 1133378.5048
43 | 2557985.7373 | 1133344.9625 | 2557979.7019 | 1133341.8144
44 | 2557969.1329 | 1133384.4575 | 2557965.0789 | 1133390.7774
45 | 2558060.7454 | 1133323.796 | 2558055.5969 | 1133317.373 | 2558048.5184 | 1133304.0153
46 | 2558096.1203 | 1133344.0714 | 2558086.2099 | 1133365.3448
47 | 2558060.7454 | 1133323.796 | 2558075.8783 | 1133336.864 | 2558085.2173 | 1133341.4903 | 2558096.1203 | 1133344.0714
48 | 2558086.2099 | 1133365.3448 | 2558076.5897 | 1133385.9953 | 2558067.2715 | 1133403.5966
49 | 2558060.7454 | 1133323.796 | 2558057.0059 | 1133330.9556
50 | 2558057.0059 | 1133330.9556 | 2558052.4282 | 1133339.72
51 | 2558052.1045 | 1133340.3396 | 2558052.4282 | 1133339.72
52 | 2558050.1622 | 1133344.0585 | 2558052.1045 | 1133340.3396
53 | 2558050.1622 | 1133344.0585 | 2558039.2303 | 1133364.9885
54 | 2558036.7603 | 1133369.7175 | 2558039.2303 | 1133364.9885
55 | 2558036.521 | 1133370.1757 | 2558036.7603 | 1133369.7175
56 | 2558490.1895 | 1134033.5739 | 2558489.7958 | 1134033.0701
57 | 2558486.1647 | 1134039.2823 | 2558490.1895 | 1134033.5739
58 | 2558480.4592 | 1134021.1234 | 2558489.7958 | 1134033.0701
59 | 2558486.1647 | 1134039.2823 | 2558468.9548 | 1134063.6881
60 | 2558486.1647 | 1134039.2823 | 2558500.4603 | 1134048.6893
61 | 2558480.7745 | 1133980.8785 | 2558468.5289 | 1134008.8772 | 2558480.4592 | 1134021.1234
62 | 2558468.9548 | 1134063.6881 | 2558468.845 | 1134063.8439
63 | 2558506.1634 | 1134052.4422 | 2558500.4603 | 1134048.6893
64 | 2558480.7745 | 1133980.8785 | 2558470.2722 | 1133993.7908 | 2558462.6218 | 1134005.129
65 | 2558480.7745 | 1133980.8785 | 2558393.8558 | 1133947.1163
66 | 2558459.2801 | 1134077.4081 | 2558468.845 | 1134063.8439
67 | 2558511.9867 | 1134056.2742 | 2558506.1634 | 1134052.4422
68 | 2558393.8558 | 1133947.1163 | 2558386.6983 | 1133964.613
69 | 2558311.3972 | 1133915.1031 | 2558393.8558 | 1133947.1163
70 | 2558311.3972 | 1133915.1031 | 2558340.4446 | 1133831.3373 | 2558348.6154 | 1133812.1412
71 | 2558459.2801 | 1134077.4081 | 2558458.9219 | 1134077.9161
72 | 2558508.7328 | 1134111.6383 | 2558517.8464 | 1134098.5832 | 2558518.9445 | 1134097.0671
73 | 2558535.326 | 1134072.8165 | 2558530.6556 | 1134080.8972 | 2558518.9445 | 1134097.0671
74 | 2558535.326 | 1134072.8165 | 2558530.2688 | 1134068.3045 | 2558529.6347 | 1134067.8873
75 | 2558535.9688 | 1134073.3889 | 2558535.326 | 1134072.8165
76 | 2558535.326 | 1134072.8165 | 2558546.5541 | 1134082.8155
77 | 2558535.326 | 1134072.8165 | 2558530.6556 | 1134080.8972 | 2558528.6233 | 1134083.7033
78 | 2558552.1519 | 1134098.6329 | 2558552.9928 | 1134097.7299 | 2558556.2981 | 1134091.4929 | 2558555.9384 | 1134091.1726
79 | 2558546.5541 | 1134082.8155 | 2558555.9384 | 1134091.1726
80 | 2558529.6347 | 1134067.8873 | 2558511.9867 | 1134056.2742
81 | 2558535.9688 | 1134073.3889 | 2558556.2981 | 1134091.4929
82 | 2558518.5818 | 1134097.5678 | 2558528.6233 | 1134083.7033
83 | 2558518.5818 | 1134097.5678 | 2558518.2676 | 1134098.0017

## bus_geodata
| x | y | coords
0 | 2557917.948 | 1133345.4409
1 | 2557923.7297 | 1133337.4335
2 | 2557934.1918 | 1133322.9441
3 | 2557936.9097 | 1133319.7123
4 | 2557943.5462 | 1133329.6706
5 | 2557944.1527 | 1133433.1752
6 | 2557988.7981 | 1133461.5451
7 | 2557957.8927 | 1133412.2707
8 | 2557908.9876 | 1133304.0882
9 | 2557954.0322 | 1133299.3446
10 | 2557957.9786 | 1133336.1737
11 | 2558024.5666 | 1133484.263
12 | 2558010.681 | 1133419.6484
13 | 2557976.8984 | 1133383.3548
14 | 2557906.1122 | 1133245.344
15 | 2557936.2985 | 1133260.633
16 | 2557971.3726 | 1133278.7177
17 | 2557976.2875 | 1133275.9042
18 | 2557955.2562 | 1133297.8887
19 | 2557972.3408 | 1133253.0868
20 | 2557988.4086 | 1133272.1178
21 | 2557976.151 | 1133237.5745
22 | 2557961.1893 | 1133250.2186
23 | 2557995.4966 | 1133249.4938
24 | 2558004.838 | 1133275.6718
25 | 2558373.4212 | 1133764.6913
26 | 2558028.1908 | 1133386.1244
27 | 2557981.3101 | 1133204.4616
28 | 2557984.7063 | 1133207.1325
29 | 2557977.4617 | 1133187.4685
30 | 2558022.6784 | 1133224.3102
31 | 2558028.9942 | 1133282.2513
32 | 2558038.1003 | 1133284.3557
33 | 2558008.3022 | 1133276.6153
34 | 2557980.0218 | 1133367.4822
35 | 2557976.6059 | 1133372.8074
36 | 2557983.955 | 1133361.3506
37 | 2557972.9513 | 1133378.5048
38 | 2557985.7373 | 1133344.9625
39 | 2557969.1329 | 1133384.4575
40 | 2557979.7019 | 1133341.8144
41 | 2557965.0789 | 1133390.7774
42 | 2558048.5184 | 1133304.0153
43 | 2558096.1203 | 1133344.0714
44 | 2558086.2099 | 1133365.3448
45 | 2558060.7454 | 1133323.796
46 | 2558057.0059 | 1133330.9556
47 | 2557997.6315 | 1133244.612
48 | 2558052.4282 | 1133339.72
49 | 2558052.1045 | 1133340.3396
50 | 2558050.1622 | 1133344.0585
51 | 2558039.2303 | 1133364.9885
52 | 2558067.2715 | 1133403.5966
53 | 2558036.7603 | 1133369.7175
54 | 2558036.521 | 1133370.1757
55 | 2558490.1895 | 1134033.5739
56 | 2558489.7958 | 1134033.0701
57 | 2558486.1647 | 1134039.2823
58 | 2558480.4592 | 1134021.1234
59 | 2558468.9548 | 1134063.6881
60 | 2558500.4603 | 1134048.6893
61 | 2558480.7745 | 1133980.8785
62 | 2558468.845 | 1134063.8439
63 | 2558506.1634 | 1134052.4422
64 | 2558386.6983 | 1133964.613
65 | 2558393.8558 | 1133947.1163
66 | 2558311.3972 | 1133915.1031
67 | 2558348.6154 | 1133812.1412
68 | 2558462.6218 | 1134005.129
69 | 2558458.9219 | 1134077.9161
70 | 2558459.2801 | 1134077.4081
71 | 2558508.7328 | 1134111.6383
72 | 2558518.9445 | 1134097.0671
73 | 2558535.326 | 1134072.8165
74 | 2558552.1518 | 1134098.6329
75 | 2558555.9384 | 1134091.1726
76 | 2558529.6347 | 1134067.8873
77 | 2558535.9688 | 1134073.3889
78 | 2558546.5541 | 1134082.8155
79 | 2558528.6233 | 1134083.7033
80 | 2558518.2676 | 1134098.0017
81 | 2558518.5818 | 1134097.5678
82 | 2558556.2981 | 1134091.4929
83 | 2558511.9867 | 1134056.2742
84 | 2557969.5729 | 1133219.3666
85 | 2558060.7454 | 1133323.796

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1