## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5404-1_1_4_node_2 | 0.4 | n |  | TRUE
1 | bus_LV_5404-1_1_4_node_146 | 0.4 | n |  | TRUE
2 | bus_LV_5404-1_1_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_5404-1_1_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5404-1_1_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5404-1_1_4_node_136 | 0.4 | n |  | TRUE
6 | bus_LV_5404-1_1_4_node_135 | 0.4 | n |  | TRUE
7 | bus_LV_5404-1_1_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5404-1_1_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5404-1_1_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5404-1_1_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5404-1_1_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_5404-1_1_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5404-1_1_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5404-1_1_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5404-1_1_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_5404-1_1_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_5404-1_1_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5404-1_1_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5404-1_1_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5404-1_1_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5404-1_1_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5404-1_1_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_5404-1_1_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5404-1_1_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_5404-1_1_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_5404-1_1_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_5404-1_1_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_5404-1_1_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_5404-1_1_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_5404-1_1_4_node_139 | 0.4 | n |  | TRUE
31 | bus_LV_5404-1_1_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_5404-1_1_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5404-1_1_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_5404-1_1_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_5404-1_1_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_5404-1_1_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_5404-1_1_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_5404-1_1_4_node_137 | 0.4 | n |  | TRUE
39 | bus_LV_5404-1_1_4_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_5404-1_1_4_node_140 | 0.4 | n |  | TRUE
41 | bus_LV_5404-1_1_4_node_141 | 0.4 | n |  | TRUE
42 | bus_LV_5404-1_1_4_node_142 | 0.4 | n |  | TRUE
43 | bus_LV_5404-1_1_4_node_143 | 0.4 | n |  | TRUE
44 | bus_LV_5404-1_1_4_node_144 | 0.4 | n |  | TRUE
45 | bus_LV_5404-1_1_4_node_145 | 0.4 | n |  | TRUE
46 | bus_MV_190_1_node_245 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5404-1_1_4_load_146 | 1 | 0.02 | 0.0050125 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5404-1_1_4_load_4 | 2 | 0.0003429 | 8.5938e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5404-1_1_4_load_5 | 4 | 0.00054096 | 0.00013558 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5404-1_1_4_load_136 | 5 | 0.0010991 | 0.00027546 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5404-1_1_4_load_6 | 7 | 0.00074851 | 0.00018759 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5404-1_1_4_load_7 | 8 | 0.00054216 | 0.00013588 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5404-1_1_4_load_9 | 10 | 0.00044052 | 0.00011041 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5404-1_1_4_load_10 | 11 | 0.00077009 | 0.000193 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5404-1_1_4_load_11 | 12 | 0.0011014 | 0.00027604 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5404-1_1_4_load_12 | 13 | 0.00056805 | 0.00014237 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5404-1_1_4_load_19 | 15 | 0.00060981 | 0.00015283 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5404-1_1_4_load_14 | 17 | 0.00068978 | 0.00017287 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5404-1_1_4_load_17 | 20 | 0.00027362 | 6.8576e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5404-1_1_4_load_18 | 21 | 0.00043134 | 0.0001081 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5404-1_1_4_load_22 | 25 | 0.00052904 | 0.00013259 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5404-1_1_4_load_23 | 26 | 0.001107 | 0.00027744 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5404-1_1_4_load_26 | 28 | 0.00070512 | 0.00017672 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5404-1_1_4_load_32 | 29 | 0.00087646 | 0.00021966 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5404-1_1_4_load_27 | 31 | 0.00067752 | 0.0001698 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5404-1_1_4_load_34 | 34 | 0.00043349 | 0.00010864 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5404-1_1_4_load_35 | 35 | 0.00043822 | 0.00010983 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5404-1_1_4_load_31 | 36 | 0.00083177 | 0.00020846 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5404-1_1_4_load_33 | 37 | 0.00076719 | 0.00019228 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5404-1_1_4_load_137 | 38 | 0.00046582 | 0.00011674 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5404-1_1_4_load_80 | 39 | 0.00069013 | 0.00017296 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5404-1_1_4_load_140 | 40 | 0.0012384 | 0.00031037 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5404-1_1_4_load_141 | 41 | 0.035205 | 0.0088232 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5404-1_1_4_load_144 | 44 | 0.029038 | 0.0072775 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5404-1_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.36323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_5404-1_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.24281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_5404-1_1_4_line_2 | NAYY 4x150 SE | 1 | 45 | 0.1028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5404-1_1_4_line_3 | NAYY 4x150 SE | 2 | 5 | 0.012839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5404-1_1_4_line_4 | NAYY 4x150 SE | 2 | 3 | 0.052344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_5404-1_1_4_line_5 | NAYY 4x150 SE | 3 | 4 | 0.18721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5404-1_1_4_line_6 | NAYY 4x150 SE | 4 | 6 | 0.028999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5404-1_1_4_line_7 | NAYY 4x150 SE | 5 | 38 | 0.022707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5404-1_1_4_line_8 | NAYY 4x150 SE | 6 | 17 | 0.37846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_5404-1_1_4_line_9 | NAYY 4x150 SE | 7 | 8 | 0.016735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5404-1_1_4_line_10 | NAYY 4x150 SE | 7 | 9 | 0.013629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5404-1_1_4_line_11 | NAYY 4x150 SE | 8 | 10 | 0.0090549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5404-1_1_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.032646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5404-1_1_4_line_13 | NAYY 4x150 SE | 9 | 12 | 0.0026414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5404-1_1_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.018922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5404-1_1_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.096503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_5404-1_1_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.001229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5404-1_1_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.17231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_5404-1_1_4_line_18 | NAYY 4x150 SE | 15 | 23 | 0.048252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5404-1_1_4_line_19 | NAYY 4x150 SE | 16 | 31 | 0.071964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_5404-1_1_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.11364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_5404-1_1_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.14127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_5404-1_1_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.10522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5404-1_1_4_line_23 | NAYY 4x150 SE | 19 | 21 | 0.2328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_5404-1_1_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.070837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_5404-1_1_4_line_25 | NAYY 4x150 SE | 22 | 29 | 0.085225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_5404-1_1_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.09505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5404-1_1_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0085343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5404-1_1_4_line_28 | NAYY 4x150 SE | 24 | 26 | 0.052252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5404-1_1_4_line_29 | NAYY 4x150 SE | 25 | 27 | 0.093062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5404-1_1_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.017641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5404-1_1_4_line_31 | NAYY 4x150 SE | 27 | 30 | 0.006711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5404-1_1_4_line_32 | NAYY 4x150 SE | 29 | 36 | 0.011856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_5404-1_1_4_line_33 | NAYY 4x150 SE | 30 | 40 | 0.010277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5404-1_1_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.060304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_5404-1_1_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.14906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_5404-1_1_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.069412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_5404-1_1_4_line_37 | NAYY 4x150 SE | 33 | 35 | 0.070646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5404-1_1_4_line_38 | NAYY 4x150 SE | 34 | 37 | 0.0051463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_5404-1_1_4_line_39 | NAYY 4x150 SE | 36 | 37 | 0.024913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_5404-1_1_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0038458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5404-1_1_4_line_41 | NAYY 4x150 SE | 41 | 42 | 0.060552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5404-1_1_4_line_42 | NAYY 4x150 SE | 42 | 43 | 0.087031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_5404-1_1_4_line_43 | NAYY 4x150 SE | 43 | 44 | 0.024464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_5404-1_1_4_line_44 | NAYY 4x150 SE | 44 | 45 | 0.39594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5404-1_1_4_trafo_142 | 0.25 MVA 20/0.4 kV | 46 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2563735.675 | 1133089.2483 | 2563962.2517 | 1132805.346
1 | 2563739.831 | 1133332.0234 | 2563735.675 | 1133089.2483
2 | 2564043.3925 | 1132757.2704 | 2564001.8981 | 1132763.9104 | 2563989.9649 | 1132767.728 | 2563980.7072 | 1132774.7869 | 2563974.5183 | 1132782.6501 | 2563969.7617 | 1132790.5492 | 2563964.8703 | 1132804.2409 | 2563962.2517 | 1132805.346
3 | 2563728.8467 | 1133338.6555 | 2563733.7854 | 1133335.406 | 2563739.831 | 1133332.0234 | 2563739.831 | 1133332.0234
4 | 2563788.8272 | 1133345.9469 | 2563770.2194 | 1133336.6652 | 2563757.675 | 1133332.0717 | 2563751.6847 | 1133330.5736 | 2563745.173 | 1133330.7017 | 2563739.831 | 1133332.0234
5 | 2563788.8272 | 1133345.9469 | 2563796.4562 | 1133351.137 | 2563801.0661 | 1133356.0674 | 2563806.4786 | 1133363.9055 | 2563811.1767 | 1133375.8388 | 2563812.3031 | 1133389.061 | 2563817.6993 | 1133400.601 | 2563832.1829 | 1133421.7803 | 2563853.1252 | 1133443.0209 | 2563869.1266 | 1133461.89 | 2563888.0371 | 1133480.6639 | 2563898.4158 | 1133488.728 | 2563900.8796 | 1133490.1725
6 | 2563927.9547 | 1133495.6212 | 2563925.4218 | 1133496.8592 | 2563915.9941 | 1133497.1825 | 2563912.2314 | 1133496.1379 | 2563907.1062 | 1133493.8229 | 2563900.8796 | 1133490.1725
7 | 2563709.8774 | 1133351.1372 | 2563728.8467 | 1133338.6555
8 | 2563927.9547 | 1133495.6212 | 2563842.6099 | 1133864.3373
9 | 2564431.5962 | 1134343.1452 | 2564429.6674 | 1134343.9768 | 2564423.8435 | 1134344.4003 | 2564415.3929 | 1134343.1496 | 2564415.1428 | 1134343.1136
10 | 2564441.6705 | 1134334.2455 | 2564439.2879 | 1134336.1272 | 2564437.1564 | 1134338.8078 | 2564433.7976 | 1134342.196 | 2564431.5962 | 1134343.1452
11 | 2564406.18 | 1134341.8256 | 2564415.1428 | 1134343.1136
12 | 2564441.6705 | 1134334.2455 | 2564440.1733 | 1134330.9638 | 2564437.005 | 1134313.1736 | 2564435.6717 | 1134302.2865
13 | 2564441.6705 | 1134334.2455 | 2564442.7681 | 1134336.6481
14 | 2564435.6717 | 1134302.2865 | 2564434.7003 | 1134294.3555 | 2564430.6747 | 1134284.1923
15 | 2564477.7732 | 1134426.5234 | 2564452.6258 | 1134358.2263 | 2564442.7681 | 1134336.6481
16 | 2564430.2222 | 1134283.0496 | 2564430.6747 | 1134284.1923
17 | 2564477.7732 | 1134426.5234 | 2564469.9296 | 1134430.2827 | 2564453.263 | 1134434.8833 | 2564432.77 | 1134439.2509 | 2564412.1915 | 1134442.1739 | 2564354.711 | 1134437.7448 | 2564307.68 | 1134431.6313
18 | 2564391.3501 | 1134257.4707 | 2564421.7477 | 1134271.0535 | 2564428.0669 | 1134277.6084 | 2564430.2222 | 1134283.0496
19 | 2564307.68 | 1134431.6313 | 2564287.6882 | 1134401.1122 | 2564271.6894 | 1134372.9706 | 2564269.8109 | 1134370.4934
20 | 2563741.2319 | 1133913.7638 | 2563744.5013 | 1133910.8871 | 2563755.1561 | 1133908.6441 | 2563777.8928 | 1133899.5695 | 2563802.3204 | 1133888.7839 | 2563825.0225 | 1133873.9067 | 2563837.5851 | 1133866.3386 | 2563842.6099 | 1133864.3373
21 | 2563875.2903 | 1133954.3012 | 2563870.3045 | 1133953.3417 | 2563785.779 | 1133937.3967 | 2563773.7431 | 1133932.6889 | 2563741.2319 | 1133913.7638
22 | 2563811.2015 | 1133991.0043 | 2563801.5367 | 1133988.8946 | 2563796.2369 | 1133986.9143 | 2563795.2069 | 1133984.5971 | 2563797.4189 | 1133982.5161 | 2563829.949 | 1133970.0812 | 2563838.2948 | 1133966.596 | 2563842.662 | 1133965.8027 | 2563846.4248 | 1133965.6245 | 2563853.3294 | 1133965.6609 | 2563857.5422 | 1133964.8018 | 2563867.8755 | 1133960.2931 | 2563873.1539 | 1133957.4378 | 2563875.2903 | 1133954.3012
23 | 2563875.2903 | 1133954.3012 | 2563937.5853 | 1133966.2452 | 2563945.4517 | 1133968.8105 | 2563951.7471 | 1133972.5303 | 2563967.4165 | 1133986.3657 | 2564000.5571 | 1134018.0614 | 2564007.6638 | 1134022.3099 | 2564015.1697 | 1134025.111 | 2564028.103 | 1134026.779 | 2564043.1197 | 1134030.6135 | 2564054.5085 | 1134035.3146 | 2564081.6525 | 1134047.783
24 | 2564146.3286 | 1134074.5206 | 2564129.6996 | 1134072.6186 | 2564115.9984 | 1134066.0525 | 2564083.2972 | 1134048.5385 | 2564081.6525 | 1134047.783
25 | 2564146.3286 | 1134074.5206 | 2564149.0755 | 1134076.9499 | 2564156.2882 | 1134080.9424 | 2564161.3271 | 1134084.3808 | 2564165.6222 | 1134089.5912 | 2564169.5546 | 1134094.637 | 2564169.3851 | 1134098.4844 | 2564167.4718 | 1134100.3189 | 2564158.7026 | 1134102.5055 | 2564143.6274 | 1134110.7772 | 2564127.6946 | 1134124.9569
26 | 2564307.5257 | 1134216.0237 | 2564317.4274 | 1134221.8235 | 2564352.974 | 1134247.0257 | 2564364.8238 | 1134252.992 | 2564378.6346 | 1134256.0897 | 2564391.3501 | 1134257.4707
27 | 2564391.3501 | 1134257.4707 | 2564399.8177 | 1134256.406
28 | 2564307.5257 | 1134216.0237 | 2564304.1276 | 1134221.869 | 2564288.6492 | 1134243.9051 | 2564282.9038 | 1134245.8735 | 2564270.4408 | 1134245.0839
29 | 2564479.4034 | 1134218.8093 | 2564468.526 | 1134235.4485 | 2564459.7383 | 1134242.3149 | 2564447.405 | 1134248.2906 | 2564427.3048 | 1134252.8338 | 2564412.2235 | 1134254.8461 | 2564399.8177 | 1134256.406
30 | 2564252.8528 | 1134245.3848 | 2564262.2072 | 1134244.5622 | 2564270.4408 | 1134245.0839
31 | 2564474.2977 | 1134214.4372 | 2564479.4034 | 1134218.8093
32 | 2564121.4751 | 1134134.9689 | 2564122.1314 | 1134132.9941 | 2564127.6946 | 1134124.9569 | 2564127.6946 | 1134124.9569
33 | 2564464.0325 | 1134213.5084 | 2564474.2977 | 1134214.4372
34 | 2564227.7029 | 1134327.5199 | 2564235.8979 | 1134336.2645 | 2564262.6677 | 1134361.0737 | 2564269.8109 | 1134370.4934
35 | 2564113.4812 | 1134232.618 | 2564156.4193 | 1134271.0707 | 2564164.3577 | 1134278.0492 | 2564169.1547 | 1134282.2672 | 2564182.5349 | 1134291.8814 | 2564211.5219 | 1134310.2406 | 2564227.7029 | 1134327.5199
36 | 2564113.4812 | 1134232.618 | 2564111.9308 | 1134226.9021 | 2564111.1491 | 1134214.545 | 2564110.1369 | 1134191.9286 | 2564111.5559 | 1134169.1642 | 2564112.2127 | 1134163.542
37 | 2564113.4812 | 1134232.618 | 2564101.6183 | 1134237.4244 | 2564092.6498 | 1134234.532 | 2564058.0377 | 1134228.124 | 2564044.8172 | 1134228.355
38 | 2564112.2127 | 1134163.542 | 2564112.3395 | 1134162.4561 | 2564113.6178 | 1134158.61
39 | 2564121.4751 | 1134134.9689 | 2564113.6178 | 1134158.61
40 | 2563706.6646 | 1133353.2511 | 2563709.8774 | 1133351.1372
41 | 2564244.4997 | 1133207.8341 | 2564258.8966 | 1133208.0822 | 2564265.4415 | 1133207.0428 | 2564270.2163 | 1133203.4905 | 2564275.5527 | 1133197.278 | 2564289.6567 | 1133176.1715
42 | 2564244.4997 | 1133207.8341 | 2564242.6286 | 1133202.5648 | 2564241.6795 | 1133197.001 | 2564241.2933 | 1133190.2999 | 2564240.4952 | 1133166.0813 | 2564238.6649 | 1133152.1296 | 2564234.9079 | 1133136.5329 | 2564232.0293 | 1133131.4252 | 2564225.7641 | 1133125.137
43 | 2564225.7641 | 1133125.137 | 2564236.2753 | 1133103.0463
44 | 2564236.2753 | 1133103.0463 | 2564043.3925 | 1132757.2704

## bus_geodata
| x | y | coords
0 | 2563735.675 | 1133089.2483
1 | 2563962.2517 | 1132805.346
2 | 2563739.831 | 1133332.0234
3 | 2563788.8272 | 1133345.9469
4 | 2563900.8796 | 1133490.1725
5 | 2563728.8467 | 1133338.6555
6 | 2563927.9547 | 1133495.6212
7 | 2564431.5962 | 1134343.1452
8 | 2564415.1428 | 1134343.1136
9 | 2564441.6705 | 1134334.2455
10 | 2564406.18 | 1134341.8256
11 | 2564435.6717 | 1134302.2865
12 | 2564442.7681 | 1134336.6481
13 | 2564430.6747 | 1134284.1923
14 | 2564477.7732 | 1134426.5234
15 | 2564430.2222 | 1134283.0496
16 | 2564307.68 | 1134431.6313
17 | 2563842.6099 | 1133864.3373
18 | 2563741.2319 | 1133913.7638
19 | 2563875.2903 | 1133954.3012
20 | 2563811.2015 | 1133991.0043
21 | 2564081.6525 | 1134047.783
22 | 2564146.3286 | 1134074.5206
23 | 2564391.3501 | 1134257.4707
24 | 2564307.5257 | 1134216.0237
25 | 2564399.8177 | 1134256.406
26 | 2564270.4408 | 1134245.0839
27 | 2564479.4034 | 1134218.8093
28 | 2564252.8528 | 1134245.3848
29 | 2564127.6946 | 1134124.9569
30 | 2564474.2977 | 1134214.4372
31 | 2564269.8109 | 1134370.4934
32 | 2564227.7029 | 1134327.5199
33 | 2564113.4812 | 1134232.618
34 | 2564112.2127 | 1134163.542
35 | 2564044.8172 | 1134228.355
36 | 2564121.4751 | 1134134.9689
37 | 2564113.6178 | 1134158.61
38 | 2563709.8774 | 1133351.1372
39 | 2563706.6646 | 1133353.2511
40 | 2564464.0325 | 1134213.5084
41 | 2564289.6567 | 1133176.1715
42 | 2564244.4997 | 1133207.8341
43 | 2564225.7641 | 1133125.137
44 | 2564236.2753 | 1133103.0463
45 | 2564043.3925 | 1132757.2704
46 | 2564206.8306 | 1133255.3372

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1