## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5405-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5405-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5405-11_0_3_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_5405-11_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5405-11_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5405-11_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5405-11_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5405-11_0_3_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_5405-11_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_5405-11_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_5405-11_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5405-11_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_5405-11_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_5405-11_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5405-11_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5405-11_0_3_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_5405-11_0_3_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_5405-11_0_3_node_67 | 0.4 | n |  | TRUE
18 | bus_LV_5405-11_0_3_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_5405-11_0_3_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_5405-11_0_3_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_5405-11_0_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_5405-11_0_3_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_5405-11_0_3_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_5405-11_0_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_5405-11_0_3_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_5405-11_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_5405-11_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_5405-11_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_5405-11_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5405-11_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5405-11_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5405-11_0_3_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_5405-11_0_3_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_5405-11_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5405-11_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_5405-11_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_5405-11_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5405-11_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5405-11_0_3_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_5405-11_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_5405-11_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_5405-11_0_3_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_5405-11_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_5405-11_0_3_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_5405-11_0_3_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_5405-11_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_5405-11_0_3_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_5405-11_0_3_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_5405-11_0_3_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_5405-11_0_3_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_5405-11_0_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_5405-11_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_5405-11_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_5405-11_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_5405-11_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_5405-11_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_5405-11_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_5405-11_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_5405-11_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_5405-11_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_5405-11_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_5405-11_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_5405-11_0_3_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_5405-11_0_3_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_5405-11_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_5405-11_0_3_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_5405-11_0_3_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_5405-11_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_5405-11_0_3_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_5405-11_0_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_5405-11_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_5405-11_0_3_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_5405-11_0_3_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_5405-11_0_3_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_5405-11_0_3_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_5405-11_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_5405-11_0_3_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_5405-11_0_3_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_5405-11_0_3_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_5405-11_0_3_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_5405-11_0_3_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_5405-11_0_3_node_63 | 0.4 | n |  | TRUE
83 | bus_MV_190_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5405-11_0_3_load_0 | 0 | 0.0020029 | 0.00050198 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5405-11_0_3_load_1 | 1 | 0.0017756 | 0.000445 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5405-11_0_3_load_8 | 2 | 0.0014382 | 0.00036044 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5405-11_0_3_load_2 | 3 | 0.0039366 | 0.0009866 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5405-11_0_3_load_6 | 4 | 0.0014183 | 0.00035546 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5405-11_0_3_load_78 | 7 | 0.0022514 | 0.00056426 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5405-11_0_3_load_10 | 10 | 0.0033948 | 0.00085082 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5405-11_0_3_load_31 | 11 | 0.0017098 | 0.00042853 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5405-11_0_3_load_5 | 12 | 0.0013499 | 0.00033831 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5405-11_0_3_load_7 | 13 | 0.0011165 | 0.00027983 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5405-11_0_3_load_9 | 14 | 0.0020018 | 0.0005017 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5405-11_0_3_load_57 | 16 | 0.001393 | 0.00034912 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5405-11_0_3_load_74 | 18 | 0.0016297 | 0.00040844 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5405-11_0_3_load_58 | 19 | 0.0028655 | 0.00071816 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5405-11_0_3_load_32 | 20 | 0.0012898 | 0.00032325 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5405-11_0_3_load_34 | 21 | 0.0023284 | 0.00058355 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5405-11_0_3_load_49 | 22 | 0.0039068 | 0.00097913 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5405-11_0_3_load_48 | 23 | 0.0040156 | 0.0010064 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5405-11_0_3_load_36 | 24 | 0.0048573 | 0.0012174 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5405-11_0_3_load_13 | 26 | 0.0019853 | 0.00049755 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5405-11_0_3_load_14 | 27 | 0.0045698 | 0.0011453 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5405-11_0_3_load_15 | 28 | 0.0047904 | 0.0012006 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5405-11_0_3_load_18 | 29 | 0.0036596 | 0.00091718 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5405-11_0_3_load_16 | 30 | 0.0042891 | 0.001075 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5405-11_0_3_load_17 | 31 | 0.0018166 | 0.00045528 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5405-11_0_3_load_65 | 32 | 0.005509 | 0.0013807 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5405-11_0_3_load_27 | 35 | 0.0032544 | 0.00081562 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5405-11_0_3_load_37 | 36 | 0.0031929 | 0.00080021 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5405-11_0_3_load_20 | 39 | 0.002176 | 0.00054536 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5405-11_0_3_load_26 | 40 | 0.0016848 | 0.00042226 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5405-11_0_3_load_38 | 41 | 0.0047259 | 0.0011844 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5405-11_0_3_load_21 | 42 | 0.00079609 | 0.00019952 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5405-11_0_3_load_80 | 44 | 0.0017654 | 0.00044246 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5405-11_0_3_load_81 | 45 | 0.002082 | 0.0005218 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5405-11_0_3_load_29 | 47 | 0.0024078 | 0.00060346 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5405-11_0_3_load_73 | 49 | 0.0021406 | 0.00053649 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5405-11_0_3_load_79 | 50 | 0.0019264 | 0.00048281 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5405-11_0_3_load_47 | 52 | 0.0018494 | 0.00046351 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5405-11_0_3_load_46 | 53 | 0.0016252 | 0.00040731 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5405-11_0_3_load_39 | 55 | 0.0011448 | 0.00028692 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5405-11_0_3_load_40 | 56 | 0.0031054 | 0.0007783 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5405-11_0_3_load_56 | 57 | 0.003765 | 0.00094359 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5405-11_0_3_load_52 | 58 | 0.0015082 | 0.000378 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5405-11_0_3_load_41 | 59 | 0.0027796 | 0.00069664 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5405-11_0_3_load_42 | 60 | 0.0026124 | 0.00065473 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5405-11_0_3_load_82 | 63 | 0.0029289 | 0.00073406 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5405-11_0_3_load_83 | 64 | 0.0023478 | 0.00058841 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5405-11_0_3_load_50 | 65 | 0.0017118 | 0.00042902 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5405-11_0_3_load_51 | 66 | 0.0012736 | 0.00031919 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5405-11_0_3_load_53 | 67 | 0.0039536 | 0.00099088 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5405-11_0_3_load_54 | 68 | 0.0016911 | 0.00042382 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5405-11_0_3_load_69 | 69 | 0.0011775 | 0.0002951 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5405-11_0_3_load_70 | 70 | 0.0011947 | 0.00029941 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5405-11_0_3_load_77 | 73 | 0.0012721 | 0.00031882 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5405-11_0_3_load_75 | 74 | 0.0024715 | 0.00061941 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5405-11_0_3_load_76 | 75 | 0.0014928 | 0.00037413 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5405-11_0_3_load_64 | 77 | 0.00094693 | 0.00023732 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5405-11_0_3_load_60 | 78 | 0.0033038 | 0.00082801 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5405-11_0_3_load_68 | 79 | 0.0017421 | 0.0004366 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5405-11_0_3_load_66 | 80 | 0.0010837 | 0.0002716 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5405-11_0_3_load_61 | 81 | 0.0012769 | 0.00032002 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5405-11_0_3_load_63 | 82 | 0.0071564 | 0.0017936 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5405-11_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5405-11_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.07973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5405-11_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0032677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5405-11_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0043388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5405-11_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.071021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5405-11_0_3_line_5 | NAYY 4x150 SE | 4 | 12 | 0.0051237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5405-11_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.033374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5405-11_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.062812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5405-11_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.004759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5405-11_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.02205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5405-11_0_3_line_10 | NAYY 4x150 SE | 9 | 21 | 0.010705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5405-11_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.1047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5405-11_0_3_line_12 | NAYY 4x150 SE | 11 | 20 | 0.010875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5405-11_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.024663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5405-11_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.017487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5405-11_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.00838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5405-11_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.034852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5405-11_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.012478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5405-11_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.02285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5405-11_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.03816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5405-11_0_3_line_20 | NAYY 4x150 SE | 17 | 79 | 0.01899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5405-11_0_3_line_21 | NAYY 4x150 SE | 17 | 80 | 0.033404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5405-11_0_3_line_22 | NAYY 4x150 SE | 20 | 51 | 0.00010192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5405-11_0_3_line_23 | NAYY 4x150 SE | 21 | 25 | 0.058073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5405-11_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.030679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5405-11_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.042878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5405-11_0_3_line_26 | NAYY 4x150 SE | 23 | 43 | 0.041934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5405-11_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.021517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5405-11_0_3_line_28 | NAYY 4x150 SE | 25 | 45 | 0.034981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5405-11_0_3_line_29 | NAYY 4x150 SE | 25 | 48 | 0.036292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5405-11_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.044946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5405-11_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.018083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5405-11_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.060294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5405-11_0_3_line_33 | NAYY 4x150 SE | 28 | 32 | 0.015467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5405-11_0_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.012182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5405-11_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.048133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5405-11_0_3_line_36 | NAYY 4x150 SE | 31 | 34 | 0.016499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5405-11_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.028472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5405-11_0_3_line_38 | NAYY 4x150 SE | 33 | 76 | 0.048134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5405-11_0_3_line_39 | NAYY 4x150 SE | 33 | 68 | 0.015551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5405-11_0_3_line_40 | NAYY 4x150 SE | 34 | 35 | 0.0046161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5405-11_0_3_line_41 | NAYY 4x150 SE | 34 | 36 | 0.055214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5405-11_0_3_line_42 | NAYY 4x150 SE | 35 | 40 | 0.037041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5405-11_0_3_line_43 | NAYY 4x150 SE | 36 | 41 | 0.00028252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5405-11_0_3_line_44 | NAYY 4x150 SE | 37 | 38 | 0.042846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5405-11_0_3_line_45 | NAYY 4x150 SE | 37 | 39 | 0.026265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5405-11_0_3_line_46 | NAYY 4x150 SE | 38 | 44 | 0.016834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5405-11_0_3_line_47 | NAYY 4x150 SE | 39 | 42 | 0.018748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5405-11_0_3_line_48 | NAYY 4x150 SE | 40 | 46 | 0.028354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5405-11_0_3_line_49 | NAYY 4x150 SE | 42 | 43 | 0.025375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5405-11_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.0045649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5405-11_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.041206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5405-11_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.029393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5405-11_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.041435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5405-11_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.039146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5405-11_0_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.034329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5405-11_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.017164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5405-11_0_3_line_57 | NAYY 4x150 SE | 54 | 61 | 0.04436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5405-11_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.017325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5405-11_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.016199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5405-11_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.042697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5405-11_0_3_line_61 | NAYY 4x150 SE | 58 | 66 | 0.010876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5405-11_0_3_line_62 | NAYY 4x150 SE | 58 | 67 | 0.064827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5405-11_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.0057279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5405-11_0_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.011463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5405-11_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.022776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5405-11_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.009137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5405-11_0_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.037415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5405-11_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.040109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5405-11_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.029794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5405-11_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0072765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5405-11_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0053971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5405-11_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.03512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5405-11_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.026831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5405-11_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.02156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5405-11_0_3_line_75 | NAYY 4x150 SE | 73 | 77 | 0.049742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5405-11_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.034134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5405-11_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.03316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5405-11_0_3_line_78 | NAYY 4x150 SE | 76 | 78 | 0.0028894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5405-11_0_3_line_79 | NAYY 4x150 SE | 78 | 81 | 0.010632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5405-11_0_3_line_80 | NAYY 4x150 SE | 80 | 82 | 0.01202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5405-11_0_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.028969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5405-11_0_3_trafo_17 | 0.25 MVA 20/0.4 kV | 83 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2570683.7362 | 1124777.819 | 2570690.8787 | 1124774.5439 | 2570695.9129 | 1124774.9147
1 | 2570605.9213 | 1124795.1899 | 2570683.7362 | 1124777.819
2 | 2570699.1718 | 1124775.1547 | 2570695.9129 | 1124774.9147
3 | 2570605.9213 | 1124795.1899 | 2570602.6536 | 1124792.3356
4 | 2570769.1874 | 1124783.1905 | 2570729.4837 | 1124782.4048 | 2570707.3042 | 1124775.7536 | 2570699.1718 | 1124775.1547
5 | 2570598.5486 | 1124789.3325 | 2570600.0995 | 1124790.1046 | 2570602.6536 | 1124792.3356
6 | 2570769.1874 | 1124783.1905 | 2570770.498 | 1124783.2175 | 2570781.2869 | 1124784.1212 | 2570795.7505 | 1124790.9212 | 2570797.0672 | 1124785.8345
7 | 2570797.0672 | 1124785.8345 | 2570793.7805 | 1124783.6716 | 2570786.8641 | 1124778.5581 | 2570773.0383 | 1124771.3548 | 2570741.4767 | 1124756.6338
8 | 2570750.2574 | 1124653.4397 | 2570752.533 | 1124653.751 | 2570754.9711 | 1124654.1839
9 | 2570754.9711 | 1124654.1839 | 2570755.9058 | 1124651.4002 | 2570756.8564 | 1124650.3061 | 2570758.558 | 1124649.8865 | 2570760.7369 | 1124649.3313 | 2570765.1678 | 1124648.9652 | 2570768.5827 | 1124648.9486 | 2570772.3392 | 1124649.4084 | 2570774.3192 | 1124649.7951
10 | 2570750.2574 | 1124653.4397 | 2570745.5981 | 1124652.7953 | 2570739.6256 | 1124652.209
11 | 2570749.5227 | 1124548.0763 | 2570774.3192 | 1124649.7951
12 | 2570749.5227 | 1124548.0763 | 2570741.4028 | 1124547.6187 | 2570738.7679 | 1124546.8598
13 | 2570575.0211 | 1124782.3383 | 2570575.1009 | 1124782.3449 | 2570593.2221 | 1124786.6809 | 2570598.5486 | 1124789.3325
14 | 2570557.5949 | 1124780.8851 | 2570560.6334 | 1124781.1482 | 2570575.0211 | 1124782.3383
15 | 2570549.2198 | 1124780.1812 | 2570557.5949 | 1124780.8851
16 | 2570557.5949 | 1124780.8851 | 2570557.1758 | 1124778.7305 | 2570552.5789 | 1124778.2194 | 2570537.6052 | 1124775.9469 | 2570530.2172 | 1124773.7486 | 2570528.4991 | 1124772.3674 | 2570528.3839 | 1124770.8783 | 2570529.1254 | 1124769.5963
17 | 2570536.7282 | 1124779.4641 | 2570545.171 | 1124779.8341 | 2570549.2198 | 1124780.1812
18 | 2570549.2198 | 1124780.1812 | 2570548.5379 | 1124782.608 | 2570547.9023 | 1124783.4671 | 2570544.268 | 1124784.3297 | 2570539.6288 | 1124786.22 | 2570535.2126 | 1124789.5432 | 2570531.654 | 1124793.0391
19 | 2570563.1397 | 1124752.9219 | 2570556.8517 | 1124756.5655 | 2570551.9394 | 1124757.7679 | 2570545.9669 | 1124759.7091 | 2570539.5727 | 1124763.6868 | 2570532.9595 | 1124767.0207 | 2570529.1254 | 1124769.5963
20 | 2570536.7282 | 1124779.4641 | 2570536.5471 | 1124781.8439 | 2570532.9954 | 1124783.8401 | 2570528.5138 | 1124786.4188 | 2570521.346 | 1124788.2547
21 | 2570536.7282 | 1124779.4641 | 2570535.4791 | 1124779.4035 | 2570527.1256 | 1124778.3994 | 2570506.8498 | 1124774.8634 | 2570503.7567 | 1124775.4982
22 | 2570738.67 | 1124546.8315 | 2570738.7679 | 1124546.8598
23 | 2570681.8306 | 1124646.5351 | 2570739.6256 | 1124652.209
24 | 2570667.5415 | 1124602.8383 | 2570654.1453 | 1124601.6473 | 2570639.6935 | 1124600.5727 | 2570636.9676 | 1124600.3134
25 | 2570667.5415 | 1124602.8383 | 2570697.6085 | 1124633.4074
26 | 2570596.3091 | 1124591.4128 | 2570597.956 | 1124592.4164 | 2570607.0117 | 1124593.5283 | 2570614.9216 | 1124595.2129 | 2570622.0586 | 1124598.0573 | 2570628.1324 | 1124599.4729 | 2570636.9676 | 1124600.3134
27 | 2570681.8306 | 1124646.5351 | 2570682.241 | 1124643.7428 | 2570682.3842 | 1124643.0751 | 2570683.7817 | 1124641.9456 | 2570697.6085 | 1124633.4074
28 | 2570654.7341 | 1124624.4114 | 2570681.8306 | 1124646.5351
29 | 2570681.8306 | 1124646.5351 | 2570653.7511 | 1124669.5276
30 | 2570471.5408 | 1124752.7262 | 2570484.5192 | 1124749.9935 | 2570515.6717 | 1124744.219
31 | 2570453.8459 | 1124756.4519 | 2570471.5408 | 1124752.7262
32 | 2570471.5408 | 1124752.7262 | 2570475.5347 | 1124692.5644
33 | 2570453.8459 | 1124756.4519 | 2570448.1405 | 1124757.6532 | 2570438.7197 | 1124759.6802
34 | 2570475.5347 | 1124692.5644 | 2570486.8037 | 1124690.7194 | 2570487.5302 | 1124690.4847
35 | 2570487.5302 | 1124690.4847 | 2570498.0563 | 1124687.0848 | 2570510.0039 | 1124680.5675 | 2570530.1007 | 1124669.486 | 2570530.56 | 1124669.2597
36 | 2570544.1244 | 1124660.2796 | 2570539.9443 | 1124664.6355 | 2570530.56 | 1124669.2597
37 | 2570413.977 | 1124770.5716 | 2570415.38 | 1124767.4298 | 2570420.4876 | 1124763.6029 | 2570438.7197 | 1124759.6802
38 | 2570454.6801 | 1124792.7721 | 2570415.9135 | 1124775.598 | 2570413.7148 | 1124772.107 | 2570413.6492 | 1124771.3069 | 2570413.977 | 1124770.5716
39 | 2570413.977 | 1124770.5716 | 2570411.9333 | 1124770.3815 | 2570407.6553 | 1124770.4581 | 2570403.01 | 1124771.0701 | 2570398.4876 | 1124771.3954
40 | 2570544.1244 | 1124660.2796 | 2570548.7404 | 1124660.3033
41 | 2570544.1244 | 1124660.2796 | 2570534.3736 | 1124660.4717 | 2570504.1545 | 1124666.7114 | 2570489.5517 | 1124666.4802
42 | 2570585.7484 | 1124659.7104 | 2570577.3582 | 1124660.4508 | 2570548.7404 | 1124660.3033
43 | 2570489.2693 | 1124666.4757 | 2570489.5517 | 1124666.4802
44 | 2570486.3407 | 1124599.276 | 2570500.6635 | 1124600.7622 | 2570520.0655 | 1124603.6355 | 2570528.8695 | 1124605.2822
45 | 2570528.8695 | 1124605.2822 | 2570533.7781 | 1124601.7119 | 2570547.6567 | 1124600.6436 | 2570553.9173 | 1124600.2031
46 | 2570496.4073 | 1124586.4203 | 2570492.7402 | 1124588.4726 | 2570488.78 | 1124593.6612 | 2570486.3407 | 1124599.276
47 | 2570553.9173 | 1124600.2031 | 2570558.353 | 1124599.891 | 2570572.5731 | 1124598.3729
48 | 2570613.5096 | 1124661.3639 | 2570608.7264 | 1124659.0305 | 2570601.7093 | 1124658.6089 | 2570593.8943 | 1124658.9916 | 2570585.7484 | 1124659.7104
49 | 2570596.3091 | 1124591.4128 | 2570594.1035 | 1124592.8242 | 2570590.7483 | 1124595.6198 | 2570584.3017 | 1124596.8073 | 2570575.1575 | 1124598.097 | 2570572.5731 | 1124598.3729
50 | 2570613.5096 | 1124661.3639 | 2570609.4824 | 1124662.2951 | 2570609.0536 | 1124662.3437
51 | 2570613.5096 | 1124661.3639 | 2570624.2358 | 1124665.1913 | 2570636.0679 | 1124668.1463 | 2570653.7511 | 1124669.5276
52 | 2570582.5052 | 1124674.1436 | 2570587.6829 | 1124672.0284 | 2570590.973 | 1124670.1225 | 2570595.4439 | 1124666.9214 | 2570600.0728 | 1124664.4865 | 2570605.8997 | 1124662.7016 | 2570609.0536 | 1124662.3437
53 | 2570653.7511 | 1124669.5276 | 2570653.0503 | 1124671.2652 | 2570646.1524 | 1124674.7449 | 2570636.6959 | 1124679.9602 | 2570626.8152 | 1124683.5324 | 2570616.4426 | 1124685.8507
54 | 2570738.67 | 1124546.8315 | 2570737.737 | 1124549.971 | 2570731.4969 | 1124554.0144 | 2570718.6413 | 1124559.4017 | 2570704.662 | 1124563.5605
55 | 2570738.67 | 1124546.8315 | 2570727.5261 | 1124544.351 | 2570716.7249 | 1124540.9907 | 2570710.5552 | 1124538.9085 | 2570706.9531 | 1124535.3131
56 | 2570695.405 | 1124522.6295 | 2570697.8988 | 1124525.0075 | 2570706.9531 | 1124535.3131
57 | 2570695.405 | 1124522.6295 | 2570691.9391 | 1124526.4705 | 2570687.7903 | 1124529.3699 | 2570681.1025 | 1124531.7035 | 2570674.6415 | 1124533.1134 | 2570656.0512 | 1124535.505 | 2570654.2554 | 1124535.5694
58 | 2570426.3779 | 1124679.6234 | 2570425.7198 | 1124679.9021 | 2570409.7867 | 1124684.5978
59 | 2570409.7867 | 1124684.5978 | 2570402.9345 | 1124686.6172 | 2570395.8076 | 1124692.2029
60 | 2570395.8076 | 1124692.2029 | 2570381.8242 | 1124703.1624 | 2570367.0999 | 1124712.4838 | 2570359.7729 | 1124714.1012
61 | 2570359.7729 | 1124714.1012 | 2570356.3347 | 1124714.8601 | 2570349.0023 | 1124715.4398
62 | 2570369.8271 | 1124778.1433 | 2570359.7729 | 1124714.1012
63 | 2570652.9703 | 1124546.9508 | 2570652.2164 | 1124552.6289
64 | 2570654.2554 | 1124535.5694 | 2570654.1964 | 1124537.7152 | 2570652.9703 | 1124546.9508
65 | 2570631.4233 | 1124536.0029 | 2570636.8589 | 1124536.1432 | 2570654.2554 | 1124535.5694
66 | 2570631.4233 | 1124536.0029 | 2570630.3083 | 1124538.165 | 2570628.47 | 1124540.5974 | 2570627.678 | 1124544.1697
67 | 2570631.4233 | 1124536.0029 | 2570605.8882 | 1124535.4381 | 2570599.4861 | 1124536.2809 | 2570598.6878 | 1124541.7319
68 | 2570309.0178 | 1124717.6882 | 2570326.4135 | 1124715.7633 | 2570343.2887 | 1124715.8914 | 2570349.0023 | 1124715.4398
69 | 2570369.8271 | 1124778.1433 | 2570380.097 | 1124773.6839 | 2570384.6313 | 1124772.4388 | 2570393.5547 | 1124771.7502 | 2570398.4876 | 1124771.3954
70 | 2570328.4141 | 1124822.3915 | 2570335.6678 | 1124821.8156
71 | 2570341.048 | 1124821.3885 | 2570335.6678 | 1124821.8156
72 | 2570365.1888 | 1124842.7805 | 2570364.5207 | 1124840.1603 | 2570363.0234 | 1124836.6548 | 2570360.6884 | 1124832.0973 | 2570357.8251 | 1124828.2761 | 2570355.1217 | 1124825.6103 | 2570353.6442 | 1124824.5726 | 2570345.0104 | 1124821.4135 | 2570341.048 | 1124821.3885
73 | 2570365.1888 | 1124842.7805 | 2570370.2651 | 1124840.4544 | 2570374.3037 | 1124837.1774 | 2570379.5993 | 1124832.4268 | 2570386.8968 | 1124827.1883
74 | 2570365.1888 | 1124842.7805 | 2570365.5347 | 1124844.1462 | 2570366.3932 | 1124846.2986 | 2570367.5051 | 1124848.2385 | 2570368.2554 | 1124850.3359 | 2570368.5792 | 1124851.9129 | 2570368.4765 | 1124852.9583 | 2570368.1676 | 1124854.4273 | 2570367.3349 | 1124855.9543 | 2570366.1885 | 1124857.961 | 2570364.5114 | 1124860.2259 | 2570363.7283 | 1124862.4308
75 | 2570421.7772 | 1124791.7251 | 2570386.8968 | 1124827.1883
76 | 2570391.2581 | 1124856.6261 | 2570388.3243 | 1124860.4201 | 2570386.2302 | 1124862.5315 | 2570383.8093 | 1124864.0219 | 2570380.9718 | 1124865.4476 | 2570377.1852 | 1124866.678 | 2570372.3407 | 1124867.5355 | 2570367.8151 | 1124867.4021 | 2570366.2313 | 1124866.6762 | 2570364.7456 | 1124865.5274 | 2570364.0061 | 1124864.0636 | 2570363.7283 | 1124862.4308
77 | 2570454.6801 | 1124792.7721 | 2570427.3179 | 1124790.405 | 2570421.7772 | 1124791.7251
78 | 2570454.6801 | 1124792.7721 | 2570457.551 | 1124792.4461
79 | 2570457.551 | 1124792.4461 | 2570468.1148 | 1124791.2465
80 | 2570503.7567 | 1124775.4982 | 2570492.4797 | 1124777.8129 | 2570492.1235 | 1124778.1751
81 | 2570468.1148 | 1124791.2465 | 2570480.6671 | 1124789.8211 | 2570492.1235 | 1124778.1751

## bus_geodata
| x | y | coords
0 | 2570683.7362 | 1124777.819
1 | 2570695.9129 | 1124774.9147
2 | 2570605.9213 | 1124795.1899
3 | 2570699.1718 | 1124775.1547
4 | 2570602.6536 | 1124792.3356
5 | 2570769.1874 | 1124783.1905
6 | 2570797.0672 | 1124785.8345
7 | 2570741.4767 | 1124756.6338
8 | 2570754.9711 | 1124654.1839
9 | 2570750.2574 | 1124653.4397
10 | 2570774.3192 | 1124649.7951
11 | 2570749.5227 | 1124548.0763
12 | 2570598.5486 | 1124789.3325
13 | 2570575.0211 | 1124782.3383
14 | 2570557.5949 | 1124780.8851
15 | 2570549.2198 | 1124780.1812
16 | 2570529.1254 | 1124769.5963
17 | 2570536.7282 | 1124779.4641
18 | 2570531.654 | 1124793.0391
19 | 2570563.1397 | 1124752.9219
20 | 2570738.7679 | 1124546.8598
21 | 2570739.6256 | 1124652.209
22 | 2570667.5415 | 1124602.8383
23 | 2570636.9676 | 1124600.3134
24 | 2570697.6085 | 1124633.4074
25 | 2570681.8306 | 1124646.5351
26 | 2570515.6717 | 1124744.219
27 | 2570471.5408 | 1124752.7262
28 | 2570453.8459 | 1124756.4519
29 | 2570475.5347 | 1124692.5644
30 | 2570487.5302 | 1124690.4847
31 | 2570530.56 | 1124669.2597
32 | 2570438.7197 | 1124759.6802
33 | 2570413.977 | 1124770.5716
34 | 2570544.1244 | 1124660.2796
35 | 2570548.7404 | 1124660.3033
36 | 2570489.5517 | 1124666.4802
37 | 2570528.8695 | 1124605.2822
38 | 2570486.3407 | 1124599.276
39 | 2570553.9173 | 1124600.2031
40 | 2570585.7484 | 1124659.7104
41 | 2570489.2693 | 1124666.4757
42 | 2570572.5731 | 1124598.3729
43 | 2570596.3091 | 1124591.4128
44 | 2570496.4073 | 1124586.4203
45 | 2570654.7341 | 1124624.4114
46 | 2570613.5096 | 1124661.3639
47 | 2570609.0536 | 1124662.3437
48 | 2570653.7511 | 1124669.5276
49 | 2570582.5052 | 1124674.1436
50 | 2570616.4426 | 1124685.8507
51 | 2570738.67 | 1124546.8315
52 | 2570704.662 | 1124563.5605
53 | 2570706.9531 | 1124535.3131
54 | 2570695.405 | 1124522.6295
55 | 2570426.3779 | 1124679.6234
56 | 2570409.7867 | 1124684.5978
57 | 2570395.8076 | 1124692.2029
58 | 2570359.7729 | 1124714.1012
59 | 2570652.9703 | 1124546.9508
60 | 2570652.2164 | 1124552.6289
61 | 2570654.2554 | 1124535.5694
62 | 2570631.4233 | 1124536.0029
63 | 2570627.678 | 1124544.1697
64 | 2570598.6879 | 1124541.7319
65 | 2570309.0178 | 1124717.6882
66 | 2570349.0023 | 1124715.4398
67 | 2570369.8271 | 1124778.1433
68 | 2570398.4876 | 1124771.3954
69 | 2570328.4141 | 1124822.3915
70 | 2570335.6678 | 1124821.8156
71 | 2570341.048 | 1124821.3885
72 | 2570365.1888 | 1124842.7805
73 | 2570386.8968 | 1124827.1883
74 | 2570363.7283 | 1124862.4308
75 | 2570391.2581 | 1124856.6261
76 | 2570454.6801 | 1124792.7721
77 | 2570421.7772 | 1124791.7251
78 | 2570457.551 | 1124792.4461
79 | 2570521.346 | 1124788.2547
80 | 2570503.7567 | 1124775.4982
81 | 2570468.1148 | 1124791.2465
82 | 2570492.1235 | 1124778.1751
83 | 2570544.1244 | 1124660.2796

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1