## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5405-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5405-14_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_5405-14_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5405-14_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5405-14_0_4_node_39 | 0.4 | n |  | TRUE
5 | bus_LV_5405-14_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_5405-14_0_4_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_5405-14_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5405-14_0_4_node_88 | 0.4 | n |  | TRUE
9 | bus_LV_5405-14_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5405-14_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_5405-14_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_5405-14_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_5405-14_0_4_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_5405-14_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_5405-14_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_5405-14_0_4_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_5405-14_0_4_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_5405-14_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_5405-14_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5405-14_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_5405-14_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_5405-14_0_4_node_94 | 0.4 | n |  | TRUE
23 | bus_LV_5405-14_0_4_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_5405-14_0_4_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_5405-14_0_4_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_5405-14_0_4_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_5405-14_0_4_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_5405-14_0_4_node_7 | 0.4 | n |  | TRUE
29 | bus_LV_5405-14_0_4_node_9 | 0.4 | n |  | TRUE
30 | bus_LV_5405-14_0_4_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_5405-14_0_4_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_5405-14_0_4_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_5405-14_0_4_node_92 | 0.4 | n |  | TRUE
34 | bus_LV_5405-14_0_4_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_5405-14_0_4_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_5405-14_0_4_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_5405-14_0_4_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_5405-14_0_4_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_5405-14_0_4_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_5405-14_0_4_node_93 | 0.4 | n |  | TRUE
41 | bus_LV_5405-14_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_5405-14_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5405-14_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_5405-14_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_5405-14_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5405-14_0_4_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_5405-14_0_4_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_5405-14_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_5405-14_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5405-14_0_4_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_5405-14_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_5405-14_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_5405-14_0_4_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_5405-14_0_4_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_5405-14_0_4_node_99 | 0.4 | n |  | TRUE
56 | bus_LV_5405-14_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_5405-14_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_5405-14_0_4_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_5405-14_0_4_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_5405-14_0_4_node_95 | 0.4 | n |  | TRUE
61 | bus_LV_5405-14_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_5405-14_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_5405-14_0_4_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_5405-14_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5405-14_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_5405-14_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_5405-14_0_4_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_5405-14_0_4_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_5405-14_0_4_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_5405-14_0_4_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_5405-14_0_4_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_5405-14_0_4_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_5405-14_0_4_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_5405-14_0_4_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_5405-14_0_4_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_5405-14_0_4_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_5405-14_0_4_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_5405-14_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_5405-14_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_5405-14_0_4_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_5405-14_0_4_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_5405-14_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_5405-14_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_5405-14_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_5405-14_0_4_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_5405-14_0_4_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_5405-14_0_4_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_5405-14_0_4_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_5405-14_0_4_node_97 | 0.4 | n |  | TRUE
90 | bus_LV_5405-14_0_4_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_5405-14_0_4_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_5405-14_0_4_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_5405-14_0_4_node_98 | 0.4 | n |  | TRUE
94 | bus_MV_190_0_node_254 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5405-14_0_4_load_0 | 0 | 0.0020663 | 0.00051786 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5405-14_0_4_load_4 | 3 | 0.0047582 | 0.0011925 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5405-14_0_4_load_10 | 5 | 0.0022731 | 0.00056969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5405-14_0_4_load_6 | 7 | 0.00039368 | 9.8665e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5405-14_0_4_load_8 | 9 | 0.0027167 | 0.00068086 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5405-14_0_4_load_17 | 10 | 0.0026811 | 0.00067195 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5405-14_0_4_load_20 | 13 | 0.0020347 | 0.00050995 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5405-14_0_4_load_21 | 14 | 0.00089818 | 0.00022511 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5405-14_0_4_load_5 | 16 | 0.0028252 | 0.00070805 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5405-14_0_4_load_89 | 17 | 0.0024225 | 0.00060714 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5405-14_0_4_load_36 | 18 | 0.0010912 | 0.00027349 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5405-14_0_4_load_13 | 19 | 0.0025232 | 0.00063237 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5405-14_0_4_load_23 | 20 | 0.001944 | 0.0004872 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5405-14_0_4_load_24 | 21 | 0.0012646 | 0.00031693 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5405-14_0_4_load_94 | 22 | 0.001379 | 0.00034562 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5405-14_0_4_load_40 | 23 | 0.0021618 | 0.0005418 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5405-14_0_4_load_87 | 24 | 0.0019449 | 0.00048744 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5405-14_0_4_load_78 | 27 | 0.00041485 | 0.00010397 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5405-14_0_4_load_7 | 28 | 0.0021854 | 0.00054771 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5405-14_0_4_load_11 | 30 | 0.0012916 | 0.0003237 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5405-14_0_4_load_92 | 33 | 0.0018898 | 0.00047362 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5405-14_0_4_load_16 | 34 | 0.0019896 | 0.00049864 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5405-14_0_4_load_50 | 35 | 0.008838 | 0.002215 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5405-14_0_4_load_93 | 40 | 0.00070552 | 0.00017682 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5405-14_0_4_load_25 | 41 | 0.0021612 | 0.00054166 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5405-14_0_4_load_26 | 42 | 0.0016733 | 0.00041936 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5405-14_0_4_load_27 | 43 | 0.0023096 | 0.00057884 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5405-14_0_4_load_28 | 44 | 0.0016648 | 0.00041723 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5405-14_0_4_load_29 | 45 | 0.0013011 | 0.00032609 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5405-14_0_4_load_81 | 46 | 0.0017352 | 0.00043487 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5405-14_0_4_load_90 | 47 | 0.0018736 | 0.00046957 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5405-14_0_4_load_44 | 48 | 0.0018617 | 0.00046658 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5405-14_0_4_load_42 | 49 | 0.001357 | 0.00034011 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5405-14_0_4_load_30 | 50 | 0.0038484 | 0.00096449 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5405-14_0_4_load_31 | 51 | 0.0011538 | 0.00028918 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5405-14_0_4_load_34 | 54 | 0.001311 | 0.00032857 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5405-14_0_4_load_99 | 55 | 0.0051753 | 0.0012971 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5405-14_0_4_load_57 | 56 | 0.0058543 | 0.0014672 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5405-14_0_4_load_67 | 58 | 0.002184 | 0.00054736 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5405-14_0_4_load_95 | 60 | 0.00098162 | 0.00024602 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5405-14_0_4_load_61 | 65 | 0.0039246 | 0.00098361 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5405-14_0_4_load_59 | 66 | 0.0053841 | 0.0013494 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5405-14_0_4_load_65 | 67 | 0.0034881 | 0.0008742 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5405-14_0_4_load_64 | 68 | 0.0065026 | 0.0016297 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5405-14_0_4_load_43 | 69 | 0.0015396 | 0.00038586 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5405-14_0_4_load_49 | 71 | 0.00096708 | 0.00024237 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5405-14_0_4_load_52 | 72 | 0.0028781 | 0.00072133 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5405-14_0_4_load_47 | 73 | 0.0014576 | 0.00036531 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5405-14_0_4_load_53 | 74 | 0.0035459 | 0.00088868 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5405-14_0_4_load_54 | 75 | 0.0029464 | 0.00073844 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5405-14_0_4_load_56 | 76 | 0.0036196 | 0.00090716 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5405-14_0_4_load_58 | 77 | 0.0043858 | 0.0010992 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5405-14_0_4_load_70 | 78 | 0.0039636 | 0.00099338 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5405-14_0_4_load_69 | 79 | 0.0037514 | 0.00094018 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5405-14_0_4_load_62 | 80 | 0.0058624 | 0.0014693 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5405-14_0_4_load_63 | 81 | 0.0023695 | 0.00059386 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5405-14_0_4_load_73 | 84 | 0.0029042 | 0.00072785 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5405-14_0_4_load_86 | 85 | 0.0057464 | 0.0014402 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5405-14_0_4_load_85 | 86 | 0.0046848 | 0.0011741 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5405-14_0_4_load_74 | 87 | 0.0028492 | 0.00071407 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5405-14_0_4_load_97 | 89 | 0.0018103 | 0.0004537 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5405-14_0_4_load_75 | 90 | 0.0024052 | 0.00060281 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5405-14_0_4_load_76 | 91 | 0.0023117 | 0.00057938 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5405-14_0_4_load_77 | 92 | 0.001807 | 0.00045288 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5405-14_0_4_load_98 | 93 | 0.00092131 | 0.0002309 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5405-14_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0083143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5405-14_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.17697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5405-14_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.030474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5405-14_0_4_line_3 | NAYY 4x150 SE | 2 | 7 | 0.14623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5405-14_0_4_line_4 | NAYY 4x150 SE | 3 | 8 | 0.042147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5405-14_0_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.049315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5405-14_0_4_line_6 | NAYY 4x150 SE | 4 | 6 | 0.08553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5405-14_0_4_line_7 | NAYY 4x150 SE | 5 | 9 | 0.040202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_5405-14_0_4_line_8 | NAYY 4x150 SE | 6 | 18 | 0.02882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_5405-14_0_4_line_9 | NAYY 4x150 SE | 6 | 23 | 0.0083164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5405-14_0_4_line_10 | NAYY 4x150 SE | 7 | 16 | 0.019477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5405-14_0_4_line_11 | NAYY 4x150 SE | 8 | 17 | 0.033774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_5405-14_0_4_line_12 | NAYY 4x150 SE | 8 | 18 | 0.053199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_5405-14_0_4_line_13 | NAYY 4x150 SE | 9 | 28 | 0.020551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_5405-14_0_4_line_14 | NAYY 4x150 SE | 10 | 11 | 0.059007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5405-14_0_4_line_15 | NAYY 4x150 SE | 10 | 12 | 0.026557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5405-14_0_4_line_16 | NAYY 4x150 SE | 11 | 13 | 0.0038797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5405-14_0_4_line_17 | NAYY 4x150 SE | 12 | 19 | 0.03802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5405-14_0_4_line_18 | NAYY 4x150 SE | 14 | 15 | 0.027884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5405-14_0_4_line_19 | NAYY 4x150 SE | 15 | 20 | 0.0016909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5405-14_0_4_line_20 | NAYY 4x150 SE | 15 | 21 | 0.018278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5405-14_0_4_line_21 | NAYY 4x150 SE | 17 | 47 | 0.023147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_5405-14_0_4_line_22 | NAYY 4x150 SE | 19 | 32 | 0.044627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5405-14_0_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0091144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5405-14_0_4_line_24 | NAYY 4x150 SE | 22 | 40 | 0.0083754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5405-14_0_4_line_25 | NAYY 4x150 SE | 23 | 24 | 0.017133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5405-14_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.12372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5405-14_0_4_line_27 | NAYY 4x150 SE | 25 | 27 | 0.069976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5405-14_0_4_line_28 | NAYY 4x150 SE | 26 | 93 | 0.012179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5405-14_0_4_line_29 | NAYY 4x150 SE | 27 | 91 | 0.061554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5405-14_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.015424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_5405-14_0_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.019376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5405-14_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.011947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_5405-14_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.016702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_5405-14_0_4_line_34 | NAYY 4x150 SE | 31 | 33 | 0.058238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5405-14_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.0025895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5405-14_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.029181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5405-14_0_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.010224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5405-14_0_4_line_38 | NAYY 4x150 SE | 36 | 72 | 0.011254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5405-14_0_4_line_39 | NAYY 4x150 SE | 36 | 73 | 0.011381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5405-14_0_4_line_40 | NAYY 4x150 SE | 37 | 38 | 0.041491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5405-14_0_4_line_41 | NAYY 4x150 SE | 37 | 39 | 0.003123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5405-14_0_4_line_42 | NAYY 4x150 SE | 38 | 40 | 0.011362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5405-14_0_4_line_43 | NAYY 4x150 SE | 39 | 44 | 0.0043617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5405-14_0_4_line_44 | NAYY 4x150 SE | 41 | 42 | 0.013616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5405-14_0_4_line_45 | NAYY 4x150 SE | 41 | 43 | 0.00049515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5405-14_0_4_line_46 | NAYY 4x150 SE | 42 | 44 | 0.012323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5405-14_0_4_line_47 | NAYY 4x150 SE | 43 | 45 | 0.017541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5405-14_0_4_line_48 | NAYY 4x150 SE | 43 | 46 | 0.12556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5405-14_0_4_line_49 | NAYY 4x150 SE | 45 | 48 | 0.022089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5405-14_0_4_line_50 | NAYY 4x150 SE | 47 | 63 | 0.12295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_5405-14_0_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.0078612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5405-14_0_4_line_52 | NAYY 4x150 SE | 49 | 69 | 0.0097802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5405-14_0_4_line_53 | NAYY 4x150 SE | 50 | 51 | 0.020597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5405-14_0_4_line_54 | NAYY 4x150 SE | 50 | 52 | 0.0066336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5405-14_0_4_line_55 | NAYY 4x150 SE | 51 | 53 | 0.021804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5405-14_0_4_line_56 | NAYY 4x150 SE | 52 | 54 | 0.018908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5405-14_0_4_line_57 | NAYY 4x150 SE | 52 | 55 | 0.054065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5405-14_0_4_line_58 | NAYY 4x150 SE | 53 | 56 | 0.020529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5405-14_0_4_line_59 | NAYY 4x150 SE | 53 | 57 | 0.029501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5405-14_0_4_line_60 | NAYY 4x150 SE | 54 | 58 | 0.014913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5405-14_0_4_line_61 | NAYY 4x150 SE | 55 | 62 | 0.012698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5405-14_0_4_line_62 | NAYY 4x150 SE | 56 | 64 | 0.0026754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5405-14_0_4_line_63 | NAYY 4x150 SE | 57 | 65 | 0.0035405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5405-14_0_4_line_64 | NAYY 4x150 SE | 57 | 66 | 0.050665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5405-14_0_4_line_65 | NAYY 4x150 SE | 58 | 67 | 0.028068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5405-14_0_4_line_66 | NAYY 4x150 SE | 59 | 60 | 0.044881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5405-14_0_4_line_67 | NAYY 4x150 SE | 59 | 61 | 0.054137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5405-14_0_4_line_68 | NAYY 4x150 SE | 61 | 68 | 0.010302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5405-14_0_4_line_69 | NAYY 4x150 SE | 62 | 63 | 0.16743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_5405-14_0_4_line_70 | NAYY 4x150 SE | 64 | 77 | 0.016166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5405-14_0_4_line_71 | NAYY 4x150 SE | 64 | 74 | 0.023252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5405-14_0_4_line_72 | NAYY 4x150 SE | 65 | 80 | 0.020392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5405-14_0_4_line_73 | NAYY 4x150 SE | 67 | 68 | 0.086297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5405-14_0_4_line_74 | NAYY 4x150 SE | 69 | 70 | 0.028285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5405-14_0_4_line_75 | NAYY 4x150 SE | 70 | 71 | 0.044052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5405-14_0_4_line_76 | NAYY 4x150 SE | 71 | 72 | 0.015357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5405-14_0_4_line_77 | NAYY 4x150 SE | 74 | 75 | 0.02789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5405-14_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.051834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5405-14_0_4_line_79 | NAYY 4x150 SE | 77 | 78 | 0.020715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5405-14_0_4_line_80 | NAYY 4x150 SE | 78 | 79 | 0.025602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5405-14_0_4_line_81 | NAYY 4x150 SE | 79 | 82 | 0.034167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5405-14_0_4_line_82 | NAYY 4x150 SE | 80 | 81 | 0.0038353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5405-14_0_4_line_83 | NAYY 4x150 SE | 82 | 83 | 0.029066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5405-14_0_4_line_84 | NAYY 4x150 SE | 82 | 84 | 0.016886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5405-14_0_4_line_85 | NAYY 4x150 SE | 83 | 85 | 0.018619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5405-14_0_4_line_86 | NAYY 4x150 SE | 83 | 86 | 0.030034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5405-14_0_4_line_87 | NAYY 4x150 SE | 84 | 87 | 0.027106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5405-14_0_4_line_88 | NAYY 4x150 SE | 85 | 88 | 0.14594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5405-14_0_4_line_89 | NAYY 4x150 SE | 85 | 89 | 0.078817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5405-14_0_4_line_90 | NAYY 4x150 SE | 88 | 90 | 0.13532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5405-14_0_4_line_91 | NAYY 4x150 SE | 90 | 91 | 0.028683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5405-14_0_4_line_92 | NAYY 4x150 SE | 90 | 92 | 0.01466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5405-14_0_4_trafo_41 | 0.25 MVA 20/0.4 kV | 94 | 62 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2571291.9693 | 1125089.121 | 2571295.1691 | 1125096.7949
1 | 2571291.9693 | 1125089.121 | 2571284.8877 | 1125084.7636 | 2571279.5618 | 1125084.889 | 2571275.3494 | 1125088.9667 | 2571274.7706 | 1125096.9067 | 2571278.7883 | 1125108.5823 | 2571279.3648 | 1125117.962 | 2571277.4498 | 1125126.9645 | 2571271.5122 | 1125142.6673 | 2571269.9817 | 1125151.4679 | 2571271.1268 | 1125160.4669 | 2571279.5578 | 1125174.6449 | 2571289.7031 | 1125191.1048 | 2571292.7677 | 1125203.363 | 2571292.3808 | 1125216.0045 | 2571287.5938 | 1125224.0424 | 2571279.172 | 1125226.3392 | 2571274.8321 | 1125224.659
2 | 2571291.9693 | 1125089.121 | 2571284.7929 | 1125077.805 | 2571274.8133 | 1125067.0583 | 2571273.3813 | 1125065.1218
3 | 2571274.8321 | 1125224.659 | 2571268.2603 | 1125222.1224 | 2571247.1987 | 1125200.4898 | 2571230.7285 | 1125184.7938 | 2571210.0479 | 1125163.9154 | 2571193.0054 | 1125151.0904 | 2571163.3277 | 1125131.5558
4 | 2571248.8562 | 1125030.8528 | 2571259.8629 | 1125046.8417 | 2571273.3813 | 1125065.1218
5 | 2571379.1028 | 1125057.9913 | 2571383.3539 | 1125053.9247 | 2571373.6342 | 1125034.5611 | 2571365.1611 | 1125014.5122
6 | 2571379.1028 | 1125057.9913 | 2571376.2409 | 1125054.3142 | 2571372.8232 | 1125050.4618 | 2571368.8887 | 1125046.5341 | 2571365.381 | 1125043.2046 | 2571361.1248 | 1125039.7009 | 2571356.1206 | 1125036.1673 | 2571350.9564 | 1125033.0125 | 2571345.6399 | 1125030.2475 | 2571339.2128 | 1125027.3543 | 2571323.7122 | 1125021.0805 | 2571318.0651 | 1125018.5171 | 2571312.6252 | 1125015.7305 | 2571307.6857 | 1125012.8303
7 | 2571336.9407 | 1124987.1556 | 2571338.2687 | 1124989.2954 | 2571343.5985 | 1124993.2165 | 2571352.926 | 1124998.1524 | 2571357.9169 | 1125003.7537 | 2571364.4115 | 1125012.7385 | 2571365.1611 | 1125014.5122
8 | 2571307.6857 | 1125012.8303 | 2571302.7662 | 1125009.2742 | 2571298.0615 | 1125005.5058 | 2571293.8403 | 1125001.2682 | 2571289.6797 | 1124996.8303 | 2571286.5865 | 1124993.3482
9 | 2571307.6857 | 1125012.8303 | 2571303.5425 | 1125018.5196 | 2571303.5486 | 1125019.7979 | 2571303.5486 | 1125019.7979
10 | 2571155.1674 | 1125114.1348 | 2571157.9714 | 1125123.7109 | 2571163.3277 | 1125131.5558
11 | 2571248.8562 | 1125030.8528 | 2571247.1175 | 1125028.3376 | 2571239.15 | 1125019.2711 | 2571226.2817 | 1125010.5726 | 2571223.6009 | 1125008.988
12 | 2571248.8562 | 1125030.8528 | 2571286.5865 | 1124993.3482
13 | 2571324.5586 | 1124970.8413 | 2571325.8093 | 1124972.5463 | 2571332.5592 | 1124980.0957 | 2571336.9407 | 1124987.1556
14 | 2571466.6405 | 1125009.4745 | 2571463.1658 | 1125009.869 | 2571457.8051 | 1125009.1495 | 2571450.2643 | 1125007.1175 | 2571440.5484 | 1125003.1616 | 2571436.2382 | 1125001.281 | 2571430.9215 | 1124998.4826 | 2571419.4656 | 1124988.4763 | 2571415.2517 | 1124984.3759
15 | 2571392.202 | 1124974.1095 | 2571398.9447 | 1124973.6329 | 2571405.3774 | 1124976.0703 | 2571412.3487 | 1124981.5511 | 2571415.2517 | 1124984.3759
16 | 2571466.6405 | 1125009.4745 | 2571465.8744 | 1125008.8445 | 2571463.4854 | 1125007.2222
17 | 2571392.202 | 1124974.1095 | 2571375.3285 | 1124962.8173 | 2571364.4706 | 1124960.2676 | 2571358.8449 | 1124956.8862
18 | 2571432.8207 | 1124948.6821 | 2571444.6251 | 1124960.621 | 2571450.8862 | 1124969.7799
19 | 2571432.8207 | 1124948.6821 | 2571434.3513 | 1124947.9634
20 | 2571432.8207 | 1124948.6821 | 2571430.683 | 1124946.5245 | 2571417.0138 | 1124939.7846
21 | 2571223.6009 | 1125008.988 | 2571215.498 | 1125004.1987 | 2571203.1628 | 1124998.1592
22 | 2571323.9151 | 1124929.2337 | 2571328.5805 | 1124932.8578 | 2571337.1946 | 1124940.0982 | 2571345.4711 | 1124947.7071 | 2571357.6445 | 1124956.1646 | 2571358.8449 | 1124956.8862
23 | 2571409.0406 | 1124935.3747 | 2571415.2298 | 1124938.905 | 2571417.0138 | 1124939.7846
24 | 2571401.7654 | 1124931.225 | 2571409.0406 | 1124935.3747
25 | 2571303.5486 | 1125019.7979 | 2571304.2274 | 1125021.5178 | 2571305.2906 | 1125023.0135 | 2571308.2588 | 1125024.7336 | 2571317.4456 | 1125028.7297
26 | 2570981.934 | 1125281.5118 | 2570978.1153 | 1125285.6545 | 2570972.6736 | 1125288.8934 | 2570966.1718 | 1125292.8933 | 2570958.9515 | 1125296.541 | 2570952.442 | 1125298.9291 | 2570946.2929 | 1125300.9153 | 2570941.5099 | 1125301.6943 | 2570939.4046 | 1125309.4861 | 2570935.7467 | 1125313.3834 | 2570931.5674 | 1125316.2717 | 2570917.7525 | 1125320.6294 | 2570899.778 | 1125323.9399 | 2570885.7358 | 1125322.7182 | 2570873.5378 | 1125320.3315
27 | 2570981.934 | 1125281.5118 | 2570974.744 | 1125283.4585 | 2570944.8177 | 1125279.5228 | 2570914.9639 | 1125267.0803
28 | 2570873.5378 | 1125320.3315 | 2570867.2747 | 1125309.8787
29 | 2570914.9639 | 1125267.0803 | 2570911.7529 | 1125265.742 | 2570906.6286 | 1125256.4955 | 2570913.0445 | 1125209.4271
30 | 2571317.9043 | 1124957.1651 | 2571318.3878 | 1124959.9531 | 2571320.9988 | 1124965.9881 | 2571324.5586 | 1124970.8413
31 | 2571317.9043 | 1124957.1651 | 2571313.7165 | 1124956.7404 | 2571310.0587 | 1124955.8907 | 2571308.0815 | 1124955.0886 | 2571305.9178 | 1124953.965 | 2571300.5859 | 1124949.6104
32 | 2571317.9043 | 1124957.1651 | 2571318.2516 | 1124954.0285 | 2571320.7554 | 1124945.6013
33 | 2571323.9151 | 1124929.2337 | 2571323.0394 | 1124936.3747 | 2571320.7554 | 1124945.6013
34 | 2571320.7554 | 1124945.6013 | 2571316.3401 | 1124944.3328 | 2571312.248 | 1124942.9516 | 2571304.8569 | 1124940.0075 | 2571300.1561 | 1124937.0506 | 2571292.3496 | 1124929.4395 | 2571283.032 | 1124920.1459 | 2571275.2925 | 1124911.3004
35 | 2571323.9151 | 1124929.2337 | 2571321.869 | 1124927.6466
36 | 2571321.869 | 1124927.6466 | 2571310.7388 | 1124919.0135 | 2571302.3592 | 1124909.204 | 2571301.4203 | 1124907.2217
37 | 2571298.1721 | 1124897.5848 | 2571299.5014 | 1124903.1702 | 2571301.4203 | 1124907.2217
38 | 2571298.1721 | 1124897.5848 | 2571297.6135 | 1124895.2196 | 2571293.8562 | 1124889.6903 | 2571292.53 | 1124888.0129
39 | 2571298.1721 | 1124897.5848 | 2571302.2069 | 1124896.654 | 2571304.8002 | 1124895.6968 | 2571306.5848 | 1124894.899 | 2571308.6748 | 1124893.4883
40 | 2571357.3378 | 1124902.9729 | 2571377.4875 | 1124912.6265 | 2571390.013 | 1124922.1718 | 2571392.752 | 1124924.3266
41 | 2571357.3378 | 1124902.9729 | 2571355.0843 | 1124900.8047
42 | 2571392.752 | 1124924.3266 | 2571400.7913 | 1124930.6694 | 2571401.7654 | 1124931.225
43 | 2571355.0843 | 1124900.8047 | 2571351.7511 | 1124897.9914
44 | 2571342.3336 | 1124890.0429 | 2571338.8698 | 1124887.1194 | 2571332.7496 | 1124880.4071
45 | 2571332.7496 | 1124880.4071 | 2571332.416 | 1124880.0412
46 | 2571351.7511 | 1124897.9914 | 2571342.3336 | 1124890.0429
47 | 2571332.416 | 1124880.0412 | 2571324.9526 | 1124871.8557 | 2571319.1924 | 1124868.9224
48 | 2571332.416 | 1124880.0412 | 2571418.9235 | 1124789.0301
49 | 2571298.3902 | 1124861.5907 | 2571308.4525 | 1124864.5972 | 2571317.4262 | 1124868.0229 | 2571319.1924 | 1124868.9224
50 | 2571203.1628 | 1124998.1592 | 2571161.2347 | 1124882.575
51 | 2571290.858 | 1124859.3402 | 2571298.3902 | 1124861.5907
52 | 2571290.858 | 1124859.3402 | 2571285.4172 | 1124857.7145 | 2571281.9623 | 1124855.5037
53 | 2570919.4087 | 1124848.2952 | 2570924.3253 | 1124848.7178 | 2570931.0665 | 1124847.9182 | 2570936.6823 | 1124845.5344 | 2570939.1876 | 1124844.3458
54 | 2570945.1809 | 1124841.5025 | 2570939.1876 | 1124844.3458
55 | 2570898.5019 | 1124842.4503 | 2570915.0171 | 1124847.9178 | 2570919.4087 | 1124848.2952
56 | 2570945.1809 | 1124841.5025 | 2570928.4648 | 1124832.666
57 | 2570945.1809 | 1124841.5025 | 2570989.087 | 1124873.0514
58 | 2570898.5019 | 1124842.4503 | 2570895.5617 | 1124844.9768 | 2570889.0073 | 1124860.2852
59 | 2570870.4207 | 1124833.159 | 2570898.5019 | 1124842.4503
60 | 2570915.2804 | 1124825.6964 | 2570928.4648 | 1124832.666
61 | 2571001.7182 | 1124872.3903 | 2570994.3009 | 1124872.048 | 2570989.087 | 1124873.0514
62 | 2570887.9543 | 1124862.7446 | 2570889.0073 | 1124860.2852
63 | 2570870.4207 | 1124833.159 | 2570866.8819 | 1124833.0497
64 | 2570870.4207 | 1124833.159 | 2570856.6349 | 1124840.5737 | 2570837.9942 | 1124848.2899 | 2570823.7184 | 1124852.3316
65 | 2570889.0445 | 1124815.764 | 2570893.6007 | 1124817.2058 | 2570914.4221 | 1124825.2427 | 2570915.2804 | 1124825.6964
66 | 2570845.4372 | 1124786.99 | 2570838.7064 | 1124783.5764 | 2570805.3151 | 1124766.6517
67 | 2570795.7505 | 1124790.9212 | 2570797.0672 | 1124785.8345 | 2570830.8893 | 1124789.8395 | 2570845.4372 | 1124786.99
68 | 2570795.7505 | 1124790.9212 | 2570805.6443 | 1124793.7936
69 | 2571001.7182 | 1124872.3903 | 2571010.9723 | 1124873.1907 | 2571020.3708 | 1124873.5457 | 2571024.8349 | 1124873.7132 | 2571028.8918 | 1124874.1717 | 2571059.8625 | 1124872.0553 | 2571065.4899 | 1124872.0839 | 2571071.0664 | 1124872.7352 | 2571080.5829 | 1124875.1908 | 2571082.6041 | 1124875.5257 | 2571084.5072 | 1124875.3165 | 2571085.776 | 1124874.6768 | 2571087.0561 | 1124873.1588 | 2571088.4428 | 1124869.7838 | 2571089.3218 | 1124866.6002 | 2571098.8404 | 1124867.8885 | 2571109.3644 | 1124869.8613 | 2571121.7719 | 1124872.3809 | 2571133.4013 | 1124875.0155 | 2571142.9714 | 1124877.4042 | 2571152.7116 | 1124879.8922 | 2571161.2347 | 1124882.575
70 | 2570887.9543 | 1124862.7446 | 2570880.3936 | 1124869.4289 | 2570875.0834 | 1124872.3782
71 | 2570887.9543 | 1124862.7446 | 2570888.2707 | 1124867.6011 | 2570892.6948 | 1124885.4461
72 | 2570866.8819 | 1124833.0497 | 2570859.8352 | 1124832.8322 | 2570847.7997 | 1124833.9576 | 2570846.551 | 1124833.8413
73 | 2570805.6443 | 1124793.7936 | 2570818.1218 | 1124797.4162 | 2570839.639 | 1124802.6592 | 2570868.0305 | 1124809.1141 | 2570889.0445 | 1124815.764
74 | 2571258.138 | 1124840.258 | 2571281.9623 | 1124855.5037
75 | 2571258.138 | 1124840.258 | 2571260.4905 | 1124845.3938 | 2571273.0753 | 1124857.6288 | 2571282.7826 | 1124871.0337 | 2571284.7176 | 1124874.8743
76 | 2571284.7176 | 1124874.8743 | 2571289.2418 | 1124883.8538 | 2571292.53 | 1124888.0129
77 | 2570892.6948 | 1124885.4461 | 2570893.0192 | 1124886.7544 | 2570892.3672 | 1124892.2269 | 2570889.0124 | 1124896.6898 | 2570888.2873 | 1124899.7726 | 2570888.6653 | 1124907.8193 | 2570888.8114 | 1124912.0422
78 | 2570925.2016 | 1124912.1341 | 2570914.5459 | 1124919.6225 | 2570903.2688 | 1124924.5016 | 2570897.6951 | 1124926.007 | 2570893.7969 | 1124926.4927 | 2570892.1139 | 1124925.9672 | 2570890.8288 | 1124924.8395 | 2570889.4078 | 1124922.7009 | 2570888.7975 | 1124920.8251 | 2570889.0595 | 1124919.2119 | 2570888.8114 | 1124912.0422
79 | 2570854.4365 | 1124873.3378 | 2570855.2281 | 1124873.2524 | 2570874.7199 | 1124872.5801 | 2570875.0834 | 1124872.3782
80 | 2570837.6635 | 1124889.1407 | 2570843.3601 | 1124877.1117 | 2570846.3832 | 1124874.2067 | 2570854.4365 | 1124873.3378
81 | 2570823.0398 | 1124920.0202 | 2570837.6635 | 1124889.1407
82 | 2570846.551 | 1124833.8413 | 2570842.7322 | 1124833.4857
83 | 2570823.0398 | 1124920.0202 | 2570820.5127 | 1124948.9691
84 | 2570823.0398 | 1124920.0202 | 2570806.9571 | 1124914.8734
85 | 2570820.5127 | 1124948.9691 | 2570818.8974 | 1124967.5179
86 | 2570820.5127 | 1124948.9691 | 2570814.7565 | 1124947.7853 | 2570791.3454 | 1124941.8293
87 | 2570806.9571 | 1124914.8734 | 2570781.1412 | 1124906.6118
88 | 2570805.9972 | 1125112.8323 | 2570806.3117 | 1125109.3179 | 2570808.2087 | 1125085.608 | 2570812.9932 | 1125050.0893 | 2570818.0372 | 1124977.3953 | 2570818.8974 | 1124967.5179
89 | 2570818.8974 | 1124967.5179 | 2570775.7119 | 1125033.4504
90 | 2570805.9972 | 1125112.8323 | 2570921.9674 | 1125182.5537
91 | 2570921.9674 | 1125182.5537 | 2570914.706 | 1125197.238 | 2570913.0445 | 1125209.4271
92 | 2570930.4491 | 1125170.6711 | 2570923.5611 | 1125179.3309 | 2570921.9674 | 1125182.5537

## bus_geodata
| x | y | coords
0 | 2571295.1691 | 1125096.7949
1 | 2571291.9693 | 1125089.121
2 | 2571274.8321 | 1125224.659
3 | 2571273.3813 | 1125065.1218
4 | 2571379.1028 | 1125057.9913
5 | 2571365.1611 | 1125014.5122
6 | 2571307.6857 | 1125012.8303
7 | 2571163.3277 | 1125131.5558
8 | 2571248.8562 | 1125030.8528
9 | 2571336.9407 | 1124987.1556
10 | 2571415.2517 | 1124984.3759
11 | 2571466.6405 | 1125009.4745
12 | 2571392.202 | 1124974.1095
13 | 2571463.4854 | 1125007.2222
14 | 2571450.8862 | 1124969.7799
15 | 2571432.8207 | 1124948.6821
16 | 2571155.1674 | 1125114.1348
17 | 2571223.6009 | 1125008.988
18 | 2571286.5865 | 1124993.3482
19 | 2571358.8449 | 1124956.8862
20 | 2571434.3513 | 1124947.9634
21 | 2571417.0138 | 1124939.7846
22 | 2571409.0406 | 1124935.3747
23 | 2571303.5486 | 1125019.7979
24 | 2571317.4456 | 1125028.7297
25 | 2570981.934 | 1125281.5118
26 | 2570873.5378 | 1125320.3315
27 | 2570914.9639 | 1125267.0803
28 | 2571324.5586 | 1124970.8413
29 | 2571317.9043 | 1124957.1651
30 | 2571300.5859 | 1124949.6104
31 | 2571320.7554 | 1124945.6013
32 | 2571323.9151 | 1124929.2337
33 | 2571275.2924 | 1124911.3004
34 | 2571321.869 | 1124927.6466
35 | 2571301.4203 | 1124907.2217
36 | 2571298.1721 | 1124897.5848
37 | 2571357.3378 | 1124902.9729
38 | 2571392.752 | 1124924.3266
39 | 2571355.0843 | 1124900.8047
40 | 2571401.7654 | 1124931.225
41 | 2571332.7496 | 1124880.4071
42 | 2571342.3336 | 1124890.0429
43 | 2571332.416 | 1124880.0412
44 | 2571351.7511 | 1124897.9914
45 | 2571319.1924 | 1124868.9224
46 | 2571418.9235 | 1124789.0301
47 | 2571203.1628 | 1124998.1592
48 | 2571298.3902 | 1124861.5907
49 | 2571290.858 | 1124859.3402
50 | 2570939.1876 | 1124844.3458
51 | 2570919.4087 | 1124848.2952
52 | 2570945.1809 | 1124841.5025
53 | 2570898.5019 | 1124842.4503
54 | 2570928.4648 | 1124832.666
55 | 2570989.087 | 1124873.0514
56 | 2570889.0073 | 1124860.2852
57 | 2570870.4207 | 1124833.159
58 | 2570915.2804 | 1124825.6964
59 | 2570845.4372 | 1124786.99
60 | 2570805.3151 | 1124766.6517
61 | 2570795.7505 | 1124790.9212
62 | 2571001.7182 | 1124872.3903
63 | 2571161.2347 | 1124882.575
64 | 2570887.9543 | 1124862.7446
65 | 2570866.8819 | 1124833.0497
66 | 2570823.7184 | 1124852.3316
67 | 2570889.0445 | 1124815.764
68 | 2570805.6443 | 1124793.7936
69 | 2571281.9623 | 1124855.5037
70 | 2571258.138 | 1124840.258
71 | 2571284.7176 | 1124874.8742
72 | 2571292.53 | 1124888.0129
73 | 2571308.6748 | 1124893.4883
74 | 2570892.6948 | 1124885.4461
75 | 2570888.8114 | 1124912.0422
76 | 2570925.2016 | 1124912.1341
77 | 2570875.0834 | 1124872.3782
78 | 2570854.4365 | 1124873.3378
79 | 2570837.6635 | 1124889.1407
80 | 2570846.551 | 1124833.8413
81 | 2570842.7322 | 1124833.4857
82 | 2570823.0398 | 1124920.0202
83 | 2570820.5127 | 1124948.9691
84 | 2570806.9571 | 1124914.8734
85 | 2570818.8974 | 1124967.5179
86 | 2570791.3454 | 1124941.8293
87 | 2570781.1412 | 1124906.6118
88 | 2570805.9972 | 1125112.8323
89 | 2570775.7119 | 1125033.4504
90 | 2570921.9674 | 1125182.5537
91 | 2570913.0445 | 1125209.4271
92 | 2570930.4491 | 1125170.6711
93 | 2570867.2747 | 1125309.8787
94 | 2570989.087 | 1124873.0514

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1