## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5405-16_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5405-16_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5405-16_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5405-16_0_2_node_52 | 0.4 | n |  | TRUE
4 | bus_LV_5405-16_0_2_node_53 | 0.4 | n |  | TRUE
5 | bus_LV_5405-16_0_2_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_5405-16_0_2_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_5405-16_0_2_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_5405-16_0_2_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5405-16_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5405-16_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5405-16_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5405-16_0_2_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_5405-16_0_2_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_5405-16_0_2_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_5405-16_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5405-16_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5405-16_0_2_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_5405-16_0_2_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_5405-16_0_2_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_5405-16_0_2_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_5405-16_0_2_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5405-16_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5405-16_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5405-16_0_2_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_5405-16_0_2_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_5405-16_0_2_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_5405-16_0_2_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5405-16_0_2_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_5405-16_0_2_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_5405-16_0_2_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_5405-16_0_2_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_5405-16_0_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5405-16_0_2_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_5405-16_0_2_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_5405-16_0_2_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_5405-16_0_2_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_5405-16_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_5405-16_0_2_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_5405-16_0_2_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_5405-16_0_2_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_5405-16_0_2_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5405-16_0_2_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_5405-16_0_2_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5405-16_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_5405-16_0_2_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_5405-16_0_2_node_46 | 0.4 | n |  | TRUE
47 | bus_MV_190_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5405-16_0_2_load_0 | 0 | 0.0031563 | 0.00079105 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5405-16_0_2_load_52 | 3 | 0.0035823 | 0.0008978 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5405-16_0_2_load_53 | 4 | 0.0052075 | 0.0013051 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5405-16_0_2_load_31 | 5 | 0.0028573 | 0.00071612 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5405-16_0_2_load_3 | 7 | 0.0044912 | 0.0011256 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5405-16_0_2_load_4 | 8 | 0.0056566 | 0.0014177 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5405-16_0_2_load_7 | 11 | 0.00070546 | 0.0001768 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5405-16_0_2_load_51 | 17 | 0.0013023 | 0.00032638 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5405-16_0_2_load_49 | 19 | 0.0021607 | 0.00054152 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5405-16_0_2_load_48 | 20 | 0.0021156 | 0.00053022 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5405-16_0_2_load_17 | 23 | 0.0028843 | 0.00072288 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5405-16_0_2_load_64 | 25 | 0.005183 | 0.001299 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5405-16_0_2_load_65 | 26 | 0.0067091 | 0.0016815 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5405-16_0_2_load_20 | 27 | 0.0028956 | 0.00072571 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5405-16_0_2_load_50 | 29 | 0.0015951 | 0.00039977 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5405-16_0_2_load_61 | 30 | 0.0037607 | 0.00094251 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5405-16_0_2_load_55 | 31 | 0.0017378 | 0.00043554 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5405-16_0_2_load_22 | 32 | 0.0025724 | 0.00064471 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5405-16_0_2_load_47 | 34 | 0.0057974 | 0.001453 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5405-16_0_2_load_58 | 35 | 0.0048328 | 0.0012112 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5405-16_0_2_load_59 | 36 | 0.0056208 | 0.0014087 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5405-16_0_2_load_29 | 37 | 0.014541 | 0.0036444 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5405-16_0_2_load_23 | 38 | 0.0087494 | 0.0021928 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5405-16_0_2_load_24 | 39 | 0.0037321 | 0.00093536 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5405-16_0_2_load_26 | 41 | 0.0078128 | 0.0019581 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5405-16_0_2_load_28 | 43 | 0.012536 | 0.0031418 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5405-16_0_2_load_42 | 44 | 0.0016256 | 0.0004074 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5405-16_0_2_load_46 | 46 | 0.0052361 | 0.0013123 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5405-16_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.08432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5405-16_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.1233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5405-16_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.021024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_5405-16_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0091714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5405-16_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5405-16_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.059308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_5405-16_0_2_line_6 | NAYY 4x150 SE | 5 | 33 | 0.01236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5405-16_0_2_line_7 | NAYY 4x150 SE | 6 | 31 | 0.050588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5405-16_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0030762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5405-16_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.032228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5405-16_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.04414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5405-16_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.032358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5405-16_0_2_line_12 | NAYY 4x150 SE | 9 | 12 | 0.14242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5405-16_0_2_line_13 | NAYY 4x150 SE | 10 | 13 | 0.036944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5405-16_0_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.040774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5405-16_0_2_line_15 | NAYY 4x150 SE | 12 | 26 | 0.004766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5405-16_0_2_line_16 | NAYY 4x150 SE | 12 | 24 | 0.023344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5405-16_0_2_line_17 | NAYY 4x150 SE | 13 | 27 | 0.028441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5405-16_0_2_line_18 | NAYY 4x150 SE | 13 | 22 | 0.044391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5405-16_0_2_line_19 | NAYY 4x150 SE | 14 | 28 | 0.018564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5405-16_0_2_line_20 | NAYY 4x150 SE | 15 | 16 | 0.044319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_5405-16_0_2_line_21 | NAYY 4x150 SE | 15 | 17 | 0.013715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5405-16_0_2_line_22 | NAYY 4x150 SE | 15 | 18 | 0.092312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_5405-16_0_2_line_23 | NAYY 4x150 SE | 16 | 19 | 0.05377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5405-16_0_2_line_24 | NAYY 4x150 SE | 16 | 20 | 0.0042672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_5405-16_0_2_line_25 | NAYY 4x150 SE | 17 | 29 | 0.0093029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5405-16_0_2_line_26 | NAYY 4x150 SE | 18 | 30 | 0.022524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5405-16_0_2_line_27 | NAYY 4x150 SE | 18 | 31 | 0.0023091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_5405-16_0_2_line_28 | NAYY 4x150 SE | 20 | 34 | 0.0050101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_5405-16_0_2_line_29 | NAYY 4x150 SE | 21 | 22 | 0.023394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5405-16_0_2_line_30 | NAYY 4x150 SE | 21 | 23 | 0.019084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5405-16_0_2_line_31 | NAYY 4x150 SE | 22 | 35 | 0.024548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5405-16_0_2_line_32 | NAYY 4x150 SE | 24 | 25 | 0.007978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5405-16_0_2_line_33 | NAYY 4x150 SE | 28 | 44 | 0.027073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5405-16_0_2_line_34 | NAYY 4x150 SE | 29 | 46 | 0.021115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5405-16_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.010145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5405-16_0_2_line_36 | NAYY 4x150 SE | 33 | 37 | 0.048804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5405-16_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.020881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5405-16_0_2_line_38 | NAYY 4x150 SE | 37 | 43 | 0.044642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5405-16_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.019746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5405-16_0_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0041768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5405-16_0_2_line_41 | NAYY 4x150 SE | 39 | 41 | 0.050111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5405-16_0_2_line_42 | NAYY 4x150 SE | 40 | 42 | 0.11638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5405-16_0_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.028309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5405-16_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.022825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5405-16_0_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.017751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5405-16_0_2_trafo_47 | 0.25 MVA 20/0.4 kV | 47 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2573575.5021 | 1126688.7214 | 2573575.5884 | 1126696.0914 | 2573581.2067 | 1126701.4583 | 2573604.6507 | 1126705.3687 | 2573619.3033 | 1126707.8168 | 2573639.5784 | 1126707.817 | 2573642.9984 | 1126710.9926 | 2573642.9922 | 1126716.6065
1 | 2573575.5021 | 1126688.7214 | 2573583.6076 | 1126691.8875 | 2573603.2785 | 1126691.1787 | 2573618.3828 | 1126685.91 | 2573632.7859 | 1126675.3751 | 2573635.9843 | 1126671.9038 | 2573632.1276 | 1126671.0869 | 2573638.5564 | 1126657.4187 | 2573638.6014 | 1126653.5944 | 2573637.0533 | 1126652.0448 | 2573634.9325 | 1126649.9308 | 2573634.1992 | 1126642.6082 | 2573636.0788 | 1126637.1528 | 2573636.6419 | 1126635.5162 | 2573642.5538 | 1126623.451
2 | 2573642.5538 | 1126623.451 | 2573649.3494 | 1126612.5604 | 2573654.0745 | 1126605.8744
3 | 2573642.5538 | 1126623.451 | 2573638.7601 | 1126624.7127 | 2573634.177 | 1126627.1124
4 | 2573670.5944 | 1126591.068 | 2573663.4352 | 1126596.3685 | 2573656.4263 | 1126602.5467 | 2573654.0745 | 1126605.8744
5 | 2573577.3371 | 1126627.4163 | 2573600.6661 | 1126624.3348 | 2573604.6501 | 1126624.2951 | 2573608.3532 | 1126625.2349 | 2573614.3321 | 1126628.477 | 2573620.7708 | 1126631.1279 | 2573624.161 | 1126631.0019 | 2573629.3184 | 1126629.6564 | 2573634.177 | 1126627.1124
6 | 2573682.7138 | 1126592.2156 | 2573675.9633 | 1126590.5109 | 2573670.5944 | 1126591.068 | 2573670.5944 | 1126591.068
7 | 2573577.3371 | 1126627.4163 | 2573577.2171 | 1126626.4163 | 2573577.3681 | 1126625.6931 | 2573577.8803 | 1126624.7681 | 2573579.0168 | 1126623.8405 | 2573582.4685 | 1126621.9133 | 2573587.0041 | 1126619.3699 | 2573589.0741 | 1126618.6938 | 2573590.1043 | 1126618.1224 | 2573590.463 | 1126617.3426 | 2573590.144 | 1126616.6326 | 2573588.4368 | 1126615.7063 | 2573587.1388 | 1126614.9449 | 2573585.8945 | 1126614.1277 | 2573585.5375 | 1126613.5624 | 2573585.7316 | 1126612.1163 | 2573587.218 | 1126608.3969 | 2573592.3469 | 1126600.5483 | 2573598.8372 | 1126595.6285 | 2573601.5163 | 1126593.2489
8 | 2573698.7266 | 1126498.9012 | 2573701.4985 | 1126497.5673
9 | 2573671.0067 | 1126500.2433 | 2573671.6463 | 1126502.008 | 2573673.6217 | 1126504.3561 | 2573675.4921 | 1126505.5819 | 2573677.661 | 1126506.3728 | 2573680.737 | 1126506.6151 | 2573684.4171 | 1126505.7875 | 2573698.7266 | 1126498.9012
10 | 2573743.9319 | 1126487.5634 | 2573724.3724 | 1126489.2494 | 2573717.5191 | 1126490.491 | 2573713.4865 | 1126491.7981 | 2573701.4985 | 1126497.5673
11 | 2573671.0067 | 1126500.2433 | 2573663.1121 | 1126499.5219 | 2573659.0565 | 1126497.3163 | 2573650.3584 | 1126494.375 | 2573646.3258 | 1126492.1249 | 2573643.5175 | 1126489.6359 | 2573642.1324 | 1126487.8486
12 | 2573671.0067 | 1126500.2433 | 2573671.3728 | 1126497.607 | 2573672.478 | 1126494.8231 | 2573674.4001 | 1126492.0021 | 2573677.5085 | 1126489.0982 | 2573682.7741 | 1126486.0404 | 2573695.4408 | 1126480.1044 | 2573700.6671 | 1126478.6253 | 2573705.4553 | 1126477.426 | 2573722.4417 | 1126475.929 | 2573729.371 | 1126474.4425 | 2573732.2948 | 1126473.3514 | 2573733.6729 | 1126471.2777 | 2573734.7492 | 1126467.1377 | 2573721.1998 | 1126466.841 | 2573726.074 | 1126460.6056 | 2573734.7139 | 1126457.2774 | 2573746.6332 | 1126453.1123 | 2573742.6748 | 1126441.3792 | 2573737.4144 | 1126443.8701 | 2573735.631 | 1126441.3766
13 | 2573775.2678 | 1126496.6982 | 2573761.6709 | 1126497.8579 | 2573756.3532 | 1126497.8144 | 2573749.027 | 1126496.6568 | 2573747.9069 | 1126496.0503 | 2573743.9319 | 1126487.5634
14 | 2573607.3479 | 1126490.728 | 2573616.1839 | 1126482.9299 | 2573634.0605 | 1126480.595 | 2573637.8475 | 1126483.0463 | 2573640.3321 | 1126485.5256 | 2573642.1324 | 1126487.8486
15 | 2573731.0516 | 1126442.7417 | 2573735.631 | 1126441.3766
16 | 2573735.631 | 1126441.3766 | 2573742.145 | 1126436.5013 | 2573741.9003 | 1126435.1907 | 2573741.1944 | 1126428.8239 | 2573748.6626 | 1126428.9359
17 | 2573775.2678 | 1126496.6982 | 2573769.1042 | 1126502.3834 | 2573765.6687 | 1126504.5105 | 2573761.9536 | 1126506.1497 | 2573757.7141 | 1126507.7022 | 2573750.5978 | 1126509.8708
18 | 2573775.2678 | 1126496.6982 | 2573781.2794 | 1126491.5028 | 2573784.6936 | 1126489.7871 | 2573787.5795 | 1126488.8518 | 2573790.6991 | 1126488.5048 | 2573794.616 | 1126488.9657 | 2573799.6475 | 1126490.5446 | 2573815.2628 | 1126498.0805
19 | 2573593.5152 | 1126503.1503 | 2573602.3196 | 1126495.1745 | 2573607.3479 | 1126490.728
20 | 2573650.1981 | 1126524.6797 | 2573653.7925 | 1126521.8737 | 2573657.2166 | 1126520.6803 | 2573661.6623 | 1126520.4608 | 2573679.9872 | 1126525.5166 | 2573679.9225 | 1126526.5619 | 2573680.9684 | 1126527.8357 | 2573682.887 | 1126529.5282 | 2573684.6977 | 1126531.2211 | 2573686.1002 | 1126532.9714 | 2573686.4674 | 1126534.1037 | 2573687.2513 | 1126535.3898
21 | 2573650.1981 | 1126524.6797 | 2573645.0862 | 1126520.5666 | 2573638.4811 | 1126523.313
22 | 2573650.1981 | 1126524.6797 | 2573647.3257 | 1126526.9267 | 2573632.718 | 1126554.193 | 2573619.7855 | 1126566.2667 | 2573611.6435 | 1126574.1395 | 2573603.2096 | 1126583.9702 | 2573596.39 | 1126589.3917 | 2573597.8916 | 1126590.8859 | 2573602.8025 | 1126591.3312
23 | 2573646.7666 | 1126554.1538 | 2573649.2168 | 1126546.9839 | 2573652.1365 | 1126541.4573 | 2573655.5265 | 1126535.9842 | 2573657.7904 | 1126533.8177 | 2573660.3108 | 1126532.1503 | 2573662.3809 | 1126531.4742 | 2573665.6865 | 1126531.3598 | 2573667.3363 | 1126531.5082 | 2573669.6117 | 1126531.954 | 2573672.8735 | 1126532.4067 | 2573680.1618 | 1126533.7199 | 2573684.6128 | 1126534.7232 | 2573687.2513 | 1126535.3898
24 | 2573687.2513 | 1126535.3898 | 2573688.2345 | 1126536.4082 | 2573689.3798 | 1126537.4927 | 2573690.0529 | 1126538.1011 | 2573690.3755 | 1126538.2762
25 | 2573630.6876 | 1126528.1721 | 2573634.2782 | 1126525.0606 | 2573638.4811 | 1126523.313
26 | 2573619.3264 | 1126577.5632 | 2573617.7282 | 1126578.6485 | 2573616.7001 | 1126579.6868 | 2573615.8809 | 1126580.9244 | 2573615.4145 | 1126581.749 | 2573614.5452 | 1126583.865 | 2573614.0873 | 1126584.9009 | 2573612.699 | 1126586.3966 | 2573611.6684 | 1126586.868 | 2573609.299 | 1126587.801 | 2573606.1983 | 1126588.9485 | 2573604.2901 | 1126589.6239 | 2573602.8025 | 1126591.3312
27 | 2573602.8025 | 1126591.3312 | 2573601.5163 | 1126593.2489
28 | 2573694.872 | 1126540.4479 | 2573693.574 | 1126539.6866 | 2573691.7601 | 1126539.0275 | 2573690.3755 | 1126538.2762
29 | 2573815.2628 | 1126498.0805 | 2573823.4415 | 1126502.1026 | 2573826.2416 | 1126502.7129 | 2573828.7468 | 1126502.8688 | 2573831.4017 | 1126501.9791 | 2573836.8299 | 1126499.0652
30 | 2573836.8299 | 1126499.0652 | 2573852.3225 | 1126510.2094
31 | 2573815.2628 | 1126498.0805 | 2573796.2243 | 1126513.5774
32 | 2573748.6626 | 1126428.9359 | 2573751.2463 | 1126436.4839
33 | 2573593.5152 | 1126503.1503 | 2573595.5634 | 1126508.0216 | 2573600.2024 | 1126513.2372 | 2573607.3799 | 1126526.19
34 | 2573630.6876 | 1126528.1721 | 2573624.8274 | 1126533.2504 | 2573620.8667 | 1126533.3456 | 2573615.0125 | 1126537.4844 | 2573613.0846 | 1126538.6037
35 | 2573682.7138 | 1126592.2156 | 2573692.8561 | 1126592.4604
36 | 2573682.7138 | 1126592.2156 | 2573700.3535 | 1126602.755 | 2573708.6369 | 1126614.9026 | 2573721.7235 | 1126618.4239
37 | 2573780.0302 | 1126526.759 | 2573796.2243 | 1126513.5774
38 | 2573721.7235 | 1126618.4239 | 2573725.387 | 1126619.4096 | 2573741.7688 | 1126634.8904 | 2573747.7969 | 1126637.0541 | 2573759.6898 | 1126637.5644
39 | 2573898.3184 | 1126607.219 | 2573878.6975 | 1126609.434
40 | 2573900.0149 | 1126611.0357 | 2573898.3184 | 1126607.219 | 2573898.3184 | 1126607.219
41 | 2573831.0127 | 1126599.0499 | 2573862.1702 | 1126611.2998 | 2573878.6975 | 1126609.434
42 | 2573786.9472 | 1126639.3293 | 2573827.385 | 1126631.1162 | 2573851.9746 | 1126625.4955 | 2573869.5407 | 1126620.9282 | 2573890.2619 | 1126613.557 | 2573900.0149 | 1126611.0357
43 | 2573786.9472 | 1126639.3293 | 2573780.8361 | 1126635.7874 | 2573762.38 | 1126637.6798 | 2573759.6898 | 1126637.5644
44 | 2573596.9221 | 1126545.5009 | 2573602.4147 | 1126539.7407 | 2573607.3629 | 1126531.0925 | 2573607.3799 | 1126526.19
45 | 2573596.9221 | 1126545.5009 | 2573604.3047 | 1126543.701 | 2573613.0846 | 1126538.6037

## bus_geodata
| x | y | coords
0 | 2573642.9922 | 1126716.6065
1 | 2573575.5021 | 1126688.7214
2 | 2573642.5538 | 1126623.451
3 | 2573654.0745 | 1126605.8744
4 | 2573634.177 | 1126627.1124
5 | 2573670.5944 | 1126591.068
6 | 2573577.3371 | 1126627.4163
7 | 2573698.7266 | 1126498.9012
8 | 2573701.4985 | 1126497.5673
9 | 2573671.0067 | 1126500.2433
10 | 2573743.9319 | 1126487.5634
11 | 2573642.1324 | 1126487.8486
12 | 2573735.631 | 1126441.3766
13 | 2573775.2678 | 1126496.6982
14 | 2573607.3479 | 1126490.728
15 | 2573650.1981 | 1126524.6797
16 | 2573687.2513 | 1126535.3898
17 | 2573638.4811 | 1126523.313
18 | 2573602.8025 | 1126591.3312
19 | 2573646.7666 | 1126554.1538
20 | 2573690.3755 | 1126538.2762
21 | 2573836.8299 | 1126499.0652
22 | 2573815.2628 | 1126498.0805
23 | 2573852.3225 | 1126510.2094
24 | 2573748.6626 | 1126428.9359
25 | 2573751.2463 | 1126436.4839
26 | 2573731.0516 | 1126442.7417
27 | 2573750.5978 | 1126509.8708
28 | 2573593.5152 | 1126503.1503
29 | 2573630.6876 | 1126528.1721
30 | 2573619.3264 | 1126577.5632
31 | 2573601.5163 | 1126593.2489
32 | 2573692.8561 | 1126592.4604
33 | 2573682.7138 | 1126592.2156
34 | 2573694.872 | 1126540.4479
35 | 2573796.2243 | 1126513.5774
36 | 2573780.0302 | 1126526.759
37 | 2573721.7235 | 1126618.4239
38 | 2573898.3184 | 1126607.219
39 | 2573878.6975 | 1126609.434
40 | 2573900.0149 | 1126611.0357
41 | 2573831.0127 | 1126599.0499
42 | 2573786.9472 | 1126639.3293
43 | 2573759.6898 | 1126637.5644
44 | 2573607.3799 | 1126526.19
45 | 2573596.9221 | 1126545.5009
46 | 2573613.0846 | 1126538.6037
47 | 2573696.3742 | 1126542.0978

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1