## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5405-3_1_3_node_11 | 0.4 | n |  | TRUE
1 | bus_LV_5405-3_1_3_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_5405-3_1_3_node_137 | 0.4 | n |  | TRUE
3 | bus_LV_5405-3_1_3_node_167 | 0.4 | n |  | TRUE
4 | bus_LV_5405-3_1_3_node_143 | 0.4 | n |  | TRUE
5 | bus_LV_5405-3_1_3_node_133 | 0.4 | n |  | TRUE
6 | bus_LV_5405-3_1_3_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_5405-3_1_3_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_5405-3_1_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_5405-3_1_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_5405-3_1_3_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_5405-3_1_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_5405-3_1_3_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_5405-3_1_3_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_5405-3_1_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_5405-3_1_3_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_5405-3_1_3_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_5405-3_1_3_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_5405-3_1_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_5405-3_1_3_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_5405-3_1_3_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_5405-3_1_3_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_5405-3_1_3_node_68 | 0.4 | n |  | TRUE
23 | bus_LV_5405-3_1_3_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_5405-3_1_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_5405-3_1_3_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_5405-3_1_3_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_5405-3_1_3_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_5405-3_1_3_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_5405-3_1_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_5405-3_1_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_5405-3_1_3_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_5405-3_1_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_5405-3_1_3_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_5405-3_1_3_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_5405-3_1_3_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_5405-3_1_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_5405-3_1_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_5405-3_1_3_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_5405-3_1_3_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_5405-3_1_3_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_5405-3_1_3_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_5405-3_1_3_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_5405-3_1_3_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_5405-3_1_3_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_5405-3_1_3_node_83 | 0.4 | n |  | TRUE
46 | bus_LV_5405-3_1_3_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_5405-3_1_3_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_5405-3_1_3_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_5405-3_1_3_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_5405-3_1_3_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_5405-3_1_3_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_5405-3_1_3_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_5405-3_1_3_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_5405-3_1_3_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_5405-3_1_3_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_5405-3_1_3_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_5405-3_1_3_node_169 | 0.4 | n |  | TRUE
58 | bus_LV_5405-3_1_3_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_5405-3_1_3_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_5405-3_1_3_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_5405-3_1_3_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_5405-3_1_3_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_5405-3_1_3_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_5405-3_1_3_node_91 | 0.4 | n |  | TRUE
65 | bus_LV_5405-3_1_3_node_170 | 0.4 | n |  | TRUE
66 | bus_LV_5405-3_1_3_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_5405-3_1_3_node_171 | 0.4 | n |  | TRUE
68 | bus_LV_5405-3_1_3_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_5405-3_1_3_node_87 | 0.4 | n |  | TRUE
70 | bus_LV_5405-3_1_3_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_5405-3_1_3_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_5405-3_1_3_node_95 | 0.4 | n |  | TRUE
73 | bus_LV_5405-3_1_3_node_92 | 0.4 | n |  | TRUE
74 | bus_LV_5405-3_1_3_node_93 | 0.4 | n |  | TRUE
75 | bus_LV_5405-3_1_3_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_5405-3_1_3_node_96 | 0.4 | n |  | TRUE
77 | bus_LV_5405-3_1_3_node_97 | 0.4 | n |  | TRUE
78 | bus_LV_5405-3_1_3_node_98 | 0.4 | n |  | TRUE
79 | bus_LV_5405-3_1_3_node_108 | 0.4 | n |  | TRUE
80 | bus_LV_5405-3_1_3_node_106 | 0.4 | n |  | TRUE
81 | bus_LV_5405-3_1_3_node_103 | 0.4 | n |  | TRUE
82 | bus_LV_5405-3_1_3_node_107 | 0.4 | n |  | TRUE
83 | bus_LV_5405-3_1_3_node_100 | 0.4 | n |  | TRUE
84 | bus_LV_5405-3_1_3_node_99 | 0.4 | n |  | TRUE
85 | bus_LV_5405-3_1_3_node_102 | 0.4 | n |  | TRUE
86 | bus_LV_5405-3_1_3_node_101 | 0.4 | n |  | TRUE
87 | bus_LV_5405-3_1_3_node_104 | 0.4 | n |  | TRUE
88 | bus_LV_5405-3_1_3_node_105 | 0.4 | n |  | TRUE
89 | bus_LV_5405-3_1_3_node_145 | 0.4 | n |  | TRUE
90 | bus_LV_5405-3_1_3_node_144 | 0.4 | n |  | TRUE
91 | bus_LV_5405-3_1_3_node_111 | 0.4 | n |  | TRUE
92 | bus_LV_5405-3_1_3_node_119 | 0.4 | n |  | TRUE
93 | bus_LV_5405-3_1_3_node_147 | 0.4 | n |  | TRUE
94 | bus_LV_5405-3_1_3_node_146 | 0.4 | n |  | TRUE
95 | bus_LV_5405-3_1_3_node_110 | 0.4 | n |  | TRUE
96 | bus_LV_5405-3_1_3_node_120 | 0.4 | n |  | TRUE
97 | bus_LV_5405-3_1_3_node_121 | 0.4 | n |  | TRUE
98 | bus_LV_5405-3_1_3_node_109 | 0.4 | n |  | TRUE
99 | bus_LV_5405-3_1_3_node_112 | 0.4 | n |  | TRUE
100 | bus_LV_5405-3_1_3_node_113 | 0.4 | n |  | TRUE
101 | bus_LV_5405-3_1_3_node_114 | 0.4 | n |  | TRUE
102 | bus_LV_5405-3_1_3_node_148 | 0.4 | n |  | TRUE
103 | bus_LV_5405-3_1_3_node_115 | 0.4 | n |  | TRUE
104 | bus_LV_5405-3_1_3_node_116 | 0.4 | n |  | TRUE
105 | bus_LV_5405-3_1_3_node_117 | 0.4 | n |  | TRUE
106 | bus_LV_5405-3_1_3_node_118 | 0.4 | n |  | TRUE
107 | bus_LV_5405-3_1_3_node_129 | 0.4 | n |  | TRUE
108 | bus_LV_5405-3_1_3_node_123 | 0.4 | n |  | TRUE
109 | bus_LV_5405-3_1_3_node_172 | 0.4 | n |  | TRUE
110 | bus_LV_5405-3_1_3_node_125 | 0.4 | n |  | TRUE
111 | bus_LV_5405-3_1_3_node_122 | 0.4 | n |  | TRUE
112 | bus_LV_5405-3_1_3_node_128 | 0.4 | n |  | TRUE
113 | bus_LV_5405-3_1_3_node_126 | 0.4 | n |  | TRUE
114 | bus_LV_5405-3_1_3_node_127 | 0.4 | n |  | TRUE
115 | bus_LV_5405-3_1_3_node_124 | 0.4 | n |  | TRUE
116 | bus_LV_5405-3_1_3_node_173 | 0.4 | n |  | TRUE
117 | bus_LV_5405-3_1_3_node_140 | 0.4 | n |  | TRUE
118 | bus_LV_5405-3_1_3_node_142 | 0.4 | n |  | TRUE
119 | bus_LV_5405-3_1_3_node_138 | 0.4 | n |  | TRUE
120 | bus_LV_5405-3_1_3_node_130 | 0.4 | n |  | TRUE
121 | bus_LV_5405-3_1_3_node_131 | 0.4 | n |  | TRUE
122 | bus_LV_5405-3_1_3_node_135 | 0.4 | n |  | TRUE
123 | bus_LV_5405-3_1_3_node_134 | 0.4 | n |  | TRUE
124 | bus_LV_5405-3_1_3_node_136 | 0.4 | n |  | TRUE
125 | bus_LV_5405-3_1_3_node_168 | 0.4 | n |  | TRUE
126 | bus_LV_5405-3_1_3_node_141 | 0.4 | n |  | TRUE
127 | bus_LV_5405-3_1_3_node_139 | 0.4 | n |  | TRUE
128 | bus_MV_190_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5405-3_1_3_load_11 | 0 | 0.00072021 | 0.0001805 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5405-3_1_3_load_167 | 3 | 0.00095237 | 0.00023869 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5405-3_1_3_load_27 | 6 | 0.0039928 | 0.0010007 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5405-3_1_3_load_30 | 9 | 0.0018168 | 0.00045533 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5405-3_1_3_load_48 | 10 | 0.0017809 | 0.00044632 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5405-3_1_3_load_31 | 11 | 0.0025793 | 0.00064642 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5405-3_1_3_load_32 | 14 | 0.0018414 | 0.00046149 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5405-3_1_3_load_53 | 15 | 0.0016788 | 0.00042075 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5405-3_1_3_load_37 | 18 | 0.0011497 | 0.00028814 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5405-3_1_3_load_33 | 19 | 0.0017923 | 0.00044919 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5405-3_1_3_load_34 | 20 | 0.0014705 | 0.00036853 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5405-3_1_3_load_67 | 21 | 0.0012542 | 0.00031433 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5405-3_1_3_load_68 | 22 | 0.0010868 | 0.00027239 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5405-3_1_3_load_54 | 23 | 0.0011649 | 0.00029194 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5405-3_1_3_load_36 | 24 | 0.0013811 | 0.00034614 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5405-3_1_3_load_38 | 25 | 0.0030384 | 0.00076149 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5405-3_1_3_load_69 | 26 | 0.0020083 | 0.00050332 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5405-3_1_3_load_55 | 27 | 0.0016546 | 0.00041469 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5405-3_1_3_load_40 | 29 | 0.0024915 | 0.00062444 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5405-3_1_3_load_41 | 30 | 0.003366 | 0.00084361 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5405-3_1_3_load_42 | 31 | 0.0022012 | 0.00055168 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5405-3_1_3_load_43 | 32 | 0.00070907 | 0.00017771 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5405-3_1_3_load_66 | 34 | 0.0043367 | 0.0010869 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5405-3_1_3_load_63 | 35 | 0.0010737 | 0.00026909 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5405-3_1_3_load_44 | 36 | 0.0033094 | 0.0008294 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5405-3_1_3_load_47 | 37 | 0.002417 | 0.00060577 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5405-3_1_3_load_51 | 38 | 0.001662 | 0.00041655 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5405-3_1_3_load_56 | 39 | 0.0013781 | 0.00034539 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5405-3_1_3_load_57 | 40 | 0.0026125 | 0.00065476 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5405-3_1_3_load_59 | 42 | 0.0016201 | 0.00040603 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5405-3_1_3_load_83 | 45 | 0.0015975 | 0.00040038 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5405-3_1_3_load_60 | 46 | 0.0015754 | 0.00039483 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5405-3_1_3_load_61 | 47 | 0.0012448 | 0.00031197 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5405-3_1_3_load_62 | 48 | 0.0018749 | 0.0004699 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5405-3_1_3_load_64 | 49 | 0.0022173 | 0.00055572 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5405-3_1_3_load_70 | 50 | 0.0020414 | 0.00051162 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5405-3_1_3_load_71 | 51 | 0.0023422 | 0.00058701 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5405-3_1_3_load_72 | 52 | 0.0025038 | 0.00062752 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5405-3_1_3_load_74 | 54 | 0.0043376 | 0.0010871 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5405-3_1_3_load_75 | 55 | 0.0024653 | 0.00061787 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5405-3_1_3_load_169 | 57 | 0.0036052 | 0.00090354 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5405-3_1_3_load_78 | 58 | 0.0011989 | 0.00030048 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5405-3_1_3_load_80 | 60 | 0.0014144 | 0.00035449 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5405-3_1_3_load_85 | 63 | 0.0019019 | 0.00047665 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5405-3_1_3_load_170 | 65 | 0.0014785 | 0.00037054 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5405-3_1_3_load_86 | 66 | 0.0025104 | 0.00062917 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5405-3_1_3_load_171 | 67 | 0.0016305 | 0.00040864 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5405-3_1_3_load_87 | 69 | 0.0015453 | 0.00038729 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5405-3_1_3_load_89 | 70 | 0.0017438 | 0.00043704 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5405-3_1_3_load_95 | 72 | 0.0014268 | 0.0003576 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5405-3_1_3_load_92 | 73 | 0.0014124 | 0.00035398 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5405-3_1_3_load_93 | 74 | 0.0011705 | 0.00029334 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5405-3_1_3_load_94 | 75 | 0.002448 | 0.00061354 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5405-3_1_3_load_98 | 78 | 0.0052954 | 0.0013271 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5405-3_1_3_load_108 | 79 | 0.0035307 | 0.00088486 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5405-3_1_3_load_106 | 80 | 0.0035842 | 0.0008983 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5405-3_1_3_load_103 | 81 | 0.0010469 | 0.00026238 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5405-3_1_3_load_99 | 84 | 0.0029131 | 0.0007301 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5405-3_1_3_load_104 | 87 | 0.0016278 | 0.00040797 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5405-3_1_3_load_105 | 88 | 0.0014964 | 0.00037503 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5405-3_1_3_load_144 | 90 | 0.0039834 | 0.00099834 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5405-3_1_3_load_111 | 91 | 0.002039 | 0.00051103 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5405-3_1_3_load_147 | 93 | 0.0046117 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5405-3_1_3_load_146 | 94 | 0.0042871 | 0.0010744 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5405-3_1_3_load_110 | 95 | 0.0030167 | 0.00075605 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5405-3_1_3_load_121 | 97 | 0.000689 | 0.00017268 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5405-3_1_3_load_109 | 98 | 0.0046722 | 0.001171 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5405-3_1_3_load_113 | 100 | 0.0031347 | 0.00078564 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5405-3_1_3_load_114 | 101 | 0.002111 | 0.00052907 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5405-3_1_3_load_148 | 102 | 0.0020279 | 0.00050824 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5405-3_1_3_load_115 | 103 | 0.00094815 | 0.00023763 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5405-3_1_3_load_116 | 104 | 0.00060972 | 0.00015281 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5405-3_1_3_load_117 | 105 | 0.00093908 | 0.00023536 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5405-3_1_3_load_172 | 109 | 0.00076449 | 0.0001916 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5405-3_1_3_load_122 | 111 | 0.00087986 | 0.00022051 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5405-3_1_3_load_128 | 112 | 0.00092174 | 0.00023101 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5405-3_1_3_load_126 | 113 | 0.00072309 | 0.00018122 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5405-3_1_3_load_127 | 114 | 0.00068617 | 0.00017197 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5405-3_1_3_load_124 | 115 | 0.0019807 | 0.00049642 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5405-3_1_3_load_173 | 116 | 0.0013132 | 0.00032913 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5405-3_1_3_load_142 | 118 | 0.0013756 | 0.00034476 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5405-3_1_3_load_138 | 119 | 0.001765 | 0.00044235 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5405-3_1_3_load_130 | 120 | 0.00051651 | 0.00012945 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5405-3_1_3_load_131 | 121 | 0.000607 | 0.00015213 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5405-3_1_3_load_135 | 122 | 0.00065393 | 0.00016389 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5405-3_1_3_load_134 | 123 | 0.00069878 | 0.00017513 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5405-3_1_3_load_136 | 124 | 0.00072514 | 0.00018174 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5405-3_1_3_load_168 | 125 | 0.00046486 | 0.0001165 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5405-3_1_3_load_139 | 127 | 0.00095166 | 0.00023851 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5405-3_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.14997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5405-3_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.12995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5405-3_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.057574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5405-3_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.13557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5405-3_1_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.056171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5405-3_1_3_line_5 | NAYY 4x150 SE | 4 | 125 | 0.029712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5405-3_1_3_line_6 | NAYY 4x150 SE | 4 | 126 | 0.018033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5405-3_1_3_line_7 | NAYY 4x150 SE | 5 | 122 | 0.023448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5405-3_1_3_line_8 | NAYY 4x150 SE | 5 | 121 | 0.028718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5405-3_1_3_line_9 | NAYY 4x150 SE | 6 | 7 | 0.003403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5405-3_1_3_line_10 | NAYY 4x150 SE | 6 | 8 | 0.021896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5405-3_1_3_line_11 | NAYY 4x150 SE | 7 | 9 | 0.033748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5405-3_1_3_line_12 | NAYY 4x150 SE | 7 | 10 | 0.042054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5405-3_1_3_line_13 | NAYY 4x150 SE | 8 | 11 | 0.010174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5405-3_1_3_line_14 | NAYY 4x150 SE | 9 | 12 | 0.029504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5405-3_1_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.015183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5405-3_1_3_line_16 | NAYY 4x150 SE | 12 | 16 | 0.006937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5405-3_1_3_line_17 | NAYY 4x150 SE | 12 | 17 | 0.006929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5405-3_1_3_line_18 | NAYY 4x150 SE | 13 | 18 | 0.0058576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5405-3_1_3_line_19 | NAYY 4x150 SE | 14 | 15 | 0.016326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5405-3_1_3_line_20 | NAYY 4x150 SE | 15 | 16 | 0.013456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5405-3_1_3_line_21 | NAYY 4x150 SE | 16 | 38 | 0.019329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5405-3_1_3_line_22 | NAYY 4x150 SE | 17 | 37 | 0.030118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5405-3_1_3_line_23 | NAYY 4x150 SE | 17 | 36 | 0.017926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5405-3_1_3_line_24 | NAYY 4x150 SE | 18 | 25 | 0.013043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5405-3_1_3_line_25 | NAYY 4x150 SE | 19 | 20 | 0.024076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5405-3_1_3_line_26 | NAYY 4x150 SE | 20 | 21 | 0.02593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5405-3_1_3_line_27 | NAYY 4x150 SE | 21 | 22 | 0.032164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_5405-3_1_3_line_28 | NAYY 4x150 SE | 21 | 23 | 0.043398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5405-3_1_3_line_29 | NAYY 4x150 SE | 22 | 26 | 0.081004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_5405-3_1_3_line_30 | NAYY 4x150 SE | 22 | 24 | 0.014284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5405-3_1_3_line_31 | NAYY 4x150 SE | 23 | 28 | 0.021186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5405-3_1_3_line_32 | NAYY 4x150 SE | 26 | 50 | 0.015325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_5405-3_1_3_line_33 | NAYY 4x150 SE | 27 | 28 | 0.013317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5405-3_1_3_line_34 | NAYY 4x150 SE | 28 | 38 | 0.0073067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5405-3_1_3_line_35 | NAYY 4x150 SE | 29 | 30 | 0.035008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5405-3_1_3_line_36 | NAYY 4x150 SE | 29 | 31 | 0.021338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5405-3_1_3_line_37 | NAYY 4x150 SE | 30 | 32 | 0.032205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5405-3_1_3_line_38 | NAYY 4x150 SE | 32 | 33 | 0.012116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5405-3_1_3_line_39 | NAYY 4x150 SE | 33 | 34 | 0.0062838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_5405-3_1_3_line_40 | NAYY 4x150 SE | 33 | 35 | 0.015242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_5405-3_1_3_line_41 | NAYY 4x150 SE | 34 | 51 | 0.018617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_5405-3_1_3_line_42 | NAYY 4x150 SE | 35 | 47 | 0.019564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_5405-3_1_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.01148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5405-3_1_3_line_44 | NAYY 4x150 SE | 39 | 41 | 0.041533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5405-3_1_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.0057299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5405-3_1_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.07028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5405-3_1_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.019058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_5405-3_1_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.058593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_5405-3_1_3_line_49 | NAYY 4x150 SE | 44 | 57 | 0.054113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5405-3_1_3_line_50 | NAYY 4x150 SE | 44 | 56 | 0.075902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_5405-3_1_3_line_51 | NAYY 4x150 SE | 45 | 61 | 0.043043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_5405-3_1_3_line_52 | NAYY 4x150 SE | 46 | 47 | 0.024238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_5405-3_1_3_line_53 | NAYY 4x150 SE | 46 | 48 | 0.0060064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_5405-3_1_3_line_54 | NAYY 4x150 SE | 48 | 49 | 0.033491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_5405-3_1_3_line_55 | NAYY 4x150 SE | 49 | 50 | 0.0014718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_5405-3_1_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.025302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_5405-3_1_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.014652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_5405-3_1_3_line_58 | NAYY 4x150 SE | 53 | 54 | 0.032448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5405-3_1_3_line_59 | NAYY 4x150 SE | 53 | 55 | 0.010154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_5405-3_1_3_line_60 | NAYY 4x150 SE | 55 | 56 | 0.058269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_5405-3_1_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.014826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5405-3_1_3_line_62 | NAYY 4x150 SE | 58 | 60 | 0.0046215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5405-3_1_3_line_63 | NAYY 4x150 SE | 59 | 61 | 0.002297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_5405-3_1_3_line_64 | NAYY 4x150 SE | 59 | 62 | 0.014454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_5405-3_1_3_line_65 | NAYY 4x150 SE | 61 | 63 | 0.059895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_5405-3_1_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.025094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_5405-3_1_3_line_67 | NAYY 4x150 SE | 62 | 65 | 0.021329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5405-3_1_3_line_68 | NAYY 4x150 SE | 63 | 66 | 0.0312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_5405-3_1_3_line_69 | NAYY 4x150 SE | 64 | 67 | 0.014317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5405-3_1_3_line_70 | NAYY 4x150 SE | 64 | 68 | 0.11783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_5405-3_1_3_line_71 | NAYY 4x150 SE | 68 | 71 | 0.014598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_5405-3_1_3_line_72 | NAYY 4x150 SE | 68 | 69 | 0.015033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5405-3_1_3_line_73 | NAYY 4x150 SE | 69 | 70 | 0.016123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5405-3_1_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.018707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5405-3_1_3_line_75 | NAYY 4x150 SE | 71 | 73 | 0.020792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_5405-3_1_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.0055304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_5405-3_1_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.053501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_5405-3_1_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.039727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_5405-3_1_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.03924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5405-3_1_3_line_80 | NAYY 4x150 SE | 76 | 78 | 0.073317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_5405-3_1_3_line_81 | NAYY 4x150 SE | 77 | 79 | 0.028811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5405-3_1_3_line_82 | NAYY 4x150 SE | 77 | 80 | 0.024175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5405-3_1_3_line_83 | NAYY 4x150 SE | 78 | 81 | 0.046405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_5405-3_1_3_line_84 | NAYY 4x150 SE | 80 | 82 | 0.012106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5405-3_1_3_line_85 | NAYY 4x150 SE | 81 | 83 | 0.056422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_5405-3_1_3_line_86 | NAYY 4x150 SE | 82 | 98 | 0.00795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5405-3_1_3_line_87 | NAYY 4x150 SE | 83 | 85 | 0.025808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_5405-3_1_3_line_88 | NAYY 4x150 SE | 83 | 84 | 0.070553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5405-3_1_3_line_89 | NAYY 4x150 SE | 85 | 89 | 0.05016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_5405-3_1_3_line_90 | NAYY 4x150 SE | 85 | 90 | 0.023129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5405-3_1_3_line_91 | NAYY 4x150 SE | 86 | 87 | 0.016057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
92 | LV_5405-3_1_3_line_92 | NAYY 4x150 SE | 86 | 88 | 0.055579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
93 | LV_5405-3_1_3_line_93 | NAYY 4x150 SE | 87 | 91 | 0.025466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_5405-3_1_3_line_94 | NAYY 4x150 SE | 88 | 92 | 0.054916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
95 | LV_5405-3_1_3_line_95 | NAYY 4x150 SE | 89 | 93 | 0.022154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5405-3_1_3_line_96 | NAYY 4x150 SE | 89 | 94 | 0.016099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
97 | LV_5405-3_1_3_line_97 | NAYY 4x150 SE | 91 | 95 | 0.0029092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
98 | LV_5405-3_1_3_line_98 | NAYY 4x150 SE | 92 | 96 | 0.009611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_5405-3_1_3_line_99 | NAYY 4x150 SE | 92 | 97 | 0.02465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5405-3_1_3_line_100 | NAYY 4x150 SE | 94 | 100 | 0.034966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
101 | LV_5405-3_1_3_line_101 | NAYY 4x150 SE | 95 | 99 | 0.023065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
102 | LV_5405-3_1_3_line_102 | NAYY 4x150 SE | 96 | 112 | 0.036488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5405-3_1_3_line_103 | NAYY 4x150 SE | 96 | 107 | 0.004502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
104 | LV_5405-3_1_3_line_104 | NAYY 4x150 SE | 97 | 113 | 0.056339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5405-3_1_3_line_105 | NAYY 4x150 SE | 99 | 100 | 0.0079579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
106 | LV_5405-3_1_3_line_106 | NAYY 4x150 SE | 99 | 101 | 0.0145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5405-3_1_3_line_107 | NAYY 4x150 SE | 101 | 102 | 0.019377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5405-3_1_3_line_108 | NAYY 4x150 SE | 103 | 104 | 0.023785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5405-3_1_3_line_109 | NAYY 4x150 SE | 103 | 105 | 0.022699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5405-3_1_3_line_110 | NAYY 4x150 SE | 104 | 106 | 0.057121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5405-3_1_3_line_111 | NAYY 4x150 SE | 106 | 107 | 0.035829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
112 | LV_5405-3_1_3_line_112 | NAYY 4x150 SE | 106 | 108 | 0.018887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
113 | LV_5405-3_1_3_line_113 | NAYY 4x150 SE | 107 | 109 | 0.03111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5405-3_1_3_line_114 | NAYY 4x150 SE | 108 | 110 | 0.02915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
115 | LV_5405-3_1_3_line_115 | NAYY 4x150 SE | 108 | 111 | 0.0036017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_5405-3_1_3_line_116 | NAYY 4x150 SE | 110 | 116 | 0.019447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_5405-3_1_3_line_117 | NAYY 4x150 SE | 110 | 117 | 0.016084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
118 | LV_5405-3_1_3_line_118 | NAYY 4x150 SE | 111 | 115 | 0.024332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_5405-3_1_3_line_119 | NAYY 4x150 SE | 113 | 114 | 0.018642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_5405-3_1_3_line_120 | NAYY 4x150 SE | 117 | 118 | 0.022924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_5405-3_1_3_line_121 | NAYY 4x150 SE | 117 | 119 | 0.04595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
122 | LV_5405-3_1_3_line_122 | NAYY 4x150 SE | 119 | 127 | 0.02674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
123 | LV_5405-3_1_3_line_123 | NAYY 4x150 SE | 120 | 121 | 0.12508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_5405-3_1_3_line_124 | NAYY 4x150 SE | 122 | 123 | 0.056696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_5405-3_1_3_line_125 | NAYY 4x150 SE | 123 | 124 | 0.012793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_5405-3_1_3_line_126 | NAYY 4x150 SE | 126 | 127 | 0.0026441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5405-3_1_3_trafo_86 | 0.25 MVA 20/0.4 kV | 128 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2572728.9664 | 1126851.4502 | 2572789.0828 | 1126916.6221 | 2572812.142 | 1126942.8978 | 2572816.9216 | 1126948.4345 | 2572820.2617 | 1126956.0455 | 2572827.3568 | 1126964.0832
1 | 2572729.8347 | 1126721.5039 | 2572728.9664 | 1126851.4502
2 | 2572729.8347 | 1126721.5039 | 2572724.7423 | 1126718.4032 | 2572717.1444 | 1126706.5873 | 2572714.9977 | 1126690.3222 | 2572718.2167 | 1126669.3973
3 | 2572683.1635 | 1126624.089 | 2572681.7959 | 1126626.7076 | 2572678.6938 | 1126635.9818 | 2572676.0477 | 1126650.6678 | 2572674.7408 | 1126666.6483 | 2572676.2344 | 1126676.5354 | 2572678.3972 | 1126684.4517 | 2572689.8664 | 1126703.6538 | 2572702.3186 | 1126723.8185 | 2572729.8347 | 1126721.5039
4 | 2572764.6533 | 1126681.0153 | 2572758.7629 | 1126694.015 | 2572738.9716 | 1126703.8872 | 2572729.8347 | 1126721.5039
5 | 2572663.175 | 1126644.8677 | 2572666.9722 | 1126639.3366 | 2572675.9611 | 1126628.1681 | 2572680.0823 | 1126624.392 | 2572680.7518 | 1126624.1889 | 2572683.1635 | 1126624.089
6 | 2572693.408 | 1126609.4131 | 2572687.4803 | 1126615.8765 | 2572683.1635 | 1126624.089
7 | 2572764.6533 | 1126681.0153 | 2572761.2112 | 1126676.4619 | 2572760.6614 | 1126672.4735 | 2572762.8593 | 1126666.0048 | 2572766.802 | 1126660.3644
8 | 2572764.6533 | 1126681.0153 | 2572789.1283 | 1126696.0386
9 | 2572348.7934 | 1126254.7407 | 2572350.5761 | 1126253.5875 | 2572351.6621 | 1126252.9103
10 | 2572370.2416 | 1126241.3246 | 2572351.6621 | 1126252.9103
11 | 2572368.1524 | 1126269.7483 | 2572365.7194 | 1126268.5922 | 2572363.0504 | 1126268.0597 | 2572360.3916 | 1126268.0719 | 2572357.8007 | 1126267.7614 | 2572356.6247 | 1126266.7552 | 2572356.8491 | 1126265.2756 | 2572358.5586 | 1126261.5993 | 2572359.7181 | 1126259.0149 | 2572359.7964 | 1126257.6028 | 2572358.5377 | 1126257.0638 | 2572355.3241 | 1126257.0786 | 2572351.6466 | 1126256.7842 | 2572348.7934 | 1126254.7407
12 | 2572346.1002 | 1126296.7081 | 2572348.7934 | 1126254.7407
13 | 2572370.2416 | 1126241.3246 | 2572374.4157 | 1126238.9821 | 2572379.2781 | 1126236.6626
14 | 2572392.8648 | 1126285.8653 | 2572368.1524 | 1126269.7483
15 | 2572393.2133 | 1126230.7141 | 2572388.9575 | 1126232.0453 | 2572379.2781 | 1126236.6626
16 | 2572392.8648 | 1126285.8653 | 2572399.6947 | 1126284.5445
17 | 2572394.9373 | 1126292.4591 | 2572393.9946 | 1126290.229 | 2572393.5394 | 1126288.4413 | 2572392.8648 | 1126285.8653
18 | 2572393.2133 | 1126230.7141 | 2572393.3441 | 1126228.9793 | 2572396.9833 | 1126227.0523
19 | 2572407.329 | 1126273.7709 | 2572393.1194 | 1126265.7319
20 | 2572399.6947 | 1126284.5445 | 2572400.14 | 1126282.497 | 2572400.3916 | 1126281.8956 | 2572402.0238 | 1126279.8537 | 2572403.4098 | 1126277.9131 | 2572404.7965 | 1126276.117 | 2572407.329 | 1126273.7709
21 | 2572399.6947 | 1126284.5445 | 2572405.9393 | 1126283.3264 | 2572417.4207 | 1126277.8934 | 2572417.6409 | 1126277.7473
22 | 2572394.9373 | 1126292.4591 | 2572395.3581 | 1126293.4577 | 2572396.6664 | 1126296.4309 | 2572397.6273 | 1126299.2613 | 2572401.1858 | 1126303.8584 | 2572403.4919 | 1126305.9378 | 2572405.5417 | 1126307.5736 | 2572408.8925 | 1126308.8923 | 2572411.7288 | 1126308.9349 | 2572416.5662 | 1126308.4125
23 | 2572394.9373 | 1126292.4591 | 2572392.6179 | 1126294.215 | 2572391.775 | 1126295.2528 | 2572391.0354 | 1126297.0015 | 2572386.7002 | 1126307.9562
24 | 2572408.8632 | 1126221.6935 | 2572400.3327 | 1126225.2788 | 2572396.9833 | 1126227.0523
25 | 2572455.9397 | 1126223.7106 | 2572461.7876 | 1126225.3645 | 2572468.1918 | 1126225.3352 | 2572474.6013 | 1126224.7723 | 2572479.758 | 1126224.973
26 | 2572481.9671 | 1126250.8084 | 2572479.758 | 1126224.973
27 | 2572513.9179 | 1126254.507 | 2572491.6804 | 1126251.9301 | 2572481.9671 | 1126250.8084
28 | 2572441.0881 | 1126261.575 | 2572454.8495 | 1126253.6213 | 2572469.5928 | 1126250.2857 | 2572481.1242 | 1126250.711 | 2572481.9671 | 1126250.8084
29 | 2572513.9179 | 1126254.507 | 2572534.5992 | 1126256.9036 | 2572556.8313 | 1126258.1252 | 2572565.667 | 1126257.2401 | 2572573.6711 | 1126254.8247 | 2572583.2887 | 1126251.3459 | 2572592.7447 | 1126246.8962
30 | 2572513.9179 | 1126254.507 | 2572511.1075 | 1126240.5025
31 | 2572423.7288 | 1126273.7069 | 2572428.262 | 1126270.6958 | 2572440.0376 | 1126262.1822 | 2572441.0881 | 1126261.575
32 | 2572604.9545 | 1126251.7476 | 2572603.6226 | 1126248.6632 | 2572601.6786 | 1126246.571 | 2572597.9224 | 1126245.91 | 2572593.3554 | 1126246.6089 | 2572592.7447 | 1126246.8962
33 | 2572428.0218 | 1126261.9926 | 2572426.2355 | 1126264.0351 | 2572424.6505 | 1126266.2768 | 2572423.4662 | 1126268.5278 | 2572423.2201 | 1126270.3187 | 2572423.1276 | 1126272.0088 | 2572423.2856 | 1126272.853 | 2572423.7288 | 1126273.7069
34 | 2572423.7288 | 1126273.7069 | 2572417.6409 | 1126277.7473
35 | 2572453.3688 | 1126325.9787 | 2572453.4612 | 1126325.8858 | 2572455.7759 | 1126324.7747 | 2572457.7749 | 1126323.7428 | 2572461.1852 | 1126322.9046 | 2572479.5227 | 1126315.1615 | 2572485.485 | 1126312.2321
36 | 2572447.297 | 1126344.6789 | 2572447.8081 | 1126343.5204 | 2572447.8609 | 1126341.5859 | 2572447.0141 | 1126340.1113 | 2572446.4904 | 1126338.5129 | 2572446.3604 | 1126337.0349 | 2572446.6097 | 1126335.9333 | 2572447.18 | 1126334.2632 | 2572448.2045 | 1126332.4576 | 2572449.6137 | 1126330.528 | 2572452.0497 | 1126327.3041 | 2572453.3688 | 1126325.9787
37 | 2572515.602 | 1126302.3256 | 2572513.6183 | 1126301.866 | 2572505.1482 | 1126303.4832 | 2572497.1085 | 1126306.5214 | 2572485.485 | 1126312.2321
38 | 2572527.4048 | 1126305.0603 | 2572515.602 | 1126302.3256
39 | 2572527.4048 | 1126305.0603 | 2572523.8102 | 1126310.2144
40 | 2572527.4048 | 1126305.0603 | 2572540.8643 | 1126297.908
41 | 2572514.255 | 1126326.1207 | 2572517.566 | 1126319.1677 | 2572523.8102 | 1126310.2144
42 | 2572559.3783 | 1126291.999 | 2572545.9102 | 1126295.2267 | 2572540.8643 | 1126297.908
43 | 2572638.9574 | 1126309.5664 | 2572629.3786 | 1126315.8942
44 | 2572594.8855 | 1126339.0145 | 2572598.5106 | 1126336.2856 | 2572629.3786 | 1126315.8942
45 | 2572594.8855 | 1126339.0145 | 2572590.3071 | 1126342.4598
46 | 2572550.0856 | 1126396.3691 | 2572553.5754 | 1126382.5463 | 2572558.7518 | 1126368.4602 | 2572561.7492 | 1126364.967 | 2572565.5617 | 1126361.0811 | 2572590.3071 | 1126342.4598
47 | 2572550.0856 | 1126396.3691 | 2572534.2583 | 1126401.9106 | 2572531.9952 | 1126402.499
48 | 2572550.0856 | 1126396.3691 | 2572571.427 | 1126395.0602 | 2572590.6239 | 1126391.5934 | 2572600.3501 | 1126389.9817 | 2572607.9363 | 1126387.9824
49 | 2572524.1012 | 1126379.9904 | 2572539.4902 | 1126374.651 | 2572541.8104 | 1126374.7627 | 2572544.6523 | 1126376.0393 | 2572546.3345 | 1126378.2105 | 2572546.5436 | 1126381.8113 | 2572545.6562 | 1126384.9614 | 2572542.2061 | 1126390.5688 | 2572535.0167 | 1126397.5383 | 2572531.8033 | 1126400.9658 | 2572531.9952 | 1126402.499
50 | 2572456.9029 | 1126409.4895 | 2572492.3023 | 1126408.4273 | 2572500.3202 | 1126409.08 | 2572506.3834 | 1126408.6743 | 2572507.6007 | 1126408.591 | 2572518.2244 | 1126406.0746 | 2572531.9952 | 1126402.499
51 | 2572642.2007 | 1126363.6119 | 2572628.5369 | 1126378.9037 | 2572609.6639 | 1126387.5271 | 2572607.9363 | 1126387.9824
52 | 2572582.3223 | 1126284.5446 | 2572582.3223 | 1126284.5446 | 2572573.5242 | 1126288.6088 | 2572559.3783 | 1126291.999
53 | 2572582.3223 | 1126284.5446 | 2572586.2718 | 1126281.9475 | 2572587.2955 | 1126281.1798
54 | 2572587.2955 | 1126281.1798 | 2572590.1198 | 1126279.0619 | 2572602.1701 | 1126261.4428 | 2572604.5482 | 1126253.1622
55 | 2572604.5482 | 1126253.1622 | 2572604.9545 | 1126251.7476 | 2572604.9545 | 1126251.7476
56 | 2572514.255 | 1126326.1207 | 2572503.3769 | 1126348.9649
57 | 2572497.0775 | 1126362.1937 | 2572503.3769 | 1126348.9649
58 | 2572497.0775 | 1126362.1937 | 2572500.1457 | 1126364.1028 | 2572507.0351 | 1126364.0047 | 2572515.1988 | 1126362.8336 | 2572528.9758 | 1126362.2705
59 | 2572497.0775 | 1126362.1937 | 2572492.713 | 1126371.3618
60 | 2572456.9029 | 1126409.4895 | 2572454.1138 | 1126406.2673 | 2572455.7254 | 1126401.4131 | 2572488.3372 | 1126380.5538 | 2572492.713 | 1126371.3618
61 | 2572642.8844 | 1126361.4188 | 2572637.9728 | 1126357.4947 | 2572633.1937 | 1126350.4185
62 | 2572632.5129 | 1126346.5251 | 2572631.6105 | 1126348.0744 | 2572633.1937 | 1126350.4185
63 | 2572642.2007 | 1126363.6119 | 2572642.8844 | 1126361.4188
64 | 2572647.7711 | 1126347.9788 | 2572646.7582 | 1126348.9617 | 2572642.8844 | 1126361.4188
65 | 2572642.2007 | 1126363.6119 | 2572648.1163 | 1126366.3086 | 2572650.2155 | 1126370.3567 | 2572651.2816 | 1126374.3316 | 2572651.4889 | 1126380.945 | 2572650.3346 | 1126388.1205 | 2572646.4652 | 1126396.4533 | 2572639.9435 | 1126404.5314 | 2572634.6037 | 1126409.8138 | 2572631.5378 | 1126411.9797
66 | 2572668.7421 | 1126334.6326 | 2572665.956 | 1126335.4568 | 2572653.1036 | 1126342.7854 | 2572647.7711 | 1126347.9788
67 | 2572654.071 | 1126330.0747 | 2572650.9521 | 1126334.0019 | 2572648.4271 | 1126338.0153 | 2572645.9276 | 1126342.5512 | 2572645.3699 | 1126345.3217 | 2572647.7711 | 1126347.9788
68 | 2572631.5378 | 1126411.9797 | 2572627.9204 | 1126414.5354 | 2572620.8614 | 1126417.9914 | 2572607.5931 | 1126423.6211 | 2572603.26 | 1126424.8265
69 | 2572668.7421 | 1126334.6326 | 2572669.7746 | 1126337.9852 | 2572669.2165 | 1126340.6779 | 2572667.4565 | 1126343.4429 | 2572664.6999 | 1126347.3573
70 | 2572668.7421 | 1126334.6326 | 2572677.9931 | 1126331.8782 | 2572737.3756 | 1126332.3652 | 2572742.0954 | 1126334.8118 | 2572743.2397 | 1126339.042 | 2572740.3102 | 1126343.9244 | 2572724.1976 | 1126344.4086 | 2572718.7661 | 1126346.4898 | 2572715.213 | 1126349.8186 | 2572714.0674 | 1126353.8147 | 2572713.7559 | 1126356.5174
71 | 2572713.7559 | 1126356.5174 | 2572713.5409 | 1126358.386 | 2572715.4427 | 1126363.1019 | 2572720.5932 | 1126368.7481
72 | 2572713.7559 | 1126356.5174 | 2572708.427 | 1126357.4198 | 2572699.1329 | 1126359.9328
73 | 2572692.2243 | 1126372.0115 | 2572691.4247 | 1126367.335 | 2572692.0516 | 1126364.5085 | 2572694.3854 | 1126362.5081 | 2572698.8516 | 1126360.0088 | 2572699.1329 | 1126359.9328
74 | 2572720.5932 | 1126368.7481 | 2572717.7945 | 1126371.8957 | 2572717.4567 | 1126375.5768 | 2572717.123 | 1126380.1806 | 2572717.7212 | 1126386.3365
75 | 2572720.5932 | 1126368.7481 | 2572734.6118 | 1126384.1034
76 | 2572734.6118 | 1126384.1034 | 2572735.9154 | 1126389.478 | 2572735.9154 | 1126389.478
77 | 2572735.9154 | 1126389.478 | 2572732.6589 | 1126398.7529 | 2572707.9312 | 1126414.6949 | 2572694.9725 | 1126420.6207
78 | 2572662.8028 | 1126442.2131 | 2572667.5952 | 1126435.1767 | 2572674.022 | 1126429.9672 | 2572692.6344 | 1126421.6899 | 2572694.9725 | 1126420.6207
79 | 2572662.8028 | 1126442.2131 | 2572656.2977 | 1126445.4442 | 2572647.4084 | 1126449.7422 | 2572626.6284 | 1126457.5515
80 | 2572662.8028 | 1126442.2131 | 2572650.0068 | 1126468.7065 | 2572641.5504 | 1126476.6822 | 2572624.7945 | 1126486.4409 | 2572612.9041 | 1126491.3938
81 | 2572626.6284 | 1126457.5515 | 2572625.5835 | 1126453.1652 | 2572626.2074 | 1126449.694 | 2572629.2176 | 1126445.6338 | 2572633.4652 | 1126442.5241 | 2572642.6593 | 1126437.4688
82 | 2572626.6284 | 1126457.5515 | 2572603.3184 | 1126463.9611
83 | 2572568.9848 | 1126506.3461 | 2572609.1721 | 1126492.9484 | 2572612.9041 | 1126491.3938
84 | 2572591.6458 | 1126467.1708 | 2572603.3184 | 1126463.9611
85 | 2572542.6819 | 1126540.6524 | 2572539.0514 | 1126535.4218 | 2572536.6122 | 1126527.7736 | 2572537.9112 | 1126520.2862 | 2572546.6978 | 1126513.7763 | 2572568.9848 | 1126506.3461
86 | 2572584.0114 | 1126469.4622 | 2572591.6458 | 1126467.1708
87 | 2572542.6819 | 1126540.6524 | 2572552.387 | 1126546.3221 | 2572566.0664 | 1126551.5069
88 | 2572542.6819 | 1126540.6524 | 2572568.0904 | 1126539.0359 | 2572611.7869 | 1126527.9021
89 | 2572606.0204 | 1126581.1621 | 2572602.6621 | 1126579.8323 | 2572582.33 | 1126560.6374 | 2572567.8497 | 1126552.1768 | 2572566.0664 | 1126551.5069
90 | 2572566.0664 | 1126551.5069 | 2572561.2582 | 1126563.4791 | 2572556.1733 | 1126572.3527
91 | 2572698.1293 | 1126506.7518 | 2572699.8351 | 1126512.458 | 2572699.9542 | 1126514.9142 | 2572698.4026 | 1126517.756 | 2572695.6181 | 1126520.6034 | 2572695.3077 | 1126520.889
92 | 2572698.1293 | 1126506.7518 | 2572711.8878 | 1126502.1761 | 2572738.7678 | 1126491.8938 | 2572750.4823 | 1126488.1423
93 | 2572695.3077 | 1126520.889 | 2572680.2615 | 1126534.7355 | 2572676.4073 | 1126537.9488
94 | 2572805.1379 | 1126487.1361 | 2572800.9435 | 1126486.6882 | 2572773.1334 | 1126485.5798 | 2572753.4505 | 1126487.1918 | 2572750.4823 | 1126488.1423
95 | 2572606.0204 | 1126581.1621 | 2572603.8702 | 1126584.518 | 2572602.5185 | 1126587.2366 | 2572599.3168 | 1126591.5422 | 2572593.2483 | 1126599.2181
96 | 2572606.0204 | 1126581.1621 | 2572608.846 | 1126582.2721 | 2572613.5667 | 1126579.8383 | 2572620.0145 | 1126575.5353
97 | 2572674.1728 | 1126539.8117 | 2572676.4073 | 1126537.9488
98 | 2572805.1379 | 1126487.1361 | 2572813.378 | 1126489.2445 | 2572813.7527 | 1126490.31
99 | 2572805.1379 | 1126487.1361 | 2572806.184 | 1126484.9748 | 2572809.5082 | 1126483.8815 | 2572814.5739 | 1126482.7247 | 2572818.2395 | 1126482.119 | 2572819.1156 | 1126481.5703 | 2572819.2124 | 1126480.8251 | 2572818.4589 | 1126479.5167 | 2572816.6945 | 1126477.8794 | 2572814.514 | 1126476.2885 | 2572813.8644 | 1126475.78 | 2572813.6307 | 1126475.2141 | 2572813.6307 | 1126475.2141
100 | 2572620.0145 | 1126575.5353 | 2572628.6947 | 1126569.7424 | 2572650.0016 | 1126557.5876
101 | 2572657.1112 | 1126555.095 | 2572660.888 | 1126550.1421 | 2572668.5841 | 1126544.4711 | 2572674.1728 | 1126539.8117
102 | 2572813.7527 | 1126490.31 | 2572817.2137 | 1126488.7825 | 2572820.5516 | 1126488.9787 | 2572826.3734 | 1126489.7306 | 2572837.6757 | 1126490.7468 | 2572849.6934 | 1126492.4908
103 | 2572813.7527 | 1126490.31 | 2572815.2361 | 1126494.5609
104 | 2572813.6307 | 1126475.2141 | 2572814.0201 | 1126474.412 | 2572816.1034 | 1126473.2687 | 2572821.6518 | 1126471.4872 | 2572826.3959 | 1126469.098 | 2572827.063 | 1126468.3502 | 2572827.2446 | 1126467.6045 | 2572826.8795 | 1126466.9614 | 2572825.8664 | 1126466.1656 | 2572820.4255 | 1126462.744 | 2572817.9129 | 1126460.9766 | 2572817.5944 | 1126460.4111 | 2572817.6202 | 1126459.2993 | 2572818.5951 | 1126458.4501 | 2572819.5724 | 1126458.1344 | 2572836.2957 | 1126453.012 | 2572838.9259 | 1126451.8107 | 2572840.7033 | 1126451.1913 | 2572841.2184 | 1126450.8999 | 2572842.0672 | 1126449.4287
105 | 2572657.1112 | 1126555.095 | 2572655.2132 | 1126554.6145 | 2572650.0016 | 1126557.5876
106 | 2572657.1112 | 1126555.095 | 2572659.1171 | 1126555.5973 | 2572655.6293 | 1126567.5298
107 | 2572648.5874 | 1126585.5488 | 2572654.0479 | 1126572.94 | 2572655.6293 | 1126567.5298
108 | 2572838.614 | 1126543.209 | 2572842.4488 | 1126542.6511 | 2572845.0728 | 1126541.7833 | 2572846.4121 | 1126539.7318 | 2572846.2626 | 1126537.3202 | 2572845.895 | 1126534.4204 | 2572844.3283 | 1126532.2152 | 2572841.646 | 1126530.3931 | 2572838.4487 | 1126529.2099
109 | 2572815.9712 | 1126544.7493 | 2572825.3398 | 1126544.2067 | 2572832.5124 | 1126543.752 | 2572837.4814 | 1126543.3738 | 2572838.614 | 1126543.209
110 | 2572786.3956 | 1126509.2984 | 2572787.5204 | 1126512.6505 | 2572792.8918 | 1126514.3382 | 2572808.4702 | 1126518.5589 | 2572832.653 | 1126527.0653 | 2572838.4487 | 1126529.2099
111 | 2572786.3956 | 1126509.2984 | 2572804.7164 | 1126506.4365 | 2572813.6706 | 1126501.1491 | 2572815.5797 | 1126495.5599 | 2572815.2361 | 1126494.5609
112 | 2572786.3956 | 1126509.2984 | 2572776.2159 | 1126511.1342 | 2572768.9617 | 1126515.7359
113 | 2572815.2361 | 1126494.5609 | 2572807.5479 | 1126495.1959 | 2572796.5913 | 1126495.6567 | 2572784.0949 | 1126496.4357
114 | 2572768.9617 | 1126515.7359 | 2572767.4419 | 1126517.0767 | 2572752.0298 | 1126539.4242
115 | 2572768.9617 | 1126515.7359 | 2572767.7565 | 1126515.0632 | 2572765.5512 | 1126514.7953
116 | 2572766.8257 | 1126529.0744 | 2572761.9256 | 1126534.4547 | 2572759.9948 | 1126536.9425 | 2572757.8837 | 1126538.7529 | 2572755.4073 | 1126539.8869 | 2572752.8878 | 1126539.9872 | 2572752.0298 | 1126539.4242
117 | 2572752.0298 | 1126539.4242 | 2572743.0506 | 1126552.7825
118 | 2572744.8002 | 1126527.273 | 2572752.8026 | 1126522.8457 | 2572758.547 | 1126520.1295 | 2572762.6462 | 1126516.5759 | 2572765.5512 | 1126514.7953
119 | 2572834.8344 | 1126438.2891 | 2572836.4164 | 1126438.7711 | 2572836.9045 | 1126439.3358 | 2572836.7537 | 1126440.0813 | 2572836.1868 | 1126440.8287 | 2572835.4652 | 1126441.4545 | 2572834.435 | 1126441.9927 | 2572833.9199 | 1126442.2841 | 2572833.5904 | 1126442.6969 | 2572833.6164 | 1126443.3415 | 2572834.0574 | 1126443.7175 | 2572835.6404 | 1126444.4107 | 2572839.4186 | 1126446.5614 | 2572840.9729 | 1126447.7328 | 2572841.7783 | 1126448.6074 | 2572842.0672 | 1126449.4287
120 | 2572743.0506 | 1126552.7825 | 2572738.7281 | 1126551.2568 | 2572732.3321 | 1126554.743 | 2572723.3528 | 1126561.2758
121 | 2572743.0506 | 1126552.7825 | 2572738.382 | 1126558.2285 | 2572712.1273 | 1126586.7645
122 | 2572712.1273 | 1126586.7645 | 2572711.4419 | 1126587.5094 | 2572695.0887 | 1126607.3718
123 | 2572881.6185 | 1126775.8003 | 2572880.5788 | 1126775.1839 | 2572858.8213 | 1126765.955 | 2572842.7108 | 1126754.6664 | 2572831.0115 | 1126742.4131 | 2572817.7956 | 1126720.2505 | 2572810.0862 | 1126711.0251 | 2572796.0432 | 1126700.2831 | 2572789.1283 | 1126696.0386
124 | 2572807.6944 | 1126621.488 | 2572793.424 | 1126633.9286 | 2572779.3814 | 1126645.4867 | 2572772.7748 | 1126651.8196 | 2572766.802 | 1126660.3644
125 | 2572817.932 | 1126613.8303 | 2572809.5362 | 1126619.8823 | 2572807.6944 | 1126621.488
126 | 2572693.408 | 1126609.4131 | 2572695.0887 | 1126607.3718

## bus_geodata
| x | y | coords
0 | 2572827.3568 | 1126964.0832
1 | 2572728.9664 | 1126851.4502
2 | 2572729.8347 | 1126721.5039
3 | 2572718.2167 | 1126669.3973
4 | 2572683.1635 | 1126624.089
5 | 2572764.6533 | 1126681.0153
6 | 2572351.6621 | 1126252.9103
7 | 2572348.7934 | 1126254.7407
8 | 2572370.2416 | 1126241.3246
9 | 2572368.1524 | 1126269.7483
10 | 2572346.1002 | 1126296.7081
11 | 2572379.2781 | 1126236.6626
12 | 2572392.8648 | 1126285.8653
13 | 2572393.2133 | 1126230.7141
14 | 2572393.1194 | 1126265.7319
15 | 2572407.329 | 1126273.7709
16 | 2572399.6947 | 1126284.5445
17 | 2572394.9373 | 1126292.4591
18 | 2572396.9833 | 1126227.0523
19 | 2572455.9397 | 1126223.7106
20 | 2572479.758 | 1126224.973
21 | 2572481.9671 | 1126250.8084
22 | 2572513.9179 | 1126254.507
23 | 2572441.0881 | 1126261.575
24 | 2572511.1075 | 1126240.5025
25 | 2572408.8632 | 1126221.6935
26 | 2572592.7447 | 1126246.8962
27 | 2572428.0218 | 1126261.9926
28 | 2572423.7288 | 1126273.7069
29 | 2572453.3688 | 1126325.9787
30 | 2572485.485 | 1126312.2321
31 | 2572447.297 | 1126344.6789
32 | 2572515.602 | 1126302.3256
33 | 2572527.4048 | 1126305.0603
34 | 2572523.8102 | 1126310.2144
35 | 2572540.8643 | 1126297.908
36 | 2572386.7002 | 1126307.9562
37 | 2572416.5662 | 1126308.4125
38 | 2572417.6409 | 1126277.7473
39 | 2572629.3786 | 1126315.8942
40 | 2572638.9574 | 1126309.5664
41 | 2572594.8855 | 1126339.0145
42 | 2572590.3071 | 1126342.4598
43 | 2572550.0856 | 1126396.3691
44 | 2572531.9952 | 1126402.499
45 | 2572607.9363 | 1126387.9824
46 | 2572582.3223 | 1126284.5446
47 | 2572559.3783 | 1126291.999
48 | 2572587.2955 | 1126281.1798
49 | 2572604.5482 | 1126253.1622
50 | 2572604.9545 | 1126251.7476
51 | 2572514.255 | 1126326.1207
52 | 2572503.3769 | 1126348.9649
53 | 2572497.0775 | 1126362.1937
54 | 2572528.9758 | 1126362.2705
55 | 2572492.713 | 1126371.3618
56 | 2572456.9029 | 1126409.4895
57 | 2572524.1012 | 1126379.9904
58 | 2572633.1937 | 1126350.4185
59 | 2572642.8844 | 1126361.4188
60 | 2572632.5129 | 1126346.5251
61 | 2572642.2007 | 1126363.6119
62 | 2572647.7711 | 1126347.9788
63 | 2572631.5378 | 1126411.9797
64 | 2572668.7421 | 1126334.6326
65 | 2572654.071 | 1126330.0747
66 | 2572603.26 | 1126424.8265
67 | 2572664.6999 | 1126347.3573
68 | 2572713.7559 | 1126356.5174
69 | 2572699.1329 | 1126359.9328
70 | 2572692.2243 | 1126372.0115
71 | 2572720.5932 | 1126368.7481
72 | 2572717.7212 | 1126386.3365
73 | 2572734.6117 | 1126384.1034
74 | 2572735.9154 | 1126389.478
75 | 2572694.9725 | 1126420.6207
76 | 2572662.8028 | 1126442.2131
77 | 2572626.6284 | 1126457.5515
78 | 2572612.9041 | 1126491.3938
79 | 2572642.6593 | 1126437.4688
80 | 2572603.3184 | 1126463.9611
81 | 2572568.9848 | 1126506.3461
82 | 2572591.6458 | 1126467.1708
83 | 2572542.6819 | 1126540.6524
84 | 2572611.7869 | 1126527.9021
85 | 2572566.0664 | 1126551.5069
86 | 2572698.1293 | 1126506.7518
87 | 2572695.3077 | 1126520.889
88 | 2572750.4823 | 1126488.1423
89 | 2572606.0204 | 1126581.1621
90 | 2572556.1733 | 1126572.3527
91 | 2572676.4073 | 1126537.9488
92 | 2572805.1379 | 1126487.1361
93 | 2572593.2483 | 1126599.2181
94 | 2572620.0145 | 1126575.5353
95 | 2572674.1728 | 1126539.8117
96 | 2572813.7527 | 1126490.31
97 | 2572813.6307 | 1126475.2141
98 | 2572584.0114 | 1126469.4622
99 | 2572657.1112 | 1126555.095
100 | 2572650.0016 | 1126557.5876
101 | 2572655.6293 | 1126567.5298
102 | 2572648.5874 | 1126585.5488
103 | 2572838.614 | 1126543.209
104 | 2572838.4487 | 1126529.2099
105 | 2572815.9712 | 1126544.7493
106 | 2572786.3956 | 1126509.2984
107 | 2572815.2361 | 1126494.5609
108 | 2572768.9617 | 1126515.7359
109 | 2572784.0949 | 1126496.4357
110 | 2572752.0298 | 1126539.4242
111 | 2572765.5512 | 1126514.7953
112 | 2572849.6934 | 1126492.4908
113 | 2572842.0672 | 1126449.4287
114 | 2572834.8344 | 1126438.2891
115 | 2572744.8002 | 1126527.273
116 | 2572766.8257 | 1126529.0744
117 | 2572743.0506 | 1126552.7825
118 | 2572723.3528 | 1126561.2758
119 | 2572712.1273 | 1126586.7645
120 | 2572881.6185 | 1126775.8003
121 | 2572789.1283 | 1126696.0386
122 | 2572766.802 | 1126660.3644
123 | 2572807.6944 | 1126621.488
124 | 2572817.932 | 1126613.8303
125 | 2572663.175 | 1126644.8677
126 | 2572693.408 | 1126609.4131
127 | 2572695.0887 | 1126607.3718
128 | 2572544.3205 | 1126438.5497

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1