## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5405-4_1_2_node_12 | 0.4 | n |  | TRUE
1 | bus_LV_5405-4_1_2_node_13 | 0.4 | n |  | TRUE
2 | bus_LV_5405-4_1_2_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_5405-4_1_2_node_15 | 0.4 | n |  | TRUE
4 | bus_LV_5405-4_1_2_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_5405-4_1_2_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_5405-4_1_2_node_123 | 0.4 | n |  | TRUE
7 | bus_LV_5405-4_1_2_node_121 | 0.4 | n |  | TRUE
8 | bus_LV_5405-4_1_2_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_5405-4_1_2_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_5405-4_1_2_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_5405-4_1_2_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_5405-4_1_2_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_5405-4_1_2_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_5405-4_1_2_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_5405-4_1_2_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_5405-4_1_2_node_109 | 0.4 | n |  | TRUE
17 | bus_LV_5405-4_1_2_node_110 | 0.4 | n |  | TRUE
18 | bus_LV_5405-4_1_2_node_112 | 0.4 | n |  | TRUE
19 | bus_LV_5405-4_1_2_node_114 | 0.4 | n |  | TRUE
20 | bus_LV_5405-4_1_2_node_113 | 0.4 | n |  | TRUE
21 | bus_LV_5405-4_1_2_node_120 | 0.4 | n |  | TRUE
22 | bus_LV_5405-4_1_2_node_122 | 0.4 | n |  | TRUE
23 | bus_LV_5405-4_1_2_node_127 | 0.4 | n |  | TRUE
24 | bus_LV_5405-4_1_2_node_119 | 0.4 | n |  | TRUE
25 | bus_LV_5405-4_1_2_node_125 | 0.4 | n |  | TRUE
26 | bus_LV_5405-4_1_2_node_124 | 0.4 | n |  | TRUE
27 | bus_LV_5405-4_1_2_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_5405-4_1_2_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_5405-4_1_2_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_5405-4_1_2_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_5405-4_1_2_node_111 | 0.4 | n |  | TRUE
32 | bus_LV_5405-4_1_2_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_5405-4_1_2_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_5405-4_1_2_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_5405-4_1_2_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_5405-4_1_2_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5405-4_1_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_5405-4_1_2_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_5405-4_1_2_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_5405-4_1_2_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_5405-4_1_2_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_5405-4_1_2_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5405-4_1_2_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5405-4_1_2_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_5405-4_1_2_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_5405-4_1_2_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_5405-4_1_2_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_5405-4_1_2_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_5405-4_1_2_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_5405-4_1_2_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_5405-4_1_2_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_5405-4_1_2_node_115 | 0.4 | n |  | TRUE
53 | bus_LV_5405-4_1_2_node_116 | 0.4 | n |  | TRUE
54 | bus_LV_5405-4_1_2_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_5405-4_1_2_node_117 | 0.4 | n |  | TRUE
56 | bus_LV_5405-4_1_2_node_118 | 0.4 | n |  | TRUE
57 | bus_LV_5405-4_1_2_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_5405-4_1_2_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_5405-4_1_2_node_165 | 0.4 | n |  | TRUE
60 | bus_LV_5405-4_1_2_node_169 | 0.4 | n |  | TRUE
61 | bus_LV_5405-4_1_2_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_5405-4_1_2_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_5405-4_1_2_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_5405-4_1_2_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_5405-4_1_2_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_5405-4_1_2_node_90 | 0.4 | n |  | TRUE
67 | bus_LV_5405-4_1_2_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_5405-4_1_2_node_91 | 0.4 | n |  | TRUE
69 | bus_LV_5405-4_1_2_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_5405-4_1_2_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_5405-4_1_2_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_5405-4_1_2_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_5405-4_1_2_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_5405-4_1_2_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_5405-4_1_2_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_5405-4_1_2_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_5405-4_1_2_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_5405-4_1_2_node_126 | 0.4 | n |  | TRUE
79 | bus_LV_5405-4_1_2_node_128 | 0.4 | n |  | TRUE
80 | bus_LV_5405-4_1_2_node_129 | 0.4 | n |  | TRUE
81 | bus_LV_5405-4_1_2_node_164 | 0.4 | n |  | TRUE
82 | bus_LV_5405-4_1_2_node_162 | 0.4 | n |  | TRUE
83 | bus_MV_190_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5405-4_1_2_load_12 | 0 | 0.00215 | 0.00053885 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5405-4_1_2_load_13 | 1 | 0.0019145 | 0.00047981 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5405-4_1_2_load_15 | 3 | 0.0024321 | 0.00060955 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5405-4_1_2_load_16 | 4 | 0.00032587 | 8.167e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5405-4_1_2_load_123 | 6 | 0.001475 | 0.00036967 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5405-4_1_2_load_121 | 7 | 0.00062231 | 0.00015596 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5405-4_1_2_load_18 | 8 | 0.0019252 | 0.00048249 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5405-4_1_2_load_51 | 9 | 0.0043839 | 0.0010987 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5405-4_1_2_load_44 | 10 | 0.00083452 | 0.00020915 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5405-4_1_2_load_48 | 12 | 0.0019646 | 0.00049238 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5405-4_1_2_load_49 | 13 | 0.0026741 | 0.00067019 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5405-4_1_2_load_50 | 14 | 0.0026933 | 0.000675 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5405-4_1_2_load_109 | 16 | 0.0051149 | 0.0012819 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5405-4_1_2_load_110 | 17 | 0.0019907 | 0.00049892 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5405-4_1_2_load_112 | 18 | 0.00089723 | 0.00022487 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5405-4_1_2_load_114 | 19 | 0.00168 | 0.00042105 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5405-4_1_2_load_122 | 22 | 0.0006728 | 0.00016862 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5405-4_1_2_load_127 | 23 | 0.00079132 | 0.00019832 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5405-4_1_2_load_125 | 25 | 0.00072453 | 0.00018158 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5405-4_1_2_load_124 | 26 | 0.001423 | 0.00035665 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5405-4_1_2_load_31 | 27 | 0.00054998 | 0.00013784 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5405-4_1_2_load_68 | 28 | 0.0012693 | 0.00031811 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5405-4_1_2_load_53 | 29 | 0.0015514 | 0.00038881 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5405-4_1_2_load_47 | 30 | 0.00097498 | 0.00024435 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5405-4_1_2_load_111 | 31 | 0.0014081 | 0.00035291 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5405-4_1_2_load_71 | 33 | 0.00044686 | 0.00011199 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5405-4_1_2_load_64 | 34 | 0.0022216 | 0.00055677 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5405-4_1_2_load_54 | 35 | 0.0015034 | 0.00037678 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5405-4_1_2_load_33 | 36 | 0.00069042 | 0.00017304 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5405-4_1_2_load_34 | 37 | 0.00036503 | 9.1485e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5405-4_1_2_load_41 | 38 | 0.00037102 | 9.2987e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5405-4_1_2_load_42 | 39 | 0.00038945 | 9.7604e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5405-4_1_2_load_35 | 40 | 0.00067122 | 0.00016822 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5405-4_1_2_load_58 | 44 | 0.00074973 | 0.0001879 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5405-4_1_2_load_39 | 45 | 0.0027679 | 0.0006937 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5405-4_1_2_load_40 | 46 | 0.0027835 | 0.00069761 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5405-4_1_2_load_61 | 47 | 0.001287 | 0.00032256 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5405-4_1_2_load_62 | 49 | 0.0011974 | 0.00030009 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5405-4_1_2_load_46 | 51 | 0.0013151 | 0.00032961 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5405-4_1_2_load_115 | 52 | 0.00088362 | 0.00022146 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5405-4_1_2_load_116 | 53 | 0.00056469 | 0.00014152 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5405-4_1_2_load_118 | 56 | 0.00072477 | 0.00018164 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5405-4_1_2_load_55 | 57 | 0.00033669 | 8.4382e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5405-4_1_2_load_56 | 58 | 0.0026861 | 0.00067319 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5405-4_1_2_load_165 | 59 | 0.0014571 | 0.00036518 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5405-4_1_2_load_169 | 60 | 0.00088607 | 0.00022207 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5405-4_1_2_load_63 | 61 | 0.0010398 | 0.00026061 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5405-4_1_2_load_66 | 63 | 0.0012297 | 0.00030819 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5405-4_1_2_load_67 | 64 | 0.0015622 | 0.00039151 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5405-4_1_2_load_89 | 65 | 0.0019394 | 0.00048607 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5405-4_1_2_load_80 | 67 | 0.00086875 | 0.00021773 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5405-4_1_2_load_91 | 68 | 0.0012691 | 0.00031806 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5405-4_1_2_load_79 | 69 | 0.0024183 | 0.00060609 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5405-4_1_2_load_82 | 71 | 0.0011882 | 0.00029779 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5405-4_1_2_load_83 | 72 | 0.00092865 | 0.00023274 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5405-4_1_2_load_87 | 74 | 0.0010865 | 0.00027231 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5405-4_1_2_load_84 | 75 | 0.00080608 | 0.00020202 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5405-4_1_2_load_88 | 77 | 0.0016786 | 0.0004207 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5405-4_1_2_load_129 | 80 | 0.00092034 | 0.00023066 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5405-4_1_2_load_164 | 81 | 0.0013447 | 0.00033701 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5405-4_1_2_load_162 | 82 | 0.0014558 | 0.00036485 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5405-4_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5405-4_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.059586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5405-4_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.030375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5405-4_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.038524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5405-4_1_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.039107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5405-4_1_2_line_5 | NAYY 4x150 SE | 3 | 8 | 0.069888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5405-4_1_2_line_6 | NAYY 4x150 SE | 3 | 9 | 0.050103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5405-4_1_2_line_7 | NAYY 4x150 SE | 4 | 27 | 0.02789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5405-4_1_2_line_8 | NAYY 4x150 SE | 5 | 28 | 0.04357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5405-4_1_2_line_9 | NAYY 4x150 SE | 6 | 7 | 0.075471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5405-4_1_2_line_10 | NAYY 4x150 SE | 7 | 22 | 0.018878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5405-4_1_2_line_11 | NAYY 4x150 SE | 8 | 29 | 0.015207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5405-4_1_2_line_12 | NAYY 4x150 SE | 9 | 13 | 0.0010269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5405-4_1_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.034159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5405-4_1_2_line_14 | NAYY 4x150 SE | 11 | 51 | 0.014406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5405-4_1_2_line_15 | NAYY 4x150 SE | 11 | 30 | 0.0049944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5405-4_1_2_line_16 | NAYY 4x150 SE | 12 | 13 | 0.0044531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5405-4_1_2_line_17 | NAYY 4x150 SE | 12 | 14 | 0.017077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5405-4_1_2_line_18 | NAYY 4x150 SE | 14 | 15 | 0.02572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5405-4_1_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.02556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5405-4_1_2_line_20 | NAYY 4x150 SE | 15 | 17 | 0.0090646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5405-4_1_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.026421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5405-4_1_2_line_22 | NAYY 4x150 SE | 18 | 31 | 0.011228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5405-4_1_2_line_23 | NAYY 4x150 SE | 19 | 20 | 0.02279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5405-4_1_2_line_24 | NAYY 4x150 SE | 20 | 30 | 0.01062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5405-4_1_2_line_25 | NAYY 4x150 SE | 20 | 31 | 0.035685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5405-4_1_2_line_26 | NAYY 4x150 SE | 21 | 22 | 0.031524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5405-4_1_2_line_27 | NAYY 4x150 SE | 21 | 23 | 0.00055742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5405-4_1_2_line_28 | NAYY 4x150 SE | 21 | 24 | 0.043745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5405-4_1_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.033908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5405-4_1_2_line_30 | NAYY 4x150 SE | 24 | 55 | 0.014635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5405-4_1_2_line_31 | NAYY 4x150 SE | 24 | 56 | 0.076815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5405-4_1_2_line_32 | NAYY 4x150 SE | 25 | 26 | 0.04615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5405-4_1_2_line_33 | NAYY 4x150 SE | 26 | 78 | 0.098266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5405-4_1_2_line_34 | NAYY 4x150 SE | 27 | 32 | 0.025956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5405-4_1_2_line_35 | NAYY 4x150 SE | 27 | 33 | 0.080905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5405-4_1_2_line_36 | NAYY 4x150 SE | 28 | 34 | 0.048025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5405-4_1_2_line_37 | NAYY 4x150 SE | 29 | 35 | 0.0059557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5405-4_1_2_line_38 | NAYY 4x150 SE | 32 | 36 | 0.029404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5405-4_1_2_line_39 | NAYY 4x150 SE | 32 | 37 | 0.0046986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5405-4_1_2_line_40 | NAYY 4x150 SE | 34 | 61 | 0.051634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5405-4_1_2_line_41 | NAYY 4x150 SE | 35 | 54 | 0.044742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5405-4_1_2_line_42 | NAYY 4x150 SE | 37 | 38 | 0.04407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5405-4_1_2_line_43 | NAYY 4x150 SE | 38 | 39 | 0.060244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5405-4_1_2_line_44 | NAYY 4x150 SE | 39 | 44 | 0.028611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5405-4_1_2_line_45 | NAYY 4x150 SE | 40 | 41 | 0.027556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5405-4_1_2_line_46 | NAYY 4x150 SE | 40 | 42 | 0.021641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5405-4_1_2_line_47 | NAYY 4x150 SE | 41 | 43 | 0.010325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5405-4_1_2_line_48 | NAYY 4x150 SE | 41 | 44 | 0.065787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5405-4_1_2_line_49 | NAYY 4x150 SE | 42 | 45 | 0.01159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5405-4_1_2_line_50 | NAYY 4x150 SE | 42 | 46 | 0.039376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5405-4_1_2_line_51 | NAYY 4x150 SE | 43 | 47 | 0.017685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5405-4_1_2_line_52 | NAYY 4x150 SE | 45 | 48 | 0.0074804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5405-4_1_2_line_53 | NAYY 4x150 SE | 47 | 49 | 0.020274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5405-4_1_2_line_54 | NAYY 4x150 SE | 48 | 50 | 0.003887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5405-4_1_2_line_55 | NAYY 4x150 SE | 49 | 60 | 0.046817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5405-4_1_2_line_56 | NAYY 4x150 SE | 50 | 59 | 0.033324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5405-4_1_2_line_57 | NAYY 4x150 SE | 51 | 52 | 0.014929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5405-4_1_2_line_58 | NAYY 4x150 SE | 52 | 53 | 0.009676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5405-4_1_2_line_59 | NAYY 4x150 SE | 53 | 55 | 0.0080328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5405-4_1_2_line_60 | NAYY 4x150 SE | 54 | 58 | 0.036161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5405-4_1_2_line_61 | NAYY 4x150 SE | 57 | 58 | 0.049006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5405-4_1_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.01287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5405-4_1_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.012315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5405-4_1_2_line_64 | NAYY 4x150 SE | 62 | 64 | 0.059368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5405-4_1_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.015758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5405-4_1_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.011627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5405-4_1_2_line_67 | NAYY 4x150 SE | 66 | 68 | 0.004237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5405-4_1_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.063592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5405-4_1_2_line_69 | NAYY 4x150 SE | 67 | 69 | 0.016418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5405-4_1_2_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0039883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5405-4_1_2_line_71 | NAYY 4x150 SE | 70 | 71 | 0.019945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5405-4_1_2_line_72 | NAYY 4x150 SE | 70 | 72 | 0.017732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5405-4_1_2_line_73 | NAYY 4x150 SE | 72 | 73 | 0.044674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5405-4_1_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.059048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5405-4_1_2_line_75 | NAYY 4x150 SE | 73 | 75 | 0.014197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5405-4_1_2_line_76 | NAYY 4x150 SE | 74 | 81 | 0.046298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5405-4_1_2_line_77 | NAYY 4x150 SE | 75 | 76 | 0.077423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5405-4_1_2_line_78 | NAYY 4x150 SE | 76 | 77 | 0.06239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5405-4_1_2_line_79 | NAYY 4x150 SE | 77 | 82 | 0.032639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5405-4_1_2_line_80 | NAYY 4x150 SE | 78 | 79 | 0.031897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5405-4_1_2_line_81 | NAYY 4x150 SE | 79 | 80 | 0.044098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5405-4_1_2_trafo_13 | 0.25 MVA 20/0.4 kV | 83 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2572712.5288 | 1125501.6533 | 2572711.6118 | 1125500.0122 | 2572710.0304 | 1125496.3175 | 2572704.224 | 1125489.5268
1 | 2572658.88 | 1125507.8772 | 2572659.0398 | 1125505.7199 | 2572661.4624 | 1125502.8297 | 2572663.9322 | 1125501.8735 | 2572670.4005 | 1125500.488 | 2572677.6983 | 1125500.1659 | 2572686.9442 | 1125501.1133 | 2572693.308 | 1125502.1962 | 2572698.6326 | 1125503.5727 | 2572702.2283 | 1125504.4124 | 2572705.1134 | 1125504.9441 | 2572707.88 | 1125504.8426 | 2572709.6977 | 1125504.5453 | 2572711.3445 | 1125503.9598 | 2572712.4964 | 1125503.0097 | 2572712.5288 | 1125501.6533 | 2572712.5288 | 1125501.6533
2 | 2572681.8086 | 1125469.6761 | 2572682.4325 | 1125469.9182 | 2572688.5502 | 1125472.8142 | 2572692.7374 | 1125476.6193 | 2572702.607 | 1125487.6357 | 2572704.224 | 1125489.5268
3 | 2572658.88 | 1125507.8772 | 2572633.0112 | 1125517.7106 | 2572622.3985 | 1125519.9653
4 | 2572694.9439 | 1125519.6196 | 2572678.6132 | 1125509.8554 | 2572669.2057 | 1125507.2745 | 2572660.2112 | 1125507.3709 | 2572658.88 | 1125507.8772
5 | 2572654.687 | 1125455.4303 | 2572653.574 | 1125456.2311 | 2572651.6845 | 1125457.6849 | 2572649.7064 | 1125458.3053 | 2572648.0593 | 1125458.8463 | 2572646.696 | 1125459.0637 | 2572645.0475 | 1125459.2713 | 2572644.3882 | 1125460.0636 | 2572644.1453 | 1125460.8873 | 2572644.6878 | 1125461.5408 | 2572645.3056 | 1125461.7825 | 2572647.4492 | 1125461.984 | 2572651.7003 | 1125461.1754 | 2572656.7686 | 1125460.4187 | 2572658.3778 | 1125460.0335 | 2572659.326 | 1125460.0736 | 2572659.6148 | 1125460.8505 | 2572658.9639 | 1125461.8095 | 2572657.3567 | 1125462.6283 | 2572653.7792 | 1125465.7794 | 2572652.4658 | 1125466.8081 | 2572652.0144 | 1125467.555 | 2572652.3486 | 1125468.1649 | 2572653.2587 | 1125468.283 | 2572657.011 | 1125467.9769 | 2572661.1726 | 1125467.8358 | 2572668.0608 | 1125467.2709 | 2572671.8139 | 1125467.1316 | 2572677.9309 | 1125468.1711 | 2572681.8086 | 1125469.6761
6 | 2572681.8086 | 1125469.6761 | 2572724.4432 | 1125443.3593
7 | 2572594.6711 | 1125522.2392 | 2572615.9549 | 1125521.3343 | 2572622.3985 | 1125519.9653
8 | 2572694.9439 | 1125519.6196 | 2572693.4399 | 1125521.0939 | 2572694.2182 | 1125522.7578 | 2572697.7178 | 1125526.2104 | 2572705.0923 | 1125530.9349 | 2572717.4391 | 1125537.5045 | 2572721.0618 | 1125539.2223 | 2572722.8767 | 1125541.7264 | 2572722.8901 | 1125544.6834 | 2572721.7 | 1125546.1745
9 | 2572872.3259 | 1125397.0803 | 2572869.0238 | 1125399.8298 | 2572865.5211 | 1125400.7905 | 2572860.413 | 1125401.2915 | 2572855.2942 | 1125401.1256 | 2572849.8979 | 1125400.9609 | 2572844.0272 | 1125399.8535 | 2572838.995 | 1125396.6634 | 2572834.3307 | 1125391.304 | 2572830.8885 | 1125385.1831 | 2572829.0666 | 1125379.4329 | 2572828.6672 | 1125374.6212 | 2572829.1208 | 1125370.9396 | 2572829.9257 | 1125359.7081
10 | 2572829.9257 | 1125359.7081 | 2572829.9257 | 1125359.7081 | 2572831.5146 | 1125354.7985 | 2572833.806 | 1125350.1526 | 2572836.4556 | 1125346.3054 | 2572839.2347 | 1125343.6178
11 | 2572654.687 | 1125455.4303 | 2572658.176 | 1125452.9197 | 2572659.4508 | 1125451.8912 | 2572660.2314 | 1125450.6537 | 2572660.9623 | 1125448.6716 | 2572661.2841 | 1125446.5358 | 2572661.3272 | 1125445.8353 | 2572661.0262 | 1125444.0691 | 2572660.283 | 1125443.3387
12 | 2572724.4432 | 1125443.3593 | 2572725.4405 | 1125443.1143
13 | 2572781.8702 | 1125358.8022 | 2572784.7933 | 1125360.89 | 2572797.6476 | 1125372.2821 | 2572807.4697 | 1125381.3838
14 | 2572781.8702 | 1125358.8022 | 2572781.9591 | 1125358.0014 | 2572785.7826 | 1125344.9492
15 | 2572781.8702 | 1125358.8022 | 2572781.3382 | 1125363.7681
16 | 2572729.7649 | 1125442.0518 | 2572725.4405 | 1125443.1143
17 | 2572729.7649 | 1125442.0518 | 2572746.3485 | 1125437.9771
18 | 2572758.3331 | 1125419.1496 | 2572758.5447 | 1125423.3285 | 2572756.1713 | 1125433.6888 | 2572752.0991 | 1125436.5642 | 2572746.3485 | 1125437.9771
19 | 2572758.3331 | 1125419.1496 | 2572760.4633 | 1125419.7625 | 2572763.3233 | 1125423.2624 | 2572767.3488 | 1125428.8137 | 2572771.154 | 1125431.6757 | 2572775.2353 | 1125437.6491
20 | 2572758.3331 | 1125419.1496 | 2572758.2058 | 1125416.5489 | 2572753.7231 | 1125411.8962
21 | 2572740.4948 | 1125389.66 | 2572741.6854 | 1125395.5798 | 2572748.3628 | 1125406.3327 | 2572753.7231 | 1125411.8962
22 | 2572745.1677 | 1125379.8562 | 2572741.6489 | 1125384.0965 | 2572740.7217 | 1125387.0021 | 2572740.4948 | 1125389.66 | 2572740.4948 | 1125389.66
23 | 2572779.7181 | 1125373.8083 | 2572779.596 | 1125375.7764 | 2572778.1552 | 1125382.742 | 2572777.3968 | 1125385.469 | 2572773.1255 | 1125395.471
24 | 2572779.7181 | 1125373.8083 | 2572780.2653 | 1125373.7835 | 2572781.3382 | 1125363.7681
25 | 2572779.7181 | 1125373.8083 | 2572761.1759 | 1125374.4812 | 2572752.9498 | 1125375.819 | 2572748.6878 | 1125377.6281 | 2572745.1677 | 1125379.8562
26 | 2572861.3024 | 1125323.2153 | 2572861.0235 | 1125326.3404 | 2572859.9855 | 1125328.6128 | 2572858.2935 | 1125331.1662 | 2572853.7638 | 1125333.4544 | 2572845.3407 | 1125338.9728 | 2572840.0243 | 1125342.8543 | 2572839.2347 | 1125343.6178
27 | 2572861.8383 | 1125323.3688 | 2572861.3024 | 1125323.2153
28 | 2572861.3024 | 1125323.2153 | 2572857.6995 | 1125322.4868 | 2572843.8319 | 1125318.8696 | 2572818.2549 | 1125315.0496
29 | 2572861.8383 | 1125323.3688 | 2572894.4355 | 1125332.7044 | 2572894.4355 | 1125332.7044
30 | 2572818.2549 | 1125315.0496 | 2572814.5806 | 1125319.0126 | 2572807.5043 | 1125320.6453 | 2572805.759 | 1125321.6203
31 | 2572818.2549 | 1125315.0496 | 2572800.7147 | 1125312.3496 | 2572795.2612 | 1125311.4738 | 2572783.0861 | 1125310.5727 | 2572770.6307 | 1125310.729 | 2572764.5511 | 1125311.19 | 2572757.8109 | 1125312.1432 | 2572752.1057 | 1125313.5585 | 2572747.0454 | 1125316.1271 | 2572743.5849 | 1125318.8804
32 | 2572940.2594 | 1125338.185 | 2572894.4355 | 1125332.7044
33 | 2573037.7802 | 1125349.7479 | 2573033.5783 | 1125349.5111 | 2573015.6184 | 1125347.7127 | 2572994.6357 | 1125343.927 | 2572972.1043 | 1125341.9937 | 2572940.2594 | 1125338.185
34 | 2572568.7184 | 1125522.2717 | 2572591.6571 | 1125522.3674 | 2572594.6711 | 1125522.2392
35 | 2572594.6711 | 1125522.2392 | 2572605.2861 | 1125602.4453
36 | 2572721.7 | 1125546.1745 | 2572706.9944 | 1125591.8926
37 | 2572654.4612 | 1125442.8204 | 2572657.2661 | 1125442.6521 | 2572659.1629 | 1125442.7991 | 2572660.283 | 1125443.3387
38 | 2572568.7184 | 1125522.2717 | 2572567.7969 | 1125524.7215 | 2572558.9199 | 1125526.9297 | 2572541.5707 | 1125530.5104
39 | 2572568.7184 | 1125522.2717 | 2572566.6295 | 1125522.2589 | 2572564.0637 | 1125521.7826
40 | 2572756.3419 | 1125607.0886 | 2572706.9944 | 1125591.8926
41 | 2572654.4612 | 1125442.8204 | 2572623.1071 | 1125410.9024
42 | 2572520.3515 | 1125519.4299 | 2572523.3156 | 1125519.666 | 2572534.3363 | 1125519.36 | 2572546.0556 | 1125518.4396 | 2572564.0637 | 1125521.7826
43 | 2572520.3515 | 1125519.4299 | 2572511.1714 | 1125518.6986 | 2572497.4062 | 1125517.1828 | 2572482.5714 | 1125514.3936 | 2572468.4356 | 1125511.0787 | 2572460.986 | 1125509.7196
44 | 2572460.986 | 1125509.7196 | 2572448.995 | 1125483.7428
45 | 2572471.7285 | 1125422.0082 | 2572487.1353 | 1125425.095 | 2572498.9274 | 1125424.0019
46 | 2572520.1638 | 1125420.0752 | 2572506.1811 | 1125423.3295 | 2572498.9274 | 1125424.0019
47 | 2572469.8554 | 1125411.8561 | 2572471.7285 | 1125422.0082
48 | 2572448.995 | 1125483.7428 | 2572471.7285 | 1125422.0082
49 | 2572520.1638 | 1125420.0752 | 2572531.4505 | 1125417.443
50 | 2572520.1638 | 1125420.0752 | 2572519.6257 | 1125410.2617 | 2572517.8373 | 1125403.4664 | 2572515.1304 | 1125399.7658 | 2572512.1231 | 1125397.823 | 2572509.5368 | 1125396.9121 | 2572497.9243 | 1125397.0587
51 | 2572469.8554 | 1125411.8561 | 2572460.2977 | 1125411.8665 | 2572452.2307 | 1125410.8806
52 | 2572538.7354 | 1125415.744 | 2572531.4505 | 1125417.443
53 | 2572431.9642 | 1125410.3507 | 2572441.1682 | 1125410.5087 | 2572452.2307 | 1125410.8806
54 | 2572538.7354 | 1125415.744 | 2572542.5629 | 1125415.004
55 | 2572431.9642 | 1125410.3507 | 2572387.057 | 1125423.585
56 | 2572542.5629 | 1125415.004 | 2572542.8916 | 1125412.7236 | 2572548.5516 | 1125406.4725 | 2572557.8615 | 1125385.8754
57 | 2572791.0307 | 1125331.0658 | 2572789.464 | 1125333.5109 | 2572788.0699 | 1125337.1412 | 2572785.7826 | 1125344.9492
58 | 2572791.0307 | 1125331.0658 | 2572792.1429 | 1125329.33 | 2572798.769 | 1125325.5783
59 | 2572805.759 | 1125321.6203 | 2572798.769 | 1125325.5783
60 | 2572623.1071 | 1125410.9024 | 2572623.2602 | 1125412.358 | 2572620.5356 | 1125414.9494 | 2572615.0709 | 1125418.3759 | 2572609.8063 | 1125420.0451 | 2572602.9918 | 1125421.5768 | 2572596.0707 | 1125423.4092 | 2572591.98 | 1125425.9583
61 | 2572548.1665 | 1125444.889 | 2572553.4755 | 1125443.3906 | 2572563.5424 | 1125441.7996 | 2572570.1509 | 1125440.7357 | 2572576.2446 | 1125438.3401 | 2572581.0857 | 1125435.072 | 2572585.5615 | 1125431.1275 | 2572591.0748 | 1125426.5223 | 2572591.98 | 1125425.9583
62 | 2572768.6416 | 1125610.8762 | 2572756.3419 | 1125607.0886
63 | 2572768.6416 | 1125610.8762 | 2572776.6228 | 1125601.4799
64 | 2572768.6416 | 1125610.8762 | 2572772.331 | 1125612.0045 | 2572767.8311 | 1125622.5412 | 2572765.5862 | 1125628.9323 | 2572780.2835 | 1125633.8128 | 2572782.9809 | 1125635.4459 | 2572800.7002 | 1125637.0445 | 2572801.5079 | 1125637.3009
65 | 2572816.3935 | 1125642.3845 | 2572814.7867 | 1125641.5165 | 2572801.5079 | 1125637.3009
66 | 2572826.6236 | 1125647.9108 | 2572816.3935 | 1125642.3845
67 | 2572825.1489 | 1125643.9377 | 2572826.6236 | 1125647.9108
68 | 2572882.2573 | 1125615.9632 | 2572825.1489 | 1125643.9377
69 | 2572882.2573 | 1125615.9632 | 2572883.7549 | 1125612.536 | 2572887.5519 | 1125606.7494 | 2572892.0568 | 1125603.1651
70 | 2572894.2497 | 1125599.8714 | 2572892.4979 | 1125602.8141 | 2572892.0568 | 1125603.1651
71 | 2572894.2497 | 1125599.8714 | 2572887.474 | 1125599.7129 | 2572880.9634 | 1125596.8074 | 2572877.6282 | 1125591.7741
72 | 2572894.2497 | 1125599.8714 | 2572896.4697 | 1125599.917 | 2572911.0414 | 1125594.6011
73 | 2572954.448 | 1125593.3423 | 2572950.1332 | 1125591.9498 | 2572939.4836 | 1125589.0629 | 2572927.287 | 1125590.0959 | 2572912.914 | 1125593.9179 | 2572911.0414 | 1125594.6011
74 | 2572909.7641 | 1125627.0485 | 2572915.2246 | 1125622.6996 | 2572918.7147 | 1125617.2257 | 2572923.6308 | 1125608.3436 | 2572927.3303 | 1125603.1689 | 2572930.8329 | 1125600.474 | 2572937.5409 | 1125597.5647 | 2572946.933 | 1125595.0435 | 2572954.448 | 1125593.3423
75 | 2572954.448 | 1125593.3423 | 2572962.9591 | 1125595.4719 | 2572968.3759 | 1125595.7411
76 | 2572909.7641 | 1125627.0485 | 2572911.3363 | 1125673.32
77 | 2573042.0756 | 1125617.2951 | 2573030.1626 | 1125611.0786 | 2573014.2435 | 1125605.2914 | 2572989.9325 | 1125598.1634 | 2572975.4714 | 1125596.0938 | 2572968.3759 | 1125595.7411
78 | 2573042.0756 | 1125617.2951 | 2573040.498 | 1125619.57 | 2573036.1643 | 1125620.8344 | 2573031.2325 | 1125622.8019 | 2573022.7331 | 1125626.7308 | 2573009.3091 | 1125632.4715 | 2573003.569 | 1125634.6538 | 2572998.8994 | 1125634.9415 | 2572994.2885 | 1125634.5398 | 2572989.2969 | 1125633.4727 | 2572984.0796 | 1125631.9286
79 | 2572984.0796 | 1125631.9286 | 2572960.4412 | 1125654.4347
80 | 2573045.7833 | 1125377.8261 | 2573044.3466 | 1125377.1433 | 2573041.7716 | 1125375.2984 | 2573039.409 | 1125372.6965 | 2573036.9858 | 1125368.6053 | 2573036.9209 | 1125366.1488 | 2573037.7802 | 1125349.7479
81 | 2573045.7833 | 1125377.8261 | 2573043.9916 | 1125382.2141 | 2573043.4671 | 1125383.8617 | 2573042.4017 | 1125385.2005 | 2573041.019 | 1125386.2739 | 2573038.9856 | 1125386.5942 | 2573034.7165 | 1125386.8357 | 2573030.1708 | 1125387.2784 | 2573026.704 | 1125387.6719 | 2573021.0951 | 1125388.2195 | 2573011.8477 | 1125388.6944 | 2573006.9705 | 1125388.9113

## bus_geodata
| x | y | coords
0 | 2572712.5288 | 1125501.6533
1 | 2572704.224 | 1125489.5268
2 | 2572658.88 | 1125507.8772
3 | 2572681.8086 | 1125469.6761
4 | 2572622.3985 | 1125519.9653
5 | 2572694.9439 | 1125519.6196
6 | 2572872.3259 | 1125397.0803
7 | 2572829.9257 | 1125359.7081
8 | 2572654.687 | 1125455.4303
9 | 2572724.4432 | 1125443.3593
10 | 2572807.4697 | 1125381.3838
11 | 2572781.8702 | 1125358.8022
12 | 2572729.7649 | 1125442.0518
13 | 2572725.4405 | 1125443.1143
14 | 2572746.3485 | 1125437.9771
15 | 2572758.3331 | 1125419.1496
16 | 2572775.2353 | 1125437.6491
17 | 2572753.7231 | 1125411.8962
18 | 2572740.4948 | 1125389.66
19 | 2572773.1255 | 1125395.471
20 | 2572779.7181 | 1125373.8083
21 | 2572861.3024 | 1125323.2153
22 | 2572839.2347 | 1125343.6178
23 | 2572861.8383 | 1125323.3688
24 | 2572818.2549 | 1125315.0496
25 | 2572894.4355 | 1125332.7044
26 | 2572940.2594 | 1125338.185
27 | 2572594.6711 | 1125522.2392
28 | 2572721.7 | 1125546.1745
29 | 2572660.283 | 1125443.3387
30 | 2572781.3382 | 1125363.7682
31 | 2572745.1677 | 1125379.8562
32 | 2572568.7184 | 1125522.2717
33 | 2572605.2861 | 1125602.4453
34 | 2572706.9944 | 1125591.8926
35 | 2572654.4612 | 1125442.8204
36 | 2572541.5707 | 1125530.5104
37 | 2572564.0637 | 1125521.7826
38 | 2572520.3515 | 1125519.4299
39 | 2572460.986 | 1125509.7196
40 | 2572498.9274 | 1125424.0019
41 | 2572471.7285 | 1125422.0082
42 | 2572520.1638 | 1125420.0752
43 | 2572469.8554 | 1125411.8561
44 | 2572448.995 | 1125483.7428
45 | 2572531.4505 | 1125417.443
46 | 2572497.9243 | 1125397.0587
47 | 2572452.2307 | 1125410.8806
48 | 2572538.7354 | 1125415.744
49 | 2572431.9642 | 1125410.3507
50 | 2572542.5629 | 1125415.004
51 | 2572785.7826 | 1125344.9492
52 | 2572791.0307 | 1125331.0658
53 | 2572798.769 | 1125325.5783
54 | 2572623.1071 | 1125410.9024
55 | 2572805.759 | 1125321.6203
56 | 2572743.5849 | 1125318.8804
57 | 2572548.1665 | 1125444.889
58 | 2572591.98 | 1125425.9583
59 | 2572557.8615 | 1125385.8754
60 | 2572387.057 | 1125423.585
61 | 2572756.3419 | 1125607.0886
62 | 2572768.6416 | 1125610.8762
63 | 2572776.6228 | 1125601.4799
64 | 2572801.5079 | 1125637.3009
65 | 2572816.3935 | 1125642.3845
66 | 2572826.6236 | 1125647.9108
67 | 2572882.2573 | 1125615.9632
68 | 2572825.1489 | 1125643.9377
69 | 2572892.0568 | 1125603.1651
70 | 2572894.2497 | 1125599.8714
71 | 2572877.6282 | 1125591.7741
72 | 2572911.0414 | 1125594.6011
73 | 2572954.448 | 1125593.3423
74 | 2572909.7641 | 1125627.0485
75 | 2572968.3759 | 1125595.7411
76 | 2573042.0756 | 1125617.2951
77 | 2572984.0796 | 1125631.9286
78 | 2573037.7802 | 1125349.748
79 | 2573045.7833 | 1125377.8261
80 | 2573006.9705 | 1125388.9113
81 | 2572911.3363 | 1125673.32
82 | 2572960.4412 | 1125654.4347
83 | 2572658.88 | 1125507.8772

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1