## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5405-9_2_4_node_153 | 0.4 | n |  | TRUE
1 | bus_LV_5405-9_2_4_node_151 | 0.4 | n |  | TRUE
2 | bus_LV_5405-9_2_4_node_154 | 0.4 | n |  | TRUE
3 | bus_LV_5405-9_2_4_node_146 | 0.4 | n |  | TRUE
4 | bus_LV_5405-9_2_4_node_152 | 0.4 | n |  | TRUE
5 | bus_LV_5405-9_2_4_node_140 | 0.4 | n |  | TRUE
6 | bus_LV_5405-9_2_4_node_143 | 0.4 | n |  | TRUE
7 | bus_LV_5405-9_2_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_5405-9_2_4_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_5405-9_2_4_node_142 | 0.4 | n |  | TRUE
10 | bus_LV_5405-9_2_4_node_144 | 0.4 | n |  | TRUE
11 | bus_LV_5405-9_2_4_node_145 | 0.4 | n |  | TRUE
12 | bus_LV_5405-9_2_4_node_150 | 0.4 | n |  | TRUE
13 | bus_LV_5405-9_2_4_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_5405-9_2_4_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_5405-9_2_4_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_5405-9_2_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_5405-9_2_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_5405-9_2_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_5405-9_2_4_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_5405-9_2_4_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_5405-9_2_4_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_5405-9_2_4_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_5405-9_2_4_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_5405-9_2_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_5405-9_2_4_node_147 | 0.4 | n |  | TRUE
26 | bus_LV_5405-9_2_4_node_197 | 0.4 | n |  | TRUE
27 | bus_LV_5405-9_2_4_node_192 | 0.4 | n |  | TRUE
28 | bus_LV_5405-9_2_4_node_178 | 0.4 | n |  | TRUE
29 | bus_LV_5405-9_2_4_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_5405-9_2_4_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_5405-9_2_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_5405-9_2_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_5405-9_2_4_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_5405-9_2_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_5405-9_2_4_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_5405-9_2_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_5405-9_2_4_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_5405-9_2_4_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_5405-9_2_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_5405-9_2_4_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_5405-9_2_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_5405-9_2_4_node_149 | 0.4 | n |  | TRUE
43 | bus_LV_5405-9_2_4_node_181 | 0.4 | n |  | TRUE
44 | bus_LV_5405-9_2_4_node_182 | 0.4 | n |  | TRUE
45 | bus_LV_5405-9_2_4_node_183 | 0.4 | n |  | TRUE
46 | bus_LV_5405-9_2_4_node_184 | 0.4 | n |  | TRUE
47 | bus_LV_5405-9_2_4_node_185 | 0.4 | n |  | TRUE
48 | bus_LV_5405-9_2_4_node_186 | 0.4 | n |  | TRUE
49 | bus_LV_5405-9_2_4_node_187 | 0.4 | n |  | TRUE
50 | bus_LV_5405-9_2_4_node_188 | 0.4 | n |  | TRUE
51 | bus_LV_5405-9_2_4_node_189 | 0.4 | n |  | TRUE
52 | bus_LV_5405-9_2_4_node_190 | 0.4 | n |  | TRUE
53 | bus_LV_5405-9_2_4_node_191 | 0.4 | n |  | TRUE
54 | bus_LV_5405-9_2_4_node_193 | 0.4 | n |  | TRUE
55 | bus_LV_5405-9_2_4_node_194 | 0.4 | n |  | TRUE
56 | bus_LV_5405-9_2_4_node_195 | 0.4 | n |  | TRUE
57 | bus_LV_5405-9_2_4_node_196 | 0.4 | n |  | TRUE
58 | bus_LV_5405-9_2_4_node_148 | 0.4 | n |  | TRUE
59 | bus_MV_190_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5405-9_2_4_load_153 | 0 | 0.0026819 | 0.00067216 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5405-9_2_4_load_151 | 1 | 0.001348 | 0.00033783 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5405-9_2_4_load_154 | 2 | 0.0028989 | 0.00072654 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5405-9_2_4_load_152 | 4 | 0.0011459 | 0.00028719 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5405-9_2_4_load_140 | 5 | 0.0053974 | 0.0013527 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5405-9_2_4_load_143 | 6 | 0.007212 | 0.0018075 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5405-9_2_4_load_15 | 7 | 0.00074597 | 0.00018696 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5405-9_2_4_load_142 | 9 | 0.0045754 | 0.0011467 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5405-9_2_4_load_145 | 11 | 0.0033408 | 0.00083729 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5405-9_2_4_load_21 | 13 | 0.0038963 | 0.00097651 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5405-9_2_4_load_22 | 14 | 0.012756 | 0.0031969 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5405-9_2_4_load_25 | 17 | 0.0014023 | 0.00035144 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5405-9_2_4_load_26 | 18 | 0.013252 | 0.0033213 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5405-9_2_4_load_147 | 25 | 0.0014221 | 0.00035642 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5405-9_2_4_load_197 | 26 | 0.0030426 | 0.00076256 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5405-9_2_4_load_192 | 27 | 0.0015936 | 0.00039941 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5405-9_2_4_load_178 | 28 | 0.0017757 | 0.00044504 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5405-9_2_4_load_41 | 29 | 0.0011583 | 0.00029031 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5405-9_2_4_load_47 | 30 | 0.0037263 | 0.00093391 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5405-9_2_4_load_33 | 31 | 0.009794 | 0.0024546 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5405-9_2_4_load_37 | 33 | 0.00081741 | 0.00020486 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5405-9_2_4_load_42 | 35 | 0.002449 | 0.00061377 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5405-9_2_4_load_39 | 36 | 0.001188 | 0.00029774 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5405-9_2_4_load_43 | 37 | 0.010437 | 0.0026157 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5405-9_2_4_load_48 | 38 | 0.001373 | 0.0003441 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5405-9_2_4_load_45 | 40 | 0.0012728 | 0.00031899 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5405-9_2_4_load_46 | 41 | 0.0041624 | 0.0010432 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5405-9_2_4_load_181 | 43 | 0.0016483 | 0.0004131 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5405-9_2_4_load_182 | 44 | 0.00097925 | 0.00024542 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5405-9_2_4_load_183 | 45 | 0.00095834 | 0.00024018 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5405-9_2_4_load_184 | 46 | 0.00097643 | 0.00024472 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5405-9_2_4_load_186 | 48 | 0.001006 | 0.00025212 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5405-9_2_4_load_187 | 49 | 0.00098103 | 0.00024587 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5405-9_2_4_load_188 | 50 | 0.00095611 | 0.00023962 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5405-9_2_4_load_190 | 52 | 0.0016545 | 0.00041466 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5405-9_2_4_load_191 | 53 | 0.0018703 | 0.00046873 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5405-9_2_4_load_193 | 54 | 0.0035329 | 0.00088542 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5405-9_2_4_load_195 | 56 | 0.003978 | 0.00099697 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5405-9_2_4_load_196 | 57 | 0.0033325 | 0.0008352 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5405-9_2_4_load_148 | 58 | 0.0043728 | 0.0010959 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5405-9_2_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0099932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5405-9_2_4_line_1 | NAYY 4x150 SE | 1 | 4 | 0.043829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_5405-9_2_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.034549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5405-9_2_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_5405-9_2_4_line_4 | NAYY 4x150 SE | 3 | 12 | 0.049946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_5405-9_2_4_line_5 | NAYY 4x150 SE | 3 | 10 | 0.18426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5405-9_2_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.015001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5405-9_2_4_line_7 | NAYY 4x150 SE | 6 | 10 | 0.014484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5405-9_2_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.10756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5405-9_2_4_line_9 | NAYY 4x150 SE | 8 | 38 | 0.036816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5405-9_2_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.018763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5405-9_2_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.016968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5405-9_2_4_line_12 | NAYY 4x150 SE | 12 | 19 | 0.098896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_5405-9_2_4_line_13 | NAYY 4x150 SE | 12 | 54 | 0.00713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5405-9_2_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5405-9_2_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.026894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5405-9_2_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.12576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_5405-9_2_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.045524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5405-9_2_4_line_18 | NAYY 4x150 SE | 15 | 18 | 0.017061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5405-9_2_4_line_19 | NAYY 4x150 SE | 16 | 19 | 0.052799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_5405-9_2_4_line_20 | NAYY 4x150 SE | 16 | 20 | 0.043497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5405-9_2_4_line_21 | NAYY 4x150 SE | 16 | 21 | 0.10742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5405-9_2_4_line_22 | NAYY 4x150 SE | 16 | 22 | 0.075796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5405-9_2_4_line_23 | NAYY 4x150 SE | 17 | 23 | 0.027203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5405-9_2_4_line_24 | NAYY 4x150 SE | 18 | 24 | 0.014831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5405-9_2_4_line_25 | NAYY 4x150 SE | 19 | 25 | 0.066995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5405-9_2_4_line_26 | NAYY 4x150 SE | 20 | 26 | 0.080414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5405-9_2_4_line_27 | NAYY 4x150 SE | 21 | 27 | 0.070855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5405-9_2_4_line_28 | NAYY 4x150 SE | 22 | 28 | 0.044381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5405-9_2_4_line_29 | NAYY 4x150 SE | 23 | 29 | 0.0057051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5405-9_2_4_line_30 | NAYY 4x150 SE | 24 | 30 | 0.050357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5405-9_2_4_line_31 | NAYY 4x150 SE | 25 | 58 | 0.0098197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5405-9_2_4_line_32 | NAYY 4x150 SE | 27 | 53 | 0.0035026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5405-9_2_4_line_33 | NAYY 4x150 SE | 28 | 42 | 0.0082117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5405-9_2_4_line_34 | NAYY 4x150 SE | 29 | 33 | 0.020223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5405-9_2_4_line_35 | NAYY 4x150 SE | 30 | 41 | 0.0053962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5405-9_2_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.047793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5405-9_2_4_line_37 | NAYY 4x150 SE | 32 | 33 | 0.043655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5405-9_2_4_line_38 | NAYY 4x150 SE | 32 | 34 | 0.016927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5405-9_2_4_line_39 | NAYY 4x150 SE | 34 | 35 | 0.031794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5405-9_2_4_line_40 | NAYY 4x150 SE | 36 | 37 | 0.0048531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5405-9_2_4_line_41 | NAYY 4x150 SE | 37 | 39 | 0.040672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5405-9_2_4_line_42 | NAYY 4x150 SE | 38 | 40 | 0.019114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5405-9_2_4_line_43 | NAYY 4x150 SE | 39 | 40 | 0.010227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5405-9_2_4_line_44 | NAYY 4x150 SE | 39 | 41 | 0.021375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5405-9_2_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.023751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5405-9_2_4_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0075229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5405-9_2_4_line_47 | NAYY 4x150 SE | 44 | 46 | 0.01484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5405-9_2_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0059588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5405-9_2_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.01459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5405-9_2_4_line_50 | NAYY 4x150 SE | 47 | 49 | 9.6778e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5405-9_2_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0079344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5405-9_2_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.010561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5405-9_2_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.012735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5405-9_2_4_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0059562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5405-9_2_4_line_55 | NAYY 4x150 SE | 54 | 55 | 0.0074174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5405-9_2_4_line_56 | NAYY 4x150 SE | 55 | 56 | 0.015936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5405-9_2_4_line_57 | NAYY 4x150 SE | 55 | 57 | 0.007742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5405-9_2_4_trafo_151 | 0.25 MVA 20/0.4 kV | 59 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2573668.4823 | 1126352.87 | 2573663.2713 | 1126361.397
1 | 2573678.4228 | 1126379.3979 | 2573672.3734 | 1126375.631 | 2573669.6678 | 1126373.7308 | 2573678.54 | 1126358.2843 | 2573663.2713 | 1126361.397
2 | 2573722.8585 | 1126384.2039 | 2573712.5889 | 1126379.6575 | 2573701.2427 | 1126384.4983 | 2573699.5715 | 1126383.0048 | 2573703.6065 | 1126376.9509 | 2573702.9688 | 1126375.6308 | 2573702.9688 | 1126375.6308
3 | 2573678.4228 | 1126379.3979 | 2573682.9217 | 1126382.1993 | 2573686.4883 | 1126381.8502 | 2573692.1986 | 1126376.4893 | 2573702.9688 | 1126375.6308
4 | 2573705.9086 | 1126413.5257 | 2573694.7306 | 1126403.9141 | 2573704.7468 | 1126392.7871 | 2573716.9075 | 1126385.6194 | 2573722.8585 | 1126384.2039
5 | 2573722.8585 | 1126384.2039 | 2573730.1492 | 1126382.4823 | 2573743.8074 | 1126382.9453 | 2573777.9683 | 1126392.9682 | 2573825.9216 | 1126407.7783 | 2573827.0672 | 1126398.2797 | 2573802.4916 | 1126387.8369 | 2573782.6912 | 1126374.961 | 2573786.9548 | 1126371.8409 | 2573786.172 | 1126363.7403 | 2573784.1532 | 1126360.2807
6 | 2573797.305 | 1126354.3767 | 2573801.5974 | 1126340.0033
7 | 2573784.1532 | 1126360.2807 | 2573794.3881 | 1126355.0669 | 2573797.305 | 1126354.3767
8 | 2573564.1345 | 1126272.2311 | 2573507.53 | 1126180.776
9 | 2573564.1345 | 1126272.2311 | 2573563.5967 | 1126277.8807 | 2573542.4399 | 1126284.5101 | 2573544.8063 | 1126288.1127 | 2573544.9083 | 1126292.7714
10 | 2573784.1532 | 1126360.2807 | 2573778.0032 | 1126342.5542
11 | 2573784.1532 | 1126360.2807 | 2573778.4552 | 1126363.1736 | 2573768.4756 | 1126359.6659
12 | 2573705.9086 | 1126413.5257 | 2573694.7306 | 1126403.9141 | 2573688.5959 | 1126409.1657 | 2573666.8186 | 1126427.1475 | 2573660.5678 | 1126428.7534 | 2573643.4399 | 1126433.1415 | 2573619.812 | 1126435.0125
13 | 2573705.9086 | 1126413.5257 | 2573710.7711 | 1126418.7404
14 | 2573541.1038 | 1126372.6717 | 2573542.6649 | 1126372.6196 | 2573557.6357 | 1126373.6322 | 2573565.8526 | 1126370.4835 | 2573561.9094 | 1126367.566 | 2573564.2712 | 1126364.8654 | 2573559.3256 | 1126358.3283 | 2573565.9652 | 1126355.7423 | 2573572.1835 | 1126355.7779
15 | 2573597.8038 | 1126352.7569 | 2573594.6576 | 1126355.8611 | 2573585.7641 | 1126355.8556 | 2573572.1835 | 1126355.7779
16 | 2573570.9967 | 1126446.8878 | 2573565.1713 | 1126445.3125 | 2573554.3738 | 1126448.6949 | 2573541.0893 | 1126445.5405 | 2573534.0056 | 1126441.7141 | 2573528.9431 | 1126431.3646 | 2573527.254 | 1126418.7657 | 2573521.0614 | 1126382.7528 | 2573521.8479 | 1126377.5801 | 2573526.4628 | 1126373.7468 | 2573532.3164 | 1126372.9652 | 2573541.1038 | 1126372.6717
17 | 2573597.8038 | 1126352.7569 | 2573606.9743 | 1126352.6611 | 2573618.4088 | 1126348.6313 | 2573635.2711 | 1126334.5616 | 2573636.4441 | 1126332.6204
18 | 2573597.8038 | 1126352.7569 | 2573592.8255 | 1126352.812 | 2573580.762 | 1126352.1413
19 | 2573570.9967 | 1126446.8878 | 2573572.3833 | 1126443.2465 | 2573580.4451 | 1126438.1309 | 2573619.812 | 1126435.0125
20 | 2573570.9967 | 1126446.8878 | 2573569.709 | 1126450.2506 | 2573559.6545 | 1126456.1087 | 2573531.3999 | 1126455.5658
21 | 2573515.4939 | 1126527.5047 | 2573527.1286 | 1126521.7952 | 2573530.7958 | 1126516.2764 | 2573531.8634 | 1126511.9362 | 2573533.9146 | 1126506.9803 | 2573542.5125 | 1126495.8704 | 2573548.6912 | 1126484.8933 | 2573554.7085 | 1126474.0171 | 2573566.7506 | 1126462.7587 | 2573574.9904 | 1126457.8312 | 2573569.709 | 1126450.2506 | 2573570.9967 | 1126446.8878
22 | 2573570.9967 | 1126446.8878 | 2573569.709 | 1126450.2506 | 2573574.9904 | 1126457.8312 | 2573604.5118 | 1126450.2537 | 2573628.3554 | 1126453.651 | 2573636.1983 | 1126456.6404
23 | 2573650.5126 | 1126309.338 | 2573636.4441 | 1126332.6204
24 | 2573565.9535 | 1126351.318 | 2573580.762 | 1126352.1413
25 | 2573619.812 | 1126435.0125 | 2573619.1228 | 1126432.492 | 2573609.312 | 1126428.911 | 2573591.5658 | 1126422.3521 | 2573585.1682 | 1126420.3236 | 2573583.0758 | 1126419.4323 | 2573582.7737 | 1126419.0779 | 2573582.9629 | 1126418.2989 | 2573584.1157 | 1126417.5601 | 2573585.9855 | 1126416.8961 | 2573589.3845 | 1126415.2359 | 2573592.8958 | 1126412.8082 | 2573595.0912 | 1126410.8198 | 2573596.954 | 1126408.5661 | 2573597.9835 | 1126406.0937 | 2573598.359 | 1126403.8354 | 2573597.9089 | 1126401.3694
26 | 2573514.472 | 1126415.9983 | 2573503.7933 | 1126421.8703 | 2573495.1071 | 1126426.9333 | 2573491.8886 | 1126429.3264 | 2573490.6562 | 1126431.2216 | 2573490.1411 | 1126433.2582 | 2573490.9436 | 1126435.2335 | 2573493.117 | 1126437.0359 | 2573495.9124 | 1126438.302 | 2573504.5361 | 1126440.065 | 2573511.7929 | 1126441.1781 | 2573516.444 | 1126442.0914 | 2573521.4501 | 1126444.882 | 2573528.2394 | 1126450.0992 | 2573531.0407 | 1126452.7326 | 2573531.4852 | 1126453.9202 | 2573531.3999 | 1126455.5658
27 | 2573515.4939 | 1126527.5047 | 2573516.8962 | 1126530.9558 | 2573520.0212 | 1126533.5878 | 2573525.6709 | 1126535.5418 | 2573540.4177 | 1126526.0056 | 2573550.6549 | 1126523.1926 | 2573553.88 | 1126518.7874 | 2573562.1558 | 1126520.3185 | 2573567.7599 | 1126518.9155 | 2573573.2977 | 1126511.5249
28 | 2573636.1983 | 1126456.6404 | 2573638.6666 | 1126453.617 | 2573658.3933 | 1126451.3852 | 2573673.8821 | 1126452.8183 | 2573675.2156 | 1126452.8903 | 2573674.0563 | 1126449.3396
29 | 2573650.5126 | 1126309.338 | 2573655.1947 | 1126306.0784
30 | 2573565.9535 | 1126351.318 | 2573565.0572 | 1126349.0319 | 2573550.2021 | 1126344.5503 | 2573549.132 | 1126343.0543 | 2573555.2654 | 1126341.0375 | 2573558.4391 | 1126338.9448 | 2573559.8808 | 1126337.3265 | 2573558.7672 | 1126336.4421 | 2573552.5831 | 1126335.6799 | 2573547.7599 | 1126334.2115 | 2573545.0285 | 1126331.7 | 2573544.001 | 1126330.3272
31 | 2573590.944 | 1126394.7633 | 2573595.086 | 1126397.3242 | 2573596.6354 | 1126399.185 | 2573597.9089 | 1126401.3694
32 | 2573576.0606 | 1126509.4511 | 2573573.8356 | 1126510.8071 | 2573573.2977 | 1126511.5249
33 | 2573670.7828 | 1126441.9486 | 2573672.1458 | 1126443.4879 | 2573674.0563 | 1126449.3396
34 | 2573671.7917 | 1126294.5239 | 2573655.1947 | 1126306.0784
35 | 2573544.0143 | 1126325.4013 | 2573543.0051 | 1126328.9964 | 2573544.001 | 1126330.3272
36 | 2573698.1222 | 1126261.0839 | 2573687.0763 | 1126258.8421 | 2573678.8287 | 1126260.29 | 2573651.1813 | 1126265.5773
37 | 2573698.1222 | 1126261.0839 | 2573689.3646 | 1126279.8759 | 2573678.2956 | 1126289.9959 | 2573671.7917 | 1126294.5239
38 | 2573705.2688 | 1126245.734 | 2573698.1222 | 1126261.0839
39 | 2573705.2688 | 1126245.734 | 2573732.9522 | 1126261.3707
40 | 2573589.5054 | 1126301.4881 | 2573594.3583 | 1126301.4404
41 | 2573562.0206 | 1126313.8833 | 2573572.1491 | 1126312.5382 | 2573567.5359 | 1126306.2331 | 2573576.092 | 1126303.0829 | 2573587.1135 | 1126301.5116 | 2573589.5054 | 1126301.4881
42 | 2573544.9083 | 1126292.7714 | 2573545.028 | 1126298.2389 | 2573551.449 | 1126305.5588 | 2573554.9808 | 1126307.2317
43 | 2573562.0206 | 1126313.8833 | 2573559.7742 | 1126309.5021 | 2573554.9808 | 1126307.2317
44 | 2573562.0206 | 1126313.8833 | 2573544.0143 | 1126325.4013 | 2573544.0143 | 1126325.4013
45 | 2573670.7828 | 1126441.9486 | 2573676.5482 | 1126435.109 | 2573686.4126 | 1126431.5753 | 2573689.8078 | 1126434.3285
46 | 2573625.1218 | 1126481.7625 | 2573632.5813 | 1126480.7882
47 | 2573625.1218 | 1126481.7625 | 2573616.1839 | 1126482.9299 | 2573611.8157 | 1126486.7851
48 | 2573607.3479 | 1126490.728 | 2573611.8157 | 1126486.7851
49 | 2573607.3479 | 1126490.728 | 2573609.392 | 1126491.1638 | 2573612.0263 | 1126490.8521 | 2573616.2546 | 1126490.2666 | 2573618.4298 | 1126490.7129 | 2573619.7301 | 1126491.9967 | 2573620.4606 | 1126493.3831
50 | 2573607.3479 | 1126490.728 | 2573607.2754 | 1126490.7922
51 | 2573607.2754 | 1126490.7922 | 2573602.3196 | 1126495.1745 | 2573601.3421 | 1126496.06
52 | 2573593.5152 | 1126503.1503 | 2573601.3421 | 1126496.06
53 | 2573593.5152 | 1126503.1503 | 2573585.147 | 1126505.1436 | 2573581.3091 | 1126506.6762
54 | 2573581.3091 | 1126506.6762 | 2573579.2926 | 1126507.4815 | 2573576.0606 | 1126509.4511
55 | 2573713.1137 | 1126425.7781 | 2573710.7711 | 1126418.7404
56 | 2573713.1137 | 1126425.7781 | 2573721.1997 | 1126422.6524 | 2573725.9516 | 1126418.3962 | 2573725.678 | 1126417.5192
57 | 2573713.1137 | 1126425.7781 | 2573713.5588 | 1126427.1102 | 2573710.191 | 1126432.4789

## bus_geodata
| x | y | coords
0 | 2573668.4823 | 1126352.87
1 | 2573663.2713 | 1126361.397
2 | 2573702.9688 | 1126375.6308
3 | 2573722.8585 | 1126384.2039
4 | 2573678.4228 | 1126379.3979
5 | 2573801.5974 | 1126340.0032
6 | 2573797.305 | 1126354.3767
7 | 2573507.53 | 1126180.776
8 | 2573564.1345 | 1126272.2311
9 | 2573778.0032 | 1126342.5542
10 | 2573784.1532 | 1126360.2807
11 | 2573768.4756 | 1126359.6659
12 | 2573705.9086 | 1126413.5257
13 | 2573572.1835 | 1126355.7779
14 | 2573541.1038 | 1126372.6717
15 | 2573597.8038 | 1126352.7569
16 | 2573570.9967 | 1126446.8878
17 | 2573636.4441 | 1126332.6204
18 | 2573580.762 | 1126352.1413
19 | 2573619.812 | 1126435.0125
20 | 2573531.3999 | 1126455.5658
21 | 2573515.4939 | 1126527.5047
22 | 2573636.1983 | 1126456.6404
23 | 2573650.5126 | 1126309.338
24 | 2573565.9535 | 1126351.318
25 | 2573597.9089 | 1126401.3694
26 | 2573514.472 | 1126415.9983
27 | 2573573.2977 | 1126511.5249
28 | 2573674.0563 | 1126449.3396
29 | 2573655.1947 | 1126306.0784
30 | 2573544.001 | 1126330.3272
31 | 2573651.1813 | 1126265.5773
32 | 2573698.1222 | 1126261.0839
33 | 2573671.7917 | 1126294.5239
34 | 2573705.2688 | 1126245.734
35 | 2573732.9522 | 1126261.3707
36 | 2573594.3583 | 1126301.4404
37 | 2573589.5054 | 1126301.4881
38 | 2573544.9083 | 1126292.7714
39 | 2573562.0206 | 1126313.8833
40 | 2573554.9808 | 1126307.2317
41 | 2573544.0143 | 1126325.4013
42 | 2573670.7828 | 1126441.9486
43 | 2573689.8078 | 1126434.3285
44 | 2573625.1218 | 1126481.7625
45 | 2573632.5813 | 1126480.7882
46 | 2573611.8157 | 1126486.7851
47 | 2573607.3479 | 1126490.728
48 | 2573620.4606 | 1126493.3831
49 | 2573607.2754 | 1126490.7922
50 | 2573601.3421 | 1126496.06
51 | 2573593.5152 | 1126503.1503
52 | 2573581.3091 | 1126506.6762
53 | 2573576.0606 | 1126509.4511
54 | 2573710.7711 | 1126418.7404
55 | 2573713.1137 | 1126425.7781
56 | 2573725.678 | 1126417.5192
57 | 2573710.191 | 1126432.4789
58 | 2573590.944 | 1126394.7633
59 | 2573668.4823 | 1126352.87

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1