## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5406-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5406-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5406-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5406-1_0_2_node_144 | 0.4 | n |  | TRUE
4 | bus_LV_5406-1_0_2_node_138 | 0.4 | n |  | TRUE
5 | bus_LV_5406-1_0_2_node_139 | 0.4 | n |  | TRUE
6 | bus_LV_5406-1_0_2_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_5406-1_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5406-1_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5406-1_0_2_node_142 | 0.4 | n |  | TRUE
10 | bus_LV_5406-1_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5406-1_0_2_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_5406-1_0_2_node_104 | 0.4 | n |  | TRUE
13 | bus_LV_5406-1_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5406-1_0_2_node_105 | 0.4 | n |  | TRUE
15 | bus_LV_5406-1_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5406-1_0_2_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_5406-1_0_2_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_5406-1_0_2_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_5406-1_0_2_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_5406-1_0_2_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_5406-1_0_2_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_5406-1_0_2_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_5406-1_0_2_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_5406-1_0_2_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_5406-1_0_2_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_5406-1_0_2_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_5406-1_0_2_node_97 | 0.4 | n |  | TRUE
28 | bus_LV_5406-1_0_2_node_99 | 0.4 | n |  | TRUE
29 | bus_LV_5406-1_0_2_node_95 | 0.4 | n |  | TRUE
30 | bus_LV_5406-1_0_2_node_130 | 0.4 | n |  | TRUE
31 | bus_LV_5406-1_0_2_node_103 | 0.4 | n |  | TRUE
32 | bus_LV_5406-1_0_2_node_125 | 0.4 | n |  | TRUE
33 | bus_LV_5406-1_0_2_node_101 | 0.4 | n |  | TRUE
34 | bus_LV_5406-1_0_2_node_126 | 0.4 | n |  | TRUE
35 | bus_LV_5406-1_0_2_node_134 | 0.4 | n |  | TRUE
36 | bus_LV_5406-1_0_2_node_131 | 0.4 | n |  | TRUE
37 | bus_LV_5406-1_0_2_node_132 | 0.4 | n |  | TRUE
38 | bus_LV_5406-1_0_2_node_133 | 0.4 | n |  | TRUE
39 | bus_LV_5406-1_0_2_node_135 | 0.4 | n |  | TRUE
40 | bus_LV_5406-1_0_2_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_5406-1_0_2_node_17 | 0.4 | n |  | TRUE
42 | bus_LV_5406-1_0_2_node_15 | 0.4 | n |  | TRUE
43 | bus_LV_5406-1_0_2_node_16 | 0.4 | n |  | TRUE
44 | bus_LV_5406-1_0_2_node_18 | 0.4 | n |  | TRUE
45 | bus_LV_5406-1_0_2_node_136 | 0.4 | n |  | TRUE
46 | bus_LV_5406-1_0_2_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_5406-1_0_2_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_5406-1_0_2_node_100 | 0.4 | n |  | TRUE
49 | bus_LV_5406-1_0_2_node_141 | 0.4 | n |  | TRUE
50 | bus_LV_5406-1_0_2_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_5406-1_0_2_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_5406-1_0_2_node_20 | 0.4 | n |  | TRUE
53 | bus_LV_5406-1_0_2_node_21 | 0.4 | n |  | TRUE
54 | bus_LV_5406-1_0_2_node_22 | 0.4 | n |  | TRUE
55 | bus_LV_5406-1_0_2_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_5406-1_0_2_node_23 | 0.4 | n |  | TRUE
57 | bus_LV_5406-1_0_2_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_5406-1_0_2_node_93 | 0.4 | n |  | TRUE
59 | bus_LV_5406-1_0_2_node_137 | 0.4 | n |  | TRUE
60 | bus_LV_5406-1_0_2_node_30 | 0.4 | n |  | TRUE
61 | bus_LV_5406-1_0_2_node_26 | 0.4 | n |  | TRUE
62 | bus_LV_5406-1_0_2_node_107 | 0.4 | n |  | TRUE
63 | bus_LV_5406-1_0_2_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_5406-1_0_2_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_5406-1_0_2_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_5406-1_0_2_node_140 | 0.4 | n |  | TRUE
67 | bus_LV_5406-1_0_2_node_127 | 0.4 | n |  | TRUE
68 | bus_LV_5406-1_0_2_node_128 | 0.4 | n |  | TRUE
69 | bus_LV_5406-1_0_2_node_129 | 0.4 | n |  | TRUE
70 | bus_LV_5406-1_0_2_node_102 | 0.4 | n |  | TRUE
71 | bus_MV_110_2_node_243 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5406-1_0_2_load_0 | 0 | 0.012733 | 0.0031913 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5406-1_0_2_load_144 | 3 | 0.0032024 | 0.0008026 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5406-1_0_2_load_138 | 4 | 0.0024309 | 0.00060924 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5406-1_0_2_load_139 | 5 | 0.024486 | 0.0061367 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5406-1_0_2_load_3 | 6 | 0.018931 | 0.0047445 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5406-1_0_2_load_142 | 9 | 0.0034884 | 0.00087427 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5406-1_0_2_load_104 | 12 | 0.025102 | 0.0062912 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5406-1_0_2_load_105 | 14 | 0.0096319 | 0.002414 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5406-1_0_2_load_9 | 15 | 0.0085717 | 0.0021483 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5406-1_0_2_load_39 | 16 | 0.0020111 | 0.00050402 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5406-1_0_2_load_29 | 18 | 0.00012703 | 3.1837e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5406-1_0_2_load_35 | 21 | 0.01066 | 0.0026716 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5406-1_0_2_load_10 | 23 | 0.00018941 | 4.747e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5406-1_0_2_load_11 | 24 | 0.0060646 | 0.0015199 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5406-1_0_2_load_99 | 28 | 0.00089482 | 0.00022426 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5406-1_0_2_load_95 | 29 | 0.0022985 | 0.00057607 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5406-1_0_2_load_130 | 30 | 0.00069813 | 0.00017497 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5406-1_0_2_load_103 | 31 | 0.00044121 | 0.00011058 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5406-1_0_2_load_101 | 33 | 0.00060846 | 0.0001525 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5406-1_0_2_load_126 | 34 | 0.0012638 | 0.00031675 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5406-1_0_2_load_134 | 35 | 0.00053157 | 0.00013322 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5406-1_0_2_load_132 | 37 | 0.00044138 | 0.00011062 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5406-1_0_2_load_133 | 38 | 0.0012927 | 0.00032398 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5406-1_0_2_load_135 | 39 | 0.0005506 | 0.00013799 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5406-1_0_2_load_19 | 40 | 0.00018363 | 4.6022e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5406-1_0_2_load_15 | 42 | 0.00063301 | 0.00015865 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5406-1_0_2_load_16 | 43 | 0.00080359 | 0.0002014 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5406-1_0_2_load_136 | 45 | 0.00015115 | 3.7881e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5406-1_0_2_load_96 | 47 | 0.00052468 | 0.0001315 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5406-1_0_2_load_100 | 48 | 0.0015934 | 0.00039934 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5406-1_0_2_load_141 | 49 | 0.00013201 | 3.3085e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5406-1_0_2_load_28 | 50 | 0.00053062 | 0.00013299 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5406-1_0_2_load_25 | 51 | 0.00085145 | 0.00021339 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5406-1_0_2_load_20 | 52 | 0.00026279 | 6.5862e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5406-1_0_2_load_21 | 53 | 0.00052578 | 0.00013177 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5406-1_0_2_load_94 | 55 | 0.00099115 | 0.0002484 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5406-1_0_2_load_98 | 57 | 0.00089598 | 0.00022455 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5406-1_0_2_load_93 | 58 | 0.00099038 | 0.00024821 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5406-1_0_2_load_137 | 59 | 0.00029368 | 7.3603e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5406-1_0_2_load_30 | 60 | 0.00051379 | 0.00012877 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5406-1_0_2_load_26 | 61 | 0.0030383 | 0.00076148 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5406-1_0_2_load_107 | 62 | 0.00013087 | 3.28e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5406-1_0_2_load_140 | 66 | 0.014713 | 0.0036873 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5406-1_0_2_load_127 | 67 | 0.00012735 | 3.1917e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5406-1_0_2_load_129 | 69 | 0.00043834 | 0.00010986 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5406-1_0_2_load_102 | 70 | 0.0011529 | 0.00028894 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5406-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5406-1_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.20122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5406-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.031142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5406-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.073197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5406-1_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.038143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5406-1_0_2_line_5 | NAYY 4x150 SE | 5 | 65 | 0.061601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5406-1_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.013947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5406-1_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.016962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5406-1_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.02145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5406-1_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.054508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5406-1_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.05123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5406-1_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.017065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5406-1_0_2_line_12 | NAYY 4x150 SE | 11 | 17 | 0.008313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5406-1_0_2_line_13 | NAYY 4x150 SE | 11 | 18 | 0.017914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5406-1_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.017918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5406-1_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0082559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5406-1_0_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.09336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5406-1_0_2_line_17 | NAYY 4x150 SE | 16 | 22 | 0.048106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5406-1_0_2_line_18 | NAYY 4x150 SE | 17 | 62 | 0.035696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5406-1_0_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.016778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5406-1_0_2_line_20 | NAYY 4x150 SE | 18 | 60 | 0.023167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5406-1_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.090452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5406-1_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.01148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5406-1_0_2_line_23 | NAYY 4x150 SE | 21 | 63 | 0.034603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5406-1_0_2_line_24 | NAYY 4x150 SE | 22 | 60 | 0.027669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5406-1_0_2_line_25 | NAYY 4x150 SE | 22 | 54 | 0.003246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5406-1_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.089496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5406-1_0_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.016044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5406-1_0_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.011093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5406-1_0_2_line_29 | NAYY 4x150 SE | 26 | 40 | 0.093596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5406-1_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.016053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5406-1_0_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.080226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5406-1_0_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.11224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5406-1_0_2_line_33 | NAYY 4x150 SE | 29 | 47 | 0.18514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5406-1_0_2_line_34 | NAYY 4x150 SE | 30 | 36 | 0.03634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5406-1_0_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.046349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5406-1_0_2_line_36 | NAYY 4x150 SE | 31 | 33 | 0.028119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5406-1_0_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.068958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5406-1_0_2_line_38 | NAYY 4x150 SE | 33 | 48 | 0.10768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5406-1_0_2_line_39 | NAYY 4x150 SE | 34 | 35 | 0.0021346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5406-1_0_2_line_40 | NAYY 4x150 SE | 35 | 39 | 0.081274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5406-1_0_2_line_41 | NAYY 4x150 SE | 36 | 37 | 0.025293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5406-1_0_2_line_42 | NAYY 4x150 SE | 36 | 38 | 0.090716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5406-1_0_2_line_43 | NAYY 4x150 SE | 37 | 39 | 0.0015097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5406-1_0_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.024867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5406-1_0_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.14749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5406-1_0_2_line_46 | NAYY 4x150 SE | 42 | 43 | 0.04184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5406-1_0_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.019464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5406-1_0_2_line_48 | NAYY 4x150 SE | 44 | 45 | 0.01115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5406-1_0_2_line_49 | NAYY 4x150 SE | 44 | 46 | 0.002298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5406-1_0_2_line_50 | NAYY 4x150 SE | 45 | 49 | 0.010319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5406-1_0_2_line_51 | NAYY 4x150 SE | 46 | 50 | 0.082934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5406-1_0_2_line_52 | NAYY 4x150 SE | 46 | 51 | 0.024588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5406-1_0_2_line_53 | NAYY 4x150 SE | 47 | 57 | 0.060496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5406-1_0_2_line_54 | NAYY 4x150 SE | 48 | 70 | 0.060999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5406-1_0_2_line_55 | NAYY 4x150 SE | 48 | 68 | 0.097916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5406-1_0_2_line_56 | NAYY 4x150 SE | 50 | 56 | 0.028567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5406-1_0_2_line_57 | NAYY 4x150 SE | 51 | 61 | 0.030485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5406-1_0_2_line_58 | NAYY 4x150 SE | 52 | 53 | 0.024726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5406-1_0_2_line_59 | NAYY 4x150 SE | 52 | 54 | 0.020825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5406-1_0_2_line_60 | NAYY 4x150 SE | 53 | 55 | 0.21436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5406-1_0_2_line_61 | NAYY 4x150 SE | 54 | 56 | 0.027403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5406-1_0_2_line_62 | NAYY 4x150 SE | 55 | 57 | 0.11903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5406-1_0_2_line_63 | NAYY 4x150 SE | 55 | 58 | 0.066771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5406-1_0_2_line_64 | NAYY 4x150 SE | 56 | 59 | 0.036048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5406-1_0_2_line_65 | NAYY 4x150 SE | 63 | 64 | 0.011697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5406-1_0_2_line_66 | NAYY 4x150 SE | 63 | 65 | 0.01572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5406-1_0_2_line_67 | NAYY 4x150 SE | 64 | 66 | 0.02071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5406-1_0_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.023972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5406-1_0_2_line_69 | NAYY 4x150 SE | 69 | 70 | 0.058448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5406-1_0_2_trafo_33 | 0.25 MVA 20/0.4 kV | 71 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2567630.0008 | 1116931.7242 | 2567639.5878 | 1116937.5313
1 | 2567680.4473 | 1116916.6799 | 2567694.0025 | 1116885.1248 | 2567700.571 | 1116873.5393 | 2567713.7788 | 1116853.4808 | 2567710.2312 | 1116851.1764 | 2567701.6279 | 1116846.0087 | 2567682.5235 | 1116858.9618 | 2567664.9567 | 1116872.1847 | 2567652.5587 | 1116887.7479 | 2567630.2748 | 1116923.8076 | 2567630.0008 | 1116931.7242
2 | 2567630.0008 | 1116931.7242 | 2567601.1961 | 1116943.5624
3 | 2567680.4473 | 1116916.6799 | 2567674.8714 | 1116927.6597 | 2567655.5995 | 1116974.1085 | 2567649.1831 | 1116982.5394
4 | 2567649.1831 | 1116982.5394 | 2567641.4044 | 1116992.7606 | 2567624.5012 | 1117011.5829
5 | 2567583.7318 | 1117057.7359 | 2567596.7224 | 1117041.9583 | 2567611.8715 | 1117025.6466 | 2567624.5012 | 1117011.5829
6 | 2567409.5935 | 1117123.7618 | 2567398.7255 | 1117115.0212
7 | 2567409.5935 | 1117123.7618 | 2567422.8265 | 1117134.418
8 | 2567422.8265 | 1117134.418 | 2567408.9057 | 1117150.768
9 | 2567450.3454 | 1117093.3378 | 2567443.3785 | 1117099.623 | 2567447.3969 | 1117106.2158 | 2567422.8265 | 1117134.418
10 | 2567422.8265 | 1117134.418 | 2567437.1602 | 1117145.9354 | 2567451.9977 | 1117157.8726 | 2567454.0544 | 1117162.8307 | 2567457.9617 | 1117170.3023
11 | 2567450.3454 | 1117093.3378 | 2567441.7113 | 1117078.6177
12 | 2567457.9617 | 1117170.3023 | 2567465.6239 | 1117167.0261
13 | 2567457.9617 | 1117170.3023 | 2567454.5594 | 1117172.0215 | 2567451.3205 | 1117173.9844 | 2567447.2448 | 1117176.7855 | 2567443.0995 | 1117180.1974
14 | 2567432.646 | 1117063.1624 | 2567441.7113 | 1117078.6177
15 | 2567432.646 | 1117063.1624 | 2567428.4949 | 1117056.0261
16 | 2567378.9451 | 1117192.1913 | 2567372.8104 | 1117187.2369 | 2567333.0707 | 1117157.759 | 2567327.8002 | 1117152.2847 | 2567333.4813 | 1117146.64 | 2567346.991 | 1117131.3704 | 2567346.991 | 1117131.3704
17 | 2567415.9714 | 1117222.8885 | 2567409.476 | 1117217.821 | 2567392.6097 | 1117203.2269 | 2567378.9451 | 1117192.1913
18 | 2567465.6239 | 1117167.0261 | 2567468.1088 | 1117179.8414 | 2567457.2256 | 1117196.9975 | 2567459.1213 | 1117198.3436
19 | 2567465.6239 | 1117167.0261 | 2567481.6194 | 1117161.8151
20 | 2567429.2251 | 1117198.604 | 2567433.554 | 1117191.4223 | 2567436.9017 | 1117186.7463 | 2567441.9426 | 1117181.1497 | 2567443.0995 | 1117180.1974
21 | 2567481.6194 | 1117161.8151 | 2567490.297 | 1117159.3338 | 2567499.0903 | 1117156.8296 | 2567507.39 | 1117154.3838 | 2567515.0018 | 1117150.3408 | 2567527.8363 | 1117140.0332 | 2567538.5657 | 1117130.115 | 2567544.4441 | 1117123.8025 | 2567549.9047 | 1117117.2809 | 2567553.2071 | 1117111.3269
22 | 2567553.2071 | 1117111.3269 | 2567554.8308 | 1117107.5384 | 2567558.1919 | 1117100.9926
23 | 2567574.507 | 1117070.4808 | 2567564.5624 | 1117088.5877 | 2567559.1466 | 1117099.1332 | 2567558.1919 | 1117100.9926
24 | 2567415.9714 | 1117222.8885 | 2567427.5641 | 1117201.3596 | 2567429.2251 | 1117198.604
25 | 2567415.9714 | 1117222.8885 | 2567414.5515 | 1117225.8088
26 | 2567241.7661 | 1117674.3995 | 2567246.6954 | 1117693.1191 | 2567247.8901 | 1117707.0642 | 2567243.9062 | 1117721.0039 | 2567230.3999 | 1117760.397
27 | 2567237.6805 | 1117658.8841 | 2567241.7661 | 1117674.3995
28 | 2567237.6805 | 1117658.8841 | 2567227.2329 | 1117655.0722
29 | 2567227.2329 | 1117655.0722 | 2567232.5523 | 1117642.5926 | 2567240.0968 | 1117624.8649 | 2567261.9589 | 1117568.1702
30 | 2567616.3397 | 1117727.6657 | 2567613.7029 | 1117743.5002
31 | 2567616.3397 | 1117727.6657 | 2567626.6585 | 1117716.1712 | 2567615.3157 | 1117689.2851 | 2567606.5031 | 1117676.5371 | 2567590.6062 | 1117664.2343
32 | 2567613.7029 | 1117743.5002 | 2567613.162 | 1117746.7479 | 2567611.9835 | 1117754.358 | 2567611.427 | 1117757.0957 | 2567612.962 | 1117759.8111 | 2567617.0322 | 1117760.3673 | 2567620.8772 | 1117759.2239 | 2567624.8271 | 1117756.0456 | 2567628.7984 | 1117749.6655 | 2567633.8666 | 1117746.3589 | 2567638.8852 | 1117746.7433 | 2567647.351 | 1117755.2689 | 2567671.8215 | 1117785.0863 | 2567677.8173 | 1117796.5724
33 | 2567590.6062 | 1117664.2343 | 2567584.834 | 1117659.7671 | 2567578.5738 | 1117655.2651 | 2567574.721 | 1117649.216 | 2567573.4223 | 1117643.0866 | 2567580.5342 | 1117622.2157 | 2567586.7125 | 1117602.8505 | 2567598.2601 | 1117565.7587 | 2567610.6903 | 1117540.6461 | 2567627.001 | 1117525.3064 | 2567647.4627 | 1117510.8446
34 | 2567703.9746 | 1117821.3993 | 2567679.8998 | 1117800.562 | 2567677.8173 | 1117796.5724
35 | 2567707.3871 | 1117750.9455 | 2567693.1445 | 1117737.3259 | 2567684.3208 | 1117721.0427 | 2567683.4543 | 1117712.9672
36 | 2567683.4543 | 1117712.9672 | 2567682.0139 | 1117699.5442 | 2567684.4154 | 1117685.1243
37 | 2567707.3871 | 1117750.9455 | 2567726.6907 | 1117771.4526 | 2567740.7159 | 1117792.0659 | 2567752.2654 | 1117802.9394
38 | 2567672.713 | 1117582.2519 | 2567670.4514 | 1117598.4328 | 2567668.7187 | 1117614.9949 | 2567685.2623 | 1117643.165 | 2567685.1918 | 1117680.462 | 2567684.4154 | 1117685.1243
39 | 2567752.2654 | 1117802.9394 | 2567753.8196 | 1117804.4026
40 | 2567753.8196 | 1117804.4026 | 2567764.3039 | 1117814.2734 | 2567772.2831 | 1117825.6699 | 2567769.8532 | 1117831.6636 | 2567756.2476 | 1117840.4518 | 2567741.2204 | 1117840.2653 | 2567728.2963 | 1117832.1346
41 | 2567703.9746 | 1117821.3993 | 2567718.4773 | 1117825.9574 | 2567727.0184 | 1117831.3306
42 | 2567703.9746 | 1117821.3993 | 2567704.5881 | 1117833.6466 | 2567710.4037 | 1117848.8676 | 2567733.4304 | 1117864.2634 | 2567761.0723 | 1117873.9096 | 2567766.0242 | 1117875.439
43 | 2567728.2963 | 1117832.1346 | 2567727.0184 | 1117831.3306
44 | 2567270.9057 | 1117544.9687 | 2567261.9589 | 1117568.1702
45 | 2567270.9057 | 1117544.9687 | 2567311.0493 | 1117454.1722 | 2567330.6994 | 1117410.1387
46 | 2567330.6994 | 1117410.1387 | 2567347.7499 | 1117371.9307
47 | 2567355.7832 | 1117354.202 | 2567355.0585 | 1117355.7845 | 2567349.3455 | 1117368.3551 | 2567347.7499 | 1117371.9307
48 | 2567355.7832 | 1117354.202 | 2567365.8321 | 1117358.4387 | 2567366.0532 | 1117358.5422
49 | 2567355.7832 | 1117354.202 | 2567356.7289 | 1117352.107
50 | 2567376.0196 | 1117359.7733 | 2567374.6757 | 1117359.5915 | 2567373.1408 | 1117359.7888 | 2567371.3598 | 1117360.132 | 2567369.6302 | 1117359.9968 | 2567367.8517 | 1117359.3839 | 2567366.0532 | 1117358.5422
51 | 2567356.7289 | 1117352.107 | 2567382.7086 | 1117294.9711 | 2567390.9362 | 1117276.5569
52 | 2567356.7289 | 1117352.107 | 2567348.4847 | 1117347.6159 | 2567346.511 | 1117346.5816 | 2567343.4366 | 1117346.1202 | 2567339.3538 | 1117346.1423 | 2567333.6949 | 1117347.3179 | 2567333.6949 | 1117347.3179
53 | 2567647.4627 | 1117510.8446 | 2567647.9533 | 1117510.4978 | 2567662.6407 | 1117498.98 | 2567671.5195 | 1117473.6086 | 2567677.3428 | 1117460.4935
54 | 2567672.713 | 1117582.2519 | 2567675.8331 | 1117559.9291 | 2567683.6933 | 1117543.2452 | 2567693.8537 | 1117525.9991
55 | 2567672.713 | 1117582.2519 | 2567768.7546 | 1117601.32
56 | 2567402.59 | 1117250.4747 | 2567390.9362 | 1117276.5569
57 | 2567333.6949 | 1117347.3179 | 2567329.4509 | 1117348.9306 | 2567324.4545 | 1117349.8581 | 2567317.4521 | 1117349.4958 | 2567309.3315 | 1117346.4493 | 2567304.5312 | 1117344.5067
58 | 2567436.9631 | 1117258.1786 | 2567438.3672 | 1117255.2508 | 2567439.5227 | 1117250.5311 | 2567439.4061 | 1117246.0961 | 2567437.5291 | 1117241.5261 | 2567432.2538 | 1117236.5632
59 | 2567414.5515 | 1117225.8088 | 2567425.6417 | 1117231.3073 | 2567432.2538 | 1117236.5632 | 2567432.2538 | 1117236.5632
60 | 2567436.9631 | 1117258.1786 | 2567630.0625 | 1117351.2533
61 | 2567402.59 | 1117250.4747 | 2567414.5515 | 1117225.8088
62 | 2567677.3428 | 1117460.4935 | 2567630.0625 | 1117351.2533
63 | 2567670.0467 | 1117299.4509 | 2567667.2513 | 1117304.9575 | 2567662.5145 | 1117311.1415 | 2567658.9405 | 1117313.9398 | 2567655.8575 | 1117319.07 | 2567654.5443 | 1117324.6243 | 2567652.2904 | 1117328.9163 | 2567645.2489 | 1117335.6686 | 2567639.3121 | 1117339.7246 | 2567630.0625 | 1117351.2533
64 | 2567402.59 | 1117250.4747 | 2567397.4725 | 1117249.0127 | 2567389.387 | 1117251.0573 | 2567376.4137 | 1117257.0082 | 2567371.3884 | 1117263.3767
65 | 2567565.9735 | 1117062.4559 | 2567574.507 | 1117070.4808
66 | 2567583.7318 | 1117057.7359 | 2567574.507 | 1117070.4808
67 | 2567565.9735 | 1117062.4559 | 2567578.7329 | 1117046.1432
68 | 2567768.7546 | 1117601.32 | 2567778.9713 | 1117623.006
69 | 2567693.8537 | 1117525.9991 | 2567751.8779 | 1117533.0229

## bus_geodata
| x | y | coords
0 | 2567639.5878 | 1116937.5313
1 | 2567630.0008 | 1116931.7242
2 | 2567680.4473 | 1116916.6799
3 | 2567601.1961 | 1116943.5624
4 | 2567649.1831 | 1116982.5394
5 | 2567624.5012 | 1117011.5829
6 | 2567398.7255 | 1117115.0212
7 | 2567409.5935 | 1117123.7618
8 | 2567422.8265 | 1117134.418
9 | 2567408.9057 | 1117150.768
10 | 2567450.3454 | 1117093.3378
11 | 2567457.9617 | 1117170.3023
12 | 2567441.7113 | 1117078.6177
13 | 2567432.646 | 1117063.1624
14 | 2567428.4949 | 1117056.0261
15 | 2567346.991 | 1117131.3704
16 | 2567378.9451 | 1117192.1913
17 | 2567465.6239 | 1117167.0261
18 | 2567443.0995 | 1117180.1974
19 | 2567481.6194 | 1117161.8151
20 | 2567553.2071 | 1117111.3269
21 | 2567558.1919 | 1117100.9926
22 | 2567415.9714 | 1117222.8885
23 | 2567241.7661 | 1117674.3995
24 | 2567230.3999 | 1117760.397
25 | 2567237.6805 | 1117658.8841
26 | 2567227.2329 | 1117655.0722
27 | 2567616.3397 | 1117727.6657
28 | 2567613.7029 | 1117743.5002
29 | 2567590.6062 | 1117664.2343
30 | 2567677.8173 | 1117796.5724
31 | 2567683.4543 | 1117712.9672
32 | 2567707.3871 | 1117750.9455
33 | 2567684.4154 | 1117685.1243
34 | 2567752.2654 | 1117802.9394
35 | 2567753.8196 | 1117804.4026
36 | 2567703.9746 | 1117821.3993
37 | 2567727.0184 | 1117831.3306
38 | 2567766.0242 | 1117875.439
39 | 2567728.2963 | 1117832.1346
40 | 2567261.9589 | 1117568.1702
41 | 2567270.9057 | 1117544.9687
42 | 2567330.6994 | 1117410.1387
43 | 2567347.7499 | 1117371.9307
44 | 2567355.7832 | 1117354.202
45 | 2567366.0532 | 1117358.5422
46 | 2567356.7289 | 1117352.107
47 | 2567647.4627 | 1117510.8446
48 | 2567672.713 | 1117582.2519
49 | 2567376.0196 | 1117359.7733
50 | 2567390.9362 | 1117276.5569
51 | 2567333.6949 | 1117347.3179
52 | 2567432.2538 | 1117236.5632
53 | 2567436.9631 | 1117258.1786
54 | 2567414.5515 | 1117225.8088
55 | 2567630.0625 | 1117351.2533
56 | 2567402.59 | 1117250.4747
57 | 2567677.3428 | 1117460.4935
58 | 2567670.0467 | 1117299.4509
59 | 2567371.3884 | 1117263.3767
60 | 2567429.2251 | 1117198.604
61 | 2567304.5312 | 1117344.5067
62 | 2567459.1213 | 1117198.3436
63 | 2567574.507 | 1117070.4808
64 | 2567565.9735 | 1117062.4559
65 | 2567583.7318 | 1117057.7359
66 | 2567578.7329 | 1117046.1432
67 | 2567778.9713 | 1117623.006
68 | 2567768.7546 | 1117601.32
69 | 2567751.8779 | 1117533.0229
70 | 2567693.8537 | 1117525.9991
71 | 2567490.297 | 1117159.3338

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1