## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5406-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5406-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5406-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5406-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5406-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5406-5_0_3_node_116 | 0.4 | n |  | TRUE
6 | bus_LV_5406-5_0_3_node_144 | 0.4 | n |  | TRUE
7 | bus_LV_5406-5_0_3_node_106 | 0.4 | n |  | TRUE
8 | bus_LV_5406-5_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5406-5_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5406-5_0_3_node_105 | 0.4 | n |  | TRUE
11 | bus_LV_5406-5_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_5406-5_0_3_node_133 | 0.4 | n |  | TRUE
13 | bus_LV_5406-5_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5406-5_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5406-5_0_3_node_153 | 0.4 | n |  | TRUE
16 | bus_LV_5406-5_0_3_node_138 | 0.4 | n |  | TRUE
17 | bus_LV_5406-5_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_5406-5_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_5406-5_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_5406-5_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5406-5_0_3_node_136 | 0.4 | n |  | TRUE
22 | bus_LV_5406-5_0_3_node_132 | 0.4 | n |  | TRUE
23 | bus_LV_5406-5_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_5406-5_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_5406-5_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_5406-5_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_5406-5_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_5406-5_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_5406-5_0_3_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_5406-5_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_5406-5_0_3_node_142 | 0.4 | n |  | TRUE
32 | bus_LV_5406-5_0_3_node_152 | 0.4 | n |  | TRUE
33 | bus_LV_5406-5_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5406-5_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_5406-5_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5406-5_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5406-5_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5406-5_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_5406-5_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5406-5_0_3_node_14 | 0.4 | n |  | TRUE
41 | bus_LV_5406-5_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5406-5_0_3_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_5406-5_0_3_node_139 | 0.4 | n |  | TRUE
44 | bus_LV_5406-5_0_3_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_5406-5_0_3_node_137 | 0.4 | n |  | TRUE
46 | bus_LV_5406-5_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_5406-5_0_3_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_5406-5_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5406-5_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_5406-5_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5406-5_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_5406-5_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_5406-5_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_5406-5_0_3_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_5406-5_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_5406-5_0_3_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_5406-5_0_3_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_5406-5_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_5406-5_0_3_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_5406-5_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_5406-5_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_5406-5_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_5406-5_0_3_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_5406-5_0_3_node_119 | 0.4 | n |  | TRUE
65 | bus_LV_5406-5_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_5406-5_0_3_node_120 | 0.4 | n |  | TRUE
67 | bus_LV_5406-5_0_3_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_5406-5_0_3_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_5406-5_0_3_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_5406-5_0_3_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_5406-5_0_3_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_5406-5_0_3_node_149 | 0.4 | n |  | TRUE
73 | bus_LV_5406-5_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_5406-5_0_3_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_5406-5_0_3_node_154 | 0.4 | n |  | TRUE
76 | bus_LV_5406-5_0_3_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_5406-5_0_3_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_5406-5_0_3_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_5406-5_0_3_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_5406-5_0_3_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_5406-5_0_3_node_140 | 0.4 | n |  | TRUE
82 | bus_LV_5406-5_0_3_node_141 | 0.4 | n |  | TRUE
83 | bus_LV_5406-5_0_3_node_143 | 0.4 | n |  | TRUE
84 | bus_LV_5406-5_0_3_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_5406-5_0_3_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_5406-5_0_3_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_5406-5_0_3_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_5406-5_0_3_node_145 | 0.4 | n |  | TRUE
89 | bus_LV_5406-5_0_3_node_126 | 0.4 | n |  | TRUE
90 | bus_LV_5406-5_0_3_node_64 | 0.4 | n |  | TRUE
91 | bus_LV_5406-5_0_3_node_65 | 0.4 | n |  | TRUE
92 | bus_LV_5406-5_0_3_node_66 | 0.4 | n |  | TRUE
93 | bus_LV_5406-5_0_3_node_68 | 0.4 | n |  | TRUE
94 | bus_LV_5406-5_0_3_node_72 | 0.4 | n |  | TRUE
95 | bus_LV_5406-5_0_3_node_69 | 0.4 | n |  | TRUE
96 | bus_LV_5406-5_0_3_node_70 | 0.4 | n |  | TRUE
97 | bus_LV_5406-5_0_3_node_71 | 0.4 | n |  | TRUE
98 | bus_LV_5406-5_0_3_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_5406-5_0_3_node_77 | 0.4 | n |  | TRUE
100 | bus_LV_5406-5_0_3_node_78 | 0.4 | n |  | TRUE
101 | bus_LV_5406-5_0_3_node_130 | 0.4 | n |  | TRUE
102 | bus_LV_5406-5_0_3_node_127 | 0.4 | n |  | TRUE
103 | bus_LV_5406-5_0_3_node_83 | 0.4 | n |  | TRUE
104 | bus_LV_5406-5_0_3_node_128 | 0.4 | n |  | TRUE
105 | bus_LV_5406-5_0_3_node_80 | 0.4 | n |  | TRUE
106 | bus_LV_5406-5_0_3_node_82 | 0.4 | n |  | TRUE
107 | bus_LV_5406-5_0_3_node_146 | 0.4 | n |  | TRUE
108 | bus_LV_5406-5_0_3_node_148 | 0.4 | n |  | TRUE
109 | bus_LV_5406-5_0_3_node_84 | 0.4 | n |  | TRUE
110 | bus_LV_5406-5_0_3_node_85 | 0.4 | n |  | TRUE
111 | bus_LV_5406-5_0_3_node_86 | 0.4 | n |  | TRUE
112 | bus_LV_5406-5_0_3_node_87 | 0.4 | n |  | TRUE
113 | bus_LV_5406-5_0_3_node_88 | 0.4 | n |  | TRUE
114 | bus_LV_5406-5_0_3_node_94 | 0.4 | n |  | TRUE
115 | bus_LV_5406-5_0_3_node_93 | 0.4 | n |  | TRUE
116 | bus_LV_5406-5_0_3_node_104 | 0.4 | n |  | TRUE
117 | bus_LV_5406-5_0_3_node_98 | 0.4 | n |  | TRUE
118 | bus_LV_5406-5_0_3_node_117 | 0.4 | n |  | TRUE
119 | bus_LV_5406-5_0_3_node_91 | 0.4 | n |  | TRUE
120 | bus_LV_5406-5_0_3_node_89 | 0.4 | n |  | TRUE
121 | bus_LV_5406-5_0_3_node_90 | 0.4 | n |  | TRUE
122 | bus_LV_5406-5_0_3_node_92 | 0.4 | n |  | TRUE
123 | bus_LV_5406-5_0_3_node_108 | 0.4 | n |  | TRUE
124 | bus_LV_5406-5_0_3_node_113 | 0.4 | n |  | TRUE
125 | bus_LV_5406-5_0_3_node_110 | 0.4 | n |  | TRUE
126 | bus_LV_5406-5_0_3_node_107 | 0.4 | n |  | TRUE
127 | bus_LV_5406-5_0_3_node_112 | 0.4 | n |  | TRUE
128 | bus_LV_5406-5_0_3_node_118 | 0.4 | n |  | TRUE
129 | bus_LV_5406-5_0_3_node_95 | 0.4 | n |  | TRUE
130 | bus_LV_5406-5_0_3_node_96 | 0.4 | n |  | TRUE
131 | bus_LV_5406-5_0_3_node_97 | 0.4 | n |  | TRUE
132 | bus_LV_5406-5_0_3_node_103 | 0.4 | n |  | TRUE
133 | bus_LV_5406-5_0_3_node_99 | 0.4 | n |  | TRUE
134 | bus_LV_5406-5_0_3_node_100 | 0.4 | n |  | TRUE
135 | bus_LV_5406-5_0_3_node_101 | 0.4 | n |  | TRUE
136 | bus_LV_5406-5_0_3_node_102 | 0.4 | n |  | TRUE
137 | bus_LV_5406-5_0_3_node_151 | 0.4 | n |  | TRUE
138 | bus_LV_5406-5_0_3_node_125 | 0.4 | n |  | TRUE
139 | bus_LV_5406-5_0_3_node_131 | 0.4 | n |  | TRUE
140 | bus_LV_5406-5_0_3_node_134 | 0.4 | n |  | TRUE
141 | bus_LV_5406-5_0_3_node_135 | 0.4 | n |  | TRUE
142 | bus_LV_5406-5_0_3_node_109 | 0.4 | n |  | TRUE
143 | bus_LV_5406-5_0_3_node_111 | 0.4 | n |  | TRUE
144 | bus_LV_5406-5_0_3_node_123 | 0.4 | n |  | TRUE
145 | bus_LV_5406-5_0_3_node_114 | 0.4 | n |  | TRUE
146 | bus_LV_5406-5_0_3_node_115 | 0.4 | n |  | TRUE
147 | bus_LV_5406-5_0_3_node_150 | 0.4 | n |  | TRUE
148 | bus_LV_5406-5_0_3_node_121 | 0.4 | n |  | TRUE
149 | bus_LV_5406-5_0_3_node_122 | 0.4 | n |  | TRUE
150 | bus_LV_5406-5_0_3_node_124 | 0.4 | n |  | TRUE
151 | bus_LV_5406-5_0_3_node_129 | 0.4 | n |  | TRUE
152 | bus_LV_5406-5_0_3_node_147 | 0.4 | n |  | TRUE
153 | bus_MV_110_1_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5406-5_0_3_load_0 | 0 | 0.0012305 | 0.00030838 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5406-5_0_3_load_1 | 1 | 0.0015513 | 0.00038878 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5406-5_0_3_load_2 | 2 | 0.00059683 | 0.00014958 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5406-5_0_3_load_4 | 4 | 0.0018035 | 0.00045199 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5406-5_0_3_load_116 | 5 | 0.0020112 | 0.00050407 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5406-5_0_3_load_144 | 6 | 0.00083919 | 0.00021032 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5406-5_0_3_load_106 | 7 | 0.0020457 | 0.00051271 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5406-5_0_3_load_8 | 8 | 0.0013929 | 0.00034909 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5406-5_0_3_load_133 | 12 | 0.0022516 | 0.00056429 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5406-5_0_3_load_6 | 13 | 0.0014036 | 0.00035177 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5406-5_0_3_load_153 | 15 | 0.0019599 | 0.00049121 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5406-5_0_3_load_16 | 17 | 0.001268 | 0.00031778 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5406-5_0_3_load_17 | 18 | 0.0010027 | 0.00025129 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5406-5_0_3_load_136 | 21 | 0.00070727 | 0.00017726 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5406-5_0_3_load_10 | 23 | 0.00075125 | 0.00018828 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5406-5_0_3_load_30 | 26 | 0.00093908 | 0.00023535 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5406-5_0_3_load_31 | 27 | 0.0016894 | 0.00042341 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5406-5_0_3_load_29 | 28 | 0.00099727 | 0.00024994 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5406-5_0_3_load_32 | 30 | 0.0012409 | 0.00031101 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5406-5_0_3_load_152 | 32 | 0.00089125 | 0.00022337 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5406-5_0_3_load_22 | 33 | 0.00089836 | 0.00022515 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5406-5_0_3_load_28 | 34 | 0.0013649 | 0.00034208 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5406-5_0_3_load_23 | 35 | 0.009986 | 0.0025027 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5406-5_0_3_load_24 | 36 | 0.0010841 | 0.0002717 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5406-5_0_3_load_27 | 39 | 0.00087866 | 0.00022021 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5406-5_0_3_load_14 | 40 | 0.00078026 | 0.00019555 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5406-5_0_3_load_21 | 41 | 0.0029636 | 0.00074276 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5406-5_0_3_load_20 | 42 | 0.0012502 | 0.00031333 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5406-5_0_3_load_139 | 43 | 0.00081092 | 0.00020324 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5406-5_0_3_load_19 | 44 | 0.00084313 | 0.00021131 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5406-5_0_3_load_137 | 45 | 0.00089171 | 0.00022348 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5406-5_0_3_load_41 | 48 | 0.0015627 | 0.00039165 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5406-5_0_3_load_34 | 49 | 0.00068512 | 0.00017171 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5406-5_0_3_load_35 | 50 | 0.0019692 | 0.00049353 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5406-5_0_3_load_36 | 51 | 0.0022586 | 0.00056605 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5406-5_0_3_load_37 | 52 | 0.0018982 | 0.00047574 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5406-5_0_3_load_38 | 53 | 0.0023011 | 0.00057672 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5406-5_0_3_load_60 | 54 | 0.0012878 | 0.00032276 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5406-5_0_3_load_39 | 56 | 0.0012261 | 0.00030729 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5406-5_0_3_load_43 | 59 | 0.0013054 | 0.00032716 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5406-5_0_3_load_45 | 61 | 0.002942 | 0.00073734 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5406-5_0_3_load_62 | 63 | 0.0014853 | 0.00037224 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5406-5_0_3_load_119 | 64 | 0.00058552 | 0.00014675 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5406-5_0_3_load_120 | 66 | 0.0011514 | 0.00028856 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5406-5_0_3_load_47 | 67 | 0.0020876 | 0.00052319 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5406-5_0_3_load_48 | 68 | 0.0018693 | 0.00046849 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5406-5_0_3_load_50 | 70 | 0.0020037 | 0.00050218 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5406-5_0_3_load_52 | 71 | 0.0019708 | 0.00049392 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5406-5_0_3_load_149 | 72 | 0.0018162 | 0.00045518 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5406-5_0_3_load_53 | 74 | 0.0029842 | 0.00074792 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5406-5_0_3_load_154 | 75 | 0.0018059 | 0.00045261 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5406-5_0_3_load_54 | 76 | 0.0018291 | 0.00045842 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5406-5_0_3_load_61 | 77 | 0.006255 | 0.0015676 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5406-5_0_3_load_76 | 78 | 0.0016759 | 0.00042003 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5406-5_0_3_load_55 | 79 | 0.001311 | 0.00032856 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5406-5_0_3_load_57 | 80 | 0.0013592 | 0.00034064 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5406-5_0_3_load_140 | 81 | 0.0018009 | 0.00045134 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5406-5_0_3_load_141 | 82 | 0.0013028 | 0.00032651 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5406-5_0_3_load_143 | 83 | 0.0010644 | 0.00026676 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5406-5_0_3_load_75 | 84 | 0.0025356 | 0.00063548 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5406-5_0_3_load_67 | 87 | 0.0010048 | 0.00025183 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5406-5_0_3_load_145 | 88 | 0.0017011 | 0.00042633 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5406-5_0_3_load_126 | 89 | 0.0012663 | 0.00031738 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5406-5_0_3_load_64 | 90 | 0.0017095 | 0.00042845 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5406-5_0_3_load_65 | 91 | 0.0013774 | 0.0003452 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5406-5_0_3_load_72 | 94 | 0.002591 | 0.00064936 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5406-5_0_3_load_69 | 95 | 0.0040247 | 0.0010087 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5406-5_0_3_load_70 | 96 | 0.0031938 | 0.00080044 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5406-5_0_3_load_71 | 97 | 0.0039465 | 0.00098908 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5406-5_0_3_load_79 | 98 | 0.0013067 | 0.00032749 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5406-5_0_3_load_130 | 101 | 0.0028845 | 0.00072293 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5406-5_0_3_load_127 | 102 | 0.0031844 | 0.00079808 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5406-5_0_3_load_128 | 104 | 0.0012288 | 0.00030796 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5406-5_0_3_load_80 | 105 | 0.0011688 | 0.00029292 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5406-5_0_3_load_146 | 107 | 0.0048751 | 0.0012218 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5406-5_0_3_load_148 | 108 | 0.00063763 | 0.00015981 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5406-5_0_3_load_84 | 109 | 0.0016102 | 0.00040354 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5406-5_0_3_load_85 | 110 | 0.00097417 | 0.00024415 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5406-5_0_3_load_86 | 111 | 0.0016452 | 0.00041232 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5406-5_0_3_load_94 | 114 | 0.0014121 | 0.0003539 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5406-5_0_3_load_104 | 116 | 0.0014166 | 0.00035504 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5406-5_0_3_load_98 | 117 | 0.0011613 | 0.00029106 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5406-5_0_3_load_117 | 118 | 0.0013984 | 0.00035048 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5406-5_0_3_load_89 | 120 | 0.0012939 | 0.00032428 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5406-5_0_3_load_90 | 121 | 0.0018978 | 0.00047562 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5406-5_0_3_load_113 | 124 | 0.0011227 | 0.00028138 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5406-5_0_3_load_107 | 126 | 0.0015593 | 0.00039079 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5406-5_0_3_load_112 | 127 | 0.0007466 | 0.00018711 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5406-5_0_3_load_118 | 128 | 0.00093136 | 0.00023342 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5406-5_0_3_load_95 | 129 | 0.0017575 | 0.00044048 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5406-5_0_3_load_103 | 132 | 0.0016724 | 0.00041915 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5406-5_0_3_load_99 | 133 | 0.0018653 | 0.0004675 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5406-5_0_3_load_102 | 136 | 0.00059739 | 0.00014972 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5406-5_0_3_load_151 | 137 | 0.00060771 | 0.00015231 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5406-5_0_3_load_125 | 138 | 0.00080733 | 0.00020234 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5406-5_0_3_load_131 | 139 | 0.0035498 | 0.00088965 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5406-5_0_3_load_135 | 141 | 0.0030187 | 0.00075655 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5406-5_0_3_load_111 | 143 | 0.0028701 | 0.00071933 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5406-5_0_3_load_114 | 145 | 0.0004196 | 0.00010516 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5406-5_0_3_load_115 | 146 | 0.0007323 | 0.00018353 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5406-5_0_3_load_150 | 147 | 0.0010823 | 0.00027124 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5406-5_0_3_load_121 | 148 | 0.00049865 | 0.00012497 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5406-5_0_3_load_122 | 149 | 0.00071547 | 0.00017931 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5406-5_0_3_load_124 | 150 | 0.00096171 | 0.00024103 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5406-5_0_3_load_147 | 152 | 0.00093799 | 0.00023508 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5406-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5406-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0005654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5406-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0056553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5406-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5406-5_0_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.058492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5406-5_0_3_line_5 | NAYY 4x150 SE | 3 | 9 | 0.007554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5406-5_0_3_line_6 | NAYY 4x150 SE | 4 | 11 | 0.030562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5406-5_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.044753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5406-5_0_3_line_8 | NAYY 4x150 SE | 5 | 7 | 0.038357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5406-5_0_3_line_9 | NAYY 4x150 SE | 6 | 30 | 0.15087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_5406-5_0_3_line_10 | NAYY 4x150 SE | 6 | 31 | 0.039578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5406-5_0_3_line_11 | NAYY 4x150 SE | 7 | 10 | 0.020771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5406-5_0_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.019623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5406-5_0_3_line_13 | NAYY 4x150 SE | 10 | 116 | 0.010704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5406-5_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.047092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5406-5_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.00357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5406-5_0_3_line_16 | NAYY 4x150 SE | 12 | 22 | 0.015607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5406-5_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.034682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5406-5_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.021042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5406-5_0_3_line_19 | NAYY 4x150 SE | 16 | 20 | 0.011516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5406-5_0_3_line_20 | NAYY 4x150 SE | 16 | 21 | 0.013986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5406-5_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.0083492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5406-5_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.020202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5406-5_0_3_line_23 | NAYY 4x150 SE | 18 | 44 | 0.045328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5406-5_0_3_line_24 | NAYY 4x150 SE | 19 | 42 | 0.023048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5406-5_0_3_line_25 | NAYY 4x150 SE | 19 | 41 | 0.017389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5406-5_0_3_line_26 | NAYY 4x150 SE | 20 | 32 | 0.011865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5406-5_0_3_line_27 | NAYY 4x150 SE | 20 | 24 | 0.026506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5406-5_0_3_line_28 | NAYY 4x150 SE | 21 | 45 | 0.01475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5406-5_0_3_line_29 | NAYY 4x150 SE | 22 | 140 | 0.02385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5406-5_0_3_line_30 | NAYY 4x150 SE | 22 | 139 | 0.05295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5406-5_0_3_line_31 | NAYY 4x150 SE | 23 | 24 | 0.025988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5406-5_0_3_line_32 | NAYY 4x150 SE | 24 | 25 | 0.032985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5406-5_0_3_line_33 | NAYY 4x150 SE | 25 | 33 | 0.022573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5406-5_0_3_line_34 | NAYY 4x150 SE | 25 | 34 | 0.028583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5406-5_0_3_line_35 | NAYY 4x150 SE | 26 | 27 | 0.0017656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5406-5_0_3_line_36 | NAYY 4x150 SE | 26 | 28 | 0.023178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5406-5_0_3_line_37 | NAYY 4x150 SE | 27 | 29 | 0.039372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5406-5_0_3_line_38 | NAYY 4x150 SE | 28 | 38 | 0.011125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5406-5_0_3_line_39 | NAYY 4x150 SE | 29 | 30 | 0.018084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5406-5_0_3_line_40 | NAYY 4x150 SE | 31 | 83 | 0.016444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5406-5_0_3_line_41 | NAYY 4x150 SE | 31 | 82 | 0.026357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_5406-5_0_3_line_42 | NAYY 4x150 SE | 33 | 35 | 0.0013797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5406-5_0_3_line_43 | NAYY 4x150 SE | 34 | 38 | 0.026922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5406-5_0_3_line_44 | NAYY 4x150 SE | 36 | 37 | 0.0061121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5406-5_0_3_line_45 | NAYY 4x150 SE | 36 | 38 | 0.017094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5406-5_0_3_line_46 | NAYY 4x150 SE | 37 | 39 | 0.022628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5406-5_0_3_line_47 | NAYY 4x150 SE | 40 | 41 | 0.0202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5406-5_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.019281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5406-5_0_3_line_49 | NAYY 4x150 SE | 44 | 45 | 0.033327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5406-5_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.013317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5406-5_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.019777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5406-5_0_3_line_52 | NAYY 4x150 SE | 47 | 58 | 0.016374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5406-5_0_3_line_53 | NAYY 4x150 SE | 48 | 57 | 0.024403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5406-5_0_3_line_54 | NAYY 4x150 SE | 49 | 50 | 0.0019422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5406-5_0_3_line_55 | NAYY 4x150 SE | 49 | 51 | 0.015471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5406-5_0_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.028053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5406-5_0_3_line_57 | NAYY 4x150 SE | 51 | 53 | 0.0090493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5406-5_0_3_line_58 | NAYY 4x150 SE | 52 | 54 | 0.027763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5406-5_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.01612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5406-5_0_3_line_60 | NAYY 4x150 SE | 55 | 73 | 0.003898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5406-5_0_3_line_61 | NAYY 4x150 SE | 55 | 69 | 0.033684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5406-5_0_3_line_62 | NAYY 4x150 SE | 56 | 57 | 0.047132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5406-5_0_3_line_63 | NAYY 4x150 SE | 58 | 73 | 0.039732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5406-5_0_3_line_64 | NAYY 4x150 SE | 58 | 79 | 0.049532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5406-5_0_3_line_65 | NAYY 4x150 SE | 59 | 60 | 0.0054491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5406-5_0_3_line_66 | NAYY 4x150 SE | 60 | 61 | 0.006824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5406-5_0_3_line_67 | NAYY 4x150 SE | 60 | 62 | 0.037257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5406-5_0_3_line_68 | NAYY 4x150 SE | 61 | 63 | 0.035931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5406-5_0_3_line_69 | NAYY 4x150 SE | 62 | 64 | 0.017991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5406-5_0_3_line_70 | NAYY 4x150 SE | 63 | 65 | 0.031555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5406-5_0_3_line_71 | NAYY 4x150 SE | 64 | 66 | 0.010053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5406-5_0_3_line_72 | NAYY 4x150 SE | 65 | 85 | 0.002455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5406-5_0_3_line_73 | NAYY 4x150 SE | 65 | 86 | 0.032125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5406-5_0_3_line_74 | NAYY 4x150 SE | 66 | 148 | 0.015205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5406-5_0_3_line_75 | NAYY 4x150 SE | 67 | 68 | 0.028224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5406-5_0_3_line_76 | NAYY 4x150 SE | 67 | 69 | 0.034354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5406-5_0_3_line_77 | NAYY 4x150 SE | 68 | 70 | 0.010907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5406-5_0_3_line_78 | NAYY 4x150 SE | 69 | 71 | 0.021308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5406-5_0_3_line_79 | NAYY 4x150 SE | 70 | 72 | 0.024207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5406-5_0_3_line_80 | NAYY 4x150 SE | 71 | 74 | 0.012097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5406-5_0_3_line_81 | NAYY 4x150 SE | 73 | 75 | 0.028742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5406-5_0_3_line_82 | NAYY 4x150 SE | 74 | 76 | 0.023357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5406-5_0_3_line_83 | NAYY 4x150 SE | 76 | 77 | 0.0076554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5406-5_0_3_line_84 | NAYY 4x150 SE | 77 | 78 | 0.0016354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5406-5_0_3_line_85 | NAYY 4x150 SE | 78 | 84 | 0.016121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5406-5_0_3_line_86 | NAYY 4x150 SE | 79 | 80 | 0.03401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5406-5_0_3_line_87 | NAYY 4x150 SE | 80 | 81 | 0.025414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5406-5_0_3_line_88 | NAYY 4x150 SE | 80 | 82 | 0.038061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5406-5_0_3_line_89 | NAYY 4x150 SE | 83 | 147 | 0.0032674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5406-5_0_3_line_90 | NAYY 4x150 SE | 84 | 99 | 0.0077592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5406-5_0_3_line_91 | NAYY 4x150 SE | 85 | 87 | 0.021024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5406-5_0_3_line_92 | NAYY 4x150 SE | 86 | 88 | 0.013961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5406-5_0_3_line_93 | NAYY 4x150 SE | 86 | 89 | 0.018665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5406-5_0_3_line_94 | NAYY 4x150 SE | 87 | 92 | 0.0055556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5406-5_0_3_line_95 | NAYY 4x150 SE | 90 | 91 | 0.046859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5406-5_0_3_line_96 | NAYY 4x150 SE | 91 | 92 | 0.03754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5406-5_0_3_line_97 | NAYY 4x150 SE | 92 | 93 | 0.029395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5406-5_0_3_line_98 | NAYY 4x150 SE | 93 | 94 | 0.033437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5406-5_0_3_line_99 | NAYY 4x150 SE | 95 | 96 | 5.5625e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5406-5_0_3_line_100 | NAYY 4x150 SE | 96 | 97 | 0.02503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5406-5_0_3_line_101 | NAYY 4x150 SE | 97 | 98 | 0.00053365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5406-5_0_3_line_102 | NAYY 4x150 SE | 98 | 99 | 0.019895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5406-5_0_3_line_103 | NAYY 4x150 SE | 99 | 100 | 0.008018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5406-5_0_3_line_104 | NAYY 4x150 SE | 100 | 101 | 0.031027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5406-5_0_3_line_105 | NAYY 4x150 SE | 100 | 102 | 0.0046269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5406-5_0_3_line_106 | NAYY 4x150 SE | 101 | 103 | 0.0061078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5406-5_0_3_line_107 | NAYY 4x150 SE | 102 | 104 | 0.014764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5406-5_0_3_line_108 | NAYY 4x150 SE | 103 | 107 | 0.016492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5406-5_0_3_line_109 | NAYY 4x150 SE | 103 | 106 | 0.019037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5406-5_0_3_line_110 | NAYY 4x150 SE | 104 | 151 | 0.01615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5406-5_0_3_line_111 | NAYY 4x150 SE | 105 | 106 | 0.050623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5406-5_0_3_line_112 | NAYY 4x150 SE | 107 | 108 | 0.0092542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5406-5_0_3_line_113 | NAYY 4x150 SE | 109 | 110 | 0.031885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5406-5_0_3_line_114 | NAYY 4x150 SE | 109 | 111 | 0.0046783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_5406-5_0_3_line_115 | NAYY 4x150 SE | 110 | 112 | 0.0031528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_5406-5_0_3_line_116 | NAYY 4x150 SE | 111 | 113 | 0.025844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_5406-5_0_3_line_117 | NAYY 4x150 SE | 112 | 114 | 0.013503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_5406-5_0_3_line_118 | NAYY 4x150 SE | 113 | 115 | 0.001307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_5406-5_0_3_line_119 | NAYY 4x150 SE | 113 | 116 | 0.02106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_5406-5_0_3_line_120 | NAYY 4x150 SE | 114 | 117 | 0.0087874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_5406-5_0_3_line_121 | NAYY 4x150 SE | 115 | 118 | 0.025136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_5406-5_0_3_line_122 | NAYY 4x150 SE | 115 | 119 | 0.025093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_5406-5_0_3_line_123 | NAYY 4x150 SE | 118 | 128 | 0.038472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_5406-5_0_3_line_124 | NAYY 4x150 SE | 119 | 122 | 0.022017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_5406-5_0_3_line_125 | NAYY 4x150 SE | 119 | 120 | 0.02196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_5406-5_0_3_line_126 | NAYY 4x150 SE | 120 | 121 | 0.03384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_5406-5_0_3_line_127 | NAYY 4x150 SE | 122 | 123 | 0.011532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_5406-5_0_3_line_128 | NAYY 4x150 SE | 122 | 124 | 0.01749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_5406-5_0_3_line_129 | NAYY 4x150 SE | 123 | 125 | 0.0355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_5406-5_0_3_line_130 | NAYY 4x150 SE | 123 | 126 | 0.011532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_5406-5_0_3_line_131 | NAYY 4x150 SE | 124 | 127 | 0.03347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_5406-5_0_3_line_132 | NAYY 4x150 SE | 125 | 138 | 0.013061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_5406-5_0_3_line_133 | NAYY 4x150 SE | 125 | 135 | 0.009084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_5406-5_0_3_line_134 | NAYY 4x150 SE | 126 | 142 | 0.035646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_5406-5_0_3_line_135 | NAYY 4x150 SE | 127 | 145 | 0.024993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_5406-5_0_3_line_136 | NAYY 4x150 SE | 129 | 130 | 0.039994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_5406-5_0_3_line_137 | NAYY 4x150 SE | 130 | 131 | 0.036804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_5406-5_0_3_line_138 | NAYY 4x150 SE | 131 | 132 | 0.007909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_5406-5_0_3_line_139 | NAYY 4x150 SE | 131 | 133 | 0.024987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_5406-5_0_3_line_140 | NAYY 4x150 SE | 133 | 134 | 0.035493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_5406-5_0_3_line_141 | NAYY 4x150 SE | 134 | 135 | 0.02952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_5406-5_0_3_line_142 | NAYY 4x150 SE | 134 | 136 | 0.036644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_5406-5_0_3_line_143 | NAYY 4x150 SE | 135 | 137 | 0.008977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_5406-5_0_3_line_144 | NAYY 4x150 SE | 138 | 144 | 0.025609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_5406-5_0_3_line_145 | NAYY 4x150 SE | 140 | 141 | 0.01708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_5406-5_0_3_line_146 | NAYY 4x150 SE | 142 | 143 | 0.024608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_5406-5_0_3_line_147 | NAYY 4x150 SE | 144 | 150 | 0.021138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_5406-5_0_3_line_148 | NAYY 4x150 SE | 144 | 149 | 0.0029912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
149 | LV_5406-5_0_3_line_149 | NAYY 4x150 SE | 145 | 146 | 0.0070779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
150 | LV_5406-5_0_3_line_150 | NAYY 4x150 SE | 148 | 149 | 0.010845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
151 | LV_5406-5_0_3_line_151 | NAYY 4x150 SE | 151 | 152 | 0.011796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5406-5_0_3_trafo_141 | 0.25 MVA 20/0.4 kV | 153 | 82 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2567931.6457 | 1119260.6251 | 2567930.1943 | 1119262.2418 | 2567926.9124 | 1119266.0945 | 2567923.8768 | 1119271.4089
1 | 2567931.6457 | 1119260.6251 | 2567932.0234 | 1119260.2043
2 | 2567921.0719 | 1119276.3196 | 2567923.8768 | 1119271.4089
3 | 2567943.3477 | 1119248.5931 | 2567936.2309 | 1119255.5175 | 2567932.0234 | 1119260.2043
4 | 2567921.0719 | 1119276.3196 | 2567933.6079 | 1119277.3758 | 2567956.0312 | 1119277.6124 | 2567963.5567 | 1119278.0949 | 2567972.4359 | 1119279.2373 | 2567978.8644 | 1119282.3937
5 | 2567921.0719 | 1119276.3196 | 2567918.2604 | 1119280.1142 | 2567916.8151 | 1119282.5565
6 | 2567955.6922 | 1119221.0302 | 2567946.5016 | 1119245.5246 | 2567943.3477 | 1119248.5931
7 | 2567724.4788 | 1119113.9514 | 2567743.3344 | 1119073.3642
8 | 2567704.5584 | 1119146.7286 | 2567709.0718 | 1119139.0693 | 2567724.4788 | 1119113.9514
9 | 2567743.3344 | 1119073.3642 | 2567878.6963 | 1119139.9825
10 | 2567743.3344 | 1119073.3642 | 2567742.7096 | 1119070.5106 | 2567735.5476 | 1119063.0117 | 2567729.0884 | 1119057.0766 | 2567727.594 | 1119054.6611 | 2567726.1097 | 1119052.6792 | 2567725.3166 | 1119051.5606 | 2567725.3097 | 1119050.26 | 2567726.6039 | 1119048.43 | 2567729.9653 | 1119043.5651 | 2567730.6764 | 1119042.3496
11 | 2567691.7815 | 1119162.3402 | 2567693.2229 | 1119162.0657 | 2567695.6827 | 1119160.3294 | 2567698.3208 | 1119157.3138 | 2567704.5584 | 1119146.7286
12 | 2567916.8151 | 1119282.5565 | 2567919.0531 | 1119284.1009 | 2567924.3879 | 1119287.5965 | 2567932.766 | 1119293.9683
13 | 2567691.7815 | 1119162.3402 | 2567688.6047 | 1119161.3122 | 2567681.9728 | 1119158.1084
14 | 2567955.6922 | 1119221.0302 | 2567948.7298 | 1119223.4239 | 2567941.5187 | 1119226.9306 | 2567932.0051 | 1119232.7396 | 2567923.7908 | 1119237.6857 | 2567915.2949 | 1119244.79
15 | 2567957.3033 | 1119217.8422 | 2567955.6922 | 1119221.0302
16 | 2567945.1887 | 1119303.4163 | 2567932.766 | 1119293.9683
17 | 2567957.3033 | 1119217.8422 | 2567967.3319 | 1119223.2695 | 2567972.4679 | 1119227.1109 | 2567975.0472 | 1119231.8885 | 2567977.8348 | 1119236.665 | 2567981.3171 | 1119238.5808 | 2567983.2636 | 1119238.9818
18 | 2567963.4311 | 1119197.7552 | 2567963.1498 | 1119200.0022 | 2567960.3136 | 1119209.322 | 2567957.3033 | 1119217.8422
19 | 2567963.4311 | 1119197.7552 | 2567964.5593 | 1119193.7138 | 2567966.2422 | 1119186.5902
20 | 2567963.4311 | 1119197.7552 | 2567952.6928 | 1119189.4524 | 2567952.363 | 1119189.2051
21 | 2567886.5195 | 1119203.0533 | 2567887.8904 | 1119200.2243 | 2567890.4849 | 1119195.7114
22 | 2567877.7092 | 1119221.2335 | 2567886.5195 | 1119203.0533
23 | 2567915.712 | 1119158.1481 | 2567900.0003 | 1119179.1604 | 2567890.4849 | 1119195.7114
24 | 2567877.7092 | 1119221.2335 | 2567862.7763 | 1119213.4646 | 2567857.5502 | 1119210.1018
25 | 2567869.566 | 1119236.6068 | 2567877.7092 | 1119221.2335
26 | 2567966.2422 | 1119186.5902 | 2567976.8186 | 1119192.0257
27 | 2567971.1432 | 1119160.6956 | 2567970.3544 | 1119161.8114 | 2567967.7751 | 1119174.4759 | 2567966.9338 | 1119180.2389 | 2567966.2422 | 1119186.5902
28 | 2567940.5614 | 1119180.3567 | 2567952.363 | 1119189.2051
29 | 2567930.0317 | 1119321.6615 | 2567931.2552 | 1119319.5984 | 2567936.0414 | 1119312.8029 | 2567940.4764 | 1119308.1548 | 2567942.5146 | 1119305.4759 | 2567945.1887 | 1119303.4163
30 | 2567945.1887 | 1119303.4163 | 2567959.9757 | 1119314.2766 | 2567965.1793 | 1119319.2404 | 2567965.903 | 1119320.3927 | 2567966.1724 | 1119321.7252 | 2567961.0544 | 1119332.8802 | 2567954.6513 | 1119343.5205
31 | 2567971.1432 | 1119160.6956 | 2567967.8336 | 1119160.791 | 2567961.4789 | 1119162.8479 | 2567953.9058 | 1119166.49 | 2567948.1424 | 1119169.4776 | 2567947.0974 | 1119169.8277
32 | 2567990.2594 | 1119133.7807 | 2567971.1432 | 1119160.6956
33 | 2567990.2594 | 1119133.7807 | 2568002.815 | 1119152.5401
34 | 2567990.2594 | 1119133.7807 | 2567970.5664 | 1119113.0636
35 | 2567929.8809 | 1119126.1962 | 2567929.2048 | 1119127.8272
36 | 2567941.9754 | 1119106.5776 | 2567938.0456 | 1119112.0134 | 2567933.3798 | 1119118.2635 | 2567931.0536 | 1119123.3673 | 2567929.8809 | 1119126.1962
37 | 2567929.2048 | 1119127.8272 | 2567889.8862 | 1119125.7762
38 | 2567948.4935 | 1119097.5618 | 2567941.9754 | 1119106.5776
39 | 2567889.8862 | 1119125.7762 | 2567878.6963 | 1119139.9825
40 | 2567730.6764 | 1119042.3496 | 2567727.7878 | 1119041.8425 | 2567722.7675 | 1119045.2489 | 2567716.7958 | 1119049.6941
41 | 2567730.6764 | 1119042.3496 | 2567743.9843 | 1119019.5988
42 | 2568003.5824 | 1119153.6867 | 2568002.815 | 1119152.5401
43 | 2567948.4935 | 1119097.5618 | 2567970.5664 | 1119113.0636
44 | 2567961.8727 | 1119078.6034 | 2567958.4244 | 1119083.6499
45 | 2567948.4935 | 1119097.5618 | 2567956.5208 | 1119086.4358 | 2567958.4244 | 1119083.6499
46 | 2567961.8727 | 1119078.6034 | 2567980.3681 | 1119091.7119
47 | 2567873.9068 | 1119256.3351 | 2567869.566 | 1119236.6068
48 | 2567842.3547 | 1119221.1327 | 2567849.1157 | 1119214.2599 | 2567853.2189 | 1119211.0587 | 2567857.5502 | 1119210.1018
49 | 2567940.5614 | 1119180.3567 | 2567915.712 | 1119158.1481
50 | 2567810.1501 | 1118933.4928 | 2567798.6401 | 1118926.7397
51 | 2567810.1501 | 1118933.4928 | 2567812.1504 | 1118930.9364 | 2567812.4947 | 1118928.9336 | 2567815.5184 | 1118925.8381 | 2567818.8131 | 1118922.9302 | 2567823.1784 | 1118919.1456
52 | 2567788.0871 | 1118914.2563 | 2567797.5324 | 1118925.9452 | 2567798.6401 | 1118926.7397
53 | 2567842.1225 | 1118903.8409 | 2567838.7534 | 1118905.8376 | 2567830.6568 | 1118912.6619 | 2567823.1784 | 1118919.1456
54 | 2567716.2523 | 1118939.997 | 2567717.3778 | 1118938.4141
55 | 2567716.2523 | 1118939.997 | 2567707.2867 | 1118952.6056
56 | 2567734.0874 | 1118915.882 | 2567719.426 | 1118935.5337 | 2567717.3778 | 1118938.4141
57 | 2567702.0426 | 1118959.9805 | 2567707.2867 | 1118952.6056
58 | 2567734.0874 | 1118915.882 | 2567745.0149 | 1118901.2352 | 2567750.8181 | 1118893.728
59 | 2567760.3844 | 1118880.7651 | 2567758.5757 | 1118883.087 | 2567755.6286 | 1118887.505 | 2567750.8181 | 1118893.728
60 | 2567760.3844 | 1118880.7651 | 2567763.2689 | 1118883.3954
61 | 2567733.5767 | 1118860.3202 | 2567741.2662 | 1118865.4039 | 2567760.3844 | 1118880.7651
62 | 2567842.1225 | 1118903.8409 | 2567841.3025 | 1118894.7629 | 2567836.0611 | 1118869.7671 | 2567832.6787 | 1118857.757
63 | 2567763.2689 | 1118883.3954 | 2567769.7732 | 1118889.0747 | 2567788.0871 | 1118914.2563
64 | 2567788.0871 | 1118914.2563 | 2567785.6914 | 1118917.9154 | 2567772.5265 | 1118937.9513 | 2567762.0398 | 1118952.3367 | 2567760.0311 | 1118955.0582
65 | 2567628.941 | 1118999.3947 | 2567624.907 | 1119003.058
66 | 2567628.941 | 1118999.3947 | 2567629.1424 | 1118996.67 | 2567628.8671 | 1118994.2591 | 2567628.3068 | 1118992.6908
67 | 2567628.941 | 1118999.3947 | 2567634.8757 | 1119005.3436 | 2567640.7666 | 1119011.7597 | 2567642.4788 | 1119014.4853 | 2567644.1847 | 1119014.6095 | 2567647.0311 | 1119017.329 | 2567651.1144 | 1119021.9205 | 2567653.4018 | 1119023.9982 | 2567652.2457 | 1119025.683
68 | 2567628.3068 | 1118992.6908 | 2567628.2091 | 1118992.4173 | 2567625.5376 | 1118989.2189 | 2567614.2788 | 1118976.106 | 2567607.6519 | 1118967.7151 | 2567605.3328 | 1118965.0972
69 | 2567652.2457 | 1119025.683 | 2567638.6059 | 1119037.4144
70 | 2567581.013 | 1118945.6803 | 2567585.0076 | 1118946.6704 | 2567600.7468 | 1118960.693 | 2567605.1133 | 1118964.8495 | 2567605.3328 | 1118965.0972
71 | 2567638.6059 | 1119037.4144 | 2567638.1209 | 1119037.8315 | 2567630.8588 | 1119043.8213
72 | 2567581.7257 | 1118943.3308 | 2567581.013 | 1118945.6803
73 | 2567573.5493 | 1118976.8805 | 2567574.9335 | 1118970.2586 | 2567577.2217 | 1118958.118 | 2567581.013 | 1118945.6803
74 | 2567630.8588 | 1119043.8213 | 2567622.8182 | 1119050.4532 | 2567619.5643 | 1119053.9576
75 | 2567696.4768 | 1118910.7075 | 2567709.8684 | 1118892.7743 | 2567713.3886 | 1118888.111
76 | 2567733.5767 | 1118860.3202 | 2567722.4647 | 1118876.0875 | 2567713.3886 | 1118888.111
77 | 2567696.4768 | 1118910.7075 | 2567690.5235 | 1118918.6798 | 2567689.9569 | 1118919.4517
78 | 2567733.5767 | 1118860.3202 | 2567714.8374 | 1118850.1778
79 | 2567674.694 | 1118938.1965 | 2567682.3652 | 1118929.7957 | 2567689.9569 | 1118919.4517
80 | 2567714.8374 | 1118850.1778 | 2567708.5807 | 1118846.7914 | 2567704.3892 | 1118844.0978
81 | 2567763.2689 | 1118883.3954 | 2567756.64 | 1118891.9462 | 2567749.7354 | 1118900.8987 | 2567748.3154 | 1118903.7411 | 2567747.9381 | 1118905.3328 | 2567748.9032 | 1118906.884
82 | 2567685.0442 | 1118831.068 | 2567687.4966 | 1118833.2418 | 2567704.3892 | 1118844.0978
83 | 2567685.0442 | 1118831.068 | 2567679.3154 | 1118825.9899
84 | 2567678.0916 | 1118824.9051 | 2567679.3154 | 1118825.9899
85 | 2567678.0916 | 1118824.9051 | 2567666.0273 | 1118814.2114
86 | 2567739.103 | 1118981.8519 | 2567750.3342 | 1118968.1961 | 2567760.0311 | 1118955.0582
87 | 2567739.103 | 1118981.8519 | 2567764.2803 | 1118985.3087
88 | 2567739.103 | 1118981.8519 | 2567743.9843 | 1119019.5988
89 | 2567716.7958 | 1119049.6941 | 2567715.0746 | 1119052.4714
90 | 2567660.2209 | 1118809.0645 | 2567666.0273 | 1118814.2114
91 | 2567581.7257 | 1118943.3308 | 2567588.901 | 1118923.5693
92 | 2567586.2021 | 1118972.2436 | 2567576.2376 | 1118977.4552 | 2567573.5493 | 1118976.8805
93 | 2567573.5493 | 1118976.8805 | 2567569.7229 | 1118995.149
94 | 2567590.797 | 1118918.3473 | 2567588.901 | 1118923.5693
95 | 2567655.2974 | 1118972.7724 | 2567630.4496 | 1118951.2179 | 2567619.698 | 1118942.3051
96 | 2567590.797 | 1118918.3473 | 2567619.698 | 1118942.3051
97 | 2567590.797 | 1118918.3473 | 2567592.0619 | 1118912.4931 | 2567603.7977 | 1118892.2422
98 | 2567603.7977 | 1118892.2422 | 2567618.8239 | 1118904.2454 | 2567624.2074 | 1118908.0963 | 2567628.1888 | 1118908.0749 | 2567630.946 | 1118905.6589
99 | 2567638.0813 | 1118847.5916 | 2567638.0448 | 1118847.6336
100 | 2567638.0813 | 1118847.5916 | 2567644.0857 | 1118840.6891 | 2567653.1067 | 1118827.6185
101 | 2567653.4098 | 1118827.1793 | 2567653.1067 | 1118827.6185
102 | 2567660.2209 | 1118809.0645 | 2567658.8176 | 1118819.3439 | 2567653.4098 | 1118827.1793
103 | 2567655.0412 | 1118802.9336 | 2567660.2209 | 1118809.0645
104 | 2567655.0412 | 1118802.9336 | 2567629.256 | 1118789.087 | 2567627.5357 | 1118788.7209
105 | 2567655.0412 | 1118802.9336 | 2567653.2177 | 1118798.6812
106 | 2567621.5617 | 1118787.4497 | 2567627.5357 | 1118788.7209
107 | 2567653.2177 | 1118798.6812 | 2567648.7822 | 1118788.3376 | 2567646.5131 | 1118785.6604
108 | 2567621.5617 | 1118787.4497 | 2567621.0989 | 1118790.3758 | 2567618.6754 | 1118796.025 | 2567614.8674 | 1118802.35
109 | 2567621.5617 | 1118787.4497 | 2567614.7557 | 1118784.5625 | 2567604.0968 | 1118779.7617
110 | 2567635.2639 | 1118774.1028 | 2567642.7794 | 1118781.255 | 2567646.5131 | 1118785.6604
111 | 2567604.0968 | 1118779.7617 | 2567574.3331 | 1118820.711
112 | 2567610.0941 | 1118810.2782 | 2567614.8674 | 1118802.35
113 | 2567647.3795 | 1119174.7784 | 2567631.5132 | 1119202.4359
114 | 2567647.3795 | 1119174.7784 | 2567649.7075 | 1119170.7205
115 | 2567629.9443 | 1119205.1707 | 2567631.5132 | 1119202.4359
116 | 2567663.1439 | 1119148.6755 | 2567659.3067 | 1119153.9876 | 2567649.7075 | 1119170.7205
117 | 2567629.9443 | 1119205.1707 | 2567642.0956 | 1119211.0586
118 | 2567663.1439 | 1119148.6755 | 2567661.9299 | 1119148.1817
119 | 2567663.1439 | 1119148.6755 | 2567677.9988 | 1119156.1886 | 2567681.9728 | 1119158.1084
120 | 2567650.0036 | 1119214.8903 | 2567642.0956 | 1119211.0586
121 | 2567661.9299 | 1119148.1817 | 2567671.5239 | 1119130.0435 | 2567674.0849 | 1119126.2024
122 | 2567639.2799 | 1119137.431 | 2567639.7752 | 1119137.7063 | 2567649.5894 | 1119141.9336 | 2567653.2709 | 1119143.5591 | 2567661.9299 | 1119148.1817
123 | 2567692.9598 | 1119092.7433 | 2567683.6373 | 1119111.1802 | 2567681.0078 | 1119115.8189 | 2567674.0849 | 1119126.2024
124 | 2567639.2799 | 1119137.431 | 2567625.5628 | 1119129.1448 | 2567621.0353 | 1119125.156
125 | 2567639.2799 | 1119137.431 | 2567638.1616 | 1119140.394 | 2567630.4943 | 1119155.2204 | 2567629.4559 | 1119157.0478
126 | 2567629.4559 | 1119157.0478 | 2567620.5727 | 1119172.6824 | 2567612.6874 | 1119186.4413
127 | 2567612.1302 | 1119117.8 | 2567621.0353 | 1119125.156
128 | 2567621.0353 | 1119125.156 | 2567623.638 | 1119119.8616 | 2567626.1051 | 1119113.7341 | 2567628.3847 | 1119109.3003
129 | 2567585.691 | 1119094.0299 | 2567612.1302 | 1119117.8
130 | 2567612.1302 | 1119117.8 | 2567605.993 | 1119127.5637
131 | 2567649.6191 | 1119083.462 | 2567646.5107 | 1119087.2225 | 2567628.8848 | 1119108.3276 | 2567628.3847 | 1119109.3003
132 | 2567585.691 | 1119094.0299 | 2567594.2248 | 1119084.1428
133 | 2567585.691 | 1119094.0299 | 2567578.8609 | 1119088.0191
134 | 2567587.1834 | 1119157.8429 | 2567600.3864 | 1119136.4835 | 2567605.993 | 1119127.5637
135 | 2567649.6191 | 1119083.462 | 2567665.5427 | 1119064.198
136 | 2567508.0775 | 1119158.8797 | 2567518.5787 | 1119164.5927 | 2567528.3462 | 1119171.5993 | 2567541.7512 | 1119180.369
137 | 2567508.0775 | 1119158.8797 | 2567527.1051 | 1119127.3503
138 | 2567527.1051 | 1119127.3503 | 2567533.7027 | 1119131.7393
139 | 2567527.1051 | 1119127.3503 | 2567539.7641 | 1119106.7274 | 2567540.1588 | 1119106.045
140 | 2567553.7998 | 1119073.7687 | 2567552.848 | 1119080.4328 | 2567550.9333 | 1119087.4132 | 2567540.1588 | 1119106.045
141 | 2567553.7998 | 1119073.7687 | 2567560.8372 | 1119075.265 | 2567567.0147 | 1119077.5774 | 2567578.8609 | 1119088.0191
142 | 2567553.7998 | 1119073.7687 | 2567556.3958 | 1119057.1798 | 2567560.115 | 1119038.517 | 2567560.2972 | 1119037.7142
143 | 2567578.8609 | 1119088.0191 | 2567573.5604 | 1119095.2734
144 | 2567610.3847 | 1119064.2935 | 2567603.6886 | 1119073.1784 | 2567594.2248 | 1119084.1428
145 | 2567930.0317 | 1119321.6615 | 2567925.8934 | 1119319.7158 | 2567922.847 | 1119317.064 | 2567916.3337 | 1119311.6521
146 | 2567587.1834 | 1119157.8429 | 2567574.736 | 1119179.0871
147 | 2567610.3847 | 1119064.2935 | 2567611.3075 | 1119065.1446 | 2567613.1141 | 1119065.335 | 2567616.584 | 1119064.9161 | 2567620.7899 | 1119065.027 | 2567623.8111 | 1119067.2675 | 2567629.0819 | 1119071.2436
148 | 2567610.3847 | 1119064.2935 | 2567612.1852 | 1119061.9049
149 | 2567665.5427 | 1119064.198 | 2567670.0522 | 1119058.7425
150 | 2567619.5643 | 1119053.9576 | 2567612.1852 | 1119061.9049
151 | 2567635.2639 | 1118774.1028 | 2567640.0212 | 1118769.0859 | 2567643.6976 | 1118766.8429 | 2567644.2263 | 1118766.6156

## bus_geodata
| x | y | coords
0 | 2567931.6457 | 1119260.6251
1 | 2567923.8768 | 1119271.4089
2 | 2567932.0234 | 1119260.2043
3 | 2567921.0719 | 1119276.3196
4 | 2567943.3477 | 1119248.5931
5 | 2567724.4788 | 1119113.9514
6 | 2567743.3344 | 1119073.3642
7 | 2567704.5584 | 1119146.7286
8 | 2567978.8644 | 1119282.3937
9 | 2567916.8151 | 1119282.5565
10 | 2567691.7815 | 1119162.3402
11 | 2567955.6922 | 1119221.0302
12 | 2567932.766 | 1119293.9683
13 | 2567915.2949 | 1119244.79
14 | 2567957.3033 | 1119217.8422
15 | 2567983.2636 | 1119238.9818
16 | 2567963.4311 | 1119197.7552
17 | 2567886.5195 | 1119203.0533
18 | 2567890.4849 | 1119195.7114
19 | 2567877.7092 | 1119221.2335
20 | 2567966.2422 | 1119186.5902
21 | 2567952.363 | 1119189.2051
22 | 2567945.1887 | 1119303.4163
23 | 2567947.0974 | 1119169.8277
24 | 2567971.1432 | 1119160.6956
25 | 2567990.2594 | 1119133.7807
26 | 2567929.8809 | 1119126.1962
27 | 2567929.2048 | 1119127.8272
28 | 2567941.9754 | 1119106.5776
29 | 2567889.8862 | 1119125.7762
30 | 2567878.6963 | 1119139.9825
31 | 2567730.6764 | 1119042.3496
32 | 2567976.8186 | 1119192.0257
33 | 2568002.815 | 1119152.5401
34 | 2567970.5664 | 1119113.0636
35 | 2568003.5824 | 1119153.6867
36 | 2567958.4244 | 1119083.65
37 | 2567961.8727 | 1119078.6034
38 | 2567948.4935 | 1119097.5618
39 | 2567980.3681 | 1119091.7119
40 | 2567873.9068 | 1119256.3351
41 | 2567869.566 | 1119236.6068
42 | 2567857.5502 | 1119210.1018
43 | 2567842.3547 | 1119221.1327
44 | 2567915.712 | 1119158.1481
45 | 2567940.5614 | 1119180.3567
46 | 2567810.1501 | 1118933.4928
47 | 2567798.6401 | 1118926.7397
48 | 2567823.1784 | 1118919.1456
49 | 2567716.2523 | 1118939.997
50 | 2567717.3778 | 1118938.4141
51 | 2567707.2867 | 1118952.6056
52 | 2567734.0874 | 1118915.882
53 | 2567702.0426 | 1118959.9805
54 | 2567750.8181 | 1118893.728
55 | 2567760.3844 | 1118880.7651
56 | 2567832.6787 | 1118857.757
57 | 2567842.1224 | 1118903.8409
58 | 2567788.0871 | 1118914.2563
59 | 2567624.907 | 1119003.058
60 | 2567628.941 | 1118999.3947
61 | 2567628.3068 | 1118992.6908
62 | 2567652.2457 | 1119025.683
63 | 2567605.3328 | 1118965.0972
64 | 2567638.6059 | 1119037.4144
65 | 2567581.013 | 1118945.6803
66 | 2567630.8588 | 1119043.8213
67 | 2567713.3886 | 1118888.111
68 | 2567696.4768 | 1118910.7075
69 | 2567733.5767 | 1118860.3202
70 | 2567689.9569 | 1118919.4517
71 | 2567714.8374 | 1118850.1778
72 | 2567674.694 | 1118938.1965
73 | 2567763.2689 | 1118883.3954
74 | 2567704.3892 | 1118844.0978
75 | 2567748.9032 | 1118906.884
76 | 2567685.0442 | 1118831.068
77 | 2567679.3154 | 1118825.9899
78 | 2567678.0916 | 1118824.9051
79 | 2567760.0311 | 1118955.0582
80 | 2567739.103 | 1118981.8519
81 | 2567764.2803 | 1118985.3087
82 | 2567743.9843 | 1119019.5988
83 | 2567716.7958 | 1119049.6941
84 | 2567666.0273 | 1118814.2114
85 | 2567581.7257 | 1118943.3308
86 | 2567573.5493 | 1118976.8805
87 | 2567588.901 | 1118923.5693
88 | 2567586.2021 | 1118972.2436
89 | 2567569.7229 | 1118995.149
90 | 2567655.2974 | 1118972.7724
91 | 2567619.698 | 1118942.3051
92 | 2567590.797 | 1118918.3473
93 | 2567603.7977 | 1118892.2422
94 | 2567630.946 | 1118905.6589
95 | 2567638.0448 | 1118847.6336
96 | 2567638.0813 | 1118847.5916
97 | 2567653.1067 | 1118827.6185
98 | 2567653.4098 | 1118827.1793
99 | 2567660.2209 | 1118809.0645
100 | 2567655.0412 | 1118802.9336
101 | 2567627.5357 | 1118788.7209
102 | 2567653.2177 | 1118798.6812
103 | 2567621.5617 | 1118787.4497
104 | 2567646.5131 | 1118785.6604
105 | 2567574.3331 | 1118820.711
106 | 2567604.0968 | 1118779.7617
107 | 2567614.8674 | 1118802.35
108 | 2567610.0941 | 1118810.2782
109 | 2567647.3795 | 1119174.7784
110 | 2567631.5132 | 1119202.4359
111 | 2567649.7075 | 1119170.7205
112 | 2567629.9443 | 1119205.1707
113 | 2567663.1439 | 1119148.6755
114 | 2567642.0956 | 1119211.0586
115 | 2567661.9299 | 1119148.1817
116 | 2567681.9728 | 1119158.1084
117 | 2567650.0036 | 1119214.8903
118 | 2567674.0849 | 1119126.2024
119 | 2567639.2799 | 1119137.431
120 | 2567629.4559 | 1119157.0479
121 | 2567612.6874 | 1119186.4413
122 | 2567621.0353 | 1119125.156
123 | 2567612.1302 | 1119117.8
124 | 2567628.3847 | 1119109.3003
125 | 2567585.691 | 1119094.0299
126 | 2567605.993 | 1119127.5637
127 | 2567649.6191 | 1119083.462
128 | 2567692.9598 | 1119092.7433
129 | 2567541.7512 | 1119180.369
130 | 2567508.0775 | 1119158.8797
131 | 2567527.1051 | 1119127.3503
132 | 2567533.7027 | 1119131.7393
133 | 2567540.1588 | 1119106.045
134 | 2567553.7998 | 1119073.7687
135 | 2567578.8609 | 1119088.0191
136 | 2567560.2972 | 1119037.7142
137 | 2567573.5604 | 1119095.2734
138 | 2567594.2248 | 1119084.1428
139 | 2567954.6512 | 1119343.5205
140 | 2567930.0317 | 1119321.6615
141 | 2567916.3337 | 1119311.6521
142 | 2567587.1834 | 1119157.8429
143 | 2567574.736 | 1119179.0871
144 | 2567610.3847 | 1119064.2935
145 | 2567665.5427 | 1119064.198
146 | 2567670.0522 | 1119058.7425
147 | 2567715.0746 | 1119052.4714
148 | 2567619.5643 | 1119053.9576
149 | 2567612.1852 | 1119061.9049
150 | 2567629.0819 | 1119071.2436
151 | 2567635.2639 | 1118774.1028
152 | 2567644.2263 | 1118766.6156
153 | 2567730.6764 | 1119042.3496

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1