## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5407-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5407-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5407-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5407-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5407-16_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5407-16_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5407-16_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5407-16_0_4_node_128 | 0.4 | n |  | TRUE
8 | bus_LV_5407-16_0_4_node_137 | 0.4 | n |  | TRUE
9 | bus_LV_5407-16_0_4_node_143 | 0.4 | n |  | TRUE
10 | bus_LV_5407-16_0_4_node_99 | 0.4 | n |  | TRUE
11 | bus_LV_5407-16_0_4_node_111 | 0.4 | n |  | TRUE
12 | bus_LV_5407-16_0_4_node_123 | 0.4 | n |  | TRUE
13 | bus_LV_5407-16_0_4_node_125 | 0.4 | n |  | TRUE
14 | bus_LV_5407-16_0_4_node_121 | 0.4 | n |  | TRUE
15 | bus_LV_5407-16_0_4_node_129 | 0.4 | n |  | TRUE
16 | bus_LV_5407-16_0_4_node_120 | 0.4 | n |  | TRUE
17 | bus_LV_5407-16_0_4_node_136 | 0.4 | n |  | TRUE
18 | bus_LV_5407-16_0_4_node_97 | 0.4 | n |  | TRUE
19 | bus_LV_5407-16_0_4_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_5407-16_0_4_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_5407-16_0_4_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_5407-16_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_5407-16_0_4_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_5407-16_0_4_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_5407-16_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_5407-16_0_4_node_133 | 0.4 | n |  | TRUE
27 | bus_LV_5407-16_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_5407-16_0_4_node_131 | 0.4 | n |  | TRUE
29 | bus_LV_5407-16_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_5407-16_0_4_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_5407-16_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_5407-16_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_5407-16_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5407-16_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5407-16_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_5407-16_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5407-16_0_4_node_95 | 0.4 | n |  | TRUE
38 | bus_LV_5407-16_0_4_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_5407-16_0_4_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_5407-16_0_4_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_5407-16_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5407-16_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5407-16_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_5407-16_0_4_node_102 | 0.4 | n |  | TRUE
45 | bus_LV_5407-16_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_5407-16_0_4_node_101 | 0.4 | n |  | TRUE
47 | bus_LV_5407-16_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_5407-16_0_4_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_5407-16_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_5407-16_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_5407-16_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_5407-16_0_4_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_5407-16_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_5407-16_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_5407-16_0_4_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_5407-16_0_4_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_5407-16_0_4_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_5407-16_0_4_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_5407-16_0_4_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_5407-16_0_4_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_5407-16_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_5407-16_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_5407-16_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_5407-16_0_4_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_5407-16_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_5407-16_0_4_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_5407-16_0_4_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_5407-16_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_5407-16_0_4_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_5407-16_0_4_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_5407-16_0_4_node_100 | 0.4 | n |  | TRUE
72 | bus_LV_5407-16_0_4_node_105 | 0.4 | n |  | TRUE
73 | bus_LV_5407-16_0_4_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_5407-16_0_4_node_106 | 0.4 | n |  | TRUE
75 | bus_LV_5407-16_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_5407-16_0_4_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_5407-16_0_4_node_48 | 0.4 | n |  | TRUE
78 | bus_LV_5407-16_0_4_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_5407-16_0_4_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_5407-16_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_5407-16_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_5407-16_0_4_node_52 | 0.4 | n |  | TRUE
83 | bus_LV_5407-16_0_4_node_53 | 0.4 | n |  | TRUE
84 | bus_LV_5407-16_0_4_node_54 | 0.4 | n |  | TRUE
85 | bus_LV_5407-16_0_4_node_55 | 0.4 | n |  | TRUE
86 | bus_LV_5407-16_0_4_node_57 | 0.4 | n |  | TRUE
87 | bus_LV_5407-16_0_4_node_58 | 0.4 | n |  | TRUE
88 | bus_LV_5407-16_0_4_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_5407-16_0_4_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_5407-16_0_4_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_5407-16_0_4_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_5407-16_0_4_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_5407-16_0_4_node_108 | 0.4 | n |  | TRUE
94 | bus_LV_5407-16_0_4_node_65 | 0.4 | n |  | TRUE
95 | bus_LV_5407-16_0_4_node_66 | 0.4 | n |  | TRUE
96 | bus_LV_5407-16_0_4_node_67 | 0.4 | n |  | TRUE
97 | bus_LV_5407-16_0_4_node_68 | 0.4 | n |  | TRUE
98 | bus_LV_5407-16_0_4_node_132 | 0.4 | n |  | TRUE
99 | bus_LV_5407-16_0_4_node_69 | 0.4 | n |  | TRUE
100 | bus_LV_5407-16_0_4_node_140 | 0.4 | n |  | TRUE
101 | bus_LV_5407-16_0_4_node_139 | 0.4 | n |  | TRUE
102 | bus_LV_5407-16_0_4_node_72 | 0.4 | n |  | TRUE
103 | bus_LV_5407-16_0_4_node_73 | 0.4 | n |  | TRUE
104 | bus_LV_5407-16_0_4_node_76 | 0.4 | n |  | TRUE
105 | bus_LV_5407-16_0_4_node_77 | 0.4 | n |  | TRUE
106 | bus_LV_5407-16_0_4_node_141 | 0.4 | n |  | TRUE
107 | bus_LV_5407-16_0_4_node_142 | 0.4 | n |  | TRUE
108 | bus_LV_5407-16_0_4_node_78 | 0.4 | n |  | TRUE
109 | bus_LV_5407-16_0_4_node_80 | 0.4 | n |  | TRUE
110 | bus_LV_5407-16_0_4_node_82 | 0.4 | n |  | TRUE
111 | bus_LV_5407-16_0_4_node_83 | 0.4 | n |  | TRUE
112 | bus_LV_5407-16_0_4_node_84 | 0.4 | n |  | TRUE
113 | bus_LV_5407-16_0_4_node_85 | 0.4 | n |  | TRUE
114 | bus_LV_5407-16_0_4_node_86 | 0.4 | n |  | TRUE
115 | bus_LV_5407-16_0_4_node_87 | 0.4 | n |  | TRUE
116 | bus_LV_5407-16_0_4_node_92 | 0.4 | n |  | TRUE
117 | bus_LV_5407-16_0_4_node_90 | 0.4 | n |  | TRUE
118 | bus_LV_5407-16_0_4_node_96 | 0.4 | n |  | TRUE
119 | bus_LV_5407-16_0_4_node_91 | 0.4 | n |  | TRUE
120 | bus_LV_5407-16_0_4_node_98 | 0.4 | n |  | TRUE
121 | bus_LV_5407-16_0_4_node_112 | 0.4 | n |  | TRUE
122 | bus_LV_5407-16_0_4_node_103 | 0.4 | n |  | TRUE
123 | bus_LV_5407-16_0_4_node_104 | 0.4 | n |  | TRUE
124 | bus_LV_5407-16_0_4_node_109 | 0.4 | n |  | TRUE
125 | bus_LV_5407-16_0_4_node_110 | 0.4 | n |  | TRUE
126 | bus_LV_5407-16_0_4_node_134 | 0.4 | n |  | TRUE
127 | bus_LV_5407-16_0_4_node_135 | 0.4 | n |  | TRUE
128 | bus_LV_5407-16_0_4_node_127 | 0.4 | n |  | TRUE
129 | bus_LV_5407-16_0_4_node_130 | 0.4 | n |  | TRUE
130 | bus_LV_5407-16_0_4_node_126 | 0.4 | n |  | TRUE
131 | bus_LV_5407-16_0_4_node_117 | 0.4 | n |  | TRUE
132 | bus_LV_5407-16_0_4_node_118 | 0.4 | n |  | TRUE
133 | bus_LV_5407-16_0_4_node_119 | 0.4 | n |  | TRUE
134 | bus_LV_5407-16_0_4_node_122 | 0.4 | n |  | TRUE
135 | bus_LV_5407-16_0_4_node_124 | 0.4 | n |  | TRUE
136 | bus_LV_5407-16_0_4_node_138 | 0.4 | n |  | TRUE
137 | bus_MV_190_1_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5407-16_0_4_load_0 | 0 | 0.014125 | 0.0035401 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5407-16_0_4_load_3 | 3 | 0.0015247 | 0.00038213 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5407-16_0_4_load_128 | 7 | 0.0033756 | 0.00084602 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5407-16_0_4_load_143 | 9 | 0.0018242 | 0.0004572 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5407-16_0_4_load_111 | 11 | 0.00068219 | 0.00017097 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5407-16_0_4_load_121 | 14 | 0.0010381 | 0.00026017 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5407-16_0_4_load_136 | 17 | 0.00072301 | 0.0001812 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5407-16_0_4_load_97 | 18 | 0.0011814 | 0.00029608 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5407-16_0_4_load_7 | 20 | 0.0022801 | 0.00057146 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5407-16_0_4_load_8 | 21 | 0.0021818 | 0.0005468 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5407-16_0_4_load_9 | 22 | 0.0014647 | 0.00036709 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5407-16_0_4_load_11 | 24 | 0.0012865 | 0.00032244 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5407-16_0_4_load_12 | 25 | 0.0030165 | 0.000756 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5407-16_0_4_load_25 | 27 | 0.0031632 | 0.00079277 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5407-16_0_4_load_131 | 28 | 0.0015086 | 0.00037808 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5407-16_0_4_load_13 | 29 | 0.0020586 | 0.00051593 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5407-16_0_4_load_14 | 30 | 0.0032143 | 0.00080557 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5407-16_0_4_load_15 | 31 | 0.0022509 | 0.00056413 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5407-16_0_4_load_17 | 33 | 0.0058847 | 0.0014748 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5407-16_0_4_load_23 | 34 | 0.001591 | 0.00039874 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5407-16_0_4_load_24 | 35 | 0.0086775 | 0.0021748 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5407-16_0_4_load_26 | 36 | 0.0026262 | 0.00065819 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5407-16_0_4_load_95 | 37 | 0.0026704 | 0.00066925 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5407-16_0_4_load_18 | 38 | 0.0014032 | 0.00035168 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5407-16_0_4_load_19 | 39 | 0.0017992 | 0.00045093 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5407-16_0_4_load_20 | 40 | 0.0013709 | 0.00034359 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5407-16_0_4_load_21 | 41 | 0.0012002 | 0.00030081 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5407-16_0_4_load_22 | 42 | 0.0011728 | 0.00029394 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5407-16_0_4_load_32 | 43 | 0.0035364 | 0.0008863 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5407-16_0_4_load_102 | 44 | 0.0012126 | 0.00030392 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5407-16_0_4_load_28 | 45 | 0.0026452 | 0.00066295 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5407-16_0_4_load_101 | 46 | 0.0013112 | 0.00032862 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5407-16_0_4_load_94 | 48 | 0.0055742 | 0.001397 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5407-16_0_4_load_36 | 50 | 0.0011677 | 0.00029265 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5407-16_0_4_load_33 | 51 | 0.00059657 | 0.00014951 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5407-16_0_4_load_61 | 52 | 0.0015578 | 0.00039043 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5407-16_0_4_load_34 | 53 | 0.0018752 | 0.00046997 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5407-16_0_4_load_35 | 54 | 0.0012399 | 0.00031075 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5407-16_0_4_load_64 | 55 | 0.0016309 | 0.00040874 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5407-16_0_4_load_63 | 56 | 0.0021347 | 0.00053501 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5407-16_0_4_load_62 | 57 | 0.0030074 | 0.00075373 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5407-16_0_4_load_37 | 58 | 0.0013967 | 0.00035005 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5407-16_0_4_load_38 | 59 | 0.0010448 | 0.00026185 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5407-16_0_4_load_39 | 60 | 0.00089754 | 0.00022494 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5407-16_0_4_load_41 | 62 | 0.0011766 | 0.00029488 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5407-16_0_4_load_46 | 63 | 0.00071248 | 0.00017856 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5407-16_0_4_load_42 | 64 | 0.00078597 | 0.00019698 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5407-16_0_4_load_59 | 65 | 0.0015179 | 0.00038042 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5407-16_0_4_load_81 | 66 | 0.0008228 | 0.00020621 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5407-16_0_4_load_60 | 68 | 0.0031157 | 0.00078087 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5407-16_0_4_load_44 | 69 | 0.0012169 | 0.00030499 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5407-16_0_4_load_45 | 70 | 0.00096358 | 0.0002415 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5407-16_0_4_load_100 | 71 | 0.0020884 | 0.00052339 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5407-16_0_4_load_105 | 72 | 0.0010545 | 0.00026429 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5407-16_0_4_load_50 | 73 | 0.0011297 | 0.00028314 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5407-16_0_4_load_106 | 74 | 0.002353 | 0.00058972 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5407-16_0_4_load_79 | 75 | 0.00095821 | 0.00024015 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5407-16_0_4_load_47 | 76 | 0.0045594 | 0.0011427 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5407-16_0_4_load_48 | 77 | 0.0012213 | 0.00030609 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5407-16_0_4_load_49 | 78 | 0.0024998 | 0.0006265 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5407-16_0_4_load_51 | 79 | 0.0021783 | 0.00054593 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5407-16_0_4_load_75 | 80 | 0.00077897 | 0.00019523 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5407-16_0_4_load_74 | 81 | 0.0018097 | 0.00045357 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5407-16_0_4_load_52 | 82 | 0.0018648 | 0.00046737 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5407-16_0_4_load_53 | 83 | 0.0017261 | 0.0004326 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5407-16_0_4_load_55 | 85 | 0.0014183 | 0.00035545 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5407-16_0_4_load_57 | 86 | 0.00099147 | 0.00024849 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5407-16_0_4_load_70 | 88 | 0.0012213 | 0.0003061 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5407-16_0_4_load_88 | 90 | 0.0021241 | 0.00053235 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5407-16_0_4_load_89 | 91 | 0.0018676 | 0.00046808 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5407-16_0_4_load_93 | 92 | 0.0021765 | 0.00054548 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5407-16_0_4_load_108 | 93 | 0.0026506 | 0.00066431 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5407-16_0_4_load_65 | 94 | 0.00052826 | 0.0001324 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5407-16_0_4_load_66 | 95 | 0.0024992 | 0.00062636 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5407-16_0_4_load_67 | 96 | 0.00066138 | 0.00016576 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5407-16_0_4_load_132 | 98 | 0.0028407 | 0.00071194 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5407-16_0_4_load_69 | 99 | 0.0011886 | 0.00029789 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5407-16_0_4_load_140 | 100 | 0.0010987 | 0.00027535 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5407-16_0_4_load_139 | 101 | 0.0011006 | 0.00027584 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5407-16_0_4_load_72 | 102 | 0.0015457 | 0.00038738 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5407-16_0_4_load_73 | 103 | 0.0014064 | 0.00035247 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5407-16_0_4_load_76 | 104 | 0.00236 | 0.00059148 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5407-16_0_4_load_141 | 106 | 0.0038917 | 0.00097536 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5407-16_0_4_load_142 | 107 | 0.0025118 | 0.00062952 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5407-16_0_4_load_78 | 108 | 0.0010571 | 0.00026493 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5407-16_0_4_load_80 | 109 | 0.0015306 | 0.00038361 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5407-16_0_4_load_82 | 110 | 0.002771 | 0.00069447 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5407-16_0_4_load_83 | 111 | 0.0023053 | 0.00057777 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5407-16_0_4_load_84 | 112 | 0.0020682 | 0.00051835 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5407-16_0_4_load_85 | 113 | 0.0018784 | 0.00047078 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5407-16_0_4_load_87 | 115 | 0.0013088 | 0.00032801 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5407-16_0_4_load_92 | 116 | 0.0018504 | 0.00046375 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5407-16_0_4_load_90 | 117 | 0.0013572 | 0.00034014 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5407-16_0_4_load_96 | 118 | 0.00065452 | 0.00016404 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5407-16_0_4_load_91 | 119 | 0.0018565 | 0.00046527 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5407-16_0_4_load_98 | 120 | 0.0010572 | 0.00026496 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5407-16_0_4_load_112 | 121 | 0.0017136 | 0.00042948 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5407-16_0_4_load_103 | 122 | 0.0012037 | 0.00030168 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5407-16_0_4_load_104 | 123 | 0.0012224 | 0.00030636 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5407-16_0_4_load_109 | 124 | 0.0011708 | 0.00029343 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5407-16_0_4_load_110 | 125 | 0.0014433 | 0.00036172 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5407-16_0_4_load_134 | 126 | 0.0010943 | 0.00027425 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5407-16_0_4_load_135 | 127 | 0.0010832 | 0.00027148 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5407-16_0_4_load_130 | 129 | 0.0017979 | 0.00045059 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5407-16_0_4_load_117 | 131 | 0.0015186 | 0.0003806 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5407-16_0_4_load_119 | 133 | 0.0071272 | 0.0017862 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5407-16_0_4_load_122 | 134 | 0.00059249 | 0.00014849 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5407-16_0_4_load_124 | 135 | 0.00063925 | 0.00016021 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5407-16_0_4_load_138 | 136 | 0.00093957 | 0.00023548 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 92 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5407-16_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.13145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_5407-16_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.17706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_5407-16_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.03806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5407-16_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.060354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5407-16_0_4_line_4 | NAYY 4x150 SE | 1 | 5 | 0.090498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_5407-16_0_4_line_5 | NAYY 4x150 SE | 2 | 6 | 0.071857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_5407-16_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.004459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5407-16_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.14669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5407-16_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.10183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5407-16_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.019375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_5407-16_0_4_line_10 | NAYY 4x150 SE | 6 | 11 | 0.016882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5407-16_0_4_line_11 | NAYY 4x150 SE | 8 | 16 | 0.64286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_5407-16_0_4_line_12 | NAYY 4x150 SE | 8 | 17 | 0.0183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5407-16_0_4_line_13 | NAYY 4x150 SE | 9 | 15 | 0.070909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5407-16_0_4_line_14 | NAYY 4x150 SE | 10 | 18 | 0.061859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5407-16_0_4_line_15 | NAYY 4x150 SE | 11 | 19 | 0.007438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5407-16_0_4_line_16 | NAYY 4x150 SE | 12 | 13 | 0.074832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5407-16_0_4_line_17 | NAYY 4x150 SE | 12 | 14 | 0.067832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5407-16_0_4_line_18 | NAYY 4x150 SE | 13 | 15 | 0.11819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5407-16_0_4_line_19 | NAYY 4x150 SE | 14 | 134 | 0.10803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5407-16_0_4_line_20 | NAYY 4x150 SE | 16 | 133 | 0.079052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5407-16_0_4_line_21 | NAYY 4x150 SE | 17 | 136 | 0.020693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5407-16_0_4_line_22 | NAYY 4x150 SE | 18 | 120 | 0.069742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5407-16_0_4_line_23 | NAYY 4x150 SE | 18 | 118 | 0.030767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_5407-16_0_4_line_24 | NAYY 4x150 SE | 19 | 84 | 0.013491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5407-16_0_4_line_25 | NAYY 4x150 SE | 20 | 21 | 0.025685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5407-16_0_4_line_26 | NAYY 4x150 SE | 20 | 22 | 0.02623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5407-16_0_4_line_27 | NAYY 4x150 SE | 21 | 23 | 0.053892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5407-16_0_4_line_28 | NAYY 4x150 SE | 22 | 24 | 0.023967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5407-16_0_4_line_29 | NAYY 4x150 SE | 23 | 25 | 0.0099273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5407-16_0_4_line_30 | NAYY 4x150 SE | 23 | 26 | 0.37635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_5407-16_0_4_line_31 | NAYY 4x150 SE | 25 | 27 | 0.0058697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5407-16_0_4_line_32 | NAYY 4x150 SE | 26 | 28 | 0.14292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_5407-16_0_4_line_33 | NAYY 4x150 SE | 28 | 98 | 0.010694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_5407-16_0_4_line_34 | NAYY 4x150 SE | 29 | 30 | 0.014397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5407-16_0_4_line_35 | NAYY 4x150 SE | 29 | 31 | 0.021095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5407-16_0_4_line_36 | NAYY 4x150 SE | 30 | 32 | 0.045276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5407-16_0_4_line_37 | NAYY 4x150 SE | 31 | 33 | 0.020833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5407-16_0_4_line_38 | NAYY 4x150 SE | 32 | 34 | 0.0053415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5407-16_0_4_line_39 | NAYY 4x150 SE | 32 | 35 | 0.05339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5407-16_0_4_line_40 | NAYY 4x150 SE | 34 | 36 | 0.018269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5407-16_0_4_line_41 | NAYY 4x150 SE | 35 | 37 | 0.0068228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5407-16_0_4_line_42 | NAYY 4x150 SE | 36 | 47 | 0.030625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5407-16_0_4_line_43 | NAYY 4x150 SE | 37 | 48 | 0.019983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5407-16_0_4_line_44 | NAYY 4x150 SE | 38 | 39 | 0.0070949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_5407-16_0_4_line_45 | NAYY 4x150 SE | 38 | 40 | 0.013663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_5407-16_0_4_line_46 | NAYY 4x150 SE | 39 | 41 | 0.038756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_5407-16_0_4_line_47 | NAYY 4x150 SE | 40 | 42 | 0.019835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_5407-16_0_4_line_48 | NAYY 4x150 SE | 41 | 43 | 0.028147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_5407-16_0_4_line_49 | NAYY 4x150 SE | 42 | 44 | 0.013059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_5407-16_0_4_line_50 | NAYY 4x150 SE | 43 | 45 | 0.051252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_5407-16_0_4_line_51 | NAYY 4x150 SE | 44 | 46 | 0.019216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_5407-16_0_4_line_52 | NAYY 4x150 SE | 45 | 47 | 0.0052935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_5407-16_0_4_line_53 | NAYY 4x150 SE | 46 | 122 | 0.012646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_5407-16_0_4_line_54 | NAYY 4x150 SE | 47 | 49 | 0.029842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5407-16_0_4_line_55 | NAYY 4x150 SE | 49 | 50 | 0.015841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_5407-16_0_4_line_56 | NAYY 4x150 SE | 49 | 51 | 0.026556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_5407-16_0_4_line_57 | NAYY 4x150 SE | 50 | 52 | 0.031888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_5407-16_0_4_line_58 | NAYY 4x150 SE | 51 | 53 | 0.012212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_5407-16_0_4_line_59 | NAYY 4x150 SE | 52 | 57 | 0.013968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_5407-16_0_4_line_60 | NAYY 4x150 SE | 53 | 54 | 0.0015083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5407-16_0_4_line_61 | NAYY 4x150 SE | 54 | 55 | 0.022337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5407-16_0_4_line_62 | NAYY 4x150 SE | 55 | 56 | 0.012065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5407-16_0_4_line_63 | NAYY 4x150 SE | 56 | 94 | 0.0032271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5407-16_0_4_line_64 | NAYY 4x150 SE | 57 | 92 | 0.015507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_5407-16_0_4_line_65 | NAYY 4x150 SE | 58 | 59 | 0.023991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5407-16_0_4_line_66 | NAYY 4x150 SE | 58 | 60 | 0.026131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5407-16_0_4_line_67 | NAYY 4x150 SE | 59 | 61 | 0.027297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5407-16_0_4_line_68 | NAYY 4x150 SE | 60 | 62 | 0.033699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5407-16_0_4_line_69 | NAYY 4x150 SE | 61 | 63 | 0.019345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5407-16_0_4_line_70 | NAYY 4x150 SE | 61 | 64 | 0.032067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5407-16_0_4_line_71 | NAYY 4x150 SE | 62 | 65 | 0.022899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5407-16_0_4_line_72 | NAYY 4x150 SE | 63 | 66 | 0.036047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5407-16_0_4_line_73 | NAYY 4x150 SE | 64 | 67 | 0.019589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5407-16_0_4_line_74 | NAYY 4x150 SE | 65 | 68 | 0.016693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5407-16_0_4_line_75 | NAYY 4x150 SE | 66 | 75 | 0.024378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5407-16_0_4_line_76 | NAYY 4x150 SE | 67 | 69 | 0.058052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5407-16_0_4_line_77 | NAYY 4x150 SE | 67 | 70 | 0.0099223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5407-16_0_4_line_78 | NAYY 4x150 SE | 68 | 90 | 0.016286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5407-16_0_4_line_79 | NAYY 4x150 SE | 69 | 71 | 0.02713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5407-16_0_4_line_80 | NAYY 4x150 SE | 70 | 72 | 0.011815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5407-16_0_4_line_81 | NAYY 4x150 SE | 71 | 73 | 0.043947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5407-16_0_4_line_82 | NAYY 4x150 SE | 72 | 74 | 0.021661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5407-16_0_4_line_83 | NAYY 4x150 SE | 73 | 77 | 0.027183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5407-16_0_4_line_84 | NAYY 4x150 SE | 75 | 108 | 0.023576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5407-16_0_4_line_85 | NAYY 4x150 SE | 76 | 77 | 0.015155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5407-16_0_4_line_86 | NAYY 4x150 SE | 76 | 78 | 0.064904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5407-16_0_4_line_87 | NAYY 4x150 SE | 78 | 79 | 0.014923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5407-16_0_4_line_88 | NAYY 4x150 SE | 79 | 80 | 0.00021642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5407-16_0_4_line_89 | NAYY 4x150 SE | 80 | 81 | 0.0016843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5407-16_0_4_line_90 | NAYY 4x150 SE | 81 | 95 | 0.02033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5407-16_0_4_line_91 | NAYY 4x150 SE | 82 | 83 | 0.034548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5407-16_0_4_line_92 | NAYY 4x150 SE | 82 | 84 | 0.018065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5407-16_0_4_line_93 | NAYY 4x150 SE | 83 | 85 | 0.028641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5407-16_0_4_line_94 | NAYY 4x150 SE | 85 | 86 | 0.015685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5407-16_0_4_line_95 | NAYY 4x150 SE | 86 | 87 | 0.041557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5407-16_0_4_line_96 | NAYY 4x150 SE | 87 | 88 | 0.013928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5407-16_0_4_line_97 | NAYY 4x150 SE | 88 | 89 | 0.0090148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5407-16_0_4_line_98 | NAYY 4x150 SE | 89 | 102 | 0.015576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5407-16_0_4_line_99 | NAYY 4x150 SE | 89 | 103 | 0.012196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5407-16_0_4_line_100 | NAYY 4x150 SE | 90 | 91 | 0.0046175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5407-16_0_4_line_101 | NAYY 4x150 SE | 92 | 93 | 0.034976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
102 | LV_5407-16_0_4_line_102 | NAYY 4x150 SE | 93 | 115 | 0.0051819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
103 | LV_5407-16_0_4_line_103 | NAYY 4x150 SE | 94 | 95 | 0.014786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5407-16_0_4_line_104 | NAYY 4x150 SE | 96 | 97 | 0.17164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
105 | LV_5407-16_0_4_line_105 | NAYY 4x150 SE | 96 | 98 | 0.26884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
106 | LV_5407-16_0_4_line_106 | NAYY 4x150 SE | 97 | 99 | 0.03692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
107 | LV_5407-16_0_4_line_107 | NAYY 4x150 SE | 99 | 100 | 0.020118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
108 | LV_5407-16_0_4_line_108 | NAYY 4x150 SE | 100 | 101 | 0.021425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
109 | LV_5407-16_0_4_line_109 | NAYY 4x150 SE | 101 | 127 | 0.020853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
110 | LV_5407-16_0_4_line_110 | NAYY 4x150 SE | 102 | 104 | 0.0035755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5407-16_0_4_line_111 | NAYY 4x150 SE | 104 | 105 | 0.006466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5407-16_0_4_line_112 | NAYY 4x150 SE | 105 | 106 | 0.021548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5407-16_0_4_line_113 | NAYY 4x150 SE | 105 | 107 | 0.009942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5407-16_0_4_line_114 | NAYY 4x150 SE | 108 | 109 | 0.0092136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_5407-16_0_4_line_115 | NAYY 4x150 SE | 109 | 110 | 0.022373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_5407-16_0_4_line_116 | NAYY 4x150 SE | 111 | 112 | 0.012465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
117 | LV_5407-16_0_4_line_117 | NAYY 4x150 SE | 111 | 113 | 0.015929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
118 | LV_5407-16_0_4_line_118 | NAYY 4x150 SE | 112 | 114 | 0.031002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
119 | LV_5407-16_0_4_line_119 | NAYY 4x150 SE | 113 | 115 | 0.021802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
120 | LV_5407-16_0_4_line_120 | NAYY 4x150 SE | 114 | 116 | 0.0060711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
121 | LV_5407-16_0_4_line_121 | NAYY 4x150 SE | 114 | 117 | 0.05462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_5407-16_0_4_line_122 | NAYY 4x150 SE | 116 | 118 | 0.045987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
123 | LV_5407-16_0_4_line_123 | NAYY 4x150 SE | 117 | 119 | 0.035918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_5407-16_0_4_line_124 | NAYY 4x150 SE | 120 | 121 | 0.056838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_5407-16_0_4_line_125 | NAYY 4x150 SE | 122 | 123 | 0.02243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
126 | LV_5407-16_0_4_line_126 | NAYY 4x150 SE | 123 | 124 | 0.025685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
127 | LV_5407-16_0_4_line_127 | NAYY 4x150 SE | 124 | 125 | 0.010038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
128 | LV_5407-16_0_4_line_128 | NAYY 4x150 SE | 125 | 126 | 0.0063536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
129 | LV_5407-16_0_4_line_129 | NAYY 4x150 SE | 126 | 127 | 0.021722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
130 | LV_5407-16_0_4_line_130 | NAYY 4x150 SE | 128 | 129 | 0.053535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_5407-16_0_4_line_131 | NAYY 4x150 SE | 128 | 130 | 0.23736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_5407-16_0_4_line_132 | NAYY 4x150 SE | 130 | 135 | 0.20071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_5407-16_0_4_line_133 | NAYY 4x150 SE | 131 | 132 | 0.04364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_5407-16_0_4_line_134 | NAYY 4x150 SE | 132 | 133 | 0.0056009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_5407-16_0_4_line_135 | NAYY 4x150 SE | 134 | 135 | 0.019296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5407-16_0_4_trafo_93 | 0.25 MVA 20/0.4 kV | 137 | 92 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2567667.2856 | 1133617.9444 | 2567669.2555 | 1133613.5206 | 2567673.531 | 1133611.2743 | 2567679.6635 | 1133610.8189 | 2567685.1676 | 1133613.7686 | 2567718.6855 | 1133655.9767 | 2567733.1093 | 1133671.5406 | 2567758.0006 | 1133695.0839
1 | 2567894.0487 | 1133744.0503 | 2567885.0843 | 1133746.0546 | 2567877.3171 | 1133750.2648 | 2567862.1527 | 1133767.4543 | 2567856.2194 | 1133770.5764 | 2567850.14 | 1133770.8534 | 2567845.7053 | 1133769.2207 | 2567842.1435 | 1133765.2711 | 2567833.7915 | 1133745.0167 | 2567823.9834 | 1133736.0534 | 2567816.0733 | 1133732.2493 | 2567800.6821 | 1133725.7061 | 2567779.3476 | 1133711.8021 | 2567759.5452 | 1133696.5449 | 2567758.0006 | 1133695.0839
2 | 2567667.2856 | 1133617.9444 | 2567660.7552 | 1133613.0882 | 2567654.9006 | 1133606.5163 | 2567648.3783 | 1133594.5898 | 2567645.5256 | 1133587.6245
3 | 2567667.2856 | 1133617.9444 | 2567667.1895 | 1133620.1016 | 2567667.7266 | 1133622.6444 | 2567671.8973 | 1133631.004 | 2567679.731 | 1133643.4793 | 2567695.7104 | 1133670.6517
4 | 2567637.04 | 1133699.1697 | 2567643.2356 | 1133694.7231 | 2567654.8929 | 1133673.8723 | 2567654.8085 | 1133669.6262 | 2567657.4428 | 1133665.6545 | 2567657.9141 | 1133660.2381 | 2567660.0632 | 1133657.6698 | 2567664.3622 | 1133641.1829 | 2567665.2352 | 1133625.9928 | 2567667.7266 | 1133622.6444 | 2567667.1895 | 1133620.1016 | 2567667.2856 | 1133617.9444
5 | 2567894.0487 | 1133744.0503 | 2567902.8863 | 1133744.2588 | 2567912.5773 | 1133745.7079 | 2567922.6372 | 1133749.9565 | 2567948.4921 | 1133761.458 | 2567954.5392 | 1133762.3373 | 2567958.7237 | 1133761.8037 | 2567961.7841 | 1133759.7753
6 | 2567695.7104 | 1133670.6517 | 2567696.2159 | 1133675.082
7 | 2567541.9208 | 1133594.4402 | 2567547.4574 | 1133596.2557 | 2567552.9592 | 1133601.6176 | 2567564.7883 | 1133622.6867 | 2567567.0405 | 1133634.9474 | 2567579.6193 | 1133653.7446 | 2567584.1589 | 1133661.9688 | 2567593.6684 | 1133669.7215 | 2567615.5548 | 1133684.5223 | 2567624.0952 | 1133690.9796 | 2567637.04 | 1133699.1697
8 | 2567637.04 | 1133699.1697 | 2567636.0258 | 1133700.9316 | 2567638.9227 | 1133712.8887 | 2567638.3913 | 1133722.8743 | 2567645.1617 | 1133742.3144 | 2567646.3072 | 1133747.7776 | 2567646.0251 | 1133752.5815 | 2567638.876 | 1133770.0842 | 2567639.7352 | 1133779.5733 | 2567639.3089 | 1133787.624 | 2567638.259 | 1133789.9197 | 2567636.3341 | 1133791.2307 | 2567633.5701 | 1133792.5462 | 2567631.6541 | 1133793.4079
9 | 2567961.7841 | 1133759.7753 | 2567963.276 | 1133756.6213 | 2567964.517 | 1133752.6016 | 2567963.9882 | 1133748.6914 | 2567959.866 | 1133742.1433
10 | 2567961.7841 | 1133759.7753 | 2567973.3055 | 1133772.1149
11 | 2567541.9208 | 1133594.4402 | 2566899.7801 | 1133564.0411
12 | 2567541.9208 | 1133594.4402 | 2567552.2149 | 1133609.5706
13 | 2567595.1611 | 1133851.2487 | 2567610.4587 | 1133828.9664 | 2567610.4936 | 1133822.563 | 2567619.8952 | 1133801.7132 | 2567625.8146 | 1133796.0341 | 2567631.6541 | 1133793.4079
14 | 2567959.866 | 1133742.1433 | 2567917.6664 | 1133696.8119
15 | 2567978.3817 | 1133777.5515 | 2567973.3055 | 1133772.1149
16 | 2567710.151 | 1133841.4819 | 2567710.4794 | 1133855.3538 | 2567713.8419 | 1133863.7622 | 2567720.1156 | 1133871.0211 | 2567728.7623 | 1133872.9757 | 2567741.0338 | 1133871.9651 | 2567750.1839 | 1133867.3026 | 2567759.2178 | 1133861.0734
17 | 2567759.2178 | 1133861.0734 | 2567746.0448 | 1133884.9114 | 2567729.2642 | 1133914.9163 | 2567724.0264 | 1133918.267
18 | 2567710.151 | 1133841.4819 | 2567691.15 | 1133847.8537 | 2567651.4481 | 1133856.5044 | 2567628.2391 | 1133858.997 | 2567606.9292 | 1133851.0854 | 2567595.1611 | 1133851.2487
19 | 2567724.0264 | 1133918.267 | 2567705.5537 | 1133930.0842 | 2567702.6817 | 1133938.4927 | 2567703.9634 | 1133944.9891 | 2567707.5588 | 1133950.895 | 2567758.7888 | 1133988.7152
20 | 2566899.7801 | 1133564.0411 | 2566884.603 | 1133540.7017 | 2566878.6055 | 1133526.5053 | 2566877.5655 | 1133515.1609 | 2566879.7451 | 1133508.3788 | 2566878.7034 | 1133503.7267 | 2566874.6055 | 1133499.0246 | 2566869.6807 | 1133495.1275
21 | 2567558.5874 | 1133627.567 | 2567560.2552 | 1133621.3882 | 2567552.2149 | 1133609.5706
22 | 2567917.6664 | 1133696.8119 | 2567899.2315 | 1133699.7672 | 2567880.9629 | 1133693.4836 | 2567866.0709 | 1133665.44
23 | 2567917.6664 | 1133696.8119 | 2567922.6721 | 1133695.8292 | 2567930.6292 | 1133694.0082 | 2567936.695 | 1133692.6085 | 2567947.8342 | 1133690.8476
24 | 2567978.3817 | 1133777.5515 | 2567988.5815 | 1133786.4128
25 | 2568212.7387 | 1133664.5375 | 2568196.8861 | 1133644.3284
26 | 2568228.9274 | 1133685.1752 | 2568212.7387 | 1133664.5375
27 | 2568161.8367 | 1133603.959 | 2568168.184 | 1133607.7384 | 2568196.8861 | 1133644.3284
28 | 2568243.7194 | 1133704.0323 | 2568228.9274 | 1133685.1752
29 | 2568161.8367 | 1133603.959 | 2568152.9075 | 1133608.2972
30 | 2568161.8367 | 1133603.959 | 2568449.0568 | 1133360.7596
31 | 2568152.9075 | 1133608.2972 | 2568152.9075 | 1133608.2972 | 2568148.7704 | 1133604.1333
32 | 2568449.0568 | 1133360.7596 | 2568451.0466 | 1133368.8199 | 2568454.6905 | 1133426.663 | 2568455.2496 | 1133452.5619 | 2568452.5084 | 1133478.8561 | 2568448.9047 | 1133496.2614 | 2568445.6942 | 1133501.9623
33 | 2568445.6942 | 1133501.9623 | 2568440.4468 | 1133511.2799
34 | 2568157.6674 | 1133707.8107 | 2568157.6674 | 1133707.8107 | 2568151.5799 | 1133708.0319 | 2568144.8475 | 1133712.8959
35 | 2568157.6674 | 1133707.8107 | 2568170.6938 | 1133724.4036
36 | 2568108.1482 | 1133739.4107 | 2568144.8475 | 1133712.8959
37 | 2568183.5585 | 1133740.7904 | 2568170.6938 | 1133724.4036
38 | 2568108.1482 | 1133739.4107 | 2568111.2498 | 1133743.7594
39 | 2568108.1482 | 1133739.4107 | 2568076.6324 | 1133696.315
40 | 2568121.8577 | 1133758.6326 | 2568111.2498 | 1133743.7594
41 | 2568072.6049 | 1133690.8078 | 2568076.6324 | 1133696.315
42 | 2568139.6407 | 1133783.5661 | 2568121.8577 | 1133758.6326
43 | 2568060.8092 | 1133674.6779 | 2568072.6049 | 1133690.8078
44 | 2568262.7451 | 1133801.4585 | 2568262.7451 | 1133801.4585 | 2568256.1954 | 1133804.1861
45 | 2568276.0931 | 1133801.6439 | 2568276.0931 | 1133801.6439 | 2568268.9034 | 1133800.0921 | 2568262.7451 | 1133801.4585
46 | 2568218.3986 | 1133803.8602 | 2568243.4134 | 1133808.0081 | 2568250.6869 | 1133806.4801 | 2568256.1954 | 1133804.1861
47 | 2568276.0931 | 1133801.6439 | 2568293.8984 | 1133810.3854
48 | 2568218.3986 | 1133803.8602 | 2568218.3986 | 1133803.8602 | 2568194.3428 | 1133803.5092 | 2568190.2548 | 1133803.5656
49 | 2568293.8984 | 1133810.3854 | 2568305.6204 | 1133816.1404
50 | 2568144.2768 | 1133786.1213 | 2568146.5731 | 1133787.3869 | 2568160.5814 | 1133798.8853 | 2568168.2651 | 1133802.1574 | 2568176.0324 | 1133803.7616 | 2568190.2548 | 1133803.5656
51 | 2568322.8695 | 1133824.6089 | 2568305.6204 | 1133816.1404
52 | 2568139.6407 | 1133783.5661 | 2568144.2768 | 1133786.1213
53 | 2568334.5175 | 1133829.4686 | 2568328.7397 | 1133827.4909 | 2568322.8695 | 1133824.6089
54 | 2568157.2872 | 1133807.6626 | 2568139.6407 | 1133783.5661
55 | 2568157.2872 | 1133807.6626 | 2568146.1524 | 1133814.0803 | 2568143.6345 | 1133812.4692
56 | 2568157.2872 | 1133807.6626 | 2568173.0925 | 1133829.0034
57 | 2568143.6345 | 1133812.4692 | 2568122.2176 | 1133798.7659 | 2568116.9838 | 1133794.9748
58 | 2568173.0925 | 1133829.0034 | 2568180.3609 | 1133838.8174
59 | 2568116.9838 | 1133794.9748 | 2568105.6713 | 1133786.7806
60 | 2568180.3609 | 1133838.8174 | 2568181.2586 | 1133840.0295
61 | 2568194.4375 | 1133858.0561 | 2568193.7163 | 1133856.8503 | 2568181.2586 | 1133840.0295
62 | 2568200.6297 | 1133868.4108 | 2568194.4375 | 1133858.0561
63 | 2568200.6297 | 1133868.4108 | 2568202.286 | 1133871.1805
64 | 2568093.1128 | 1133777.6839 | 2568105.6713 | 1133786.7806
65 | 2568248.0526 | 1134053.8831 | 2568260.4203 | 1134074.4406
66 | 2568248.0526 | 1134053.8831 | 2568243.78 | 1134046.7811 | 2568235.8617 | 1134030.7917
67 | 2568270.1451 | 1134099.9465 | 2568260.4203 | 1134074.4406 | 2568260.4203 | 1134074.4406
68 | 2568220.9065 | 1134000.5928 | 2568235.8617 | 1134030.7917
69 | 2568270.1451 | 1134099.9465 | 2568261.2891 | 1134099.0816 | 2568251.4976 | 1134102.7225
70 | 2568270.1451 | 1134099.9465 | 2568291.6143 | 1134123.7664
71 | 2568220.9065 | 1134000.5928 | 2568210.7444 | 1133980.0726
72 | 2568251.4976 | 1134102.7225 | 2568244.4276 | 1134105.3514 | 2568237.2991 | 1134105.1333 | 2568232.1151 | 1134101.4588 | 2568226.3782 | 1134087.5795
73 | 2568304.729 | 1134138.317 | 2568291.6143 | 1134123.7664
74 | 2568210.7444 | 1133980.0726 | 2568209.8519 | 1133978.2703 | 2568202.8955 | 1133965.3407
75 | 2568216.6046 | 1134065.2743 | 2568218.7131 | 1134069.0356 | 2568226.3782 | 1134087.5795
76 | 2568304.729 | 1134138.317 | 2568296.1821 | 1134108.4359 | 2568294.3519 | 1134082.4436 | 2568294.1329 | 1134081.5538
77 | 2568304.729 | 1134138.317 | 2568307.6705 | 1134147.7933
78 | 2568195.1793 | 1133950.9989 | 2568202.8955 | 1133965.3407
79 | 2568287.6507 | 1134055.2098 | 2568287.6507 | 1134055.2098 | 2568294.1329 | 1134081.5538
80 | 2568310.9776 | 1134159.1339 | 2568309.3797 | 1134153.3 | 2568307.6705 | 1134147.7933
81 | 2568287.6507 | 1134055.2098 | 2568270.504 | 1134014.7455
82 | 2568310.9776 | 1134159.1339 | 2568316.6994 | 1134180.0255
83 | 2568259.638 | 1133989.8402 | 2568261.245 | 1133992.8955 | 2568270.504 | 1134014.7455
84 | 2568205.0764 | 1134044.7093 | 2568216.6046 | 1134065.2743
85 | 2568253.4364 | 1133976.0164 | 2568258.9125 | 1133988.4611 | 2568259.638 | 1133989.8402
86 | 2568253.4364 | 1133976.0164 | 2568227.2952 | 1133916.6093
87 | 2568227.2952 | 1133916.6093 | 2568221.2846 | 1133902.9501 | 2568221.2846 | 1133902.9501
88 | 2568221.1736 | 1133902.7643 | 2568221.2846 | 1133902.9501
89 | 2568220.3091 | 1133901.3188 | 2568221.1736 | 1133902.7643
90 | 2568220.3091 | 1133901.3188 | 2568209.875 | 1133883.8709
91 | 2568002.1956 | 1133798.2305 | 2568023.9586 | 1133811.1373 | 2568031.7837 | 1133816.0615
92 | 2567988.5815 | 1133786.4128 | 2568000.4387 | 1133797.1885 | 2568002.1956 | 1133798.2305
93 | 2568055.1488 | 1133832.4891 | 2568048.1858 | 1133826.383 | 2568031.7837 | 1133816.0615
94 | 2568055.1488 | 1133832.4891 | 2568056.7541 | 1133833.8969 | 2568063.8865 | 1133842.0409 | 2568065.1177 | 1133844.4714
95 | 2568075.5418 | 1133881.5767 | 2568069.8571 | 1133877.8716 | 2568068.1063 | 1133874.3125 | 2568067.4403 | 1133869.1801 | 2568069.0377 | 1133858.3551 | 2568068.3514 | 1133850.855 | 2568065.1177 | 1133844.4714
96 | 2568075.5418 | 1133881.5767 | 2568081.8116 | 1133885.2898 | 2568086.8426 | 1133889.625
97 | 2568094.4599 | 1133894.3606 | 2568088.8636 | 1133891.3666 | 2568086.8426 | 1133889.625
98 | 2568094.4599 | 1133894.3606 | 2568103.3138 | 1133888.9666 | 2568108.5157 | 1133888.7056 | 2568108.5157 | 1133888.7056
99 | 2568094.4599 | 1133894.3606 | 2568105.6621 | 1133899.1818
100 | 2568192.9915 | 1133946.9325 | 2568195.1793 | 1133950.9989
101 | 2568093.1128 | 1133777.6839 | 2568064.7867 | 1133757.166
102 | 2568060.5901 | 1133754.1262 | 2568064.7867 | 1133757.166
103 | 2568209.875 | 1133883.8709 | 2568202.286 | 1133871.1805
104 | 2568476.4686 | 1133937.0485 | 2568478.0954 | 1133936.095 | 2568479.056 | 1133934.3225 | 2568479.1917 | 1133929.3748 | 2568478.2944 | 1133919.6969 | 2568474.8412 | 1133907.0087 | 2568450.0732 | 1133849.9765 | 2568446.2542 | 1133839.469 | 2568443.3827 | 1133829.09 | 2568440.8624 | 1133796.1534 | 2568436.4358 | 1133790.1514 | 2568431.1031 | 1133784.5654 | 2568425.2961 | 1133779.692
105 | 2568425.2961 | 1133779.692 | 2568440.4468 | 1133511.2799
106 | 2568476.4686 | 1133937.0485 | 2568475 | 1133937.3341 | 2568472.8529 | 1133935.9446 | 2568471.4615 | 1133933.3395 | 2568469.9947 | 1133925.1542 | 2568466.7564 | 1133918.2344 | 2568461.1201 | 1133913.4281 | 2568455.1297 | 1133910.7797
107 | 2568436.7306 | 1133902.6431 | 2568449.5399 | 1133908.3084 | 2568455.1297 | 1133910.7797
108 | 2568418.6242 | 1133891.3229 | 2568431.9034 | 1133900.5081 | 2568436.7306 | 1133902.6431
109 | 2568402.7801 | 1133877.768 | 2568418.3612 | 1133891.141 | 2568418.6242 | 1133891.3229
110 | 2568112.024 | 1133889.3958 | 2568108.5157 | 1133888.7056
111 | 2568118.1283 | 1133891.4116 | 2568114.7338 | 1133889.9288 | 2568112.024 | 1133889.3958
112 | 2568118.1283 | 1133891.4116 | 2568133.5486 | 1133906.5042
113 | 2568118.1283 | 1133891.4116 | 2568127.9063 | 1133893.3609
114 | 2568205.0764 | 1134044.7093 | 2568204.6647 | 1134043.9749 | 2568199.4283 | 1134037.443
115 | 2568185.4342 | 1134019.9867 | 2568199.4283 | 1134037.443
116 | 2568030.0331 | 1133731.9924 | 2568029.9962 | 1133731.9657 | 2568019.9381 | 1133724.6806
117 | 2568030.0331 | 1133731.9924 | 2568042.9335 | 1133741.3367
118 | 2567994.8302 | 1133706.4952 | 2568019.9381 | 1133724.6806
119 | 2568060.5901 | 1133754.1262 | 2568042.9335 | 1133741.3367
120 | 2567994.8302 | 1133706.4952 | 2567989.8301 | 1133703.0519
121 | 2567994.8302 | 1133706.4952 | 2567967.1177 | 1133671.4027 | 2567961.1377 | 1133663.5076
122 | 2567947.8342 | 1133690.8476 | 2567953.069 | 1133690.0201 | 2567963.3772 | 1133688.8313 | 2567974.7744 | 1133692.6838 | 2567989.8301 | 1133703.0519
123 | 2567939.4512 | 1133634.8761 | 2567961.1377 | 1133663.5076
124 | 2567866.0709 | 1133665.44 | 2567859.7123 | 1133653.4658 | 2567837.0195 | 1133633.1435 | 2567830.5031 | 1133622.1054
125 | 2568334.5175 | 1133829.4686 | 2568337.5997 | 1133830.5236 | 2568345.5844 | 1133831.0263 | 2568354.3038 | 1133833.6707 | 2568356.0846 | 1133834.7058
126 | 2568374.9807 | 1133851.7045 | 2568374.4471 | 1133851.1959 | 2568367.6064 | 1133842.8054 | 2568361.2603 | 1133837.714 | 2568356.0846 | 1133834.7058
127 | 2568374.9807 | 1133851.7045 | 2568382.2462 | 1133858.6303
128 | 2568386.8452 | 1133863.0142 | 2568382.2462 | 1133858.6303
129 | 2568386.8452 | 1133863.0142 | 2568398.1885 | 1133873.8271 | 2568402.7801 | 1133877.768
130 | 2567941.8945 | 1134257.0743 | 2567961.1597 | 1134249.9349 | 2567967.2291 | 1134243.5216 | 2567970.6494 | 1134235.3993 | 2567968.0029 | 1134220.2832
131 | 2567875.9713 | 1134043.363 | 2567887.4092 | 1134043.4021 | 2567892.472 | 1134053.1688 | 2567892.8026 | 1134068.975 | 2567894.7584 | 1134087.8963 | 2567898.3352 | 1134099.0161 | 2567905.5763 | 1134113.1401 | 2567907.7902 | 1134127.0686 | 2567908.9163 | 1134143.393 | 2567911.2882 | 1134150.8397 | 2567919.1208 | 1134167.6619 | 2567922.1483 | 1134182.6088 | 2567923.4406 | 1134198.3542 | 2567924.6012 | 1134206.7189 | 2567927.2094 | 1134213.7641 | 2567943.3754 | 1134240.3247 | 2567945.2434 | 1134248.5633 | 2567941.8945 | 1134257.0743
132 | 2567875.9713 | 1134043.363 | 2567871.7526 | 1134044.664 | 2567862.0618 | 1134051.8081 | 2567844.4432 | 1134066.1538 | 2567822.0308 | 1134089.3851 | 2567813.6784 | 1134094.8991 | 2567809.5725 | 1134097.1333 | 2567803.9445 | 1134096.8299 | 2567799.6282 | 1134094.2739 | 2567797.5217 | 1134090.4166 | 2567795.4526 | 1134083.4686 | 2567797.8858 | 1134050.5613 | 2567790.5453 | 1134012.1591 | 2567774.3128 | 1134000.1756
133 | 2566871.0441 | 1133489.6951 | 2566851.2019 | 1133478.9544 | 2566836.9348 | 1133488.1375 | 2566833.2768 | 1133490.0116
134 | 2566871.0441 | 1133489.6951 | 2566869.6807 | 1133495.1275
135 | 2567758.7888 | 1133988.7152 | 2567774.3128 | 1134000.1756

## bus_geodata
| x | y | coords
0 | 2567758.0006 | 1133695.0839
1 | 2567667.2857 | 1133617.9444
2 | 2567894.0487 | 1133744.0503
3 | 2567645.5256 | 1133587.6245
4 | 2567695.7104 | 1133670.6517
5 | 2567637.04 | 1133699.1697
6 | 2567961.7841 | 1133759.7753
7 | 2567696.2159 | 1133675.082
8 | 2567541.9208 | 1133594.4402
9 | 2567631.6541 | 1133793.4079
10 | 2567959.866 | 1133742.1433
11 | 2567973.3055 | 1133772.1149
12 | 2567759.2178 | 1133861.0734
13 | 2567710.151 | 1133841.4819
14 | 2567724.0264 | 1133918.267
15 | 2567595.1611 | 1133851.2487
16 | 2566899.7801 | 1133564.0411
17 | 2567552.2149 | 1133609.5706
18 | 2567917.6664 | 1133696.8119
19 | 2567978.3817 | 1133777.5515
20 | 2568212.7387 | 1133664.5375
21 | 2568196.8861 | 1133644.3284
22 | 2568228.9274 | 1133685.1752
23 | 2568161.8367 | 1133603.959
24 | 2568243.7194 | 1133704.0323
25 | 2568152.9075 | 1133608.2972
26 | 2568449.0568 | 1133360.7596
27 | 2568148.7704 | 1133604.1333
28 | 2568445.6942 | 1133501.9623
29 | 2568157.6674 | 1133707.8107
30 | 2568144.8475 | 1133712.8959
31 | 2568170.6938 | 1133724.4036
32 | 2568108.1482 | 1133739.4107
33 | 2568183.5585 | 1133740.7904
34 | 2568111.2498 | 1133743.7594
35 | 2568076.6324 | 1133696.315
36 | 2568121.8577 | 1133758.6326
37 | 2568072.6049 | 1133690.8078
38 | 2568262.7451 | 1133801.4585
39 | 2568256.1954 | 1133804.1861
40 | 2568276.0931 | 1133801.6439
41 | 2568218.3986 | 1133803.8602
42 | 2568293.8984 | 1133810.3854
43 | 2568190.2548 | 1133803.5656
44 | 2568305.6204 | 1133816.1404
45 | 2568144.2768 | 1133786.1213
46 | 2568322.8695 | 1133824.6089
47 | 2568139.6407 | 1133783.5661
48 | 2568060.8092 | 1133674.6779
49 | 2568157.2872 | 1133807.6626
50 | 2568143.6345 | 1133812.4692
51 | 2568173.0925 | 1133829.0034
52 | 2568116.9838 | 1133794.9748
53 | 2568180.3609 | 1133838.8174
54 | 2568181.2586 | 1133840.0295
55 | 2568194.4375 | 1133858.0561
56 | 2568200.6297 | 1133868.4108
57 | 2568105.6713 | 1133786.7806
58 | 2568248.0526 | 1134053.8831
59 | 2568260.4203 | 1134074.4406
60 | 2568235.8617 | 1134030.7917
61 | 2568270.1451 | 1134099.9465
62 | 2568220.9065 | 1134000.5928
63 | 2568251.4976 | 1134102.7225
64 | 2568291.6143 | 1134123.7664
65 | 2568210.7444 | 1133980.0726
66 | 2568226.3782 | 1134087.5795
67 | 2568304.729 | 1134138.317
68 | 2568202.8955 | 1133965.3407
69 | 2568294.1329 | 1134081.5538
70 | 2568307.6705 | 1134147.7933
71 | 2568287.6507 | 1134055.2098
72 | 2568310.9776 | 1134159.1339
73 | 2568270.504 | 1134014.7455
74 | 2568316.6994 | 1134180.0255
75 | 2568216.6046 | 1134065.2743
76 | 2568253.4364 | 1133976.0164
77 | 2568259.638 | 1133989.8402
78 | 2568227.2952 | 1133916.6093
79 | 2568221.2846 | 1133902.9501
80 | 2568221.1736 | 1133902.7643
81 | 2568220.3091 | 1133901.3188
82 | 2568002.1956 | 1133798.2305
83 | 2568031.7837 | 1133816.0615
84 | 2567988.5815 | 1133786.4128
85 | 2568055.1488 | 1133832.4891
86 | 2568065.1177 | 1133844.4714
87 | 2568075.5418 | 1133881.5767
88 | 2568086.8426 | 1133889.625
89 | 2568094.4599 | 1133894.3606
90 | 2568195.1793 | 1133950.9989
91 | 2568192.9915 | 1133946.9325
92 | 2568093.1128 | 1133777.6839
93 | 2568064.7867 | 1133757.166
94 | 2568202.286 | 1133871.1805
95 | 2568209.875 | 1133883.8709
96 | 2568425.2961 | 1133779.692
97 | 2568476.4686 | 1133937.0485
98 | 2568440.4468 | 1133511.2799
99 | 2568455.1297 | 1133910.7797
100 | 2568436.7306 | 1133902.6431
101 | 2568418.6242 | 1133891.3229
102 | 2568108.5157 | 1133888.7056
103 | 2568105.6621 | 1133899.1818
104 | 2568112.024 | 1133889.3958
105 | 2568118.1283 | 1133891.4116
106 | 2568133.5486 | 1133906.5042
107 | 2568127.9063 | 1133893.3609
108 | 2568205.0764 | 1134044.7093
109 | 2568199.4283 | 1134037.443
110 | 2568185.4342 | 1134019.9867
111 | 2568030.0331 | 1133731.9924
112 | 2568019.9381 | 1133724.6806
113 | 2568042.9335 | 1133741.3367
114 | 2567994.8302 | 1133706.4952
115 | 2568060.5901 | 1133754.1262
116 | 2567989.8301 | 1133703.0519
117 | 2567961.1377 | 1133663.5076
118 | 2567947.8342 | 1133690.8476
119 | 2567939.4512 | 1133634.8761
120 | 2567866.0709 | 1133665.44
121 | 2567830.5031 | 1133622.1054
122 | 2568334.5175 | 1133829.4686
123 | 2568356.0846 | 1133834.7058
124 | 2568374.9807 | 1133851.7045
125 | 2568382.2462 | 1133858.6303
126 | 2568386.8452 | 1133863.0142
127 | 2568402.7801 | 1133877.768
128 | 2567941.8945 | 1134257.0743
129 | 2567968.0029 | 1134220.2832
130 | 2567875.9713 | 1134043.363
131 | 2566833.2768 | 1133490.0116
132 | 2566871.0441 | 1133489.6951
133 | 2566869.6807 | 1133495.1275
134 | 2567758.7888 | 1133988.7152
135 | 2567774.3128 | 1134000.1756
136 | 2567558.5874 | 1133627.567
137 | 2568093.1128 | 1133777.6839

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1