## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5409-13_1_2_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_5409-13_1_2_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_5409-13_1_2_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_5409-13_1_2_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_5409-13_1_2_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_5409-13_1_2_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_5409-13_1_2_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_5409-13_1_2_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_5409-13_1_2_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_5409-13_1_2_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_5409-13_1_2_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_5409-13_1_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_5409-13_1_2_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_5409-13_1_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_5409-13_1_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_5409-13_1_2_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_5409-13_1_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_5409-13_1_2_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_5409-13_1_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_5409-13_1_2_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_5409-13_1_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5409-13_1_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5409-13_1_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_5409-13_1_2_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_5409-13_1_2_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_5409-13_1_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_5409-13_1_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_5409-13_1_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5409-13_1_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_5409-13_1_2_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_5409-13_1_2_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_5409-13_1_2_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_5409-13_1_2_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_5409-13_1_2_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_5409-13_1_2_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_5409-13_1_2_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_5409-13_1_2_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_5409-13_1_2_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_5409-13_1_2_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_5409-13_1_2_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_5409-13_1_2_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_5409-13_1_2_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_5409-13_1_2_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_5409-13_1_2_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_5409-13_1_2_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_5409-13_1_2_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_5409-13_1_2_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_5409-13_1_2_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_5409-13_1_2_node_72 | 0.4 | n |  | TRUE
49 | bus_MV_190_0_node_251 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5409-13_1_2_load_6 | 0 | 0.0047708 | 0.0011957 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5409-13_1_2_load_7 | 1 | 0.0051515 | 0.0012911 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5409-13_1_2_load_9 | 3 | 0.0023653 | 0.0005928 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5409-13_1_2_load_10 | 4 | 0.0038032 | 0.00095317 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5409-13_1_2_load_49 | 5 | 0.0028556 | 0.00071568 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5409-13_1_2_load_60 | 6 | 0.0027513 | 0.00068955 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5409-13_1_2_load_51 | 7 | 0.0034315 | 0.00086003 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5409-13_1_2_load_11 | 10 | 0.0034381 | 0.00086168 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5409-13_1_2_load_12 | 11 | 0.001986 | 0.00049773 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5409-13_1_2_load_13 | 12 | 0.004547 | 0.0011396 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5409-13_1_2_load_15 | 14 | 0.0023059 | 0.00057791 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5409-13_1_2_load_74 | 15 | 0.0028174 | 0.0007061 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5409-13_1_2_load_19 | 16 | 0.0023762 | 0.00059553 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5409-13_1_2_load_25 | 17 | 0.0014532 | 0.0003642 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5409-13_1_2_load_17 | 18 | 0.0016519 | 0.00041402 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5409-13_1_2_load_16 | 20 | 0.0041464 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5409-13_1_2_load_18 | 21 | 0.0015726 | 0.00039412 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5409-13_1_2_load_20 | 22 | 0.0011241 | 0.00028173 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5409-13_1_2_load_57 | 23 | 0.0015517 | 0.00038888 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5409-13_1_2_load_55 | 24 | 0.0032031 | 0.00080278 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5409-13_1_2_load_21 | 25 | 0.0032051 | 0.00080328 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5409-13_1_2_load_22 | 26 | 0.0023157 | 0.00058037 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5409-13_1_2_load_23 | 27 | 0.001045 | 0.00026189 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5409-13_1_2_load_24 | 28 | 0.00069067 | 0.0001731 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5409-13_1_2_load_69 | 29 | 0.0014876 | 0.00037282 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5409-13_1_2_load_70 | 31 | 0.0098109 | 0.0024588 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5409-13_1_2_load_36 | 32 | 0.0024437 | 0.00061244 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5409-13_1_2_load_76 | 33 | 0.0032441 | 0.00081306 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5409-13_1_2_load_40 | 34 | 0.0068804 | 0.0017244 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5409-13_1_2_load_66 | 35 | 0.0011075 | 0.00027756 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5409-13_1_2_load_56 | 37 | 0.0039522 | 0.00099053 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5409-13_1_2_load_71 | 38 | 0.0015971 | 0.00040028 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5409-13_1_2_load_73 | 39 | 0.0013724 | 0.00034397 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5409-13_1_2_load_62 | 40 | 0.0071514 | 0.0017923 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5409-13_1_2_load_63 | 41 | 0.011442 | 0.0028676 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5409-13_1_2_load_64 | 44 | 0.0032717 | 0.00081998 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5409-13_1_2_load_75 | 46 | 0.00067409 | 0.00016894 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5409-13_1_2_load_77 | 47 | 0.002646 | 0.00066315 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5409-13_1_2_load_72 | 48 | 0.0020643 | 0.00051735 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5409-13_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.049323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5409-13_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.043814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5409-13_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.021844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_5409-13_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5409-13_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.040802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_5409-13_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.038126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5409-13_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.072866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5409-13_1_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.01433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5409-13_1_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.026904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5409-13_1_2_line_9 | NAYY 4x150 SE | 7 | 34 | 0.071084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5409-13_1_2_line_10 | NAYY 4x150 SE | 8 | 36 | 0.064204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5409-13_1_2_line_11 | NAYY 4x150 SE | 9 | 40 | 0.040053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5409-13_1_2_line_12 | NAYY 4x150 SE | 9 | 41 | 0.04851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5409-13_1_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.047219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5409-13_1_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.01965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5409-13_1_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.051208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5409-13_1_2_line_16 | NAYY 4x150 SE | 12 | 14 | 0.019778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5409-13_1_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.036909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_5409-13_1_2_line_18 | NAYY 4x150 SE | 13 | 16 | 0.029943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_5409-13_1_2_line_19 | NAYY 4x150 SE | 14 | 17 | 0.038481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5409-13_1_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.015691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_5409-13_1_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.053429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5409-13_1_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.0068216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_5409-13_1_2_line_23 | NAYY 4x150 SE | 19 | 30 | 0.060455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5409-13_1_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.019394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_5409-13_1_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.036208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_5409-13_1_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.015074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_5409-13_1_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.038056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_5409-13_1_2_line_28 | NAYY 4x150 SE | 24 | 38 | 0.47398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5409-13_1_2_line_29 | NAYY 4x150 SE | 24 | 37 | 0.038762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_5409-13_1_2_line_30 | NAYY 4x150 SE | 25 | 26 | 0.031474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5409-13_1_2_line_31 | NAYY 4x150 SE | 25 | 27 | 0.017392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5409-13_1_2_line_32 | NAYY 4x150 SE | 26 | 28 | 0.012234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5409-13_1_2_line_33 | NAYY 4x150 SE | 28 | 29 | 0.032537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5409-13_1_2_line_34 | NAYY 4x150 SE | 29 | 30 | 0.055081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5409-13_1_2_line_35 | NAYY 4x150 SE | 30 | 31 | 0.049686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5409-13_1_2_line_36 | NAYY 4x150 SE | 31 | 45 | 0.12572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5409-13_1_2_line_37 | NAYY 4x150 SE | 32 | 33 | 0.097947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5409-13_1_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.060411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5409-13_1_2_line_39 | NAYY 4x150 SE | 35 | 43 | 0.070113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5409-13_1_2_line_40 | NAYY 4x150 SE | 36 | 37 | 0.057842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_5409-13_1_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.32811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5409-13_1_2_line_42 | NAYY 4x150 SE | 39 | 48 | 0.026794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5409-13_1_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.024331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5409-13_1_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.020473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5409-13_1_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.012211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5409-13_1_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.061348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5409-13_1_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.3912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5409-13_1_2_trafo_74 | 0.25 MVA 20/0.4 kV | 49 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2570682.6307 | 1126708.3577 | 2570673.5033 | 1126713.5738 | 2570669.2593 | 1126720.3534 | 2570674.6925 | 1126733.0777 | 2570673.1601 | 1126741.2226 | 2570666.0097 | 1126746.1585
1 | 2570633.0917 | 1126768.9314 | 2570633.4652 | 1126761.7482 | 2570638.7197 | 1126758.3543 | 2570653.9898 | 1126754.4558 | 2570666.0097 | 1126746.1585
2 | 2570633.0917 | 1126768.9314 | 2570628.2198 | 1126768.5883 | 2570622.691 | 1126767.8927 | 2570611.4319 | 1126766.1868
3 | 2570633.0917 | 1126768.9314 | 2570636.7601 | 1126768.9691 | 2570639.6877 | 1126768.8103 | 2570642.5446 | 1126768.3962 | 2570644.2028 | 1126768.1061
4 | 2570611.4319 | 1126766.1868 | 2570588.3577 | 1126762.6908 | 2570584.2792 | 1126762.2994 | 2570580.1174 | 1126762.1974 | 2570577.343 | 1126762.1665 | 2570574.27 | 1126762.5261 | 2570570.9822 | 1126763.0869
5 | 2570678.5089 | 1126751.9064 | 2570659.5392 | 1126762.555 | 2570655.4647 | 1126764.5648 | 2570651.7496 | 1126766.0169 | 2570648.3644 | 1126767.1339 | 2570645.0932 | 1126767.9503 | 2570644.2028 | 1126768.1061
6 | 2570644.2028 | 1126768.1061 | 2570683.4689 | 1126829.4868
7 | 2570557.6674 | 1126768.1322 | 2570560.5879 | 1126766.5171 | 2570563.3708 | 1126765.1473 | 2570566.9949 | 1126764.0179 | 2570570.9822 | 1126763.0869
8 | 2570701.9693 | 1126738.7368 | 2570678.5089 | 1126751.9064
9 | 2570752.7366 | 1126813.5202 | 2570683.4689 | 1126829.4868
10 | 2570518.5297 | 1126809.5107 | 2570520.7856 | 1126812.2455 | 2570523.29 | 1126813.8007 | 2570526.7757 | 1126808.0141 | 2570539.8792 | 1126786.5838 | 2570544.1198 | 1126780.7268 | 2570546.9389 | 1126777.3002 | 2570549.6226 | 1126774.5302 | 2570553.3355 | 1126771.077 | 2570556.1538 | 1126769.0622 | 2570557.6674 | 1126768.1322
11 | 2570701.9693 | 1126738.7368 | 2570703.8617 | 1126741.24 | 2570705.4286 | 1126743.3334 | 2570706.5169 | 1126743.6839 | 2570709.8175 | 1126742.5895 | 2570720.2797 | 1126737.236 | 2570726.1538 | 1126734.4728 | 2570735.422 | 1126727.6355
12 | 2570701.9693 | 1126738.7368 | 2570705.7643 | 1126736.3061 | 2570710.2812 | 1126733.3382 | 2570714.236 | 1126730.4954 | 2570717.9509 | 1126727.4202 | 2570721.8408 | 1126723.8885 | 2570725.3536 | 1126720.4475 | 2570737.1078 | 1126708.2065 | 2570738.324 | 1126706.9294
13 | 2570753.441 | 1126628.8904 | 2570744.2432 | 1126635.0465 | 2570729.0055 | 1126648.8829 | 2570717.6626 | 1126659.5473
14 | 2570770.21 | 1126618.6677 | 2570759.6521 | 1126624.7333 | 2570753.441 | 1126628.8904
15 | 2570675.7994 | 1126688.161 | 2570690.0558 | 1126681.7663 | 2570702.6317 | 1126673.6789 | 2570717.6626 | 1126659.5473
16 | 2570770.21 | 1126618.6677 | 2570773.0393 | 1126617.0423 | 2570788.42 | 1126611.0268
17 | 2570675.7994 | 1126688.161 | 2570675.386 | 1126687.1292 | 2570675.7983 | 1126686.349 | 2570677.9075 | 1126684.2822 | 2570680.8939 | 1126681.9554 | 2570690.6694 | 1126673.248 | 2570692.5196 | 1126671.7938 | 2570693.0838 | 1126670.5571 | 2570692.4636 | 1126669.7931 | 2570691.3763 | 1126669.6427 | 2570682.0198 | 1126669.4326
18 | 2570675.7994 | 1126688.161 | 2570647.6829 | 1126696.8355 | 2570647.1905 | 1126696.9978
19 | 2570825.9281 | 1126602.7013 | 2570825.9281 | 1126602.7013 | 2570814.9864 | 1126604.5885 | 2570792.0918 | 1126609.5908 | 2570788.42 | 1126611.0268
20 | 2570632.2884 | 1126701.9094 | 2570647.1905 | 1126696.9978
21 | 2570878.8276 | 1126598.499 | 2570863.0996 | 1126601.8433 | 2570849.6539 | 1126603.8538 | 2570837.298 | 1126603.3133 | 2570825.9281 | 1126602.7013
22 | 2570632.2884 | 1126701.9094 | 2570625.8096 | 1126704.0448
23 | 2570849.0149 | 1126552.9871 | 2570859.8029 | 1126554.3689 | 2570863.3171 | 1126560.7663 | 2570862.5658 | 1126569.5409 | 2570863.3725 | 1126573.8169 | 2570878.8276 | 1126598.499
24 | 2570607.3905 | 1126710.1156 | 2570625.8096 | 1126704.0448
25 | 2570607.3905 | 1126710.1156 | 2570582.1232 | 1126718.4436 | 2570572.7154 | 1126720.3729
26 | 2570557.8043 | 1126722.0761 | 2570564.9092 | 1126721.9738 | 2570572.7154 | 1126720.3729
27 | 2570519.7854 | 1126723.182 | 2570520.842 | 1126722.9562 | 2570534.5411 | 1126722.4112 | 2570557.8043 | 1126722.0761
28 | 2570519.7854 | 1126723.182 | 2570158.3995 | 1126416.4917
29 | 2570519.7854 | 1126723.182 | 2570513.7597 | 1126724.4694 | 2570508.5847 | 1126728.3633 | 2570506.7688 | 1126730.5066 | 2570504.9254 | 1126734.8956 | 2570504.6923 | 1126739.2211 | 2570507.1431 | 1126748.725 | 2570508.5135 | 1126752.9147
30 | 2570759.6897 | 1126592.777 | 2570749.1633 | 1126597.6596 | 2570742.7587 | 1126599.1358 | 2570733.9471 | 1126603.2251 | 2570731.1154 | 1126605.4209
31 | 2570717.3714 | 1126616.0786 | 2570731.1154 | 1126605.4209
32 | 2570759.6897 | 1126592.777 | 2570770.7881 | 1126587.6291
33 | 2570801.7314 | 1126577.6006 | 2570801.6701 | 1126577.6173 | 2570785.5177 | 1126582.4424 | 2570770.8158 | 1126587.6162 | 2570770.7881 | 1126587.6291
34 | 2570849.0149 | 1126552.9871 | 2570840.214 | 1126556.1645 | 2570825.1444 | 1126560.2061 | 2570818.0378 | 1126564.7205 | 2570812.9992 | 1126569.7919 | 2570808.7892 | 1126575.6819 | 2570801.7314 | 1126577.6006
35 | 2570849.0149 | 1126552.9871 | 2570843.9998 | 1126548.598 | 2570837.4779 | 1126533.7999 | 2570827.0651 | 1126527.147 | 2570812.8919 | 1126523.7583
36 | 2570812.8919 | 1126523.7583 | 2570742.7879 | 1126419.4016
37 | 2570837.7358 | 1126719.269 | 2570876.6628 | 1126809.1479
38 | 2570834.3074 | 1126658.9555 | 2570837.7358 | 1126719.269
39 | 2570769.1947 | 1126674.4229 | 2570772.2858 | 1126677.7985 | 2570775.9994 | 1126676.0241 | 2570783.5187 | 1126670.8406 | 2570791.2546 | 1126667.4014 | 2570802.3976 | 1126664.1569 | 2570813.8586 | 1126661.3223 | 2570824.0787 | 1126660.0388 | 2570834.3074 | 1126658.9555
40 | 2570518.5297 | 1126809.5107 | 2570515.6143 | 1126799.5533 | 2570513.0966 | 1126766.9271 | 2570508.5135 | 1126752.9147
41 | 2569962.9728 | 1126152.9328 | 2570158.3995 | 1126416.4917
42 | 2569936.3183 | 1126154.9202 | 2569955.8752 | 1126154.294 | 2569962.9728 | 1126152.9328
43 | 2570755.1027 | 1126689.3098 | 2570738.324 | 1126706.9294
44 | 2570755.1027 | 1126689.3098 | 2570769.1947 | 1126674.4229
45 | 2570769.1947 | 1126674.4229 | 2570777.7836 | 1126665.7436
46 | 2570692.6082 | 1126415.8657 | 2570713.9385 | 1126402.8223 | 2570721.9181 | 1126401.9053 | 2570728.822 | 1126404.8176 | 2570740.7951 | 1126413.7195 | 2570742.7879 | 1126419.4016
47 | 2570692.6082 | 1126415.8657 | 2570598.5614 | 1126036.1341

## bus_geodata
| x | y | coords
0 | 2570666.0097 | 1126746.1585
1 | 2570682.6307 | 1126708.3577
2 | 2570633.0917 | 1126768.9314
3 | 2570611.4319 | 1126766.1868
4 | 2570644.2028 | 1126768.1061
5 | 2570570.9822 | 1126763.0869
6 | 2570678.5089 | 1126751.9064
7 | 2570683.4689 | 1126829.4868
8 | 2570557.6674 | 1126768.1322
9 | 2570701.9693 | 1126738.7368
10 | 2570753.441 | 1126628.8904
11 | 2570717.6626 | 1126659.5473
12 | 2570770.21 | 1126618.6677
13 | 2570675.7994 | 1126688.1611
14 | 2570788.42 | 1126611.0268
15 | 2570682.0198 | 1126669.4326
16 | 2570647.1905 | 1126696.9978
17 | 2570825.9281 | 1126602.7013
18 | 2570632.2884 | 1126701.9094
19 | 2570878.8276 | 1126598.499
20 | 2570625.8096 | 1126704.0448
21 | 2570607.3905 | 1126710.1156
22 | 2570572.7154 | 1126720.3729
23 | 2570557.8043 | 1126722.0761
24 | 2570519.7854 | 1126723.182
25 | 2570731.1154 | 1126605.4209
26 | 2570759.6897 | 1126592.777
27 | 2570717.3714 | 1126616.0786
28 | 2570770.7881 | 1126587.6291
29 | 2570801.7314 | 1126577.6006
30 | 2570849.0149 | 1126552.9871
31 | 2570812.8919 | 1126523.7583
32 | 2570876.6628 | 1126809.1479
33 | 2570837.7358 | 1126719.269
34 | 2570752.7366 | 1126813.5202
35 | 2570834.3074 | 1126658.9555
36 | 2570518.5297 | 1126809.5107
37 | 2570508.5135 | 1126752.9147
38 | 2570158.3995 | 1126416.4917
39 | 2569962.9728 | 1126152.9328
40 | 2570735.422 | 1126727.6355
41 | 2570738.324 | 1126706.9294
42 | 2570755.1027 | 1126689.3098
43 | 2570769.1947 | 1126674.4229
44 | 2570777.7836 | 1126665.7436
45 | 2570742.7879 | 1126419.4016
46 | 2570598.5614 | 1126036.1341
47 | 2570692.6082 | 1126415.8657
48 | 2569936.3183 | 1126154.9202
49 | 2570675.7994 | 1126688.1611

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1