## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5409-2_1_2_node_11 | 0.4 | n |  | TRUE
1 | bus_LV_5409-2_1_2_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_5409-2_1_2_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_5409-2_1_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_5409-2_1_2_node_37 | 0.4 | n |  | TRUE
5 | bus_LV_5409-2_1_2_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_5409-2_1_2_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_5409-2_1_2_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_5409-2_1_2_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_5409-2_1_2_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_5409-2_1_2_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_5409-2_1_2_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_5409-2_1_2_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_5409-2_1_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_5409-2_1_2_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_5409-2_1_2_node_104 | 0.4 | n |  | TRUE
16 | bus_LV_5409-2_1_2_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_5409-2_1_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_5409-2_1_2_node_102 | 0.4 | n |  | TRUE
19 | bus_LV_5409-2_1_2_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_5409-2_1_2_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_5409-2_1_2_node_118 | 0.4 | n |  | TRUE
22 | bus_LV_5409-2_1_2_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_5409-2_1_2_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_5409-2_1_2_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_5409-2_1_2_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_5409-2_1_2_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_5409-2_1_2_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_5409-2_1_2_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_5409-2_1_2_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_5409-2_1_2_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_5409-2_1_2_node_115 | 0.4 | n |  | TRUE
32 | bus_LV_5409-2_1_2_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_5409-2_1_2_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_5409-2_1_2_node_114 | 0.4 | n |  | TRUE
35 | bus_LV_5409-2_1_2_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_5409-2_1_2_node_84 | 0.4 | n |  | TRUE
37 | bus_LV_5409-2_1_2_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_5409-2_1_2_node_85 | 0.4 | n |  | TRUE
39 | bus_LV_5409-2_1_2_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_5409-2_1_2_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_5409-2_1_2_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_5409-2_1_2_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_5409-2_1_2_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_5409-2_1_2_node_97 | 0.4 | n |  | TRUE
45 | bus_LV_5409-2_1_2_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_5409-2_1_2_node_98 | 0.4 | n |  | TRUE
47 | bus_LV_5409-2_1_2_node_99 | 0.4 | n |  | TRUE
48 | bus_LV_5409-2_1_2_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_5409-2_1_2_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_5409-2_1_2_node_93 | 0.4 | n |  | TRUE
51 | bus_LV_5409-2_1_2_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_5409-2_1_2_node_96 | 0.4 | n |  | TRUE
53 | bus_LV_5409-2_1_2_node_105 | 0.4 | n |  | TRUE
54 | bus_LV_5409-2_1_2_node_100 | 0.4 | n |  | TRUE
55 | bus_LV_5409-2_1_2_node_103 | 0.4 | n |  | TRUE
56 | bus_LV_5409-2_1_2_node_101 | 0.4 | n |  | TRUE
57 | bus_LV_5409-2_1_2_node_106 | 0.4 | n |  | TRUE
58 | bus_MV_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5409-2_1_2_load_11 | 0 | 0.0004976 | 0.00012471 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5409-2_1_2_load_12 | 1 | 0.00056091 | 0.00014058 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5409-2_1_2_load_13 | 2 | 0.0011064 | 0.00027729 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5409-2_1_2_load_37 | 4 | 0.00063705 | 0.00015966 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5409-2_1_2_load_35 | 5 | 0.00059528 | 0.00014919 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5409-2_1_2_load_27 | 6 | 0.00044113 | 0.00011056 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5409-2_1_2_load_15 | 8 | 0.00096507 | 0.00024187 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5409-2_1_2_load_18 | 10 | 0.0019439 | 0.00048718 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5409-2_1_2_load_19 | 13 | 0.00067574 | 0.00016936 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5409-2_1_2_load_104 | 15 | 0.00054655 | 0.00013698 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5409-2_1_2_load_24 | 19 | 0.0020453 | 0.00051261 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5409-2_1_2_load_25 | 20 | 0.00054661 | 0.00013699 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5409-2_1_2_load_118 | 21 | 0.00070139 | 0.00017578 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5409-2_1_2_load_26 | 22 | 0.00050225 | 0.00012588 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5409-2_1_2_load_28 | 24 | 0.001084 | 0.00027168 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5409-2_1_2_load_30 | 25 | 0.0005818 | 0.00014581 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5409-2_1_2_load_31 | 26 | 0.00057882 | 0.00014507 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5409-2_1_2_load_38 | 27 | 0.00059311 | 0.00014865 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5409-2_1_2_load_41 | 30 | 0.00036666 | 9.1893e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5409-2_1_2_load_115 | 31 | 0.0004332 | 0.00010857 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5409-2_1_2_load_83 | 33 | 0.00045062 | 0.00011294 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5409-2_1_2_load_114 | 34 | 0.00063744 | 0.00015976 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5409-2_1_2_load_84 | 36 | 0.00052714 | 0.00013211 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5409-2_1_2_load_44 | 37 | 0.00076467 | 0.00019164 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5409-2_1_2_load_85 | 38 | 0.00031988 | 8.017e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5409-2_1_2_load_90 | 40 | 0.00051367 | 0.00012874 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5409-2_1_2_load_86 | 41 | 0.00025492 | 6.3888e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5409-2_1_2_load_87 | 42 | 0.00026602 | 6.667e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5409-2_1_2_load_89 | 43 | 0.00042223 | 0.00010582 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5409-2_1_2_load_97 | 44 | 0.00034166 | 8.5628e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5409-2_1_2_load_98 | 46 | 0.00053472 | 0.00013401 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5409-2_1_2_load_99 | 47 | 0.00054779 | 0.00013729 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5409-2_1_2_load_92 | 48 | 0.00041693 | 0.00010449 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5409-2_1_2_load_91 | 49 | 0.00028041 | 7.0277e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5409-2_1_2_load_95 | 51 | 0.00068378 | 0.00017137 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5409-2_1_2_load_105 | 53 | 0.00063422 | 0.00015895 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5409-2_1_2_load_100 | 54 | 0.00040216 | 0.00010079 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5409-2_1_2_load_101 | 56 | 0.00061995 | 0.00015537 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5409-2_1_2_load_106 | 57 | 0.00068429 | 0.0001715 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5409-2_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.065864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_5409-2_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.085107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_5409-2_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0038935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_5409-2_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.27141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5409-2_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.038268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_5409-2_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.31504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5409-2_1_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.21065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_5409-2_1_2_line_7 | NAYY 4x150 SE | 6 | 24 | 0.16874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5409-2_1_2_line_8 | NAYY 4x150 SE | 7 | 11 | 0.029054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_5409-2_1_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0041598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5409-2_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.30665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5409-2_1_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.049836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5409-2_1_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.085153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_5409-2_1_2_line_13 | NAYY 4x150 SE | 12 | 23 | 0.020247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_5409-2_1_2_line_14 | NAYY 4x150 SE | 12 | 26 | 0.00018601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5409-2_1_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.098288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_5409-2_1_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.46225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_5409-2_1_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.11261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5409-2_1_2_line_18 | NAYY 4x150 SE | 14 | 17 | 0.027799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_5409-2_1_2_line_19 | NAYY 4x150 SE | 15 | 18 | 0.06542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_5409-2_1_2_line_20 | NAYY 4x150 SE | 16 | 19 | 0.018434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5409-2_1_2_line_21 | NAYY 4x150 SE | 17 | 20 | 0.050685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_5409-2_1_2_line_22 | NAYY 4x150 SE | 18 | 55 | 0.023483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_5409-2_1_2_line_23 | NAYY 4x150 SE | 18 | 56 | 0.2619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5409-2_1_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.32302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_5409-2_1_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.17837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_5409-2_1_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.036188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_5409-2_1_2_line_27 | NAYY 4x150 SE | 24 | 25 | 0.11738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5409-2_1_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.18423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5409-2_1_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.087843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5409-2_1_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.12417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5409-2_1_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.12278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5409-2_1_2_line_32 | NAYY 4x150 SE | 29 | 32 | 0.10819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5409-2_1_2_line_33 | NAYY 4x150 SE | 30 | 33 | 0.033764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5409-2_1_2_line_34 | NAYY 4x150 SE | 32 | 34 | 0.086246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5409-2_1_2_line_35 | NAYY 4x150 SE | 32 | 35 | 0.13261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5409-2_1_2_line_36 | NAYY 4x150 SE | 33 | 36 | 0.13871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5409-2_1_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.052843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5409-2_1_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.074927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5409-2_1_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.26204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5409-2_1_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.12322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_5409-2_1_2_line_41 | NAYY 4x150 SE | 39 | 41 | 0.048853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5409-2_1_2_line_42 | NAYY 4x150 SE | 40 | 45 | 0.036253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_5409-2_1_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.035444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5409-2_1_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.12385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5409-2_1_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.17729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5409-2_1_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.17223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5409-2_1_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.17812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5409-2_1_2_line_48 | NAYY 4x150 SE | 45 | 48 | 0.26229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_5409-2_1_2_line_49 | NAYY 4x150 SE | 47 | 54 | 0.0018071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5409-2_1_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.023735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_5409-2_1_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.20185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_5409-2_1_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.19862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5409-2_1_2_line_53 | NAYY 4x150 SE | 50 | 52 | 0.078789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_5409-2_1_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.23045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5409-2_1_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.082371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_5409-2_1_2_line_56 | NAYY 4x150 SE | 55 | 57 | 0.13943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5409-2_1_2_trafo_13 | 0.25 MVA 20/0.4 kV | 58 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2572435.029 | 1128647.6546 | 2572438.4926 | 1128641.4279 | 2572443.4382 | 1128619.4833 | 2572436.9485 | 1128596.9128 | 2572439.8613 | 1128584.4906
1 | 2572461.9849 | 1128502.318 | 2572442.8198 | 1128571.8735 | 2572439.8613 | 1128584.4906
2 | 2572433.1363 | 1128651.0572 | 2572435.029 | 1128647.6546
3 | 2572617.1099 | 1128525.6451 | 2572599.6974 | 1128535.4513 | 2572586.0812 | 1128553.3443 | 2572585.29 | 1128560.6182 | 2572580.3896 | 1128565.5318 | 2572574.688 | 1128565.3688 | 2572570.5737 | 1128556.8166 | 2572565.1893 | 1128545.1131 | 2572556.8022 | 1128537.1918 | 2572543.9829 | 1128537.1946 | 2572530.2139 | 1128541.7819 | 2572488.5837 | 1128602.8799 | 2572464.3669 | 1128630.7377 | 2572433.1363 | 1128651.0572
4 | 2572433.1363 | 1128651.0572 | 2572420.2537 | 1128674.1943 | 2572417.6899 | 1128685.698
5 | 2572617.1099 | 1128525.6451 | 2572749.816 | 1128811.3744
6 | 2572323.1283 | 1128861.0102 | 2572331.5295 | 1128848.5543 | 2572349.1522 | 1128836.1784 | 2572354.0953 | 1128827.2179 | 2572354.0992 | 1128821.3483 | 2572352.2471 | 1128813.9309 | 2572352.2408 | 1128802.4919 | 2572372.0313 | 1128778.9895 | 2572387.4874 | 1128749.315 | 2572390.8895 | 1128733.5471 | 2572410.0555 | 1128719.9526 | 2572417.6899 | 1128685.698
7 | 2572749.816 | 1128811.3744 | 2572754.5195 | 1128795.3007 | 2572771.7372 | 1128769.7991 | 2572797.062 | 1128749.9971 | 2572827.2663 | 1128717.189 | 2572844.8664 | 1128713.1521 | 2572854.9205 | 1128709.9052 | 2572863.0199 | 1128713.9597 | 2572865.826 | 1128720.1549
8 | 2572323.1283 | 1128861.0102 | 2572319.6155 | 1128871.0758 | 2572313.4651 | 1128867.0687 | 2572302.7752 | 1128864.2609
9 | 2572137.1437 | 1129116.0384 | 2572136.4369 | 1129120.1377
10 | 2572137.1437 | 1129116.0384 | 2572139.0413 | 1129111.6052 | 2572139.0392 | 1129104.4795 | 2572142.8432 | 1129097.514 | 2572148.0649 | 1129095.6222 | 2572172.5959 | 1129094.8307 | 2572183.204 | 1129088.3341 | 2572192.6965 | 1129077.1069 | 2572211.3753 | 1129061.7465 | 2572228.1512 | 1129041.3256 | 2572252.0517 | 1129022.3394 | 2572256.3259 | 1129012.048 | 2572255.6975 | 1128999.389 | 2572249.9931 | 1128985.1415 | 2572250.7852 | 1128978.1789 | 2572259.9684 | 1128978.3367 | 2572267.0882 | 1128985.463 | 2572269.9367 | 1128983.4044 | 2572267.8845 | 1128977.6999 | 2572265.9836 | 1128964.7244 | 2572268.516 | 1128949.2162 | 2572271.6827 | 1128940.9864 | 2572280.0697 | 1128933.8554 | 2572282.2852 | 1128928.1646 | 2572285.7487 | 1128909.87
11 | 2572302.7752 | 1128864.2609 | 2572301.1234 | 1128875.2962 | 2572296.6899 | 1128884.4767 | 2572290.1971 | 1128891.4433 | 2572286.241 | 1128907.2694 | 2572285.7487 | 1128909.87
12 | 2572221.6621 | 1128856.9305 | 2572225.7637 | 1128857.6564 | 2572231.4767 | 1128858.6751 | 2572245.8838 | 1128855.6739 | 2572264.872 | 1128850.4505 | 2572275.1634 | 1128852.0262 | 2572294.1522 | 1128861.9994 | 2572302.7752 | 1128864.2609
13 | 2572221.6621 | 1128856.9305 | 2572221.6602 | 1128843.1682 | 2572220.5677 | 1128836.7811
14 | 2572221.4871 | 1128856.8675 | 2572221.6621 | 1128856.9305
15 | 2571951.9751 | 1128386.4456 | 2571930.1899 | 1128358.7777 | 2571926.7374 | 1128353.5912 | 2571924.2655 | 1128348.867 | 2571922.1104 | 1128342.6962 | 2571916.9722 | 1128326.2786 | 2571910.749 | 1128308.4877 | 2571907.818 | 1128300.0591
16 | 2572033.7309 | 1127855.2903 | 2571907.818 | 1128300.0591
17 | 2571951.9751 | 1128386.4456 | 2571938.4011 | 1128376.6483 | 2571921.7611 | 1128368.5885 | 2571902.9097 | 1128358.7937 | 2571877.9416 | 1128350.7728 | 2571864.8164 | 1128344.7533 | 2571857.9753 | 1128339.8383 | 2571853.2728 | 1128334.2575
18 | 2571963.2398 | 1128411.5612 | 2571963.3602 | 1128409.2817 | 2571961.9594 | 1128406.2534 | 2571958.4653 | 1128398.7437 | 2571951.9751 | 1128386.4456
19 | 2572033.7309 | 1127855.2903 | 2572028.3962 | 1127834.7493 | 2572028.8282 | 1127828.2219 | 2572034.1642 | 1127790.9563
20 | 2571853.2728 | 1128334.2575 | 2571844.413 | 1128326.0281 | 2571838.8166 | 1128323.0446
21 | 2571963.2398 | 1128411.5612 | 2571966.8418 | 1128415.7688 | 2571972.2647 | 1128425.5373 | 2571980.4984 | 1128435.0704 | 2571993.4432 | 1128450.3957 | 2571994.248 | 1128451.4368
22 | 2572034.1642 | 1127790.9563 | 2572034.8337 | 1127785.8062 | 2572033.0877 | 1127778.1438 | 2572027.0461 | 1127769.6343
23 | 2572034.1642 | 1127790.9563 | 2572041.0023 | 1127795.1156 | 2572049.8926 | 1127794.8742 | 2572058.1645 | 1127795.8586 | 2572070.361 | 1127797.4584 | 2572087.316 | 1127798.4026 | 2572096.628 | 1127801.0385 | 2572122.5027 | 1127811.424 | 2572144.0349 | 1127819.1505 | 2572148.3765 | 1127819.9531 | 2572164.6969 | 1127818.6437 | 2572171.717 | 1127817.1772 | 2572182.0489 | 1127817.1295 | 2572204.7853 | 1127818.6698 | 2572209.3292 | 1127816.5812 | 2572219.4446 | 1127814.6892 | 2572228.9617 | 1127816.7019 | 2572232.2783 | 1127819.1545 | 2572243.2229 | 1127818.2814 | 2572256.0215 | 1127815.132 | 2572268.4194 | 1127813.6409 | 2572270.4909 | 1127815.0654 | 2572270.7321 | 1127822.279 | 2572267.6532 | 1127827.9515 | 2572268.6043 | 1127831.7344
24 | 2571994.248 | 1128451.4368 | 2572003.3252 | 1128463.1783 | 2572015.1054 | 1128479.9208 | 2572022.8701 | 1128489.6785 | 2572023.1663 | 1128502.0389 | 2572023.5035 | 1128524.8931 | 2572009.2097 | 1128570.6711 | 2572006.0419 | 1128593.5417 | 2572007.0065 | 1128600.5296 | 2572008.6864 | 1128608.9259 | 2572016.9512 | 1128625.2068 | 2572052.3695 | 1128699.1125 | 2572050.0623 | 1128721.5455 | 2572045.7316 | 1128737.8626 | 2572035.6785 | 1128747.1821
25 | 2572204.4132 | 1128805.0176 | 2572035.6785 | 1128747.1821
26 | 2572204.4132 | 1128805.0176 | 2572218.9765 | 1128827.495 | 2572220.5677 | 1128836.7811
27 | 2572865.826 | 1128720.1549 | 2572878.582 | 1128748.3178 | 2572884.4964 | 1128754.7166 | 2572934.8244 | 1128782.1929 | 2572939.7697 | 1128782.1151 | 2572946.3282 | 1128777.5722 | 2572953.7824 | 1128776.9274
28 | 2573075.9942 | 1128255.121 | 2573072.1859 | 1128266.6548 | 2573065.4058 | 1128271.7432 | 2573041.6842 | 1128275.1287 | 2572996.3516 | 1128288.6829 | 2572968.812 | 1128303.0912 | 2572917.9744 | 1128337.2546
29 | 2573075.9942 | 1128255.121 | 2573079.4857 | 1128258.9073 | 2573106.5296 | 1128286.9671 | 2573115.0407 | 1128293.4101 | 2573122.1106 | 1128298.0142 | 2573131.2884 | 1128303.6539 | 2573144.5289 | 1128308.1638
30 | 2573075.9942 | 1128255.121 | 2573068.3325 | 1128247.4181 | 2573059.8965 | 1128240.5746 | 2573050.727 | 1128235.0795 | 2573037.8825 | 1128229.6009 | 2572994.0938 | 1128218.1357 | 2572973.8168 | 1128213.1463 | 2572963.0731 | 1128208.6608
31 | 2573205.9556 | 1128244.3476 | 2573205.4513 | 1128250.4751 | 2573201.3672 | 1128260.6872 | 2573194.0901 | 1128264.8994 | 2573145.3313 | 1128263.4936 | 2573141.7591 | 1128269.2457 | 2573142.6509 | 1128275.7449 | 2573149.923 | 1128289.4082 | 2573149.4107 | 1128297.1921 | 2573144.5289 | 1128308.1638
32 | 2573251.4072 | 1128326.8088 | 2573199.0079 | 1128317.4147 | 2573144.5289 | 1128308.1638
33 | 2572963.0731 | 1128208.6608 | 2572960.3553 | 1128207.5262 | 2572949.4628 | 1128200.994 | 2572947.1894 | 1128199.1255 | 2572938.6213 | 1128192.0716 | 2572935.4976 | 1128189.4519
34 | 2573251.4072 | 1128326.8088 | 2573259.31 | 1128335.1001 | 2573285.4799 | 1128348.7575 | 2573290.1989 | 1128354.884 | 2573291.2194 | 1128360.8825 | 2573288.9265 | 1128366.7622 | 2573271.1635 | 1128384.7277
35 | 2573251.4072 | 1128326.8088 | 2573275.7345 | 1128331.4699 | 2573286.5423 | 1128334.668 | 2573294.124 | 1128338.3251 | 2573307.5497 | 1128348.1816 | 2573352.8035 | 1128403.8201
36 | 2572935.4976 | 1128189.4519 | 2572920.7028 | 1128177.0446 | 2572900.0726 | 1128160.3957 | 2572890.5832 | 1128152.3566 | 2572887.2643 | 1128147.5914 | 2572885.6615 | 1128144.108 | 2572881.2128 | 1128136.5465 | 2572879.6782 | 1128129.3832 | 2572878.3808 | 1128118.428 | 2572876.7313 | 1128108.008 | 2572875.3558 | 1128100.2548 | 2572873.3706 | 1128093.9717 | 2572870.3304 | 1128087.8046 | 2572862.9128 | 1128078.6393
37 | 2573352.8035 | 1128403.8201 | 2573365.5453 | 1128415.8586 | 2573382.0239 | 1128426.2465 | 2573389.7977 | 1128429.8251 | 2573396.8694 | 1128431.5377
38 | 2572862.9128 | 1128078.6393 | 2572860.5684 | 1128075.7425 | 2572834.2566 | 1128048.1918 | 2572810.9289 | 1128024.704
39 | 2572635.6453 | 1127830.2153 | 2572658.8996 | 1127857.6345 | 2572706.2601 | 1127911.8801 | 2572756.4778 | 1127960.944 | 2572806.4478 | 1128020.1922 | 2572810.9289 | 1128024.704
40 | 2572635.6453 | 1127830.2153 | 2572615.2191 | 1127801.227 | 2572592.9598 | 1127765.6549 | 2572584.282 | 1127753.3438 | 2572579.732 | 1127747.3726 | 2572573.0415 | 1127741.7002 | 2572560.7396 | 1127734.1017
41 | 2572635.6453 | 1127830.2153 | 2572647.6619 | 1127831.2724 | 2572654.5502 | 1127839.7898 | 2572673.8604 | 1127856.9545
42 | 2572529.8957 | 1127715.0501 | 2572560.7396 | 1127734.1017
43 | 2572673.8604 | 1127856.9545 | 2572695.3496 | 1127876.0562 | 2572700.4221 | 1127880.4219
44 | 2572802.864 | 1127943.1368 | 2572792.1655 | 1127943.8632 | 2572767.3221 | 1127936.2494 | 2572731.7887 | 1127907.4179 | 2572700.4221 | 1127880.4219
45 | 2572802.864 | 1127943.1368 | 2572802.864 | 1127943.1368 | 2572821.5371 | 1127949.3 | 2572832.4157 | 1127959.456 | 2572860.6938 | 1127985.5638 | 2572877.0162 | 1128001.8762 | 2572895.5072 | 1128036.1101 | 2572905.9811 | 1128055.7283 | 2572915.1734 | 1128069.6161 | 2572917.1536 | 1128072.3507
46 | 2573006.7774 | 1128018.1082 | 2573008.2832 | 1128042.307 | 2573003.3854 | 1128072.0437 | 2572996.3173 | 1128095.4315 | 2572983.2605 | 1128104.5056 | 2572971.6534 | 1128103.5905 | 2572953.7057 | 1128099.2467 | 2572930.322 | 1128090.5362 | 2572917.1536 | 1128072.3507
47 | 2572529.8957 | 1127715.0501 | 2572532.4975 | 1127721.2747 | 2572541.757 | 1127731.004 | 2572555.9704 | 1127747.4475 | 2572561.8585 | 1127759.6156 | 2572565.1371 | 1127772.3515 | 2572564.682 | 1127780.7021 | 2572561.5663 | 1127803.7389 | 2572554.2148 | 1127815.3337 | 2572536.2557 | 1127830.7453 | 2572531.0268 | 1127838.095 | 2572529.3287 | 1127845.8733 | 2572533.1466 | 1127853.5042 | 2572539.654 | 1127857.8878 | 2572546.2042 | 1127860.8242
48 | 2572529.8957 | 1127715.0501 | 2572518.2177 | 1127707.2106 | 2572499.3545 | 1127695.0795 | 2572483.4062 | 1127688.5601 | 2572471.7444 | 1127685.9454 | 2572429.0592 | 1127681.0047 | 2572399.6065 | 1127676.7374 | 2572380.3185 | 1127671.1785 | 2572365.1095 | 1127666.2791 | 2572283.6001 | 1127633.5462
49 | 2572547.8532 | 1127861.5634 | 2572546.2042 | 1127860.8242
50 | 2572261.241 | 1127625.6377 | 2572273.3966 | 1127629.4486 | 2572283.6001 | 1127633.5462
51 | 2572074.3977 | 1127556.2753 | 2572091.1049 | 1127556.8093 | 2572099.9517 | 1127557.0685 | 2572106.6672 | 1127558.0156 | 2572112.421 | 1127559.2563 | 2572117.6799 | 1127561.7777 | 2572128.421 | 1127566.7972 | 2572157.8467 | 1127585.0703 | 2572184.4751 | 1127598.3095 | 2572202.0003 | 1127605.8101 | 2572224.2983 | 1127614.0559 | 2572261.241 | 1127625.6377
52 | 2572074.3977 | 1127556.2753 | 2572082.4988 | 1127561.9072 | 2572101.0601 | 1127563.4887 | 2572112.1771 | 1127568.1396 | 2572118.7729 | 1127574.8569 | 2572126.9524 | 1127587.4364 | 2572163.3551 | 1127624.9313 | 2572174.9536 | 1127627.1233 | 2572185.3341 | 1127632.5003 | 2572190.3471 | 1127640.1921 | 2572190.8336 | 1127650.4616 | 2572189.61 | 1127659.1271 | 2572195.1046 | 1127662.6702 | 2572203.7818 | 1127664.6201 | 2572210.2555 | 1127668.292 | 2572216.738 | 1127670.3781
53 | 2571995.6675 | 1127559.8423 | 2572037.1839 | 1127555.0916 | 2572074.3977 | 1127556.2753
54 | 2571995.6675 | 1127559.8423 | 2572003.1054 | 1127575.3043 | 2572006.6535 | 1127584.3812 | 2572007.6364 | 1127590.3018 | 2572010.2767 | 1127594.7251 | 2572012.3308 | 1127597.3725 | 2572016.4177 | 1127599.6991 | 2572070.7662 | 1127612.2866 | 2572074.6726 | 1127620.5838 | 2572070.7683 | 1127629.3618 | 2572056.705 | 1127648.9589 | 2572056.3825 | 1127654.1964 | 2572059.165 | 1127662.7099 | 2572068.9044 | 1127676.0492 | 2572069.7214 | 1127682.7599 | 2572067.3455 | 1127688.8183 | 2572057.8544 | 1127695.7769 | 2572048.2741 | 1127700.1124 | 2572029.5314 | 1127705.0466
55 | 2572027.0461 | 1127769.6343 | 2572024.6207 | 1127765.021 | 2572018.206 | 1127755.8129 | 2572012.3455 | 1127743.1672 | 2572008.7779 | 1127731.5113 | 2572007.0753 | 1127719.9467 | 2572010.2965 | 1127715.096 | 2572018.3999 | 1127707.9771 | 2572029.5314 | 1127705.0466
56 | 2572027.0461 | 1127769.6343 | 2572021.5185 | 1127782.2329 | 2572015.7677 | 1127789.8745 | 2572007.5216 | 1127794.4484 | 2571956.9305 | 1127802.5098 | 2571947.8389 | 1127802.5521 | 2571935.6319 | 1127800.3412 | 2571921.7712 | 1127797.1152 | 2571913.9163 | 1127796.3292 | 2571909.1692 | 1127797.7854 | 2571905.6593 | 1127803.6852

## bus_geodata
| x | y | coords
0 | 2572439.8613 | 1128584.4906
1 | 2572435.029 | 1128647.6546
2 | 2572461.9849 | 1128502.318
3 | 2572433.1363 | 1128651.0572
4 | 2572617.1099 | 1128525.6451
5 | 2572417.6899 | 1128685.698
6 | 2572749.816 | 1128811.3744
7 | 2572323.1283 | 1128861.0102
8 | 2572136.4369 | 1129120.1377
9 | 2572137.1437 | 1129116.0384
10 | 2572285.7487 | 1128909.87
11 | 2572302.7752 | 1128864.2609
12 | 2572221.6621 | 1128856.9305
13 | 2571907.818 | 1128300.0591
14 | 2571951.9751 | 1128386.4456
15 | 2572033.7309 | 1127855.2903
16 | 2571853.2728 | 1128334.2575
17 | 2571963.2398 | 1128411.5612
18 | 2572034.1642 | 1127790.9563
19 | 2571838.8166 | 1128323.0446
20 | 2571994.248 | 1128451.4368
21 | 2572204.4132 | 1128805.0176
22 | 2572035.6785 | 1128747.1821
23 | 2572220.5677 | 1128836.7811
24 | 2572865.826 | 1128720.1549
25 | 2572953.7824 | 1128776.9274
26 | 2572221.4871 | 1128856.8675
27 | 2572917.9744 | 1128337.2546
28 | 2573075.9942 | 1128255.121
29 | 2573144.5289 | 1128308.1638
30 | 2572963.0731 | 1128208.6608
31 | 2573205.9556 | 1128244.3476
32 | 2573251.4072 | 1128326.8088
33 | 2572935.4976 | 1128189.4519
34 | 2573271.1635 | 1128384.7277
35 | 2573352.8035 | 1128403.8201
36 | 2572862.9128 | 1128078.6393
37 | 2573396.8694 | 1128431.5377
38 | 2572810.9289 | 1128024.704
39 | 2572635.6453 | 1127830.2153
40 | 2572560.7396 | 1127734.1017
41 | 2572673.8604 | 1127856.9545
42 | 2572700.4221 | 1127880.4219
43 | 2572802.864 | 1127943.1368
44 | 2572917.1536 | 1128072.3507
45 | 2572529.8957 | 1127715.0501
46 | 2573006.7774 | 1128018.1082
47 | 2572546.2042 | 1127860.8242
48 | 2572283.6001 | 1127633.5462
49 | 2572261.241 | 1127625.6377
50 | 2572074.3977 | 1127556.2753
51 | 2572216.738 | 1127670.3781
52 | 2571995.6675 | 1127559.8423
53 | 2572029.5314 | 1127705.0466
54 | 2572547.8532 | 1127861.5634
55 | 2572027.0461 | 1127769.6343
56 | 2572268.6043 | 1127831.7344
57 | 2571905.6593 | 1127803.6852
58 | 2572461.9849 | 1128502.318

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1