## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5409-40_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5409-40_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5409-40_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5409-40_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5409-40_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5409-40_0_4_node_112 | 0.4 | n |  | TRUE
6 | bus_LV_5409-40_0_4_node_113 | 0.4 | n |  | TRUE
7 | bus_LV_5409-40_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_5409-40_0_4_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_5409-40_0_4_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_5409-40_0_4_node_114 | 0.4 | n |  | TRUE
11 | bus_LV_5409-40_0_4_node_96 | 0.4 | n |  | TRUE
12 | bus_LV_5409-40_0_4_node_117 | 0.4 | n |  | TRUE
13 | bus_LV_5409-40_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_5409-40_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_5409-40_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5409-40_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5409-40_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5409-40_0_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_5409-40_0_4_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_5409-40_0_4_node_91 | 0.4 | n |  | TRUE
21 | bus_LV_5409-40_0_4_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_5409-40_0_4_node_220 | 0.4 | n |  | TRUE
23 | bus_LV_5409-40_0_4_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_5409-40_0_4_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_5409-40_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_5409-40_0_4_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_5409-40_0_4_node_209 | 0.4 | n |  | TRUE
28 | bus_LV_5409-40_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_5409-40_0_4_node_10 | 0.4 | n |  | TRUE
30 | bus_LV_5409-40_0_4_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_5409-40_0_4_node_11 | 0.4 | n |  | TRUE
32 | bus_LV_5409-40_0_4_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_5409-40_0_4_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_5409-40_0_4_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_5409-40_0_4_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_5409-40_0_4_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_5409-40_0_4_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_5409-40_0_4_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_5409-40_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_5409-40_0_4_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_5409-40_0_4_node_15 | 0.4 | n |  | TRUE
42 | bus_LV_5409-40_0_4_node_16 | 0.4 | n |  | TRUE
43 | bus_LV_5409-40_0_4_node_120 | 0.4 | n |  | TRUE
44 | bus_LV_5409-40_0_4_node_17 | 0.4 | n |  | TRUE
45 | bus_LV_5409-40_0_4_node_18 | 0.4 | n |  | TRUE
46 | bus_LV_5409-40_0_4_node_222 | 0.4 | n |  | TRUE
47 | bus_LV_5409-40_0_4_node_119 | 0.4 | n |  | TRUE
48 | bus_LV_5409-40_0_4_node_124 | 0.4 | n |  | TRUE
49 | bus_LV_5409-40_0_4_node_125 | 0.4 | n |  | TRUE
50 | bus_LV_5409-40_0_4_node_123 | 0.4 | n |  | TRUE
51 | bus_LV_5409-40_0_4_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_5409-40_0_4_node_118 | 0.4 | n |  | TRUE
53 | bus_LV_5409-40_0_4_node_21 | 0.4 | n |  | TRUE
54 | bus_LV_5409-40_0_4_node_22 | 0.4 | n |  | TRUE
55 | bus_LV_5409-40_0_4_node_23 | 0.4 | n |  | TRUE
56 | bus_LV_5409-40_0_4_node_25 | 0.4 | n |  | TRUE
57 | bus_LV_5409-40_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_5409-40_0_4_node_121 | 0.4 | n |  | TRUE
59 | bus_LV_5409-40_0_4_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_5409-40_0_4_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_5409-40_0_4_node_230 | 0.4 | n |  | TRUE
62 | bus_LV_5409-40_0_4_node_229 | 0.4 | n |  | TRUE
63 | bus_LV_5409-40_0_4_node_30 | 0.4 | n |  | TRUE
64 | bus_LV_5409-40_0_4_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_5409-40_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_5409-40_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_5409-40_0_4_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_5409-40_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_5409-40_0_4_node_89 | 0.4 | n |  | TRUE
70 | bus_LV_5409-40_0_4_node_90 | 0.4 | n |  | TRUE
71 | bus_LV_5409-40_0_4_node_34 | 0.4 | n |  | TRUE
72 | bus_LV_5409-40_0_4_node_36 | 0.4 | n |  | TRUE
73 | bus_LV_5409-40_0_4_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_5409-40_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_5409-40_0_4_node_208 | 0.4 | n |  | TRUE
76 | bus_LV_5409-40_0_4_node_206 | 0.4 | n |  | TRUE
77 | bus_LV_5409-40_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_5409-40_0_4_node_122 | 0.4 | n |  | TRUE
79 | bus_LV_5409-40_0_4_node_41 | 0.4 | n |  | TRUE
80 | bus_LV_5409-40_0_4_node_42 | 0.4 | n |  | TRUE
81 | bus_LV_5409-40_0_4_node_43 | 0.4 | n |  | TRUE
82 | bus_LV_5409-40_0_4_node_45 | 0.4 | n |  | TRUE
83 | bus_LV_5409-40_0_4_node_46 | 0.4 | n |  | TRUE
84 | bus_LV_5409-40_0_4_node_105 | 0.4 | n |  | TRUE
85 | bus_LV_5409-40_0_4_node_107 | 0.4 | n |  | TRUE
86 | bus_LV_5409-40_0_4_node_102 | 0.4 | n |  | TRUE
87 | bus_LV_5409-40_0_4_node_103 | 0.4 | n |  | TRUE
88 | bus_LV_5409-40_0_4_node_228 | 0.4 | n |  | TRUE
89 | bus_LV_5409-40_0_4_node_106 | 0.4 | n |  | TRUE
90 | bus_LV_5409-40_0_4_node_108 | 0.4 | n |  | TRUE
91 | bus_LV_5409-40_0_4_node_47 | 0.4 | n |  | TRUE
92 | bus_LV_5409-40_0_4_node_49 | 0.4 | n |  | TRUE
93 | bus_LV_5409-40_0_4_node_52 | 0.4 | n |  | TRUE
94 | bus_LV_5409-40_0_4_node_50 | 0.4 | n |  | TRUE
95 | bus_LV_5409-40_0_4_node_51 | 0.4 | n |  | TRUE
96 | bus_LV_5409-40_0_4_node_53 | 0.4 | n |  | TRUE
97 | bus_LV_5409-40_0_4_node_225 | 0.4 | n |  | TRUE
98 | bus_LV_5409-40_0_4_node_57 | 0.4 | n |  | TRUE
99 | bus_LV_5409-40_0_4_node_54 | 0.4 | n |  | TRUE
100 | bus_LV_5409-40_0_4_node_55 | 0.4 | n |  | TRUE
101 | bus_LV_5409-40_0_4_node_56 | 0.4 | n |  | TRUE
102 | bus_LV_5409-40_0_4_node_213 | 0.4 | n |  | TRUE
103 | bus_LV_5409-40_0_4_node_219 | 0.4 | n |  | TRUE
104 | bus_LV_5409-40_0_4_node_98 | 0.4 | n |  | TRUE
105 | bus_LV_5409-40_0_4_node_99 | 0.4 | n |  | TRUE
106 | bus_LV_5409-40_0_4_node_97 | 0.4 | n |  | TRUE
107 | bus_LV_5409-40_0_4_node_216 | 0.4 | n |  | TRUE
108 | bus_LV_5409-40_0_4_node_212 | 0.4 | n |  | TRUE
109 | bus_LV_5409-40_0_4_node_217 | 0.4 | n |  | TRUE
110 | bus_LV_5409-40_0_4_node_88 | 0.4 | n |  | TRUE
111 | bus_LV_5409-40_0_4_node_218 | 0.4 | n |  | TRUE
112 | bus_LV_5409-40_0_4_node_78 | 0.4 | n |  | TRUE
113 | bus_LV_5409-40_0_4_node_86 | 0.4 | n |  | TRUE
114 | bus_LV_5409-40_0_4_node_72 | 0.4 | n |  | TRUE
115 | bus_LV_5409-40_0_4_node_80 | 0.4 | n |  | TRUE
116 | bus_LV_5409-40_0_4_node_79 | 0.4 | n |  | TRUE
117 | bus_LV_5409-40_0_4_node_223 | 0.4 | n |  | TRUE
118 | bus_LV_5409-40_0_4_node_205 | 0.4 | n |  | TRUE
119 | bus_LV_5409-40_0_4_node_74 | 0.4 | n |  | TRUE
120 | bus_LV_5409-40_0_4_node_75 | 0.4 | n |  | TRUE
121 | bus_LV_5409-40_0_4_node_76 | 0.4 | n |  | TRUE
122 | bus_LV_5409-40_0_4_node_77 | 0.4 | n |  | TRUE
123 | bus_LV_5409-40_0_4_node_82 | 0.4 | n |  | TRUE
124 | bus_LV_5409-40_0_4_node_81 | 0.4 | n |  | TRUE
125 | bus_LV_5409-40_0_4_node_83 | 0.4 | n |  | TRUE
126 | bus_LV_5409-40_0_4_node_84 | 0.4 | n |  | TRUE
127 | bus_LV_5409-40_0_4_node_85 | 0.4 | n |  | TRUE
128 | bus_LV_5409-40_0_4_node_87 | 0.4 | n |  | TRUE
129 | bus_LV_5409-40_0_4_node_92 | 0.4 | n |  | TRUE
130 | bus_LV_5409-40_0_4_node_93 | 0.4 | n |  | TRUE
131 | bus_LV_5409-40_0_4_node_95 | 0.4 | n |  | TRUE
132 | bus_LV_5409-40_0_4_node_100 | 0.4 | n |  | TRUE
133 | bus_LV_5409-40_0_4_node_101 | 0.4 | n |  | TRUE
134 | bus_LV_5409-40_0_4_node_109 | 0.4 | n |  | TRUE
135 | bus_LV_5409-40_0_4_node_110 | 0.4 | n |  | TRUE
136 | bus_LV_5409-40_0_4_node_104 | 0.4 | n |  | TRUE
137 | bus_LV_5409-40_0_4_node_210 | 0.4 | n |  | TRUE
138 | bus_LV_5409-40_0_4_node_211 | 0.4 | n |  | TRUE
139 | bus_LV_5409-40_0_4_node_214 | 0.4 | n |  | TRUE
140 | bus_LV_5409-40_0_4_node_215 | 0.4 | n |  | TRUE
141 | bus_LV_5409-40_0_4_node_111 | 0.4 | n |  | TRUE
142 | bus_LV_5409-40_0_4_node_115 | 0.4 | n |  | TRUE
143 | bus_LV_5409-40_0_4_node_116 | 0.4 | n |  | TRUE
144 | bus_LV_5409-40_0_4_node_207 | 0.4 | n |  | TRUE
145 | bus_MV_190_0_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5409-40_0_4_load_0 | 0 | 0.00060437 | 0.00015147 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5409-40_0_4_load_1 | 1 | 0.00046705 | 0.00011705 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5409-40_0_4_load_2 | 2 | 0.00073549 | 0.00018433 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5409-40_0_4_load_112 | 5 | 0.00070519 | 0.00017674 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5409-40_0_4_load_113 | 6 | 0.00079029 | 0.00019806 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5409-40_0_4_load_19 | 7 | 0.0036889 | 0.00092453 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5409-40_0_4_load_20 | 8 | 0.0028272 | 0.00070855 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5409-40_0_4_load_24 | 9 | 0.00031048 | 7.7813e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5409-40_0_4_load_114 | 10 | 0.00035615 | 8.926e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5409-40_0_4_load_96 | 11 | 0.00097641 | 0.00024471 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5409-40_0_4_load_117 | 12 | 0.0013559 | 0.00033982 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5409-40_0_4_load_5 | 13 | 0.00080265 | 0.00020116 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5409-40_0_4_load_7 | 15 | 0.00087684 | 0.00021976 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5409-40_0_4_load_9 | 17 | 0.00085934 | 0.00021537 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5409-40_0_4_load_26 | 19 | 0.00078397 | 0.00019648 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5409-40_0_4_load_220 | 22 | 0.002774 | 0.00069522 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5409-40_0_4_load_39 | 25 | 0.00075207 | 0.00018849 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5409-40_0_4_load_27 | 26 | 0.00079519 | 0.00019929 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5409-40_0_4_load_209 | 27 | 0.00053496 | 0.00013407 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5409-40_0_4_load_10 | 29 | 0.0016211 | 0.00040629 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5409-40_0_4_load_12 | 30 | 0.0012931 | 0.00032407 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5409-40_0_4_load_11 | 31 | 0.003769 | 0.0009446 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5409-40_0_4_load_13 | 32 | 0.0013599 | 0.00034083 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5409-40_0_4_load_14 | 33 | 0.0026545 | 0.00066527 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5409-40_0_4_load_67 | 36 | 0.00079044 | 0.0001981 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5409-40_0_4_load_68 | 37 | 0.00096453 | 0.00024173 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5409-40_0_4_load_69 | 38 | 0.00095286 | 0.00023881 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5409-40_0_4_load_64 | 39 | 0.0017978 | 0.00045057 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5409-40_0_4_load_15 | 41 | 0.0010583 | 0.00026525 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5409-40_0_4_load_120 | 43 | 0.00047394 | 0.00011878 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5409-40_0_4_load_17 | 44 | 0.00099612 | 0.00024965 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5409-40_0_4_load_18 | 45 | 0.0005047 | 0.00012649 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5409-40_0_4_load_222 | 46 | 0.00067967 | 0.00017034 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5409-40_0_4_load_119 | 47 | 0.00042229 | 0.00010584 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5409-40_0_4_load_125 | 49 | 0.00057633 | 0.00014444 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5409-40_0_4_load_123 | 50 | 0.00052791 | 0.00013231 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5409-40_0_4_load_118 | 52 | 0.00092385 | 0.00023154 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5409-40_0_4_load_21 | 53 | 0.00059493 | 0.0001491 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5409-40_0_4_load_22 | 54 | 0.00055412 | 0.00013887 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5409-40_0_4_load_38 | 57 | 0.00059709 | 0.00014965 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5409-40_0_4_load_33 | 60 | 0.0026476 | 0.00066356 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5409-40_0_4_load_230 | 61 | 0.0027873 | 0.00069855 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5409-40_0_4_load_229 | 62 | 0.00080154 | 0.00020089 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5409-40_0_4_load_30 | 63 | 0.0018575 | 0.00046552 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5409-40_0_4_load_59 | 66 | 0.0004299 | 0.00010774 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5409-40_0_4_load_58 | 68 | 0.00072603 | 0.00018196 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5409-40_0_4_load_89 | 69 | 0.00078753 | 0.00019737 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5409-40_0_4_load_90 | 70 | 0.0013955 | 0.00034975 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5409-40_0_4_load_34 | 71 | 0.0071364 | 0.0017885 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5409-40_0_4_load_36 | 72 | 0.00094266 | 0.00023625 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5409-40_0_4_load_70 | 74 | 0.002153 | 0.0005396 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5409-40_0_4_load_206 | 76 | 0.00049502 | 0.00012406 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5409-40_0_4_load_71 | 77 | 0.0020415 | 0.00051164 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5409-40_0_4_load_122 | 78 | 0.00038364 | 9.6149e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5409-40_0_4_load_41 | 79 | 0.001543 | 0.00038672 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5409-40_0_4_load_42 | 80 | 0.0018616 | 0.00046656 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5409-40_0_4_load_45 | 82 | 0.0012479 | 0.00031275 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5409-40_0_4_load_46 | 83 | 0.00096563 | 0.00024201 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5409-40_0_4_load_105 | 84 | 0.0016908 | 0.00042377 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5409-40_0_4_load_107 | 85 | 0.0019645 | 0.00049235 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5409-40_0_4_load_102 | 86 | 0.00079856 | 0.00020014 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5409-40_0_4_load_103 | 87 | 0.0013433 | 0.00033665 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5409-40_0_4_load_228 | 88 | 0.00094505 | 0.00023685 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5409-40_0_4_load_47 | 91 | 0.0022291 | 0.00055867 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5409-40_0_4_load_49 | 92 | 0.0024239 | 0.00060748 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5409-40_0_4_load_52 | 93 | 0.0039261 | 0.00098397 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5409-40_0_4_load_50 | 94 | 0.0028627 | 0.00071747 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5409-40_0_4_load_51 | 95 | 0.0012849 | 0.00032202 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5409-40_0_4_load_225 | 97 | 0.00060391 | 0.00015135 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5409-40_0_4_load_54 | 99 | 0.00077577 | 0.00019443 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5409-40_0_4_load_219 | 103 | 0.0010422 | 0.00026119 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5409-40_0_4_load_99 | 105 | 0.0022532 | 0.0005647 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5409-40_0_4_load_97 | 106 | 0.0022066 | 0.00055302 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5409-40_0_4_load_216 | 107 | 0.0018032 | 0.00045193 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5409-40_0_4_load_212 | 108 | 0.00044374 | 0.00011121 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5409-40_0_4_load_217 | 109 | 0.00055987 | 0.00014032 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5409-40_0_4_load_218 | 111 | 0.0006873 | 0.00017225 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5409-40_0_4_load_78 | 112 | 0.0011387 | 0.00028538 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5409-40_0_4_load_86 | 113 | 0.00096907 | 0.00024287 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5409-40_0_4_load_72 | 114 | 0.00051832 | 0.0001299 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5409-40_0_4_load_80 | 115 | 0.0027769 | 0.00069597 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5409-40_0_4_load_79 | 116 | 0.0015226 | 0.00038159 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5409-40_0_4_load_223 | 117 | 0.0005999 | 0.00015035 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5409-40_0_4_load_205 | 118 | 0.00051835 | 0.00012991 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5409-40_0_4_load_74 | 119 | 0.0014895 | 0.00037331 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5409-40_0_4_load_75 | 120 | 0.00084545 | 0.00021189 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5409-40_0_4_load_76 | 121 | 0.00066602 | 0.00016692 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5409-40_0_4_load_77 | 122 | 0.0013076 | 0.00032772 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5409-40_0_4_load_82 | 123 | 0.0016657 | 0.00041747 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5409-40_0_4_load_81 | 124 | 0.00098143 | 0.00024597 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5409-40_0_4_load_83 | 125 | 0.0013797 | 0.00034578 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5409-40_0_4_load_84 | 126 | 0.0012312 | 0.00030856 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5409-40_0_4_load_85 | 127 | 0.00083462 | 0.00020918 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5409-40_0_4_load_87 | 128 | 0.0011505 | 0.00028834 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5409-40_0_4_load_92 | 129 | 0.0040535 | 0.0010159 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5409-40_0_4_load_93 | 130 | 0.0020185 | 0.0005059 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5409-40_0_4_load_95 | 131 | 0.00047561 | 0.0001192 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5409-40_0_4_load_100 | 132 | 0.00097786 | 0.00024507 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5409-40_0_4_load_109 | 134 | 0.0019193 | 0.00048103 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5409-40_0_4_load_110 | 135 | 0.00084772 | 0.00021246 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5409-40_0_4_load_104 | 136 | 0.0022581 | 0.00056593 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5409-40_0_4_load_210 | 137 | 0.00076547 | 0.00019184 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5409-40_0_4_load_211 | 138 | 0.00072108 | 0.00018072 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5409-40_0_4_load_214 | 139 | 0.0010474 | 0.00026251 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5409-40_0_4_load_215 | 140 | 0.0022186 | 0.00055603 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5409-40_0_4_load_111 | 141 | 0.00066032 | 0.00016549 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5409-40_0_4_load_115 | 142 | 0.00077079 | 0.00019318 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5409-40_0_4_load_116 | 143 | 0.00037366 | 9.3649e-05 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5409-40_0_4_load_207 | 144 | 0.0014956 | 0.00037484 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5409-40_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5409-40_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.00088131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5409-40_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5409-40_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.021875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5409-40_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.015118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5409-40_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.011137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5409-40_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0091695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5409-40_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.010703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5409-40_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.012189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5409-40_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.016762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5409-40_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.015261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5409-40_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.0026504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5409-40_0_4_line_12 | NAYY 4x150 SE | 9 | 54 | 0.027591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5409-40_0_4_line_13 | NAYY 4x150 SE | 10 | 142 | 0.0094084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5409-40_0_4_line_14 | NAYY 4x150 SE | 11 | 51 | 0.0020668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5409-40_0_4_line_15 | NAYY 4x150 SE | 12 | 52 | 0.0083267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5409-40_0_4_line_16 | NAYY 4x150 SE | 13 | 14 | 0.019991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5409-40_0_4_line_17 | NAYY 4x150 SE | 13 | 15 | 0.024322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5409-40_0_4_line_18 | NAYY 4x150 SE | 14 | 16 | 0.030237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5409-40_0_4_line_19 | NAYY 4x150 SE | 14 | 17 | 0.015022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5409-40_0_4_line_20 | NAYY 4x150 SE | 16 | 18 | 0.020645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5409-40_0_4_line_21 | NAYY 4x150 SE | 16 | 19 | 0.031907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5409-40_0_4_line_22 | NAYY 4x150 SE | 17 | 20 | 0.056519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5409-40_0_4_line_23 | NAYY 4x150 SE | 18 | 24 | 0.006435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5409-40_0_4_line_24 | NAYY 4x150 SE | 18 | 25 | 0.1158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5409-40_0_4_line_25 | NAYY 4x150 SE | 19 | 26 | 0.024668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5409-40_0_4_line_26 | NAYY 4x150 SE | 20 | 27 | 0.026909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5409-40_0_4_line_27 | NAYY 4x150 SE | 20 | 28 | 0.017273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5409-40_0_4_line_28 | NAYY 4x150 SE | 21 | 22 | 0.02887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5409-40_0_4_line_29 | NAYY 4x150 SE | 21 | 23 | 0.022036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5409-40_0_4_line_30 | NAYY 4x150 SE | 23 | 59 | 0.005032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5409-40_0_4_line_31 | NAYY 4x150 SE | 23 | 60 | 0.068677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5409-40_0_4_line_32 | NAYY 4x150 SE | 24 | 61 | 0.035631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5409-40_0_4_line_33 | NAYY 4x150 SE | 24 | 62 | 0.015239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5409-40_0_4_line_34 | NAYY 4x150 SE | 28 | 69 | 0.021638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_5409-40_0_4_line_35 | NAYY 4x150 SE | 28 | 64 | 0.010058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5409-40_0_4_line_36 | NAYY 4x150 SE | 29 | 30 | 0.025843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5409-40_0_4_line_37 | NAYY 4x150 SE | 30 | 33 | 0.013522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5409-40_0_4_line_38 | NAYY 4x150 SE | 31 | 32 | 0.02565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5409-40_0_4_line_39 | NAYY 4x150 SE | 32 | 34 | 0.010468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5409-40_0_4_line_40 | NAYY 4x150 SE | 33 | 35 | 0.0053179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5409-40_0_4_line_41 | NAYY 4x150 SE | 34 | 36 | 0.01284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_5409-40_0_4_line_42 | NAYY 4x150 SE | 34 | 37 | 0.0067996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5409-40_0_4_line_43 | NAYY 4x150 SE | 34 | 38 | 0.0079525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5409-40_0_4_line_44 | NAYY 4x150 SE | 35 | 39 | 0.024947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5409-40_0_4_line_45 | NAYY 4x150 SE | 35 | 40 | 0.00508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5409-40_0_4_line_46 | NAYY 4x150 SE | 36 | 70 | 0.0093298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_5409-40_0_4_line_47 | NAYY 4x150 SE | 37 | 110 | 0.010115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5409-40_0_4_line_48 | NAYY 4x150 SE | 38 | 111 | 0.0052068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5409-40_0_4_line_49 | NAYY 4x150 SE | 40 | 102 | 0.003125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5409-40_0_4_line_50 | NAYY 4x150 SE | 40 | 103 | 0.012913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5409-40_0_4_line_51 | NAYY 4x150 SE | 41 | 42 | 0.029116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5409-40_0_4_line_52 | NAYY 4x150 SE | 41 | 43 | 0.36216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5409-40_0_4_line_53 | NAYY 4x150 SE | 42 | 44 | 0.11426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5409-40_0_4_line_54 | NAYY 4x150 SE | 42 | 45 | 0.042458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5409-40_0_4_line_55 | NAYY 4x150 SE | 43 | 46 | 0.1942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5409-40_0_4_line_56 | NAYY 4x150 SE | 43 | 47 | 0.12012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5409-40_0_4_line_57 | NAYY 4x150 SE | 44 | 48 | 0.039804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5409-40_0_4_line_58 | NAYY 4x150 SE | 47 | 58 | 0.022608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5409-40_0_4_line_59 | NAYY 4x150 SE | 48 | 49 | 0.072534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5409-40_0_4_line_60 | NAYY 4x150 SE | 48 | 50 | 0.17588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5409-40_0_4_line_61 | NAYY 4x150 SE | 51 | 106 | 0.015254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5409-40_0_4_line_62 | NAYY 4x150 SE | 51 | 129 | 0.019323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5409-40_0_4_line_63 | NAYY 4x150 SE | 52 | 141 | 0.0031961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5409-40_0_4_line_64 | NAYY 4x150 SE | 53 | 54 | 0.038518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5409-40_0_4_line_65 | NAYY 4x150 SE | 53 | 55 | 0.038846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5409-40_0_4_line_66 | NAYY 4x150 SE | 55 | 56 | 0.18347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5409-40_0_4_line_67 | NAYY 4x150 SE | 56 | 57 | 0.032924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5409-40_0_4_line_68 | NAYY 4x150 SE | 57 | 58 | 0.25356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5409-40_0_4_line_69 | NAYY 4x150 SE | 58 | 78 | 0.045261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5409-40_0_4_line_70 | NAYY 4x150 SE | 59 | 73 | 0.059738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5409-40_0_4_line_71 | NAYY 4x150 SE | 59 | 74 | 0.017767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5409-40_0_4_line_72 | NAYY 4x150 SE | 60 | 71 | 0.011306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5409-40_0_4_line_73 | NAYY 4x150 SE | 63 | 64 | 0.039267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_5409-40_0_4_line_74 | NAYY 4x150 SE | 63 | 65 | 0.16193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_5409-40_0_4_line_75 | NAYY 4x150 SE | 65 | 67 | 0.003269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5409-40_0_4_line_76 | NAYY 4x150 SE | 66 | 67 | 0.029759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5409-40_0_4_line_77 | NAYY 4x150 SE | 67 | 68 | 0.30974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5409-40_0_4_line_78 | NAYY 4x150 SE | 68 | 101 | 0.099882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5409-40_0_4_line_79 | NAYY 4x150 SE | 69 | 70 | 0.049075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_5409-40_0_4_line_80 | NAYY 4x150 SE | 71 | 72 | 0.015595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5409-40_0_4_line_81 | NAYY 4x150 SE | 73 | 75 | 0.007574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5409-40_0_4_line_82 | NAYY 4x150 SE | 73 | 76 | 0.007959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5409-40_0_4_line_83 | NAYY 4x150 SE | 74 | 77 | 0.019638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5409-40_0_4_line_84 | NAYY 4x150 SE | 75 | 117 | 0.013436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5409-40_0_4_line_85 | NAYY 4x150 SE | 76 | 118 | 0.014568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5409-40_0_4_line_86 | NAYY 4x150 SE | 77 | 114 | 0.0069933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5409-40_0_4_line_87 | NAYY 4x150 SE | 79 | 80 | 0.0074924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5409-40_0_4_line_88 | NAYY 4x150 SE | 79 | 81 | 0.011271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5409-40_0_4_line_89 | NAYY 4x150 SE | 81 | 82 | 0.0075888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5409-40_0_4_line_90 | NAYY 4x150 SE | 81 | 83 | 0.0040752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5409-40_0_4_line_91 | NAYY 4x150 SE | 82 | 84 | 0.0041801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5409-40_0_4_line_92 | NAYY 4x150 SE | 83 | 85 | 0.015927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5409-40_0_4_line_93 | NAYY 4x150 SE | 84 | 89 | 0.013941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5409-40_0_4_line_94 | NAYY 4x150 SE | 85 | 90 | 0.0017559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5409-40_0_4_line_95 | NAYY 4x150 SE | 86 | 87 | 0.0027876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5409-40_0_4_line_96 | NAYY 4x150 SE | 86 | 88 | 0.10881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5409-40_0_4_line_97 | NAYY 4x150 SE | 87 | 136 | 0.0097426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5409-40_0_4_line_98 | NAYY 4x150 SE | 89 | 133 | 0.007694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5409-40_0_4_line_99 | NAYY 4x150 SE | 90 | 139 | 0.01504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5409-40_0_4_line_100 | NAYY 4x150 SE | 91 | 92 | 0.034187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5409-40_0_4_line_101 | NAYY 4x150 SE | 92 | 93 | 0.43442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5409-40_0_4_line_102 | NAYY 4x150 SE | 93 | 94 | 0.0066688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5409-40_0_4_line_103 | NAYY 4x150 SE | 94 | 95 | 0.028484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5409-40_0_4_line_104 | NAYY 4x150 SE | 95 | 96 | 0.006047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5409-40_0_4_line_105 | NAYY 4x150 SE | 96 | 97 | 0.47111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5409-40_0_4_line_106 | NAYY 4x150 SE | 97 | 98 | 0.12317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5409-40_0_4_line_107 | NAYY 4x150 SE | 98 | 100 | 0.020807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5409-40_0_4_line_108 | NAYY 4x150 SE | 99 | 100 | 0.025333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5409-40_0_4_line_109 | NAYY 4x150 SE | 99 | 101 | 0.01569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5409-40_0_4_line_110 | NAYY 4x150 SE | 102 | 107 | 0.0098551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5409-40_0_4_line_111 | NAYY 4x150 SE | 102 | 108 | 0.010796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5409-40_0_4_line_112 | NAYY 4x150 SE | 103 | 109 | 0.0082001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5409-40_0_4_line_113 | NAYY 4x150 SE | 104 | 105 | 0.013037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5409-40_0_4_line_114 | NAYY 4x150 SE | 104 | 106 | 0.0018266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_5409-40_0_4_line_115 | NAYY 4x150 SE | 105 | 132 | 0.0032975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_5409-40_0_4_line_116 | NAYY 4x150 SE | 107 | 140 | 0.0098251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_5409-40_0_4_line_117 | NAYY 4x150 SE | 108 | 138 | 0.0053873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_5409-40_0_4_line_118 | NAYY 4x150 SE | 109 | 111 | 0.0013539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_5409-40_0_4_line_119 | NAYY 4x150 SE | 110 | 112 | 0.010629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_5409-40_0_4_line_120 | NAYY 4x150 SE | 110 | 113 | 0.034528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_5409-40_0_4_line_121 | NAYY 4x150 SE | 112 | 121 | 0.0084222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_5409-40_0_4_line_122 | NAYY 4x150 SE | 113 | 126 | 0.0089034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_5409-40_0_4_line_123 | NAYY 4x150 SE | 114 | 115 | 0.0038327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_5409-40_0_4_line_124 | NAYY 4x150 SE | 115 | 116 | 0.0095418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_5409-40_0_4_line_125 | NAYY 4x150 SE | 116 | 124 | 0.01142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_5409-40_0_4_line_126 | NAYY 4x150 SE | 118 | 144 | 0.013551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_5409-40_0_4_line_127 | NAYY 4x150 SE | 119 | 120 | 0.0021902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_5409-40_0_4_line_128 | NAYY 4x150 SE | 119 | 121 | 0.0041668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_5409-40_0_4_line_129 | NAYY 4x150 SE | 120 | 122 | 0.0086942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_5409-40_0_4_line_130 | NAYY 4x150 SE | 122 | 123 | 0.0078904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_5409-40_0_4_line_131 | NAYY 4x150 SE | 123 | 124 | 0.004813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_5409-40_0_4_line_132 | NAYY 4x150 SE | 125 | 126 | 0.016634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_5409-40_0_4_line_133 | NAYY 4x150 SE | 125 | 127 | 0.027241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_5409-40_0_4_line_134 | NAYY 4x150 SE | 127 | 128 | 0.0016287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_5409-40_0_4_line_135 | NAYY 4x150 SE | 129 | 130 | 0.024901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_5409-40_0_4_line_136 | NAYY 4x150 SE | 130 | 131 | 0.13309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_5409-40_0_4_line_137 | NAYY 4x150 SE | 133 | 134 | 0.010214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_5409-40_0_4_line_138 | NAYY 4x150 SE | 134 | 135 | 0.0085416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_5409-40_0_4_line_139 | NAYY 4x150 SE | 135 | 141 | 0.0017821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_5409-40_0_4_line_140 | NAYY 4x150 SE | 136 | 137 | 0.0009223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_5409-40_0_4_line_141 | NAYY 4x150 SE | 137 | 138 | 0.0026895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_5409-40_0_4_line_142 | NAYY 4x150 SE | 139 | 140 | 0.0072979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_5409-40_0_4_line_143 | NAYY 4x150 SE | 142 | 143 | 0.00038352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5409-40_0_4_trafo_90 | 0.25 MVA 20/0.4 kV | 145 | 70 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2567414.3121 | 1128962.5983 | 2567414.3121 | 1128962.5983 | 2567421.5424 | 1128962.0144 | 2567432.357 | 1128957.7147
1 | 2567413.4382 | 1128962.4836 | 2567414.3121 | 1128962.5983
2 | 2567447.9936 | 1128950.1656 | 2567446.5475 | 1128950.5625 | 2567438.7765 | 1128955.1623 | 2567432.357 | 1128957.7147
3 | 2567397.3832 | 1128948.9718 | 2567401.9635 | 1128955.4948 | 2567409.5094 | 1128961.9683 | 2567413.4382 | 1128962.4836
4 | 2567447.9936 | 1128950.1656 | 2567455.0086 | 1128948.2157 | 2567462.4166 | 1128950.7747
5 | 2567447.9936 | 1128950.1656 | 2567444.4079 | 1128940.947 | 2567443.9606 | 1128939.7845
6 | 2567397.3832 | 1128948.9718 | 2567393.1384 | 1128948.9281 | 2567388.2167 | 1128949.0925
7 | 2567397.3832 | 1128948.9718 | 2567394.9715 | 1128941.7479 | 2567393.662 | 1128938.9523
8 | 2567462.4166 | 1128950.7747 | 2567464.3241 | 1128951.4337 | 2567472.6136 | 1128955.8245 | 2567473.2601 | 1128956.2793
9 | 2567443.9606 | 1128939.7845 | 2567440.0326 | 1128929.5761 | 2567437.5236 | 1128924.3203
10 | 2567373.0099 | 1128949.2904 | 2567375.3708 | 1128949.7135 | 2567380.8305 | 1128949.3393 | 2567388.2167 | 1128949.0925
11 | 2567392.5377 | 1128936.5522 | 2567393.662 | 1128938.9523
12 | 2567473.2601 | 1128956.2793 | 2567490.5846 | 1128968.4672 | 2567495.1736 | 1128972.9405
13 | 2567437.2572 | 1128914.9226 | 2567437.2946 | 1128921.8537 | 2567437.5236 | 1128924.3203 | 2567437.5236 | 1128924.3203
14 | 2567370.9756 | 1128948.9258 | 2567373.0099 | 1128949.2904
15 | 2567392.5377 | 1128936.5522 | 2567389.0057 | 1128929.0117
16 | 2567103.6641 | 1128916.1508 | 2567100.4284 | 1128906.2302 | 2567096.4368 | 1128897.5476
17 | 2567108.1657 | 1128881.3644 | 2567105.0789 | 1128881.7926 | 2567100.8659 | 1128883.3608 | 2567097.2168 | 1128885.2038 | 2567096.112 | 1128888.8562 | 2567095.5666 | 1128891.9496 | 2567096.4368 | 1128897.5476
18 | 2567076.1395 | 1128928.8408 | 2567103.6641 | 1128916.1508
19 | 2567103.6641 | 1128916.1508 | 2567118.2009 | 1128912.3644
20 | 2567056.906 | 1128936.2607 | 2567068.4631 | 1128932.3845 | 2567076.1395 | 1128928.8408
21 | 2567076.1395 | 1128928.8408 | 2567077.6856 | 1128931.2335 | 2567079.9811 | 1128932.6106 | 2567082.572 | 1128933.0856 | 2567087.9115 | 1128933.2565 | 2567097.0591 | 1128931.1055 | 2567103.8558 | 1128928.6783 | 2567105.6248 | 1128928.3983
22 | 2567173.2128 | 1128899.4634 | 2567143.5501 | 1128905.7615 | 2567118.2009 | 1128912.3644
23 | 2567052.2825 | 1128931.7726 | 2567056.906 | 1128936.2607
24 | 2567056.906 | 1128936.2607 | 2567038.1362 | 1128942.5442 | 2566978.7571 | 1128966.2921 | 2566948.9039 | 1128977.9721
25 | 2567127.3709 | 1128937.8991 | 2567118.2808 | 1128930.8563 | 2567113.324 | 1128928.8045 | 2567108.3661 | 1128927.9645 | 2567105.6248 | 1128928.3983
26 | 2567152.7899 | 1128885.1786 | 2567153.771 | 1128884.2617 | 2567156.0982 | 1128884.3935 | 2567165.2764 | 1128890.6578 | 2567172.3431 | 1128896.789 | 2567173.2128 | 1128899.4634
27 | 2567190.1642 | 1128895.9027 | 2567182.8388 | 1128897.4211 | 2567173.2128 | 1128899.4634
28 | 2567166.8175 | 1128961.4293 | 2567161.9023 | 1128969.8269 | 2567152.1626 | 1128986.3216
29 | 2567152.1626 | 1128986.3216 | 2567172.508 | 1128994.9262
30 | 2567172.508 | 1128994.9262 | 2567177.5258 | 1128995.4658
31 | 2567172.508 | 1128994.9262 | 2567169.6069 | 1129002.5569 | 2567166.8816 | 1129011.354 | 2567154.3026 | 1129031.2658 | 2567136.9264 | 1129052.9047 | 2567136.9264 | 1129052.9047
32 | 2567017.6641 | 1128931.962 | 2567022.4639 | 1128934.8816 | 2567033.9988 | 1128933.9847 | 2567043.4237 | 1128933.2217 | 2567048.7614 | 1128931.6584 | 2567052.2825 | 1128931.7726
33 | 2567061.9273 | 1128920.5031 | 2567061.3764 | 1128922.6072 | 2567059.8434 | 1128925.4281 | 2567056.7612 | 1128928.1018 | 2567052.2825 | 1128931.7726
34 | 2567190.1642 | 1128895.9027 | 2567204.1766 | 1128893.0028 | 2567211.501 | 1128892.7543
35 | 2567188.3694 | 1128886.0075 | 2567190.1642 | 1128895.9027
36 | 2567315.4312 | 1128933.1946 | 2567317.8485 | 1128945.334 | 2567318.1618 | 1128947.7112 | 2567317.9565 | 1128949.6244 | 2567315.6848 | 1128954.0278 | 2567312.9751 | 1128957.2219 | 2567312.9751 | 1128957.2219
37 | 2567315.4312 | 1128933.1946 | 2567313.7068 | 1128924.5349 | 2567313.2698 | 1128919.8631
38 | 2567294.3976 | 1128943.4213 | 2567285.3387 | 1128919.4243
39 | 2567278.977 | 1128911.3166 | 2567282.1966 | 1128914.0672 | 2567284.8846 | 1128918.2214 | 2567285.3387 | 1128919.4243
40 | 2567312.7745 | 1128914.5683 | 2567313.2698 | 1128919.8631
41 | 2567278.977 | 1128911.3166 | 2567267.4117 | 1128905.7382
42 | 2567278.977 | 1128911.3166 | 2567272.8365 | 1128914.2369
43 | 2567278.977 | 1128911.3166 | 2567285.6634 | 1128907.0115 | 2567285.6634 | 1128907.0115
44 | 2567312.7745 | 1128914.5683 | 2567333.485 | 1128928.4755
45 | 2567312.4389 | 1128909.5009 | 2567312.7745 | 1128914.5683
46 | 2567259.0083 | 1128901.6849 | 2567267.4117 | 1128905.7382
47 | 2567263.702 | 1128918.581 | 2567272.8365 | 1128914.2369
48 | 2567285.6634 | 1128907.0115 | 2567290.7338 | 1128905.8276
49 | 2567312.4605 | 1128906.377 | 2567312.4389 | 1128909.5009
50 | 2567312.4389 | 1128909.5009 | 2567299.9898 | 1128906.0711
51 | 2567971.0234 | 1129264.0547 | 2567975.7125 | 1129278.1591 | 2567978.9113 | 1129285.8015 | 2567982.5805 | 1129290.508
52 | 2567982.5805 | 1129290.508 | 2567662.3027 | 1129459.5664
53 | 2567971.0234 | 1129264.0547 | 2567966.0271 | 1129244.3381 | 2567955.3133 | 1129214.1355 | 2567952.7983 | 1129203.2878 | 2567952.0232 | 1129195.1434 | 2567952.8724 | 1129186.8014 | 2567956.424 | 1129170.9524 | 2567959.1436 | 1129163.7788 | 2567962.3089 | 1129157.859 | 2567964.2497 | 1129154.8916
54 | 2567971.0234 | 1129264.0547 | 2567964.6813 | 1129254.895 | 2567946.0076 | 1129229.7549
55 | 2567662.3027 | 1129459.5664 | 2567637.1937 | 1129652.132
56 | 2567584.0169 | 1129376.5441 | 2567584.7869 | 1129378.9211 | 2567591.1863 | 1129400.0751 | 2567595.569 | 1129411.4906 | 2567603.7647 | 1129422.9301 | 2567611.0556 | 1129429.4164 | 2567619.7585 | 1129434.8946 | 2567662.3027 | 1129459.5664
57 | 2567964.2497 | 1129154.8916 | 2567966.1869 | 1129159.9172 | 2567968.1706 | 1129169.3669 | 2567971.0873 | 1129180.4348 | 2567973.2605 | 1129186.4151 | 2567976.435 | 1129189.4553 | 2567978.934 | 1129190.0646
58 | 2567576.9711 | 1129355.0623 | 2567581.0663 | 1129367.4354 | 2567584.0169 | 1129376.5441
59 | 2568032.1979 | 1129144.4257 | 2568023.5496 | 1129149.2407 | 2568017.9613 | 1129152.9388 | 2568013.0827 | 1129156.8222 | 2568009.8503 | 1129161.7196 | 2568006.2079 | 1129167.7419 | 2568003.4854 | 1129172.9367 | 2567999.8365 | 1129177.7363 | 2567990.7937 | 1129185.1102 | 2567985.2064 | 1129188.9974 | 2567980.5229 | 1129190.4452 | 2567978.934 | 1129190.0646
60 | 2567978.934 | 1129190.0646 | 2567978.6018 | 1129194.224 | 2567982.5116 | 1129199.3836 | 2567986.3017 | 1129202.3093 | 2567990.6868 | 1129202.6974 | 2567995.17 | 1129201.2506 | 2568000.7718 | 1129200.0981 | 2568005.668 | 1129200.9948 | 2568016.3035 | 1129206.3188 | 2568025.8193 | 1129211.1485 | 2568034.621 | 1129216.3933 | 2568038.92 | 1129219.4165 | 2568041.6893 | 1129223.0703 | 2568044.7771 | 1129227.2116 | 2568048.0484 | 1129229.6399 | 2568052.4385 | 1129229.5166 | 2568055.7906 | 1129226.853 | 2568058.0085 | 1129222.3724 | 2568059.6156 | 1129217.4836 | 2568061.6288 | 1129212.1814 | 2568065.6762 | 1129206.9796 | 2568069.9277 | 1129201.0541 | 2568072.8544 | 1129195.1467 | 2568075.1715 | 1129189.0314 | 2568077.28 | 1129182.8171 | 2568081.0173 | 1129175.7827 | 2568085.066 | 1129169.3581 | 2568090.8432 | 1129163.5246 | 2568096.9294 | 1129160.2674
61 | 2567370.9756 | 1128948.9258 | 2567362.8258 | 1128944.7456 | 2567357.7988 | 1128941.3002
62 | 2567370.9756 | 1128948.9258 | 2567371.0757 | 1128954.617 | 2567368.7131 | 1128967.8586 | 2567368.681 | 1128968.0363
63 | 2567389.0057 | 1128929.0117 | 2567387.65 | 1128926.1175
64 | 2567495.1736 | 1128972.9405 | 2567499.0566 | 1128976.7257 | 2567504.2695 | 1128976.2974 | 2567507.5587 | 1128973.4004 | 2567512.6854 | 1128966.9807 | 2567517.5244 | 1128958.6504 | 2567521.6746 | 1128954.8424
65 | 2567557.54 | 1128942.2045 | 2567554.9973 | 1128942.107 | 2567549.4252 | 1128943.0819 | 2567547.0549 | 1128943.506 | 2567535.3811 | 1128947.2374 | 2567528.8973 | 1128949.1288 | 2567524.5077 | 1128952.2429 | 2567521.6746 | 1128954.8424
66 | 2567557.54 | 1128942.2045 | 2567555.9717 | 1128944.2362 | 2567547.5765 | 1128950.251 | 2567540.3389 | 1128953.7807 | 2567535.7416 | 1128959.8195 | 2567533.067 | 1128965.2478 | 2567530.7335 | 1128972.5084 | 2567530.6171 | 1128980.9355 | 2567526.4211 | 1129012.8296 | 2567517.0851 | 1129032.9233 | 2567507.345 | 1129050.9182 | 2567502.8957 | 1129065.794 | 2567500.1989 | 1129082.8171 | 2567497.7851 | 1129108.0316
67 | 2567497.7851 | 1129108.0316 | 2567497.7054 | 1129098.9609 | 2567495.6136 | 1129099.6058 | 2567493.0103 | 1129102.5435 | 2567487.8291 | 1129113.1101 | 2567485.4607 | 1129118.5908
68 | 2567485.4607 | 1129118.5908 | 2567576.9711 | 1129355.0623
69 | 2567576.9711 | 1129355.0623 | 2567578.9493 | 1129354.796 | 2567580.5799 | 1129355.7766 | 2567583.7076 | 1129360.1286 | 2567588.8379 | 1129368.7498 | 2567591.479 | 1129374.3051 | 2567593.9182 | 1129380.9731 | 2567596.0675 | 1129386.7422 | 2567598.7112 | 1129392.7754
70 | 2567202.072 | 1129049.8373 | 2567200.1624 | 1129042.8998 | 2567177.5258 | 1128995.4658
71 | 2567177.5258 | 1128995.4658 | 2567190.7527 | 1128988.4125 | 2567192.7309 | 1128986.4629
72 | 2567136.9264 | 1129052.9047 | 2567128.3874 | 1129060.3144
73 | 2567188.3694 | 1128886.0075 | 2567192.1457 | 1128882.0627 | 2567193.4092 | 1128880.6552 | 2567192.26 | 1128876.1703 | 2567190.8213 | 1128870.8532 | 2567190.9332 | 1128865.939 | 2567189.3726 | 1128863.702 | 2567181.9257 | 1128865.5656 | 2567175.5638 | 1128866.6702
74 | 2567175.5638 | 1128866.6702 | 2567148.3907 | 1128707.0355
75 | 2567147.5261 | 1128703.883 | 2567148.3907 | 1128707.0355
76 | 2567147.5261 | 1128703.883 | 2567139.63 | 1128706.7386 | 2567135.7041 | 1128708.7166 | 2567127.1816 | 1128712.5649 | 2567119.576 | 1128712.1793
77 | 2567147.5261 | 1128703.883 | 2567271.2858 | 1128419.9454
78 | 2567203.3662 | 1128361.8853 | 2567204.3926 | 1128365.048 | 2567206.1471 | 1128367.4841 | 2567210.4815 | 1128371.1735 | 2567226.9618 | 1128374.2077 | 2567235.9638 | 1128377.6827 | 2567267.874 | 1128397.4527 | 2567271.5321 | 1128401.457 | 2567272.6123 | 1128407.4208 | 2567271.2858 | 1128419.9454
79 | 2567259.0083 | 1128901.6849 | 2567257.2347 | 1128900.8294 | 2567242.5197 | 1128894.9175 | 2567226.4279 | 1128892.2481 | 2567211.501 | 1128892.7543
80 | 2567116.6088 | 1129070.5354 | 2567128.3874 | 1129060.3144
81 | 2567202.072 | 1129049.8373 | 2567202.7261 | 1129055.3698 | 2567203.0373 | 1129057.3469
82 | 2567202.072 | 1129049.8373 | 2567209.9711 | 1129050.8123
83 | 2567192.7309 | 1128986.4629 | 2567206.7175 | 1128972.6785
84 | 2567203.0373 | 1129057.3469 | 2567207.7447 | 1129057.4769 | 2567210.5949 | 1129058.8843 | 2567213.1485 | 1129060.9937 | 2567214.1763 | 1129063.0114
85 | 2567224.5148 | 1129051.5209 | 2567212.0777 | 1129051.0724 | 2567209.9711 | 1129050.8123
86 | 2567211.6983 | 1128967.7697 | 2567206.7175 | 1128972.6785
87 | 2567376.8871 | 1128875.5647 | 2567381.3429 | 1128874.6436 | 2567384.2317 | 1128874.0847
88 | 2567366.2919 | 1128879.2273 | 2567372.563 | 1128876.4587 | 2567376.8871 | 1128875.5647
89 | 2567366.2919 | 1128879.2273 | 2567367.2304 | 1128886.7578
90 | 2567366.2919 | 1128879.2273 | 2567362.7509 | 1128881.2445
91 | 2567367.2304 | 1128886.7578 | 2567367.7474 | 1128890.9058
92 | 2567352.4157 | 1128892.8258 | 2567356.3894 | 1128885.7064 | 2567362.0756 | 1128881.6291 | 2567362.7509 | 1128881.2445
93 | 2567369.3267 | 1128904.757 | 2567368.1361 | 1128894.0247 | 2567367.7474 | 1128890.9058
94 | 2567351.56 | 1128894.3591 | 2567352.4157 | 1128892.8258
95 | 2567324.6383 | 1128882.0214 | 2567326.9857 | 1128880.5179
96 | 2567326.9857 | 1128880.5179 | 2567335.9755 | 1128772.0822
97 | 2567316.7331 | 1128887.6768 | 2567319.3876 | 1128885.3845 | 2567324.6383 | 1128882.0214
98 | 2567374.2658 | 1128910.6666 | 2567369.3267 | 1128904.757
99 | 2567351.56 | 1128894.3591 | 2567345.9586 | 1128899.87 | 2567338.991 | 1128901.6115
100 | 2566454.6423 | 1128417.521 | 2566439.5287 | 1128417.872 | 2566429.7428 | 1128420.3277 | 2566421.7653 | 1128424.4515
101 | 2566869.8579 | 1128545.2673 | 2566454.6423 | 1128417.521
102 | 2566869.8579 | 1128545.2673 | 2566875.102 | 1128549.3869
103 | 2566897.2766 | 1128567.2579 | 2566890.2768 | 1128561.3076 | 2566875.102 | 1128549.3869
104 | 2566902.4052 | 1128570.1565 | 2566899.9829 | 1128569.5584 | 2566897.2766 | 1128567.2579
105 | 2566902.4052 | 1128570.1565 | 2567229.5429 | 1128231.1441
106 | 2567229.5429 | 1128231.1441 | 2567227.2405 | 1128234.1915 | 2567222.3986 | 1128239.2092 | 2567221.5547 | 1128242.6933 | 2567222.0466 | 1128246.7371 | 2567226.7018 | 1128259.8073 | 2567229.1154 | 1128264.4521 | 2567229.7243 | 1128267.328 | 2567229.4378 | 1128269.9086 | 2567229.6624 | 1128274.3652 | 2567233.1851 | 1128281.7831 | 2567236.3142 | 1128290.5038 | 2567238.2504 | 1128298.0304 | 2567238.9997 | 1128308.3315 | 2567238.335 | 1128313.5933 | 2567236.7602 | 1128317.2703 | 2567236.5685 | 1128318.8611 | 2567238.1784 | 1128321.6315 | 2567240.3798 | 1128324.0985 | 2567241.9891 | 1128326.7689 | 2567241.8157 | 1128331.7279 | 2567241.435 | 1128335.3985 | 2567240.2549 | 1128337.9839 | 2567237.7806 | 1128340.5765 | 2567233.4803 | 1128341.7449
107 | 2567233.4803 | 1128341.7449 | 2567231.2428 | 1128338.322 | 2567224.5462 | 1128330.9324 | 2567222.0969 | 1128328.2222 | 2567219.3691 | 1128326.714
108 | 2567219.3691 | 1128326.714 | 2567217.6424 | 1128326.5344 | 2567216.5112 | 1128326.7852 | 2567215.151 | 1128327.4151 | 2567212.8888 | 1128330.7735 | 2567209.8954 | 1128338.5048 | 2567208.2026 | 1128345.9733 | 2567207.9289 | 1128346.8738
109 | 2567203.3662 | 1128361.8853 | 2567207.9289 | 1128346.8738
110 | 2567312.4605 | 1128906.377 | 2567319.2342 | 1128905.3842 | 2567322.2063 | 1128904.9146
111 | 2567312.4605 | 1128906.377 | 2567312.5105 | 1128899.9846 | 2567312.6099 | 1128895.5819 | 2567312.6099 | 1128895.5819
112 | 2567292.0522 | 1128905.5197 | 2567295.2652 | 1128904.7694 | 2567299.9898 | 1128906.0711
113 | 2567356.2921 | 1128940.2676 | 2567357.8525 | 1128933.9449 | 2567360.3026 | 1128927.8981
114 | 2567356.2921 | 1128940.2676 | 2567357.7988 | 1128941.3002
115 | 2567362.6171 | 1128925.5676 | 2567362.2389 | 1128925.9949 | 2567360.3535 | 1128927.7727 | 2567360.3026 | 1128927.8981
116 | 2567322.2063 | 1128904.9146 | 2567331.911 | 1128903.3812 | 2567331.911 | 1128903.3812
117 | 2567314.7132 | 1128890.6337 | 2567314.2055 | 1128891.4934 | 2567312.6099 | 1128895.5819
118 | 2567292.0522 | 1128905.5197 | 2567290.7338 | 1128905.8276
119 | 2567263.702 | 1128918.581 | 2567255.7497 | 1128925.6332
120 | 2567263.702 | 1128918.581 | 2567272.9199 | 1128951.8562
121 | 2567255.7497 | 1128925.6332 | 2567249.4484 | 1128931.2213
122 | 2567272.9199 | 1128951.8562 | 2567275.2968 | 1128960.4364
123 | 2567211.6983 | 1128967.7697 | 2567214.4281 | 1128965.0794
124 | 2567221.2241 | 1128958.3816 | 2567214.4281 | 1128965.0794
125 | 2567221.2241 | 1128958.3816 | 2567226.4131 | 1128953.2676 | 2567229.3802 | 1128950.3877
126 | 2567237.7988 | 1129053.8673 | 2567232.3055 | 1129052.2852 | 2567226.8093 | 1129051.6036 | 2567224.5148 | 1129051.5209
127 | 2567244.7342 | 1128935.4843 | 2567245.7163 | 1128934.5311 | 2567246.3309 | 1128933.986
128 | 2567249.4484 | 1128931.2213 | 2567246.3309 | 1128933.986
129 | 2567238.4956 | 1128941.5398 | 2567244.7342 | 1128935.4843
130 | 2567232.8338 | 1128947.0354 | 2567238.4956 | 1128941.5398
131 | 2567232.8338 | 1128947.0354 | 2567229.3802 | 1128950.3877
132 | 2567274.2451 | 1128976.5146 | 2567276.9026 | 1128966.2332 | 2567275.2968 | 1128960.4364
133 | 2567270.8677 | 1129003.5111 | 2567273.3489 | 1128979.9816 | 2567274.2451 | 1128976.5146
134 | 2567270.6969 | 1129005.1308 | 2567270.8677 | 1129003.5111
135 | 2567364.8583 | 1128992.6155 | 2567365.0787 | 1128990.9121 | 2567365.3176 | 1128986.6642 | 2567368.681 | 1128968.0363
136 | 2567305.4914 | 1129107.0487 | 2567307.3847 | 1129101.0576 | 2567308.9909 | 1129097.5138 | 2567312.5266 | 1129093.2369 | 2567316.9773 | 1129090.0668 | 2567321.1326 | 1129087.8209 | 2567324.9764 | 1129084.9653 | 2567329.9257 | 1129079.9804 | 2567340.2177 | 1129065.8398 | 2567346.4628 | 1129056.9015 | 2567348.7766 | 1129051.7197 | 2567351.2664 | 1129043.5021 | 2567358.9403 | 1129015.302 | 2567364.3245 | 1128996.7413 | 2567364.8583 | 1128992.6155
137 | 2567374.2658 | 1128910.6666 | 2567380.817 | 1128918.5035
138 | 2567386.8644 | 1128924.5249 | 2567381.7869 | 1128919.6637 | 2567380.817 | 1128918.5035
139 | 2567386.8644 | 1128924.5249 | 2567386.9364 | 1128924.5939 | 2567387.65 | 1128926.1175
140 | 2567316.7331 | 1128887.6768 | 2567316.1749 | 1128888.1588 | 2567316.0809 | 1128888.3179
141 | 2567314.7132 | 1128890.6337 | 2567316.0809 | 1128888.3179
142 | 2567338.991 | 1128901.6115 | 2567331.911 | 1128903.3812
143 | 2567437.2551 | 1128914.5391 | 2567437.2572 | 1128914.9226

## bus_geodata
| x | y | coords
0 | 2567414.3121 | 1128962.5983
1 | 2567432.357 | 1128957.7147
2 | 2567413.4382 | 1128962.4836
3 | 2567447.9936 | 1128950.1656
4 | 2567397.3832 | 1128948.9718
5 | 2567462.4166 | 1128950.7747
6 | 2567443.9606 | 1128939.7845
7 | 2567388.2167 | 1128949.0925
8 | 2567393.662 | 1128938.9523
9 | 2567473.2601 | 1128956.2793
10 | 2567437.5236 | 1128924.3203
11 | 2567373.0099 | 1128949.2904
12 | 2567392.5377 | 1128936.5522
13 | 2567096.4368 | 1128897.5476
14 | 2567103.6641 | 1128916.1508
15 | 2567108.1657 | 1128881.3644
16 | 2567076.1395 | 1128928.8408
17 | 2567118.2009 | 1128912.3644
18 | 2567056.906 | 1128936.2607
19 | 2567105.6248 | 1128928.3983
20 | 2567173.2128 | 1128899.4634
21 | 2567152.1626 | 1128986.3216
22 | 2567166.8175 | 1128961.4293
23 | 2567172.508 | 1128994.9262
24 | 2567052.2825 | 1128931.7726
25 | 2566948.9039 | 1128977.9721
26 | 2567127.3708 | 1128937.8991
27 | 2567152.7899 | 1128885.1786
28 | 2567190.1642 | 1128895.9027
29 | 2567312.9751 | 1128957.2219
30 | 2567315.4312 | 1128933.1946
31 | 2567294.3976 | 1128943.4213
32 | 2567285.3387 | 1128919.4243
33 | 2567313.2698 | 1128919.8631
34 | 2567278.977 | 1128911.3166
35 | 2567312.7745 | 1128914.5683
36 | 2567267.4117 | 1128905.7382
37 | 2567272.8365 | 1128914.2369
38 | 2567285.6634 | 1128907.0115
39 | 2567333.485 | 1128928.4754
40 | 2567312.4389 | 1128909.5009
41 | 2567982.5805 | 1129290.508
42 | 2567971.0234 | 1129264.0547
43 | 2567662.3027 | 1129459.5664
44 | 2567964.2497 | 1129154.8916
45 | 2567946.0076 | 1129229.7549
46 | 2567637.1937 | 1129652.132
47 | 2567584.0169 | 1129376.5441
48 | 2567978.934 | 1129190.0646
49 | 2568032.1979 | 1129144.4257
50 | 2568096.9294 | 1129160.2674
51 | 2567370.9756 | 1128948.9258
52 | 2567389.0057 | 1128929.0117
53 | 2567521.6746 | 1128954.8424
54 | 2567495.1736 | 1128972.9405
55 | 2567557.54 | 1128942.2045
56 | 2567497.7851 | 1129108.0316
57 | 2567485.4607 | 1129118.5908
58 | 2567576.9711 | 1129355.0623
59 | 2567177.5258 | 1128995.4658
60 | 2567136.9264 | 1129052.9047
61 | 2567017.6641 | 1128931.962
62 | 2567061.9273 | 1128920.5031
63 | 2567175.5638 | 1128866.6702
64 | 2567188.3694 | 1128886.0075
65 | 2567148.3907 | 1128707.0355
66 | 2567119.576 | 1128712.1793
67 | 2567147.5261 | 1128703.883
68 | 2567271.2858 | 1128419.9454
69 | 2567211.501 | 1128892.7543
70 | 2567259.0083 | 1128901.6849
71 | 2567128.3874 | 1129060.3144
72 | 2567116.6088 | 1129070.5354
73 | 2567202.072 | 1129049.8373
74 | 2567192.7309 | 1128986.4629
75 | 2567203.0373 | 1129057.3469
76 | 2567209.9711 | 1129050.8123
77 | 2567206.7175 | 1128972.6785
78 | 2567598.7112 | 1129392.7754
79 | 2567376.8871 | 1128875.5647
80 | 2567384.2317 | 1128874.0847
81 | 2567366.2919 | 1128879.2273
82 | 2567367.2304 | 1128886.7578
83 | 2567362.7509 | 1128881.2445
84 | 2567367.7474 | 1128890.9058
85 | 2567352.4157 | 1128892.8258
86 | 2567326.9857 | 1128880.5179
87 | 2567324.6383 | 1128882.0214
88 | 2567335.9755 | 1128772.0822
89 | 2567369.3267 | 1128904.757
90 | 2567351.56 | 1128894.3591
91 | 2566421.7653 | 1128424.4515
92 | 2566454.6423 | 1128417.521
93 | 2566869.8579 | 1128545.2673
94 | 2566875.102 | 1128549.3869
95 | 2566897.2766 | 1128567.2579
96 | 2566902.4052 | 1128570.1565
97 | 2567229.5429 | 1128231.1441
98 | 2567233.4803 | 1128341.7449
99 | 2567207.9289 | 1128346.8738
100 | 2567219.3691 | 1128326.714
101 | 2567203.3662 | 1128361.8853
102 | 2567312.4605 | 1128906.377
103 | 2567299.9898 | 1128906.0711
104 | 2567356.2921 | 1128940.2676
105 | 2567360.3026 | 1128927.8981
106 | 2567357.7988 | 1128941.3002
107 | 2567322.2063 | 1128904.9146
108 | 2567312.6099 | 1128895.5819
109 | 2567292.0522 | 1128905.5197
110 | 2567263.702 | 1128918.581
111 | 2567290.7338 | 1128905.8276
112 | 2567255.7497 | 1128925.6332
113 | 2567272.9199 | 1128951.8562
114 | 2567211.6983 | 1128967.7697
115 | 2567214.4281 | 1128965.0794
116 | 2567221.2241 | 1128958.3816
117 | 2567214.1763 | 1129063.0114
118 | 2567224.5148 | 1129051.5209
119 | 2567246.3309 | 1128933.986
120 | 2567244.7342 | 1128935.4843
121 | 2567249.4484 | 1128931.2213
122 | 2567238.4956 | 1128941.5398
123 | 2567232.8338 | 1128947.0354
124 | 2567229.3802 | 1128950.3877
125 | 2567274.2451 | 1128976.5146
126 | 2567275.2968 | 1128960.4364
127 | 2567270.8677 | 1129003.5111
128 | 2567270.6969 | 1129005.1308
129 | 2567368.681 | 1128968.0363
130 | 2567364.8583 | 1128992.6155
131 | 2567305.4914 | 1129107.0487
132 | 2567362.6171 | 1128925.5676
133 | 2567374.2658 | 1128910.6666
134 | 2567380.817 | 1128918.5035
135 | 2567386.8644 | 1128924.5249
136 | 2567316.7331 | 1128887.6768
137 | 2567316.0809 | 1128888.3179
138 | 2567314.7132 | 1128890.6337
139 | 2567338.991 | 1128901.6115
140 | 2567331.911 | 1128903.3812
141 | 2567387.65 | 1128926.1175
142 | 2567437.2572 | 1128914.9226
143 | 2567437.2551 | 1128914.5391
144 | 2567237.7988 | 1129053.8673
145 | 2567278.977 | 1128911.3166

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1