## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5409-50_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5409-50_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5409-50_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5409-50_0_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_5409-50_0_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_5409-50_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_5409-50_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5409-50_0_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_5409-50_0_3_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_5409-50_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5409-50_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5409-50_0_3_node_3 | 0.4 | n |  | TRUE
12 | bus_LV_5409-50_0_3_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_5409-50_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5409-50_0_3_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_5409-50_0_3_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_5409-50_0_3_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_5409-50_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_5409-50_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_5409-50_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_5409-50_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_5409-50_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5409-50_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5409-50_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5409-50_0_3_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_5409-50_0_3_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_5409-50_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5409-50_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_5409-50_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5409-50_0_3_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_5409-50_0_3_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_5409-50_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_5409-50_0_3_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_5409-50_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5409-50_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_5409-50_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_5409-50_0_3_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_5409-50_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_5409-50_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5409-50_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5409-50_0_3_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_5409-50_0_3_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_5409-50_0_3_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_5409-50_0_3_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_5409-50_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5409-50_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5409-50_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5409-50_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_5409-50_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5409-50_0_3_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_5409-50_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_5409-50_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_5409-50_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_5409-50_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_5409-50_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_5409-50_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5409-50_0_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_5409-50_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_5409-50_0_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5409-50_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_5409-50_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_5409-50_0_3_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_5409-50_0_3_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_5409-50_0_3_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_5409-50_0_3_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_5409-50_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_5409-50_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_5409-50_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_5409-50_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_5409-50_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_5409-50_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_MV_190_0_node_252 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5409-50_0_3_load_0 | 0 | 0.0025504 | 0.0006392 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5409-50_0_3_load_1 | 1 | 0.0062857 | 0.0015753 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5409-50_0_3_load_11 | 3 | 0.003825 | 0.00095863 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5409-50_0_3_load_12 | 4 | 0.0065812 | 0.0016494 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5409-50_0_3_load_8 | 5 | 0.012476 | 0.0031267 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5409-50_0_3_load_71 | 8 | 0.012462 | 0.0031234 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5409-50_0_3_load_9 | 9 | 0.019272 | 0.0048299 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5409-50_0_3_load_7 | 10 | 0.0068564 | 0.0017184 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5409-50_0_3_load_3 | 11 | 0.0056683 | 0.0014206 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5409-50_0_3_load_70 | 14 | 0.0046485 | 0.001165 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5409-50_0_3_load_29 | 15 | 0.0053437 | 0.0013393 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5409-50_0_3_load_28 | 17 | 0.0034392 | 0.00086196 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5409-50_0_3_load_22 | 19 | 0.0017682 | 0.00044315 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5409-50_0_3_load_23 | 20 | 0.0035406 | 0.00088735 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5409-50_0_3_load_18 | 21 | 0.0028498 | 0.00071423 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5409-50_0_3_load_17 | 23 | 0.0059324 | 0.0014868 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5409-50_0_3_load_35 | 25 | 0.0019761 | 0.00049527 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5409-50_0_3_load_15 | 26 | 0.0088898 | 0.002228 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5409-50_0_3_load_14 | 28 | 0.0090588 | 0.0022703 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5409-50_0_3_load_43 | 30 | 0.0041872 | 0.0010494 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5409-50_0_3_load_36 | 31 | 0.0028631 | 0.00071755 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5409-50_0_3_load_47 | 32 | 0.0041636 | 0.0010435 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5409-50_0_3_load_19 | 33 | 0.0011515 | 0.00028859 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5409-50_0_3_load_21 | 34 | 0.0026754 | 0.00067051 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5409-50_0_3_load_65 | 36 | 0.0047687 | 0.0011952 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5409-50_0_3_load_25 | 38 | 0.0010983 | 0.00027526 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5409-50_0_3_load_64 | 40 | 0.0022407 | 0.00056158 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5409-50_0_3_load_62 | 41 | 0.00245 | 0.00061404 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5409-50_0_3_load_63 | 42 | 0.0031139 | 0.00078041 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5409-50_0_3_load_45 | 43 | 0.0030979 | 0.00077641 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5409-50_0_3_load_32 | 44 | 0.00082134 | 0.00020585 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5409-50_0_3_load_33 | 45 | 0.0010849 | 0.00027191 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5409-50_0_3_load_41 | 47 | 0.0018971 | 0.00047545 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5409-50_0_3_load_68 | 49 | 0.0014598 | 0.00036587 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5409-50_0_3_load_38 | 50 | 0.0010125 | 0.00025374 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5409-50_0_3_load_40 | 51 | 0.0010371 | 0.00025992 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5409-50_0_3_load_42 | 52 | 0.00080186 | 0.00020097 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5409-50_0_3_load_49 | 55 | 0.0010191 | 0.00025542 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5409-50_0_3_load_44 | 56 | 0.0054894 | 0.0013758 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5409-50_0_3_load_48 | 57 | 0.0038697 | 0.00096984 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5409-50_0_3_load_46 | 58 | 0.0043379 | 0.0010872 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5409-50_0_3_load_66 | 61 | 0.00080518 | 0.0002018 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5409-50_0_3_load_60 | 63 | 0.00097156 | 0.0002435 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5409-50_0_3_load_69 | 64 | 0.0021328 | 0.00053454 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5409-50_0_3_load_54 | 66 | 0.00054853 | 0.00013747 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5409-50_0_3_load_56 | 68 | 0.00097816 | 0.00024515 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5409-50_0_3_load_58 | 69 | 0.0016015 | 0.00040136 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5409-50_0_3_load_59 | 70 | 0.00099071 | 0.00024829 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5409-50_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.043563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5409-50_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.01676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5409-50_0_3_line_2 | NAYY 4x150 SE | 2 | 5 | 0.0092276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5409-50_0_3_line_3 | NAYY 4x150 SE | 2 | 6 | 0.03283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5409-50_0_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.041029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5409-50_0_3_line_5 | NAYY 4x150 SE | 4 | 7 | 0.054058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_5409-50_0_3_line_6 | NAYY 4x150 SE | 4 | 8 | 0.073092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5409-50_0_3_line_7 | NAYY 4x150 SE | 5 | 9 | 0.049818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5409-50_0_3_line_8 | NAYY 4x150 SE | 6 | 10 | 0.0067381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5409-50_0_3_line_9 | NAYY 4x150 SE | 6 | 11 | 0.030865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5409-50_0_3_line_10 | NAYY 4x150 SE | 7 | 22 | 0.049887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5409-50_0_3_line_11 | NAYY 4x150 SE | 7 | 23 | 0.014591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_5409-50_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.067653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5409-50_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0034165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5409-50_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.015733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5409-50_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.041029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5409-50_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.029558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5409-50_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.021336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5409-50_0_3_line_18 | NAYY 4x150 SE | 16 | 27 | 0.015583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_5409-50_0_3_line_19 | NAYY 4x150 SE | 17 | 37 | 0.020864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5409-50_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.020731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5409-50_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.012139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5409-50_0_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.029466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5409-50_0_3_line_23 | NAYY 4x150 SE | 19 | 36 | 0.03613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5409-50_0_3_line_24 | NAYY 4x150 SE | 20 | 37 | 0.0072174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5409-50_0_3_line_25 | NAYY 4x150 SE | 21 | 33 | 0.006889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5409-50_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.055756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5409-50_0_3_line_27 | NAYY 4x150 SE | 22 | 25 | 0.016468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5409-50_0_3_line_28 | NAYY 4x150 SE | 22 | 26 | 0.019469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5409-50_0_3_line_29 | NAYY 4x150 SE | 23 | 27 | 0.008149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_5409-50_0_3_line_30 | NAYY 4x150 SE | 24 | 29 | 0.002284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5409-50_0_3_line_31 | NAYY 4x150 SE | 24 | 30 | 0.029415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5409-50_0_3_line_32 | NAYY 4x150 SE | 25 | 31 | 0.017693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5409-50_0_3_line_33 | NAYY 4x150 SE | 26 | 28 | 0.039537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5409-50_0_3_line_34 | NAYY 4x150 SE | 27 | 32 | 0.02462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5409-50_0_3_line_35 | NAYY 4x150 SE | 29 | 49 | 0.071571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5409-50_0_3_line_36 | NAYY 4x150 SE | 30 | 46 | 0.070678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5409-50_0_3_line_37 | NAYY 4x150 SE | 32 | 43 | 0.013697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5409-50_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.013873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5409-50_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.018417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5409-50_0_3_line_40 | NAYY 4x150 SE | 35 | 38 | 0.0073288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5409-50_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.015093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5409-50_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.053666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5409-50_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.014274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5409-50_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.010921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5409-50_0_3_line_45 | NAYY 4x150 SE | 43 | 58 | 0.015108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5409-50_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.018274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5409-50_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.029512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5409-50_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.032411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5409-50_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.0068145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5409-50_0_3_line_50 | NAYY 4x150 SE | 48 | 52 | 0.029029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5409-50_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.036804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5409-50_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.045357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5409-50_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.041019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5409-50_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.027622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5409-50_0_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.016593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5409-50_0_3_line_56 | NAYY 4x150 SE | 54 | 61 | 0.021047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5409-50_0_3_line_57 | NAYY 4x150 SE | 54 | 62 | 0.01998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5409-50_0_3_line_58 | NAYY 4x150 SE | 55 | 59 | 0.024347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5409-50_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.03141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5409-50_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.0077797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5409-50_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.012463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5409-50_0_3_line_62 | NAYY 4x150 SE | 60 | 63 | 0.00080623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5409-50_0_3_line_63 | NAYY 4x150 SE | 62 | 64 | 0.010958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5409-50_0_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.014565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5409-50_0_3_line_65 | NAYY 4x150 SE | 65 | 67 | 0.010335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5409-50_0_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.044685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5409-50_0_3_line_67 | NAYY 4x150 SE | 67 | 68 | 0.05146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5409-50_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.036743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5409-50_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.0094436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5409-50_0_3_trafo_30 | 0.25 MVA 20/0.4 kV | 71 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2569173.4091 | 1127667.3597 | 2569185.956 | 1127675.2837 | 2569210.4929 | 1127690.2169
1 | 2569224.81 | 1127698.9304 | 2569210.4929 | 1127690.2169
2 | 2569224.81 | 1127698.9304 | 2569232.6936 | 1127703.7259
3 | 2569193.3291 | 1127697.7683 | 2569195.1626 | 1127697.7034 | 2569198.6462 | 1127697.8857 | 2569202.492 | 1127698.0995 | 2569210.8723 | 1127700.569 | 2569220.2064 | 1127701.2217 | 2569223.8626 | 1127700.5027 | 2569224.81 | 1127698.9304
4 | 2569127.6459 | 1127785.6997 | 2569143.5873 | 1127791.4139 | 2569163.0102 | 1127805.6714
5 | 2569206.5877 | 1127837.6594 | 2569163.0102 | 1127805.6714
6 | 2569163.0102 | 1127805.6714 | 2569188.5609 | 1127737.1902
7 | 2569232.6936 | 1127703.7259 | 2569232.6936 | 1127703.7259 | 2569278.5961 | 1127723.0856
8 | 2569193.3291 | 1127697.7683 | 2569194.8429 | 1127703.0077 | 2569195.8407 | 1127703.8165
9 | 2569193.3291 | 1127697.7683 | 2569190.109 | 1127697.896 | 2569178.5958 | 1127697.5213 | 2569162.5534 | 1127695.9155
10 | 2569206.5877 | 1127837.6594 | 2569174.1267 | 1127851.1209 | 2569164.4919 | 1127862.4203
11 | 2569206.5877 | 1127837.6594 | 2569221.0778 | 1127835.6177
12 | 2569143.5819 | 1127695.5661 | 2569141.7927 | 1127696.7536 | 2569140.9385 | 1127699.9707 | 2569141.4843 | 1127704.2367 | 2569143.6821 | 1127707.6049 | 2569149.4541 | 1127710.7992 | 2569156.6286 | 1127715.5426 | 2569165.0236 | 1127720.8912 | 2569171.5943 | 1127726.5938 | 2569177.8057 | 1127731.3422 | 2569180.6984 | 1127733.4952 | 2569188.5609 | 1127737.1902
13 | 2569159.1538 | 1127695.5753 | 2569162.5534 | 1127695.9155
14 | 2569143.5819 | 1127695.5661 | 2569144.3115 | 1127695.0954 | 2569149.6332 | 1127694.6235 | 2569159.1538 | 1127695.5753
15 | 2569105.6382 | 1127685.7332 | 2569109.8237 | 1127686.0564 | 2569111.6654 | 1127686.1025 | 2569112.956 | 1127685.34 | 2569116.6186 | 1127684.3652 | 2569121.9371 | 1127684.7715 | 2569132.3373 | 1127688.9759 | 2569141.8606 | 1127693.4516 | 2569143.5819 | 1127695.5661
16 | 2569244.6294 | 1127832.1958 | 2569274.067 | 1127829.5336
17 | 2569295.3462 | 1127829.1562 | 2569284.4913 | 1127828.5908 | 2569274.067 | 1127829.5336
18 | 2569244.6294 | 1127832.1958 | 2569241.3577 | 1127832.7573 | 2569229.1697 | 1127834.4759
19 | 2569316.1821 | 1127830.2414 | 2569295.3462 | 1127829.1562
20 | 2569335.5305 | 1127830.5542 | 2569336.198 | 1127833.0187 | 2569339.6473 | 1127837.0699 | 2569345.1622 | 1127841.2773 | 2569349.9648 | 1127844.788
21 | 2569335.5305 | 1127830.5542 | 2569327.0942 | 1127830.6416 | 2569323.3946 | 1127830.5059
22 | 2569335.5305 | 1127830.5542 | 2569364.9361 | 1127828.6726
23 | 2569349.9648 | 1127844.788 | 2569376.7237 | 1127869.0641
24 | 2569316.1821 | 1127830.2414 | 2569323.3946 | 1127830.5059
25 | 2569364.9361 | 1127828.6726 | 2569371.811 | 1127828.2327
26 | 2569140.4085 | 1127912.4351 | 2569146.6462 | 1127898.2739 | 2569151.7109 | 1127886.7645 | 2569160.2182 | 1127867.4335 | 2569164.4919 | 1127862.4203
27 | 2569164.4919 | 1127862.4203 | 2569169.2021 | 1127867.4431 | 2569177.4545 | 1127872.3126
28 | 2569164.4919 | 1127862.4203 | 2569149.4298 | 1127852.0588 | 2569148.4656 | 1127851.366
29 | 2569229.1697 | 1127834.4759 | 2569221.0778 | 1127835.6177
30 | 2569140.4085 | 1127912.4351 | 2569138.2473 | 1127913.191
31 | 2569140.4085 | 1127912.4351 | 2569150.0388 | 1127915.3317 | 2569160.9826 | 1127918.9331 | 2569167.5147 | 1127923.2642
32 | 2569177.4545 | 1127872.3126 | 2569178.7463 | 1127873.0749 | 2569187.5299 | 1127877.6101 | 2569192.9771 | 1127880.791
33 | 2569122.3742 | 1127824.1542 | 2569136.5147 | 1127832.1483 | 2569138.3852 | 1127834.8067 | 2569139.65 | 1127839.547 | 2569141.9513 | 1127845.0936 | 2569144.8672 | 1127848.7805 | 2569148.4656 | 1127851.366
34 | 2569229.1697 | 1127834.4759 | 2569229.6606 | 1127837.0524 | 2569230.7583 | 1127839.2813 | 2569233.3454 | 1127840.4353 | 2569236.9271 | 1127841.7399 | 2569240.9223 | 1127842.5533 | 2569244.18 | 1127843.7817 | 2569247.1779 | 1127845.4228 | 2569248.5252 | 1127846.7504
35 | 2569138.2473 | 1127913.191 | 2569139.4342 | 1127920.7887 | 2569141.7217 | 1127929.6481 | 2569148.9018 | 1127956.6026 | 2569151.4193 | 1127963.76 | 2569154.6839 | 1127967.8342 | 2569156.4735 | 1127969.7594 | 2569158.7295 | 1127970.9818 | 2569160.8312 | 1127973.6612 | 2569163.7133 | 1127978.2821
36 | 2569227.6932 | 1127960.2574 | 2569226.5276 | 1127959.8298 | 2569213.0639 | 1127951.5833 | 2569183.6265 | 1127933.9471 | 2569167.5147 | 1127923.2642
37 | 2569258.4506 | 1127856.1824 | 2569255.0455 | 1127853.1754 | 2569248.5252 | 1127846.7504
38 | 2569371.811 | 1127828.2327 | 2569385.6559 | 1127827.3468
39 | 2569404.0352 | 1127826.1707 | 2569385.6559 | 1127827.3468
40 | 2569404.0352 | 1127826.1707 | 2569404.4306 | 1127832.7275 | 2569404.5106 | 1127833.4833
41 | 2569316.1821 | 1127830.2414 | 2569315.4143 | 1127835.3034 | 2569314.3764 | 1127838.7771 | 2569314.0855 | 1127842.1803 | 2569313.5532 | 1127845.0622
42 | 2569313.5532 | 1127845.0622 | 2569312.2667 | 1127848.1481 | 2569308.6424 | 1127855.1144 | 2569306.1279 | 1127860.63 | 2569300.9781 | 1127866.0812 | 2569296.9827 | 1127869.77 | 2569294.6223 | 1127872.2722 | 2569293.7013 | 1127874.478 | 2569293.8919 | 1127877.1005 | 2569296.0421 | 1127878.7237 | 2569299.6694 | 1127878.4051 | 2569303.9284 | 1127878.061 | 2569307.8533 | 1127880.1976
43 | 2569313.5532 | 1127845.0622 | 2569316.8143 | 1127848.4806 | 2569318.527 | 1127850.4396 | 2569323.958 | 1127854.773
44 | 2569332.0161 | 1127862.1434 | 2569324.0507 | 1127854.847 | 2569323.958 | 1127854.773
45 | 2569258.4506 | 1127856.1824 | 2569266.1597 | 1127862.9903 | 2569269.8715 | 1127866.0703
46 | 2569232.3556 | 1127938.9065 | 2569228.365 | 1127936.4087 | 2569222.5723 | 1127935.1487 | 2569221.0705 | 1127935.2564 | 2569219.0106 | 1127936.2452 | 2569216.6949 | 1127938.4248 | 2569216.3523 | 1127938.998
47 | 2569227.6932 | 1127960.2574 | 2569228.1667 | 1127957.9316 | 2569227.9548 | 1127957.1656 | 2569226.8642 | 1127956.3485 | 2569223.286 | 1127954.199 | 2569218.3131 | 1127950.5226 | 2569215.0456 | 1127948.8829 | 2569213.9522 | 1127947.4989 | 2569213.582 | 1127945.9111 | 2569214.1357 | 1127942.7067 | 2569216.3523 | 1127938.998
48 | 2569227.6932 | 1127960.2574 | 2569246.0727 | 1127967.0447 | 2569258.4099 | 1127970.5238
49 | 2569264.9686 | 1127972.3733 | 2569258.4099 | 1127970.5238
50 | 2569264.9686 | 1127972.3733 | 2569277.0846 | 1127974.7127 | 2569293.1205 | 1127979.3375
51 | 2569264.9686 | 1127972.3733 | 2569263.7256 | 1127976.4039 | 2569259.4127 | 1127984.2965 | 2569254.7769 | 1127990.8011 | 2569247.5792 | 1128001.0652 | 2569245.4759 | 1128003.2986
52 | 2569205.4693 | 1128003.2812 | 2569208.8008 | 1128003.8867 | 2569211.8316 | 1128005.9501 | 2569214.0075 | 1128008.0956 | 2569220.0575 | 1128011.4664 | 2569223.4975 | 1128012.2159 | 2569230.509 | 1128012.2579 | 2569236.3786 | 1128010.5048 | 2569242.8664 | 1128006.0695 | 2569245.4759 | 1128003.2986
53 | 2569326.2289 | 1128002.7431 | 2569299.9239 | 1127981.2996 | 2569293.1205 | 1127979.3375
54 | 2569336.5923 | 1127977.1332 | 2569326.2289 | 1128002.7431
55 | 2569326.2289 | 1128002.7431 | 2569322.6404 | 1128012.1772 | 2569319.9488 | 1128018.0928
56 | 2569336.5923 | 1127977.1332 | 2569335.7199 | 1127973.747 | 2569333.6054 | 1127970.0448 | 2569329.6148 | 1127964.0844 | 2569325.3395 | 1127959.6928
57 | 2569336.5923 | 1127977.1332 | 2569343.3514 | 1127973.0079 | 2569353.6437 | 1127966.7191
58 | 2569309.5074 | 1128040.0802 | 2569313.4133 | 1128032.4565 | 2569319.9488 | 1128018.0928
59 | 2569275.7565 | 1127871.1501 | 2569277.614 | 1127902.505
60 | 2569275.7565 | 1127871.1501 | 2569274.6014 | 1127869.9952 | 2569269.8715 | 1127866.0703
61 | 2569304.6118 | 1128051.5442 | 2569309.5074 | 1128040.0802
62 | 2569304.6118 | 1128051.5442 | 2569304.274 | 1128052.2763
63 | 2569353.6437 | 1127966.7191 | 2569347.196 | 1127957.8474
64 | 2569299.3212 | 1128065.6449 | 2569298.9727 | 1128063.7679 | 2569304.274 | 1128052.2763
65 | 2569299.3212 | 1128065.6449 | 2569296.6264 | 1128065.9921 | 2569294.8032 | 1128066.535 | 2569293.0967 | 1128067.2996 | 2569290.9324 | 1128068.9559 | 2569289.9726 | 1128069.5833
66 | 2569289.9726 | 1128069.5833 | 2569288.5827 | 1128070.4909 | 2569287.2636 | 1128071.6871 | 2569282.7245 | 1128071.4656 | 2569276.0998 | 1128070.1876 | 2569266.4227 | 1128068.6473 | 2569260.507 | 1128067.4102 | 2569256.0308 | 1128067.433 | 2569253.7444 | 1128067.7893 | 2569251.2794 | 1128069.3916 | 2569249.8793 | 1128071.333 | 2569249.2314 | 1128073.2106
67 | 2569289.9726 | 1128069.5833 | 2569286.208 | 1128065.6339 | 2569283.1384 | 1128063.4818 | 2569278.4157 | 1128060.5155 | 2569271.5613 | 1128054.9809 | 2569251.96 | 1128035.171
68 | 2569251.96 | 1128035.171 | 2569251.96 | 1128035.171 | 2569239.676 | 1128052.7313 | 2569226.5354 | 1128044.8704
69 | 2569218.4313 | 1128040.0223 | 2569226.5354 | 1128044.8704

## bus_geodata
| x | y | coords
0 | 2569173.4091 | 1127667.3597
1 | 2569210.4929 | 1127690.2169
2 | 2569224.81 | 1127698.9304
3 | 2569127.6459 | 1127785.6997
4 | 2569163.0102 | 1127805.6714
5 | 2569232.6936 | 1127703.7259
6 | 2569193.3291 | 1127697.7683
7 | 2569206.5877 | 1127837.6594
8 | 2569188.5609 | 1127737.1902
9 | 2569278.5961 | 1127723.0856
10 | 2569195.8407 | 1127703.8165
11 | 2569162.5534 | 1127695.9155
12 | 2569159.1538 | 1127695.5753
13 | 2569143.5819 | 1127695.5661
14 | 2569105.6382 | 1127685.7332
15 | 2569274.067 | 1127829.5336
16 | 2569244.6294 | 1127832.1958
17 | 2569295.3462 | 1127829.1562
18 | 2569335.5305 | 1127830.5542
19 | 2569349.9648 | 1127844.788
20 | 2569323.3946 | 1127830.5059
21 | 2569364.9361 | 1127828.6726
22 | 2569164.4919 | 1127862.4203
23 | 2569221.0778 | 1127835.6177
24 | 2569140.4085 | 1127912.4351
25 | 2569177.4545 | 1127872.3126
26 | 2569148.4656 | 1127851.366
27 | 2569229.1697 | 1127834.4759
28 | 2569122.3742 | 1127824.1542
29 | 2569138.2473 | 1127913.191
30 | 2569167.5147 | 1127923.2642
31 | 2569192.9771 | 1127880.791
32 | 2569248.5252 | 1127846.7504
33 | 2569371.811 | 1127828.2327
34 | 2569385.6559 | 1127827.3468
35 | 2569404.0352 | 1127826.1707
36 | 2569376.7237 | 1127869.0641
37 | 2569316.1821 | 1127830.2414
38 | 2569404.5106 | 1127833.4833
39 | 2569313.5531 | 1127845.0622
40 | 2569307.8533 | 1127880.1976
41 | 2569323.958 | 1127854.773
42 | 2569332.0161 | 1127862.1434
43 | 2569258.4506 | 1127856.1824
44 | 2569232.3556 | 1127938.9065
45 | 2569216.3523 | 1127938.998
46 | 2569227.6932 | 1127960.2574
47 | 2569258.4099 | 1127970.5238
48 | 2569264.9686 | 1127972.3733
49 | 2569163.7133 | 1127978.2821
50 | 2569245.4759 | 1128003.2986
51 | 2569205.4693 | 1128003.2812
52 | 2569293.1205 | 1127979.3375
53 | 2569326.2289 | 1128002.7431
54 | 2569336.5923 | 1127977.1332
55 | 2569319.9488 | 1128018.0928
56 | 2569277.614 | 1127902.505
57 | 2569275.7565 | 1127871.1501
58 | 2569269.8715 | 1127866.0703
59 | 2569309.5074 | 1128040.0802
60 | 2569304.6118 | 1128051.5442
61 | 2569325.3395 | 1127959.6928
62 | 2569353.6437 | 1127966.7191
63 | 2569304.274 | 1128052.2763
64 | 2569347.196 | 1127957.8474
65 | 2569299.3212 | 1128065.6449
66 | 2569249.2314 | 1128073.2106
67 | 2569289.9726 | 1128069.5833
68 | 2569251.96 | 1128035.171
69 | 2569226.5354 | 1128044.8704
70 | 2569218.4313 | 1128040.0223
71 | 2569251.9655 | 1127842.9749

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1