## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5409-58_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5409-58_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5409-58_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5409-58_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5409-58_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5409-58_0_2_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_5409-58_0_2_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_5409-58_0_2_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_5409-58_0_2_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_5409-58_0_2_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_5409-58_0_2_node_100 | 0.4 | n |  | TRUE
11 | bus_LV_5409-58_0_2_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_5409-58_0_2_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_5409-58_0_2_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_5409-58_0_2_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_5409-58_0_2_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5409-58_0_2_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_5409-58_0_2_node_97 | 0.4 | n |  | TRUE
18 | bus_LV_5409-58_0_2_node_96 | 0.4 | n |  | TRUE
19 | bus_LV_5409-58_0_2_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_5409-58_0_2_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_5409-58_0_2_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_5409-58_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_5409-58_0_2_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_5409-58_0_2_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_5409-58_0_2_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_5409-58_0_2_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_5409-58_0_2_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_5409-58_0_2_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_5409-58_0_2_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_5409-58_0_2_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_5409-58_0_2_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_5409-58_0_2_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_5409-58_0_2_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_5409-58_0_2_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_5409-58_0_2_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_5409-58_0_2_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_5409-58_0_2_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_5409-58_0_2_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_5409-58_0_2_node_98 | 0.4 | n |  | TRUE
40 | bus_LV_5409-58_0_2_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_5409-58_0_2_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_5409-58_0_2_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_5409-58_0_2_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_5409-58_0_2_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_5409-58_0_2_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_5409-58_0_2_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_5409-58_0_2_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_5409-58_0_2_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_5409-58_0_2_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_5409-58_0_2_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_5409-58_0_2_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_5409-58_0_2_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_5409-58_0_2_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_5409-58_0_2_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_5409-58_0_2_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_5409-58_0_2_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_5409-58_0_2_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_5409-58_0_2_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_5409-58_0_2_node_90 | 0.4 | n |  | TRUE
60 | bus_LV_5409-58_0_2_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_5409-58_0_2_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_5409-58_0_2_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_5409-58_0_2_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_5409-58_0_2_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_5409-58_0_2_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_5409-58_0_2_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_5409-58_0_2_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_5409-58_0_2_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_5409-58_0_2_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_5409-58_0_2_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_5409-58_0_2_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_5409-58_0_2_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_5409-58_0_2_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_5409-58_0_2_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_5409-58_0_2_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_5409-58_0_2_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_5409-58_0_2_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_5409-58_0_2_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_5409-58_0_2_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_5409-58_0_2_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_5409-58_0_2_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_5409-58_0_2_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_5409-58_0_2_node_91 | 0.4 | n |  | TRUE
84 | bus_LV_5409-58_0_2_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_5409-58_0_2_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_5409-58_0_2_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_5409-58_0_2_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_5409-58_0_2_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_5409-58_0_2_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_5409-58_0_2_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_5409-58_0_2_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_5409-58_0_2_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_5409-58_0_2_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_5409-58_0_2_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_5409-58_0_2_node_78 | 0.4 | n |  | TRUE
96 | bus_LV_5409-58_0_2_node_84 | 0.4 | n |  | TRUE
97 | bus_LV_5409-58_0_2_node_85 | 0.4 | n |  | TRUE
98 | bus_LV_5409-58_0_2_node_86 | 0.4 | n |  | TRUE
99 | bus_LV_5409-58_0_2_node_87 | 0.4 | n |  | TRUE
100 | bus_MV_191_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5409-58_0_2_load_0 | 0 | 0.0021187 | 0.00053099 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5409-58_0_2_load_1 | 1 | 0.0020417 | 0.00051169 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5409-58_0_2_load_3 | 3 | 0.0017615 | 0.00044148 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5409-58_0_2_load_18 | 5 | 0.0024459 | 0.00061301 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5409-58_0_2_load_62 | 7 | 0.0022794 | 0.00057127 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5409-58_0_2_load_39 | 9 | 0.0021076 | 0.0005282 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5409-58_0_2_load_100 | 10 | 0.0018991 | 0.00047596 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5409-58_0_2_load_5 | 13 | 0.0033343 | 0.00083565 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5409-58_0_2_load_8 | 16 | 0.002691 | 0.00067443 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5409-58_0_2_load_97 | 17 | 0.0017727 | 0.00044427 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5409-58_0_2_load_96 | 18 | 0.0029538 | 0.00074029 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5409-58_0_2_load_9 | 20 | 0.0028626 | 0.00071744 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5409-58_0_2_load_10 | 21 | 0.0037647 | 0.00094351 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5409-58_0_2_load_37 | 25 | 0.0033565 | 0.00084122 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5409-58_0_2_load_51 | 27 | 0.002573 | 0.00064485 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5409-58_0_2_load_12 | 28 | 0.0023195 | 0.00058133 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5409-58_0_2_load_13 | 29 | 0.0020505 | 0.00051391 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5409-58_0_2_load_17 | 32 | 0.0026074 | 0.00065349 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5409-58_0_2_load_49 | 33 | 0.0018345 | 0.00045976 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5409-58_0_2_load_47 | 34 | 0.0023394 | 0.0005863 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5409-58_0_2_load_63 | 35 | 0.0019606 | 0.00049137 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5409-58_0_2_load_48 | 36 | 0.0022777 | 0.00057084 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5409-58_0_2_load_41 | 37 | 0.0016794 | 0.0004209 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5409-58_0_2_load_42 | 38 | 0.0016775 | 0.00042042 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5409-58_0_2_load_98 | 39 | 0.0021329 | 0.00053455 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5409-58_0_2_load_20 | 40 | 0.0023258 | 0.0005829 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5409-58_0_2_load_23 | 42 | 0.0018002 | 0.00045117 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5409-58_0_2_load_25 | 43 | 0.0010699 | 0.00026815 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5409-58_0_2_load_26 | 44 | 0.0035718 | 0.00089518 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5409-58_0_2_load_99 | 46 | 0.0019671 | 0.000493 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5409-58_0_2_load_54 | 47 | 0.0021489 | 0.00053857 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5409-58_0_2_load_55 | 48 | 0.0035717 | 0.00089514 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5409-58_0_2_load_27 | 49 | 0.003509 | 0.00087943 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5409-58_0_2_load_31 | 53 | 0.0035592 | 0.00089203 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5409-58_0_2_load_32 | 54 | 0.003135 | 0.0007857 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5409-58_0_2_load_33 | 55 | 0.002317 | 0.00058069 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5409-58_0_2_load_59 | 56 | 0.0036527 | 0.00091546 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5409-58_0_2_load_77 | 57 | 0.0045494 | 0.0011402 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5409-58_0_2_load_90 | 59 | 0.0033781 | 0.00084663 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5409-58_0_2_load_60 | 61 | 0.0018034 | 0.00045196 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5409-58_0_2_load_35 | 63 | 0.00086568 | 0.00021696 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5409-58_0_2_load_36 | 64 | 0.0028967 | 0.00072597 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5409-58_0_2_load_89 | 65 | 0.0015257 | 0.00038237 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5409-58_0_2_load_50 | 66 | 0.0023063 | 0.00057801 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5409-58_0_2_load_58 | 67 | 0.0033855 | 0.00084848 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5409-58_0_2_load_83 | 68 | 0.0096787 | 0.0024257 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5409-58_0_2_load_43 | 69 | 0.0023 | 0.00057642 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5409-58_0_2_load_101 | 72 | 0.0029826 | 0.00074752 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5409-58_0_2_load_56 | 74 | 0.0017199 | 0.00043106 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5409-58_0_2_load_64 | 76 | 0.0021069 | 0.00052805 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5409-58_0_2_load_81 | 77 | 0.010046 | 0.0025176 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5409-58_0_2_load_68 | 78 | 0.0018671 | 0.00046794 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5409-58_0_2_load_65 | 79 | 0.0014295 | 0.00035827 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5409-58_0_2_load_66 | 81 | 0.00068958 | 0.00017283 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5409-58_0_2_load_69 | 82 | 0.0022689 | 0.00056863 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5409-58_0_2_load_91 | 83 | 0.00055777 | 0.00013979 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5409-58_0_2_load_88 | 84 | 0.004325 | 0.0010839 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5409-58_0_2_load_70 | 85 | 0.0022512 | 0.0005642 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5409-58_0_2_load_71 | 86 | 0.001689 | 0.0004233 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5409-58_0_2_load_72 | 87 | 0.0015005 | 0.00037606 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5409-58_0_2_load_73 | 88 | 0.00052445 | 0.00013144 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5409-58_0_2_load_92 | 89 | 0.0015702 | 0.00039353 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5409-58_0_2_load_93 | 90 | 0.0025026 | 0.00062721 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5409-58_0_2_load_94 | 92 | 0.0021262 | 0.00053288 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5409-58_0_2_load_95 | 93 | 0.0021833 | 0.00054719 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5409-58_0_2_load_74 | 94 | 0.0018046 | 0.00045226 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5409-58_0_2_load_78 | 95 | 0.0018061 | 0.00045266 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5409-58_0_2_load_84 | 96 | 0.003829 | 0.00095965 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5409-58_0_2_load_85 | 97 | 0.003985 | 0.00099873 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5409-58_0_2_load_86 | 98 | 0.004123 | 0.0010333 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5409-58_0_2_load_87 | 99 | 0.0019274 | 0.00048305 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5409-58_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5409-58_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.047875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_5409-58_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0088045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5409-58_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.053073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5409-58_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.030429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5409-58_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.027883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_5409-58_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.01792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5409-58_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.021278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5409-58_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.02407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5409-58_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.023056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_5409-58_0_2_line_10 | NAYY 4x150 SE | 6 | 11 | 0.04873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5409-58_0_2_line_11 | NAYY 4x150 SE | 7 | 12 | 0.017127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5409-58_0_2_line_12 | NAYY 4x150 SE | 8 | 37 | 0.012411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5409-58_0_2_line_13 | NAYY 4x150 SE | 8 | 38 | 0.018917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5409-58_0_2_line_14 | NAYY 4x150 SE | 10 | 46 | 0.0077504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5409-58_0_2_line_15 | NAYY 4x150 SE | 11 | 42 | 0.019566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5409-58_0_2_line_16 | NAYY 4x150 SE | 11 | 40 | 0.0015487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5409-58_0_2_line_17 | NAYY 4x150 SE | 12 | 35 | 0.012165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5409-58_0_2_line_18 | NAYY 4x150 SE | 12 | 30 | 0.008942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5409-58_0_2_line_19 | NAYY 4x150 SE | 13 | 14 | 0.01812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_5409-58_0_2_line_20 | NAYY 4x150 SE | 14 | 15 | 0.049959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_5409-58_0_2_line_21 | NAYY 4x150 SE | 14 | 16 | 0.046632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5409-58_0_2_line_22 | NAYY 4x150 SE | 15 | 17 | 0.017639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5409-58_0_2_line_23 | NAYY 4x150 SE | 15 | 18 | 0.027308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_5409-58_0_2_line_24 | NAYY 4x150 SE | 18 | 19 | 0.018393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_5409-58_0_2_line_25 | NAYY 4x150 SE | 19 | 60 | 0.022711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_5409-58_0_2_line_26 | NAYY 4x150 SE | 19 | 52 | 0.028959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_5409-58_0_2_line_27 | NAYY 4x150 SE | 20 | 21 | 0.038021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5409-58_0_2_line_28 | NAYY 4x150 SE | 21 | 22 | 0.015911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5409-58_0_2_line_29 | NAYY 4x150 SE | 22 | 23 | 0.032174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5409-58_0_2_line_30 | NAYY 4x150 SE | 22 | 24 | 0.058593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5409-58_0_2_line_31 | NAYY 4x150 SE | 23 | 25 | 0.039961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5409-58_0_2_line_32 | NAYY 4x150 SE | 24 | 26 | 0.037283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5409-58_0_2_line_33 | NAYY 4x150 SE | 24 | 27 | 0.030587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5409-58_0_2_line_34 | NAYY 4x150 SE | 26 | 72 | 0.017045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5409-58_0_2_line_35 | NAYY 4x150 SE | 26 | 70 | 0.020593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5409-58_0_2_line_36 | NAYY 4x150 SE | 27 | 66 | 0.024791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5409-58_0_2_line_37 | NAYY 4x150 SE | 28 | 29 | 5.0718e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5409-58_0_2_line_38 | NAYY 4x150 SE | 28 | 30 | 0.046307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5409-58_0_2_line_39 | NAYY 4x150 SE | 29 | 31 | 0.025603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5409-58_0_2_line_40 | NAYY 4x150 SE | 30 | 32 | 0.015557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5409-58_0_2_line_41 | NAYY 4x150 SE | 31 | 33 | 0.012828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5409-58_0_2_line_42 | NAYY 4x150 SE | 31 | 34 | 0.010567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5409-58_0_2_line_43 | NAYY 4x150 SE | 34 | 36 | 0.02127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5409-58_0_2_line_44 | NAYY 4x150 SE | 37 | 39 | 0.0058228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5409-58_0_2_line_45 | NAYY 4x150 SE | 39 | 68 | 0.091876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5409-58_0_2_line_46 | NAYY 4x150 SE | 40 | 41 | 0.03452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5409-58_0_2_line_47 | NAYY 4x150 SE | 41 | 43 | 0.010675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5409-58_0_2_line_48 | NAYY 4x150 SE | 41 | 44 | 0.018117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5409-58_0_2_line_49 | NAYY 4x150 SE | 43 | 45 | 0.01793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5409-58_0_2_line_50 | NAYY 4x150 SE | 45 | 47 | 0.029127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5409-58_0_2_line_51 | NAYY 4x150 SE | 45 | 48 | 0.01996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5409-58_0_2_line_52 | NAYY 4x150 SE | 46 | 60 | 0.0032771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_5409-58_0_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.014782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_5409-58_0_2_line_54 | NAYY 4x150 SE | 49 | 51 | 0.018562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5409-58_0_2_line_55 | NAYY 4x150 SE | 50 | 52 | 0.057066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_5409-58_0_2_line_56 | NAYY 4x150 SE | 50 | 53 | 0.018162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5409-58_0_2_line_57 | NAYY 4x150 SE | 51 | 54 | 0.015399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5409-58_0_2_line_58 | NAYY 4x150 SE | 51 | 55 | 0.018341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5409-58_0_2_line_59 | NAYY 4x150 SE | 52 | 56 | 0.018686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5409-58_0_2_line_60 | NAYY 4x150 SE | 53 | 57 | 0.026209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5409-58_0_2_line_61 | NAYY 4x150 SE | 54 | 58 | 0.018901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5409-58_0_2_line_62 | NAYY 4x150 SE | 55 | 59 | 0.00050326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5409-58_0_2_line_63 | NAYY 4x150 SE | 56 | 61 | 0.045591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5409-58_0_2_line_64 | NAYY 4x150 SE | 57 | 62 | 0.027125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5409-58_0_2_line_65 | NAYY 4x150 SE | 58 | 63 | 0.012323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5409-58_0_2_line_66 | NAYY 4x150 SE | 58 | 64 | 0.015028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5409-58_0_2_line_67 | NAYY 4x150 SE | 59 | 65 | 0.030799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5409-58_0_2_line_68 | NAYY 4x150 SE | 60 | 80 | 0.03141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5409-58_0_2_line_69 | NAYY 4x150 SE | 62 | 94 | 0.036117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5409-58_0_2_line_70 | NAYY 4x150 SE | 63 | 66 | 0.015271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5409-58_0_2_line_71 | NAYY 4x150 SE | 64 | 67 | 0.021161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5409-58_0_2_line_72 | NAYY 4x150 SE | 65 | 99 | 0.0052934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5409-58_0_2_line_73 | NAYY 4x150 SE | 68 | 77 | 0.054484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5409-58_0_2_line_74 | NAYY 4x150 SE | 69 | 70 | 0.030602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5409-58_0_2_line_75 | NAYY 4x150 SE | 70 | 71 | 0.023749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5409-58_0_2_line_76 | NAYY 4x150 SE | 71 | 73 | 0.055091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5409-58_0_2_line_77 | NAYY 4x150 SE | 71 | 74 | 0.032307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5409-58_0_2_line_78 | NAYY 4x150 SE | 73 | 75 | 0.030758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5409-58_0_2_line_79 | NAYY 4x150 SE | 73 | 76 | 0.023817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5409-58_0_2_line_80 | NAYY 4x150 SE | 75 | 78 | 0.032407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5409-58_0_2_line_81 | NAYY 4x150 SE | 76 | 79 | 0.0088182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5409-58_0_2_line_82 | NAYY 4x150 SE | 79 | 81 | 0.0040933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5409-58_0_2_line_83 | NAYY 4x150 SE | 80 | 95 | 0.013491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5409-58_0_2_line_84 | NAYY 4x150 SE | 82 | 83 | 0.032369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5409-58_0_2_line_85 | NAYY 4x150 SE | 83 | 84 | 0.0005821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5409-58_0_2_line_86 | NAYY 4x150 SE | 84 | 98 | 0.034497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5409-58_0_2_line_87 | NAYY 4x150 SE | 85 | 86 | 0.030762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5409-58_0_2_line_88 | NAYY 4x150 SE | 86 | 87 | 0.022641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5409-58_0_2_line_89 | NAYY 4x150 SE | 86 | 88 | 0.029943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5409-58_0_2_line_90 | NAYY 4x150 SE | 88 | 91 | 0.0076346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5409-58_0_2_line_91 | NAYY 4x150 SE | 89 | 90 | 0.028653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5409-58_0_2_line_92 | NAYY 4x150 SE | 90 | 92 | 0.023503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5409-58_0_2_line_93 | NAYY 4x150 SE | 91 | 93 | 0.036145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5409-58_0_2_line_94 | NAYY 4x150 SE | 91 | 94 | 0.0069733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5409-58_0_2_line_95 | NAYY 4x150 SE | 92 | 93 | 0.026903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5409-58_0_2_line_96 | NAYY 4x150 SE | 96 | 97 | 0.015916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5409-58_0_2_line_97 | NAYY 4x150 SE | 96 | 98 | 0.028765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5409-58_0_2_line_98 | NAYY 4x150 SE | 97 | 99 | 0.022628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5409-58_0_2_trafo_5 | 0.25 MVA 20/0.4 kV | 100 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2565451.0513 | 1126829.3943 | 2565440.3577 | 1126814.9869 | 2565437.2643 | 1126810.7943
1 | 2565480.4587 | 1126867.1169 | 2565475.4195 | 1126861.8431 | 2565463.0426 | 1126845.5502 | 2565451.0513 | 1126829.3943
2 | 2565437.2643 | 1126810.7943 | 2565432.0371 | 1126803.7094
3 | 2565480.4587 | 1126867.1169 | 2565500.2068 | 1126854.5198 | 2565525.1991 | 1126838.5689
4 | 2565414.2306 | 1126779.0374 | 2565420.7316 | 1126788.386 | 2565432.0371 | 1126803.7094
5 | 2565525.1991 | 1126838.5689 | 2565547.2408 | 1126821.4121
6 | 2565525.1991 | 1126838.5689 | 2565515.1886 | 1126823.7054
7 | 2565402.0827 | 1126761.5684 | 2565414.2306 | 1126779.0374
8 | 2565414.2306 | 1126779.0374 | 2565397.1598 | 1126796.0073
9 | 2565547.2408 | 1126821.4121 | 2565566.4453 | 1126808.6538
10 | 2565547.2408 | 1126821.4121 | 2565520.7978 | 1126780.4425
11 | 2565505.6209 | 1126809.4995 | 2565515.1886 | 1126823.7054
12 | 2565402.0827 | 1126761.5684 | 2565400.8711 | 1126759.93 | 2565395.0224 | 1126751.3625
13 | 2565418.201 | 1126751.6043 | 2565407.0526 | 1126758.7718 | 2565402.0827 | 1126761.5684
14 | 2565572.901 | 1126804.365 | 2565566.4453 | 1126808.6538
15 | 2565532.4851 | 1126765.0791 | 2565527.9353 | 1126768.5847 | 2565524.2329 | 1126774.7311 | 2565520.7978 | 1126780.4425
16 | 2565520.7978 | 1126780.4425 | 2565519.9578 | 1126779.1414
17 | 2565505.6209 | 1126809.4995 | 2565502.7984 | 1126815.8855 | 2565503.5291 | 1126821.0173
18 | 2565500.8613 | 1126801.9229 | 2565505.6209 | 1126809.4995
19 | 2565547.8711 | 1126706.5062 | 2565563.4882 | 1126697.3173
20 | 2565547.8711 | 1126706.5062 | 2565558.2461 | 1126727.1351 | 2565569.723 | 1126747.7689 | 2565571.5803 | 1126750.4707
21 | 2565547.8711 | 1126706.5062 | 2565533.3066 | 1126680.9766 | 2565524.1599 | 1126666.3633
22 | 2565554.7552 | 1126755.4693 | 2565569.4768 | 1126751.8834 | 2565571.5803 | 1126750.4707
23 | 2565571.5803 | 1126750.4707 | 2565585.3265 | 1126774.0663
24 | 2565594.5854 | 1126789.9593 | 2565585.3265 | 1126774.0663
25 | 2565575.6306 | 1126802.5516 | 2565594.5854 | 1126789.9593
26 | 2565594.5854 | 1126789.9593 | 2565604.5648 | 1126783.1768 | 2565618.5437 | 1126773.6923
27 | 2565573.2152 | 1126681.6805 | 2565557.4871 | 1126650.9344 | 2565556.0924 | 1126647.7402
28 | 2565549.7254 | 1126633.1587 | 2565556.0924 | 1126647.7402
29 | 2565549.7254 | 1126633.1587 | 2565521.3064 | 1126648.3954
30 | 2565549.7254 | 1126633.1587 | 2565601.4775 | 1126605.4049
31 | 2565521.3064 | 1126648.3954 | 2565534.3796 | 1126673.211 | 2565537.0975 | 1126674.1292 | 2565545.2814 | 1126670.2801
32 | 2565634.2977 | 1126587.5422 | 2565601.4775 | 1126605.4049
33 | 2565601.4775 | 1126605.4049 | 2565614.55 | 1126633.058
34 | 2565634.2977 | 1126587.5422 | 2565640.6609 | 1126603.3584
35 | 2565652.421 | 1126577.6673 | 2565634.2977 | 1126587.5422
36 | 2565625.1453 | 1126655.4711 | 2565614.55 | 1126633.058
37 | 2565475.3095 | 1126763.3034 | 2565475.2815 | 1126763.2611
38 | 2565500.8613 | 1126801.9229 | 2565475.3095 | 1126763.3034
39 | 2565461.1542 | 1126741.9088 | 2565475.2815 | 1126763.2611
40 | 2565500.8613 | 1126801.9229 | 2565487.8793 | 1126810.496
41 | 2565461.1542 | 1126741.9088 | 2565450.1492 | 1126748.553
42 | 2565461.1542 | 1126741.9088 | 2565455.6175 | 1126732.9089
43 | 2565440.8313 | 1126718.8136 | 2565449.0604 | 1126722.6239 | 2565451.034 | 1126725.4585 | 2565455.6175 | 1126732.9089
44 | 2565391.7395 | 1126746.5535 | 2565395.0224 | 1126751.3625
45 | 2565391.7395 | 1126746.5535 | 2565364.334 | 1126658.8598
46 | 2565501.2355 | 1126750.1392 | 2565519.9578 | 1126779.1414
47 | 2565501.2355 | 1126750.1392 | 2565495.4469 | 1126741.17
48 | 2565513.4742 | 1126736.8625 | 2565507.1795 | 1126742.5013 | 2565503.8079 | 1126747.1896 | 2565501.2355 | 1126750.1392
49 | 2565485.7238 | 1126726.1047 | 2565495.4469 | 1126741.17
50 | 2565485.7238 | 1126726.1047 | 2565474.7996 | 1126709.1809 | 2565471.0562 | 1126701.0147
51 | 2565497.3849 | 1126710.1966 | 2565490.6256 | 1126716.7831 | 2565487.8457 | 1126722.5241 | 2565485.7238 | 1126726.1047
52 | 2565575.6306 | 1126802.5516 | 2565572.901 | 1126804.365
53 | 2565665.8467 | 1126741.5734 | 2565659.5289 | 1126728.2094
54 | 2565651.5956 | 1126711.4282 | 2565659.5289 | 1126728.2094
55 | 2565618.5437 | 1126773.6923 | 2565665.8467 | 1126741.5734
56 | 2565665.8467 | 1126741.5734 | 2565674.0226 | 1126757.7906
57 | 2565651.5956 | 1126711.4282 | 2565645.0153 | 1126697.5063
58 | 2565651.5956 | 1126711.4282 | 2565668.0483 | 1126703.3233
59 | 2565618.5437 | 1126773.6923 | 2565609.9332 | 1126757.1089
60 | 2565685.8223 | 1126781.1926 | 2565681.8016 | 1126773.2207 | 2565674.0226 | 1126757.7906
61 | 2565636.9386 | 1126680.4183 | 2565645.0153 | 1126697.5063
62 | 2565668.4997 | 1126703.1009 | 2565668.0483 | 1126703.3233
63 | 2565609.9332 | 1126757.1089 | 2565603.0223 | 1126743.7991 | 2565597.9892 | 1126732.8223 | 2565595.7717 | 1126730.4671 | 2565591.7886 | 1126730.6566 | 2565587.3967 | 1126733.4719 | 2565582.0499 | 1126736.3654
64 | 2565698.0369 | 1126805.4112 | 2565685.8223 | 1126781.1926
65 | 2565636.9386 | 1126680.4183 | 2565631.6719 | 1126669.2773
66 | 2565636.9386 | 1126680.4183 | 2565650.5352 | 1126674.0164
67 | 2565696.128 | 1126689.4906 | 2565668.4997 | 1126703.1009
68 | 2565575.6306 | 1126802.5516 | 2565590.9914 | 1126829.9666
69 | 2565698.0369 | 1126805.4112 | 2565730.5988 | 1126789.7867
70 | 2565625.1453 | 1126655.4711 | 2565631.6719 | 1126669.2773
71 | 2565669.68 | 1126665.0019 | 2565650.5352 | 1126674.0164
72 | 2565696.128 | 1126689.4906 | 2565700.8764 | 1126687.1514
73 | 2565361.187 | 1126604.4667 | 2565364.334 | 1126658.8598
74 | 2565652.421 | 1126577.6673 | 2565665.8003 | 1126605.1902
75 | 2565673.3256 | 1126566.2871 | 2565652.421 | 1126577.6673
76 | 2565673.3256 | 1126566.2871 | 2565721.819 | 1126539.8869
77 | 2565673.3256 | 1126566.2871 | 2565687.817 | 1126595.1621
78 | 2565748.8931 | 1126525.1479 | 2565721.819 | 1126539.8869
79 | 2565721.819 | 1126539.8869 | 2565725.7484 | 1126550.5588 | 2565732.1596 | 1126561.2254
80 | 2565748.8931 | 1126525.1479 | 2565762.6555 | 1126554.4875
81 | 2565732.1596 | 1126561.2254 | 2565736.7024 | 1126568.7834
82 | 2565738.8111 | 1126572.2918 | 2565736.7024 | 1126568.7834
83 | 2565590.9914 | 1126829.9666 | 2565603.1914 | 1126824.2082
84 | 2565792.6447 | 1126641.7429 | 2565785.6777 | 1126610.1329
85 | 2565792.6447 | 1126641.7429 | 2565792.1235 | 1126642.002
86 | 2565792.1235 | 1126642.002 | 2565761.2326 | 1126657.3583
87 | 2565770.7704 | 1126770.5249 | 2565798.5071 | 1126757.221
88 | 2565770.7704 | 1126770.5249 | 2565771.9475 | 1126772.8972 | 2565778.2486 | 1126784.6563 | 2565780.8255 | 1126787.91 | 2565783.3018 | 1126788.3739
89 | 2565770.7704 | 1126770.5249 | 2565743.7701 | 1126783.4695
90 | 2565736.8858 | 1126786.7699 | 2565743.7701 | 1126783.4695
91 | 2565792.6358 | 1126719.0342 | 2565766.931 | 1126731.6939
92 | 2565766.931 | 1126731.6939 | 2565745.8466 | 1126742.0779
93 | 2565736.8858 | 1126786.7699 | 2565721.7121 | 1126753.9641
94 | 2565736.8858 | 1126786.7699 | 2565730.5988 | 1126789.7867
95 | 2565745.8466 | 1126742.0779 | 2565721.7121 | 1126753.9641
96 | 2565735.4525 | 1126670.1185 | 2565721.1748 | 1126677.152
97 | 2565735.4525 | 1126670.1185 | 2565747.7788 | 1126664.0463 | 2565761.2326 | 1126657.3583
98 | 2565721.1748 | 1126677.152 | 2565700.8764 | 1126687.1514

## bus_geodata
| x | y | coords
0 | 2565451.0513 | 1126829.3943
1 | 2565437.2643 | 1126810.7943
2 | 2565480.4587 | 1126867.1169
3 | 2565432.0371 | 1126803.7094
4 | 2565525.1991 | 1126838.5689
5 | 2565414.2306 | 1126779.0374
6 | 2565547.2408 | 1126821.4121
7 | 2565515.1886 | 1126823.7054
8 | 2565402.0827 | 1126761.5684
9 | 2565397.1598 | 1126796.0073
10 | 2565566.4453 | 1126808.6538
11 | 2565520.7978 | 1126780.4425
12 | 2565505.6209 | 1126809.4995
13 | 2565563.4882 | 1126697.3173
14 | 2565547.8711 | 1126706.5062
15 | 2565571.5803 | 1126750.4707
16 | 2565524.1599 | 1126666.3633
17 | 2565554.7552 | 1126755.4693
18 | 2565585.3265 | 1126774.0663
19 | 2565594.5854 | 1126789.9593
20 | 2565573.2152 | 1126681.6805
21 | 2565556.0924 | 1126647.7402
22 | 2565549.7254 | 1126633.1587
23 | 2565521.3064 | 1126648.3954
24 | 2565601.4775 | 1126605.4049
25 | 2565545.2814 | 1126670.2801
26 | 2565634.2977 | 1126587.5422
27 | 2565614.55 | 1126633.058
28 | 2565475.3095 | 1126763.3034
29 | 2565475.2815 | 1126763.2611
30 | 2565500.8613 | 1126801.9229
31 | 2565461.1542 | 1126741.9088
32 | 2565487.8793 | 1126810.496
33 | 2565450.1492 | 1126748.553
34 | 2565455.6175 | 1126732.9089
35 | 2565503.5291 | 1126821.0173
36 | 2565440.8313 | 1126718.8136
37 | 2565395.0224 | 1126751.3625
38 | 2565418.201 | 1126751.6043
39 | 2565391.7395 | 1126746.5535
40 | 2565519.9578 | 1126779.1414
41 | 2565501.2355 | 1126750.1392
42 | 2565532.4851 | 1126765.0791
43 | 2565495.4469 | 1126741.17
44 | 2565513.4742 | 1126736.8625
45 | 2565485.7238 | 1126726.1047
46 | 2565572.901 | 1126804.365
47 | 2565471.0562 | 1126701.0147
48 | 2565497.3849 | 1126710.1966
49 | 2565659.5289 | 1126728.2094
50 | 2565665.8467 | 1126741.5734
51 | 2565651.5956 | 1126711.4282
52 | 2565618.5437 | 1126773.6923
53 | 2565674.0226 | 1126757.7906
54 | 2565645.0153 | 1126697.5063
55 | 2565668.0483 | 1126703.3233
56 | 2565609.9332 | 1126757.1089
57 | 2565685.8223 | 1126781.1926
58 | 2565636.9386 | 1126680.4183
59 | 2565668.4997 | 1126703.1009
60 | 2565575.6306 | 1126802.5516
61 | 2565582.0499 | 1126736.3654
62 | 2565698.0369 | 1126805.4112
63 | 2565631.6719 | 1126669.2773
64 | 2565650.5352 | 1126674.0164
65 | 2565696.128 | 1126689.4906
66 | 2565625.1453 | 1126655.4711
67 | 2565669.68 | 1126665.0019
68 | 2565364.334 | 1126658.8598
69 | 2565665.8003 | 1126605.1902
70 | 2565652.421 | 1126577.6673
71 | 2565673.3256 | 1126566.2871
72 | 2565640.6609 | 1126603.3584
73 | 2565721.819 | 1126539.8869
74 | 2565687.817 | 1126595.1621
75 | 2565748.8931 | 1126525.1479
76 | 2565732.1596 | 1126561.2254
77 | 2565361.187 | 1126604.4667
78 | 2565762.6555 | 1126554.4875
79 | 2565736.7024 | 1126568.7834
80 | 2565590.9914 | 1126829.9666
81 | 2565738.8111 | 1126572.2918
82 | 2565785.6777 | 1126610.1329
83 | 2565792.6447 | 1126641.7429
84 | 2565792.1235 | 1126642.002
85 | 2565798.5071 | 1126757.221
86 | 2565770.7704 | 1126770.5249
87 | 2565783.3018 | 1126788.3739
88 | 2565743.7701 | 1126783.4695
89 | 2565792.6358 | 1126719.0342
90 | 2565766.931 | 1126731.6939
91 | 2565736.8858 | 1126786.7699
92 | 2565745.8466 | 1126742.0779
93 | 2565721.7121 | 1126753.9641
94 | 2565730.5988 | 1126789.7867
95 | 2565603.1914 | 1126824.2082
96 | 2565735.4525 | 1126670.1185
97 | 2565721.1748 | 1126677.152
98 | 2565761.2326 | 1126657.3583
99 | 2565700.8764 | 1126687.1514
100 | 2565566.3965 | 1126695.606

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1