## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5409-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5409-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5409-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5409-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5409-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5409-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5409-5_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_5409-5_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5409-5_0_3_node_109 | 0.4 | n |  | TRUE
9 | bus_LV_5409-5_0_3_node_113 | 0.4 | n |  | TRUE
10 | bus_LV_5409-5_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5409-5_0_3_node_108 | 0.4 | n |  | TRUE
12 | bus_LV_5409-5_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5409-5_0_3_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_5409-5_0_3_node_112 | 0.4 | n |  | TRUE
15 | bus_LV_5409-5_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5409-5_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5409-5_0_3_node_95 | 0.4 | n |  | TRUE
18 | bus_LV_5409-5_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5409-5_0_3_node_90 | 0.4 | n |  | TRUE
20 | bus_LV_5409-5_0_3_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_5409-5_0_3_node_89 | 0.4 | n |  | TRUE
22 | bus_LV_5409-5_0_3_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_5409-5_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5409-5_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5409-5_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_5409-5_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_5409-5_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5409-5_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5409-5_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_5409-5_0_3_node_133 | 0.4 | n |  | TRUE
31 | bus_LV_5409-5_0_3_node_134 | 0.4 | n |  | TRUE
32 | bus_LV_5409-5_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_5409-5_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_5409-5_0_3_node_114 | 0.4 | n |  | TRUE
35 | bus_LV_5409-5_0_3_node_94 | 0.4 | n |  | TRUE
36 | bus_LV_5409-5_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_5409-5_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_5409-5_0_3_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_5409-5_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5409-5_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5409-5_0_3_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5409-5_0_3_node_125 | 0.4 | n |  | TRUE
43 | bus_LV_5409-5_0_3_node_126 | 0.4 | n |  | TRUE
44 | bus_LV_5409-5_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_5409-5_0_3_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5409-5_0_3_node_132 | 0.4 | n |  | TRUE
47 | bus_LV_5409-5_0_3_node_127 | 0.4 | n |  | TRUE
48 | bus_LV_5409-5_0_3_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_5409-5_0_3_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_5409-5_0_3_node_115 | 0.4 | n |  | TRUE
51 | bus_LV_5409-5_0_3_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_5409-5_0_3_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_5409-5_0_3_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_5409-5_0_3_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_5409-5_0_3_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_5409-5_0_3_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_5409-5_0_3_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_5409-5_0_3_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_5409-5_0_3_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_5409-5_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5409-5_0_3_node_140 | 0.4 | n |  | TRUE
62 | bus_LV_5409-5_0_3_node_139 | 0.4 | n |  | TRUE
63 | bus_LV_5409-5_0_3_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_5409-5_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_5409-5_0_3_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_5409-5_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_5409-5_0_3_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_5409-5_0_3_node_136 | 0.4 | n |  | TRUE
69 | bus_LV_5409-5_0_3_node_135 | 0.4 | n |  | TRUE
70 | bus_LV_5409-5_0_3_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_5409-5_0_3_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_5409-5_0_3_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_5409-5_0_3_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_5409-5_0_3_node_124 | 0.4 | n |  | TRUE
75 | bus_LV_5409-5_0_3_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_5409-5_0_3_node_123 | 0.4 | n |  | TRUE
77 | bus_LV_5409-5_0_3_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_5409-5_0_3_node_122 | 0.4 | n |  | TRUE
79 | bus_LV_5409-5_0_3_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_5409-5_0_3_node_46 | 0.4 | n |  | TRUE
81 | bus_LV_5409-5_0_3_node_47 | 0.4 | n |  | TRUE
82 | bus_LV_5409-5_0_3_node_48 | 0.4 | n |  | TRUE
83 | bus_LV_5409-5_0_3_node_49 | 0.4 | n |  | TRUE
84 | bus_LV_5409-5_0_3_node_53 | 0.4 | n |  | TRUE
85 | bus_LV_5409-5_0_3_node_55 | 0.4 | n |  | TRUE
86 | bus_LV_5409-5_0_3_node_56 | 0.4 | n |  | TRUE
87 | bus_LV_5409-5_0_3_node_57 | 0.4 | n |  | TRUE
88 | bus_LV_5409-5_0_3_node_58 | 0.4 | n |  | TRUE
89 | bus_LV_5409-5_0_3_node_59 | 0.4 | n |  | TRUE
90 | bus_LV_5409-5_0_3_node_60 | 0.4 | n |  | TRUE
91 | bus_LV_5409-5_0_3_node_62 | 0.4 | n |  | TRUE
92 | bus_LV_5409-5_0_3_node_66 | 0.4 | n |  | TRUE
93 | bus_LV_5409-5_0_3_node_102 | 0.4 | n |  | TRUE
94 | bus_LV_5409-5_0_3_node_104 | 0.4 | n |  | TRUE
95 | bus_LV_5409-5_0_3_node_65 | 0.4 | n |  | TRUE
96 | bus_LV_5409-5_0_3_node_63 | 0.4 | n |  | TRUE
97 | bus_LV_5409-5_0_3_node_119 | 0.4 | n |  | TRUE
98 | bus_LV_5409-5_0_3_node_103 | 0.4 | n |  | TRUE
99 | bus_LV_5409-5_0_3_node_105 | 0.4 | n |  | TRUE
100 | bus_LV_5409-5_0_3_node_137 | 0.4 | n |  | TRUE
101 | bus_LV_5409-5_0_3_node_67 | 0.4 | n |  | TRUE
102 | bus_LV_5409-5_0_3_node_68 | 0.4 | n |  | TRUE
103 | bus_LV_5409-5_0_3_node_69 | 0.4 | n |  | TRUE
104 | bus_LV_5409-5_0_3_node_70 | 0.4 | n |  | TRUE
105 | bus_LV_5409-5_0_3_node_71 | 0.4 | n |  | TRUE
106 | bus_LV_5409-5_0_3_node_72 | 0.4 | n |  | TRUE
107 | bus_LV_5409-5_0_3_node_78 | 0.4 | n |  | TRUE
108 | bus_LV_5409-5_0_3_node_79 | 0.4 | n |  | TRUE
109 | bus_LV_5409-5_0_3_node_73 | 0.4 | n |  | TRUE
110 | bus_LV_5409-5_0_3_node_80 | 0.4 | n |  | TRUE
111 | bus_LV_5409-5_0_3_node_81 | 0.4 | n |  | TRUE
112 | bus_LV_5409-5_0_3_node_118 | 0.4 | n |  | TRUE
113 | bus_LV_5409-5_0_3_node_74 | 0.4 | n |  | TRUE
114 | bus_LV_5409-5_0_3_node_75 | 0.4 | n |  | TRUE
115 | bus_LV_5409-5_0_3_node_117 | 0.4 | n |  | TRUE
116 | bus_LV_5409-5_0_3_node_116 | 0.4 | n |  | TRUE
117 | bus_LV_5409-5_0_3_node_82 | 0.4 | n |  | TRUE
118 | bus_LV_5409-5_0_3_node_107 | 0.4 | n |  | TRUE
119 | bus_LV_5409-5_0_3_node_83 | 0.4 | n |  | TRUE
120 | bus_LV_5409-5_0_3_node_85 | 0.4 | n |  | TRUE
121 | bus_LV_5409-5_0_3_node_88 | 0.4 | n |  | TRUE
122 | bus_LV_5409-5_0_3_node_121 | 0.4 | n |  | TRUE
123 | bus_LV_5409-5_0_3_node_91 | 0.4 | n |  | TRUE
124 | bus_LV_5409-5_0_3_node_96 | 0.4 | n |  | TRUE
125 | bus_LV_5409-5_0_3_node_97 | 0.4 | n |  | TRUE
126 | bus_LV_5409-5_0_3_node_99 | 0.4 | n |  | TRUE
127 | bus_LV_5409-5_0_3_node_106 | 0.4 | n |  | TRUE
128 | bus_LV_5409-5_0_3_node_100 | 0.4 | n |  | TRUE
129 | bus_LV_5409-5_0_3_node_110 | 0.4 | n |  | TRUE
130 | bus_LV_5409-5_0_3_node_138 | 0.4 | n |  | TRUE
131 | bus_LV_5409-5_0_3_node_120 | 0.4 | n |  | TRUE
132 | bus_LV_5409-5_0_3_node_128 | 0.4 | n |  | TRUE
133 | bus_LV_5409-5_0_3_node_129 | 0.4 | n |  | TRUE
134 | bus_LV_5409-5_0_3_node_131 | 0.4 | n |  | TRUE
135 | bus_LV_5409-5_0_3_node_130 | 0.4 | n |  | TRUE
136 | bus_MV_191_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5409-5_0_3_load_0 | 0 | 0.0048446 | 0.0012142 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5409-5_0_3_load_1 | 1 | 0.0010585 | 0.00026529 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5409-5_0_3_load_3 | 3 | 0.0018885 | 0.00047331 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5409-5_0_3_load_5 | 5 | 0.0019965 | 0.00050037 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5409-5_0_3_load_9 | 6 | 0.0024989 | 0.00062627 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5409-5_0_3_load_6 | 7 | 0.0027585 | 0.00069134 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5409-5_0_3_load_109 | 8 | 0.0017089 | 0.00042829 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5409-5_0_3_load_7 | 10 | 0.00675 | 0.0016917 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5409-5_0_3_load_108 | 11 | 0.0026061 | 0.00065316 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5409-5_0_3_load_8 | 12 | 0.001709 | 0.00042831 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5409-5_0_3_load_37 | 13 | 0.0017181 | 0.00043059 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5409-5_0_3_load_10 | 15 | 0.0047678 | 0.0011949 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5409-5_0_3_load_11 | 16 | 0.0049891 | 0.0012504 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5409-5_0_3_load_95 | 17 | 0.0026234 | 0.00065748 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5409-5_0_3_load_12 | 18 | 0.0018745 | 0.00046978 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5409-5_0_3_load_90 | 19 | 0.0025756 | 0.00064551 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5409-5_0_3_load_61 | 20 | 0.0002862 | 7.1729e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5409-5_0_3_load_89 | 21 | 0.0018263 | 0.0004577 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5409-5_0_3_load_92 | 22 | 0.0029845 | 0.00074799 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5409-5_0_3_load_18 | 24 | 0.0011325 | 0.00028384 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5409-5_0_3_load_13 | 25 | 0.0019601 | 0.00049125 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5409-5_0_3_load_17 | 28 | 0.0033528 | 0.0008403 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5409-5_0_3_load_133 | 30 | 0.0019954 | 0.0005001 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5409-5_0_3_load_134 | 31 | 0.0014368 | 0.0003601 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5409-5_0_3_load_38 | 32 | 0.0018848 | 0.00047238 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5409-5_0_3_load_34 | 33 | 0.0020015 | 0.00050162 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5409-5_0_3_load_94 | 35 | 0.0017467 | 0.00043777 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5409-5_0_3_load_19 | 36 | 0.0018107 | 0.0004538 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5409-5_0_3_load_20 | 37 | 0.001217 | 0.00030501 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5409-5_0_3_load_24 | 41 | 0.0027157 | 0.00068062 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5409-5_0_3_load_126 | 43 | 0.0018817 | 0.00047161 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5409-5_0_3_load_27 | 44 | 0.0025186 | 0.00063121 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5409-5_0_3_load_25 | 45 | 0.0014286 | 0.00035805 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5409-5_0_3_load_132 | 46 | 0.0017216 | 0.00043148 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5409-5_0_3_load_127 | 47 | 0.002037 | 0.00051051 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5409-5_0_3_load_26 | 49 | 0.0028145 | 0.00070537 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5409-5_0_3_load_115 | 50 | 0.0019604 | 0.00049133 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5409-5_0_3_load_76 | 51 | 0.0048362 | 0.0012121 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5409-5_0_3_load_28 | 52 | 0.0032426 | 0.00081268 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5409-5_0_3_load_29 | 53 | 0.0020633 | 0.00051711 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5409-5_0_3_load_32 | 56 | 0.001067 | 0.00026742 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5409-5_0_3_load_40 | 59 | 0.0011127 | 0.00027886 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5409-5_0_3_load_51 | 60 | 0.0014368 | 0.00036009 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5409-5_0_3_load_140 | 61 | 0.0023497 | 0.00058889 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5409-5_0_3_load_139 | 62 | 0.0011177 | 0.00028012 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5409-5_0_3_load_45 | 64 | 0.0036771 | 0.00092157 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5409-5_0_3_load_50 | 66 | 0.0014364 | 0.00035999 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5409-5_0_3_load_35 | 67 | 0.0015241 | 0.00038198 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5409-5_0_3_load_136 | 68 | 0.0032367 | 0.00081119 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5409-5_0_3_load_135 | 69 | 0.004297 | 0.0010769 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5409-5_0_3_load_44 | 70 | 0.0014815 | 0.00037129 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5409-5_0_3_load_43 | 72 | 0.00089432 | 0.00022414 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5409-5_0_3_load_124 | 74 | 0.0016852 | 0.00042234 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5409-5_0_3_load_123 | 76 | 0.0030425 | 0.00076251 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5409-5_0_3_load_122 | 78 | 0.0017959 | 0.00045009 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5409-5_0_3_load_52 | 79 | 0.0014511 | 0.00036368 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5409-5_0_3_load_46 | 80 | 0.0021653 | 0.00054267 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5409-5_0_3_load_47 | 81 | 0.0013996 | 0.00035078 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5409-5_0_3_load_48 | 82 | 0.00078771 | 0.00019742 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5409-5_0_3_load_49 | 83 | 0.0033789 | 0.00084684 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5409-5_0_3_load_53 | 84 | 0.00098277 | 0.0002463 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5409-5_0_3_load_55 | 85 | 0.0017755 | 0.00044499 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5409-5_0_3_load_56 | 86 | 0.0080471 | 0.0020168 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5409-5_0_3_load_59 | 89 | 0.0029912 | 0.00074966 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5409-5_0_3_load_62 | 91 | 0.00034692 | 8.6945e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5409-5_0_3_load_66 | 92 | 0.0041028 | 0.0010283 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5409-5_0_3_load_102 | 93 | 0.00068959 | 0.00017283 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5409-5_0_3_load_63 | 96 | 0.00074198 | 0.00018596 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5409-5_0_3_load_105 | 99 | 0.00062276 | 0.00015608 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5409-5_0_3_load_137 | 100 | 0.007143 | 0.0017902 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5409-5_0_3_load_67 | 101 | 0.00084658 | 0.00021217 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5409-5_0_3_load_68 | 102 | 0.00078795 | 0.00019748 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5409-5_0_3_load_71 | 105 | 0.00095177 | 0.00023854 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5409-5_0_3_load_72 | 106 | 0.00093251 | 0.00023371 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5409-5_0_3_load_80 | 110 | 0.0010282 | 0.00025768 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5409-5_0_3_load_81 | 111 | 0.0017072 | 0.00042787 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5409-5_0_3_load_118 | 112 | 0.0013886 | 0.00034801 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5409-5_0_3_load_74 | 113 | 0.0012865 | 0.00032242 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5409-5_0_3_load_75 | 114 | 0.0010342 | 0.0002592 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5409-5_0_3_load_116 | 116 | 0.00094695 | 0.00023733 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5409-5_0_3_load_82 | 117 | 0.0011022 | 0.00027623 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5409-5_0_3_load_107 | 118 | 0.00076384 | 0.00019144 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5409-5_0_3_load_83 | 119 | 0.0015464 | 0.00038756 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5409-5_0_3_load_85 | 120 | 0.0043511 | 0.0010905 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5409-5_0_3_load_88 | 121 | 0.0031995 | 0.00080187 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5409-5_0_3_load_121 | 122 | 0.0030923 | 0.000775 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5409-5_0_3_load_91 | 123 | 0.0017486 | 0.00043823 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5409-5_0_3_load_96 | 124 | 0.00060975 | 0.00015282 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5409-5_0_3_load_97 | 125 | 0.00047042 | 0.0001179 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5409-5_0_3_load_99 | 126 | 0.00035851 | 8.9852e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5409-5_0_3_load_106 | 127 | 0.0010763 | 0.00026975 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5409-5_0_3_load_100 | 128 | 0.00021762 | 5.4542e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5409-5_0_3_load_110 | 129 | 0.0029363 | 0.00073591 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5409-5_0_3_load_138 | 130 | 0.00058652 | 0.000147 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5409-5_0_3_load_120 | 131 | 0.0015546 | 0.00038961 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5409-5_0_3_load_128 | 132 | 0.0015917 | 0.00039891 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5409-5_0_3_load_129 | 133 | 0.0038403 | 0.00096247 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5409-5_0_3_load_131 | 134 | 0.0014181 | 0.0003554 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5409-5_0_3_load_130 | 135 | 0.0013012 | 0.00032611 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5409-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0014489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5409-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5409-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0079684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5409-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.012905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5409-5_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0097415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5409-5_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.020585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5409-5_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.026795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5409-5_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.013905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5409-5_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0025462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5409-5_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 8.3651e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5409-5_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.02565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5409-5_0_3_line_11 | NAYY 4x150 SE | 9 | 13 | 0.010153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5409-5_0_3_line_12 | NAYY 4x150 SE | 9 | 14 | 0.021907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5409-5_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.018631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5409-5_0_3_line_14 | NAYY 4x150 SE | 11 | 129 | 0.036205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5409-5_0_3_line_15 | NAYY 4x150 SE | 13 | 67 | 0.0078173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5409-5_0_3_line_16 | NAYY 4x150 SE | 14 | 32 | 0.0082236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5409-5_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.036373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5409-5_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.038011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5409-5_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.012491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_5409-5_0_3_line_20 | NAYY 4x150 SE | 17 | 22 | 0.011176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5409-5_0_3_line_21 | NAYY 4x150 SE | 18 | 23 | 0.017833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_5409-5_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.075865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5409-5_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.033613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5409-5_0_3_line_24 | NAYY 4x150 SE | 20 | 97 | 0.034716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5409-5_0_3_line_25 | NAYY 4x150 SE | 21 | 123 | 0.0018721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5409-5_0_3_line_26 | NAYY 4x150 SE | 22 | 123 | 0.0072221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5409-5_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0035523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5409-5_0_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.0087371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5409-5_0_3_line_29 | NAYY 4x150 SE | 24 | 31 | 0.0047386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5409-5_0_3_line_30 | NAYY 4x150 SE | 25 | 26 | 0.010028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5409-5_0_3_line_31 | NAYY 4x150 SE | 26 | 27 | 0.00553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5409-5_0_3_line_32 | NAYY 4x150 SE | 26 | 28 | 0.01441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5409-5_0_3_line_33 | NAYY 4x150 SE | 27 | 29 | 0.00777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5409-5_0_3_line_34 | NAYY 4x150 SE | 27 | 30 | 0.0094649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5409-5_0_3_line_35 | NAYY 4x150 SE | 29 | 32 | 0.010813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5409-5_0_3_line_36 | NAYY 4x150 SE | 29 | 33 | 0.0072483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5409-5_0_3_line_37 | NAYY 4x150 SE | 30 | 34 | 0.0062529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5409-5_0_3_line_38 | NAYY 4x150 SE | 31 | 35 | 0.005933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5409-5_0_3_line_39 | NAYY 4x150 SE | 34 | 42 | 0.007531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5409-5_0_3_line_40 | NAYY 4x150 SE | 35 | 81 | 0.0066874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5409-5_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.0035646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5409-5_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.0020428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5409-5_0_3_line_43 | NAYY 4x150 SE | 37 | 39 | 0.0134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5409-5_0_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.007522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5409-5_0_3_line_45 | NAYY 4x150 SE | 38 | 41 | 0.011006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5409-5_0_3_line_46 | NAYY 4x150 SE | 39 | 42 | 0.004597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5409-5_0_3_line_47 | NAYY 4x150 SE | 39 | 43 | 0.016476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5409-5_0_3_line_48 | NAYY 4x150 SE | 40 | 44 | 0.031305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5409-5_0_3_line_49 | NAYY 4x150 SE | 40 | 45 | 0.013379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5409-5_0_3_line_50 | NAYY 4x150 SE | 41 | 46 | 0.0036501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5409-5_0_3_line_51 | NAYY 4x150 SE | 42 | 47 | 0.010055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5409-5_0_3_line_52 | NAYY 4x150 SE | 44 | 48 | 0.02404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5409-5_0_3_line_53 | NAYY 4x150 SE | 45 | 49 | 0.0062685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5409-5_0_3_line_54 | NAYY 4x150 SE | 47 | 132 | 0.0042308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5409-5_0_3_line_55 | NAYY 4x150 SE | 48 | 50 | 0.0092293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5409-5_0_3_line_56 | NAYY 4x150 SE | 48 | 51 | 0.0073519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5409-5_0_3_line_57 | NAYY 4x150 SE | 51 | 113 | 0.0090795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5409-5_0_3_line_58 | NAYY 4x150 SE | 52 | 53 | 0.00468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5409-5_0_3_line_59 | NAYY 4x150 SE | 52 | 54 | 0.026646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5409-5_0_3_line_60 | NAYY 4x150 SE | 53 | 55 | 0.011902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5409-5_0_3_line_61 | NAYY 4x150 SE | 54 | 56 | 0.0040618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5409-5_0_3_line_62 | NAYY 4x150 SE | 54 | 57 | 0.019942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5409-5_0_3_line_63 | NAYY 4x150 SE | 55 | 58 | 0.02504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5409-5_0_3_line_64 | NAYY 4x150 SE | 55 | 59 | 0.033986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5409-5_0_3_line_65 | NAYY 4x150 SE | 56 | 60 | 0.0042723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5409-5_0_3_line_66 | NAYY 4x150 SE | 57 | 61 | 0.029137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5409-5_0_3_line_67 | NAYY 4x150 SE | 57 | 62 | 0.032318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5409-5_0_3_line_68 | NAYY 4x150 SE | 58 | 63 | 0.030099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5409-5_0_3_line_69 | NAYY 4x150 SE | 58 | 64 | 0.01209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5409-5_0_3_line_70 | NAYY 4x150 SE | 59 | 65 | 0.0070231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5409-5_0_3_line_71 | NAYY 4x150 SE | 60 | 66 | 0.0075631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5409-5_0_3_line_72 | NAYY 4x150 SE | 63 | 68 | 0.038414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5409-5_0_3_line_73 | NAYY 4x150 SE | 63 | 69 | 0.015363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5409-5_0_3_line_74 | NAYY 4x150 SE | 64 | 70 | 0.00092107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5409-5_0_3_line_75 | NAYY 4x150 SE | 65 | 71 | 0.012494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5409-5_0_3_line_76 | NAYY 4x150 SE | 65 | 72 | 0.053048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5409-5_0_3_line_77 | NAYY 4x150 SE | 66 | 82 | 0.0045866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5409-5_0_3_line_78 | NAYY 4x150 SE | 70 | 80 | 0.010997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5409-5_0_3_line_79 | NAYY 4x150 SE | 71 | 73 | 0.017951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5409-5_0_3_line_80 | NAYY 4x150 SE | 71 | 74 | 0.017953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5409-5_0_3_line_81 | NAYY 4x150 SE | 72 | 75 | 0.020357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5409-5_0_3_line_82 | NAYY 4x150 SE | 73 | 76 | 0.02757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5409-5_0_3_line_83 | NAYY 4x150 SE | 73 | 77 | 0.027386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5409-5_0_3_line_84 | NAYY 4x150 SE | 74 | 78 | 0.025539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5409-5_0_3_line_85 | NAYY 4x150 SE | 75 | 79 | 0.015429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5409-5_0_3_line_86 | NAYY 4x150 SE | 76 | 122 | 0.0051482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5409-5_0_3_line_87 | NAYY 4x150 SE | 77 | 121 | 0.024287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5409-5_0_3_line_88 | NAYY 4x150 SE | 77 | 120 | 0.036174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5409-5_0_3_line_89 | NAYY 4x150 SE | 78 | 131 | 0.0078058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5409-5_0_3_line_90 | NAYY 4x150 SE | 79 | 84 | 0.0018047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5409-5_0_3_line_91 | NAYY 4x150 SE | 80 | 81 | 0.02712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5409-5_0_3_line_92 | NAYY 4x150 SE | 82 | 83 | 0.03404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5409-5_0_3_line_93 | NAYY 4x150 SE | 84 | 85 | 0.043533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5409-5_0_3_line_94 | NAYY 4x150 SE | 86 | 87 | 0.030752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5409-5_0_3_line_95 | NAYY 4x150 SE | 86 | 88 | 0.029327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5409-5_0_3_line_96 | NAYY 4x150 SE | 87 | 89 | 0.060357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5409-5_0_3_line_97 | NAYY 4x150 SE | 87 | 90 | 0.060018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5409-5_0_3_line_98 | NAYY 4x150 SE | 88 | 91 | 0.018773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5409-5_0_3_line_99 | NAYY 4x150 SE | 89 | 92 | 0.0099294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5409-5_0_3_line_100 | NAYY 4x150 SE | 89 | 93 | 0.046827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5409-5_0_3_line_101 | NAYY 4x150 SE | 89 | 94 | 0.052475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5409-5_0_3_line_102 | NAYY 4x150 SE | 90 | 95 | 0.052909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5409-5_0_3_line_103 | NAYY 4x150 SE | 90 | 96 | 0.016625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5409-5_0_3_line_104 | NAYY 4x150 SE | 91 | 97 | 0.019642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5409-5_0_3_line_105 | NAYY 4x150 SE | 94 | 98 | 0.001813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5409-5_0_3_line_106 | NAYY 4x150 SE | 95 | 100 | 0.095151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5409-5_0_3_line_107 | NAYY 4x150 SE | 98 | 99 | 0.032493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5409-5_0_3_line_108 | NAYY 4x150 SE | 101 | 102 | 0.0024579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5409-5_0_3_line_109 | NAYY 4x150 SE | 101 | 103 | 0.011118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5409-5_0_3_line_110 | NAYY 4x150 SE | 102 | 104 | 0.015398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5409-5_0_3_line_111 | NAYY 4x150 SE | 103 | 105 | 0.040511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5409-5_0_3_line_112 | NAYY 4x150 SE | 103 | 106 | 0.024383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5409-5_0_3_line_113 | NAYY 4x150 SE | 104 | 107 | 0.035065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5409-5_0_3_line_114 | NAYY 4x150 SE | 104 | 108 | 0.01715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_5409-5_0_3_line_115 | NAYY 4x150 SE | 105 | 109 | 0.015739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_5409-5_0_3_line_116 | NAYY 4x150 SE | 106 | 110 | 0.018638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_5409-5_0_3_line_117 | NAYY 4x150 SE | 107 | 111 | 0.015496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_5409-5_0_3_line_118 | NAYY 4x150 SE | 108 | 112 | 0.016664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_5409-5_0_3_line_119 | NAYY 4x150 SE | 109 | 113 | 0.006673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_5409-5_0_3_line_120 | NAYY 4x150 SE | 109 | 114 | 0.020735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_5409-5_0_3_line_121 | NAYY 4x150 SE | 111 | 117 | 0.027645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_5409-5_0_3_line_122 | NAYY 4x150 SE | 112 | 118 | 0.011335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_5409-5_0_3_line_123 | NAYY 4x150 SE | 114 | 115 | 0.0071182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_5409-5_0_3_line_124 | NAYY 4x150 SE | 115 | 116 | 0.029395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_5409-5_0_3_line_125 | NAYY 4x150 SE | 116 | 130 | 0.031728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_5409-5_0_3_line_126 | NAYY 4x150 SE | 117 | 119 | 0.0064959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_5409-5_0_3_line_127 | NAYY 4x150 SE | 118 | 127 | 0.020458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_5409-5_0_3_line_128 | NAYY 4x150 SE | 118 | 128 | 0.14818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_5409-5_0_3_line_129 | NAYY 4x150 SE | 124 | 125 | 0.0019051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_5409-5_0_3_line_130 | NAYY 4x150 SE | 125 | 126 | 0.015253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_5409-5_0_3_line_131 | NAYY 4x150 SE | 126 | 127 | 0.0096781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_5409-5_0_3_line_132 | NAYY 4x150 SE | 132 | 133 | 0.0087448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_5409-5_0_3_line_133 | NAYY 4x150 SE | 133 | 134 | 0.0010437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_5409-5_0_3_line_134 | NAYY 4x150 SE | 134 | 135 | 0.00092025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5409-5_0_3_trafo_11 | 0.25 MVA 20/0.4 kV | 136 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2564490.7998 | 1126948.7915 | 2564489.9426 | 1126949.9597
1 | 2564491.9619 | 1126939.1245 | 2564492.8327 | 1126941.7429 | 2564490.8242 | 1126948.7582 | 2564490.7998 | 1126948.7915
2 | 2564485.2283 | 1126956.3839 | 2564489.9426 | 1126949.9597
3 | 2564487.898 | 1126926.8756 | 2564491.9619 | 1126939.1245
4 | 2564491.9619 | 1126939.1245 | 2564493.9956 | 1126939.0013 | 2564496.4605 | 1126940.1429 | 2564501.0114 | 1126942.1839 | 2564501.0114 | 1126942.1839
5 | 2564487.898 | 1126926.8756 | 2564491.3458 | 1126924.7987 | 2564505.1397 | 1126915.6351
6 | 2564487.898 | 1126926.8756 | 2564484.7811 | 1126927.5609 | 2564476.1945 | 1126927.2113 | 2564461.7464 | 1126923.144
7 | 2564513.0964 | 1126949.0495 | 2564513.0964 | 1126949.0495 | 2564508.3321 | 1126946.1094 | 2564501.0114 | 1126942.1839
8 | 2564507.4451 | 1126914.5543 | 2564505.1397 | 1126915.6351
9 | 2564461.6659 | 1126923.1214 | 2564461.7464 | 1126923.144
10 | 2564531.1259 | 1126967.0019 | 2564530.1656 | 1126964.8349 | 2564529.3358 | 1126963.9393 | 2564521.39 | 1126955.9264 | 2564513.0964 | 1126949.0495
11 | 2564507.4451 | 1126914.5543 | 2564512.3878 | 1126919.0052 | 2564514.0569 | 1126922.0833
12 | 2564527.7793 | 1126906.3194 | 2564516.1675 | 1126910.4787 | 2564507.4451 | 1126914.5543
13 | 2564461.6659 | 1126923.1214 | 2564443.7318 | 1126918.0727
14 | 2564529.2003 | 1126999.836 | 2564527.2938 | 1126998.0018 | 2564525.5588 | 1126996.5002 | 2564524.6869 | 1126995.0045 | 2564523.895 | 1126992.6858 | 2564523.6658 | 1126990.3971 | 2564524.9761 | 1126986.5208 | 2564526.003 | 1126984.2358 | 2564528.2169 | 1126979.3981 | 2564529.667 | 1126975.6877 | 2564530.4658 | 1126972.6259 | 2564531.1416 | 1126969.6093 | 2564531.2121 | 1126967.1966 | 2564531.1259 | 1126967.0019
15 | 2564519.7701 | 1126927.0633 | 2564515.2781 | 1126924.3354 | 2564514.0569 | 1126922.0833
16 | 2564527.7793 | 1126906.3194 | 2564528.5195 | 1126907.7047 | 2564532.7306 | 1126909.6253 | 2564534.6079 | 1126910.3833
17 | 2564613.0028 | 1126889.2961 | 2564612.6926 | 1126890.5461 | 2564611.1289 | 1126894.5906 | 2564605.4961 | 1126905.1623 | 2564598.9431 | 1126916.4954 | 2564597.2226 | 1126920.0851 | 2564596.0508 | 1126921.3148
18 | 2564613.0028 | 1126889.2961 | 2564651.0094 | 1126888.7289
19 | 2564596.0508 | 1126921.3148 | 2564596.0508 | 1126921.3148 | 2564591.9479 | 1126922.0615 | 2564588.2053 | 1126922.4948 | 2564583.8858 | 1126923.9344
20 | 2564661.8012 | 1126891.2865 | 2564659.0335 | 1126891.2414 | 2564651.0094 | 1126888.7289
21 | 2564568.974 | 1126933.5021 | 2564572.9691 | 1126930.1436 | 2564576.2857 | 1126928.0342 | 2564581.6525 | 1126924.6788 | 2564583.8858 | 1126923.9344
22 | 2564669.0679 | 1126853.4257 | 2564715.7174 | 1126793.5983
23 | 2564666.957 | 1126884.724 | 2564667.0971 | 1126883.8571 | 2564668.5512 | 1126878.1902 | 2564670.5005 | 1126872.8761 | 2564673.5583 | 1126864.7207 | 2564673.6964 | 1126861.9963 | 2564672.226 | 1126858.2919 | 2564669.0679 | 1126853.4257
24 | 2564740.4031 | 1126807.0339 | 2564736.5475 | 1126809.2464 | 2564734.8473 | 1126809.7455 | 2564730.1333 | 1126810.1066 | 2564725.6116 | 1126809.1214 | 2564722.8353 | 1126807.4368 | 2564719.5079 | 1126803.7766 | 2564718.0843 | 1126801.506 | 2564716.9026 | 1126798.4114 | 2564715.7174 | 1126793.5983
25 | 2564666.957 | 1126884.724 | 2564666.6583 | 1126886.5721
26 | 2564661.8012 | 1126891.2865 | 2564662.5479 | 1126891.2986 | 2564664.0308 | 1126890.5562 | 2564665.7604 | 1126888.5228 | 2564666.6583 | 1126886.5721 | 2564666.6583 | 1126886.5721
27 | 2564568.974 | 1126933.5021 | 2564571.4319 | 1126936.0668 | 2564571.4319 | 1126936.0668
28 | 2564568.974 | 1126933.5021 | 2564562.92 | 1126927.2024
29 | 2564571.4319 | 1126936.0668 | 2564575.2963 | 1126938.8092
30 | 2564555.9714 | 1126919.9717 | 2564562.92 | 1126927.2024
31 | 2564555.9714 | 1126919.9717 | 2564552.2407 | 1126915.8804
32 | 2564555.9714 | 1126919.9717 | 2564566.4395 | 1126910.0385
33 | 2564552.2407 | 1126915.8804 | 2564549.1884 | 1126915.765 | 2564544.6947 | 1126914.2684
34 | 2564552.2407 | 1126915.8804 | 2564545.8607 | 1126908.889
35 | 2564544.6947 | 1126914.2684 | 2564542.0926 | 1126913.4055 | 2564534.6079 | 1126910.3833
36 | 2564544.6947 | 1126914.2684 | 2564539.0433 | 1126918.8072
37 | 2564541.6459 | 1126904.2702 | 2564545.8607 | 1126908.889
38 | 2564575.2963 | 1126938.8092 | 2564580.1348 | 1126942.2428
39 | 2564540.9776 | 1126896.7703 | 2564541.6459 | 1126904.2702
40 | 2564580.1348 | 1126942.2428 | 2564583.4881 | 1126944.6225 | 2564585.6485 | 1126946.0246
41 | 2564537.6805 | 1126875.474 | 2564538.11 | 1126879.0126
42 | 2564537.4343 | 1126873.4461 | 2564537.6805 | 1126875.474
43 | 2564540.1419 | 1126892.2507 | 2564538.9163 | 1126885.6546 | 2564538.11 | 1126879.0126
44 | 2564537.4343 | 1126873.4461 | 2564535.7344 | 1126866.119
45 | 2564537.4343 | 1126873.4461 | 2564540.4635 | 1126872.2499 | 2564545.2777 | 1126870.5874 | 2564547.4277 | 1126870.5748 | 2564547.8942 | 1126870.7706
46 | 2564540.9776 | 1126896.7703 | 2564540.1419 | 1126892.2507
47 | 2564526.1045 | 1126899.3369 | 2564528.0951 | 1126897.124 | 2564530.2395 | 1126894.8658 | 2564532.2275 | 1126893.5201 | 2564535.0445 | 1126892.9477 | 2564540.1419 | 1126892.2507
48 | 2564535.7344 | 1126866.119 | 2564531.9152 | 1126849.611 | 2564527.5908 | 1126835.9164
49 | 2564535.7344 | 1126866.119 | 2564531.8716 | 1126867.0867 | 2564529.2004 | 1126867.5693 | 2564527.514 | 1126867.7793 | 2564525.7182 | 1126867.7343 | 2564522.5366 | 1126867.9087
50 | 2564551.198 | 1126872.2821 | 2564550.9272 | 1126872.0438 | 2564547.8942 | 1126870.7706
51 | 2564540.9776 | 1126896.7703 | 2564544.9582 | 1126894.8793 | 2564549.7511 | 1126891.8907
52 | 2564520.0871 | 1126813.0843 | 2564520.7014 | 1126815.3374 | 2564522.485 | 1126821.1632 | 2564527.5178 | 1126835.6853 | 2564527.5908 | 1126835.9164
53 | 2564520.1556 | 1126873.192 | 2564520.5519 | 1126869.8102 | 2564520.9549 | 1126868.8962 | 2564522.5366 | 1126867.9087
54 | 2564549.7511 | 1126891.8907 | 2564553.3412 | 1126889.6521
55 | 2564520.0871 | 1126813.0843 | 2564522.5692 | 1126811.9025 | 2564525.6986 | 1126810.7057 | 2564528.753 | 1126810.0234
56 | 2564520.0871 | 1126813.0843 | 2564519.2208 | 1126809.9323 | 2564518.6716 | 1126806.9562 | 2564518.5782 | 1126805.9037
57 | 2564518.235 | 1126796.8349 | 2564518.2377 | 1126798.7102 | 2564518.3827 | 1126803.7007 | 2564518.5782 | 1126805.9037
58 | 2564638.0884 | 1126994.956 | 2564636.8283 | 1126995.6686 | 2564633.8769 | 1126996.9866
59 | 2564619.0435 | 1127016.7835 | 2564619.4889 | 1127015.2024 | 2564625.629 | 1127000.5034 | 2564631.0133 | 1126997.5036 | 2564633.8769 | 1126996.9866
60 | 2564648.4489 | 1126989.0972 | 2564638.0884 | 1126994.956
61 | 2564619.0435 | 1127016.7835 | 2564618.6128 | 1127020.8225
62 | 2564603.1846 | 1127004.9706 | 2564604.9564 | 1127006.1831 | 2564608.3877 | 1127009.1756 | 2564611.0316 | 1127011.9281 | 2564614.1447 | 1127014.5334 | 2564617.4044 | 1127015.8594 | 2564619.0435 | 1127016.7835
63 | 2564648.4489 | 1126989.0972 | 2564644.6686 | 1126985.7288 | 2564639.8798 | 1126982.5219 | 2564628.3945 | 1126974.0738
64 | 2564648.4489 | 1126989.0972 | 2564654.2282 | 1126996.9562 | 2564658.4395 | 1127005.5025 | 2564659.9139 | 1127011.1856 | 2564659.9023 | 1127017.0997 | 2564659.3649 | 1127019.968
65 | 2564618.6128 | 1127020.8225 | 2564618.1597 | 1127025.0707 | 2564618.1597 | 1127025.0707
66 | 2564603.1846 | 1127004.9706 | 2564587.2998 | 1127029.4206
67 | 2564571.4946 | 1127003.1335 | 2564576.7355 | 1127003.2695 | 2564581.5851 | 1127003.7079 | 2564585.1605 | 1127003.6869 | 2564587.9409 | 1127003.4371 | 2564590.9578 | 1127002.7857 | 2564595.1628 | 1127002.3608 | 2564598.6631 | 1127002.6627 | 2564601.5289 | 1127003.8353 | 2564603.1846 | 1127004.9706
68 | 2564628.3945 | 1126974.0738 | 2564643.1947 | 1126949.9082 | 2564644.6722 | 1126950.8667
69 | 2564628.3945 | 1126974.0738 | 2564618.3003 | 1126967.4205
70 | 2564658.0716 | 1127026.8709 | 2564659.3649 | 1127019.968
71 | 2564618.1597 | 1127025.0707 | 2564616.2237 | 1127032.3818
72 | 2564672.8539 | 1126931.2584 | 2564667.7055 | 1126937.714 | 2564662.6706 | 1126943.791 | 2564661.1208 | 1126944.9562 | 2564657.7982 | 1126943.4194 | 2564654.9373 | 1126943.0915 | 2564652.125 | 1126943.1525 | 2564648.9285 | 1126944.7276 | 2564648.0265 | 1126945.9779 | 2564644.6722 | 1126950.8667
73 | 2564657.5751 | 1126959.262 | 2564644.6722 | 1126950.8667
74 | 2564618.3003 | 1126967.4205 | 2564617.5312 | 1126966.9136
75 | 2564658.0716 | 1127026.8709 | 2564659.8389 | 1127027.3275 | 2564670.541 | 1127027.0647
76 | 2564658.0716 | 1127026.8709 | 2564654.1015 | 1127034.4869 | 2564641.3517 | 1127056.117 | 2564631.7406 | 1127072.9127
77 | 2564615.0535 | 1127036.8166 | 2564615.1819 | 1127036.316 | 2564616.2237 | 1127032.3818
78 | 2564617.5312 | 1126966.9136 | 2564608.3493 | 1126960.8617
79 | 2564688.5307 | 1127026.4479 | 2564685.0029 | 1127026.7131 | 2564670.541 | 1127027.0647
80 | 2564670.541 | 1127027.0647 | 2564668.2347 | 1127031.9584 | 2564666.9071 | 1127032.9 | 2564663.9509 | 1127034.7071 | 2564662.627 | 1127036.2712 | 2564661.7881 | 1127039.0887 | 2564661.6359 | 1127040.7237 | 2564661.2097 | 1127041.4237
81 | 2564621.7889 | 1127090.6714 | 2564629.3839 | 1127077.031 | 2564631.7406 | 1127072.9127
82 | 2564688.5307 | 1127026.4479 | 2564688.9256 | 1127028.0909 | 2564692.1459 | 1127031.8961 | 2564693.3362 | 1127033.8346 | 2564694.0438 | 1127034.9199 | 2564692.9578 | 1127036.327 | 2564690.8616 | 1127038.9183 | 2564689.6201 | 1127040.0928 | 2564689.8572 | 1127041.1031 | 2564690.7243 | 1127041.7983 | 2564693.9326 | 1127042.2465 | 2564695.108 | 1127042.9399 | 2564696.5966 | 1127044.4876 | 2564697.6662 | 1127045.684
83 | 2564715.9211 | 1127024.4088 | 2564688.5307 | 1127026.4479
84 | 2564661.2097 | 1127041.4237 | 2564661.0177 | 1127041.739 | 2564659.6253 | 1127043.4591 | 2564658.1568 | 1127046.6582 | 2564658.0182 | 1127049.3159 | 2564658.7277 | 1127050.7124 | 2564660.1442 | 1127051.7936 | 2564664.1385 | 1127053.56 | 2564665.7091 | 1127054.6402 | 2564669.0059 | 1127057.0443 | 2564671.7496 | 1127058.4289 | 2564671.7496 | 1127058.4289
85 | 2564621.7889 | 1127090.6714 | 2564630.5116 | 1127093.2548 | 2564636.3288 | 1127095.7553
86 | 2564697.6662 | 1127045.684 | 2564699.5131 | 1127047.7499 | 2564701.0878 | 1127049.5305
87 | 2564715.9211 | 1127024.4088 | 2564724.8872 | 1127038.2745 | 2564730.0593 | 1127044.08
88 | 2564715.9211 | 1127024.4088 | 2564697.4124 | 1126993.3285
89 | 2564677.8232 | 1127063.2878 | 2564677.0055 | 1127062.4446 | 2564673.9462 | 1127059.8168 | 2564671.7496 | 1127058.4289
90 | 2564636.3288 | 1127095.7553 | 2564636.3288 | 1127095.7553 | 2564637.5783 | 1127097.0576
91 | 2564608.3493 | 1126960.8617 | 2564598.0696 | 1126954.0861 | 2564585.6485 | 1126946.0246
92 | 2564615.0535 | 1127036.8166 | 2564611.8973 | 1127049.1307 | 2564601.8223 | 1127067.9294
93 | 2564637.5783 | 1127097.0576 | 2564653.8651 | 1127137.4291
94 | 2564785.8064 | 1126752.6524 | 2564756.1262 | 1126760.6991
95 | 2564728.9169 | 1126770.805 | 2564731.2861 | 1126768.7345 | 2564738.2416 | 1126765.5478 | 2564756.1262 | 1126760.6991
96 | 2564785.8064 | 1126752.6524 | 2564783.6361 | 1126743.9051 | 2564781.6671 | 1126741.9156 | 2564781.1862 | 1126740.0619 | 2564780.8413 | 1126733.7829 | 2564779.8841 | 1126729.5642 | 2564777.2355 | 1126718.085 | 2564776.1251 | 1126714.0227 | 2564774.2478 | 1126710.5875 | 2564770.8259 | 1126709.2179 | 2564758.9216 | 1126712.7709
97 | 2564785.8064 | 1126752.6524 | 2564786.8631 | 1126756.7705 | 2564797.4967 | 1126796.1727 | 2564798.5915 | 1126800.2239 | 2564800.5875 | 1126810.7954
98 | 2564728.9169 | 1126770.805 | 2564728.5665 | 1126772.8192 | 2564729.1006 | 1126775.8509 | 2564732.3641 | 1126785.7257 | 2564733.4205 | 1126788.7994
99 | 2564758.9216 | 1126712.7709 | 2564749.407 | 1126715.6106
100 | 2564758.9216 | 1126712.7709 | 2564757.3623 | 1126665.9702
101 | 2564758.9216 | 1126712.7709 | 2564805.414 | 1126688.4389
102 | 2564748.4427 | 1126820.5604 | 2564767.7356 | 1126817.346 | 2564787.2701 | 1126813.2632 | 2564800.5875 | 1126810.7954
103 | 2564800.5875 | 1126810.7954 | 2564816.8412 | 1126807.3022
104 | 2564740.4031 | 1126807.0339 | 2564739.2003 | 1126805.618 | 2564733.4205 | 1126788.7994
105 | 2564804.9568 | 1126686.6851 | 2564805.414 | 1126688.4389
106 | 2564748.4427 | 1126820.5604 | 2564784.1905 | 1126908.7404
107 | 2564804.9568 | 1126686.6851 | 2564801.1494 | 1126672.0889 | 2564796.9663 | 1126655.1909
108 | 2564544.4921 | 1126728.773 | 2564545.6768 | 1126726.6195
109 | 2564539.5317 | 1126738.7214 | 2564543.6437 | 1126730.3152 | 2564544.4921 | 1126728.773
110 | 2564553.0985 | 1126713.1287 | 2564545.6768 | 1126726.6195
111 | 2564539.5317 | 1126738.7214 | 2564534.2277 | 1126748.8466 | 2564525.2716 | 1126765.641 | 2564521.5217 | 1126772.7111 | 2564521.0055 | 1126774.689
112 | 2564539.5317 | 1126738.7214 | 2564534.2355 | 1126735.7621 | 2564528.5431 | 1126733.5834 | 2564521.5401 | 1126731.3123 | 2564516.9051 | 1126729.8541
113 | 2564579.7493 | 1126735.817 | 2564574.5708 | 1126731.9009 | 2564568.6483 | 1126725.9661 | 2564564.9412 | 1126721.9747 | 2564560.6059 | 1126718.6207 | 2564557.0826 | 1126715.74 | 2564553.0985 | 1126713.1287
114 | 2564552.1356 | 1126696.1592 | 2564553.2706 | 1126700.4547 | 2564553.6166 | 1126705.5663 | 2564553.0985 | 1126713.1287
115 | 2564518.4033 | 1126790.1716 | 2564519.4643 | 1126780.5938 | 2564521.0055 | 1126774.689
116 | 2564498.4256 | 1126728.1356 | 2564509.6947 | 1126728.5584 | 2564514.2905 | 1126729.0316 | 2564516.9051 | 1126729.8541
117 | 2564579.7493 | 1126735.817 | 2564576.552 | 1126742.5169 | 2564573.657 | 1126748.1923 | 2564573.1161 | 1126749.805
118 | 2564552.1356 | 1126696.1592 | 2564550.2941 | 1126693.5909 | 2564547.5855 | 1126691.6614 | 2564544.013 | 1126689.5925 | 2564538.3863 | 1126687.371
119 | 2564518.4033 | 1126790.1716 | 2564518.2277 | 1126791.7734 | 2564518.235 | 1126796.8349
120 | 2564518.4033 | 1126790.1716 | 2564497.7619 | 1126788.1993
121 | 2564573.1161 | 1126749.805 | 2564569.802 | 1126759.6874 | 2564567.3743 | 1126770.1403 | 2564566.8928 | 1126776.6131
122 | 2564527.6097 | 1126683.9024 | 2564529.718 | 1126684.3961 | 2564535.2459 | 1126686.1312 | 2564538.3863 | 1126687.371
123 | 2564490.676 | 1126787.5223 | 2564497.7619 | 1126788.1993
124 | 2564490.676 | 1126787.5223 | 2564490.2486 | 1126760.7557 | 2564490.2392 | 1126758.1308
125 | 2564490.2392 | 1126758.1308 | 2564461.936 | 1126743.7917
126 | 2564567.7122 | 1126783.0559 | 2564566.8886 | 1126776.6686 | 2564566.8928 | 1126776.6131
127 | 2564507.6826 | 1126679.2715 | 2564509.4376 | 1126679.6463 | 2564527.6097 | 1126683.9024
128 | 2564527.6097 | 1126683.9024 | 2564568.8791 | 1126541.5843
129 | 2564481.1905 | 1126675.1675 | 2564483.0874 | 1126675.3445
130 | 2564498.2145 | 1126677.269 | 2564488.1223 | 1126675.8143 | 2564483.0874 | 1126675.3445
131 | 2564498.2145 | 1126677.269 | 2564498.4962 | 1126677.3096 | 2564507.6826 | 1126679.2715
132 | 2564560.3865 | 1126884.5056 | 2564558.9611 | 1126885.848 | 2564553.9031 | 1126889.3017 | 2564553.3412 | 1126889.6521
133 | 2564560.5886 | 1126883.4817 | 2564560.5886 | 1126883.4817 | 2564560.3865 | 1126884.5056 | 2564560.3865 | 1126884.5056
134 | 2564560.2752 | 1126882.6165 | 2564560.2752 | 1126882.6165 | 2564560.5886 | 1126883.4817

## bus_geodata
| x | y | coords
0 | 2564490.7998 | 1126948.7915
1 | 2564489.9426 | 1126949.9597
2 | 2564491.9619 | 1126939.1245
3 | 2564485.2283 | 1126956.3839
4 | 2564487.898 | 1126926.8756
5 | 2564501.0114 | 1126942.1839
6 | 2564505.1397 | 1126915.6351
7 | 2564461.7464 | 1126923.144
8 | 2564513.0964 | 1126949.0495
9 | 2564507.4451 | 1126914.5543
10 | 2564461.6659 | 1126923.1214
11 | 2564531.1259 | 1126967.0019
12 | 2564443.7318 | 1126918.0727
13 | 2564514.0569 | 1126922.0833
14 | 2564527.7793 | 1126906.3194
15 | 2564613.0028 | 1126889.2961
16 | 2564596.0508 | 1126921.3148
17 | 2564651.0094 | 1126888.7289
18 | 2564583.8858 | 1126923.9344
19 | 2564669.0679 | 1126853.4257
20 | 2564715.7174 | 1126793.5983
21 | 2564666.957 | 1126884.724
22 | 2564661.8012 | 1126891.2865
23 | 2564568.974 | 1126933.5021
24 | 2564571.4319 | 1126936.0668
25 | 2564562.92 | 1126927.2024
26 | 2564555.9714 | 1126919.9717
27 | 2564552.2407 | 1126915.8804
28 | 2564566.4395 | 1126910.0385
29 | 2564544.6947 | 1126914.2684
30 | 2564545.8607 | 1126908.889
31 | 2564575.2963 | 1126938.8092
32 | 2564534.6079 | 1126910.3833
33 | 2564539.0433 | 1126918.8072
34 | 2564541.6459 | 1126904.2702
35 | 2564580.1348 | 1126942.2428
36 | 2564537.6805 | 1126875.474
37 | 2564538.11 | 1126879.0126
38 | 2564537.4343 | 1126873.4461
39 | 2564540.1419 | 1126892.2507
40 | 2564535.7344 | 1126866.119
41 | 2564547.8942 | 1126870.7706
42 | 2564540.9776 | 1126896.7703
43 | 2564526.1045 | 1126899.3369
44 | 2564527.5908 | 1126835.9164
45 | 2564522.5366 | 1126867.9087
46 | 2564551.198 | 1126872.2821
47 | 2564549.7511 | 1126891.8907
48 | 2564520.0871 | 1126813.0843
49 | 2564520.1556 | 1126873.192
50 | 2564528.753 | 1126810.0234
51 | 2564518.5782 | 1126805.9037
52 | 2564633.8769 | 1126996.9866
53 | 2564638.0884 | 1126994.956
54 | 2564619.0435 | 1127016.7835
55 | 2564648.4489 | 1126989.0972
56 | 2564618.6128 | 1127020.8225
57 | 2564603.1846 | 1127004.9706
58 | 2564628.3945 | 1126974.0738
59 | 2564659.3649 | 1127019.968
60 | 2564618.1597 | 1127025.0707
61 | 2564587.2998 | 1127029.4206
62 | 2564571.4946 | 1127003.1335
63 | 2564644.6722 | 1126950.8667
64 | 2564618.3003 | 1126967.4205
65 | 2564658.0716 | 1127026.8709
66 | 2564616.2237 | 1127032.3818
67 | 2564519.7701 | 1126927.0633
68 | 2564672.8539 | 1126931.2584
69 | 2564657.5751 | 1126959.262
70 | 2564617.5312 | 1126966.9136
71 | 2564670.541 | 1127027.0647
72 | 2564631.7406 | 1127072.9127
73 | 2564688.5307 | 1127026.4479
74 | 2564661.2097 | 1127041.4237
75 | 2564621.7889 | 1127090.6714
76 | 2564697.6662 | 1127045.684
77 | 2564715.9211 | 1127024.4088
78 | 2564671.7496 | 1127058.4289
79 | 2564636.3288 | 1127095.7553
80 | 2564608.3493 | 1126960.8617
81 | 2564585.6485 | 1126946.0246
82 | 2564615.0535 | 1127036.8166
83 | 2564601.8223 | 1127067.9294
84 | 2564637.5783 | 1127097.0576
85 | 2564653.8651 | 1127137.4291
86 | 2564756.1262 | 1126760.6991
87 | 2564785.8064 | 1126752.6524
88 | 2564728.9169 | 1126770.805
89 | 2564758.9216 | 1126712.7709
90 | 2564800.5875 | 1126810.7954
91 | 2564733.4205 | 1126788.7994
92 | 2564749.407 | 1126715.6106
93 | 2564757.3623 | 1126665.9702
94 | 2564805.414 | 1126688.4389
95 | 2564748.4427 | 1126820.5604
96 | 2564816.8412 | 1126807.3022
97 | 2564740.4031 | 1126807.0339
98 | 2564804.9568 | 1126686.6851
99 | 2564796.9663 | 1126655.1909
100 | 2564784.1905 | 1126908.7404
101 | 2564544.4921 | 1126728.773
102 | 2564545.6768 | 1126726.6195
103 | 2564539.5317 | 1126738.7214
104 | 2564553.0985 | 1126713.1287
105 | 2564521.0055 | 1126774.689
106 | 2564516.9051 | 1126729.8541
107 | 2564579.7493 | 1126735.817
108 | 2564552.1356 | 1126696.1592
109 | 2564518.4033 | 1126790.1716
110 | 2564498.4256 | 1126728.1356
111 | 2564573.1161 | 1126749.805
112 | 2564538.3863 | 1126687.371
113 | 2564518.235 | 1126796.8349
114 | 2564497.7619 | 1126788.1993
115 | 2564490.676 | 1126787.5223
116 | 2564490.2392 | 1126758.1308
117 | 2564566.8928 | 1126776.6131
118 | 2564527.6097 | 1126683.9024
119 | 2564567.7122 | 1126783.0559
120 | 2564697.4124 | 1126993.3285
121 | 2564730.0593 | 1127044.08
122 | 2564701.0878 | 1127049.5305
123 | 2564666.6583 | 1126886.5721
124 | 2564481.1905 | 1126675.1675
125 | 2564483.0874 | 1126675.3445
126 | 2564498.2145 | 1126677.269
127 | 2564507.6826 | 1126679.2715
128 | 2564568.8791 | 1126541.5843
129 | 2564529.2003 | 1126999.836
130 | 2564461.936 | 1126743.7917
131 | 2564677.8232 | 1127063.2878
132 | 2564553.3412 | 1126889.6521
133 | 2564560.3865 | 1126884.5056
134 | 2564560.5886 | 1126883.4817
135 | 2564560.2752 | 1126882.6165
136 | 2564568.974 | 1126933.5021

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1