## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5409-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5409-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5409-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5409-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5409-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5409-9_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_5409-9_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_5409-9_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_5409-9_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_5409-9_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5409-9_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5409-9_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5409-9_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5409-9_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5409-9_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5409-9_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_5409-9_0_4_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_5409-9_0_4_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_5409-9_0_4_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_5409-9_0_4_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_5409-9_0_4_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_5409-9_0_4_node_98 | 0.4 | n |  | TRUE
22 | bus_LV_5409-9_0_4_node_100 | 0.4 | n |  | TRUE
23 | bus_LV_5409-9_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5409-9_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5409-9_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_5409-9_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_5409-9_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_5409-9_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_5409-9_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5409-9_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5409-9_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_5409-9_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5409-9_0_4_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_5409-9_0_4_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_5409-9_0_4_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_5409-9_0_4_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_5409-9_0_4_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_5409-9_0_4_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_5409-9_0_4_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_5409-9_0_4_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_5409-9_0_4_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_5409-9_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_5409-9_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5409-9_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_5409-9_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_5409-9_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_5409-9_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_5409-9_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_5409-9_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_5409-9_0_4_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_5409-9_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_5409-9_0_4_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_5409-9_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_5409-9_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_5409-9_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_5409-9_0_4_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_5409-9_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_5409-9_0_4_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_5409-9_0_4_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_5409-9_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_5409-9_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_5409-9_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_5409-9_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_5409-9_0_4_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_5409-9_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_5409-9_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_5409-9_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_5409-9_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_5409-9_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_5409-9_0_4_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_5409-9_0_4_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_5409-9_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_5409-9_0_4_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_5409-9_0_4_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_5409-9_0_4_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_5409-9_0_4_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_5409-9_0_4_node_93 | 0.4 | n |  | TRUE
78 | bus_LV_5409-9_0_4_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_5409-9_0_4_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_5409-9_0_4_node_95 | 0.4 | n |  | TRUE
81 | bus_LV_5409-9_0_4_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_5409-9_0_4_node_59 | 0.4 | n |  | TRUE
83 | bus_LV_5409-9_0_4_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_5409-9_0_4_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_5409-9_0_4_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_5409-9_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_5409-9_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_5409-9_0_4_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_5409-9_0_4_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_5409-9_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_5409-9_0_4_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_5409-9_0_4_node_99 | 0.4 | n |  | TRUE
93 | bus_LV_5409-9_0_4_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_5409-9_0_4_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_5409-9_0_4_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_5409-9_0_4_node_104 | 0.4 | n |  | TRUE
97 | bus_LV_5409-9_0_4_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_5409-9_0_4_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_5409-9_0_4_node_105 | 0.4 | n |  | TRUE
100 | bus_LV_5409-9_0_4_node_106 | 0.4 | n |  | TRUE
101 | bus_LV_5409-9_0_4_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_5409-9_0_4_node_97 | 0.4 | n |  | TRUE
103 | bus_LV_5409-9_0_4_node_101 | 0.4 | n |  | TRUE
104 | bus_LV_5409-9_0_4_node_107 | 0.4 | n |  | TRUE
105 | bus_MV_191_0_node_153 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5409-9_0_4_load_0 | 0 | 0.0070394 | 0.0017642 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5409-9_0_4_load_2 | 2 | 0.0041359 | 0.0010366 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5409-9_0_4_load_3 | 3 | 0.0020484 | 0.00051337 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5409-9_0_4_load_4 | 4 | 0.0014623 | 0.00036648 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5409-9_0_4_load_16 | 6 | 0.0017523 | 0.00043917 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5409-9_0_4_load_13 | 7 | 0.0016016 | 0.0004014 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5409-9_0_4_load_10 | 8 | 0.0031727 | 0.00079515 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5409-9_0_4_load_6 | 9 | 0.004106 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5409-9_0_4_load_7 | 10 | 0.0011299 | 0.00028318 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5409-9_0_4_load_9 | 12 | 0.0016086 | 0.00040315 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5409-9_0_4_load_11 | 13 | 0.0024895 | 0.00062393 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5409-9_0_4_load_12 | 14 | 0.0010522 | 0.00026371 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5409-9_0_4_load_14 | 15 | 0.0057949 | 0.0014523 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5409-9_0_4_load_52 | 16 | 0.00076183 | 0.00019093 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5409-9_0_4_load_49 | 18 | 0.00076996 | 0.00019297 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5409-9_0_4_load_98 | 21 | 0.0044652 | 0.0011191 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5409-9_0_4_load_100 | 22 | 0.0019461 | 0.00048773 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5409-9_0_4_load_17 | 23 | 0.0020642 | 0.00051734 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5409-9_0_4_load_18 | 24 | 0.0022691 | 0.00056868 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5409-9_0_4_load_19 | 25 | 0.0025953 | 0.00065044 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5409-9_0_4_load_21 | 27 | 0.0058402 | 0.0014637 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5409-9_0_4_load_22 | 28 | 0.0064852 | 0.0016253 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5409-9_0_4_load_23 | 29 | 0.0023236 | 0.00058236 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5409-9_0_4_load_24 | 30 | 0.0021246 | 0.00053247 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5409-9_0_4_load_25 | 31 | 0.0015755 | 0.00039487 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5409-9_0_4_load_63 | 33 | 0.0019405 | 0.00048635 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5409-9_0_4_load_67 | 36 | 0.0018859 | 0.00047265 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5409-9_0_4_load_64 | 37 | 0.0086943 | 0.002179 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5409-9_0_4_load_87 | 38 | 0.0013771 | 0.00034512 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5409-9_0_4_load_84 | 39 | 0.0011337 | 0.00028414 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5409-9_0_4_load_69 | 40 | 0.0018946 | 0.00047484 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5409-9_0_4_load_70 | 41 | 0.0025585 | 0.00064122 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5409-9_0_4_load_27 | 42 | 0.0017423 | 0.00043666 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5409-9_0_4_load_28 | 43 | 0.0030064 | 0.00075349 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5409-9_0_4_load_32 | 47 | 0.0094877 | 0.0023778 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5409-9_0_4_load_57 | 48 | 0.0030797 | 0.00077184 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5409-9_0_4_load_55 | 49 | 0.0074613 | 0.00187 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5409-9_0_4_load_60 | 50 | 0.0050255 | 0.0012595 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5409-9_0_4_load_33 | 52 | 0.0028935 | 0.00072517 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5409-9_0_4_load_34 | 53 | 0.0032897 | 0.00082448 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5409-9_0_4_load_36 | 55 | 0.0031598 | 0.00079193 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5409-9_0_4_load_37 | 56 | 0.0024632 | 0.00061734 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5409-9_0_4_load_38 | 57 | 0.0016999 | 0.00042605 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5409-9_0_4_load_74 | 59 | 0.0012012 | 0.00030105 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5409-9_0_4_load_46 | 60 | 0.0031653 | 0.00079331 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5409-9_0_4_load_39 | 61 | 0.0014497 | 0.00036333 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5409-9_0_4_load_40 | 62 | 0.0025849 | 0.00064783 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5409-9_0_4_load_41 | 63 | 0.0015848 | 0.0003972 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5409-9_0_4_load_42 | 64 | 0.00090856 | 0.00022771 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5409-9_0_4_load_51 | 68 | 0.003201 | 0.00080224 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5409-9_0_4_load_47 | 69 | 0.0014777 | 0.00037035 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5409-9_0_4_load_76 | 70 | 0.0017596 | 0.00044101 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5409-9_0_4_load_77 | 71 | 0.0022765 | 0.00057054 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5409-9_0_4_load_54 | 72 | 0.0044937 | 0.0011262 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5409-9_0_4_load_83 | 74 | 0.003576 | 0.00089622 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5409-9_0_4_load_81 | 75 | 0.0021733 | 0.00054469 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5409-9_0_4_load_50 | 76 | 0.0039219 | 0.00098293 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5409-9_0_4_load_93 | 77 | 0.0046478 | 0.0011649 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5409-9_0_4_load_82 | 78 | 0.0028186 | 0.0007064 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5409-9_0_4_load_94 | 79 | 0.0010871 | 0.00027245 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5409-9_0_4_load_95 | 80 | 0.0033885 | 0.00084924 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5409-9_0_4_load_58 | 81 | 0.0010697 | 0.00026809 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5409-9_0_4_load_59 | 82 | 0.003339 | 0.00083683 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5409-9_0_4_load_61 | 83 | 0.0023158 | 0.0005804 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5409-9_0_4_load_62 | 84 | 0.0011152 | 0.00027948 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5409-9_0_4_load_72 | 85 | 0.0028728 | 0.00071998 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5409-9_0_4_load_78 | 86 | 0.002177 | 0.00054561 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5409-9_0_4_load_79 | 87 | 0.0026755 | 0.00067055 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5409-9_0_4_load_68 | 88 | 0.0026245 | 0.00065776 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5409-9_0_4_load_88 | 91 | 0.0021134 | 0.00052968 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5409-9_0_4_load_99 | 92 | 0.0013679 | 0.00034283 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5409-9_0_4_load_75 | 93 | 0.0018179 | 0.00045561 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5409-9_0_4_load_80 | 94 | 0.0023421 | 0.00058698 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5409-9_0_4_load_89 | 95 | 0.0024719 | 0.00061952 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5409-9_0_4_load_102 | 97 | 0.0026167 | 0.00065579 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5409-9_0_4_load_92 | 98 | 0.0031403 | 0.00078703 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5409-9_0_4_load_96 | 101 | 0.0026136 | 0.00065503 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5409-9_0_4_load_97 | 102 | 0.0011886 | 0.00029789 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5409-9_0_4_load_101 | 103 | 0.0023189 | 0.00058117 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5409-9_0_4_load_107 | 104 | 0.0016056 | 0.00040239 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5409-9_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5409-9_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.025197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5409-9_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5409-9_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5409-9_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0059144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5409-9_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.012502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5409-9_0_4_line_6 | NAYY 4x150 SE | 6 | 20 | 0.0016223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5409-9_0_4_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0065872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5409-9_0_4_line_8 | NAYY 4x150 SE | 8 | 11 | 0.022204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5409-9_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.023203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5409-9_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.011082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5409-9_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0048633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5409-9_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.01752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5409-9_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0053436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5409-9_0_4_line_14 | NAYY 4x150 SE | 13 | 15 | 0.018138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5409-9_0_4_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0096657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5409-9_0_4_line_16 | NAYY 4x150 SE | 15 | 17 | 0.024582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5409-9_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0047141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5409-9_0_4_line_18 | NAYY 4x150 SE | 17 | 19 | 0.008472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5409-9_0_4_line_19 | NAYY 4x150 SE | 18 | 73 | 0.012873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5409-9_0_4_line_20 | NAYY 4x150 SE | 19 | 88 | 0.017631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5409-9_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0061344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5409-9_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.014805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5409-9_0_4_line_23 | NAYY 4x150 SE | 21 | 79 | 0.008534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5409-9_0_4_line_24 | NAYY 4x150 SE | 22 | 92 | 0.00059465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5409-9_0_4_line_25 | NAYY 4x150 SE | 23 | 24 | 0.002363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5409-9_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.010541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5409-9_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.0098192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5409-9_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.017489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5409-9_0_4_line_29 | NAYY 4x150 SE | 25 | 28 | 0.013695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5409-9_0_4_line_30 | NAYY 4x150 SE | 26 | 29 | 0.01629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5409-9_0_4_line_31 | NAYY 4x150 SE | 26 | 30 | 0.012899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5409-9_0_4_line_32 | NAYY 4x150 SE | 27 | 31 | 0.015637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5409-9_0_4_line_33 | NAYY 4x150 SE | 28 | 32 | 0.023046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5409-9_0_4_line_34 | NAYY 4x150 SE | 29 | 33 | 0.002641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5409-9_0_4_line_35 | NAYY 4x150 SE | 31 | 34 | 0.0024446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5409-9_0_4_line_36 | NAYY 4x150 SE | 32 | 35 | 0.005802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5409-9_0_4_line_37 | NAYY 4x150 SE | 32 | 36 | 0.015316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5409-9_0_4_line_38 | NAYY 4x150 SE | 32 | 37 | 0.018267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5409-9_0_4_line_39 | NAYY 4x150 SE | 34 | 38 | 0.0031729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5409-9_0_4_line_40 | NAYY 4x150 SE | 34 | 39 | 0.0040912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5409-9_0_4_line_41 | NAYY 4x150 SE | 35 | 40 | 0.0058388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5409-9_0_4_line_42 | NAYY 4x150 SE | 36 | 41 | 0.0081063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5409-9_0_4_line_43 | NAYY 4x150 SE | 38 | 95 | 0.013781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5409-9_0_4_line_44 | NAYY 4x150 SE | 40 | 78 | 0.0079154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5409-9_0_4_line_45 | NAYY 4x150 SE | 41 | 89 | 0.0086808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5409-9_0_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.0081363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5409-9_0_4_line_47 | NAYY 4x150 SE | 42 | 44 | 0.0091985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5409-9_0_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.022009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5409-9_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.006483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5409-9_0_4_line_50 | NAYY 4x150 SE | 45 | 47 | 0.030616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5409-9_0_4_line_51 | NAYY 4x150 SE | 46 | 48 | 0.012276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5409-9_0_4_line_52 | NAYY 4x150 SE | 46 | 49 | 0.0090169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5409-9_0_4_line_53 | NAYY 4x150 SE | 48 | 50 | 0.010484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5409-9_0_4_line_54 | NAYY 4x150 SE | 49 | 51 | 0.0035185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5409-9_0_4_line_55 | NAYY 4x150 SE | 51 | 81 | 0.0094555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5409-9_0_4_line_56 | NAYY 4x150 SE | 51 | 82 | 0.03202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5409-9_0_4_line_57 | NAYY 4x150 SE | 52 | 53 | 0.051327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5409-9_0_4_line_58 | NAYY 4x150 SE | 52 | 54 | 0.02895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5409-9_0_4_line_59 | NAYY 4x150 SE | 53 | 55 | 0.0026017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5409-9_0_4_line_60 | NAYY 4x150 SE | 54 | 56 | 0.03181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5409-9_0_4_line_61 | NAYY 4x150 SE | 55 | 57 | 0.0073712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5409-9_0_4_line_62 | NAYY 4x150 SE | 57 | 58 | 0.0099663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5409-9_0_4_line_63 | NAYY 4x150 SE | 58 | 59 | 0.0087778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5409-9_0_4_line_64 | NAYY 4x150 SE | 58 | 60 | 0.01083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5409-9_0_4_line_65 | NAYY 4x150 SE | 59 | 93 | 0.0026381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5409-9_0_4_line_66 | NAYY 4x150 SE | 60 | 65 | 0.011557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5409-9_0_4_line_67 | NAYY 4x150 SE | 61 | 62 | 0.0022537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_5409-9_0_4_line_68 | NAYY 4x150 SE | 61 | 63 | 0.0072878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_5409-9_0_4_line_69 | NAYY 4x150 SE | 62 | 64 | 0.0012363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_5409-9_0_4_line_70 | NAYY 4x150 SE | 63 | 65 | 0.0086436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_5409-9_0_4_line_71 | NAYY 4x150 SE | 64 | 66 | 0.021199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_5409-9_0_4_line_72 | NAYY 4x150 SE | 65 | 67 | 0.011923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5409-9_0_4_line_73 | NAYY 4x150 SE | 66 | 68 | 0.011536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5409-9_0_4_line_74 | NAYY 4x150 SE | 66 | 69 | 0.016705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5409-9_0_4_line_75 | NAYY 4x150 SE | 67 | 70 | 0.031944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5409-9_0_4_line_76 | NAYY 4x150 SE | 67 | 71 | 0.0092763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5409-9_0_4_line_77 | NAYY 4x150 SE | 68 | 72 | 0.0047429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5409-9_0_4_line_78 | NAYY 4x150 SE | 69 | 73 | 0.006554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5409-9_0_4_line_79 | NAYY 4x150 SE | 70 | 74 | 0.0020998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5409-9_0_4_line_80 | NAYY 4x150 SE | 71 | 75 | 0.015283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5409-9_0_4_line_81 | NAYY 4x150 SE | 72 | 77 | 0.0043825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5409-9_0_4_line_82 | NAYY 4x150 SE | 73 | 76 | 0.022738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5409-9_0_4_line_83 | NAYY 4x150 SE | 75 | 78 | 0.0016752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5409-9_0_4_line_84 | NAYY 4x150 SE | 77 | 79 | 0.026142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5409-9_0_4_line_85 | NAYY 4x150 SE | 77 | 80 | 0.0094554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5409-9_0_4_line_86 | NAYY 4x150 SE | 80 | 101 | 0.020283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5409-9_0_4_line_87 | NAYY 4x150 SE | 81 | 83 | 0.016492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5409-9_0_4_line_88 | NAYY 4x150 SE | 82 | 84 | 0.0087354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5409-9_0_4_line_89 | NAYY 4x150 SE | 83 | 85 | 0.0051554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5409-9_0_4_line_90 | NAYY 4x150 SE | 84 | 86 | 0.0096033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5409-9_0_4_line_91 | NAYY 4x150 SE | 86 | 87 | 0.00087619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5409-9_0_4_line_92 | NAYY 4x150 SE | 87 | 94 | 0.004223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5409-9_0_4_line_93 | NAYY 4x150 SE | 89 | 90 | 0.005626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5409-9_0_4_line_94 | NAYY 4x150 SE | 89 | 91 | 0.018748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5409-9_0_4_line_95 | NAYY 4x150 SE | 90 | 98 | 0.011686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5409-9_0_4_line_96 | NAYY 4x150 SE | 93 | 94 | 0.0083315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5409-9_0_4_line_97 | NAYY 4x150 SE | 95 | 96 | 0.0042049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5409-9_0_4_line_98 | NAYY 4x150 SE | 96 | 97 | 0.008243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5409-9_0_4_line_99 | NAYY 4x150 SE | 97 | 103 | 0.011895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5409-9_0_4_line_100 | NAYY 4x150 SE | 98 | 99 | 0.053525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5409-9_0_4_line_101 | NAYY 4x150 SE | 99 | 100 | 0.033855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5409-9_0_4_line_102 | NAYY 4x150 SE | 100 | 104 | 0.011588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5409-9_0_4_line_103 | NAYY 4x150 SE | 101 | 102 | 0.00046048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5409-9_0_4_trafo_44 | 0.25 MVA 20/0.4 kV | 105 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2566013.5573 | 1127246.4802 | 2566015.5871 | 1127242.9448 | 2566016.7632 | 1127236.9685 | 2566017.254 | 1127222.8809 | 2566018.3969 | 1127217.4848
1 | 2566013.5573 | 1127246.4802 | 2566007.46 | 1127250.2053 | 2565989.8522 | 1127254.1838
2 | 2566013.5573 | 1127246.4802 | 2566020.24 | 1127250.9226 | 2566025.6206 | 1127262.2313 | 2566030.2111 | 1127270.2665
3 | 2565974.4314 | 1127256.4846 | 2565989.244 | 1127254.3212 | 2565989.8522 | 1127254.1838
4 | 2565968.5791 | 1127257.3393 | 2565974.4314 | 1127256.4846
5 | 2565968.5791 | 1127257.3393 | 2565956.3299 | 1127259.8389
6 | 2565954.7404 | 1127260.1633 | 2565956.3299 | 1127259.8389
7 | 2565987.5564 | 1127302.6747 | 2565983.7656 | 1127302.1651 | 2565981.1679 | 1127303.1042
8 | 2565961.178 | 1127312.62 | 2565973.2382 | 1127305.9708 | 2565981.1679 | 1127303.1042
9 | 2565956.138 | 1127306.2121 | 2565945.9821 | 1127309.7932 | 2565939.5242 | 1127312.4088 | 2565934.0589 | 1127312.2648
10 | 2565961.178 | 1127312.62 | 2565959.2785 | 1127305.1047 | 2565956.138 | 1127306.2121
11 | 2565929.1973 | 1127312.1368 | 2565934.0589 | 1127312.2648
12 | 2565961.178 | 1127312.62 | 2565961.0402 | 1127314.1437 | 2565964.2766 | 1127319.6282 | 2565965.9606 | 1127327.1892 | 2565966.4751 | 1127328.9927
13 | 2565929.1973 | 1127312.1368 | 2565928.0566 | 1127312.1067 | 2565924.1269 | 1127310.6174
14 | 2565966.4751 | 1127328.9927 | 2565966.6445 | 1127329.5865 | 2565966.5475 | 1127331.5103 | 2565963.2141 | 1127332.0627 | 2565960.4062 | 1127331.5116 | 2565951.0766 | 1127332.1894
15 | 2565915.0885 | 1127307.1919 | 2565924.1269 | 1127310.6174
16 | 2565927.7122 | 1127337.0546 | 2565930.471 | 1127334.3821 | 2565934.0654 | 1127333.6614 | 2565950.6165 | 1127332.2228 | 2565951.0766 | 1127332.1894
17 | 2565910.6803 | 1127305.5213 | 2565915.0885 | 1127307.1919
18 | 2565927.7122 | 1127337.0546 | 2565934.5063 | 1127342.141
19 | 2565898.0874 | 1127306.251 | 2565908.4038 | 1127304.6585 | 2565910.6803 | 1127305.5213
20 | 2565920.419 | 1127352.7592 | 2565931.1637 | 1127345.1391 | 2565934.5063 | 1127342.141
21 | 2565954.7404 | 1127260.1633 | 2565948.7292 | 1127261.3867
22 | 2565954.7404 | 1127260.1633 | 2565956.2011 | 1127269.1151 | 2565958.3824 | 1127274.4188
23 | 2565940.7997 | 1127264.5414 | 2565948.7292 | 1127261.3867 | 2565948.7292 | 1127261.3867
24 | 2565958.6086 | 1127274.9687 | 2565958.3824 | 1127274.4188
25 | 2565886.8695 | 1127366.4224 | 2565884.6574 | 1127367.2533
26 | 2565874.7899 | 1127370.9597 | 2565884.6574 | 1127367.2533
27 | 2565896.1859 | 1127366.5031 | 2565894.6843 | 1127365.2999 | 2565886.8695 | 1127366.4224
28 | 2565874.7899 | 1127370.9597 | 2565879.3454 | 1127380.7611 | 2565881.2207 | 1127387.173
29 | 2565874.7899 | 1127370.9597 | 2565872.5669 | 1127366.1921 | 2565869.1601 | 1127358.4765
30 | 2565896.1859 | 1127366.5031 | 2565898.55 | 1127363.5105 | 2565899.4752 | 1127359.5143 | 2565899.7713 | 1127351.9199 | 2565899.8595 | 1127351.1509
31 | 2565904.9316 | 1127374.6578 | 2565902.8962 | 1127374.4692 | 2565900.7111 | 1127373.67 | 2565899.1377 | 1127372.0448 | 2565897.5551 | 1127368.8076 | 2565896.1859 | 1127366.5031
32 | 2565881.2207 | 1127387.173 | 2565883.6042 | 1127395.3221 | 2565884.2235 | 1127399.9209 | 2565884.3313 | 1127402.4243
33 | 2565859.8515 | 1127337.394 | 2565869.1601 | 1127358.4765
34 | 2565900.1605 | 1127348.5272 | 2565899.8595 | 1127351.1509
35 | 2565884.4364 | 1127404.8666 | 2565884.3313 | 1127402.4243
36 | 2565859.8515 | 1127337.394 | 2565858.9487 | 1127334.4532 | 2565858.6714 | 1127331.7423
37 | 2565859.8515 | 1127337.394 | 2565846.5632 | 1127345.0105
38 | 2565859.8515 | 1127337.394 | 2565867.151 | 1127333.7175 | 2565875.9967 | 1127328.8556
39 | 2565884.4364 | 1127404.8666 | 2565885.6541 | 1127407.7966
40 | 2565884.4364 | 1127404.8666 | 2565880.6426 | 1127406.3979
41 | 2565858.6714 | 1127331.7423 | 2565858.646 | 1127329.9749 | 2565858.5789 | 1127325.9042
42 | 2565846.5632 | 1127345.0105 | 2565839.5302 | 1127349.0416
43 | 2565893.8001 | 1127418.51 | 2565887.8658 | 1127413.118 | 2565885.6541 | 1127407.7966
44 | 2565858.4 | 1127317.9909 | 2565858.5286 | 1127322.8498 | 2565858.5789 | 1127325.9042
45 | 2565831.431 | 1127351.8956 | 2565834.0485 | 1127351.4806 | 2565836.9327 | 1127350.5304 | 2565839.5302 | 1127349.0416
46 | 2565930.0025 | 1127147.7985 | 2565929.6844 | 1127150.205 | 2565928.3318 | 1127155.7512
47 | 2565926.1523 | 1127164.6878 | 2565928.3318 | 1127155.7512
48 | 2565926.1523 | 1127164.6878 | 2565923.6632 | 1127175.574 | 2565920.6398 | 1127185.9852
49 | 2565918.3933 | 1127192.0677 | 2565920.6398 | 1127185.9852
50 | 2565951.3295 | 1127186.9791 | 2565920.6398 | 1127185.9852
51 | 2565918.3933 | 1127192.0677 | 2565917.481 | 1127191.5392 | 2565906.9891 | 1127187.5582
52 | 2565918.3933 | 1127192.0677 | 2565915.8661 | 1127198.9409 | 2565915.234 | 1127200.5123
53 | 2565897.1868 | 1127183.8389 | 2565906.9891 | 1127187.5582
54 | 2565913.9208 | 1127203.7766 | 2565915.234 | 1127200.5123
55 | 2565913.9208 | 1127203.7766 | 2565910.3571 | 1127203.1186 | 2565904.6453 | 1127201.9428
56 | 2565913.9208 | 1127203.7766 | 2565913.4421 | 1127204.9688 | 2565910.0878 | 1127211.3687 | 2565902.5169 | 1127221.5833 | 2565895.7134 | 1127229.9652
57 | 2565830.8631 | 1127196.9462 | 2565831.8101 | 1127198.5497 | 2565836.1856 | 1127217.3455 | 2565837.4403 | 1127222.5521 | 2565839.5017 | 1127227.3317 | 2565844.6699 | 1127235.0952 | 2565849.2268 | 1127241.028 | 2565850.9871 | 1127243.2031
58 | 2565813.3929 | 1127173.9861 | 2565818.7424 | 1127179.7365 | 2565823.8243 | 1127185.833 | 2565827.9822 | 1127192.0681 | 2565830.8631 | 1127196.9462
59 | 2565850.9871 | 1127243.2031 | 2565852.6239 | 1127245.2255
60 | 2565813.3929 | 1127173.9861 | 2565826.459 | 1127168.0536 | 2565842.0095 | 1127159.9503
61 | 2565857.392 | 1127250.8445 | 2565854.8062 | 1127247.9221 | 2565852.6239 | 1127245.2255
62 | 2565863.9962 | 1127258.3086 | 2565857.392 | 1127250.8445
63 | 2565863.9962 | 1127258.3086 | 2565866.6071 | 1127254.0028 | 2565868.8243 | 1127250.9882
64 | 2565863.9962 | 1127258.3086 | 2565862.4633 | 1127262.486 | 2565860.2734 | 1127268.4784
65 | 2565870.611 | 1127249.0535 | 2565869.1688 | 1127250.5198 | 2565868.8243 | 1127250.9882
66 | 2565858.2928 | 1127279.8628 | 2565860.2324 | 1127268.5906 | 2565860.2734 | 1127268.4784
67 | 2565874.219 | 1127280.2695 | 2565876.472 | 1127280.327
68 | 2565874.219 | 1127280.2695 | 2565866.9336 | 1127280.0835
69 | 2565877.7079 | 1127280.3586 | 2565876.472 | 1127280.327
70 | 2565858.2928 | 1127279.8628 | 2565866.9336 | 1127280.0835
71 | 2565898.6727 | 1127283.0471 | 2565887.079 | 1127280.8782 | 2565885.3742 | 1127280.5544 | 2565877.7079 | 1127280.3586
72 | 2565857.79 | 1127291.7717 | 2565858.0481 | 1127285.6449 | 2565858.2928 | 1127279.8628
73 | 2565898.6727 | 1127283.0471 | 2565906.0505 | 1127282.305 | 2565910.0008 | 1127281.1312
74 | 2565898.6727 | 1127283.0471 | 2565898.3336 | 1127293.9211 | 2565898.5894 | 1127299.7409
75 | 2565857.79 | 1127291.7717 | 2565846.1375 | 1127292.8382 | 2565838.469 | 1127295.3051 | 2565837.2676 | 1127298.1355 | 2565838.1158 | 1127305.0453 | 2565840.2635 | 1127304.9319
76 | 2565857.79 | 1127291.7717 | 2565857.744 | 1127301.0478
77 | 2565910.0008 | 1127281.1312 | 2565914.5473 | 1127279.7802
78 | 2565898.0874 | 1127306.251 | 2565898.6873 | 1127301.9676 | 2565898.5894 | 1127299.7409
79 | 2565842.3603 | 1127304.8211 | 2565840.2635 | 1127304.9319
80 | 2565857.744 | 1127301.0478 | 2565857.736 | 1127302.6441 | 2565858.2639 | 1127312.8462 | 2565858.3557 | 1127316.3164
81 | 2565918.5012 | 1127277.9436 | 2565915.9279 | 1127279.3699 | 2565914.5473 | 1127279.7802
82 | 2565898.0874 | 1127306.251 | 2565893.8879 | 1127310.3434 | 2565889.2604 | 1127313.6935 | 2565879.4417 | 1127319.0006
83 | 2565858.4 | 1127317.9909 | 2565858.3557 | 1127316.3164
84 | 2565918.5012 | 1127277.9436 | 2565924.3008 | 1127274.7425 | 2565935.6052 | 1127266.6079 | 2565940.7997 | 1127264.5414
85 | 2565918.5012 | 1127277.9436 | 2565921.5082 | 1127285.0746 | 2565923.1068 | 1127285.6992 | 2565923.1068 | 1127285.6992
86 | 2565923.1068 | 1127285.6992 | 2565924.3611 | 1127285.4031 | 2565926.1307 | 1127284.9373 | 2565927.9036 | 1127285.0384 | 2565929.228 | 1127286.2316 | 2565930.3228 | 1127289.0712 | 2565930.9049 | 1127291.169 | 2565931.427 | 1127292.1999 | 2565933.0316 | 1127292.5243 | 2565935.0886 | 1127292.4571 | 2565938.5688 | 1127291.8375
87 | 2565904.6453 | 1127201.9428 | 2565901.1072 | 1127201.2144 | 2565895.3219 | 1127201.525 | 2565892.0689 | 1127202.6662 | 2565889.7499 | 1127205.4696
88 | 2565889.3534 | 1127235.8791 | 2565890.6111 | 1127235.1019 | 2565894.2677 | 1127231.7462 | 2565895.7134 | 1127229.9652
89 | 2565889.1239 | 1127210.5869 | 2565889.7499 | 1127205.4696
90 | 2565889.3534 | 1127235.8791 | 2565886.1267 | 1127237.8731 | 2565881.1161 | 1127240.8144
91 | 2565881.1161 | 1127240.8144 | 2565880.3604 | 1127241.2579
92 | 2565880.3604 | 1127241.2579 | 2565876.7185 | 1127243.3958
93 | 2565825.8111 | 1127351.4383 | 2565828.6717 | 1127351.7778 | 2565831.431 | 1127351.8956
94 | 2565831.431 | 1127351.8956 | 2565833.2647 | 1127364.0914 | 2565836.813 | 1127369.4363
95 | 2565825.8111 | 1127351.4383 | 2565821.8988 | 1127350.4489 | 2565819.2811 | 1127349.4743 | 2565816.5614 | 1127348.178 | 2565815.0061 | 1127347.1874
96 | 2565870.611 | 1127249.0535 | 2565872.9842 | 1127246.6407 | 2565876.7185 | 1127243.3958 | 2565876.7185 | 1127243.3958
97 | 2565896.9123 | 1127421.3377 | 2565893.8001 | 1127418.51
98 | 2565896.9123 | 1127421.3377 | 2565904.1239 | 1127425.33
99 | 2565914.9588 | 1127429.6413 | 2565911.4826 | 1127429.4038 | 2565904.1239 | 1127425.33
100 | 2565764.7288 | 1127332.3085 | 2565770.2613 | 1127332.3104 | 2565777.8222 | 1127332.6121 | 2565784.577 | 1127333.452 | 2565790.9809 | 1127334.9164 | 2565802.683 | 1127339.8858 | 2565807.5133 | 1127342.4153 | 2565815.0061 | 1127347.1874
101 | 2565764.7288 | 1127332.3085 | 2565765.1599 | 1127326.8255 | 2565766.2632 | 1127324.3513 | 2565767.4288 | 1127323.3553 | 2565770.0479 | 1127321.8619 | 2565776.3533 | 1127318.1909 | 2565779.2501 | 1127315.3842 | 2565785.2552 | 1127307.6796
102 | 2565785.2552 | 1127307.6796 | 2565794.3272 | 1127314.9207
103 | 2565939.0222 | 1127291.7568 | 2565938.5688 | 1127291.8375

## bus_geodata
| x | y | coords
0 | 2566018.3969 | 1127217.4848
1 | 2566013.5573 | 1127246.4802
2 | 2565989.8522 | 1127254.1838
3 | 2566030.2111 | 1127270.2665
4 | 2565974.4314 | 1127256.4846
5 | 2565968.5791 | 1127257.3393
6 | 2565956.3299 | 1127259.8389
7 | 2565987.5564 | 1127302.6747
8 | 2565981.1679 | 1127303.1042
9 | 2565956.138 | 1127306.2121
10 | 2565934.0589 | 1127312.2648
11 | 2565961.178 | 1127312.62
12 | 2565929.1973 | 1127312.1368
13 | 2565966.4751 | 1127328.9927
14 | 2565924.1269 | 1127310.6174
15 | 2565951.0766 | 1127332.1894
16 | 2565915.0885 | 1127307.1919
17 | 2565927.7122 | 1127337.0546
18 | 2565910.6803 | 1127305.5213
19 | 2565934.5063 | 1127342.141
20 | 2565954.7404 | 1127260.1633
21 | 2565948.7292 | 1127261.3867
22 | 2565958.3824 | 1127274.4188
23 | 2565884.6574 | 1127367.2533
24 | 2565886.8695 | 1127366.4224
25 | 2565874.7899 | 1127370.9597
26 | 2565896.1859 | 1127366.5031
27 | 2565881.2207 | 1127387.173
28 | 2565869.1601 | 1127358.4765
29 | 2565899.8595 | 1127351.1509
30 | 2565904.9316 | 1127374.6578
31 | 2565884.3313 | 1127402.4243
32 | 2565859.8515 | 1127337.394
33 | 2565900.1605 | 1127348.5272
34 | 2565884.4364 | 1127404.8666
35 | 2565858.6714 | 1127331.7423
36 | 2565846.5632 | 1127345.0105
37 | 2565875.9967 | 1127328.8556
38 | 2565885.6541 | 1127407.7966
39 | 2565880.6426 | 1127406.3979
40 | 2565858.5789 | 1127325.9042
41 | 2565839.5302 | 1127349.0416
42 | 2565928.3318 | 1127155.7512
43 | 2565930.0025 | 1127147.7985
44 | 2565926.1523 | 1127164.6878
45 | 2565920.6398 | 1127185.9852
46 | 2565918.3933 | 1127192.0677
47 | 2565951.3295 | 1127186.9791
48 | 2565906.9891 | 1127187.5582
49 | 2565915.234 | 1127200.5123
50 | 2565897.1868 | 1127183.8389
51 | 2565913.9208 | 1127203.7766
52 | 2565830.8631 | 1127196.9462
53 | 2565850.9871 | 1127243.2031
54 | 2565813.3929 | 1127173.9861
55 | 2565852.6239 | 1127245.2255
56 | 2565842.0095 | 1127159.9503
57 | 2565857.392 | 1127250.8445
58 | 2565863.9962 | 1127258.3086
59 | 2565868.8243 | 1127250.9882
60 | 2565860.2734 | 1127268.4784
61 | 2565874.219 | 1127280.2695
62 | 2565876.472 | 1127280.327
63 | 2565866.9336 | 1127280.0835
64 | 2565877.7079 | 1127280.3586
65 | 2565858.2928 | 1127279.8628
66 | 2565898.6727 | 1127283.0471
67 | 2565857.79 | 1127291.7717
68 | 2565910.0008 | 1127281.1312
69 | 2565898.5894 | 1127299.7409
70 | 2565840.2635 | 1127304.9319
71 | 2565857.744 | 1127301.0478
72 | 2565914.5473 | 1127279.7802
73 | 2565898.0874 | 1127306.251
74 | 2565842.3603 | 1127304.8211
75 | 2565858.3557 | 1127316.3164
76 | 2565879.4417 | 1127319.0006
77 | 2565918.5012 | 1127277.9436
78 | 2565858.4 | 1127317.9909
79 | 2565940.7997 | 1127264.5414
80 | 2565923.1068 | 1127285.6992
81 | 2565904.6453 | 1127201.9428
82 | 2565895.7134 | 1127229.9652
83 | 2565889.7499 | 1127205.4696
84 | 2565889.3534 | 1127235.8791
85 | 2565889.1239 | 1127210.5869
86 | 2565881.1161 | 1127240.8144
87 | 2565880.3604 | 1127241.2579
88 | 2565920.419 | 1127352.7592
89 | 2565831.431 | 1127351.8956
90 | 2565825.8111 | 1127351.4383
91 | 2565836.813 | 1127369.4363
92 | 2565958.6086 | 1127274.9687
93 | 2565870.611 | 1127249.0535
94 | 2565876.7185 | 1127243.3958
95 | 2565893.8001 | 1127418.51
96 | 2565896.9123 | 1127421.3377
97 | 2565904.1239 | 1127425.33
98 | 2565815.0061 | 1127347.1874
99 | 2565764.7288 | 1127332.3085
100 | 2565785.2552 | 1127307.6796
101 | 2565938.5688 | 1127291.8375
102 | 2565939.0222 | 1127291.7568
103 | 2565914.9588 | 1127429.6413
104 | 2565794.3272 | 1127314.9207
105 | 2565918.5012 | 1127277.9436

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1