## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5410-1_2_3_node_14 | 0.4 | n |  | TRUE
1 | bus_LV_5410-1_2_3_node_15 | 0.4 | n |  | TRUE
2 | bus_LV_5410-1_2_3_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_5410-1_2_3_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_5410-1_2_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_5410-1_2_3_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_5410-1_2_3_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_5410-1_2_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_5410-1_2_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_5410-1_2_3_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_5410-1_2_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_5410-1_2_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_5410-1_2_3_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_5410-1_2_3_node_329 | 0.4 | n |  | TRUE
14 | bus_LV_5410-1_2_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_5410-1_2_3_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_5410-1_2_3_node_328 | 0.4 | n |  | TRUE
17 | bus_LV_5410-1_2_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_5410-1_2_3_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_5410-1_2_3_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_5410-1_2_3_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_5410-1_2_3_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_5410-1_2_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_5410-1_2_3_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_5410-1_2_3_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_5410-1_2_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_5410-1_2_3_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_5410-1_2_3_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_5410-1_2_3_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_5410-1_2_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_5410-1_2_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_5410-1_2_3_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_5410-1_2_3_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_5410-1_2_3_node_88 | 0.4 | n |  | TRUE
34 | bus_LV_5410-1_2_3_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_5410-1_2_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_5410-1_2_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_5410-1_2_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_5410-1_2_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_5410-1_2_3_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_5410-1_2_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_5410-1_2_3_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_5410-1_2_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_5410-1_2_3_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_5410-1_2_3_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_5410-1_2_3_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_5410-1_2_3_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_5410-1_2_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_5410-1_2_3_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_5410-1_2_3_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_5410-1_2_3_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_5410-1_2_3_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_5410-1_2_3_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_5410-1_2_3_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_5410-1_2_3_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_5410-1_2_3_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_5410-1_2_3_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_5410-1_2_3_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_5410-1_2_3_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_5410-1_2_3_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_5410-1_2_3_node_153 | 0.4 | n |  | TRUE
61 | bus_LV_5410-1_2_3_node_146 | 0.4 | n |  | TRUE
62 | bus_LV_5410-1_2_3_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_5410-1_2_3_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_5410-1_2_3_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_5410-1_2_3_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_5410-1_2_3_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_5410-1_2_3_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_5410-1_2_3_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_5410-1_2_3_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_5410-1_2_3_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_5410-1_2_3_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_5410-1_2_3_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_5410-1_2_3_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_5410-1_2_3_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_5410-1_2_3_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_5410-1_2_3_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_5410-1_2_3_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_5410-1_2_3_node_90 | 0.4 | n |  | TRUE
79 | bus_LV_5410-1_2_3_node_89 | 0.4 | n |  | TRUE
80 | bus_LV_5410-1_2_3_node_92 | 0.4 | n |  | TRUE
81 | bus_LV_5410-1_2_3_node_93 | 0.4 | n |  | TRUE
82 | bus_LV_5410-1_2_3_node_103 | 0.4 | n |  | TRUE
83 | bus_LV_5410-1_2_3_node_96 | 0.4 | n |  | TRUE
84 | bus_LV_5410-1_2_3_node_97 | 0.4 | n |  | TRUE
85 | bus_LV_5410-1_2_3_node_98 | 0.4 | n |  | TRUE
86 | bus_LV_5410-1_2_3_node_99 | 0.4 | n |  | TRUE
87 | bus_LV_5410-1_2_3_node_100 | 0.4 | n |  | TRUE
88 | bus_LV_5410-1_2_3_node_101 | 0.4 | n |  | TRUE
89 | bus_LV_5410-1_2_3_node_102 | 0.4 | n |  | TRUE
90 | bus_LV_5410-1_2_3_node_104 | 0.4 | n |  | TRUE
91 | bus_LV_5410-1_2_3_node_105 | 0.4 | n |  | TRUE
92 | bus_LV_5410-1_2_3_node_106 | 0.4 | n |  | TRUE
93 | bus_LV_5410-1_2_3_node_107 | 0.4 | n |  | TRUE
94 | bus_LV_5410-1_2_3_node_112 | 0.4 | n |  | TRUE
95 | bus_LV_5410-1_2_3_node_110 | 0.4 | n |  | TRUE
96 | bus_LV_5410-1_2_3_node_113 | 0.4 | n |  | TRUE
97 | bus_LV_5410-1_2_3_node_108 | 0.4 | n |  | TRUE
98 | bus_LV_5410-1_2_3_node_109 | 0.4 | n |  | TRUE
99 | bus_LV_5410-1_2_3_node_111 | 0.4 | n |  | TRUE
100 | bus_LV_5410-1_2_3_node_114 | 0.4 | n |  | TRUE
101 | bus_LV_5410-1_2_3_node_115 | 0.4 | n |  | TRUE
102 | bus_LV_5410-1_2_3_node_117 | 0.4 | n |  | TRUE
103 | bus_LV_5410-1_2_3_node_116 | 0.4 | n |  | TRUE
104 | bus_LV_5410-1_2_3_node_123 | 0.4 | n |  | TRUE
105 | bus_LV_5410-1_2_3_node_118 | 0.4 | n |  | TRUE
106 | bus_LV_5410-1_2_3_node_119 | 0.4 | n |  | TRUE
107 | bus_LV_5410-1_2_3_node_120 | 0.4 | n |  | TRUE
108 | bus_LV_5410-1_2_3_node_121 | 0.4 | n |  | TRUE
109 | bus_LV_5410-1_2_3_node_122 | 0.4 | n |  | TRUE
110 | bus_LV_5410-1_2_3_node_124 | 0.4 | n |  | TRUE
111 | bus_LV_5410-1_2_3_node_130 | 0.4 | n |  | TRUE
112 | bus_LV_5410-1_2_3_node_126 | 0.4 | n |  | TRUE
113 | bus_LV_5410-1_2_3_node_127 | 0.4 | n |  | TRUE
114 | bus_LV_5410-1_2_3_node_128 | 0.4 | n |  | TRUE
115 | bus_LV_5410-1_2_3_node_129 | 0.4 | n |  | TRUE
116 | bus_LV_5410-1_2_3_node_131 | 0.4 | n |  | TRUE
117 | bus_LV_5410-1_2_3_node_132 | 0.4 | n |  | TRUE
118 | bus_LV_5410-1_2_3_node_133 | 0.4 | n |  | TRUE
119 | bus_LV_5410-1_2_3_node_134 | 0.4 | n |  | TRUE
120 | bus_LV_5410-1_2_3_node_135 | 0.4 | n |  | TRUE
121 | bus_LV_5410-1_2_3_node_138 | 0.4 | n |  | TRUE
122 | bus_LV_5410-1_2_3_node_136 | 0.4 | n |  | TRUE
123 | bus_LV_5410-1_2_3_node_137 | 0.4 | n |  | TRUE
124 | bus_LV_5410-1_2_3_node_139 | 0.4 | n |  | TRUE
125 | bus_LV_5410-1_2_3_node_140 | 0.4 | n |  | TRUE
126 | bus_LV_5410-1_2_3_node_145 | 0.4 | n |  | TRUE
127 | bus_LV_5410-1_2_3_node_141 | 0.4 | n |  | TRUE
128 | bus_LV_5410-1_2_3_node_142 | 0.4 | n |  | TRUE
129 | bus_LV_5410-1_2_3_node_143 | 0.4 | n |  | TRUE
130 | bus_LV_5410-1_2_3_node_144 | 0.4 | n |  | TRUE
131 | bus_MV_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5410-1_2_3_load_14 | 0 | 0.00027149 | 6.8042e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5410-1_2_3_load_22 | 2 | 0.00095208 | 0.00023861 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5410-1_2_3_load_17 | 4 | 0.00084612 | 0.00021206 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5410-1_2_3_load_18 | 6 | 0.00036772 | 9.216e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5410-1_2_3_load_20 | 8 | 0.0004828 | 0.000121 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5410-1_2_3_load_23 | 10 | 0.00021903 | 5.4895e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5410-1_2_3_load_25 | 12 | 0.00018172 | 4.5544e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5410-1_2_3_load_329 | 13 | 0.00054031 | 0.00013542 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5410-1_2_3_load_28 | 14 | 0.00042577 | 0.00010671 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5410-1_2_3_load_26 | 15 | 0.00058713 | 0.00014715 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5410-1_2_3_load_328 | 16 | 0.00048531 | 0.00012163 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5410-1_2_3_load_27 | 17 | 0.0025805 | 0.00064674 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5410-1_2_3_load_29 | 18 | 0.00017277 | 4.3301e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5410-1_2_3_load_30 | 19 | 0.0002443 | 6.1228e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5410-1_2_3_load_31 | 20 | 0.00040808 | 0.00010227 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5410-1_2_3_load_64 | 21 | 0.0005246 | 0.00013148 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5410-1_2_3_load_32 | 22 | 0.001049 | 0.0002629 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5410-1_2_3_load_33 | 23 | 0.00068146 | 0.00017079 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5410-1_2_3_load_35 | 24 | 0.0012629 | 0.00031652 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5410-1_2_3_load_37 | 26 | 0.0010042 | 0.00025167 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5410-1_2_3_load_39 | 28 | 0.0008939 | 0.00022403 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5410-1_2_3_load_40 | 29 | 9.6431e-05 | 2.4168e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5410-1_2_3_load_41 | 30 | 0.00013075 | 3.277e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5410-1_2_3_load_91 | 32 | 9.8321e-05 | 2.4641e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5410-1_2_3_load_88 | 33 | 8.4691e-05 | 2.1226e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5410-1_2_3_load_43 | 34 | 0.00057545 | 0.00014422 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5410-1_2_3_load_44 | 35 | 0.00058824 | 0.00014743 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5410-1_2_3_load_45 | 36 | 0.00054154 | 0.00013572 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5410-1_2_3_load_46 | 37 | 0.00053457 | 0.00013398 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5410-1_2_3_load_47 | 38 | 0.00047175 | 0.00011823 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5410-1_2_3_load_59 | 39 | 0.00023446 | 5.876e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5410-1_2_3_load_48 | 40 | 0.00040115 | 0.00010054 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5410-1_2_3_load_50 | 42 | 0.00038184 | 9.5698e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5410-1_2_3_load_51 | 43 | 0.00027289 | 6.8393e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5410-1_2_3_load_61 | 45 | 0.00025214 | 6.3192e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5410-1_2_3_load_62 | 46 | 0.00027275 | 6.8358e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5410-1_2_3_load_57 | 49 | 0.00036121 | 9.0527e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5410-1_2_3_load_55 | 50 | 0.00022097 | 5.5379e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5410-1_2_3_load_70 | 52 | 0.00035124 | 8.8029e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5410-1_2_3_load_75 | 53 | 0.00039777 | 9.969e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5410-1_2_3_load_72 | 54 | 0.00036702 | 9.1985e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5410-1_2_3_load_60 | 55 | 0.00070544 | 0.0001768 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5410-1_2_3_load_63 | 56 | 0.00051408 | 0.00012884 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5410-1_2_3_load_66 | 57 | 0.00031595 | 7.9184e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5410-1_2_3_load_65 | 58 | 0.00036911 | 9.2508e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5410-1_2_3_load_153 | 60 | 0.00051743 | 0.00012968 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5410-1_2_3_load_146 | 61 | 0.00035952 | 9.0104e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5410-1_2_3_load_83 | 62 | 0.00028463 | 7.1336e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5410-1_2_3_load_71 | 63 | 0.00031444 | 7.8807e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5410-1_2_3_load_73 | 64 | 0.00048829 | 0.00012238 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5410-1_2_3_load_74 | 65 | 0.00055699 | 0.00013959 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5410-1_2_3_load_76 | 66 | 0.0012932 | 0.0003241 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5410-1_2_3_load_77 | 67 | 7.382e-05 | 1.8501e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5410-1_2_3_load_78 | 68 | 7.5348e-05 | 1.8884e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5410-1_2_3_load_80 | 70 | 0.00015747 | 3.9466e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5410-1_2_3_load_81 | 71 | 7.1304e-05 | 1.7871e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5410-1_2_3_load_82 | 72 | 0.00010789 | 2.7039e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5410-1_2_3_load_84 | 73 | 0.00016804 | 4.2115e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5410-1_2_3_load_85 | 74 | 9.5776e-05 | 2.4004e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5410-1_2_3_load_86 | 75 | 0.00013776 | 3.4526e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5410-1_2_3_load_94 | 77 | 0.0001514 | 3.7945e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5410-1_2_3_load_89 | 79 | 0.0001362 | 3.4135e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5410-1_2_3_load_92 | 80 | 0.00015438 | 3.8691e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5410-1_2_3_load_93 | 81 | 0.00016711 | 4.1883e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5410-1_2_3_load_96 | 83 | 0.00010803 | 2.7076e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5410-1_2_3_load_97 | 84 | 0.00015792 | 3.9579e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5410-1_2_3_load_98 | 85 | 9.987e-05 | 2.503e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5410-1_2_3_load_99 | 86 | 9.2924e-05 | 2.3289e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5410-1_2_3_load_101 | 88 | 0.00011577 | 2.9016e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5410-1_2_3_load_102 | 89 | 0.00018547 | 4.6484e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5410-1_2_3_load_104 | 90 | 7.9571e-05 | 1.9942e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5410-1_2_3_load_107 | 93 | 8.1525e-05 | 2.0432e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5410-1_2_3_load_112 | 94 | 0.00014135 | 3.5426e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5410-1_2_3_load_113 | 96 | 9.5567e-05 | 2.3951e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5410-1_2_3_load_108 | 97 | 0.00016324 | 4.0913e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5410-1_2_3_load_109 | 98 | 0.00041787 | 0.00010473 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5410-1_2_3_load_111 | 99 | 0.00013549 | 3.3957e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5410-1_2_3_load_115 | 101 | 0.00020405 | 5.1139e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5410-1_2_3_load_116 | 103 | 0.00016163 | 4.0509e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5410-1_2_3_load_123 | 104 | 0.00026949 | 6.7542e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5410-1_2_3_load_118 | 105 | 0.00017433 | 4.3692e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5410-1_2_3_load_119 | 106 | 0.00026971 | 6.7596e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5410-1_2_3_load_120 | 107 | 0.00086575 | 0.00021698 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5410-1_2_3_load_121 | 108 | 0.00025944 | 6.5023e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5410-1_2_3_load_122 | 109 | 5.5005e-05 | 1.3785e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5410-1_2_3_load_124 | 110 | 0.00044284 | 0.00011099 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5410-1_2_3_load_130 | 111 | 0.00025542 | 6.4015e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5410-1_2_3_load_126 | 112 | 0.00050407 | 0.00012633 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5410-1_2_3_load_127 | 113 | 7.7452e-05 | 1.9411e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5410-1_2_3_load_129 | 115 | 0.00039902 | 0.0001 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5410-1_2_3_load_131 | 116 | 0.00011121 | 2.7871e-05 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5410-1_2_3_load_134 | 119 | 0.0001783 | 4.4687e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5410-1_2_3_load_135 | 120 | 0.00018705 | 4.688e-05 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5410-1_2_3_load_138 | 121 | 0.00024539 | 6.1501e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5410-1_2_3_load_136 | 122 | 0.00021166 | 5.3047e-05 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5410-1_2_3_load_137 | 123 | 0.00024622 | 6.1708e-05 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5410-1_2_3_load_139 | 124 | 0.00018756 | 4.7007e-05 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5410-1_2_3_load_140 | 125 | 0.00023506 | 5.8912e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5410-1_2_3_load_145 | 126 | 0.00016211 | 4.0629e-05 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5410-1_2_3_load_141 | 127 | 0.00040408 | 0.00010127 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5410-1_2_3_load_142 | 128 | 8.763e-05 | 2.1962e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5410-1_2_3_load_143 | 129 | 0.00013572 | 3.4014e-05 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5410-1_2_3_load_144 | 130 | 0.00027066 | 6.7833e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5410-1_2_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.063337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5410-1_2_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.14764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5410-1_2_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.095009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5410-1_2_3_line_3 | NAYY 4x150 SE | 2 | 7 | 0.0378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5410-1_2_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.096704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5410-1_2_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.12122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5410-1_2_3_line_6 | NAYY 4x150 SE | 5 | 24 | 0.0078172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5410-1_2_3_line_7 | NAYY 4x150 SE | 5 | 23 | 0.01519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5410-1_2_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.13389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5410-1_2_3_line_9 | NAYY 4x150 SE | 6 | 8 | 0.00073382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5410-1_2_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.16483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5410-1_2_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.033056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5410-1_2_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.06888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5410-1_2_3_line_13 | NAYY 4x150 SE | 9 | 12 | 0.12672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5410-1_2_3_line_14 | NAYY 4x150 SE | 10 | 13 | 0.0028818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5410-1_2_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.059521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5410-1_2_3_line_16 | NAYY 4x150 SE | 11 | 15 | 0.021078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5410-1_2_3_line_17 | NAYY 4x150 SE | 12 | 16 | 0.019681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5410-1_2_3_line_18 | NAYY 4x150 SE | 14 | 18 | 0.0060584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5410-1_2_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.026039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5410-1_2_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.01064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5410-1_2_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.011713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5410-1_2_3_line_22 | NAYY 4x150 SE | 21 | 58 | 0.0031619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5410-1_2_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.020669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5410-1_2_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.070339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5410-1_2_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.044577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5410-1_2_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.11289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5410-1_2_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.021179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5410-1_2_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.052809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5410-1_2_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.054486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5410-1_2_3_line_30 | NAYY 4x150 SE | 28 | 31 | 0.047512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5410-1_2_3_line_31 | NAYY 4x150 SE | 29 | 32 | 0.010922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5410-1_2_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.0054224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5410-1_2_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.021712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5410-1_2_3_line_34 | NAYY 4x150 SE | 31 | 35 | 0.046722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5410-1_2_3_line_35 | NAYY 4x150 SE | 33 | 79 | 0.045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5410-1_2_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.0060177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5410-1_2_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0062651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5410-1_2_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.02064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5410-1_2_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.017671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5410-1_2_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0081361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5410-1_2_3_line_41 | NAYY 4x150 SE | 39 | 55 | 0.0077187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5410-1_2_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.014701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5410-1_2_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.052143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5410-1_2_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.022027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5410-1_2_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.081577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5410-1_2_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.04446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5410-1_2_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.034667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5410-1_2_3_line_48 | NAYY 4x150 SE | 45 | 56 | 0.015427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5410-1_2_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.056825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5410-1_2_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.025451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5410-1_2_3_line_51 | NAYY 4x150 SE | 48 | 52 | 0.064469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5410-1_2_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.0099536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5410-1_2_3_line_53 | NAYY 4x150 SE | 51 | 53 | 0.043768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_5410-1_2_3_line_54 | NAYY 4x150 SE | 51 | 54 | 0.1256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5410-1_2_3_line_55 | NAYY 4x150 SE | 52 | 62 | 0.12557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5410-1_2_3_line_56 | NAYY 4x150 SE | 53 | 67 | 0.074649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_5410-1_2_3_line_57 | NAYY 4x150 SE | 54 | 64 | 0.010674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5410-1_2_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.014324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5410-1_2_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0098419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5410-1_2_3_line_60 | NAYY 4x150 SE | 59 | 60 | 0.044933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5410-1_2_3_line_61 | NAYY 4x150 SE | 59 | 61 | 0.21965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5410-1_2_3_line_62 | NAYY 4x150 SE | 60 | 63 | 0.19788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5410-1_2_3_line_63 | NAYY 4x150 SE | 61 | 130 | 0.30964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5410-1_2_3_line_64 | NAYY 4x150 SE | 62 | 71 | 0.1496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5410-1_2_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.035584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5410-1_2_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.026906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5410-1_2_3_line_67 | NAYY 4x150 SE | 67 | 68 | 0.048767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_5410-1_2_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.035759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_5410-1_2_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.02083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_5410-1_2_3_line_70 | NAYY 4x150 SE | 69 | 71 | 0.086775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5410-1_2_3_line_71 | NAYY 4x150 SE | 70 | 72 | 0.019713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_5410-1_2_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.0053744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_5410-1_2_3_line_73 | NAYY 4x150 SE | 73 | 74 | 0.022713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_5410-1_2_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.024923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_5410-1_2_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.019978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_5410-1_2_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.0015031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5410-1_2_3_line_77 | NAYY 4x150 SE | 76 | 78 | 0.11245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_5410-1_2_3_line_78 | NAYY 4x150 SE | 77 | 82 | 0.085976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5410-1_2_3_line_79 | NAYY 4x150 SE | 78 | 80 | 0.058851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5410-1_2_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.03653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5410-1_2_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.015119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5410-1_2_3_line_82 | NAYY 4x150 SE | 82 | 91 | 0.1549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5410-1_2_3_line_83 | NAYY 4x150 SE | 82 | 87 | 0.055466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5410-1_2_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0043497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5410-1_2_3_line_85 | NAYY 4x150 SE | 83 | 85 | 0.0095246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5410-1_2_3_line_86 | NAYY 4x150 SE | 84 | 86 | 0.13895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5410-1_2_3_line_87 | NAYY 4x150 SE | 85 | 87 | 0.0219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5410-1_2_3_line_88 | NAYY 4x150 SE | 86 | 88 | 0.032863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5410-1_2_3_line_89 | NAYY 4x150 SE | 87 | 89 | 0.057217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5410-1_2_3_line_90 | NAYY 4x150 SE | 88 | 90 | 0.0086879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5410-1_2_3_line_91 | NAYY 4x150 SE | 91 | 92 | 0.061839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5410-1_2_3_line_92 | NAYY 4x150 SE | 91 | 93 | 0.10089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5410-1_2_3_line_93 | NAYY 4x150 SE | 92 | 94 | 0.18567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5410-1_2_3_line_94 | NAYY 4x150 SE | 92 | 95 | 0.006006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5410-1_2_3_line_95 | NAYY 4x150 SE | 93 | 96 | 0.031988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5410-1_2_3_line_96 | NAYY 4x150 SE | 95 | 99 | 0.059043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5410-1_2_3_line_97 | NAYY 4x150 SE | 95 | 97 | 0.02902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5410-1_2_3_line_98 | NAYY 4x150 SE | 96 | 100 | 0.11545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5410-1_2_3_line_99 | NAYY 4x150 SE | 97 | 98 | 0.082108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5410-1_2_3_line_100 | NAYY 4x150 SE | 100 | 101 | 0.077315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5410-1_2_3_line_101 | NAYY 4x150 SE | 101 | 102 | 0.16042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5410-1_2_3_line_102 | NAYY 4x150 SE | 102 | 105 | 0.035997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5410-1_2_3_line_103 | NAYY 4x150 SE | 102 | 106 | 0.069043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5410-1_2_3_line_104 | NAYY 4x150 SE | 103 | 104 | 0.11907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5410-1_2_3_line_105 | NAYY 4x150 SE | 104 | 109 | 0.071805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5410-1_2_3_line_106 | NAYY 4x150 SE | 105 | 107 | 0.01674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5410-1_2_3_line_107 | NAYY 4x150 SE | 106 | 108 | 0.035053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5410-1_2_3_line_108 | NAYY 4x150 SE | 107 | 109 | 0.088027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5410-1_2_3_line_109 | NAYY 4x150 SE | 108 | 110 | 0.036647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5410-1_2_3_line_110 | NAYY 4x150 SE | 110 | 111 | 0.17701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5410-1_2_3_line_111 | NAYY 4x150 SE | 111 | 114 | 0.06037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5410-1_2_3_line_112 | NAYY 4x150 SE | 112 | 113 | 0.032485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5410-1_2_3_line_113 | NAYY 4x150 SE | 113 | 114 | 0.057398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5410-1_2_3_line_114 | NAYY 4x150 SE | 114 | 115 | 0.059063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_5410-1_2_3_line_115 | NAYY 4x150 SE | 115 | 116 | 0.16463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_5410-1_2_3_line_116 | NAYY 4x150 SE | 116 | 117 | 0.13579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_5410-1_2_3_line_117 | NAYY 4x150 SE | 117 | 118 | 0.13215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_5410-1_2_3_line_118 | NAYY 4x150 SE | 117 | 119 | 0.091509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_5410-1_2_3_line_119 | NAYY 4x150 SE | 118 | 120 | 0.074651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_5410-1_2_3_line_120 | NAYY 4x150 SE | 120 | 121 | 0.19202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_5410-1_2_3_line_121 | NAYY 4x150 SE | 121 | 125 | 0.028115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_5410-1_2_3_line_122 | NAYY 4x150 SE | 121 | 126 | 0.44341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_5410-1_2_3_line_123 | NAYY 4x150 SE | 121 | 123 | 0.106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_5410-1_2_3_line_124 | NAYY 4x150 SE | 122 | 123 | 0.055436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_5410-1_2_3_line_125 | NAYY 4x150 SE | 122 | 124 | 0.091699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_5410-1_2_3_line_126 | NAYY 4x150 SE | 125 | 127 | 0.0003138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_5410-1_2_3_line_127 | NAYY 4x150 SE | 126 | 130 | 0.092711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_5410-1_2_3_line_128 | NAYY 4x150 SE | 127 | 128 | 0.03081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_5410-1_2_3_line_129 | NAYY 4x150 SE | 129 | 130 | 0.093923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5410-1_2_3_trafo_72 | 0.25 MVA 20/0.4 kV | 131 | 54 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2570589.4823 | 1134291.9479 | 2570601.4108 | 1134288.5546 | 2570601.8668 | 1134281.0598 | 2570599.1439 | 1134268.8003 | 2570593.6943 | 1134259.2666 | 2570582.1204 | 1134248.6067 | 2570578.499 | 1134246.5753
1 | 2570724.7798 | 1134226.5721 | 2570578.499 | 1134246.5753
2 | 2570589.4823 | 1134291.9479 | 2570590.3454 | 1134300.0477 | 2570593.6069 | 1134343.7758 | 2570596.2332 | 1134386.6843
3 | 2570753.0357 | 1134201.8398 | 2570746.3163 | 1134206.5415 | 2570741.0082 | 1134210.2469 | 2570727.162 | 1134222.9538 | 2570724.7798 | 1134226.5721
4 | 2570596.2332 | 1134386.6843 | 2570586.6997 | 1134387.1867 | 2570577.5574 | 1134390.5441 | 2570570.8956 | 1134397.5246 | 2570547.0122 | 1134425.5775 | 2570525.8778 | 1134448.1548
5 | 2570602.1503 | 1134542.3774 | 2570525.8778 | 1134448.1548
6 | 2570602.1503 | 1134542.3774 | 2570609.9317 | 1134541.63
7 | 2570602.1503 | 1134542.3774 | 2570591.757 | 1134551.1547 | 2570590.5547 | 1134552.1891
8 | 2570753.0357 | 1134201.8398 | 2570812.5112 | 1134151.6819 | 2570852.6102 | 1134112.4673
9 | 2570852.6102 | 1134112.4673 | 2570853.1348 | 1134111.9542
10 | 2570753.0357 | 1134201.8398 | 2570785.0396 | 1134192.5354 | 2570817.2746 | 1134184.8197 | 2570840.655 | 1134182.7721 | 2570856.54 | 1134180.961 | 2570885.5996 | 1134175.5177 | 2570897.6295 | 1134175.5151 | 2570906.6675 | 1134180.6963 | 2570910.9525 | 1134186.6341
11 | 2570910.9525 | 1134186.6341 | 2570914.4318 | 1134193.0872 | 2570918.3613 | 1134218.5099
12 | 2570855.7097 | 1134220.9071 | 2570871.9132 | 1134216.5488 | 2570882.9412 | 1134213.0937 | 2570890.3597 | 1134209.6673 | 2570897.5606 | 1134205.8194 | 2570903.2192 | 1134201.3677 | 2570906.8682 | 1134196.7588 | 2570910.6351 | 1134191.0378 | 2570910.9525 | 1134186.6341
13 | 2570910.9525 | 1134186.6341 | 2570919.2493 | 1134186.5829 | 2570983.6829 | 1134147.586 | 2570990.9977 | 1134144.9717 | 2571020.1746 | 1134138.2501 | 2571025.1621 | 1134136.1877
14 | 2570918.8015 | 1134221.3579 | 2570918.3613 | 1134218.5099
15 | 2570855.7097 | 1134220.9071 | 2570847.8684 | 1134229.1936 | 2570845.9592 | 1134235.4616 | 2570845.9772 | 1134242.3538 | 2570846.3297 | 1134251.5567 | 2570849.9591 | 1134269.9371 | 2570851.2016 | 1134276.5446
16 | 2570855.7097 | 1134220.9071 | 2570835.3571 | 1134226.388
17 | 2571043.3497 | 1134128.6672 | 2571025.1621 | 1134136.1877
18 | 2570852.3213 | 1134282.4986 | 2570851.2016 | 1134276.5446
19 | 2570809.5172 | 1134227.8565 | 2570824.3898 | 1134228.407 | 2570834.1871 | 1134226.7031 | 2570835.3571 | 1134226.388
20 | 2570790.9791 | 1134425.002 | 2570780.3544 | 1134425.5737
21 | 2570790.9791 | 1134425.002 | 2570802.675 | 1134424.3727
22 | 2570805.8332 | 1134424.2208 | 2570804.1895 | 1134424.2912 | 2570802.675 | 1134424.3727
23 | 2570575.3517 | 1134566.1429 | 2570578.7358 | 1134562.3572 | 2570590.5547 | 1134552.1891
24 | 2570669.0545 | 1134570.9209 | 2570654.5301 | 1134553.2162 | 2570644.7644 | 1134547.0829 | 2570632.2798 | 1134542.0969 | 2570619.3434 | 1134540.726 | 2570609.9317 | 1134541.63
25 | 2570669.0545 | 1134570.9209 | 2570674.9542 | 1134570.2363 | 2570679.4959 | 1134564.1111 | 2570685.8504 | 1134546.1824 | 2570693.1154 | 1134536.6423 | 2570693.1154 | 1134536.6423
26 | 2570667.1723 | 1134680.5624 | 2570666.6085 | 1134673.8396 | 2570669.1514 | 1134657.13 | 2570678.233 | 1134631.8843 | 2570680.2304 | 1134623.2481 | 2570679.3333 | 1134616.0378 | 2570669.0545 | 1134570.9209
27 | 2570693.1154 | 1134536.6423 | 2570699.9231 | 1134529.6056 | 2570710.5765 | 1134525.5799
28 | 2570667.1723 | 1134680.5624 | 2570662.9895 | 1134694.0006 | 2570657.1873 | 1134702.0218 | 2570644.9332 | 1134709.5074 | 2570631.7368 | 1134715.4581
29 | 2570667.1723 | 1134680.5624 | 2570668.6031 | 1134697.8085 | 2570669.3329 | 1134721.2277 | 2570671.0515 | 1134734.8704
30 | 2570755.0821 | 1134508.9494 | 2570738.9639 | 1134514.8529 | 2570710.5765 | 1134525.5799
31 | 2570621.7805 | 1134719.9478 | 2570621.7805 | 1134719.9478 | 2570631.7368 | 1134715.4581
32 | 2570671.0515 | 1134734.8704 | 2570671.7291 | 1134740.2503
33 | 2570755.0821 | 1134508.9494 | 2570766.201 | 1134502.1476 | 2570773.0355 | 1134496.8014
34 | 2570755.0821 | 1134508.9494 | 2570747.2079 | 1134500.8614 | 2570736.5824 | 1134492.0086 | 2570734.8981 | 1134485.9138 | 2570737.1762 | 1134477.9877 | 2570743.3174 | 1134474.5588
35 | 2570675.6844 | 1134783.8386 | 2570679.1376 | 1134773.3503 | 2570676.5923 | 1134759.5448 | 2570672.0549 | 1134742.8363 | 2570671.7291 | 1134740.2503
36 | 2570773.0355 | 1134496.8014 | 2570777.7754 | 1134493.0937
37 | 2570748.7877 | 1134471.5046 | 2570743.3174 | 1134474.5588
38 | 2570777.7754 | 1134493.0937 | 2570783.9046 | 1134488.2992 | 2570795.4967 | 1134482.7358
39 | 2570748.7877 | 1134471.5046 | 2570753.6862 | 1134468.7695 | 2570763.7187 | 1134466.453 | 2570765.4827 | 1134466.4664
40 | 2570802.8317 | 1134479.2155 | 2570795.4967 | 1134482.7358
41 | 2570773.2011 | 1134466.525 | 2570765.4827 | 1134466.4664
42 | 2570816.8184 | 1134474.8997 | 2570806.6021 | 1134477.406 | 2570802.8317 | 1134479.2155
43 | 2570816.8184 | 1134474.8997 | 2570831.9543 | 1134480.6625 | 2570848.4652 | 1134484.3066 | 2570865.8296 | 1134483.0108 | 2570867.3103 | 1134482.3393
44 | 2570816.8184 | 1134474.8997 | 2570829.0809 | 1134473.773 | 2570837.2769 | 1134468.5601
45 | 2570888.7696 | 1134414.01 | 2570889.2305 | 1134429.7378 | 2570886.0529 | 1134436.312 | 2570880.8259 | 1134440.8617 | 2570837.2769 | 1134468.5601
46 | 2570888.7696 | 1134414.01 | 2570882.0325 | 1134416.6216 | 2570870.8182 | 1134419.6885 | 2570856.0125 | 1134421.7389 | 2570852.5899 | 1134422.2113 | 2570846.6034 | 1134422.4737 | 2570845.39 | 1134422.5257
47 | 2570888.7696 | 1134414.01 | 2570903.632 | 1134406.1676 | 2570918.6552 | 1134396.504
48 | 2570845.39 | 1134422.5257 | 2570829.977 | 1134423.1862
49 | 2571113.2435 | 1134458.8735 | 2571130.7003 | 1134444.7384 | 2571143.792 | 1134430.324 | 2571156.2356 | 1134421.9824
50 | 2571156.2356 | 1134421.9824 | 2571178.3471 | 1134434.5857
51 | 2571113.2435 | 1134458.8735 | 2571105.0257 | 1134460.8806 | 2571096.594 | 1134463.2112 | 2571088.1744 | 1134466.4643 | 2571080.59 | 1134470.5472 | 2571073.08 | 1134475.6969 | 2571063.5714 | 1134484.547 | 2571058.4819 | 1134490.0914
52 | 2570930.9033 | 1134590.0051 | 2570934.0471 | 1134580.5611
53 | 2570930.9033 | 1134590.0051 | 2570930.3648 | 1134591.653 | 2570924.8201 | 1134610.0667 | 2570923.2603 | 1134616.9554 | 2570921.7718 | 1134625.8671 | 2570920.8153 | 1134632.5042
54 | 2570930.9033 | 1134590.0051 | 2570919.2957 | 1134600.7999 | 2570912.3381 | 1134608.7263 | 2570899.8977 | 1134617.5797 | 2570890.4995 | 1134623.6949 | 2570879.7244 | 1134629.9612 | 2570871.5198 | 1134633.0357 | 2570863.7733 | 1134635.3521 | 2570852.5192 | 1134636.4627 | 2570835.0149 | 1134635.7916 | 2570822.0295 | 1134629.1591
55 | 2570984.4374 | 1134590.906 | 2570985.1118 | 1134589.2767 | 2570993.6918 | 1134573.0384 | 2571002.6473 | 1134558.0656 | 2571017.9967 | 1134537.9261 | 2571036.953 | 1134515.6127 | 2571054.7667 | 1134494.1386 | 2571058.4819 | 1134490.0914
56 | 2570920.8153 | 1134632.5042 | 2570919.0464 | 1134644.7785 | 2570915.1485 | 1134661.539 | 2570909.6888 | 1134678.4071 | 2570897.0497 | 1134702.6164
57 | 2570822.0295 | 1134629.1591 | 2570818.5428 | 1134627.3783 | 2570812.7385 | 1134623.9158
58 | 2570815.666 | 1134423.7994 | 2570829.977 | 1134423.1862
59 | 2570805.8332 | 1134424.2208 | 2570815.666 | 1134423.7994
60 | 2571672.288 | 1134580.6115 | 2571667.9643 | 1134579.2979 | 2571659.6724 | 1134573.7341 | 2571651.3719 | 1134568.0037 | 2571634.4555 | 1134556.5443
61 | 2571672.288 | 1134580.6115 | 2571605.9732 | 1134790.015
62 | 2571634.4555 | 1134556.5443 | 2571450.4256 | 1134629.2764
63 | 2571605.9732 | 1134790.015 | 2571377.7316 | 1134999.2621
64 | 2570913.9059 | 1134721.9673 | 2570923.4032 | 1134708.6671 | 2570939.5399 | 1134685.9556 | 2570949.9851 | 1134670.3308 | 2570957.7198 | 1134654.4078 | 2570964.4737 | 1134639.3677 | 2570971.3197 | 1134622.6709 | 2570978.0063 | 1134606.4417 | 2570984.4374 | 1134590.906
65 | 2570812.7385 | 1134623.9158 | 2570812.7385 | 1134623.9158 | 2570806.6867 | 1134629.7147 | 2570802.7306 | 1134631.2458 | 2570796.6441 | 1134629.9079 | 2570782.1045 | 1134621.6349
66 | 2570767.6147 | 1134606.237 | 2570764.1381 | 1134611.412 | 2570782.1045 | 1134621.6349
67 | 2570897.0497 | 1134702.6164 | 2570889.4814 | 1134717.1129 | 2570873.8666 | 1134745.5174
68 | 2570863.9343 | 1134778.3114 | 2570862.7295 | 1134775.8493 | 2570862.355 | 1134773.2054 | 2570862.4479 | 1134770.1367 | 2570863.0597 | 1134767.7548 | 2570865.1067 | 1134761.3528 | 2570868.7461 | 1134754.832 | 2570873.8666 | 1134745.5174
69 | 2570863.9343 | 1134778.3114 | 2570846.2814 | 1134786.601 | 2570845.0649 | 1134787.1338
70 | 2570863.9343 | 1134778.3114 | 2570865.251 | 1134780.0392 | 2570866.7659 | 1134781.3881 | 2570868.4936 | 1134782.1579 | 2570870.6208 | 1134782.8146 | 2570872.77 | 1134783.2266 | 2570875.786 | 1134783.0564 | 2570878.1761 | 1134782.3667 | 2570880.0708 | 1134781.0792 | 2570882.5377 | 1134778.7661 | 2570884.8623 | 1134775.6866 | 2570888.0652 | 1134769.6015 | 2570893.5744 | 1134756.6462 | 2570906.5322 | 1134732.2936 | 2570913.9059 | 1134721.9673
71 | 2570828.7733 | 1134797.7468 | 2570835.9907 | 1134791.1086 | 2570845.0649 | 1134787.1338
72 | 2570825.1626 | 1134801.7277 | 2570828.7733 | 1134797.7468 | 2570828.7733 | 1134797.7468
73 | 2570825.1626 | 1134801.7277 | 2570812.4681 | 1134815.7237 | 2570809.9438 | 1134818.5877
74 | 2570793.3114 | 1134837.1405 | 2570795.5532 | 1134834.9153 | 2570809.9438 | 1134818.5877
75 | 2570779.1324 | 1134851.2141 | 2570793.3114 | 1134837.1405
76 | 2570779.1324 | 1134851.2141 | 2570778.0072 | 1134852.2108
77 | 2570779.1324 | 1134851.2141 | 2570730.9642 | 1134825.9466 | 2570718.4791 | 1134822.3166 | 2570700.3179 | 1134824.1281 | 2570683.2957 | 1134822.7769 | 2570673.6699 | 1134820.0002
78 | 2570700.551 | 1134887.8142 | 2570757.9592 | 1134866.6802 | 2570770.8411 | 1134858.558 | 2570778.0072 | 1134852.2108
79 | 2570673.6699 | 1134820.0002 | 2570668.3138 | 1134818.4589 | 2570659.0069 | 1134810.0556 | 2570647.6592 | 1134790.3121 | 2570638.3523 | 1134783.4986 | 2570632.0486 | 1134782.2228
80 | 2570673.6699 | 1134820.0002 | 2570672.6026 | 1134803.1303 | 2570674.0565 | 1134788.7828 | 2570675.6844 | 1134783.8386
81 | 2570632.0486 | 1134782.2228 | 2570622.6909 | 1134780.3289 | 2570617.1317 | 1134779.9595
82 | 2570591.0392 | 1134993.3228 | 2570614.3079 | 1134964.317 | 2570642.5971 | 1134950.0386 | 2570658.1546 | 1134941.4807 | 2570665.1983 | 1134930.8411 | 2570684.9213 | 1134905.3101 | 2570700.551 | 1134887.8142
83 | 2570648.4339 | 1134901.8306 | 2570650.8358 | 1134901.9856 | 2570663.9978 | 1134902.4439 | 2570675.1248 | 1134900.6221 | 2570684.6565 | 1134893.5944 | 2570700.551 | 1134887.8142
84 | 2570617.2042 | 1134902.1506 | 2570615.4296 | 1134902.4474 | 2570613.3317 | 1134903.8978
85 | 2570617.2042 | 1134902.1506 | 2570626.5984 | 1134900.5797
86 | 2570613.3317 | 1134903.8978 | 2570591.139 | 1134919.241 | 2570563.4447 | 1134933.9948 | 2570533.2593 | 1134946.0262 | 2570506.9259 | 1134954.1925 | 2570496.0347 | 1134961.6829 | 2570491.6481 | 1134967.5316
87 | 2570648.4339 | 1134901.8306 | 2570627.6867 | 1134900.3977 | 2570626.5984 | 1134900.5797
88 | 2570491.6481 | 1134967.5316 | 2570487.1809 | 1134973.4877 | 2570477.5405 | 1134997.0059
89 | 2570648.4339 | 1134901.8306 | 2570626.4776 | 1134863.9632 | 2570621.391 | 1134860.8754 | 2570613.9476 | 1134862.1457
90 | 2570474.2453 | 1135005.0446 | 2570477.5405 | 1134997.0059
91 | 2570591.0392 | 1134993.3228 | 2570581.837 | 1134992.1227 | 2570574.7673 | 1134998.9607 | 2570569.3471 | 1135012.6162 | 2570567.9373 | 1135040.6481
92 | 2570591.0392 | 1134993.3228 | 2570584.7058 | 1135001.2132 | 2570580.5573 | 1135023.1444 | 2570586.3739 | 1135052.7974 | 2570595.2357 | 1135072.5418 | 2570600.3294 | 1135073.962 | 2570606.1335 | 1135074.3005 | 2570610.1564 | 1135070.5634
93 | 2570567.9373 | 1135040.6481 | 2570578.6963 | 1135065.9415 | 2570581.6047 | 1135076.8438 | 2570582.3331 | 1135085.7336 | 2570588.4998 | 1135100.4441 | 2570590.8624 | 1135109.8928 | 2570589.2291 | 1135133.1346 | 2570583.9623 | 1135159.2845 | 2570581.4201 | 1135187.0663 | 2570571.7966 | 1135206.6786 | 2570565.0162 | 1135217.2596
94 | 2570567.9373 | 1135040.6481 | 2570566.1492 | 1135046.382
95 | 2570610.1564 | 1135070.5634 | 2570610.8373 | 1135069.931 | 2570617.6935 | 1135061.938 | 2570628.1591 | 1135049.225 | 2570630.9012 | 1135046.229
96 | 2570566.1492 | 1135046.382 | 2570556.1775 | 1135043.6071 | 2570537.1123 | 1135022.5454 | 2570529.6688 | 1135017.4571 | 2570518.4097 | 1135015.8225
97 | 2570566.1492 | 1135046.382 | 2570563.4595 | 1135055.0216 | 2570555.2489 | 1135073.2267
98 | 2570737.1144 | 1135068.3707 | 2570733.1869 | 1135063.0538 | 2570724.3905 | 1135059.8172 | 2570712.8083 | 1135062.9195 | 2570696.8368 | 1135062.2747 | 2570680.2345 | 1135056.9529 | 2570662.6035 | 1135048.9903 | 2570652.0836 | 1135044.2503 | 2570643.2119 | 1135041.381 | 2570633.77 | 1135043.0946 | 2570630.9012 | 1135046.229
99 | 2570526.9546 | 1135149.9475 | 2570537.7861 | 1135128.7394 | 2570546.2699 | 1135104.2524 | 2570552.6262 | 1135079.0421 | 2570555.2489 | 1135073.2267
100 | 2570737.1144 | 1135068.3707 | 2570738.4404 | 1135073.6002 | 2570737.211 | 1135078.731 | 2570733.2727 | 1135083.8527 | 2570728.1798 | 1135087.3569 | 2570723.3055 | 1135088.3033 | 2570715.1692 | 1135087.876 | 2570693.859 | 1135101.8756 | 2570680.893 | 1135110.1688
101 | 2570667.65 | 1135255.4463 | 2570666.1288 | 1135251.2183 | 2570655.8773 | 1135233.6039 | 2570653.4419 | 1135210.7488 | 2570650.0549 | 1135171.1012 | 2570653.4039 | 1135143.0042 | 2570657.5241 | 1135131.0003 | 2570662.6043 | 1135123.3384 | 2570669.7777 | 1135117.2783 | 2570680.893 | 1135110.1688
102 | 2570667.65 | 1135255.4463 | 2570680.5654 | 1135248.0797 | 2570694.6008 | 1135232.2865
103 | 2570667.65 | 1135255.4463 | 2570674.9596 | 1135275.7764 | 2570671.5879 | 1135299.2378 | 2570668.7527 | 1135322.8041
104 | 2570833.8284 | 1135132.589 | 2570862.2191 | 1135016.9496
105 | 2570833.8284 | 1135132.589 | 2570817.8506 | 1135149.6527 | 2570802.9554 | 1135172.5363 | 2570790.2451 | 1135184.1593 | 2570786.8666 | 1135186.1084
106 | 2570694.6008 | 1135232.2865 | 2570695.0916 | 1135231.7342 | 2570707.307 | 1135221.3983
107 | 2570668.7527 | 1135322.8041 | 2570666.0116 | 1135345.588 | 2570660.347 | 1135356.2851
108 | 2570707.307 | 1135221.3983 | 2570711.6225 | 1135217.7468 | 2570727.9616 | 1135207.0398 | 2570746.1201 | 1135200.137 | 2570776.0789 | 1135192.3321 | 2570786.8666 | 1135186.1084
109 | 2570660.347 | 1135356.2851 | 2570647.2846 | 1135380.9525 | 2570644.4004 | 1135389.1966
110 | 2570644.4004 | 1135389.1966 | 2570752.2996 | 1135529.5154
111 | 2570760.9072 | 1135587.4691 | 2570763.7925 | 1135577.8947 | 2570752.3062 | 1135541.9549 | 2570751.1879 | 1135535.0902 | 2570752.2996 | 1135529.5154
112 | 2570682.1647 | 1135570.9634 | 2570685.0961 | 1135571.552 | 2570698.0827 | 1135572.6115 | 2570708.9248 | 1135571.0136 | 2570714.2612 | 1135569.6574
113 | 2570760.9072 | 1135587.4691 | 2570757.5676 | 1135579.548 | 2570752.7199 | 1135573.2351 | 2570746.3559 | 1135568.4303 | 2570739.2891 | 1135566.2635 | 2570733.0309 | 1135565.816 | 2570726.8088 | 1135566.4688 | 2570714.2612 | 1135569.6574
114 | 2570760.9072 | 1135587.4691 | 2570760.1404 | 1135595.9326 | 2570757.786 | 1135602.3138 | 2570734.8563 | 1135626.2927 | 2570727.8367 | 1135634.2161
115 | 2570727.8367 | 1135634.2161 | 2570864.2112 | 1135726.4408
116 | 2570990.6798 | 1135726.7158 | 2570982.1329 | 1135730.3254 | 2570972.3018 | 1135730.9064 | 2570964.0237 | 1135729.6124 | 2570957.0008 | 1135725.3219 | 2570936.3845 | 1135713.749 | 2570926.2577 | 1135710.4518 | 2570907.4369 | 1135710.5872 | 2570890.2735 | 1135712.938 | 2570875.6716 | 1135718.2779 | 2570864.2112 | 1135726.4408
117 | 2570978.0795 | 1135598.257 | 2570977.627 | 1135601.7498 | 2570977.8767 | 1135608.8522 | 2570978.7549 | 1135618.6306 | 2570980.944 | 1135628.9696 | 2570984.5176 | 1135645.594 | 2570993.8485 | 1135686.4805 | 2570996.9244 | 1135705.2194 | 2570997.2214 | 1135714.1558 | 2570995.4149 | 1135719.3226 | 2570990.6798 | 1135726.7158
118 | 2570927.2736 | 1135769.4318 | 2570940.5649 | 1135757.206 | 2570946.5523 | 1135755.7986 | 2570967.1061 | 1135756.0551 | 2570978.18 | 1135754.7011 | 2570987.4745 | 1135751.3657 | 2570991.3171 | 1135745.5776 | 2570991.7263 | 1135736.3044 | 2570990.6798 | 1135726.7158
119 | 2570978.0795 | 1135598.257 | 2570984.3187 | 1135588.3776 | 2570994.5648 | 1135581.2691 | 2571007.4949 | 1135573.8254 | 2571012.7702 | 1135568.3083 | 2571015.0233 | 1135563.195 | 2571014.8235 | 1135545.6872 | 2571017.1776 | 1135541.4511
120 | 2571183.5414 | 1135445.56 | 2571017.1776 | 1135541.4511
121 | 2571183.5414 | 1135445.56 | 2571184.6865 | 1135446.856 | 2571204.9281 | 1135463.7821
122 | 2571429.0489 | 1135076.3179 | 2571183.5414 | 1135445.56
123 | 2571116.376 | 1135363.6497 | 2571125.4983 | 1135373.6365 | 2571156.2185 | 1135410.7521 | 2571172.6863 | 1135433.2734 | 2571183.5414 | 1135445.56
124 | 2571067.7481 | 1135347.6139 | 2571072.5226 | 1135344.4096 | 2571083.8704 | 1135345.4556 | 2571099.1272 | 1135349.6733 | 2571108.6651 | 1135355.2081 | 2571116.376 | 1135363.6497
125 | 2571067.7481 | 1135347.6139 | 2571053.7955 | 1135256.983
126 | 2571205.1688 | 1135463.9834 | 2571204.9281 | 1135463.7821
127 | 2571429.0489 | 1135076.3179 | 2571426.4305 | 1135072.9402 | 2571392.8959 | 1135018.4723 | 2571377.7316 | 1134999.2621
128 | 2571205.1688 | 1135463.9834 | 2571216.649 | 1135473.5831 | 2571229.5771 | 1135482.7448
129 | 2571320.7542 | 1134925.2504 | 2571322.9685 | 1134931.8953 | 2571331.0561 | 1134943.0734 | 2571342.9499 | 1134955.2006 | 2571377.7316 | 1134999.2621

## bus_geodata
| x | y | coords
0 | 2570578.499 | 1134246.5753
1 | 2570589.4823 | 1134291.9479
2 | 2570724.7798 | 1134226.5721
3 | 2570596.2332 | 1134386.6843
4 | 2570525.8778 | 1134448.1548
5 | 2570602.1503 | 1134542.3774
6 | 2570852.6102 | 1134112.4673
7 | 2570753.0357 | 1134201.8398
8 | 2570853.1348 | 1134111.9542
9 | 2570910.9525 | 1134186.6341
10 | 2570918.3613 | 1134218.5099
11 | 2570855.7097 | 1134220.9071
12 | 2571025.1621 | 1134136.1877
13 | 2570918.8015 | 1134221.3579
14 | 2570851.2016 | 1134276.5446
15 | 2570835.3571 | 1134226.388
16 | 2571043.3497 | 1134128.6672
17 | 2570809.5172 | 1134227.8565
18 | 2570852.3213 | 1134282.4986
19 | 2570780.3544 | 1134425.5737
20 | 2570790.9791 | 1134425.002
21 | 2570802.675 | 1134424.3727
22 | 2570575.3517 | 1134566.1429
23 | 2570590.5547 | 1134552.1891
24 | 2570609.9317 | 1134541.63
25 | 2570669.0545 | 1134570.9209
26 | 2570693.1154 | 1134536.6422
27 | 2570667.1723 | 1134680.5624
28 | 2570710.5765 | 1134525.5799
29 | 2570631.7368 | 1134715.4581
30 | 2570671.0515 | 1134734.8704
31 | 2570755.0821 | 1134508.9494
32 | 2570621.7805 | 1134719.9478
33 | 2570671.7291 | 1134740.2503
34 | 2570773.0355 | 1134496.8014
35 | 2570743.3174 | 1134474.5588
36 | 2570777.7754 | 1134493.0937
37 | 2570748.7877 | 1134471.5046
38 | 2570795.4967 | 1134482.7358
39 | 2570765.4827 | 1134466.4664
40 | 2570802.8317 | 1134479.2155
41 | 2570816.8184 | 1134474.8997
42 | 2570867.3103 | 1134482.3393
43 | 2570837.2769 | 1134468.5601
44 | 2570888.7696 | 1134414.01
45 | 2570845.39 | 1134422.5257
46 | 2570918.6552 | 1134396.504
47 | 2571156.2356 | 1134421.9824
48 | 2571113.2435 | 1134458.8735
49 | 2571178.3471 | 1134434.5857
50 | 2570934.0471 | 1134580.5611
51 | 2570930.9033 | 1134590.0051
52 | 2571058.4819 | 1134490.0914
53 | 2570920.8153 | 1134632.5042
54 | 2570822.0295 | 1134629.1591
55 | 2570773.2011 | 1134466.525
56 | 2570829.977 | 1134423.1862
57 | 2570815.666 | 1134423.7994
58 | 2570805.8332 | 1134424.2208
59 | 2571672.288 | 1134580.6115
60 | 2571634.4555 | 1134556.5443
61 | 2571605.9732 | 1134790.015
62 | 2570984.4374 | 1134590.906
63 | 2571450.4256 | 1134629.2764
64 | 2570812.7385 | 1134623.9158
65 | 2570782.1045 | 1134621.6349
66 | 2570767.6147 | 1134606.237
67 | 2570897.0497 | 1134702.6164
68 | 2570873.8666 | 1134745.5174
69 | 2570863.9343 | 1134778.3114
70 | 2570845.0649 | 1134787.1338
71 | 2570913.9059 | 1134721.9673
72 | 2570828.7733 | 1134797.7469
73 | 2570825.1626 | 1134801.7277
74 | 2570809.9438 | 1134818.5877
75 | 2570793.3114 | 1134837.1405
76 | 2570779.1324 | 1134851.2141
77 | 2570778.0072 | 1134852.2108
78 | 2570673.6699 | 1134820.0002
79 | 2570675.6844 | 1134783.8386
80 | 2570632.0486 | 1134782.2228
81 | 2570617.1317 | 1134779.9595
82 | 2570700.551 | 1134887.8142
83 | 2570617.2042 | 1134902.1506
84 | 2570613.3317 | 1134903.8978
85 | 2570626.5984 | 1134900.5797
86 | 2570491.6481 | 1134967.5316
87 | 2570648.4339 | 1134901.8306
88 | 2570477.5405 | 1134997.0059
89 | 2570613.9476 | 1134862.1457
90 | 2570474.2453 | 1135005.0446
91 | 2570591.0392 | 1134993.3228
92 | 2570567.9373 | 1135040.6481
93 | 2570610.1564 | 1135070.5634
94 | 2570565.0162 | 1135217.2596
95 | 2570566.1492 | 1135046.382
96 | 2570630.9012 | 1135046.229
97 | 2570555.2489 | 1135073.2267
98 | 2570526.9546 | 1135149.9475
99 | 2570518.4097 | 1135015.8225
100 | 2570737.1144 | 1135068.3707
101 | 2570680.893 | 1135110.1688
102 | 2570667.65 | 1135255.4463
103 | 2570862.2191 | 1135016.9496
104 | 2570833.8284 | 1135132.589
105 | 2570694.6008 | 1135232.2865
106 | 2570668.7527 | 1135322.8041
107 | 2570707.307 | 1135221.3983
108 | 2570660.347 | 1135356.2851
109 | 2570786.8666 | 1135186.1084
110 | 2570644.4004 | 1135389.1966
111 | 2570752.2996 | 1135529.5154
112 | 2570682.1647 | 1135570.9634
113 | 2570714.2612 | 1135569.6574
114 | 2570760.9072 | 1135587.4691
115 | 2570727.8367 | 1135634.2161
116 | 2570864.2112 | 1135726.4408
117 | 2570990.6798 | 1135726.7158
118 | 2570978.0795 | 1135598.257
119 | 2570927.2736 | 1135769.4318
120 | 2571017.1776 | 1135541.4511
121 | 2571183.5414 | 1135445.56
122 | 2571067.7481 | 1135347.6139
123 | 2571116.376 | 1135363.6497
124 | 2571053.7955 | 1135256.983
125 | 2571204.9281 | 1135463.7821
126 | 2571429.0489 | 1135076.3179
127 | 2571205.1688 | 1135463.9834
128 | 2571229.5771 | 1135482.7448
129 | 2571320.7542 | 1134925.2504
130 | 2571377.7316 | 1134999.2621
131 | 2570822.0295 | 1134629.1591

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1