## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5410-2_1_4_node_99 | 0.4 | n |  | TRUE
1 | bus_LV_5410-2_1_4_node_100 | 0.4 | n |  | TRUE
2 | bus_LV_5410-2_1_4_node_101 | 0.4 | n |  | TRUE
3 | bus_LV_5410-2_1_4_node_333 | 0.4 | n |  | TRUE
4 | bus_LV_5410-2_1_4_node_322 | 0.4 | n |  | TRUE
5 | bus_LV_5410-2_1_4_node_107 | 0.4 | n |  | TRUE
6 | bus_LV_5410-2_1_4_node_108 | 0.4 | n |  | TRUE
7 | bus_LV_5410-2_1_4_node_342 | 0.4 | n |  | TRUE
8 | bus_LV_5410-2_1_4_node_110 | 0.4 | n |  | TRUE
9 | bus_LV_5410-2_1_4_node_111 | 0.4 | n |  | TRUE
10 | bus_LV_5410-2_1_4_node_114 | 0.4 | n |  | TRUE
11 | bus_LV_5410-2_1_4_node_116 | 0.4 | n |  | TRUE
12 | bus_LV_5410-2_1_4_node_112 | 0.4 | n |  | TRUE
13 | bus_LV_5410-2_1_4_node_113 | 0.4 | n |  | TRUE
14 | bus_LV_5410-2_1_4_node_117 | 0.4 | n |  | TRUE
15 | bus_LV_5410-2_1_4_node_115 | 0.4 | n |  | TRUE
16 | bus_LV_5410-2_1_4_node_118 | 0.4 | n |  | TRUE
17 | bus_LV_5410-2_1_4_node_145 | 0.4 | n |  | TRUE
18 | bus_LV_5410-2_1_4_node_146 | 0.4 | n |  | TRUE
19 | bus_LV_5410-2_1_4_node_119 | 0.4 | n |  | TRUE
20 | bus_LV_5410-2_1_4_node_120 | 0.4 | n |  | TRUE
21 | bus_LV_5410-2_1_4_node_121 | 0.4 | n |  | TRUE
22 | bus_LV_5410-2_1_4_node_122 | 0.4 | n |  | TRUE
23 | bus_LV_5410-2_1_4_node_123 | 0.4 | n |  | TRUE
24 | bus_LV_5410-2_1_4_node_124 | 0.4 | n |  | TRUE
25 | bus_LV_5410-2_1_4_node_151 | 0.4 | n |  | TRUE
26 | bus_LV_5410-2_1_4_node_125 | 0.4 | n |  | TRUE
27 | bus_LV_5410-2_1_4_node_126 | 0.4 | n |  | TRUE
28 | bus_LV_5410-2_1_4_node_142 | 0.4 | n |  | TRUE
29 | bus_LV_5410-2_1_4_node_127 | 0.4 | n |  | TRUE
30 | bus_LV_5410-2_1_4_node_128 | 0.4 | n |  | TRUE
31 | bus_LV_5410-2_1_4_node_133 | 0.4 | n |  | TRUE
32 | bus_LV_5410-2_1_4_node_129 | 0.4 | n |  | TRUE
33 | bus_LV_5410-2_1_4_node_130 | 0.4 | n |  | TRUE
34 | bus_LV_5410-2_1_4_node_131 | 0.4 | n |  | TRUE
35 | bus_LV_5410-2_1_4_node_132 | 0.4 | n |  | TRUE
36 | bus_LV_5410-2_1_4_node_309 | 0.4 | n |  | TRUE
37 | bus_LV_5410-2_1_4_node_303 | 0.4 | n |  | TRUE
38 | bus_LV_5410-2_1_4_node_312 | 0.4 | n |  | TRUE
39 | bus_LV_5410-2_1_4_node_134 | 0.4 | n |  | TRUE
40 | bus_LV_5410-2_1_4_node_135 | 0.4 | n |  | TRUE
41 | bus_LV_5410-2_1_4_node_341 | 0.4 | n |  | TRUE
42 | bus_LV_5410-2_1_4_node_136 | 0.4 | n |  | TRUE
43 | bus_LV_5410-2_1_4_node_137 | 0.4 | n |  | TRUE
44 | bus_LV_5410-2_1_4_node_138 | 0.4 | n |  | TRUE
45 | bus_LV_5410-2_1_4_node_139 | 0.4 | n |  | TRUE
46 | bus_LV_5410-2_1_4_node_140 | 0.4 | n |  | TRUE
47 | bus_LV_5410-2_1_4_node_141 | 0.4 | n |  | TRUE
48 | bus_LV_5410-2_1_4_node_143 | 0.4 | n |  | TRUE
49 | bus_LV_5410-2_1_4_node_144 | 0.4 | n |  | TRUE
50 | bus_LV_5410-2_1_4_node_319 | 0.4 | n |  | TRUE
51 | bus_LV_5410-2_1_4_node_315 | 0.4 | n |  | TRUE
52 | bus_LV_5410-2_1_4_node_147 | 0.4 | n |  | TRUE
53 | bus_LV_5410-2_1_4_node_160 | 0.4 | n |  | TRUE
54 | bus_LV_5410-2_1_4_node_161 | 0.4 | n |  | TRUE
55 | bus_LV_5410-2_1_4_node_163 | 0.4 | n |  | TRUE
56 | bus_LV_5410-2_1_4_node_166 | 0.4 | n |  | TRUE
57 | bus_LV_5410-2_1_4_node_167 | 0.4 | n |  | TRUE
58 | bus_LV_5410-2_1_4_node_197 | 0.4 | n |  | TRUE
59 | bus_LV_5410-2_1_4_node_198 | 0.4 | n |  | TRUE
60 | bus_LV_5410-2_1_4_node_169 | 0.4 | n |  | TRUE
61 | bus_LV_5410-2_1_4_node_170 | 0.4 | n |  | TRUE
62 | bus_LV_5410-2_1_4_node_171 | 0.4 | n |  | TRUE
63 | bus_LV_5410-2_1_4_node_172 | 0.4 | n |  | TRUE
64 | bus_LV_5410-2_1_4_node_173 | 0.4 | n |  | TRUE
65 | bus_LV_5410-2_1_4_node_174 | 0.4 | n |  | TRUE
66 | bus_LV_5410-2_1_4_node_175 | 0.4 | n |  | TRUE
67 | bus_LV_5410-2_1_4_node_176 | 0.4 | n |  | TRUE
68 | bus_LV_5410-2_1_4_node_207 | 0.4 | n |  | TRUE
69 | bus_LV_5410-2_1_4_node_195 | 0.4 | n |  | TRUE
70 | bus_LV_5410-2_1_4_node_212 | 0.4 | n |  | TRUE
71 | bus_LV_5410-2_1_4_node_209 | 0.4 | n |  | TRUE
72 | bus_LV_5410-2_1_4_node_204 | 0.4 | n |  | TRUE
73 | bus_LV_5410-2_1_4_node_205 | 0.4 | n |  | TRUE
74 | bus_LV_5410-2_1_4_node_206 | 0.4 | n |  | TRUE
75 | bus_LV_5410-2_1_4_node_208 | 0.4 | n |  | TRUE
76 | bus_LV_5410-2_1_4_node_210 | 0.4 | n |  | TRUE
77 | bus_LV_5410-2_1_4_node_211 | 0.4 | n |  | TRUE
78 | bus_LV_5410-2_1_4_node_271 | 0.4 | n |  | TRUE
79 | bus_LV_5410-2_1_4_node_270 | 0.4 | n |  | TRUE
80 | bus_LV_5410-2_1_4_node_272 | 0.4 | n |  | TRUE
81 | bus_LV_5410-2_1_4_node_273 | 0.4 | n |  | TRUE
82 | bus_LV_5410-2_1_4_node_274 | 0.4 | n |  | TRUE
83 | bus_LV_5410-2_1_4_node_278 | 0.4 | n |  | TRUE
84 | bus_LV_5410-2_1_4_node_275 | 0.4 | n |  | TRUE
85 | bus_LV_5410-2_1_4_node_276 | 0.4 | n |  | TRUE
86 | bus_LV_5410-2_1_4_node_277 | 0.4 | n |  | TRUE
87 | bus_LV_5410-2_1_4_node_279 | 0.4 | n |  | TRUE
88 | bus_LV_5410-2_1_4_node_280 | 0.4 | n |  | TRUE
89 | bus_LV_5410-2_1_4_node_281 | 0.4 | n |  | TRUE
90 | bus_LV_5410-2_1_4_node_311 | 0.4 | n |  | TRUE
91 | bus_LV_5410-2_1_4_node_300 | 0.4 | n |  | TRUE
92 | bus_LV_5410-2_1_4_node_301 | 0.4 | n |  | TRUE
93 | bus_LV_5410-2_1_4_node_302 | 0.4 | n |  | TRUE
94 | bus_LV_5410-2_1_4_node_304 | 0.4 | n |  | TRUE
95 | bus_LV_5410-2_1_4_node_305 | 0.4 | n |  | TRUE
96 | bus_LV_5410-2_1_4_node_306 | 0.4 | n |  | TRUE
97 | bus_LV_5410-2_1_4_node_307 | 0.4 | n |  | TRUE
98 | bus_LV_5410-2_1_4_node_343 | 0.4 | n |  | TRUE
99 | bus_LV_5410-2_1_4_node_308 | 0.4 | n |  | TRUE
100 | bus_LV_5410-2_1_4_node_340 | 0.4 | n |  | TRUE
101 | bus_LV_5410-2_1_4_node_310 | 0.4 | n |  | TRUE
102 | bus_LV_5410-2_1_4_node_313 | 0.4 | n |  | TRUE
103 | bus_LV_5410-2_1_4_node_314 | 0.4 | n |  | TRUE
104 | bus_LV_5410-2_1_4_node_316 | 0.4 | n |  | TRUE
105 | bus_LV_5410-2_1_4_node_320 | 0.4 | n |  | TRUE
106 | bus_LV_5410-2_1_4_node_321 | 0.4 | n |  | TRUE
107 | bus_LV_5410-2_1_4_node_317 | 0.4 | n |  | TRUE
108 | bus_LV_5410-2_1_4_node_318 | 0.4 | n |  | TRUE
109 | bus_LV_5410-2_1_4_node_335 | 0.4 | n |  | TRUE
110 | bus_LV_5410-2_1_4_node_338 | 0.4 | n |  | TRUE
111 | bus_LV_5410-2_1_4_node_339 | 0.4 | n |  | TRUE
112 | bus_LV_5410-2_1_4_node_329 | 0.4 | n |  | TRUE
113 | bus_LV_5410-2_1_4_node_331 | 0.4 | n |  | TRUE
114 | bus_LV_5410-2_1_4_node_336 | 0.4 | n |  | TRUE
115 | bus_LV_5410-2_1_4_node_334 | 0.4 | n |  | TRUE
116 | bus_LV_5410-2_1_4_node_337 | 0.4 | n |  | TRUE
117 | bus_MV_0_node_302 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5410-2_1_4_load_100 | 1 | 0.00024919 | 6.2453e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5410-2_1_4_load_101 | 2 | 0.00036413 | 9.1258e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5410-2_1_4_load_333 | 3 | 0.0014603 | 0.00036599 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5410-2_1_4_load_322 | 4 | 0.00041685 | 0.00010447 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5410-2_1_4_load_107 | 5 | 0.00024978 | 6.2601e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5410-2_1_4_load_108 | 6 | 0.00018076 | 4.5302e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5410-2_1_4_load_342 | 7 | 0.00014553 | 3.6473e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5410-2_1_4_load_111 | 9 | 0.0011912 | 0.00029853 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5410-2_1_4_load_114 | 10 | 0.00056648 | 0.00014197 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5410-2_1_4_load_117 | 14 | 0.00053371 | 0.00013376 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5410-2_1_4_load_118 | 16 | 0.00053867 | 0.000135 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5410-2_1_4_load_146 | 18 | 0.00069977 | 0.00017538 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5410-2_1_4_load_119 | 19 | 0.00057106 | 0.00014312 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5410-2_1_4_load_122 | 22 | 0.00043126 | 0.00010808 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5410-2_1_4_load_123 | 23 | 0.00050324 | 0.00012612 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5410-2_1_4_load_124 | 24 | 0.000615 | 0.00015413 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5410-2_1_4_load_151 | 25 | 0.00037487 | 9.3952e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5410-2_1_4_load_125 | 26 | 0.0003055 | 7.6566e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5410-2_1_4_load_128 | 30 | 0.00042316 | 0.00010606 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5410-2_1_4_load_133 | 31 | 0.00017744 | 4.447e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5410-2_1_4_load_131 | 34 | 0.00045435 | 0.00011387 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5410-2_1_4_load_132 | 35 | 0.00068975 | 0.00017287 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5410-2_1_4_load_309 | 36 | 0.00024267 | 6.082e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5410-2_1_4_load_134 | 39 | 0.00028918 | 7.2475e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5410-2_1_4_load_135 | 40 | 0.00023793 | 5.9632e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5410-2_1_4_load_341 | 41 | 0.00070482 | 0.00017664 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5410-2_1_4_load_136 | 42 | 0.0002592 | 6.4961e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5410-2_1_4_load_138 | 44 | 0.00033076 | 8.2895e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5410-2_1_4_load_139 | 45 | 0.00019237 | 4.8213e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5410-2_1_4_load_140 | 46 | 0.00027264 | 6.8329e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5410-2_1_4_load_141 | 47 | 0.00018481 | 4.6317e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5410-2_1_4_load_143 | 48 | 0.00019182 | 4.8075e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5410-2_1_4_load_319 | 50 | 0.00036987 | 9.2699e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5410-2_1_4_load_147 | 52 | 0.00075676 | 0.00018966 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5410-2_1_4_load_160 | 53 | 8.336e-05 | 2.0892e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5410-2_1_4_load_161 | 54 | 8.5726e-05 | 2.1485e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5410-2_1_4_load_166 | 56 | 0.00031327 | 7.8514e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5410-2_1_4_load_198 | 59 | 0.00054344 | 0.0001362 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5410-2_1_4_load_169 | 60 | 0.00035282 | 8.8424e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5410-2_1_4_load_171 | 62 | 0.00046584 | 0.00011675 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5410-2_1_4_load_172 | 63 | 0.00043172 | 0.0001082 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5410-2_1_4_load_173 | 64 | 0.00050483 | 0.00012652 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5410-2_1_4_load_174 | 65 | 0.00073959 | 0.00018536 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5410-2_1_4_load_176 | 67 | 0.00058248 | 0.00014598 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5410-2_1_4_load_207 | 68 | 0.00051157 | 0.00012821 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5410-2_1_4_load_195 | 69 | 0.00041289 | 0.00010348 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5410-2_1_4_load_212 | 70 | 0.00069692 | 0.00017466 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5410-2_1_4_load_209 | 71 | 0.00021582 | 5.4091e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5410-2_1_4_load_204 | 72 | 0.00068324 | 0.00017124 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5410-2_1_4_load_208 | 75 | 0.00051054 | 0.00012795 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5410-2_1_4_load_210 | 76 | 0.00078446 | 0.0001966 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5410-2_1_4_load_211 | 77 | 0.00025211 | 6.3185e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5410-2_1_4_load_271 | 78 | 0.00025653 | 6.4293e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5410-2_1_4_load_270 | 79 | 0.00066034 | 0.0001655 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5410-2_1_4_load_272 | 80 | 0.00032928 | 8.2525e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5410-2_1_4_load_273 | 81 | 0.00036597 | 9.172e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5410-2_1_4_load_274 | 82 | 0.00035274 | 8.8405e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5410-2_1_4_load_275 | 84 | 0.00035043 | 8.7825e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5410-2_1_4_load_276 | 85 | 0.00091365 | 0.00022898 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5410-2_1_4_load_277 | 86 | 0.00017923 | 4.492e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5410-2_1_4_load_279 | 87 | 0.00061883 | 0.00015509 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5410-2_1_4_load_280 | 88 | 0.00027282 | 6.8375e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5410-2_1_4_load_281 | 89 | 0.00017925 | 4.4925e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5410-2_1_4_load_300 | 91 | 0.00020988 | 5.26e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5410-2_1_4_load_301 | 92 | 0.00043468 | 0.00010894 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5410-2_1_4_load_305 | 95 | 0.00068787 | 0.0001724 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5410-2_1_4_load_306 | 96 | 0.0004061 | 0.00010178 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5410-2_1_4_load_307 | 97 | 0.00036276 | 9.0916e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5410-2_1_4_load_343 | 98 | 0.00048571 | 0.00012173 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5410-2_1_4_load_308 | 99 | 0.00044693 | 0.00011201 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5410-2_1_4_load_340 | 100 | 0.00064467 | 0.00016157 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5410-2_1_4_load_310 | 101 | 0.00026528 | 6.6485e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5410-2_1_4_load_313 | 102 | 0.00017574 | 4.4044e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5410-2_1_4_load_314 | 103 | 0.00063138 | 0.00015824 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5410-2_1_4_load_316 | 104 | 0.00043428 | 0.00010884 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5410-2_1_4_load_320 | 105 | 0.00034496 | 8.6454e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5410-2_1_4_load_321 | 106 | 0.00074515 | 0.00018675 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5410-2_1_4_load_317 | 107 | 0.00028159 | 7.0574e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5410-2_1_4_load_318 | 108 | 0.00060718 | 0.00015217 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5410-2_1_4_load_338 | 110 | 0.0006018 | 0.00015083 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5410-2_1_4_load_339 | 111 | 0.00031323 | 7.8504e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5410-2_1_4_load_329 | 112 | 0.00039815 | 9.9787e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5410-2_1_4_load_331 | 113 | 0.0002082 | 5.2181e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5410-2_1_4_load_336 | 114 | 0.00025425 | 6.3722e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5410-2_1_4_load_334 | 115 | 0.00047044 | 0.0001179 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 93 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5410-2_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.060515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5410-2_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0067591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5410-2_1_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.12021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5410-2_1_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.17478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5410-2_1_4_line_4 | NAYY 4x150 SE | 3 | 115 | 0.0088374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5410-2_1_4_line_5 | NAYY 4x150 SE | 3 | 109 | 0.08598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5410-2_1_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.014454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5410-2_1_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.22225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5410-2_1_4_line_8 | NAYY 4x150 SE | 7 | 12 | 0.22291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5410-2_1_4_line_9 | NAYY 4x150 SE | 7 | 29 | 0.2177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5410-2_1_4_line_10 | NAYY 4x150 SE | 8 | 9 | 0.086792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5410-2_1_4_line_11 | NAYY 4x150 SE | 8 | 10 | 0.25334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5410-2_1_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.01954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5410-2_1_4_line_13 | NAYY 4x150 SE | 10 | 15 | 0.022471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5410-2_1_4_line_14 | NAYY 4x150 SE | 11 | 17 | 0.013297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5410-2_1_4_line_15 | NAYY 4x150 SE | 11 | 18 | 0.068974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5410-2_1_4_line_16 | NAYY 4x150 SE | 12 | 13 | 0.055152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5410-2_1_4_line_17 | NAYY 4x150 SE | 13 | 14 | 0.072836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5410-2_1_4_line_18 | NAYY 4x150 SE | 14 | 15 | 0.27933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5410-2_1_4_line_19 | NAYY 4x150 SE | 15 | 16 | 0.27598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5410-2_1_4_line_20 | NAYY 4x150 SE | 16 | 19 | 0.21294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5410-2_1_4_line_21 | NAYY 4x150 SE | 17 | 52 | 0.010603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5410-2_1_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.16904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5410-2_1_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.03101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5410-2_1_4_line_24 | NAYY 4x150 SE | 20 | 22 | 0.02177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5410-2_1_4_line_25 | NAYY 4x150 SE | 21 | 23 | 0.077265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5410-2_1_4_line_26 | NAYY 4x150 SE | 22 | 24 | 0.15676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5410-2_1_4_line_27 | NAYY 4x150 SE | 24 | 25 | 0.098855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5410-2_1_4_line_28 | NAYY 4x150 SE | 26 | 27 | 0.038311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5410-2_1_4_line_29 | NAYY 4x150 SE | 26 | 28 | 0.23016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_5410-2_1_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5410-2_1_4_line_31 | NAYY 4x150 SE | 27 | 30 | 0.077476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5410-2_1_4_line_32 | NAYY 4x150 SE | 28 | 34 | 0.20874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_5410-2_1_4_line_33 | NAYY 4x150 SE | 28 | 46 | 0.0083534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5410-2_1_4_line_34 | NAYY 4x150 SE | 29 | 31 | 0.093908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5410-2_1_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.10524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5410-2_1_4_line_36 | NAYY 4x150 SE | 32 | 34 | 0.068867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_5410-2_1_4_line_37 | NAYY 4x150 SE | 32 | 35 | 0.16395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5410-2_1_4_line_38 | NAYY 4x150 SE | 33 | 36 | 0.014486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5410-2_1_4_line_39 | NAYY 4x150 SE | 33 | 37 | 0.068631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_5410-2_1_4_line_40 | NAYY 4x150 SE | 35 | 38 | 0.019165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5410-2_1_4_line_41 | NAYY 4x150 SE | 37 | 96 | 0.090516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5410-2_1_4_line_42 | NAYY 4x150 SE | 37 | 92 | 0.20164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_5410-2_1_4_line_43 | NAYY 4x150 SE | 38 | 102 | 0.07116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5410-2_1_4_line_44 | NAYY 4x150 SE | 38 | 90 | 0.093664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5410-2_1_4_line_45 | NAYY 4x150 SE | 39 | 40 | 0.027079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5410-2_1_4_line_46 | NAYY 4x150 SE | 39 | 41 | 0.1292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5410-2_1_4_line_47 | NAYY 4x150 SE | 41 | 100 | 0.08089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5410-2_1_4_line_48 | NAYY 4x150 SE | 42 | 43 | 0.032919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5410-2_1_4_line_49 | NAYY 4x150 SE | 42 | 44 | 0.029014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5410-2_1_4_line_50 | NAYY 4x150 SE | 43 | 45 | 0.020233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5410-2_1_4_line_51 | NAYY 4x150 SE | 43 | 46 | 0.031453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5410-2_1_4_line_52 | NAYY 4x150 SE | 45 | 47 | 0.073051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5410-2_1_4_line_53 | NAYY 4x150 SE | 47 | 48 | 0.17661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5410-2_1_4_line_54 | NAYY 4x150 SE | 48 | 49 | 0.091666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5410-2_1_4_line_55 | NAYY 4x150 SE | 49 | 50 | 0.14852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5410-2_1_4_line_56 | NAYY 4x150 SE | 49 | 51 | 0.076528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5410-2_1_4_line_57 | NAYY 4x150 SE | 51 | 104 | 0.18171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5410-2_1_4_line_58 | NAYY 4x150 SE | 51 | 103 | 0.12611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5410-2_1_4_line_59 | NAYY 4x150 SE | 53 | 54 | 0.0020508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5410-2_1_4_line_60 | NAYY 4x150 SE | 54 | 55 | 0.15041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5410-2_1_4_line_61 | NAYY 4x150 SE | 55 | 56 | 0.030176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5410-2_1_4_line_62 | NAYY 4x150 SE | 55 | 57 | 0.01895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5410-2_1_4_line_63 | NAYY 4x150 SE | 57 | 58 | 0.14113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5410-2_1_4_line_64 | NAYY 4x150 SE | 57 | 59 | 0.086555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5410-2_1_4_line_65 | NAYY 4x150 SE | 58 | 70 | 0.050468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5410-2_1_4_line_66 | NAYY 4x150 SE | 58 | 71 | 0.036766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5410-2_1_4_line_67 | NAYY 4x150 SE | 60 | 61 | 0.11245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5410-2_1_4_line_68 | NAYY 4x150 SE | 60 | 62 | 0.0096359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5410-2_1_4_line_69 | NAYY 4x150 SE | 61 | 63 | 0.11588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5410-2_1_4_line_70 | NAYY 4x150 SE | 61 | 64 | 0.0085256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5410-2_1_4_line_71 | NAYY 4x150 SE | 63 | 65 | 0.017853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5410-2_1_4_line_72 | NAYY 4x150 SE | 63 | 66 | 0.008943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5410-2_1_4_line_73 | NAYY 4x150 SE | 64 | 67 | 0.072961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5410-2_1_4_line_74 | NAYY 4x150 SE | 66 | 68 | 0.11557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5410-2_1_4_line_75 | NAYY 4x150 SE | 67 | 69 | 0.068462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5410-2_1_4_line_76 | NAYY 4x150 SE | 68 | 73 | 0.042059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5410-2_1_4_line_77 | NAYY 4x150 SE | 71 | 74 | 0.029019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5410-2_1_4_line_78 | NAYY 4x150 SE | 72 | 73 | 0.0020767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5410-2_1_4_line_79 | NAYY 4x150 SE | 72 | 74 | 0.028115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5410-2_1_4_line_80 | NAYY 4x150 SE | 73 | 75 | 0.058087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5410-2_1_4_line_81 | NAYY 4x150 SE | 74 | 76 | 0.055518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5410-2_1_4_line_82 | NAYY 4x150 SE | 75 | 77 | 0.036001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5410-2_1_4_line_83 | NAYY 4x150 SE | 77 | 78 | 0.02371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5410-2_1_4_line_84 | NAYY 4x150 SE | 78 | 79 | 0.016649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5410-2_1_4_line_85 | NAYY 4x150 SE | 79 | 80 | 0.018965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5410-2_1_4_line_86 | NAYY 4x150 SE | 80 | 81 | 0.016074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5410-2_1_4_line_87 | NAYY 4x150 SE | 81 | 82 | 0.026949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5410-2_1_4_line_88 | NAYY 4x150 SE | 82 | 83 | 0.021248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5410-2_1_4_line_89 | NAYY 4x150 SE | 82 | 84 | 0.017121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5410-2_1_4_line_90 | NAYY 4x150 SE | 83 | 88 | 0.020495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5410-2_1_4_line_91 | NAYY 4x150 SE | 84 | 85 | 0.016058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5410-2_1_4_line_92 | NAYY 4x150 SE | 85 | 86 | 0.034203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5410-2_1_4_line_93 | NAYY 4x150 SE | 86 | 87 | 0.0065886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5410-2_1_4_line_94 | NAYY 4x150 SE | 87 | 89 | 0.015139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5410-2_1_4_line_95 | NAYY 4x150 SE | 89 | 90 | 0.0097731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5410-2_1_4_line_96 | NAYY 4x150 SE | 90 | 101 | 0.022925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5410-2_1_4_line_97 | NAYY 4x150 SE | 91 | 92 | 0.026411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
98 | LV_5410-2_1_4_line_98 | NAYY 4x150 SE | 91 | 93 | 0.024008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
99 | LV_5410-2_1_4_line_99 | NAYY 4x150 SE | 93 | 94 | 0.1237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5410-2_1_4_line_100 | NAYY 4x150 SE | 93 | 95 | 0.1157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5410-2_1_4_line_101 | NAYY 4x150 SE | 94 | 97 | 0.041529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5410-2_1_4_line_102 | NAYY 4x150 SE | 95 | 98 | 0.14618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5410-2_1_4_line_103 | NAYY 4x150 SE | 96 | 99 | 0.046859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5410-2_1_4_line_104 | NAYY 4x150 SE | 99 | 100 | 0.043889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5410-2_1_4_line_105 | NAYY 4x150 SE | 104 | 105 | 0.065904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5410-2_1_4_line_106 | NAYY 4x150 SE | 104 | 106 | 0.22202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5410-2_1_4_line_107 | NAYY 4x150 SE | 105 | 110 | 0.22219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5410-2_1_4_line_108 | NAYY 4x150 SE | 106 | 111 | 0.0076834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5410-2_1_4_line_109 | NAYY 4x150 SE | 107 | 108 | 0.15277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5410-2_1_4_line_110 | NAYY 4x150 SE | 108 | 109 | 0.21623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5410-2_1_4_line_111 | NAYY 4x150 SE | 109 | 116 | 0.12883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5410-2_1_4_line_112 | NAYY 4x150 SE | 110 | 116 | 0.027585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5410-2_1_4_line_113 | NAYY 4x150 SE | 112 | 113 | 0.02714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5410-2_1_4_line_114 | NAYY 4x150 SE | 113 | 114 | 0.023562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_5410-2_1_4_line_115 | NAYY 4x150 SE | 114 | 115 | 0.017121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5410-2_1_4_trafo_302 | 0.25 MVA 20/0.4 kV | 117 | 93 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2572720.7282 | 1135945.7031 | 2572724.1965 | 1135960.5614 | 2572734.8323 | 1135986.5039 | 2572745.2843 | 1136000.1882
1 | 2572720.7282 | 1135945.7031 | 2572718.0725 | 1135945.4594 | 2572714.9643 | 1135942.7975
2 | 2572860.9015 | 1135967.276 | 2572745.2843 | 1136000.1882
3 | 2572634.3782 | 1135796.232 | 2572640.0849 | 1135800.6971 | 2572642.9933 | 1135809.1103 | 2572644.7573 | 1135831.5356 | 2572648.0793 | 1135844.627 | 2572654.2103 | 1135862.8971 | 2572657.5338 | 1135879.7237 | 2572662.4151 | 1135890.518 | 2572670.6161 | 1135900.3857 | 2572706.0305 | 1135931.8517 | 2572713.7082 | 1135941.7218 | 2572714.9643 | 1135942.7975
4 | 2572860.9015 | 1135967.276 | 2572861.7883 | 1135960.5506 | 2572862.4382 | 1135958.6023
5 | 2572890.6846 | 1136046.7409 | 2572884.6456 | 1136028.2034 | 2572861.7872 | 1135982.4837 | 2572860.2408 | 1135972.2856 | 2572860.9015 | 1135967.276
6 | 2572566.657 | 1137497.9684 | 2572560.1049 | 1137488.6768 | 2572557.4108 | 1137487.1747
7 | 2572637.8575 | 1137279.997 | 2572557.4108 | 1137487.1747
8 | 2572637.8575 | 1137279.997 | 2572464.6436 | 1137139.6951
9 | 2572822.3615 | 1137164.448 | 2572637.8575 | 1137279.997
10 | 2571853.3107 | 1136947.7165 | 2571821.9953 | 1136923.8401 | 2571796.5237 | 1136919.057 | 2571778.6067 | 1136907.181
11 | 2571853.3107 | 1136947.7165 | 2572077.021 | 1137066.6138
12 | 2571760.2399 | 1136903.764 | 2571766.807 | 1136903.144 | 2571772.909 | 1136903.4044 | 2571778.6067 | 1136907.181
13 | 2572099.4912 | 1137066.8406 | 2572077.021 | 1137066.6138
14 | 2571760.2399 | 1136903.764 | 2571749.2973 | 1136911.3636
15 | 2571760.2399 | 1136903.764 | 2571740.4973 | 1136893.5738 | 2571723.5193 | 1136882.3257 | 2571703.351 | 1136874.8946 | 2571698.9606 | 1136872.7244
16 | 2572464.6436 | 1137139.6951 | 2572452.8515 | 1137124.8195 | 2572424.8513 | 1137101.8029
17 | 2572424.8513 | 1137101.8029 | 2572407.2959 | 1137085.0195 | 2572385.6102 | 1137056.7383 | 2572378.0582 | 1137046.2672
18 | 2572099.4912 | 1137066.8406 | 2572378.0582 | 1137046.2672
19 | 2572157.42 | 1136797.0107 | 2572099.4912 | 1137066.8406
20 | 2572040.7309 | 1136635.9645 | 2572048.999 | 1136639.029 | 2572065.3393 | 1136648.7803 | 2572073.8277 | 1136657.5786 | 2572089.541 | 1136681.462 | 2572091.4231 | 1136692.4587 | 2572093.3091 | 1136724.2102 | 2572097.0871 | 1136734.2643 | 2572103.6827 | 1136743.0604 | 2572121.287 | 1136760.0317 | 2572125.6827 | 1136767.2705 | 2572132.5993 | 1136783.9245 | 2572139.5155 | 1136790.518 | 2572149.2588 | 1136794.6082 | 2572157.42 | 1136797.0107
21 | 2571742.9287 | 1136919.8532 | 2571749.2973 | 1136911.3636
22 | 2572156.1675 | 1136621.746 | 2572148.3159 | 1136625.8288 | 2572124.4302 | 1136626.4619 | 2572109.966 | 1136621.4264 | 2572087.3401 | 1136611.6931 | 2572072.5692 | 1136608.5489 | 2572035.4793 | 1136610.4332 | 2572026.9969 | 1136614.5191 | 2572022.9115 | 1136621.1191 | 2572022.5912 | 1136628.3464 | 2572029.5084 | 1136631.8049 | 2572040.7309 | 1136635.9645
23 | 2572156.1675 | 1136621.746 | 2572160.3422 | 1136631.0757 | 2572157.1213 | 1136651.612
24 | 2572156.1675 | 1136621.746 | 2572156.169 | 1136610.4292 | 2572147.9164 | 1136604.0132
25 | 2572200.5883 | 1136702.8809 | 2572196.9262 | 1136692.8929 | 2572194.2697 | 1136687.4136 | 2572190.1325 | 1136682.8304 | 2572186.2475 | 1136679.5578 | 2572182.3675 | 1136677.3525 | 2572167.5167 | 1136676.8542 | 2572160.5862 | 1136672.1617 | 2572155.6392 | 1136660.5232 | 2572157.1213 | 1136651.612
26 | 2572025.9831 | 1136510.8757 | 2572082.9398 | 1136573.6613 | 2572098.0261 | 1136583.3962 | 2572126.6268 | 1136594.0912 | 2572147.6832 | 1136603.8319 | 2572147.9164 | 1136604.0132
27 | 2572025.9831 | 1136510.8757 | 2572025.5492 | 1136412.0221
28 | 2572984.6937 | 1137254.4729 | 2572985.8606 | 1137253.9341 | 2572986.7825 | 1137251.9623 | 2572986.6651 | 1137249.7951 | 2572985.7877 | 1137246.2639 | 2572982.8587 | 1137239.8517 | 2572979.368 | 1137235.1317 | 2572976.4427 | 1137229.542 | 2572976.0387 | 1137226.9425 | 2572976.8895 | 1137224.5487 | 2572978.6663 | 1137222.7842 | 2572980.4923 | 1137221.6755
29 | 2573102.7902 | 1137026.6976 | 2572980.4923 | 1137221.6755
30 | 2572822.3615 | 1137164.448 | 2572823.6091 | 1137166.4545 | 2572827.4431 | 1137168.805 | 2572835.1434 | 1137170.4377 | 2572840.6122 | 1137170.2574 | 2572847.1891 | 1137170.1277 | 2572854.1707 | 1137169.3402 | 2572858.9254 | 1137169.4633 | 2572863.5825 | 1137170.0982 | 2572867.6945 | 1137172.7031 | 2572871.2068 | 1137177.0784 | 2572875.7221 | 1137183.8058 | 2572881.3772 | 1137192.518 | 2572887.1018 | 1137199.5846 | 2572892.1683 | 1137204.0195 | 2572898.8754 | 1137207.202 | 2572906.6888 | 1137210.0571 | 2572922.2006 | 1137214.156 | 2572930.366 | 1137216.5871 | 2572936.6783 | 1137219.2378 | 2572941.7719 | 1137222.85 | 2572947.3111 | 1137228.0722 | 2572952.4506 | 1137233.3628 | 2572958.4095 | 1137237.8271 | 2572965.6594 | 1137241.9633 | 2572971.5749 | 1137245.3273 | 2572976.9243 | 1137249.4053 | 2572978.9478 | 1137252.8979 | 2572980.9948 | 1137254.7785 | 2572983.7494 | 1137254.9107 | 2572984.6937 | 1137254.4729
31 | 2572984.6937 | 1137254.4729 | 2572985.1798 | 1137256.5162 | 2572983.3811 | 1137261.9714 | 2572982.692 | 1137266.1099 | 2572984.4328 | 1137270.0373 | 2572987.0764 | 1137272.8491 | 2572991.7458 | 1137276.2632 | 2572995.5089 | 1137279.9815 | 2573000.5018 | 1137286.9181 | 2573005.0875 | 1137293.9565 | 2573008.1442 | 1137299.6901 | 2573013.0362 | 1137306.4271 | 2573018.2305 | 1137313.674 | 2573019.9668 | 1137316.5899 | 2573020.0763 | 1137318.7127
32 | 2573102.7902 | 1137026.6976 | 2573096.9784 | 1137025.9121 | 2573089.3651 | 1137021.3772 | 2573086.1476 | 1137019.2683 | 2573082.0603 | 1137015.318 | 2573076.2265 | 1137006.1729 | 2573066.3041 | 1136989.3756 | 2573060.7992 | 1136981.5408 | 2573054.411 | 1136974.0323 | 2573008.6721 | 1136927.014 | 2572997.6236 | 1136918.2147 | 2572961.9465 | 1136898.5763 | 2572952.5815 | 1136891.2147 | 2572950.8809 | 1136889.6183
33 | 2573102.7902 | 1137026.6976 | 2573107.2692 | 1137025.3325 | 2573110.3213 | 1137023.2926
34 | 2572822.3615 | 1137164.448 | 2572821.1716 | 1137164.9981 | 2572820.9156 | 1137166.2332 | 2572821.2141 | 1137169.3001 | 2572824.3846 | 1137172.9209 | 2572829.1894 | 1137175.6116 | 2572833.1387 | 1137177.9505 | 2572841.6059 | 1137182.4701 | 2572848.6311 | 1137186.2292 | 2572851.1498 | 1137188.6412 | 2572853.1016 | 1137193.268 | 2572854.6361 | 1137199.1863 | 2572858.0509 | 1137210.9323 | 2572861.9439 | 1137217.8403 | 2572865.8342 | 1137222.4584 | 2572870.0807 | 1137227.5752 | 2572875.6172 | 1137233.8978
35 | 2572898.9185 | 1136847.9458 | 2572895.1101 | 1136851.309 | 2572889.4468 | 1136849.378 | 2572866.7045 | 1136825.2908 | 2572834.9048 | 1136810.9605 | 2572816.3222 | 1136794.9364 | 2572814.6723 | 1136794.1768
36 | 2572898.9185 | 1136847.9458 | 2572910.8648 | 1136849.3482 | 2572916.3656 | 1136856.2047 | 2572922.905 | 1136863.0564 | 2572943.5886 | 1136882.7732 | 2572950.8809 | 1136889.6183
37 | 2572898.9185 | 1136847.9458 | 2572883.1514 | 1136828.3849 | 2572867.7491 | 1136806.1544 | 2572845.2008 | 1136762.0453 | 2572834.086 | 1136740.3958 | 2572821.4018 | 1136717.0526 | 2572814.8732 | 1136707.7788
38 | 2572808.514 | 1136781.4539 | 2572812.4673 | 1136788.0171 | 2572814.9649 | 1136792.5302 | 2572814.6723 | 1136794.1768
39 | 2572753.0101 | 1136765.3302 | 2572755.9779 | 1136764.9277 | 2572758.4591 | 1136765.7947 | 2572767.8686 | 1136772.6889 | 2572814.6723 | 1136794.1768
40 | 2572803.2958 | 1136692.5111 | 2572812.0248 | 1136703.7328 | 2572814.8732 | 1136707.7788
41 | 2572753.0101 | 1136765.3302 | 2572752.0364 | 1136767.7692 | 2572754.1136 | 1136772.8623 | 2572769.8683 | 1136796.3471 | 2572779.6081 | 1136821.849 | 2572790.2618 | 1136846.452
42 | 2572753.0101 | 1136765.3302 | 2572748.0256 | 1136757.0153 | 2572744.2045 | 1136750.7851 | 2572739.2673 | 1136742.7368 | 2572735.1096 | 1136736.9417 | 2572730.9117 | 1136732.4362 | 2572725.6898 | 1136729.4806 | 2572718.8141 | 1136726.577 | 2572714.5748 | 1136724.8509 | 2572708.7286 | 1136721.6425 | 2572704.2826 | 1136718.4166 | 2572698.7931 | 1136714.1283 | 2572691.6469 | 1136707.5797 | 2572683.5674 | 1136700.5128 | 2572679.5731 | 1136696.8291 | 2572674.25 | 1136693.6184 | 2572668.0459 | 1136691.2231 | 2572661.5373 | 1136689.563 | 2572655.9629 | 1136688.6101 | 2572651.5158 | 1136686.8739 | 2572646.5026 | 1136684.1286 | 2572641.1663 | 1136679.7285 | 2572634.6304 | 1136672.0432 | 2572618.8609 | 1136652.2607 | 2572612.22 | 1136645.1985 | 2572606.3757 | 1136640.7562 | 2572603.1489 | 1136638.7332
43 | 2572773.0113 | 1136630.684 | 2572776.4517 | 1136637.772 | 2572782.4862 | 1136648.5945 | 2572787.6776 | 1136656.6973 | 2572797.8511 | 1136670.8917 | 2572800.8633 | 1136675.2024 | 2572804.5262 | 1136685.5688 | 2572804.9071 | 1136689.8358 | 2572804.5986 | 1136691.3824 | 2572803.2958 | 1136692.5111
44 | 2572741.5205 | 1136621.9778 | 2572757.9457 | 1136640.5237 | 2572779.9462 | 1136665.3476 | 2572801.3302 | 1136689.9854 | 2572803.2958 | 1136692.5111
45 | 2572672.9233 | 1137045.11 | 2572667.1376 | 1137038.2217 | 2572664.7443 | 1137034.6753 | 2572662.1461 | 1137030.0403 | 2572661.633 | 1137025.4959 | 2572663.7953 | 1137022.2289
46 | 2572739.6751 | 1136917.6604 | 2572663.7953 | 1137022.2289
47 | 2572756.9323 | 1136855.1154 | 2572756.4067 | 1136854.5147 | 2572748.6685 | 1136853.0823 | 2572745.2327 | 1136863.97 | 2572744.9447 | 1136919.2654 | 2572739.6751 | 1136917.6604
48 | 2573130.4586 | 1137000.0497 | 2573133.3726 | 1137001.404 | 2573138.4627 | 1137002.5152 | 2573143.1926 | 1137003.9281 | 2573151.222 | 1137006.8826 | 2573156.8086 | 1137008.9254 | 2573159.6899 | 1137011.5583 | 2573160.3119 | 1137012.5285
49 | 2573174.4704 | 1137036.1713 | 2573171.4605 | 1137035.7622 | 2573169.5198 | 1137033.5587 | 2573167.9993 | 1137028.9965 | 2573165.68 | 1137023.015 | 2573162.7887 | 1137016.3913 | 2573160.3119 | 1137012.5285
50 | 2573130.4586 | 1137000.0497 | 2573130.4601 | 1136990.0669 | 2573126.7785 | 1136980.5009
51 | 2573130.4586 | 1137000.0497 | 2573128.9489 | 1137004.8143 | 2573121.0837 | 1137014.4987 | 2573116.7802 | 1137018.9757 | 2573110.3213 | 1137023.2926
52 | 2573125.0695 | 1136907.6596 | 2573125.1568 | 1136924.0245 | 2573124.132 | 1136951.2093 | 2573124.6381 | 1136968.0487 | 2573126.7785 | 1136980.5009
53 | 2573057.2005 | 1136748.6983 | 2573078.6841 | 1136781.7839 | 2573109.9639 | 1136833.0695 | 2573117.7822 | 1136848.9758 | 2573122.7279 | 1136869.3972 | 2573125.0152 | 1136897.4787 | 2573125.0695 | 1136907.6596
54 | 2573031.8526 | 1136662.9569 | 2573030.8978 | 1136674.7781 | 2573031.3202 | 1136690.0505 | 2573038.0251 | 1136711.52 | 2573045.8995 | 1136731.2945 | 2573057.2005 | 1136748.6983
55 | 2573031.8526 | 1136662.9569 | 2573030.0729 | 1136662.3868 | 2573030.0843 | 1136654.6273 | 2573030.6265 | 1136636.5715 | 2573029.7287 | 1136631.951 | 2573028.165 | 1136628.1006 | 2573025.775 | 1136625.2765 | 2573022.0051 | 1136623.5481 | 2573018.6494 | 1136623.2519 | 2573009.7863 | 1136624.9369 | 2572995.8238 | 1136630.4023 | 2572980.1844 | 1136639.3213 | 2572969.7986 | 1136648.0056 | 2572963.078 | 1136655.6396 | 2572955.5432 | 1136666.9902 | 2572944.3783 | 1136685.4495
56 | 2573031.8526 | 1136662.9569 | 2573032.0277 | 1136660.8106 | 2573045.3402 | 1136623.6436 | 2573049.2722 | 1136598.0133 | 2573044.8365 | 1136590.2182
57 | 2572911.1465 | 1136471.1038 | 2572941.598 | 1136505.1948 | 2572990.9001 | 1136532.7648 | 2573032.7469 | 1136568.9729 | 2573044.8365 | 1136590.2182
58 | 2573044.8365 | 1136590.2182 | 2573067.8062 | 1136585.991 | 2573087.4815 | 1136584.8803 | 2573097.561 | 1136581.6225 | 2573111.3416 | 1136583.6285 | 2573127.3682 | 1136602.7553 | 2573136.5364 | 1136622.8355 | 2573140.9529 | 1136633.4544
59 | 2572308.0531 | 1136084.2812 | 2572309.4315 | 1136085.7997
60 | 2572390.5418 | 1136211.9073 | 2572387.3509 | 1136209.0316 | 2572381.4357 | 1136202.6667 | 2572375.6581 | 1136194.4336 | 2572351.8745 | 1136154.0338 | 2572327.5799 | 1136114.6926 | 2572320.4754 | 1136100.7072 | 2572310.0302 | 1136086.4593 | 2572309.4315 | 1136085.7997
61 | 2572390.5418 | 1136211.9073 | 2572388.5429 | 1136215.5961 | 2572389.6898 | 1136220.7378 | 2572393.3356 | 1136225.5012 | 2572397.9773 | 1136230.9938 | 2572402.4523 | 1136237.0652
62 | 2572390.5418 | 1136211.9073 | 2572394.6598 | 1136215.6236 | 2572402.2317 | 1136220.8359 | 2572405.9038 | 1136222.9646
63 | 2572481.5148 | 1136334.207 | 2572480.7807 | 1136331.8314 | 2572478.4157 | 1136322.771 | 2572474.398 | 1136305.6365 | 2572470.3515 | 1136290.6253 | 2572467.3397 | 1136283.1576 | 2572464.96 | 1136277.6213 | 2572460.9659 | 1136270.7028 | 2572456.7736 | 1136264.1743 | 2572450.7291 | 1136256.4425 | 2572444.7062 | 1136250.0669 | 2572439.3219 | 1136243.6884 | 2572432.5777 | 1136237.7386 | 2572415.9173 | 1136228.7549 | 2572405.9038 | 1136222.9646
64 | 2572405.9038 | 1136222.9646 | 2572409.6478 | 1136220.6129 | 2572414.2965 | 1136220.9473 | 2572423.2275 | 1136222.207 | 2572434.9166 | 1136225.9553 | 2572447.331 | 1136231.8348 | 2572458.5556 | 1136238.3088 | 2572471.3304 | 1136245.6096 | 2572482.5489 | 1136250.7831 | 2572484.7244 | 1136251.8351
65 | 2572481.5148 | 1136334.207 | 2572478.5103 | 1136335.0434 | 2572475.7178 | 1136333.4553 | 2572472.7011 | 1136326.5879 | 2572469.1409 | 1136316.955 | 2572466.1826 | 1136307.7084 | 2572465.056 | 1136300.2654 | 2572460.0535 | 1136292.6272
66 | 2572481.5148 | 1136334.207 | 2572482.6237 | 1136337.7815 | 2572485.2738 | 1136343.5722 | 2572491.7836 | 1136353.8142 | 2572496.5037 | 1136359.6733 | 2572500.831 | 1136365.1696
67 | 2572328.9697 | 1136226.1415 | 2572327.1373 | 1136225.8943 | 2572322.7353 | 1136225.6811 | 2572316.1654 | 1136222.5097 | 2572301.9658 | 1136216.6388 | 2572292.0643 | 1136211.8153 | 2572284.4232 | 1136208.2932 | 2572278.2274 | 1136207.8437 | 2572273.4719 | 1136209.4108 | 2572269.5529 | 1136212.1525 | 2572265.7635 | 1136216.3276 | 2572261.6323 | 1136224.773 | 2572257.7478 | 1136235.0071 | 2572255.4037 | 1136242.2548 | 2572252.9196 | 1136245.8236 | 2572248.9941 | 1136247.1535 | 2572243.1555 | 1136245.7575
68 | 2572237.7567 | 1136237.9452 | 2572240.0406 | 1136242.6814 | 2572243.1555 | 1136245.7575
69 | 2572328.9697 | 1136226.1415 | 2572333.9747 | 1136230.3206 | 2572342.8077 | 1136238.7286 | 2572377.6216 | 1136271.8408 | 2572392.5557 | 1136286.9353 | 2572401.4061 | 1136294.1316 | 2572408.9261 | 1136298.1325 | 2572416.0304 | 1136302.0908
70 | 2572328.9697 | 1136226.1415 | 2572324.7345 | 1136222.0479 | 2572322.8542 | 1136220.2014
71 | 2572416.0304 | 1136302.0908 | 2572415.1113 | 1136304.6852 | 2572415.456 | 1136306.0287 | 2572425.011 | 1136315.8898
72 | 2572416.0304 | 1136302.0908 | 2572422.8956 | 1136305.9057 | 2572423.7911 | 1136306.5574
73 | 2572270.8451 | 1136171.0486 | 2572276.5589 | 1136174.6905 | 2572288.2313 | 1136181.4512 | 2572299.9502 | 1136189.9682 | 2572306.7907 | 1136196.7401 | 2572313.4332 | 1136207.2925 | 2572318.4585 | 1136215.8848 | 2572322.8542 | 1136220.2014
74 | 2572423.7911 | 1136306.5574 | 2572431.0167 | 1136311.8047 | 2572443.2174 | 1136323.1434 | 2572455.08 | 1136337.9297 | 2572473.2812 | 1136360.8801 | 2572482.6258 | 1136371.8762 | 2572494.4571 | 1136381.5491 | 2572503.6173 | 1136389.3332
75 | 2572270.8451 | 1136171.0486 | 2572266.689 | 1136168.3995 | 2572252.8805 | 1136163.9498 | 2572224.2988 | 1136157.7452 | 2572205.2103 | 1136152.5653
76 | 2572536.8134 | 1136412.182 | 2572535.0961 | 1136413.535 | 2572532.7073 | 1136412.7121 | 2572525.5306 | 1136406.3417 | 2572520.5133 | 1136402.7962 | 2572507.2478 | 1136392.4183 | 2572503.6173 | 1136389.3332
77 | 2572518.178 | 1136388.4331 | 2572515.4067 | 1136384.7216 | 2572501.0386 | 1136365.4333 | 2572500.831 | 1136365.1696
78 | 2572536.8134 | 1136412.182 | 2572535.5336 | 1136410.5464
79 | 2572518.178 | 1136388.4331 | 2572522.6448 | 1136394.4268 | 2572530.4519 | 1136404.0515 | 2572535.5336 | 1136410.5464
80 | 2572536.8134 | 1136412.182 | 2572548.3908 | 1136426.9588 | 2572559.4253 | 1136439.0922 | 2572569.8675 | 1136449.5943 | 2572575.9621 | 1136454.9357
81 | 2572518.178 | 1136388.4331 | 2572522.3915 | 1136386.146 | 2572525.4927 | 1136386.2541 | 2572530.9766 | 1136387.5297 | 2572534.4245 | 1136387.7586 | 2572541.2132 | 1136386.6604 | 2572548.231 | 1136385.1943 | 2572554.663 | 1136385.165 | 2572561.1025 | 1136386.8031 | 2572565.9901 | 1136388.9152 | 2572569.6956 | 1136391.633 | 2572570.4945 | 1136392.894
82 | 2572575.9621 | 1136454.9357 | 2572593.25 | 1136470.0868 | 2572602.8397 | 1136478.8837
83 | 2572602.8397 | 1136478.8837 | 2572615.5706 | 1136490.5621 | 2572620.0505 | 1136495.1796
84 | 2572631.4584 | 1136507.2934 | 2572629.616 | 1136505.0387 | 2572620.0505 | 1136495.1796
85 | 2572631.4584 | 1136507.2934 | 2572637.5076 | 1136514.6965 | 2572642.5009 | 1136522.6663
86 | 2572650.9741 | 1136536.3262 | 2572642.9248 | 1136523.3428 | 2572642.5009 | 1136522.6663
87 | 2572666.7564 | 1136558.1185 | 2572663.5543 | 1136554.3979 | 2572655.6667 | 1136543.8951 | 2572650.9741 | 1136536.3262
88 | 2572666.7564 | 1136558.1185 | 2572668.9797 | 1136556.3853 | 2572670.9907 | 1136555.3535 | 2572674.3358 | 1136554.9714 | 2572676.5065 | 1136555.2172 | 2572686.8359 | 1136557.905
89 | 2572666.7564 | 1136558.1185 | 2572671.2811 | 1136563.3783 | 2572679.2241 | 1136569.7493
90 | 2572706.7773 | 1136562.8503 | 2572691.8973 | 1136559.3717 | 2572686.8359 | 1136557.905
91 | 2572679.2241 | 1136569.7493 | 2572688.1223 | 1136576.8864 | 2572692.0575 | 1136579.366
92 | 2572692.0575 | 1136579.366 | 2572706.1462 | 1136588.2436 | 2572719.9648 | 1136599.0632
93 | 2572719.9648 | 1136599.0632 | 2572722.4222 | 1136600.9872 | 2572724.7709 | 1136603.5383
94 | 2572735.025 | 1136614.6759 | 2572724.7709 | 1136603.5383
95 | 2572741.5205 | 1136621.9778 | 2572735.7129 | 1136615.4231 | 2572735.025 | 1136614.6759
96 | 2572741.5205 | 1136621.9778 | 2572738.6756 | 1136624.0584 | 2572737.9107 | 1136626.7298 | 2572738.552 | 1136630.74 | 2572741.3771 | 1136639.5761 | 2572742.1827 | 1136642.7601
97 | 2572582.2615 | 1136622.9269 | 2572587.1773 | 1136628.293 | 2572590.954 | 1136631.4663 | 2572596.1834 | 1136634.3661 | 2572603.1489 | 1136638.7332
98 | 2572561.527 | 1136613.1357 | 2572566.3191 | 1136612.9026 | 2572571.3807 | 1136614.4248 | 2572578.0543 | 1136618.5075 | 2572582.1979 | 1136622.8575 | 2572582.2615 | 1136622.9269
99 | 2572561.527 | 1136613.1357 | 2572560.2325 | 1136614.3756 | 2572559.9357 | 1136616.7892 | 2572560.9278 | 1136620.0752 | 2572564.4072 | 1136623.8724 | 2572568.8478 | 1136625.8531 | 2572575.326 | 1136630.9706 | 2572582.4755 | 1136638.186 | 2572587.2451 | 1136643.1556 | 2572592.68 | 1136647.244 | 2572597.8643 | 1136652.0562 | 2572601.5518 | 1136657.6421 | 2572604.2528 | 1136662.8213 | 2572606.9792 | 1136671.9134 | 2572610.3909 | 1136684.493 | 2572616.7554 | 1136700.1496 | 2572623.0721 | 1136713.7387
100 | 2572465.2168 | 1136560.6606 | 2572474.3158 | 1136565.1434 | 2572480.3089 | 1136566.7613 | 2572488.5678 | 1136567.5461 | 2572498.5827 | 1136568.7343 | 2572505.8139 | 1136570.2464 | 2572511.6101 | 1136574.2331 | 2572515.2465 | 1136580.3862 | 2572517.8502 | 1136586.1327 | 2572520.8711 | 1136592.2886 | 2572526.3703 | 1136598.6444 | 2572534.5432 | 1136602.5091 | 2572541.7705 | 1136604.8439 | 2572557.0706 | 1136611.0439 | 2572561.527 | 1136613.1357
101 | 2572623.0721 | 1136713.7387 | 2572625.2782 | 1136713.3285 | 2572630.7175 | 1136718.3951 | 2572635.7415 | 1136723.5082 | 2572643.7529 | 1136727.4404 | 2572648.7626 | 1136727.7177 | 2572654.5368 | 1136726.9244 | 2572659.0119 | 1136724.6919
102 | 2572465.2168 | 1136560.6606 | 2572380.2477 | 1136679.609
103 | 2572790.2618 | 1136846.452 | 2572791.6431 | 1136849.6417 | 2572796.2284 | 1136878.5798 | 2572793.0783 | 1136886.309 | 2572787.3482 | 1136886.6017 | 2572787.3482 | 1136886.6017
104 | 2572756.9323 | 1136855.1154 | 2572776.4592 | 1136877.4353 | 2572787.3482 | 1136886.6017
105 | 2572911.1465 | 1136471.1038 | 2572908.2312 | 1136467.8375 | 2572879.2121 | 1136413.5852
106 | 2572911.1465 | 1136471.1038 | 2572909.2182 | 1136471.735 | 2572906.5271 | 1136470.4131 | 2572898.3283 | 1136460.7786 | 2572891.9983 | 1136452.6808 | 2572884.3287 | 1136444.3891 | 2572874.7938 | 1136435.372 | 2572864.0222 | 1136426.783 | 2572856.8721 | 1136419.4115 | 2572848.7846 | 1136410.5992 | 2572843.0806 | 1136404.8665 | 2572835.6353 | 1136400.2756 | 2572829.7259 | 1136395.0553 | 2572823.3041 | 1136388.8145 | 2572815.3114 | 1136378.8679 | 2572810.1161 | 1136369.9425 | 2572804.3898 | 1136359.2742 | 2572798.2175 | 1136340.1704 | 2572795.1777 | 1136329.8012 | 2572794.3251 | 1136323.324 | 2572795.1079 | 1136314.3716 | 2572795.5843 | 1136305.7318 | 2572794.9327 | 1136299.4539 | 2572793.4578 | 1136296.3859
107 | 2572885.8905 | 1136200.2351 | 2572861.4216 | 1136307.3799 | 2572856.213 | 1136341.5425 | 2572855.2554 | 1136357.8105 | 2572857.0746 | 1136372.1983 | 2572879.2121 | 1136413.5852
108 | 2572790.0405 | 1136289.5044 | 2572793.0609 | 1136295.5604 | 2572793.4578 | 1136296.3859
109 | 2572947.261 | 1136250.5075 | 2572950.733 | 1136267.9138 | 2572956.4142 | 1136285.7082 | 2572979.645 | 1136318.8203 | 2573004.8559 | 1136345.7539 | 2573035.4558 | 1136369.9292
110 | 2572890.6846 | 1136046.7409 | 2572894.8879 | 1136047.2334 | 2572905.5082 | 1136064.7831 | 2572918.1172 | 1136089.9833 | 2572926.0188 | 1136124.0869 | 2572930.9674 | 1136168.8202 | 2572947.261 | 1136250.5075
111 | 2572892.0322 | 1136173.3421 | 2572895.8753 | 1136167.3329 | 2572898.0956 | 1136110.2502 | 2572896.8615 | 1136075.4051 | 2572890.6852 | 1136057.1239 | 2572890.6846 | 1136046.7409
112 | 2572892.0322 | 1136173.3421 | 2572885.8905 | 1136200.2351
113 | 2572853.4434 | 1135920.574 | 2572841.711 | 1135896.9207 | 2572841.386 | 1135896.2596
114 | 2572862.6391 | 1135942.1475 | 2572861.1704 | 1135936.1524 | 2572853.4434 | 1135920.574
115 | 2572862.4382 | 1135958.6023 | 2572864.8782 | 1135951.2876 | 2572862.6391 | 1135942.1475

## bus_geodata
| x | y | coords
0 | 2572720.7282 | 1135945.7031
1 | 2572745.2843 | 1136000.1882
2 | 2572714.9643 | 1135942.7975
3 | 2572860.9015 | 1135967.276
4 | 2572634.3782 | 1135796.232
5 | 2572566.657 | 1137497.9684
6 | 2572557.4108 | 1137487.1747
7 | 2572637.8575 | 1137279.997
8 | 2571853.3107 | 1136947.7165
9 | 2571778.6067 | 1136907.181
10 | 2572077.021 | 1137066.6138
11 | 2571760.2399 | 1136903.764
12 | 2572464.6436 | 1137139.6951
13 | 2572424.8513 | 1137101.8029
14 | 2572378.0582 | 1137046.2672
15 | 2572099.4912 | 1137066.8406
16 | 2572157.42 | 1136797.0107
17 | 2571749.2973 | 1136911.3636
18 | 2571698.9606 | 1136872.7244
19 | 2572040.7309 | 1136635.9645
20 | 2572156.1675 | 1136621.746
21 | 2572157.1213 | 1136651.612
22 | 2572147.9164 | 1136604.0132
23 | 2572200.5883 | 1136702.881
24 | 2572025.9831 | 1136510.8757
25 | 2572025.5492 | 1136412.0221
26 | 2572980.4923 | 1137221.6755
27 | 2572984.6937 | 1137254.4729
28 | 2573102.7902 | 1137026.6976
29 | 2572822.3615 | 1137164.448
30 | 2573020.0763 | 1137318.7127
31 | 2572875.6172 | 1137233.8978
32 | 2572898.9185 | 1136847.9458
33 | 2572814.6723 | 1136794.1768
34 | 2572950.8809 | 1136889.6183
35 | 2572814.8732 | 1136707.7788
36 | 2572808.514 | 1136781.4539
37 | 2572753.0101 | 1136765.3302
38 | 2572803.2958 | 1136692.5111
39 | 2572663.7953 | 1137022.2289
40 | 2572672.9233 | 1137045.11
41 | 2572739.6751 | 1136917.6604
42 | 2573160.3119 | 1137012.5285
43 | 2573130.4586 | 1137000.0497
44 | 2573174.4704 | 1137036.1713
45 | 2573126.7785 | 1136980.5009
46 | 2573110.3213 | 1137023.2926
47 | 2573125.0695 | 1136907.6596
48 | 2573057.2005 | 1136748.6983
49 | 2573031.8526 | 1136662.9569
50 | 2572944.3783 | 1136685.4495
51 | 2573044.8365 | 1136590.2182
52 | 2571742.9287 | 1136919.8532
53 | 2572308.0531 | 1136084.2812
54 | 2572309.4315 | 1136085.7997
55 | 2572390.5418 | 1136211.9073
56 | 2572402.4523 | 1136237.0652
57 | 2572405.9038 | 1136222.9646
58 | 2572481.5148 | 1136334.207
59 | 2572484.7244 | 1136251.8351
60 | 2572243.1555 | 1136245.7575
61 | 2572328.9697 | 1136226.1415
62 | 2572237.7567 | 1136237.9452
63 | 2572416.0304 | 1136302.0908
64 | 2572322.8542 | 1136220.2014
65 | 2572425.011 | 1136315.8898
66 | 2572423.7911 | 1136306.5574
67 | 2572270.8451 | 1136171.0486
68 | 2572503.6173 | 1136389.3332
69 | 2572205.2103 | 1136152.5653
70 | 2572460.0535 | 1136292.6272
71 | 2572500.831 | 1136365.1696
72 | 2572535.5336 | 1136410.5464
73 | 2572536.8134 | 1136412.182
74 | 2572518.178 | 1136388.4331
75 | 2572575.9621 | 1136454.9357
76 | 2572570.4945 | 1136392.894
77 | 2572602.8397 | 1136478.8837
78 | 2572620.0505 | 1136495.1796
79 | 2572631.4584 | 1136507.2934
80 | 2572642.5009 | 1136522.6663
81 | 2572650.9741 | 1136536.3262
82 | 2572666.7564 | 1136558.1185
83 | 2572686.8359 | 1136557.905
84 | 2572679.2241 | 1136569.7493
85 | 2572692.0575 | 1136579.366
86 | 2572719.9648 | 1136599.0632
87 | 2572724.7709 | 1136603.5383
88 | 2572706.7773 | 1136562.8503
89 | 2572735.025 | 1136614.6759
90 | 2572741.5205 | 1136621.9778
91 | 2572582.2615 | 1136622.9269
92 | 2572603.1489 | 1136638.7332
93 | 2572561.527 | 1136613.1357
94 | 2572623.0721 | 1136713.7387
95 | 2572465.2168 | 1136560.6606
96 | 2572790.2618 | 1136846.452
97 | 2572659.0119 | 1136724.6919
98 | 2572380.2477 | 1136679.609
99 | 2572787.3482 | 1136886.6017
100 | 2572756.9323 | 1136855.1154
101 | 2572742.1827 | 1136642.7601
102 | 2572773.0113 | 1136630.684
103 | 2573140.9529 | 1136633.4544
104 | 2572911.1465 | 1136471.1038
105 | 2572879.2121 | 1136413.5852
106 | 2572793.4578 | 1136296.3859
107 | 2573035.4558 | 1136369.9292
108 | 2572947.261 | 1136250.5075
109 | 2572890.6846 | 1136046.7409
110 | 2572885.8905 | 1136200.2351
111 | 2572790.0405 | 1136289.5044
112 | 2572841.386 | 1135896.2596
113 | 2572853.4434 | 1135920.574
114 | 2572862.6391 | 1135942.1475
115 | 2572862.4382 | 1135958.6023
116 | 2572892.0322 | 1136173.3421
117 | 2572561.527 | 1136613.1357

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1