## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5411-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5411-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5411-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5411-19_0_3_node_74 | 0.4 | n |  | TRUE
4 | bus_LV_5411-19_0_3_node_76 | 0.4 | n |  | TRUE
5 | bus_LV_5411-19_0_3_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_5411-19_0_3_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_5411-19_0_3_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_5411-19_0_3_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_5411-19_0_3_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_5411-19_0_3_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_5411-19_0_3_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_5411-19_0_3_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_5411-19_0_3_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_5411-19_0_3_node_4 | 0.4 | n |  | TRUE
15 | bus_LV_5411-19_0_3_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_5411-19_0_3_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_5411-19_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_5411-19_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5411-19_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_5411-19_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_5411-19_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_5411-19_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_5411-19_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5411-19_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5411-19_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_5411-19_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5411-19_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_5411-19_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_5411-19_0_3_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_5411-19_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_5411-19_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5411-19_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5411-19_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_5411-19_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5411-19_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_5411-19_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5411-19_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5411-19_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_5411-19_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_5411-19_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5411-19_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5411-19_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5411-19_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5411-19_0_3_node_79 | 0.4 | n |  | TRUE
45 | bus_LV_5411-19_0_3_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_5411-19_0_3_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_5411-19_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_5411-19_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_5411-19_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5411-19_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5411-19_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5411-19_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_5411-19_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5411-19_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_5411-19_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_5411-19_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_5411-19_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_5411-19_0_3_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_5411-19_0_3_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_5411-19_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_5411-19_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_5411-19_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_5411-19_0_3_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_5411-19_0_3_node_80 | 0.4 | n |  | TRUE
65 | bus_LV_5411-19_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_5411-19_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_5411-19_0_3_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_5411-19_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_5411-19_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_5411-19_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_5411-19_0_3_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_5411-19_0_3_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_5411-19_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_5411-19_0_3_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_5411-19_0_3_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_5411-19_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_5411-19_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_MV_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5411-19_0_3_load_0 | 0 | 0.00064459 | 0.00016155 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5411-19_0_3_load_1 | 1 | 0.0010183 | 0.00025521 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5411-19_0_3_load_74 | 3 | 0.0012112 | 0.00030356 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5411-19_0_3_load_76 | 4 | 0.00093786 | 0.00023505 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5411-19_0_3_load_39 | 6 | 0.00034624 | 8.6775e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5411-19_0_3_load_37 | 7 | 0.0025795 | 0.00064649 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5411-19_0_3_load_3 | 8 | 0.00065862 | 0.00016507 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5411-19_0_3_load_73 | 9 | 0.00058683 | 0.00014707 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5411-19_0_3_load_27 | 10 | 0.0003866 | 9.6891e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5411-19_0_3_load_28 | 11 | 0.00076151 | 0.00019085 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5411-19_0_3_load_29 | 12 | 0.00075111 | 0.00018825 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5411-19_0_3_load_72 | 13 | 0.00052599 | 0.00013182 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5411-19_0_3_load_4 | 14 | 0.0033296 | 0.00083448 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5411-19_0_3_load_5 | 15 | 0.0014003 | 0.00035095 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5411-19_0_3_load_12 | 18 | 0.0008879 | 0.00022253 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5411-19_0_3_load_24 | 19 | 0.0011271 | 0.00028247 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5411-19_0_3_load_8 | 20 | 0.00058096 | 0.0001456 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5411-19_0_3_load_10 | 22 | 0.00030591 | 7.6668e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5411-19_0_3_load_25 | 25 | 0.00062568 | 0.00015681 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5411-19_0_3_load_14 | 27 | 0.0006503 | 0.00016298 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5411-19_0_3_load_26 | 28 | 0.00045299 | 0.00011353 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5411-19_0_3_load_13 | 29 | 0.00082207 | 0.00020603 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5411-19_0_3_load_17 | 31 | 0.0022361 | 0.00056043 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5411-19_0_3_load_18 | 32 | 0.00074494 | 0.0001867 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5411-19_0_3_load_23 | 33 | 0.00065979 | 0.00016536 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5411-19_0_3_load_20 | 34 | 0.00067729 | 0.00016975 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5411-19_0_3_load_21 | 36 | 0.00051962 | 0.00013023 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5411-19_0_3_load_22 | 37 | 0.0042116 | 0.0010555 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5411-19_0_3_load_33 | 38 | 0.00071869 | 0.00018012 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5411-19_0_3_load_30 | 41 | 0.00069901 | 0.00017519 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5411-19_0_3_load_36 | 43 | 0.0016592 | 0.00041583 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5411-19_0_3_load_79 | 44 | 0.00092198 | 0.00023107 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5411-19_0_3_load_64 | 45 | 0.00043405 | 0.00010878 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5411-19_0_3_load_60 | 47 | 0.00012087 | 3.0294e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5411-19_0_3_load_40 | 48 | 0.00088564 | 0.00022196 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5411-19_0_3_load_41 | 49 | 0.00023987 | 6.0116e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5411-19_0_3_load_43 | 51 | 0.00011576 | 2.9013e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5411-19_0_3_load_44 | 52 | 0.001275 | 0.00031953 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5411-19_0_3_load_53 | 55 | 0.0015529 | 0.00038919 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5411-19_0_3_load_55 | 56 | 0.00025539 | 6.4006e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5411-19_0_3_load_54 | 57 | 0.0004789 | 0.00012002 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5411-19_0_3_load_59 | 58 | 0.00066239 | 0.00016601 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5411-19_0_3_load_46 | 60 | 0.0014082 | 0.00035293 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5411-19_0_3_load_47 | 61 | 0.00027713 | 6.9457e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5411-19_0_3_load_78 | 63 | 0.00013222 | 3.3137e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5411-19_0_3_load_80 | 64 | 0.00032017 | 8.0242e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5411-19_0_3_load_66 | 67 | 0.00034157 | 8.5606e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5411-19_0_3_load_58 | 68 | 0.00012093 | 3.0308e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5411-19_0_3_load_56 | 69 | 0.00016981 | 4.2559e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5411-19_0_3_load_57 | 70 | 0.00020057 | 5.0267e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5411-19_0_3_load_63 | 72 | 0.00025474 | 6.3844e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5411-19_0_3_load_69 | 73 | 0.00066028 | 0.00016548 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5411-19_0_3_load_68 | 75 | 0.00062334 | 0.00015622 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5411-19_0_3_load_70 | 76 | 0.00046529 | 0.00011661 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5411-19_0_3_load_71 | 77 | 0.0011509 | 0.00028843 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5411-19_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.094437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5411-19_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.059069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5411-19_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.088022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5411-19_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.065068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5411-19_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.11735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5411-19_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.051211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5411-19_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.096649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5411-19_0_3_line_7 | NAYY 4x150 SE | 6 | 45 | 0.072368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5411-19_0_3_line_8 | NAYY 4x150 SE | 7 | 40 | 0.045043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5411-19_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.088302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5411-19_0_3_line_10 | NAYY 4x150 SE | 9 | 13 | 0.023402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5411-19_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.019208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5411-19_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.035128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5411-19_0_3_line_13 | NAYY 4x150 SE | 11 | 41 | 0.0062697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5411-19_0_3_line_14 | NAYY 4x150 SE | 13 | 77 | 0.0016602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5411-19_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0019374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5411-19_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.025184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5411-19_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.001676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5411-19_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.023966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5411-19_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.014838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5411-19_0_3_line_20 | NAYY 4x150 SE | 19 | 22 | 0.010951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5411-19_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.004387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5411-19_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.029206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5411-19_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.009521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5411-19_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.013323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5411-19_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.036495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5411-19_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.003556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5411-19_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.013903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5411-19_0_3_line_28 | NAYY 4x150 SE | 25 | 28 | 0.0049907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5411-19_0_3_line_29 | NAYY 4x150 SE | 26 | 33 | 0.0085057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5411-19_0_3_line_30 | NAYY 4x150 SE | 26 | 34 | 0.039791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5411-19_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.037651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5411-19_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.050928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5411-19_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.015674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5411-19_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.027087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5411-19_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.077861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5411-19_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.0045791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5411-19_0_3_line_37 | NAYY 4x150 SE | 35 | 40 | 0.017225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5411-19_0_3_line_38 | NAYY 4x150 SE | 35 | 41 | 0.053375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5411-19_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.056624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5411-19_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.053828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5411-19_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.037654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5411-19_0_3_line_42 | NAYY 4x150 SE | 39 | 42 | 0.033476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5411-19_0_3_line_43 | NAYY 4x150 SE | 39 | 43 | 0.03368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5411-19_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.017303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5411-19_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.14924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5411-19_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.076412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5411-19_0_3_line_47 | NAYY 4x150 SE | 46 | 74 | 0.11461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5411-19_0_3_line_48 | NAYY 4x150 SE | 46 | 75 | 0.11043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5411-19_0_3_line_49 | NAYY 4x150 SE | 46 | 73 | 0.10878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5411-19_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0071692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5411-19_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.028387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5411-19_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.014748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5411-19_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.025044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5411-19_0_3_line_54 | NAYY 4x150 SE | 50 | 53 | 0.005316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5411-19_0_3_line_55 | NAYY 4x150 SE | 51 | 54 | 0.060232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5411-19_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.033757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5411-19_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.08537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5411-19_0_3_line_58 | NAYY 4x150 SE | 55 | 59 | 0.049522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5411-19_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.027905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5411-19_0_3_line_60 | NAYY 4x150 SE | 58 | 70 | 0.047878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5411-19_0_3_line_61 | NAYY 4x150 SE | 59 | 62 | 0.011019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5411-19_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.10737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5411-19_0_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.011853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5411-19_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.14743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5411-19_0_3_line_65 | NAYY 4x150 SE | 61 | 64 | 0.067919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5411-19_0_3_line_66 | NAYY 4x150 SE | 62 | 65 | 0.036149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5411-19_0_3_line_67 | NAYY 4x150 SE | 64 | 66 | 0.028126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5411-19_0_3_line_68 | NAYY 4x150 SE | 65 | 67 | 0.039764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5411-19_0_3_line_69 | NAYY 4x150 SE | 65 | 68 | 0.0042865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5411-19_0_3_line_70 | NAYY 4x150 SE | 66 | 71 | 0.011939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5411-19_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.011257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5411-19_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.0081557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5411-19_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.036284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5411-19_0_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.068812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5411-19_0_3_line_75 | NAYY 4x150 SE | 74 | 76 | 0.089055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5411-19_0_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.020336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5411-19_0_3_trafo_38 | 0.25 MVA 20/0.4 kV | 78 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2574850.6668 | 1134137.4078 | 2574851.5007 | 1134137.0392 | 2574868.1941 | 1134123.9408 | 2574870.8778 | 1134119.6608 | 2574877.3067 | 1134099.8908 | 2574884.3782 | 1134079.1511 | 2574888.8819 | 1134072.051 | 2574892.349 | 1134065.5111 | 2574893.2531 | 1134058.993 | 2574893.4745 | 1134056.8417
1 | 2574793.2571 | 1134151.1676 | 2574848.8349 | 1134138.2176 | 2574850.6668 | 1134137.4078
2 | 2574893.4745 | 1134056.8417 | 2574812.4263 | 1134022.5038
3 | 2574793.2571 | 1134151.1676 | 2574729.7761 | 1134136.8822
4 | 2574769.1777 | 1133913.4175 | 2574812.4263 | 1134022.5038
5 | 2574769.1777 | 1133913.4175 | 2574775.9489 | 1133907.375 | 2574780.0537 | 1133898.7535 | 2574784.3347 | 1133891.7544 | 2574791.4854 | 1133882.5865 | 2574798.1062 | 1133875.5665 | 2574800.7003 | 1133873.8576
6 | 2574769.1777 | 1133913.4175 | 2574765.4755 | 1133922.6153 | 2574760.3536 | 1133930.9631 | 2574756.0797 | 1133935.9835 | 2574753.4716 | 1133938.0955 | 2574750.7324 | 1133940.1636 | 2574747.7455 | 1133941.8881 | 2574744.481 | 1133943.4915 | 2574741.4297 | 1133944.527 | 2574737.8007 | 1133945.476 | 2574732.4237 | 1133946.2323 | 2574725.5523 | 1133946.7058 | 2574716.8 | 1133946.5091 | 2574707.783 | 1133945.6021 | 2574689.1598 | 1133942.7901 | 2574688.6366 | 1133942.7037
7 | 2574800.7003 | 1133873.8576 | 2574803.3028 | 1133872.143 | 2574807.0714 | 1133871.4158 | 2574816.9619 | 1133871.3744 | 2574822.3475 | 1133870.8071 | 2574835.6314 | 1133866.8163 | 2574846.2213 | 1133862.8256 | 2574853.7418 | 1133857.4248 | 2574859.6545 | 1133852.2087 | 2574865.9585 | 1133847.6549
8 | 2574644.0369 | 1133936.5436 | 2574653.1459 | 1133937.3612 | 2574662.6179 | 1133938.4774 | 2574670.3276 | 1133939.6789 | 2574688.6366 | 1133942.7037
9 | 2575059.6338 | 1133926.7026 | 2575006.7045 | 1133997.3829
10 | 2575059.6338 | 1133926.7026 | 2575059.5852 | 1133914.9748 | 2575068.3005 | 1133907.208
11 | 2574614.459 | 1134008.1036 | 2574611.2889 | 1134001.0357 | 2574608.75 | 1133992.1865 | 2574608.2704 | 1133989.983
12 | 2574590.5159 | 1134032.2722 | 2574598.5425 | 1134026.5021 | 2574609.1643 | 1134017.3972 | 2574614.1597 | 1134011.9624 | 2574614.459 | 1134008.1036
13 | 2574608.2704 | 1133989.983 | 2574606.9369 | 1133983.8567 | 2574606.9369 | 1133983.8567
14 | 2575069.54 | 1133906.1035 | 2575068.3005 | 1133907.208
15 | 2574478.2664 | 1133956.8995 | 2574478.0107 | 1133954.9791
16 | 2574481.5915 | 1133981.8635 | 2574478.2664 | 1133956.8995
17 | 2574481.5915 | 1133981.8635 | 2574483.1825 | 1133981.3231
18 | 2574483.1825 | 1133981.3231 | 2574487.0578 | 1133993.1014 | 2574490.5533 | 1133996.9997 | 2574493.5363 | 1133997.9986 | 2574496.719 | 1133998.101
19 | 2574496.719 | 1133998.101 | 2574511.5495 | 1133998.5782 | 2574511.5495 | 1133998.5782
20 | 2574511.5495 | 1133998.5782 | 2574512.9186 | 1133996.538 | 2574510.8495 | 1133988.3003
21 | 2574518.2347 | 1133966.8786 | 2574514.1715 | 1133968.5327
22 | 2574518.2347 | 1133966.8786 | 2574520.2267 | 1133973.7847 | 2574518.7821 | 1133976.1809 | 2574516.6873 | 1133977.7017 | 2574509.7971 | 1133979.1871 | 2574508.8608 | 1133981.6479 | 2574509.9593 | 1133984.7559 | 2574510.8495 | 1133988.3003
23 | 2574527.0943 | 1133963.3283 | 2574525.6265 | 1133963.8792 | 2574518.2347 | 1133966.8786
24 | 2574539.5974 | 1133958.6286 | 2574527.0943 | 1133963.3283
25 | 2574527.0943 | 1133963.3283 | 2574527.8519 | 1133965.9264 | 2574530.6372 | 1133969.3162 | 2574534.4591 | 1133973.9579 | 2574535.3834 | 1133979.579 | 2574535.5654 | 1133988.0158 | 2574535.6923 | 1133994.3739 | 2574536.0887 | 1133997.2407
26 | 2574539.5974 | 1133958.6286 | 2574542.9325 | 1133957.3694
27 | 2574539.5974 | 1133958.6286 | 2574538.3573 | 1133954.7875 | 2574535.0104 | 1133949.6436 | 2574532.2547 | 1133947.1302
28 | 2574536.7722 | 1134002.1843 | 2574536.0887 | 1133997.2407
29 | 2574542.9325 | 1133957.3694 | 2574551.0416 | 1133954.8023
30 | 2574542.9325 | 1133957.3694 | 2574566.3733 | 1133925.2154
31 | 2574500.3821 | 1133928.6711 | 2574501.8489 | 1133928.9737 | 2574509.5077 | 1133930.8533 | 2574517.4655 | 1133934.2769 | 2574522.1764 | 1133937.981 | 2574528.1799 | 1133943.4138 | 2574532.2547 | 1133947.1302
32 | 2574483.4109 | 1133886.3529 | 2574482.9278 | 1133892.2246 | 2574482.4448 | 1133898.1184 | 2574483.2281 | 1133910.4101 | 2574484.717 | 1133916.6513 | 2574492.8059 | 1133925.577 | 2574496.0403 | 1133927.7755 | 2574500.3821 | 1133928.6711
33 | 2574483.4109 | 1133886.3529 | 2574483.7404 | 1133882.3829 | 2574484.9373 | 1133870.7537
34 | 2574459.2953 | 1133880.7524 | 2574460.5955 | 1133884.2375 | 2574462.4031 | 1133885.7639 | 2574464.6605 | 1133886.2657 | 2574471.9499 | 1133886.3349 | 2574480.1172 | 1133886.5003 | 2574483.4109 | 1133886.3529
35 | 2574626.8362 | 1133937.0496 | 2574621.8217 | 1133937.9823 | 2574581.7508 | 1133947.0114 | 2574561.3442 | 1133952.0223 | 2574551.6877 | 1133954.5977 | 2574551.0416 | 1133954.8023
36 | 2574569.0647 | 1133921.5108 | 2574568.9055 | 1133921.742 | 2574566.3733 | 1133925.2154
37 | 2574644.0369 | 1133936.5436 | 2574639.2016 | 1133936.186 | 2574633.8213 | 1133936.142 | 2574628.1514 | 1133936.8106 | 2574626.8362 | 1133937.0496
38 | 2574626.8362 | 1133937.0496 | 2574627.3448 | 1133940.8494 | 2574625.6952 | 1133945.7476 | 2574624.0353 | 1133950.0234 | 2574616.5481 | 1133957.7699 | 2574610.1003 | 1133965.6121 | 2574607.1986 | 1133972.9168 | 2574606.4933 | 1133979.0673 | 2574606.9369 | 1133983.8567
39 | 2574569.0647 | 1133921.5108 | 2574594.2427 | 1133884.9502 | 2574600.9878 | 1133874.7456
40 | 2574600.9878 | 1133874.7456 | 2574604.7207 | 1133869.0981 | 2574618.9313 | 1133847.6053 | 2574631.0799 | 1133830.1183
41 | 2574654.2867 | 1133800.6998 | 2574650.7879 | 1133803.3603 | 2574643.8879 | 1133811.6824 | 2574631.0799 | 1133830.1183
42 | 2574682.7393 | 1133783.3271 | 2574677.4967 | 1133784.9722 | 2574659.9414 | 1133796.4184 | 2574654.2867 | 1133800.6998
43 | 2574648.13 | 1133768.0652 | 2574648.2557 | 1133777.8139 | 2574649.952 | 1133789.4681 | 2574651.5337 | 1133795.8424 | 2574654.2867 | 1133800.6998
44 | 2574682.7393 | 1133783.3271 | 2574683.0176 | 1133785.4381 | 2574697.074 | 1133791.2485
45 | 2575007.7133 | 1133812.6615 | 2574996.6355 | 1133815.9758 | 2574976.5146 | 1133817.6825 | 2574968.4235 | 1133817.3493 | 2574960.8802 | 1133819.1704 | 2574950.125 | 1133826.0297 | 2574943.6782 | 1133830.5365 | 2574935.4243 | 1133833.6169 | 2574908.2951 | 1133836.2312 | 2574887.8103 | 1133837.3949 | 2574879.0147 | 1133839.7661 | 2574872.3779 | 1133843.0177 | 2574865.9585 | 1133847.6549
46 | 2574865.9585 | 1133847.6549 | 2574899.8463 | 1133779.1683
47 | 2575117.8524 | 1133816.5183 | 2575104.8992 | 1133813.0479 | 2575092.1372 | 1133814.8905 | 2575075.3299 | 1133819.3956 | 2575063.3585 | 1133820.6792 | 2575041.0624 | 1133819.4265 | 2575018.9157 | 1133820.7968 | 2575011.2384 | 1133818.1718 | 2575007.7133 | 1133812.6615
48 | 2575007.7133 | 1133812.6615 | 2574991.5085 | 1133823.2007 | 2574982.0647 | 1133828.8983 | 2574972.5676 | 1133834.7295 | 2574966.8691 | 1133839.6668 | 2574961.0039 | 1133845.2162 | 2574953.7605 | 1133852.5054 | 2574948.6644 | 1133856.0617 | 2574942.4414 | 1133858.8557 | 2574934.3074 | 1133861.124 | 2574924.9632 | 1133862.9861 | 2574918.0423 | 1133864.5601 | 2574913.707 | 1133866.9101
49 | 2575007.7133 | 1133812.6615 | 2575019.5558 | 1133808.1323 | 2575036.3875 | 1133805.7947 | 2575047.1591 | 1133804.7273 | 2575059.8872 | 1133802.151 | 2575070.0749 | 1133797.6288 | 2575078.6678 | 1133792.7353 | 2575088.0084 | 1133786.249 | 2575097.5415 | 1133779.773 | 2575106.7907 | 1133773.1682
50 | 2574880.8739 | 1133599.8821 | 2574880.569 | 1133599.9521 | 2574873.7409 | 1133600.5736
51 | 2574906.4619 | 1133588.5718 | 2574901.1148 | 1133592.9074 | 2574896.3445 | 1133595.2507 | 2574889.2511 | 1133597.9594 | 2574880.8739 | 1133599.8821
52 | 2574873.7409 | 1133600.5736 | 2574872.1204 | 1133600.7211 | 2574867.2198 | 1133601.353 | 2574860.8628 | 1133603.4472 | 2574859.444 | 1133603.8893
53 | 2574906.4619 | 1133588.5718 | 2574908.4096 | 1133594.1887 | 2574909.9818 | 1133602.0305 | 2574909.8095 | 1133608.7012 | 2574908.2401 | 1133612.8424
54 | 2574906.4619 | 1133588.5718 | 2574903.5567 | 1133584.1151
55 | 2574850.3792 | 1133658.7739 | 2574852.7375 | 1133652.083 | 2574853.9256 | 1133643.5294 | 2574854.0207 | 1133636.8145 | 2574853.0125 | 1133631.3271 | 2574851.6318 | 1133623.2734 | 2574851.8311 | 1133612.0336 | 2574852.0601 | 1133607.8862 | 2574854.4976 | 1133605.4303 | 2574859.444 | 1133603.8893
56 | 2574903.5567 | 1133584.1151 | 2574908.5876 | 1133581.4817 | 2574912.9892 | 1133579.3067 | 2574916.8852 | 1133577.7342 | 2574920.7757 | 1133576.6841 | 2574931.2471 | 1133575.5177 | 2574935.6105 | 1133576.0961
57 | 2574850.3792 | 1133658.7739 | 2574849.6123 | 1133653.9303 | 2574845.6556 | 1133642.808 | 2574839.9834 | 1133633.7939 | 2574827.7093 | 1133614.3133 | 2574805.7884 | 1133587.0471
58 | 2574964.5052 | 1133602.6372 | 2574959.3314 | 1133600.5243 | 2574960.3454 | 1133594.4726 | 2574959.9695 | 1133587.3929 | 2574960.0359 | 1133582.9905 | 2574958.8101 | 1133580.6722 | 2574945.7186 | 1133577.4362 | 2574935.6105 | 1133576.0961
59 | 2574878.2538 | 1133545.9059 | 2574882.937 | 1133547.6497 | 2574895.0263 | 1133550.5118 | 2574901.1421 | 1133551.4646 | 2574905.435 | 1133551.3404
60 | 2574952.6605 | 1133552.7941 | 2574946.7784 | 1133550.9631 | 2574922.4521 | 1133548.5632 | 2574908.3307 | 1133551.2567 | 2574905.435 | 1133551.3404
61 | 2574964.5052 | 1133602.6372 | 2574968.1495 | 1133599.765 | 2574972.9351 | 1133595.5208
62 | 2574984.7803 | 1133595.9395 | 2575003.891 | 1133596.615 | 2575019.163 | 1133596.6961 | 2575030.8519 | 1133597.7147 | 2575041.9554 | 1133600.4923 | 2575050.7713 | 1133604.769 | 2575084.0907 | 1133626.9001
63 | 2574972.9351 | 1133595.5208 | 2574984.7803 | 1133595.9395
64 | 2575084.0907 | 1133626.9001 | 2575219.6513 | 1133568.9426
65 | 2575084.0907 | 1133626.9001 | 2575057.804 | 1133689.5262
66 | 2574975.2883 | 1133559.8378 | 2574973.6752 | 1133566.2032 | 2574973.718 | 1133572.7841 | 2574974.1059 | 1133577.2069 | 2574974.8327 | 1133587.2422 | 2574972.9351 | 1133595.5208
67 | 2575057.804 | 1133689.5262 | 2575051.6358 | 1133694.4653 | 2575048.9266 | 1133698.234 | 2575048.6236 | 1133701.27 | 2575048.738 | 1133704.7157 | 2575049.8072 | 1133708.2686 | 2575053.0042 | 1133712.6131
68 | 2574975.2883 | 1133559.8378 | 2574994.9552 | 1133567.2042 | 2575011.669 | 1133575.73
69 | 2574975.2883 | 1133559.8378 | 2574971.1956 | 1133558.5638
70 | 2575053.0042 | 1133712.6131 | 2575046.4386 | 1133718.2208 | 2575043.5823 | 1133719.9224
71 | 2574960.4476 | 1133555.2181 | 2574971.1956 | 1133558.5638
72 | 2574960.4476 | 1133555.2181 | 2574952.6605 | 1133552.7941
73 | 2575075.8229 | 1133711.7181 | 2575061.8012 | 1133717.9459 | 2575053.2182 | 1133721.5277 | 2575048.2926 | 1133723.538 | 2575046.4064 | 1133723.4458 | 2575043.5823 | 1133719.9224
74 | 2575106.7907 | 1133773.1682 | 2575075.8229 | 1133711.7181
75 | 2575117.8524 | 1133816.5183 | 2575119.6946 | 1133824.5813 | 2575120.1562 | 1133835.696 | 2575117.0986 | 1133844.5575 | 2575109.6914 | 1133851.3804 | 2575092.1969 | 1133864.626 | 2575087.2801 | 1133872.4613 | 2575083.0157 | 1133890.9992
76 | 2575083.0157 | 1133890.9992 | 2575083.0157 | 1133890.9992 | 2575075.8275 | 1133900.5003 | 2575069.54 | 1133906.1035

## bus_geodata
| x | y | coords
0 | 2574850.6668 | 1134137.4078
1 | 2574893.4745 | 1134056.8417
2 | 2574793.2571 | 1134151.1676
3 | 2574812.4263 | 1134022.5038
4 | 2574729.7761 | 1134136.8822
5 | 2574769.1777 | 1133913.4175
6 | 2574800.7003 | 1133873.8576
7 | 2574688.6366 | 1133942.7037
8 | 2575006.7045 | 1133997.3829
9 | 2575059.6338 | 1133926.7026
10 | 2574614.459 | 1134008.1036
11 | 2574608.2704 | 1133989.983
12 | 2574590.5159 | 1134032.2722
13 | 2575068.3005 | 1133907.208
14 | 2574478.2664 | 1133956.8995
15 | 2574478.0107 | 1133954.9791
16 | 2574481.5915 | 1133981.8635
17 | 2574483.1825 | 1133981.3231
18 | 2574496.719 | 1133998.101
19 | 2574511.5495 | 1133998.5782
20 | 2574514.1715 | 1133968.5327
21 | 2574518.2347 | 1133966.8786
22 | 2574510.8495 | 1133988.3003
23 | 2574527.0943 | 1133963.3283
24 | 2574539.5974 | 1133958.6286
25 | 2574536.0887 | 1133997.2407
26 | 2574542.9325 | 1133957.3694
27 | 2574532.2547 | 1133947.1302
28 | 2574536.7722 | 1134002.1843
29 | 2574500.3821 | 1133928.6711
30 | 2574483.4109 | 1133886.3529
31 | 2574484.9373 | 1133870.7537
32 | 2574459.2953 | 1133880.7524
33 | 2574551.0416 | 1133954.8023
34 | 2574566.3733 | 1133925.2154
35 | 2574626.8362 | 1133937.0496
36 | 2574569.0647 | 1133921.5108
37 | 2574600.9878 | 1133874.7456
38 | 2574631.0799 | 1133830.1184
39 | 2574654.2866 | 1133800.6998
40 | 2574644.0369 | 1133936.5436
41 | 2574606.9369 | 1133983.8567
42 | 2574682.7393 | 1133783.3271
43 | 2574648.13 | 1133768.0652
44 | 2574697.074 | 1133791.2485
45 | 2574865.9585 | 1133847.6549
46 | 2575007.7133 | 1133812.6615
47 | 2574899.8463 | 1133779.1683
48 | 2574880.8739 | 1133599.8821
49 | 2574873.7409 | 1133600.5736
50 | 2574906.4619 | 1133588.5718
51 | 2574859.444 | 1133603.8893
52 | 2574908.2401 | 1133612.8424
53 | 2574903.5567 | 1133584.1151
54 | 2574850.3792 | 1133658.7739
55 | 2574935.6105 | 1133576.0961
56 | 2574805.7884 | 1133587.0471
57 | 2574878.2538 | 1133545.9059
58 | 2574905.435 | 1133551.3404
59 | 2574964.5052 | 1133602.6372
60 | 2574984.7803 | 1133595.9395
61 | 2575084.0907 | 1133626.9001
62 | 2574972.9351 | 1133595.5208
63 | 2575219.6513 | 1133568.9426
64 | 2575057.804 | 1133689.5262
65 | 2574975.2883 | 1133559.8378
66 | 2575053.0042 | 1133712.6131
67 | 2575011.669 | 1133575.73
68 | 2574971.1956 | 1133558.5638
69 | 2574960.4476 | 1133555.2181
70 | 2574952.6605 | 1133552.7941
71 | 2575043.5823 | 1133719.9224
72 | 2575075.8229 | 1133711.7181
73 | 2575106.7907 | 1133773.1682
74 | 2575117.8524 | 1133816.5183
75 | 2574913.707 | 1133866.9101
76 | 2575083.0157 | 1133890.9992
77 | 2575069.54 | 1133906.1035
78 | 2574769.1777 | 1133913.4175

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1