## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5411-1_1_4_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_5411-1_1_4_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_5411-1_1_4_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_5411-1_1_4_node_348 | 0.4 | n |  | TRUE
4 | bus_LV_5411-1_1_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_5411-1_1_4_node_347 | 0.4 | n |  | TRUE
6 | bus_LV_5411-1_1_4_node_62 | 0.4 | n |  | TRUE
7 | bus_LV_5411-1_1_4_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_5411-1_1_4_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_5411-1_1_4_node_66 | 0.4 | n |  | TRUE
10 | bus_LV_5411-1_1_4_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_5411-1_1_4_node_101 | 0.4 | n |  | TRUE
12 | bus_LV_5411-1_1_4_node_362 | 0.4 | n |  | TRUE
13 | bus_LV_5411-1_1_4_node_239 | 0.4 | n |  | TRUE
14 | bus_LV_5411-1_1_4_node_267 | 0.4 | n |  | TRUE
15 | bus_LV_5411-1_1_4_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_5411-1_1_4_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_5411-1_1_4_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_5411-1_1_4_node_73 | 0.4 | n |  | TRUE
19 | bus_LV_5411-1_1_4_node_71 | 0.4 | n |  | TRUE
20 | bus_LV_5411-1_1_4_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_5411-1_1_4_node_275 | 0.4 | n |  | TRUE
22 | bus_LV_5411-1_1_4_node_274 | 0.4 | n |  | TRUE
23 | bus_LV_5411-1_1_4_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_5411-1_1_4_node_74 | 0.4 | n |  | TRUE
25 | bus_LV_5411-1_1_4_node_98 | 0.4 | n |  | TRUE
26 | bus_LV_5411-1_1_4_node_372 | 0.4 | n |  | TRUE
27 | bus_LV_5411-1_1_4_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_5411-1_1_4_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_5411-1_1_4_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_5411-1_1_4_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_5411-1_1_4_node_339 | 0.4 | n |  | TRUE
32 | bus_LV_5411-1_1_4_node_367 | 0.4 | n |  | TRUE
33 | bus_LV_5411-1_1_4_node_368 | 0.4 | n |  | TRUE
34 | bus_LV_5411-1_1_4_node_369 | 0.4 | n |  | TRUE
35 | bus_LV_5411-1_1_4_node_104 | 0.4 | n |  | TRUE
36 | bus_LV_5411-1_1_4_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_5411-1_1_4_node_88 | 0.4 | n |  | TRUE
38 | bus_LV_5411-1_1_4_node_89 | 0.4 | n |  | TRUE
39 | bus_LV_5411-1_1_4_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_5411-1_1_4_node_105 | 0.4 | n |  | TRUE
41 | bus_LV_5411-1_1_4_node_103 | 0.4 | n |  | TRUE
42 | bus_LV_5411-1_1_4_node_106 | 0.4 | n |  | TRUE
43 | bus_LV_5411-1_1_4_node_345 | 0.4 | n |  | TRUE
44 | bus_LV_5411-1_1_4_node_108 | 0.4 | n |  | TRUE
45 | bus_LV_5411-1_1_4_node_107 | 0.4 | n |  | TRUE
46 | bus_LV_5411-1_1_4_node_131 | 0.4 | n |  | TRUE
47 | bus_LV_5411-1_1_4_node_133 | 0.4 | n |  | TRUE
48 | bus_LV_5411-1_1_4_node_289 | 0.4 | n |  | TRUE
49 | bus_LV_5411-1_1_4_node_309 | 0.4 | n |  | TRUE
50 | bus_LV_5411-1_1_4_node_148 | 0.4 | n |  | TRUE
51 | bus_LV_5411-1_1_4_node_150 | 0.4 | n |  | TRUE
52 | bus_LV_5411-1_1_4_node_257 | 0.4 | n |  | TRUE
53 | bus_LV_5411-1_1_4_node_151 | 0.4 | n |  | TRUE
54 | bus_LV_5411-1_1_4_node_302 | 0.4 | n |  | TRUE
55 | bus_LV_5411-1_1_4_node_232 | 0.4 | n |  | TRUE
56 | bus_LV_5411-1_1_4_node_233 | 0.4 | n |  | TRUE
57 | bus_LV_5411-1_1_4_node_234 | 0.4 | n |  | TRUE
58 | bus_LV_5411-1_1_4_node_235 | 0.4 | n |  | TRUE
59 | bus_LV_5411-1_1_4_node_236 | 0.4 | n |  | TRUE
60 | bus_LV_5411-1_1_4_node_237 | 0.4 | n |  | TRUE
61 | bus_LV_5411-1_1_4_node_249 | 0.4 | n |  | TRUE
62 | bus_LV_5411-1_1_4_node_261 | 0.4 | n |  | TRUE
63 | bus_LV_5411-1_1_4_node_265 | 0.4 | n |  | TRUE
64 | bus_LV_5411-1_1_4_node_254 | 0.4 | n |  | TRUE
65 | bus_LV_5411-1_1_4_node_238 | 0.4 | n |  | TRUE
66 | bus_LV_5411-1_1_4_node_240 | 0.4 | n |  | TRUE
67 | bus_LV_5411-1_1_4_node_241 | 0.4 | n |  | TRUE
68 | bus_LV_5411-1_1_4_node_242 | 0.4 | n |  | TRUE
69 | bus_LV_5411-1_1_4_node_268 | 0.4 | n |  | TRUE
70 | bus_LV_5411-1_1_4_node_243 | 0.4 | n |  | TRUE
71 | bus_LV_5411-1_1_4_node_244 | 0.4 | n |  | TRUE
72 | bus_LV_5411-1_1_4_node_245 | 0.4 | n |  | TRUE
73 | bus_LV_5411-1_1_4_node_266 | 0.4 | n |  | TRUE
74 | bus_LV_5411-1_1_4_node_246 | 0.4 | n |  | TRUE
75 | bus_LV_5411-1_1_4_node_247 | 0.4 | n |  | TRUE
76 | bus_LV_5411-1_1_4_node_248 | 0.4 | n |  | TRUE
77 | bus_LV_5411-1_1_4_node_250 | 0.4 | n |  | TRUE
78 | bus_LV_5411-1_1_4_node_259 | 0.4 | n |  | TRUE
79 | bus_LV_5411-1_1_4_node_251 | 0.4 | n |  | TRUE
80 | bus_LV_5411-1_1_4_node_255 | 0.4 | n |  | TRUE
81 | bus_LV_5411-1_1_4_node_252 | 0.4 | n |  | TRUE
82 | bus_LV_5411-1_1_4_node_260 | 0.4 | n |  | TRUE
83 | bus_LV_5411-1_1_4_node_253 | 0.4 | n |  | TRUE
84 | bus_LV_5411-1_1_4_node_262 | 0.4 | n |  | TRUE
85 | bus_LV_5411-1_1_4_node_263 | 0.4 | n |  | TRUE
86 | bus_LV_5411-1_1_4_node_264 | 0.4 | n |  | TRUE
87 | bus_LV_5411-1_1_4_node_346 | 0.4 | n |  | TRUE
88 | bus_LV_5411-1_1_4_node_344 | 0.4 | n |  | TRUE
89 | bus_LV_5411-1_1_4_node_364 | 0.4 | n |  | TRUE
90 | bus_LV_5411-1_1_4_node_363 | 0.4 | n |  | TRUE
91 | bus_LV_5411-1_1_4_node_269 | 0.4 | n |  | TRUE
92 | bus_LV_5411-1_1_4_node_270 | 0.4 | n |  | TRUE
93 | bus_LV_5411-1_1_4_node_271 | 0.4 | n |  | TRUE
94 | bus_LV_5411-1_1_4_node_272 | 0.4 | n |  | TRUE
95 | bus_LV_5411-1_1_4_node_273 | 0.4 | n |  | TRUE
96 | bus_LV_5411-1_1_4_node_278 | 0.4 | n |  | TRUE
97 | bus_LV_5411-1_1_4_node_276 | 0.4 | n |  | TRUE
98 | bus_LV_5411-1_1_4_node_277 | 0.4 | n |  | TRUE
99 | bus_LV_5411-1_1_4_node_279 | 0.4 | n |  | TRUE
100 | bus_LV_5411-1_1_4_node_280 | 0.4 | n |  | TRUE
101 | bus_LV_5411-1_1_4_node_281 | 0.4 | n |  | TRUE
102 | bus_LV_5411-1_1_4_node_282 | 0.4 | n |  | TRUE
103 | bus_LV_5411-1_1_4_node_283 | 0.4 | n |  | TRUE
104 | bus_LV_5411-1_1_4_node_287 | 0.4 | n |  | TRUE
105 | bus_LV_5411-1_1_4_node_288 | 0.4 | n |  | TRUE
106 | bus_LV_5411-1_1_4_node_290 | 0.4 | n |  | TRUE
107 | bus_LV_5411-1_1_4_node_291 | 0.4 | n |  | TRUE
108 | bus_LV_5411-1_1_4_node_292 | 0.4 | n |  | TRUE
109 | bus_LV_5411-1_1_4_node_301 | 0.4 | n |  | TRUE
110 | bus_LV_5411-1_1_4_node_293 | 0.4 | n |  | TRUE
111 | bus_LV_5411-1_1_4_node_300 | 0.4 | n |  | TRUE
112 | bus_LV_5411-1_1_4_node_298 | 0.4 | n |  | TRUE
113 | bus_LV_5411-1_1_4_node_294 | 0.4 | n |  | TRUE
114 | bus_LV_5411-1_1_4_node_295 | 0.4 | n |  | TRUE
115 | bus_LV_5411-1_1_4_node_296 | 0.4 | n |  | TRUE
116 | bus_LV_5411-1_1_4_node_297 | 0.4 | n |  | TRUE
117 | bus_LV_5411-1_1_4_node_299 | 0.4 | n |  | TRUE
118 | bus_LV_5411-1_1_4_node_303 | 0.4 | n |  | TRUE
119 | bus_LV_5411-1_1_4_node_337 | 0.4 | n |  | TRUE
120 | bus_LV_5411-1_1_4_node_338 | 0.4 | n |  | TRUE
121 | bus_LV_5411-1_1_4_node_340 | 0.4 | n |  | TRUE
122 | bus_LV_5411-1_1_4_node_341 | 0.4 | n |  | TRUE
123 | bus_LV_5411-1_1_4_node_342 | 0.4 | n |  | TRUE
124 | bus_LV_5411-1_1_4_node_343 | 0.4 | n |  | TRUE
125 | bus_LV_5411-1_1_4_node_349 | 0.4 | n |  | TRUE
126 | bus_LV_5411-1_1_4_node_350 | 0.4 | n |  | TRUE
127 | bus_LV_5411-1_1_4_node_351 | 0.4 | n |  | TRUE
128 | bus_LV_5411-1_1_4_node_352 | 0.4 | n |  | TRUE
129 | bus_LV_5411-1_1_4_node_353 | 0.4 | n |  | TRUE
130 | bus_LV_5411-1_1_4_node_354 | 0.4 | n |  | TRUE
131 | bus_LV_5411-1_1_4_node_355 | 0.4 | n |  | TRUE
132 | bus_LV_5411-1_1_4_node_356 | 0.4 | n |  | TRUE
133 | bus_LV_5411-1_1_4_node_357 | 0.4 | n |  | TRUE
134 | bus_LV_5411-1_1_4_node_360 | 0.4 | n |  | TRUE
135 | bus_LV_5411-1_1_4_node_359 | 0.4 | n |  | TRUE
136 | bus_LV_5411-1_1_4_node_358 | 0.4 | n |  | TRUE
137 | bus_LV_5411-1_1_4_node_361 | 0.4 | n |  | TRUE
138 | bus_MV_193_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5411-1_1_4_load_5 | 0 | 0.0011123 | 0.00027877 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5411-1_1_4_load_6 | 1 | 0.0006067 | 0.00015205 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5411-1_1_4_load_7 | 2 | 0.0002423 | 6.0725e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5411-1_1_4_load_347 | 5 | 0.00084458 | 0.00021167 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5411-1_1_4_load_62 | 6 | 0.0018108 | 0.00045384 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5411-1_1_4_load_63 | 7 | 0.00093641 | 0.00023469 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5411-1_1_4_load_101 | 11 | 0.0007704 | 0.00019308 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5411-1_1_4_load_362 | 12 | 0.00085469 | 0.00021421 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5411-1_1_4_load_267 | 14 | 0.00060714 | 0.00015216 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5411-1_1_4_load_68 | 15 | 0.00084271 | 0.0002112 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5411-1_1_4_load_69 | 16 | 0.00084277 | 0.00021122 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5411-1_1_4_load_70 | 17 | 0.00084277 | 0.00021122 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5411-1_1_4_load_73 | 18 | 0.00084303 | 0.00021128 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5411-1_1_4_load_71 | 19 | 0.00050846 | 0.00012743 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5411-1_1_4_load_274 | 22 | 0.0004757 | 0.00011922 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5411-1_1_4_load_98 | 25 | 0.00094868 | 0.00023776 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5411-1_1_4_load_372 | 26 | 0.00047592 | 0.00011928 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5411-1_1_4_load_80 | 28 | 0.00081334 | 0.00020384 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5411-1_1_4_load_367 | 32 | 0.0005558 | 0.0001393 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5411-1_1_4_load_368 | 33 | 0.00083183 | 0.00020848 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5411-1_1_4_load_369 | 34 | 0.0011717 | 0.00029365 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5411-1_1_4_load_87 | 36 | 0.0002043 | 5.1203e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5411-1_1_4_load_88 | 37 | 0.00040947 | 0.00010262 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5411-1_1_4_load_89 | 38 | 0.00023869 | 5.9821e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5411-1_1_4_load_103 | 41 | 0.00035625 | 8.9284e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5411-1_1_4_load_345 | 43 | 0.00041771 | 0.00010469 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5411-1_1_4_load_108 | 44 | 0.00062102 | 0.00015564 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5411-1_1_4_load_107 | 45 | 0.00096612 | 0.00024213 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5411-1_1_4_load_131 | 46 | 0.00019555 | 4.901e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5411-1_1_4_load_133 | 47 | 0.00024431 | 6.1229e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5411-1_1_4_load_289 | 48 | 0.00044929 | 0.0001126 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5411-1_1_4_load_309 | 49 | 0.00023543 | 5.9004e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5411-1_1_4_load_148 | 50 | 0.00049405 | 0.00012382 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5411-1_1_4_load_150 | 51 | 0.0031127 | 0.0007801 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5411-1_1_4_load_257 | 52 | 0.0011222 | 0.00028124 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5411-1_1_4_load_232 | 55 | 0.00074149 | 0.00018583 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5411-1_1_4_load_236 | 59 | 0.00047692 | 0.00011953 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5411-1_1_4_load_261 | 62 | 0.0014644 | 0.00036701 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5411-1_1_4_load_265 | 63 | 0.0037631 | 0.00094312 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5411-1_1_4_load_254 | 64 | 0.0013621 | 0.00034137 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5411-1_1_4_load_238 | 65 | 0.0026708 | 0.00066937 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5411-1_1_4_load_241 | 67 | 0.00044604 | 0.00011179 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5411-1_1_4_load_242 | 68 | 0.0004591 | 0.00011506 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5411-1_1_4_load_268 | 69 | 0.00042051 | 0.00010539 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5411-1_1_4_load_243 | 70 | 0.0013539 | 0.00033931 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5411-1_1_4_load_266 | 73 | 0.00041953 | 0.00010514 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5411-1_1_4_load_246 | 74 | 0.0025537 | 0.00064001 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5411-1_1_4_load_247 | 75 | 0.0015959 | 0.00039996 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5411-1_1_4_load_248 | 76 | 0.0010304 | 0.00025824 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5411-1_1_4_load_250 | 77 | 0.0011807 | 0.00029592 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5411-1_1_4_load_251 | 79 | 0.00096791 | 0.00024258 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5411-1_1_4_load_255 | 80 | 0.0031004 | 0.00077704 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5411-1_1_4_load_260 | 82 | 0.00041755 | 0.00010465 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5411-1_1_4_load_253 | 83 | 0.0033732 | 0.0008454 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5411-1_1_4_load_346 | 87 | 0.0011468 | 0.00028743 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5411-1_1_4_load_344 | 88 | 0.0011871 | 0.00029751 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5411-1_1_4_load_364 | 89 | 0.00043733 | 0.0001096 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5411-1_1_4_load_363 | 90 | 0.00053582 | 0.00013429 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5411-1_1_4_load_271 | 93 | 0.00055334 | 0.00013868 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5411-1_1_4_load_272 | 94 | 0.0024802 | 0.0006216 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5411-1_1_4_load_273 | 95 | 0.00049769 | 0.00012473 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5411-1_1_4_load_278 | 96 | 0.00081783 | 0.00020497 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5411-1_1_4_load_276 | 97 | 0.0005102 | 0.00012787 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5411-1_1_4_load_279 | 99 | 0.0010426 | 0.0002613 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5411-1_1_4_load_280 | 100 | 0.00023568 | 5.9068e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5411-1_1_4_load_281 | 101 | 0.00051689 | 0.00012954 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5411-1_1_4_load_282 | 102 | 0.001473 | 0.00036916 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5411-1_1_4_load_283 | 103 | 0.00055013 | 0.00013787 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5411-1_1_4_load_287 | 104 | 0.0011083 | 0.00027778 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5411-1_1_4_load_288 | 105 | 0.0011852 | 0.00029705 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5411-1_1_4_load_290 | 106 | 0.0011088 | 0.0002779 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5411-1_1_4_load_291 | 107 | 0.00084221 | 0.00021108 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5411-1_1_4_load_292 | 108 | 0.0010574 | 0.00026502 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5411-1_1_4_load_301 | 109 | 0.0010334 | 0.000259 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5411-1_1_4_load_300 | 111 | 0.00039596 | 9.9237e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5411-1_1_4_load_298 | 112 | 0.00032143 | 8.0559e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5411-1_1_4_load_294 | 113 | 0.00043857 | 0.00010992 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5411-1_1_4_load_295 | 114 | 0.00050311 | 0.00012609 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5411-1_1_4_load_297 | 116 | 0.00039921 | 0.00010005 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5411-1_1_4_load_299 | 117 | 0.00065764 | 0.00016482 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5411-1_1_4_load_303 | 118 | 0.0011485 | 0.00028784 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5411-1_1_4_load_337 | 119 | 0.0020488 | 0.00051348 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5411-1_1_4_load_338 | 120 | 0.0012325 | 0.00030888 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5411-1_1_4_load_340 | 121 | 0.001136 | 0.0002847 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5411-1_1_4_load_343 | 124 | 0.0014665 | 0.00036754 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5411-1_1_4_load_349 | 125 | 0.00058218 | 0.00014591 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5411-1_1_4_load_350 | 126 | 0.00035005 | 8.773e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5411-1_1_4_load_352 | 128 | 0.00088091 | 0.00022078 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5411-1_1_4_load_353 | 129 | 0.00038555 | 9.6629e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5411-1_1_4_load_354 | 130 | 0.0011629 | 0.00029146 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5411-1_1_4_load_355 | 131 | 0.00024574 | 6.1589e-05 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5411-1_1_4_load_360 | 134 | 0.00044794 | 0.00011226 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5411-1_1_4_load_359 | 135 | 0.0004612 | 0.00011559 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5411-1_1_4_load_358 | 136 | 0.00047843 | 0.0001199 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5411-1_1_4_load_361 | 137 | 0.00042004 | 0.00010527 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5411-1_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.35791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5411-1_1_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.34117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5411-1_1_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.63178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5411-1_1_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.13716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5411-1_1_4_line_4 | NAYY 4x150 SE | 3 | 125 | 0.059052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5411-1_1_4_line_5 | NAYY 4x150 SE | 3 | 126 | 0.15461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5411-1_1_4_line_6 | NAYY 4x150 SE | 4 | 5 | 0.51275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_5411-1_1_4_line_7 | NAYY 4x150 SE | 5 | 45 | 0.17992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5411-1_1_4_line_8 | NAYY 4x150 SE | 6 | 7 | 0.010304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5411-1_1_4_line_9 | NAYY 4x150 SE | 6 | 8 | 0.026592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5411-1_1_4_line_10 | NAYY 4x150 SE | 8 | 9 | 0.059026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5411-1_1_4_line_11 | NAYY 4x150 SE | 9 | 10 | 0.12846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5411-1_1_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.074929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5411-1_1_4_line_13 | NAYY 4x150 SE | 9 | 12 | 0.014506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5411-1_1_4_line_14 | NAYY 4x150 SE | 10 | 13 | 0.061515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5411-1_1_4_line_15 | NAYY 4x150 SE | 10 | 14 | 0.14612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5411-1_1_4_line_16 | NAYY 4x150 SE | 11 | 24 | 0.02951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5411-1_1_4_line_17 | NAYY 4x150 SE | 12 | 137 | 0.17755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5411-1_1_4_line_18 | NAYY 4x150 SE | 13 | 67 | 0.1573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5411-1_1_4_line_19 | NAYY 4x150 SE | 13 | 65 | 0.033556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5411-1_1_4_line_20 | NAYY 4x150 SE | 14 | 73 | 0.071092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5411-1_1_4_line_21 | NAYY 4x150 SE | 15 | 16 | 0.03159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5411-1_1_4_line_22 | NAYY 4x150 SE | 16 | 17 | 0.051753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5411-1_1_4_line_23 | NAYY 4x150 SE | 17 | 18 | 0.042665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5411-1_1_4_line_24 | NAYY 4x150 SE | 18 | 23 | 0.046441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5411-1_1_4_line_25 | NAYY 4x150 SE | 19 | 20 | 0.020374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5411-1_1_4_line_26 | NAYY 4x150 SE | 20 | 21 | 0.004674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5411-1_1_4_line_27 | NAYY 4x150 SE | 20 | 22 | 0.016255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5411-1_1_4_line_28 | NAYY 4x150 SE | 21 | 96 | 0.13979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5411-1_1_4_line_29 | NAYY 4x150 SE | 21 | 97 | 0.0083088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5411-1_1_4_line_30 | NAYY 4x150 SE | 22 | 95 | 0.021322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5411-1_1_4_line_31 | NAYY 4x150 SE | 23 | 26 | 0.14372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5411-1_1_4_line_32 | NAYY 4x150 SE | 24 | 25 | 0.022599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5411-1_1_4_line_33 | NAYY 4x150 SE | 26 | 78 | 0.029175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5411-1_1_4_line_34 | NAYY 4x150 SE | 27 | 28 | 0.053648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_5411-1_1_4_line_35 | NAYY 4x150 SE | 27 | 29 | 0.015067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5411-1_1_4_line_36 | NAYY 4x150 SE | 27 | 30 | 0.076264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_5411-1_1_4_line_37 | NAYY 4x150 SE | 28 | 31 | 0.069776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_5411-1_1_4_line_38 | NAYY 4x150 SE | 29 | 32 | 0.020183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5411-1_1_4_line_39 | NAYY 4x150 SE | 29 | 33 | 0.042324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5411-1_1_4_line_40 | NAYY 4x150 SE | 30 | 34 | 0.053335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5411-1_1_4_line_41 | NAYY 4x150 SE | 30 | 35 | 0.033925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_5411-1_1_4_line_42 | NAYY 4x150 SE | 31 | 121 | 0.014942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_5411-1_1_4_line_43 | NAYY 4x150 SE | 31 | 120 | 0.0096517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5411-1_1_4_line_44 | NAYY 4x150 SE | 35 | 42 | 0.032252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_5411-1_1_4_line_45 | NAYY 4x150 SE | 35 | 41 | 0.01448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5411-1_1_4_line_46 | NAYY 4x150 SE | 36 | 37 | 0.17621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5411-1_1_4_line_47 | NAYY 4x150 SE | 36 | 38 | 0.010073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5411-1_1_4_line_48 | NAYY 4x150 SE | 38 | 39 | 0.012593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5411-1_1_4_line_49 | NAYY 4x150 SE | 39 | 40 | 0.10768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5411-1_1_4_line_50 | NAYY 4x150 SE | 40 | 43 | 0.14562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5411-1_1_4_line_51 | NAYY 4x150 SE | 42 | 44 | 0.018581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5411-1_1_4_line_52 | NAYY 4x150 SE | 42 | 45 | 0.025843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_5411-1_1_4_line_53 | NAYY 4x150 SE | 43 | 123 | 0.075017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5411-1_1_4_line_54 | NAYY 4x150 SE | 46 | 47 | 0.0066082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5411-1_1_4_line_55 | NAYY 4x150 SE | 46 | 48 | 0.32123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5411-1_1_4_line_56 | NAYY 4x150 SE | 47 | 49 | 0.0067674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5411-1_1_4_line_57 | NAYY 4x150 SE | 49 | 53 | 0.007112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5411-1_1_4_line_58 | NAYY 4x150 SE | 50 | 51 | 0.046587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5411-1_1_4_line_59 | NAYY 4x150 SE | 50 | 52 | 0.21141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5411-1_1_4_line_60 | NAYY 4x150 SE | 51 | 53 | 0.053783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5411-1_1_4_line_61 | NAYY 4x150 SE | 52 | 82 | 0.010589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5411-1_1_4_line_62 | NAYY 4x150 SE | 53 | 54 | 0.079898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5411-1_1_4_line_63 | NAYY 4x150 SE | 54 | 118 | 0.15146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5411-1_1_4_line_64 | NAYY 4x150 SE | 55 | 56 | 0.065171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_5411-1_1_4_line_65 | NAYY 4x150 SE | 55 | 57 | 0.04133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_5411-1_1_4_line_66 | NAYY 4x150 SE | 56 | 58 | 0.041978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_5411-1_1_4_line_67 | NAYY 4x150 SE | 57 | 59 | 0.05956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5411-1_1_4_line_68 | NAYY 4x150 SE | 57 | 60 | 0.06727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5411-1_1_4_line_69 | NAYY 4x150 SE | 58 | 61 | 0.052335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_5411-1_1_4_line_70 | NAYY 4x150 SE | 58 | 62 | 0.094968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_5411-1_1_4_line_71 | NAYY 4x150 SE | 60 | 63 | 0.044814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5411-1_1_4_line_72 | NAYY 4x150 SE | 60 | 64 | 0.034872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5411-1_1_4_line_73 | NAYY 4x150 SE | 61 | 78 | 0.063049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5411-1_1_4_line_74 | NAYY 4x150 SE | 61 | 75 | 0.06311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_5411-1_1_4_line_75 | NAYY 4x150 SE | 62 | 84 | 0.0057037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_5411-1_1_4_line_76 | NAYY 4x150 SE | 63 | 72 | 0.07084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5411-1_1_4_line_77 | NAYY 4x150 SE | 64 | 83 | 0.031882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5411-1_1_4_line_78 | NAYY 4x150 SE | 65 | 66 | 0.072415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5411-1_1_4_line_79 | NAYY 4x150 SE | 66 | 68 | 0.021361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5411-1_1_4_line_80 | NAYY 4x150 SE | 67 | 69 | 0.013609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5411-1_1_4_line_81 | NAYY 4x150 SE | 69 | 91 | 0.1489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5411-1_1_4_line_82 | NAYY 4x150 SE | 70 | 71 | 0.045985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5411-1_1_4_line_83 | NAYY 4x150 SE | 71 | 72 | 0.024486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5411-1_1_4_line_84 | NAYY 4x150 SE | 72 | 73 | 0.053768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5411-1_1_4_line_85 | NAYY 4x150 SE | 74 | 75 | 0.0040733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5411-1_1_4_line_86 | NAYY 4x150 SE | 74 | 76 | 0.019968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5411-1_1_4_line_87 | NAYY 4x150 SE | 76 | 77 | 0.0079856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5411-1_1_4_line_88 | NAYY 4x150 SE | 77 | 79 | 0.034461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5411-1_1_4_line_89 | NAYY 4x150 SE | 77 | 80 | 0.055589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5411-1_1_4_line_90 | NAYY 4x150 SE | 79 | 81 | 0.059974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5411-1_1_4_line_91 | NAYY 4x150 SE | 81 | 82 | 0.030344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5411-1_1_4_line_92 | NAYY 4x150 SE | 84 | 85 | 0.054692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
93 | LV_5411-1_1_4_line_93 | NAYY 4x150 SE | 84 | 86 | 0.025703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5411-1_1_4_line_94 | NAYY 4x150 SE | 85 | 87 | 0.061186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5411-1_1_4_line_95 | NAYY 4x150 SE | 85 | 88 | 0.033428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
96 | LV_5411-1_1_4_line_96 | NAYY 4x150 SE | 86 | 89 | 0.10012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5411-1_1_4_line_97 | NAYY 4x150 SE | 86 | 90 | 0.0023295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5411-1_1_4_line_98 | NAYY 4x150 SE | 88 | 123 | 0.0046642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
99 | LV_5411-1_1_4_line_99 | NAYY 4x150 SE | 91 | 92 | 0.11461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5411-1_1_4_line_100 | NAYY 4x150 SE | 92 | 93 | 0.039676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5411-1_1_4_line_101 | NAYY 4x150 SE | 93 | 94 | 0.1063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5411-1_1_4_line_102 | NAYY 4x150 SE | 94 | 95 | 0.064582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5411-1_1_4_line_103 | NAYY 4x150 SE | 96 | 100 | 0.02094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5411-1_1_4_line_104 | NAYY 4x150 SE | 97 | 98 | 0.068304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5411-1_1_4_line_105 | NAYY 4x150 SE | 98 | 99 | 0.065997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5411-1_1_4_line_106 | NAYY 4x150 SE | 100 | 101 | 0.0064733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5411-1_1_4_line_107 | NAYY 4x150 SE | 101 | 102 | 0.01031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5411-1_1_4_line_108 | NAYY 4x150 SE | 102 | 103 | 0.093647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5411-1_1_4_line_109 | NAYY 4x150 SE | 104 | 105 | 0.026829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5411-1_1_4_line_110 | NAYY 4x150 SE | 105 | 106 | 0.0065739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5411-1_1_4_line_111 | NAYY 4x150 SE | 106 | 107 | 0.056169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5411-1_1_4_line_112 | NAYY 4x150 SE | 107 | 108 | 0.14929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5411-1_1_4_line_113 | NAYY 4x150 SE | 107 | 109 | 0.18184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5411-1_1_4_line_114 | NAYY 4x150 SE | 108 | 110 | 0.061934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_5411-1_1_4_line_115 | NAYY 4x150 SE | 108 | 111 | 0.1606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_5411-1_1_4_line_116 | NAYY 4x150 SE | 109 | 118 | 0.14692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_5411-1_1_4_line_117 | NAYY 4x150 SE | 110 | 112 | 0.14998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_5411-1_1_4_line_118 | NAYY 4x150 SE | 112 | 115 | 0.063406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_5411-1_1_4_line_119 | NAYY 4x150 SE | 113 | 114 | 0.0089137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_5411-1_1_4_line_120 | NAYY 4x150 SE | 113 | 115 | 0.014573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_5411-1_1_4_line_121 | NAYY 4x150 SE | 114 | 116 | 0.1327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_5411-1_1_4_line_122 | NAYY 4x150 SE | 116 | 117 | 0.032997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_5411-1_1_4_line_123 | NAYY 4x150 SE | 119 | 120 | 0.039143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_5411-1_1_4_line_124 | NAYY 4x150 SE | 121 | 122 | 0.025198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
125 | LV_5411-1_1_4_line_125 | NAYY 4x150 SE | 122 | 123 | 0.030317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
126 | LV_5411-1_1_4_line_126 | NAYY 4x150 SE | 122 | 124 | 0.073917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_5411-1_1_4_line_127 | NAYY 4x150 SE | 126 | 127 | 0.12073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_5411-1_1_4_line_128 | NAYY 4x150 SE | 127 | 128 | 0.038235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_5411-1_1_4_line_129 | NAYY 4x150 SE | 127 | 129 | 0.035682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_5411-1_1_4_line_130 | NAYY 4x150 SE | 129 | 130 | 0.10375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_5411-1_1_4_line_131 | NAYY 4x150 SE | 130 | 131 | 0.12039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_5411-1_1_4_line_132 | NAYY 4x150 SE | 131 | 132 | 0.055847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_5411-1_1_4_line_133 | NAYY 4x150 SE | 132 | 133 | 0.034996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_5411-1_1_4_line_134 | NAYY 4x150 SE | 133 | 134 | 0.067084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_5411-1_1_4_line_135 | NAYY 4x150 SE | 133 | 135 | 0.081103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_5411-1_1_4_line_136 | NAYY 4x150 SE | 135 | 136 | 0.01244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5411-1_1_4_trafo_234 | 0.25 MVA 20/0.4 kV | 138 | 57 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2575878.9075 | 1132689.3971 | 2575608.761 | 1132454.6261
1 | 2576203.814 | 1132793.4805 | 2575878.9075 | 1132689.3971
2 | 2575848.4982 | 1133320.4419 | 2575878.9075 | 1132689.3971
3 | 2576250.0379 | 1132893.5891 | 2576211.0353 | 1132848.0539 | 2576218.2814 | 1132832.9512 | 2576193.9918 | 1132820.9857 | 2576203.9013 | 1132815.555 | 2576203.814 | 1132793.4805
4 | 2575848.4982 | 1133320.4419 | 2575819.2747 | 1133321.6487 | 2575810.816 | 1133323.8504 | 2575805.3558 | 1133327.0629 | 2575794.5585 | 1133337.2891
5 | 2575848.4982 | 1133320.4419 | 2575818.8158 | 1133310.9008 | 2575809.9011 | 1133310.7476 | 2575789.1381 | 1133315.967 | 2575777.7627 | 1133316.4464 | 2575769.5682 | 1133315.4344 | 2575752.9848 | 1133307.1971 | 2575741.2114 | 1133304.432 | 2575706.6229 | 1133303.849 | 2575698.6213 | 1133305.9119
6 | 2576105.4007 | 1133385.5124 | 2576250.0379 | 1132893.5891
7 | 2576077.6488 | 1133563.2802 | 2576105.4007 | 1133385.5124
8 | 2575423.8369 | 1133712.8657 | 2575426.9383 | 1133703.0391
9 | 2575443.4884 | 1133729.9161 | 2575440.7183 | 1133724.4803 | 2575436.0021 | 1133721.2646 | 2575423.8369 | 1133712.8657 | 2575423.8369 | 1133712.8657
10 | 2575384.8436 | 1133728.1659 | 2575402.2191 | 1133730.7406 | 2575423.8238 | 1133732.2531 | 2575443.4884 | 1133729.9161
11 | 2575384.8436 | 1133728.1659 | 2575402.2191 | 1133730.7406 | 2575404.0677 | 1133734.8128 | 2575401.6793 | 1133749.3186 | 2575402.021 | 1133767.0149 | 2575399.9076 | 1133771.5813 | 2575391.7069 | 1133776.4617 | 2575379.8728 | 1133785.0032 | 2575366.8226 | 1133793.5608 | 2575354.0788 | 1133803.6179 | 2575345.2122 | 1133813.1367
12 | 2575384.8436 | 1133728.1659 | 2575366.9227 | 1133716.4778 | 2575365.3321 | 1133715.2726 | 2575364.062 | 1133713.3658 | 2575363.3679 | 1133711.1787 | 2575362.4235 | 1133704.2235 | 2575362.4327 | 1133693.3181 | 2575364.6779 | 1133675.8114 | 2575364.5906 | 1133667.6521 | 2575364.8159 | 1133664.4419
13 | 2575384.8436 | 1133728.1659 | 2575372.4593 | 1133724.5592 | 2575371.0438 | 1133723.7978
14 | 2575345.2122 | 1133813.1367 | 2575331.8684 | 1133817.6269 | 2575309.2857 | 1133825.3011 | 2575297.893 | 1133828.8274 | 2575286.2479 | 1133830.8762
15 | 2575345.2122 | 1133813.1367 | 2575378.2951 | 1133801.9958 | 2575384.8969 | 1133799.5231 | 2575392.1859 | 1133797.6035 | 2575399.6299 | 1133795.9278 | 2575407.2229 | 1133794.9185 | 2575420.3248 | 1133795.2429 | 2575432.6967 | 1133795.8705 | 2575457.109 | 1133798.8724 | 2575488.1911 | 1133802.0472
16 | 2575366.8816 | 1133635.0044 | 2575364.8159 | 1133664.4419
17 | 2575241.3563 | 1133632.9685 | 2575245.4497 | 1133639.2046 | 2575246.2899 | 1133643.2142 | 2575243.126 | 1133654.3772 | 2575244.7877 | 1133659.773 | 2575245.3052 | 1133665.8072 | 2575246.2503 | 1133669.1383 | 2575249.1981 | 1133674.6845 | 2575253.9989 | 1133679.745 | 2575258.5537 | 1133682.9946 | 2575262.8729 | 1133685.1112 | 2575274.3869 | 1133688.5656 | 2575304.6923 | 1133698.2127 | 2575327.8772 | 1133704.0205 | 2575343.9394 | 1133709.1572 | 2575352.6508 | 1133712.4343 | 2575360.9728 | 1133718.3809 | 2575371.0438 | 1133723.7978
18 | 2575286.2479 | 1133830.8762 | 2575285.1838 | 1133837.9062 | 2575283.329 | 1133843.5722 | 2575279.2531 | 1133846.3236 | 2575274.6333 | 1133845.9313 | 2575270.0943 | 1133844.6271 | 2575264.84 | 1133841.5694 | 2575259.3737 | 1133837.4898 | 2575251.6492 | 1133832.7081 | 2575246.301 | 1133831.1627 | 2575233.1669 | 1133826.7367 | 2575221.2539 | 1133821.6499 | 2575211.2074 | 1133815.6216 | 2575204.3405 | 1133809.7692 | 2575196.4449 | 1133802.7094 | 2575188.3645 | 1133795.6392 | 2575179.2536 | 1133790.6409 | 2575163.5889 | 1133784.8249 | 2575157.6173 | 1133782.4875
19 | 2575286.2479 | 1133830.8762 | 2575280.6351 | 1133830.4768 | 2575275.0722 | 1133829.1323 | 2575270.3012 | 1133827.5511 | 2575265.811 | 1133825.0016 | 2575262.5745 | 1133822.2247 | 2575257.12 | 1133816.7169
20 | 2575488.1911 | 1133802.0472 | 2575488.6112 | 1133802.0901 | 2575522.5932 | 1133803.7527 | 2575529.7987 | 1133803.979 | 2575536.7475 | 1133803.5506 | 2575542.1386 | 1133802.4281 | 2575547.8418 | 1133800.4262 | 2575555.2196 | 1133797.5948 | 2575557.8399 | 1133796.0882
21 | 2575705.5303 | 1133989.3348 | 2575736.7783 | 1133993.9721
22 | 2575736.7783 | 1133993.9721 | 2575738.5046 | 1133994.2283 | 2575754.5198 | 1134003.2793 | 2575777.9649 | 1133986.1431 | 2575780.3382 | 1133985.1531
23 | 2575820.9556 | 1133976.8819 | 2575820.6145 | 1133976.8226 | 2575803.9599 | 1133975.2999 | 2575780.3382 | 1133985.1531
24 | 2575866.907 | 1133983.3512 | 2575855.674 | 1133982.5514 | 2575837.7368 | 1133979.7998 | 2575820.9556 | 1133976.8819
25 | 2575277.2593 | 1133975.5068 | 2575291.8249 | 1133974.3575 | 2575297.5254 | 1133973.511
26 | 2575273.8164 | 1133978.6781 | 2575277.2593 | 1133975.5068
27 | 2575277.2593 | 1133975.5068 | 2575277.4773 | 1133959.2534
28 | 2575273.8164 | 1133978.6781 | 2575259.1291 | 1133982.0512 | 2575246.8106 | 1133986.8264 | 2575239.0267 | 1133995.6072 | 2575239.7708 | 1134004.3529 | 2575245.2628 | 1134012.8345 | 2575259.5292 | 1134023.181 | 2575281.1594 | 1134034.909 | 2575300.3898 | 1134039.5546 | 2575319.1053 | 1134037.0858
29 | 2575273.8164 | 1133978.6781 | 2575265.5076 | 1133978.6691
30 | 2575277.205 | 1133937.9329 | 2575277.4773 | 1133959.2534
31 | 2575994.9 | 1133917.9737 | 2575866.907 | 1133983.3512
32 | 2575366.8816 | 1133635.0044 | 2575373.7617 | 1133636.5326 | 2575376.5625 | 1133621.2358
33 | 2575996.5997 | 1133890.6423 | 2575996.3422 | 1133891.6772 | 2575993.7566 | 1133903.4044 | 2575992.0201 | 1133913.8165 | 2575993.1192 | 1133917.2805 | 2575994.9 | 1133917.9737
34 | 2576198.5219 | 1133621.6521 | 2576196.2571 | 1133628.9758 | 2576190.1135 | 1133636.4705 | 2576187.3651 | 1133640.261 | 2576179.9162 | 1133650.5177 | 2576167.4359 | 1133664.755
35 | 2576198.5219 | 1133621.6521 | 2576195.7561 | 1133621.0294 | 2576193.8071 | 1133608.9534
36 | 2576198.5219 | 1133621.6521 | 2576195.7561 | 1133621.0294 | 2576165.4862 | 1133614.2458 | 2576158.6583 | 1133614.1617 | 2576134.7182 | 1133613.8453 | 2576123.1462 | 1133615.0807
37 | 2576146.3312 | 1133729.7454 | 2576158.0315 | 1133675.4834 | 2576167.4359 | 1133664.755
38 | 2576191.4725 | 1133588.9305 | 2576192.142 | 1133598.5993 | 2576193.8071 | 1133608.9534
39 | 2576222.8997 | 1133582.7254 | 2576213.6706 | 1133582.7619 | 2576206.0318 | 1133589.8067 | 2576197.6271 | 1133601.7013 | 2576193.8071 | 1133608.9534
40 | 2576123.1462 | 1133615.0807 | 2576119.1713 | 1133592.9856 | 2576124.0217 | 1133579.6597 | 2576139.5301 | 1133573.3507
41 | 2576123.1462 | 1133615.0807 | 2576089.3151 | 1133618.6946
42 | 2576146.3312 | 1133729.7454 | 2576135.0347 | 1133739.526
43 | 2576146.3312 | 1133729.7454 | 2576155.8636 | 1133731.258
44 | 2576089.3151 | 1133618.6946 | 2576086.1856 | 1133586.6023
45 | 2576089.3151 | 1133618.6946 | 2576074.9172 | 1133620.2304
46 | 2575909.5248 | 1133598.0722 | 2575898.5868 | 1133602.714 | 2575877.885 | 1133609.5447 | 2575853.6667 | 1133620.4694 | 2575838.17 | 1133627.6907 | 2575827.7142 | 1133634.6472 | 2575817.0533 | 1133640.3929 | 2575806.7069 | 1133643.9473 | 2575794.5457 | 1133647.9204 | 2575776.0858 | 1133651.3297 | 2575766.6749 | 1133652.0568 | 2575744.4299 | 1133652.2983
47 | 2575909.5248 | 1133598.0722 | 2575915.3003 | 1133595.6213 | 2575918.7096 | 1133593.946
48 | 2575930.0119 | 1133588.3923 | 2575918.7096 | 1133593.946
49 | 2575891.6431 | 1133683.2482 | 2575895.4261 | 1133674.5288 | 2575895.8488 | 1133664.7778 | 2575895.2321 | 1133658.7884 | 2575893.3811 | 1133648.2684 | 2575892.9464 | 1133643.5123 | 2575893.4102 | 1133640.1643 | 2575894.3911 | 1133637.1367 | 2575896.4545 | 1133633.4377 | 2575900.3275 | 1133627.975 | 2575914.3049 | 1133610.3993 | 2575930.0119 | 1133588.3923
50 | 2575891.6431 | 1133683.2482 | 2575893.1927 | 1133687.6998 | 2575921.286 | 1133704.5512 | 2575964.9969 | 1133721.3848 | 2575971.0794 | 1133723.7284 | 2575977.417 | 1133726.3599 | 2576021.6932 | 1133744.7002
51 | 2576086.1856 | 1133586.6023 | 2576100.8498 | 1133575.1383
52 | 2576086.1856 | 1133586.6023 | 2576076.5773 | 1133568.7094 | 2576077.6488 | 1133563.2802
53 | 2576090.9999 | 1133773.4087 | 2576021.6932 | 1133744.7002
54 | 2576135.2525 | 1134229.5239 | 2576141.4405 | 1134231.843
55 | 2576141.4405 | 1134231.843 | 2576166.0309 | 1134552.1291
56 | 2576128.9155 | 1134227.149 | 2576135.2525 | 1134229.5239
57 | 2576127.0488 | 1134220.2863 | 2576128.9155 | 1134227.149 | 2576128.9155 | 1134227.149
58 | 2576126.489 | 1134166.5065 | 2576170.9465 | 1134152.5823
59 | 2576178.1893 | 1133941.2917 | 2576170.9465 | 1134152.5823
60 | 2576127.0488 | 1134220.2863 | 2576126.489 | 1134166.5065
61 | 2576168.2457 | 1133937.6686 | 2576168.9544 | 1133937.9142 | 2576176.3151 | 1133940.4641 | 2576178.1893 | 1133941.2917
62 | 2576049.0104 | 1134219.685 | 2576075.0917 | 1134211.3104 | 2576127.0488 | 1134220.2863
63 | 2575926.3918 | 1134209.1467 | 2575934.4393 | 1134225.656 | 2575962.8161 | 1134252.4892 | 2575968.541 | 1134248.2754 | 2575978.7398 | 1134240.7865 | 2576012.16 | 1134223.8115 | 2576049.0104 | 1134219.685
64 | 2575890.1731 | 1133811.9733 | 2575841.7381 | 1133797.4269 | 2575827.6512 | 1133793.5936
65 | 2575787.5339 | 1133783.838 | 2575798.1398 | 1133785.5629 | 2575827.6512 | 1133793.5936
66 | 2575929.9899 | 1133825.3094 | 2575925.8398 | 1133823.0582 | 2575920.8598 | 1133821.1438 | 2575915.5804 | 1133819.4308 | 2575906.5563 | 1133816.7433 | 2575890.1731 | 1133811.9733
67 | 2575736.1706 | 1133757.1094 | 2575748.9424 | 1133763.361 | 2575763.6414 | 1133770.3497 | 2575776.2882 | 1133774.2452 | 2575783.272 | 1133778.697 | 2575787.1275 | 1133780.3935 | 2575787.5339 | 1133783.838
68 | 2575720.3978 | 1133777.7943 | 2575739.0748 | 1133780.5982 | 2575770.6788 | 1133782.3606 | 2575785.4851 | 1133783.5016 | 2575787.5339 | 1133783.838
69 | 2575929.9899 | 1133825.3094 | 2575943.8432 | 1133834.5697 | 2575948.467 | 1133837.8862 | 2575972.7141 | 1133855.5203
70 | 2575929.9899 | 1133825.3094 | 2575932.7409 | 1133822.2524 | 2575942.2685 | 1133819.9688 | 2575960.2153 | 1133821.1754 | 2575993.3426 | 1133826.6682 | 2576022.3873 | 1133831.7782
71 | 2575720.3978 | 1133777.7943 | 2575715.6519 | 1133776.7129 | 2575688.2224 | 1133771.799 | 2575676.1839 | 1133770.799
72 | 2575720.3978 | 1133777.7943 | 2575719.4073 | 1133780.3107 | 2575715.8446 | 1133782.4817 | 2575694.8847 | 1133793.8052 | 2575691.3351 | 1133795.9976
73 | 2575972.7141 | 1133855.5203 | 2575964.2408 | 1133869.3054 | 2575962.4779 | 1133873.0921 | 2575962.2627 | 1133877.0171 | 2575963.3581 | 1133879.5584 | 2575966.1646 | 1133882.671 | 2575969.241 | 1133882.0806 | 2575976.5155 | 1133884.2082 | 2575987.9757 | 1133887.8642 | 2575996.5997 | 1133890.6423
74 | 2575972.7141 | 1133855.5203 | 2575974.9219 | 1133857.1456 | 2576010.2549 | 1133883.0842 | 2576014.337 | 1133885.6692 | 2576017.1225 | 1133887.3923 | 2576020.0843 | 1133888.9479 | 2576022.9221 | 1133890.2595 | 2576024.78 | 1133890.876
75 | 2576027.9217 | 1133831.4438 | 2576025.2234 | 1133832.2772 | 2576022.3873 | 1133831.7782
76 | 2575605.5393 | 1133771.8446 | 2575618.9096 | 1133770.0229 | 2575632.4002 | 1133769.3679 | 2575660.0181 | 1133769.4563 | 2575676.1839 | 1133770.799
77 | 2575664.4203 | 1133813.0725 | 2575670.4457 | 1133808.9003 | 2575691.3351 | 1133795.9976
78 | 2575204.1816 | 1133767.4712 | 2575205.4425 | 1133768.9889 | 2575208.6115 | 1133772.1775 | 2575214.3438 | 1133777.2786 | 2575220.1035 | 1133781.5348 | 2575230.9171 | 1133790.6615 | 2575240.3132 | 1133799.4938 | 2575248.6387 | 1133808.1528 | 2575257.12 | 1133816.7169
79 | 2575204.1816 | 1133767.4712 | 2575202.3715 | 1133765.2998 | 2575196.8885 | 1133757.2072 | 2575192.542 | 1133749.6026
80 | 2575157.6173 | 1133782.4875 | 2575150.8294 | 1133779.8306 | 2575144.926 | 1133777.5746
81 | 2575007.7133 | 1133812.6615 | 2575019.5558 | 1133808.1323 | 2575036.3875 | 1133805.7947 | 2575047.1591 | 1133804.7273 | 2575059.8872 | 1133802.151 | 2575070.0749 | 1133797.6288 | 2575078.6678 | 1133792.7353 | 2575088.0084 | 1133786.249 | 2575097.5415 | 1133779.773 | 2575106.8737 | 1133773.1089 | 2575115.3894 | 1133769.9944 | 2575121.0063 | 1133769.5042 | 2575127.6624 | 1133770.8774 | 2575134.8865 | 1133773.7379 | 2575144.926 | 1133777.5746
82 | 2575581.2777 | 1133768.0522 | 2575599.1501 | 1133747.036 | 2575617.5469 | 1133747.0306
83 | 2575581.2777 | 1133768.0522 | 2575605.5393 | 1133771.8446
84 | 2575605.5393 | 1133771.8446 | 2575597.0211 | 1133774.3915 | 2575588.6378 | 1133777.9161 | 2575580.9565 | 1133781.8381 | 2575574.9682 | 1133785.6532 | 2575561.5089 | 1133793.9786 | 2575557.8399 | 1133796.0882
85 | 2576028.6846 | 1133892.0304 | 2576026.398 | 1133891.4128 | 2576024.78 | 1133890.876
86 | 2576028.6846 | 1133892.0304 | 2576030.6976 | 1133892.5741 | 2576035.6356 | 1133893.6216 | 2576048.3272 | 1133895.5365
87 | 2576056.2234 | 1133896.7279 | 2576048.3272 | 1133895.5365
88 | 2576056.2234 | 1133896.7279 | 2576071.456 | 1133899.0262 | 2576078.6344 | 1133900.2094 | 2576085.3197 | 1133901.3056 | 2576090.2101 | 1133902.3764
89 | 2576056.2234 | 1133896.7279 | 2576058.6964 | 1133952.2622
90 | 2576146.717 | 1133922.1834 | 2576140.483 | 1133920.3739 | 2576127.9193 | 1133915.9548 | 2576104.3737 | 1133906.1434 | 2576090.8048 | 1133902.5066 | 2576090.2101 | 1133902.3764
91 | 2576146.717 | 1133922.1834 | 2576145.5291 | 1133925.4119 | 2576145.9267 | 1133926.6776 | 2576148.6275 | 1133930.3576 | 2576152.662 | 1133932.6316 | 2576160.6456 | 1133935.0345 | 2576168.2457 | 1133937.6686
92 | 2576077.2035 | 1133807.5026 | 2576072.8654 | 1133810.199 | 2576027.9217 | 1133831.4438
93 | 2576023.8415 | 1133806.1365 | 2576027.2678 | 1133821.8639 | 2576027.9217 | 1133831.4438
94 | 2576077.2035 | 1133807.5026 | 2576078.6478 | 1133808.7308 | 2576080.5947 | 1133810.5462 | 2576082.6034 | 1133812.428 | 2576084.9118 | 1133816.1207 | 2576088.453 | 1133825.9226 | 2576094.9767 | 1133844.428 | 2576097.1882 | 1133850.8446 | 2576096.7729 | 1133856.7381 | 2576094.281 | 1133863.0622
95 | 2576077.2035 | 1133807.5026 | 2576081.8104 | 1133804.6384 | 2576088.2163 | 1133787.6713 | 2576090.1064 | 1133777.9866
96 | 2576023.8415 | 1133806.1365 | 2576004.4619 | 1133798.8768 | 2575983.5122 | 1133787.7993 | 2575970.3371 | 1133776.8687 | 2575951.8158 | 1133757.144 | 2575942.3721 | 1133750.4869
97 | 2576023.8415 | 1133806.1365 | 2576026.1427 | 1133806.4986
98 | 2576090.9999 | 1133773.4087 | 2576090.1064 | 1133777.9866
99 | 2575117.8524 | 1133816.5183 | 2575104.8992 | 1133813.0479 | 2575092.1372 | 1133814.8905 | 2575075.3299 | 1133819.3956 | 2575063.3585 | 1133820.6792 | 2575041.0624 | 1133819.4265 | 2575018.9157 | 1133820.7968 | 2575011.2384 | 1133818.1718 | 2575007.7133 | 1133812.6615
100 | 2575117.8524 | 1133816.5183 | 2575137.2635 | 1133833.0018 | 2575146.8407 | 1133843.4996
101 | 2575146.8407 | 1133843.4996 | 2575152.4493 | 1133849.6473 | 2575165.7079 | 1133876.7616 | 2575173.6474 | 1133885.1552 | 2575204.111 | 1133907.2406 | 2575222.4474 | 1133910.4219
102 | 2575222.4474 | 1133910.4219 | 2575245.4813 | 1133914.4183 | 2575263.4838 | 1133921.6923 | 2575272.3169 | 1133928.4594 | 2575277.205 | 1133937.9329
103 | 2575319.1053 | 1134037.0858 | 2575326.2219 | 1134036.147 | 2575339.748 | 1134038.6817
104 | 2575198.1657 | 1133981.1461 | 2575208.0919 | 1133984.1956 | 2575222.7474 | 1133984.3353 | 2575254.5201 | 1133978.6573 | 2575265.5076 | 1133978.6691
105 | 2575198.1657 | 1133981.1461 | 2575165.0402 | 1133957.4153 | 2575161.4998 | 1133950.0152 | 2575157.5056 | 1133933.3679
106 | 2575346.1489 | 1134037.7166 | 2575339.748 | 1134038.6817 | 2575339.748 | 1134038.6817
107 | 2575346.1489 | 1134037.7166 | 2575356.3441 | 1134036.1794
108 | 2575356.3441 | 1134036.1794 | 2575363.9243 | 1134035.0365 | 2575384.5651 | 1134036.3749 | 2575412.4838 | 1134040.6741 | 2575432.2031 | 1134050.0871 | 2575443.2256 | 1134054.0107 | 2575446.6906 | 1134054.4922
109 | 2575828.9386 | 1134536.7906 | 2575824.0554 | 1134530.4045 | 2575819.3321 | 1134525.2098 | 2575814.5532 | 1134521.5049 | 2575809.4868 | 1134518.8453
110 | 2575809.4868 | 1134518.8453 | 2575808.2906 | 1134518.2174 | 2575803.6135 | 1134515.8929
111 | 2575803.6135 | 1134515.8929 | 2575801.9671 | 1134515.0746 | 2575793.8084 | 1134509.1711 | 2575778.3194 | 1134496.6828 | 2575770.3307 | 1134492.8687 | 2575762.3406 | 1134490.6219 | 2575755.1769 | 1134489.8
112 | 2575755.1769 | 1134489.8 | 2575743.245 | 1134488.4311 | 2575704.8566 | 1134488.586 | 2575664.7648 | 1134499.5312 | 2575650.799 | 1134496.4528 | 2575627.701 | 1134480.8942 | 2575613.3108 | 1134476.0573
113 | 2575755.1769 | 1134489.8 | 2575850.0962 | 1134334.7001
114 | 2575564.8072 | 1134488.5529 | 2575579.4256 | 1134493.107 | 2575587.7757 | 1134489.2379 | 2575593.4696 | 1134473.7293 | 2575600.0875 | 1134471.6126 | 2575613.3108 | 1134476.0573
115 | 2575613.3108 | 1134476.0573 | 2575645.0058 | 1134318.6122
116 | 2575926.3918 | 1134209.1467 | 2575850.0962 | 1134334.7001
117 | 2575564.8072 | 1134488.5529 | 2575466.809 | 1134375.0166
118 | 2575405.3936 | 1134371.7222 | 2575411.2149 | 1134368.6303 | 2575429.0594 | 1134375.294 | 2575449.0288 | 1134374.6011 | 2575466.809 | 1134375.0166
119 | 2575391.0878 | 1134368.9425 | 2575382.3377 | 1134367.2424
120 | 2575405.3936 | 1134371.7222 | 2575391.0878 | 1134368.9425
121 | 2575382.3377 | 1134367.2424 | 2575350.4821 | 1134361.0527 | 2575316.7898 | 1134359.8679 | 2575283.123 | 1134364.8641 | 2575251.0051 | 1134359.8899
122 | 2575218.8656 | 1134365.4011 | 2575223.9455 | 1134363.1177 | 2575246.9729 | 1134359.2655 | 2575251.0051 | 1134359.8899
123 | 2576192.9347 | 1133742.3149 | 2576185.8286 | 1133742.1285 | 2576162.6673 | 1133732.3375 | 2576155.8636 | 1133731.258
124 | 2576115.3433 | 1133755.2476 | 2576135.032 | 1133739.5284 | 2576135.0347 | 1133739.526
125 | 2576115.3433 | 1133755.2476 | 2576090.9999 | 1133773.4087
126 | 2576115.3433 | 1133755.2476 | 2576106.5999 | 1133755.4046 | 2576094.1915 | 1133749.4842 | 2576056.7779 | 1133738.5275 | 2576046.0889 | 1133732.1653
127 | 2575585.168 | 1133343.8935 | 2575643.9422 | 1133329.1703 | 2575668.5124 | 1133313.6744 | 2575698.6213 | 1133305.9119
128 | 2575585.168 | 1133343.8935 | 2575585.7112 | 1133335.4982 | 2575587.346 | 1133332.4012 | 2575592.6997 | 1133327.6438 | 2575609.3806 | 1133318.1159
129 | 2575585.168 | 1133343.8935 | 2575582.2688 | 1133344.6167 | 2575549.7334 | 1133341.4025
130 | 2575549.7334 | 1133341.4025 | 2575529.8492 | 1133339.4381 | 2575496.6941 | 1133335.4265 | 2575469.9475 | 1133328.6432 | 2575461.5975 | 1133319.7173 | 2575456.7432 | 1133310.3394
131 | 2575456.7432 | 1133310.3394 | 2575443.3718 | 1133284.5075 | 2575435.3968 | 1133276.9474 | 2575389.2017 | 1133258.0267 | 2575379.6816 | 1133258.5437 | 2575360.4098 | 1133266.5269
132 | 2575305.8848 | 1133276.0435 | 2575346.4524 | 1133272.3087 | 2575360.4098 | 1133266.5269
133 | 2575305.8848 | 1133276.0435 | 2575277.5414 | 1133296.6811
134 | 2575309.8278 | 1133351.5091 | 2575304.8186 | 1133338.8789 | 2575301.0348 | 1133322.8421 | 2575299.888 | 1133319.1338 | 2575295.637 | 1133314.9381 | 2575283.0153 | 1133308.0976 | 2575280.0052 | 1133304.297 | 2575277.5414 | 1133296.6811
135 | 2575277.5414 | 1133296.6811 | 2575248.9987 | 1133317.4531 | 2575222.8639 | 1133334.0688 | 2575224.3794 | 1133348.8241
136 | 2575233.2755 | 1133355.9155 | 2575224.6682 | 1133351.6367 | 2575224.3794 | 1133348.8241

## bus_geodata
| x | y | coords
0 | 2575608.761 | 1132454.6261
1 | 2575878.9075 | 1132689.3971
2 | 2576203.814 | 1132793.4805
3 | 2575848.4982 | 1133320.4419
4 | 2576250.0379 | 1132893.5891
5 | 2576105.4007 | 1133385.5124
6 | 2575423.8369 | 1133712.8657
7 | 2575426.9383 | 1133703.0391
8 | 2575443.4884 | 1133729.9161
9 | 2575384.8436 | 1133728.1659
10 | 2575345.2122 | 1133813.1367
11 | 2575364.8159 | 1133664.4419
12 | 2575371.0438 | 1133723.7978
13 | 2575286.2479 | 1133830.8762
14 | 2575488.1911 | 1133802.0472
15 | 2575705.5303 | 1133989.3348
16 | 2575736.7783 | 1133993.9721
17 | 2575780.3382 | 1133985.1531
18 | 2575820.9556 | 1133976.8819
19 | 2575297.5254 | 1133973.511
20 | 2575277.2593 | 1133975.5068
21 | 2575273.8164 | 1133978.6781
22 | 2575277.4773 | 1133959.2534
23 | 2575866.907 | 1133983.3512
24 | 2575366.8816 | 1133635.0044
25 | 2575376.5625 | 1133621.2358
26 | 2575994.9 | 1133917.9737
27 | 2576198.5219 | 1133621.6521
28 | 2576167.4359 | 1133664.755
29 | 2576193.8071 | 1133608.9534
30 | 2576123.1462 | 1133615.0807
31 | 2576146.3312 | 1133729.7454
32 | 2576191.4725 | 1133588.9305
33 | 2576222.8997 | 1133582.7254
34 | 2576139.5301 | 1133573.3507
35 | 2576089.3151 | 1133618.6946
36 | 2575909.5248 | 1133598.0722
37 | 2575744.4299 | 1133652.2983
38 | 2575918.7096 | 1133593.946
39 | 2575930.0119 | 1133588.3923
40 | 2575891.6431 | 1133683.2482
41 | 2576074.9172 | 1133620.2304
42 | 2576086.1856 | 1133586.6023
43 | 2576021.6932 | 1133744.7002
44 | 2576100.8498 | 1133575.1383
45 | 2576077.6488 | 1133563.2802
46 | 2576141.4405 | 1134231.843
47 | 2576135.2525 | 1134229.5239
48 | 2576166.0309 | 1134552.1291
49 | 2576128.9155 | 1134227.149
50 | 2576170.9465 | 1134152.5823
51 | 2576126.489 | 1134166.5065
52 | 2576178.1893 | 1133941.2917
53 | 2576127.0488 | 1134220.2863
54 | 2576049.0104 | 1134219.685
55 | 2575827.6512 | 1133793.5936
56 | 2575890.1731 | 1133811.9733
57 | 2575787.5339 | 1133783.838
58 | 2575929.9899 | 1133825.3094
59 | 2575736.1706 | 1133757.1094
60 | 2575720.3978 | 1133777.7943
61 | 2575972.7141 | 1133855.5203
62 | 2576022.3873 | 1133831.7782
63 | 2575676.1839 | 1133770.799
64 | 2575691.3351 | 1133795.9976
65 | 2575257.12 | 1133816.7169
66 | 2575204.1816 | 1133767.4712
67 | 2575157.6173 | 1133782.4875
68 | 2575192.542 | 1133749.6026
69 | 2575144.926 | 1133777.5746
70 | 2575617.5469 | 1133747.0306
71 | 2575581.2777 | 1133768.0522
72 | 2575605.5393 | 1133771.8446
73 | 2575557.8399 | 1133796.0882
74 | 2576028.6846 | 1133892.0304
75 | 2576024.78 | 1133890.876
76 | 2576048.3272 | 1133895.5365
77 | 2576056.2234 | 1133896.7279
78 | 2575996.5997 | 1133890.6423
79 | 2576090.2101 | 1133902.3764
80 | 2576058.6964 | 1133952.2622
81 | 2576146.717 | 1133922.1834
82 | 2576168.2457 | 1133937.6686
83 | 2575664.4203 | 1133813.0725
84 | 2576027.9217 | 1133831.4438
85 | 2576077.2035 | 1133807.5026
86 | 2576023.8415 | 1133806.1365
87 | 2576094.281 | 1133863.0622
88 | 2576090.1064 | 1133777.9866
89 | 2575942.3721 | 1133750.4869
90 | 2576026.1427 | 1133806.4986
91 | 2575007.7133 | 1133812.6615
92 | 2575117.8524 | 1133816.5183
93 | 2575146.8407 | 1133843.4996
94 | 2575222.4474 | 1133910.4219
95 | 2575277.205 | 1133937.9329
96 | 2575319.1053 | 1134037.0858
97 | 2575265.5076 | 1133978.6691
98 | 2575198.1657 | 1133981.1461
99 | 2575157.5056 | 1133933.3679
100 | 2575339.748 | 1134038.6817
101 | 2575346.1489 | 1134037.7166
102 | 2575356.3441 | 1134036.1794
103 | 2575446.6906 | 1134054.4922
104 | 2575828.9386 | 1134536.7906
105 | 2575809.4868 | 1134518.8453
106 | 2575803.6135 | 1134515.8929
107 | 2575755.1769 | 1134489.8001
108 | 2575613.3108 | 1134476.0572
109 | 2575850.0962 | 1134334.7001
110 | 2575564.8072 | 1134488.5529
111 | 2575645.0058 | 1134318.6122
112 | 2575466.809 | 1134375.0166
113 | 2575391.0878 | 1134368.9425
114 | 2575382.3377 | 1134367.2424
115 | 2575405.3936 | 1134371.7222
116 | 2575251.0051 | 1134359.8899
117 | 2575218.8656 | 1134365.4011
118 | 2575926.3918 | 1134209.1467
119 | 2576192.9347 | 1133742.3149
120 | 2576155.8636 | 1133731.258
121 | 2576135.0347 | 1133739.526
122 | 2576115.3433 | 1133755.2476
123 | 2576090.9999 | 1133773.4087
124 | 2576046.0889 | 1133732.1653
125 | 2575794.5585 | 1133337.2891
126 | 2575698.6213 | 1133305.9119
127 | 2575585.168 | 1133343.8935
128 | 2575609.3806 | 1133318.1159
129 | 2575549.7334 | 1133341.4025
130 | 2575456.7432 | 1133310.3394
131 | 2575360.4098 | 1133266.5269
132 | 2575305.8848 | 1133276.0435
133 | 2575277.5414 | 1133296.6811
134 | 2575309.8278 | 1133351.5091
135 | 2575224.3794 | 1133348.8241
136 | 2575233.2755 | 1133355.9155
137 | 2575241.3563 | 1133632.9685
138 | 2575736.1706 | 1133757.1094

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1