## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5415-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5415-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5415-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5415-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5415-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5415-1_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5415-1_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5415-1_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_5415-1_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_5415-1_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5415-1_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_5415-1_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_5415-1_0_4_node_100 | 0.4 | n |  | TRUE
13 | bus_LV_5415-1_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5415-1_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5415-1_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5415-1_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_5415-1_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_5415-1_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_5415-1_0_4_node_96 | 0.4 | n |  | TRUE
20 | bus_LV_5415-1_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5415-1_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5415-1_0_4_node_98 | 0.4 | n |  | TRUE
23 | bus_LV_5415-1_0_4_node_99 | 0.4 | n |  | TRUE
24 | bus_LV_5415-1_0_4_node_97 | 0.4 | n |  | TRUE
25 | bus_LV_5415-1_0_4_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_5415-1_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_5415-1_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_5415-1_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_5415-1_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5415-1_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_5415-1_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_5415-1_0_4_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_5415-1_0_4_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_5415-1_0_4_node_82 | 0.4 | n |  | TRUE
35 | bus_LV_5415-1_0_4_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_5415-1_0_4_node_94 | 0.4 | n |  | TRUE
37 | bus_LV_5415-1_0_4_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_5415-1_0_4_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_5415-1_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5415-1_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5415-1_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5415-1_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_5415-1_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_5415-1_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_5415-1_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_5415-1_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5415-1_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_5415-1_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5415-1_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5415-1_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_5415-1_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_5415-1_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5415-1_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_5415-1_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_5415-1_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_5415-1_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_5415-1_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_5415-1_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_5415-1_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_5415-1_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_5415-1_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_5415-1_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_5415-1_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_5415-1_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5415-1_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5415-1_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5415-1_0_4_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_5415-1_0_4_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_5415-1_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_5415-1_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_5415-1_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_5415-1_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_5415-1_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_5415-1_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_5415-1_0_4_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_5415-1_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_5415-1_0_4_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_5415-1_0_4_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_5415-1_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_5415-1_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_5415-1_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_5415-1_0_4_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_5415-1_0_4_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_5415-1_0_4_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_5415-1_0_4_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_5415-1_0_4_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_5415-1_0_4_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_5415-1_0_4_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_5415-1_0_4_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_5415-1_0_4_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_5415-1_0_4_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_5415-1_0_4_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_5415-1_0_4_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_5415-1_0_4_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_5415-1_0_4_node_95 | 0.4 | n |  | TRUE
96 | bus_MV_191_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5415-1_0_4_load_0 | 0 | 0.0040813 | 0.0010229 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5415-1_0_4_load_1 | 1 | 0.0012564 | 0.00031488 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5415-1_0_4_load_3 | 3 | 0.0032572 | 0.00081632 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5415-1_0_4_load_5 | 5 | 0.0018995 | 0.00047606 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5415-1_0_4_load_10 | 7 | 0.0010213 | 0.00025596 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5415-1_0_4_load_6 | 9 | 0.0016395 | 0.0004109 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5415-1_0_4_load_13 | 11 | 0.0013597 | 0.00034076 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5415-1_0_4_load_100 | 12 | 0.00045322 | 0.00011359 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5415-1_0_4_load_12 | 13 | 0.00075984 | 0.00019043 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5415-1_0_4_load_15 | 16 | 0.0057045 | 0.0014297 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5415-1_0_4_load_16 | 17 | 0.00048997 | 0.0001228 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5415-1_0_4_load_18 | 18 | 0.00223 | 0.00055888 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5415-1_0_4_load_96 | 19 | 0.0023492 | 0.00058878 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5415-1_0_4_load_11 | 20 | 0.00040725 | 0.00010207 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5415-1_0_4_load_20 | 21 | 0.0028636 | 0.00071769 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5415-1_0_4_load_98 | 22 | 0.00087814 | 0.00022008 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5415-1_0_4_load_97 | 24 | 0.0039437 | 0.00098837 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5415-1_0_4_load_21 | 26 | 0.0061824 | 0.0015494 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5415-1_0_4_load_24 | 29 | 0.00439 | 0.0011002 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5415-1_0_4_load_90 | 32 | 0.0022565 | 0.00056553 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5415-1_0_4_load_86 | 33 | 0.0043714 | 0.0010956 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5415-1_0_4_load_82 | 34 | 0.004848 | 0.001215 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5415-1_0_4_load_83 | 35 | 0.0069268 | 0.001736 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5415-1_0_4_load_94 | 36 | 0.0021181 | 0.00053085 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5415-1_0_4_load_81 | 37 | 0.0035186 | 0.00088185 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5415-1_0_4_load_84 | 38 | 0.0024412 | 0.00061183 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5415-1_0_4_load_28 | 39 | 0.0028854 | 0.00072314 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5415-1_0_4_load_29 | 40 | 0.0012973 | 0.00032512 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5415-1_0_4_load_30 | 41 | 0.0037948 | 0.00095105 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5415-1_0_4_load_31 | 42 | 0.0017539 | 0.00043957 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5415-1_0_4_load_33 | 44 | 0.0017222 | 0.00043162 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5415-1_0_4_load_34 | 46 | 0.0028581 | 0.0007163 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5415-1_0_4_load_38 | 47 | 0.0014871 | 0.00037271 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5415-1_0_4_load_41 | 48 | 0.0013333 | 0.00033416 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5415-1_0_4_load_42 | 49 | 0.0016532 | 0.00041433 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5415-1_0_4_load_37 | 50 | 0.0015254 | 0.00038231 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5415-1_0_4_load_43 | 52 | 0.0011592 | 0.00029053 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5415-1_0_4_load_44 | 53 | 0.0020941 | 0.00052483 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5415-1_0_4_load_45 | 54 | 0.0057408 | 0.0014388 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5415-1_0_4_load_46 | 55 | 0.0035237 | 0.00088313 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5415-1_0_4_load_47 | 56 | 0.0019894 | 0.00049858 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5415-1_0_4_load_51 | 57 | 0.00096968 | 0.00024303 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5415-1_0_4_load_49 | 58 | 0.0016802 | 0.0004211 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5415-1_0_4_load_48 | 59 | 0.0039192 | 0.00098224 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5415-1_0_4_load_50 | 60 | 0.007119 | 0.0017842 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5415-1_0_4_load_52 | 61 | 0.0012468 | 0.00031248 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5415-1_0_4_load_53 | 62 | 0.0016745 | 0.00041967 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5415-1_0_4_load_54 | 63 | 0.0017065 | 0.00042768 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5415-1_0_4_load_55 | 64 | 0.0016144 | 0.0004046 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5415-1_0_4_load_56 | 65 | 0.0030608 | 0.00076711 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5415-1_0_4_load_57 | 66 | 0.0014414 | 0.00036126 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5415-1_0_4_load_72 | 67 | 0.0022483 | 0.00056346 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5415-1_0_4_load_71 | 68 | 0.004398 | 0.0011022 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5415-1_0_4_load_58 | 69 | 0.0050278 | 0.0012601 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5415-1_0_4_load_59 | 70 | 0.0044179 | 0.0011072 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5415-1_0_4_load_61 | 72 | 0.0042229 | 0.0010584 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5415-1_0_4_load_62 | 73 | 0.0045933 | 0.0011512 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5415-1_0_4_load_63 | 74 | 0.007081 | 0.0017747 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5415-1_0_4_load_80 | 75 | 0.0040806 | 0.0010227 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5415-1_0_4_load_64 | 76 | 0.0035135 | 0.00088057 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5415-1_0_4_load_79 | 77 | 0.0083244 | 0.0020863 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5415-1_0_4_load_66 | 79 | 0.0024629 | 0.00061725 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5415-1_0_4_load_67 | 80 | 0.0045763 | 0.0011469 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5415-1_0_4_load_77 | 82 | 0.0073923 | 0.0018527 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5415-1_0_4_load_69 | 83 | 0.0054403 | 0.0013635 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5415-1_0_4_load_70 | 84 | 0.0015591 | 0.00039075 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5415-1_0_4_load_78 | 85 | 0.0095482 | 0.002393 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5415-1_0_4_load_73 | 86 | 0.003778 | 0.00094687 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5415-1_0_4_load_87 | 90 | 0.0055161 | 0.0013825 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5415-1_0_4_load_88 | 91 | 0.0036232 | 0.00090805 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5415-1_0_4_load_85 | 92 | 0.0037308 | 0.00093503 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5415-1_0_4_load_93 | 93 | 0.0017272 | 0.00043288 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5415-1_0_4_load_89 | 94 | 0.0025128 | 0.00062976 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5415-1_0_4_load_95 | 95 | 0.0012675 | 0.00031766 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 84 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5415-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00086684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5415-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5415-1_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0036261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5415-1_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5415-1_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.056614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5415-1_0_4_line_5 | NAYY 4x150 SE | 4 | 10 | 0.062233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5415-1_0_4_line_6 | NAYY 4x150 SE | 4 | 11 | 0.02307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5415-1_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.029183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5415-1_0_4_line_8 | NAYY 4x150 SE | 6 | 8 | 0.12881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_5415-1_0_4_line_9 | NAYY 4x150 SE | 6 | 9 | 0.059455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_5415-1_0_4_line_10 | NAYY 4x150 SE | 8 | 22 | 0.01773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5415-1_0_4_line_11 | NAYY 4x150 SE | 9 | 14 | 0.18239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_5415-1_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.016649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5415-1_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.030725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5415-1_0_4_line_14 | NAYY 4x150 SE | 12 | 23 | 0.035759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5415-1_0_4_line_15 | NAYY 4x150 SE | 13 | 20 | 0.0017443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5415-1_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.19765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_5415-1_0_4_line_17 | NAYY 4x150 SE | 15 | 19 | 0.092016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_5415-1_0_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.048002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5415-1_0_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.06353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5415-1_0_4_line_20 | NAYY 4x150 SE | 18 | 21 | 0.059221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5415-1_0_4_line_21 | NAYY 4x150 SE | 19 | 25 | 0.087439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_5415-1_0_4_line_22 | NAYY 4x150 SE | 21 | 23 | 0.019868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5415-1_0_4_line_23 | NAYY 4x150 SE | 22 | 24 | 0.023199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5415-1_0_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.033506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5415-1_0_4_line_25 | NAYY 4x150 SE | 25 | 51 | 0.064417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_5415-1_0_4_line_26 | NAYY 4x150 SE | 26 | 27 | 0.012035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5415-1_0_4_line_27 | NAYY 4x150 SE | 26 | 28 | 0.018686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5415-1_0_4_line_28 | NAYY 4x150 SE | 27 | 29 | 0.019885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5415-1_0_4_line_29 | NAYY 4x150 SE | 27 | 30 | 0.041527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5415-1_0_4_line_30 | NAYY 4x150 SE | 28 | 31 | 0.054966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5415-1_0_4_line_31 | NAYY 4x150 SE | 30 | 33 | 0.015087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5415-1_0_4_line_32 | NAYY 4x150 SE | 30 | 34 | 0.017239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5415-1_0_4_line_33 | NAYY 4x150 SE | 30 | 35 | 0.013236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5415-1_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0073962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5415-1_0_4_line_35 | NAYY 4x150 SE | 33 | 36 | 0.004199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5415-1_0_4_line_36 | NAYY 4x150 SE | 34 | 37 | 0.0058533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5415-1_0_4_line_37 | NAYY 4x150 SE | 35 | 38 | 0.01202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5415-1_0_4_line_38 | NAYY 4x150 SE | 36 | 93 | 0.0070731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5415-1_0_4_line_39 | NAYY 4x150 SE | 37 | 75 | 0.009208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5415-1_0_4_line_40 | NAYY 4x150 SE | 38 | 92 | 0.0084265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5415-1_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.0047097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_5415-1_0_4_line_42 | NAYY 4x150 SE | 39 | 41 | 0.04153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_5415-1_0_4_line_43 | NAYY 4x150 SE | 40 | 42 | 0.025702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_5415-1_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.032261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_5415-1_0_4_line_45 | NAYY 4x150 SE | 42 | 44 | 0.020564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_5415-1_0_4_line_46 | NAYY 4x150 SE | 43 | 45 | 0.041985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_5415-1_0_4_line_47 | NAYY 4x150 SE | 44 | 46 | 0.00055417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_5415-1_0_4_line_48 | NAYY 4x150 SE | 45 | 47 | 0.056004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_5415-1_0_4_line_49 | NAYY 4x150 SE | 46 | 48 | 0.014278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_5415-1_0_4_line_50 | NAYY 4x150 SE | 47 | 50 | 0.0095628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_5415-1_0_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.0030576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_5415-1_0_4_line_52 | NAYY 4x150 SE | 49 | 52 | 0.0016802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_5415-1_0_4_line_53 | NAYY 4x150 SE | 50 | 51 | 0.062295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_5415-1_0_4_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0075782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_5415-1_0_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0083625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_5415-1_0_4_line_56 | NAYY 4x150 SE | 54 | 55 | 0.0038485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_5415-1_0_4_line_57 | NAYY 4x150 SE | 55 | 56 | 0.014231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_5415-1_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0081551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_5415-1_0_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0071533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_5415-1_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.0066953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_5415-1_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.010641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_5415-1_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.0028547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_5415-1_0_4_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0081788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_5415-1_0_4_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0076954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_5415-1_0_4_line_65 | NAYY 4x150 SE | 63 | 64 | 0.00072978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_5415-1_0_4_line_66 | NAYY 4x150 SE | 64 | 65 | 0.0014403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_5415-1_0_4_line_67 | NAYY 4x150 SE | 65 | 66 | 0.0064215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_5415-1_0_4_line_68 | NAYY 4x150 SE | 66 | 67 | 0.006671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_5415-1_0_4_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0025758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_5415-1_0_4_line_70 | NAYY 4x150 SE | 68 | 83 | 0.015673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_5415-1_0_4_line_71 | NAYY 4x150 SE | 69 | 70 | 0.0062978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5415-1_0_4_line_72 | NAYY 4x150 SE | 69 | 71 | 0.017502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5415-1_0_4_line_73 | NAYY 4x150 SE | 70 | 72 | 0.0088864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5415-1_0_4_line_74 | NAYY 4x150 SE | 71 | 73 | 0.0046296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5415-1_0_4_line_75 | NAYY 4x150 SE | 71 | 74 | 0.016878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5415-1_0_4_line_76 | NAYY 4x150 SE | 72 | 75 | 0.0089385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5415-1_0_4_line_77 | NAYY 4x150 SE | 73 | 76 | 0.012462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5415-1_0_4_line_78 | NAYY 4x150 SE | 74 | 77 | 0.0011116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5415-1_0_4_line_79 | NAYY 4x150 SE | 76 | 78 | 0.0097599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5415-1_0_4_line_80 | NAYY 4x150 SE | 78 | 79 | 0.0072411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_5415-1_0_4_line_81 | NAYY 4x150 SE | 78 | 80 | 0.017755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5415-1_0_4_line_82 | NAYY 4x150 SE | 79 | 81 | 0.019729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_5415-1_0_4_line_83 | NAYY 4x150 SE | 80 | 82 | 0.018892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5415-1_0_4_line_84 | NAYY 4x150 SE | 81 | 83 | 0.0086133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_5415-1_0_4_line_85 | NAYY 4x150 SE | 81 | 84 | 0.006328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_5415-1_0_4_line_86 | NAYY 4x150 SE | 82 | 85 | 0.00073794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5415-1_0_4_line_87 | NAYY 4x150 SE | 84 | 86 | 0.0047585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5415-1_0_4_line_88 | NAYY 4x150 SE | 85 | 88 | 0.015088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5415-1_0_4_line_89 | NAYY 4x150 SE | 87 | 88 | 0.026678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5415-1_0_4_line_90 | NAYY 4x150 SE | 87 | 89 | 0.034588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5415-1_0_4_line_91 | NAYY 4x150 SE | 89 | 90 | 0.0045154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5415-1_0_4_line_92 | NAYY 4x150 SE | 90 | 91 | 0.028994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5415-1_0_4_line_93 | NAYY 4x150 SE | 91 | 94 | 0.034572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5415-1_0_4_line_94 | NAYY 4x150 SE | 93 | 95 | 0.0057406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5415-1_0_4_trafo_70 | 0.25 MVA 20/0.4 kV | 96 | 84 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2563367.1964 | 1130536.9452 | 2563366.6527 | 1130537.6204
1 | 2563354.3233 | 1130552.931 | 2563366.6527 | 1130537.6204
2 | 2563367.1964 | 1130536.9452 | 2563369.4707 | 1130534.121
3 | 2563335.3628 | 1130575.8023 | 2563354.3233 | 1130552.931
4 | 2563354.3233 | 1130552.931 | 2563314.0388 | 1130540.592 | 2563304.1 | 1130551.1253
5 | 2563335.3628 | 1130575.8023 | 2563334.5982 | 1130576.7185 | 2563299.6484 | 1130617.0626 | 2563294.6244 | 1130622.9406
6 | 2563335.3628 | 1130575.8023 | 2563338.8862 | 1130578.9602 | 2563353.2555 | 1130590.3535
7 | 2563102.8778 | 1130648.4573 | 2563078.8718 | 1130631.8632
8 | 2563102.8778 | 1130648.4573 | 2563223.8056 | 1130692.8297
9 | 2563102.8778 | 1130648.4573 | 2563104.7417 | 1130649.7465 | 2563111.5789 | 1130655.7633 | 2563112.6684 | 1130657.6131 | 2563113.1288 | 1130659.867 | 2563112.7488 | 1130661.9481 | 2563111.7843 | 1130664.1663 | 2563089.212 | 1130696.0919
10 | 2563223.8056 | 1130692.8297 | 2563237.3373 | 1130704.2863 | 2563237.3373 | 1130704.2863
11 | 2562960.2383 | 1130731.9185 | 2563016.847 | 1130777.8386 | 2563068.2488 | 1130725.7417 | 2563089.212 | 1130696.0919
12 | 2563294.6244 | 1130622.9406 | 2563300.3969 | 1130627.4188 | 2563300.8883 | 1130629.6948 | 2563298.288 | 1130636.2103
13 | 2563353.2555 | 1130590.3535 | 2563363.1935 | 1130598.2333 | 2563376.5486 | 1130610.3639
14 | 2563276.2125 | 1130663.7178 | 2563295.1156 | 1130644.1594 | 2563298.288 | 1130636.2103
15 | 2563377.8398 | 1130611.5367 | 2563376.5486 | 1130610.3639
16 | 2562960.2383 | 1130731.9185 | 2562892.3764 | 1130782.1835 | 2562962.679 | 1130870.9071
17 | 2562962.679 | 1130870.9071 | 2562965.1516 | 1130879.763 | 2562968.3566 | 1130890.0152 | 2562972.87 | 1130933.9763 | 2562975.8241 | 1130961.7069
18 | 2563201.5466 | 1130797.7211 | 2563201.7567 | 1130797.4837 | 2563235.329 | 1130763.6195
19 | 2563281.3991 | 1130719.892 | 2563247.8494 | 1130750.9902 | 2563235.329 | 1130763.6195
20 | 2563281.3991 | 1130719.892 | 2563306.5938 | 1130696.5382 | 2563302.8464 | 1130691.981 | 2563289.8381 | 1130678.1769
21 | 2562985.1183 | 1131048.6479 | 2562983.6577 | 1131032.7822 | 2562978.0513 | 1130982.6135 | 2562975.8241 | 1130961.7069
22 | 2563276.2125 | 1130663.7178 | 2563289.8381 | 1130678.1769
23 | 2563254.6923 | 1130688.8919 | 2563237.3373 | 1130704.2863
24 | 2563276.2125 | 1130663.7178 | 2563270.2738 | 1130669.8681 | 2563264.7213 | 1130679.996 | 2563254.6923 | 1130688.8919
25 | 2562985.1183 | 1131048.6479 | 2562988.4023 | 1131084.3235 | 2562992.1652 | 1131102.6764 | 2562998.1123 | 1131110.5327
26 | 2563236.5983 | 1131142.3119 | 2563225.6877 | 1131147.391
27 | 2563208.747 | 1131155.2772 | 2563225.6877 | 1131147.391
28 | 2563236.5983 | 1131142.3119 | 2563244.7254 | 1131160.4604
29 | 2563236.5983 | 1131142.3119 | 2563234.4491 | 1131138.4119 | 2563269.1459 | 1131125.3494
30 | 2563163.1025 | 1131173.7653 | 2563183.1683 | 1131162.0813 | 2563194.7776 | 1131156.4965 | 2563200.0951 | 1131162.1891 | 2563208.747 | 1131155.2772
31 | 2563269.1459 | 1131125.3494 | 2563275.0663 | 1131139.2262
32 | 2563269.1459 | 1131125.3494 | 2563262.0374 | 1131109.6439
33 | 2563269.1459 | 1131125.3494 | 2563281.7538 | 1131121.3218
34 | 2563163.1025 | 1131173.7653 | 2563156.7417 | 1131177.5394
35 | 2563276.7141 | 1131143.0884 | 2563275.0663 | 1131139.2262
36 | 2563259.6239 | 1131104.3113 | 2563262.0374 | 1131109.6439
37 | 2563281.7538 | 1131121.3218 | 2563293.2041 | 1131117.6641
38 | 2563279.4897 | 1131149.5941 | 2563276.7141 | 1131143.0884
39 | 2563255.8271 | 1131095.9226 | 2563259.6239 | 1131104.3113
40 | 2563300.2576 | 1131113.0841 | 2563293.6251 | 1131117.5297 | 2563293.2041 | 1131117.6641
41 | 2563092.4288 | 1131156.8134 | 2563090.4457 | 1131161.0853
42 | 2563072.9595 | 1131198.7543 | 2563090.4457 | 1131161.0853
43 | 2563105.8209 | 1131134.8953 | 2563100.4154 | 1131142.9998 | 2563092.7869 | 1131156.042 | 2563092.4288 | 1131156.8134
44 | 2563059.3759 | 1131228.0163 | 2563072.9595 | 1131198.7543
45 | 2563105.8209 | 1131134.8953 | 2563117.2317 | 1131117.7871
46 | 2563059.3759 | 1131228.0163 | 2563018.05 | 1131236.0738
47 | 2563117.2317 | 1131117.7871 | 2563117.5392 | 1131117.3261
48 | 2563018.05 | 1131236.0738 | 2563010.2968 | 1131180.6093
49 | 2563117.5392 | 1131117.3261 | 2563125.4617 | 1131105.4479
50 | 2563008.9729 | 1131171.1386 | 2563010.2968 | 1131180.6093
51 | 2563127.3338 | 1131103.0439 | 2563126.4208 | 1131104.0099 | 2563125.4617 | 1131105.4479
52 | 2563127.3338 | 1131103.0439 | 2563128.4879 | 1131101.8228
53 | 2562998.1123 | 1131110.5327 | 2563005.8497 | 1131129.0501 | 2563007.829 | 1131162.9551 | 2563008.9729 | 1131171.1386
54 | 2563128.4879 | 1131101.8228 | 2563133.6933 | 1131096.3153
55 | 2563139.4374 | 1131090.2378 | 2563133.6933 | 1131096.3153
56 | 2563139.4374 | 1131090.2378 | 2563142.0809 | 1131087.4408
57 | 2563142.0809 | 1131087.4408 | 2563151.8561 | 1131077.0983
58 | 2563151.8561 | 1131077.0983 | 2563157.4578 | 1131071.1715
59 | 2563157.4578 | 1131071.1715 | 2563162.3714 | 1131065.9727
60 | 2563166.9703 | 1131061.1069 | 2563162.3714 | 1131065.9727
61 | 2563166.9703 | 1131061.1069 | 2563174.2793 | 1131053.3737
62 | 2563176.2401 | 1131051.299 | 2563174.2793 | 1131053.3737
63 | 2563176.2401 | 1131051.299 | 2563181.8581 | 1131045.355
64 | 2563181.8581 | 1131045.355 | 2563187.144 | 1131039.7622
65 | 2563187.144 | 1131039.7622 | 2563187.6453 | 1131039.2319
66 | 2563187.6453 | 1131039.2319 | 2563188.6346 | 1131038.1851
67 | 2563193.0455 | 1131033.5182 | 2563188.6346 | 1131038.1851
68 | 2563193.0455 | 1131033.5182 | 2563197.6278 | 1131028.67
69 | 2563199.3971 | 1131026.798 | 2563197.6278 | 1131028.67
70 | 2563199.3971 | 1131026.798 | 2563210.1628 | 1131015.4074
71 | 2563245.8804 | 1131073.946 | 2563248.4772 | 1131079.6835
72 | 2563238.6636 | 1131058.0012 | 2563245.8804 | 1131073.946
73 | 2563248.4772 | 1131079.6835 | 2563252.1414 | 1131087.7793
74 | 2563238.6636 | 1131058.0012 | 2563236.7393 | 1131053.7905
75 | 2563238.6636 | 1131058.0012 | 2563252.8346 | 1131048.833
76 | 2563252.1414 | 1131087.7793 | 2563255.8271 | 1131095.9226
77 | 2563236.7393 | 1131053.7905 | 2563231.5592 | 1131042.456
78 | 2563253.7679 | 1131048.2292 | 2563252.8346 | 1131048.833
79 | 2563227.5024 | 1131033.5791 | 2563231.5592 | 1131042.456
80 | 2563227.5024 | 1131033.5791 | 2563224.4354 | 1131027.0197
81 | 2563227.5024 | 1131033.5791 | 2563241.9931 | 1131023.3187
82 | 2563216.0792 | 1131009.1476 | 2563224.4354 | 1131027.0197
83 | 2563241.9931 | 1131023.3187 | 2563248.1056 | 1131018.9906 | 2563256.553 | 1131011.3325
84 | 2563216.0792 | 1131009.1476 | 2563210.1628 | 1131015.4074
85 | 2563216.0792 | 1131009.1476 | 2563220.9609 | 1131005.121
86 | 2563257.0997 | 1131010.8368 | 2563256.553 | 1131011.3325
87 | 2563220.9609 | 1131005.121 | 2563224.6318 | 1131002.0932
88 | 2563268.2782 | 1131000.7029 | 2563257.0997 | 1131010.8368
89 | 2563251.6401 | 1130979.8159 | 2563268.2782 | 1131000.7029
90 | 2563277.7928 | 1130957.134 | 2563266.8589 | 1130967.4725 | 2563251.6401 | 1130979.8159
91 | 2563277.7928 | 1130957.134 | 2563281.235 | 1130954.2117
92 | 2563281.235 | 1130954.2117 | 2563289.4916 | 1130947.2022 | 2563301.698 | 1130933.7518
93 | 2563301.698 | 1130933.7518 | 2563324.9314 | 1130908.1504
94 | 2563279.4897 | 1131149.5941 | 2563281.7424 | 1131154.8743

## bus_geodata
| x | y | coords
0 | 2563366.6527 | 1130537.6204
1 | 2563367.1964 | 1130536.9452
2 | 2563354.3233 | 1130552.931
3 | 2563369.4707 | 1130534.121
4 | 2563335.3628 | 1130575.8023
5 | 2563304.1 | 1130551.1253
6 | 2563102.8778 | 1130648.4573
7 | 2563078.8718 | 1130631.8632
8 | 2563223.8056 | 1130692.8297
9 | 2563089.212 | 1130696.0919
10 | 2563294.6244 | 1130622.9406
11 | 2563353.2555 | 1130590.3535
12 | 2563298.288 | 1130636.2103
13 | 2563376.5486 | 1130610.3639
14 | 2562960.2383 | 1130731.9185
15 | 2562962.679 | 1130870.9071
16 | 2563201.5466 | 1130797.7211
17 | 2563235.329 | 1130763.6195
18 | 2563281.3991 | 1130719.892
19 | 2562975.8241 | 1130961.7069
20 | 2563377.8398 | 1130611.5367
21 | 2563289.8381 | 1130678.1769
22 | 2563237.3373 | 1130704.2863
23 | 2563276.2125 | 1130663.7178
24 | 2563254.6923 | 1130688.8919
25 | 2562985.1183 | 1131048.6479
26 | 2563225.6877 | 1131147.391
27 | 2563236.5983 | 1131142.3119
28 | 2563208.7469 | 1131155.2772
29 | 2563244.7254 | 1131160.4604
30 | 2563269.1459 | 1131125.3494
31 | 2563163.1025 | 1131173.7653
32 | 2563156.7417 | 1131177.5394
33 | 2563275.0663 | 1131139.2262
34 | 2563262.0374 | 1131109.6439
35 | 2563281.7538 | 1131121.3218
36 | 2563276.7141 | 1131143.0884
37 | 2563259.6239 | 1131104.3113
38 | 2563293.2041 | 1131117.6641
39 | 2563090.4457 | 1131161.0853
40 | 2563092.4288 | 1131156.8134
41 | 2563072.9595 | 1131198.7543
42 | 2563105.8209 | 1131134.8953
43 | 2563059.3759 | 1131228.0163
44 | 2563117.2317 | 1131117.7871
45 | 2563018.05 | 1131236.0738
46 | 2563117.5392 | 1131117.3261
47 | 2563010.2968 | 1131180.6093
48 | 2563125.4617 | 1131105.4479
49 | 2563127.3338 | 1131103.0439
50 | 2563008.9729 | 1131171.1386
51 | 2562998.1123 | 1131110.5327
52 | 2563128.4879 | 1131101.8228
53 | 2563133.6933 | 1131096.3153
54 | 2563139.4374 | 1131090.2378
55 | 2563142.0809 | 1131087.4408
56 | 2563151.8561 | 1131077.0983
57 | 2563157.4578 | 1131071.1715
58 | 2563162.3714 | 1131065.9727
59 | 2563166.9703 | 1131061.1069
60 | 2563174.2793 | 1131053.3737
61 | 2563176.2401 | 1131051.299
62 | 2563181.8581 | 1131045.355
63 | 2563187.144 | 1131039.7622
64 | 2563187.6453 | 1131039.2319
65 | 2563188.6346 | 1131038.1851
66 | 2563193.0455 | 1131033.5182
67 | 2563197.6278 | 1131028.67
68 | 2563199.3971 | 1131026.798
69 | 2563245.8804 | 1131073.946
70 | 2563248.4772 | 1131079.6835
71 | 2563238.6636 | 1131058.0012
72 | 2563252.1414 | 1131087.7793
73 | 2563236.7393 | 1131053.7905
74 | 2563252.8346 | 1131048.833
75 | 2563255.8271 | 1131095.9226
76 | 2563231.5592 | 1131042.4559
77 | 2563253.7679 | 1131048.2292
78 | 2563227.5024 | 1131033.5791
79 | 2563224.4354 | 1131027.0197
80 | 2563241.9931 | 1131023.3187
81 | 2563216.0792 | 1131009.1476
82 | 2563256.553 | 1131011.3325
83 | 2563210.1628 | 1131015.4074
84 | 2563220.9609 | 1131005.121
85 | 2563257.0997 | 1131010.8368
86 | 2563224.6318 | 1131002.0932
87 | 2563251.6401 | 1130979.8159
88 | 2563268.2782 | 1131000.7029
89 | 2563277.7928 | 1130957.134
90 | 2563281.235 | 1130954.2117
91 | 2563301.698 | 1130933.7518
92 | 2563300.2576 | 1131113.0841
93 | 2563279.4897 | 1131149.5941
94 | 2563324.9314 | 1130908.1504
95 | 2563281.7424 | 1131154.8743
96 | 2563216.0792 | 1131009.1476

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1