## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5415-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5415-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5415-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5415-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5415-4_0_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_5415-4_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_5415-4_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_5415-4_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5415-4_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5415-4_0_3_node_104 | 0.4 | n |  | TRUE
10 | bus_LV_5415-4_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_5415-4_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_5415-4_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_5415-4_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5415-4_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5415-4_0_3_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_5415-4_0_3_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_5415-4_0_3_node_108 | 0.4 | n |  | TRUE
18 | bus_LV_5415-4_0_3_node_132 | 0.4 | n |  | TRUE
19 | bus_LV_5415-4_0_3_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_5415-4_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5415-4_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5415-4_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5415-4_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_5415-4_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5415-4_0_3_node_102 | 0.4 | n |  | TRUE
26 | bus_LV_5415-4_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_5415-4_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5415-4_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_5415-4_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5415-4_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5415-4_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_5415-4_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5415-4_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5415-4_0_3_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_5415-4_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5415-4_0_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_5415-4_0_3_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_5415-4_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5415-4_0_3_node_107 | 0.4 | n |  | TRUE
40 | bus_LV_5415-4_0_3_node_106 | 0.4 | n |  | TRUE
41 | bus_LV_5415-4_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_5415-4_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_5415-4_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5415-4_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_5415-4_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_5415-4_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5415-4_0_3_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_5415-4_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_5415-4_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_5415-4_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_5415-4_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_5415-4_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_5415-4_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_5415-4_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_5415-4_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_5415-4_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_5415-4_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_5415-4_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_5415-4_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_5415-4_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_5415-4_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_5415-4_0_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_5415-4_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_5415-4_0_3_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_5415-4_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_5415-4_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_5415-4_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_5415-4_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5415-4_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_5415-4_0_3_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_5415-4_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_5415-4_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_5415-4_0_3_node_103 | 0.4 | n |  | TRUE
74 | bus_LV_5415-4_0_3_node_97 | 0.4 | n |  | TRUE
75 | bus_LV_5415-4_0_3_node_98 | 0.4 | n |  | TRUE
76 | bus_LV_5415-4_0_3_node_100 | 0.4 | n |  | TRUE
77 | bus_LV_5415-4_0_3_node_101 | 0.4 | n |  | TRUE
78 | bus_MV_106_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5415-4_0_3_load_0 | 0 | 0.0020915 | 0.00052418 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5415-4_0_3_load_12 | 4 | 0.0024745 | 0.00062016 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5415-4_0_3_load_13 | 5 | 0.0017312 | 0.00043387 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5415-4_0_3_load_9 | 6 | 0.0025708 | 0.00064431 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5415-4_0_3_load_6 | 7 | 0.0030563 | 0.00076597 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5415-4_0_3_load_4 | 8 | 0.0051207 | 0.0012834 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5415-4_0_3_load_104 | 9 | 0.0015501 | 0.00038849 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5415-4_0_3_load_10 | 11 | 0.0021674 | 0.0005432 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5415-4_0_3_load_8 | 14 | 0.00066967 | 0.00016784 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5415-4_0_3_load_43 | 16 | 0.0031144 | 0.00078055 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5415-4_0_3_load_108 | 17 | 0.0035842 | 0.00089829 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5415-4_0_3_load_132 | 18 | 0.0056982 | 0.0014281 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5415-4_0_3_load_16 | 21 | 0.0046504 | 0.0011655 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5415-4_0_3_load_14 | 22 | 0.0017132 | 0.00042938 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5415-4_0_3_load_26 | 23 | 0.0057962 | 0.0014527 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5415-4_0_3_load_15 | 24 | 0.0023052 | 0.00057774 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5415-4_0_3_load_102 | 25 | 0.00069584 | 0.00017439 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5415-4_0_3_load_25 | 26 | 0.0037445 | 0.00093845 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5415-4_0_3_load_27 | 28 | 0.001318 | 0.00033033 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5415-4_0_3_load_17 | 29 | 0.0011453 | 0.00028703 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5415-4_0_3_load_19 | 31 | 0.0010345 | 0.00025927 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5415-4_0_3_load_22 | 33 | 0.0014242 | 0.00035695 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5415-4_0_3_load_99 | 34 | 0.00099386 | 0.00024909 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5415-4_0_3_load_23 | 35 | 0.00035852 | 8.9853e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5415-4_0_3_load_57 | 37 | 0.0015493 | 0.00038829 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5415-4_0_3_load_107 | 39 | 0.001975 | 0.00049499 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5415-4_0_3_load_106 | 40 | 0.0037734 | 0.00094571 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5415-4_0_3_load_33 | 41 | 0.0036896 | 0.00092469 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5415-4_0_3_load_34 | 42 | 0.0022163 | 0.00055545 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5415-4_0_3_load_28 | 43 | 0.00069432 | 0.00017401 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5415-4_0_3_load_30 | 45 | 0.0029885 | 0.00074898 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5415-4_0_3_load_32 | 46 | 0.00097186 | 0.00024357 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5415-4_0_3_load_55 | 47 | 0.00079407 | 0.00019901 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5415-4_0_3_load_35 | 48 | 0.00036844 | 9.2339e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5415-4_0_3_load_36 | 49 | 0.0014105 | 0.00035351 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5415-4_0_3_load_37 | 50 | 0.00040052 | 0.00010038 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5415-4_0_3_load_38 | 51 | 0.00064576 | 0.00016184 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5415-4_0_3_load_48 | 52 | 0.00075589 | 0.00018944 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5415-4_0_3_load_39 | 54 | 0.0020536 | 0.00051468 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5415-4_0_3_load_51 | 57 | 0.00045838 | 0.00011488 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5415-4_0_3_load_53 | 58 | 0.00084914 | 0.00021282 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5415-4_0_3_load_50 | 59 | 0.0013683 | 0.00034292 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5415-4_0_3_load_44 | 60 | 0.0026142 | 0.00065517 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5415-4_0_3_load_45 | 61 | 0.00061548 | 0.00015425 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5415-4_0_3_load_47 | 62 | 0.0039862 | 0.00099905 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5415-4_0_3_load_49 | 63 | 0.0014127 | 0.00035405 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5415-4_0_3_load_63 | 65 | 0.00071077 | 0.00017814 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5415-4_0_3_load_62 | 66 | 0.001066 | 0.00026717 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5415-4_0_3_load_59 | 68 | 0.0035835 | 0.0008981 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5415-4_0_3_load_60 | 69 | 0.00028813 | 7.2211e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5415-4_0_3_load_61 | 70 | 0.0013584 | 0.00034044 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5415-4_0_3_load_65 | 71 | 0.0013499 | 0.00033832 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5415-4_0_3_load_64 | 72 | 0.00045969 | 0.00011521 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5415-4_0_3_load_103 | 73 | 0.0011769 | 0.00029497 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5415-4_0_3_load_97 | 74 | 0.0021251 | 0.00053261 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5415-4_0_3_load_100 | 76 | 0.0026228 | 0.00065735 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5415-4_0_3_load_101 | 77 | 0.0054617 | 0.0013688 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5415-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5415-4_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.064838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5415-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.084608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5415-4_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.040183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5415-4_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.023741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5415-4_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.018465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5415-4_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.022182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5415-4_0_3_line_7 | NAYY 4x150 SE | 3 | 8 | 0.033933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5415-4_0_3_line_8 | NAYY 4x150 SE | 4 | 9 | 0.1723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5415-4_0_3_line_9 | NAYY 4x150 SE | 5 | 10 | 0.0079902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5415-4_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.012671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5415-4_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.044813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5415-4_0_3_line_12 | NAYY 4x150 SE | 9 | 25 | 0.011722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5415-4_0_3_line_13 | NAYY 4x150 SE | 10 | 26 | 0.047667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5415-4_0_3_line_14 | NAYY 4x150 SE | 10 | 27 | 0.004343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5415-4_0_3_line_15 | NAYY 4x150 SE | 11 | 20 | 0.019867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5415-4_0_3_line_16 | NAYY 4x150 SE | 12 | 13 | 0.031782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5415-4_0_3_line_17 | NAYY 4x150 SE | 12 | 14 | 0.055702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5415-4_0_3_line_18 | NAYY 4x150 SE | 13 | 15 | 0.032143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5415-4_0_3_line_19 | NAYY 4x150 SE | 13 | 16 | 0.037887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5415-4_0_3_line_20 | NAYY 4x150 SE | 14 | 17 | 0.016727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5415-4_0_3_line_21 | NAYY 4x150 SE | 15 | 18 | 0.050174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5415-4_0_3_line_22 | NAYY 4x150 SE | 15 | 19 | 0.019109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5415-4_0_3_line_23 | NAYY 4x150 SE | 19 | 54 | 0.039281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5415-4_0_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.012259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5415-4_0_3_line_25 | NAYY 4x150 SE | 20 | 22 | 0.0090254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5415-4_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.032277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5415-4_0_3_line_27 | NAYY 4x150 SE | 22 | 24 | 0.017342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5415-4_0_3_line_28 | NAYY 4x150 SE | 23 | 28 | 0.020307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5415-4_0_3_line_29 | NAYY 4x150 SE | 25 | 73 | 0.012067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5415-4_0_3_line_30 | NAYY 4x150 SE | 26 | 39 | 0.04893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5415-4_0_3_line_31 | NAYY 4x150 SE | 27 | 33 | 0.017698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5415-4_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.021259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_5415-4_0_3_line_33 | NAYY 4x150 SE | 28 | 41 | 0.01219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5415-4_0_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.037729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_5415-4_0_3_line_35 | NAYY 4x150 SE | 29 | 31 | 0.051654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5415-4_0_3_line_36 | NAYY 4x150 SE | 30 | 32 | 0.0805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5415-4_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.11517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5415-4_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.016249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5415-4_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.024633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5415-4_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.065875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5415-4_0_3_line_41 | NAYY 4x150 SE | 37 | 67 | 0.064599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5415-4_0_3_line_42 | NAYY 4x150 SE | 38 | 47 | 0.01923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5415-4_0_3_line_43 | NAYY 4x150 SE | 38 | 44 | 0.05102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5415-4_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.019586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5415-4_0_3_line_45 | NAYY 4x150 SE | 40 | 75 | 0.18124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5415-4_0_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.035329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5415-4_0_3_line_47 | NAYY 4x150 SE | 42 | 48 | 0.0099658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5415-4_0_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.0202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5415-4_0_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.0080171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5415-4_0_3_line_50 | NAYY 4x150 SE | 44 | 46 | 0.016667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5415-4_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.0013618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5415-4_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.019171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5415-4_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.0070314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5415-4_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.0016901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5415-4_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.011335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5415-4_0_3_line_56 | NAYY 4x150 SE | 53 | 63 | 0.023011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5415-4_0_3_line_57 | NAYY 4x150 SE | 53 | 60 | 0.01829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5415-4_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.007939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5415-4_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.021714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5415-4_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.015379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5415-4_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.025129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5415-4_0_3_line_62 | NAYY 4x150 SE | 59 | 62 | 0.013722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5415-4_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.014083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5415-4_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.0020193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5415-4_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.019437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5415-4_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.029499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5415-4_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.013504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5415-4_0_3_line_68 | NAYY 4x150 SE | 66 | 72 | 0.017281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5415-4_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.11131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5415-4_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.039668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5415-4_0_3_line_71 | NAYY 4x150 SE | 67 | 70 | 0.022705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5415-4_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.010086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5415-4_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.011199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5415-4_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.077189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5415-4_0_3_line_75 | NAYY 4x150 SE | 74 | 76 | 1.2136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5415-4_0_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.03337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5415-4_0_3_trafo_17 | 0.25 MVA 20/0.4 kV | 78 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2561240.5989 | 1132871.5237 | 2561250.5365 | 1132865.4361
1 | 2561197.3318 | 1132823.5111 | 2561219.3396 | 1132843.4463 | 2561240.5989 | 1132871.5237
2 | 2561240.5989 | 1132871.5237 | 2561261.1647 | 1132903.1186 | 2561281.834 | 1132861.0089
3 | 2561197.3318 | 1132823.5111 | 2561185.6593 | 1132845.9866 | 2561179.0319 | 1132859.3027
4 | 2561197.3318 | 1132823.5111 | 2561174.5483 | 1132816.8376
5 | 2561197.3318 | 1132823.5111 | 2561204.5399 | 1132806.5113
6 | 2561261.726 | 1132851.5222 | 2561281.834 | 1132861.0089
7 | 2561281.834 | 1132861.0089 | 2561296.5793 | 1132830.4477
8 | 2561179.0319 | 1132859.3027 | 2561156.4345 | 1133030.1186
9 | 2561166.8803 | 1132814.5916 | 2561174.5483 | 1132816.8376
10 | 2561204.5399 | 1132806.5113 | 2561209.4863 | 1132794.8455
11 | 2561316.0528 | 1132790.0866 | 2561296.5793 | 1132830.4477
12 | 2561167.7899 | 1133033.0287 | 2561156.4345 | 1133030.1186
13 | 2561166.8803 | 1132814.5916 | 2561144.7821 | 1132856.8267
14 | 2561166.8803 | 1132814.5916 | 2561162.6621 | 1132813.5071
15 | 2561219.5022 | 1132777.8231 | 2561212.6504 | 1132787.3831 | 2561209.4863 | 1132794.8455
16 | 2561316.0528 | 1132790.0866 | 2561329.8651 | 1132761.4501
17 | 2561316.0528 | 1132790.0866 | 2561281.1827 | 1132776.4481 | 2561271.3381 | 1132777.9565 | 2561263.2452 | 1132776.1135
18 | 2561329.8651 | 1132761.4501 | 2561343.8372 | 1132732.4903
19 | 2561329.8651 | 1132761.4501 | 2561295.2641 | 1132746.0154
20 | 2561246.9361 | 1132772.3994 | 2561263.2452 | 1132776.1135
21 | 2561305.0428 | 1132708.427 | 2561304.4367 | 1132715.9459 | 2561343.8372 | 1132732.4903
22 | 2561343.8372 | 1132732.4903 | 2561352.1414 | 1132715.2728
23 | 2561352.1414 | 1132715.2728 | 2561316.2527 | 1132699.3044
24 | 2561219.5022 | 1132777.8231 | 2561224.7746 | 1132770.4632 | 2561226.0628 | 1132767.5281
25 | 2561219.5022 | 1132777.8231 | 2561227.2693 | 1132781.2749 | 2561227.7884 | 1132781.3585
26 | 2561239.4101 | 1132738.1575 | 2561237.1194 | 1132742.3362 | 2561226.0628 | 1132767.5281
27 | 2561244.9098 | 1132784.1184 | 2561227.7884 | 1132781.3585
28 | 2561239.4101 | 1132738.1575 | 2561249.1716 | 1132720.3509
29 | 2561167.7899 | 1133033.0287 | 2561179.4787 | 1133036.0242
30 | 2561144.7821 | 1132856.8267 | 2561136.9932 | 1132871.7132 | 2561107.6147 | 1132858.7067
31 | 2561162.6621 | 1132813.5071 | 2561167.8493 | 1132796.5868
32 | 2561142.0036 | 1132808.2487 | 2561162.6621 | 1132813.5071
33 | 2561249.1716 | 1132720.3509 | 2561255.0316 | 1132709.6614
34 | 2561142.0036 | 1132808.2487 | 2561149.5298 | 1132771.2778
35 | 2561188.4181 | 1132761.5705 | 2561169.7846 | 1132753.9755 | 2561164.9306 | 1132753.3843 | 2561161.1102 | 1132753.1088 | 2561157.6098 | 1132754.6766 | 2561154.633 | 1132757.4749 | 2561152.2774 | 1132761.0919 | 2561150.6598 | 1132765.7269 | 2561149.5298 | 1132771.2778
36 | 2561063.7876 | 1132788.2989 | 2561142.0036 | 1132808.2487
37 | 2561063.7876 | 1132788.2989 | 2560952.2544 | 1132759.5737
38 | 2561167.8493 | 1132796.5868 | 2561169.7272 | 1132790.4611 | 2561176.3093 | 1132783.1434
39 | 2561141.733 | 1132636.1966 | 2561144.5527 | 1132630.52 | 2561153.2692 | 1132614.4355
40 | 2561141.733 | 1132636.1966 | 2561181.4884 | 1132653.8939 | 2561183.8446 | 1132656.3466 | 2561185.446 | 1132659.9381 | 2561185.9798 | 1132665.1151 | 2561185.4079 | 1132669.5543 | 2561183.0761 | 1132674.483
41 | 2561184.0478 | 1132557.6397 | 2561153.2692 | 1132614.4355
42 | 2561183.0761 | 1132674.483 | 2561191.8768 | 1132680.6072 | 2561199.3904 | 1132684.6
43 | 2561183.0761 | 1132674.483 | 2561176.9164 | 1132687.5181 | 2561175.933 | 1132692.6159 | 2561176.5376 | 1132698.0259 | 2561179.5146 | 1132710.8021 | 2561179.2125 | 1132723.6439
44 | 2561089.7054 | 1132850.7778 | 2561107.6147 | 1132858.7067
45 | 2561089.7054 | 1132850.7778 | 2560963.2577 | 1132980.6134
46 | 2561271.2658 | 1132678.2858 | 2561257.9312 | 1132704.3721 | 2561255.0316 | 1132709.6614
47 | 2561271.2658 | 1132678.2858 | 2561275.8018 | 1132669.4121
48 | 2561179.2125 | 1132723.6439 | 2561188.0638 | 1132725.699 | 2561197.2976 | 1132727.3626 | 2561198.8591 | 1132726.6163
49 | 2561203.9777 | 1132721.0053 | 2561201.895 | 1132725.1653 | 2561198.8591 | 1132726.6163
50 | 2561178.7424 | 1132740.2998 | 2561179.2125 | 1132723.6439
51 | 2561275.8018 | 1132669.4121 | 2561276.4216 | 1132668.1995
52 | 2561276.4216 | 1132668.1995 | 2561278.9691 | 1132663.216 | 2561283.5108 | 1132650.4247
53 | 2561285.8634 | 1132643.7985 | 2561283.5108 | 1132650.4247
54 | 2561285.8634 | 1132643.7985 | 2561286.4289 | 1132642.2058
55 | 2561289.8664 | 1132631.4077 | 2561287.6805 | 1132638.681 | 2561286.4289 | 1132642.2058
56 | 2561289.8664 | 1132631.4077 | 2561295.7541 | 1132609.1631
57 | 2561289.8664 | 1132631.4077 | 2561308.0048 | 1132633.7575
58 | 2561381.8539 | 1132614.8648 | 2561383.8202 | 1132622.5561
59 | 2561383.8202 | 1132622.5561 | 2561362.3479 | 1132625.7878
60 | 2561381.8539 | 1132614.8648 | 2561391.655 | 1132603.0138
61 | 2561337.4986 | 1132629.5278 | 2561362.3479 | 1132625.7878
62 | 2561323.9295 | 1132631.57 | 2561337.4986 | 1132629.5278
63 | 2561308.0048 | 1132633.7575 | 2561308.752 | 1132633.8543 | 2561321.9326 | 1132631.8706
64 | 2561323.9295 | 1132631.57 | 2561321.9326 | 1132631.8706
65 | 2561300.7276 | 1132590.3727 | 2561295.7541 | 1132609.1631
66 | 2561300.7276 | 1132590.3727 | 2561279.9133 | 1132583.7364 | 2561272.6018 | 1132581.478
67 | 2561259.6997 | 1132577.493 | 2561272.6018 | 1132581.478
68 | 2561259.6997 | 1132577.493 | 2561243.188 | 1132572.393
69 | 2561184.0478 | 1132557.6397 | 2561076.189 | 1132530.1469
70 | 2561184.0478 | 1132557.6397 | 2561222.539 | 1132567.2304
71 | 2561184.0478 | 1132557.6397 | 2561193.7005 | 1132537.0886
72 | 2561232.3261 | 1132569.669 | 2561222.539 | 1132567.2304
73 | 2561243.188 | 1132572.393 | 2561242.8927 | 1132572.3018 | 2561232.3261 | 1132569.669
74 | 2560963.2577 | 1132980.6134 | 2560888.5019 | 1132961.3857
75 | 2560888.5019 | 1132961.3857 | 2559674.994 | 1132945.8237
76 | 2559674.994 | 1132945.8237 | 2559657.7668 | 1132945.8811 | 2559641.653 | 1132946.8527

## bus_geodata
| x | y | coords
0 | 2561250.5365 | 1132865.4361
1 | 2561240.5989 | 1132871.5237
2 | 2561197.3318 | 1132823.5111
3 | 2561281.834 | 1132861.0089
4 | 2561179.0319 | 1132859.3027
5 | 2561174.5483 | 1132816.8376
6 | 2561204.5399 | 1132806.5113
7 | 2561261.726 | 1132851.5222
8 | 2561296.5793 | 1132830.4477
9 | 2561156.4345 | 1133030.1186
10 | 2561166.8803 | 1132814.5916
11 | 2561209.4863 | 1132794.8455
12 | 2561316.0528 | 1132790.0866
13 | 2561329.8651 | 1132761.4501
14 | 2561263.2452 | 1132776.1135
15 | 2561343.8372 | 1132732.4903
16 | 2561295.2641 | 1132746.0154
17 | 2561246.9361 | 1132772.3994
18 | 2561305.0428 | 1132708.427
19 | 2561352.1414 | 1132715.2728
20 | 2561219.5022 | 1132777.8231
21 | 2561226.0628 | 1132767.5281
22 | 2561227.7884 | 1132781.3585
23 | 2561239.4101 | 1132738.1575
24 | 2561244.9098 | 1132784.1184
25 | 2561167.7899 | 1133033.0287
26 | 2561144.7821 | 1132856.8267
27 | 2561162.6621 | 1132813.5071
28 | 2561249.1716 | 1132720.3509
29 | 2561149.5298 | 1132771.2778
30 | 2561142.0036 | 1132808.2487
31 | 2561188.4181 | 1132761.5705
32 | 2561063.7876 | 1132788.2989
33 | 2561167.8493 | 1132796.5868
34 | 2560952.2544 | 1132759.5737
35 | 2561176.3093 | 1132783.1434
36 | 2561141.733 | 1132636.1966
37 | 2561153.2692 | 1132614.4355
38 | 2561183.0761 | 1132674.483
39 | 2561107.6147 | 1132858.7067
40 | 2561089.7054 | 1132850.7778
41 | 2561255.0316 | 1132709.6614
42 | 2561271.2658 | 1132678.2858
43 | 2561198.8591 | 1132726.6163
44 | 2561179.2125 | 1132723.6439
45 | 2561203.9777 | 1132721.0053
46 | 2561178.7424 | 1132740.2998
47 | 2561199.3904 | 1132684.6
48 | 2561275.8018 | 1132669.4121
49 | 2561276.4216 | 1132668.1995
50 | 2561283.5108 | 1132650.4247
51 | 2561285.8634 | 1132643.7985
52 | 2561286.4289 | 1132642.2058
53 | 2561289.8664 | 1132631.4077
54 | 2561316.2527 | 1132699.3044
55 | 2561383.8202 | 1132622.5561
56 | 2561381.8539 | 1132614.8648
57 | 2561362.3479 | 1132625.7878
58 | 2561391.655 | 1132603.0138
59 | 2561337.4986 | 1132629.5278
60 | 2561308.0048 | 1132633.7575
61 | 2561321.9326 | 1132631.8706
62 | 2561323.9295 | 1132631.57
63 | 2561295.7541 | 1132609.1631
64 | 2561300.7276 | 1132590.3727
65 | 2561272.6018 | 1132581.478
66 | 2561259.6997 | 1132577.493
67 | 2561184.0478 | 1132557.6397
68 | 2561076.189 | 1132530.1469
69 | 2561222.539 | 1132567.2304
70 | 2561193.7005 | 1132537.0886
71 | 2561232.3261 | 1132569.669
72 | 2561243.188 | 1132572.393
73 | 2561179.4787 | 1133036.0242
74 | 2560888.5019 | 1132961.3857
75 | 2560963.2577 | 1132980.6134
76 | 2559674.994 | 1132945.8237
77 | 2559641.653 | 1132946.8527
78 | 2561142.0036 | 1132808.2487

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1