## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_561-28_2_2_node_273 | 0.4 | n |  | TRUE
1 | bus_LV_561-28_2_2_node_286 | 0.4 | n |  | TRUE
2 | bus_LV_561-28_2_2_node_279 | 0.4 | n |  | TRUE
3 | bus_LV_561-28_2_2_node_280 | 0.4 | n |  | TRUE
4 | bus_LV_561-28_2_2_node_281 | 0.4 | n |  | TRUE
5 | bus_LV_561-28_2_2_node_284 | 0.4 | n |  | TRUE
6 | bus_LV_561-28_2_2_node_282 | 0.4 | n |  | TRUE
7 | bus_LV_561-28_2_2_node_283 | 0.4 | n |  | TRUE
8 | bus_LV_561-28_2_2_node_285 | 0.4 | n |  | TRUE
9 | bus_LV_561-28_2_2_node_287 | 0.4 | n |  | TRUE
10 | bus_LV_561-28_2_2_node_288 | 0.4 | n |  | TRUE
11 | bus_LV_561-28_2_2_node_329 | 0.4 | n |  | TRUE
12 | bus_LV_561-28_2_2_node_289 | 0.4 | n |  | TRUE
13 | bus_LV_561-28_2_2_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_561-28_2_2_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_561-28_2_2_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_561-28_2_2_node_323 | 0.4 | n |  | TRUE
17 | bus_LV_561-28_2_2_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_561-28_2_2_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_561-28_2_2_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_561-28_2_2_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_561-28_2_2_node_319 | 0.4 | n |  | TRUE
22 | bus_LV_561-28_2_2_node_320 | 0.4 | n |  | TRUE
23 | bus_LV_561-28_2_2_node_321 | 0.4 | n |  | TRUE
24 | bus_LV_561-28_2_2_node_322 | 0.4 | n |  | TRUE
25 | bus_LV_561-28_2_2_node_330 | 0.4 | n |  | TRUE
26 | bus_LV_561-28_2_2_node_324 | 0.4 | n |  | TRUE
27 | bus_LV_561-28_2_2_node_325 | 0.4 | n |  | TRUE
28 | bus_LV_561-28_2_2_node_338 | 0.4 | n |  | TRUE
29 | bus_LV_561-28_2_2_node_326 | 0.4 | n |  | TRUE
30 | bus_LV_561-28_2_2_node_327 | 0.4 | n |  | TRUE
31 | bus_LV_561-28_2_2_node_328 | 0.4 | n |  | TRUE
32 | bus_LV_561-28_2_2_node_331 | 0.4 | n |  | TRUE
33 | bus_LV_561-28_2_2_node_339 | 0.4 | n |  | TRUE
34 | bus_LV_561-28_2_2_node_340 | 0.4 | n |  | TRUE
35 | bus_MV_0_node_339 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_561-28_2_2_load_273 | 0 | 0.00010839 | 2.7164e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_561-28_2_2_load_286 | 1 | 0.00033158 | 8.3101e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_561-28_2_2_load_279 | 2 | 0.00010649 | 2.669e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_561-28_2_2_load_280 | 3 | 0.00014543 | 3.6447e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_561-28_2_2_load_282 | 6 | 9.5923e-05 | 2.404e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_561-28_2_2_load_283 | 7 | 0.00010012 | 2.5094e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_561-28_2_2_load_285 | 8 | 0.00014359 | 3.5988e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_561-28_2_2_load_288 | 10 | 6.3997e-05 | 1.6039e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_561-28_2_2_load_329 | 11 | 0.00064853 | 0.00016254 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_561-28_2_2_load_289 | 12 | 0.00013417 | 3.3627e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_561-28_2_2_load_56 | 13 | 0.0018452 | 0.00046246 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_561-28_2_2_load_57 | 14 | 0.0019794 | 0.00049609 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_561-28_2_2_load_59 | 17 | 0.0018918 | 0.00047413 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_561-28_2_2_load_61 | 18 | 0.0028192 | 0.00070656 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_561-28_2_2_load_63 | 20 | 0.0022424 | 0.000562 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_561-28_2_2_load_319 | 21 | 0.0015522 | 0.00038901 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_561-28_2_2_load_322 | 24 | 0.00050876 | 0.00012751 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_561-28_2_2_load_324 | 26 | 0.00076651 | 0.00019211 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_561-28_2_2_load_325 | 27 | 0.00064399 | 0.0001614 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_561-28_2_2_load_338 | 28 | 0.00058101 | 0.00014561 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_561-28_2_2_load_326 | 29 | 0.001068 | 0.00026767 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_561-28_2_2_load_331 | 32 | 0.00066311 | 0.00016619 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_561-28_2_2_load_339 | 33 | 5.759e-05 | 1.4434e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_561-28_2_2_load_340 | 34 | 0.00013285 | 3.3295e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_561-28_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.36263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_561-28_2_2_line_1 | NAYY 4x150 SE | 1 | 5 | 0.25601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_561-28_2_2_line_2 | NAYY 4x150 SE | 1 | 6 | 0.32174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_561-28_2_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.0072218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_561-28_2_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.28377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_561-28_2_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.12335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_561-28_2_2_line_6 | NAYY 4x150 SE | 5 | 9 | 0.20418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_561-28_2_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.015879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_561-28_2_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.016124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_561-28_2_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.044397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_561-28_2_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.36196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_561-28_2_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.020304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_561-28_2_2_line_12 | NAYY 4x150 SE | 11 | 31 | 0.051257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_561-28_2_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.081562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_561-28_2_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.049861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_561-28_2_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.34619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_561-28_2_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.085692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_561-28_2_2_line_17 | NAYY 4x150 SE | 16 | 27 | 0.27892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_561-28_2_2_line_18 | NAYY 4x150 SE | 16 | 23 | 0.26993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_561-28_2_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.47209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_561-28_2_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.11976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_561-28_2_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.36053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_561-28_2_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.11041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_561-28_2_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.022799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_561-28_2_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.051037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_561-28_2_2_line_25 | NAYY 4x150 SE | 22 | 25 | 0.14425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_561-28_2_2_line_26 | NAYY 4x150 SE | 23 | 26 | 0.17938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_561-28_2_2_line_27 | NAYY 4x150 SE | 25 | 32 | 0.01031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_561-28_2_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.034792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_561-28_2_2_line_29 | NAYY 4x150 SE | 28 | 33 | 0.048705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_561-28_2_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.15517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_561-28_2_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.32322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_561-28_2_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.28123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_561-28_2_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.0063401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_561-28_2_2_trafo_339 | 0.25 MVA 20/0.4 kV | 35 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2606980.2276 | 1146615.2674 | 2607333.5308 | 1146533.5541
1 | 2606814.7098 | 1146422.0634 | 2606826.8698 | 1146441.6199 | 2606847.0589 | 1146465.721 | 2606855.7082 | 1146472.0004 | 2606866.7211 | 1146486.9312 | 2606882.4526 | 1146499.5107 | 2606914.7087 | 1146529.6397 | 2606946.1673 | 1146564.9928 | 2606964.2537 | 1146586.7352 | 2606972.6316 | 1146601.652 | 2606980.2276 | 1146615.2674
2 | 2606980.2276 | 1146615.2674 | 2606980.9721 | 1146937.0031
3 | 2606840.5073 | 1146609.0057 | 2606840.5073 | 1146609.0057 | 2606846.2969 | 1146604.6889
4 | 2606700.2834 | 1146383.2063 | 2606701.2296 | 1146388.9101 | 2606712.5652 | 1146404.2746 | 2606727.9449 | 1146422.9006 | 2606736.3385 | 1146431.3918 | 2606749.5413 | 1146438.9212 | 2606762.7379 | 1146452.0979 | 2606787.2713 | 1146479.1161 | 2606795.5522 | 1146492.0761 | 2606803.3971 | 1146510.1493 | 2606817.7819 | 1146532.0427 | 2606827.2604 | 1146545.3265 | 2606841.1178 | 1146557.8592 | 2606850.7067 | 1146568.642 | 2606854.5226 | 1146576.7057 | 2606856.5807 | 1146590.6371 | 2606856.4672 | 1146595.9618 | 2606850.124 | 1146601.8353 | 2606846.2969 | 1146604.6889
5 | 2606700.2834 | 1146383.2063 | 2606711.2297 | 1146389.4547 | 2606738.4925 | 1146400.5681 | 2606759.5176 | 1146405.4493 | 2606776.2973 | 1146408.3694 | 2606790.9693 | 1146414.0218 | 2606805.1453 | 1146423.609 | 2606810.7056 | 1146424.2377 | 2606814.7098 | 1146422.0634
6 | 2606701.8596 | 1146263.2384 | 2606713.4636 | 1146279.1701 | 2606731.5718 | 1146296.5874 | 2606737.5123 | 1146307.6994 | 2606741.0822 | 1146337.0844 | 2606744.0565 | 1146349.3492 | 2606749.1162 | 1146358.2369 | 2606765.9205 | 1146373.652 | 2606780.1547 | 1146386.274 | 2606794.2739 | 1146398.6736 | 2606815.9453 | 1146416.1952 | 2606814.7098 | 1146422.0634
7 | 2606991.2344 | 1146949.1208 | 2606980.9721 | 1146937.0031 | 2606980.9721 | 1146937.0031
8 | 2606991.2344 | 1146949.1208 | 2606991.2344 | 1146949.1208 | 2606998.0684 | 1146963.7246
9 | 2606701.8596 | 1146263.2384 | 2606717.0365 | 1146264.1667 | 2606741.9134 | 1146266.2619 | 2606746.1231 | 1146265.8777
10 | 2606701.8596 | 1146263.2384 | 2606365.4266 | 1146129.7235
11 | 2606746.1231 | 1146265.8777 | 2606752.3838 | 1146265.3063 | 2606757.6779 | 1146263.7003 | 2606762.2695 | 1146265.2506 | 2606764.844 | 1146267.822
12 | 2606340.677 | 1146085.7985 | 2606350.3675 | 1146096.5027 | 2606357.5388 | 1146106.7819 | 2606363.0475 | 1146120.3721 | 2606365.4266 | 1146129.7235
13 | 2605723.3078 | 1146898.6076 | 2605723.0541 | 1146898.484 | 2605710.7744 | 1146889.0568 | 2605701.1041 | 1146873.3957 | 2605682.4345 | 1146829.8355
14 | 2605766.3398 | 1146923.5592 | 2605744.672 | 1146909.0095 | 2605723.3078 | 1146898.6076
15 | 2605860.9907 | 1146533.2479 | 2605682.4345 | 1146829.8355
16 | 2605766.3398 | 1146923.5592 | 2605793.6105 | 1146941.8496 | 2605802.6465 | 1146953.764 | 2605811.1968 | 1146975.6828 | 2605820.1252 | 1146986.9486
17 | 2605860.9907 | 1146533.2479 | 2605862.3393 | 1146536.6398 | 2605870.8497 | 1146552.5335 | 2605888.708 | 1146567.9137 | 2605900.3313 | 1146573.4277 | 2605912.5353 | 1146574.1621 | 2605933.5585 | 1146573.1931 | 2605948.8526 | 1146579.2665 | 2605991.8406 | 1146603.7873 | 2605998.2317 | 1146610.8859 | 2606013.4564 | 1146640.4598 | 2606059.8776 | 1146687.4731 | 2606062.34 | 1146690.5437 | 2606067.8325 | 1146697.3859
18 | 2605754.0995 | 1146294.5631 | 2605756.1312 | 1146306.7265 | 2605761.3687 | 1146324.0176 | 2605775.7076 | 1146350.0772 | 2605817.4974 | 1146409.268 | 2605822.213 | 1146425.9251 | 2605825.5569 | 1146455.2982 | 2605836.7591 | 1146475.73 | 2605861.1423 | 1146503.4446 | 2605863.9329 | 1146516.865 | 2605860.9907 | 1146533.2479
19 | 2605820.1252 | 1146986.9486 | 2606036.1464 | 1147406.7117
20 | 2606151.4703 | 1147416.1871 | 2606132.069 | 1147410.9984 | 2606121.1276 | 1147408.8975 | 2606111.1739 | 1147409.7212 | 2606075.2619 | 1147419.19 | 2606066.7068 | 1147419.1814 | 2606052.6876 | 1147415.2545 | 2606036.1464 | 1147406.7117
21 | 2606497.7936 | 1147516.3956 | 2606151.4703 | 1147416.1871
22 | 2605659.5295 | 1146212.001 | 2605666.1709 | 1146215.0642 | 2605671.5423 | 1146220.9943 | 2605678.5236 | 1146230.172 | 2605691.5926 | 1146259.5874 | 2605697.0308 | 1146267.8743 | 2605704.4459 | 1146273.0615 | 2605714.1204 | 1146277.028 | 2605727.8129 | 1146280.2202 | 2605735.4196 | 1146282.3499
23 | 2605754.0995 | 1146294.5631 | 2605747.4158 | 1146287.6089 | 2605739.2471 | 1146283.4214 | 2605735.4196 | 1146282.3499
24 | 2605659.5295 | 1146212.001 | 2605667.5887 | 1146210.2854 | 2605679.3611 | 1146213.3979 | 2605695.1234 | 1146221.1608 | 2605706.2238 | 1146228.2524
25 | 2605659.5295 | 1146212.001 | 2605716.0187 | 1146079.2667
26 | 2605754.0995 | 1146294.5631 | 2605760.2116 | 1146296.7477 | 2605765.9141 | 1146301.6221 | 2605774.5303 | 1146311.7352 | 2605783.6028 | 1146318.7138 | 2605799.9022 | 1146326.6221 | 2605807.2447 | 1146327.2071 | 2605820.2879 | 1146326.408 | 2605828.2059 | 1146327.694 | 2605852.191 | 1146338.6334 | 2605868.2535 | 1146345.152 | 2605885.4811 | 1146354.1063 | 2605900.8536 | 1146359.2237 | 2605910.9822 | 1146361.9015 | 2605913.3975 | 1146358.3576
27 | 2605724.4647 | 1146074.8391 | 2605721.1349 | 1146078.8268 | 2605716.0187 | 1146079.2667
28 | 2606067.8325 | 1146697.3859 | 2606076.9283 | 1146718.5608 | 2606078.6832 | 1146722.4867 | 2606081.721 | 1146729.2846
29 | 2606081.721 | 1146729.2846 | 2606083.7028 | 1146733.7194 | 2606094.2168 | 1146749.76 | 2606100.1388 | 1146757.0917 | 2606104.7523 | 1146759.5308 | 2606111.2557 | 1146761.5272 | 2606114.4779 | 1146761.5267
30 | 2605940.2108 | 1145894.4463 | 2605942.6823 | 1145904.3647 | 2605948.3272 | 1145913.3857 | 2605965.714 | 1145933.4569 | 2605977.4667 | 1145941.3611 | 2605988.317 | 1145945.1959 | 2606002.3303 | 1145950.8457 | 2606008.6543 | 1145956.4881 | 2606010.9056 | 1145963.7049 | 2606012.2394 | 1145989.8412 | 2606015.1664 | 1145997.2922 | 2606026.5707 | 1146009.5764
31 | 2606026.5707 | 1146009.5764 | 2606340.677 | 1146085.7985
32 | 2605724.4647 | 1146074.8391 | 2605940.2108 | 1145894.4463
33 | 2606120.818 | 1146761.5257 | 2606120.818 | 1146761.5257 | 2606114.4779 | 1146761.5267

## bus_geodata
| x | y | coords
0 | 2607333.5308 | 1146533.5541
1 | 2606980.2276 | 1146615.2674
2 | 2606840.5073 | 1146609.0057
3 | 2606846.2969 | 1146604.6889
4 | 2606700.2834 | 1146383.2063
5 | 2606814.7098 | 1146422.0634
6 | 2606980.9721 | 1146937.0031
7 | 2606991.2344 | 1146949.1208
8 | 2606998.0684 | 1146963.7246
9 | 2606701.8596 | 1146263.2384
10 | 2606746.1231 | 1146265.8777
11 | 2606365.4266 | 1146129.7235
12 | 2606764.844 | 1146267.822
13 | 2605723.3078 | 1146898.6076
14 | 2605682.4345 | 1146829.8355
15 | 2605766.3398 | 1146923.5592
16 | 2605860.9907 | 1146533.2479
17 | 2605820.1252 | 1146986.9486
18 | 2606036.1464 | 1147406.7117
19 | 2606151.4703 | 1147416.1872
20 | 2606497.7936 | 1147516.3956
21 | 2605735.4196 | 1146282.3499
22 | 2605659.5295 | 1146212.001
23 | 2605754.0995 | 1146294.5631
24 | 2605706.2238 | 1146228.2524
25 | 2605716.0187 | 1146079.2667
26 | 2605913.3975 | 1146358.3576
27 | 2606067.8325 | 1146697.3859
28 | 2606081.721 | 1146729.2846
29 | 2606026.5707 | 1146009.5764
30 | 2605940.2108 | 1145894.4463
31 | 2606340.677 | 1146085.7985
32 | 2605724.4647 | 1146074.8391
33 | 2606114.4779 | 1146761.5267
34 | 2606120.818 | 1146761.5257
35 | 2606114.4779 | 1146761.5267

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1