## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_561-30_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_561-30_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_561-30_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_561-30_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_561-30_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_561-30_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_561-30_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_561-30_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_561-30_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_561-30_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_561-30_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_561-30_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_561-30_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_561-30_0_4_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_561-30_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_561-30_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_561-30_0_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_561-30_0_4_node_130 | 0.4 | n |  | TRUE
18 | bus_LV_561-30_0_4_node_83 | 0.4 | n |  | TRUE
19 | bus_LV_561-30_0_4_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_561-30_0_4_node_109 | 0.4 | n |  | TRUE
21 | bus_LV_561-30_0_4_node_107 | 0.4 | n |  | TRUE
22 | bus_LV_561-30_0_4_node_114 | 0.4 | n |  | TRUE
23 | bus_LV_561-30_0_4_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_561-30_0_4_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_561-30_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_561-30_0_4_node_131 | 0.4 | n |  | TRUE
27 | bus_LV_561-30_0_4_node_134 | 0.4 | n |  | TRUE
28 | bus_LV_561-30_0_4_node_84 | 0.4 | n |  | TRUE
29 | bus_LV_561-30_0_4_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_561-30_0_4_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_561-30_0_4_node_108 | 0.4 | n |  | TRUE
32 | bus_LV_561-30_0_4_node_115 | 0.4 | n |  | TRUE
33 | bus_LV_561-30_0_4_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_561-30_0_4_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_561-30_0_4_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_561-30_0_4_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_561-30_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_561-30_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_561-30_0_4_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_561-30_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_561-30_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_561-30_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_561-30_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_561-30_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_561-30_0_4_node_142 | 0.4 | n |  | TRUE
46 | bus_LV_561-30_0_4_node_132 | 0.4 | n |  | TRUE
47 | bus_LV_561-30_0_4_node_143 | 0.4 | n |  | TRUE
48 | bus_LV_561-30_0_4_node_133 | 0.4 | n |  | TRUE
49 | bus_LV_561-30_0_4_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_561-30_0_4_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_561-30_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_561-30_0_4_node_105 | 0.4 | n |  | TRUE
53 | bus_LV_561-30_0_4_node_144 | 0.4 | n |  | TRUE
54 | bus_LV_561-30_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_561-30_0_4_node_106 | 0.4 | n |  | TRUE
56 | bus_LV_561-30_0_4_node_103 | 0.4 | n |  | TRUE
57 | bus_LV_561-30_0_4_node_145 | 0.4 | n |  | TRUE
58 | bus_LV_561-30_0_4_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_561-30_0_4_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_561-30_0_4_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_561-30_0_4_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_561-30_0_4_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_561-30_0_4_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_561-30_0_4_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_561-30_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_561-30_0_4_node_152 | 0.4 | n |  | TRUE
67 | bus_LV_561-30_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_561-30_0_4_node_111 | 0.4 | n |  | TRUE
69 | bus_LV_561-30_0_4_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_561-30_0_4_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_561-30_0_4_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_561-30_0_4_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_561-30_0_4_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_561-30_0_4_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_561-30_0_4_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_561-30_0_4_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_561-30_0_4_node_45 | 0.4 | n |  | TRUE
78 | bus_LV_561-30_0_4_node_47 | 0.4 | n |  | TRUE
79 | bus_LV_561-30_0_4_node_50 | 0.4 | n |  | TRUE
80 | bus_LV_561-30_0_4_node_52 | 0.4 | n |  | TRUE
81 | bus_LV_561-30_0_4_node_53 | 0.4 | n |  | TRUE
82 | bus_LV_561-30_0_4_node_54 | 0.4 | n |  | TRUE
83 | bus_LV_561-30_0_4_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_561-30_0_4_node_55 | 0.4 | n |  | TRUE
85 | bus_LV_561-30_0_4_node_56 | 0.4 | n |  | TRUE
86 | bus_LV_561-30_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_561-30_0_4_node_57 | 0.4 | n |  | TRUE
88 | bus_LV_561-30_0_4_node_150 | 0.4 | n |  | TRUE
89 | bus_LV_561-30_0_4_node_151 | 0.4 | n |  | TRUE
90 | bus_LV_561-30_0_4_node_61 | 0.4 | n |  | TRUE
91 | bus_LV_561-30_0_4_node_62 | 0.4 | n |  | TRUE
92 | bus_LV_561-30_0_4_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_561-30_0_4_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_561-30_0_4_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_561-30_0_4_node_101 | 0.4 | n |  | TRUE
96 | bus_LV_561-30_0_4_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_561-30_0_4_node_65 | 0.4 | n |  | TRUE
98 | bus_LV_561-30_0_4_node_112 | 0.4 | n |  | TRUE
99 | bus_LV_561-30_0_4_node_113 | 0.4 | n |  | TRUE
100 | bus_LV_561-30_0_4_node_66 | 0.4 | n |  | TRUE
101 | bus_LV_561-30_0_4_node_67 | 0.4 | n |  | TRUE
102 | bus_LV_561-30_0_4_node_93 | 0.4 | n |  | TRUE
103 | bus_LV_561-30_0_4_node_68 | 0.4 | n |  | TRUE
104 | bus_LV_561-30_0_4_node_73 | 0.4 | n |  | TRUE
105 | bus_LV_561-30_0_4_node_92 | 0.4 | n |  | TRUE
106 | bus_LV_561-30_0_4_node_70 | 0.4 | n |  | TRUE
107 | bus_LV_561-30_0_4_node_137 | 0.4 | n |  | TRUE
108 | bus_LV_561-30_0_4_node_94 | 0.4 | n |  | TRUE
109 | bus_LV_561-30_0_4_node_72 | 0.4 | n |  | TRUE
110 | bus_LV_561-30_0_4_node_76 | 0.4 | n |  | TRUE
111 | bus_LV_561-30_0_4_node_69 | 0.4 | n |  | TRUE
112 | bus_LV_561-30_0_4_node_71 | 0.4 | n |  | TRUE
113 | bus_LV_561-30_0_4_node_75 | 0.4 | n |  | TRUE
114 | bus_LV_561-30_0_4_node_78 | 0.4 | n |  | TRUE
115 | bus_LV_561-30_0_4_node_97 | 0.4 | n |  | TRUE
116 | bus_LV_561-30_0_4_node_77 | 0.4 | n |  | TRUE
117 | bus_LV_561-30_0_4_node_136 | 0.4 | n |  | TRUE
118 | bus_LV_561-30_0_4_node_138 | 0.4 | n |  | TRUE
119 | bus_LV_561-30_0_4_node_95 | 0.4 | n |  | TRUE
120 | bus_LV_561-30_0_4_node_96 | 0.4 | n |  | TRUE
121 | bus_LV_561-30_0_4_node_98 | 0.4 | n |  | TRUE
122 | bus_LV_561-30_0_4_node_86 | 0.4 | n |  | TRUE
123 | bus_LV_561-30_0_4_node_82 | 0.4 | n |  | TRUE
124 | bus_LV_561-30_0_4_node_110 | 0.4 | n |  | TRUE
125 | bus_LV_561-30_0_4_node_139 | 0.4 | n |  | TRUE
126 | bus_LV_561-30_0_4_node_135 | 0.4 | n |  | TRUE
127 | bus_LV_561-30_0_4_node_129 | 0.4 | n |  | TRUE
128 | bus_LV_561-30_0_4_node_123 | 0.4 | n |  | TRUE
129 | bus_LV_561-30_0_4_node_89 | 0.4 | n |  | TRUE
130 | bus_LV_561-30_0_4_node_90 | 0.4 | n |  | TRUE
131 | bus_LV_561-30_0_4_node_141 | 0.4 | n |  | TRUE
132 | bus_LV_561-30_0_4_node_140 | 0.4 | n |  | TRUE
133 | bus_LV_561-30_0_4_node_116 | 0.4 | n |  | TRUE
134 | bus_LV_561-30_0_4_node_102 | 0.4 | n |  | TRUE
135 | bus_LV_561-30_0_4_node_104 | 0.4 | n |  | TRUE
136 | bus_LV_561-30_0_4_node_153 | 0.4 | n |  | TRUE
137 | bus_LV_561-30_0_4_node_117 | 0.4 | n |  | TRUE
138 | bus_LV_561-30_0_4_node_154 | 0.4 | n |  | TRUE
139 | bus_LV_561-30_0_4_node_155 | 0.4 | n |  | TRUE
140 | bus_LV_561-30_0_4_node_118 | 0.4 | n |  | TRUE
141 | bus_LV_561-30_0_4_node_119 | 0.4 | n |  | TRUE
142 | bus_LV_561-30_0_4_node_120 | 0.4 | n |  | TRUE
143 | bus_LV_561-30_0_4_node_121 | 0.4 | n |  | TRUE
144 | bus_LV_561-30_0_4_node_122 | 0.4 | n |  | TRUE
145 | bus_LV_561-30_0_4_node_125 | 0.4 | n |  | TRUE
146 | bus_LV_561-30_0_4_node_126 | 0.4 | n |  | TRUE
147 | bus_LV_561-30_0_4_node_128 | 0.4 | n |  | TRUE
148 | bus_LV_561-30_0_4_node_127 | 0.4 | n |  | TRUE
149 | bus_LV_561-30_0_4_node_124 | 0.4 | n |  | TRUE
150 | bus_LV_561-30_0_4_node_159 | 0.4 | n |  | TRUE
151 | bus_LV_561-30_0_4_node_158 | 0.4 | n |  | TRUE
152 | bus_LV_561-30_0_4_node_157 | 0.4 | n |  | TRUE
153 | bus_LV_561-30_0_4_node_161 | 0.4 | n |  | TRUE
154 | bus_LV_561-30_0_4_node_162 | 0.4 | n |  | TRUE
155 | bus_LV_561-30_0_4_node_149 | 0.4 | n |  | TRUE
156 | bus_LV_561-30_0_4_node_148 | 0.4 | n |  | TRUE
157 | bus_LV_561-30_0_4_node_146 | 0.4 | n |  | TRUE
158 | bus_LV_561-30_0_4_node_147 | 0.4 | n |  | TRUE
159 | bus_LV_561-30_0_4_node_156 | 0.4 | n |  | TRUE
160 | bus_LV_561-30_0_4_node_160 | 0.4 | n |  | TRUE
161 | bus_MV_194_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_561-30_0_4_load_0 | 0 | 0.0038792 | 0.00097221 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_561-30_0_4_load_1 | 1 | 0.002539 | 0.00063633 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_561-30_0_4_load_3 | 3 | 0.0079273 | 0.0019868 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_561-30_0_4_load_8 | 7 | 0.0025129 | 0.0006298 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_561-30_0_4_load_5 | 9 | 0.002733 | 0.00068496 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_561-30_0_4_load_12 | 12 | 0.0042152 | 0.0010564 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_561-30_0_4_load_18 | 14 | 0.0042393 | 0.0010625 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_561-30_0_4_load_21 | 15 | 0.001915 | 0.00047993 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_561-30_0_4_load_20 | 16 | 0.0030895 | 0.00077431 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_561-30_0_4_load_130 | 17 | 0.0009244 | 0.00023168 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_561-30_0_4_load_83 | 18 | 0.00075896 | 0.00019021 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_561-30_0_4_load_109 | 20 | 0.0024593 | 0.00061635 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_561-30_0_4_load_107 | 21 | 0.0011928 | 0.00029895 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_561-30_0_4_load_114 | 22 | 0.0017904 | 0.00044872 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_561-30_0_4_load_29 | 23 | 0.0019619 | 0.0004917 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_561-30_0_4_load_84 | 28 | 0.0013687 | 0.00034304 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_561-30_0_4_load_48 | 29 | 0.00060468 | 0.00015155 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_561-30_0_4_load_108 | 31 | 0.0026765 | 0.00067081 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_561-30_0_4_load_13 | 33 | 0.0021282 | 0.00053339 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_561-30_0_4_load_14 | 34 | 0.0020656 | 0.00051769 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_561-30_0_4_load_15 | 35 | 0.0022305 | 0.00055902 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_561-30_0_4_load_16 | 36 | 0.0028055 | 0.00070312 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_561-30_0_4_load_19 | 37 | 0.0032324 | 0.00081011 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_561-30_0_4_load_27 | 38 | 0.00067582 | 0.00016938 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_561-30_0_4_load_58 | 39 | 0.0023858 | 0.00059793 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_561-30_0_4_load_22 | 40 | 0.0014009 | 0.00035111 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_561-30_0_4_load_23 | 41 | 0.0032866 | 0.0008237 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_561-30_0_4_load_25 | 43 | 0.00080438 | 0.0002016 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_561-30_0_4_load_26 | 44 | 0.0016867 | 0.00042273 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_561-30_0_4_load_142 | 45 | 0.0012947 | 0.00032448 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_561-30_0_4_load_132 | 46 | 0.0019819 | 0.00049671 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_561-30_0_4_load_143 | 47 | 0.0039102 | 0.00097998 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_561-30_0_4_load_133 | 48 | 0.00060796 | 0.00015237 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_561-30_0_4_load_59 | 49 | 0.00040948 | 0.00010263 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_561-30_0_4_load_41 | 51 | 0.0040286 | 0.0010097 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_561-30_0_4_load_144 | 53 | 0.0012391 | 0.00031056 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_561-30_0_4_load_39 | 54 | 0.0017242 | 0.00043212 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_561-30_0_4_load_106 | 55 | 0.003666 | 0.00091878 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_561-30_0_4_load_103 | 56 | 0.0019093 | 0.00047851 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_561-30_0_4_load_145 | 57 | 0.001188 | 0.00029773 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_561-30_0_4_load_31 | 58 | 0.0021724 | 0.00054446 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_561-30_0_4_load_32 | 59 | 0.0033889 | 0.00084933 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_561-30_0_4_load_34 | 61 | 0.0021997 | 0.0005513 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_561-30_0_4_load_35 | 62 | 0.004283 | 0.0010734 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_561-30_0_4_load_36 | 63 | 0.0018749 | 0.00046989 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_561-30_0_4_load_63 | 65 | 0.00078694 | 0.00019723 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_561-30_0_4_load_152 | 66 | 0.0031291 | 0.00078423 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_561-30_0_4_load_64 | 67 | 0.00063388 | 0.00015887 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_561-30_0_4_load_38 | 69 | 0.0023105 | 0.00057906 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_561-30_0_4_load_40 | 70 | 0.0033834 | 0.00084796 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_561-30_0_4_load_42 | 71 | 0.0016611 | 0.00041631 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_561-30_0_4_load_43 | 72 | 0.0022195 | 0.00055626 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_561-30_0_4_load_79 | 73 | 0.0016749 | 0.00041978 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_561-30_0_4_load_85 | 74 | 0.0018966 | 0.00047533 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_561-30_0_4_load_44 | 75 | 0.0044928 | 0.001126 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_561-30_0_4_load_47 | 78 | 0.00067606 | 0.00016944 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_561-30_0_4_load_52 | 80 | 0.0039105 | 0.00098005 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_561-30_0_4_load_54 | 82 | 0.00085948 | 0.00021541 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_561-30_0_4_load_80 | 83 | 0.0059727 | 0.0014969 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_561-30_0_4_load_55 | 84 | 0.0018493 | 0.00046347 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_561-30_0_4_load_81 | 86 | 0.0026366 | 0.0006608 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_561-30_0_4_load_57 | 87 | 0.0024712 | 0.00061933 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_561-30_0_4_load_151 | 89 | 0.0014705 | 0.00036855 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_561-30_0_4_load_61 | 90 | 0.00063915 | 0.00016019 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_561-30_0_4_load_62 | 91 | 0.0017066 | 0.00042771 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_561-30_0_4_load_91 | 92 | 0.00032636 | 8.1793e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_561-30_0_4_load_87 | 93 | 0.0027453 | 0.00068803 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_561-30_0_4_load_101 | 95 | 0.00072085 | 0.00018066 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_561-30_0_4_load_65 | 97 | 0.0016635 | 0.0004169 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_561-30_0_4_load_112 | 98 | 0.00062288 | 0.00015611 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_561-30_0_4_load_113 | 99 | 0.0026735 | 0.00067005 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_561-30_0_4_load_66 | 100 | 0.0014672 | 0.00036772 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_561-30_0_4_load_67 | 101 | 0.00077622 | 0.00019454 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_561-30_0_4_load_92 | 105 | 0.0014071 | 0.00035264 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_561-30_0_4_load_70 | 106 | 0.00055986 | 0.00014031 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_561-30_0_4_load_137 | 107 | 0.00080897 | 0.00020275 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_561-30_0_4_load_94 | 108 | 0.0014575 | 0.00036529 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_561-30_0_4_load_72 | 109 | 0.00061339 | 0.00015373 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_561-30_0_4_load_71 | 112 | 0.00023232 | 5.8225e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_561-30_0_4_load_75 | 113 | 0.00041771 | 0.00010469 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_561-30_0_4_load_78 | 114 | 0.00087833 | 0.00022013 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_561-30_0_4_load_97 | 115 | 0.00058372 | 0.00014629 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_561-30_0_4_load_136 | 117 | 0.00040509 | 0.00010153 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_561-30_0_4_load_138 | 118 | 0.00050394 | 0.0001263 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_561-30_0_4_load_95 | 119 | 0.00035558 | 8.9118e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_561-30_0_4_load_98 | 121 | 0.00059404 | 0.00014888 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_561-30_0_4_load_86 | 122 | 0.0019776 | 0.00049563 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_561-30_0_4_load_82 | 123 | 0.0030007 | 0.00075205 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_561-30_0_4_load_110 | 124 | 0.0017116 | 0.00042897 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_561-30_0_4_load_139 | 125 | 0.0028634 | 0.00071765 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_561-30_0_4_load_135 | 126 | 0.0012883 | 0.00032289 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_561-30_0_4_load_129 | 127 | 0.0012506 | 0.00031342 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_561-30_0_4_load_123 | 128 | 0.0012298 | 0.00030822 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_561-30_0_4_load_89 | 129 | 0.0037807 | 0.00094752 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_561-30_0_4_load_90 | 130 | 0.001931 | 0.00048394 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_561-30_0_4_load_141 | 131 | 0.0019359 | 0.00048518 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_561-30_0_4_load_140 | 132 | 0.0029927 | 0.00075003 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_561-30_0_4_load_116 | 133 | 0.0027055 | 0.00067807 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_561-30_0_4_load_102 | 134 | 0.0031796 | 0.00079688 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_561-30_0_4_load_104 | 135 | 0.0011068 | 0.00027739 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_561-30_0_4_load_154 | 138 | 0.0067226 | 0.0016848 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_561-30_0_4_load_155 | 139 | 0.0025381 | 0.00063611 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_561-30_0_4_load_118 | 140 | 0.0010657 | 0.0002671 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_561-30_0_4_load_119 | 141 | 0.0015062 | 0.00037749 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_561-30_0_4_load_125 | 145 | 0.00078132 | 0.00019582 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_561-30_0_4_load_126 | 146 | 0.00083044 | 0.00020813 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_561-30_0_4_load_128 | 147 | 0.002498 | 0.00062605 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_561-30_0_4_load_127 | 148 | 0.0015725 | 0.00039409 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_561-30_0_4_load_124 | 149 | 0.0023708 | 0.00059417 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_561-30_0_4_load_159 | 150 | 0.0013332 | 0.00033412 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_561-30_0_4_load_158 | 151 | 0.00070042 | 0.00017554 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_561-30_0_4_load_157 | 152 | 0.00082092 | 0.00020574 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_561-30_0_4_load_162 | 154 | 0.0017569 | 0.00044032 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_561-30_0_4_load_149 | 155 | 0.0010482 | 0.00026271 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_561-30_0_4_load_148 | 156 | 0.00071433 | 0.00017903 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_561-30_0_4_load_146 | 157 | 0.001927 | 0.00048295 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_561-30_0_4_load_147 | 158 | 0.002549 | 0.00063885 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_561-30_0_4_load_156 | 159 | 0.00084577 | 0.00021197 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_561-30_0_4_load_160 | 160 | 0.00062512 | 0.00015667 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_561-30_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_561-30_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.027905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_561-30_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_561-30_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_561-30_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.018347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_561-30_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_561-30_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.022443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_561-30_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.046221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_561-30_0_4_line_8 | NAYY 4x150 SE | 5 | 11 | 0.015019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_561-30_0_4_line_9 | NAYY 4x150 SE | 5 | 12 | 0.010888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_561-30_0_4_line_10 | NAYY 4x150 SE | 6 | 13 | 0.003092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_561-30_0_4_line_11 | NAYY 4x150 SE | 6 | 14 | 0.016377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_561-30_0_4_line_12 | NAYY 4x150 SE | 8 | 15 | 0.018786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_561-30_0_4_line_13 | NAYY 4x150 SE | 8 | 16 | 0.016454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_561-30_0_4_line_14 | NAYY 4x150 SE | 8 | 17 | 0.1346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_561-30_0_4_line_15 | NAYY 4x150 SE | 9 | 10 | 0.015186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_561-30_0_4_line_16 | NAYY 4x150 SE | 10 | 18 | 0.011048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_561-30_0_4_line_17 | NAYY 4x150 SE | 10 | 19 | 0.029707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_561-30_0_4_line_18 | NAYY 4x150 SE | 11 | 20 | 0.017614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_561-30_0_4_line_19 | NAYY 4x150 SE | 11 | 21 | 0.0096984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_561-30_0_4_line_20 | NAYY 4x150 SE | 12 | 22 | 0.0083944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_561-30_0_4_line_21 | NAYY 4x150 SE | 13 | 23 | 0.014939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_561-30_0_4_line_22 | NAYY 4x150 SE | 13 | 24 | 0.046624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_561-30_0_4_line_23 | NAYY 4x150 SE | 14 | 25 | 0.040757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_561-30_0_4_line_24 | NAYY 4x150 SE | 17 | 26 | 0.028623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_561-30_0_4_line_25 | NAYY 4x150 SE | 18 | 28 | 0.0351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_561-30_0_4_line_26 | NAYY 4x150 SE | 19 | 29 | 0.0015185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_561-30_0_4_line_27 | NAYY 4x150 SE | 19 | 30 | 0.035525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_561-30_0_4_line_28 | NAYY 4x150 SE | 21 | 31 | 0.020289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_561-30_0_4_line_29 | NAYY 4x150 SE | 22 | 32 | 0.010037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_561-30_0_4_line_30 | NAYY 4x150 SE | 23 | 51 | 0.024887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_561-30_0_4_line_31 | NAYY 4x150 SE | 24 | 52 | 0.0082361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_561-30_0_4_line_32 | NAYY 4x150 SE | 24 | 53 | 0.012774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_561-30_0_4_line_33 | NAYY 4x150 SE | 25 | 35 | 0.0097411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_561-30_0_4_line_34 | NAYY 4x150 SE | 26 | 27 | 0.050802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_561-30_0_4_line_35 | NAYY 4x150 SE | 27 | 126 | 0.013394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_561-30_0_4_line_36 | NAYY 4x150 SE | 29 | 77 | 0.020287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_561-30_0_4_line_37 | NAYY 4x150 SE | 30 | 80 | 0.010239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_561-30_0_4_line_38 | NAYY 4x150 SE | 30 | 76 | 0.004543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_561-30_0_4_line_39 | NAYY 4x150 SE | 32 | 133 | 0.018906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_561-30_0_4_line_40 | NAYY 4x150 SE | 32 | 130 | 0.013164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_561-30_0_4_line_41 | NAYY 4x150 SE | 33 | 34 | 0.01804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_561-30_0_4_line_42 | NAYY 4x150 SE | 33 | 35 | 0.00051772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_561-30_0_4_line_43 | NAYY 4x150 SE | 34 | 36 | 0.0033228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_561-30_0_4_line_44 | NAYY 4x150 SE | 37 | 38 | 0.040987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_561-30_0_4_line_45 | NAYY 4x150 SE | 38 | 39 | 0.010566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_561-30_0_4_line_46 | NAYY 4x150 SE | 39 | 49 | 0.022711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_561-30_0_4_line_47 | NAYY 4x150 SE | 39 | 50 | 0.025674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_561-30_0_4_line_48 | NAYY 4x150 SE | 40 | 41 | 0.0030398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_561-30_0_4_line_49 | NAYY 4x150 SE | 40 | 42 | 0.01076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_561-30_0_4_line_50 | NAYY 4x150 SE | 42 | 43 | 0.011467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_561-30_0_4_line_51 | NAYY 4x150 SE | 43 | 44 | 0.015588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_561-30_0_4_line_52 | NAYY 4x150 SE | 44 | 45 | 0.0098836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_561-30_0_4_line_53 | NAYY 4x150 SE | 44 | 46 | 0.13411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_561-30_0_4_line_54 | NAYY 4x150 SE | 45 | 47 | 0.0020091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_561-30_0_4_line_55 | NAYY 4x150 SE | 46 | 48 | 0.06303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_561-30_0_4_line_56 | NAYY 4x150 SE | 47 | 155 | 0.0086626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_561-30_0_4_line_57 | NAYY 4x150 SE | 50 | 90 | 0.011223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_561-30_0_4_line_58 | NAYY 4x150 SE | 50 | 91 | 0.0072437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_561-30_0_4_line_59 | NAYY 4x150 SE | 51 | 54 | 0.016179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_561-30_0_4_line_60 | NAYY 4x150 SE | 52 | 55 | 0.026399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_561-30_0_4_line_61 | NAYY 4x150 SE | 52 | 56 | 0.044339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_561-30_0_4_line_62 | NAYY 4x150 SE | 53 | 57 | 0.0035932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_561-30_0_4_line_63 | NAYY 4x150 SE | 54 | 69 | 0.0067924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_561-30_0_4_line_64 | NAYY 4x150 SE | 55 | 68 | 0.046548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_561-30_0_4_line_65 | NAYY 4x150 SE | 56 | 134 | 0.010291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_561-30_0_4_line_66 | NAYY 4x150 SE | 57 | 157 | 0.016777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_561-30_0_4_line_67 | NAYY 4x150 SE | 58 | 59 | 0.0018305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_561-30_0_4_line_68 | NAYY 4x150 SE | 58 | 60 | 0.011831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_561-30_0_4_line_69 | NAYY 4x150 SE | 60 | 61 | 0.021204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_561-30_0_4_line_70 | NAYY 4x150 SE | 60 | 62 | 0.0050655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_561-30_0_4_line_71 | NAYY 4x150 SE | 61 | 63 | 0.0022114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_561-30_0_4_line_72 | NAYY 4x150 SE | 62 | 64 | 0.020163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_561-30_0_4_line_73 | NAYY 4x150 SE | 63 | 65 | 0.0058047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_561-30_0_4_line_74 | NAYY 4x150 SE | 64 | 66 | 0.011414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_561-30_0_4_line_75 | NAYY 4x150 SE | 65 | 67 | 0.0019937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_561-30_0_4_line_76 | NAYY 4x150 SE | 66 | 68 | 0.023936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_561-30_0_4_line_77 | NAYY 4x150 SE | 67 | 97 | 0.018938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_561-30_0_4_line_78 | NAYY 4x150 SE | 68 | 136 | 0.026874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_561-30_0_4_line_79 | NAYY 4x150 SE | 69 | 70 | 0.0093145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_561-30_0_4_line_80 | NAYY 4x150 SE | 70 | 71 | 0.011235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_561-30_0_4_line_81 | NAYY 4x150 SE | 71 | 72 | 0.014976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_561-30_0_4_line_82 | NAYY 4x150 SE | 72 | 73 | 0.0024101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_561-30_0_4_line_83 | NAYY 4x150 SE | 73 | 74 | 0.016379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_561-30_0_4_line_84 | NAYY 4x150 SE | 74 | 122 | 0.00072866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_561-30_0_4_line_85 | NAYY 4x150 SE | 75 | 76 | 0.014488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_561-30_0_4_line_86 | NAYY 4x150 SE | 77 | 78 | 0.02877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_561-30_0_4_line_87 | NAYY 4x150 SE | 78 | 79 | 0.039986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_561-30_0_4_line_88 | NAYY 4x150 SE | 79 | 81 | 0.029923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_561-30_0_4_line_89 | NAYY 4x150 SE | 79 | 82 | 0.064866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_561-30_0_4_line_90 | NAYY 4x150 SE | 80 | 83 | 0.0090751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_561-30_0_4_line_91 | NAYY 4x150 SE | 81 | 84 | 0.0079925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_561-30_0_4_line_92 | NAYY 4x150 SE | 82 | 85 | 0.018158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_561-30_0_4_line_93 | NAYY 4x150 SE | 83 | 86 | 0.014149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_561-30_0_4_line_94 | NAYY 4x150 SE | 84 | 87 | 0.012856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_561-30_0_4_line_95 | NAYY 4x150 SE | 85 | 88 | 0.010189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_561-30_0_4_line_96 | NAYY 4x150 SE | 86 | 123 | 0.00068035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_561-30_0_4_line_97 | NAYY 4x150 SE | 88 | 89 | 0.077993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_561-30_0_4_line_98 | NAYY 4x150 SE | 89 | 159 | 3.4685e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_561-30_0_4_line_99 | NAYY 4x150 SE | 90 | 92 | 0.012766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_561-30_0_4_line_100 | NAYY 4x150 SE | 91 | 93 | 0.020604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_561-30_0_4_line_101 | NAYY 4x150 SE | 92 | 94 | 0.082091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_561-30_0_4_line_102 | NAYY 4x150 SE | 93 | 96 | 0.027008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_561-30_0_4_line_103 | NAYY 4x150 SE | 94 | 95 | 0.059655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_561-30_0_4_line_104 | NAYY 4x150 SE | 94 | 121 | 0.025702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_561-30_0_4_line_105 | NAYY 4x150 SE | 96 | 129 | 0.014919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_561-30_0_4_line_106 | NAYY 4x150 SE | 96 | 130 | 0.022601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_561-30_0_4_line_107 | NAYY 4x150 SE | 97 | 98 | 0.0017456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_561-30_0_4_line_108 | NAYY 4x150 SE | 98 | 99 | 0.01174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_561-30_0_4_line_109 | NAYY 4x150 SE | 100 | 101 | 0.085092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_561-30_0_4_line_110 | NAYY 4x150 SE | 100 | 102 | 0.069898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_561-30_0_4_line_111 | NAYY 4x150 SE | 101 | 103 | 0.048104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_561-30_0_4_line_112 | NAYY 4x150 SE | 102 | 108 | 0.020121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_561-30_0_4_line_113 | NAYY 4x150 SE | 102 | 104 | 0.079522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_561-30_0_4_line_114 | NAYY 4x150 SE | 103 | 109 | 0.088766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_561-30_0_4_line_115 | NAYY 4x150 SE | 104 | 105 | 0.043379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_561-30_0_4_line_116 | NAYY 4x150 SE | 104 | 106 | 0.090625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_561-30_0_4_line_117 | NAYY 4x150 SE | 105 | 107 | 0.10518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_561-30_0_4_line_118 | NAYY 4x150 SE | 106 | 111 | 0.052774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_561-30_0_4_line_119 | NAYY 4x150 SE | 109 | 110 | 0.11066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_561-30_0_4_line_120 | NAYY 4x150 SE | 110 | 116 | 0.084939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_561-30_0_4_line_121 | NAYY 4x150 SE | 111 | 112 | 0.10872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_561-30_0_4_line_122 | NAYY 4x150 SE | 112 | 113 | 0.085679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_561-30_0_4_line_123 | NAYY 4x150 SE | 113 | 117 | 0.12102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_561-30_0_4_line_124 | NAYY 4x150 SE | 114 | 115 | 0.08295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_561-30_0_4_line_125 | NAYY 4x150 SE | 114 | 116 | 0.014252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_561-30_0_4_line_126 | NAYY 4x150 SE | 115 | 119 | 0.0085953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_561-30_0_4_line_127 | NAYY 4x150 SE | 117 | 118 | 0.11701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_561-30_0_4_line_128 | NAYY 4x150 SE | 119 | 120 | 0.018902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_561-30_0_4_line_129 | NAYY 4x150 SE | 120 | 121 | 0.047339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_561-30_0_4_line_130 | NAYY 4x150 SE | 122 | 127 | 0.10887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_561-30_0_4_line_131 | NAYY 4x150 SE | 123 | 124 | 0.0020334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_561-30_0_4_line_132 | NAYY 4x150 SE | 124 | 125 | 0.015518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_561-30_0_4_line_133 | NAYY 4x150 SE | 125 | 137 | 0.0027782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_561-30_0_4_line_134 | NAYY 4x150 SE | 127 | 128 | 0.13838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_561-30_0_4_line_135 | NAYY 4x150 SE | 128 | 149 | 0.0028382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_561-30_0_4_line_136 | NAYY 4x150 SE | 128 | 144 | 0.045722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_561-30_0_4_line_137 | NAYY 4x150 SE | 129 | 131 | 0.0079073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_561-30_0_4_line_138 | NAYY 4x150 SE | 131 | 132 | 0.014263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_561-30_0_4_line_139 | NAYY 4x150 SE | 132 | 137 | 0.012359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_561-30_0_4_line_140 | NAYY 4x150 SE | 134 | 135 | 0.019474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_561-30_0_4_line_141 | NAYY 4x150 SE | 136 | 138 | 0.027101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_561-30_0_4_line_142 | NAYY 4x150 SE | 136 | 139 | 0.04024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_561-30_0_4_line_143 | NAYY 4x150 SE | 139 | 153 | 0.037788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_561-30_0_4_line_144 | NAYY 4x150 SE | 140 | 141 | 0.010635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_561-30_0_4_line_145 | NAYY 4x150 SE | 141 | 142 | 0.033802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_561-30_0_4_line_146 | NAYY 4x150 SE | 142 | 143 | 0.021141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_561-30_0_4_line_147 | NAYY 4x150 SE | 142 | 144 | 0.012877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_561-30_0_4_line_148 | NAYY 4x150 SE | 143 | 145 | 0.036988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
149 | LV_561-30_0_4_line_149 | NAYY 4x150 SE | 143 | 146 | 0.059034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
150 | LV_561-30_0_4_line_150 | NAYY 4x150 SE | 145 | 147 | 0.014543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
151 | LV_561-30_0_4_line_151 | NAYY 4x150 SE | 146 | 148 | 0.036115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
152 | LV_561-30_0_4_line_152 | NAYY 4x150 SE | 147 | 150 | 0.030296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
153 | LV_561-30_0_4_line_153 | NAYY 4x150 SE | 150 | 151 | 0.00017135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
154 | LV_561-30_0_4_line_154 | NAYY 4x150 SE | 151 | 152 | 0.05298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
155 | LV_561-30_0_4_line_155 | NAYY 4x150 SE | 153 | 154 | 0.050936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
156 | LV_561-30_0_4_line_156 | NAYY 4x150 SE | 155 | 156 | 0.012291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
157 | LV_561-30_0_4_line_157 | NAYY 4x150 SE | 156 | 158 | 0.0080134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
158 | LV_561-30_0_4_line_158 | NAYY 4x150 SE | 157 | 158 | 0.010946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
159 | LV_561-30_0_4_line_159 | NAYY 4x150 SE | 159 | 160 | 0.092632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_561-30_0_4_trafo_3 | 0.25 MVA 20/0.4 kV | 161 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2610177.5836 | 1150069.7645 | 2610182.8961 | 1150078.6964
1 | 2610163.3193 | 1150045.7813 | 2610177.5836 | 1150069.7645
2 | 2610182.8961 | 1150078.6964 | 2610192.5525 | 1150094.9322 | 2610197.2275 | 1150104.5954
3 | 2610182.5333 | 1150027.3934 | 2610163.3193 | 1150045.7813
4 | 2610151.1829 | 1150059.5677 | 2610163.3193 | 1150045.7813
5 | 2610211.2941 | 1150133.6716 | 2610197.2275 | 1150104.5954
6 | 2610195.268 | 1150045.8905 | 2610186.8517 | 1150033.9706 | 2610182.5333 | 1150027.3934
7 | 2610226.5816 | 1150035.6827 | 2610197.1595 | 1150025.7839 | 2610189.3394 | 1150024.5368 | 2610182.5333 | 1150027.3934
8 | 2610151.1829 | 1150059.5677 | 2610140.7174 | 1150070.3666
9 | 2610151.1829 | 1150059.5677 | 2610141.9579 | 1150053.7849
10 | 2610211.2941 | 1150133.6716 | 2610212.7557 | 1150136.3976
11 | 2610211.2941 | 1150133.6716 | 2610196.152 | 1150139.9108
12 | 2610222.4384 | 1150052.7063 | 2610225.7353 | 1150050.4552 | 2610226.5816 | 1150035.6827
13 | 2610226.5816 | 1150035.6827 | 2610231.9338 | 1150039.1823 | 2610236.3021 | 1150048.244
14 | 2610226.5816 | 1150035.6827 | 2610289.3383 | 1149916.6083
15 | 2610102.3973 | 1149987.4509 | 2610113.3663 | 1149997.9533
16 | 2610102.3973 | 1149987.4509 | 2610110.2694 | 1149979.6992
17 | 2610079.2994 | 1149968.77 | 2610086.8735 | 1149974.8967 | 2610102.3973 | 1149987.4509
18 | 2610150.5262 | 1150085.0124 | 2610140.7174 | 1150070.3666
19 | 2610140.7174 | 1150070.3666 | 2610136.182 | 1150074.172 | 2610133.2931 | 1150076.6068
20 | 2610134.8388 | 1150049.3744 | 2610134.8955 | 1150049.3577 | 2610141.9579 | 1150053.7849
21 | 2610212.7557 | 1150136.3976 | 2610226.2604 | 1150130.0095
22 | 2610212.7557 | 1150136.3976 | 2610221.6261 | 1150161.1358 | 2610230.392 | 1150179.504
23 | 2610158.4683 | 1150155.438 | 2610196.152 | 1150139.9108
24 | 2610270.7981 | 1149894.8218 | 2610277.7711 | 1149902.315 | 2610289.3383 | 1149916.6083
25 | 2610133.4515 | 1149953.4305 | 2610120.9817 | 1149969.1507 | 2610110.2694 | 1149979.6992
26 | 2610079.2994 | 1149968.77 | 2610078.2593 | 1149967.6636
27 | 2610079.2994 | 1149968.77 | 2610078.6471 | 1149973.2489 | 2610077.4037 | 1149977.7602 | 2610075.3942 | 1149981.303 | 2610061.7903 | 1149991.3409 | 2610056.5758 | 1149992.6885
28 | 2610117.7791 | 1150089.6822 | 2610133.2931 | 1150076.6068
29 | 2610125.2109 | 1150052.2096 | 2610134.8388 | 1150049.3744
30 | 2610245.4382 | 1150115.9093 | 2610241.9333 | 1150122.5956 | 2610226.2604 | 1150130.0095
31 | 2610230.392 | 1150179.504 | 2610232.3578 | 1150183.6205 | 2610234.0948 | 1150186.8583
32 | 2610230.392 | 1150179.504 | 2610242.0713 | 1150174.3299
33 | 2610158.4683 | 1150155.438 | 2610161.9314 | 1150164.5427
34 | 2610244.9242 | 1149851.8236 | 2610254.6584 | 1149865.2355 | 2610260.594 | 1149882.4095 | 2610266.2006 | 1149889.8894 | 2610270.7981 | 1149894.8218
35 | 2610244.9242 | 1149851.8236 | 2610234.8296 | 1149860.6277
36 | 2610064.3644 | 1149952.8819 | 2610078.2593 | 1149967.6636
37 | 2610056.5758 | 1149992.6885 | 2610063.0942 | 1150000.5844
38 | 2610052.1677 | 1149993.8373 | 2610056.5758 | 1149992.6885
39 | 2610125.2109 | 1150052.2096 | 2610113.2823 | 1150042.7517 | 2610109.9591 | 1150041.1631
40 | 2610125.2109 | 1150052.2096 | 2610115.0418 | 1150060.5687
41 | 2610162.1155 | 1150165.0266 | 2610168.529 | 1150181.8878
42 | 2610162.1155 | 1150165.0266 | 2610161.9314 | 1150164.5427
43 | 2610169.7104 | 1150184.9935 | 2610168.529 | 1150181.8878
44 | 2610083.9915 | 1150140.5927 | 2610088.5081 | 1150150.4076 | 2610095.7747 | 1150165.9051 | 2610101.2276 | 1150168.8156 | 2610108.1131 | 1150168.8604
45 | 2610079.5746 | 1150130.9944 | 2610083.9915 | 1150140.5927
46 | 2610079.5746 | 1150130.9944 | 2610078.4226 | 1150140.5749 | 2610079.1895 | 1150145.6454 | 2610072.795 | 1150150.3593
47 | 2610063.1495 | 1150111.313 | 2610071.3414 | 1150119.6974 | 2610079.5746 | 1150130.9944
48 | 2610298.6887 | 1150107.3629 | 2610297.7877 | 1150104.4596
49 | 2610301.8778 | 1150117.6392 | 2610298.6887 | 1150107.3629
50 | 2610301.8778 | 1150117.6392 | 2610304.9865 | 1150128.6765
51 | 2610307.5441 | 1150144.0062 | 2610306.3949 | 1150133.677 | 2610304.9865 | 1150128.6765
52 | 2610307.5441 | 1150144.0062 | 2610307.5441 | 1150144.0062 | 2610298.7324 | 1150148.4827
53 | 2610307.5441 | 1150144.0062 | 2610437.1784 | 1150178.3694
54 | 2610296.9411 | 1150149.3927 | 2610298.7324 | 1150148.4827
55 | 2610463.5312 | 1150235.5854 | 2610450.7444 | 1150210.395 | 2610437.1784 | 1150178.3694
56 | 2610296.9411 | 1150149.3927 | 2610289.218 | 1150153.3161
57 | 2610063.1495 | 1150111.313 | 2610056.8999 | 1150111.9919 | 2610053.1945 | 1150115.254
58 | 2610063.1495 | 1150111.313 | 2610067.9522 | 1150105.8903
59 | 2610251.2002 | 1150100.9114 | 2610250.6611 | 1150104.4904 | 2610246.2998 | 1150114.2656 | 2610245.4382 | 1150115.9093
60 | 2610234.0948 | 1150186.8583 | 2610246.5861 | 1150210.1145
61 | 2610234.0948 | 1150186.8583 | 2610216.8472 | 1150195.578 | 2610219.7116 | 1150203.9647 | 2610212.5515 | 1150207.4988 | 2610213.5233 | 1150209.2902 | 2610208.1062 | 1150212.1544
62 | 2610242.0713 | 1150174.3299 | 2610245.3565 | 1150172.8745
63 | 2610251.0149 | 1150094.29 | 2610251.8179 | 1150096.8108 | 2610251.2002 | 1150100.9114
64 | 2610268.2443 | 1150251.3143 | 2610259.3389 | 1150233.8574 | 2610246.5861 | 1150210.1145
65 | 2610199.0083 | 1150216.9648 | 2610208.1062 | 1150212.1544
66 | 2610260.6959 | 1150166.079 | 2610245.3565 | 1150172.8745
67 | 2610205.9888 | 1150261.0105 | 2610205.1849 | 1150259.366
68 | 2610211.1845 | 1150271.639 | 2610205.9888 | 1150261.0105
69 | 2610211.1845 | 1150271.639 | 2610202.4044 | 1150280.0061 | 2610194.1522 | 1150283.7822
70 | 2610211.1845 | 1150271.639 | 2610215.9253 | 1150269.8547
71 | 2610192.1413 | 1150284.7023 | 2610194.1522 | 1150283.7822
72 | 2610234.7957 | 1150262.7523 | 2610215.9253 | 1150269.8547
73 | 2610192.1413 | 1150284.7023 | 2610192.1413 | 1150284.7023 | 2610189.4322 | 1150279.5685
74 | 2610234.7957 | 1150262.7523 | 2610245.5958 | 1150259.0591
75 | 2610188.5018 | 1150277.8053 | 2610189.4322 | 1150279.5685
76 | 2610268.2443 | 1150251.3143 | 2610245.5958 | 1150259.0591
77 | 2610180.2642 | 1150260.7715 | 2610183.3342 | 1150268.0126 | 2610188.5018 | 1150277.8053
78 | 2610268.2443 | 1150251.3143 | 2610285.8417 | 1150271.6652
79 | 2610251.0149 | 1150094.29 | 2610249.2599 | 1150088.7804 | 2610249.9336 | 1150085.3131
80 | 2610249.9336 | 1150085.3131 | 2610249.9336 | 1150085.3131 | 2610250.9584 | 1150083.0026 | 2610257.648 | 1150077.4294
81 | 2610271.033 | 1150070.8867 | 2610259.4143 | 1150075.9579 | 2610257.648 | 1150077.4294
82 | 2610271.033 | 1150070.8867 | 2610273.2419 | 1150069.9226
83 | 2610288.253 | 1150063.3709 | 2610273.2419 | 1150069.9226
84 | 2610288.9208 | 1150063.0794 | 2610288.253 | 1150063.3709
85 | 2610052.1677 | 1149993.8373 | 2610050.585 | 1149985.3861 | 2610047.052 | 1149980.6732
86 | 2610064.3644 | 1149952.8819 | 2610049.2244 | 1149928.4173
87 | 2610028.1822 | 1149894.4155 | 2610049.2244 | 1149928.4173
88 | 2610028.1822 | 1149894.4155 | 2610048.3067 | 1149882.5208 | 2610054.9166 | 1149882.2872
89 | 2610028.1822 | 1149894.4155 | 2610003.8067 | 1149854.0444 | 2609995.5438 | 1149838.3835
90 | 2610063.0942 | 1150000.5844 | 2610068.8717 | 1150007.5828 | 2610068.8717 | 1150007.5828
91 | 2610054.9166 | 1149882.2872 | 2610058.8701 | 1149886.8627 | 2610060.0583 | 1149888.4034
92 | 2609987.0703 | 1149822.3235 | 2609995.5438 | 1149838.3835
93 | 2610073.9681 | 1150018.1921 | 2610066.7654 | 1150009.3913 | 2610068.8717 | 1150007.5828
94 | 2610060.0583 | 1149888.4034 | 2610067.909 | 1149898.5834 | 2610067.909 | 1149898.5834
95 | 2609987.0703 | 1149822.3235 | 2609981.9355 | 1149831.1305
96 | 2610073.9681 | 1150018.1921 | 2610074.3989 | 1150018.7186
97 | 2609981.9355 | 1149831.1305 | 2609984.7036 | 1149874.9787 | 2609983.9125 | 1149893.8756 | 2609982.3934 | 1149898.0307 | 2609973.3057 | 1149903.7161
98 | 2609973.2763 | 1149903.7345 | 2609973.3057 | 1149903.7161
99 | 2610055.3563 | 1150127.7969 | 2610053.532 | 1150120.0347 | 2610053.1945 | 1150115.254
100 | 2610074.8751 | 1150089.6562 | 2610070.7878 | 1150092.5498 | 2610073.0397 | 1150100.1462 | 2610067.9522 | 1150105.8903
101 | 2610055.3563 | 1150127.7969 | 2609983.4544 | 1150167.4088
102 | 2610096.918 | 1150074.0509 | 2610074.8751 | 1150089.6562
103 | 2609983.4544 | 1150167.4088 | 2609937.1365 | 1150129.8143
104 | 2609983.4544 | 1150167.4088 | 2609981.9327 | 1150173.1647 | 2609982.8309 | 1150182.4262 | 2609984.2177 | 1150188.6538 | 2609985.8888 | 1150192.357
105 | 2610096.918 | 1150074.0509 | 2610099.4906 | 1150068.7748 | 2610093.931 | 1150061.6345
106 | 2610096.918 | 1150074.0509 | 2610109.3529 | 1150065.2451 | 2610115.0418 | 1150060.5687
107 | 2610180.2642 | 1150260.7715 | 2610179.5829 | 1150259.1644
108 | 2610175.0003 | 1150248.3557 | 2610179.5829 | 1150259.1644
109 | 2609996.2155 | 1150500.8459 | 2610004.1703 | 1150508.1543 | 2610021.154 | 1150528.4145 | 2610045.9332 | 1150569.3512
110 | 2609996.2155 | 1150500.8459 | 2609936.0555 | 1150536.4339
111 | 2610075.8379 | 1150601.0296 | 2610074.6765 | 1150602.4728 | 2610067.0636 | 1150601.6264 | 2610053.411 | 1150581.7051 | 2610045.9332 | 1150569.3512
112 | 2609936.0555 | 1150536.4339 | 2609947.7801 | 1150552.8056
113 | 2609936.0555 | 1150536.4339 | 2609932.2859 | 1150527.5568 | 2609925.8698 | 1150512.9836 | 2609923.5554 | 1150482.6204 | 2609915.8085 | 1150460.4302
114 | 2610075.8379 | 1150601.0296 | 2610078.5299 | 1150597.7102 | 2610078.488 | 1150576.6998 | 2610082.5108 | 1150557.8084 | 2610085.7694 | 1150536.9147 | 2610084.8325 | 1150513.9132
115 | 2609882.0076 | 1150486.6101 | 2609885.7257 | 1150480.0574 | 2609915.8085 | 1150460.4302
116 | 2609915.8085 | 1150460.4302 | 2609910.3094 | 1150443.5908 | 2609904.6875 | 1150431.4534 | 2609902.8093 | 1150420.6339 | 2609900.3643 | 1150404.322 | 2609888.4781 | 1150374.548
117 | 2609882.0076 | 1150486.6101 | 2609778.0551 | 1150470.5936
118 | 2609873.5682 | 1150323.9834 | 2609884.5551 | 1150364.7212 | 2609888.4781 | 1150374.548
119 | 2610038.9945 | 1150415.9 | 2610037.8566 | 1150421.6565 | 2610040.9801 | 1150426.5974 | 2610053.4565 | 1150443.2596 | 2610064.7268 | 1150460.4089 | 2610079.2472 | 1150489.4361 | 2610084.7369 | 1150511.5672 | 2610084.8325 | 1150513.9132
120 | 2610038.9945 | 1150415.9 | 2610034.9738 | 1150410.3462 | 2610039.3612 | 1150407.6521 | 2610040.7042 | 1150393.9254 | 2610030.069 | 1150349.9863 | 2610039.9566 | 1150340.1311
121 | 2609873.5682 | 1150323.9834 | 2609865.8489 | 1150294.0006 | 2609862.9482 | 1150284.0132 | 2609848.0709 | 1150232.7861 | 2609848.4279 | 1150218.7737
122 | 2609848.4279 | 1150218.7737 | 2609764.2888 | 1150202.6026
123 | 2609764.2888 | 1150202.6026 | 2609651.2801 | 1150245.903
124 | 2610029.2643 | 1150330.6755 | 2610032.0728 | 1150247.7728
125 | 2610029.2643 | 1150330.6755 | 2610039.9566 | 1150340.1311
126 | 2610032.0728 | 1150247.7728 | 2610026.6738 | 1150241.0847
127 | 2609651.2801 | 1150245.903 | 2609644.4156 | 1150129.0995
128 | 2610010.9968 | 1150232.2971 | 2610016.2465 | 1150232.7615 | 2610022.6198 | 1150236.0626 | 2610026.6738 | 1150241.0847
129 | 2610010.9968 | 1150232.2971 | 2609996.445 | 1150212.4189 | 2609990.0762 | 1150201.6365 | 2609985.8888 | 1150192.357
130 | 2610288.9208 | 1150063.0794 | 2610390.191 | 1150023.1218
131 | 2610074.3989 | 1150018.7186 | 2610075.6868 | 1150020.2922
132 | 2610086.5099 | 1150028.9314 | 2610078.7209 | 1150021.1614 | 2610077.4062 | 1150022.3931 | 2610075.6868 | 1150020.2922
133 | 2610088.4768 | 1150030.8935 | 2610086.5099 | 1150028.9314
134 | 2610390.191 | 1150023.1218 | 2610527.5988 | 1150006.7191
135 | 2610528.0619 | 1150009.5192 | 2610527.5988 | 1150006.7191
136 | 2610520.7836 | 1149961.5386 | 2610521.1338 | 1149967.6311 | 2610527.5988 | 1150006.7191
137 | 2610093.931 | 1150061.6345 | 2610089.0731 | 1150055.3954
138 | 2610089.0731 | 1150055.3954 | 2610089.0731 | 1150055.3954 | 2610086.0525 | 1150041.4555
139 | 2610088.4768 | 1150030.8935 | 2610084.5862 | 1150034.6889 | 2610086.0525 | 1150041.4555
140 | 2610181.7927 | 1150226.0673 | 2610199.0083 | 1150216.9648
141 | 2610285.8417 | 1150271.6652 | 2610261.3735 | 1150283.4629
142 | 2610285.8417 | 1150271.6652 | 2610315.4479 | 1150298.9178
143 | 2610337.1412 | 1150329.8588 | 2610315.4479 | 1150298.9178
144 | 2610553.9473 | 1149984.8862 | 2610547.7815 | 1149976.2207
145 | 2610526.4842 | 1149949.9873 | 2610544.8156 | 1149972.0522 | 2610547.7815 | 1149976.2207
146 | 2610526.4842 | 1149949.9873 | 2610514.9915 | 1149937.339 | 2610512.5637 | 1149934.0665
147 | 2610526.4842 | 1149949.9873 | 2610520.7836 | 1149961.5386
148 | 2610512.5637 | 1149934.0665 | 2610524.0761 | 1149926.5717 | 2610525.4355 | 1149917.3473 | 2610523.9084 | 1149903.7935 | 2610523.871 | 1149903.5082
149 | 2610512.5637 | 1149934.0665 | 2610506.3755 | 1149925.7739 | 2610496.3482 | 1149909.115 | 2610487.1849 | 1149885.4876 | 2610486.2668 | 1149881.6959
150 | 2610523.871 | 1149903.5082 | 2610521.981 | 1149889.088
151 | 2610486.2668 | 1149881.6959 | 2610477.7679 | 1149846.5953
152 | 2610521.981 | 1149889.088 | 2610520.2491 | 1149875.8735 | 2610520.7777 | 1149867.6593 | 2610524.4905 | 1149864.7977 | 2610528.4979 | 1149864.2164
153 | 2610528.4979 | 1149864.2164 | 2610528.6674 | 1149864.1918
154 | 2610551.587 | 1149902.4328 | 2610546.9696 | 1149903.2222 | 2610540.6398 | 1149870.473 | 2610537.7689 | 1149865.9546 | 2610532.215 | 1149863.6772 | 2610528.6674 | 1149864.1918
155 | 2610290.7804 | 1150351.2459 | 2610337.1412 | 1150329.8588
156 | 2610278.0301 | 1150158.3997 | 2610287.2614 | 1150154.3101 | 2610289.218 | 1150153.3161
157 | 2610270.7034 | 1150161.6456 | 2610278.0301 | 1150158.3997
158 | 2610270.7034 | 1150161.6456 | 2610260.6959 | 1150166.079
159 | 2609973.2763 | 1149903.7345 | 2609881.9734 | 1149919.3677

## bus_geodata
| x | y | coords
0 | 2610177.5836 | 1150069.7645
1 | 2610182.8961 | 1150078.6964
2 | 2610163.3193 | 1150045.7813
3 | 2610197.2275 | 1150104.5954
4 | 2610182.5333 | 1150027.3934
5 | 2610151.1829 | 1150059.5677
6 | 2610211.2941 | 1150133.6716
7 | 2610195.268 | 1150045.8905
8 | 2610226.5816 | 1150035.6827
9 | 2610113.3663 | 1149997.9533
10 | 2610102.3973 | 1149987.4509
11 | 2610140.7174 | 1150070.3666
12 | 2610141.9579 | 1150053.7849
13 | 2610212.7557 | 1150136.3976
14 | 2610196.152 | 1150139.9108
15 | 2610222.4384 | 1150052.7063
16 | 2610236.3021 | 1150048.244
17 | 2610289.3383 | 1149916.6083
18 | 2610110.2694 | 1149979.6992
19 | 2610079.2994 | 1149968.77
20 | 2610150.5262 | 1150085.0124
21 | 2610133.2931 | 1150076.6068
22 | 2610134.8388 | 1150049.3744
23 | 2610226.2604 | 1150130.0095
24 | 2610230.392 | 1150179.504
25 | 2610158.4683 | 1150155.438
26 | 2610270.7981 | 1149894.8218
27 | 2610244.9242 | 1149851.8236
28 | 2610133.4515 | 1149953.4305
29 | 2610078.2593 | 1149967.6636
30 | 2610056.5758 | 1149992.6885
31 | 2610117.7791 | 1150089.6822
32 | 2610125.2109 | 1150052.2096
33 | 2610162.1155 | 1150165.0266
34 | 2610168.529 | 1150181.8878
35 | 2610161.9314 | 1150164.5427
36 | 2610169.7104 | 1150184.9935
37 | 2610108.1131 | 1150168.8604
38 | 2610083.9915 | 1150140.5927
39 | 2610079.5746 | 1150130.9944
40 | 2610298.6887 | 1150107.3629
41 | 2610297.7877 | 1150104.4596
42 | 2610301.8778 | 1150117.6392
43 | 2610304.9865 | 1150128.6765
44 | 2610307.5441 | 1150144.0062
45 | 2610298.7324 | 1150148.4827
46 | 2610437.1784 | 1150178.3694
47 | 2610296.9411 | 1150149.3927
48 | 2610463.5312 | 1150235.5854
49 | 2610072.795 | 1150150.3593
50 | 2610063.1495 | 1150111.313
51 | 2610245.4382 | 1150115.9093
52 | 2610234.0948 | 1150186.8583
53 | 2610242.0713 | 1150174.3299
54 | 2610251.2002 | 1150100.9114
55 | 2610246.5861 | 1150210.1145
56 | 2610208.1062 | 1150212.1544
57 | 2610245.3565 | 1150172.8745
58 | 2610205.9888 | 1150261.0105
59 | 2610205.1849 | 1150259.366
60 | 2610211.1845 | 1150271.639
61 | 2610194.1522 | 1150283.7822
62 | 2610215.9253 | 1150269.8547
63 | 2610192.1413 | 1150284.7023
64 | 2610234.7957 | 1150262.7523
65 | 2610189.4322 | 1150279.5685
66 | 2610245.5958 | 1150259.0591
67 | 2610188.5018 | 1150277.8053
68 | 2610268.2443 | 1150251.3143
69 | 2610251.0149 | 1150094.29
70 | 2610249.9336 | 1150085.3131
71 | 2610257.648 | 1150077.4294
72 | 2610271.033 | 1150070.8867
73 | 2610273.2419 | 1150069.9226
74 | 2610288.253 | 1150063.3709
75 | 2610047.052 | 1149980.6732
76 | 2610052.1677 | 1149993.8373
77 | 2610064.3644 | 1149952.8819
78 | 2610049.2244 | 1149928.4173
79 | 2610028.1822 | 1149894.4155
80 | 2610063.0942 | 1150000.5844
81 | 2610054.9166 | 1149882.2872
82 | 2609995.5438 | 1149838.3835
83 | 2610068.8717 | 1150007.5828
84 | 2610060.0583 | 1149888.4034
85 | 2609987.0703 | 1149822.3235
86 | 2610073.9681 | 1150018.1921
87 | 2610067.909 | 1149898.5834
88 | 2609981.9355 | 1149831.1305
89 | 2609973.3057 | 1149903.7161
90 | 2610053.1945 | 1150115.254
91 | 2610067.9522 | 1150105.8903
92 | 2610055.3563 | 1150127.7969
93 | 2610074.8751 | 1150089.6562
94 | 2609983.4544 | 1150167.4088
95 | 2609937.1365 | 1150129.8143
96 | 2610096.9179 | 1150074.0509
97 | 2610180.2642 | 1150260.7715
98 | 2610179.5829 | 1150259.1644
99 | 2610175.0003 | 1150248.3557
100 | 2609996.2155 | 1150500.8459
101 | 2610045.9332 | 1150569.3512
102 | 2609936.0555 | 1150536.4339
103 | 2610075.8379 | 1150601.0296
104 | 2609915.8085 | 1150460.4302
105 | 2609882.0076 | 1150486.6101
106 | 2609888.4781 | 1150374.548
107 | 2609778.0551 | 1150470.5936
108 | 2609947.7801 | 1150552.8056
109 | 2610084.8325 | 1150513.9132
110 | 2610038.9945 | 1150415.9
111 | 2609873.5682 | 1150323.9834
112 | 2609848.4279 | 1150218.7737
113 | 2609764.2888 | 1150202.6026
114 | 2610029.2643 | 1150330.6755
115 | 2610032.0728 | 1150247.7728
116 | 2610039.9566 | 1150340.1311
117 | 2609651.2801 | 1150245.903
118 | 2609644.4156 | 1150129.0995
119 | 2610026.6738 | 1150241.0847
120 | 2610010.9968 | 1150232.2971
121 | 2609985.8888 | 1150192.357
122 | 2610288.9208 | 1150063.0794
123 | 2610074.399 | 1150018.7186
124 | 2610075.6868 | 1150020.2922
125 | 2610086.5099 | 1150028.9314
126 | 2610234.8296 | 1149860.6277
127 | 2610390.191 | 1150023.1218
128 | 2610527.5988 | 1150006.7191
129 | 2610093.931 | 1150061.6345
130 | 2610115.0418 | 1150060.5687
131 | 2610089.0731 | 1150055.3954
132 | 2610086.0525 | 1150041.4555
133 | 2610109.9591 | 1150041.1631
134 | 2610199.0083 | 1150216.9648
135 | 2610181.7927 | 1150226.0673
136 | 2610285.8417 | 1150271.6652
137 | 2610088.4768 | 1150030.8935
138 | 2610261.3735 | 1150283.4629
139 | 2610315.4479 | 1150298.9178
140 | 2610553.9473 | 1149984.8862
141 | 2610547.7815 | 1149976.2207
142 | 2610526.4842 | 1149949.9873
143 | 2610512.5637 | 1149934.0665
144 | 2610520.7836 | 1149961.5386
145 | 2610523.871 | 1149903.5082
146 | 2610486.2668 | 1149881.6959
147 | 2610521.981 | 1149889.088
148 | 2610477.7679 | 1149846.5953
149 | 2610528.0619 | 1150009.5192
150 | 2610528.4979 | 1149864.2164
151 | 2610528.6674 | 1149864.1918
152 | 2610551.587 | 1149902.4328
153 | 2610337.1412 | 1150329.8588
154 | 2610290.7804 | 1150351.2459
155 | 2610289.218 | 1150153.3161
156 | 2610278.0301 | 1150158.3997
157 | 2610260.6959 | 1150166.079
158 | 2610270.7034 | 1150161.6455
159 | 2609973.2763 | 1149903.7345
160 | 2609881.9734 | 1149919.3677
161 | 2610211.2941 | 1150133.6716

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1