## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_561-32_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_561-32_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_561-32_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_561-32_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_561-32_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_561-32_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_561-32_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_561-32_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_561-32_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_561-32_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_561-32_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_561-32_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_561-32_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_561-32_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_561-32_0_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_561-32_0_3_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_561-32_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_561-32_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_561-32_0_3_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_561-32_0_3_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_561-32_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_561-32_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_561-32_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_561-32_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_561-32_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_561-32_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_561-32_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_561-32_0_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_561-32_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_561-32_0_3_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_561-32_0_3_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_561-32_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_561-32_0_3_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_561-32_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_561-32_0_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_561-32_0_3_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_561-32_0_3_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_561-32_0_3_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_561-32_0_3_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_561-32_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_561-32_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_561-32_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_561-32_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_561-32_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_561-32_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_561-32_0_3_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_561-32_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_561-32_0_3_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_561-32_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_561-32_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_561-32_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_561-32_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_561-32_0_3_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_561-32_0_3_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_561-32_0_3_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_561-32_0_3_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_561-32_0_3_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_561-32_0_3_node_86 | 0.4 | n |  | TRUE
58 | bus_LV_561-32_0_3_node_84 | 0.4 | n |  | TRUE
59 | bus_LV_561-32_0_3_node_85 | 0.4 | n |  | TRUE
60 | bus_LV_561-32_0_3_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_561-32_0_3_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_561-32_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_561-32_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_561-32_0_3_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_561-32_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_561-32_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_561-32_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_561-32_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_561-32_0_3_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_561-32_0_3_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_561-32_0_3_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_561-32_0_3_node_91 | 0.4 | n |  | TRUE
73 | bus_LV_561-32_0_3_node_92 | 0.4 | n |  | TRUE
74 | bus_LV_561-32_0_3_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_561-32_0_3_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_561-32_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_561-32_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_561-32_0_3_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_561-32_0_3_node_89 | 0.4 | n |  | TRUE
80 | bus_LV_561-32_0_3_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_561-32_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_561-32_0_3_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_561-32_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_561-32_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_561-32_0_3_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_561-32_0_3_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_561-32_0_3_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_561-32_0_3_node_83 | 0.4 | n |  | TRUE
89 | bus_MV_194_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_561-32_0_3_load_0 | 0 | 0.0017719 | 0.00044409 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_561-32_0_3_load_1 | 1 | 0.0016332 | 0.00040932 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_561-32_0_3_load_3 | 3 | 0.0027762 | 0.00069579 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_561-32_0_3_load_4 | 4 | 0.0018158 | 0.00045508 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_561-32_0_3_load_5 | 5 | 0.002471 | 0.00061929 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_561-32_0_3_load_10 | 6 | 0.0036144 | 0.00090585 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_561-32_0_3_load_8 | 7 | 0.0016151 | 0.00040478 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_561-32_0_3_load_13 | 8 | 0.0026379 | 0.00066111 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_561-32_0_3_load_11 | 9 | 0.0020488 | 0.00051347 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_561-32_0_3_load_6 | 10 | 0.001724 | 0.00043208 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_561-32_0_3_load_14 | 11 | 0.001899 | 0.00047594 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_561-32_0_3_load_7 | 12 | 0.0019834 | 0.00049708 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_561-32_0_3_load_26 | 16 | 0.0038012 | 0.00095267 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_561-32_0_3_load_22 | 17 | 0.0024045 | 0.00060263 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_561-32_0_3_load_46 | 18 | 0.0036086 | 0.00090439 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_561-32_0_3_load_43 | 19 | 0.0023086 | 0.0005786 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_561-32_0_3_load_15 | 20 | 0.0015017 | 0.00037636 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_561-32_0_3_load_18 | 23 | 0.0043218 | 0.0010832 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_561-32_0_3_load_19 | 24 | 0.0024028 | 0.0006022 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_561-32_0_3_load_20 | 25 | 0.0025231 | 0.00063236 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_561-32_0_3_load_21 | 26 | 0.0010161 | 0.00025466 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_561-32_0_3_load_37 | 27 | 0.0041062 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_561-32_0_3_load_52 | 29 | 0.0010352 | 0.00025944 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_561-32_0_3_load_74 | 30 | 0.0015012 | 0.00037623 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_561-32_0_3_load_36 | 31 | 0.0031681 | 0.00079401 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_561-32_0_3_load_54 | 32 | 0.0043148 | 0.0010814 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_561-32_0_3_load_23 | 33 | 0.0025368 | 0.00063577 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_561-32_0_3_load_42 | 34 | 0.0023599 | 0.00059145 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_561-32_0_3_load_75 | 35 | 0.0025604 | 0.00064169 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_561-32_0_3_load_73 | 36 | 0.0050001 | 0.0012532 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_561-32_0_3_load_55 | 37 | 0.003531 | 0.00088495 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_561-32_0_3_load_71 | 38 | 0.0044798 | 0.0011228 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_561-32_0_3_load_27 | 39 | 0.0023896 | 0.0005989 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_561-32_0_3_load_28 | 40 | 0.0012613 | 0.0003161 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_561-32_0_3_load_29 | 41 | 0.0020073 | 0.00050307 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_561-32_0_3_load_30 | 42 | 0.0075038 | 0.0018806 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_561-32_0_3_load_31 | 43 | 0.0022888 | 0.00057362 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_561-32_0_3_load_53 | 45 | 0.0032557 | 0.00081595 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_561-32_0_3_load_70 | 47 | 0.0033191 | 0.00083184 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_561-32_0_3_load_32 | 48 | 0.0024982 | 0.00062612 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_561-32_0_3_load_33 | 49 | 0.0032611 | 0.00081731 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_561-32_0_3_load_34 | 50 | 0.0051183 | 0.0012828 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_561-32_0_3_load_35 | 51 | 0.0026358 | 0.0006606 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_561-32_0_3_load_38 | 52 | 0.0030278 | 0.00075883 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_561-32_0_3_load_66 | 53 | 0.0014797 | 0.00037086 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_561-32_0_3_load_86 | 57 | 0.0014199 | 0.00035587 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_561-32_0_3_load_84 | 58 | 0.0011547 | 0.00028939 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_561-32_0_3_load_85 | 59 | 0.00045385 | 0.00011374 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_561-32_0_3_load_39 | 60 | 0.0014605 | 0.00036603 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_561-32_0_3_load_40 | 61 | 0.0021327 | 0.00053451 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_561-32_0_3_load_45 | 62 | 0.0044437 | 0.0011137 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_561-32_0_3_load_47 | 63 | 0.00089925 | 0.00022537 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_561-32_0_3_load_49 | 64 | 0.0026405 | 0.00066178 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_561-32_0_3_load_56 | 65 | 0.0032753 | 0.00082086 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_561-32_0_3_load_57 | 66 | 0.00057444 | 0.00014397 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_561-32_0_3_load_80 | 69 | 0.0013165 | 0.00032993 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_561-32_0_3_load_90 | 71 | 0.0014022 | 0.00035143 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_561-32_0_3_load_92 | 73 | 0.0014477 | 0.00036282 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_561-32_0_3_load_60 | 74 | 0.00286 | 0.00071678 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_561-32_0_3_load_62 | 76 | 0.0038483 | 0.00096448 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_561-32_0_3_load_63 | 77 | 0.00254 | 0.00063659 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_561-32_0_3_load_89 | 79 | 0.0014153 | 0.00035471 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_561-32_0_3_load_72 | 82 | 0.0022844 | 0.00057252 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_561-32_0_3_load_78 | 83 | 0.0041531 | 0.0010409 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_561-32_0_3_load_81 | 84 | 0.0012684 | 0.00031788 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_561-32_0_3_load_87 | 85 | 0.000657 | 0.00016466 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_561-32_0_3_load_77 | 86 | 0.00026141 | 6.5515e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_561-32_0_3_load_82 | 87 | 0.002603 | 0.00065237 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_561-32_0_3_load_83 | 88 | 0.00034042 | 8.5317e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_561-32_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_561-32_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_561-32_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.00721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_561-32_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_561-32_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_561-32_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0026642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_561-32_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0063116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_561-32_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 8.9528e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_561-32_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.05783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_561-32_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.014539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_561-32_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.0236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_561-32_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.020823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_561-32_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.062307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_561-32_0_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.009191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_561-32_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.031986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_561-32_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.045274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_561-32_0_3_line_16 | NAYY 4x150 SE | 14 | 17 | 0.019388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_561-32_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.0058052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_561-32_0_3_line_18 | NAYY 4x150 SE | 15 | 19 | 0.015008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_561-32_0_3_line_19 | NAYY 4x150 SE | 16 | 36 | 0.010819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_561-32_0_3_line_20 | NAYY 4x150 SE | 17 | 33 | 0.029295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_561-32_0_3_line_21 | NAYY 4x150 SE | 18 | 44 | 0.03333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_561-32_0_3_line_22 | NAYY 4x150 SE | 19 | 62 | 0.017617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_561-32_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0057883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_561-32_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.017756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_561-32_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.0096572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_561-32_0_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.022663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_561-32_0_3_line_27 | NAYY 4x150 SE | 22 | 25 | 0.00079508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_561-32_0_3_line_28 | NAYY 4x150 SE | 22 | 26 | 0.025318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_561-32_0_3_line_29 | NAYY 4x150 SE | 23 | 27 | 0.025726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_561-32_0_3_line_30 | NAYY 4x150 SE | 24 | 28 | 0.010896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_561-32_0_3_line_31 | NAYY 4x150 SE | 25 | 29 | 0.006377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_561-32_0_3_line_32 | NAYY 4x150 SE | 26 | 30 | 0.021586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_561-32_0_3_line_33 | NAYY 4x150 SE | 27 | 31 | 0.018402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_561-32_0_3_line_34 | NAYY 4x150 SE | 28 | 32 | 0.028501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_561-32_0_3_line_35 | NAYY 4x150 SE | 28 | 33 | 0.0069173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_561-32_0_3_line_36 | NAYY 4x150 SE | 29 | 34 | 0.021608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_561-32_0_3_line_37 | NAYY 4x150 SE | 30 | 35 | 0.014679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_561-32_0_3_line_38 | NAYY 4x150 SE | 31 | 52 | 0.012147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_561-32_0_3_line_39 | NAYY 4x150 SE | 32 | 37 | 0.0030731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_561-32_0_3_line_40 | NAYY 4x150 SE | 34 | 61 | 0.0020093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_561-32_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.02127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_561-32_0_3_line_42 | NAYY 4x150 SE | 37 | 65 | 0.0078009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_561-32_0_3_line_43 | NAYY 4x150 SE | 38 | 82 | 0.03857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_561-32_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.022451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_561-32_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.018033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_561-32_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.0016273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_561-32_0_3_line_47 | NAYY 4x150 SE | 41 | 43 | 0.0097506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_561-32_0_3_line_48 | NAYY 4x150 SE | 42 | 44 | 0.016424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_561-32_0_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.034808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_561-32_0_3_line_50 | NAYY 4x150 SE | 44 | 46 | 0.003535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_561-32_0_3_line_51 | NAYY 4x150 SE | 45 | 47 | 0.043965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_561-32_0_3_line_52 | NAYY 4x150 SE | 46 | 63 | 0.0079472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_561-32_0_3_line_53 | NAYY 4x150 SE | 47 | 55 | 0.077003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_561-32_0_3_line_54 | NAYY 4x150 SE | 48 | 49 | 0.0061617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_561-32_0_3_line_55 | NAYY 4x150 SE | 48 | 50 | 0.0060701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_561-32_0_3_line_56 | NAYY 4x150 SE | 49 | 51 | 0.015684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_561-32_0_3_line_57 | NAYY 4x150 SE | 51 | 52 | 0.011556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_561-32_0_3_line_58 | NAYY 4x150 SE | 53 | 54 | 0.014057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_561-32_0_3_line_59 | NAYY 4x150 SE | 53 | 55 | 0.04747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_561-32_0_3_line_60 | NAYY 4x150 SE | 54 | 56 | 0.029343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_561-32_0_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.052832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_561-32_0_3_line_62 | NAYY 4x150 SE | 56 | 58 | 0.014376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_561-32_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.026161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_561-32_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.013553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_561-32_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.016529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_561-32_0_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.026507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_561-32_0_3_line_67 | NAYY 4x150 SE | 67 | 68 | 0.042521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_561-32_0_3_line_68 | NAYY 4x150 SE | 67 | 69 | 0.060354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_561-32_0_3_line_69 | NAYY 4x150 SE | 68 | 71 | 0.055634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_561-32_0_3_line_70 | NAYY 4x150 SE | 68 | 72 | 0.03564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_561-32_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.077797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_561-32_0_3_line_72 | NAYY 4x150 SE | 70 | 86 | 0.025204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_561-32_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.078918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_561-32_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.0078383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_561-32_0_3_line_75 | NAYY 4x150 SE | 74 | 76 | 0.0062133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_561-32_0_3_line_76 | NAYY 4x150 SE | 75 | 77 | 0.0067384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_561-32_0_3_line_77 | NAYY 4x150 SE | 75 | 78 | 0.029952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_561-32_0_3_line_78 | NAYY 4x150 SE | 77 | 79 | 0.0078939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_561-32_0_3_line_79 | NAYY 4x150 SE | 78 | 83 | 0.03583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_561-32_0_3_line_80 | NAYY 4x150 SE | 78 | 84 | 0.025877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_561-32_0_3_line_81 | NAYY 4x150 SE | 78 | 80 | 0.057689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_561-32_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.006151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_561-32_0_3_line_83 | NAYY 4x150 SE | 80 | 82 | 0.034227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_561-32_0_3_line_84 | NAYY 4x150 SE | 81 | 85 | 0.023795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_561-32_0_3_line_85 | NAYY 4x150 SE | 83 | 86 | 0.045661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_561-32_0_3_line_86 | NAYY 4x150 SE | 84 | 87 | 0.0308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_561-32_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.0046113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_561-32_0_3_trafo_22 | 0.25 MVA 20/0.4 kV | 89 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2609549.9532 | 1148127.1312 | 2609542.6732 | 1148137.3725 | 2609538.0556 | 1148145.1261
1 | 2609553.1447 | 1148104.7286 | 2609551.9005 | 1148124.3918 | 2609549.9532 | 1148127.1312
2 | 2609538.0556 | 1148145.1261 | 2609534.3664 | 1148151.3207
3 | 2609553.1447 | 1148104.7286 | 2609539.8425 | 1148105.5865
4 | 2609553.1447 | 1148104.7286 | 2609565.2715 | 1148103.8503
5 | 2609533.0032 | 1148153.6097 | 2609534.3664 | 1148151.3207
6 | 2609533.544 | 1148105.9927 | 2609539.8425 | 1148105.5865
7 | 2609565.3608 | 1148103.8438 | 2609565.2715 | 1148103.8503
8 | 2609533.0032 | 1148153.6097 | 2609542.1739 | 1148210.7076
9 | 2609519.035 | 1148106.9285 | 2609533.544 | 1148105.9927
10 | 2609576.1939 | 1148088.8765 | 2609576.2721 | 1148090.8694 | 2609576.5086 | 1148096.7282 | 2609576.2574 | 1148100.1628 | 2609574.6796 | 1148102.517 | 2609571.9215 | 1148103.3686 | 2609565.3608 | 1148103.8438
11 | 2609519.035 | 1148106.9285 | 2609511.7517 | 1148107.3982 | 2609509.0418 | 1148106.9493 | 2609507.532 | 1148105.1238 | 2609506.6677 | 1148102.9325 | 2609506.1209 | 1148096.9039
12 | 2609451.9307 | 1148089.7295 | 2609500.5597 | 1148085.4477 | 2609502.3547 | 1148086.6178 | 2609504.263 | 1148089.0108 | 2609505.6109 | 1148091.2807 | 2609506.1209 | 1148096.9039
13 | 2609450.7009 | 1148080.6231 | 2609451.9307 | 1148089.7295
14 | 2609456.6192 | 1148121.3633 | 2609451.9307 | 1148089.7295
15 | 2609450.7009 | 1148080.6231 | 2609445.8835 | 1148035.6059
16 | 2609450.7009 | 1148080.6231 | 2609431.7076 | 1148084.5165
17 | 2609456.6192 | 1148121.3633 | 2609457.2604 | 1148127.1331
18 | 2609456.6192 | 1148121.3633 | 2609470.8201 | 1148116.5084
19 | 2609445.8835 | 1148035.6059 | 2609444.7323 | 1148024.8482
20 | 2609431.7076 | 1148084.5165 | 2609403.0093 | 1148090.3993
21 | 2609462.7173 | 1148160.0028 | 2609457.9141 | 1148133.0155 | 2609457.2604 | 1148127.1331
22 | 2609486.1943 | 1148108.9256 | 2609479.0869 | 1148111.7826 | 2609477.4321 | 1148114.2479 | 2609470.8201 | 1148116.5084
23 | 2609363.7768 | 1148100.3202 | 2609358.0703 | 1148101.2898
24 | 2609340.5653 | 1148104.2642 | 2609358.0703 | 1148101.2898
25 | 2609363.7768 | 1148100.3202 | 2609361.0003 | 1148109.5697
26 | 2609363.7768 | 1148100.3202 | 2609385.6947 | 1148094.5586
27 | 2609340.5653 | 1148104.2642 | 2609339.7815 | 1148104.3975
28 | 2609340.5653 | 1148104.2642 | 2609338.1418 | 1148092.3657 | 2609335.5878 | 1148079.4402
29 | 2609353.6038 | 1148134.21 | 2609353.6038 | 1148134.21 | 2609361.0003 | 1148109.5697
30 | 2609396.233 | 1148091.7884 | 2609385.6947 | 1148094.5586
31 | 2609339.7815 | 1148104.3975 | 2609333.4948 | 1148105.4673
32 | 2609335.5878 | 1148079.4402 | 2609333.6463 | 1148069.6143 | 2609332.9149 | 1148065.8336 | 2609332.9178 | 1148063.9438 | 2609333.5801 | 1148062.7109 | 2609334.818 | 1148061.6456 | 2609337.5374 | 1148060.9939
33 | 2609339.5086 | 1148144.7905 | 2609344.7205 | 1148143.5453 | 2609349.333 | 1148140.1508 | 2609353.6038 | 1148134.21
34 | 2609396.233 | 1148091.7884 | 2609403.6661 | 1148119.303
35 | 2609396.233 | 1148091.7884 | 2609403.0093 | 1148090.3993
36 | 2609312.1926 | 1148109.0923 | 2609333.4948 | 1148105.4673
37 | 2609352.0386 | 1148058.7151 | 2609337.5374 | 1148060.9939
38 | 2609339.5086 | 1148144.7905 | 2609334.8266 | 1148145.909 | 2609327.4938 | 1148145.9855
39 | 2609403.6661 | 1148119.303 | 2609404.4675 | 1148122.2698
40 | 2609310.2118 | 1148109.4294 | 2609312.1926 | 1148109.0923
41 | 2609442.4691 | 1148003.6985 | 2609444.7323 | 1148024.8482
42 | 2609406.502 | 1148129.8007 | 2609404.4675 | 1148122.2698
43 | 2609442.4691 | 1148003.6985 | 2609438.365 | 1147965.3473
44 | 2609422.2323 | 1148161.1681 | 2609444.6739 | 1148160.5222
45 | 2609422.2323 | 1148161.1681 | 2609405.5542 | 1148161.6481 | 2609404.2067 | 1148161.632
46 | 2609444.6739 | 1148160.5222 | 2609446.3005 | 1148160.4754
47 | 2609394.4568 | 1148161.5154 | 2609404.2067 | 1148161.632
48 | 2609462.7173 | 1148160.0028 | 2609446.3005 | 1148160.4754
49 | 2609359.6516 | 1148161.0991 | 2609394.4568 | 1148161.5154
50 | 2609463.6334 | 1148163.4171 | 2609462.7173 | 1148160.0028
51 | 2609359.6516 | 1148161.0991 | 2609358.2339 | 1148205.0408
52 | 2609463.6334 | 1148163.4171 | 2609464.2172 | 1148163.3179 | 2609469.8472 | 1148162.3707 | 2609471.4698 | 1148162.0949
53 | 2609341.6426 | 1148277.3282 | 2609354.8295 | 1148250.6799 | 2609358.1748 | 1148237.4119 | 2609354.8861 | 1148213.9398 | 2609356.6718 | 1148206.2055 | 2609358.2339 | 1148205.0408
54 | 2609294.3294 | 1148148.5707 | 2609300.3691 | 1148147.3503
55 | 2609288.3796 | 1148149.773 | 2609294.3294 | 1148148.5707
56 | 2609315.9386 | 1148146.1059 | 2609306.0155 | 1148146.2094 | 2609300.3691 | 1148147.3503
57 | 2609315.9386 | 1148146.1059 | 2609327.4938 | 1148145.9855
58 | 2609287.2175 | 1148291.9074 | 2609299.284 | 1148284.6973
59 | 2609341.6426 | 1148277.3282 | 2609325.0209 | 1148270.7772 | 2609321.5421 | 1148271.0387 | 2609301.8586 | 1148283.1589 | 2609299.284 | 1148284.6973
60 | 2609287.2175 | 1148291.9074 | 2609271.5374 | 1148267.0824
61 | 2609271.5374 | 1148267.0824 | 2609266.3613 | 1148267.5636 | 2609261.5236 | 1148267.7119 | 2609253.1926 | 1148267.4768 | 2609245.8553 | 1148265.2645 | 2609238.4688 | 1148260.0285 | 2609226.8025 | 1148251.5622 | 2609223.9105 | 1148249.9181
62 | 2609271.5374 | 1148267.0824 | 2609265.7004 | 1148253.9448
63 | 2609265.7004 | 1148253.9448 | 2609255.0783 | 1148230.0373
64 | 2609297.3017 | 1148109.5711 | 2609297.425 | 1148109.8117 | 2609298.9283 | 1148110.9257 | 2609300.7481 | 1148110.9841 | 2609302.6912 | 1148110.7091 | 2609310.2118 | 1148109.4294
65 | 2609487.7664 | 1148159.3305 | 2609481.3837 | 1148160.41 | 2609471.4698 | 1148162.0949
66 | 2609618.7641 | 1147816.5469 | 2609625.709 | 1147814.657 | 2609640.0594 | 1147820.7716 | 2609643.7227 | 1147821.3623
67 | 2609618.7641 | 1147816.5469 | 2609621.6189 | 1147822.5321 | 2609625.4661 | 1147832.243 | 2609633.706 | 1147856.3234
68 | 2609570.6963 | 1147853.0443 | 2609618.7641 | 1147816.5469
69 | 2609633.706 | 1147856.3234 | 2609642.9699 | 1147864.153 | 2609648.0669 | 1147870.2308 | 2609653.8231 | 1147876.9765 | 2609656.7895 | 1147880.4274 | 2609660.0806 | 1147882.4114 | 2609670.7834 | 1147883.5734 | 2609671.7861 | 1147876.0158
70 | 2609647.5148 | 1147889.0057 | 2609643.2249 | 1147882.4957 | 2609636.7405 | 1147865.1881 | 2609633.706 | 1147856.3234
71 | 2609548.6166 | 1147839.7808 | 2609549.3559 | 1147843.317 | 2609548.7068 | 1147850.7863 | 2609546.947 | 1147856.4975 | 2609548.6891 | 1147862.0585 | 2609566.0394 | 1147874.6364 | 2609569.7035 | 1147873.8529 | 2609577.5287 | 1147864.016 | 2609579.6094 | 1147859.4059 | 2609577.0654 | 1147855.9113 | 2609573.8838 | 1147852.5713 | 2609570.6963 | 1147853.0443
72 | 2609548.6166 | 1147839.7808 | 2609542.6235 | 1147846.8193 | 2609536.2982 | 1147861.4718
73 | 2609647.5148 | 1147889.0057 | 2609645.8781 | 1147894.5058 | 2609648.2697 | 1147916.5426 | 2609652.88 | 1147938.8164 | 2609653.0887 | 1147947.6321 | 2609650.0884 | 1147955.8981 | 2609644.4377 | 1147964.9268
74 | 2609485.3336 | 1147947.2897 | 2609479.4095 | 1147949.6038 | 2609477.9627 | 1147949.907
75 | 2609471.8816 | 1147951.1817 | 2609477.9627 | 1147949.907
76 | 2609485.3336 | 1147947.2897 | 2609491.1217 | 1147948.466 | 2609491.9527 | 1147948.5076
77 | 2609485.3336 | 1147947.2897 | 2609484.2779 | 1147925.1105 | 2609490.9111 | 1147921.1078
78 | 2609499.8367 | 1147948.902 | 2609491.9527 | 1147948.5076
79 | 2609490.9111 | 1147921.1078 | 2609503.8987 | 1147914.7584 | 2609516.6933 | 1147909.0312 | 2609515.453 | 1147901.7812
80 | 2609490.9111 | 1147921.1078 | 2609493.9098 | 1147908.851 | 2609494.297 | 1147895.5977
81 | 2609434.7231 | 1147931.3141 | 2609484.2779 | 1147925.1105 | 2609490.9111 | 1147921.1078
82 | 2609434.7231 | 1147931.3141 | 2609434.0722 | 1147925.199
83 | 2609434.7231 | 1147931.3141 | 2609438.365 | 1147965.3473
84 | 2609434.0722 | 1147925.199 | 2609431.5606 | 1147901.5373
85 | 2609536.2982 | 1147861.4718 | 2609535.0704 | 1147864.3159 | 2609531.0435 | 1147876.0487 | 2609520.4835 | 1147891.5397 | 2609515.453 | 1147901.7812 | 2609515.453 | 1147901.7812
86 | 2609494.297 | 1147895.5977 | 2609494.3642 | 1147893.2996 | 2609500.1768 | 1147869.0524 | 2609500.5843 | 1147865.5088
87 | 2609501.111 | 1147860.9277 | 2609500.5843 | 1147865.5088

## bus_geodata
| x | y | coords
0 | 2609549.9532 | 1148127.1312
1 | 2609538.0556 | 1148145.1261
2 | 2609553.1447 | 1148104.7286
3 | 2609534.3664 | 1148151.3207
4 | 2609539.8425 | 1148105.5865
5 | 2609565.2715 | 1148103.8503
6 | 2609533.0032 | 1148153.6097
7 | 2609533.544 | 1148105.9927
8 | 2609565.3608 | 1148103.8438
9 | 2609542.1739 | 1148210.7076
10 | 2609519.035 | 1148106.9285
11 | 2609576.1939 | 1148088.8765
12 | 2609506.1209 | 1148096.9039
13 | 2609451.9307 | 1148089.7295
14 | 2609450.7009 | 1148080.6231
15 | 2609456.6192 | 1148121.3633
16 | 2609445.8835 | 1148035.6059
17 | 2609431.7076 | 1148084.5165
18 | 2609457.2604 | 1148127.1331
19 | 2609470.8201 | 1148116.5084
20 | 2609358.0703 | 1148101.2898
21 | 2609363.7768 | 1148100.3202
22 | 2609340.5653 | 1148104.2642
23 | 2609361.0003 | 1148109.5697
24 | 2609385.6947 | 1148094.5586
25 | 2609339.7815 | 1148104.3975
26 | 2609335.5878 | 1148079.4402
27 | 2609353.6038 | 1148134.21
28 | 2609396.233 | 1148091.7884
29 | 2609333.4948 | 1148105.4673
30 | 2609337.5374 | 1148060.9939
31 | 2609339.5086 | 1148144.7905
32 | 2609403.6661 | 1148119.303
33 | 2609403.0093 | 1148090.3993
34 | 2609312.1926 | 1148109.0923
35 | 2609352.0386 | 1148058.7151
36 | 2609444.7323 | 1148024.8482
37 | 2609404.4675 | 1148122.2698
38 | 2609442.4691 | 1148003.6985
39 | 2609422.2323 | 1148161.1681
40 | 2609444.6739 | 1148160.5222
41 | 2609404.2067 | 1148161.632
42 | 2609446.3005 | 1148160.4754
43 | 2609394.4568 | 1148161.5154
44 | 2609462.7173 | 1148160.0028
45 | 2609359.6516 | 1148161.0991
46 | 2609463.6334 | 1148163.4171
47 | 2609358.2339 | 1148205.0408
48 | 2609294.3294 | 1148148.5707
49 | 2609300.3691 | 1148147.3503
50 | 2609288.3796 | 1148149.773
51 | 2609315.9386 | 1148146.1059
52 | 2609327.4938 | 1148145.9855
53 | 2609299.284 | 1148284.6973
54 | 2609287.2175 | 1148291.9074
55 | 2609341.6426 | 1148277.3282
56 | 2609271.5374 | 1148267.0824
57 | 2609223.9105 | 1148249.9181
58 | 2609265.7004 | 1148253.9448
59 | 2609255.0783 | 1148230.0373
60 | 2609297.3017 | 1148109.5711
61 | 2609310.2118 | 1148109.4294
62 | 2609486.1943 | 1148108.9256
63 | 2609471.4698 | 1148162.0949
64 | 2609487.7664 | 1148159.3305
65 | 2609406.502 | 1148129.8007
66 | 2609643.7227 | 1147821.3623
67 | 2609618.7641 | 1147816.5469
68 | 2609633.706 | 1147856.3234
69 | 2609570.6963 | 1147853.0443
70 | 2609548.6166 | 1147839.7808
71 | 2609671.7861 | 1147876.0158
72 | 2609647.5148 | 1147889.0057
73 | 2609644.4377 | 1147964.9268
74 | 2609477.9627 | 1147949.907
75 | 2609485.3336 | 1147947.2897
76 | 2609471.8816 | 1147951.1817
77 | 2609491.9527 | 1147948.5076
78 | 2609490.9111 | 1147921.1078
79 | 2609499.8367 | 1147948.902
80 | 2609434.7231 | 1147931.3141
81 | 2609434.0722 | 1147925.199
82 | 2609438.365 | 1147965.3473
83 | 2609515.453 | 1147901.7812
84 | 2609494.297 | 1147895.5977
85 | 2609431.5606 | 1147901.5373
86 | 2609536.2982 | 1147861.4718
87 | 2609500.5843 | 1147865.5088
88 | 2609501.111 | 1147860.9277
89 | 2609450.7009 | 1148080.6231

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1