## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_561-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_561-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_561-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_561-8_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_561-8_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_561-8_0_4_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_561-8_0_4_node_80 | 0.4 | n |  | TRUE
7 | bus_LV_561-8_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_561-8_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_561-8_0_4_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_561-8_0_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_561-8_0_4_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_561-8_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_561-8_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_561-8_0_4_node_94 | 0.4 | n |  | TRUE
15 | bus_LV_561-8_0_4_node_92 | 0.4 | n |  | TRUE
16 | bus_LV_561-8_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_561-8_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_561-8_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_561-8_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_561-8_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_561-8_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_561-8_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_561-8_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_561-8_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_561-8_0_4_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_561-8_0_4_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_561-8_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_561-8_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_561-8_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_561-8_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_561-8_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_561-8_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_561-8_0_4_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_561-8_0_4_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_561-8_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_561-8_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_561-8_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_561-8_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_561-8_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_561-8_0_4_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_561-8_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_561-8_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_561-8_0_4_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_561-8_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_561-8_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_561-8_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_561-8_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_561-8_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_561-8_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_561-8_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_561-8_0_4_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_561-8_0_4_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_561-8_0_4_node_100 | 0.4 | n |  | TRUE
54 | bus_LV_561-8_0_4_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_561-8_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_561-8_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_561-8_0_4_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_561-8_0_4_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_561-8_0_4_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_561-8_0_4_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_561-8_0_4_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_561-8_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_561-8_0_4_node_99 | 0.4 | n |  | TRUE
64 | bus_LV_561-8_0_4_node_98 | 0.4 | n |  | TRUE
65 | bus_LV_561-8_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_561-8_0_4_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_561-8_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_561-8_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_561-8_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_561-8_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_561-8_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_561-8_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_561-8_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_561-8_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_561-8_0_4_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_561-8_0_4_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_561-8_0_4_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_561-8_0_4_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_561-8_0_4_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_561-8_0_4_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_561-8_0_4_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_561-8_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_561-8_0_4_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_561-8_0_4_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_561-8_0_4_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_561-8_0_4_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_561-8_0_4_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_561-8_0_4_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_561-8_0_4_node_96 | 0.4 | n |  | TRUE
90 | bus_LV_561-8_0_4_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_561-8_0_4_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_561-8_0_4_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_561-8_0_4_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_561-8_0_4_node_97 | 0.4 | n |  | TRUE
95 | bus_MV_194_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_561-8_0_4_load_0 | 0 | 0.001208 | 0.00030275 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_561-8_0_4_load_1 | 1 | 0.0012079 | 0.00030272 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_561-8_0_4_load_2 | 2 | 0.0026981 | 0.0006762 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_561-8_0_4_load_4 | 3 | 0.0010339 | 0.00025911 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_561-8_0_4_load_79 | 5 | 0.0034391 | 0.00086192 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_561-8_0_4_load_80 | 6 | 0.002955 | 0.0007406 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_561-8_0_4_load_6 | 7 | 0.0024314 | 0.00060935 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_561-8_0_4_load_7 | 8 | 0.00079393 | 0.00019898 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_561-8_0_4_load_43 | 10 | 0.00087968 | 0.00022047 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_561-8_0_4_load_22 | 11 | 0.0010963 | 0.00027476 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_561-8_0_4_load_8 | 12 | 0.0013871 | 0.00034764 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_561-8_0_4_load_9 | 13 | 0.00013539 | 3.3931e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_561-8_0_4_load_94 | 14 | 0.00047877 | 0.00011999 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_561-8_0_4_load_10 | 16 | 0.0026259 | 0.00065812 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_561-8_0_4_load_11 | 17 | 0.0034104 | 0.00085472 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_561-8_0_4_load_13 | 19 | 0.006139 | 0.0015386 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_561-8_0_4_load_14 | 20 | 0.0033815 | 0.00084748 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_561-8_0_4_load_15 | 21 | 0.0034593 | 0.00086698 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_561-8_0_4_load_16 | 22 | 0.0026476 | 0.00066356 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_561-8_0_4_load_17 | 23 | 0.0006656 | 0.00016681 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_561-8_0_4_load_29 | 24 | 0.003079 | 0.00077168 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_561-8_0_4_load_31 | 25 | 0.0024197 | 0.00060643 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_561-8_0_4_load_27 | 26 | 0.0031509 | 0.0007897 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_561-8_0_4_load_32 | 27 | 0.00066026 | 0.00016548 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_561-8_0_4_load_18 | 28 | 0.002015 | 0.00050501 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_561-8_0_4_load_19 | 29 | 0.00068175 | 0.00017086 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_561-8_0_4_load_20 | 30 | 0.00056489 | 0.00014157 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_561-8_0_4_load_21 | 31 | 0.0011019 | 0.00027617 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_561-8_0_4_load_23 | 32 | 0.00088188 | 0.00022102 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_561-8_0_4_load_75 | 33 | 0.0022306 | 0.00055903 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_561-8_0_4_load_74 | 34 | 0.0040179 | 0.001007 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_561-8_0_4_load_44 | 35 | 0.00085203 | 0.00021354 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_561-8_0_4_load_25 | 36 | 0.0035302 | 0.00088474 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_561-8_0_4_load_26 | 37 | 0.0057722 | 0.0014466 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_561-8_0_4_load_28 | 38 | 0.0023506 | 0.00058911 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_561-8_0_4_load_30 | 39 | 0.0017668 | 0.00044279 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_561-8_0_4_load_48 | 40 | 0.0052593 | 0.0013181 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_561-8_0_4_load_46 | 41 | 0.0044893 | 0.0011251 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_561-8_0_4_load_33 | 42 | 0.00072335 | 0.00018129 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_561-8_0_4_load_73 | 43 | 0.00060608 | 0.0001519 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_561-8_0_4_load_34 | 44 | 0.019703 | 0.004938 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_561-8_0_4_load_35 | 45 | 0.0052251 | 0.0013095 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_561-8_0_4_load_38 | 47 | 0.006151 | 0.0015416 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_561-8_0_4_load_42 | 50 | 0.0043618 | 0.0010932 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_561-8_0_4_load_71 | 51 | 0.0054902 | 0.001376 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_561-8_0_4_load_100 | 53 | 0.0018289 | 0.00045836 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_561-8_0_4_load_41 | 55 | 0.0048394 | 0.0012129 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_561-8_0_4_load_60 | 56 | 0.0092715 | 0.0023237 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_561-8_0_4_load_64 | 57 | 0.0060985 | 0.0015284 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_561-8_0_4_load_70 | 58 | 0.0049765 | 0.0012472 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_561-8_0_4_load_68 | 59 | 0.016984 | 0.0042566 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_561-8_0_4_load_82 | 60 | 0.0017341 | 0.0004346 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_561-8_0_4_load_67 | 61 | 0.0049111 | 0.0012308 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_561-8_0_4_load_63 | 62 | 0.0039354 | 0.0009863 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_561-8_0_4_load_99 | 63 | 0.00078606 | 0.00019701 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_561-8_0_4_load_98 | 64 | 0.0010602 | 0.00026571 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_561-8_0_4_load_45 | 65 | 0.0021286 | 0.00053347 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_561-8_0_4_load_49 | 67 | 0.0041614 | 0.0010429 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_561-8_0_4_load_50 | 68 | 0.0012648 | 0.00031698 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_561-8_0_4_load_51 | 69 | 0.0010935 | 0.00027406 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_561-8_0_4_load_52 | 70 | 0.0040867 | 0.0010242 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_561-8_0_4_load_58 | 71 | 0.0032691 | 0.00081932 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_561-8_0_4_load_66 | 72 | 0.0057329 | 0.0014368 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_561-8_0_4_load_56 | 73 | 0.0023126 | 0.0005796 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_561-8_0_4_load_53 | 75 | 0.0016215 | 0.00040639 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_561-8_0_4_load_54 | 76 | 0.0012675 | 0.00031767 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_561-8_0_4_load_55 | 77 | 0.0031729 | 0.00079521 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_561-8_0_4_load_57 | 78 | 0.0017491 | 0.00043837 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_561-8_0_4_load_59 | 79 | 0.0022325 | 0.00055952 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_561-8_0_4_load_61 | 80 | 0.0014565 | 0.00036503 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_561-8_0_4_load_62 | 81 | 0.0076787 | 0.0019245 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_561-8_0_4_load_72 | 82 | 0.0082429 | 0.0020659 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_561-8_0_4_load_76 | 83 | 0.00033911 | 8.499e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_561-8_0_4_load_88 | 85 | 0.0002302 | 5.7693e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_561-8_0_4_load_86 | 87 | 0.00019386 | 4.8586e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_561-8_0_4_load_78 | 88 | 0.00027718 | 6.9469e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_561-8_0_4_load_96 | 89 | 0.00058413 | 0.0001464 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_561-8_0_4_load_90 | 91 | 0.00039579 | 9.9195e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_561-8_0_4_load_91 | 92 | 0.00029623 | 7.4243e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_561-8_0_4_load_95 | 93 | 0.00025875 | 6.4849e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_561-8_0_4_load_97 | 94 | 0.00016937 | 4.2447e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_561-8_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_561-8_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.048836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_561-8_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0028068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_561-8_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.060463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_561-8_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.2552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_561-8_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.13469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_561-8_0_4_line_6 | NAYY 4x150 SE | 6 | 12 | 0.22309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_561-8_0_4_line_7 | NAYY 4x150 SE | 7 | 8 | 0.035114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_561-8_0_4_line_8 | NAYY 4x150 SE | 8 | 9 | 0.050515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_561-8_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.047868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_561-8_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.05938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_561-8_0_4_line_11 | NAYY 4x150 SE | 10 | 35 | 0.02104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_561-8_0_4_line_12 | NAYY 4x150 SE | 11 | 30 | 0.015883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_561-8_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.10356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_561-8_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.10026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_561-8_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.067356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_561-8_0_4_line_16 | NAYY 4x150 SE | 15 | 90 | 0.037583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_561-8_0_4_line_17 | NAYY 4x150 SE | 15 | 92 | 0.014822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_561-8_0_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.014767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_561-8_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.028364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_561-8_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.01712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_561-8_0_4_line_21 | NAYY 4x150 SE | 18 | 20 | 0.012737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_561-8_0_4_line_22 | NAYY 4x150 SE | 18 | 21 | 0.049042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_561-8_0_4_line_23 | NAYY 4x150 SE | 19 | 22 | 0.015535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_561-8_0_4_line_24 | NAYY 4x150 SE | 20 | 23 | 0.0048148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_561-8_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.015116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_561-8_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0036353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_561-8_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.0047405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_561-8_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0092953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_561-8_0_4_line_29 | NAYY 4x150 SE | 26 | 36 | 0.019349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_561-8_0_4_line_30 | NAYY 4x150 SE | 27 | 42 | 0.0008178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_561-8_0_4_line_31 | NAYY 4x150 SE | 28 | 29 | 7.5591e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_561-8_0_4_line_32 | NAYY 4x150 SE | 28 | 30 | 0.012292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_561-8_0_4_line_33 | NAYY 4x150 SE | 29 | 31 | 0.0052584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_561-8_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.003878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_561-8_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0049465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_561-8_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.01967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_561-8_0_4_line_37 | NAYY 4x150 SE | 34 | 43 | 0.0045481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_561-8_0_4_line_38 | NAYY 4x150 SE | 35 | 63 | 0.044893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_561-8_0_4_line_39 | NAYY 4x150 SE | 36 | 37 | 0.0017554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_561-8_0_4_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0072927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_561-8_0_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0043562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_561-8_0_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0099087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_561-8_0_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.0013433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_561-8_0_4_line_44 | NAYY 4x150 SE | 41 | 65 | 0.011712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_561-8_0_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.00097719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_561-8_0_4_line_46 | NAYY 4x150 SE | 44 | 45 | 0.025169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_561-8_0_4_line_47 | NAYY 4x150 SE | 44 | 46 | 0.014092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_561-8_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0023039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_561-8_0_4_line_49 | NAYY 4x150 SE | 46 | 48 | 0.054539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_561-8_0_4_line_50 | NAYY 4x150 SE | 46 | 49 | 0.11012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_561-8_0_4_line_51 | NAYY 4x150 SE | 47 | 50 | 0.017955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_561-8_0_4_line_52 | NAYY 4x150 SE | 48 | 51 | 0.006919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_561-8_0_4_line_53 | NAYY 4x150 SE | 48 | 52 | 0.002938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_561-8_0_4_line_54 | NAYY 4x150 SE | 49 | 53 | 0.027258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_561-8_0_4_line_55 | NAYY 4x150 SE | 49 | 54 | 0.178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_561-8_0_4_line_56 | NAYY 4x150 SE | 50 | 57 | 0.020246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_561-8_0_4_line_57 | NAYY 4x150 SE | 52 | 58 | 0.017103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_561-8_0_4_line_58 | NAYY 4x150 SE | 52 | 59 | 0.029595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_561-8_0_4_line_59 | NAYY 4x150 SE | 54 | 60 | 0.12565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_561-8_0_4_line_60 | NAYY 4x150 SE | 55 | 56 | 0.0095788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_561-8_0_4_line_61 | NAYY 4x150 SE | 56 | 61 | 0.0012972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_561-8_0_4_line_62 | NAYY 4x150 SE | 57 | 62 | 0.0031073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_561-8_0_4_line_63 | NAYY 4x150 SE | 58 | 82 | 0.0029858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_561-8_0_4_line_64 | NAYY 4x150 SE | 61 | 74 | 0.023464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_561-8_0_4_line_65 | NAYY 4x150 SE | 62 | 74 | 0.011195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_561-8_0_4_line_66 | NAYY 4x150 SE | 63 | 64 | 0.01269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_561-8_0_4_line_67 | NAYY 4x150 SE | 64 | 94 | 0.045433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_561-8_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.021804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_561-8_0_4_line_69 | NAYY 4x150 SE | 66 | 67 | 0.025013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_561-8_0_4_line_70 | NAYY 4x150 SE | 66 | 68 | 0.0043944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_561-8_0_4_line_71 | NAYY 4x150 SE | 67 | 69 | 0.0077396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_561-8_0_4_line_72 | NAYY 4x150 SE | 68 | 70 | 0.011878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_561-8_0_4_line_73 | NAYY 4x150 SE | 69 | 71 | 0.014628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_561-8_0_4_line_74 | NAYY 4x150 SE | 70 | 72 | 0.016799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_561-8_0_4_line_75 | NAYY 4x150 SE | 71 | 73 | 0.026627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_561-8_0_4_line_76 | NAYY 4x150 SE | 72 | 74 | 0.034535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_561-8_0_4_line_77 | NAYY 4x150 SE | 73 | 76 | 0.0057215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_561-8_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.0044332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_561-8_0_4_line_79 | NAYY 4x150 SE | 75 | 77 | 0.0049578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_561-8_0_4_line_80 | NAYY 4x150 SE | 77 | 78 | 0.013494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_561-8_0_4_line_81 | NAYY 4x150 SE | 78 | 79 | 0.012096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_561-8_0_4_line_82 | NAYY 4x150 SE | 79 | 80 | 0.0038142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_561-8_0_4_line_83 | NAYY 4x150 SE | 80 | 81 | 0.0019082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_561-8_0_4_line_84 | NAYY 4x150 SE | 83 | 84 | 0.11845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_561-8_0_4_line_85 | NAYY 4x150 SE | 84 | 85 | 0.01151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_561-8_0_4_line_86 | NAYY 4x150 SE | 84 | 86 | 0.14187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_561-8_0_4_line_87 | NAYY 4x150 SE | 84 | 87 | 0.012256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_561-8_0_4_line_88 | NAYY 4x150 SE | 85 | 91 | 0.028394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_561-8_0_4_line_89 | NAYY 4x150 SE | 86 | 92 | 0.026801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_561-8_0_4_line_90 | NAYY 4x150 SE | 88 | 89 | 0.14908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_561-8_0_4_line_91 | NAYY 4x150 SE | 89 | 90 | 0.050828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_561-8_0_4_line_92 | NAYY 4x150 SE | 90 | 93 | 0.044847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_561-8_0_4_line_93 | NAYY 4x150 SE | 93 | 94 | 0.00087636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_561-8_0_4_trafo_30 | 0.25 MVA 20/0.4 kV | 95 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2608784.0673 | 1148849.9639 | 2608794.1066 | 1148858.0945
1 | 2608784.0673 | 1148849.9639 | 2608781.992 | 1148848.2832 | 2608766.7119 | 1148838.4563 | 2608762.8804 | 1148833.3372 | 2608760.6543 | 1148817.0371 | 2608757.9857 | 1148812.63
2 | 2608756.5319 | 1148810.229 | 2608757.9857 | 1148812.63
3 | 2608737.2953 | 1148755.0064 | 2608741.016 | 1148757.135 | 2608741.8025 | 1148765.5181 | 2608743.4231 | 1148781.1058 | 2608750.1376 | 1148799.669 | 2608756.5319 | 1148810.229
4 | 2608737.2953 | 1148755.0064 | 2608484.3871 | 1148789.1405
5 | 2608484.3871 | 1148789.1405 | 2608485.0668 | 1148787.498 | 2608502.151 | 1148759.5082 | 2608506.3935 | 1148745.5073 | 2608506.8065 | 1148724.7199 | 2608503.3714 | 1148710.4859 | 2608502.2536 | 1148686.2503 | 2608499.1926 | 1148678.9091 | 2608494.0583 | 1148671.7873 | 2608486.3591 | 1148667.0027
6 | 2608552.4653 | 1148453.9355 | 2608486.3591 | 1148667.0027
7 | 2608752.9888 | 1148522.8618 | 2608752.1193 | 1148516.8669 | 2608748.9998 | 1148497.0193 | 2608747.2638 | 1148492.2034 | 2608745.5551 | 1148488.7576
8 | 2608716.4273 | 1148449.7494 | 2608720.1637 | 1148457.1473 | 2608735.0294 | 1148467.5293 | 2608741.053 | 1148475.553 | 2608742.5859 | 1148482.7698 | 2608745.5551 | 1148488.7576
9 | 2608716.4273 | 1148449.7494 | 2608704.0927 | 1148441.1831 | 2608686.2651 | 1148429.3851 | 2608677.8308 | 1148421.6077
10 | 2608716.4273 | 1148449.7494 | 2608722.2816 | 1148452.6926 | 2608733.3475 | 1148457.0995 | 2608748.066 | 1148463.0236 | 2608756.0212 | 1148468.0709 | 2608767.1862 | 1148479.0072
11 | 2608662.3634 | 1148407.3448 | 2608677.8308 | 1148421.6077
12 | 2608767.1862 | 1148479.0072 | 2608767.9211 | 1148479.7271 | 2608776.8338 | 1148491.611
13 | 2608457.8005 | 1148414.0663 | 2608482.4878 | 1148429.7084 | 2608515.4227 | 1148444.5283 | 2608552.4653 | 1148453.9355
14 | 2608546.8227 | 1148353.8322 | 2608552.4653 | 1148453.9355
15 | 2608510.5409 | 1148300.9068 | 2608508.3868 | 1148303.8608 | 2608508.1163 | 1148305.1277 | 2608508.4059 | 1148306.6289 | 2608509.0417 | 1148307.7192 | 2608546.8227 | 1148353.8322
16 | 2608510.5409 | 1148300.9068 | 2608523.8504 | 1148310.0189 | 2608543.4412 | 1148318.9619
17 | 2608510.5409 | 1148300.9068 | 2608500.0173 | 1148290.469
18 | 2608828.4853 | 1148589.8516 | 2608832.599 | 1148598.779 | 2608835.058 | 1148603.0606
19 | 2608816.6327 | 1148564.0833 | 2608824.1719 | 1148580.4912 | 2608828.4853 | 1148589.8516
20 | 2608843.5839 | 1148617.9062 | 2608835.058 | 1148603.0606
21 | 2608816.6327 | 1148564.0833 | 2608811.3093 | 1148552.5122
22 | 2608816.6327 | 1148564.0833 | 2608815.6142 | 1148572.8528 | 2608817.7761 | 1148590.9759 | 2608817.3796 | 1148594.3658 | 2608815.4234 | 1148598.4761 | 2608814.784 | 1148605.1674 | 2608816.2268 | 1148612.2976
23 | 2608851.3206 | 1148631.3775 | 2608843.5839 | 1148617.9062
24 | 2608811.3093 | 1148552.5122 | 2608809.2969 | 1148548.1381
25 | 2608851.3206 | 1148631.3775 | 2608853.4997 | 1148635.1717 | 2608860.1495 | 1148643.6063
26 | 2608807.7775 | 1148544.8355 | 2608809.2969 | 1148548.1381
27 | 2608863.1251 | 1148647.2965 | 2608860.8877 | 1148644.5426 | 2608860.1495 | 1148643.6063
28 | 2608803.8925 | 1148536.391 | 2608807.7775 | 1148544.8355
29 | 2608863.1251 | 1148647.2965 | 2608875.3261 | 1148662.3137
30 | 2608803.8925 | 1148536.391 | 2608803.5507 | 1148535.6481
31 | 2608784.2545 | 1148501.5056 | 2608784.2091 | 1148501.4451
32 | 2608776.8338 | 1148491.611 | 2608784.2091 | 1148501.4451
33 | 2608784.2545 | 1148501.5056 | 2608787.4095 | 1148505.7124
34 | 2608789.2795 | 1148509.1097 | 2608787.4095 | 1148505.7124 | 2608787.4095 | 1148505.7124
35 | 2608791.6648 | 1148513.4431 | 2608789.2795 | 1148509.1097
36 | 2608791.6648 | 1148513.4431 | 2608801.1498 | 1148530.6747
37 | 2608803.1423 | 1148534.7603 | 2608801.8374 | 1148531.9239 | 2608801.1498 | 1148530.6747
38 | 2608662.3634 | 1148407.3448 | 2608633.5376 | 1148380.7639 | 2608629.1312 | 1148377.1767
39 | 2608876.4331 | 1148663.6762 | 2608875.3261 | 1148662.3137
40 | 2608876.4331 | 1148663.6762 | 2608881.0317 | 1148669.3363
41 | 2608881.0317 | 1148669.3363 | 2608883.7786 | 1148672.7172
42 | 2608890.0268 | 1148680.4076 | 2608883.7786 | 1148672.7172
43 | 2608890.0268 | 1148680.4076 | 2608890.8738 | 1148681.4502
44 | 2608898.2589 | 1148690.5399 | 2608890.8738 | 1148681.4502
45 | 2608803.5507 | 1148535.6481 | 2608803.1423 | 1148534.7603
46 | 2609003.3564 | 1148727.3613 | 2609013.2805 | 1148750.4906
47 | 2608997.8001 | 1148714.4115 | 2609003.3564 | 1148727.3613
48 | 2608997.8001 | 1148714.4115 | 2608996.2335 | 1148716.1008
49 | 2608971.5186 | 1148682.9683 | 2608989.8723 | 1148691.2328 | 2609006.4377 | 1148704.2082 | 2608997.8001 | 1148714.4115
50 | 2608994.3855 | 1148630.0763 | 2609001.7854 | 1148631.3434 | 2609014.913 | 1148637.855 | 2609023.4648 | 1148644.1152 | 2609022.2468 | 1148657.6756 | 2609020.7322 | 1148674.526 | 2609017.6114 | 1148687.2498 | 2609009.5835 | 1148700.4999 | 2609006.4377 | 1148704.2082 | 2608997.8001 | 1148714.4115
51 | 2608984.0246 | 1148729.2662 | 2608996.2335 | 1148716.1008
52 | 2608968.8833 | 1148689.3675 | 2608971.5186 | 1148682.9683
53 | 2608968.8023 | 1148681.8304 | 2608971.5186 | 1148682.9683
54 | 2608971.9954 | 1148640.9151 | 2608976.1051 | 1148634.4291 | 2608983.8284 | 1148629.8717 | 2608989.9641 | 1148629.2471 | 2608994.3855 | 1148630.0763
55 | 2608994.3855 | 1148630.0763 | 2609001.7854 | 1148631.3434 | 2609014.913 | 1148637.855 | 2609023.4648 | 1148644.1152 | 2609022.7799 | 1148634.7874 | 2609019.0388 | 1148620.5526 | 2609006.4298 | 1148590.497 | 2608999.6064 | 1148568.1093 | 2608990.3668 | 1148549.253 | 2608975.5859 | 1148523.4852 | 2608972.4765 | 1148518.0446 | 2608968.602 | 1148510.8131
56 | 2608984.0246 | 1148729.2662 | 2608970.2583 | 1148744.111
57 | 2608968.8023 | 1148681.8304 | 2608953.0259 | 1148675.2261
58 | 2608968.8023 | 1148681.8304 | 2608974.8227 | 1148665.7092 | 2608976.6568 | 1148666.3678 | 2608980.2394 | 1148656.5641
59 | 2608968.602 | 1148510.8131 | 2608967.7731 | 1148495.0153 | 2608962.8508 | 1148479.7117 | 2608953.1601 | 1148464.5789 | 2608938.0077 | 1148450.961 | 2608919.106 | 1148438.8606 | 2608908.5391 | 1148434.5986 | 2608899.1643 | 1148434.2513 | 2608891.1454 | 1148436.1071 | 2608887.3046 | 1148435.1457
60 | 2608979.2061 | 1148770.8596 | 2608986.4297 | 1148777.1503
61 | 2608979.2061 | 1148770.8596 | 2608978.2279 | 1148770.0077
62 | 2608968.1454 | 1148746.3894 | 2608970.2583 | 1148744.111
63 | 2608953.821 | 1148672.3481 | 2608953.0259 | 1148675.2261
64 | 2608960.533 | 1148754.5982 | 2608978.2279 | 1148770.0077
65 | 2608960.533 | 1148754.5982 | 2608968.1454 | 1148746.3894
66 | 2608619.2901 | 1148369.1649 | 2608629.1312 | 1148377.1767
67 | 2608619.2901 | 1148369.1649 | 2608597.3984 | 1148351.3427 | 2608582.6467 | 1148342.4899
68 | 2608912.5619 | 1148706.9599 | 2608907.7011 | 1148702.1615 | 2608898.2589 | 1148690.5399
69 | 2608912.5619 | 1148706.9599 | 2608909.6025 | 1148709.2678 | 2608904.293 | 1148711.9835 | 2608899.9209 | 1148714.2338 | 2608895.3909 | 1148714.1493 | 2608889.8373 | 1148712.3156
70 | 2608912.5619 | 1148706.9599 | 2608915.6908 | 1148710.0454
71 | 2608889.8373 | 1148712.3156 | 2608889.2361 | 1148712.1171 | 2608885.0984 | 1148711.6441 | 2608882.3876 | 1148712.787
72 | 2608915.6908 | 1148710.0454 | 2608924.1484 | 1148718.3857
73 | 2608883.8179 | 1148725.9618 | 2608883.0375 | 1148724.2695 | 2608880.359 | 1148718.2738 | 2608880.4399 | 1148715.4503 | 2608881.9715 | 1148712.9624 | 2608882.3876 | 1148712.787
74 | 2608936.0952 | 1148730.1961 | 2608933.7302 | 1148727.8345 | 2608924.1484 | 1148718.3857
75 | 2608881.838 | 1148744.1177 | 2608884.8338 | 1148745.527 | 2608887.6988 | 1148744.7308 | 2608889.2077 | 1148742.0317 | 2608889.1988 | 1148737.6295 | 2608883.8179 | 1148725.9618
76 | 2608960.533 | 1148754.5982 | 2608936.0952 | 1148730.1961
77 | 2608881.838 | 1148744.1177 | 2608881.6573 | 1148744.0327 | 2608877.4036 | 1148740.5118
78 | 2608873.9886 | 1148737.6851 | 2608877.4036 | 1148740.5118
79 | 2608873.9886 | 1148737.6851 | 2608873.9886 | 1148737.6851 | 2608870.871 | 1148733.8302
80 | 2608862.0425 | 1148723.6296 | 2608865.8716 | 1148728.0685 | 2608868.777 | 1148731.241 | 2608870.871 | 1148733.8302
81 | 2608862.0425 | 1148723.6296 | 2608854.1413 | 1148714.4702
82 | 2608851.6499 | 1148711.582 | 2608854.1413 | 1148714.4702
83 | 2608850.4035 | 1148710.1372 | 2608851.6499 | 1148711.582
84 | 2608420.4593 | 1148259.8612 | 2608425.1078 | 1148141.4987
85 | 2608420.4593 | 1148259.8612 | 2608430.4383 | 1148265.5966
86 | 2608420.4593 | 1148259.8612 | 2608401.9446 | 1148244.3614 | 2608387.645 | 1148234.7147 | 2608464.4916 | 1148263.1018 | 2608480.9887 | 1148271.5956
87 | 2608420.4593 | 1148259.8612 | 2608413.0533 | 1148257.083 | 2608411.5561 | 1148261.1625
88 | 2608455.2392 | 1148279.4191 | 2608439.8093 | 1148270.9824 | 2608430.4383 | 1148265.5966
89 | 2608480.9887 | 1148271.5956 | 2608500.0173 | 1148290.469
90 | 2608505.081 | 1148285.8112 | 2608615.1268 | 1148185.2347
91 | 2608543.4412 | 1148318.9619 | 2608512.8227 | 1148294.5069 | 2608505.081 | 1148285.8112
92 | 2608543.4412 | 1148318.9619 | 2608581.8953 | 1148342.039
93 | 2608581.8953 | 1148342.039 | 2608582.6467 | 1148342.4899

## bus_geodata
| x | y | coords
0 | 2608784.0673 | 1148849.9639
1 | 2608794.1066 | 1148858.0945
2 | 2608757.9857 | 1148812.63
3 | 2608756.5319 | 1148810.229
4 | 2608737.2953 | 1148755.0064
5 | 2608484.3871 | 1148789.1405
6 | 2608486.3591 | 1148667.0027
7 | 2608752.9888 | 1148522.8618
8 | 2608745.5551 | 1148488.7576
9 | 2608716.4273 | 1148449.7494
10 | 2608677.8308 | 1148421.6077
11 | 2608767.1862 | 1148479.0072
12 | 2608552.4653 | 1148453.9355
13 | 2608457.8005 | 1148414.0663
14 | 2608546.8227 | 1148353.8322
15 | 2608510.5409 | 1148300.9068
16 | 2608828.4853 | 1148589.8516
17 | 2608835.058 | 1148603.0606
18 | 2608816.6327 | 1148564.0833
19 | 2608843.5839 | 1148617.9062
20 | 2608811.3093 | 1148552.5122
21 | 2608816.2268 | 1148612.2976
22 | 2608851.3206 | 1148631.3775
23 | 2608809.2969 | 1148548.1381
24 | 2608860.1495 | 1148643.6063
25 | 2608807.7775 | 1148544.8355
26 | 2608863.1251 | 1148647.2965
27 | 2608803.8925 | 1148536.391
28 | 2608784.2091 | 1148501.4451
29 | 2608784.2545 | 1148501.5056
30 | 2608776.8338 | 1148491.611
31 | 2608787.4095 | 1148505.7124
32 | 2608789.2795 | 1148509.1097
33 | 2608791.6648 | 1148513.4431
34 | 2608801.1498 | 1148530.6747
35 | 2608662.3634 | 1148407.3448
36 | 2608875.3261 | 1148662.3137
37 | 2608876.4331 | 1148663.6762
38 | 2608881.0317 | 1148669.3363
39 | 2608883.7786 | 1148672.7172
40 | 2608890.0268 | 1148680.4076
41 | 2608890.8738 | 1148681.4502
42 | 2608803.5507 | 1148535.6481
43 | 2608803.1423 | 1148534.7603
44 | 2609003.3564 | 1148727.3613
45 | 2609013.2805 | 1148750.4906
46 | 2608997.8001 | 1148714.4115
47 | 2608996.2335 | 1148716.1008
48 | 2608971.5186 | 1148682.9683
49 | 2608994.3855 | 1148630.0763
50 | 2608984.0246 | 1148729.2662
51 | 2608968.8833 | 1148689.3675
52 | 2608968.8023 | 1148681.8304
53 | 2608971.9954 | 1148640.9151
54 | 2608968.602 | 1148510.8131
55 | 2608986.4297 | 1148777.1503
56 | 2608979.2061 | 1148770.8596
57 | 2608970.2583 | 1148744.111
58 | 2608953.0259 | 1148675.2261
59 | 2608980.2394 | 1148656.5641
60 | 2608887.3046 | 1148435.1457
61 | 2608978.2279 | 1148770.0077
62 | 2608968.1454 | 1148746.3894
63 | 2608629.1312 | 1148377.1767
64 | 2608619.2901 | 1148369.1649
65 | 2608898.2589 | 1148690.5399
66 | 2608912.5619 | 1148706.9599
67 | 2608889.8373 | 1148712.3156
68 | 2608915.6908 | 1148710.0454
69 | 2608882.3876 | 1148712.787
70 | 2608924.1484 | 1148718.3857
71 | 2608883.8179 | 1148725.9618
72 | 2608936.0952 | 1148730.1961
73 | 2608881.838 | 1148744.1177
74 | 2608960.533 | 1148754.5982
75 | 2608873.9886 | 1148737.6851
76 | 2608877.4036 | 1148740.5118
77 | 2608870.871 | 1148733.8302
78 | 2608862.0425 | 1148723.6296
79 | 2608854.1413 | 1148714.4702
80 | 2608851.6499 | 1148711.582
81 | 2608850.4035 | 1148710.1372
82 | 2608953.821 | 1148672.3481
83 | 2608425.1078 | 1148141.4987
84 | 2608420.4593 | 1148259.8612
85 | 2608430.4383 | 1148265.5966
86 | 2608480.9887 | 1148271.5956
87 | 2608411.5561 | 1148261.1625
88 | 2608615.1268 | 1148185.2347
89 | 2608505.081 | 1148285.8112
90 | 2608543.4412 | 1148318.9619
91 | 2608455.2392 | 1148279.4191
92 | 2608500.0173 | 1148290.469
93 | 2608581.8953 | 1148342.039
94 | 2608582.6467 | 1148342.4899
95 | 2608912.5619 | 1148706.9599

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1