## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_562-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_562-11_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_562-11_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_562-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_562-11_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_562-11_0_3_node_93 | 0.4 | n |  | TRUE
6 | bus_LV_562-11_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_562-11_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_562-11_0_3_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_562-11_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_562-11_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_562-11_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_562-11_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_562-11_0_3_node_83 | 0.4 | n |  | TRUE
14 | bus_LV_562-11_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_562-11_0_3_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_562-11_0_3_node_91 | 0.4 | n |  | TRUE
17 | bus_LV_562-11_0_3_node_68 | 0.4 | n |  | TRUE
18 | bus_LV_562-11_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_562-11_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_562-11_0_3_node_81 | 0.4 | n |  | TRUE
21 | bus_LV_562-11_0_3_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_562-11_0_3_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_562-11_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_562-11_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_562-11_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_562-11_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_562-11_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_562-11_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_562-11_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_562-11_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_562-11_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_562-11_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_562-11_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_562-11_0_3_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_562-11_0_3_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_562-11_0_3_node_95 | 0.4 | n |  | TRUE
37 | bus_LV_562-11_0_3_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_562-11_0_3_node_85 | 0.4 | n |  | TRUE
39 | bus_LV_562-11_0_3_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_562-11_0_3_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_562-11_0_3_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_562-11_0_3_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_562-11_0_3_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_562-11_0_3_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_562-11_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_562-11_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_562-11_0_3_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_562-11_0_3_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_562-11_0_3_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_562-11_0_3_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_562-11_0_3_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_562-11_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_562-11_0_3_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_562-11_0_3_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_562-11_0_3_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_562-11_0_3_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_562-11_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_562-11_0_3_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_562-11_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_562-11_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_562-11_0_3_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_562-11_0_3_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_562-11_0_3_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_562-11_0_3_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_562-11_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_562-11_0_3_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_562-11_0_3_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_562-11_0_3_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_562-11_0_3_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_562-11_0_3_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_562-11_0_3_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_562-11_0_3_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_562-11_0_3_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_562-11_0_3_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_562-11_0_3_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_562-11_0_3_node_45 | 0.4 | n |  | TRUE
77 | bus_LV_562-11_0_3_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_562-11_0_3_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_562-11_0_3_node_48 | 0.4 | n |  | TRUE
80 | bus_LV_562-11_0_3_node_53 | 0.4 | n |  | TRUE
81 | bus_LV_562-11_0_3_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_562-11_0_3_node_54 | 0.4 | n |  | TRUE
83 | bus_LV_562-11_0_3_node_56 | 0.4 | n |  | TRUE
84 | bus_LV_562-11_0_3_node_58 | 0.4 | n |  | TRUE
85 | bus_LV_562-11_0_3_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_562-11_0_3_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_562-11_0_3_node_60 | 0.4 | n |  | TRUE
88 | bus_LV_562-11_0_3_node_61 | 0.4 | n |  | TRUE
89 | bus_LV_562-11_0_3_node_62 | 0.4 | n |  | TRUE
90 | bus_LV_562-11_0_3_node_63 | 0.4 | n |  | TRUE
91 | bus_LV_562-11_0_3_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_562-11_0_3_node_67 | 0.4 | n |  | TRUE
93 | bus_LV_562-11_0_3_node_69 | 0.4 | n |  | TRUE
94 | bus_LV_562-11_0_3_node_73 | 0.4 | n |  | TRUE
95 | bus_MV_80_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_562-11_0_3_load_0 | 0 | 0.00084136 | 0.00021086 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_562-11_0_3_load_9 | 4 | 0.00069174 | 0.00017337 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_562-11_0_3_load_93 | 5 | 0.00045367 | 0.0001137 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_562-11_0_3_load_22 | 9 | 0.00071388 | 0.00017892 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_562-11_0_3_load_10 | 10 | 0.0058435 | 0.0014645 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_562-11_0_3_load_83 | 13 | 0.012053 | 0.0030208 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_562-11_0_3_load_82 | 15 | 0.0025284 | 0.00063368 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_562-11_0_3_load_21 | 18 | 0.00059063 | 0.00014803 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_562-11_0_3_load_81 | 20 | 0.008736 | 0.0021895 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_562-11_0_3_load_75 | 21 | 0.0067987 | 0.0017039 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_562-11_0_3_load_74 | 22 | 0.0043362 | 0.0010867 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_562-11_0_3_load_13 | 23 | 0.00055249 | 0.00013847 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_562-11_0_3_load_14 | 24 | 0.00053262 | 0.00013349 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_562-11_0_3_load_15 | 25 | 0.0011024 | 0.00027629 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_562-11_0_3_load_23 | 27 | 0.0013403 | 0.0003359 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_562-11_0_3_load_19 | 28 | 0.007316 | 0.0018336 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_562-11_0_3_load_17 | 30 | 0.0037844 | 0.00094847 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_562-11_0_3_load_18 | 31 | 0.0023465 | 0.00058809 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_562-11_0_3_load_20 | 32 | 0.0017036 | 0.00042697 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_562-11_0_3_load_26 | 33 | 0.00066336 | 0.00016625 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_562-11_0_3_load_66 | 35 | 0.0051111 | 0.001281 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_562-11_0_3_load_95 | 36 | 0.0016926 | 0.00042422 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_562-11_0_3_load_84 | 37 | 0.00061043 | 0.00015299 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_562-11_0_3_load_85 | 38 | 0.00065883 | 0.00016512 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_562-11_0_3_load_86 | 39 | 0.0019234 | 0.00048206 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_562-11_0_3_load_87 | 40 | 0.0016464 | 0.00041264 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_562-11_0_3_load_89 | 42 | 0.00014047 | 3.5204e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_562-11_0_3_load_90 | 43 | 0.00059179 | 0.00014832 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_562-11_0_3_load_92 | 44 | 0.00087362 | 0.00021895 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_562-11_0_3_load_27 | 45 | 0.0015868 | 0.00039769 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_562-11_0_3_load_28 | 46 | 0.0022495 | 0.00056378 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_562-11_0_3_load_29 | 47 | 0.0032781 | 0.00082158 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_562-11_0_3_load_30 | 48 | 0.0021012 | 0.0005266 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_562-11_0_3_load_51 | 49 | 0.0024888 | 0.00062375 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_562-11_0_3_load_52 | 50 | 0.0084607 | 0.0021204 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_562-11_0_3_load_31 | 51 | 0.00046037 | 0.00011538 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_562-11_0_3_load_32 | 52 | 0.0025882 | 0.00064866 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_562-11_0_3_load_34 | 54 | 0.0019747 | 0.00049491 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_562-11_0_3_load_35 | 55 | 0.00030824 | 7.7251e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_562-11_0_3_load_36 | 56 | 0.00034437 | 8.6308e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_562-11_0_3_load_42 | 59 | 0.00021819 | 5.4684e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_562-11_0_3_load_41 | 61 | 0.001703 | 0.00042681 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_562-11_0_3_load_37 | 62 | 0.0046562 | 0.001167 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_562-11_0_3_load_71 | 63 | 0.00016786 | 4.207e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_562-11_0_3_load_72 | 64 | 0.00030895 | 7.7431e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_562-11_0_3_load_50 | 65 | 0.00067796 | 0.00016991 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_562-11_0_3_load_47 | 66 | 0.0002571 | 6.4434e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_562-11_0_3_load_38 | 67 | 0.0017829 | 0.00044683 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_562-11_0_3_load_40 | 68 | 0.002036 | 0.00051027 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_562-11_0_3_load_79 | 69 | 0.0022564 | 0.00056552 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_562-11_0_3_load_78 | 70 | 0.005746 | 0.0014401 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_562-11_0_3_load_46 | 72 | 0.00094113 | 0.00023587 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_562-11_0_3_load_77 | 73 | 0.00036157 | 9.0617e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_562-11_0_3_load_76 | 74 | 0.00049961 | 0.00012521 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_562-11_0_3_load_44 | 75 | 0.0013554 | 0.00033969 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_562-11_0_3_load_45 | 76 | 0.0053565 | 0.0013425 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_562-11_0_3_load_94 | 77 | 0.0046867 | 0.0011746 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_562-11_0_3_load_59 | 78 | 0.0059066 | 0.0014803 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_562-11_0_3_load_48 | 79 | 0.0004395 | 0.00011015 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_562-11_0_3_load_53 | 80 | 0.0067293 | 0.0016865 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_562-11_0_3_load_54 | 82 | 0.0027305 | 0.00068433 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_562-11_0_3_load_58 | 84 | 0.0085144 | 0.0021339 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_562-11_0_3_load_64 | 85 | 0.0046118 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_562-11_0_3_load_65 | 86 | 0.00372 | 0.00093232 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_562-11_0_3_load_60 | 87 | 0.00018044 | 4.5224e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_562-11_0_3_load_62 | 89 | 0.00043813 | 0.00010981 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_562-11_0_3_load_63 | 90 | 0.00043779 | 0.00010972 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_562-11_0_3_load_80 | 91 | 0.00043786 | 0.00010974 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_562-11_0_3_load_67 | 92 | 0.0051184 | 0.0012828 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_562-11_0_3_load_69 | 93 | 0.0051483 | 0.0012903 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_562-11_0_3_load_73 | 94 | 0.0049228 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_562-11_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_562-11_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.018139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_562-11_0_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.032064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_562-11_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0049685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_562-11_0_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.018154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_562-11_0_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.20403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_562-11_0_3_line_6 | NAYY 4x150 SE | 5 | 16 | 0.19068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_562-11_0_3_line_7 | NAYY 4x150 SE | 6 | 10 | 0.04862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_562-11_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.064498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_562-11_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.013703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_562-11_0_3_line_10 | NAYY 4x150 SE | 8 | 17 | 0.014947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_562-11_0_3_line_11 | NAYY 4x150 SE | 9 | 18 | 0.020888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_562-11_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.012395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_562-11_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.007204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_562-11_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.045863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_562-11_0_3_line_15 | NAYY 4x150 SE | 12 | 19 | 0.029532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_562-11_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.017188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_562-11_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.012228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_562-11_0_3_line_18 | NAYY 4x150 SE | 15 | 20 | 0.0016055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_562-11_0_3_line_19 | NAYY 4x150 SE | 16 | 41 | 0.002601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_562-11_0_3_line_20 | NAYY 4x150 SE | 17 | 34 | 0.007452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_562-11_0_3_line_21 | NAYY 4x150 SE | 17 | 35 | 0.0094323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_562-11_0_3_line_22 | NAYY 4x150 SE | 18 | 32 | 0.035046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_562-11_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.025086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_562-11_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.019794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_562-11_0_3_line_25 | NAYY 4x150 SE | 22 | 94 | 0.021341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_562-11_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.14005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_562-11_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.074452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_562-11_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_562-11_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.0078695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_562-11_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.018917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_562-11_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.086272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_562-11_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.041532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_562-11_0_3_line_33 | NAYY 4x150 SE | 29 | 33 | 0.021235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_562-11_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.031044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_562-11_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.0064858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_562-11_0_3_line_36 | NAYY 4x150 SE | 33 | 36 | 0.0098037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_562-11_0_3_line_37 | NAYY 4x150 SE | 34 | 70 | 0.023761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_562-11_0_3_line_38 | NAYY 4x150 SE | 34 | 81 | 0.018728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_562-11_0_3_line_39 | NAYY 4x150 SE | 35 | 92 | 0.024987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_562-11_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.069186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_562-11_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.009223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_562-11_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.04275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_562-11_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.012965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_562-11_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.14421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_562-11_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.13799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_562-11_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.032362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_562-11_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0010459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_562-11_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.016073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_562-11_0_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0071804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_562-11_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.01761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_562-11_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0061674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_562-11_0_3_line_52 | NAYY 4x150 SE | 50 | 80 | 0.015134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_562-11_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.07407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_562-11_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0081333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_562-11_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.029664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_562-11_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.096112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_562-11_0_3_line_57 | NAYY 4x150 SE | 53 | 56 | 0.0095765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_562-11_0_3_line_58 | NAYY 4x150 SE | 54 | 57 | 0.0073561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_562-11_0_3_line_59 | NAYY 4x150 SE | 55 | 58 | 0.018351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_562-11_0_3_line_60 | NAYY 4x150 SE | 55 | 59 | 0.11242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_562-11_0_3_line_61 | NAYY 4x150 SE | 56 | 60 | 0.053804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_562-11_0_3_line_62 | NAYY 4x150 SE | 57 | 61 | 0.017058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_562-11_0_3_line_63 | NAYY 4x150 SE | 57 | 62 | 0.060091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_562-11_0_3_line_64 | NAYY 4x150 SE | 58 | 63 | 0.061158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_562-11_0_3_line_65 | NAYY 4x150 SE | 58 | 64 | 0.0076242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_562-11_0_3_line_66 | NAYY 4x150 SE | 60 | 65 | 0.015045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_562-11_0_3_line_67 | NAYY 4x150 SE | 60 | 66 | 0.012725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_562-11_0_3_line_68 | NAYY 4x150 SE | 61 | 69 | 0.02145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_562-11_0_3_line_69 | NAYY 4x150 SE | 62 | 67 | 0.0024925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_562-11_0_3_line_70 | NAYY 4x150 SE | 63 | 74 | 0.051829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_562-11_0_3_line_71 | NAYY 4x150 SE | 64 | 91 | 0.0072734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_562-11_0_3_line_72 | NAYY 4x150 SE | 66 | 79 | 0.028089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_562-11_0_3_line_73 | NAYY 4x150 SE | 67 | 68 | 0.024707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_562-11_0_3_line_74 | NAYY 4x150 SE | 69 | 70 | 0.040213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_562-11_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.081154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_562-11_0_3_line_76 | NAYY 4x150 SE | 71 | 73 | 0.10161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_562-11_0_3_line_77 | NAYY 4x150 SE | 73 | 74 | 0.0063258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_562-11_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.011358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_562-11_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.035959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_562-11_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.041143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_562-11_0_3_line_81 | NAYY 4x150 SE | 78 | 83 | 0.026406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_562-11_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.050384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_562-11_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.036212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_562-11_0_3_line_84 | NAYY 4x150 SE | 82 | 83 | 0.0062897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_562-11_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.020688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_562-11_0_3_line_86 | NAYY 4x150 SE | 84 | 85 | 0.010745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_562-11_0_3_line_87 | NAYY 4x150 SE | 85 | 86 | 0.1471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_562-11_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.02009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_562-11_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.018187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_562-11_0_3_line_90 | NAYY 4x150 SE | 88 | 90 | 0.016238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_562-11_0_3_line_91 | NAYY 4x150 SE | 89 | 91 | 0.022367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_562-11_0_3_line_92 | NAYY 4x150 SE | 92 | 93 | 0.032857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_562-11_0_3_line_93 | NAYY 4x150 SE | 93 | 94 | 0.024837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_562-11_0_3_trafo_78 | 0.25 MVA 20/0.4 kV | 95 | 70 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2619521.8956 | 1167618.0557 | 2619508.2471 | 1167626.5404
1 | 2619521.8956 | 1167618.0557 | 2619531.8032 | 1167602.8468
2 | 2619561.0672 | 1167616.1373 | 2619531.8032 | 1167602.8468
3 | 2619531.8032 | 1167602.8468 | 2619527.2806 | 1167600.7898
4 | 2619510.7551 | 1167593.2738 | 2619527.2806 | 1167600.7898
5 | 2619510.7551 | 1167593.2738 | 2619389.5784 | 1167429.1202
6 | 2619264.1321 | 1167285.5143 | 2619389.5784 | 1167429.1202
7 | 2619561.0672 | 1167616.1373 | 2619580.1318 | 1167626.0264 | 2619595.0793 | 1167635.6576 | 2619601.8455 | 1167642.1267
8 | 2619482.1537 | 1167682.6929 | 2619499.3048 | 1167713.8419 | 2619512.5052 | 1167731.1266 | 2619516.9106 | 1167736.866
9 | 2619482.1537 | 1167682.6929 | 2619470.4705 | 1167689.8544
10 | 2619526.0184 | 1167748.7348 | 2619516.9106 | 1167736.866
11 | 2619452.6321 | 1167700.7218 | 2619461.6236 | 1167695.2774 | 2619470.4705 | 1167689.8544
12 | 2619611.5438 | 1167649.4959 | 2619611.4442 | 1167649.5289 | 2619608.1346 | 1167648.1397 | 2619601.8455 | 1167642.1267
13 | 2619611.5438 | 1167649.4959 | 2619607.7739 | 1167650.7843 | 2619604.7089 | 1167651.8304
14 | 2619604.7089 | 1167651.8304 | 2619601.0203 | 1167658.6997 | 2619593.5526 | 1167667.313 | 2619584.7648 | 1167677.0894 | 2619579.0598 | 1167680.3058 | 2619572.7981 | 1167680.5745 | 2619572.1452 | 1167680.8379
15 | 2619637.6926 | 1167636.8414 | 2619624.3933 | 1167640.5444 | 2619614.057 | 1167648.6704 | 2619611.5438 | 1167649.4959
16 | 2619556.5704 | 1167688.0811 | 2619566.8125 | 1167682.9896 | 2619572.1452 | 1167680.8379
17 | 2619556.5704 | 1167688.0811 | 2619553.9917 | 1167690.2183 | 2619549.2181 | 1167694.1937 | 2619547.5539 | 1167696.2778
18 | 2619546.5522 | 1167697.5324 | 2619547.5539 | 1167696.2778
19 | 2619264.1321 | 1167285.5143 | 2619261.6268 | 1167286.24
20 | 2619526.0184 | 1167748.7348 | 2619520.5982 | 1167753.8643
21 | 2619526.0184 | 1167748.7348 | 2619533.1593 | 1167742.5724
22 | 2619452.6321 | 1167700.7218 | 2619451.47 | 1167701.4255 | 2619437.9001 | 1167710.7753 | 2619431.4679 | 1167711.6883 | 2619425.0669 | 1167712.4125 | 2619420.972 | 1167711.2033
23 | 2619637.6926 | 1167636.8414 | 2619621.121 | 1167655.674
24 | 2619621.121 | 1167655.674 | 2619608.0454 | 1167670.5337
25 | 2619593.5242 | 1167686.1599 | 2619600.2565 | 1167679.3854 | 2619608.0454 | 1167670.5337
26 | 2619234.0124 | 1167757.6113 | 2619234.0124 | 1167757.6113 | 2619216.0888 | 1167766.7143 | 2619206.8902 | 1167773.5106 | 2619191.0729 | 1167784.5769 | 2619172.1226 | 1167803.6929 | 2619153.6367 | 1167821.1873 | 2619139.5572 | 1167834.5827 | 2619124.736 | 1167843.6993
27 | 2619297.5723 | 1167718.9033 | 2619259.5841 | 1167740.7512 | 2619234.0124 | 1167757.6113
28 | 2619328.4433 | 1167703.2972 | 2619301.7962 | 1167716.474 | 2619297.5723 | 1167718.9033
29 | 2619328.4433 | 1167703.2972 | 2619325.5016 | 1167699.3413 | 2619323.8238 | 1167696.9275
30 | 2619328.4433 | 1167703.2972 | 2619343.4763 | 1167705.4132 | 2619347.1417 | 1167704.6888
31 | 2619252.9928 | 1167650.1845 | 2619259.3472 | 1167652.0613 | 2619296.6427 | 1167671.835 | 2619305.054 | 1167676.7422 | 2619312.4125 | 1167682.9356 | 2619320.8008 | 1167692.5784 | 2619323.8238 | 1167696.9275
32 | 2619388.0047 | 1167697.4391 | 2619383.7911 | 1167697.7055 | 2619363.7337 | 1167701.4096 | 2619347.1417 | 1167704.6888
33 | 2619252.9928 | 1167650.1845 | 2619247.8451 | 1167656.3045 | 2619240.8394 | 1167661.8293 | 2619238.1337 | 1167665.1914
34 | 2619388.0047 | 1167697.4391 | 2619393.1614 | 1167697.1131 | 2619402.7588 | 1167699.6453 | 2619409.3246 | 1167702.4012 | 2619414.7517 | 1167709.3666
35 | 2619414.7517 | 1167709.3666 | 2619414.7517 | 1167709.3666 | 2619420.972 | 1167711.2033
36 | 2619231.987 | 1167672.8288 | 2619238.1337 | 1167665.1914
37 | 2619520.5982 | 1167753.8643 | 2619512.3289 | 1167761.9416 | 2619503.7614 | 1167770.6294
38 | 2619526.6714 | 1167771.5818 | 2619520.5982 | 1167753.8643
39 | 2619533.1593 | 1167742.5724 | 2619552.0763 | 1167726.2473
40 | 2619240.3294 | 1167292.4631 | 2619215.4124 | 1167299.7437 | 2619189.14 | 1167310.1653 | 2619175.6776 | 1167316.6971
41 | 2619240.3294 | 1167292.4631 | 2619249.1822 | 1167289.8763
42 | 2619175.6776 | 1167316.6971 | 2619151.3993 | 1167328.4767 | 2619137.5661 | 1167336.0378
43 | 2619261.6268 | 1167286.24 | 2619249.1822 | 1167289.8763
44 | 2619137.5661 | 1167336.0378 | 2619117.631 | 1167346.9343 | 2619061.6028 | 1167382.7526 | 2619018.8119 | 1167415.3894 | 2619017.9165 | 1167416.1568
45 | 2619261.6268 | 1167286.24 | 2619258.0742 | 1167281.7486 | 2619247.4987 | 1167273.6664 | 2619229.6376 | 1167260.3248 | 2619222.8518 | 1167254.3891 | 2619220.2433 | 1167249.0559 | 2619216.323 | 1167242.2511 | 2619207.7863 | 1167235.6761 | 2619201.4673 | 1167234.5443 | 2619187.2173 | 1167233.7207 | 2619178.1856 | 1167228.745 | 2619160.4159 | 1167220.262 | 2619148.8086 | 1167215.9525
46 | 2618994.611 | 1167438.4836 | 2619002.2569 | 1167429.5777 | 2619017.9165 | 1167416.1568
47 | 2619616.2601 | 1167785.5044 | 2619615.3413 | 1167785.0046
48 | 2619630.3787 | 1167793.1852 | 2619616.2601 | 1167785.5044
49 | 2619615.3413 | 1167785.0046 | 2619610.7051 | 1167782.4824 | 2619609.1272 | 1167781.4193
50 | 2619594.5222 | 1167771.5798 | 2619609.1272 | 1167781.4193
51 | 2619594.5222 | 1167771.5798 | 2619594.5222 | 1167771.5798 | 2619588.5806 | 1167769.9263
52 | 2619573.6578 | 1167771.1358 | 2619580.3695 | 1167769.4883 | 2619588.5806 | 1167769.9263 | 2619588.5806 | 1167769.9263
53 | 2619383.587 | 1167916.9358 | 2619387.0929 | 1167913.1691 | 2619414.1583 | 1167883.9637 | 2619427.2876 | 1167868.7095 | 2619432.4658 | 1167861.3735
54 | 2619378.0456 | 1167922.8893 | 2619383.587 | 1167916.9358
55 | 2619449.5411 | 1167837.1172 | 2619448.7394 | 1167838.3189 | 2619432.4658 | 1167861.3735
56 | 2619378.0456 | 1167922.8893 | 2619367.1783 | 1167934.5603 | 2619347.718 | 1167952.7736 | 2619333.4268 | 1167965.3007 | 2619319.7021 | 1167975.4507 | 2619305.1196 | 1167985.0096
57 | 2619378.0456 | 1167922.8893 | 2619368.5366 | 1167921.7545
58 | 2619453.6232 | 1167830.9977 | 2619449.5411 | 1167837.1172
59 | 2619289.3717 | 1167994.4186 | 2619295.4747 | 1167991.0365 | 2619303.3658 | 1167986.1593 | 2619305.1196 | 1167985.0096
60 | 2619305.1196 | 1167985.0096 | 2619389.1404 | 1168059.6985
61 | 2619318.4799 | 1167910.2806 | 2619324.8262 | 1167914.6031 | 2619332.6068 | 1167920.3532 | 2619337.3237 | 1167922.0025 | 2619344.3005 | 1167923.0477 | 2619351.6957 | 1167922.46 | 2619357.6541 | 1167921.2563 | 2619366.2713 | 1167921.4841 | 2619368.5366 | 1167921.7545
62 | 2619453.6232 | 1167830.9977 | 2619459.2453 | 1167822.556 | 2619463.0789 | 1167816.8005
63 | 2619453.6232 | 1167830.9977 | 2619446.0138 | 1167831.4956 | 2619441.4757 | 1167838.44 | 2619438.5814 | 1167843.5443 | 2619434.8676 | 1167848.8461 | 2619428.2002 | 1167853.905 | 2619423.268 | 1167854.9118 | 2619417.6128 | 1167852.27 | 2619412.0722 | 1167852.0521 | 2619408.5762 | 1167853.8862 | 2619406.4665 | 1167855.5571
64 | 2619289.3717 | 1167994.4186 | 2619290.2722 | 1168000.0243 | 2619288.8222 | 1168003.4992 | 2619277.6791 | 1168022.4954 | 2619269.6331 | 1168035.1538 | 2619261.6671 | 1168047.5
65 | 2619289.3717 | 1167994.4186 | 2619282.885 | 1167998.0997 | 2619282.74 | 1167998.1802
66 | 2619318.4799 | 1167910.2806 | 2619305.9857 | 1167901.8474
67 | 2619318.4799 | 1167910.2806 | 2619316.0043 | 1167913.7522 | 2619310.1484 | 1167919.8597
68 | 2619463.0789 | 1167816.8005 | 2619469.2052 | 1167807.6029 | 2619476.2625 | 1167799.9656
69 | 2619406.4665 | 1167855.5571 | 2619404.5127 | 1167857.1047
70 | 2619237.1108 | 1168089.2807 | 2619236.7202 | 1168088.8423 | 2619235.1853 | 1168085.3801 | 2619234.9974 | 1168081.9 | 2619236.4429 | 1168077.4135 | 2619241.3958 | 1168069.8477 | 2619249.2214 | 1168061.4907 | 2619260.1417 | 1168049.8642 | 2619261.6671 | 1168047.5
71 | 2619282.74 | 1167998.1802 | 2619276.3792 | 1168001.7076
72 | 2619291.0752 | 1167940.4747 | 2619300.5537 | 1167929.8664 | 2619310.1484 | 1167919.8597
73 | 2619391.9006 | 1167875.5966 | 2619391.0727 | 1167870.4048 | 2619392.1094 | 1167866.9286 | 2619404.5127 | 1167857.1047
74 | 2619503.7614 | 1167770.6294 | 2619497.5545 | 1167776.9235 | 2619476.2625 | 1167799.9656
75 | 2619333.9559 | 1168205.8125 | 2619331.1956 | 1168207.4044 | 2619324.6259 | 1168208.4061 | 2619318.971 | 1168205.7644 | 2619314.5907 | 1168201.8261 | 2619311.8168 | 1168195.7142 | 2619312.0425 | 1168189.7786 | 2619315.3408 | 1168185.0868 | 2619322.5488 | 1168178.362 | 2619330.5751 | 1168171.8289 | 2619329.5692 | 1168165.6893 | 2619324.6918 | 1168152.0779
76 | 2619241.3187 | 1168094.0041 | 2619324.6918 | 1168152.0779
77 | 2619241.3187 | 1168094.0041 | 2619237.1108 | 1168089.2807
78 | 2619491.6095 | 1167906.7578 | 2619485.9478 | 1167916.6037
79 | 2619509.535 | 1167875.5849 | 2619491.6095 | 1167906.7578
80 | 2619524.0629 | 1167837.206 | 2619512.9905 | 1167869.5757 | 2619509.535 | 1167875.5849
81 | 2619532.6091 | 1167812.2215 | 2619524.0629 | 1167837.206
82 | 2619526.6714 | 1167771.5818 | 2619532.0947 | 1167777.3134 | 2619538.6653 | 1167778.5575 | 2619550.7794 | 1167776.7514 | 2619573.6578 | 1167771.1358
83 | 2619526.6714 | 1167771.5818 | 2619535.5051 | 1167794.811 | 2619533.6411 | 1167806.017
84 | 2619532.6091 | 1167812.2215 | 2619533.6411 | 1167806.017
85 | 2619532.6091 | 1167812.2215 | 2619543.1041 | 1167830.0499
86 | 2619543.1041 | 1167830.0499 | 2619548.5552 | 1167839.31
87 | 2619548.5552 | 1167839.31 | 2619552.0952 | 1167845.3236 | 2619557.0121 | 1167851.387 | 2619562.5932 | 1167855.6295 | 2619571.5453 | 1167861.1725 | 2619594.5323 | 1167874.3538 | 2619608.0675 | 1167885.0255 | 2619617.8971 | 1167896.0408 | 2619624.9886 | 1167911.1937 | 2619628.3705 | 1167923.233 | 2619637.102 | 1167947.1069 | 2619637.6917 | 1167948.617
88 | 2619238.8097 | 1168016.9128 | 2619220.4571 | 1168025.0862
89 | 2619238.8097 | 1168016.9128 | 2619255.7332 | 1168010.2522
90 | 2619233.0416 | 1168001.7312 | 2619238.8097 | 1168016.9128
91 | 2619255.7332 | 1168010.2522 | 2619273.7765 | 1168003.1509 | 2619276.3792 | 1168001.7076
92 | 2619552.0763 | 1167726.2473 | 2619563.3896 | 1167716.4842 | 2619576.0168 | 1167703.7776
93 | 2619576.0168 | 1167703.7776 | 2619593.5242 | 1167686.1599

## bus_geodata
| x | y | coords
0 | 2619508.2471 | 1167626.5404
1 | 2619521.8956 | 1167618.0557
2 | 2619531.8032 | 1167602.8468
3 | 2619510.7551 | 1167593.2738
4 | 2619527.2806 | 1167600.7898
5 | 2619389.5784 | 1167429.1202
6 | 2619561.0672 | 1167616.1373
7 | 2619482.1537 | 1167682.6929
8 | 2619516.9106 | 1167736.866
9 | 2619470.4705 | 1167689.8544
10 | 2619601.8455 | 1167642.1267
11 | 2619604.7089 | 1167651.8304
12 | 2619611.5438 | 1167649.4959
13 | 2619572.1452 | 1167680.8379
14 | 2619556.5704 | 1167688.0811
15 | 2619547.5539 | 1167696.2778
16 | 2619264.1321 | 1167285.5143
17 | 2619526.0184 | 1167748.7348
18 | 2619452.6321 | 1167700.7218
19 | 2619637.6926 | 1167636.8414
20 | 2619546.5522 | 1167697.5324
21 | 2619621.121 | 1167655.674
22 | 2619608.0454 | 1167670.5337
23 | 2619234.0124 | 1167757.6113
24 | 2619124.736 | 1167843.6993
25 | 2619297.5723 | 1167718.9033
26 | 2619328.4433 | 1167703.2972
27 | 2619323.8238 | 1167696.9275
28 | 2619347.1417 | 1167704.6888
29 | 2619252.9928 | 1167650.1845
30 | 2619388.0047 | 1167697.4391
31 | 2619414.7517 | 1167709.3666
32 | 2619420.972 | 1167711.2033
33 | 2619238.1337 | 1167665.1914
34 | 2619520.5982 | 1167753.8643
35 | 2619533.1593 | 1167742.5724
36 | 2619231.987 | 1167672.8288
37 | 2619240.3294 | 1167292.4631
38 | 2619175.6776 | 1167316.6971
39 | 2619249.1822 | 1167289.8763
40 | 2619137.5661 | 1167336.0378
41 | 2619261.6268 | 1167286.24
42 | 2619017.9165 | 1167416.1568
43 | 2619148.8086 | 1167215.9525
44 | 2618994.611 | 1167438.4836
45 | 2619616.2601 | 1167785.5044
46 | 2619615.3413 | 1167785.0046
47 | 2619630.3787 | 1167793.1852
48 | 2619609.1272 | 1167781.4193
49 | 2619594.5222 | 1167771.5798
50 | 2619588.5806 | 1167769.9263
51 | 2619383.587 | 1167916.9358
52 | 2619432.4658 | 1167861.3735
53 | 2619378.0456 | 1167922.8893
54 | 2619449.5411 | 1167837.1172
55 | 2619305.1196 | 1167985.0096
56 | 2619368.5366 | 1167921.7545
57 | 2619453.6232 | 1167830.9977
58 | 2619289.3717 | 1167994.4186
59 | 2619389.1404 | 1168059.6985
60 | 2619318.4799 | 1167910.2806
61 | 2619463.0789 | 1167816.8005
62 | 2619406.4665 | 1167855.5571
63 | 2619261.6671 | 1168047.5
64 | 2619282.74 | 1167998.1802
65 | 2619305.9857 | 1167901.8474
66 | 2619310.1484 | 1167919.8597
67 | 2619404.5127 | 1167857.1047
68 | 2619391.9006 | 1167875.5966
69 | 2619476.2625 | 1167799.9656
70 | 2619503.7614 | 1167770.6294
71 | 2619324.6918 | 1168152.0779
72 | 2619333.9559 | 1168205.8125
73 | 2619241.3187 | 1168094.0041
74 | 2619237.1108 | 1168089.2807
75 | 2619485.9478 | 1167916.6037
76 | 2619491.6095 | 1167906.7578
77 | 2619509.535 | 1167875.5849
78 | 2619524.0629 | 1167837.206
79 | 2619291.0752 | 1167940.4747
80 | 2619573.6578 | 1167771.1358
81 | 2619526.6714 | 1167771.5818
82 | 2619533.6411 | 1167806.017
83 | 2619532.6091 | 1167812.2215
84 | 2619543.1041 | 1167830.0499
85 | 2619548.5552 | 1167839.31
86 | 2619637.6917 | 1167948.617
87 | 2619220.4571 | 1168025.0862
88 | 2619238.8097 | 1168016.9128
89 | 2619255.7332 | 1168010.2522
90 | 2619233.0416 | 1168001.7312
91 | 2619276.3792 | 1168001.7076
92 | 2619552.0763 | 1167726.2473
93 | 2619576.0168 | 1167703.7776
94 | 2619593.5243 | 1167686.1599
95 | 2619520.5982 | 1167753.8643

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1