## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_562-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_562-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_562-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_562-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_562-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_562-5_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_562-5_0_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_562-5_0_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_562-5_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_562-5_0_4_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_562-5_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_562-5_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_562-5_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_562-5_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_562-5_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_562-5_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_562-5_0_4_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_562-5_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_562-5_0_4_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_562-5_0_4_node_131 | 0.4 | n |  | TRUE
20 | bus_LV_562-5_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_562-5_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_562-5_0_4_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_562-5_0_4_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_562-5_0_4_node_74 | 0.4 | n |  | TRUE
25 | bus_LV_562-5_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_562-5_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_562-5_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_562-5_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_562-5_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_562-5_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_562-5_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_562-5_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_562-5_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_562-5_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_562-5_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_562-5_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_562-5_0_4_node_154 | 0.4 | n |  | TRUE
38 | bus_LV_562-5_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_562-5_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_562-5_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_562-5_0_4_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_562-5_0_4_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_562-5_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_562-5_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_562-5_0_4_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_562-5_0_4_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_562-5_0_4_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_562-5_0_4_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_562-5_0_4_node_153 | 0.4 | n |  | TRUE
50 | bus_LV_562-5_0_4_node_152 | 0.4 | n |  | TRUE
51 | bus_LV_562-5_0_4_node_155 | 0.4 | n |  | TRUE
52 | bus_LV_562-5_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_562-5_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_562-5_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_562-5_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_562-5_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_562-5_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_562-5_0_4_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_562-5_0_4_node_151 | 0.4 | n |  | TRUE
60 | bus_LV_562-5_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_562-5_0_4_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_562-5_0_4_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_562-5_0_4_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_562-5_0_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_562-5_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_562-5_0_4_node_124 | 0.4 | n |  | TRUE
67 | bus_LV_562-5_0_4_node_130 | 0.4 | n |  | TRUE
68 | bus_LV_562-5_0_4_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_562-5_0_4_node_123 | 0.4 | n |  | TRUE
70 | bus_LV_562-5_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_562-5_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_562-5_0_4_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_562-5_0_4_node_142 | 0.4 | n |  | TRUE
74 | bus_LV_562-5_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_562-5_0_4_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_562-5_0_4_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_562-5_0_4_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_562-5_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_562-5_0_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_562-5_0_4_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_562-5_0_4_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_562-5_0_4_node_118 | 0.4 | n |  | TRUE
83 | bus_LV_562-5_0_4_node_119 | 0.4 | n |  | TRUE
84 | bus_LV_562-5_0_4_node_120 | 0.4 | n |  | TRUE
85 | bus_LV_562-5_0_4_node_113 | 0.4 | n |  | TRUE
86 | bus_LV_562-5_0_4_node_126 | 0.4 | n |  | TRUE
87 | bus_LV_562-5_0_4_node_125 | 0.4 | n |  | TRUE
88 | bus_LV_562-5_0_4_node_128 | 0.4 | n |  | TRUE
89 | bus_LV_562-5_0_4_node_127 | 0.4 | n |  | TRUE
90 | bus_MV_80_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_562-5_0_4_load_0 | 0 | 0.0013896 | 0.00034828 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_562-5_0_4_load_1 | 1 | 0.002353 | 0.00058971 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_562-5_0_4_load_3 | 3 | 0.0048087 | 0.0012052 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_562-5_0_4_load_4 | 4 | 0.0013527 | 0.00033902 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_562-5_0_4_load_5 | 5 | 0.0018554 | 0.000465 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_562-5_0_4_load_15 | 6 | 0.001519 | 0.00038069 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_562-5_0_4_load_33 | 7 | 0.0049254 | 0.0012344 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_562-5_0_4_load_16 | 8 | 0.0021202 | 0.00053136 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_562-5_0_4_load_6 | 10 | 0.0071118 | 0.0017824 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_562-5_0_4_load_7 | 11 | 0.0015999 | 0.00040098 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_562-5_0_4_load_9 | 13 | 0.0018083 | 0.00045321 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_562-5_0_4_load_10 | 14 | 0.0056244 | 0.0014096 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_562-5_0_4_load_11 | 15 | 0.004074 | 0.0010211 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_562-5_0_4_load_12 | 17 | 0.005306 | 0.0013298 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_562-5_0_4_load_70 | 18 | 0.0023554 | 0.00059032 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_562-5_0_4_load_131 | 19 | 0.001915 | 0.00047996 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_562-5_0_4_load_13 | 20 | 0.0010818 | 0.00027113 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_562-5_0_4_load_14 | 21 | 0.001724 | 0.00043207 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_562-5_0_4_load_37 | 23 | 0.0010266 | 0.0002573 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_562-5_0_4_load_17 | 25 | 0.0021944 | 0.00054996 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_562-5_0_4_load_18 | 26 | 0.0029375 | 0.00073621 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_562-5_0_4_load_19 | 27 | 0.0023176 | 0.00058084 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_562-5_0_4_load_20 | 28 | 0.0035616 | 0.00089262 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_562-5_0_4_load_21 | 29 | 0.0025761 | 0.00064563 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_562-5_0_4_load_28 | 30 | 0.0038295 | 0.00095976 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_562-5_0_4_load_36 | 31 | 0.0015497 | 0.00038839 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_562-5_0_4_load_35 | 32 | 0.0017846 | 0.00044726 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_562-5_0_4_load_22 | 33 | 0.003842 | 0.0009629 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_562-5_0_4_load_23 | 34 | 0.0035588 | 0.00089193 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_562-5_0_4_load_24 | 35 | 0.0020691 | 0.00051857 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_562-5_0_4_load_25 | 36 | 0.0036737 | 0.00092073 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_562-5_0_4_load_154 | 37 | 0.00049845 | 0.00012492 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_562-5_0_4_load_26 | 38 | 0.0019395 | 0.00048609 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_562-5_0_4_load_30 | 39 | 0.0024615 | 0.00061692 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_562-5_0_4_load_29 | 40 | 0.0012281 | 0.00030778 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_562-5_0_4_load_75 | 41 | 0.0012018 | 0.0003012 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_562-5_0_4_load_73 | 42 | 0.0025227 | 0.00063224 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_562-5_0_4_load_31 | 43 | 0.0019328 | 0.00048442 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_562-5_0_4_load_67 | 46 | 0.00064655 | 0.00016204 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_562-5_0_4_load_48 | 48 | 0.0002433 | 6.0976e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_562-5_0_4_load_153 | 49 | 0.00026725 | 6.698e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_562-5_0_4_load_155 | 51 | 0.00026337 | 6.6007e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_562-5_0_4_load_51 | 53 | 0.0004593 | 0.00011511 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_562-5_0_4_load_52 | 54 | 0.00039907 | 0.00010002 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_562-5_0_4_load_54 | 56 | 0.0003798 | 9.5188e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_562-5_0_4_load_68 | 58 | 0.00014358 | 3.5983e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_562-5_0_4_load_151 | 59 | 0.00066103 | 0.00016567 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_562-5_0_4_load_57 | 60 | 0.00091661 | 0.00022972 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_562-5_0_4_load_58 | 61 | 0.00077281 | 0.00019369 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_562-5_0_4_load_61 | 63 | 0.00052066 | 0.00013049 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_562-5_0_4_load_62 | 64 | 0.00091769 | 0.00022999 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_562-5_0_4_load_63 | 65 | 0.0046121 | 0.0011559 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_562-5_0_4_load_124 | 66 | 0.00064035 | 0.00016049 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_562-5_0_4_load_130 | 67 | 0.0011916 | 0.00029864 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_562-5_0_4_load_64 | 68 | 0.0012282 | 0.00030783 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_562-5_0_4_load_123 | 69 | 0.00034415 | 8.6253e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_562-5_0_4_load_65 | 70 | 0.001206 | 0.00030224 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_562-5_0_4_load_69 | 71 | 0.0021508 | 0.00053904 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_562-5_0_4_load_83 | 72 | 0.0014156 | 0.00035478 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_562-5_0_4_load_142 | 73 | 0.00017464 | 4.3768e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_562-5_0_4_load_72 | 74 | 0.0021069 | 0.00052803 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_562-5_0_4_load_76 | 75 | 0.0015064 | 0.00037755 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_562-5_0_4_load_77 | 76 | 0.0018172 | 0.00045543 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_562-5_0_4_load_78 | 77 | 0.00134 | 0.00033584 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_562-5_0_4_load_79 | 78 | 0.0016716 | 0.00041894 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_562-5_0_4_load_80 | 79 | 0.0020415 | 0.00051166 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_562-5_0_4_load_81 | 80 | 0.0018598 | 0.00046611 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_562-5_0_4_load_82 | 81 | 0.0034982 | 0.00087674 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_562-5_0_4_load_120 | 84 | 0.0021149 | 0.00053003 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_562-5_0_4_load_126 | 86 | 0.0012458 | 0.00031222 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_562-5_0_4_load_128 | 88 | 0.00083613 | 0.00020955 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_562-5_0_4_load_127 | 89 | 0.0014505 | 0.00036353 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_562-5_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_562-5_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_562-5_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_562-5_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.038321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_562-5_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.010372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_562-5_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0055484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_562-5_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.042596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_562-5_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.011377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_562-5_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.045255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_562-5_0_4_line_9 | NAYY 4x150 SE | 9 | 44 | 0.033744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_562-5_0_4_line_10 | NAYY 4x150 SE | 9 | 43 | 0.033753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_562-5_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.025236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_562-5_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.048088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_562-5_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.02587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_562-5_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.024007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_562-5_0_4_line_15 | NAYY 4x150 SE | 12 | 15 | 0.043202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_562-5_0_4_line_16 | NAYY 4x150 SE | 13 | 16 | 0.13946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_562-5_0_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.034372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_562-5_0_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.023804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_562-5_0_4_line_19 | NAYY 4x150 SE | 17 | 20 | 0.051651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_562-5_0_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.42453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_562-5_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.026385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_562-5_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0086228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_562-5_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.018482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_562-5_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.027789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_562-5_0_4_line_25 | NAYY 4x150 SE | 23 | 32 | 0.0017743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_562-5_0_4_line_26 | NAYY 4x150 SE | 24 | 41 | 0.010651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_562-5_0_4_line_27 | NAYY 4x150 SE | 24 | 42 | 0.030862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_562-5_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.017573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_562-5_0_4_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0076057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_562-5_0_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0061691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_562-5_0_4_line_31 | NAYY 4x150 SE | 27 | 29 | 0.028865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_562-5_0_4_line_32 | NAYY 4x150 SE | 28 | 30 | 0.010161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_562-5_0_4_line_33 | NAYY 4x150 SE | 29 | 31 | 0.00082073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_562-5_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.025563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_562-5_0_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.024828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_562-5_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.024927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_562-5_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.031789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_562-5_0_4_line_38 | NAYY 4x150 SE | 34 | 37 | 0.032235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_562-5_0_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.021386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_562-5_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.018942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_562-5_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.037049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_562-5_0_4_line_42 | NAYY 4x150 SE | 40 | 43 | 0.018113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_562-5_0_4_line_43 | NAYY 4x150 SE | 41 | 75 | 0.0016042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_562-5_0_4_line_44 | NAYY 4x150 SE | 42 | 74 | 0.052486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_562-5_0_4_line_45 | NAYY 4x150 SE | 44 | 45 | 0.080218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_562-5_0_4_line_46 | NAYY 4x150 SE | 45 | 46 | 0.066328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_562-5_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.019598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_562-5_0_4_line_48 | NAYY 4x150 SE | 46 | 58 | 0.024947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_562-5_0_4_line_49 | NAYY 4x150 SE | 47 | 65 | 0.028429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_562-5_0_4_line_50 | NAYY 4x150 SE | 47 | 61 | 0.009754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_562-5_0_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.023397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_562-5_0_4_line_52 | NAYY 4x150 SE | 48 | 50 | 0.036103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_562-5_0_4_line_53 | NAYY 4x150 SE | 50 | 51 | 0.089208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_562-5_0_4_line_54 | NAYY 4x150 SE | 50 | 52 | 0.11309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_562-5_0_4_line_55 | NAYY 4x150 SE | 52 | 59 | 0.036811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_562-5_0_4_line_56 | NAYY 4x150 SE | 52 | 55 | 0.059273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_562-5_0_4_line_57 | NAYY 4x150 SE | 53 | 54 | 0.029751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_562-5_0_4_line_58 | NAYY 4x150 SE | 53 | 55 | 0.024175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_562-5_0_4_line_59 | NAYY 4x150 SE | 54 | 56 | 0.0077889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_562-5_0_4_line_60 | NAYY 4x150 SE | 55 | 57 | 0.016117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_562-5_0_4_line_61 | NAYY 4x150 SE | 57 | 58 | 0.042829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_562-5_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.036741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_562-5_0_4_line_63 | NAYY 4x150 SE | 60 | 62 | 0.10517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_562-5_0_4_line_64 | NAYY 4x150 SE | 62 | 63 | 0.072959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_562-5_0_4_line_65 | NAYY 4x150 SE | 62 | 64 | 0.062376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_562-5_0_4_line_66 | NAYY 4x150 SE | 63 | 66 | 0.023154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_562-5_0_4_line_67 | NAYY 4x150 SE | 64 | 67 | 0.01128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_562-5_0_4_line_68 | NAYY 4x150 SE | 65 | 68 | 0.0092094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_562-5_0_4_line_69 | NAYY 4x150 SE | 66 | 69 | 0.0053095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_562-5_0_4_line_70 | NAYY 4x150 SE | 68 | 70 | 0.082483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_562-5_0_4_line_71 | NAYY 4x150 SE | 69 | 87 | 0.0093713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_562-5_0_4_line_72 | NAYY 4x150 SE | 70 | 71 | 0.0077485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_562-5_0_4_line_73 | NAYY 4x150 SE | 71 | 72 | 0.017028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_562-5_0_4_line_74 | NAYY 4x150 SE | 72 | 73 | 0.085133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_562-5_0_4_line_75 | NAYY 4x150 SE | 75 | 76 | 0.013514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_562-5_0_4_line_76 | NAYY 4x150 SE | 76 | 77 | 0.0069602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_562-5_0_4_line_77 | NAYY 4x150 SE | 77 | 78 | 0.0017344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_562-5_0_4_line_78 | NAYY 4x150 SE | 78 | 79 | 0.020593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_562-5_0_4_line_79 | NAYY 4x150 SE | 79 | 80 | 0.010427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_562-5_0_4_line_80 | NAYY 4x150 SE | 80 | 81 | 0.047425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_562-5_0_4_line_81 | NAYY 4x150 SE | 81 | 82 | 0.015447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_562-5_0_4_line_82 | NAYY 4x150 SE | 82 | 83 | 0.004068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_562-5_0_4_line_83 | NAYY 4x150 SE | 82 | 84 | 0.029513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_562-5_0_4_line_84 | NAYY 4x150 SE | 83 | 85 | 0.034956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_562-5_0_4_line_85 | NAYY 4x150 SE | 84 | 88 | 0.01316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_562-5_0_4_line_86 | NAYY 4x150 SE | 85 | 86 | 0.025288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_562-5_0_4_line_87 | NAYY 4x150 SE | 86 | 87 | 0.040204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_562-5_0_4_line_88 | NAYY 4x150 SE | 87 | 89 | 0.013022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_562-5_0_4_trafo_19 | 0.25 MVA 20/0.4 kV | 90 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2621139.1843 | 1166765.7276 | 2621157.1795 | 1166770.929
1 | 2621122.3657 | 1166760.8662 | 2621139.1843 | 1166765.7276
2 | 2621171.0333 | 1166772.7318 | 2621160.4417 | 1166771.872 | 2621157.1795 | 1166770.929
3 | 2621122.3657 | 1166760.8662 | 2621120.3708 | 1166764.3387 | 2621101.2326 | 1166792.8229
4 | 2621122.3657 | 1166760.8662 | 2621123.3562 | 1166750.5419
5 | 2621098.1383 | 1166797.4283 | 2621101.2326 | 1166792.8229
6 | 2621126.2612 | 1166708.1677 | 2621126.3268 | 1166709.6876 | 2621126.9124 | 1166719.5168 | 2621123.5257 | 1166748.7752 | 2621123.3562 | 1166750.5419
7 | 2621098.1383 | 1166797.4283 | 2621095.4153 | 1166801.4811 | 2621091.3232 | 1166806.5239
8 | 2621130.6617 | 1166663.2794 | 2621127.4176 | 1166682.4332 | 2621126.1917 | 1166691.4779 | 2621125.9303 | 1166700.5038 | 2621126.2612 | 1166708.1677
9 | 2621136.8716 | 1166630.1178 | 2621131.0135 | 1166661.2018 | 2621130.6617 | 1166663.2794
10 | 2621130.6617 | 1166663.2794 | 2621134.482 | 1166667.5505 | 2621138.5827 | 1166670.433 | 2621144.2921 | 1166675.1777 | 2621152.4989 | 1166683.7886 | 2621154.5397 | 1166686.864
11 | 2621213.0515 | 1166816.4972 | 2621210.5114 | 1166815.9369 | 2621201.7119 | 1166817.0287 | 2621191.8467 | 1166818.6281 | 2621188.1433 | 1166819.3538
12 | 2621233.1137 | 1166855.87 | 2621232.1492 | 1166847.1622 | 2621231.0007 | 1166838.5538 | 2621227.5615 | 1166828.2921 | 2621224.1849 | 1166821.977 | 2621218.0916 | 1166817.6089 | 2621213.0515 | 1166816.4972
13 | 2621162.487 | 1166821.5709 | 2621168.8475 | 1166821.7933 | 2621177.4683 | 1166821.4457 | 2621188.1433 | 1166819.3538
14 | 2621233.1137 | 1166855.87 | 2621236.1648 | 1166852.4457 | 2621251.2711 | 1166840.2405
15 | 2621233.1137 | 1166855.87 | 2621239.824 | 1166874.1139 | 2621242.3995 | 1166877.4691 | 2621245.5613 | 1166879.548 | 2621249.7296 | 1166880.5854 | 2621254.8725 | 1166880.926 | 2621261.0937 | 1166879.937
16 | 2621162.487 | 1166821.5709 | 2621102.4822 | 1166947.4572
17 | 2621278.1072 | 1166818.7679 | 2621274.6874 | 1166821.3214 | 2621251.2711 | 1166840.2405
18 | 2621102.4822 | 1166947.4572 | 2621103.7096 | 1166948.8955 | 2621104.3132 | 1166953.6 | 2621104.2981 | 1166957.9021 | 2621104.2838 | 1166961.993 | 2621105.4809 | 1166965.499 | 2621108.5407 | 1166969.5439
19 | 2621319.1234 | 1166787.3793 | 2621293.9063 | 1166806.971 | 2621278.1072 | 1166818.7679
20 | 2621108.5407 | 1166969.5439 | 2621243.592 | 1167372.02
21 | 2621319.1234 | 1166787.3793 | 2621325.4706 | 1166782.448 | 2621330.2858 | 1166778.0629 | 2621337.4049 | 1166768.6087
22 | 2621342.5919 | 1166761.7204 | 2621337.4049 | 1166768.6087
23 | 2621342.5919 | 1166761.7204 | 2621324.2376 | 1166759.5515
24 | 2621342.5919 | 1166761.7204 | 2621352.387 | 1166760.5101 | 2621357.8735 | 1166758.9621 | 2621362.1229 | 1166756.5871 | 2621364.6781 | 1166754.8842 | 2621367.4458 | 1166751.5367
25 | 2621322.4756 | 1166759.3433 | 2621324.2376 | 1166759.5515
26 | 2621367.4458 | 1166751.5367 | 2621375.0568 | 1166744.0857
27 | 2621367.4458 | 1166751.5367 | 2621369.2602 | 1166755.8009 | 2621372.1952 | 1166759.2464 | 2621374.8453 | 1166760.99 | 2621378.1668 | 1166761.2352 | 2621393.0959 | 1166758.3846
28 | 2621245.8992 | 1166770.8028 | 2621261.7852 | 1166763.2902
29 | 2621268.6607 | 1166760.0386 | 2621261.7852 | 1166763.2902
30 | 2621245.8992 | 1166770.8028 | 2621241.3903 | 1166772.9351 | 2621240.2427 | 1166773.2159
31 | 2621296.2742 | 1166756.2471 | 2621283.7259 | 1166754.7643 | 2621280.9856 | 1166754.699 | 2621279.446 | 1166754.9381 | 2621268.6607 | 1166760.0386
32 | 2621230.3728 | 1166775.631 | 2621240.2427 | 1166773.2159
33 | 2621296.2742 | 1166756.2471 | 2621297.0893 | 1166756.3434
34 | 2621322.4756 | 1166759.3433 | 2621297.0893 | 1166756.3434
35 | 2621299.8496 | 1166703.1493 | 2621275.5247 | 1166698.1787
36 | 2621324.2716 | 1166708.1397 | 2621299.8496 | 1166703.1493
37 | 2621275.5247 | 1166698.1787 | 2621260.0529 | 1166695.0172 | 2621253.686 | 1166694.3834 | 2621249.1674 | 1166694.9788 | 2621244.4107 | 1166696.6496
38 | 2621275.5247 | 1166698.1787 | 2621273.7051 | 1166665.9953
39 | 2621244.4107 | 1166696.6496 | 2621242.775 | 1166697.2241 | 2621228.1884 | 1166704.732 | 2621225.0144 | 1166705.4162
40 | 2621225.0144 | 1166705.4162 | 2621221.5923 | 1166706.1539 | 2621216.481 | 1166705.5023 | 2621206.4435 | 1166703.2424
41 | 2621170.3607 | 1166694.8525 | 2621177.7077 | 1166696.7726 | 2621206.4435 | 1166703.2424
42 | 2621170.3607 | 1166694.8525 | 2621165.8072 | 1166693.6625 | 2621160.0654 | 1166691.5969 | 2621157.1789 | 1166689.5524 | 2621154.5397 | 1166686.864 | 2621154.5397 | 1166686.864
43 | 2621375.0568 | 1166744.0857 | 2621376.203 | 1166742.9635
44 | 2621444.6501 | 1166748.5409 | 2621393.0959 | 1166758.3846
45 | 2621136.8716 | 1166630.1178 | 2621139.767 | 1166616.5656 | 2621144.3707 | 1166600.4625 | 2621147.8881 | 1166592.9044 | 2621164.221 | 1166561.2347 | 2621166.4364 | 1166556.0287
46 | 2621166.4364 | 1166556.0287 | 2621155.8656 | 1166551.3004 | 2621138.2082 | 1166539.4102 | 2621120.6696 | 1166526.3532 | 2621112.9153 | 1166517.733
47 | 2621166.4364 | 1166556.0287 | 2621172.491 | 1166556.239 | 2621178.0081 | 1166554.7465 | 2621184.7286 | 1166550.6459
48 | 2621101.0704 | 1166495.8826 | 2621101.7239 | 1166497.539 | 2621111.0994 | 1166515.7143 | 2621112.9153 | 1166517.733
49 | 2621184.7286 | 1166550.6459 | 2621206.6068 | 1166532.4925
50 | 2621184.7286 | 1166550.6459 | 2621193.78 | 1166554.2806
51 | 2621084.1348 | 1166269.2625 | 2621107.3267 | 1166272.8232
52 | 2621071.8816 | 1166303.2256 | 2621076.674 | 1166290.1135 | 2621084.1348 | 1166269.2625
53 | 2621071.8816 | 1166303.2256 | 2621076.8244 | 1166304.0322 | 2621096.5238 | 1166307.992 | 2621135.5184 | 1166315.4991 | 2621159.9358 | 1166318.8643
54 | 2621071.8816 | 1166303.2256 | 2621067.3298 | 1166313.2369 | 2621064.6329 | 1166320.3867 | 2621060.7158 | 1166330.5892 | 2621058.6341 | 1166339.1752 | 2621056.9679 | 1166347.1623 | 2621055.0652 | 1166361.4739 | 2621053.3568 | 1166381.5336 | 2621053.4786 | 1166403.634 | 2621053.5972 | 1166413.4839
55 | 2621088.3924 | 1166402.3333 | 2621077.9147 | 1166403.7195 | 2621065.7686 | 1166407.1788 | 2621058.797 | 1166410.8229 | 2621053.5972 | 1166413.4839
56 | 2621053.5972 | 1166413.4839 | 2621053.6373 | 1166417.3526 | 2621053.5586 | 1166439.8748 | 2621055.1537 | 1166454.4099 | 2621056.3612 | 1166461.5733 | 2621058.6016 | 1166466.7059 | 2621061.725 | 1166471.0968
57 | 2621049.7061 | 1166491.885 | 2621047.4578 | 1166496.6265 | 2621041.1433 | 1166509.4331 | 2621034.9981 | 1166517.6047
58 | 2621061.725 | 1166471.0968 | 2621056.6355 | 1166477.271 | 2621049.7061 | 1166491.885
59 | 2621029.5469 | 1166523.1681 | 2621034.9981 | 1166517.6047 | 2621034.9981 | 1166517.6047
60 | 2621061.725 | 1166471.0968 | 2621068.5311 | 1166466.585 | 2621076.2776 | 1166464.6334
61 | 2621076.2776 | 1166464.6334 | 2621082.2452 | 1166465.6992 | 2621087.0964 | 1166468.551 | 2621092.5044 | 1166474.1727 | 2621101.0704 | 1166495.8826
62 | 2621227.8657 | 1166567.9945 | 2621222.4315 | 1166565.7862 | 2621193.78 | 1166554.2806
63 | 2621324.352 | 1166609.7682 | 2621279.6648 | 1166589.0442 | 2621227.8657 | 1166567.9945
64 | 2621324.352 | 1166609.7682 | 2621368.661 | 1166639.9181 | 2621385.6384 | 1166649.2338
65 | 2621324.352 | 1166609.7682 | 2621325.216 | 1166614.3958 | 2621327.2614 | 1166618.2939 | 2621330.73 | 1166622.3971 | 2621335.8442 | 1166628.7629 | 2621338.9013 | 1166634.4988 | 2621340.529 | 1166639.6294 | 2621341.7281 | 1166649.0495 | 2621342.0778 | 1166660.5343 | 2621343.2863 | 1166667.2864
66 | 2621406.8964 | 1166658.3471 | 2621389.4809 | 1166651.3422 | 2621385.6384 | 1166649.2338
67 | 2621353.5603 | 1166671.4027 | 2621345.3544 | 1166669.1169 | 2621343.2863 | 1166667.2864
68 | 2621206.6068 | 1166532.4925 | 2621210.6104 | 1166529.1706 | 2621213.8366 | 1166526.7939
69 | 2621406.8964 | 1166658.3471 | 2621411.8224 | 1166660.3284
70 | 2621213.8366 | 1166526.7939 | 2621235.5859 | 1166510.7715 | 2621262.1674 | 1166492.8784 | 2621275.8435 | 1166481.0652 | 2621279.6141 | 1166477.2639
71 | 2621420.5167 | 1166663.8254 | 2621411.8224 | 1166660.3284
72 | 2621285.0709 | 1166471.7627 | 2621279.6141 | 1166477.2639
73 | 2621285.0709 | 1166471.7627 | 2621293.5678 | 1166463.1966 | 2621297.4464 | 1166460.1014
74 | 2621297.4464 | 1166460.1014 | 2621262.0065 | 1166382.6957
75 | 2621388.426 | 1166737.273 | 2621385.7739 | 1166738.095 | 2621376.203 | 1166742.9635 | 2621376.203 | 1166742.9635
76 | 2621388.426 | 1166737.273 | 2621395.0742 | 1166735.2125
77 | 2621396.7308 | 1166734.699 | 2621395.0742 | 1166735.2125
78 | 2621396.7308 | 1166734.699 | 2621415.7385 | 1166728.8079 | 2621416.3971 | 1166728.5918
79 | 2621426.3043 | 1166725.3416 | 2621416.3971 | 1166728.5918
80 | 2621426.3043 | 1166725.3416 | 2621431.6951 | 1166723.5731 | 2621441.0805 | 1166721.3498 | 2621451.2354 | 1166720.1742 | 2621457.5564 | 1166718.6293 | 2621462.2416 | 1166716.4115 | 2621466.6174 | 1166712.9587 | 2621469.0867 | 1166709.0552
81 | 2621473.8639 | 1166694.4419 | 2621470.1818 | 1166707.3241 | 2621469.0867 | 1166709.0552
82 | 2621473.8639 | 1166694.4419 | 2621470.0027 | 1166693.1274
83 | 2621473.8639 | 1166694.4419 | 2621479.5142 | 1166696.363 | 2621503.052 | 1166696.9462
84 | 2621485.2866 | 1166661.9329 | 2621479.2326 | 1166670.1488 | 2621473.1544 | 1166685.1902 | 2621470.0027 | 1166693.1274
85 | 2621515.9904 | 1166698.9258 | 2621508.3411 | 1166697.0773 | 2621503.052 | 1166696.9462
86 | 2621485.2866 | 1166661.9329 | 2621475.6294 | 1166665.189 | 2621464.7851 | 1166666.451 | 2621460.6059 | 1166666.4978
87 | 2621420.5167 | 1166663.8254 | 2621453.4933 | 1166666.5775 | 2621460.6059 | 1166666.4978
88 | 2621420.5167 | 1166663.8254 | 2621431.2307 | 1166671.2263

## bus_geodata
| x | y | coords
0 | 2621139.1843 | 1166765.7276
1 | 2621157.1795 | 1166770.929
2 | 2621122.3657 | 1166760.8662
3 | 2621171.0333 | 1166772.7318
4 | 2621101.2326 | 1166792.8229
5 | 2621123.3562 | 1166750.5419
6 | 2621098.1383 | 1166797.4283
7 | 2621126.2612 | 1166708.1677
8 | 2621091.3232 | 1166806.5239
9 | 2621130.6617 | 1166663.2794
10 | 2621213.0515 | 1166816.4972
11 | 2621188.1433 | 1166819.3538
12 | 2621233.1137 | 1166855.87
13 | 2621162.487 | 1166821.5709
14 | 2621251.2711 | 1166840.2405
15 | 2621261.0937 | 1166879.937
16 | 2621102.4822 | 1166947.4572
17 | 2621278.1072 | 1166818.7679
18 | 2621108.5407 | 1166969.5439
19 | 2621243.592 | 1167372.02
20 | 2621319.1234 | 1166787.3793
21 | 2621337.4049 | 1166768.6087
22 | 2621342.5919 | 1166761.7204
23 | 2621324.2376 | 1166759.5515
24 | 2621367.4458 | 1166751.5367
25 | 2621261.7852 | 1166763.2902
26 | 2621245.8992 | 1166770.8028
27 | 2621268.6607 | 1166760.0386
28 | 2621240.2427 | 1166773.2159
29 | 2621296.2742 | 1166756.2471
30 | 2621230.3728 | 1166775.631
31 | 2621297.0893 | 1166756.3434
32 | 2621322.4756 | 1166759.3433
33 | 2621299.8496 | 1166703.1493
34 | 2621275.5247 | 1166698.1787
35 | 2621324.2716 | 1166708.1397
36 | 2621244.4107 | 1166696.6496
37 | 2621273.7051 | 1166665.9953
38 | 2621225.0144 | 1166705.4162
39 | 2621206.4435 | 1166703.2424
40 | 2621170.3607 | 1166694.8525
41 | 2621375.0568 | 1166744.0857
42 | 2621393.0959 | 1166758.3846
43 | 2621154.5397 | 1166686.864
44 | 2621136.8716 | 1166630.1178
45 | 2621166.4364 | 1166556.0287
46 | 2621112.9153 | 1166517.733
47 | 2621184.7286 | 1166550.6459
48 | 2621084.1348 | 1166269.2625
49 | 2621107.3267 | 1166272.8232
50 | 2621071.8816 | 1166303.2256
51 | 2621159.9358 | 1166318.8643
52 | 2621053.5972 | 1166413.4839
53 | 2621049.7061 | 1166491.885
54 | 2621034.9981 | 1166517.6047
55 | 2621061.725 | 1166471.0968
56 | 2621029.5469 | 1166523.1681
57 | 2621076.2776 | 1166464.6334
58 | 2621101.0704 | 1166495.8826
59 | 2621088.3924 | 1166402.3333
60 | 2621227.8657 | 1166567.9945
61 | 2621193.78 | 1166554.2806
62 | 2621324.352 | 1166609.7682
63 | 2621385.6384 | 1166649.2338
64 | 2621343.2863 | 1166667.2864
65 | 2621206.6068 | 1166532.4925
66 | 2621406.8964 | 1166658.3471
67 | 2621353.5603 | 1166671.4027
68 | 2621213.8366 | 1166526.7939
69 | 2621411.8224 | 1166660.3284
70 | 2621279.6141 | 1166477.2639
71 | 2621285.0709 | 1166471.7627
72 | 2621297.4464 | 1166460.1014
73 | 2621262.0065 | 1166382.6957
74 | 2621444.6501 | 1166748.5409
75 | 2621376.203 | 1166742.9635
76 | 2621388.426 | 1166737.273
77 | 2621395.0742 | 1166735.2125
78 | 2621396.7308 | 1166734.699
79 | 2621416.3971 | 1166728.5918
80 | 2621426.3043 | 1166725.3416
81 | 2621469.0867 | 1166709.0552
82 | 2621473.8639 | 1166694.4419
83 | 2621470.0027 | 1166693.1274
84 | 2621503.052 | 1166696.9462
85 | 2621485.2866 | 1166661.9329
86 | 2621460.6059 | 1166666.4978
87 | 2621420.5167 | 1166663.8254
88 | 2621515.9904 | 1166698.9258
89 | 2621431.2307 | 1166671.2263
90 | 2621230.3728 | 1166775.631

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1