## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_562-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_562-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_562-8_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_562-8_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_562-8_0_4_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_562-8_0_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_562-8_0_4_node_80 | 0.4 | n |  | TRUE
7 | bus_LV_562-8_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_562-8_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_562-8_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_562-8_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_562-8_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_562-8_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_562-8_0_4_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_562-8_0_4_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_562-8_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_562-8_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_562-8_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_562-8_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_562-8_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_562-8_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_562-8_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_562-8_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_562-8_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_562-8_0_4_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_562-8_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_562-8_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_562-8_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_562-8_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_562-8_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_562-8_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_562-8_0_4_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_562-8_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_562-8_0_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_562-8_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_562-8_0_4_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_562-8_0_4_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_562-8_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_562-8_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_562-8_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_562-8_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_562-8_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_562-8_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_562-8_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_562-8_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_562-8_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_562-8_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_562-8_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_562-8_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_562-8_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_562-8_0_4_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_562-8_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_562-8_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_562-8_0_4_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_562-8_0_4_node_137 | 0.4 | n |  | TRUE
55 | bus_LV_562-8_0_4_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_562-8_0_4_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_562-8_0_4_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_562-8_0_4_node_138 | 0.4 | n |  | TRUE
59 | bus_LV_562-8_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_562-8_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_562-8_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_562-8_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_562-8_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_562-8_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_562-8_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_562-8_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_562-8_0_4_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_562-8_0_4_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_562-8_0_4_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_562-8_0_4_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_562-8_0_4_node_140 | 0.4 | n |  | TRUE
72 | bus_LV_562-8_0_4_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_562-8_0_4_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_562-8_0_4_node_141 | 0.4 | n |  | TRUE
75 | bus_LV_562-8_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_562-8_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_562-8_0_4_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_562-8_0_4_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_562-8_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_562-8_0_4_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_562-8_0_4_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_562-8_0_4_node_146 | 0.4 | n |  | TRUE
83 | bus_LV_562-8_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_562-8_0_4_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_562-8_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_562-8_0_4_node_120 | 0.4 | n |  | TRUE
87 | bus_LV_562-8_0_4_node_129 | 0.4 | n |  | TRUE
88 | bus_LV_562-8_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_562-8_0_4_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_562-8_0_4_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_562-8_0_4_node_144 | 0.4 | n |  | TRUE
92 | bus_LV_562-8_0_4_node_111 | 0.4 | n |  | TRUE
93 | bus_LV_562-8_0_4_node_112 | 0.4 | n |  | TRUE
94 | bus_LV_562-8_0_4_node_119 | 0.4 | n |  | TRUE
95 | bus_LV_562-8_0_4_node_127 | 0.4 | n |  | TRUE
96 | bus_LV_562-8_0_4_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_562-8_0_4_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_562-8_0_4_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_562-8_0_4_node_92 | 0.4 | n |  | TRUE
100 | bus_LV_562-8_0_4_node_105 | 0.4 | n |  | TRUE
101 | bus_LV_562-8_0_4_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_562-8_0_4_node_145 | 0.4 | n |  | TRUE
103 | bus_LV_562-8_0_4_node_104 | 0.4 | n |  | TRUE
104 | bus_LV_562-8_0_4_node_93 | 0.4 | n |  | TRUE
105 | bus_LV_562-8_0_4_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_562-8_0_4_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_562-8_0_4_node_96 | 0.4 | n |  | TRUE
108 | bus_LV_562-8_0_4_node_116 | 0.4 | n |  | TRUE
109 | bus_LV_562-8_0_4_node_118 | 0.4 | n |  | TRUE
110 | bus_LV_562-8_0_4_node_117 | 0.4 | n |  | TRUE
111 | bus_LV_562-8_0_4_node_115 | 0.4 | n |  | TRUE
112 | bus_LV_562-8_0_4_node_97 | 0.4 | n |  | TRUE
113 | bus_LV_562-8_0_4_node_98 | 0.4 | n |  | TRUE
114 | bus_LV_562-8_0_4_node_99 | 0.4 | n |  | TRUE
115 | bus_LV_562-8_0_4_node_100 | 0.4 | n |  | TRUE
116 | bus_LV_562-8_0_4_node_101 | 0.4 | n |  | TRUE
117 | bus_LV_562-8_0_4_node_102 | 0.4 | n |  | TRUE
118 | bus_LV_562-8_0_4_node_125 | 0.4 | n |  | TRUE
119 | bus_LV_562-8_0_4_node_136 | 0.4 | n |  | TRUE
120 | bus_LV_562-8_0_4_node_133 | 0.4 | n |  | TRUE
121 | bus_LV_562-8_0_4_node_123 | 0.4 | n |  | TRUE
122 | bus_LV_562-8_0_4_node_134 | 0.4 | n |  | TRUE
123 | bus_LV_562-8_0_4_node_139 | 0.4 | n |  | TRUE
124 | bus_LV_562-8_0_4_node_106 | 0.4 | n |  | TRUE
125 | bus_LV_562-8_0_4_node_107 | 0.4 | n |  | TRUE
126 | bus_LV_562-8_0_4_node_108 | 0.4 | n |  | TRUE
127 | bus_LV_562-8_0_4_node_109 | 0.4 | n |  | TRUE
128 | bus_LV_562-8_0_4_node_110 | 0.4 | n |  | TRUE
129 | bus_LV_562-8_0_4_node_113 | 0.4 | n |  | TRUE
130 | bus_LV_562-8_0_4_node_114 | 0.4 | n |  | TRUE
131 | bus_LV_562-8_0_4_node_121 | 0.4 | n |  | TRUE
132 | bus_LV_562-8_0_4_node_122 | 0.4 | n |  | TRUE
133 | bus_LV_562-8_0_4_node_124 | 0.4 | n |  | TRUE
134 | bus_LV_562-8_0_4_node_126 | 0.4 | n |  | TRUE
135 | bus_LV_562-8_0_4_node_132 | 0.4 | n |  | TRUE
136 | bus_LV_562-8_0_4_node_130 | 0.4 | n |  | TRUE
137 | bus_LV_562-8_0_4_node_142 | 0.4 | n |  | TRUE
138 | bus_LV_562-8_0_4_node_143 | 0.4 | n |  | TRUE
139 | bus_LV_562-8_0_4_node_131 | 0.4 | n |  | TRUE
140 | bus_LV_562-8_0_4_node_128 | 0.4 | n |  | TRUE
141 | bus_MV_80_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_562-8_0_4_load_0 | 0 | 0.0024515 | 0.0006144 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_562-8_0_4_load_3 | 2 | 0.0017517 | 0.00043903 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_562-8_0_4_load_25 | 4 | 0.0024003 | 0.00060158 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_562-8_0_4_load_23 | 5 | 0.0015003 | 0.00037601 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_562-8_0_4_load_80 | 6 | 0.0047708 | 0.0011957 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_562-8_0_4_load_22 | 7 | 0.0015408 | 0.00038615 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_562-8_0_4_load_5 | 8 | 0.0048048 | 0.0012042 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_562-8_0_4_load_6 | 9 | 0.0039635 | 0.00099335 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_562-8_0_4_load_8 | 11 | 0.0027966 | 0.00070091 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_562-8_0_4_load_9 | 12 | 0.0062702 | 0.0015715 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_562-8_0_4_load_19 | 13 | 0.0032636 | 0.00081794 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_562-8_0_4_load_20 | 14 | 0.0021434 | 0.00053718 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_562-8_0_4_load_10 | 15 | 0.0028312 | 0.00070956 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_562-8_0_4_load_11 | 16 | 0.0030587 | 0.00076657 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_562-8_0_4_load_12 | 17 | 0.001984 | 0.00049725 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_562-8_0_4_load_13 | 18 | 0.0013663 | 0.00034242 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_562-8_0_4_load_14 | 19 | 0.00084352 | 0.00021141 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_562-8_0_4_load_16 | 21 | 0.0028284 | 0.00070887 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_562-8_0_4_load_24 | 22 | 0.005695 | 0.0014273 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_562-8_0_4_load_17 | 23 | 0.0074141 | 0.0018581 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_562-8_0_4_load_30 | 24 | 0.0034139 | 0.0008556 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_562-8_0_4_load_18 | 25 | 0.0044403 | 0.0011128 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_562-8_0_4_load_21 | 26 | 0.0034056 | 0.00085353 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_562-8_0_4_load_27 | 29 | 0.0019758 | 0.00049517 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_562-8_0_4_load_28 | 30 | 0.0010945 | 0.00027431 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_562-8_0_4_load_81 | 31 | 0.0023406 | 0.00058661 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_562-8_0_4_load_26 | 32 | 0.0091538 | 0.0022942 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_562-8_0_4_load_33 | 34 | 0.0024894 | 0.00062389 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_562-8_0_4_load_50 | 35 | 0.0013818 | 0.00034631 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_562-8_0_4_load_32 | 37 | 0.0036763 | 0.00092138 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_562-8_0_4_load_34 | 38 | 0.0021672 | 0.00054314 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_562-8_0_4_load_35 | 39 | 0.0021398 | 0.00053629 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_562-8_0_4_load_36 | 40 | 0.0013839 | 0.00034684 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_562-8_0_4_load_37 | 41 | 0.0020689 | 0.00051851 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_562-8_0_4_load_38 | 42 | 0.0014071 | 0.00035266 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_562-8_0_4_load_39 | 43 | 0.0014985 | 0.00037555 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_562-8_0_4_load_40 | 44 | 0.00145 | 0.00036341 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_562-8_0_4_load_41 | 45 | 0.0016765 | 0.00042016 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_562-8_0_4_load_44 | 46 | 0.0037899 | 0.00094984 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_562-8_0_4_load_42 | 47 | 0.0015028 | 0.00037664 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_562-8_0_4_load_45 | 48 | 0.0018895 | 0.00047357 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_562-8_0_4_load_43 | 49 | 0.0013842 | 0.00034691 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_562-8_0_4_load_49 | 50 | 0.0033234 | 0.00083293 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_562-8_0_4_load_46 | 51 | 0.0029635 | 0.00074271 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_562-8_0_4_load_48 | 52 | 0.0026177 | 0.00065606 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_562-8_0_4_load_63 | 53 | 0.0018787 | 0.00047084 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_562-8_0_4_load_137 | 54 | 0.00068912 | 0.00017271 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_562-8_0_4_load_74 | 55 | 0.001022 | 0.00025613 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_562-8_0_4_load_66 | 56 | 0.0050154 | 0.001257 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_562-8_0_4_load_62 | 57 | 0.0022578 | 0.00056586 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_562-8_0_4_load_138 | 58 | 0.0015781 | 0.00039552 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_562-8_0_4_load_51 | 59 | 0.003525 | 0.00088344 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_562-8_0_4_load_52 | 60 | 0.0019461 | 0.00048773 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_562-8_0_4_load_53 | 61 | 0.0025244 | 0.00063267 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_562-8_0_4_load_54 | 62 | 0.0017168 | 0.00043028 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_562-8_0_4_load_55 | 63 | 0.002469 | 0.00061879 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_562-8_0_4_load_59 | 64 | 0.0045205 | 0.0011329 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_562-8_0_4_load_57 | 65 | 0.0019399 | 0.00048618 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_562-8_0_4_load_56 | 66 | 0.003592 | 0.00090024 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_562-8_0_4_load_73 | 69 | 0.0035831 | 0.00089801 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_562-8_0_4_load_140 | 71 | 0.0024284 | 0.0006086 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_562-8_0_4_load_78 | 72 | 0.0056792 | 0.0014234 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_562-8_0_4_load_64 | 76 | 0.00516 | 0.0012932 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_562-8_0_4_load_65 | 77 | 0.00074331 | 0.00018629 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_562-8_0_4_load_67 | 78 | 0.0010857 | 0.0002721 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_562-8_0_4_load_72 | 79 | 0.0048311 | 0.0012108 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_562-8_0_4_load_69 | 80 | 0.0049729 | 0.0012463 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_562-8_0_4_load_70 | 81 | 0.0020622 | 0.00051685 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_562-8_0_4_load_146 | 82 | 0.0021482 | 0.00053838 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_562-8_0_4_load_83 | 85 | 0.00040705 | 0.00010202 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_562-8_0_4_load_120 | 86 | 0.0010761 | 0.00026968 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_562-8_0_4_load_86 | 90 | 0.0015737 | 0.00039441 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_562-8_0_4_load_144 | 91 | 0.0012783 | 0.00032038 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_562-8_0_4_load_111 | 92 | 0.00040589 | 0.00010172 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_562-8_0_4_load_119 | 94 | 0.0016373 | 0.00041035 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_562-8_0_4_load_127 | 95 | 0.0029636 | 0.00074275 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_562-8_0_4_load_89 | 96 | 0.00029323 | 7.3491e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_562-8_0_4_load_90 | 97 | 0.00046323 | 0.0001161 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_562-8_0_4_load_91 | 98 | 0.00053116 | 0.00013312 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_562-8_0_4_load_103 | 101 | 0.00055424 | 0.00013891 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_562-8_0_4_load_145 | 102 | 0.00091195 | 0.00022856 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_562-8_0_4_load_104 | 103 | 0.001153 | 0.00028898 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_562-8_0_4_load_93 | 104 | 0.0022645 | 0.00056753 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_562-8_0_4_load_95 | 106 | 0.0017605 | 0.00044121 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_562-8_0_4_load_96 | 107 | 0.00029705 | 7.4447e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_562-8_0_4_load_118 | 109 | 0.00016453 | 4.1236e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_562-8_0_4_load_117 | 110 | 0.000234 | 5.8646e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_562-8_0_4_load_115 | 111 | 0.00031293 | 7.8427e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_562-8_0_4_load_97 | 112 | 0.0013885 | 0.00034798 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_562-8_0_4_load_98 | 113 | 0.00038281 | 9.5941e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_562-8_0_4_load_100 | 115 | 0.00019763 | 4.953e-05 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_562-8_0_4_load_125 | 118 | 0.00040895 | 0.00010249 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_562-8_0_4_load_136 | 119 | 0.00046296 | 0.00011603 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_562-8_0_4_load_133 | 120 | 0.00022478 | 5.6334e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_562-8_0_4_load_134 | 122 | 0.00031799 | 7.9696e-05 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_562-8_0_4_load_139 | 123 | 0.00031404 | 7.8705e-05 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_562-8_0_4_load_106 | 124 | 0.00027847 | 6.9792e-05 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_562-8_0_4_load_107 | 125 | 0.0002934 | 7.3534e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_562-8_0_4_load_108 | 126 | 0.00017407 | 4.3626e-05 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_562-8_0_4_load_109 | 127 | 0.00011729 | 2.9396e-05 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_562-8_0_4_load_110 | 128 | 0.00022909 | 5.7414e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_562-8_0_4_load_113 | 129 | 0.00015684 | 3.9308e-05 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_562-8_0_4_load_114 | 130 | 0.00026446 | 6.6281e-05 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_562-8_0_4_load_121 | 131 | 0.00035098 | 8.7965e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_562-8_0_4_load_126 | 134 | 0.00076176 | 0.00019091 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_562-8_0_4_load_130 | 136 | 0.00018894 | 4.7354e-05 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_562-8_0_4_load_142 | 137 | 0.00042664 | 0.00010693 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_562-8_0_4_load_143 | 138 | 0.00037634 | 9.432e-05 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_562-8_0_4_load_131 | 139 | 0.00028064 | 7.0335e-05 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_562-8_0_4_load_128 | 140 | 0.00041162 | 0.00010316 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_562-8_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_562-8_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.049775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_562-8_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.10057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_562-8_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.087594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_562-8_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.029715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_562-8_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.040032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_562-8_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0069679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_562-8_0_4_line_7 | NAYY 4x150 SE | 6 | 31 | 0.052692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_562-8_0_4_line_8 | NAYY 4x150 SE | 7 | 20 | 0.034846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_562-8_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.023332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_562-8_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.015744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_562-8_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.010852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_562-8_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.035292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_562-8_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.024526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_562-8_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.025786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_562-8_0_4_line_15 | NAYY 4x150 SE | 14 | 26 | 0.02069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_562-8_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.003776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_562-8_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.015669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_562-8_0_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.018397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_562-8_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0059583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_562-8_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.01994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_562-8_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.0055828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_562-8_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.016215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_562-8_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.037082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_562-8_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.0059439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_562-8_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.021627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_562-8_0_4_line_26 | NAYY 4x150 SE | 24 | 30 | 0.018605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_562-8_0_4_line_27 | NAYY 4x150 SE | 26 | 27 | 0.015484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_562-8_0_4_line_28 | NAYY 4x150 SE | 27 | 28 | 0.031644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_562-8_0_4_line_29 | NAYY 4x150 SE | 27 | 29 | 0.039198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_562-8_0_4_line_30 | NAYY 4x150 SE | 28 | 33 | 0.03048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_562-8_0_4_line_31 | NAYY 4x150 SE | 28 | 34 | 0.013103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_562-8_0_4_line_32 | NAYY 4x150 SE | 29 | 32 | 0.005967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_562-8_0_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0083313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_562-8_0_4_line_34 | NAYY 4x150 SE | 31 | 83 | 0.02192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_562-8_0_4_line_35 | NAYY 4x150 SE | 33 | 35 | 0.011028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_562-8_0_4_line_36 | NAYY 4x150 SE | 33 | 36 | 0.065024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_562-8_0_4_line_37 | NAYY 4x150 SE | 34 | 37 | 0.043637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_562-8_0_4_line_38 | NAYY 4x150 SE | 35 | 50 | 0.010326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_562-8_0_4_line_39 | NAYY 4x150 SE | 36 | 55 | 0.0063242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_562-8_0_4_line_40 | NAYY 4x150 SE | 36 | 56 | 0.020858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_562-8_0_4_line_41 | NAYY 4x150 SE | 37 | 38 | 0.024322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_562-8_0_4_line_42 | NAYY 4x150 SE | 38 | 39 | 0.0062467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_562-8_0_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.019343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_562-8_0_4_line_44 | NAYY 4x150 SE | 40 | 42 | 0.0093237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_562-8_0_4_line_45 | NAYY 4x150 SE | 41 | 43 | 0.020973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_562-8_0_4_line_46 | NAYY 4x150 SE | 42 | 44 | 0.0032428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_562-8_0_4_line_47 | NAYY 4x150 SE | 43 | 45 | 0.013203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_562-8_0_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.017006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_562-8_0_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.017249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_562-8_0_4_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0009308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_562-8_0_4_line_51 | NAYY 4x150 SE | 47 | 49 | 0.0090757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_562-8_0_4_line_52 | NAYY 4x150 SE | 48 | 51 | 0.022718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_562-8_0_4_line_53 | NAYY 4x150 SE | 49 | 50 | 0.021349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_562-8_0_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.003493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_562-8_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.026283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_562-8_0_4_line_56 | NAYY 4x150 SE | 52 | 54 | 0.18784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_562-8_0_4_line_57 | NAYY 4x150 SE | 53 | 57 | 0.00030024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_562-8_0_4_line_58 | NAYY 4x150 SE | 54 | 58 | 0.049457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_562-8_0_4_line_59 | NAYY 4x150 SE | 55 | 79 | 0.034217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_562-8_0_4_line_60 | NAYY 4x150 SE | 56 | 76 | 0.010302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_562-8_0_4_line_61 | NAYY 4x150 SE | 57 | 62 | 0.0096864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_562-8_0_4_line_62 | NAYY 4x150 SE | 59 | 60 | 0.014275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_562-8_0_4_line_63 | NAYY 4x150 SE | 59 | 61 | 0.010527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_562-8_0_4_line_64 | NAYY 4x150 SE | 60 | 62 | 0.015028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_562-8_0_4_line_65 | NAYY 4x150 SE | 61 | 63 | 0.011783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_562-8_0_4_line_66 | NAYY 4x150 SE | 63 | 64 | 0.011478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_562-8_0_4_line_67 | NAYY 4x150 SE | 64 | 65 | 0.014699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_562-8_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.011218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_562-8_0_4_line_69 | NAYY 4x150 SE | 67 | 68 | 0.093166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_562-8_0_4_line_70 | NAYY 4x150 SE | 67 | 69 | 0.093026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_562-8_0_4_line_71 | NAYY 4x150 SE | 68 | 72 | 0.072921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_562-8_0_4_line_72 | NAYY 4x150 SE | 68 | 70 | 0.028118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_562-8_0_4_line_73 | NAYY 4x150 SE | 69 | 75 | 0.018119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_562-8_0_4_line_74 | NAYY 4x150 SE | 70 | 71 | 0.013396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_562-8_0_4_line_75 | NAYY 4x150 SE | 71 | 73 | 0.071882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_562-8_0_4_line_76 | NAYY 4x150 SE | 73 | 74 | 0.057555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_562-8_0_4_line_77 | NAYY 4x150 SE | 74 | 82 | 0.014816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_562-8_0_4_line_78 | NAYY 4x150 SE | 75 | 79 | 0.030563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_562-8_0_4_line_79 | NAYY 4x150 SE | 75 | 80 | 0.09414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_562-8_0_4_line_80 | NAYY 4x150 SE | 76 | 77 | 0.15276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_562-8_0_4_line_81 | NAYY 4x150 SE | 77 | 78 | 0.015603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_562-8_0_4_line_82 | NAYY 4x150 SE | 80 | 81 | 0.10015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_562-8_0_4_line_83 | NAYY 4x150 SE | 83 | 84 | 0.002261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_562-8_0_4_line_84 | NAYY 4x150 SE | 83 | 85 | 0.024341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_562-8_0_4_line_85 | NAYY 4x150 SE | 84 | 86 | 0.082477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_562-8_0_4_line_86 | NAYY 4x150 SE | 84 | 87 | 0.009272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_562-8_0_4_line_87 | NAYY 4x150 SE | 85 | 88 | 0.012066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_562-8_0_4_line_88 | NAYY 4x150 SE | 86 | 94 | 0.040524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_562-8_0_4_line_89 | NAYY 4x150 SE | 87 | 95 | 0.035031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_562-8_0_4_line_90 | NAYY 4x150 SE | 88 | 89 | 0.048524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_562-8_0_4_line_91 | NAYY 4x150 SE | 88 | 90 | 0.063142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_562-8_0_4_line_92 | NAYY 4x150 SE | 89 | 91 | 0.023873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_562-8_0_4_line_93 | NAYY 4x150 SE | 90 | 92 | 0.096968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_562-8_0_4_line_94 | NAYY 4x150 SE | 92 | 93 | 0.0050999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_562-8_0_4_line_95 | NAYY 4x150 SE | 93 | 123 | 0.046843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_562-8_0_4_line_96 | NAYY 4x150 SE | 93 | 100 | 0.1259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_562-8_0_4_line_97 | NAYY 4x150 SE | 94 | 109 | 0.18651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_562-8_0_4_line_98 | NAYY 4x150 SE | 95 | 140 | 0.058126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_562-8_0_4_line_99 | NAYY 4x150 SE | 96 | 97 | 0.055992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_562-8_0_4_line_100 | NAYY 4x150 SE | 96 | 98 | 0.11559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_562-8_0_4_line_101 | NAYY 4x150 SE | 97 | 99 | 0.091902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_562-8_0_4_line_102 | NAYY 4x150 SE | 99 | 100 | 0.01185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_562-8_0_4_line_103 | NAYY 4x150 SE | 99 | 101 | 0.079225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_562-8_0_4_line_104 | NAYY 4x150 SE | 100 | 102 | 0.044765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_562-8_0_4_line_105 | NAYY 4x150 SE | 101 | 103 | 0.013284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_562-8_0_4_line_106 | NAYY 4x150 SE | 104 | 105 | 0.086341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_562-8_0_4_line_107 | NAYY 4x150 SE | 104 | 106 | 0.12126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_562-8_0_4_line_108 | NAYY 4x150 SE | 105 | 107 | 0.030636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_562-8_0_4_line_109 | NAYY 4x150 SE | 107 | 108 | 0.024454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_562-8_0_4_line_110 | NAYY 4x150 SE | 108 | 109 | 0.083816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_562-8_0_4_line_111 | NAYY 4x150 SE | 108 | 110 | 0.037701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_562-8_0_4_line_112 | NAYY 4x150 SE | 108 | 111 | 0.11368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_562-8_0_4_line_113 | NAYY 4x150 SE | 110 | 130 | 0.00056194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_562-8_0_4_line_114 | NAYY 4x150 SE | 111 | 115 | 0.024102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_562-8_0_4_line_115 | NAYY 4x150 SE | 112 | 113 | 0.020323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_562-8_0_4_line_116 | NAYY 4x150 SE | 112 | 114 | 0.10906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_562-8_0_4_line_117 | NAYY 4x150 SE | 113 | 115 | 0.018063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_562-8_0_4_line_118 | NAYY 4x150 SE | 114 | 116 | 0.03443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_562-8_0_4_line_119 | NAYY 4x150 SE | 116 | 117 | 0.089251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_562-8_0_4_line_120 | NAYY 4x150 SE | 116 | 118 | 0.005138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_562-8_0_4_line_121 | NAYY 4x150 SE | 117 | 119 | 0.040474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_562-8_0_4_line_122 | NAYY 4x150 SE | 117 | 120 | 0.041362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_562-8_0_4_line_123 | NAYY 4x150 SE | 118 | 121 | 0.1092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_562-8_0_4_line_124 | NAYY 4x150 SE | 120 | 122 | 0.010417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_562-8_0_4_line_125 | NAYY 4x150 SE | 121 | 134 | 0.0703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_562-8_0_4_line_126 | NAYY 4x150 SE | 121 | 131 | 0.16212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_562-8_0_4_line_127 | NAYY 4x150 SE | 124 | 125 | 0.080999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_562-8_0_4_line_128 | NAYY 4x150 SE | 124 | 126 | 0.02191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_562-8_0_4_line_129 | NAYY 4x150 SE | 125 | 127 | 0.014097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_562-8_0_4_line_130 | NAYY 4x150 SE | 126 | 128 | 0.10105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_562-8_0_4_line_131 | NAYY 4x150 SE | 128 | 129 | 0.022386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_562-8_0_4_line_132 | NAYY 4x150 SE | 129 | 130 | 0.034828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_562-8_0_4_line_133 | NAYY 4x150 SE | 131 | 132 | 0.051344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_562-8_0_4_line_134 | NAYY 4x150 SE | 132 | 133 | 0.006302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_562-8_0_4_line_135 | NAYY 4x150 SE | 133 | 135 | 0.089614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_562-8_0_4_line_136 | NAYY 4x150 SE | 133 | 136 | 0.025914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_562-8_0_4_line_137 | NAYY 4x150 SE | 134 | 137 | 0.014225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_562-8_0_4_line_138 | NAYY 4x150 SE | 135 | 138 | 0.017109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_562-8_0_4_line_139 | NAYY 4x150 SE | 136 | 139 | 0.082312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_562-8_0_4_trafo_9 | 0.25 MVA 20/0.4 kV | 141 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2620406.1491 | 1166616.0363 | 2620407.8401 | 1166616.2755 | 2620417.0787 | 1166616.6736 | 2620419.5546 | 1166616.5436
1 | 2620406.1491 | 1166616.0363 | 2620406.9291 | 1166632.1137 | 2620408.5215 | 1166645.6259 | 2620410.734 | 1166659.1402 | 2620412.3069 | 1166665.3222
2 | 2620306.5577 | 1166603.6269 | 2620318.123 | 1166601.8873 | 2620393.8451 | 1166614.3716 | 2620406.1491 | 1166616.0363
3 | 2620306.5577 | 1166603.6269 | 2620301.5883 | 1166594.8836 | 2620313.7111 | 1166543.6209 | 2620319.4329 | 1166519.4277
4 | 2620306.5577 | 1166603.6269 | 2620296.4904 | 1166615.1544 | 2620289.5728 | 1166627.7961
5 | 2620319.4329 | 1166519.4277 | 2620325.2361 | 1166494.8908 | 2620329.2619 | 1166480.6303
6 | 2620286.2279 | 1166633.9087 | 2620289.5728 | 1166627.7961
7 | 2620329.2619 | 1166480.6303 | 2620334.1153 | 1166463.4382 | 2620335.6262 | 1166458.0851 | 2620337.7124 | 1166447.8648 | 2620338.1659 | 1166435.9936 | 2620338.0297 | 1166430.9907 | 2620337.5641 | 1166429.0967
8 | 2620269.5004 | 1166664.4773 | 2620286.2279 | 1166633.9087
9 | 2620149.5876 | 1166678.6582 | 2620155.0228 | 1166680.9905 | 2620170.6845 | 1166688.6114
10 | 2620134.7771 | 1166673.4746 | 2620141.0798 | 1166675.0075 | 2620149.5876 | 1166678.6582
11 | 2620180.4425 | 1166693.3596 | 2620170.6845 | 1166688.6114
12 | 2620134.7771 | 1166673.4746 | 2620129.1357 | 1166687.0515 | 2620127.0555 | 1166695.6377 | 2620128.5265 | 1166699.8559 | 2620134.089 | 1166704.5648
13 | 2620155.6882 | 1166716.0243 | 2620136.3051 | 1166706.4407 | 2620134.089 | 1166704.5648
14 | 2620155.6882 | 1166716.0243 | 2620178.8028 | 1166727.4529
15 | 2620197.7354 | 1166735.7489 | 2620187.5555 | 1166731.7805 | 2620178.8028 | 1166727.4529
16 | 2620229.555 | 1166652.2195 | 2620233.0327 | 1166653.6903
17 | 2620229.555 | 1166652.2195 | 2620215.1236 | 1166646.1158
18 | 2620250.8072 | 1166657.5377 | 2620245.3554 | 1166655.5138 | 2620235.7962 | 1166654.8591 | 2620233.0327 | 1166653.6903
19 | 2620209.6359 | 1166643.7948 | 2620215.1236 | 1166646.1158
20 | 2620269.5004 | 1166664.4773 | 2620250.8072 | 1166657.5377
21 | 2620209.6359 | 1166643.7948 | 2620206.2813 | 1166642.376 | 2620205.2462 | 1166640.7346
22 | 2620269.5004 | 1166664.4773 | 2620261.1459 | 1166678.3748
23 | 2620178.2902 | 1166616.8261 | 2620188.9487 | 1166622.1745 | 2620197.2959 | 1166628.1276 | 2620205.2462 | 1166640.7346
24 | 2620258.0835 | 1166683.4691 | 2620261.1459 | 1166678.3748
25 | 2620157.9335 | 1166609.5754 | 2620176.3922 | 1166615.8737 | 2620178.2902 | 1166616.8261
26 | 2620246.4989 | 1166698.0108 | 2620257.3756 | 1166684.6466 | 2620258.0835 | 1166683.4691
27 | 2620212.7303 | 1166739.5021 | 2620200.2694 | 1166736.7367 | 2620197.7354 | 1166735.7489
28 | 2620196.2348 | 1166766.5271 | 2620199.7607 | 1166760.5803 | 2620212.7303 | 1166739.5021
29 | 2620212.7303 | 1166739.5021 | 2620237.4734 | 1166709.1004
30 | 2620180.6913 | 1166792.766 | 2620196.2348 | 1166766.5271
31 | 2620196.2348 | 1166766.5271 | 2620184.6204 | 1166760.462
32 | 2620241.2399 | 1166704.4725 | 2620237.4734 | 1166709.1004
33 | 2620246.4989 | 1166698.0108 | 2620241.2399 | 1166704.4725
34 | 2620331.2705 | 1166408.123 | 2620335.2431 | 1166419.6533 | 2620337.5641 | 1166429.0967
35 | 2620180.6913 | 1166792.766 | 2620171.2406 | 1166787.0826
36 | 2620180.6913 | 1166792.766 | 2620170.3262 | 1166811.0961 | 2620147.7402 | 1166848.8173
37 | 2620145.8825 | 1166740.3739 | 2620179.2014 | 1166757.6322 | 2620184.6204 | 1166760.462
38 | 2620162.3912 | 1166781.7607 | 2620171.2406 | 1166787.0826
39 | 2620147.7402 | 1166848.8173 | 2620144.7119 | 1166854.3693
40 | 2620147.7402 | 1166848.8173 | 2620166.6845 | 1166857.5453
41 | 2620145.8825 | 1166740.3739 | 2620124.2858 | 1166729.1873
42 | 2620118.739 | 1166726.3143 | 2620124.2858 | 1166729.1873
43 | 2620073.0881 | 1166734.3522 | 2620086.6612 | 1166740.948 | 2620090.5148 | 1166742.7464
44 | 2620073.0881 | 1166734.3522 | 2620068.418 | 1166732.0827 | 2620064.3086 | 1166731.6577
45 | 2620109.5199 | 1166751.6159 | 2620090.5148 | 1166742.7464
46 | 2620061.2279 | 1166732.6702 | 2620064.3086 | 1166731.6577 | 2620064.3086 | 1166731.6577
47 | 2620121.1253 | 1166757.9107 | 2620109.6213 | 1166751.6633 | 2620109.5199 | 1166751.6159
48 | 2620061.2279 | 1166732.6702 | 2620061.2279 | 1166732.6702 | 2620058.9594 | 1166735.7308 | 2620053.3992 | 1166747.6982
49 | 2620121.1253 | 1166757.9107 | 2620136.2835 | 1166766.1425
50 | 2620053.3992 | 1166747.6982 | 2620053.007 | 1166748.5424
51 | 2620144.0961 | 1166770.7585 | 2620137.6952 | 1166766.9091 | 2620136.2835 | 1166766.1425
52 | 2620053.007 | 1166748.5424 | 2620043.4344 | 1166769.1456
53 | 2620144.0961 | 1166770.7585 | 2620162.3912 | 1166781.7607
54 | 2620043.4344 | 1166769.1456 | 2620041.9625 | 1166772.3134
55 | 2620030.6513 | 1166796.0349 | 2620034.5563 | 1166788.2539 | 2620041.9625 | 1166772.3134
56 | 2620041.9625 | 1166772.3134 | 2619867.6901 | 1166702.2333
57 | 2620030.6513 | 1166796.0349 | 2620030.5166 | 1166796.3033
58 | 2619867.6901 | 1166702.2333 | 2619866.5511 | 1166704.689 | 2619856.463 | 1166718.2181 | 2619848.38 | 1166729.575 | 2619845.6673 | 1166737.3811 | 2619843.9679 | 1166744.8608
59 | 2620128.3272 | 1166884.4081 | 2620144.7119 | 1166854.3693
60 | 2620176.0407 | 1166861.8559 | 2620166.6845 | 1166857.5453
61 | 2620026.1719 | 1166804.9606 | 2620030.5166 | 1166796.3033
62 | 2620012.8793 | 1166831.0713 | 2620014.8673 | 1166827.486 | 2620019.4313 | 1166818.3917
63 | 2620012.8793 | 1166831.0713 | 2620007.7746 | 1166840.2774
64 | 2620026.1719 | 1166804.9606 | 2620019.4313 | 1166818.3917
65 | 2620002.0605 | 1166850.5825 | 2620007.7746 | 1166840.2774
66 | 2620002.0605 | 1166850.5825 | 2620000.8205 | 1166852.8188 | 2619996.3218 | 1166860.522
67 | 2619996.3218 | 1166860.522 | 2619988.9091 | 1166873.2148
68 | 2619983.2519 | 1166882.9018 | 2619988.9091 | 1166873.2148
69 | 2620066.705 | 1167011.8845 | 2620065.4119 | 1167013.9924 | 2620040.6564 | 1167011.72 | 2620060.8676 | 1166985.6407 | 2620065.4114 | 1166979.6751 | 2620072.6432 | 1166968.7937 | 2620077.9084 | 1166957.7057
70 | 2620066.705 | 1167011.8845 | 2620079.3567 | 1166989.382 | 2620106.7061 | 1166927.9871
71 | 2620077.9084 | 1166957.7057 | 2620088.5719 | 1166934.6629 | 2620105.2348 | 1166891.5968 | 2620103.9508 | 1166891.1699
72 | 2620051.438 | 1166953.1263 | 2620054.9238 | 1166956.862 | 2620068.7707 | 1166957.0638 | 2620077.9084 | 1166957.7057
73 | 2620114.0789 | 1166911.4363 | 2620106.7061 | 1166927.9871
74 | 2620051.438 | 1166953.1263 | 2620039.3408 | 1166958.88
75 | 2619970.8235 | 1166962.7746 | 2619999.9466 | 1166970.753 | 2620008.3671 | 1166970.6809 | 2620023.4689 | 1166966.4289 | 2620039.3408 | 1166958.88
76 | 2619970.8235 | 1166962.7746 | 2619975.1563 | 1166958.1311 | 2619984.7146 | 1166954.2719 | 2619988.1322 | 1166946.3015 | 2619995.239 | 1166929.2276 | 2620000.2876 | 1166916.4601
77 | 2620000.2876 | 1166916.4601 | 2619988.2447 | 1166907.7825
78 | 2620114.0789 | 1166911.4363 | 2620116.315 | 1166906.5969 | 2620124.8494 | 1166890.7841 | 2620128.3272 | 1166884.4081
79 | 2620114.0789 | 1166911.4363 | 2620118.3105 | 1166914.1963 | 2620127.7414 | 1166918.7301 | 2620145.1766 | 1166924.1021 | 2620165.4146 | 1166929.1279 | 2620183.0486 | 1166934.5119 | 2620200.4906 | 1166937.8387 | 2620203.6312 | 1166938.9558
80 | 2620176.0407 | 1166861.8559 | 2620187.4312 | 1166867.1037 | 2620204.4431 | 1166882.2795 | 2620290.2667 | 1166901.4775 | 2620319.136 | 1166907.4264
81 | 2620334.6648 | 1166908.3794 | 2620322.5709 | 1166908.1342 | 2620319.136 | 1166907.4264
82 | 2620203.6312 | 1166938.9558 | 2620207.4635 | 1166940.3188 | 2620210.5408 | 1166942.5859 | 2620214.8374 | 1166946.48 | 2620219.7485 | 1166952.0215 | 2620224.8558 | 1166958.3863 | 2620229.3611 | 1166961.6809 | 2620240.0927 | 1166966.3859 | 2620267.5701 | 1166978.7512 | 2620279.6661 | 1166982.8828 | 2620285.8282 | 1166982.9036 | 2620289.9137 | 1166980.9605
83 | 2620331.2705 | 1166408.123 | 2620329.0364 | 1166407.7375
84 | 2620331.2705 | 1166408.123 | 2620331.3516 | 1166404.5104 | 2620332.9407 | 1166383.8437
85 | 2620329.0364 | 1166407.7375 | 2620319.5704 | 1166395.2437 | 2620287.226 | 1166356.5153 | 2620282.7377 | 1166352.5982 | 2620277.2472 | 1166350.7455 | 2620272.7145 | 1166350.0096
86 | 2620319.8155 | 1166406.5391 | 2620329.0364 | 1166407.7375
87 | 2620333.8658 | 1166371.8135 | 2620332.9407 | 1166383.8437
88 | 2620272.7145 | 1166350.0096 | 2620268.7159 | 1166349.3605 | 2620244.9799 | 1166350.4146 | 2620235.1926 | 1166351.4489 | 2620232.4801 | 1166352.392
89 | 2620319.8155 | 1166406.5391 | 2620291.1585 | 1166407.2318 | 2620287.7188 | 1166407.9539 | 2620285.5308 | 1166409.7808
90 | 2620333.8658 | 1166371.8135 | 2620345.0894 | 1166364.8479 | 2620355.75 | 1166359.1477 | 2620368.3305 | 1166353.9209 | 2620377.7548 | 1166351.5627
91 | 2620333.8658 | 1166371.8135 | 2620332.4934 | 1166322.5174 | 2620331.7939 | 1166308.708
92 | 2620377.7548 | 1166351.5627 | 2620382.5063 | 1166356.8703 | 2620386.1373 | 1166362.9968 | 2620389.7511 | 1166371.9357
93 | 2620331.7939 | 1166308.708 | 2620331.625 | 1166305.3725 | 2620323.6799 | 1166225.5167 | 2620322.7716 | 1166212.1691
94 | 2620322.4253 | 1166207.081 | 2620322.7716 | 1166212.1691
95 | 2620287.9359 | 1166175.2821 | 2620322.4253 | 1166207.081
96 | 2620360.3903 | 1166089.3054 | 2620355.7343 | 1166098.7167 | 2620332.1611 | 1166146.5389 | 2620326.3578 | 1166162.4829 | 2620322.1886 | 1166179.6664 | 2620321.7249 | 1166196.8512 | 2620322.4253 | 1166207.081
97 | 2620049.8418 | 1166379.7564 | 2620077.0506 | 1166376.7883 | 2620092.5721 | 1166375.695 | 2620140.4216 | 1166377.3334 | 2620145.7913 | 1166376.3953 | 2620161.5283 | 1166370.3782 | 2620171.0163 | 1166367.2751 | 2620181.098 | 1166365.2078 | 2620189.3452 | 1166364.5573 | 2620209.3269 | 1166359.8108 | 2620217.1124 | 1166357.5913 | 2620225.0907 | 1166354.9612 | 2620232.4801 | 1166352.392
98 | 2620241.7285 | 1166413.5577 | 2620243.7589 | 1166422.1577 | 2620247.0307 | 1166425.8594 | 2620272.3184 | 1166423.1209 | 2620276.6152 | 1166420.2227 | 2620285.5308 | 1166409.7808
99 | 2620245.7205 | 1166023.0191 | 2620251.0726 | 1166020.5803 | 2620263.2084 | 1166013.4509 | 2620271.6423 | 1166009.7996 | 2620277.1852 | 1166009.8183 | 2620283.3386 | 1166012.7071 | 2620293.5818 | 1166019.7007 | 2620295.1439 | 1166021.1063
100 | 2620207.5225 | 1165923.2728 | 2620204.939 | 1165937.9284 | 2620202.529 | 1165951.1158 | 2620202.6049 | 1165960.443 | 2620207.6981 | 1165971.31 | 2620238.4407 | 1166020.4267 | 2620241.8243 | 1166022.7948 | 2620245.7205 | 1166023.0191 | 2620245.7205 | 1166023.0191
101 | 2620365.6552 | 1166078.6845 | 2620362.6005 | 1166074.172 | 2620359.5401 | 1166069.0479 | 2620346.4309 | 1166058.3649 | 2620311.3893 | 1166035.7243 | 2620295.1439 | 1166021.1063
102 | 2620365.6552 | 1166078.6845 | 2620360.3903 | 1166089.3054
103 | 2620365.6552 | 1166078.6845 | 2620368.9582 | 1166070.9474 | 2620370.4276 | 1166064.2934 | 2620370.249 | 1166055.9775 | 2620359.2879 | 1166001.3873
104 | 2620360.3903 | 1166089.3054 | 2620364.8167 | 1166086.6746 | 2620368.7274 | 1166084.8425 | 2620373.4483 | 1166083.4244 | 2620380.2293 | 1166084.0587 | 2620387.4063 | 1166085.317 | 2620403.2088 | 1166089.6615
105 | 2620359.2879 | 1166001.3873 | 2620358.9401 | 1165999.6555 | 2620358.5328 | 1165993.3176 | 2620359.4358 | 1165988.2309
106 | 2619958.8427 | 1166452.5115 | 2619962.9282 | 1166462.519 | 2619965.1599 | 1166470.5638 | 2619969.3995 | 1166494.1119 | 2619972.8333 | 1166511.3208 | 2619975.2058 | 1166536.9193
107 | 2620026.4057 | 1166575.8088 | 2620022.0643 | 1166582.9646 | 2620014.4353 | 1166595.7902 | 2620010.7243 | 1166599.8688 | 2620007.0249 | 1166602.7246 | 2620001.8751 | 1166604.3861 | 2619996.955 | 1166603.7139 | 2619990.9982 | 1166601.682 | 2619981.998 | 1166594.0483 | 2619976.068 | 1166586.247 | 2619974.6657 | 1166577.4379 | 2619974.9131 | 1166565.1548 | 2619975.9756 | 1166554.1083 | 2619975.2058 | 1166536.9193
108 | 2619958.8427 | 1166452.5115 | 2619964.4511 | 1166434.9546 | 2619966.8263 | 1166422.9832
109 | 2619968.9881 | 1166398.8293 | 2619969.6551 | 1166405.4681 | 2619969.5118 | 1166409.4474 | 2619966.8263 | 1166422.9832
110 | 2619968.9881 | 1166398.8293 | 2619985.4423 | 1166398.1057 | 2619993.5089 | 1166396.4872 | 2620000.0534 | 1166394.4745 | 2620023.4965 | 1166384.7141 | 2620037.3957 | 1166381.1141 | 2620049.8418 | 1166379.7564
111 | 2619968.9881 | 1166398.8293 | 2619971.6775 | 1166393.5244 | 2619979.4245 | 1166362.7305
112 | 2619968.9881 | 1166398.8293 | 2619855.4689 | 1166392.8173
113 | 2619979.5616 | 1166362.1855 | 2619979.4245 | 1166362.7305
114 | 2619831.3966 | 1166391.6169 | 2619838.4686 | 1166391.917 | 2619855.4689 | 1166392.8173
115 | 2619794.7883 | 1166381.7006 | 2619797.9185 | 1166382.201 | 2619807.784 | 1166385.3127 | 2619813.891 | 1166388.3235
116 | 2619689.4966 | 1166355.2878 | 2619714.9623 | 1166366.0209 | 2619746.722 | 1166374.0178 | 2619794.7883 | 1166381.7006
117 | 2619831.3966 | 1166391.6169 | 2619822.2794 | 1166391.23 | 2619817.6131 | 1166390.1586 | 2619813.891 | 1166388.3235
118 | 2619684.3395 | 1166321.6541 | 2619684.7198 | 1166329.437 | 2619684.6823 | 1166340.8982 | 2619686.7216 | 1166347.0413 | 2619689.4966 | 1166355.2878
119 | 2619603.3417 | 1166354.9513 | 2619607.8664 | 1166352.5092 | 2619614.249 | 1166348.4835 | 2619649.7948 | 1166341.1845 | 2619659.2267 | 1166338.7696 | 2619670.7467 | 1166332.2595 | 2619679.7006 | 1166326.2079 | 2619684.3395 | 1166321.6541
120 | 2619684.3395 | 1166321.6541 | 2619686.9783 | 1166317.2455
121 | 2619603.3417 | 1166354.9513 | 2619597.8886 | 1166343.8946 | 2619594.4363 | 1166332.0108 | 2619592.7565 | 1166323.59 | 2619592.1673 | 1166316.4289
122 | 2619603.3417 | 1166354.9513 | 2619597.9805 | 1166362.7155 | 2619583.3218 | 1166388.0917 | 2619582.0821 | 1166390.4003
123 | 2619744.6998 | 1166224.8806 | 2619743.6852 | 1166226.1113 | 2619716.8706 | 1166262.464 | 2619697.5487 | 1166299.5861 | 2619686.9783 | 1166317.2455
124 | 2619582.0821 | 1166390.4003 | 2619577.1543 | 1166399.5777
125 | 2619744.6998 | 1166224.8806 | 2619734.27 | 1166206.993 | 2619717.5189 | 1166181.3476 | 2619713.1493 | 1166178.4429 | 2619709.2538 | 1166178.03 | 2619705.1407 | 1166178.6279 | 2619701.4459 | 1166180.0499 | 2619700.1765 | 1166181.1545
126 | 2619744.6998 | 1166224.8806 | 2619821.2025 | 1166132.2074 | 2619845.5356 | 1166101.1719 | 2619846.9402 | 1166099.0878
127 | 2620055.0761 | 1166199.6829 | 2620064.2781 | 1166180.0246 | 2620072.9503 | 1166164.5012 | 2620079.7881 | 1166152.6848 | 2620092.7444 | 1166140.4106 | 2620098.5708 | 1166132.2679
128 | 2620055.0761 | 1166199.6829 | 2620051.4553 | 1166207.4179 | 2620045.4849 | 1166219.3807
129 | 2620098.5708 | 1166132.2679 | 2620106.7742 | 1166120.8031
130 | 2619999.2099 | 1166308.769 | 2620003.523 | 1166294.8582 | 2620008.4913 | 1166283.4134 | 2620019.2293 | 1166265.8513 | 2620036.1566 | 1166238.0714 | 2620045.4849 | 1166219.3807
131 | 2619999.2099 | 1166308.769 | 2619998.9573 | 1166309.5838 | 2619992.7348 | 1166327.5722 | 2619991.4926 | 1166329.7408
132 | 2619979.5616 | 1166362.1855 | 2619983.6401 | 1166345.9735 | 2619985.7122 | 1166339.8328 | 2619991.4926 | 1166329.7408
133 | 2619876.4807 | 1166057.1184 | 2619872.8756 | 1166061.4976 | 2619858.7454 | 1166081.5722 | 2619846.9402 | 1166099.0878
134 | 2619876.4807 | 1166057.1184 | 2619878.3486 | 1166054.8456 | 2619880.4092 | 1166052.1844
135 | 2619880.4092 | 1166052.1844 | 2619881.9285 | 1166055.7801 | 2619892.8853 | 1166097.1704 | 2619901.7988 | 1166133.6404 | 2619902.4627 | 1166138.9452
136 | 2619880.4092 | 1166052.1844 | 2619884.2282 | 1166050.2627 | 2619890.4004 | 1166045.1694 | 2619897.6069 | 1166039.8683 | 2619902.2388 | 1166039.1337
137 | 2619690.3186 | 1166190.4521 | 2619692.9918 | 1166190.0495 | 2619695.8728 | 1166186.9907 | 2619698.6205 | 1166182.5086 | 2619700.1765 | 1166181.1545
138 | 2619902.4627 | 1166138.9452 | 2619899.5305 | 1166138.9355 | 2619895.2788 | 1166139.7664 | 2619892.1222 | 1166142.8019 | 2619889.6484 | 1166147.7073
139 | 2619980.4233 | 1166018.6538 | 2619978.7734 | 1166022.1279 | 2619972.6029 | 1166024.353 | 2619907.1513 | 1166038.3546 | 2619902.2388 | 1166039.1337

## bus_geodata
| x | y | coords
0 | 2620419.5546 | 1166616.5436
1 | 2620406.1491 | 1166616.0363
2 | 2620412.3069 | 1166665.3222
3 | 2620306.5577 | 1166603.6269
4 | 2620319.4329 | 1166519.4277
5 | 2620289.5728 | 1166627.7961
6 | 2620329.2619 | 1166480.6303
7 | 2620286.2279 | 1166633.9087
8 | 2620149.5876 | 1166678.6582
9 | 2620170.6845 | 1166688.6114
10 | 2620134.7771 | 1166673.4746
11 | 2620180.4425 | 1166693.3596
12 | 2620134.089 | 1166704.5648
13 | 2620155.6882 | 1166716.0243
14 | 2620178.8028 | 1166727.4529
15 | 2620229.555 | 1166652.2195
16 | 2620233.0327 | 1166653.6903
17 | 2620215.1236 | 1166646.1158
18 | 2620250.8072 | 1166657.5377
19 | 2620209.6359 | 1166643.7948
20 | 2620269.5004 | 1166664.4773
21 | 2620205.2462 | 1166640.7346
22 | 2620261.1459 | 1166678.3748
23 | 2620178.2902 | 1166616.8261
24 | 2620258.0835 | 1166683.4691
25 | 2620157.9335 | 1166609.5754
26 | 2620197.7354 | 1166735.7489
27 | 2620212.7303 | 1166739.5021
28 | 2620196.2348 | 1166766.5271
29 | 2620237.4734 | 1166709.1004
30 | 2620246.4989 | 1166698.0108
31 | 2620337.5641 | 1166429.0967
32 | 2620241.2399 | 1166704.4725
33 | 2620180.6913 | 1166792.766
34 | 2620184.6204 | 1166760.462
35 | 2620171.2406 | 1166787.0826
36 | 2620147.7402 | 1166848.8173
37 | 2620145.8825 | 1166740.3739
38 | 2620124.2858 | 1166729.1873
39 | 2620118.739 | 1166726.3143
40 | 2620073.0881 | 1166734.3522
41 | 2620090.5148 | 1166742.7464
42 | 2620064.3086 | 1166731.6577
43 | 2620109.5199 | 1166751.6159
44 | 2620061.2279 | 1166732.6702
45 | 2620121.1253 | 1166757.9107
46 | 2620053.3992 | 1166747.6982
47 | 2620136.2835 | 1166766.1425
48 | 2620053.007 | 1166748.5424
49 | 2620144.0961 | 1166770.7585
50 | 2620162.3912 | 1166781.7607
51 | 2620043.4344 | 1166769.1456
52 | 2620041.9625 | 1166772.3134
53 | 2620030.6513 | 1166796.0349
54 | 2619867.6901 | 1166702.2333
55 | 2620144.7119 | 1166854.3693
56 | 2620166.6845 | 1166857.5453
57 | 2620030.5166 | 1166796.3033
58 | 2619843.9679 | 1166744.8608
59 | 2620012.8793 | 1166831.0713
60 | 2620019.4313 | 1166818.3917
61 | 2620007.7746 | 1166840.2774
62 | 2620026.1719 | 1166804.9606
63 | 2620002.0605 | 1166850.5825
64 | 2619996.3218 | 1166860.522
65 | 2619988.9091 | 1166873.2148
66 | 2619983.2519 | 1166882.9018
67 | 2620066.705 | 1167011.8845
68 | 2620077.9084 | 1166957.7057
69 | 2620106.7061 | 1166927.9871
70 | 2620051.438 | 1166953.1263
71 | 2620039.3408 | 1166958.88
72 | 2620103.9508 | 1166891.1699
73 | 2619970.8235 | 1166962.7746
74 | 2620000.2876 | 1166916.4601
75 | 2620114.0789 | 1166911.4363
76 | 2620176.0407 | 1166861.8559
77 | 2620319.136 | 1166907.4264
78 | 2620334.6648 | 1166908.3794
79 | 2620128.3272 | 1166884.4081
80 | 2620203.6312 | 1166938.9558
81 | 2620289.9137 | 1166980.9605
82 | 2619988.2447 | 1166907.7825
83 | 2620331.2705 | 1166408.123
84 | 2620329.0364 | 1166407.7375
85 | 2620332.9407 | 1166383.8437
86 | 2620272.7145 | 1166350.0097
87 | 2620319.8155 | 1166406.5391
88 | 2620333.8658 | 1166371.8135
89 | 2620377.7548 | 1166351.5627
90 | 2620331.7939 | 1166308.708
91 | 2620389.7511 | 1166371.9357
92 | 2620322.7716 | 1166212.1691
93 | 2620322.4253 | 1166207.081
94 | 2620232.4801 | 1166352.392
95 | 2620285.5308 | 1166409.7808
96 | 2620245.7205 | 1166023.0191
97 | 2620295.1439 | 1166021.1063
98 | 2620207.5225 | 1165923.2728
99 | 2620365.6552 | 1166078.6845
100 | 2620360.3903 | 1166089.3054
101 | 2620359.2879 | 1166001.3873
102 | 2620403.2088 | 1166089.6615
103 | 2620359.4358 | 1165988.2309
104 | 2619975.2058 | 1166536.9193
105 | 2619958.8427 | 1166452.5115
106 | 2620026.4057 | 1166575.8088
107 | 2619966.8263 | 1166422.9832
108 | 2619968.9881 | 1166398.8293
109 | 2620049.8418 | 1166379.7564
110 | 2619979.4245 | 1166362.7305
111 | 2619855.4689 | 1166392.8173
112 | 2619794.7883 | 1166381.7006
113 | 2619813.891 | 1166388.3235
114 | 2619689.4966 | 1166355.2878
115 | 2619831.3966 | 1166391.6169
116 | 2619684.3395 | 1166321.6541
117 | 2619603.3417 | 1166354.9513
118 | 2619686.9783 | 1166317.2455
119 | 2619592.1673 | 1166316.4289
120 | 2619582.0821 | 1166390.4003
121 | 2619744.6998 | 1166224.8806
122 | 2619577.1543 | 1166399.5777
123 | 2620287.9359 | 1166175.2821
124 | 2620055.0761 | 1166199.6829
125 | 2620098.5708 | 1166132.2679
126 | 2620045.4849 | 1166219.3807
127 | 2620106.7742 | 1166120.8031
128 | 2619999.2099 | 1166308.769
129 | 2619991.4926 | 1166329.7408
130 | 2619979.5616 | 1166362.1855
131 | 2619846.9402 | 1166099.0878
132 | 2619876.4807 | 1166057.1184
133 | 2619880.4092 | 1166052.1844
134 | 2619700.1765 | 1166181.1545
135 | 2619902.4627 | 1166138.9452
136 | 2619902.2388 | 1166039.1337
137 | 2619690.3186 | 1166190.4521
138 | 2619889.6484 | 1166147.7073
139 | 2619980.4233 | 1166018.6538
140 | 2620241.7285 | 1166413.5577
141 | 2620134.7771 | 1166673.4746

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1