## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_563-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_563-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_563-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_563-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_563-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_563-1_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_563-1_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_563-1_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_563-1_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_563-1_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_563-1_0_3_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_563-1_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_563-1_0_3_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_563-1_0_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_563-1_0_3_node_91 | 0.4 | n |  | TRUE
15 | bus_LV_563-1_0_3_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_563-1_0_3_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_563-1_0_3_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_563-1_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_563-1_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_563-1_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_563-1_0_3_node_85 | 0.4 | n |  | TRUE
22 | bus_LV_563-1_0_3_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_563-1_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_563-1_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_563-1_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_563-1_0_3_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_563-1_0_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_563-1_0_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_563-1_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_563-1_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_563-1_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_563-1_0_3_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_563-1_0_3_node_89 | 0.4 | n |  | TRUE
34 | bus_LV_563-1_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_563-1_0_3_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_563-1_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_563-1_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_563-1_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_563-1_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_563-1_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_563-1_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_563-1_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_563-1_0_3_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_563-1_0_3_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_563-1_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_563-1_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_563-1_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_563-1_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_563-1_0_3_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_563-1_0_3_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_563-1_0_3_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_563-1_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_563-1_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_563-1_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_563-1_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_563-1_0_3_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_563-1_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_563-1_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_563-1_0_3_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_563-1_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_563-1_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_563-1_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_563-1_0_3_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_563-1_0_3_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_563-1_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_563-1_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_563-1_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_563-1_0_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_563-1_0_3_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_563-1_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_563-1_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_563-1_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_563-1_0_3_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_563-1_0_3_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_563-1_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_563-1_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_563-1_0_3_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_563-1_0_3_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_563-1_0_3_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_563-1_0_3_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_563-1_0_3_node_92 | 0.4 | n |  | TRUE
82 | bus_MV_194_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_563-1_0_3_load_0 | 0 | 0.0022676 | 0.00056832 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_563-1_0_3_load_4 | 4 | 0.0008881 | 0.00022258 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_563-1_0_3_load_6 | 6 | 0.0010536 | 0.00026406 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_563-1_0_3_load_7 | 7 | 0.0010709 | 0.00026839 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_563-1_0_3_load_9 | 9 | 0.00057276 | 0.00014355 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_563-1_0_3_load_19 | 10 | 0.0018639 | 0.00046713 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_563-1_0_3_load_26 | 12 | 0.00034324 | 8.6025e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_563-1_0_3_load_22 | 13 | 0.0012957 | 0.00032474 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_563-1_0_3_load_91 | 14 | 0.00093375 | 0.00023402 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_563-1_0_3_load_78 | 15 | 0.00047757 | 0.00011969 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_563-1_0_3_load_80 | 17 | 0.0005362 | 0.00013438 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_563-1_0_3_load_14 | 18 | 0.0049431 | 0.0012389 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_563-1_0_3_load_10 | 19 | 0.0010875 | 0.00027254 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_563-1_0_3_load_21 | 20 | 0.0030885 | 0.00077405 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_563-1_0_3_load_85 | 21 | 0.0011321 | 0.00028373 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_563-1_0_3_load_90 | 22 | 0.00059182 | 0.00014832 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_563-1_0_3_load_11 | 23 | 0.00048669 | 0.00012198 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_563-1_0_3_load_13 | 24 | 0.00099522 | 0.00024942 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_563-1_0_3_load_15 | 25 | 0.0013179 | 0.00033029 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_563-1_0_3_load_36 | 27 | 0.00053357 | 0.00013373 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_563-1_0_3_load_37 | 28 | 0.00074607 | 0.00018698 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_563-1_0_3_load_24 | 30 | 0.00091124 | 0.00022838 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_563-1_0_3_load_25 | 31 | 0.00087712 | 0.00021983 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_563-1_0_3_load_89 | 33 | 0.0012623 | 0.00031636 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_563-1_0_3_load_88 | 35 | 0.0033224 | 0.00083266 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_563-1_0_3_load_31 | 36 | 0.00068167 | 0.00017084 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_563-1_0_3_load_27 | 37 | 0.00058511 | 0.00014664 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_563-1_0_3_load_28 | 38 | 0.00072999 | 0.00018295 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_563-1_0_3_load_30 | 40 | 0.0008203 | 0.00020559 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_563-1_0_3_load_34 | 41 | 0.0014815 | 0.00037129 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_563-1_0_3_load_53 | 44 | 0.0012949 | 0.00032453 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_563-1_0_3_load_39 | 45 | 0.0026629 | 0.00066738 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_563-1_0_3_load_41 | 46 | 0.00052065 | 0.00013049 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_563-1_0_3_load_42 | 47 | 0.00072627 | 0.00018202 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_563-1_0_3_load_38 | 48 | 0.0028005 | 0.00070186 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_563-1_0_3_load_57 | 49 | 0.001478 | 0.00037041 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_563-1_0_3_load_52 | 50 | 0.0026228 | 0.00065735 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_563-1_0_3_load_43 | 52 | 0.00094229 | 0.00023616 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_563-1_0_3_load_44 | 53 | 0.000521 | 0.00013057 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_563-1_0_3_load_45 | 54 | 0.00052848 | 0.00013245 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_563-1_0_3_load_46 | 55 | 0.0017977 | 0.00045054 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_563-1_0_3_load_56 | 56 | 0.0013144 | 0.00032942 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_563-1_0_3_load_47 | 57 | 0.0022126 | 0.00055453 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_563-1_0_3_load_48 | 58 | 0.0020976 | 0.00052571 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_563-1_0_3_load_49 | 59 | 0.0013389 | 0.00033557 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_563-1_0_3_load_50 | 60 | 0.0017726 | 0.00044425 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_563-1_0_3_load_51 | 61 | 0.0016158 | 0.00040495 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_563-1_0_3_load_58 | 62 | 0.0011619 | 0.00029119 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_563-1_0_3_load_59 | 63 | 0.00048095 | 0.00012054 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_563-1_0_3_load_60 | 64 | 0.0016873 | 0.00042287 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_563-1_0_3_load_61 | 65 | 0.0010803 | 0.00027076 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_563-1_0_3_load_62 | 66 | 0.00074486 | 0.00018668 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_563-1_0_3_load_63 | 67 | 0.001614 | 0.0004045 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_563-1_0_3_load_64 | 68 | 0.0014701 | 0.00036844 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_563-1_0_3_load_65 | 69 | 0.0010998 | 0.00027564 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_563-1_0_3_load_66 | 70 | 0.0013489 | 0.00033807 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_563-1_0_3_load_67 | 71 | 0.00044567 | 0.00011169 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_563-1_0_3_load_68 | 72 | 0.00045243 | 0.00011339 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_563-1_0_3_load_72 | 73 | 0.0010873 | 0.00027249 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_563-1_0_3_load_70 | 74 | 0.0015515 | 0.00038883 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_563-1_0_3_load_69 | 75 | 0.0015859 | 0.00039745 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_563-1_0_3_load_73 | 77 | 0.0013064 | 0.00032742 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_563-1_0_3_load_87 | 78 | 0.00080174 | 0.00020094 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_563-1_0_3_load_93 | 80 | 0.00069156 | 0.00017332 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_563-1_0_3_load_92 | 81 | 0.00026308 | 6.5934e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_563-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.22867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_563-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_563-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.27325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_563-1_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.077994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_563-1_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.19401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_563-1_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.10353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_563-1_0_3_line_6 | NAYY 4x150 SE | 2 | 7 | 0.031648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_563-1_0_3_line_7 | NAYY 4x150 SE | 3 | 8 | 0.16093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_563-1_0_3_line_8 | NAYY 4x150 SE | 3 | 9 | 0.041135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_563-1_0_3_line_9 | NAYY 4x150 SE | 5 | 10 | 0.016712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_563-1_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.070045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_563-1_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.20674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_563-1_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.11452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_563-1_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.19401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_563-1_0_3_line_14 | NAYY 4x150 SE | 11 | 18 | 0.01238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_563-1_0_3_line_15 | NAYY 4x150 SE | 11 | 19 | 0.0028933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_563-1_0_3_line_16 | NAYY 4x150 SE | 13 | 20 | 0.064367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_563-1_0_3_line_17 | NAYY 4x150 SE | 14 | 21 | 0.25482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_563-1_0_3_line_18 | NAYY 4x150 SE | 14 | 22 | 0.074778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_563-1_0_3_line_19 | NAYY 4x150 SE | 15 | 16 | 0.050903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_563-1_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.22821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_563-1_0_3_line_21 | NAYY 4x150 SE | 17 | 32 | 0.032473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_563-1_0_3_line_22 | NAYY 4x150 SE | 19 | 23 | 0.013758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_563-1_0_3_line_23 | NAYY 4x150 SE | 20 | 29 | 0.076138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_563-1_0_3_line_24 | NAYY 4x150 SE | 21 | 79 | 0.022718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_563-1_0_3_line_25 | NAYY 4x150 SE | 22 | 81 | 0.071142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_563-1_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0061055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_563-1_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.0065053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_563-1_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.013353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_563-1_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.010721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_563-1_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.019429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_563-1_0_3_line_31 | NAYY 4x150 SE | 27 | 46 | 0.011002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_563-1_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.20903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_563-1_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.037324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_563-1_0_3_line_34 | NAYY 4x150 SE | 30 | 35 | 0.19649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_563-1_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.090853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_563-1_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.11678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_563-1_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.051925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_563-1_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.14644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_563-1_0_3_line_39 | NAYY 4x150 SE | 36 | 39 | 0.026788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_563-1_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.19825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_563-1_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.03051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_563-1_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.0065232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_563-1_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.02881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_563-1_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.021813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_563-1_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.040675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_563-1_0_3_line_46 | NAYY 4x150 SE | 42 | 45 | 0.015669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_563-1_0_3_line_47 | NAYY 4x150 SE | 43 | 49 | 0.020865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_563-1_0_3_line_48 | NAYY 4x150 SE | 43 | 50 | 0.013597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_563-1_0_3_line_49 | NAYY 4x150 SE | 44 | 51 | 0.0046569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_563-1_0_3_line_50 | NAYY 4x150 SE | 45 | 48 | 0.00018461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_563-1_0_3_line_51 | NAYY 4x150 SE | 46 | 47 | 0.0075649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_563-1_0_3_line_52 | NAYY 4x150 SE | 47 | 52 | 0.0015095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_563-1_0_3_line_53 | NAYY 4x150 SE | 50 | 60 | 0.0183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_563-1_0_3_line_54 | NAYY 4x150 SE | 51 | 56 | 0.007916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_563-1_0_3_line_55 | NAYY 4x150 SE | 51 | 55 | 0.021961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_563-1_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.0033818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_563-1_0_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.014666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_563-1_0_3_line_58 | NAYY 4x150 SE | 54 | 55 | 0.012533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_563-1_0_3_line_59 | NAYY 4x150 SE | 56 | 62 | 0.0097497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_563-1_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.019534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_563-1_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.012651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_563-1_0_3_line_62 | NAYY 4x150 SE | 58 | 60 | 0.016812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_563-1_0_3_line_63 | NAYY 4x150 SE | 59 | 61 | 0.0079909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_563-1_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0091664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_563-1_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.014786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_563-1_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.0013144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_563-1_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.0043626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_563-1_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.006889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_563-1_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0034519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_563-1_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.0026115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_563-1_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.0055703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_563-1_0_3_line_72 | NAYY 4x150 SE | 70 | 71 | 0.00033916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_563-1_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.0019823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_563-1_0_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.01379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_563-1_0_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.0036863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_563-1_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.022072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_563-1_0_3_line_77 | NAYY 4x150 SE | 75 | 76 | 0.12359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_563-1_0_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.099976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_563-1_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.27873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_563-1_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.07585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_563-1_0_3_trafo_7 | 0.25 MVA 20/0.4 kV | 82 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2612707.056 | 1151991.7151 | 2612706.4661 | 1151972.9824 | 2612700.2139 | 1151953.7376 | 2612695.627 | 1151934.4407 | 2612693.8998 | 1151916.4283 | 2612691.8293 | 1151868.1447 | 2612687.6979 | 1151851.1721 | 2612678.9974 | 1151835.6351 | 2612661.1177 | 1151813.2089 | 2612633.3731 | 1151785.126
1 | 2612637.311 | 1151773.6175 | 2612633.9312 | 1151778.8019 | 2612633.3731 | 1151785.126
2 | 2612707.056 | 1151991.7151 | 2612705.6183 | 1152003.9625 | 2612708.9807 | 1152017.9431 | 2612720.2874 | 1152038.3547 | 2612724.1191 | 1152051.8027 | 2612726.8368 | 1152091.3612 | 2612727.7298 | 1152133.7839 | 2612730.859 | 1152145.4962 | 2612740.5575 | 1152156.9222 | 2612748.4171 | 1152159.7179 | 2612758.593 | 1152159.417 | 2612801.3575 | 1152152.5039 | 2612838.2982 | 1152141.7991
3 | 2612707.056 | 1151991.7151 | 2612724.8549 | 1152015.6976 | 2612763.8779 | 1152044.0604
4 | 2612637.311 | 1151773.6175 | 2612647.3583 | 1151772.7047 | 2612707.4495 | 1151797.0203 | 2612746.0228 | 1151828.2945 | 2612775.4581 | 1151865.8083 | 2612784.9314 | 1151874.9884 | 2612791.6338 | 1151880.861
5 | 2612637.311 | 1151773.6175 | 2612621.0572 | 1151744.1247 | 2612595.6304 | 1151700.9727 | 2612590.8816 | 1151689.1459 | 2612589.1681 | 1151682.3341
6 | 2612637.311 | 1151773.6175 | 2612642.1951 | 1151760.977 | 2612652.6987 | 1151746.2407
7 | 2612838.2982 | 1152141.7991 | 2612823.5131 | 1152162.5669 | 2612809.9134 | 1152170.7421 | 2612780.9253 | 1152183.8984 | 2612766.9079 | 1152193.7181 | 2612749.1778 | 1152206.5981 | 2612737.4354 | 1152211.0867 | 2612717.0556 | 1152214.1232 | 2612701.1944 | 1152214.101
8 | 2612838.2982 | 1152141.7991 | 2612852.2087 | 1152139.094 | 2612866.4159 | 1152141.1807 | 2612878.2703 | 1152145.4636
9 | 2612791.6338 | 1151880.861 | 2612796.1897 | 1151896.9399
10 | 2612682.593 | 1151683.568 | 2612677.4747 | 1151701.6661 | 2612665.4162 | 1151728.3985 | 2612652.6987 | 1151746.2407
11 | 2612684.531 | 1152413.6752 | 2612686.4074 | 1152400.7617 | 2612686.8518 | 1152386.4 | 2612686.8751 | 1152375.3168 | 2612685.0508 | 1152359.7276 | 2612677.8876 | 1152343.2934 | 2612673.5899 | 1152328.9217 | 2612673.6174 | 1152315.7931 | 2612675.7009 | 1152306.5707 | 2612677.9839 | 1152297.3377 | 2612677.6074 | 1152279.2835 | 2612680.9272 | 1152265.9506 | 2612696.871 | 1152222.9073 | 2612701.1944 | 1152214.101
12 | 2612701.1944 | 1152214.101 | 2612692.7115 | 1152212.1489 | 2612683.3156 | 1152206.4597 | 2612676.3341 | 1152198.4411 | 2612673.6179 | 1152190.9762 | 2612669.5709 | 1152185.0982 | 2612661.2862 | 1152180.0784 | 2612654.7751 | 1152174.6066 | 2612649.3821 | 1152166.5024 | 2612643.2194 | 1152159.5194 | 2612635.4107 | 1152154.3784 | 2612624.7737 | 1152151.3547 | 2612613.4329 | 1152149.6412
13 | 2612878.2703 | 1152145.4636 | 2612939.3695 | 1152191.4276 | 2612948.9163 | 1152194.6385 | 2612962.4792 | 1152192.9445 | 2612975.1548 | 1152193.4941 | 2612981.5704 | 1152196.8206 | 2612984.2833 | 1152202.0735 | 2612987.9428 | 1152231.0622 | 2612991.7774 | 1152239.2078 | 2613001.9595 | 1152250.224 | 2613004.4783 | 1152256.5102 | 2613004.5302 | 1152264.5032 | 2613004.5302 | 1152264.5032
14 | 2612682.593 | 1151683.568 | 2612677.3609 | 1151679.0659 | 2612674.1201 | 1151674.65
15 | 2612682.593 | 1151683.568 | 2612682.8426 | 1151680.6855
16 | 2612570.5083 | 1152173.8334 | 2612569.5747 | 1152170.9384 | 2612568.147 | 1152163.7541 | 2612568.1589 | 1152158.0068 | 2612575.992 | 1152151.4643 | 2612585.8825 | 1152148.1944 | 2612606.869 | 1152148.6494 | 2612613.4329 | 1152149.6412
17 | 2613004.5302 | 1152264.5032 | 2613168.8805 | 1152069.7634
18 | 2612980.8224 | 1152334.4644 | 2612984.1722 | 1152325.356 | 2612995.9708 | 1152305.3604 | 2612999.2693 | 1152295.1514 | 2613001.0033 | 1152280.9926 | 2613004.5302 | 1152264.5032
19 | 2612228.9884 | 1151844.2137 | 2612239.7078 | 1151837.2541 | 2612247.12 | 1151837.6804 | 2612264.4688 | 1151857.7476 | 2612266.3315 | 1151861.4796
20 | 2612228.9884 | 1151844.2137 | 2612224.0026 | 1151869.6494 | 2612231.766 | 1151897.5677 | 2612232.5083 | 1151936.555 | 2612243.998 | 1151954.6316 | 2612247.0925 | 1151965.0429 | 2612248.8773 | 1151985.6233 | 2612250.2718 | 1152009.4267 | 2612257.1938 | 1152047.1926 | 2612266.1894 | 1152064.0886
21 | 2612280.1906 | 1152093.3397 | 2612275.2352 | 1152081.0791 | 2612266.1894 | 1152064.0886
22 | 2612682.8426 | 1151680.6855 | 2612684.0295 | 1151666.9783
23 | 2612547.5966 | 1152245.3627 | 2612570.9811 | 1152184.6814 | 2612571.824 | 1152177.9131 | 2612570.5083 | 1152173.8334
24 | 2613181.687 | 1152054.0052 | 2613169.0616 | 1152061.9816 | 2613168.8805 | 1152069.7634
25 | 2612980.8224 | 1152334.4644 | 2612980.8224 | 1152334.4644 | 2612980.3941 | 1152340.9556 | 2612987.7321 | 1152372.0533 | 2612991.9071 | 1152382.4896 | 2612999.7222 | 1152391.522 | 2613006.6797 | 1152397.992
26 | 2612684.5563 | 1151660.8955 | 2612684.0295 | 1151666.9783
27 | 2612684.5563 | 1151660.8955 | 2612685.1175 | 1151654.4145 | 2612685.1175 | 1151654.4145
28 | 2612683.4953 | 1151641.1601 | 2612685.1175 | 1151654.4145
29 | 2612683.4953 | 1151641.1601 | 2612690.6951 | 1151633.2158
30 | 2612683.4953 | 1151641.1601 | 2612678.8723 | 1151624.2977 | 2612678.8947 | 1151622.3531
31 | 2612690.6951 | 1151633.2158 | 2612694.821 | 1151627.277 | 2612696.5886 | 1151623.9461
32 | 2612547.5966 | 1152245.3627 | 2612534.9922 | 1152247.482 | 2612523.4632 | 1152249.1034 | 2612513.1697 | 1152250.7163 | 2612506.5747 | 1152252.3479 | 2612507.7915 | 1152261.377 | 2612507.7779 | 1152267.9469 | 2612506.945 | 1152273.6813 | 2612505.6977 | 1152279.426 | 2612503.2158 | 1152284.7569 | 2612500.7365 | 1152288.8538 | 2612499.9061 | 1152293.3654 | 2612499.4824 | 1152297.8778 | 2612498.6478 | 1152304.446 | 2612496.5786 | 1152310.5892 | 2612494.0908 | 1152318.7992 | 2612491.1946 | 1152327.8199 | 2612489.9414 | 1152336.4326 | 2612489.5152 | 1152342.179 | 2612485.7946 | 1152349.1414 | 2612480.4344 | 1152354.8776 | 2612475.4834 | 1152359.3808 | 2612472.1797 | 1152365.1212 | 2612467.2246 | 1152371.6698 | 2612462.5432 | 1152375.6732 | 2612456.3515 | 1152386.5325 | 2612447.639 | 1152403.0754
33 | 2612545.8779 | 1152282.2884 | 2612544.0566 | 1152268.7446 | 2612545.7239 | 1152256.6421 | 2612547.5966 | 1152245.3627
34 | 2612447.639 | 1152403.0754 | 2612332.8408 | 1152243.6094
35 | 2612365.3227 | 1152112.2444 | 2612360.5902 | 1152111.212 | 2612346.1804 | 1152114.2508 | 2612339.6972 | 1152113.7485 | 2612329.5151 | 1152109.5034 | 2612295.045 | 1152105.6536 | 2612280.1906 | 1152093.3397
36 | 2612280.1906 | 1152093.3397 | 2612285.2698 | 1152105.1002 | 2612309.5073 | 1152129.5725 | 2612314.9459 | 1152138.11 | 2612326.1128 | 1152163.6564 | 2612325.6817 | 1152171.8707 | 2612318.4156 | 1152194.0668
37 | 2612332.8408 | 1152243.6094 | 2612332.855 | 1152236.6282 | 2612325.7007 | 1152215.2809 | 2612318.4156 | 1152194.0668
38 | 2612318.4156 | 1152194.0668 | 2612311.5947 | 1152212.462 | 2612308.6286 | 1152222.0162 | 2612302.0801 | 1152234.8092 | 2612294.034 | 1152244.4309 | 2612280.0159 | 1152255.0743 | 2612267.8488 | 1152264.8989 | 2612258.5703 | 1152273.0842 | 2612251.7568 | 1152284.1536 | 2612250.5064 | 1152291.5325 | 2612251.3227 | 1152297.6927 | 2612253.5702 | 1152305.7012 | 2612253.5598 | 1152310.8259 | 2612252.2801 | 1152314.7735
39 | 2612235.3396 | 1152335.2566 | 2612248.3889 | 1152321.6874 | 2612251.8996 | 1152315.9473 | 2612252.2801 | 1152314.7735
40 | 2612230.2222 | 1152305.627 | 2612225.4136 | 1152291.793 | 2612225.8562 | 1152277.8426 | 2612228.3801 | 1152251.5903 | 2612225.5316 | 1152229.6071 | 2612217.1816 | 1152207.3904 | 2612206.3522 | 1152196.9524 | 2612189.2785 | 1152189.2697 | 2612176.2248 | 1152178.3048 | 2612167.5623 | 1152162.4907 | 2612149.2628 | 1152140.6062
41 | 2612235.3396 | 1152335.2566 | 2612235.5292 | 1152321.2167 | 2612231.9136 | 1152310.4931 | 2612230.2222 | 1152305.627
42 | 2612145.0784 | 1152135.602 | 2612149.2628 | 1152140.6062
43 | 2612682.248 | 1151558.8838 | 2612674.5812 | 1151555.2437 | 2612654.263 | 1151555.6813
44 | 2612682.248 | 1151558.8838 | 2612680.7836 | 1151550.9101 | 2612677.9135 | 1151543.5227 | 2612677.3115 | 1151537.7742
45 | 2612682.248 | 1151558.8838 | 2612705.071 | 1151566.5243 | 2612721.3125 | 1151569.9878
46 | 2612682.248 | 1151558.8838 | 2612680.2219 | 1151574.4212
47 | 2612685.1722 | 1151518.5034 | 2612683.7199 | 1151523.0137 | 2612679.3812 | 1151531.6199 | 2612677.3115 | 1151537.7742
48 | 2612677.3115 | 1151537.7742 | 2612686.4973 | 1151530.7344 | 2612688.3999 | 1151530.0439
49 | 2612725.867 | 1151570.959 | 2612721.3125 | 1151569.9878
50 | 2612680.1981 | 1151574.6042 | 2612680.2219 | 1151574.4212
51 | 2612700.1347 | 1151617.2638 | 2612696.5886 | 1151623.9461
52 | 2612700.8423 | 1151615.9304 | 2612700.1347 | 1151617.2638
53 | 2612688.3999 | 1151530.0439 | 2612692.6799 | 1151528.4907 | 2612698.6438 | 1151528.0919 | 2612703.9991 | 1151522.4622
54 | 2612725.867 | 1151570.959 | 2612733.7823 | 1151570.8542
55 | 2612725.867 | 1151570.959 | 2612723.9552 | 1151575.0125 | 2612713.8509 | 1151584.6294 | 2612712.1492 | 1151587.7219
56 | 2612700.8423 | 1151615.9304 | 2612702.4275 | 1151612.9431
57 | 2612708.3635 | 1151599.5471 | 2612708.2623 | 1151600.0141 | 2612703.0883 | 1151611.6978 | 2612702.4275 | 1151612.9431
58 | 2612712.1492 | 1151587.7219 | 2612710.13 | 1151591.3915 | 2612708.3635 | 1151599.5471
59 | 2612743.5221 | 1151570.7998 | 2612743.25 | 1151570.7288 | 2612733.7823 | 1151570.8542
60 | 2612731.14 | 1151498.6656 | 2612719.6876 | 1151505.9697 | 2612715.5864 | 1151510.2811
61 | 2612731.14 | 1151498.6656 | 2612741.8067 | 1151491.8627
62 | 2612703.9991 | 1151522.4622 | 2612715.5864 | 1151510.2811
63 | 2612741.8067 | 1151491.8627 | 2612748.5441 | 1151487.5658
64 | 2612743.5221 | 1151570.7998 | 2612752.3915 | 1151573.1143
65 | 2612752.3915 | 1151573.1143 | 2612766.3986 | 1151576.7694 | 2612766.7008 | 1151576.8397
66 | 2612767.981 | 1151577.1374 | 2612766.7008 | 1151576.8397
67 | 2612767.981 | 1151577.1374 | 2612772.2302 | 1151578.1257
68 | 2612778.9401 | 1151579.6862 | 2612772.2302 | 1151578.1257
69 | 2612778.9401 | 1151579.6862 | 2612778.9401 | 1151579.6862 | 2612782.1225 | 1151581.0234
70 | 2612782.1225 | 1151581.0234 | 2612784.5301 | 1151582.0351
71 | 2612784.5301 | 1151582.0351 | 2612789.6655 | 1151584.193
72 | 2612789.6655 | 1151584.193 | 2612789.9782 | 1151584.3244
73 | 2612789.9782 | 1151584.3244 | 2612791.8057 | 1151585.0923
74 | 2612804.5191 | 1151590.4344 | 2612804.5191 | 1151590.4344 | 2612791.8057 | 1151585.0923
75 | 2612808.2024 | 1151590.2837 | 2612804.5191 | 1151590.4344
76 | 2612829.9511 | 1151587.5895 | 2612823.1158 | 1151589.6734 | 2612808.2024 | 1151590.2837
77 | 2612948.6189 | 1151591.3636 | 2612931.5927 | 1151589.8376 | 2612907.6845 | 1151583.828 | 2612883.4422 | 1151579.7411 | 2612856.5524 | 1151579.128 | 2612846.0564 | 1151581.5514 | 2612841.5624 | 1151587.2447 | 2612837.2381 | 1151585.3679 | 2612829.9511 | 1151587.5895
78 | 2612948.6189 | 1151591.3636 | 2612957.3484 | 1151593.1943 | 2612965.4226 | 1151600.0149 | 2612979.3236 | 1151602.3125 | 2613003.0904 | 1151599.0842 | 2613006.1147 | 1151602.3701 | 2613002.5411 | 1151618.9928 | 2613005.5769 | 1151620.5112 | 2613014.4209 | 1151619.0183 | 2613022.9736 | 1151618.3255
79 | 2613181.687 | 1152054.0052 | 2613187.5646 | 1152054.2403 | 2613190.3885 | 1152047.2097 | 2613181.448 | 1152019.2876 | 2613178.9953 | 1152000.3507 | 2613165.0492 | 1151976.8977 | 2613167.0628 | 1151968.4313 | 2613208.6294 | 1151934.6386 | 2613218.1176 | 1151936.6603 | 2613226.5909 | 1151946.6393 | 2613224.5619 | 1151962.0869 | 2613222.5296 | 1151975.5335 | 2613235.015 | 1151982.5309 | 2613257.483 | 1151993.541 | 2613260.9222 | 1152020.9509 | 2613261.1902 | 1152024.7534 | 2613260.4711 | 1152029.2528
80 | 2613024.2384 | 1152459.308 | 2613024.2384 | 1152459.308 | 2613024.6573 | 1152450.0488 | 2613032.4232 | 1152439.1157 | 2613034.8363 | 1152430.2832 | 2613033.1877 | 1152422.6426 | 2613006.6797 | 1152397.992

## bus_geodata
| x | y | coords
0 | 2612633.3731 | 1151785.126
1 | 2612707.056 | 1151991.7151
2 | 2612637.311 | 1151773.6175
3 | 2612838.2982 | 1152141.7991
4 | 2612763.8779 | 1152044.0604
5 | 2612791.6338 | 1151880.861
6 | 2612589.1681 | 1151682.3341
7 | 2612652.6987 | 1151746.2407
8 | 2612701.1944 | 1152214.101
9 | 2612878.2703 | 1152145.4636
10 | 2612796.1897 | 1151896.9399
11 | 2612682.593 | 1151683.568
12 | 2612684.531 | 1152413.6752
13 | 2612613.4329 | 1152149.6412
14 | 2613004.5302 | 1152264.5032
15 | 2612266.3315 | 1151861.4796
16 | 2612228.9884 | 1151844.2137
17 | 2612266.1894 | 1152064.0886
18 | 2612674.1201 | 1151674.65
19 | 2612682.8426 | 1151680.6855
20 | 2612570.5083 | 1152173.8334
21 | 2613168.8805 | 1152069.7634
22 | 2612980.8224 | 1152334.4644
23 | 2612684.0295 | 1151666.9783
24 | 2612684.5563 | 1151660.8955
25 | 2612685.1175 | 1151654.4145
26 | 2612683.4953 | 1151641.1601
27 | 2612690.6951 | 1151633.2158
28 | 2612678.8947 | 1151622.3531
29 | 2612547.5966 | 1152245.3627
30 | 2612447.639 | 1152403.0754
31 | 2612545.8779 | 1152282.2884
32 | 2612280.1906 | 1152093.3397
33 | 2612365.3227 | 1152112.2444
34 | 2612318.4156 | 1152194.0668
35 | 2612332.8408 | 1152243.6094
36 | 2612252.2801 | 1152314.7735
37 | 2612230.2222 | 1152305.627
38 | 2612149.2628 | 1152140.6062
39 | 2612235.3396 | 1152335.2566
40 | 2612145.0784 | 1152135.602
41 | 2612654.263 | 1151555.6813
42 | 2612682.248 | 1151558.8838
43 | 2612677.3115 | 1151537.7742
44 | 2612721.3125 | 1151569.9878
45 | 2612680.2219 | 1151574.4212
46 | 2612696.5886 | 1151623.9461
47 | 2612700.1347 | 1151617.2638
48 | 2612680.1981 | 1151574.6042
49 | 2612685.1722 | 1151518.5034
50 | 2612688.3999 | 1151530.0439
51 | 2612725.867 | 1151570.959
52 | 2612700.8423 | 1151615.9304
53 | 2612702.4275 | 1151612.9431
54 | 2612708.3635 | 1151599.5471
55 | 2612712.1492 | 1151587.7219
56 | 2612733.7823 | 1151570.8542
57 | 2612731.14 | 1151498.6656
58 | 2612715.5864 | 1151510.2811
59 | 2612741.8067 | 1151491.8627
60 | 2612703.9991 | 1151522.4622
61 | 2612748.5441 | 1151487.5658
62 | 2612743.5221 | 1151570.7998
63 | 2612752.3915 | 1151573.1143
64 | 2612766.7008 | 1151576.8397
65 | 2612767.981 | 1151577.1374
66 | 2612772.2302 | 1151578.1257
67 | 2612778.9401 | 1151579.6862
68 | 2612782.1225 | 1151581.0234
69 | 2612784.5301 | 1151582.0351
70 | 2612789.6655 | 1151584.193
71 | 2612789.9782 | 1151584.3244
72 | 2612791.8057 | 1151585.0923
73 | 2612804.5191 | 1151590.4344
74 | 2612808.2024 | 1151590.2837
75 | 2612829.9511 | 1151587.5895
76 | 2612948.6189 | 1151591.3636
77 | 2613022.9736 | 1151618.3255
78 | 2613260.4711 | 1152029.2528
79 | 2613181.687 | 1152054.0052
80 | 2613024.2384 | 1152459.308
81 | 2613006.6797 | 1152397.992
82 | 2612637.311 | 1151773.6175

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1