## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_563-22_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_563-22_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_563-22_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_563-22_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_563-22_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_563-22_0_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_563-22_0_3_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_563-22_0_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_563-22_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_563-22_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_563-22_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_563-22_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_563-22_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_563-22_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_563-22_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_563-22_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_563-22_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_563-22_0_3_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_563-22_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_563-22_0_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_563-22_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_563-22_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_563-22_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_563-22_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_563-22_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_563-22_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_563-22_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_563-22_0_3_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_563-22_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_563-22_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_563-22_0_3_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_563-22_0_3_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_563-22_0_3_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_563-22_0_3_node_80 | 0.4 | n |  | TRUE
34 | bus_LV_563-22_0_3_node_82 | 0.4 | n |  | TRUE
35 | bus_LV_563-22_0_3_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_563-22_0_3_node_83 | 0.4 | n |  | TRUE
37 | bus_LV_563-22_0_3_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_563-22_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_563-22_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_563-22_0_3_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_563-22_0_3_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_563-22_0_3_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_563-22_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_563-22_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_563-22_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_563-22_0_3_node_88 | 0.4 | n |  | TRUE
47 | bus_LV_563-22_0_3_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_563-22_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_563-22_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_563-22_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_563-22_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_563-22_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_563-22_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_563-22_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_563-22_0_3_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_563-22_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_563-22_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_563-22_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_563-22_0_3_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_563-22_0_3_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_563-22_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_563-22_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_563-22_0_3_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_563-22_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_563-22_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_563-22_0_3_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_563-22_0_3_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_563-22_0_3_node_91 | 0.4 | n |  | TRUE
69 | bus_LV_563-22_0_3_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_563-22_0_3_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_563-22_0_3_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_563-22_0_3_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_563-22_0_3_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_563-22_0_3_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_563-22_0_3_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_563-22_0_3_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_563-22_0_3_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_563-22_0_3_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_563-22_0_3_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_563-22_0_3_node_90 | 0.4 | n |  | TRUE
81 | bus_LV_563-22_0_3_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_563-22_0_3_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_563-22_0_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_563-22_0_3_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_563-22_0_3_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_563-22_0_3_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_563-22_0_3_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_563-22_0_3_node_89 | 0.4 | n |  | TRUE
89 | bus_MV_80_1_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_563-22_0_3_load_0 | 0 | 0.0043676 | 0.0010946 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_563-22_0_3_load_1 | 1 | 0.00073888 | 0.00018518 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_563-22_0_3_load_2 | 2 | 0.0056677 | 0.0014204 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_563-22_0_3_load_3 | 3 | 0.0038765 | 0.00097155 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_563-22_0_3_load_4 | 4 | 0.0015459 | 0.00038745 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_563-22_0_3_load_24 | 5 | 0.0028416 | 0.00071218 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_563-22_0_3_load_25 | 6 | 0.0033349 | 0.0008358 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_563-22_0_3_load_23 | 7 | 0.0022562 | 0.00056546 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_563-22_0_3_load_8 | 8 | 0.0011054 | 0.00027704 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_563-22_0_3_load_9 | 9 | 0.0014367 | 0.00036006 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_563-22_0_3_load_10 | 10 | 0.0037041 | 0.00092834 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_563-22_0_3_load_13 | 11 | 0.00042464 | 0.00010642 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_563-22_0_3_load_6 | 13 | 0.0013328 | 0.00033402 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_563-22_0_3_load_11 | 15 | 0.0015342 | 0.0003845 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_563-22_0_3_load_22 | 16 | 0.0021003 | 0.00052639 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_563-22_0_3_load_31 | 17 | 0.0011945 | 0.00029938 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_563-22_0_3_load_20 | 18 | 0.0021806 | 0.0005465 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_563-22_0_3_load_29 | 19 | 0.0019239 | 0.00048218 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_563-22_0_3_load_12 | 20 | 0.0014956 | 0.00037484 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_563-22_0_3_load_26 | 21 | 0.00082394 | 0.0002065 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_563-22_0_3_load_27 | 22 | 0.0011599 | 0.00029071 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_563-22_0_3_load_14 | 23 | 0.00088368 | 0.00022147 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_563-22_0_3_load_15 | 24 | 0.00088497 | 0.00022179 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_563-22_0_3_load_17 | 26 | 0.00043355 | 0.00010866 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_563-22_0_3_load_76 | 27 | 0.0021235 | 0.0005322 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_563-22_0_3_load_18 | 28 | 0.00043341 | 0.00010862 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_563-22_0_3_load_19 | 29 | 0.001155 | 0.00028947 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_563-22_0_3_load_87 | 30 | 0.0020974 | 0.00052566 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_563-22_0_3_load_78 | 32 | 0.00079911 | 0.00020028 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_563-22_0_3_load_82 | 34 | 0.0013067 | 0.00032749 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_563-22_0_3_load_81 | 35 | 0.00089393 | 0.00022404 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_563-22_0_3_load_84 | 37 | 0.0084643 | 0.0021214 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_563-22_0_3_load_38 | 39 | 0.0043486 | 0.0010899 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_563-22_0_3_load_21 | 40 | 0.0020725 | 0.00051942 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_563-22_0_3_load_42 | 41 | 0.00072436 | 0.00018154 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_563-22_0_3_load_28 | 43 | 0.0020469 | 0.000513 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_563-22_0_3_load_30 | 44 | 0.0016346 | 0.00040968 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_563-22_0_3_load_32 | 45 | 0.0016364 | 0.00041012 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_563-22_0_3_load_88 | 46 | 0.0016303 | 0.0004086 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_563-22_0_3_load_86 | 47 | 0.0016473 | 0.00041285 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_563-22_0_3_load_33 | 48 | 0.0014385 | 0.00036052 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_563-22_0_3_load_34 | 49 | 0.0047791 | 0.0011978 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_563-22_0_3_load_35 | 50 | 0.0041801 | 0.0010476 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_563-22_0_3_load_36 | 51 | 0.00045958 | 0.00011518 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_563-22_0_3_load_39 | 52 | 0.00045981 | 0.00011524 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_563-22_0_3_load_40 | 53 | 0.0018187 | 0.00045581 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_563-22_0_3_load_57 | 56 | 0.0018165 | 0.00045527 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_563-22_0_3_load_46 | 57 | 0.0007239 | 0.00018143 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_563-22_0_3_load_53 | 58 | 0.00083463 | 0.00020918 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_563-22_0_3_load_63 | 59 | 0.0027323 | 0.00068477 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_563-22_0_3_load_64 | 60 | 0.0078344 | 0.0019635 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_563-22_0_3_load_43 | 61 | 0.00057124 | 0.00014317 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_563-22_0_3_load_44 | 62 | 0.00057775 | 0.0001448 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_563-22_0_3_load_45 | 63 | 0.00057088 | 0.00014308 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_563-22_0_3_load_47 | 64 | 0.00057703 | 0.00014462 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_563-22_0_3_load_61 | 65 | 0.014555 | 0.0036478 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_563-22_0_3_load_69 | 66 | 0.0022366 | 0.00056056 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_563-22_0_3_load_70 | 67 | 0.0066837 | 0.0016751 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_563-22_0_3_load_91 | 68 | 0.0014781 | 0.00037044 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_563-22_0_3_load_48 | 69 | 0.0010681 | 0.00026768 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_563-22_0_3_load_49 | 70 | 0.0005664 | 0.00014195 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_563-22_0_3_load_50 | 71 | 0.0009389 | 0.00023531 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_563-22_0_3_load_51 | 72 | 0.0008777 | 0.00021997 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_563-22_0_3_load_52 | 73 | 0.0037403 | 0.0009374 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_563-22_0_3_load_56 | 74 | 0.0007514 | 0.00018832 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_563-22_0_3_load_65 | 75 | 0.004388 | 0.0010997 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_563-22_0_3_load_54 | 76 | 0.00065997 | 0.0001654 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_563-22_0_3_load_66 | 77 | 0.007277 | 0.0018238 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_563-22_0_3_load_59 | 78 | 0.0042458 | 0.0010641 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_563-22_0_3_load_67 | 81 | 0.00080753 | 0.00020239 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_563-22_0_3_load_71 | 82 | 0.00094207 | 0.00023611 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_563-22_0_3_load_72 | 83 | 0.001481 | 0.00037118 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_563-22_0_3_load_73 | 84 | 0.0012589 | 0.00031551 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_563-22_0_3_load_75 | 85 | 0.0039435 | 0.00098834 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_563-22_0_3_load_85 | 86 | 0.0017274 | 0.00043293 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_563-22_0_3_load_79 | 87 | 0.00054458 | 0.00013648 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_563-22_0_3_load_89 | 88 | 0.00077999 | 0.00019548 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_563-22_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.028565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_563-22_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_563-22_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0038593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_563-22_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0078205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_563-22_0_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.10963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_563-22_0_3_line_5 | NAYY 4x150 SE | 4 | 11 | 0.0061128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_563-22_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.016092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_563-22_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.046425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_563-22_0_3_line_8 | NAYY 4x150 SE | 6 | 41 | 0.064396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_563-22_0_3_line_9 | NAYY 4x150 SE | 7 | 40 | 0.0025982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_563-22_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.017019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_563-22_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.0033915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_563-22_0_3_line_12 | NAYY 4x150 SE | 9 | 15 | 0.007091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_563-22_0_3_line_13 | NAYY 4x150 SE | 10 | 20 | 0.0037954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_563-22_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.0070246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_563-22_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.012707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_563-22_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0069558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_563-22_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.016914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_563-22_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.013086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_563-22_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.0075603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_563-22_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.0024588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_563-22_0_3_line_21 | NAYY 4x150 SE | 18 | 40 | 0.016702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_563-22_0_3_line_22 | NAYY 4x150 SE | 19 | 43 | 0.013039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_563-22_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.017452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_563-22_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0084784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_563-22_0_3_line_25 | NAYY 4x150 SE | 22 | 29 | 0.0076705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_563-22_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.019583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_563-22_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0080488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_563-22_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.022033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_563-22_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.10813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_563-22_0_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.02959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_563-22_0_3_line_31 | NAYY 4x150 SE | 25 | 29 | 0.015705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_563-22_0_3_line_32 | NAYY 4x150 SE | 26 | 30 | 0.017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_563-22_0_3_line_33 | NAYY 4x150 SE | 27 | 31 | 0.020458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_563-22_0_3_line_34 | NAYY 4x150 SE | 27 | 32 | 0.10265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_563-22_0_3_line_35 | NAYY 4x150 SE | 28 | 38 | 0.0093564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_563-22_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.011309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_563-22_0_3_line_37 | NAYY 4x150 SE | 32 | 87 | 0.026635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_563-22_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.10585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_563-22_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.027439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_563-22_0_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.035555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_563-22_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.010884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_563-22_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.008271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_563-22_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.026477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_563-22_0_3_line_44 | NAYY 4x150 SE | 42 | 59 | 0.017665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_563-22_0_3_line_45 | NAYY 4x150 SE | 42 | 60 | 0.0063179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_563-22_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0090059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_563-22_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0017073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_563-22_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0009706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_563-22_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.00022738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_563-22_0_3_line_50 | NAYY 4x150 SE | 47 | 86 | 0.0017116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_563-22_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.024048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_563-22_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.015634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_563-22_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.018147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_563-22_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.0070779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_563-22_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.020248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_563-22_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.042143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_563-22_0_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.031925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_563-22_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.018052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_563-22_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.033366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_563-22_0_3_line_60 | NAYY 4x150 SE | 55 | 58 | 0.01678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_563-22_0_3_line_61 | NAYY 4x150 SE | 57 | 65 | 0.016599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_563-22_0_3_line_62 | NAYY 4x150 SE | 57 | 62 | 0.031347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_563-22_0_3_line_63 | NAYY 4x150 SE | 58 | 76 | 0.0034458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_563-22_0_3_line_64 | NAYY 4x150 SE | 59 | 81 | 0.0070183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_563-22_0_3_line_65 | NAYY 4x150 SE | 60 | 67 | 0.02448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_563-22_0_3_line_66 | NAYY 4x150 SE | 61 | 62 | 6.9768e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_563-22_0_3_line_67 | NAYY 4x150 SE | 61 | 63 | 9.2594e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_563-22_0_3_line_68 | NAYY 4x150 SE | 63 | 64 | 0.00011726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_563-22_0_3_line_69 | NAYY 4x150 SE | 64 | 66 | 0.025274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_563-22_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.031861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_563-22_0_3_line_71 | NAYY 4x150 SE | 66 | 68 | 0.088198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_563-22_0_3_line_72 | NAYY 4x150 SE | 68 | 80 | 0.027147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_563-22_0_3_line_73 | NAYY 4x150 SE | 69 | 70 | 0.012308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_563-22_0_3_line_74 | NAYY 4x150 SE | 69 | 71 | 0.0080811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_563-22_0_3_line_75 | NAYY 4x150 SE | 70 | 72 | 0.011049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_563-22_0_3_line_76 | NAYY 4x150 SE | 71 | 73 | 0.017331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_563-22_0_3_line_77 | NAYY 4x150 SE | 72 | 74 | 0.00093794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_563-22_0_3_line_78 | NAYY 4x150 SE | 73 | 75 | 0.0026715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_563-22_0_3_line_79 | NAYY 4x150 SE | 74 | 76 | 0.018906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_563-22_0_3_line_80 | NAYY 4x150 SE | 75 | 77 | 0.0092626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_563-22_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.025866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_563-22_0_3_line_82 | NAYY 4x150 SE | 79 | 80 | 0.073542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_563-22_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.011223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_563-22_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.0047589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_563-22_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.022321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_563-22_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.02029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_563-22_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.023211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_563-22_0_3_trafo_21 | 0.25 MVA 20/0.4 kV | 89 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2616972.9334 | 1159875.7802 | 2616960.7325 | 1159849.9524
1 | 2616972.9334 | 1159875.7802 | 2616978.8157 | 1159888.2323
2 | 2616959.084 | 1159846.4629 | 2616959.084 | 1159846.4629 | 2616960.7325 | 1159849.9524
3 | 2616982.1562 | 1159895.3035 | 2616978.8157 | 1159888.2323
4 | 2616934.2718 | 1159739.6759 | 2616959.084 | 1159846.4629
5 | 2616982.1562 | 1159895.3035 | 2616984.7672 | 1159900.8307
6 | 2616847.3552 | 1159821.9436 | 2616840.0132 | 1159836.2629
7 | 2616868.5367 | 1159780.6329 | 2616847.3552 | 1159821.9436
8 | 2616840.0132 | 1159836.2629 | 2616810.6321 | 1159893.5655
9 | 2616869.7222 | 1159778.3209 | 2616868.5367 | 1159780.6329
10 | 2616934.2718 | 1159739.6759 | 2616917.9472 | 1159744.4867
11 | 2616937.5249 | 1159738.7172 | 2616934.2718 | 1159739.6759
12 | 2616911.1455 | 1159746.4912 | 2616917.9472 | 1159744.4867
13 | 2616937.5249 | 1159738.7172 | 2616941.1655 | 1159737.6444
14 | 2616897.7353 | 1159750.4431 | 2616904.4734 | 1159748.4574
15 | 2616888.5094 | 1159741.6796 | 2616897.7353 | 1159750.4431
16 | 2616911.1455 | 1159746.4912 | 2616904.4734 | 1159748.4574
17 | 2616888.5094 | 1159741.6796 | 2616880.7922 | 1159756.7308
18 | 2616888.5094 | 1159741.6796 | 2616884.818 | 1159729.1249
19 | 2616880.7922 | 1159756.7308 | 2616877.3428 | 1159763.4582
20 | 2616884.1244 | 1159726.7659 | 2616884.818 | 1159729.1249
21 | 2616869.7222 | 1159778.3209 | 2616877.3428 | 1159763.4582
22 | 2616880.4463 | 1159714.2568 | 2616884.1244 | 1159726.7659
23 | 2616957.9055 | 1159732.7111 | 2616941.1655 | 1159737.6444
24 | 2616957.9055 | 1159732.7111 | 2616966.0381 | 1159730.3145
25 | 2616973.3958 | 1159728.1462 | 2616966.0381 | 1159730.3145
26 | 2617006.6146 | 1159710.6469 | 2617008.0104 | 1159715.8689 | 2617006.2224 | 1159719.3879 | 2616996.2813 | 1159721.805
27 | 2616988.4604 | 1159723.7067 | 2616996.2813 | 1159721.805
28 | 2617000.9254 | 1159689.3614 | 2617006.6146 | 1159710.6469
29 | 2617006.6146 | 1159710.6469 | 2617113.7236 | 1159695.8511
30 | 2616988.4604 | 1159723.7067 | 2616979.8524 | 1159695.3969
31 | 2616988.4604 | 1159723.7067 | 2616973.3958 | 1159728.1462
32 | 2616996.5356 | 1159672.9375 | 2617000.9254 | 1159689.3614
33 | 2617116.0648 | 1159716.1745 | 2617113.7236 | 1159695.8511
34 | 2617113.7236 | 1159695.8511 | 2617106.2138 | 1159593.473
35 | 2616977.1305 | 1159686.4452 | 2616979.8524 | 1159695.3969
36 | 2617116.0648 | 1159716.1745 | 2617120.2272 | 1159726.6915
37 | 2617106.2138 | 1159593.473 | 2617106.445 | 1159578.8234 | 2617103.5332 | 1159567.1985
38 | 2617120.2272 | 1159726.6915 | 2617192.8006 | 1159803.7472
39 | 2617217.8678 | 1159794.3121 | 2617210.8984 | 1159799.9079 | 2617192.8006 | 1159803.7472 | 2617192.8006 | 1159803.7472
40 | 2617246.1795 | 1159782.411 | 2617238.6288 | 1159777.6427 | 2617217.8678 | 1159794.3121
41 | 2617248.1644 | 1159771.7114 | 2617246.1795 | 1159782.411
42 | 2616977.1305 | 1159686.4452 | 2616969.2598 | 1159689.0577
43 | 2616796.5241 | 1159915.8207 | 2616801.2376 | 1159910.231 | 2616804.5618 | 1159905.4045 | 2616810.6321 | 1159893.5655
44 | 2616796.5241 | 1159915.8207 | 2616804.4734 | 1159931.5958
45 | 2616796.5241 | 1159915.8207 | 2616793.5459 | 1159910.2487
46 | 2616880.4463 | 1159714.2568 | 2616877.9059 | 1159705.6167
47 | 2616877.4243 | 1159703.9787 | 2616877.9059 | 1159705.6167
48 | 2616877.4243 | 1159703.9787 | 2616877.1505 | 1159703.0475
49 | 2616877.1505 | 1159703.0475 | 2616877.0863 | 1159702.8294
50 | 2616877.0863 | 1159702.8294 | 2616876.6035 | 1159701.1872
51 | 2616812.4149 | 1159700.7903 | 2616790.9439 | 1159711.6216
52 | 2616826.373 | 1159693.749 | 2616812.4149 | 1159700.7903
53 | 2616774.7413 | 1159719.7952 | 2616790.9439 | 1159711.6216
54 | 2616768.422 | 1159722.983 | 2616774.7413 | 1159719.7952
55 | 2616768.422 | 1159722.983 | 2616750.3436 | 1159732.1029
56 | 2616712.7171 | 1159751.084 | 2616750.3436 | 1159732.1029
57 | 2616712.7171 | 1159751.084 | 2616726.5705 | 1159779.8589
58 | 2616712.7171 | 1159751.084 | 2616704.9483 | 1159734.7892
59 | 2616726.5705 | 1159779.8589 | 2616741.1956 | 1159809.8494
60 | 2616726.5705 | 1159779.8589 | 2616741.4198 | 1159772.0442
61 | 2616741.1956 | 1159809.8494 | 2616724.6187 | 1159808.9914
62 | 2616741.1956 | 1159809.8494 | 2616752.5185 | 1159833.0684 | 2616755.0532 | 1159837.9657
63 | 2616741.4198 | 1159772.0442 | 2616744.4692 | 1159770.4395
64 | 2616807.6317 | 1159937.8633 | 2616804.4734 | 1159931.5958
65 | 2616782.0066 | 1159888.6596 | 2616793.5459 | 1159910.2487
66 | 2616755.0532 | 1159837.9657 | 2616755.0853 | 1159838.0276
67 | 2616755.0853 | 1159838.0276 | 2616755.1278 | 1159838.1098
68 | 2616755.1278 | 1159838.1098 | 2616755.1817 | 1159838.214
69 | 2616766.9877 | 1159860.5607 | 2616759.4097 | 1159846.383 | 2616755.1817 | 1159838.214
70 | 2616766.9877 | 1159860.5607 | 2616782.0066 | 1159888.6596
71 | 2616766.9877 | 1159860.5607 | 2616687.9645 | 1159899.7308
72 | 2616675.3403 | 1159875.6981 | 2616687.9645 | 1159899.7308
73 | 2616782.6998 | 1159750.3202 | 2616771.8079 | 1159756.0522
74 | 2616782.6998 | 1159750.3202 | 2616789.8511 | 1159746.5567
75 | 2616771.8079 | 1159756.0522 | 2616762.0302 | 1159761.1978
76 | 2616789.8511 | 1159746.5567 | 2616805.1878 | 1159738.4856
77 | 2616761.2001 | 1159761.6346 | 2616762.0302 | 1159761.1978
78 | 2616807.5519 | 1159737.2414 | 2616805.1878 | 1159738.4856
79 | 2616761.2001 | 1159761.6346 | 2616744.4692 | 1159770.4395
80 | 2616815.7488 | 1159732.9277 | 2616807.5519 | 1159737.2414
81 | 2616642.3218 | 1159809.9855 | 2616665.4734 | 1159798.4508
82 | 2616642.3218 | 1159809.9855 | 2616675.3403 | 1159875.6981
83 | 2616860.9503 | 1159656.584 | 2616860.0281 | 1159654.579 | 2616855.7579 | 1159646.6382
84 | 2616860.9503 | 1159656.584 | 2616862.9388 | 1159660.9075
85 | 2616862.9388 | 1159660.9075 | 2616867.3336 | 1159670.4628 | 2616870.87 | 1159681.7244
86 | 2616870.87 | 1159681.7244 | 2616871.0407 | 1159682.2679 | 2616876.6035 | 1159701.1872
87 | 2617103.5332 | 1159567.1985 | 2617097.8936 | 1159544.6831

## bus_geodata
| x | y | coords
0 | 2616972.9334 | 1159875.7802
1 | 2616960.7325 | 1159849.9524
2 | 2616978.8157 | 1159888.2323
3 | 2616959.084 | 1159846.4629
4 | 2616982.1562 | 1159895.3035
5 | 2616847.3552 | 1159821.9436
6 | 2616840.0132 | 1159836.2629
7 | 2616868.5367 | 1159780.6329
8 | 2616934.2718 | 1159739.6759
9 | 2616917.9472 | 1159744.4867
10 | 2616937.5249 | 1159738.7172
11 | 2616984.7672 | 1159900.8307
12 | 2616897.7353 | 1159750.4431
13 | 2616904.4734 | 1159748.4574
14 | 2616888.5094 | 1159741.6796
15 | 2616911.1455 | 1159746.4912
16 | 2616880.7922 | 1159756.7308
17 | 2616884.818 | 1159729.1249
18 | 2616877.3428 | 1159763.4582
19 | 2616884.1244 | 1159726.7659
20 | 2616941.1655 | 1159737.6444
21 | 2616957.9055 | 1159732.7111
22 | 2616966.0381 | 1159730.3145
23 | 2616996.2813 | 1159721.805
24 | 2617006.6146 | 1159710.6469
25 | 2616988.4604 | 1159723.7067
26 | 2617000.9254 | 1159689.3614
27 | 2617113.7236 | 1159695.8511
28 | 2616979.8524 | 1159695.3969
29 | 2616973.3958 | 1159728.1462
30 | 2616996.5356 | 1159672.9375
31 | 2617116.0648 | 1159716.1745
32 | 2617106.2138 | 1159593.473
33 | 2617120.2272 | 1159726.6915
34 | 2617192.8006 | 1159803.7472
35 | 2617217.8678 | 1159794.3121
36 | 2617246.1795 | 1159782.411
37 | 2617248.1644 | 1159771.7114
38 | 2616977.1305 | 1159686.4452
39 | 2616969.2598 | 1159689.0577
40 | 2616869.7222 | 1159778.3209
41 | 2616810.6321 | 1159893.5655
42 | 2616796.5242 | 1159915.8207
43 | 2616880.4463 | 1159714.2568
44 | 2616877.9059 | 1159705.6167
45 | 2616877.4243 | 1159703.9787
46 | 2616877.1505 | 1159703.0475
47 | 2616877.0863 | 1159702.8294
48 | 2616812.4149 | 1159700.7904
49 | 2616790.9439 | 1159711.6216
50 | 2616826.373 | 1159693.749
51 | 2616774.7413 | 1159719.7952
52 | 2616768.422 | 1159722.983
53 | 2616750.3436 | 1159732.1029
54 | 2616712.7171 | 1159751.084
55 | 2616726.5705 | 1159779.8589
56 | 2616704.9483 | 1159734.7892
57 | 2616741.1956 | 1159809.8494
58 | 2616741.4198 | 1159772.0442
59 | 2616804.4734 | 1159931.5958
60 | 2616793.5459 | 1159910.2487
61 | 2616755.0852 | 1159838.0276
62 | 2616755.0532 | 1159837.9657
63 | 2616755.1278 | 1159838.1098
64 | 2616755.1817 | 1159838.214
65 | 2616724.6187 | 1159808.9914
66 | 2616766.9877 | 1159860.5607
67 | 2616782.0066 | 1159888.6596
68 | 2616687.9645 | 1159899.7308
69 | 2616782.6998 | 1159750.3202
70 | 2616771.8079 | 1159756.0522
71 | 2616789.8511 | 1159746.5567
72 | 2616762.0302 | 1159761.1978
73 | 2616805.1878 | 1159738.4856
74 | 2616761.2001 | 1159761.6346
75 | 2616807.5519 | 1159737.2414
76 | 2616744.4692 | 1159770.4395
77 | 2616815.7488 | 1159732.9277
78 | 2616665.4734 | 1159798.4508
79 | 2616642.3218 | 1159809.9855
80 | 2616675.3403 | 1159875.6981
81 | 2616807.6317 | 1159937.8633
82 | 2616860.9503 | 1159656.584
83 | 2616855.7579 | 1159646.6382
84 | 2616862.9388 | 1159660.9075
85 | 2616870.87 | 1159681.7244
86 | 2616876.6035 | 1159701.1872
87 | 2617103.5332 | 1159567.1985
88 | 2617097.8936 | 1159544.6831
89 | 2616888.5094 | 1159741.6796

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1