## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_563-23_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_563-23_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_563-23_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_563-23_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_563-23_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_563-23_0_3_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_563-23_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_563-23_0_3_node_91 | 0.4 | n |  | TRUE
8 | bus_LV_563-23_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_563-23_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_563-23_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_563-23_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_563-23_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_563-23_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_563-23_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_563-23_0_3_node_88 | 0.4 | n |  | TRUE
16 | bus_LV_563-23_0_3_node_89 | 0.4 | n |  | TRUE
17 | bus_LV_563-23_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_563-23_0_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_563-23_0_3_node_90 | 0.4 | n |  | TRUE
20 | bus_LV_563-23_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_563-23_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_563-23_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_563-23_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_563-23_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_563-23_0_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_563-23_0_3_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_563-23_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_563-23_0_3_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_563-23_0_3_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_563-23_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_563-23_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_563-23_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_563-23_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_563-23_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_563-23_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_563-23_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_563-23_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_563-23_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_563-23_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_563-23_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_563-23_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_563-23_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_563-23_0_3_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_563-23_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_563-23_0_3_node_99 | 0.4 | n |  | TRUE
46 | bus_LV_563-23_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_563-23_0_3_node_98 | 0.4 | n |  | TRUE
48 | bus_LV_563-23_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_563-23_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_563-23_0_3_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_563-23_0_3_node_102 | 0.4 | n |  | TRUE
52 | bus_LV_563-23_0_3_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_563-23_0_3_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_563-23_0_3_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_563-23_0_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_563-23_0_3_node_101 | 0.4 | n |  | TRUE
57 | bus_LV_563-23_0_3_node_103 | 0.4 | n |  | TRUE
58 | bus_LV_563-23_0_3_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_563-23_0_3_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_563-23_0_3_node_97 | 0.4 | n |  | TRUE
61 | bus_LV_563-23_0_3_node_96 | 0.4 | n |  | TRUE
62 | bus_MV_80_1_node_202 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_563-23_0_3_load_0 | 0 | 0.0017702 | 0.00044364 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_563-23_0_3_load_1 | 1 | 0.0014764 | 0.00037002 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_563-23_0_3_load_2 | 2 | 0.0019222 | 0.00048176 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_563-23_0_3_load_3 | 3 | 0.0033646 | 0.00084325 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_563-23_0_3_load_4 | 4 | 0.0016257 | 0.00040743 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_563-23_0_3_load_25 | 5 | 0.0014893 | 0.00037325 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_563-23_0_3_load_11 | 6 | 0.0016298 | 0.00040848 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_563-23_0_3_load_91 | 7 | 0.0038047 | 0.00095355 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_563-23_0_3_load_12 | 8 | 0.0004763 | 0.00011937 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_563-23_0_3_load_5 | 9 | 0.00047691 | 0.00011952 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_563-23_0_3_load_6 | 10 | 0.00085604 | 0.00021454 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_563-23_0_3_load_8 | 12 | 0.0029891 | 0.00074913 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_563-23_0_3_load_9 | 13 | 0.0017291 | 0.00043336 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_563-23_0_3_load_10 | 14 | 0.0027353 | 0.00068554 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_563-23_0_3_load_88 | 15 | 0.0056132 | 0.0014068 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_563-23_0_3_load_89 | 16 | 0.0029906 | 0.00074951 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_563-23_0_3_load_18 | 17 | 0.0025623 | 0.00064217 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_563-23_0_3_load_90 | 19 | 0.0025598 | 0.00064155 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_563-23_0_3_load_13 | 20 | 0.0037922 | 0.00095041 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_563-23_0_3_load_15 | 21 | 0.0032426 | 0.00081267 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_563-23_0_3_load_14 | 22 | 0.0030204 | 0.00075699 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_563-23_0_3_load_16 | 23 | 0.0033941 | 0.00085064 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_563-23_0_3_load_33 | 26 | 0.0010643 | 0.00026673 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_563-23_0_3_load_23 | 27 | 0.0010294 | 0.000258 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_563-23_0_3_load_41 | 28 | 0.0042048 | 0.0010538 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_563-23_0_3_load_44 | 29 | 0.0010444 | 0.00026175 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_563-23_0_3_load_21 | 30 | 0.0013124 | 0.00032892 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_563-23_0_3_load_27 | 31 | 0.0014575 | 0.00036528 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_563-23_0_3_load_24 | 32 | 0.0018411 | 0.00046142 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_563-23_0_3_load_19 | 33 | 0.0019164 | 0.00048031 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_563-23_0_3_load_20 | 34 | 0.001146 | 0.00028722 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_563-23_0_3_load_22 | 35 | 0.00080665 | 0.00020217 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_563-23_0_3_load_40 | 36 | 0.0018043 | 0.0004522 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_563-23_0_3_load_28 | 37 | 0.0017354 | 0.00043493 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_563-23_0_3_load_29 | 38 | 0.00093376 | 0.00023402 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_563-23_0_3_load_30 | 39 | 0.00093822 | 0.00023514 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_563-23_0_3_load_31 | 40 | 0.0012713 | 0.00031861 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_563-23_0_3_load_32 | 41 | 0.00094864 | 0.00023775 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_563-23_0_3_load_34 | 42 | 0.00079728 | 0.00019982 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_563-23_0_3_load_45 | 43 | 0.0010343 | 0.00025922 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_563-23_0_3_load_99 | 45 | 0.0011789 | 0.00029547 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_563-23_0_3_load_39 | 46 | 0.00063066 | 0.00015806 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_563-23_0_3_load_98 | 47 | 0.00090785 | 0.00022753 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_563-23_0_3_load_37 | 48 | 0.00075077 | 0.00018816 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_563-23_0_3_load_36 | 49 | 0.0013707 | 0.00034352 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_563-23_0_3_load_58 | 50 | 0.01342 | 0.0033634 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_563-23_0_3_load_102 | 51 | 0.0037088 | 0.00092951 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_563-23_0_3_load_100 | 52 | 0.0015385 | 0.00038558 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_563-23_0_3_load_60 | 53 | 0.0012229 | 0.00030648 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_563-23_0_3_load_61 | 54 | 0.0015531 | 0.00038924 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_563-23_0_3_load_69 | 55 | 0.0041664 | 0.0010442 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_563-23_0_3_load_101 | 56 | 0.00099266 | 0.00024878 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_563-23_0_3_load_103 | 57 | 0.0010328 | 0.00025885 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_563-23_0_3_load_70 | 58 | 0.0010096 | 0.00025304 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_563-23_0_3_load_87 | 59 | 0.00094083 | 0.00023579 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_563-23_0_3_load_97 | 60 | 0.00093923 | 0.00023539 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_563-23_0_3_load_96 | 61 | 0.0018001 | 0.00045116 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_563-23_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_563-23_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0040857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_563-23_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0025818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_563-23_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0053538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_563-23_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0053846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_563-23_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.008434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_563-23_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.011659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_563-23_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0077677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_563-23_0_3_line_8 | NAYY 4x150 SE | 8 | 13 | 0.0058922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_563-23_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.024038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_563-23_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.014461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_563-23_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.017685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_563-23_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.01562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_563-23_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.043708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_563-23_0_3_line_14 | NAYY 4x150 SE | 12 | 17 | 6.9846e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_563-23_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.047347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_563-23_0_3_line_16 | NAYY 4x150 SE | 16 | 19 | 4.0281e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_563-23_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.021204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_563-23_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.090018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_563-23_0_3_line_19 | NAYY 4x150 SE | 18 | 31 | 0.044583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_563-23_0_3_line_20 | NAYY 4x150 SE | 18 | 32 | 0.017037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_563-23_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.02458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_563-23_0_3_line_22 | NAYY 4x150 SE | 21 | 24 | 0.021482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_563-23_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.032521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_563-23_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.085395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_563-23_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.017234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_563-23_0_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.024278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_563-23_0_3_line_27 | NAYY 4x150 SE | 25 | 28 | 0.066295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_563-23_0_3_line_28 | NAYY 4x150 SE | 26 | 29 | 0.0012628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_563-23_0_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.0053226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_563-23_0_3_line_30 | NAYY 4x150 SE | 28 | 36 | 0.04225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_563-23_0_3_line_31 | NAYY 4x150 SE | 29 | 43 | 0.0025655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_563-23_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.010073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_563-23_0_3_line_33 | NAYY 4x150 SE | 31 | 36 | 0.10811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_563-23_0_3_line_34 | NAYY 4x150 SE | 32 | 35 | 0.016491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_563-23_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.01976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_563-23_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0051691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_563-23_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.0038751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_563-23_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.00075515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_563-23_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.0090665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_563-23_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.0053272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_563-23_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.015249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_563-23_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.021572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_563-23_0_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.0327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_563-23_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.014805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_563-23_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0027422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_563-23_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.016716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_563-23_0_3_line_47 | NAYY 4x150 SE | 46 | 48 | 0.0073559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_563-23_0_3_line_48 | NAYY 4x150 SE | 47 | 61 | 0.013897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_563-23_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.017405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_563-23_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.24659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_563-23_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.032924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_563-23_0_3_line_52 | NAYY 4x150 SE | 52 | 56 | 0.018734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_563-23_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.24756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_563-23_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0017205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_563-23_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.013079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_563-23_0_3_line_56 | NAYY 4x150 SE | 55 | 58 | 0.0085556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_563-23_0_3_line_57 | NAYY 4x150 SE | 56 | 57 | 0.0051035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_563-23_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.0037019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_563-23_0_3_line_59 | NAYY 4x150 SE | 59 | 60 | 0.0028435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_563-23_0_3_line_60 | NAYY 4x150 SE | 60 | 61 | 0.0017247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_563-23_0_3_trafo_17 | 0.25 MVA 20/0.4 kV | 62 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2616726.1333 | 1159669.6866 | 2616740.7326 | 1159662.2998
1 | 2616726.1333 | 1159669.6866 | 2616722.4877 | 1159671.5311
2 | 2616740.7326 | 1159662.2998 | 2616743.0363 | 1159661.1342
3 | 2616722.4877 | 1159671.5311 | 2616717.7105 | 1159673.9482
4 | 2616743.0363 | 1159661.1342 | 2616747.8409 | 1159658.7032
5 | 2616710.185 | 1159677.7559 | 2616717.7105 | 1159673.9482
6 | 2616758.2441 | 1159653.4395 | 2616747.8409 | 1159658.7032
7 | 2616710.185 | 1159677.7559 | 2616703.254 | 1159681.2628
8 | 2616703.254 | 1159681.2628 | 2616697.9965 | 1159683.9229
9 | 2616677.524 | 1159678.0743 | 2616666.6614 | 1159656.6309
10 | 2616684.059 | 1159690.9749 | 2616677.524 | 1159678.0743
11 | 2616666.6614 | 1159656.6309 | 2616658.6696 | 1159640.8547
12 | 2616684.059 | 1159690.9749 | 2616697.9965 | 1159683.9229
13 | 2616684.059 | 1159690.9749 | 2616702.8689 | 1159730.4279
14 | 2616658.6696 | 1159640.8547 | 2616658.6381 | 1159640.7924
15 | 2616599.3036 | 1159723.5874 | 2616578.2003 | 1159681.2034
16 | 2616578.2003 | 1159681.2034 | 2616578.1824 | 1159681.1673
17 | 2616649.0562 | 1159621.8773 | 2616658.6381 | 1159640.7924
18 | 2616658.6381 | 1159640.7924 | 2616578.1824 | 1159681.1673
19 | 2616649.0562 | 1159621.8773 | 2616628.9873 | 1159582.0667
20 | 2616649.0562 | 1159621.8773 | 2616664.0889 | 1159613.8594
21 | 2616719.0707 | 1159556.9541 | 2616702.1852 | 1159539.0922
22 | 2616733.8283 | 1159572.5649 | 2616719.0707 | 1159556.9541
23 | 2616606.9649 | 1159423.8366 | 2616609.4578 | 1159426.1043 | 2616615.813 | 1159433.9479 | 2616625.5516 | 1159450.3275
24 | 2616531.844 | 1159388.4171 | 2616537.022 | 1159386.7749 | 2616542.3561 | 1159386.9118 | 2616546.7136 | 1159388.2244 | 2616599.9215 | 1159418.4187 | 2616605.0694 | 1159422.1125 | 2616606.9649 | 1159423.8366
25 | 2616733.8283 | 1159572.5649 | 2616746.0496 | 1159584.716
26 | 2616733.8283 | 1159572.5649 | 2616713.2491 | 1159585.4459
27 | 2616531.844 | 1159388.4171 | 2616538.1228 | 1159401.8187 | 2616561.3032 | 1159447.8017
28 | 2616746.0496 | 1159584.716 | 2616746.0496 | 1159584.716 | 2616747.0776 | 1159585.4494
29 | 2616708.7374 | 1159588.2698 | 2616713.2491 | 1159585.4459
30 | 2616580.3219 | 1159485.5291 | 2616561.3032 | 1159447.8017
31 | 2616749.1659 | 1159586.9396 | 2616747.0776 | 1159585.4494
32 | 2616708.7374 | 1159588.2698 | 2616700.1993 | 1159593.614
33 | 2616628.9873 | 1159582.0667 | 2616580.3219 | 1159485.5291
34 | 2616664.0889 | 1159613.8594 | 2616678.6394 | 1159606.0988
35 | 2616700.1993 | 1159593.614 | 2616689.5521 | 1159600.2784 | 2616683.2003 | 1159603.6662
36 | 2616678.6394 | 1159606.0988 | 2616683.2003 | 1159603.6662
37 | 2616773.6808 | 1159599.5698 | 2616777.2555 | 1159601.0659
38 | 2616773.6808 | 1159599.5698 | 2616772.9842 | 1159599.2782
39 | 2616785.629 | 1159604.5393 | 2616785.3045 | 1159604.4348 | 2616777.2555 | 1159601.0659
40 | 2616768.1245 | 1159597.1002 | 2616770.4915 | 1159598.235 | 2616772.9842 | 1159599.2782
41 | 2616785.629 | 1159604.5393 | 2616800.1431 | 1159609.2173
42 | 2616749.1659 | 1159586.9396 | 2616753.7446 | 1159590.2067 | 2616768.1245 | 1159597.1002
43 | 2616831.5502 | 1159618.1481 | 2616821.3779 | 1159616.1076 | 2616811.2245 | 1159612.7888 | 2616800.1431 | 1159609.2173
44 | 2616831.5502 | 1159618.1481 | 2616824.5017 | 1159606.2336 | 2616824.1225 | 1159605.35
45 | 2616831.5502 | 1159618.1481 | 2616833.755 | 1159619.7786
46 | 2616824.1225 | 1159605.35 | 2616817.5304 | 1159589.9884
47 | 2616839.6694 | 1159624.1524 | 2616833.755 | 1159619.7786
48 | 2616816.4537 | 1159576.1698 | 2616817.2754 | 1159589.394 | 2616817.5304 | 1159589.9884
49 | 2616850.793 | 1159637.4057 | 2616849.2394 | 1159634.5167 | 2616840.4376 | 1159624.7206 | 2616839.6694 | 1159624.1524
50 | 2616774.1774 | 1159401.6578 | 2617020.7127 | 1159406.9556
51 | 2617035.8003 | 1159436.2195 | 2617020.7127 | 1159406.9556
52 | 2617035.8003 | 1159436.2195 | 2617035.8003 | 1159436.2195 | 2617047.2781 | 1159451.025
53 | 2616813.3003 | 1159544.7634 | 2617035.8003 | 1159436.2195
54 | 2616813.6433 | 1159546.4494 | 2616813.3003 | 1159544.7634
55 | 2616813.6433 | 1159546.4494 | 2616815.0308 | 1159553.2698 | 2616815.4102 | 1159559.3765
56 | 2616815.4102 | 1159559.3765 | 2616815.9408 | 1159567.9156
57 | 2617047.2781 | 1159451.025 | 2617050.4049 | 1159455.0584
58 | 2616815.9408 | 1159567.9156 | 2616816.1704 | 1159571.6103
59 | 2616816.3467 | 1159574.4484 | 2616816.1704 | 1159571.6103
60 | 2616816.4537 | 1159576.1698 | 2616816.3467 | 1159574.4484

## bus_geodata
| x | y | coords
0 | 2616726.1333 | 1159669.6866
1 | 2616740.7326 | 1159662.2998
2 | 2616722.4877 | 1159671.5311
3 | 2616743.0363 | 1159661.1342
4 | 2616717.7105 | 1159673.9482
5 | 2616747.8409 | 1159658.7032
6 | 2616710.185 | 1159677.7559
7 | 2616758.2441 | 1159653.4395
8 | 2616703.254 | 1159681.2628
9 | 2616677.524 | 1159678.0743
10 | 2616666.6614 | 1159656.6309
11 | 2616684.059 | 1159690.9749
12 | 2616658.6696 | 1159640.8547
13 | 2616697.9965 | 1159683.9229
14 | 2616702.8689 | 1159730.4279
15 | 2616599.3036 | 1159723.5874
16 | 2616578.2003 | 1159681.2034
17 | 2616658.6381 | 1159640.7924
18 | 2616649.0562 | 1159621.8773
19 | 2616578.1824 | 1159681.1673
20 | 2616702.1852 | 1159539.0922
21 | 2616719.0707 | 1159556.9541
22 | 2616625.5516 | 1159450.3275
23 | 2616606.9649 | 1159423.8366
24 | 2616733.8283 | 1159572.5649
25 | 2616531.844 | 1159388.4171
26 | 2616746.0496 | 1159584.716
27 | 2616713.2491 | 1159585.4459
28 | 2616561.3032 | 1159447.8017
29 | 2616747.0776 | 1159585.4494
30 | 2616708.7374 | 1159588.2698
31 | 2616628.9873 | 1159582.0667
32 | 2616664.0889 | 1159613.8594
33 | 2616700.1993 | 1159593.614
34 | 2616683.2003 | 1159603.6662
35 | 2616678.6394 | 1159606.0988
36 | 2616580.3219 | 1159485.5291
37 | 2616773.6808 | 1159599.5698
38 | 2616777.2555 | 1159601.0659
39 | 2616772.9842 | 1159599.2782
40 | 2616785.629 | 1159604.5393
41 | 2616768.1245 | 1159597.1002
42 | 2616800.1431 | 1159609.2173
43 | 2616749.1659 | 1159586.9396
44 | 2616831.5502 | 1159618.1481
45 | 2616824.1225 | 1159605.35
46 | 2616833.755 | 1159619.7786
47 | 2616817.5304 | 1159589.9884
48 | 2616839.6694 | 1159624.1524
49 | 2616850.793 | 1159637.4057
50 | 2616774.1774 | 1159401.6578
51 | 2617020.7127 | 1159406.9556
52 | 2617035.8003 | 1159436.2195
53 | 2616813.3003 | 1159544.7634
54 | 2616813.6433 | 1159546.4494
55 | 2616815.4102 | 1159559.3765
56 | 2617047.2781 | 1159451.025
57 | 2617050.4049 | 1159455.0584
58 | 2616815.9408 | 1159567.9156
59 | 2616816.1704 | 1159571.6103
60 | 2616816.3467 | 1159574.4484
61 | 2616816.4537 | 1159576.1698
62 | 2616649.0562 | 1159621.8773

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1